## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_11-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_11-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_11-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_11-6_0_3_node_56 | 0.4 | n |  | TRUE
4 | bus_LV_11-6_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_11-6_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_11-6_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_11-6_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_11-6_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_11-6_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_11-6_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_11-6_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_11-6_0_3_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_11-6_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_11-6_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_11-6_0_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_11-6_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_11-6_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_11-6_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_11-6_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_11-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_11-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_11-6_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_11-6_0_3_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_11-6_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_11-6_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_11-6_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_11-6_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_11-6_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_11-6_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_11-6_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_11-6_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_11-6_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_11-6_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_11-6_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_11-6_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_11-6_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_11-6_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_11-6_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_11-6_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_11-6_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_11-6_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_11-6_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_11-6_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_11-6_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_11-6_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_11-6_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_11-6_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_11-6_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_11-6_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_11-6_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_11-6_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_11-6_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_MV_350_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_11-6_0_3_load_0 | 0 | 0.0040979 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_11-6_0_3_load_1 | 1 | 0.004861 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_11-6_0_3_load_2 | 2 | 0.0012613 | 0.00031611 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_11-6_0_3_load_56 | 3 | 0.0022211 | 0.00055667 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_11-6_0_3_load_22 | 5 | 0.0022066 | 0.00055301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_11-6_0_3_load_5 | 6 | 0.0023096 | 0.00057883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_11-6_0_3_load_4 | 8 | 0.074504 | 0.018672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_11-6_0_3_load_7 | 10 | 0.072731 | 0.018228 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_11-6_0_3_load_8 | 11 | 0.022556 | 0.005653 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_11-6_0_3_load_53 | 14 | 0.0057621 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_11-6_0_3_load_9 | 16 | 0.001042 | 0.00026116 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_11-6_0_3_load_10 | 17 | 0.0010617 | 0.00026609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_11-6_0_3_load_12 | 19 | 0.0031303 | 0.00078452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_11-6_0_3_load_13 | 20 | 0.0010681 | 0.0002677 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_11-6_0_3_load_29 | 22 | 0.0010582 | 0.00026521 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_11-6_0_3_load_51 | 23 | 0.0061335 | 0.0015372 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_11-6_0_3_load_23 | 24 | 0.0035003 | 0.00087726 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_11-6_0_3_load_31 | 25 | 0.001191 | 0.00029848 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_11-6_0_3_load_50 | 27 | 0.0019574 | 0.00049057 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_11-6_0_3_load_15 | 28 | 0.0007806 | 0.00019564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_11-6_0_3_load_16 | 29 | 0.00069442 | 0.00017404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_11-6_0_3_load_17 | 30 | 0.00080505 | 0.00020177 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_11-6_0_3_load_19 | 32 | 0.0011621 | 0.00029126 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_11-6_0_3_load_44 | 33 | 0.001122 | 0.0002812 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_11-6_0_3_load_38 | 34 | 0.00068918 | 0.00017273 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_11-6_0_3_load_32 | 36 | 0.0010607 | 0.00026583 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_11-6_0_3_load_28 | 37 | 0.0015776 | 0.00039539 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_11-6_0_3_load_26 | 38 | 0.0020588 | 0.00051597 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_11-6_0_3_load_24 | 39 | 0.0014418 | 0.00036135 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_11-6_0_3_load_25 | 40 | 0.0015712 | 0.00039378 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_11-6_0_3_load_33 | 41 | 0.00074639 | 0.00018706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_11-6_0_3_load_36 | 43 | 0.00080998 | 0.000203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_11-6_0_3_load_37 | 44 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_11-6_0_3_load_54 | 45 | 0.0010874 | 0.00027254 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_11-6_0_3_load_42 | 46 | 0.0051238 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_11-6_0_3_load_39 | 47 | 0.023945 | 0.0060012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_11-6_0_3_load_41 | 48 | 0.026484 | 0.0066374 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_11-6_0_3_load_49 | 49 | 0.0010612 | 0.00026595 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_11-6_0_3_load_46 | 50 | 0.0040883 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_11-6_0_3_load_45 | 51 | 0.001744 | 0.0004371 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_11-6_0_3_load_52 | 52 | 0.0057645 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_11-6_0_3_line_0 |  | 0 | 1 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_11-6_0_3_line_1 |  | 0 | 2 | 0.018934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_11-6_0_3_line_2 |  | 0 | 3 | 0.067315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_11-6_0_3_line_3 |  | 1 | 4 | 0.021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_11-6_0_3_line_4 |  | 4 | 5 | 0.019256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_11-6_0_3_line_5 |  | 4 | 6 | 0.010901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_11-6_0_3_line_6 |  | 5 | 7 | 0.016228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_11-6_0_3_line_7 |  | 6 | 8 | 0.0066634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_11-6_0_3_line_8 |  | 7 | 13 | 0.026977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_11-6_0_3_line_9 |  | 7 | 10 | 0.0084549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_11-6_0_3_line_10 |  | 9 | 10 | 0.0079377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_11-6_0_3_line_11 |  | 9 | 11 | 0.027628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_11-6_0_3_line_12 |  | 11 | 12 | 0.0027138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_11-6_0_3_line_13 |  | 12 | 14 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_11-6_0_3_line_14 |  | 12 | 15 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_11-6_0_3_line_15 |  | 13 | 37 | 0.0069997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_11-6_0_3_line_16 |  | 14 | 21 | 0.03916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_11-6_0_3_line_17 |  | 15 | 46 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_11-6_0_3_line_18 |  | 15 | 47 | 0.055746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_11-6_0_3_line_19 |  | 16 | 17 | 1.0263e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_11-6_0_3_line_20 |  | 16 | 18 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_11-6_0_3_line_21 |  | 17 | 19 | 4.1329e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_11-6_0_3_line_22 |  | 18 | 20 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_11-6_0_3_line_23 |  | 18 | 21 | 0.007072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_11-6_0_3_line_24 |  | 20 | 22 | 0.0056815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_11-6_0_3_line_25 |  | 21 | 23 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_11-6_0_3_line_26 |  | 22 | 26 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_11-6_0_3_line_27 |  | 23 | 27 | 0.00064969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_11-6_0_3_line_28 |  | 24 | 25 | 0.017095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_11-6_0_3_line_29 |  | 25 | 32 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_11-6_0_3_line_30 |  | 26 | 36 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_11-6_0_3_line_31 |  | 27 | 52 | 0.012232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_11-6_0_3_line_32 |  | 28 | 29 | 0.0056697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_11-6_0_3_line_33 |  | 28 | 30 | 0.006784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_11-6_0_3_line_34 |  | 29 | 31 | 0.0099497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_11-6_0_3_line_35 |  | 30 | 32 | 0.0025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_11-6_0_3_line_36 |  | 31 | 33 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_11-6_0_3_line_37 |  | 31 | 34 | 0.013221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_11-6_0_3_line_38 |  | 33 | 35 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_11-6_0_3_line_39 |  | 34 | 36 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_11-6_0_3_line_40 |  | 35 | 49 | 0.026339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_11-6_0_3_line_41 |  | 35 | 50 | 0.0014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_11-6_0_3_line_42 |  | 37 | 38 | 0.0082375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_11-6_0_3_line_43 |  | 38 | 39 | 0.0020927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_11-6_0_3_line_44 |  | 39 | 40 | 0.0071495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_11-6_0_3_line_45 |  | 41 | 42 | 0.019056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_11-6_0_3_line_46 |  | 42 | 43 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_11-6_0_3_line_47 |  | 42 | 44 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_11-6_0_3_line_48 |  | 44 | 45 | 0.0065029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_11-6_0_3_line_49 |  | 45 | 46 | 0.019983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_11-6_0_3_line_50 |  | 47 | 48 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_11-6_0_3_line_51 |  | 50 | 51 | 0.030107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_11-6_0_3_trafo_8 | 0.63 MVA 20/0.4 kV | 53 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2672667.5711 | 1237253.67 | 2672661.7396 | 1237266.9448
1 | 2672667.5711 | 1237253.67 | 2672675.1863 | 1237236.3347
2 | 2672667.5711 | 1237253.67 | 2672606.4543 | 1237225.4547
3 | 2672655.7885 | 1237286.4775 | 2672654.9611 | 1237282.3757 | 2672661.7396 | 1237266.9448
4 | 2672655.7885 | 1237286.4775 | 2672658.6871 | 1237288.8924 | 2672672.7835 | 1237295.2972
5 | 2672655.7885 | 1237286.4775 | 2672651.468 | 1237296.4858
6 | 2672687.5579 | 1237302.0101 | 2672672.7835 | 1237295.2972
7 | 2672648.8271 | 1237302.6034 | 2672651.468 | 1237296.4858
8 | 2672687.5579 | 1237302.0101 | 2672700.0174 | 1237278.0683
9 | 2672687.5579 | 1237302.0101 | 2672683.987 | 1237309.6739
10 | 2672680.6346 | 1237316.8689 | 2672683.987 | 1237309.6739
11 | 2672680.6346 | 1237316.8689 | 2672668.9743 | 1237341.9154
12 | 2672667.8289 | 1237344.3756 | 2672668.9743 | 1237341.9154
13 | 2672667.8289 | 1237344.3756 | 2672686.8399 | 1237352.7499
14 | 2672667.8289 | 1237344.3756 | 2672659.1827 | 1237368.9534
15 | 2672700.0174 | 1237278.0683 | 2672703.1762 | 1237271.8219
16 | 2672722.6747 | 1237368.541 | 2672719.2356 | 1237367.0201 | 2672686.8399 | 1237352.7499
17 | 2672659.1827 | 1237368.9534 | 2672654.8239 | 1237381.3405
18 | 2672659.1827 | 1237368.9534 | 2672621.1993 | 1237354.8682 | 2672616.1126 | 1237369.2294
19 | 2672736.2301 | 1237355.4282 | 2672736.2342 | 1237355.4188
20 | 2672729.1616 | 1237371.4002 | 2672736.2301 | 1237355.4282
21 | 2672736.2342 | 1237355.4188 | 2672736.2359 | 1237355.4151
22 | 2672729.1616 | 1237371.4002 | 2672749.7086 | 1237380.454
23 | 2672722.6747 | 1237368.541 | 2672729.1616 | 1237371.4002
24 | 2672749.7086 | 1237380.454 | 2672754.9077 | 1237382.7449
25 | 2672722.6747 | 1237368.541 | 2672716.9676 | 1237383.1955
26 | 2672772.4027 | 1237390.4539 | 2672754.9077 | 1237382.7449
27 | 2672716.9676 | 1237383.1955 | 2672716.7318 | 1237383.8009
28 | 2672757.8354 | 1237331.4495 | 2672753.2731 | 1237329.5444 | 2672750.4858 | 1237335.9592 | 2672745.7673 | 1237333.8777
29 | 2672757.8354 | 1237331.4495 | 2672765.5355 | 1237334.6648 | 2672770.3904 | 1237332.9688
30 | 2672772.4027 | 1237390.4539 | 2672779.3547 | 1237374.3781
31 | 2672712.2929 | 1237395.1989 | 2672716.7318 | 1237383.8009
32 | 2672778.9857 | 1237335.8809 | 2672784.1798 | 1237338.1541
33 | 2672778.9857 | 1237335.8809 | 2672772.7708 | 1237333.1609
34 | 2672793.2947 | 1237342.1433 | 2672784.1798 | 1237338.1541
35 | 2672770.3904 | 1237332.9688 | 2672771.4701 | 1237332.5916 | 2672772.7708 | 1237333.1609
36 | 2672793.2947 | 1237342.1433 | 2672797.6146 | 1237332.155
37 | 2672793.2947 | 1237342.1433 | 2672788.0469 | 1237354.2782
38 | 2672805.4734 | 1237313.9843 | 2672797.6146 | 1237332.155
39 | 2672779.3547 | 1237374.3781 | 2672788.0469 | 1237354.2782
40 | 2672805.4734 | 1237313.9843 | 2672796.9753 | 1237311.623 | 2672780.0779 | 1237306.9991
41 | 2672805.4734 | 1237313.9843 | 2672806.9127 | 1237314.3844
42 | 2672703.1762 | 1237271.8219 | 2672706.8935 | 1237264.4709
43 | 2672706.8935 | 1237264.4709 | 2672707.8379 | 1237262.6034
44 | 2672711.0642 | 1237256.2233 | 2672707.8379 | 1237262.6034
45 | 2672642.8257 | 1237422.6791 | 2672637.9126 | 1237441.0908
46 | 2672642.8257 | 1237422.6791 | 2672655.3029 | 1237427.3245
47 | 2672642.8257 | 1237422.6791 | 2672647.0985 | 1237406.6542
48 | 2672648.7739 | 1237400.3708 | 2672647.0985 | 1237406.6542
49 | 2672654.8239 | 1237381.3405 | 2672650.7953 | 1237392.7894 | 2672648.7739 | 1237400.3708
50 | 2672605.432 | 1237399.3838 | 2672616.1126 | 1237369.2294
51 | 2672835.4796 | 1237323.7301 | 2672824.973 | 1237319.4048 | 2672806.9127 | 1237314.3844

## bus_geodata
| x | y | coords
0 | 2672667.5711 | 1237253.67
1 | 2672661.7396 | 1237266.9448
2 | 2672675.1863 | 1237236.3347
3 | 2672606.4543 | 1237225.4547
4 | 2672655.7885 | 1237286.4775
5 | 2672672.7835 | 1237295.2972
6 | 2672651.468 | 1237296.4858
7 | 2672687.5579 | 1237302.0101
8 | 2672648.8271 | 1237302.6034
9 | 2672680.6346 | 1237316.8689
10 | 2672683.987 | 1237309.6739
11 | 2672668.9743 | 1237341.9154
12 | 2672667.8289 | 1237344.3756
13 | 2672700.0174 | 1237278.0683
14 | 2672686.8399 | 1237352.7499
15 | 2672659.1827 | 1237368.9534
16 | 2672736.2301 | 1237355.4282
17 | 2672736.2342 | 1237355.4188
18 | 2672729.1616 | 1237371.4002
19 | 2672736.2359 | 1237355.4151
20 | 2672749.7086 | 1237380.454
21 | 2672722.6747 | 1237368.541
22 | 2672754.9077 | 1237382.7449
23 | 2672716.9676 | 1237383.1955
24 | 2672745.7673 | 1237333.8777
25 | 2672757.8354 | 1237331.4495
26 | 2672772.4027 | 1237390.4539
27 | 2672716.7318 | 1237383.8009
28 | 2672778.9857 | 1237335.8809
29 | 2672784.1798 | 1237338.1541
30 | 2672772.7708 | 1237333.1609
31 | 2672793.2947 | 1237342.1433
32 | 2672770.3904 | 1237332.9688
33 | 2672797.6146 | 1237332.155
34 | 2672788.0469 | 1237354.2782
35 | 2672805.4734 | 1237313.9843
36 | 2672779.3547 | 1237374.3781
37 | 2672703.1762 | 1237271.8219
38 | 2672706.8935 | 1237264.4709
39 | 2672707.8379 | 1237262.6034
40 | 2672711.0642 | 1237256.2233
41 | 2672637.9126 | 1237441.0908
42 | 2672642.8257 | 1237422.6791
43 | 2672655.3029 | 1237427.3245
44 | 2672647.0985 | 1237406.6542
45 | 2672648.7739 | 1237400.3708
46 | 2672654.8239 | 1237381.3405
47 | 2672616.1126 | 1237369.2294
48 | 2672605.4319 | 1237399.3838
49 | 2672780.0779 | 1237306.9991
50 | 2672806.9127 | 1237314.3844
51 | 2672835.4796 | 1237323.7301
52 | 2672712.2929 | 1237395.1989
53 | 2672667.8289 | 1237344.3756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99321 | -0.13061 | 0.0040979 | 0.001027
1 | 0.99331 | -0.12866 | 0.004861 | 0.0012183
2 | 0.99318 | -0.13103 | 0.0012613 | 0.00031611
3 | 0.99307 | -0.13325 | 0.0022211 | 0.00055667
4 | 0.99355 | -0.12404 | 0 | 0
5 | 0.99512 | -0.093741 | 0.0022066 | 0.00055301
6 | 0.99278 | -0.13884 | 0.0023096 | 0.00057883
7 | 0.99647 | -0.067651 | 0 | 0
8 | 0.99233 | -0.14762 | 0.074504 | 0.018672
9 | 0.99785 | -0.041224 | 0 | 0
10 | 0.99723 | -0.053101 | 0.072731 | 0.018228
11 | 1 | 0 | -0.28094 | -0.070456
12 | 0.99974 | -0.0050743 | 0 | 0
13 | 0.99631 | -0.070801 | 0 | 0
14 | 0.99889 | -0.02135 | 0.0057621 | 0.0014441
15 | 0.99826 | -0.033446 | 0 | 0
16 | 0.99725 | -0.052884 | 0.001042 | 0.00026116
17 | 0.99725 | -0.052884 | 0.0010617 | 0.00026609
18 | 0.99733 | -0.051282 | 0 | 0
19 | 0.99725 | -0.052885 | 0.0031303 | 0.00078452
20 | 0.99692 | -0.059167 | 0.0010681 | 0.0002677
21 | 0.99749 | -0.048151 | 0 | 0
22 | 0.99682 | -0.061056 | 0.0010582 | 0.00026521
23 | 0.9973 | -0.051969 | 0.0061335 | 0.0015372
24 | 0.99542 | -0.088192 | 0.0035003 | 0.00087726
25 | 0.99547 | -0.087139 | 0.001191 | 0.00029848
26 | 0.99651 | -0.067063 | 0 | 0
27 | 0.99729 | -0.052057 | 0.0019574 | 0.00049057
28 | 0.99558 | -0.084968 | 0.0007806 | 0.00019564
29 | 0.99562 | -0.084226 | 0.00069442 | 0.00017404
30 | 0.99554 | -0.085762 | 0.00080505 | 0.00020177
31 | 0.9957 | -0.082803 | 0 | 0
32 | 0.99553 | -0.086026 | 0.0011621 | 0.00029126
33 | 0.99562 | -0.084337 | 0.001122 | 0.0002812
34 | 0.99589 | -0.079049 | 0.00068918 | 0.00017273
35 | 0.99549 | -0.086738 | 0 | 0
36 | 0.99623 | -0.072569 | 0.0010607 | 0.00026583
37 | 0.99627 | -0.071618 | 0.0015776 | 0.00039539
38 | 0.99623 | -0.072352 | 0.0020588 | 0.00051597
39 | 0.99622 | -0.072463 | 0.0014418 | 0.00036135
40 | 0.99621 | -0.07266 | 0.0015712 | 0.00039378
41 | 0.99792 | -0.039918 | 0.00074639 | 0.00018706
42 | 0.99793 | -0.039669 | 0 | 0
43 | 0.99792 | -0.039858 | 0.00080998 | 0.000203
44 | 0.99796 | -0.039217 | 0.0041596 | 0.0010425
45 | 0.99799 | -0.038566 | 0.0010874 | 0.00027254
46 | 0.99811 | -0.036186 | 0.0051238 | 0.0012841
47 | 0.99569 | -0.082744 | 0.023945 | 0.0060012
48 | 0.99492 | -0.09765 | 0.026484 | 0.0066374
49 | 0.99547 | -0.087229 | 0.0010612 | 0.00026595
50 | 0.99548 | -0.086891 | 0.0040883 | 0.0010246
51 | 0.99544 | -0.087815 | 0.001744 | 0.0004371
52 | 0.99723 | -0.053292 | 0.0057645 | 0.0014447
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0075806 | -0.0018989 | 0.0075813 | 0.0018992 | 7.0128e-07 | 2.6116e-07 | 0.011357 | 0.011357 | 0.011357 | 0.99321 | -0.13061 | 0.99331 | -0.12866 | 3.12
1 | 0.0012613 | 0.00031588 | -0.0012613 | -0.00031611 | 2.5354e-08 | -2.2881e-07 | 0.0018896 | 0.0018897 | 0.0018897 | 0.99321 | -0.13061 | 0.99318 | -0.13103 | 0.51915
2 | 0.0022214 | 0.00055598 | -0.0022211 | -0.00055667 | 2.7958e-07 | -6.9212e-07 | 0.0033278 | 0.0033282 | 0.0033282 | 0.99321 | -0.13061 | 0.99307 | -0.13325 | 0.91433
3 | -0.012442 | -0.0031174 | 0.012445 | 0.0031189 | 2.7408e-06 | 1.4817e-06 | 0.018639 | 0.018639 | 0.018639 | 0.99331 | -0.12866 | 0.99355 | -0.12404 | 5.1205
4 | -0.089344 | -0.022425 | 0.089473 | 0.022507 | 0.00012931 | 8.251e-05 | 0.13382 | 0.13382 | 0.13382 | 0.99355 | -0.12404 | 0.99512 | -0.093741 | 36.7638
5 | 0.076899 | 0.019306 | -0.076844 | -0.019271 | 5.4233e-05 | 3.4568e-05 | 0.11518 | 0.11518 | 0.11518 | 0.99355 | -0.12404 | 0.99278 | -0.13884 | 31.6433
6 | -0.09168 | -0.02306 | 0.091794 | 0.023133 | 0.00011442 | 7.3016e-05 | 0.13712 | 0.13712 | 0.13712 | 0.99512 | -0.093741 | 0.99647 | -0.067651 | 37.6702
7 | 0.074535 | 0.018692 | -0.074504 | -0.018672 | 3.1188e-05 | 1.9874e-05 | 0.11172 | 0.11172 | 0.11172 | 0.99278 | -0.13884 | 0.99233 | -0.14762 | 30.6923
8 | 0.0066509 | 0.0016668 | -0.0066499 | -0.0016665 | 9.9786e-07 | 2.8726e-07 | 0.0099316 | 0.0099317 | 0.0099317 | 0.99647 | -0.067651 | 0.99631 | -0.070801 | 2.7285
9 | -0.098445 | -0.0248 | 0.098513 | 0.024844 | 6.8561e-05 | 4.3769e-05 | 0.14705 | 0.14705 | 0.14705 | 0.99647 | -0.067651 | 0.99723 | -0.053101 | 40.3986
10 | 0.17134 | 0.043134 | -0.17124 | -0.043072 | 9.7216e-05 | 6.2011e-05 | 0.25558 | 0.25558 | 0.25558 | 0.99785 | -0.041224 | 0.99723 | -0.053101 | 35.1066
11 | -0.17134 | -0.043134 | 0.17168 | 0.04335 | 0.00033837 | 0.00021583 | 0.25558 | 0.25558 | 0.25558 | 0.99785 | -0.041224 | 1 | 0 | 35.1066
12 | 0.10761 | 0.027107 | -0.10758 | -0.02709 | 2.6107e-05 | 1.6673e-05 | 0.16017 | 0.16017 | 0.16017 | 1 | 0 | 0.99974 | -0.0050743 | 44.0024
13 | 0.044999 | 0.011321 | -0.044964 | -0.011299 | 3.4962e-05 | 2.2104e-05 | 0.066992 | 0.066992 | 0.066992 | 0.99974 | -0.0050743 | 0.99889 | -0.02135 | 18.4045
14 | 0.062581 | 0.015769 | -0.062496 | -0.015715 | 8.4811e-05 | 5.3938e-05 | 0.093176 | 0.093176 | 0.093176 | 0.99974 | -0.0050743 | 0.99826 | -0.033446 | 25.5979
15 | 0.0066499 | 0.0016665 | -0.0066496 | -0.0016664 | 2.5892e-07 | 7.4556e-08 | 0.0099317 | 0.0099318 | 0.0099318 | 0.99631 | -0.070801 | 0.99627 | -0.071618 | 2.7285
16 | 0.039202 | 0.0098546 | -0.039152 | -0.0098231 | 5.0099e-05 | 3.1551e-05 | 0.058409 | 0.058409 | 0.058409 | 0.99889 | -0.02135 | 0.99749 | -0.048151 | 16.0464
17 | 0.01193 | 0.0029897 | -0.011928 | -0.0029889 | 1.5572e-06 | 8.2495e-07 | 0.017783 | 0.017783 | 0.017783 | 0.99826 | -0.033446 | 0.99811 | -0.036186 | 4.8854
18 | 0.050567 | 0.012726 | -0.050448 | -0.01265 | 0.00011883 | 7.5323e-05 | 0.075394 | 0.075394 | 0.075394 | 0.99826 | -0.033446 | 0.99569 | -0.082744 | 20.7127
19 | 0.004192 | 0.0010506 | -0.004192 | -0.0010506 | 1.5045e-10 | -3.4241e-11 | 0.0062549 | 0.0062549 | 0.0062549 | 0.99725 | -0.052884 | 0.99725 | -0.052884 | 1.7184
20 | -0.005234 | -0.0013118 | 0.0052344 | 0.0013118 | 3.9949e-07 | 2.7768e-08 | 0.0078098 | 0.0078097 | 0.0078098 | 0.99725 | -0.052884 | 0.99733 | -0.051282 | 2.1455
21 | 0.0031303 | 0.00078452 | -0.0031303 | -0.00078452 | 3.3757e-11 | -3.6409e-11 | 0.0046707 | 0.0046707 | 0.0046707 | 0.99725 | -0.052884 | 0.99725 | -0.052885 | 1.2832
22 | 0.020055 | 0.005035 | -0.020048 | -0.0050304 | 7.5406e-06 | 4.5331e-06 | 0.029926 | 0.029926 | 0.029926 | 0.99733 | -0.051282 | 0.99692 | -0.059167 | 8.2214
23 | -0.02529 | -0.0063468 | 0.025294 | 0.0063491 | 3.7764e-06 | 2.3246e-06 | 0.037735 | 0.037735 | 0.037735 | 0.99733 | -0.051282 | 0.99749 | -0.048151 | 10.3669
24 | 0.01898 | 0.0047627 | -0.018978 | -0.0047617 | 1.7102e-06 | 1.0204e-06 | 0.028332 | 0.028332 | 0.028332 | 0.99692 | -0.059167 | 0.99682 | -0.061056 | 7.7834
25 | 0.013858 | 0.003474 | -0.013856 | -0.0034726 | 2.5205e-06 | 1.4079e-06 | 0.020674 | 0.020674 | 0.020674 | 0.99749 | -0.048151 | 0.9973 | -0.051969 | 5.6796
26 | 0.01792 | 0.0044965 | -0.017915 | -0.0044935 | 5.1308e-06 | 3.0346e-06 | 0.026752 | 0.026752 | 0.026752 | 0.99682 | -0.061056 | 0.99651 | -0.067063 | 7.3495
27 | 0.0077223 | 0.0019354 | -0.0077223 | -0.0019354 | 3.2344e-08 | 1.2223e-08 | 0.011522 | 0.011522 | 0.011522 | 0.9973 | -0.051969 | 0.99729 | -0.052057 | 3.1654
28 | -0.0035003 | -0.00087726 | 0.0035005 | 0.00087715 | 1.7552e-07 | -1.0991e-07 | 0.0052325 | 0.0052324 | 0.0052325 | 0.99542 | -0.088192 | 0.99547 | -0.087139 | 1.4375
29 | -0.0046914 | -0.0011756 | 0.0046917 | 0.0011756 | 2.4872e-07 | -1.6173e-08 | 0.0070126 | 0.0070126 | 0.0070126 | 0.99547 | -0.087139 | 0.99553 | -0.086026 | 1.9265
30 | 0.017915 | 0.0044935 | -0.01791 | -0.0044907 | 4.7005e-06 | 2.7802e-06 | 0.026752 | 0.026752 | 0.026752 | 0.99651 | -0.067063 | 0.99623 | -0.072569 | 7.3495
31 | 0.0057649 | 0.0014448 | -0.0057645 | -0.0014447 | 3.3937e-07 | 5.7604e-08 | 0.0086015 | 0.0086016 | 0.0086016 | 0.99729 | -0.052057 | 0.99723 | -0.053292 | 2.3631
32 | -0.0074398 | -0.0018644 | 0.0074401 | 0.0018645 | 2.6289e-07 | 9.4518e-08 | 0.01112 | 0.01112 | 0.01112 | 0.99558 | -0.084968 | 0.99562 | -0.084226 | 3.0548
33 | 0.0066592 | 0.0016687 | -0.0066589 | -0.0016687 | 2.5201e-07 | 7.3073e-08 | 0.0099529 | 0.0099529 | 0.0099529 | 0.99558 | -0.084968 | 0.99554 | -0.085762 | 2.7343
34 | -0.0081345 | -0.0020385 | 0.008135 | 0.0020387 | 5.5147e-07 | 2.2354e-07 | 0.012157 | 0.012157 | 0.012157 | 0.99562 | -0.084226 | 0.9957 | -0.082803 | 3.3399
35 | 0.0058539 | 0.0014669 | -0.0058538 | -0.0014669 | 7.3595e-08 | 1.3769e-08 | 0.0087496 | 0.0087496 | 0.0087496 | 0.99554 | -0.085762 | 0.99553 | -0.086026 | 2.4037
36 | 0.0080171 | 0.0020087 | -0.0080165 | -0.0020085 | 5.8579e-07 | 2.3337e-07 | 0.011981 | 0.011981 | 0.011981 | 0.9957 | -0.082803 | 0.99562 | -0.084337 | 3.2915
37 | -0.016152 | -0.0040474 | 0.016155 | 0.0040491 | 2.8887e-06 | 1.6768e-06 | 0.024138 | 0.024138 | 0.024138 | 0.9957 | -0.082803 | 0.99589 | -0.079049 | 6.6314
38 | 0.0068945 | 0.0017273 | -0.0068937 | -0.001727 | 7.8824e-07 | 2.4705e-07 | 0.010304 | 0.010304 | 0.010304 | 0.99562 | -0.084337 | 0.99549 | -0.086738 | 2.8308
39 | -0.016844 | -0.0042218 | 0.016849 | 0.0042249 | 5.2017e-06 | 3.0441e-06 | 0.025168 | 0.025168 | 0.025168 | 0.99589 | -0.079049 | 0.99623 | -0.072569 | 6.9143
40 | 0.0010612 | 0.00026562 | -0.0010612 | -0.00026595 | 2.4849e-08 | -3.2652e-07 | 0.0015861 | 0.0015862 | 0.0015862 | 0.99549 | -0.086738 | 0.99547 | -0.087229 | 0.43577
41 | 0.0058325 | 0.0014614 | -0.0058325 | -0.0014614 | 4.2578e-08 | 7.8276e-09 | 0.008718 | 0.0087181 | 0.0087181 | 0.99549 | -0.086738 | 0.99548 | -0.086891 | 2.3951
42 | 0.005072 | 0.001271 | -0.0050718 | -0.001271 | 1.7727e-07 | 6.1939e-09 | 0.0075754 | 0.0075755 | 0.0075755 | 0.99627 | -0.071618 | 0.99623 | -0.072352 | 2.0812
43 | 0.003013 | 0.00075503 | -0.003013 | -0.00075505 | 1.5894e-08 | -1.7076e-08 | 0.0045004 | 0.0045004 | 0.0045004 | 0.99623 | -0.072352 | 0.99622 | -0.072463 | 1.2364
44 | 0.0015712 | 0.0003937 | -0.0015712 | -0.00039378 | 1.4767e-08 | -8.3637e-08 | 0.0023469 | 0.0023469 | 0.0023469 | 0.99622 | -0.072463 | 0.99621 | -0.07266 | 0.64475
45 | -0.00074639 | -0.00018706 | 0.0007464 | 0.00018682 | 8.8509e-09 | -2.433e-07 | 0.001113 | 0.0011129 | 0.001113 | 0.99792 | -0.039918 | 0.99793 | -0.039669 | 0.30576
46 | 0.00080999 | 0.00020283 | -0.00080998 | -0.000203 | 7.2826e-09 | -1.6929e-07 | 0.0012077 | 0.0012078 | 0.0012078 | 0.99793 | -0.039669 | 0.99792 | -0.039858 | 0.33181
47 | -0.0015564 | -0.00038965 | 0.0015564 | 0.00038946 | 3.349e-08 | -1.9525e-07 | 0.0023206 | 0.0023205 | 0.0023206 | 0.99793 | -0.039669 | 0.99796 | -0.039217 | 0.63752
48 | -0.005716 | -0.0014319 | 0.0057162 | 0.001432 | 1.7713e-07 | 2.8395e-08 | 0.0085227 | 0.0085227 | 0.0085227 | 0.99796 | -0.039217 | 0.99799 | -0.038566 | 2.3414
49 | -0.0068036 | -0.0017045 | 0.0068044 | 0.0017047 | 7.7111e-07 | 2.3237e-07 | 0.010144 | 0.010144 | 0.010144 | 0.99799 | -0.038566 | 0.99811 | -0.036186 | 2.7868
50 | 0.026502 | 0.0066491 | -0.026484 | -0.0066374 | 1.8821e-05 | 1.163e-05 | 0.039609 | 0.039609 | 0.039609 | 0.99569 | -0.082744 | 0.99492 | -0.09765 | 10.8817
51 | 0.0017441 | 0.00043676 | -0.001744 | -0.0004371 | 7.6733e-08 | -3.423e-07 | 0.0026069 | 0.0026071 | 0.0026071 | 0.99548 | -0.086891 | 0.99544 | -0.087815 | 0.71623

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30349 | 0.07611

## res_load
| p_mw | q_mvar
0 | 0.0040979 | 0.001027
1 | 0.004861 | 0.0012183
2 | 0.0012613 | 0.00031611
3 | 0.0022211 | 0.00055667
4 | 0.0022066 | 0.00055301
5 | 0.0023096 | 0.00057883
6 | 0.074504 | 0.018672
7 | 0.072731 | 0.018228
8 | 0.022556 | 0.005653
9 | 0.0057621 | 0.0014441
10 | 0.001042 | 0.00026116
11 | 0.0010617 | 0.00026609
12 | 0.0031303 | 0.00078452
13 | 0.0010681 | 0.0002677
14 | 0.0010582 | 0.00026521
15 | 0.0061335 | 0.0015372
16 | 0.0035003 | 0.00087726
17 | 0.001191 | 0.00029848
18 | 0.0019574 | 0.00049057
19 | 0.0007806 | 0.00019564
20 | 0.00069442 | 0.00017404
21 | 0.00080505 | 0.00020177
22 | 0.0011621 | 0.00029126
23 | 0.001122 | 0.0002812
24 | 0.00068918 | 0.00017273
25 | 0.0010607 | 0.00026583
26 | 0.0015776 | 0.00039539
27 | 0.0020588 | 0.00051597
28 | 0.0014418 | 0.00036135
29 | 0.0015712 | 0.00039378
30 | 0.00074639 | 0.00018706
31 | 0.00080998 | 0.000203
32 | 0.0041596 | 0.0010425
33 | 0.0010874 | 0.00027254
34 | 0.0051238 | 0.0012841
35 | 0.023945 | 0.0060012
36 | 0.026484 | 0.0066374
37 | 0.0010612 | 0.00026595
38 | 0.0040883 | 0.0010246
39 | 0.001744 | 0.0004371
40 | 0.0057645 | 0.0014447

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1