## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_112-13_1_4_node_58 | 0.4 | n |  | TRUE
1 | bus_LV_112-13_1_4_node_59 | 0.4 | n |  | TRUE
2 | bus_LV_112-13_1_4_node_60 | 0.4 | n |  | TRUE
3 | bus_LV_112-13_1_4_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_112-13_1_4_node_62 | 0.4 | n |  | TRUE
5 | bus_LV_112-13_1_4_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_112-13_1_4_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_112-13_1_4_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_112-13_1_4_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_112-13_1_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_112-13_1_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_112-13_1_4_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_112-13_1_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_112-13_1_4_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_112-13_1_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_112-13_1_4_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_112-13_1_4_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_112-13_1_4_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_112-13_1_4_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_112-13_1_4_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_112-13_1_4_node_137 | 0.4 | n |  | TRUE
21 | bus_LV_112-13_1_4_node_138 | 0.4 | n |  | TRUE
22 | bus_LV_112-13_1_4_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_112-13_1_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_112-13_1_4_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_112-13_1_4_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_112-13_1_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_112-13_1_4_node_131 | 0.4 | n |  | TRUE
28 | bus_LV_112-13_1_4_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_112-13_1_4_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_112-13_1_4_node_129 | 0.4 | n |  | TRUE
31 | bus_LV_112-13_1_4_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_112-13_1_4_node_126 | 0.4 | n |  | TRUE
33 | bus_LV_112-13_1_4_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_112-13_1_4_node_132 | 0.4 | n |  | TRUE
35 | bus_LV_112-13_1_4_node_153 | 0.4 | n |  | TRUE
36 | bus_LV_112-13_1_4_node_120 | 0.4 | n |  | TRUE
37 | bus_LV_112-13_1_4_node_123 | 0.4 | n |  | TRUE
38 | bus_LV_112-13_1_4_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_112-13_1_4_node_130 | 0.4 | n |  | TRUE
40 | bus_LV_112-13_1_4_node_128 | 0.4 | n |  | TRUE
41 | bus_LV_112-13_1_4_node_127 | 0.4 | n |  | TRUE
42 | bus_LV_112-13_1_4_node_133 | 0.4 | n |  | TRUE
43 | bus_LV_112-13_1_4_node_134 | 0.4 | n |  | TRUE
44 | bus_LV_112-13_1_4_node_173 | 0.4 | n |  | TRUE
45 | bus_LV_112-13_1_4_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_112-13_1_4_node_124 | 0.4 | n |  | TRUE
47 | bus_LV_112-13_1_4_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_112-13_1_4_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_112-13_1_4_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_112-13_1_4_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_112-13_1_4_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_112-13_1_4_node_125 | 0.4 | n |  | TRUE
53 | bus_LV_112-13_1_4_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_112-13_1_4_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_112-13_1_4_node_122 | 0.4 | n |  | TRUE
56 | bus_LV_112-13_1_4_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_112-13_1_4_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_112-13_1_4_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_112-13_1_4_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_112-13_1_4_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_112-13_1_4_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_112-13_1_4_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_112-13_1_4_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_112-13_1_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_112-13_1_4_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_112-13_1_4_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_112-13_1_4_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_112-13_1_4_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_112-13_1_4_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_112-13_1_4_node_114 | 0.4 | n |  | TRUE
71 | bus_LV_112-13_1_4_node_115 | 0.4 | n |  | TRUE
72 | bus_LV_112-13_1_4_node_119 | 0.4 | n |  | TRUE
73 | bus_LV_112-13_1_4_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_112-13_1_4_node_135 | 0.4 | n |  | TRUE
75 | bus_LV_112-13_1_4_node_141 | 0.4 | n |  | TRUE
76 | bus_LV_112-13_1_4_node_139 | 0.4 | n |  | TRUE
77 | bus_LV_112-13_1_4_node_140 | 0.4 | n |  | TRUE
78 | bus_LV_112-13_1_4_node_142 | 0.4 | n |  | TRUE
79 | bus_LV_112-13_1_4_node_143 | 0.4 | n |  | TRUE
80 | bus_LV_112-13_1_4_node_152 | 0.4 | n |  | TRUE
81 | bus_LV_112-13_1_4_node_151 | 0.4 | n |  | TRUE
82 | bus_LV_112-13_1_4_node_144 | 0.4 | n |  | TRUE
83 | bus_LV_112-13_1_4_node_145 | 0.4 | n |  | TRUE
84 | bus_LV_112-13_1_4_node_146 | 0.4 | n |  | TRUE
85 | bus_LV_112-13_1_4_node_148 | 0.4 | n |  | TRUE
86 | bus_LV_112-13_1_4_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_112-13_1_4_node_150 | 0.4 | n |  | TRUE
88 | bus_MV_8_1_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_112-13_1_4_load_58 | 0 | 0.0028024 | 0.00070234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_112-13_1_4_load_59 | 1 | 0.00066947 | 0.00016778 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_112-13_1_4_load_60 | 2 | 0.0049127 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_112-13_1_4_load_61 | 3 | 0.0044405 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_112-13_1_4_load_62 | 4 | 0.0053979 | 0.0013528 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_112-13_1_4_load_78 | 8 | 0.0088335 | 0.0022139 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_112-13_1_4_load_76 | 9 | 0.00034686 | 8.6932e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_112-13_1_4_load_63 | 10 | 0.00094793 | 0.00023757 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_112-13_1_4_load_64 | 11 | 0.0017746 | 0.00044476 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_112-13_1_4_load_72 | 14 | 0.00025561 | 6.4063e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_112-13_1_4_load_69 | 15 | 0.00054286 | 0.00013605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_112-13_1_4_load_73 | 16 | 0.00055012 | 0.00013787 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_112-13_1_4_load_68 | 17 | 0.0010608 | 0.00026586 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_112-13_1_4_load_70 | 18 | 0.00020546 | 5.1492e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_112-13_1_4_load_71 | 19 | 0.0022906 | 0.00057407 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_112-13_1_4_load_137 | 20 | 0.0039463 | 0.00098904 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_112-13_1_4_load_138 | 21 | 0.0007726 | 0.00019363 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_112-13_1_4_load_74 | 22 | 0.0002253 | 5.6465e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_112-13_1_4_load_85 | 25 | 0.0074734 | 0.001873 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_112-13_1_4_load_131 | 27 | 0.00058895 | 0.0001476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_112-13_1_4_load_129 | 30 | 0.0014342 | 0.00035944 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_112-13_1_4_load_126 | 32 | 0.0006196 | 0.00015529 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_112-13_1_4_load_153 | 35 | 0.0016613 | 0.00041636 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_112-13_1_4_load_123 | 37 | 0.00038158 | 9.5633e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_112-13_1_4_load_130 | 39 | 0.0020966 | 0.00052547 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_112-13_1_4_load_128 | 40 | 0.0020151 | 0.00050504 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_112-13_1_4_load_127 | 41 | 0.00020846 | 5.2244e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_112-13_1_4_load_133 | 42 | 0.0044829 | 0.0011235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_112-13_1_4_load_134 | 43 | 0.00080711 | 0.00020228 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_112-13_1_4_load_173 | 44 | 0.00032871 | 8.2382e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_112-13_1_4_load_118 | 45 | 0.002031 | 0.00050902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_112-13_1_4_load_124 | 46 | 0.00034755 | 8.7105e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_112-13_1_4_load_94 | 47 | 0.0070899 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_112-13_1_4_load_125 | 52 | 0.0072417 | 0.0018149 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_112-13_1_4_load_108 | 53 | 0.004785 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_112-13_1_4_load_106 | 54 | 0.015097 | 0.0037837 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_112-13_1_4_load_122 | 55 | 0.038015 | 0.0095274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_112-13_1_4_load_111 | 56 | 0.0006985 | 0.00017506 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_112-13_1_4_load_105 | 57 | 0.0033028 | 0.00082775 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_112-13_1_4_load_98 | 58 | 0.00045645 | 0.0001144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_112-13_1_4_load_99 | 59 | 0.00019994 | 5.0109e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_112-13_1_4_load_107 | 61 | 0.0056879 | 0.0014255 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_112-13_1_4_load_102 | 62 | 0.00023672 | 5.9327e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_112-13_1_4_load_101 | 63 | 0.00032765 | 8.2118e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_112-13_1_4_load_103 | 64 | 0.00024285 | 6.0863e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_112-13_1_4_load_104 | 65 | 0.00046026 | 0.00011535 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_112-13_1_4_load_109 | 66 | 0.001054 | 0.00026416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_112-13_1_4_load_110 | 67 | 0.00048126 | 0.00012062 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_112-13_1_4_load_112 | 68 | 0.00084186 | 0.00021099 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_112-13_1_4_load_116 | 69 | 0.001558 | 0.00039047 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_112-13_1_4_load_114 | 70 | 0.0026991 | 0.00067646 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_112-13_1_4_load_115 | 71 | 0.0004024 | 0.00010085 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_112-13_1_4_load_119 | 72 | 0.00028835 | 7.2267e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_112-13_1_4_load_121 | 73 | 0.0012519 | 0.00031376 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_112-13_1_4_load_135 | 74 | 0.0019957 | 0.00050017 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_112-13_1_4_load_141 | 75 | 0.0039451 | 0.00098873 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_112-13_1_4_load_139 | 76 | 0.0007726 | 0.00019363 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_112-13_1_4_load_140 | 77 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_112-13_1_4_load_142 | 78 | 0.0055083 | 0.0013805 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_112-13_1_4_load_143 | 79 | 0.0020553 | 0.0005151 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_112-13_1_4_load_151 | 81 | 0.0040765 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_112-13_1_4_load_144 | 82 | 0.00080845 | 0.00020262 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_112-13_1_4_load_145 | 83 | 0.0033908 | 0.00084981 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_112-13_1_4_load_146 | 84 | 0.0014942 | 0.00037448 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_112-13_1_4_load_148 | 85 | 0.0019061 | 0.00047772 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_112-13_1_4_load_150 | 87 | 0.0048248 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_112-13_1_4_line_0 |  | 0 | 1 | 0.0046841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_112-13_1_4_line_1 |  | 0 | 2 | 0.027808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_112-13_1_4_line_2 |  | 1 | 3 | 0.011218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_112-13_1_4_line_3 |  | 2 | 4 | 0.04416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_112-13_1_4_line_4 |  | 3 | 5 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_112-13_1_4_line_5 |  | 4 | 6 | 0.0065045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_112-13_1_4_line_6 |  | 5 | 7 | 0.038166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_112-13_1_4_line_7 |  | 6 | 8 | 0.063735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_112-13_1_4_line_8 |  | 6 | 9 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_112-13_1_4_line_9 |  | 7 | 23 | 0.26317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_112-13_1_4_line_10 |  | 9 | 22 | 0.014961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_112-13_1_4_line_11 |  | 10 | 11 | 0.0094869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_112-13_1_4_line_12 |  | 11 | 12 | 0.052427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_112-13_1_4_line_13 |  | 12 | 13 | 0.053842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_112-13_1_4_line_14 |  | 12 | 14 | 0.0044367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_112-13_1_4_line_15 |  | 13 | 15 | 0.013028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_112-13_1_4_line_16 |  | 14 | 16 | 0.0067222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_112-13_1_4_line_17 |  | 15 | 17 | 0.0090226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_112-13_1_4_line_18 |  | 16 | 22 | 0.01223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_112-13_1_4_line_19 |  | 17 | 18 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_112-13_1_4_line_20 |  | 18 | 19 | 0.017514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_112-13_1_4_line_21 |  | 19 | 20 | 0.032352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_112-13_1_4_line_22 |  | 20 | 21 | 0.035858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_112-13_1_4_line_23 |  | 21 | 75 | 0.0062646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_112-13_1_4_line_24 |  | 23 | 24 | 0.094644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_112-13_1_4_line_25 |  | 24 | 25 | 0.094466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_112-13_1_4_line_26 |  | 25 | 28 | 0.14207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_112-13_1_4_line_27 |  | 26 | 27 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_112-13_1_4_line_28 |  | 26 | 28 | 0.007381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_112-13_1_4_line_29 |  | 27 | 30 | 0.027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_112-13_1_4_line_30 |  | 29 | 30 | 0.025866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_112-13_1_4_line_31 |  | 29 | 31 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_112-13_1_4_line_32 |  | 29 | 32 | 0.042454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_112-13_1_4_line_33 |  | 31 | 36 | 0.032085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_112-13_1_4_line_34 |  | 31 | 37 | 0.046964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_112-13_1_4_line_35 |  | 32 | 41 | 0.014366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_112-13_1_4_line_36 |  | 33 | 34 | 0.091222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_112-13_1_4_line_37 |  | 33 | 35 | 0.10723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_112-13_1_4_line_38 |  | 34 | 42 | 0.027544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_112-13_1_4_line_39 |  | 34 | 43 | 0.027432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_112-13_1_4_line_40 |  | 34 | 39 | 0.051199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_112-13_1_4_line_41 |  | 35 | 44 | 0.22536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_112-13_1_4_line_42 |  | 36 | 45 | 0.013142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_112-13_1_4_line_43 |  | 37 | 46 | 0.0089361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_112-13_1_4_line_44 |  | 38 | 39 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_112-13_1_4_line_45 |  | 38 | 40 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_112-13_1_4_line_46 |  | 40 | 41 | 0.010949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_112-13_1_4_line_47 |  | 42 | 74 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_112-13_1_4_line_48 |  | 45 | 72 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_112-13_1_4_line_49 |  | 46 | 52 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_112-13_1_4_line_50 |  | 47 | 48 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_112-13_1_4_line_51 |  | 48 | 49 | 0.06868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_112-13_1_4_line_52 |  | 49 | 53 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_112-13_1_4_line_53 |  | 49 | 54 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_112-13_1_4_line_54 |  | 49 | 50 | 0.02127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_112-13_1_4_line_55 |  | 50 | 51 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_112-13_1_4_line_56 |  | 50 | 52 | 0.040816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_112-13_1_4_line_57 |  | 51 | 55 | 0.011571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_112-13_1_4_line_58 |  | 51 | 56 | 0.026524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_112-13_1_4_line_59 |  | 54 | 57 | 0.030237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_112-13_1_4_line_60 |  | 56 | 66 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_112-13_1_4_line_61 |  | 57 | 61 | 0.0064361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_112-13_1_4_line_62 |  | 58 | 59 | 0.042423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_112-13_1_4_line_63 |  | 59 | 60 | 0.040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_112-13_1_4_line_64 |  | 60 | 63 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_112-13_1_4_line_65 |  | 61 | 62 | 0.25291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_112-13_1_4_line_66 |  | 62 | 64 | 0.0057605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_112-13_1_4_line_67 |  | 62 | 63 | 0.041698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_112-13_1_4_line_68 |  | 64 | 65 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_112-13_1_4_line_69 |  | 66 | 67 | 0.010943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_112-13_1_4_line_70 |  | 67 | 68 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_112-13_1_4_line_71 |  | 68 | 69 | 0.0032216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_112-13_1_4_line_72 |  | 69 | 70 | 0.031495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_112-13_1_4_line_73 |  | 70 | 71 | 0.0022455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_112-13_1_4_line_74 |  | 72 | 73 | 0.0050972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_112-13_1_4_line_75 |  | 75 | 76 | 0.0023329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_112-13_1_4_line_76 |  | 76 | 77 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_112-13_1_4_line_77 |  | 77 | 78 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_112-13_1_4_line_78 |  | 78 | 79 | 0.017533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_112-13_1_4_line_79 |  | 79 | 80 | 0.0075465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_112-13_1_4_line_80 |  | 80 | 81 | 0.020798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_112-13_1_4_line_81 |  | 81 | 87 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_112-13_1_4_line_82 |  | 82 | 83 | 0.0095251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_112-13_1_4_line_83 |  | 82 | 84 | 0.0045246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_112-13_1_4_line_84 |  | 84 | 85 | 0.0091755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_112-13_1_4_line_85 |  | 85 | 86 | 0.050486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_112-13_1_4_line_86 |  | 86 | 87 | 0.0070639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_112-13_1_4_trafo_131 | 0.63 MVA 20/0.4 kV | 88 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2704326.6489 | 1237417.6105 | 2704326.6489 | 1237417.6105 | 2704325.9588 | 1237412.9775
1 | 2704326.6489 | 1237417.6105 | 2704324.5283 | 1237427.6142 | 2704313.8588 | 1237441.5885
2 | 2704325.9588 | 1237412.9775 | 2704325.4915 | 1237409.8397 | 2704323.0305 | 1237402.1795
3 | 2704313.8588 | 1237441.5885 | 2704304.816 | 1237453.4322 | 2704284.7061 | 1237474.6848
4 | 2704336.3904 | 1237385.179 | 2704323.0305 | 1237402.1795 | 2704323.0305 | 1237402.1795
5 | 2704280.2355 | 1237479.4094 | 2704284.7061 | 1237474.6848
6 | 2704371.3046 | 1237400.3039 | 2704361.7636 | 1237398.079 | 2704336.3904 | 1237385.179
7 | 2704280.2355 | 1237479.4094 | 2704294.2986 | 1237489.1193 | 2704299.9816 | 1237493.4224 | 2704302.9403 | 1237494.7198 | 2704305.525 | 1237493.6088 | 2704326.6227 | 1237467.6215
8 | 2704280.2355 | 1237479.4094 | 2704269.7103 | 1237487.8815
9 | 2704310.0591 | 1237193.8368 | 2704329.5015 | 1237198.9155 | 2704348.3081 | 1237216.0589 | 2704371.0112 | 1237238.8308 | 2704393.5653 | 1237254.1388 | 2704405.8458 | 1237259.8145 | 2704403.3586 | 1237271.2907 | 2704395.4122 | 1237303.1643 | 2704384.2625 | 1237348.5142 | 2704374.7016 | 1237387.8652 | 2704371.3046 | 1237400.3039
10 | 2704257.9538 | 1237497.1283 | 2704260.2404 | 1237495.5041 | 2704269.7103 | 1237487.8815
11 | 2704205.8031 | 1237560.0533 | 2704210.2834 | 1237551.6909
12 | 2704241.1931 | 1237513.2166 | 2704231.0891 | 1237515.0518 | 2704223.1724 | 1237527.6337 | 2704210.2834 | 1237551.6909
13 | 2704241.1931 | 1237513.2166 | 2704235.1375 | 1237529.7008 | 2704237.8863 | 1237548.1187 | 2704246.9347 | 1237563.3002
14 | 2704241.1931 | 1237513.2166 | 2704244.1014 | 1237509.8661
15 | 2704246.9347 | 1237563.3002 | 2704257.3236 | 1237555.4392
16 | 2704244.1014 | 1237509.8661 | 2704248.5078 | 1237504.7896
17 | 2704265.0336 | 1237551.0846 | 2704262.1729 | 1237551.7699 | 2704257.3236 | 1237555.4392
18 | 2704248.5078 | 1237504.7896 | 2704250.662 | 1237502.3078 | 2704257.9538 | 1237497.1283
19 | 2704265.0336 | 1237551.0846 | 2704283.4093 | 1237546.6826
20 | 2704283.4093 | 1237546.6826 | 2704300.4409 | 1237542.6026
21 | 2704332.6836 | 1237541.8115 | 2704304.2943 | 1237541.6795 | 2704300.4409 | 1237542.6026
22 | 2704332.6836 | 1237541.8115 | 2704368.1155 | 1237547.321
23 | 2704368.1155 | 1237547.321 | 2704374.3057 | 1237548.2836
24 | 2704310.0591 | 1237193.8368 | 2704321.1245 | 1237157.5701 | 2704328.737 | 1237128.7484 | 2704327.1176 | 1237123.149 | 2704323.6587 | 1237114.1369 | 2704313.9574 | 1237108.0842
25 | 2704313.9574 | 1237108.0842 | 2704303.495 | 1237120.7991 | 2704285.3839 | 1237137.7051 | 2704264.3985 | 1237152.3813 | 2704239.4812 | 1237164.2883
26 | 2704107.9622 | 1237217.9654 | 2704133.0587 | 1237207.4528 | 2704232.0559 | 1237167.8366 | 2704239.4812 | 1237164.2883
27 | 2704110.5424 | 1237224.8826 | 2704111.0991 | 1237250.2881
28 | 2704107.9622 | 1237217.9654 | 2704110.5424 | 1237224.8826
29 | 2704098.2345 | 1237259.2558 | 2704111.3914 | 1237263.6271 | 2704111.0991 | 1237250.2881
30 | 2704074.8902 | 1237248.2979 | 2704090.7919 | 1237256.783 | 2704098.2345 | 1237259.2558
31 | 2704054.9624 | 1237230.7576 | 2704068.9531 | 1237242.5006 | 2704074.8902 | 1237248.2979
32 | 2704074.8902 | 1237248.2979 | 2704074.8886 | 1237255.7258 | 2704069.4225 | 1237282.1947 | 2704066.4284 | 1237289.6118
33 | 2704054.9624 | 1237230.7576 | 2704041.275 | 1237220.2765 | 2704029.7799 | 1237210.7902
34 | 2704054.9624 | 1237230.7576 | 2704070.9407 | 1237224.088 | 2704079.9584 | 1237217.3409 | 2704085.7735 | 1237205.5004 | 2704087.2175 | 1237200.5095
35 | 2704066.4284 | 1237289.6118 | 2704061.0508 | 1237302.9334
36 | 2703953.7354 | 1237371.4705 | 2703961.4566 | 1237375.6422 | 2704023.4141 | 1237401.7246 | 2704038.3747 | 1237405.6007
37 | 2703953.7354 | 1237371.4705 | 2703881.4352 | 1237450.6617
38 | 2704038.3747 | 1237405.6007 | 2704025.4309 | 1237429.9133
39 | 2704038.3747 | 1237405.6007 | 2704062.7708 | 1237414.268 | 2704064.2242 | 1237414.7817
40 | 2704038.3747 | 1237405.6007 | 2704047.6351 | 1237355.2457
41 | 2703881.4352 | 1237450.6617 | 2703714.101 | 1237299.7046
42 | 2704029.7799 | 1237210.7902 | 2704039.834 | 1237202.3265
43 | 2704087.2175 | 1237200.5095 | 2704089.7012 | 1237191.9254
44 | 2704051.6995 | 1237333.1454 | 2704047.6351 | 1237355.2457
45 | 2704051.6995 | 1237333.1454 | 2704057.5524 | 1237313.2954
46 | 2704057.5524 | 1237313.2954 | 2704059.4072 | 1237307.0049 | 2704061.0508 | 1237302.9334
47 | 2704025.4309 | 1237429.9133 | 2704015.3323 | 1237448.8818
48 | 2704039.834 | 1237202.3265 | 2704039.834 | 1237202.3265 | 2704050.1649 | 1237199.6479
49 | 2704099.6197 | 1237175.4907 | 2704096.6536 | 1237178.8596 | 2704090.3894 | 1237189.5468 | 2704089.7012 | 1237191.9254
50 | 2704190.9503 | 1237112.5844 | 2704200.2354 | 1237106.9985 | 2704207.8767 | 1237100.8065
51 | 2704134.0879 | 1237130.6678 | 2704137.6859 | 1237139.1039 | 2704163.1598 | 1237126.9413 | 2704190.9503 | 1237112.5844
52 | 2704134.0879 | 1237130.6678 | 2704141.0742 | 1237126.2758 | 2704157.7002 | 1237120.092
53 | 2704134.0879 | 1237130.6678 | 2704129.36 | 1237120.2102 | 2704126.274 | 1237115.2177
54 | 2704127.788 | 1237145.9801 | 2704130.6692 | 1237143.5065 | 2704135.0362 | 1237140.4585 | 2704137.6859 | 1237139.1039 | 2704134.0879 | 1237130.6678
55 | 2704127.788 | 1237145.9801 | 2704122.9487 | 1237144.4608 | 2704118.8177 | 1237144.4106 | 2704113.5865 | 1237145.3863
56 | 2704127.788 | 1237145.9801 | 2704112.1853 | 1237161.4184 | 2704103.9425 | 1237170.581 | 2704099.6197 | 1237175.4907
57 | 2704113.5865 | 1237145.3863 | 2704110.1707 | 1237134.3291
58 | 2704113.5865 | 1237145.3863 | 2704087.6794 | 1237151.0718
59 | 2704106.4819 | 1237093.5333 | 2704108.7754 | 1237099.9784 | 2704124.3708 | 1237112.1388 | 2704126.274 | 1237115.2177
60 | 2704075.8292 | 1237153.6723 | 2704087.6794 | 1237151.0718
61 | 2704100.291 | 1237095.2928 | 2704106.4819 | 1237093.5333
62 | 2703955.2121 | 1236789.5518 | 2703956.9034 | 1236790.4491 | 2703974.9615 | 1236796.8812 | 2703995.3822 | 1236803.0747
63 | 2704033.6068 | 1236814.9662 | 2704000.5642 | 1236804.6464 | 2703995.3822 | 1236803.0747
64 | 2704033.6068 | 1236814.9662 | 2704028.5832 | 1236828.2661 | 2704028.1642 | 1236831.732
65 | 2704100.291 | 1237095.2928 | 2704010.3193 | 1236858.9271
66 | 2704010.3193 | 1236858.9271 | 2704004.8344 | 1236857.1668
67 | 2704010.3193 | 1236858.9271 | 2704015.6273 | 1236860.6306 | 2704021.8451 | 1236860.3726 | 2704025.2994 | 1236855.4293 | 2704028.1642 | 1236831.732
68 | 2703990.3335 | 1236849.9352 | 2703998.7324 | 1236855.2085 | 2704004.8344 | 1236857.1668
69 | 2704075.8292 | 1237153.6723 | 2704065.1408 | 1237156.018
70 | 2704046.1154 | 1237160.1932 | 2704065.1408 | 1237156.018
71 | 2704042.9687 | 1237160.8837 | 2704046.1154 | 1237160.1932
72 | 2704042.9687 | 1237160.8837 | 2704012.2055 | 1237167.6349
73 | 2704012.2055 | 1237167.6349 | 2704010.0122 | 1237168.1162
74 | 2704055.0989 | 1237198.3686 | 2704050.1649 | 1237199.6479
75 | 2704374.3057 | 1237548.2836 | 2704376.6109 | 1237548.642
76 | 2704376.6109 | 1237548.642 | 2704400.9458 | 1237552.426
77 | 2704414.2535 | 1237554.4953 | 2704400.9458 | 1237552.426
78 | 2704414.2535 | 1237554.4953 | 2704431.5783 | 1237557.1892
79 | 2704439.0352 | 1237558.3488 | 2704431.5783 | 1237557.1892
80 | 2704439.0352 | 1237558.3488 | 2704459.4006 | 1237562.5666
81 | 2704459.4006 | 1237562.5666 | 2704470.14 | 1237564.7909
82 | 2704539.8506 | 1237579.5234 | 2704544.6811 | 1237580.5465 | 2704548.96 | 1237582.2005
83 | 2704535.4241 | 1237578.5858 | 2704539.8506 | 1237579.5234
84 | 2704535.4241 | 1237578.5858 | 2704526.4478 | 1237576.6846
85 | 2704477.0571 | 1237566.2234 | 2704526.4478 | 1237576.6846
86 | 2704477.0571 | 1237566.2234 | 2704470.14 | 1237564.7909

## bus_geodata
| x | y | coords
0 | 2704326.6489 | 1237417.6105
1 | 2704325.9588 | 1237412.9775
2 | 2704313.8588 | 1237441.5885
3 | 2704323.0305 | 1237402.1795
4 | 2704284.7061 | 1237474.6848
5 | 2704336.3904 | 1237385.179
6 | 2704280.2355 | 1237479.4094
7 | 2704371.3046 | 1237400.3039
8 | 2704326.6227 | 1237467.6215
9 | 2704269.7103 | 1237487.8815
10 | 2704205.8031 | 1237560.0533
11 | 2704210.2834 | 1237551.6909
12 | 2704241.1931 | 1237513.2166
13 | 2704246.9347 | 1237563.3002
14 | 2704244.1014 | 1237509.8661
15 | 2704257.3236 | 1237555.4392
16 | 2704248.5078 | 1237504.7896
17 | 2704265.0336 | 1237551.0846
18 | 2704283.4093 | 1237546.6826
19 | 2704300.4409 | 1237542.6026
20 | 2704332.6836 | 1237541.8115
21 | 2704368.1155 | 1237547.321
22 | 2704257.9538 | 1237497.1283
23 | 2704310.0591 | 1237193.8368
24 | 2704313.9574 | 1237108.0842
25 | 2704239.4812 | 1237164.2883
26 | 2704110.5424 | 1237224.8826
27 | 2704111.0991 | 1237250.2881
28 | 2704107.9622 | 1237217.9654
29 | 2704074.8902 | 1237248.2979
30 | 2704098.2345 | 1237259.2558
31 | 2704054.9624 | 1237230.7576
32 | 2704066.4284 | 1237289.6118
33 | 2703953.7354 | 1237371.4705
34 | 2704038.3747 | 1237405.6007
35 | 2703881.4352 | 1237450.6618
36 | 2704029.7799 | 1237210.7902
37 | 2704087.2175 | 1237200.5095
38 | 2704051.6995 | 1237333.1454
39 | 2704047.6351 | 1237355.2457
40 | 2704057.5524 | 1237313.2954
41 | 2704061.0508 | 1237302.9334
42 | 2704025.4309 | 1237429.9133
43 | 2704064.2242 | 1237414.7817
44 | 2703714.101 | 1237299.7046
45 | 2704039.834 | 1237202.3265
46 | 2704089.7012 | 1237191.9254
47 | 2704207.8767 | 1237100.8065
48 | 2704190.9503 | 1237112.5844
49 | 2704134.0879 | 1237130.6678
50 | 2704127.788 | 1237145.9801
51 | 2704113.5865 | 1237145.3863
52 | 2704099.6197 | 1237175.4907
53 | 2704157.7002 | 1237120.0919
54 | 2704126.274 | 1237115.2177
55 | 2704110.1707 | 1237134.3291
56 | 2704087.6794 | 1237151.0718
57 | 2704106.4819 | 1237093.5333
58 | 2703955.2121 | 1236789.5518
59 | 2703995.3822 | 1236803.0747
60 | 2704033.6068 | 1236814.9662
61 | 2704100.291 | 1237095.2928
62 | 2704010.3193 | 1236858.9271
63 | 2704028.1642 | 1236831.732
64 | 2704004.8344 | 1236857.1668
65 | 2703990.3335 | 1236849.9352
66 | 2704075.8292 | 1237153.6723
67 | 2704065.1408 | 1237156.018
68 | 2704046.1154 | 1237160.1932
69 | 2704042.9687 | 1237160.8837
70 | 2704012.2055 | 1237167.6349
71 | 2704010.0122 | 1237168.1162
72 | 2704050.1649 | 1237199.6479
73 | 2704055.0989 | 1237198.3686
74 | 2704015.3323 | 1237448.8818
75 | 2704374.3057 | 1237548.2836
76 | 2704376.6109 | 1237548.642
77 | 2704400.9458 | 1237552.426
78 | 2704414.2535 | 1237554.4953
79 | 2704431.5783 | 1237557.1892
80 | 2704439.0352 | 1237558.3488
81 | 2704459.4006 | 1237562.5666
82 | 2704539.8506 | 1237579.5234
83 | 2704548.96 | 1237582.2005
84 | 2704535.4241 | 1237578.5858
85 | 2704526.4478 | 1237576.6846
86 | 2704477.0571 | 1237566.2234
87 | 2704470.14 | 1237564.7909
88 | 2704110.5424 | 1237224.8826

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9844 | -0.29736 | 0.0028024 | 0.00070234
1 | 0.9845 | -0.29554 | 0.00066947 | 0.00016778
2 | 0.9836 | -0.31287 | 0.0049127 | 0.0012312
3 | 0.98472 | -0.29114 | 0.0044405 | 0.0011129
4 | 0.98126 | -0.35838 | 0.0053979 | 0.0013528
5 | 0.98519 | -0.28209 | 0 | 0
6 | 0.98094 | -0.36447 | 0 | 0
7 | 0.98602 | -0.26613 | 0 | 0
8 | 0.98042 | -0.37467 | 0.0088335 | 0.0022139
9 | 0.9804 | -0.37496 | 0.00034686 | 8.6932e-05
10 | 0.97875 | -0.40708 | 0.00094793 | 0.00023757
11 | 0.97876 | -0.40692 | 0.0017746 | 0.00044476
12 | 0.9789 | -0.40432 | 0 | 0
13 | 0.97695 | -0.44233 | 0 | 0
14 | 0.97907 | -0.40098 | 0.00025561 | 6.4063e-05
15 | 0.97648 | -0.45155 | 0.00054286 | 0.00013605
16 | 0.97933 | -0.39588 | 0.00055012 | 0.00013787
17 | 0.97616 | -0.45785 | 0.0010608 | 0.00026586
18 | 0.9755 | -0.47069 | 0.00020546 | 5.1492e-05
19 | 0.9749 | -0.48254 | 0.0022906 | 0.00057407
20 | 0.97385 | -0.5031 | 0.0039463 | 0.00098904
21 | 0.97283 | -0.52334 | 0.0007726 | 0.00019363
22 | 0.97981 | -0.38649 | 0.0002253 | 5.6465e-05
23 | 0.99172 | -0.15681 | 0 | 0
24 | 0.99377 | -0.11779 | 0 | 0
25 | 0.99581 | -0.078995 | 0.0074734 | 0.001873
26 | 0.99939 | -0.01144 | 0 | 0
27 | 1 | 0 | -0.19306 | -0.049172
28 | 0.99921 | -0.014765 | 0 | 0
29 | 0.99461 | -0.10247 | 0 | 0
30 | 0.99722 | -0.052726 | 0.0014342 | 0.00035944
31 | 0.99227 | -0.14714 | 0 | 0
32 | 0.99406 | -0.11313 | 0.0006196 | 0.00015529
33 | 0.9927 | -0.13949 | 0 | 0
34 | 0.99286 | -0.13626 | 0 | 0
35 | 0.9925 | -0.14329 | 0.0016613 | 0.00041636
36 | 0.99217 | -0.14917 | 0 | 0
37 | 0.9883 | -0.22363 | 0.00038158 | 9.5633e-05
38 | 0.99353 | -0.12333 | 0 | 0
39 | 0.9933 | -0.12785 | 0.0020966 | 0.00052547
40 | 0.99374 | -0.11917 | 0.0020151 | 0.00050504
41 | 0.99388 | -0.11658 | 0.00020846 | 5.2244e-05
42 | 0.9927 | -0.13942 | 0.0044829 | 0.0011235
43 | 0.99284 | -0.13665 | 0.00080711 | 0.00020228
44 | 0.99243 | -0.14461 | 0.00032871 | 8.2382e-05
45 | 0.99212 | -0.15 | 0.002031 | 0.00050902
46 | 0.98754 | -0.23819 | 0.00034755 | 8.7105e-05
47 | 0.98144 | -0.35713 | 0.0070899 | 0.0017769
48 | 0.98157 | -0.35447 | 0 | 0
49 | 0.98202 | -0.34567 | 0 | 0
50 | 0.98276 | -0.33111 | 0 | 0
51 | 0.98215 | -0.34307 | 0 | 0
52 | 0.98592 | -0.26968 | 0.0072417 | 0.0018149
53 | 0.98191 | -0.34792 | 0.004785 | 0.0011992
54 | 0.9816 | -0.35383 | 0.015097 | 0.0037837
55 | 0.98175 | -0.35102 | 0.038015 | 0.0095274
56 | 0.98196 | -0.34678 | 0.0006985 | 0.00017506
57 | 0.9813 | -0.35981 | 0.0033028 | 0.00082775
58 | 0.98071 | -0.37134 | 0.00045645 | 0.0001144
59 | 0.98073 | -0.37099 | 0.00019994 | 5.0109e-05
60 | 0.98076 | -0.37051 | 0 | 0
61 | 0.98125 | -0.3607 | 0.0056879 | 0.0014255
62 | 0.9808 | -0.36955 | 0.00023672 | 5.9327e-05
63 | 0.98077 | -0.3703 | 0.00032765 | 8.2118e-05
64 | 0.9808 | -0.36963 | 0.00024285 | 6.0863e-05
65 | 0.98079 | -0.36976 | 0.00046026 | 0.00011535
66 | 0.98188 | -0.34832 | 0.001054 | 0.00026416
67 | 0.98182 | -0.34951 | 0.00048126 | 0.00012062
68 | 0.98173 | -0.35145 | 0.00084186 | 0.00021099
69 | 0.98171 | -0.35172 | 0.001558 | 0.00039047
70 | 0.98162 | -0.35349 | 0.0026991 | 0.00067646
71 | 0.98162 | -0.3535 | 0.0004024 | 0.00010085
72 | 0.99211 | -0.15029 | 0.00028835 | 7.2267e-05
73 | 0.9921 | -0.1504 | 0.0012519 | 0.00031376
74 | 0.99266 | -0.14018 | 0.0019957 | 0.00050017
75 | 0.97265 | -0.52679 | 0.0039451 | 0.00098873
76 | 0.9726 | -0.52791 | 0.0007726 | 0.00019363
77 | 0.97202 | -0.53935 | 0.0011198 | 0.00028064
78 | 0.97171 | -0.54533 | 0.0055083 | 0.0013805
79 | 0.97141 | -0.55134 | 0.0020553 | 0.0005151
80 | 0.97129 | -0.55364 | 0 | 0
81 | 0.97097 | -0.55998 | 0.0040765 | 0.0010217
82 | 0.97037 | -0.57191 | 0.00080845 | 0.00020262
83 | 0.97034 | -0.57251 | 0.0033908 | 0.00084981
84 | 0.97039 | -0.57156 | 0.0014942 | 0.00037448
85 | 0.97044 | -0.57059 | 0.0019061 | 0.00047772
86 | 0.9708 | -0.5635 | 0 | 0
87 | 0.97085 | -0.5625 | 0.0048248 | 0.0012092
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.065292 | -0.01656 | 0.065298 | 0.016563 | 5.7114e-06 | 3.4767e-06 | 0.098765 | 0.098765 | 0.098765 | 0.9844 | -0.29736 | 0.9845 | -0.29554 | 9.0445
1 | 0.06249 | 0.015858 | -0.062443 | -0.015829 | 4.6591e-05 | 2.9112e-05 | 0.094529 | 0.09453 | 0.09453 | 0.9844 | -0.29736 | 0.9836 | -0.31287 | 12.9848
2 | -0.065967 | -0.016731 | 0.065981 | 0.01674 | 1.396e-05 | 8.5065e-06 | 0.099777 | 0.099777 | 0.099777 | 0.9845 | -0.29554 | 0.98472 | -0.29114 | 9.1371
3 | 0.057531 | 0.014597 | -0.057405 | -0.014517 | 0.00012562 | 7.9841e-05 | 0.087098 | 0.087098 | 0.087098 | 0.9836 | -0.31287 | 0.98126 | -0.35838 | 23.928
4 | -0.070422 | -0.017853 | 0.070452 | 0.017871 | 3.0648e-05 | 1.8789e-05 | 0.10649 | 0.10649 | 0.10649 | 0.98472 | -0.29114 | 0.98519 | -0.28209 | 9.7516
5 | 0.052007 | 0.013165 | -0.051992 | -0.013155 | 1.5189e-05 | 9.6389e-06 | 0.078912 | 0.078912 | 0.078912 | 0.98126 | -0.35838 | 0.98094 | -0.36447 | 21.6792
6 | -0.070452 | -0.017871 | 0.070506 | 0.017905 | 5.4097e-05 | 3.3163e-05 | 0.10649 | 0.10649 | 0.10649 | 0.98519 | -0.28209 | 0.98602 | -0.26613 | 9.7515
7 | 0.0088378 | 0.0022158 | -0.0088335 | -0.0022139 | 4.2959e-06 | 1.9452e-06 | 0.013407 | 0.013407 | 0.013407 | 0.98094 | -0.36447 | 0.98042 | -0.37467 | 3.6832
8 | 0.043154 | 0.010939 | -0.043132 | -0.010925 | 2.1742e-05 | 1.3744e-05 | 0.065506 | 0.065506 | 0.065506 | 0.98094 | -0.36447 | 0.9804 | -0.37496 | 17.9961
9 | -0.070506 | -0.017905 | 0.070879 | 0.018133 | 0.000373 | 0.00022859 | 0.10649 | 0.10648 | 0.10649 | 0.98602 | -0.26613 | 0.99172 | -0.15681 | 9.7515
10 | 0.042785 | 0.010838 | -0.042762 | -0.010824 | 2.3689e-05 | 1.4973e-05 | 0.06498 | 0.06498 | 0.06498 | 0.9804 | -0.37496 | 0.97981 | -0.38649 | 17.8515
11 | -0.00094793 | -0.00023757 | 0.00094794 | 0.00023746 | 7.3887e-09 | -1.145e-07 | 0.0014412 | 0.0014411 | 0.0014412 | 0.97875 | -0.40708 | 0.97876 | -0.40692 | 0.39592
12 | -0.0027225 | -0.00068222 | 0.0027229 | 0.00068177 | 3.3679e-07 | -4.4345e-07 | 0.004139 | 0.0041388 | 0.004139 | 0.97876 | -0.40692 | 0.9789 | -0.40432 | 1.1371
13 | 0.038972 | 0.0098605 | -0.038901 | -0.0098158 | 7.094e-05 | 4.4726e-05 | 0.059274 | 0.059275 | 0.059275 | 0.9789 | -0.40432 | 0.97695 | -0.44233 | 16.2842
14 | -0.041695 | -0.010542 | 0.041701 | 0.010547 | 6.6903e-06 | 4.226e-06 | 0.063413 | 0.063413 | 0.063413 | 0.9789 | -0.40432 | 0.97907 | -0.40098 | 17.4212
15 | 0.038901 | 0.0098158 | -0.038884 | -0.009805 | 1.7165e-05 | 1.0823e-05 | 0.059275 | 0.059275 | 0.059275 | 0.97695 | -0.44233 | 0.97648 | -0.45155 | 16.2843
16 | -0.041957 | -0.010611 | 0.041967 | 0.010617 | 1.0261e-05 | 6.4827e-06 | 0.063802 | 0.063802 | 0.063802 | 0.97907 | -0.40098 | 0.97933 | -0.39588 | 17.5279
17 | 0.038341 | 0.0096689 | -0.038329 | -0.0096616 | 1.1558e-05 | 7.2845e-06 | 0.058447 | 0.058447 | 0.058447 | 0.97648 | -0.45155 | 0.97616 | -0.45785 | 16.057
18 | -0.042517 | -0.010755 | 0.042536 | 0.010767 | 1.9162e-05 | 1.211e-05 | 0.064637 | 0.064637 | 0.064637 | 0.97933 | -0.39588 | 0.97981 | -0.38649 | 17.7575
19 | 0.037268 | 0.0093958 | -0.037245 | -0.0093814 | 2.2885e-05 | 1.441e-05 | 0.05683 | 0.056831 | 0.056831 | 0.97616 | -0.45785 | 0.9755 | -0.47069 | 15.6128
20 | 0.03704 | 0.0093299 | -0.037019 | -0.0093167 | 2.0978e-05 | 1.3207e-05 | 0.056517 | 0.056517 | 0.056517 | 0.9755 | -0.47069 | 0.9749 | -0.48254 | 15.5267
21 | 0.034728 | 0.0087426 | -0.034694 | -0.0087212 | 3.4106e-05 | 2.1425e-05 | 0.053021 | 0.053021 | 0.053021 | 0.9749 | -0.48254 | 0.97385 | -0.5031 | 14.5663
22 | 0.030748 | 0.0077321 | -0.030718 | -0.0077136 | 2.9693e-05 | 1.8558e-05 | 0.046991 | 0.046991 | 0.046991 | 0.97385 | -0.5031 | 0.97283 | -0.52334 | 12.9098
23 | 0.029946 | 0.0075199 | -0.029941 | -0.0075169 | 4.9299e-06 | 3.0774e-06 | 0.04581 | 0.04581 | 0.04581 | 0.97283 | -0.52334 | 0.97265 | -0.52679 | 12.5851
24 | -0.070879 | -0.018133 | 0.071014 | 0.018215 | 0.00013414 | 8.2178e-05 | 0.10648 | 0.10648 | 0.10648 | 0.99172 | -0.15681 | 0.99377 | -0.11779 | 9.7511
25 | -0.071014 | -0.018215 | 0.071147 | 0.018297 | 0.00013388 | 8.2006e-05 | 0.10648 | 0.10648 | 0.10648 | 0.99377 | -0.11779 | 0.99581 | -0.078995 | 9.751
26 | -0.078621 | -0.02017 | 0.078867 | 0.020322 | 0.00024579 | 0.00015174 | 0.11765 | 0.11764 | 0.11765 | 0.99581 | -0.078995 | 0.99921 | -0.014765 | 10.7735
27 | -0.078879 | -0.02033 | 0.078923 | 0.020357 | 4.3963e-05 | 2.7137e-05 | 0.11764 | 0.11764 | 0.11764 | 0.99939 | -0.01144 | 1 | 0 | 10.7733
28 | 0.078879 | 0.02033 | -0.078867 | -0.020322 | 1.2769e-05 | 7.8823e-06 | 0.11764 | 0.11764 | 0.11764 | 0.99939 | -0.01144 | 0.99921 | -0.014765 | 10.7733
29 | 0.11248 | 0.028815 | -0.1122 | -0.028632 | 0.00028658 | 0.00018306 | 0.1676 | 0.1676 | 0.1676 | 1 | 0 | 0.99722 | -0.052726 | 46.0441
30 | -0.1105 | -0.028103 | 0.11076 | 0.028273 | 0.00026556 | 0.00016962 | 0.16546 | 0.16546 | 0.16546 | 0.99461 | -0.10247 | 0.99722 | -0.052726 | 45.4562
31 | 0.096262 | 0.024535 | -0.096055 | -0.024403 | 0.00020702 | 0.00013215 | 0.14416 | 0.14416 | 0.14416 | 0.99461 | -0.10247 | 0.99227 | -0.14714 | 39.6048
32 | 0.014237 | 0.0035678 | -0.01423 | -0.0035637 | 7.2225e-06 | 4.0717e-06 | 0.021299 | 0.0213 | 0.0213 | 0.99461 | -0.10247 | 0.99406 | -0.11313 | 5.8515
33 | 0.0035718 | 0.00089458 | -0.0035714 | -0.00089478 | 3.4517e-07 | -1.935e-07 | 0.0053561 | 0.0053562 | 0.0053562 | 0.99227 | -0.14714 | 0.99217 | -0.14917 | 1.4715
34 | 0.092483 | 0.023509 | -0.092144 | -0.023292 | 0.00033932 | 0.00021656 | 0.13881 | 0.13881 | 0.13881 | 0.99227 | -0.14714 | 0.9883 | -0.22363 | 38.1335
35 | 0.01361 | 0.0034084 | -0.013608 | -0.0034072 | 2.2358e-06 | 1.2447e-06 | 0.020372 | 0.020372 | 0.020372 | 0.99406 | -0.11313 | 0.99388 | -0.11658 | 5.5967
36 | -0.0019904 | -0.00049468 | 0.0019907 | 0.0004937 | 3.0416e-07 | -9.8489e-07 | 0.002982 | 0.0029816 | 0.002982 | 0.9927 | -0.13949 | 0.99286 | -0.13626 | 0.81924
37 | 0.0019904 | 0.00049468 | -0.00199 | -0.00049584 | 3.5764e-07 | -1.1572e-06 | 0.002982 | 0.0029825 | 0.0029825 | 0.9927 | -0.13949 | 0.9925 | -0.14329 | 0.81938
38 | 0.0064796 | 0.0016237 | -0.0064786 | -0.0016235 | 9.7406e-07 | 2.6725e-07 | 0.009711 | 0.0097111 | 0.0097111 | 0.99286 | -0.13626 | 0.9927 | -0.13942 | 2.6679
39 | 0.00080712 | 0.00020193 | -0.00080711 | -0.00020228 | 1.5051e-08 | -3.4512e-07 | 0.0012095 | 0.0012096 | 0.0012096 | 0.99286 | -0.13626 | 0.99284 | -0.13665 | 0.33232
40 | -0.0092774 | -0.0023194 | 0.0092811 | 0.0023211 | 3.7107e-06 | 1.7124e-06 | 0.013902 | 0.013902 | 0.013902 | 0.99286 | -0.13626 | 0.9933 | -0.12785 | 3.8193
41 | 0.00032873 | 7.9483e-05 | -0.00032871 | -8.2382e-05 | 2.0486e-08 | -2.8991e-06 | 0.00049184 | 0.00049285 | 0.00049285 | 0.9925 | -0.14329 | 0.99243 | -0.14461 | 0.1354
42 | 0.0035714 | 0.00089478 | -0.0035713 | -0.00089486 | 1.4139e-07 | -7.9229e-08 | 0.0053562 | 0.0053563 | 0.0053563 | 0.99217 | -0.14917 | 0.99212 | -0.15 | 1.4715
43 | 0.091762 | 0.023196 | -0.091698 | -0.023155 | 6.4032e-05 | 4.0866e-05 | 0.13823 | 0.13823 | 0.13823 | 0.9883 | -0.22363 | 0.98754 | -0.23819 | 37.9756
44 | 0.01138 | 0.0028478 | -0.011378 | -0.0028465 | 2.4476e-06 | 1.2755e-06 | 0.017043 | 0.017043 | 0.017043 | 0.99353 | -0.12333 | 0.9933 | -0.12785 | 4.6821
45 | -0.01138 | -0.0028478 | 0.011382 | 0.002849 | 2.2541e-06 | 1.1746e-06 | 0.017043 | 0.017043 | 0.017043 | 0.99353 | -0.12333 | 0.99374 | -0.11917 | 4.6821
46 | -0.013398 | -0.003354 | 0.013399 | 0.0033549 | 1.6522e-06 | 9.1555e-07 | 0.02006 | 0.02006 | 0.02006 | 0.99374 | -0.11917 | 0.99388 | -0.11658 | 5.511
47 | 0.0019958 | 0.00049994 | -0.0019957 | -0.00050017 | 7.2119e-08 | -2.3165e-07 | 0.0029915 | 0.0029916 | 0.0029916 | 0.9927 | -0.13942 | 0.99266 | -0.14018 | 0.82187
48 | 0.0015403 | 0.00038584 | -0.0015403 | -0.00038596 | 2.1358e-08 | -1.2415e-07 | 0.0023101 | 0.0023101 | 0.0023101 | 0.99212 | -0.15 | 0.99211 | -0.15029 | 0.63465
49 | 0.09135 | 0.023068 | -0.091213 | -0.022981 | 0.00013762 | 8.783e-05 | 0.13771 | 0.13771 | 0.13771 | 0.98754 | -0.23819 | 0.98592 | -0.26968 | 37.8318
50 | -0.0070899 | -0.0017769 | 0.0070908 | 0.0017772 | 8.9571e-07 | 3.12e-07 | 0.01075 | 0.010749 | 0.01075 | 0.98144 | -0.35713 | 0.98157 | -0.35447 | 2.9532
51 | -0.0070908 | -0.0017772 | 0.0070938 | 0.0017783 | 2.9759e-06 | 1.036e-06 | 0.010749 | 0.010749 | 0.010749 | 0.98157 | -0.35447 | 0.98202 | -0.34567 | 2.9531
52 | 0.0047855 | 0.0011992 | -0.004785 | -0.0011992 | 5.1248e-07 | -8.0253e-10 | 0.0072512 | 0.0072513 | 0.0072513 | 0.98202 | -0.34567 | 0.98191 | -0.34792 | 1.9921
53 | 0.026026 | 0.0065224 | -0.026016 | -0.0065161 | 1.0116e-05 | 6.2549e-06 | 0.039436 | 0.039436 | 0.039436 | 0.98202 | -0.34567 | 0.9816 | -0.35383 | 10.8341
54 | -0.037905 | -0.0094999 | 0.037932 | 0.0095164 | 2.6313e-05 | 1.6571e-05 | 0.057436 | 0.057436 | 0.057436 | 0.98202 | -0.34567 | 0.98276 | -0.33111 | 15.7792
55 | 0.045794 | 0.011492 | -0.045768 | -0.011476 | 2.6115e-05 | 1.653e-05 | 0.069342 | 0.069342 | 0.069342 | 0.98276 | -0.33111 | 0.98215 | -0.34307 | 19.0501
56 | -0.083725 | -0.021009 | 0.083971 | 0.021166 | 0.00024601 | 0.00015693 | 0.12678 | 0.12678 | 0.12678 | 0.98276 | -0.33111 | 0.98592 | -0.26968 | 34.8292
57 | 0.038029 | 0.0095365 | -0.038015 | -0.0095274 | 1.4405e-05 | 9.0731e-06 | 0.057619 | 0.057619 | 0.057619 | 0.98215 | -0.34307 | 0.98175 | -0.35102 | 15.8293
58 | 0.0077382 | 0.0019392 | -0.0077368 | -0.0019387 | 1.3671e-06 | 5.3935e-07 | 0.011724 | 0.011724 | 0.011724 | 0.98215 | -0.34307 | 0.98196 | -0.34678 | 3.2208
59 | 0.010919 | 0.0027325 | -0.010916 | -0.0027309 | 3.1059e-06 | 1.6057e-06 | 0.01655 | 0.016551 | 0.016551 | 0.9816 | -0.35383 | 0.9813 | -0.35981 | 4.5469
60 | 0.0070383 | 0.0017636 | -0.0070378 | -0.0017634 | 5.1752e-07 | 1.7775e-07 | 0.010665 | 0.010665 | 0.010665 | 0.98196 | -0.34678 | 0.98188 | -0.34832 | 2.9301
61 | 0.007613 | 0.0019031 | -0.0076127 | -0.001903 | 3.2155e-07 | 1.2449e-07 | 0.011542 | 0.011542 | 0.011542 | 0.9813 | -0.35981 | 0.98125 | -0.3607 | 3.171
62 | -0.00045645 | -0.0001144 | 0.00045645 | 0.00011387 | 7.6283e-09 | -5.3043e-07 | 0.00069256 | 0.00069237 | 0.00069256 | 0.98071 | -0.37134 | 0.98073 | -0.37099 | 0.19026
63 | -0.00065639 | -0.00016398 | 0.00065641 | 0.00016348 | 1.4881e-08 | -4.9563e-07 | 0.00099572 | 0.00099554 | 0.00099572 | 0.98073 | -0.37099 | 0.98076 | -0.37051 | 0.27355
64 | -0.00065641 | -0.00016348 | 0.00065641 | 0.00016326 | 6.581e-09 | -2.1925e-07 | 0.00099554 | 0.00099546 | 0.00099554 | 0.98076 | -0.37051 | 0.98077 | -0.3703 | 0.2735
65 | 0.0019247 | 0.00047746 | -0.0019239 | -0.00048014 | 8.0731e-07 | -2.6766e-06 | 0.002917 | 0.0029181 | 0.0029181 | 0.98125 | -0.3607 | 0.9808 | -0.36955 | 0.80169
66 | 0.00070311 | 0.00017594 | -0.00070311 | -0.00017601 | 2.4576e-09 | -7.1127e-08 | 0.0010666 | 0.0010666 | 0.0010666 | 0.9808 | -0.36955 | 0.9808 | -0.36963 | 0.29303
67 | 0.0009841 | 0.00024487 | -0.00098407 | -0.00024538 | 3.4831e-08 | -5.0394e-07 | 0.0014924 | 0.0014926 | 0.0014926 | 0.9808 | -0.36955 | 0.98077 | -0.3703 | 0.41005
68 | 0.00046026 | 0.00011515 | -0.00046026 | -0.00011535 | 2.9848e-09 | -2.0412e-07 | 0.00069821 | 0.00069828 | 0.00069828 | 0.9808 | -0.36963 | 0.98079 | -0.36976 | 0.19184
69 | 0.0059838 | 0.0014993 | -0.0059834 | -0.0014992 | 3.3744e-07 | 7.7561e-08 | 0.0090681 | 0.0090681 | 0.0090681 | 0.98188 | -0.34832 | 0.98182 | -0.34951 | 2.4912
70 | 0.0055022 | 0.0013786 | -0.0055017 | -0.0013785 | 5.0791e-07 | 7.8753e-08 | 0.0083388 | 0.0083389 | 0.0083389 | 0.98182 | -0.34951 | 0.98173 | -0.35145 | 2.2909
71 | 0.0046598 | 0.0011675 | -0.0046598 | -0.0011675 | 6.0264e-08 | -2.1645e-09 | 0.0070628 | 0.0070629 | 0.0070629 | 0.98173 | -0.35145 | 0.98171 | -0.35172 | 1.9403
72 | 0.0031018 | 0.00077705 | -0.0031015 | -0.00077728 | 2.6106e-07 | -2.3111e-07 | 0.0047013 | 0.0047015 | 0.0047015 | 0.98171 | -0.35172 | 0.98162 | -0.35349 | 1.2916
73 | 0.0004024 | 0.00010082 | -0.0004024 | -0.00010085 | 3.1339e-10 | -2.8186e-08 | 0.00060998 | 0.00060999 | 0.00060999 | 0.98162 | -0.35349 | 0.98162 | -0.3535 | 0.16758
74 | 0.0012519 | 0.00031369 | -0.0012519 | -0.00031376 | 6.739e-09 | -6.1506e-08 | 0.0018777 | 0.0018777 | 0.0018777 | 0.99211 | -0.15029 | 0.9921 | -0.1504 | 0.51585
75 | 0.025996 | 0.0065281 | -0.025994 | -0.0065273 | 1.384e-06 | 8.568e-07 | 0.039774 | 0.039774 | 0.039774 | 0.97265 | -0.52679 | 0.9726 | -0.52791 | 10.927
76 | 0.025222 | 0.0063336 | -0.025208 | -0.0063251 | 1.3755e-05 | 8.4976e-06 | 0.038592 | 0.038592 | 0.038592 | 0.9726 | -0.52791 | 0.97202 | -0.53935 | 10.6023
77 | 0.024088 | 0.0060445 | -0.024081 | -0.0060403 | 6.8685e-06 | 4.229e-06 | 0.036878 | 0.036878 | 0.036878 | 0.97202 | -0.53935 | 0.97171 | -0.54533 | 10.1314
78 | 0.018573 | 0.0046598 | -0.018568 | -0.0046566 | 5.3192e-06 | 3.1872e-06 | 0.028443 | 0.028443 | 0.028443 | 0.97171 | -0.54533 | 0.97141 | -0.55134 | 7.8141
79 | 0.016512 | 0.0041415 | -0.016511 | -0.0041404 | 1.8107e-06 | 1.0654e-06 | 0.025295 | 0.025295 | 0.025295 | 0.97141 | -0.55134 | 0.97129 | -0.55364 | 6.9492
80 | 0.016511 | 0.0041404 | -0.016506 | -0.0041375 | 4.9902e-06 | 2.9364e-06 | 0.025295 | 0.025295 | 0.025295 | 0.97129 | -0.55364 | 0.97097 | -0.55998 | 6.9492
81 | 0.012429 | 0.0031158 | -0.012428 | -0.003115 | 1.4922e-06 | 8.1939e-07 | 0.019048 | 0.019048 | 0.019048 | 0.97097 | -0.55998 | 0.97085 | -0.5625 | 5.233
82 | 0.0033909 | 0.00084975 | -0.0033908 | -0.00084981 | 9.6574e-08 | -5.5856e-08 | 0.0051997 | 0.0051997 | 0.0051997 | 0.97037 | -0.57191 | 0.97034 | -0.57251 | 1.4285
83 | -0.0041993 | -0.0010524 | 0.0041994 | 0.0010524 | 7.0357e-08 | -1.0867e-08 | 0.0064394 | 0.0064394 | 0.0064394 | 0.97037 | -0.57191 | 0.97039 | -0.57156 | 1.7691
84 | -0.0056936 | -0.0014268 | 0.0056938 | 0.0014269 | 2.6227e-07 | 5.4494e-08 | 0.0087306 | 0.0087306 | 0.0087306 | 0.97039 | -0.57156 | 0.97044 | -0.57059 | 2.3985
85 | -0.0075999 | -0.0019046 | 0.0076025 | 0.0019056 | 2.571e-06 | 1.0214e-06 | 0.011653 | 0.011653 | 0.011653 | 0.97044 | -0.57059 | 0.9708 | -0.5635 | 3.2015
86 | -0.0076025 | -0.0019056 | 0.0076029 | 0.0019058 | 3.5971e-07 | 1.4287e-07 | 0.011653 | 0.011653 | 0.011653 | 0.9708 | -0.5635 | 0.97085 | -0.5625 | 3.2014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19365 | 0.04932

## res_load
| p_mw | q_mvar
0 | 0.0028024 | 0.00070234
1 | 0.00066947 | 0.00016778
2 | 0.0049127 | 0.0012312
3 | 0.0044405 | 0.0011129
4 | 0.0053979 | 0.0013528
5 | 0.0088335 | 0.0022139
6 | 0.00034686 | 8.6932e-05
7 | 0.00094793 | 0.00023757
8 | 0.0017746 | 0.00044476
9 | 0.00025561 | 6.4063e-05
10 | 0.00054286 | 0.00013605
11 | 0.00055012 | 0.00013787
12 | 0.0010608 | 0.00026586
13 | 0.00020546 | 5.1492e-05
14 | 0.0022906 | 0.00057407
15 | 0.0039463 | 0.00098904
16 | 0.0007726 | 0.00019363
17 | 0.0002253 | 5.6465e-05
18 | 0.0074734 | 0.001873
19 | 0.00058895 | 0.0001476
20 | 0.0014342 | 0.00035944
21 | 0.0006196 | 0.00015529
22 | 0.0016613 | 0.00041636
23 | 0.00038158 | 9.5633e-05
24 | 0.0020966 | 0.00052547
25 | 0.0020151 | 0.00050504
26 | 0.00020846 | 5.2244e-05
27 | 0.0044829 | 0.0011235
28 | 0.00080711 | 0.00020228
29 | 0.00032871 | 8.2382e-05
30 | 0.002031 | 0.00050902
31 | 0.00034755 | 8.7105e-05
32 | 0.0070899 | 0.0017769
33 | 0.0072417 | 0.0018149
34 | 0.004785 | 0.0011992
35 | 0.015097 | 0.0037837
36 | 0.038015 | 0.0095274
37 | 0.0006985 | 0.00017506
38 | 0.0033028 | 0.00082775
39 | 0.00045645 | 0.0001144
40 | 0.00019994 | 5.0109e-05
41 | 0.0056879 | 0.0014255
42 | 0.00023672 | 5.9327e-05
43 | 0.00032765 | 8.2118e-05
44 | 0.00024285 | 6.0863e-05
45 | 0.00046026 | 0.00011535
46 | 0.001054 | 0.00026416
47 | 0.00048126 | 0.00012062
48 | 0.00084186 | 0.00021099
49 | 0.001558 | 0.00039047
50 | 0.0026991 | 0.00067646
51 | 0.0004024 | 0.00010085
52 | 0.00028835 | 7.2267e-05
53 | 0.0012519 | 0.00031376
54 | 0.0019957 | 0.00050017
55 | 0.0039451 | 0.00098873
56 | 0.0007726 | 0.00019363
57 | 0.0011198 | 0.00028064
58 | 0.0055083 | 0.0013805
59 | 0.0020553 | 0.0005151
60 | 0.0040765 | 0.0010217
61 | 0.00080845 | 0.00020262
62 | 0.0033908 | 0.00084981
63 | 0.0014942 | 0.00037448
64 | 0.0019061 | 0.00047772
65 | 0.0048248 | 0.0012092

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1