## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_112-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_112-5_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_112-5_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_112-5_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_112-5_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_112-5_0_3_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_112-5_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_112-5_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_112-5_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_112-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_112-5_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_112-5_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_112-5_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_112-5_0_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_112-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_112-5_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_112-5_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_112-5_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_112-5_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_112-5_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_112-5_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_112-5_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_112-5_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_112-5_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_112-5_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_112-5_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_112-5_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_112-5_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_112-5_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_112-5_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_112-5_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_112-5_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_112-5_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_112-5_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_112-5_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_112-5_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_112-5_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_112-5_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_112-5_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_112-5_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_112-5_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_112-5_0_3_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_112-5_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_112-5_0_3_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_112-5_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_112-5_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_112-5_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_112-5_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_112-5_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_112-5_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_112-5_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_112-5_0_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_112-5_0_3_node_92 | 0.4 | n |  | TRUE
53 | bus_MV_9_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_112-5_0_3_load_0 | 0 | 0.0070585 | 0.001769 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_112-5_0_3_load_54 | 4 | 0.00085229 | 0.0002136 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_112-5_0_3_load_71 | 5 | 0.0069794 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_112-5_0_3_load_72 | 7 | 0.0077833 | 0.0019507 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_112-5_0_3_load_9 | 8 | 0.0075689 | 0.0018969 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_112-5_0_3_load_7 | 9 | 0.0074942 | 0.0018782 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_112-5_0_3_load_21 | 10 | 0.011613 | 0.0029105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_112-5_0_3_load_8 | 11 | 0.0098755 | 0.002475 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_112-5_0_3_load_6 | 12 | 0.0068347 | 0.0017129 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_112-5_0_3_load_11 | 14 | 0.007712 | 0.0019328 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_112-5_0_3_load_12 | 15 | 0.004616 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_112-5_0_3_load_13 | 16 | 0.0055903 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_112-5_0_3_load_15 | 18 | 0.0060777 | 0.0015232 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_112-5_0_3_load_36 | 21 | 0.0094757 | 0.0023748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_112-5_0_3_load_33 | 22 | 0.0087664 | 0.0021971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_112-5_0_3_load_45 | 23 | 0.0019606 | 0.00049136 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_112-5_0_3_load_41 | 24 | 0.002458 | 0.00061602 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_112-5_0_3_load_16 | 25 | 0.0053627 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_112-5_0_3_load_17 | 26 | 0.0045605 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_112-5_0_3_load_18 | 27 | 0.0053821 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_112-5_0_3_load_20 | 28 | 0.0052183 | 0.0013078 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_112-5_0_3_load_26 | 30 | 0.011569 | 0.0028995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_112-5_0_3_load_23 | 31 | 0.01352 | 0.0033884 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_112-5_0_3_load_37 | 36 | 0.0086861 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_112-5_0_3_load_28 | 37 | 0.012813 | 0.0032112 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_112-5_0_3_load_29 | 38 | 0.0017364 | 0.00043517 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_112-5_0_3_load_30 | 39 | 0.0024813 | 0.00062188 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_112-5_0_3_load_31 | 40 | 0.0033854 | 0.00084845 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_112-5_0_3_load_88 | 41 | 0.000952 | 0.00023859 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_112-5_0_3_load_32 | 42 | 0.0058272 | 0.0014604 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_112-5_0_3_load_86 | 43 | 0.00030417 | 7.6232e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_112-5_0_3_load_85 | 44 | 0.001449 | 0.00036316 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_112-5_0_3_load_46 | 45 | 0.0027719 | 0.0006947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_112-5_0_3_load_39 | 46 | 0.0052189 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_112-5_0_3_load_47 | 47 | 0.0028278 | 0.00070871 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_112-5_0_3_load_49 | 49 | 0.008781 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_112-5_0_3_load_48 | 50 | 0.011788 | 0.0029544 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_112-5_0_3_load_92 | 52 | 0.040165 | 0.010066 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_112-5_0_3_line_0 |  | 0 | 1 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_112-5_0_3_line_1 |  | 1 | 2 | 0.003135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_112-5_0_3_line_2 |  | 2 | 6 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_112-5_0_3_line_3 |  | 2 | 7 | 0.011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_112-5_0_3_line_4 |  | 3 | 4 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_112-5_0_3_line_5 |  | 3 | 5 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_112-5_0_3_line_6 |  | 5 | 7 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_112-5_0_3_line_7 |  | 6 | 10 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_112-5_0_3_line_8 |  | 6 | 11 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_112-5_0_3_line_9 |  | 8 | 9 | 0.0087327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_112-5_0_3_line_10 |  | 9 | 12 | 0.014449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_112-5_0_3_line_11 |  | 10 | 13 | 0.031859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_112-5_0_3_line_12 |  | 11 | 12 | 0.026498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_112-5_0_3_line_13 |  | 13 | 29 | 0.02383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_112-5_0_3_line_14 |  | 13 | 26 | 0.066522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_112-5_0_3_line_15 |  | 14 | 15 | 0.027035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_112-5_0_3_line_16 |  | 14 | 16 | 0.0065147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_112-5_0_3_line_17 |  | 15 | 17 | 0.023991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_112-5_0_3_line_18 |  | 16 | 18 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_112-5_0_3_line_19 |  | 17 | 19 | 0.034021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_112-5_0_3_line_20 |  | 18 | 20 | 0.00092711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_112-5_0_3_line_21 |  | 19 | 21 | 0.033099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_112-5_0_3_line_22 |  | 19 | 22 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_112-5_0_3_line_23 |  | 20 | 23 | 0.021283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_112-5_0_3_line_24 |  | 20 | 24 | 0.03063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_112-5_0_3_line_25 |  | 22 | 33 | 0.020059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_112-5_0_3_line_26 |  | 25 | 26 | 0.0059252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_112-5_0_3_line_27 |  | 25 | 27 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_112-5_0_3_line_28 |  | 27 | 28 | 0.0205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_112-5_0_3_line_29 |  | 29 | 30 | 0.023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_112-5_0_3_line_30 |  | 29 | 31 | 0.0019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_112-5_0_3_line_31 |  | 31 | 32 | 0.0079649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_112-5_0_3_line_32 |  | 32 | 33 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_112-5_0_3_line_33 |  | 33 | 34 | 0.029589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_112-5_0_3_line_34 |  | 34 | 35 | 0.033309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_112-5_0_3_line_35 |  | 34 | 36 | 0.021089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_112-5_0_3_line_36 |  | 35 | 49 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_112-5_0_3_line_37 |  | 35 | 50 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_112-5_0_3_line_38 |  | 36 | 48 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_112-5_0_3_line_39 |  | 37 | 38 | 0.013983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_112-5_0_3_line_40 |  | 37 | 39 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_112-5_0_3_line_41 |  | 38 | 40 | 0.055701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_112-5_0_3_line_42 |  | 38 | 41 | 0.19626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_112-5_0_3_line_43 |  | 39 | 42 | 0.028605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_112-5_0_3_line_44 |  | 40 | 45 | 0.014484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_112-5_0_3_line_45 |  | 41 | 43 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_112-5_0_3_line_46 |  | 42 | 46 | 0.026003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_112-5_0_3_line_47 |  | 43 | 44 | 0.045498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_112-5_0_3_line_48 |  | 45 | 47 | 0.029214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_112-5_0_3_line_49 |  | 46 | 48 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_112-5_0_3_line_50 |  | 50 | 51 | 0.059847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_112-5_0_3_line_51 |  | 51 | 52 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_112-5_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 53 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2704762.4705 | 1236403.3605 | 2704757.7507 | 1236398.4735 | 2704746.1282 | 1236386.4594
1 | 2704765.5402 | 1236402.6807 | 2704762.4705 | 1236403.3605
2 | 2704765.5402 | 1236402.6807 | 2704770.0593 | 1236391.9189 | 2704781.1396 | 1236379.9162 | 2704782.9048 | 1236378.1015
3 | 2704765.5402 | 1236402.6807 | 2704769.2708 | 1236403.1469 | 2704772.5843 | 1236404.9511 | 2704775.001 | 1236407.8182
4 | 2704758.1902 | 1236419.0303 | 2704749.6538 | 1236427.7071
5 | 2704758.1902 | 1236419.0303 | 2704761.0304 | 1236421.4934 | 2704764.5726 | 1236422.7679 | 2704768.3361 | 1236422.6564 | 2704771.8058 | 1236421.1831
6 | 2704771.8058 | 1236421.1831 | 2704774.4861 | 1236418.5506 | 2704776.0299 | 1236415.1308 | 2704776.2097 | 1236411.3755 | 2704775.001 | 1236407.8182 | 2704775.001 | 1236407.8182
7 | 2704782.9048 | 1236378.1015 | 2704793.3163 | 1236367.7783
8 | 2704782.9048 | 1236378.1015 | 2704766.5343 | 1236361.9277
9 | 2704731.1372 | 1236331.8105 | 2704733.6519 | 1236329.4403 | 2704737.4058 | 1236333.1491
10 | 2704747.6842 | 1236343.3041 | 2704737.4058 | 1236333.1491
11 | 2704815.6842 | 1236345.099 | 2704809.6357 | 1236351.5972 | 2704793.3163 | 1236367.7783
12 | 2704747.6842 | 1236343.3041 | 2704766.5343 | 1236361.9277
13 | 2704815.6842 | 1236345.099 | 2704831.0975 | 1236326.8904
14 | 2704815.6842 | 1236345.099 | 2704790.6533 | 1236322.0287 | 2704793.0125 | 1236312.2962 | 2704786.2471 | 1236300.2343 | 2704785.9832 | 1236291.6009 | 2704785.9832 | 1236291.6009
15 | 2704759.8909 | 1236214.3694 | 2704780.4868 | 1236231.8817
16 | 2704754.9278 | 1236210.1493 | 2704759.8909 | 1236214.3694
17 | 2704795.0339 | 1236250.9517 | 2704780.6991 | 1236232.0622 | 2704780.4868 | 1236231.8817
18 | 2704754.9278 | 1236210.1493 | 2704740.2061 | 1236197.6318
19 | 2704795.0339 | 1236250.9517 | 2704808.7177 | 1236268.9846 | 2704817.1736 | 1236276.6063
20 | 2704739.4998 | 1236197.0312 | 2704740.2061 | 1236197.6318
21 | 2704832.0763 | 1236247.0355 | 2704817.1736 | 1236276.6063
22 | 2704817.1736 | 1236276.6063 | 2704833.8357 | 1236291.6152
23 | 2704739.4998 | 1236197.0312 | 2704725.457 | 1236213.024
24 | 2704739.4998 | 1236197.0312 | 2704715.1106 | 1236178.5008
25 | 2704848.7399 | 1236305.0406 | 2704833.8357 | 1236291.6152
26 | 2704782.2705 | 1236286.9831 | 2704785.9832 | 1236291.6009
27 | 2704772.0079 | 1236274.2189 | 2704782.2705 | 1236286.9831
28 | 2704754.7472 | 1236283.8886 | 2704762.3774 | 1236276.5397 | 2704772.0079 | 1236274.2189
29 | 2704831.0975 | 1236326.8904 | 2704839.3132 | 1236334.3966 | 2704841.9096 | 1236339.0905 | 2704841.5758 | 1236342.9876 | 2704839.9861 | 1236345.1501
30 | 2704831.0975 | 1236326.8904 | 2704832.3467 | 1236325.4171
31 | 2704837.4977 | 1236319.342 | 2704832.3467 | 1236325.4171
32 | 2704837.4977 | 1236319.342 | 2704848.7399 | 1236305.0406
33 | 2704867.6555 | 1236282.2459 | 2704848.7399 | 1236305.0406
34 | 2704867.6555 | 1236282.2459 | 2704891.501 | 1236305.5736
35 | 2704867.6555 | 1236282.2459 | 2704873.4428 | 1236273.8305 | 2704878.7879 | 1236264.3593
36 | 2704891.501 | 1236305.5736 | 2704877.3979 | 1236320.2914
37 | 2704891.501 | 1236305.5736 | 2704905.2923 | 1236292.6263
38 | 2704887.5224 | 1236248.8822 | 2704878.7879 | 1236264.3593
39 | 2704817.0874 | 1236194.5009 | 2704806.0198 | 1236185.9558
40 | 2704817.0874 | 1236194.5009 | 2704825.5237 | 1236201.0144
41 | 2704761.9303 | 1236151.9153 | 2704806.0198 | 1236185.9558
42 | 2704806.0198 | 1236185.9558 | 2704925.0207 | 1236029.8882
43 | 2704825.5237 | 1236201.0144 | 2704848.1658 | 1236218.4958
44 | 2704750.4662 | 1236143.0632 | 2704752.4668 | 1236144.6087 | 2704761.9303 | 1236151.9153
45 | 2704925.0207 | 1236029.8882 | 2704928.9698 | 1236030.0025 | 2704935.4601 | 1236030.6509 | 2704941.3131 | 1236031.5519
46 | 2704848.1658 | 1236218.4958 | 2704868.748 | 1236234.3869
47 | 2704975.5132 | 1236006.7958 | 2704975.5132 | 1236006.7958 | 2704973.1912 | 1236009.2678 | 2704965.1162 | 1236020.3336 | 2704958.8312 | 1236027.339 | 2704956.362 | 1236029.5749 | 2704954.662 | 1236030.6902 | 2704953.0676 | 1236031.3959 | 2704951.1511 | 1236031.9068 | 2704949.299 | 1236032.2077 | 2704947.3153 | 1236032.2393 | 2704945.2892 | 1236032.1034 | 2704942.3971 | 1236031.7187 | 2704941.3131 | 1236031.5519
48 | 2704750.4662 | 1236143.0632 | 2704727.3474 | 1236125.2036
49 | 2704887.5224 | 1236248.8822 | 2704868.748 | 1236234.3869
50 | 2704905.2923 | 1236292.6263 | 2704945.755 | 1236336.7222
51 | 2704945.755 | 1236336.7222 | 2704966.4302 | 1236310.3117

## bus_geodata
| x | y | coords
0 | 2704746.1282 | 1236386.4594
1 | 2704762.4705 | 1236403.3605
2 | 2704765.5402 | 1236402.6807
3 | 2704758.1902 | 1236419.0303
4 | 2704749.6538 | 1236427.7071
5 | 2704771.8058 | 1236421.1831
6 | 2704782.9048 | 1236378.1015
7 | 2704775.001 | 1236407.8182
8 | 2704731.1372 | 1236331.8105
9 | 2704737.4058 | 1236333.1491
10 | 2704793.3163 | 1236367.7783
11 | 2704766.5343 | 1236361.9277
12 | 2704747.6842 | 1236343.3041
13 | 2704815.6842 | 1236345.099
14 | 2704759.8909 | 1236214.3694
15 | 2704780.4868 | 1236231.8817
16 | 2704754.9278 | 1236210.1493
17 | 2704795.0339 | 1236250.9517
18 | 2704740.2061 | 1236197.6318
19 | 2704817.1736 | 1236276.6063
20 | 2704739.4998 | 1236197.0312
21 | 2704832.0763 | 1236247.0355
22 | 2704833.8357 | 1236291.6152
23 | 2704725.457 | 1236213.024
24 | 2704715.1106 | 1236178.5008
25 | 2704782.2705 | 1236286.9831
26 | 2704785.9832 | 1236291.6009
27 | 2704772.0079 | 1236274.2189
28 | 2704754.7472 | 1236283.8886
29 | 2704831.0975 | 1236326.8904
30 | 2704839.9861 | 1236345.1501
31 | 2704832.3467 | 1236325.4171
32 | 2704837.4977 | 1236319.342
33 | 2704848.7399 | 1236305.0406
34 | 2704867.6555 | 1236282.2459
35 | 2704891.501 | 1236305.5736
36 | 2704878.7879 | 1236264.3593
37 | 2704817.0874 | 1236194.5009
38 | 2704806.0198 | 1236185.9558
39 | 2704825.5237 | 1236201.0144
40 | 2704761.9303 | 1236151.9153
41 | 2704925.0207 | 1236029.8882
42 | 2704848.1658 | 1236218.4958
43 | 2704941.3131 | 1236031.5519
44 | 2704975.5132 | 1236006.7958
45 | 2704750.4662 | 1236143.0632
46 | 2704868.748 | 1236234.3869
47 | 2704727.3474 | 1236125.2036
48 | 2704887.5224 | 1236248.8822
49 | 2704877.3979 | 1236320.2914
50 | 2704905.2923 | 1236292.6263
51 | 2704945.755 | 1236336.7222
52 | 2704966.4302 | 1236310.3117
53 | 2704848.7399 | 1236305.0406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98977 | -0.19672 | 0.0070585 | 0.001769
1 | 0.98993 | -0.19376 | 0 | 0
2 | 0.98995 | -0.19337 | 0 | 0
3 | 0.98966 | -0.19883 | 0 | 0
4 | 0.98965 | -0.19901 | 0.00085229 | 0.0002136
5 | 0.98968 | -0.1986 | 0.0069794 | 0.0017492
6 | 0.99058 | -0.18107 | 0 | 0
7 | 0.98978 | -0.1965 | 0.0077833 | 0.0019507
8 | 0.98912 | -0.20945 | 0.0075689 | 0.0018969
9 | 0.98918 | -0.20827 | 0.0074942 | 0.0018782
10 | 0.99131 | -0.1669 | 0.011613 | 0.0029105
11 | 0.98991 | -0.19407 | 0.0098755 | 0.002475
12 | 0.98938 | -0.2044 | 0.0068347 | 0.0017129
13 | 0.99324 | -0.12964 | 0 | 0
14 | 0.99714 | -0.05492 | 0.007712 | 0.0019328
15 | 0.99773 | -0.043647 | 0.004616 | 0.0011569
16 | 0.99705 | -0.056757 | 0.0055903 | 0.0014011
17 | 0.99835 | -0.031716 | 0 | 0
18 | 0.99686 | -0.060315 | 0.0060777 | 0.0015232
19 | 0.99923 | -0.014824 | 0 | 0
20 | 0.99686 | -0.060386 | 0 | 0
21 | 0.99894 | -0.020301 | 0.0094757 | 0.0023748
22 | 1 | 0 | -0.26231 | -0.066052
23 | 0.99682 | -0.061118 | 0.0019606 | 0.00049136
24 | 0.99679 | -0.061707 | 0.002458 | 0.00061602
25 | 0.9919 | -0.15547 | 0.0053627 | 0.001344
26 | 0.99199 | -0.1538 | 0.0045605 | 0.001143
27 | 0.99175 | -0.15855 | 0.0053821 | 0.0013489
28 | 0.99165 | -0.16045 | 0.0052183 | 0.0013078
29 | 0.99513 | -0.093254 | 0 | 0
30 | 0.99488 | -0.097952 | 0.011569 | 0.0028995
31 | 0.9953 | -0.089918 | 0.01352 | 0.0033884
32 | 0.99612 | -0.074279 | 0 | 0
33 | 0.99797 | -0.038693 | 0 | 0
34 | 0.99501 | -0.095412 | 0 | 0
35 | 0.99316 | -0.13109 | 0 | 0
36 | 0.99408 | -0.11342 | 0.0086861 | 0.0021769
37 | 0.99074 | -0.17804 | 0.012813 | 0.0032112
38 | 0.99057 | -0.18137 | 0.0017364 | 0.00043517
39 | 0.991 | -0.17307 | 0.0024813 | 0.00062188
40 | 0.99011 | -0.19027 | 0.0033854 | 0.00084845
41 | 0.99008 | -0.19083 | 0.000952 | 0.00023859
42 | 0.99175 | -0.15849 | 0.0058272 | 0.0014604
43 | 0.99006 | -0.19134 | 0.00030417 | 7.6232e-05
44 | 0.98999 | -0.19251 | 0.001449 | 0.00036316
45 | 0.99004 | -0.19171 | 0.0027719 | 0.0006947
46 | 0.99257 | -0.14258 | 0.0052189 | 0.001308
47 | 0.98996 | -0.19318 | 0.0028278 | 0.00070871
48 | 0.99343 | -0.1259 | 0 | 0
49 | 0.993 | -0.13425 | 0.008781 | 0.0022007
50 | 0.99226 | -0.14848 | 0.011788 | 0.0029544
51 | 0.99006 | -0.19113 | 0 | 0
52 | 0.98882 | -0.21509 | 0.040165 | 0.010066
53 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0070585 | -0.001769 | 0.0070595 | 0.0017694 | 9.9276e-07 | 3.3316e-07 | 0.010612 | 0.010612 | 0.010612 | 0.98977 | -0.19672 | 0.98993 | -0.19376 | 2.9153
1 | -0.0070595 | -0.0017694 | 0.0070596 | 0.0017694 | 1.3238e-07 | 4.4418e-08 | 0.010612 | 0.010612 | 0.010612 | 0.98993 | -0.19376 | 0.98995 | -0.19337 | 2.9153
2 | -0.022678 | -0.0056842 | 0.022691 | 0.0056923 | 1.3295e-05 | 8.1164e-06 | 0.034088 | 0.034088 | 0.034088 | 0.98995 | -0.19337 | 0.99058 | -0.18107 | 9.3647
3 | 0.015618 | 0.0039148 | -0.015616 | -0.0039134 | 2.3317e-06 | 1.3473e-06 | 0.023476 | 0.023476 | 0.023476 | 0.98995 | -0.19337 | 0.98978 | -0.1965 | 6.4495
4 | 0.00085229 | 0.00021345 | -0.00085229 | -0.0002136 | 7.4954e-09 | -1.5161e-07 | 0.0012814 | 0.0012815 | 0.0012815 | 0.98966 | -0.19883 | 0.98965 | -0.19901 | 0.35205
5 | -0.00085229 | -0.00021345 | 0.0008523 | 0.00021326 | 9.272e-09 | -1.8756e-07 | 0.0012814 | 0.0012813 | 0.0012814 | 0.98966 | -0.19883 | 0.98968 | -0.1986 | 0.35204
6 | -0.0078317 | -0.0019625 | 0.0078324 | 0.0019628 | 7.8125e-07 | 3.069e-07 | 0.011775 | 0.011775 | 0.011775 | 0.98968 | -0.1986 | 0.98978 | -0.1965 | 3.2349
7 | -0.054498 | -0.013676 | 0.054535 | 0.013699 | 3.6854e-05 | 2.3398e-05 | 0.081871 | 0.081871 | 0.081871 | 0.99058 | -0.18107 | 0.99131 | -0.1669 | 22.4921
8 | 0.031807 | 0.0079838 | -0.031787 | -0.0079715 | 1.9704e-05 | 1.2315e-05 | 0.047784 | 0.047784 | 0.047784 | 0.99058 | -0.18107 | 0.98991 | -0.19407 | 13.1274
9 | -0.0075689 | -0.0018969 | 0.0075693 | 0.0018971 | 4.2458e-07 | 1.5964e-07 | 0.011387 | 0.011386 | 0.011387 | 0.98912 | -0.20945 | 0.98918 | -0.20827 | 3.1282
10 | -0.015064 | -0.0037753 | 0.015066 | 0.0037769 | 2.7822e-06 | 1.5951e-06 | 0.02266 | 0.02266 | 0.02266 | 0.98918 | -0.20827 | 0.98938 | -0.2044 | 6.2253
11 | -0.066148 | -0.01661 | 0.066266 | 0.016685 | 0.00011781 | 7.4988e-05 | 0.099303 | 0.099303 | 0.099303 | 0.99131 | -0.1669 | 0.99324 | -0.12964 | 27.281
12 | 0.021912 | 0.0054964 | -0.021901 | -0.0054899 | 1.0782e-05 | 6.5597e-06 | 0.032939 | 0.032939 | 0.032939 | 0.98991 | -0.19407 | 0.98938 | -0.2044 | 9.0493
13 | -0.086816 | -0.021844 | 0.086967 | 0.021941 | 0.00015124 | 9.6485e-05 | 0.13009 | 0.13009 | 0.13009 | 0.99324 | -0.12964 | 0.99513 | -0.093254 | 35.74
14 | 0.02055 | 0.0051595 | -0.020527 | -0.0051452 | 2.3651e-05 | 1.4277e-05 | 0.030791 | 0.030791 | 0.030791 | 0.99324 | -0.12964 | 0.99199 | -0.1538 | 8.4591
15 | -0.023802 | -0.0059656 | 0.023815 | 0.0059735 | 1.279e-05 | 7.8329e-06 | 0.035519 | 0.035519 | 0.035519 | 0.99714 | -0.05492 | 0.99773 | -0.043647 | 9.758
16 | 0.01609 | 0.0040328 | -0.016089 | -0.004032 | 1.4084e-06 | 8.1643e-07 | 0.024011 | 0.024011 | 0.024011 | 0.99714 | -0.05492 | 0.99705 | -0.056757 | 6.5964
17 | -0.028431 | -0.0071303 | 0.028447 | 0.0071404 | 1.6177e-05 | 1.004e-05 | 0.042403 | 0.042403 | 0.042403 | 0.99773 | -0.043647 | 0.99835 | -0.031716 | 11.6493
18 | 0.010498 | 0.0026309 | -0.010496 | -0.0026301 | 1.7789e-06 | 8.865e-07 | 0.015668 | 0.015668 | 0.015668 | 0.99705 | -0.056757 | 0.99686 | -0.060315 | 4.3043
19 | -0.028447 | -0.0071404 | 0.02847 | 0.0071546 | 2.2939e-05 | 1.4236e-05 | 0.042403 | 0.042403 | 0.042403 | 0.99835 | -0.031716 | 0.99923 | -0.014824 | 11.6492
20 | 0.0044187 | 0.0011068 | -0.0044187 | -0.0011068 | 1.5124e-08 | -2.4072e-09 | 0.0065956 | 0.0065957 | 0.0065957 | 0.99686 | -0.060315 | 0.99686 | -0.060386 | 1.812
21 | 0.0094782 | 0.002376 | -0.0094757 | -0.0023748 | 2.4728e-06 | 1.1492e-06 | 0.014115 | 0.014115 | 0.014115 | 0.99923 | -0.014824 | 0.99894 | -0.020301 | 3.8777
22 | -0.037948 | -0.0095306 | 0.037975 | 0.0095475 | 2.6862e-05 | 1.6898e-05 | 0.056518 | 0.056518 | 0.056518 | 0.99923 | -0.014824 | 1 | 0 | 15.5269
23 | 0.0019606 | 0.00049113 | -0.0019606 | -0.00049136 | 6.8358e-08 | -2.3371e-07 | 0.0029265 | 0.0029266 | 0.0029266 | 0.99686 | -0.060386 | 0.99682 | -0.061118 | 0.80402
24 | 0.0024581 | 0.00061572 | -0.002458 | -0.00061602 | 1.5464e-07 | -3.0033e-07 | 0.0036691 | 0.0036693 | 0.0036693 | 0.99686 | -0.060386 | 0.99679 | -0.061707 | 1.008
25 | 0.22268 | 0.056505 | -0.22227 | -0.056241 | 0.00041357 | 0.00026416 | 0.3316 | 0.3316 | 0.3316 | 1 | 0 | 0.99797 | -0.038693 | 45.5495
26 | -0.015965 | -0.0040015 | 0.015966 | 0.0040023 | 1.2745e-06 | 7.3922e-07 | 0.02395 | 0.02395 | 0.02395 | 0.9919 | -0.15547 | 0.99199 | -0.1538 | 6.5798
27 | 0.010602 | 0.0026575 | -0.010601 | -0.0026567 | 1.5538e-06 | 7.8305e-07 | 0.015905 | 0.015905 | 0.015905 | 0.9919 | -0.15547 | 0.99175 | -0.15855 | 4.3696
28 | 0.0052187 | 0.0013079 | -0.0052183 | -0.0013078 | 4.7134e-07 | 3.716e-08 | 0.0078302 | 0.0078303 | 0.0078303 | 0.99175 | -0.15855 | 0.99165 | -0.16045 | 2.1512
29 | 0.011572 | 0.0029009 | -0.011569 | -0.0028995 | 2.5899e-06 | 1.3579e-06 | 0.017304 | 0.017304 | 0.017304 | 0.99513 | -0.093254 | 0.99488 | -0.097952 | 4.7538
30 | -0.098539 | -0.024842 | 0.098555 | 0.024852 | 1.5737e-05 | 1.0046e-05 | 0.1474 | 0.1474 | 0.1474 | 0.99513 | -0.093254 | 0.9953 | -0.089918 | 40.4937
31 | -0.11207 | -0.02824 | 0.11216 | 0.028294 | 8.3909e-05 | 5.3598e-05 | 0.16761 | 0.16761 | 0.16761 | 0.9953 | -0.089918 | 0.99612 | -0.074279 | 46.0466
32 | -0.11216 | -0.028294 | 0.11235 | 0.028416 | 0.00019145 | 0.00012229 | 0.16761 | 0.16761 | 0.16761 | 0.99612 | -0.074279 | 0.99797 | -0.038693 | 46.0466
33 | 0.10992 | 0.027825 | -0.10962 | -0.027634 | 0.0002984 | 0.00019059 | 0.16399 | 0.16399 | 0.16399 | 0.99797 | -0.038693 | 0.99501 | -0.095412 | 45.0526
34 | 0.06101 | 0.015396 | -0.060906 | -0.01533 | 0.00010407 | 6.6171e-05 | 0.091276 | 0.091277 | 0.091277 | 0.99501 | -0.095412 | 0.99316 | -0.13109 | 25.076
35 | 0.04861 | 0.012238 | -0.048569 | -0.012211 | 4.1815e-05 | 2.6488e-05 | 0.072715 | 0.072715 | 0.072715 | 0.99501 | -0.095412 | 0.99408 | -0.11342 | 19.9767
36 | 0.0087824 | 0.0022013 | -0.008781 | -0.0022007 | 1.3218e-06 | 5.8257e-07 | 0.013158 | 0.013158 | 0.013158 | 0.99316 | -0.13109 | 0.993 | -0.13425 | 3.615
37 | 0.052124 | 0.013129 | -0.05208 | -0.013101 | 4.3289e-05 | 2.746e-05 | 0.078118 | 0.078118 | 0.078118 | 0.99316 | -0.13109 | 0.99226 | -0.14848 | 21.4611
38 | 0.039883 | 0.010034 | -0.039859 | -0.010019 | 2.3763e-05 | 1.4978e-05 | 0.059713 | 0.059713 | 0.059713 | 0.99408 | -0.11342 | 0.99343 | -0.1259 | 16.4047
39 | 0.013434 | 0.0033653 | -0.013432 | -0.0033641 | 2.1347e-06 | 1.1862e-06 | 0.020177 | 0.020177 | 0.020177 | 0.99074 | -0.17804 | 0.99057 | -0.18137 | 5.5431
40 | -0.026247 | -0.0065765 | 0.026253 | 0.0065803 | 6.211e-06 | 3.8378e-06 | 0.039421 | 0.039421 | 0.039421 | 0.99074 | -0.17804 | 0.991 | -0.17307 | 10.8299
41 | 0.0089894 | 0.0022534 | -0.0089856 | -0.0022517 | 3.8091e-06 | 1.7211e-06 | 0.013504 | 0.013504 | 0.013504 | 0.99057 | -0.18137 | 0.99011 | -0.19027 | 3.7099
42 | 0.0027065 | 0.00067553 | -0.0027053 | -0.00067727 | 1.2163e-06 | -1.7468e-06 | 0.0040647 | 0.0040656 | 0.0040656 | 0.99057 | -0.18137 | 0.99008 | -0.19083 | 1.1169
43 | -0.028735 | -0.0072022 | 0.028755 | 0.0072146 | 1.9969e-05 | 1.2412e-05 | 0.043146 | 0.043146 | 0.043146 | 0.991 | -0.17307 | 0.99175 | -0.15849 | 11.8534
44 | 0.0056003 | 0.0014032 | -0.0055999 | -0.0014032 | 3.8475e-07 | 5.9973e-08 | 0.0084164 | 0.0084165 | 0.0084165 | 0.99011 | -0.19027 | 0.99004 | -0.19171 | 2.3122
45 | 0.0017533 | 0.00043868 | -0.0017533 | -0.00043886 | 4.2685e-08 | -1.8352e-07 | 0.0026349 | 0.0026349 | 0.0026349 | 0.99008 | -0.19083 | 0.99006 | -0.19134 | 0.72388
46 | -0.034582 | -0.008675 | 0.034608 | 0.0086915 | 2.6255e-05 | 1.6467e-05 | 0.051889 | 0.051889 | 0.051889 | 0.99175 | -0.15849 | 0.99257 | -0.14258 | 14.2553
47 | 0.0014491 | 0.00036263 | -0.001449 | -0.00036316 | 8.0928e-08 | -5.3327e-07 | 0.0021778 | 0.002178 | 0.002178 | 0.99006 | -0.19134 | 0.98999 | -0.19251 | 0.59835
48 | 0.002828 | 0.00070846 | -0.0028278 | -0.00070871 | 1.9791e-07 | -2.4897e-07 | 0.0042503 | 0.0042505 | 0.0042505 | 0.99004 | -0.19171 | 0.98996 | -0.19318 | 1.1677
49 | -0.039827 | -0.0099995 | 0.039859 | 0.010019 | 3.1715e-05 | 1.9991e-05 | 0.059713 | 0.059713 | 0.059713 | 0.99257 | -0.14258 | 0.99343 | -0.1259 | 16.4047
50 | 0.040292 | 0.010147 | -0.04021 | -0.010095 | 8.1985e-05 | 5.1699e-05 | 0.060441 | 0.060441 | 0.060441 | 0.99226 | -0.14848 | 0.99006 | -0.19113 | 16.6047
51 | 0.04021 | 0.010095 | -0.040165 | -0.010066 | 4.5903e-05 | 2.8948e-05 | 0.060441 | 0.060441 | 0.060441 | 0.99006 | -0.19113 | 0.98882 | -0.21509 | 16.6047

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27107 | 0.06825

## res_load
| p_mw | q_mvar
0 | 0.0070585 | 0.001769
1 | 0.00085229 | 0.0002136
2 | 0.0069794 | 0.0017492
3 | 0.0077833 | 0.0019507
4 | 0.0075689 | 0.0018969
5 | 0.0074942 | 0.0018782
6 | 0.011613 | 0.0029105
7 | 0.0098755 | 0.002475
8 | 0.0068347 | 0.0017129
9 | 0.007712 | 0.0019328
10 | 0.004616 | 0.0011569
11 | 0.0055903 | 0.0014011
12 | 0.0060777 | 0.0015232
13 | 0.0094757 | 0.0023748
14 | 0.0087664 | 0.0021971
15 | 0.0019606 | 0.00049136
16 | 0.002458 | 0.00061602
17 | 0.0053627 | 0.001344
18 | 0.0045605 | 0.001143
19 | 0.0053821 | 0.0013489
20 | 0.0052183 | 0.0013078
21 | 0.011569 | 0.0028995
22 | 0.01352 | 0.0033884
23 | 0.0086861 | 0.0021769
24 | 0.012813 | 0.0032112
25 | 0.0017364 | 0.00043517
26 | 0.0024813 | 0.00062188
27 | 0.0033854 | 0.00084845
28 | 0.000952 | 0.00023859
29 | 0.0058272 | 0.0014604
30 | 0.00030417 | 7.6232e-05
31 | 0.001449 | 0.00036316
32 | 0.0027719 | 0.0006947
33 | 0.0052189 | 0.001308
34 | 0.0028278 | 0.00070871
35 | 0.008781 | 0.0022007
36 | 0.011788 | 0.0029544
37 | 0.040165 | 0.010066

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1