## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_115-17_1_2_node_223 | 0.4 | n |  | TRUE
1 | bus_LV_115-17_1_2_node_224 | 0.4 | n |  | TRUE
2 | bus_LV_115-17_1_2_node_225 | 0.4 | n |  | TRUE
3 | bus_LV_115-17_1_2_node_226 | 0.4 | n |  | TRUE
4 | bus_LV_115-17_1_2_node_227 | 0.4 | n |  | TRUE
5 | bus_LV_115-17_1_2_node_228 | 0.4 | n |  | TRUE
6 | bus_LV_115-17_1_2_node_229 | 0.4 | n |  | TRUE
7 | bus_LV_115-17_1_2_node_230 | 0.4 | n |  | TRUE
8 | bus_LV_115-17_1_2_node_231 | 0.4 | n |  | TRUE
9 | bus_LV_115-17_1_2_node_250 | 0.4 | n |  | TRUE
10 | bus_LV_115-17_1_2_node_264 | 0.4 | n |  | TRUE
11 | bus_LV_115-17_1_2_node_253 | 0.4 | n |  | TRUE
12 | bus_LV_115-17_1_2_node_232 | 0.4 | n |  | TRUE
13 | bus_LV_115-17_1_2_node_233 | 0.4 | n |  | TRUE
14 | bus_LV_115-17_1_2_node_234 | 0.4 | n |  | TRUE
15 | bus_LV_115-17_1_2_node_235 | 0.4 | n |  | TRUE
16 | bus_LV_115-17_1_2_node_236 | 0.4 | n |  | TRUE
17 | bus_LV_115-17_1_2_node_237 | 0.4 | n |  | TRUE
18 | bus_LV_115-17_1_2_node_238 | 0.4 | n |  | TRUE
19 | bus_LV_115-17_1_2_node_239 | 0.4 | n |  | TRUE
20 | bus_LV_115-17_1_2_node_257 | 0.4 | n |  | TRUE
21 | bus_LV_115-17_1_2_node_254 | 0.4 | n |  | TRUE
22 | bus_LV_115-17_1_2_node_240 | 0.4 | n |  | TRUE
23 | bus_LV_115-17_1_2_node_241 | 0.4 | n |  | TRUE
24 | bus_LV_115-17_1_2_node_242 | 0.4 | n |  | TRUE
25 | bus_LV_115-17_1_2_node_243 | 0.4 | n |  | TRUE
26 | bus_LV_115-17_1_2_node_244 | 0.4 | n |  | TRUE
27 | bus_LV_115-17_1_2_node_245 | 0.4 | n |  | TRUE
28 | bus_LV_115-17_1_2_node_246 | 0.4 | n |  | TRUE
29 | bus_LV_115-17_1_2_node_247 | 0.4 | n |  | TRUE
30 | bus_LV_115-17_1_2_node_258 | 0.4 | n |  | TRUE
31 | bus_LV_115-17_1_2_node_267 | 0.4 | n |  | TRUE
32 | bus_LV_115-17_1_2_node_265 | 0.4 | n |  | TRUE
33 | bus_LV_115-17_1_2_node_248 | 0.4 | n |  | TRUE
34 | bus_LV_115-17_1_2_node_249 | 0.4 | n |  | TRUE
35 | bus_LV_115-17_1_2_node_251 | 0.4 | n |  | TRUE
36 | bus_LV_115-17_1_2_node_252 | 0.4 | n |  | TRUE
37 | bus_LV_115-17_1_2_node_274 | 0.4 | n |  | TRUE
38 | bus_LV_115-17_1_2_node_351 | 0.4 | n |  | TRUE
39 | bus_LV_115-17_1_2_node_259 | 0.4 | n |  | TRUE
40 | bus_LV_115-17_1_2_node_266 | 0.4 | n |  | TRUE
41 | bus_LV_115-17_1_2_node_268 | 0.4 | n |  | TRUE
42 | bus_LV_115-17_1_2_node_269 | 0.4 | n |  | TRUE
43 | bus_LV_115-17_1_2_node_270 | 0.4 | n |  | TRUE
44 | bus_LV_115-17_1_2_node_271 | 0.4 | n |  | TRUE
45 | bus_LV_115-17_1_2_node_272 | 0.4 | n |  | TRUE
46 | bus_LV_115-17_1_2_node_273 | 0.4 | n |  | TRUE
47 | bus_LV_115-17_1_2_node_275 | 0.4 | n |  | TRUE
48 | bus_LV_115-17_1_2_node_352 | 0.4 | n |  | TRUE
49 | bus_LV_115-17_1_2_node_314 | 0.4 | n |  | TRUE
50 | bus_LV_115-17_1_2_node_315 | 0.4 | n |  | TRUE
51 | bus_LV_115-17_1_2_node_316 | 0.4 | n |  | TRUE
52 | bus_LV_115-17_1_2_node_317 | 0.4 | n |  | TRUE
53 | bus_LV_115-17_1_2_node_319 | 0.4 | n |  | TRUE
54 | bus_LV_115-17_1_2_node_323 | 0.4 | n |  | TRUE
55 | bus_LV_115-17_1_2_node_320 | 0.4 | n |  | TRUE
56 | bus_LV_115-17_1_2_node_321 | 0.4 | n |  | TRUE
57 | bus_LV_115-17_1_2_node_322 | 0.4 | n |  | TRUE
58 | bus_LV_115-17_1_2_node_324 | 0.4 | n |  | TRUE
59 | bus_LV_115-17_1_2_node_325 | 0.4 | n |  | TRUE
60 | bus_LV_115-17_1_2_node_326 | 0.4 | n |  | TRUE
61 | bus_LV_115-17_1_2_node_327 | 0.4 | n |  | TRUE
62 | bus_LV_115-17_1_2_node_328 | 0.4 | n |  | TRUE
63 | bus_LV_115-17_1_2_node_331 | 0.4 | n |  | TRUE
64 | bus_LV_115-17_1_2_node_336 | 0.4 | n |  | TRUE
65 | bus_LV_115-17_1_2_node_329 | 0.4 | n |  | TRUE
66 | bus_LV_115-17_1_2_node_330 | 0.4 | n |  | TRUE
67 | bus_LV_115-17_1_2_node_332 | 0.4 | n |  | TRUE
68 | bus_LV_115-17_1_2_node_333 | 0.4 | n |  | TRUE
69 | bus_LV_115-17_1_2_node_346 | 0.4 | n |  | TRUE
70 | bus_LV_115-17_1_2_node_334 | 0.4 | n |  | TRUE
71 | bus_LV_115-17_1_2_node_335 | 0.4 | n |  | TRUE
72 | bus_LV_115-17_1_2_node_338 | 0.4 | n |  | TRUE
73 | bus_LV_115-17_1_2_node_337 | 0.4 | n |  | TRUE
74 | bus_LV_115-17_1_2_node_339 | 0.4 | n |  | TRUE
75 | bus_LV_115-17_1_2_node_340 | 0.4 | n |  | TRUE
76 | bus_LV_115-17_1_2_node_341 | 0.4 | n |  | TRUE
77 | bus_LV_115-17_1_2_node_342 | 0.4 | n |  | TRUE
78 | bus_LV_115-17_1_2_node_343 | 0.4 | n |  | TRUE
79 | bus_LV_115-17_1_2_node_344 | 0.4 | n |  | TRUE
80 | bus_LV_115-17_1_2_node_355 | 0.4 | n |  | TRUE
81 | bus_LV_115-17_1_2_node_349 | 0.4 | n |  | TRUE
82 | bus_LV_115-17_1_2_node_345 | 0.4 | n |  | TRUE
83 | bus_LV_115-17_1_2_node_347 | 0.4 | n |  | TRUE
84 | bus_LV_115-17_1_2_node_348 | 0.4 | n |  | TRUE
85 | bus_LV_115-17_1_2_node_350 | 0.4 | n |  | TRUE
86 | bus_LV_115-17_1_2_node_353 | 0.4 | n |  | TRUE
87 | bus_LV_115-17_1_2_node_354 | 0.4 | n |  | TRUE
88 | bus_LV_115-17_1_2_node_359 | 0.4 | n |  | TRUE
89 | bus_LV_115-17_1_2_node_356 | 0.4 | n |  | TRUE
90 | bus_MV_8_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_115-17_1_2_load_223 | 0 | 0.00074203 | 0.00018597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_115-17_1_2_load_224 | 1 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_115-17_1_2_load_225 | 2 | 0.00075483 | 0.00018918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_115-17_1_2_load_227 | 4 | 0.0007552 | 0.00018927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_115-17_1_2_load_228 | 5 | 0.00067667 | 0.00016959 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_115-17_1_2_load_229 | 6 | 0.00047738 | 0.00011964 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_115-17_1_2_load_230 | 7 | 0.00031992 | 8.018e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_115-17_1_2_load_231 | 8 | 0.0021927 | 0.00054954 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_115-17_1_2_load_250 | 9 | 0.0012362 | 0.00030981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_115-17_1_2_load_264 | 10 | 0.00047766 | 0.00011971 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_115-17_1_2_load_253 | 11 | 0.0016315 | 0.0004089 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_115-17_1_2_load_232 | 12 | 0.0017153 | 0.0004299 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_115-17_1_2_load_233 | 13 | 0.0005281 | 0.00013235 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_115-17_1_2_load_235 | 15 | 0.00053097 | 0.00013307 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_115-17_1_2_load_237 | 17 | 0.000369 | 9.2479e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_115-17_1_2_load_238 | 18 | 0.0012963 | 0.00032487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_115-17_1_2_load_239 | 19 | 0.00069021 | 0.00017298 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_115-17_1_2_load_257 | 20 | 0.00066035 | 0.0001655 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_115-17_1_2_load_254 | 21 | 0.0017261 | 0.00043259 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_115-17_1_2_load_240 | 22 | 0.00047449 | 0.00011892 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_115-17_1_2_load_241 | 23 | 0.0010858 | 0.00027212 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_115-17_1_2_load_242 | 24 | 0.00042341 | 0.00010612 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_115-17_1_2_load_243 | 25 | 0.00025877 | 6.4853e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_115-17_1_2_load_245 | 27 | 0.00086691 | 0.00021727 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_115-17_1_2_load_246 | 28 | 0.00047738 | 0.00011964 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_115-17_1_2_load_258 | 30 | 0.0012294 | 0.00030811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_115-17_1_2_load_267 | 31 | 0.00028905 | 7.2442e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_115-17_1_2_load_265 | 32 | 0.0017912 | 0.00044892 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_115-17_1_2_load_248 | 33 | 0.0021577 | 0.00054077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_115-17_1_2_load_249 | 34 | 0.0014501 | 0.00036343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_115-17_1_2_load_251 | 35 | 0.00052944 | 0.00013269 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_115-17_1_2_load_274 | 37 | 0.0013307 | 0.00033352 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_115-17_1_2_load_351 | 38 | 0.001079 | 0.00027041 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_115-17_1_2_load_259 | 39 | 0.0016684 | 0.00041815 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_115-17_1_2_load_268 | 41 | 0.0018788 | 0.00047088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_115-17_1_2_load_269 | 42 | 0.0035619 | 0.0008927 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_115-17_1_2_load_270 | 43 | 0.002938 | 0.00073633 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_115-17_1_2_load_272 | 45 | 0.0053912 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_115-17_1_2_load_275 | 47 | 0.00051254 | 0.00012846 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_115-17_1_2_load_314 | 49 | 0.00079343 | 0.00019885 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_115-17_1_2_load_315 | 50 | 0.0013599 | 0.00034083 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_115-17_1_2_load_316 | 51 | 0.0010452 | 0.00026194 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_115-17_1_2_load_317 | 52 | 0.00025606 | 6.4175e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_115-17_1_2_load_319 | 53 | 0.0034013 | 0.00085244 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_115-17_1_2_load_323 | 54 | 0.0012883 | 0.00032289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_115-17_1_2_load_320 | 55 | 0.00079389 | 0.00019897 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_115-17_1_2_load_321 | 56 | 0.00059693 | 0.0001496 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_115-17_1_2_load_325 | 59 | 0.0012065 | 0.00030236 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_115-17_1_2_load_326 | 60 | 0.0013008 | 0.00032601 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_115-17_1_2_load_327 | 61 | 0.001188 | 0.00029774 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_115-17_1_2_load_328 | 62 | 0.001802 | 0.00045162 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_115-17_1_2_load_331 | 63 | 0.0012593 | 0.00031561 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_115-17_1_2_load_329 | 65 | 0.0035739 | 0.0008957 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_115-17_1_2_load_330 | 66 | 0.00056445 | 0.00014146 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_115-17_1_2_load_332 | 67 | 0.0016215 | 0.00040639 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_115-17_1_2_load_333 | 68 | 0.00049764 | 0.00012472 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_115-17_1_2_load_346 | 69 | 0.00049764 | 0.00012472 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_115-17_1_2_load_334 | 70 | 0.0010315 | 0.00025852 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_115-17_1_2_load_335 | 71 | 0.00099114 | 0.0002484 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_115-17_1_2_load_338 | 72 | 0.0011389 | 0.00028542 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_115-17_1_2_load_337 | 73 | 0.0011193 | 0.00028054 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_115-17_1_2_load_340 | 75 | 0.00052655 | 0.00013197 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_115-17_1_2_load_341 | 76 | 0.001809 | 0.00045338 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_115-17_1_2_load_342 | 77 | 0.00087514 | 0.00021933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_115-17_1_2_load_344 | 79 | 0.0013101 | 0.00032834 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_115-17_1_2_load_355 | 80 | 0.00071715 | 0.00017974 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_115-17_1_2_load_349 | 81 | 0.001378 | 0.00034536 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_115-17_1_2_load_345 | 82 | 0.0007448 | 0.00018667 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_115-17_1_2_load_348 | 84 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_115-17_1_2_load_350 | 85 | 0.0035 | 0.00087719 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_115-17_1_2_load_353 | 86 | 0.0035 | 0.0008772 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_115-17_1_2_load_354 | 87 | 0.0058891 | 0.0014759 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_115-17_1_2_load_359 | 88 | 0.0088424 | 0.0022161 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_115-17_1_2_load_356 | 89 | 0.0015345 | 0.00038457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_115-17_1_2_line_0 |  | 0 | 1 | 0.1439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_115-17_1_2_line_1 |  | 0 | 2 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_115-17_1_2_line_2 |  | 1 | 3 | 0.070362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_115-17_1_2_line_3 |  | 2 | 4 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_115-17_1_2_line_4 |  | 3 | 5 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_115-17_1_2_line_5 |  | 3 | 6 | 0.023162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_115-17_1_2_line_6 |  | 3 | 7 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_115-17_1_2_line_7 |  | 4 | 8 | 0.0010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_115-17_1_2_line_8 |  | 5 | 9 | 0.0020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_115-17_1_2_line_9 |  | 6 | 10 | 0.00096673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_115-17_1_2_line_10 |  | 8 | 11 | 0.029593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_115-17_1_2_line_11 |  | 9 | 33 | 0.054921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_115-17_1_2_line_12 |  | 10 | 28 | 0.00096674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_115-17_1_2_line_13 |  | 11 | 17 | 0.04731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_115-17_1_2_line_14 |  | 12 | 13 | 0.0072329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_115-17_1_2_line_15 |  | 12 | 14 | 0.054255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_115-17_1_2_line_16 |  | 13 | 15 | 0.10411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_115-17_1_2_line_17 |  | 14 | 16 | 0.035514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_115-17_1_2_line_18 |  | 15 | 17 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_115-17_1_2_line_19 |  | 16 | 18 | 0.085889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_115-17_1_2_line_20 |  | 16 | 19 | 0.13794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_115-17_1_2_line_21 |  | 18 | 20 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_115-17_1_2_line_22 |  | 19 | 21 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_115-17_1_2_line_23 |  | 20 | 38 | 0.0072997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_115-17_1_2_line_24 |  | 22 | 23 | 0.0032757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_115-17_1_2_line_25 |  | 22 | 24 | 0.018849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_115-17_1_2_line_26 |  | 23 | 25 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_115-17_1_2_line_27 |  | 24 | 26 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_115-17_1_2_line_28 |  | 25 | 27 | 0.0037782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_115-17_1_2_line_29 |  | 26 | 28 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_115-17_1_2_line_30 |  | 26 | 29 | 0.026816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_115-17_1_2_line_31 |  | 27 | 30 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_115-17_1_2_line_32 |  | 29 | 31 | 0.0093371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_115-17_1_2_line_33 |  | 29 | 32 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_115-17_1_2_line_34 |  | 30 | 39 | 0.021789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_115-17_1_2_line_35 |  | 31 | 42 | 0.032602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_115-17_1_2_line_36 |  | 32 | 40 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_115-17_1_2_line_37 |  | 33 | 34 | 0.009973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_115-17_1_2_line_38 |  | 34 | 35 | 0.0034318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_115-17_1_2_line_39 |  | 35 | 36 | 0.045208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_115-17_1_2_line_40 |  | 36 | 37 | 0.34502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_115-17_1_2_line_41 |  | 37 | 46 | 0.072922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_115-17_1_2_line_42 |  | 38 | 48 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_115-17_1_2_line_43 |  | 40 | 41 | 0.012291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_115-17_1_2_line_44 |  | 43 | 44 | 0.0073482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_115-17_1_2_line_45 |  | 43 | 45 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_115-17_1_2_line_46 |  | 44 | 46 | 0.024981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_115-17_1_2_line_47 |  | 47 | 48 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_115-17_1_2_line_48 |  | 48 | 75 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_115-17_1_2_line_49 |  | 49 | 50 | 0.0059208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_115-17_1_2_line_50 |  | 49 | 51 | 0.045169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_115-17_1_2_line_51 |  | 50 | 52 | 0.0098377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_115-17_1_2_line_52 |  | 52 | 53 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_115-17_1_2_line_53 |  | 53 | 54 | 0.0050855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_115-17_1_2_line_54 |  | 54 | 56 | 0.019802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_115-17_1_2_line_55 |  | 55 | 56 | 0.0070583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_115-17_1_2_line_56 |  | 55 | 57 | 0.030337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_115-17_1_2_line_57 |  | 57 | 58 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_115-17_1_2_line_58 |  | 57 | 59 | 0.031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_115-17_1_2_line_59 |  | 58 | 60 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_115-17_1_2_line_60 |  | 58 | 61 | 0.061531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_115-17_1_2_line_61 |  | 59 | 62 | 0.0085626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_115-17_1_2_line_62 |  | 60 | 63 | 0.0024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_115-17_1_2_line_63 |  | 61 | 64 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_115-17_1_2_line_64 |  | 63 | 65 | 0.020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_115-17_1_2_line_65 |  | 64 | 72 | 0.038035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_115-17_1_2_line_66 |  | 64 | 70 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_115-17_1_2_line_67 |  | 65 | 66 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_115-17_1_2_line_68 |  | 66 | 67 | 0.0082516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_115-17_1_2_line_69 |  | 67 | 68 | 0.0085266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_115-17_1_2_line_70 |  | 68 | 69 | 0.00031407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_115-17_1_2_line_71 |  | 69 | 82 | 0.036652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_115-17_1_2_line_72 |  | 70 | 71 | 0.0079592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_115-17_1_2_line_73 |  | 72 | 75 | 0.002025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_115-17_1_2_line_74 |  | 73 | 74 | 0.041873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_115-17_1_2_line_75 |  | 74 | 76 | 0.0078932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_115-17_1_2_line_76 |  | 74 | 77 | 0.031465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_115-17_1_2_line_77 |  | 76 | 78 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_115-17_1_2_line_78 |  | 77 | 79 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_115-17_1_2_line_79 |  | 78 | 80 | 0.006323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_115-17_1_2_line_80 |  | 79 | 81 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_115-17_1_2_line_81 |  | 80 | 89 | 0.019475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_115-17_1_2_line_82 |  | 81 | 83 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_115-17_1_2_line_83 |  | 82 | 83 | 0.023155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_115-17_1_2_line_84 |  | 83 | 84 | 0.00082796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_115-17_1_2_line_85 |  | 84 | 85 | 0.0049203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_115-17_1_2_line_86 |  | 85 | 86 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_115-17_1_2_line_87 |  | 86 | 87 | 0.0046456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_115-17_1_2_line_88 |  | 87 | 88 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_115-17_1_2_trafo_234 | 0.63 MVA 20/0.4 kV | 90 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2702918.0901 | 1239374.6661 | 2702903.5661 | 1239385.3447 | 2702881.0109 | 1239398.7197 | 2702842.216 | 1239411.5797 | 2702822.537 | 1239417.8882 | 2702809.8565 | 1239421.9495 | 2702799.6937 | 1239425.2094 | 2702786.2411 | 1239429.5242
1 | 2702918.0901 | 1239374.6661 | 2702926.2314 | 1239368.6803 | 2702928.9705 | 1239366.3702
2 | 2702719.6681 | 1239452.2897 | 2702769.2359 | 1239434.9785 | 2702786.2411 | 1239429.5242
3 | 2702928.9705 | 1239366.3702 | 2702937.0024 | 1239359.5966
4 | 2702719.6681 | 1239452.2897 | 2702721.2797 | 1239438.2516
5 | 2702719.6681 | 1239452.2897 | 2702716.6794 | 1239475.2577
6 | 2702719.6681 | 1239452.2897 | 2702710.6854 | 1239457.3048 | 2702699.4756 | 1239464.2496 | 2702697.2201 | 1239465.6454
7 | 2702937.8041 | 1239358.9205 | 2702937.0024 | 1239359.5966
8 | 2702721.2797 | 1239438.2516 | 2702721.5116 | 1239436.2307
9 | 2702716.6794 | 1239475.2577 | 2702716.5546 | 1239476.2163
10 | 2702960.4261 | 1239339.8423 | 2702937.8041 | 1239358.9205
11 | 2702730.9703 | 1239382.3123 | 2702725.5742 | 1239400.8413 | 2702721.5116 | 1239436.2307
12 | 2702716.5546 | 1239476.2163 | 2702716.4299 | 1239477.175
13 | 2702996.5905 | 1239309.34 | 2702981.7134 | 1239321.8842 | 2702975.4411 | 1239327.1795 | 2702960.4261 | 1239339.8423
14 | 2703095.7138 | 1239225.7497 | 2703090.1838 | 1239230.4116
15 | 2703137.3488 | 1239190.9628 | 2703137.1185 | 1239191.1589 | 2703108.5795 | 1239214.9037 | 2703095.7138 | 1239225.7497
16 | 2703090.1838 | 1239230.4116 | 2703083.5976 | 1239235.9639 | 2703018.5789 | 1239290.7998 | 2703010.5947 | 1239297.5319
17 | 2703164.5498 | 1239168.0399 | 2703137.3488 | 1239190.9628
18 | 2702996.5905 | 1239309.34 | 2703010.5947 | 1239297.5319
19 | 2703164.5498 | 1239168.0399 | 2703223.7146 | 1239118.0631 | 2703230.1117 | 1239112.5552
20 | 2703164.5498 | 1239168.0399 | 2703222.9689 | 1239225.2879 | 2703244.954 | 1239247.3648 | 2703250.3518 | 1239252.785 | 2703265.2254 | 1239261.7027
21 | 2703230.1117 | 1239112.5552 | 2703238.8673 | 1239105.0165 | 2703245.024 | 1239099.6662
22 | 2703265.2254 | 1239261.7027 | 2703278.6643 | 1239269.7602
23 | 2703250.5338 | 1239094.878 | 2703245.024 | 1239099.6662
24 | 2702710.8625 | 1239532.7212 | 2702710.8885 | 1239535.9968
25 | 2702710.8625 | 1239532.7212 | 2702710.8625 | 1239532.7212 | 2702712.5351 | 1239513.947
26 | 2702710.9902 | 1239548.8522 | 2702710.8885 | 1239535.9968
27 | 2702714.4679 | 1239492.2526 | 2702712.5351 | 1239513.947
28 | 2702710.9902 | 1239548.8522 | 2702711.0201 | 1239552.6303
29 | 2702714.4679 | 1239492.2526 | 2702716.4299 | 1239477.175
30 | 2702714.4679 | 1239492.2526 | 2702731.1816 | 1239498.591 | 2702739.4401 | 1239502.1922
31 | 2702711.4959 | 1239565.5314 | 2702711.0619 | 1239557.9106 | 2702711.0201 | 1239552.6303
32 | 2702739.4401 | 1239502.1922 | 2702742.2031 | 1239511.1112
33 | 2702739.4401 | 1239502.1922 | 2702755.0231 | 1239503.4962 | 2702760.2436 | 1239503.0295
34 | 2702711.4959 | 1239565.5314 | 2702712.7347 | 1239587.2848
35 | 2702766.0606 | 1239527.0274 | 2702753.2426 | 1239525.9381 | 2702746.7098 | 1239522.7115 | 2702742.886 | 1239513.3159 | 2702742.2031 | 1239511.1112
36 | 2702775.5268 | 1239501.0825 | 2702771.1756 | 1239502.0524 | 2702760.2436 | 1239503.0295
37 | 2702730.9703 | 1239382.3123 | 2702733.7588 | 1239372.7371
38 | 2702733.7588 | 1239372.7371 | 2702734.7184 | 1239369.4423
39 | 2702747.362 | 1239326.0388 | 2702742.3837 | 1239343.1213 | 2702734.7184 | 1239369.4423
40 | 2702747.362 | 1239326.0388 | 2702560.1614 | 1239036.2161
41 | 2702499.9064 | 1239077.2387 | 2702536.6791 | 1239051.0201 | 2702560.1614 | 1239036.2161
42 | 2703258.5618 | 1239087.9014 | 2703250.5338 | 1239094.878
43 | 2702775.5268 | 1239501.0825 | 2702777.8286 | 1239508.3835 | 2702779.8364 | 1239512.5659
44 | 2702486.3495 | 1239056.2331 | 2702493.3839 | 1239054.1084
45 | 2702514.8617 | 1239054.9465 | 2702512.9977 | 1239056.4376 | 2702511.0109 | 1239057.1483 | 2702498.5037 | 1239054.208 | 2702493.3839 | 1239054.1084
46 | 2702486.3495 | 1239056.2331 | 2702487.1218 | 1239057.514 | 2702499.9064 | 1239077.2387
47 | 2703258.5618 | 1239087.9014 | 2703269.1616 | 1239100.8734 | 2703270.7221 | 1239102.3142
48 | 2703258.5618 | 1239087.9014 | 2703266.8896 | 1239078.7158
49 | 2703426.699 | 1238943.2403 | 2703421.5344 | 1238946.1357
50 | 2703426.699 | 1238943.2403 | 2703451.267 | 1238929.4672 | 2703467.7849 | 1238925.4337
51 | 2703421.5344 | 1238946.1357 | 2703412.9532 | 1238950.9464
52 | 2703412.9532 | 1238950.9464 | 2703397.2932 | 1238959.7255
53 | 2703392.8572 | 1238962.2124 | 2703397.2932 | 1238959.7255
54 | 2703375.5637 | 1238971.8587 | 2703378.9557 | 1238970.0057 | 2703392.8572 | 1238962.2124
55 | 2703369.3694 | 1238975.2426 | 2703375.5637 | 1238971.8587
56 | 2703341.8032 | 1238986.9387 | 2703352.1932 | 1238985.0292 | 2703359.6243 | 1238980.5662 | 2703369.3694 | 1238975.2426
57 | 2703330.7203 | 1238986.5011 | 2703341.8032 | 1238986.9387
58 | 2703341.8032 | 1238986.9387 | 2703350.2657 | 1239001.8752 | 2703347.1511 | 1239005.6572 | 2703343.0163 | 1239010.2443 | 2703340.0244 | 1239011.9302
59 | 2703330.7203 | 1238986.5011 | 2703319.5227 | 1238978.3111 | 2703316.8416 | 1238975.5617
60 | 2703330.7203 | 1238986.5011 | 2703323.6867 | 1238993.3395 | 2703308.577 | 1239008.6661 | 2703305.2445 | 1239014.1012 | 2703300.6787 | 1239022.1502 | 2703293.3192 | 1239034.7247
61 | 2703332.5646 | 1239016.1336 | 2703340.0244 | 1239011.9302
62 | 2703316.8416 | 1238975.5617 | 2703315.1224 | 1238973.7987
63 | 2703287.6265 | 1239044.4513 | 2703293.3192 | 1239034.7247
64 | 2703315.1224 | 1238973.7987 | 2703300.7482 | 1238959.0586 | 2703300.7482 | 1238959.0586
65 | 2703287.6265 | 1239044.4513 | 2703277.7087 | 1239061.4029 | 2703267.9986 | 1239077.0262
66 | 2703287.6265 | 1239044.4513 | 2703274.964 | 1239032.7326
67 | 2703300.7482 | 1238959.0586 | 2703287.3426 | 1238947.7155
68 | 2703281.039 | 1238942.3908 | 2703281.9233 | 1238943.1301 | 2703287.3426 | 1238947.7155
69 | 2703281.039 | 1238942.3908 | 2703274.4969 | 1238936.9224
70 | 2703274.2559 | 1238936.721 | 2703274.4969 | 1238936.9224
71 | 2703246.1347 | 1238913.2149 | 2703274.2559 | 1238936.721
72 | 2703274.964 | 1239032.7326 | 2703269.1225 | 1239027.3265
73 | 2703267.9986 | 1239077.0262 | 2703267.0771 | 1239078.5089 | 2703266.8896 | 1239078.7158
74 | 2703187.0186 | 1238951.3421 | 2703217.7502 | 1238979.7831
75 | 2703187.0186 | 1238951.3421 | 2703182.1441 | 1238957.5503
76 | 2703187.0186 | 1238951.3421 | 2703192.7382 | 1238942.19 | 2703203.5252 | 1238926.5877 | 2703204.564 | 1238925.2368
77 | 2703163.6666 | 1238980.3919 | 2703170.0678 | 1238972.9308 | 2703182.1441 | 1238957.5503
78 | 2703204.564 | 1238925.2368 | 2703210.267 | 1238917.8204 | 2703212.5188 | 1238915.4001
79 | 2703163.6666 | 1238980.3919 | 2703157.7996 | 1238978.0344
80 | 2703212.5188 | 1238915.4001 | 2703220.893 | 1238906.3994
81 | 2703157.7996 | 1238978.0344 | 2703154.411 | 1238976.6727 | 2703140.3704 | 1238969.3773
82 | 2703228.3687 | 1238898.3646 | 2703220.893 | 1238906.3994
83 | 2703228.3687 | 1238898.3646 | 2703246.1347 | 1238913.2149
84 | 2703227.7288 | 1238897.8391 | 2703228.3687 | 1238898.3646
85 | 2703227.7288 | 1238897.8391 | 2703223.9265 | 1238894.7163
86 | 2703212.5187 | 1238885.3473 | 2703223.9265 | 1238894.7163
87 | 2703208.9286 | 1238882.3988 | 2703212.5187 | 1238885.3473
88 | 2703195.9078 | 1238871.705 | 2703208.9286 | 1238882.3988

## bus_geodata
| x | y | coords
0 | 2702918.0901 | 1239374.6661
1 | 2702786.2411 | 1239429.5242
2 | 2702928.9705 | 1239366.3702
3 | 2702719.6681 | 1239452.2897
4 | 2702937.0024 | 1239359.5966
5 | 2702721.2797 | 1239438.2516
6 | 2702716.6794 | 1239475.2577
7 | 2702697.2201 | 1239465.6454
8 | 2702937.8041 | 1239358.9205
9 | 2702721.5116 | 1239436.2306
10 | 2702716.5546 | 1239476.2163
11 | 2702960.4261 | 1239339.8423
12 | 2703095.7138 | 1239225.7497
13 | 2703090.1838 | 1239230.4116
14 | 2703137.3488 | 1239190.9628
15 | 2703010.5947 | 1239297.5319
16 | 2703164.5498 | 1239168.0399
17 | 2702996.5905 | 1239309.34
18 | 2703230.1117 | 1239112.5552
19 | 2703265.2254 | 1239261.7027
20 | 2703245.024 | 1239099.6662
21 | 2703278.6643 | 1239269.7602
22 | 2702710.8625 | 1239532.7212
23 | 2702710.8885 | 1239535.9968
24 | 2702712.5351 | 1239513.947
25 | 2702710.9902 | 1239548.8522
26 | 2702714.4679 | 1239492.2526
27 | 2702711.0201 | 1239552.6303
28 | 2702716.4299 | 1239477.175
29 | 2702739.4401 | 1239502.1922
30 | 2702711.4959 | 1239565.5314
31 | 2702742.2031 | 1239511.1112
32 | 2702760.2436 | 1239503.0295
33 | 2702730.9703 | 1239382.3123
34 | 2702733.7588 | 1239372.7371
35 | 2702734.7184 | 1239369.4423
36 | 2702747.362 | 1239326.0388
37 | 2702560.1614 | 1239036.2161
38 | 2703250.5338 | 1239094.878
39 | 2702712.7347 | 1239587.2848
40 | 2702775.5268 | 1239501.0825
41 | 2702779.8364 | 1239512.5659
42 | 2702766.0606 | 1239527.0274
43 | 2702493.3839 | 1239054.1084
44 | 2702486.3495 | 1239056.2331
45 | 2702514.8617 | 1239054.9465
46 | 2702499.9064 | 1239077.2387
47 | 2703270.7221 | 1239102.3142
48 | 2703258.5618 | 1239087.9014
49 | 2703426.699 | 1238943.2403
50 | 2703421.5344 | 1238946.1357
51 | 2703467.7849 | 1238925.4337
52 | 2703412.9532 | 1238950.9464
53 | 2703397.2932 | 1238959.7255
54 | 2703392.8572 | 1238962.2124
55 | 2703369.3694 | 1238975.2426
56 | 2703375.5637 | 1238971.8587
57 | 2703341.8032 | 1238986.9387
58 | 2703330.7203 | 1238986.5011
59 | 2703340.0244 | 1239011.9302
60 | 2703316.8416 | 1238975.5617
61 | 2703293.3192 | 1239034.7247
62 | 2703332.5646 | 1239016.1336
63 | 2703315.1224 | 1238973.7987
64 | 2703287.6265 | 1239044.4513
65 | 2703300.7482 | 1238959.0586
66 | 2703287.3426 | 1238947.7155
67 | 2703281.039 | 1238942.3908
68 | 2703274.4969 | 1238936.9224
69 | 2703274.2559 | 1238936.721
70 | 2703274.964 | 1239032.7326
71 | 2703269.1225 | 1239027.3265
72 | 2703267.9986 | 1239077.0262
73 | 2703217.7502 | 1238979.7831
74 | 2703187.0186 | 1238951.3421
75 | 2703266.8896 | 1239078.7158
76 | 2703182.1441 | 1238957.5503
77 | 2703204.564 | 1238925.2368
78 | 2703163.6666 | 1238980.3919
79 | 2703212.5188 | 1238915.4001
80 | 2703157.7996 | 1238978.0344
81 | 2703220.893 | 1238906.3994
82 | 2703246.1347 | 1238913.2149
83 | 2703228.3687 | 1238898.3646
84 | 2703227.7288 | 1238897.8391
85 | 2703223.9265 | 1238894.7163
86 | 2703212.5187 | 1238885.3473
87 | 2703208.9286 | 1238882.3988
88 | 2703195.9078 | 1238871.705
89 | 2703140.3704 | 1238969.3773
90 | 2703164.5498 | 1239168.0399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98977 | -0.19527 | 0.00074203 | 0.00018597
1 | 0.98548 | -0.27833 | 0.0012784 | 0.0003204
2 | 0.99019 | -0.18722 | 0.00075483 | 0.00018918
3 | 0.98347 | -0.31758 | 0 | 0
4 | 0.99052 | -0.18091 | 0.0007552 | 0.00018927
5 | 0.98326 | -0.32158 | 0.00067667 | 0.00016959
6 | 0.98315 | -0.32383 | 0.00047738 | 0.00011964
7 | 0.98346 | -0.31773 | 0.00031992 | 8.018e-05
8 | 0.99055 | -0.18027 | 0.0021927 | 0.00054954
9 | 0.98323 | -0.32214 | 0.0012362 | 0.00030981
10 | 0.98314 | -0.32408 | 0.00047766 | 0.00011971
11 | 0.99156 | -0.16097 | 0.0016315 | 0.0004089
12 | 0.99792 | -0.039357 | 0.0017153 | 0.0004299
13 | 0.99766 | -0.044398 | 0.0005281 | 0.00013235
14 | 1 | 0 | -0.11317 | -0.028614
15 | 0.99389 | -0.1163 | 0.00053097 | 0.00013307
16 | 0.99776 | -0.042356 | 0 | 0
17 | 0.99323 | -0.12883 | 0.000369 | 9.2479e-05
18 | 0.99253 | -0.1419 | 0.0012963 | 0.00032487
19 | 0.99745 | -0.0482 | 0.00069021 | 0.00017298
20 | 0.99135 | -0.16444 | 0.00066035 | 0.0001655
21 | 0.99743 | -0.048674 | 0.0017261 | 0.00043259
22 | 0.98271 | -0.3323 | 0.00047449 | 0.00011892
23 | 0.9827 | -0.3326 | 0.0010858 | 0.00027212
24 | 0.98281 | -0.3304 | 0.00042341 | 0.00010612
25 | 0.98265 | -0.33353 | 0.00025877 | 6.4853e-05
26 | 0.98293 | -0.32804 | 0 | 0
27 | 0.98264 | -0.33379 | 0.00086691 | 0.00021727
28 | 0.98312 | -0.32433 | 0.00047738 | 0.00011964
29 | 0.98275 | -0.33168 | 0 | 0
30 | 0.9826 | -0.33447 | 0.0012294 | 0.00030811
31 | 0.98271 | -0.33233 | 0.00028905 | 7.2442e-05
32 | 0.98268 | -0.33306 | 0.0017912 | 0.00044892
33 | 0.98253 | -0.33583 | 0.0021577 | 0.00054077
34 | 0.98242 | -0.33792 | 0.0014501 | 0.00036343
35 | 0.98239 | -0.33856 | 0.00052944 | 0.00013269
36 | 0.98199 | -0.34646 | 0 | 0
37 | 0.9789 | -0.40695 | 0.0013307 | 0.00033352
38 | 0.99092 | -0.17271 | 0.001079 | 0.00027041
39 | 0.98257 | -0.33512 | 0.0016684 | 0.00041815
40 | 0.98265 | -0.33358 | 0 | 0
41 | 0.98263 | -0.334 | 0.0018788 | 0.00047088
42 | 0.98261 | -0.33442 | 0.0035619 | 0.0008927
43 | 0.97809 | -0.42292 | 0.002938 | 0.00073633
44 | 0.97814 | -0.4218 | 0 | 0
45 | 0.97797 | -0.42512 | 0.0053912 | 0.0013512
46 | 0.97834 | -0.41801 | 0 | 0
47 | 0.99029 | -0.18475 | 0.00051254 | 0.00012846
48 | 0.9903 | -0.18458 | 0 | 0
49 | 0.98273 | -0.33122 | 0.00079343 | 0.00019885
50 | 0.98274 | -0.33102 | 0.0013599 | 0.00034083
51 | 0.98268 | -0.33207 | 0.0010452 | 0.00026194
52 | 0.98276 | -0.33045 | 0.00025606 | 6.4175e-05
53 | 0.98282 | -0.32933 | 0.0034013 | 0.00085244
54 | 0.98285 | -0.32871 | 0.0012883 | 0.00032289
55 | 0.98306 | -0.32468 | 0.00079389 | 0.00019897
56 | 0.983 | -0.3258 | 0.00059693 | 0.0001496
57 | 0.98333 | -0.31946 | 0 | 0
58 | 0.98345 | -0.31696 | 0 | 0
59 | 0.98324 | -0.32118 | 0.0012065 | 0.00030236
60 | 0.98272 | -0.3313 | 0.0013008 | 0.00032601
61 | 0.98672 | -0.2535 | 0.001188 | 0.00029774
62 | 0.98322 | -0.32146 | 0.001802 | 0.00045162
63 | 0.98262 | -0.33323 | 0.0012593 | 0.00031561
64 | 0.98734 | -0.24169 | 0 | 0
65 | 0.98181 | -0.34897 | 0.0035739 | 0.0008957
66 | 0.98118 | -0.36128 | 0.00056445 | 0.00014146
67 | 0.98089 | -0.36698 | 0.0016215 | 0.00040639
68 | 0.9806 | -0.37263 | 0.00049764 | 0.00012472
69 | 0.98059 | -0.37283 | 0.00049764 | 0.00012472
70 | 0.9873 | -0.24231 | 0.0010315 | 0.00025852
71 | 0.9873 | -0.24245 | 0.00099114 | 0.0002484
72 | 0.98947 | -0.20054 | 0.0011389 | 0.00028542
73 | 0.9782 | -0.41975 | 0.0011193 | 0.00028054
74 | 0.97824 | -0.4189 | 0 | 0
75 | 0.98958 | -0.19832 | 0.00052655 | 0.00013197
76 | 0.97821 | -0.41948 | 0.001809 | 0.00045338
77 | 0.97839 | -0.41593 | 0.00087514 | 0.00021933
78 | 0.97815 | -0.42069 | 0 | 0
79 | 0.97846 | -0.41453 | 0.0013101 | 0.00032834
80 | 0.97814 | -0.42095 | 0.00071715 | 0.00017974
81 | 0.97855 | -0.41288 | 0.001378 | 0.00034536
82 | 0.97938 | -0.39648 | 0.0007448 | 0.00018667
83 | 0.97864 | -0.41113 | 0 | 0
84 | 0.97862 | -0.41153 | 0.0043225 | 0.0010833
85 | 0.97852 | -0.41347 | 0.0035 | 0.00087719
86 | 0.97827 | -0.41837 | 0.0035 | 0.0008772
87 | 0.9782 | -0.41962 | 0.0058891 | 0.0014759
88 | 0.97807 | -0.42233 | 0.0088424 | 0.0022161
89 | 0.97811 | -0.42149 | 0.0015345 | 0.00038457
90 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.03252 | 0.008234 | -0.032391 | -0.0081532 | 0.00012914 | 8.081e-05 | 0.04892 | 0.04892 | 0.04892 | 0.98977 | -0.19527 | 0.98548 | -0.27833 | 13.4396
1 | -0.033262 | -0.00842 | 0.033275 | 0.008428 | 1.2851e-05 | 8.0485e-06 | 0.050035 | 0.050035 | 0.050035 | 0.98977 | -0.19527 | 0.99019 | -0.18722 | 13.7459
2 | 0.031112 | 0.0078328 | -0.031054 | -0.0077964 | 5.8262e-05 | 3.6393e-05 | 0.04699 | 0.04699 | 0.04699 | 0.98548 | -0.27833 | 0.98347 | -0.31758 | 12.9094
3 | -0.034029 | -0.0086172 | 0.03404 | 0.0086236 | 1.0316e-05 | 6.4673e-06 | 0.051169 | 0.051169 | 0.051169 | 0.99019 | -0.18722 | 0.99052 | -0.18091 | 14.0575
4 | 0.015762 | 0.0039633 | -0.015759 | -0.0039615 | 3.0151e-06 | 1.7504e-06 | 0.023854 | 0.023854 | 0.023854 | 0.98347 | -0.31758 | 0.98326 | -0.32158 | 6.5532
5 | 0.014971 | 0.0037533 | -0.014967 | -0.0037507 | 4.457e-06 | 2.5587e-06 | 0.022653 | 0.022653 | 0.022653 | 0.98347 | -0.31758 | 0.98315 | -0.32383 | 6.2233
6 | 0.00031992 | 7.985e-05 | -0.00031992 | -8.018e-05 | 2.2951e-09 | -3.3006e-07 | 0.00048394 | 0.00048406 | 0.00048406 | 0.98347 | -0.31758 | 0.98346 | -0.31773 | 0.13298
7 | -0.034795 | -0.0088129 | 0.034796 | 0.0088136 | 1.0759e-06 | 6.7505e-07 | 0.052304 | 0.052304 | 0.052304 | 0.99052 | -0.18091 | 0.99055 | -0.18027 | 14.3692
8 | 0.015083 | 0.0037919 | -0.015082 | -0.0037917 | 3.9758e-07 | 2.2865e-07 | 0.02283 | 0.02283 | 0.02283 | 0.98326 | -0.32158 | 0.98323 | -0.32214 | 6.2719
9 | 0.01449 | 0.0036311 | -0.014489 | -0.003631 | 1.7435e-07 | 9.9326e-08 | 0.02193 | 0.02193 | 0.02193 | 0.98315 | -0.32383 | 0.98314 | -0.32408 | 6.0248
10 | -0.036989 | -0.0093631 | 0.037023 | 0.0093847 | 3.4303e-05 | 2.1573e-05 | 0.055598 | 0.055598 | 0.055598 | 0.99055 | -0.18027 | 0.99156 | -0.16097 | 15.2741
11 | 0.013846 | 0.0034819 | -0.013837 | -0.0034768 | 9.0471e-06 | 5.0941e-06 | 0.020959 | 0.020959 | 0.020959 | 0.98323 | -0.32214 | 0.98253 | -0.33583 | 5.758
12 | 0.014012 | 0.0035112 | -0.014012 | -0.0035111 | 1.6305e-07 | 9.2091e-08 | 0.021207 | 0.021207 | 0.021207 | 0.98314 | -0.32408 | 0.98312 | -0.32433 | 5.8262
13 | -0.038655 | -0.0097936 | 0.038714 | 0.0098313 | 5.9776e-05 | 3.7646e-05 | 0.058046 | 0.058046 | 0.058046 | 0.99156 | -0.16097 | 0.99323 | -0.12883 | 15.9467
14 | 0.040314 | 0.010297 | -0.040304 | -0.010291 | 9.8233e-06 | 6.1924e-06 | 0.060181 | 0.060181 | 0.060181 | 0.99792 | -0.039357 | 0.99766 | -0.044398 | 16.5332
15 | -0.042029 | -0.010727 | 0.042109 | 0.010777 | 8.0082e-05 | 5.0542e-05 | 0.062738 | 0.062738 | 0.062738 | 0.99792 | -0.039357 | 1 | 0 | 17.2358
16 | 0.039776 | 0.010158 | -0.039638 | -0.010072 | 0.00013772 | 8.6789e-05 | 0.059393 | 0.059394 | 0.059394 | 0.99766 | -0.044398 | 0.99389 | -0.1163 | 16.3169
17 | 0.069409 | 0.017837 | -0.069266 | -0.017746 | 0.00014249 | 9.073e-05 | 0.10344 | 0.10344 | 0.10344 | 1 | 0 | 0.99776 | -0.042356 | 28.4171
18 | 0.039107 | 0.0099386 | -0.039083 | -0.0099237 | 2.3588e-05 | 1.4859e-05 | 0.058599 | 0.058599 | 0.058599 | 0.99389 | -0.1163 | 0.99323 | -0.12883 | 16.0985
19 | 0.066849 | 0.017142 | -0.066528 | -0.016938 | 0.00032102 | 0.00020434 | 0.099834 | 0.099835 | 0.099835 | 0.99776 | -0.042356 | 0.99253 | -0.1419 | 27.4271
20 | 0.002417 | 0.00060403 | -0.0024163 | -0.0006054 | 6.72e-07 | -1.371e-06 | 0.003604 | 0.0036046 | 0.0036046 | 0.99776 | -0.042356 | 0.99745 | -0.0482 | 0.99028
21 | 0.065232 | 0.016613 | -0.065161 | -0.016568 | 7.083e-05 | 4.5077e-05 | 0.097891 | 0.097891 | 0.097891 | 0.99253 | -0.1419 | 0.99135 | -0.16444 | 26.8932
22 | 0.0017261 | 0.00043241 | -0.0017261 | -0.00043259 | 3.8962e-08 | -1.7959e-07 | 0.002575 | 0.002575 | 0.002575 | 0.99745 | -0.0482 | 0.99743 | -0.048674 | 0.70743
23 | 0.064501 | 0.016402 | -0.064475 | -0.016386 | 2.5703e-05 | 1.6356e-05 | 0.0969 | 0.0969 | 0.0969 | 0.99135 | -0.16444 | 0.99092 | -0.17271 | 26.6209
24 | 0.0051097 | 0.0012801 | -0.0051096 | -0.0012801 | 7.3531e-08 | 5.5579e-09 | 0.0077369 | 0.0077369 | 0.0077369 | 0.98271 | -0.3323 | 0.9827 | -0.3326 | 2.1255
25 | -0.0055842 | -0.001399 | 0.0055847 | 0.0013991 | 5.0532e-07 | 8.4575e-08 | 0.0084553 | 0.0084552 | 0.0084553 | 0.98271 | -0.3323 | 0.98281 | -0.3304 | 2.3229
26 | 0.0040238 | 0.001008 | -0.0040237 | -0.001008 | 1.7896e-07 | -4.8329e-08 | 0.0060928 | 0.0060928 | 0.0060928 | 0.9827 | -0.3326 | 0.98265 | -0.33353 | 1.6739
27 | -0.0060081 | -0.0015052 | 0.0060088 | 0.0015054 | 6.7581e-07 | 1.5648e-07 | 0.0090963 | 0.0090962 | 0.0090963 | 0.98281 | -0.3304 | 0.98293 | -0.32804 | 2.499
28 | 0.0037649 | 0.00094316 | -0.0037649 | -0.00094318 | 4.6049e-08 | -1.8391e-08 | 0.005701 | 0.005701 | 0.005701 | 0.98265 | -0.33353 | 0.98264 | -0.33379 | 1.5662
29 | -0.013532 | -0.0033902 | 0.013534 | 0.0033915 | 2.3926e-06 | 1.3385e-06 | 0.020485 | 0.020485 | 0.020485 | 0.98293 | -0.32804 | 0.98312 | -0.32433 | 5.6277
30 | 0.0075231 | 0.0018848 | -0.0075218 | -0.0018843 | 1.3043e-06 | 4.9491e-07 | 0.011389 | 0.011389 | 0.011389 | 0.98293 | -0.32804 | 0.98275 | -0.33168 | 3.1288
31 | 0.0028979 | 0.00072591 | -0.0028979 | -0.00072601 | 9.3254e-08 | -1.039e-07 | 0.0043882 | 0.0043883 | 0.0043883 | 0.98264 | -0.33379 | 0.9826 | -0.33447 | 1.2056
32 | 0.0038514 | 0.00096491 | -0.0038513 | -0.00096495 | 1.1907e-07 | -4.2097e-08 | 0.0058315 | 0.0058315 | 0.0058315 | 0.98275 | -0.33168 | 0.98271 | -0.33233 | 1.6021
33 | 0.0036704 | 0.00091939 | -0.0036701 | -0.0009195 | 2.4181e-07 | -1.0977e-07 | 0.0055573 | 0.0055574 | 0.0055574 | 0.98275 | -0.33168 | 0.98268 | -0.33306 | 1.5268
34 | 0.0016685 | 0.00041791 | -0.0016684 | -0.00041815 | 5.2162e-08 | -2.426e-07 | 0.0025266 | 0.0025267 | 0.0025267 | 0.9826 | -0.33447 | 0.98257 | -0.33512 | 0.69415
35 | 0.0035623 | 0.00089251 | -0.0035619 | -0.0008927 | 3.557e-07 | -1.8537e-07 | 0.0053938 | 0.005394 | 0.005394 | 0.98271 | -0.33233 | 0.98261 | -0.33442 | 1.4819
36 | 0.0018789 | 0.00047058 | -0.0018789 | -0.00047075 | 4.6847e-08 | -1.6554e-07 | 0.002845 | 0.0028451 | 0.0028451 | 0.98268 | -0.33306 | 0.98265 | -0.33358 | 0.78162
37 | 0.011679 | 0.002936 | -0.011678 | -0.0029354 | 1.1705e-06 | 6.2285e-07 | 0.017691 | 0.017691 | 0.017691 | 0.98253 | -0.33583 | 0.98242 | -0.33792 | 4.8603
38 | 0.010228 | 0.002572 | -0.010228 | -0.0025718 | 3.0898e-07 | 1.543e-07 | 0.015495 | 0.015495 | 0.015495 | 0.98242 | -0.33792 | 0.98239 | -0.33856 | 4.2569
39 | 0.0096985 | 0.0024391 | -0.0096948 | -0.0024374 | 3.66e-06 | 1.7702e-06 | 0.014693 | 0.014693 | 0.014693 | 0.98239 | -0.33856 | 0.98199 | -0.34646 | 4.0366
40 | 0.0096948 | 0.0024374 | -0.0096669 | -0.0024238 | 2.7936e-05 | 1.3528e-05 | 0.014693 | 0.014695 | 0.014695 | 0.98199 | -0.34646 | 0.9789 | -0.40695 | 4.0371
41 | 0.0083361 | 0.0020903 | -0.0083317 | -0.0020884 | 4.3913e-06 | 1.8942e-06 | 0.012672 | 0.012672 | 0.012672 | 0.9789 | -0.40695 | 0.97834 | -0.41801 | 3.4814
42 | 0.063396 | 0.016116 | -0.06336 | -0.016093 | 3.6208e-05 | 2.3036e-05 | 0.09528 | 0.09528 | 0.09528 | 0.99092 | -0.17271 | 0.9903 | -0.18458 | 26.1758
43 | 0.0018789 | 0.00047075 | -0.0018788 | -0.00047088 | 3.731e-08 | -1.3182e-07 | 0.0028451 | 0.0028452 | 0.0028452 | 0.98265 | -0.33358 | 0.98263 | -0.334 | 0.78164
44 | -0.0083298 | -0.0020876 | 0.0083302 | 0.0020878 | 4.4253e-07 | 1.9099e-07 | 0.012673 | 0.012673 | 0.012673 | 0.97809 | -0.42292 | 0.97814 | -0.4218 | 3.4815
45 | 0.0053918 | 0.0013513 | -0.0053912 | -0.0013512 | 5.6688e-07 | 8.0873e-08 | 0.0082028 | 0.0082029 | 0.0082029 | 0.97809 | -0.42292 | 0.97797 | -0.42512 | 2.2536
46 | -0.0083302 | -0.0020878 | 0.0083317 | 0.0020884 | 1.5044e-06 | 6.4919e-07 | 0.012673 | 0.012672 | 0.012673 | 0.97814 | -0.4218 | 0.97834 | -0.41801 | 3.4815
47 | -0.00051254 | -0.00012846 | 0.00051255 | 0.00012822 | 4.198e-09 | -2.4017e-07 | 0.00077015 | 0.00077007 | 0.00077015 | 0.99029 | -0.18475 | 0.9903 | -0.18458 | 0.21158
48 | 0.062847 | 0.015964 | -0.062806 | -0.015938 | 4.153e-05 | 2.642e-05 | 0.09451 | 0.09451 | 0.09451 | 0.9903 | -0.18458 | 0.98958 | -0.19832 | 25.9643
49 | -0.0018386 | -0.00046025 | 0.0018387 | 0.00046019 | 1.7206e-08 | -6.4005e-08 | 0.0027838 | 0.0027838 | 0.0027838 | 0.98273 | -0.33122 | 0.98274 | -0.33102 | 0.76478
50 | 0.0010452 | 0.0002614 | -0.0010452 | -0.00026194 | 4.242e-08 | -5.4511e-07 | 0.0015824 | 0.0015826 | 0.0015826 | 0.98273 | -0.33122 | 0.98268 | -0.33207 | 0.43479
51 | -0.0031986 | -0.00080101 | 0.0031987 | 0.00080094 | 8.6524e-08 | -6.9274e-08 | 0.0048429 | 0.0048429 | 0.0048429 | 0.98274 | -0.33102 | 0.98276 | -0.33045 | 1.3305
52 | -0.0034547 | -0.00086512 | 0.0034549 | 0.00086501 | 1.8419e-07 | -1.0961e-07 | 0.0052306 | 0.0052305 | 0.0052306 | 0.98276 | -0.33045 | 0.98282 | -0.32933 | 1.437
53 | -0.0068562 | -0.0017175 | 0.0068564 | 0.0017175 | 2.0548e-07 | 6.706e-08 | 0.01038 | 0.01038 | 0.01038 | 0.98282 | -0.32933 | 0.98285 | -0.32871 | 2.8517
54 | -0.0081447 | -0.0020404 | 0.0081459 | 0.0020409 | 1.129e-06 | 4.7159e-07 | 0.012331 | 0.012331 | 0.012331 | 0.98285 | -0.32871 | 0.983 | -0.3258 | 3.3875
55 | 0.0087432 | 0.0021907 | -0.0087428 | -0.0021905 | 4.6357e-07 | 2.072e-07 | 0.013234 | 0.013234 | 0.013234 | 0.98306 | -0.32468 | 0.983 | -0.3258 | 3.6357
56 | -0.0095371 | -0.0023897 | 0.0095395 | 0.0023908 | 2.3707e-06 | 1.1325e-06 | 0.014436 | 0.014436 | 0.014436 | 0.98306 | -0.32468 | 0.98333 | -0.31946 | 3.9659
57 | -0.012548 | -0.0031444 | 0.01255 | 0.0031452 | 1.4953e-06 | 8.1667e-07 | 0.018988 | 0.018988 | 0.018988 | 0.98333 | -0.31946 | 0.98345 | -0.31696 | 5.2166
58 | 0.0030087 | 0.00075364 | -0.0030084 | -0.00075389 | 2.4622e-07 | -2.4421e-07 | 0.0045527 | 0.0045529 | 0.0045529 | 0.98333 | -0.31946 | 0.98324 | -0.32118 | 1.2508
59 | 0.045044 | 0.011357 | -0.045013 | -0.011338 | 3.0876e-05 | 1.9536e-05 | 0.068178 | 0.068178 | 0.068178 | 0.98345 | -0.31696 | 0.98272 | -0.3313 | 18.7302
60 | -0.057593 | -0.014502 | 0.057769 | 0.014614 | 0.00017532 | 0.00011142 | 0.087166 | 0.087166 | 0.087166 | 0.98345 | -0.31696 | 0.98672 | -0.2535 | 23.9468
61 | 0.001802 | 0.00045152 | -0.001802 | -0.00045162 | 2.388e-08 | -9.3316e-08 | 0.0027271 | 0.0027271 | 0.0027271 | 0.98324 | -0.32118 | 0.98322 | -0.32146 | 0.7492
62 | 0.043712 | 0.011012 | -0.043708 | -0.011009 | 4.0479e-06 | 2.5594e-06 | 0.066208 | 0.066208 | 0.066208 | 0.98272 | -0.3313 | 0.98262 | -0.33323 | 18.1891
63 | -0.058957 | -0.014912 | 0.05899 | 0.014933 | 3.3444e-05 | 2.126e-05 | 0.088958 | 0.088957 | 0.088958 | 0.98672 | -0.2535 | 0.98734 | -0.24169 | 24.4389
64 | 0.042449 | 0.010693 | -0.042417 | -0.010673 | 3.1923e-05 | 2.017e-05 | 0.064301 | 0.064301 | 0.064301 | 0.98262 | -0.33323 | 0.98181 | -0.34897 | 17.6652
65 | -0.061013 | -0.01544 | 0.061134 | 0.015516 | 0.00012074 | 7.6784e-05 | 0.092006 | 0.092006 | 0.092006 | 0.98734 | -0.24169 | 0.98947 | -0.20054 | 25.2763
66 | 0.0020227 | 0.00050664 | -0.0020227 | -0.00050683 | 6.0122e-08 | -1.8217e-07 | 0.0030483 | 0.0030484 | 0.0030484 | 0.98734 | -0.24169 | 0.9873 | -0.24231 | 0.83748
67 | 0.038843 | 0.0097776 | -0.03882 | -0.0097632 | 2.2834e-05 | 1.4392e-05 | 0.058885 | 0.058885 | 0.058885 | 0.98181 | -0.34897 | 0.98118 | -0.36128 | 16.1772
68 | 0.038256 | 0.0096218 | -0.038245 | -0.0096152 | 1.042e-05 | 6.5645e-06 | 0.058029 | 0.058029 | 0.058029 | 0.98118 | -0.36128 | 0.98089 | -0.36698 | 15.942
69 | 0.036624 | 0.0092088 | -0.036614 | -0.0092026 | 9.8736e-06 | 6.2115e-06 | 0.055569 | 0.055569 | 0.055569 | 0.98089 | -0.36698 | 0.9806 | -0.37263 | 15.2663
70 | 0.036116 | 0.0090779 | -0.036116 | -0.0090777 | 3.5387e-07 | 2.2251e-07 | 0.054814 | 0.054814 | 0.054814 | 0.9806 | -0.37263 | 0.98059 | -0.37283 | 15.0588
71 | 0.035618 | 0.0089529 | -0.035578 | -0.0089277 | 4.0166e-05 | 2.5245e-05 | 0.054059 | 0.054059 | 0.054059 | 0.98059 | -0.37283 | 0.97938 | -0.39648 | 14.8514
72 | 0.00099114 | 0.0002483 | -0.00099114 | -0.0002484 | 6.6601e-09 | -9.7521e-08 | 0.0014938 | 0.0014938 | 0.0014938 | 0.9873 | -0.24231 | 0.9873 | -0.24245 | 0.41039
73 | -0.062273 | -0.015802 | 0.062279 | 0.015806 | 6.6697e-06 | 4.2426e-06 | 0.093718 | 0.093718 | 0.093718 | 0.98947 | -0.20054 | 0.98958 | -0.19832 | 25.7468
74 | -0.0011193 | -0.00028054 | 0.0011194 | 0.00028004 | 4.5521e-08 | -4.9654e-07 | 0.0017027 | 0.0017025 | 0.0017027 | 0.9782 | -0.41975 | 0.97824 | -0.4189 | 0.46778
75 | 0.0040609 | 0.0010171 | -0.0040608 | -0.0010171 | 1.1293e-07 | -2.6815e-08 | 0.0061769 | 0.0061769 | 0.0061769 | 0.97824 | -0.4189 | 0.97821 | -0.41948 | 1.697
76 | -0.0051803 | -0.0012971 | 0.0051811 | 0.0012972 | 7.3255e-07 | 7.3746e-08 | 0.0078794 | 0.0078793 | 0.0078794 | 0.97824 | -0.4189 | 0.97839 | -0.41593 | 2.1647
77 | 0.0022518 | 0.00056374 | -0.0022517 | -0.00056402 | 1.2928e-07 | -2.8614e-07 | 0.0034251 | 0.0034253 | 0.0034253 | 0.97821 | -0.41948 | 0.97815 | -0.42069 | 0.94101
78 | -0.0060562 | -0.0015165 | 0.0060566 | 0.0015166 | 4.0277e-07 | 9.8753e-08 | 0.0092103 | 0.0092102 | 0.0092103 | 0.97839 | -0.41593 | 0.97846 | -0.41453 | 2.5303
79 | 0.0022517 | 0.00056402 | -0.0022516 | -0.00056409 | 2.7819e-08 | -6.1562e-08 | 0.0034253 | 0.0034253 | 0.0034253 | 0.97815 | -0.42069 | 0.97814 | -0.42095 | 0.94101
80 | -0.0073667 | -0.001845 | 0.0073673 | 0.0018452 | 5.7856e-07 | 2.1585e-07 | 0.011203 | 0.011203 | 0.011203 | 0.97846 | -0.41453 | 0.97855 | -0.41288 | 3.0776
81 | 0.0015345 | 0.00038435 | -0.0015345 | -0.00038457 | 3.9795e-08 | -2.1897e-07 | 0.0023343 | 0.0023344 | 0.0023344 | 0.97814 | -0.42095 | 0.97811 | -0.42149 | 0.64132
82 | -0.0087453 | -0.0021906 | 0.008746 | 0.0021909 | 7.2776e-07 | 3.2789e-07 | 0.013298 | 0.013298 | 0.013298 | 0.97855 | -0.41288 | 0.97864 | -0.41113 | 3.6533
83 | 0.034833 | 0.008741 | -0.034809 | -0.0087258 | 2.4324e-05 | 1.5276e-05 | 0.052927 | 0.052928 | 0.052928 | 0.97938 | -0.39648 | 0.97864 | -0.41113 | 14.5405
84 | 0.026063 | 0.0065349 | -0.026062 | -0.0065346 | 4.8762e-07 | 3.0167e-07 | 0.03963 | 0.03963 | 0.03963 | 0.97864 | -0.41113 | 0.97862 | -0.41153 | 10.8873
85 | 0.02174 | 0.0054512 | -0.021738 | -0.00545 | 2.0163e-06 | 1.2286e-06 | 0.033057 | 0.033057 | 0.033057 | 0.97862 | -0.41153 | 0.97852 | -0.41347 | 9.0816
86 | 0.018238 | 0.0045728 | -0.018234 | -0.0045703 | 4.2582e-06 | 2.5399e-06 | 0.027735 | 0.027735 | 0.027735 | 0.97852 | -0.41347 | 0.97827 | -0.41837 | 7.6194
87 | 0.014734 | 0.0036931 | -0.014733 | -0.0036926 | 8.7498e-07 | 5.0166e-07 | 0.022411 | 0.022411 | 0.022411 | 0.97827 | -0.41837 | 0.9782 | -0.41962 | 6.1569
88 | 0.0088436 | 0.0022166 | -0.0088424 | -0.0022161 | 1.1435e-06 | 5.2034e-07 | 0.013453 | 0.013453 | 0.013453 | 0.9782 | -0.41962 | 0.97807 | -0.42233 | 3.6958

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11317 | 0.028614

## res_load
| p_mw | q_mvar
0 | 0.00074203 | 0.00018597
1 | 0.0012784 | 0.0003204
2 | 0.00075483 | 0.00018918
3 | 0.0007552 | 0.00018927
4 | 0.00067667 | 0.00016959
5 | 0.00047738 | 0.00011964
6 | 0.00031992 | 8.018e-05
7 | 0.0021927 | 0.00054954
8 | 0.0012362 | 0.00030981
9 | 0.00047766 | 0.00011971
10 | 0.0016315 | 0.0004089
11 | 0.0017153 | 0.0004299
12 | 0.0005281 | 0.00013235
13 | 0.00053097 | 0.00013307
14 | 0.000369 | 9.2479e-05
15 | 0.0012963 | 0.00032487
16 | 0.00069021 | 0.00017298
17 | 0.00066035 | 0.0001655
18 | 0.0017261 | 0.00043259
19 | 0.00047449 | 0.00011892
20 | 0.0010858 | 0.00027212
21 | 0.00042341 | 0.00010612
22 | 0.00025877 | 6.4853e-05
23 | 0.00086691 | 0.00021727
24 | 0.00047738 | 0.00011964
25 | 0.0012294 | 0.00030811
26 | 0.00028905 | 7.2442e-05
27 | 0.0017912 | 0.00044892
28 | 0.0021577 | 0.00054077
29 | 0.0014501 | 0.00036343
30 | 0.00052944 | 0.00013269
31 | 0.0013307 | 0.00033352
32 | 0.001079 | 0.00027041
33 | 0.0016684 | 0.00041815
34 | 0.0018788 | 0.00047088
35 | 0.0035619 | 0.0008927
36 | 0.002938 | 0.00073633
37 | 0.0053912 | 0.0013512
38 | 0.00051254 | 0.00012846
39 | 0.00079343 | 0.00019885
40 | 0.0013599 | 0.00034083
41 | 0.0010452 | 0.00026194
42 | 0.00025606 | 6.4175e-05
43 | 0.0034013 | 0.00085244
44 | 0.0012883 | 0.00032289
45 | 0.00079389 | 0.00019897
46 | 0.00059693 | 0.0001496
47 | 0.0012065 | 0.00030236
48 | 0.0013008 | 0.00032601
49 | 0.001188 | 0.00029774
50 | 0.001802 | 0.00045162
51 | 0.0012593 | 0.00031561
52 | 0.0035739 | 0.0008957
53 | 0.00056445 | 0.00014146
54 | 0.0016215 | 0.00040639
55 | 0.00049764 | 0.00012472
56 | 0.00049764 | 0.00012472
57 | 0.0010315 | 0.00025852
58 | 0.00099114 | 0.0002484
59 | 0.0011389 | 0.00028542
60 | 0.0011193 | 0.00028054
61 | 0.00052655 | 0.00013197
62 | 0.001809 | 0.00045338
63 | 0.00087514 | 0.00021933
64 | 0.0013101 | 0.00032834
65 | 0.00071715 | 0.00017974
66 | 0.001378 | 0.00034536
67 | 0.0007448 | 0.00018667
68 | 0.0043225 | 0.0010833
69 | 0.0035 | 0.00087719
70 | 0.0035 | 0.0008772
71 | 0.0058891 | 0.0014759
72 | 0.0088424 | 0.0022161
73 | 0.0015345 | 0.00038457

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1