## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_13-4_1_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_13-4_1_2_node_130 | 0.4 | n |  | TRUE
2 | bus_LV_13-4_1_2_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_13-4_1_2_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_13-4_1_2_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_13-4_1_2_node_184 | 0.4 | n |  | TRUE
6 | bus_LV_13-4_1_2_node_185 | 0.4 | n |  | TRUE
7 | bus_LV_13-4_1_2_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_13-4_1_2_node_98 | 0.4 | n |  | TRUE
9 | bus_LV_13-4_1_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_13-4_1_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_13-4_1_2_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_13-4_1_2_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_13-4_1_2_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_13-4_1_2_node_188 | 0.4 | n |  | TRUE
15 | bus_LV_13-4_1_2_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_13-4_1_2_node_86 | 0.4 | n |  | TRUE
17 | bus_LV_13-4_1_2_node_146 | 0.4 | n |  | TRUE
18 | bus_LV_13-4_1_2_node_225 | 0.4 | n |  | TRUE
19 | bus_LV_13-4_1_2_node_115 | 0.4 | n |  | TRUE
20 | bus_LV_13-4_1_2_node_179 | 0.4 | n |  | TRUE
21 | bus_LV_13-4_1_2_node_180 | 0.4 | n |  | TRUE
22 | bus_LV_13-4_1_2_node_121 | 0.4 | n |  | TRUE
23 | bus_LV_13-4_1_2_node_181 | 0.4 | n |  | TRUE
24 | bus_LV_13-4_1_2_node_182 | 0.4 | n |  | TRUE
25 | bus_LV_13-4_1_2_node_183 | 0.4 | n |  | TRUE
26 | bus_LV_13-4_1_2_node_186 | 0.4 | n |  | TRUE
27 | bus_LV_13-4_1_2_node_187 | 0.4 | n |  | TRUE
28 | bus_LV_13-4_1_2_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_13-4_1_2_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_13-4_1_2_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_13-4_1_2_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_13-4_1_2_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_13-4_1_2_node_224 | 0.4 | n |  | TRUE
34 | bus_LV_13-4_1_2_node_113 | 0.4 | n |  | TRUE
35 | bus_LV_13-4_1_2_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_13-4_1_2_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_13-4_1_2_node_96 | 0.4 | n |  | TRUE
38 | bus_LV_13-4_1_2_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_13-4_1_2_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_13-4_1_2_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_13-4_1_2_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_13-4_1_2_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_13-4_1_2_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_13-4_1_2_node_120 | 0.4 | n |  | TRUE
45 | bus_LV_13-4_1_2_node_114 | 0.4 | n |  | TRUE
46 | bus_LV_13-4_1_2_node_110 | 0.4 | n |  | TRUE
47 | bus_LV_13-4_1_2_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_13-4_1_2_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_13-4_1_2_node_117 | 0.4 | n |  | TRUE
50 | bus_LV_13-4_1_2_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_13-4_1_2_node_118 | 0.4 | n |  | TRUE
52 | bus_LV_13-4_1_2_node_122 | 0.4 | n |  | TRUE
53 | bus_LV_13-4_1_2_node_127 | 0.4 | n |  | TRUE
54 | bus_LV_13-4_1_2_node_123 | 0.4 | n |  | TRUE
55 | bus_LV_13-4_1_2_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_13-4_1_2_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_13-4_1_2_node_126 | 0.4 | n |  | TRUE
58 | bus_MV_0_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_13-4_1_2_load_129 | 0 | 0.00091845 | 0.00023019 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_13-4_1_2_load_130 | 1 | 0.0043324 | 0.0010858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_13-4_1_2_load_131 | 2 | 0.0011222 | 0.00028126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_13-4_1_2_load_132 | 3 | 0.003181 | 0.00079724 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_13-4_1_2_load_133 | 4 | 0.00097087 | 0.00024332 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_13-4_1_2_load_184 | 5 | 0.0056425 | 0.0014141 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_13-4_1_2_load_185 | 6 | 0.0010735 | 0.00026904 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_13-4_1_2_load_134 | 7 | 0.0001824 | 4.5713e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_13-4_1_2_load_135 | 9 | 0.0001227 | 3.0752e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_13-4_1_2_load_137 | 13 | 0.001571 | 0.00039373 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_13-4_1_2_load_188 | 14 | 0.0028966 | 0.00072597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_13-4_1_2_load_145 | 15 | 0.00024505 | 6.1414e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_13-4_1_2_load_225 | 18 | 0.0025287 | 0.00063374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_13-4_1_2_load_179 | 20 | 7.0255e-05 | 1.7608e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_13-4_1_2_load_180 | 21 | 0.0019937 | 0.00049966 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_13-4_1_2_load_121 | 22 | 0.0011476 | 0.00028762 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_13-4_1_2_load_181 | 23 | 0.0020299 | 0.00050873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_13-4_1_2_load_182 | 24 | 0.004273 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_13-4_1_2_load_183 | 25 | 0.0024217 | 0.00060694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_13-4_1_2_load_186 | 26 | 0.0018526 | 0.0004643 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_13-4_1_2_load_187 | 27 | 0.0010603 | 0.00026572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_13-4_1_2_load_87 | 28 | 0.001117 | 0.00027994 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_13-4_1_2_load_88 | 29 | 0.00016575 | 4.1541e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_13-4_1_2_load_224 | 33 | 0.0003452 | 8.6516e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_13-4_1_2_load_113 | 34 | 0.00012207 | 3.0594e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_13-4_1_2_load_119 | 35 | 0.0028011 | 0.00070201 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_13-4_1_2_load_95 | 36 | 0.0025273 | 0.0006334 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_13-4_1_2_load_96 | 37 | 0.0011959 | 0.00029972 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_13-4_1_2_load_99 | 39 | 0.00014843 | 3.7201e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_13-4_1_2_load_100 | 40 | 0.0044783 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_13-4_1_2_load_102 | 42 | 0.0024641 | 0.00061757 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_13-4_1_2_load_103 | 43 | 0.00057227 | 0.00014342 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_13-4_1_2_load_110 | 46 | 6.2174e-05 | 1.5582e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_13-4_1_2_load_111 | 47 | 0.00021984 | 5.5098e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_13-4_1_2_load_117 | 49 | 0.00044071 | 0.00011045 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_13-4_1_2_load_116 | 50 | 0.00061427 | 0.00015395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_13-4_1_2_load_118 | 51 | 0.00063938 | 0.00016024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_13-4_1_2_load_122 | 52 | 0.0017489 | 0.00043833 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_13-4_1_2_load_127 | 53 | 0.0011627 | 0.00029141 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_13-4_1_2_load_123 | 54 | 0.0030636 | 0.00076781 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_13-4_1_2_load_124 | 55 | 0.00085487 | 0.00021425 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_13-4_1_2_load_125 | 56 | 0.0010811 | 0.00027096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_13-4_1_2_load_126 | 57 | 0.0026875 | 0.00067354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_13-4_1_2_line_0 |  | 0 | 1 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_13-4_1_2_line_1 |  | 0 | 2 | 0.0099332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_13-4_1_2_line_2 |  | 1 | 3 | 0.0059672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_13-4_1_2_line_3 |  | 2 | 4 | 0.0011263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_13-4_1_2_line_4 |  | 3 | 5 | 0.0023705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_13-4_1_2_line_5 |  | 4 | 6 | 0.00027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_13-4_1_2_line_6 |  | 5 | 25 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_13-4_1_2_line_7 |  | 6 | 26 | 0.0020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_13-4_1_2_line_8 |  | 7 | 8 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_13-4_1_2_line_9 |  | 7 | 9 | 0.010879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_13-4_1_2_line_10 |  | 8 | 13 | 0.0061379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_13-4_1_2_line_11 |  | 8 | 38 | 0.16404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_13-4_1_2_line_12 |  | 9 | 10 | 0.047728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_13-4_1_2_line_13 |  | 10 | 11 | 0.04852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_13-4_1_2_line_14 |  | 10 | 12 | 0.076378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_13-4_1_2_line_15 |  | 11 | 34 | 0.040926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_13-4_1_2_line_16 |  | 11 | 20 | 0.099168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_13-4_1_2_line_17 |  | 12 | 30 | 0.17191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_13-4_1_2_line_18 |  | 13 | 14 | 0.0049762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_13-4_1_2_line_19 |  | 14 | 27 | 0.0051853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_13-4_1_2_line_20 |  | 15 | 16 | 0.077766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_13-4_1_2_line_21 |  | 16 | 17 | 0.20877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_13-4_1_2_line_22 |  | 17 | 18 | 0.035518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_13-4_1_2_line_23 |  | 17 | 19 | 0.059649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_13-4_1_2_line_24 |  | 19 | 49 | 0.030247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_13-4_1_2_line_25 |  | 19 | 48 | 0.13019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_13-4_1_2_line_26 |  | 21 | 22 | 0.0024523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_13-4_1_2_line_27 |  | 21 | 23 | 0.010504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_13-4_1_2_line_28 |  | 22 | 44 | 0.0051713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_13-4_1_2_line_29 |  | 23 | 24 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_13-4_1_2_line_30 |  | 24 | 25 | 0.016885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_13-4_1_2_line_31 |  | 26 | 27 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_13-4_1_2_line_32 |  | 28 | 29 | 0.007222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_13-4_1_2_line_33 |  | 28 | 30 | 0.038679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_13-4_1_2_line_34 |  | 30 | 31 | 0.02523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_13-4_1_2_line_35 |  | 30 | 32 | 0.23494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_13-4_1_2_line_36 |  | 31 | 33 | 0.01141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_13-4_1_2_line_37 |  | 32 | 35 | 0.19163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_13-4_1_2_line_38 |  | 34 | 47 | 0.15243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_13-4_1_2_line_39 |  | 36 | 37 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_13-4_1_2_line_40 |  | 36 | 38 | 0.014491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_13-4_1_2_line_41 |  | 39 | 40 | 0.18065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_13-4_1_2_line_42 |  | 39 | 41 | 0.0101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_13-4_1_2_line_43 |  | 40 | 42 | 0.015353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_13-4_1_2_line_44 |  | 41 | 43 | 0.0063189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_13-4_1_2_line_45 |  | 42 | 44 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_13-4_1_2_line_46 |  | 43 | 45 | 0.095514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_13-4_1_2_line_47 |  | 44 | 52 | 0.01869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_13-4_1_2_line_48 |  | 45 | 48 | 0.003224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_13-4_1_2_line_49 |  | 46 | 47 | 0.00020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_13-4_1_2_line_50 |  | 49 | 50 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_13-4_1_2_line_51 |  | 50 | 51 | 0.001562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_13-4_1_2_line_52 |  | 52 | 53 | 0.0068577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_13-4_1_2_line_53 |  | 53 | 56 | 0.0039594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_13-4_1_2_line_54 |  | 54 | 55 | 0.012983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_13-4_1_2_line_55 |  | 54 | 56 | 0.0020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_13-4_1_2_line_56 |  | 55 | 57 | 0.030836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_13-4_1_2_trafo_182 | 0.63 MVA 20/0.4 kV | 58 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2679836.677 | 1240839.0608 | 2679839.2029 | 1240849.0741 | 2679842.6509 | 1240852.9678
1 | 2679836.677 | 1240839.0608 | 2679834.2474 | 1240829.4293
2 | 2679842.6509 | 1240852.9678 | 2679846.6069 | 1240857.4352 | 2679846.6069 | 1240857.4352
3 | 2679833.9719 | 1240828.3372 | 2679834.2474 | 1240829.4293
4 | 2679846.6069 | 1240857.4352 | 2679847.4083 | 1240859.6661
5 | 2679833.9719 | 1240828.3372 | 2679833.9037 | 1240828.0668
6 | 2679848.8144 | 1240876.0225 | 2679848.8144 | 1240876.0225 | 2679849.537 | 1240865.5915 | 2679847.4083 | 1240859.6661
7 | 2679833.9037 | 1240828.0668 | 2679833.4094 | 1240826.1073
8 | 2679825.1393 | 1240793.3232 | 2679819.2639 | 1240772.3356
9 | 2679816.3312 | 1240761.8597 | 2679819.2639 | 1240772.3356
10 | 2679825.1393 | 1240793.3232 | 2679826.6406 | 1240799.2746
11 | 2679985.6994 | 1240768.8333 | 2679973.0233 | 1240770.6861 | 2679903.1189 | 1240772.4795 | 2679868.8248 | 1240775.3312 | 2679848.4693 | 1240781.9844 | 2679825.1393 | 1240793.3232
12 | 2679803.4646 | 1240715.8991 | 2679816.3312 | 1240761.8597
13 | 2679755.1389 | 1240720.7198 | 2679765.3981 | 1240720.9022 | 2679777.2724 | 1240719.6386 | 2679803.4646 | 1240715.8991
14 | 2679787.9397 | 1240641.1151 | 2679803.4646 | 1240715.8991
15 | 2679755.1389 | 1240720.7198 | 2679739.3421 | 1240758.4745
16 | 2679755.1389 | 1240720.7198 | 2679740.6304 | 1240716.5553 | 2679714.23 | 1240700.3337 | 2679701.8366 | 1240693.5181 | 2679682.0295 | 1240691.4174 | 2679676.0007 | 1240687.6116 | 2679670.8496 | 1240676.8888
17 | 2679681.691 | 1240588.2396 | 2679716.4037 | 1240575.1296 | 2679733.9463 | 1240568.5049 | 2679738.9261 | 1240565.4029 | 2679745.3601 | 1240573.9509 | 2679750.5369 | 1240564.6361 | 2679767.4692 | 1240578.0953 | 2679773.8247 | 1240586.2976 | 2679779.229 | 1240598.868 | 2679787.9397 | 1240641.1151
18 | 2679826.6406 | 1240799.2746 | 2679827.8578 | 1240804.0997
19 | 2679829.1261 | 1240809.1275 | 2679827.8578 | 1240804.0997
20 | 2679288.51 | 1241059.0435 | 2679294.3389 | 1241050.0706 | 2679301.5138 | 1241043.9287 | 2679312.4536 | 1241042.3626 | 2679322.4515 | 1241041.1286 | 2679332.156 | 1241036.3772 | 2679352.5964 | 1241026.0986 | 2679355.073 | 1241024.7667
21 | 2679288.51 | 1241059.0435 | 2679287.1434 | 1241067.9427 | 2679295.3287 | 1241070.4983 | 2679300.7442 | 1241073.217 | 2679316.9929 | 1241081.7846 | 2679326.2903 | 1241085.4225 | 2679348.9482 | 1241091.3851 | 2679362.4714 | 1241095.6689 | 2679376.0824 | 1241102.4334 | 2679388.0624 | 1241109.5875 | 2679412.7824 | 1241129.2543 | 2679434.7203 | 1241146.6157 | 2679441.2062 | 1241154.0967 | 2679457.3151 | 1241166.8547
22 | 2679486.9837 | 1241148.9835 | 2679480.6591 | 1241156.5598 | 2679467.0372 | 1241160.7916 | 2679457.3151 | 1241166.8547
23 | 2679457.3151 | 1241166.8547 | 2679504.1448 | 1241203.9746
24 | 2679504.1448 | 1241203.9746 | 2679520.6653 | 1241178.6382
25 | 2679504.1448 | 1241203.9746 | 2679511.9868 | 1241210.6844 | 2679520.8303 | 1241210.9364 | 2679527.2344 | 1241205.8852 | 2679538.3105 | 1241197.5277 | 2679546.3608 | 1241195.4674 | 2679551.1519 | 1241190.0388 | 2679559.3894 | 1241178.5299 | 2679565.077 | 1241168.8437 | 2679572.0881 | 1241156.3177 | 2679585.7715 | 1241125.5236
26 | 2679827.7533 | 1240914.7522 | 2679828.2865 | 1240912.3586
27 | 2679828.2865 | 1240912.3586 | 2679829.6789 | 1240906.1088 | 2679831.88 | 1240902.648
28 | 2679826.6288 | 1240919.7998 | 2679827.7533 | 1240914.7522
29 | 2679831.88 | 1240902.648 | 2679839.7524 | 1240890.2704
30 | 2679848.8144 | 1240876.0225 | 2679839.7524 | 1240890.2704
31 | 2679833.4094 | 1240826.1073 | 2679829.1261 | 1240809.1275
32 | 2679658.1196 | 1240564.5843 | 2679653.1444 | 1240559.3494
33 | 2679681.691 | 1240588.2396 | 2679670.7476 | 1240586.6138 | 2679657.6746 | 1240574.074 | 2679658.1196 | 1240564.5843
34 | 2679681.691 | 1240588.2396 | 2679678.3028 | 1240599.5244 | 2679667.1677 | 1240607.1137
35 | 2679681.691 | 1240588.2396 | 2679716.4037 | 1240575.1296 | 2679733.9463 | 1240568.5049 | 2679738.9261 | 1240565.4029 | 2679745.3601 | 1240573.9509 | 2679750.5369 | 1240564.6361 | 2679759.3894 | 1240550.2225 | 2679772.5552 | 1240527.1608 | 2679784.8336 | 1240513.8719 | 2679794.0127 | 1240512.2941 | 2679816.7025 | 1240519.949 | 2679828.8022 | 1240525.5712 | 2679856.8272 | 1240525.0699 | 2679872.267 | 1240522.4312
36 | 2679656.4843 | 1240603.023 | 2679667.1677 | 1240607.1137
37 | 2679872.267 | 1240522.4312 | 2679908.7603 | 1240533.2744 | 2679921.5113 | 1240538.2496 | 2679934.741 | 1240549.2354 | 2679948.6091 | 1240561.6643 | 2679962.8842 | 1240572.4976 | 2679974.3309 | 1240592.3214 | 2680007.296 | 1240625.3 | 2680013.264 | 1240628.5605 | 2680018.7128 | 1240627.7 | 2680022.2831 | 1240625.3042
38 | 2679739.3421 | 1240758.4745 | 2679680.5072 | 1240899.0917
39 | 2679980.1617 | 1240742.9221 | 2679980.2672 | 1240743.2308 | 2679982.6918 | 1240754.6578
40 | 2679985.6994 | 1240768.8333 | 2679982.6918 | 1240754.6578
41 | 2679668.9571 | 1241048.9188 | 2679684.4247 | 1241037.829 | 2679745.3232 | 1241000.9093 | 2679784.3324 | 1240972.3464 | 2679813.7669 | 1240942.3162
42 | 2679660.7631 | 1241054.8235 | 2679667.1312 | 1241050.2279 | 2679668.9571 | 1241048.9188
43 | 2679813.7669 | 1240942.3162 | 2679816.7098 | 1240939.3136 | 2679822.3734 | 1240929.7102
44 | 2679660.7631 | 1241054.8235 | 2679656.5073 | 1241059.4943
45 | 2679826.6288 | 1240919.7998 | 2679823.1636 | 1240928.3704 | 2679822.3734 | 1240929.7102
46 | 2679588.7959 | 1241126.665 | 2679596.8696 | 1241120.6134 | 2679635.0607 | 1241083.0321 | 2679656.5073 | 1241059.4943
47 | 2679826.6288 | 1240919.7998 | 2679843.3929 | 1240928.0624
48 | 2679588.7959 | 1241126.665 | 2679585.7715 | 1241125.5236
49 | 2679680.4277 | 1240899.2816 | 2679680.5072 | 1240899.0917
50 | 2679520.6653 | 1241178.6382 | 2679523.723 | 1241173.9488 | 2679524.9117 | 1241166.0173
51 | 2679523.9827 | 1241164.9398 | 2679524.9603 | 1241165.6929 | 2679524.9117 | 1241166.0173
52 | 2679843.3929 | 1240928.0624 | 2679844.9279 | 1240928.8189 | 2679849.8836 | 1240930.207
53 | 2679849.8836 | 1240930.207 | 2679853.6962 | 1240931.2749
54 | 2679855.6526 | 1240931.8229 | 2679856.6875 | 1240932.1127 | 2679868.4573 | 1240933.9257
55 | 2679855.6526 | 1240931.8229 | 2679853.6962 | 1240931.2749
56 | 2679890.825 | 1240954.0976 | 2679872.2702 | 1240934.513 | 2679868.4573 | 1240933.9257

## bus_geodata
| x | y | coords
0 | 2679836.677 | 1240839.0608
1 | 2679842.6509 | 1240852.9678
2 | 2679834.2474 | 1240829.4293
3 | 2679846.6069 | 1240857.4352
4 | 2679833.9719 | 1240828.3372
5 | 2679847.4083 | 1240859.6661
6 | 2679833.9037 | 1240828.0668
7 | 2679819.2639 | 1240772.3356
8 | 2679825.1393 | 1240793.3232
9 | 2679816.3312 | 1240761.8597
10 | 2679803.4646 | 1240715.8991
11 | 2679755.1389 | 1240720.7198
12 | 2679787.9397 | 1240641.1151
13 | 2679826.6406 | 1240799.2746
14 | 2679827.8578 | 1240804.0997
15 | 2679355.073 | 1241024.7667
16 | 2679288.51 | 1241059.0435
17 | 2679457.3151 | 1241166.8547
18 | 2679486.9837 | 1241148.9835
19 | 2679504.1448 | 1241203.9746
20 | 2679670.8496 | 1240676.8888
21 | 2679828.2865 | 1240912.3586
22 | 2679827.7533 | 1240914.7522
23 | 2679831.88 | 1240902.648
24 | 2679839.7524 | 1240890.2704
25 | 2679848.8144 | 1240876.0225
26 | 2679833.4094 | 1240826.1073
27 | 2679829.1261 | 1240809.1275
28 | 2679658.1196 | 1240564.5843
29 | 2679653.1444 | 1240559.3494
30 | 2679681.691 | 1240588.2396
31 | 2679667.1677 | 1240607.1137
32 | 2679872.267 | 1240522.4312
33 | 2679656.4843 | 1240603.023
34 | 2679739.3421 | 1240758.4745
35 | 2680022.2831 | 1240625.3042
36 | 2679982.6917 | 1240754.6578
37 | 2679980.1617 | 1240742.9221
38 | 2679985.6994 | 1240768.8333
39 | 2679668.9571 | 1241048.9188
40 | 2679813.7669 | 1240942.3162
41 | 2679660.7631 | 1241054.8235
42 | 2679822.3734 | 1240929.7102
43 | 2679656.5073 | 1241059.4943
44 | 2679826.6288 | 1240919.7998
45 | 2679588.7959 | 1241126.665
46 | 2679680.4277 | 1240899.2816
47 | 2679680.5072 | 1240899.0917
48 | 2679585.7715 | 1241125.5236
49 | 2679520.6653 | 1241178.6382
50 | 2679524.9117 | 1241166.0173
51 | 2679523.9827 | 1241164.9398
52 | 2679843.3929 | 1240928.0624
53 | 2679849.8836 | 1240930.207
54 | 2679855.6526 | 1240931.8229
55 | 2679868.4573 | 1240933.9257
56 | 2679853.6962 | 1240931.2749
57 | 2679890.825 | 1240954.0976
58 | 2679839.7524 | 1240890.2704

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99846 | -0.029724 | 0.00091845 | 0.00023019
1 | 0.99874 | -0.024175 | 0.0043324 | 0.0010858
2 | 0.99828 | -0.033116 | 0.0011222 | 0.00028126
3 | 0.99888 | -0.021592 | 0.003181 | 0.00079724
4 | 0.99826 | -0.033478 | 0.00097087 | 0.00024332
5 | 0.99894 | -0.020435 | 0.0056425 | 0.0014141
6 | 0.99826 | -0.033563 | 0.0010735 | 0.00026904
7 | 0.99773 | -0.043692 | 0.0001824 | 4.5713e-05
8 | 0.99784 | -0.041689 | 0 | 0
9 | 0.99768 | -0.044656 | 0.0001227 | 3.0752e-05
10 | 0.99747 | -0.048786 | 0 | 0
11 | 0.99745 | -0.049199 | 0 | 0
12 | 0.99716 | -0.054746 | 0 | 0
13 | 0.99789 | -0.040725 | 0.001571 | 0.00039373
14 | 0.99793 | -0.039806 | 0.0028966 | 0.00072597
15 | 0.9969 | -0.059938 | 0.00024505 | 6.1414e-05
16 | 0.99692 | -0.059602 | 0 | 0
17 | 0.99696 | -0.058683 | 0 | 0
18 | 0.99688 | -0.060258 | 0.0025287 | 0.00063374
19 | 0.99711 | -0.055769 | 0 | 0
20 | 0.99744 | -0.049324 | 7.0255e-05 | 1.7608e-05
21 | 0.99938 | -0.011892 | 0.0019937 | 0.00049966
22 | 0.99933 | -0.012915 | 0.0011476 | 0.00028762
23 | 0.99963 | -0.0071446 | 0.0020299 | 0.00050873
24 | 1 | 0 | -0.065622 | -0.016038
25 | 0.99945 | -0.010608 | 0.0024217 | 0.00060694
26 | 0.99823 | -0.034142 | 0.0018526 | 0.0004643
27 | 0.998 | -0.038586 | 0.0010603 | 0.00026572
28 | 0.99643 | -0.069033 | 0.001117 | 0.00027994
29 | 0.99642 | -0.069054 | 0.00016575 | 4.1541e-05
30 | 0.99647 | -0.068161 | 0 | 0
31 | 0.99646 | -0.068315 | 0 | 0
32 | 0.99587 | -0.079762 | 0 | 0
33 | 0.99646 | -0.068384 | 0.0003452 | 8.6516e-05
34 | 0.99744 | -0.049492 | 0.00012207 | 3.0594e-05
35 | 0.99538 | -0.089211 | 0.0028011 | 0.00070201
36 | 0.99723 | -0.053343 | 0.0025273 | 0.0006334
37 | 0.99722 | -0.053595 | 0.0011959 | 0.00029972
38 | 0.99728 | -0.052397 | 0 | 0
39 | 0.99812 | -0.036328 | 0.00014843 | 3.7201e-05
40 | 0.99897 | -0.019862 | 0.0044783 | 0.0011224
41 | 0.99807 | -0.037223 | 0 | 0
42 | 0.9991 | -0.017263 | 0.0024641 | 0.00061757
43 | 0.99804 | -0.037782 | 0.00057227 | 0.00014342
44 | 0.99922 | -0.01497 | 0 | 0
45 | 0.99765 | -0.045287 | 0 | 0
46 | 0.9974 | -0.050253 | 6.2174e-05 | 1.5582e-05
47 | 0.9974 | -0.050252 | 0.00021984 | 5.5098e-05
48 | 0.99764 | -0.04554 | 0 | 0
49 | 0.99707 | -0.056668 | 0.00044071 | 0.00011045
50 | 0.99705 | -0.056968 | 0.00061427 | 0.00015395
51 | 0.99705 | -0.056985 | 0.00063938 | 0.00016024
52 | 0.99904 | -0.018429 | 0.0017489 | 0.00043833
53 | 0.99899 | -0.019489 | 0.0011627 | 0.00029141
54 | 0.99895 | -0.020255 | 0.0030636 | 0.00076781
55 | 0.99891 | -0.021059 | 0.00085487 | 0.00021425
56 | 0.99896 | -0.020021 | 0.0010811 | 0.00027096
57 | 0.99883 | -0.022507 | 0.0026875 | 0.00067354
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.020417 | -0.0051059 | 0.020422 | 0.0051092 | 5.3896e-06 | 3.2462e-06 | 0.030423 | 0.030423 | 0.030423 | 0.99846 | -0.029724 | 0.99874 | -0.024175 | 8.358
1 | 0.019498 | 0.0048758 | -0.019495 | -0.0048739 | 3.1445e-06 | 1.8826e-06 | 0.029054 | 0.029055 | 0.029055 | 0.99846 | -0.029724 | 0.99828 | -0.033116 | 7.982
2 | -0.024754 | -0.006195 | 0.024757 | 0.0061969 | 3.0432e-06 | 1.8696e-06 | 0.036878 | 0.036878 | 0.036878 | 0.99874 | -0.024175 | 0.99888 | -0.021592 | 10.1313
3 | 0.018373 | 0.0045926 | -0.018372 | -0.0045924 | 3.1667e-07 | 1.8794e-07 | 0.027382 | 0.027382 | 0.027382 | 0.99828 | -0.033116 | 0.99826 | -0.033478 | 7.5225
4 | -0.027938 | -0.0069941 | 0.02794 | 0.006995 | 1.5396e-06 | 9.5431e-07 | 0.041617 | 0.041617 | 0.041617 | 0.99888 | -0.021592 | 0.99894 | -0.020435 | 11.4331
5 | 0.017402 | 0.0043491 | -0.017401 | -0.0043491 | 7.0354e-08 | 4.1379e-08 | 0.025935 | 0.025935 | 0.025935 | 0.99826 | -0.033478 | 0.99826 | -0.033563 | 7.1249
6 | -0.033582 | -0.0084092 | 0.033598 | 0.008419 | 1.5719e-05 | 9.8406e-06 | 0.050022 | 0.050022 | 0.050022 | 0.99894 | -0.020435 | 0.99945 | -0.010608 | 13.7422
7 | 0.016328 | 0.00408 | -0.016328 | -0.0040798 | 4.4875e-07 | 2.6078e-07 | 0.024334 | 0.024334 | 0.024334 | 0.99826 | -0.033563 | 0.99823 | -0.034142 | 6.6853
8 | -0.0052166 | -0.0012955 | 0.0052171 | 0.0012955 | 4.9416e-07 | 3.1598e-08 | 0.0077758 | 0.0077757 | 0.0077758 | 0.99773 | -0.043692 | 0.99784 | -0.041689 | 2.1362
9 | 0.0050342 | 0.0012498 | -0.005034 | -0.0012498 | 2.2971e-07 | 4.945e-09 | 0.0075038 | 0.0075039 | 0.0075039 | 0.99773 | -0.043692 | 0.99768 | -0.044656 | 2.0615
10 | -0.0089423 | -0.0022275 | 0.0089427 | 0.0022277 | 4.0901e-07 | 1.8159e-07 | 0.01333 | 0.01333 | 0.01333 | 0.99784 | -0.041689 | 0.99789 | -0.040725 | 3.6622
11 | 0.0037252 | 0.00093196 | -0.0037233 | -0.00093288 | 1.8983e-06 | -9.2674e-07 | 0.0055547 | 0.0055554 | 0.0055554 | 0.99784 | -0.041689 | 0.99728 | -0.052397 | 1.5262
12 | 0.0049113 | 0.001219 | -0.0049103 | -0.001219 | 9.5926e-07 | -9.1951e-09 | 0.0073208 | 0.0073211 | 0.0073211 | 0.99768 | -0.044656 | 0.99747 | -0.048786 | 2.0113
13 | 0.00047437 | 0.00011444 | -0.00047436 | -0.00011507 | 9.0749e-09 | -6.2751e-07 | 0.00070612 | 0.00070634 | 0.00070634 | 0.99747 | -0.048786 | 0.99745 | -0.049199 | 0.19405
14 | 0.0044359 | 0.0011046 | -0.0044347 | -0.0011048 | 1.2534e-06 | -1.945e-07 | 0.006615 | 0.0066153 | 0.0066153 | 0.99747 | -0.048786 | 0.99716 | -0.054746 | 1.8174
15 | 0.0004041 | 9.8758e-05 | -0.0004041 | -9.9288e-05 | 5.5632e-09 | -5.3062e-07 | 0.00060197 | 0.00060216 | 0.00060216 | 0.99745 | -0.049199 | 0.99744 | -0.049492 | 0.16543
16 | 7.0256e-05 | 1.6314e-05 | -7.0255e-05 | -1.7608e-05 | 4.0676e-10 | -1.2941e-06 | 0.00010437 | 0.00010481 | 0.00010481 | 0.99745 | -0.049199 | 0.99744 | -0.049324 | 0.028794
17 | 0.0044347 | 0.0011048 | -0.0044319 | -0.0011052 | 2.8214e-06 | -4.3521e-07 | 0.0066153 | 0.0066161 | 0.0066161 | 0.99716 | -0.054746 | 0.99647 | -0.068161 | 1.8176
18 | -0.010514 | -0.0026214 | 0.010514 | 0.0026216 | 4.5839e-07 | 2.2836e-07 | 0.015673 | 0.015673 | 0.015673 | 0.99789 | -0.040725 | 0.99793 | -0.039806 | 4.3058
19 | -0.013411 | -0.0033476 | 0.013412 | 0.003348 | 7.7718e-07 | 4.2965e-07 | 0.019992 | 0.019992 | 0.019992 | 0.99793 | -0.039806 | 0.998 | -0.038586 | 5.4923
20 | -0.00024505 | -6.1414e-05 | 0.00024505 | 6.0403e-05 | 3.8977e-09 | -1.0114e-06 | 0.00036577 | 0.00036541 | 0.00036577 | 0.9969 | -0.059938 | 0.99692 | -0.059602 | 0.10049
21 | -0.00024505 | -6.0403e-05 | 0.00024506 | 5.7687e-05 | 1.0427e-08 | -2.7156e-06 | 0.00036541 | 0.00036449 | 0.00036541 | 0.99692 | -0.059602 | 0.99696 | -0.058683 | 0.10039
22 | 0.0025289 | 0.0006334 | -0.0025287 | -0.00063374 | 1.8975e-07 | -3.4167e-07 | 0.0037743 | 0.0037745 | 0.0037745 | 0.99696 | -0.058683 | 0.99688 | -0.060258 | 1.0369
23 | -0.0027739 | -0.00069109 | 0.0027743 | 0.00069056 | 3.8313e-07 | -5.3272e-07 | 0.0041388 | 0.0041385 | 0.0041388 | 0.99696 | -0.058683 | 0.99711 | -0.055769 | 1.137
24 | 0.0016944 | 0.00042411 | -0.0016944 | -0.00042446 | 7.2518e-08 | -3.481e-07 | 0.0025285 | 0.0025286 | 0.0025286 | 0.99711 | -0.055769 | 0.99707 | -0.056668 | 0.69467
25 | -0.0044687 | -0.0011147 | 0.0044709 | 0.0011144 | 2.1698e-06 | -3.1035e-07 | 0.006667 | 0.0066664 | 0.006667 | 0.99711 | -0.055769 | 0.99764 | -0.04554 | 1.8316
26 | 0.023895 | 0.005983 | -0.023894 | -0.0059823 | 1.1639e-06 | 7.128e-07 | 0.035576 | 0.035576 | 0.035576 | 0.99938 | -0.011892 | 0.99933 | -0.012915 | 9.7737
27 | -0.025889 | -0.0064826 | 0.025895 | 0.0064862 | 5.8524e-06 | 3.6079e-06 | 0.038545 | 0.038545 | 0.038545 | 0.99938 | -0.011892 | 0.99963 | -0.0071446 | 10.5892
28 | 0.022746 | 0.0056946 | -0.022744 | -0.0056933 | 2.2243e-06 | 1.3558e-06 | 0.033868 | 0.033868 | 0.033868 | 0.99933 | -0.012915 | 0.99922 | -0.01497 | 9.3043
29 | -0.027925 | -0.006995 | 0.027934 | 0.0070009 | 9.5042e-06 | 5.8903e-06 | 0.041566 | 0.041566 | 0.041566 | 0.99963 | -0.0071446 | 1 | 0 | 11.4193
30 | 0.036038 | 0.0090374 | -0.03602 | -0.009026 | 1.821e-05 | 1.1433e-05 | 0.053627 | 0.053627 | 0.053627 | 1 | 0 | 0.99945 | -0.010608 | 14.7327
31 | 0.014475 | 0.0036155 | -0.014472 | -0.0036137 | 3.0562e-06 | 1.7271e-06 | 0.021573 | 0.021573 | 0.021573 | 0.99823 | -0.034142 | 0.998 | -0.038586 | 5.9266
32 | 0.00016575 | 4.1447e-05 | -0.00016575 | -4.1541e-05 | 1.6591e-10 | -9.3965e-08 | 0.00024749 | 0.00024752 | 0.00024752 | 0.99643 | -0.069033 | 0.99642 | -0.069054 | 0.068001
33 | -0.0012827 | -0.00032139 | 0.0012828 | 0.00032092 | 5.3216e-08 | -4.6978e-07 | 0.0019155 | 0.0019154 | 0.0019155 | 0.99643 | -0.069033 | 0.99647 | -0.068161 | 0.52625
34 | 0.00034521 | 8.6041e-05 | -0.00034521 | -8.6369e-05 | 2.5131e-09 | -3.2706e-07 | 0.00051533 | 0.00051544 | 0.00051544 | 0.99647 | -0.068161 | 0.99646 | -0.068315 | 0.14161
35 | 0.0028039 | 0.00069826 | -0.0028023 | -0.00070033 | 1.5437e-06 | -2.0707e-06 | 0.0041854 | 0.0041865 | 0.0041865 | 0.99647 | -0.068161 | 0.99587 | -0.079762 | 1.1501
36 | 0.00034521 | 8.6369e-05 | -0.0003452 | -8.6516e-05 | 1.1369e-09 | -1.4791e-07 | 0.00051544 | 0.0005155 | 0.0005155 | 0.99646 | -0.068315 | 0.99646 | -0.068384 | 0.14162
37 | 0.0028023 | 0.00070033 | -0.0028011 | -0.00070201 | 1.2598e-06 | -1.6859e-06 | 0.0041865 | 0.0041874 | 0.0041874 | 0.99587 | -0.079762 | 0.99538 | -0.089211 | 1.1504
38 | 0.00028203 | 6.8694e-05 | -0.00028202 | -7.0677e-05 | 1.0102e-08 | -1.983e-06 | 0.00042005 | 0.00042074 | 0.00042074 | 0.99744 | -0.049492 | 0.9974 | -0.050252 | 0.11559
39 | 0.0011959 | 0.00029957 | -0.0011959 | -0.00029972 | 1.4338e-08 | -1.4748e-07 | 0.0017844 | 0.0017844 | 0.0017844 | 0.99723 | -0.053343 | 0.99722 | -0.053595 | 0.49023
40 | -0.0037232 | -0.00093297 | 0.0037233 | 0.00093288 | 1.6771e-07 | -8.1734e-08 | 0.0055555 | 0.0055554 | 0.0055555 | 0.99723 | -0.053343 | 0.99728 | -0.052397 | 1.5262
41 | -0.0051936 | -0.0012948 | 0.0051977 | 0.001295 | 4.0582e-06 | 2.342e-07 | 0.0077403 | 0.0077395 | 0.0077403 | 0.99812 | -0.036328 | 0.99897 | -0.019862 | 2.1265
42 | 0.0050452 | 0.0012576 | -0.005045 | -0.0012575 | 2.1413e-07 | 5.0441e-09 | 0.007519 | 0.0075191 | 0.0075191 | 0.99812 | -0.036328 | 0.99807 | -0.037223 | 2.0657
43 | -0.009676 | -0.0024174 | 0.0096772 | 0.0024179 | 1.1956e-06 | 5.6412e-07 | 0.01441 | 0.01441 | 0.01441 | 0.99897 | -0.019862 | 0.9991 | -0.017263 | 3.9588
44 | 0.005045 | 0.0012575 | -0.0050448 | -0.0012575 | 1.3397e-07 | 3.1629e-09 | 0.0075191 | 0.0075191 | 0.0075191 | 0.99807 | -0.037223 | 0.99804 | -0.037782 | 2.0657
45 | -0.012141 | -0.0030355 | 0.012143 | 0.0030362 | 1.3239e-06 | 7.0584e-07 | 0.01808 | 0.01808 | 0.01808 | 0.9991 | -0.017263 | 0.99922 | -0.01497 | 4.9671
46 | 0.0044726 | 0.0011141 | -0.004471 | -0.0011143 | 1.5916e-06 | -2.2904e-07 | 0.0066659 | 0.0066663 | 0.0066663 | 0.99804 | -0.037782 | 0.99765 | -0.045287 | 1.8314
47 | 0.010602 | 0.0026571 | -0.0106 | -0.0026562 | 1.7469e-06 | 8.7325e-07 | 0.015788 | 0.015788 | 0.015788 | 0.99922 | -0.01497 | 0.99904 | -0.018429 | 4.3373
48 | 0.004471 | 0.0011143 | -0.0044709 | -0.0011144 | 5.3728e-08 | -7.7117e-09 | 0.0066663 | 0.0066664 | 0.0066664 | 0.99765 | -0.045287 | 0.99764 | -0.04554 | 1.8314
49 | -6.2174e-05 | -1.5582e-05 | 6.2174e-05 | 1.558e-05 | 1.2246e-13 | -2.6856e-09 | 9.2757e-05 | 9.2756e-05 | 9.2757e-05 | 0.9974 | -0.050253 | 0.9974 | -0.050252 | 0.025483
50 | 0.0012537 | 0.00031401 | -0.0012536 | -0.00031417 | 1.7876e-08 | -1.6617e-07 | 0.0018709 | 0.001871 | 0.001871 | 0.99707 | -0.056668 | 0.99705 | -0.056968 | 0.514
51 | 0.00063938 | 0.00016022 | -0.00063938 | -0.00016024 | 5.3339e-10 | -2.0031e-08 | 0.00095421 | 0.00095422 | 0.00095422 | 0.99705 | -0.056968 | 0.99705 | -0.056985 | 0.26215
52 | 0.0088508 | 0.0022179 | -0.0088504 | -0.0022177 | 4.4691e-07 | 1.9623e-07 | 0.013183 | 0.013183 | 0.013183 | 0.99904 | -0.018429 | 0.99899 | -0.019489 | 3.6216
53 | 0.0076877 | 0.0019263 | -0.0076875 | -0.0019262 | 1.9469e-07 | 7.2761e-08 | 0.011451 | 0.011451 | 0.011451 | 0.99899 | -0.019489 | 0.99896 | -0.020021 | 3.1458
54 | 0.0035427 | 0.00088743 | -0.0035425 | -0.00088751 | 1.3558e-07 | -8.3197e-08 | 0.0052769 | 0.005277 | 0.005277 | 0.99895 | -0.020255 | 0.99891 | -0.021059 | 1.4497
55 | -0.0066063 | -0.0016552 | 0.0066063 | 0.0016553 | 7.3777e-08 | 2.0618e-08 | 0.0098404 | 0.0098404 | 0.0098404 | 0.99895 | -0.020255 | 0.99896 | -0.020021 | 2.7034
56 | 0.0026877 | 0.00067326 | -0.0026875 | -0.00067354 | 1.8535e-07 | -2.8501e-07 | 0.0040035 | 0.0040037 | 0.0040037 | 0.99891 | -0.021059 | 0.99883 | -0.022507 | 1.0999

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.069895 | 0.017109

## res_load
| p_mw | q_mvar
0 | 0.00091845 | 0.00023019
1 | 0.0043324 | 0.0010858
2 | 0.0011222 | 0.00028126
3 | 0.003181 | 0.00079724
4 | 0.00097087 | 0.00024332
5 | 0.0056425 | 0.0014141
6 | 0.0010735 | 0.00026904
7 | 0.0001824 | 4.5713e-05
8 | 0.0001227 | 3.0752e-05
9 | 0.001571 | 0.00039373
10 | 0.0028966 | 0.00072597
11 | 0.00024505 | 6.1414e-05
12 | 0.0025287 | 0.00063374
13 | 7.0255e-05 | 1.7608e-05
14 | 0.0019937 | 0.00049966
15 | 0.0011476 | 0.00028762
16 | 0.0020299 | 0.00050873
17 | 0.004273 | 0.0010709
18 | 0.0024217 | 0.00060694
19 | 0.0018526 | 0.0004643
20 | 0.0010603 | 0.00026572
21 | 0.001117 | 0.00027994
22 | 0.00016575 | 4.1541e-05
23 | 0.0003452 | 8.6516e-05
24 | 0.00012207 | 3.0594e-05
25 | 0.0028011 | 0.00070201
26 | 0.0025273 | 0.0006334
27 | 0.0011959 | 0.00029972
28 | 0.00014843 | 3.7201e-05
29 | 0.0044783 | 0.0011224
30 | 0.0024641 | 0.00061757
31 | 0.00057227 | 0.00014342
32 | 6.2174e-05 | 1.5582e-05
33 | 0.00021984 | 5.5098e-05
34 | 0.00044071 | 0.00011045
35 | 0.00061427 | 0.00015395
36 | 0.00063938 | 0.00016024
37 | 0.0017489 | 0.00043833
38 | 0.0011627 | 0.00029141
39 | 0.0030636 | 0.00076781
40 | 0.00085487 | 0.00021425
41 | 0.0010811 | 0.00027096
42 | 0.0026875 | 0.00067354

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1