## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_14-10_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_14-10_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_14-10_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_14-10_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_14-10_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_14-10_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_14-10_0_5_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_14-10_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_14-10_0_5_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_14-10_0_5_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_14-10_0_5_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_14-10_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_14-10_0_5_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_14-10_0_5_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_14-10_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_14-10_0_5_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_14-10_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_14-10_0_5_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_14-10_0_5_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_14-10_0_5_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_14-10_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_14-10_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_14-10_0_5_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_14-10_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_14-10_0_5_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_14-10_0_5_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_14-10_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_14-10_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_14-10_0_5_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_14-10_0_5_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_14-10_0_5_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_14-10_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_14-10_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_14-10_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_14-10_0_5_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_14-10_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_14-10_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_14-10_0_5_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_14-10_0_5_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_14-10_0_5_node_11 | 0.4 | n |  | TRUE
40 | bus_LV_14-10_0_5_node_12 | 0.4 | n |  | TRUE
41 | bus_LV_14-10_0_5_node_13 | 0.4 | n |  | TRUE
42 | bus_LV_14-10_0_5_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_14-10_0_5_node_14 | 0.4 | n |  | TRUE
44 | bus_LV_14-10_0_5_node_15 | 0.4 | n |  | TRUE
45 | bus_LV_14-10_0_5_node_16 | 0.4 | n |  | TRUE
46 | bus_LV_14-10_0_5_node_17 | 0.4 | n |  | TRUE
47 | bus_LV_14-10_0_5_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_14-10_0_5_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_14-10_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_14-10_0_5_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_14-10_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_14-10_0_5_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_14-10_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_14-10_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_14-10_0_5_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_14-10_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_14-10_0_5_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_14-10_0_5_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_14-10_0_5_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_14-10_0_5_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_14-10_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_14-10_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_14-10_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_14-10_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_14-10_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_14-10_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_14-10_0_5_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_14-10_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_14-10_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_14-10_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_14-10_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_14-10_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_14-10_0_5_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_14-10_0_5_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_14-10_0_5_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_14-10_0_5_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_14-10_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_14-10_0_5_node_71 | 0.4 | n |  | TRUE
79 | bus_MV_358_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_14-10_0_5_load_0 | 0 | 0.0075689 | 0.0018969 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_14-10_0_5_load_1 | 1 | 0.0018285 | 0.00045826 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_14-10_0_5_load_74 | 6 | 0.0026693 | 0.00066898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_14-10_0_5_load_81 | 8 | 0.00035742 | 8.9578e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_14-10_0_5_load_64 | 10 | 0.0057054 | 0.0014299 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_14-10_0_5_load_50 | 13 | 0.0045563 | 0.0011419 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_14-10_0_5_load_42 | 17 | 0.00038698 | 9.6986e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_14-10_0_5_load_72 | 19 | 0.0021241 | 0.00053234 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_14-10_0_5_load_78 | 22 | 0.0033458 | 0.00083853 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_14-10_0_5_load_75 | 23 | 0.0038263 | 0.00095895 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_14-10_0_5_load_38 | 24 | 0.0023261 | 0.00058298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_14-10_0_5_load_66 | 25 | 0.0054255 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_14-10_0_5_load_61 | 26 | 0.0063985 | 0.0016036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_14-10_0_5_load_29 | 27 | 0.0056433 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_14-10_0_5_load_76 | 30 | 0.015446 | 0.0038712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_14-10_0_5_load_24 | 32 | 0.0022056 | 0.00055278 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_14-10_0_5_load_21 | 33 | 0.0043986 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_14-10_0_5_load_82 | 34 | 0.01653 | 0.0041429 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_14-10_0_5_load_67 | 37 | 0.0017103 | 0.00042865 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_14-10_0_5_load_11 | 39 | 0.0035809 | 0.00089746 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_14-10_0_5_load_12 | 40 | 0.0019363 | 0.00048529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_14-10_0_5_load_13 | 41 | 0.0056607 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_14-10_0_5_load_28 | 42 | 0.0057672 | 0.0014454 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_14-10_0_5_load_14 | 43 | 0.0039739 | 0.00099595 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_14-10_0_5_load_20 | 48 | 0.0032201 | 0.00080703 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_14-10_0_5_load_62 | 49 | 0.0059143 | 0.0014823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_14-10_0_5_load_83 | 50 | 0.017812 | 0.0044641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_14-10_0_5_load_63 | 52 | 0.0049919 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_14-10_0_5_load_30 | 53 | 0.010589 | 0.0026537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_14-10_0_5_load_26 | 56 | 0.020594 | 0.0051612 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_14-10_0_5_load_27 | 57 | 0.0073754 | 0.0018485 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_14-10_0_5_load_45 | 60 | 0.0016033 | 0.00040184 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_14-10_0_5_load_44 | 61 | 0.016267 | 0.0040768 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_14-10_0_5_load_60 | 62 | 0.0049052 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_14-10_0_5_load_58 | 63 | 0.005514 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_14-10_0_5_load_47 | 65 | 0.021427 | 0.0053701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_14-10_0_5_load_49 | 67 | 0.0026677 | 0.00066858 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_14-10_0_5_load_52 | 69 | 0.013343 | 0.0033442 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_14-10_0_5_load_53 | 70 | 0.023917 | 0.0059942 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_14-10_0_5_load_55 | 71 | 0.0026987 | 0.00067637 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_14-10_0_5_load_79 | 73 | 0.0006576 | 0.00016481 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_14-10_0_5_load_77 | 74 | 0.03783 | 0.0094812 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_14-10_0_5_load_80 | 75 | 0.00083301 | 0.00020877 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_14-10_0_5_load_73 | 76 | 0.0025607 | 0.00064177 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_14-10_0_5_load_68 | 77 | 0.00084351 | 0.0002114 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_14-10_0_5_load_71 | 78 | 0.018401 | 0.0046117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_14-10_0_5_line_0 |  | 0 | 1 | 0.0056421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_14-10_0_5_line_1 |  | 0 | 2 | 0.042218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_14-10_0_5_line_2 |  | 1 | 3 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_14-10_0_5_line_3 |  | 2 | 4 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_14-10_0_5_line_4 |  | 3 | 5 | 0.099133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_14-10_0_5_line_5 |  | 3 | 6 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_14-10_0_5_line_6 |  | 4 | 7 | 0.11454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_14-10_0_5_line_7 |  | 4 | 8 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_14-10_0_5_line_8 |  | 5 | 9 | 0.044388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_14-10_0_5_line_9 |  | 5 | 10 | 0.058522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_14-10_0_5_line_10 |  | 6 | 23 | 0.038675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_14-10_0_5_line_11 |  | 7 | 18 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_14-10_0_5_line_12 |  | 7 | 19 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_14-10_0_5_line_13 |  | 8 | 16 | 0.027073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_14-10_0_5_line_14 |  | 9 | 24 | 0.03549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_14-10_0_5_line_15 |  | 9 | 20 | 0.028873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_14-10_0_5_line_16 |  | 11 | 12 | 0.02971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_14-10_0_5_line_17 |  | 11 | 13 | 0.031166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_14-10_0_5_line_18 |  | 12 | 25 | 0.02803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_14-10_0_5_line_19 |  | 12 | 26 | 0.030107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_14-10_0_5_line_20 |  | 14 | 15 | 0.19398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_14-10_0_5_line_21 |  | 14 | 16 | 0.026607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_14-10_0_5_line_22 |  | 14 | 17 | 0.0094519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_14-10_0_5_line_23 |  | 15 | 26 | 0.11598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_14-10_0_5_line_24 |  | 15 | 27 | 0.11792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_14-10_0_5_line_25 |  | 17 | 29 | 0.0079623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_14-10_0_5_line_26 |  | 18 | 32 | 0.020167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_14-10_0_5_line_27 |  | 18 | 33 | 0.0065539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_14-10_0_5_line_28 |  | 20 | 21 | 0.13077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_14-10_0_5_line_29 |  | 20 | 22 | 0.037652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_14-10_0_5_line_30 |  | 21 | 34 | 0.061614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_14-10_0_5_line_31 |  | 21 | 35 | 0.010257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_14-10_0_5_line_32 |  | 22 | 38 | 0.04463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_14-10_0_5_line_33 |  | 27 | 42 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_14-10_0_5_line_34 |  | 28 | 29 | 0.004004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_14-10_0_5_line_35 |  | 28 | 30 | 0.037013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_14-10_0_5_line_36 |  | 28 | 31 | 0.23625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_14-10_0_5_line_37 |  | 31 | 53 | 0.034633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_14-10_0_5_line_38 |  | 31 | 51 | 0.30558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_14-10_0_5_line_39 |  | 33 | 55 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_14-10_0_5_line_40 |  | 35 | 36 | 0.006816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_14-10_0_5_line_41 |  | 35 | 37 | 0.025254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_14-10_0_5_line_42 |  | 36 | 62 | 0.061134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_14-10_0_5_line_43 |  | 36 | 63 | 0.024027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_14-10_0_5_line_44 |  | 38 | 74 | 0.032731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_14-10_0_5_line_45 |  | 38 | 68 | 0.076195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_14-10_0_5_line_46 |  | 39 | 40 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_14-10_0_5_line_47 |  | 40 | 41 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_14-10_0_5_line_48 |  | 41 | 42 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_14-10_0_5_line_49 |  | 43 | 44 | 0.046698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_14-10_0_5_line_50 |  | 43 | 45 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_14-10_0_5_line_51 |  | 44 | 46 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_14-10_0_5_line_52 |  | 44 | 47 | 0.043692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_14-10_0_5_line_53 |  | 45 | 48 | 0.019663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_14-10_0_5_line_54 |  | 46 | 49 | 0.025956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_14-10_0_5_line_55 |  | 47 | 50 | 0.00851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_14-10_0_5_line_56 |  | 49 | 54 | 0.057023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_14-10_0_5_line_57 |  | 51 | 52 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_14-10_0_5_line_58 |  | 52 | 54 | 0.036806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_14-10_0_5_line_59 |  | 55 | 56 | 0.050778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_14-10_0_5_line_60 |  | 55 | 57 | 0.048352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_14-10_0_5_line_61 |  | 57 | 58 | 0.0049661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_14-10_0_5_line_62 |  | 58 | 59 | 0.055536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_14-10_0_5_line_63 |  | 59 | 78 | 0.048815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_14-10_0_5_line_64 |  | 59 | 77 | 0.0082111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_14-10_0_5_line_65 |  | 60 | 61 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_14-10_0_5_line_66 |  | 61 | 64 | 0.061192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_14-10_0_5_line_67 |  | 62 | 76 | 0.00017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_14-10_0_5_line_68 |  | 64 | 65 | 0.042963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_14-10_0_5_line_69 |  | 64 | 66 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_14-10_0_5_line_70 |  | 66 | 67 | 0.064237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_14-10_0_5_line_71 |  | 66 | 68 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_14-10_0_5_line_72 |  | 68 | 69 | 0.055387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_14-10_0_5_line_73 |  | 69 | 70 | 0.0033961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_14-10_0_5_line_74 |  | 70 | 71 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_14-10_0_5_line_75 |  | 72 | 73 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_14-10_0_5_line_76 |  | 72 | 74 | 0.023527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_14-10_0_5_line_77 |  | 73 | 75 | 0.0054632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_14-10_0_5_trafo_73 | 0.63 MVA 20/0.4 kV | 79 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2677766.4492 | 1243261.8621 | 2677764.9228 | 1243267.2938
1 | 2677777.8707 | 1243221.2181 | 2677766.4492 | 1243261.8621
2 | 2677758.3265 | 1243290.7671 | 2677764.9228 | 1243267.2938
3 | 2677777.8707 | 1243221.2181 | 2677763.2566 | 1243217.4128 | 2677764.9733 | 1243210.4303
4 | 2677758.3265 | 1243290.7671 | 2677803.6749 | 1243302.5699 | 2677833.8065 | 1243310.4261 | 2677839.2076 | 1243311.8313 | 2677836.4519 | 1243327.1394
5 | 2677758.3265 | 1243290.7671 | 2677739.0115 | 1243293.4153
6 | 2677764.9733 | 1243210.4303 | 2677766.203 | 1243205.4207 | 2677766.9875 | 1243202.6623 | 2677768.2944 | 1243198.1095 | 2677843.0731 | 1243218.3042 | 2677846.135 | 1243200.9876 | 2677847.0918 | 1243194.3176
7 | 2677764.9733 | 1243210.4303 | 2677753.1086 | 1243203.3143 | 2677750.987 | 1243202.8012
8 | 2677836.4519 | 1243327.1394 | 2677828.7881 | 1243370.8589
9 | 2677836.4519 | 1243327.1394 | 2677810.2609 | 1243321.403 | 2677807.571 | 1243331.6973 | 2677787.0897 | 1243326.752
10 | 2677739.0115 | 1243293.4153 | 2677738.5628 | 1243293.4768 | 2677701.6939 | 1243283.3953
11 | 2677827.5031 | 1243189.4239 | 2677839.7981 | 1243191.3976 | 2677847.0918 | 1243194.3176
12 | 2677847.0918 | 1243194.3176 | 2677852.8437 | 1243193.1923 | 2677854.8766 | 1243181.3646
13 | 2677729.3795 | 1243192.5069 | 2677729.4593 | 1243197.378 | 2677741.0527 | 1243200.3987 | 2677750.987 | 1243202.8012
14 | 2677828.7881 | 1243370.8589 | 2677794.3595 | 1243362.2439
15 | 2677823.8344 | 1243399.3031 | 2677824.2734 | 1243396.3735 | 2677828.7881 | 1243370.8589
16 | 2677893.159 | 1243002.9413 | 2677887.9749 | 1243032.1941
17 | 2677887.9749 | 1243032.1941 | 2677871.1764 | 1243028.3376 | 2677857.2584 | 1243027.7539
18 | 2677893.159 | 1243002.9413 | 2677898.0474 | 1242975.3407
19 | 2677893.159 | 1243002.9413 | 2677873.3369 | 1242999.6566 | 2677863.3226 | 1242999.6222
20 | 2677708.0421 | 1243184.9221 | 2677709.1045 | 1243177.1082 | 2677708.1171 | 1243165.9317 | 2677703.5398 | 1243151.2502 | 2677703.4135 | 1243140.6966 | 2677733.3306 | 1243017.345 | 2677747.5207 | 1243000.4855
21 | 2677729.3795 | 1243192.5069 | 2677729.289 | 1243187.302 | 2677719.9211 | 1243185.7671 | 2677708.0421 | 1243184.9221
22 | 2677708.0421 | 1243184.9221 | 2677705.5727 | 1243184.7452 | 2677698.6887 | 1243185.8752
23 | 2677747.5207 | 1243000.4855 | 2677764.8241 | 1242998.1216 | 2677829.7383 | 1242999.5068 | 2677863.3226 | 1242999.6222
24 | 2677747.5207 | 1243000.4855 | 2677747.6074 | 1242975.9915 | 2677753.1539 | 1242950.1902 | 2677820.1915 | 1242950.123
25 | 2677690.8316 | 1243187.165 | 2677698.6887 | 1243185.8752
26 | 2677827.5031 | 1243189.4239 | 2677821.649 | 1243185.0885 | 2677818.844 | 1243178.8028 | 2677819.887 | 1243172.8953
27 | 2677827.5031 | 1243189.4239 | 2677821.0429 | 1243188.32
28 | 2677702.7677 | 1243372.2976 | 2677703.6958 | 1243368.3847 | 2677824.2734 | 1243396.3735 | 2677823.8344 | 1243399.3031
29 | 2677823.8344 | 1243399.3031 | 2677812.3278 | 1243422.5355 | 2677804.0318 | 1243430.8224
30 | 2677702.7677 | 1243372.2976 | 2677677.7169 | 1243366.0763 | 2677673.8003 | 1243367.326 | 2677671.4608 | 1243371.0869 | 2677664.8247 | 1243397.619
31 | 2677700.7139 | 1243362.9085 | 2677703.6958 | 1243368.3847 | 2677702.7677 | 1243372.2976
32 | 2677772.4559 | 1243462.3635 | 2677804.0318 | 1243430.8224
33 | 2677820.1915 | 1242950.123 | 2677831.5554 | 1242950.1116
34 | 2677691.0891 | 1243191.1601 | 2677690.8316 | 1243187.165
35 | 2677691.0891 | 1243191.1601 | 2677691.7477 | 1243201.4761 | 2677685.4588 | 1243227.4
36 | 2677523.9696 | 1243272.2659 | 2677528.5123 | 1243246.2512 | 2677532.495 | 1243246.8814 | 2677573.7181 | 1243253.4136 | 2677595.9626 | 1243256.9403 | 2677596.2828 | 1243254.4204 | 2677602.3421 | 1243253.4768 | 2677602.5044 | 1243237.612 | 2677602.676 | 1243215.8321 | 2677602.1698 | 1243212.3452 | 2677606.168 | 1243211.7971 | 2677615.9516 | 1243211.0245 | 2677619.2746 | 1243210.6677 | 2677622.658 | 1243210.3117 | 2677623.0818 | 1243210.2728 | 2677639.6905 | 1243206.6541 | 2677649.2668 | 1243203.8218 | 2677659.4368 | 1243200.6749 | 2677677.9574 | 1243194.7797 | 2677691.0891 | 1243191.1601
37 | 2677523.9696 | 1243272.2659 | 2677558.1832 | 1243277.6416
38 | 2677357.1487 | 1243118.1463 | 2677352.8085 | 1243152.4474 | 2677351.7162 | 1243157.9593 | 2677357.441 | 1243162.9597 | 2677359.5755 | 1243169.6923 | 2677359.5794 | 1243178.6654 | 2677481.0555 | 1243199.6205 | 2677480.358 | 1243204.4037 | 2677478.1334 | 1243219.6299 | 2677475.6627 | 1243235.1754 | 2677471.1163 | 1243263.8031 | 2677523.9696 | 1243272.2659
39 | 2677806.0765 | 1243185.7626 | 2677821.0429 | 1243188.32
40 | 2677700.7139 | 1243362.9085 | 2677694.0601 | 1243361.3425
41 | 2677700.7139 | 1243362.9085 | 2677706.2043 | 1243338.2582
42 | 2677694.0601 | 1243361.3425 | 2677701.0299 | 1243331.2901 | 2677699.7825 | 1243318.6091 | 2677682.7954 | 1243314.233
43 | 2677694.0601 | 1243361.3425 | 2677689.7177 | 1243363.3648 | 2677671.0394 | 1243358.7655
44 | 2677772.4559 | 1243462.3635 | 2677762.4927 | 1243453.8046 | 2677743.4381 | 1243449.2296
45 | 2677718.5686 | 1243516.2293 | 2677730.1221 | 1243504.3722 | 2677746.2094 | 1243488.5716 | 2677762.1624 | 1243472.6471 | 2677772.4559 | 1243462.3635
46 | 2677873.2959 | 1242950.0697 | 2677861.0862 | 1242950.082
47 | 2677861.0862 | 1242950.082 | 2677842.8337 | 1242950.1003
48 | 2677842.8337 | 1242950.1003 | 2677831.5554 | 1242950.1116
49 | 2677218.7465 | 1243094.2604 | 2677221.773 | 1243077.1987 | 2677221.6692 | 1243075.8853 | 2677221.3735 | 1243074.7918 | 2677220.5527 | 1243073.9694 | 2677218.8824 | 1243073.3695 | 2677195.309 | 1243068.9564
50 | 2677183.0723 | 1243066.6656 | 2677195.309 | 1243068.9564
51 | 2677224.8187 | 1243108.594 | 2677219.8951 | 1243097.1885 | 2677218.7465 | 1243094.2604
52 | 2677218.7465 | 1243094.2604 | 2677214.0525 | 1243098.9026 | 2677212.0108 | 1243107.6711 | 2677201.4995 | 1243105.6886 | 2677199.3798 | 1243114.0669 | 2677190.7075 | 1243112.4975
53 | 2677183.0723 | 1243066.6656 | 2677186.651 | 1243047.3313
54 | 2677224.8187 | 1243108.594 | 2677231.8149 | 1243101.3021 | 2677234.7207 | 1243099.8944 | 2677237.7557 | 1243099.6004 | 2677241.2712 | 1243100.1354 | 2677246.7388 | 1243102.6464
55 | 2677192.4034 | 1243104.158 | 2677190.7075 | 1243112.4975
56 | 2677301.4281 | 1243117.2975 | 2677264.046 | 1243110.5948 | 2677246.7388 | 1243102.6464
57 | 2677357.1487 | 1243118.1463 | 2677353.8005 | 1243118.1137 | 2677346.3182 | 1243118.0384 | 2677337.8444 | 1243118.9455
58 | 2677301.4281 | 1243117.2975 | 2677321.2255 | 1243120.7244 | 2677337.8444 | 1243118.9455
59 | 2677806.0765 | 1243185.7626 | 2677794.4467 | 1243188.4009 | 2677756.1441 | 1243181.8884
60 | 2677806.0765 | 1243185.7626 | 2677813.5591 | 1243137.9933
61 | 2677817.6031 | 1243135.1109 | 2677813.5591 | 1243137.9933
62 | 2677817.6031 | 1243135.1109 | 2677827.2403 | 1243080.4206
63 | 2677827.2403 | 1243080.4206 | 2677778.9804 | 1243073.0831
64 | 2677827.2403 | 1243080.4206 | 2677828.6617 | 1243072.3335
65 | 2677635.3583 | 1243599.8705 | 2677644.6603 | 1243590.5198
66 | 2677687.8168 | 1243547.1376 | 2677644.6603 | 1243590.5198
67 | 2677682.6294 | 1243314.1903 | 2677682.7954 | 1243314.233
68 | 2677687.8168 | 1243547.1376 | 2677671.1581 | 1243543.1056 | 2677669.592 | 1243549.5675 | 2677650.9841 | 1243544.941
69 | 2677708.1254 | 1243525.8439 | 2677687.8168 | 1243547.1376
70 | 2677708.1254 | 1243525.8439 | 2677694.6291 | 1243514.6592 | 2677649.1431 | 1243504.0439
71 | 2677708.1254 | 1243525.8439 | 2677718.5686 | 1243516.2293
72 | 2677718.5686 | 1243516.2293 | 2677714.9701 | 1243512.8242 | 2677665.8158 | 1243501.5426
73 | 2677665.8158 | 1243501.5426 | 2677662.5058 | 1243500.7829
74 | 2677652.401 | 1243498.4637 | 2677662.5058 | 1243500.7829
75 | 2677720.5617 | 1243443.7371 | 2677708.8019 | 1243440.9146
76 | 2677720.5617 | 1243443.7371 | 2677743.4381 | 1243449.2296
77 | 2677703.4895 | 1243439.6396 | 2677708.8019 | 1243440.9146

## bus_geodata
| x | y | coords
0 | 2677766.4492 | 1243261.8621
1 | 2677764.9228 | 1243267.2938
2 | 2677777.8707 | 1243221.2181
3 | 2677758.3265 | 1243290.7671
4 | 2677764.9733 | 1243210.4303
5 | 2677836.4519 | 1243327.1394
6 | 2677739.0115 | 1243293.4153
7 | 2677847.0918 | 1243194.3176
8 | 2677750.987 | 1243202.8012
9 | 2677828.7881 | 1243370.8589
10 | 2677787.0897 | 1243326.752
11 | 2677887.9749 | 1243032.1941
12 | 2677893.159 | 1243002.9413
13 | 2677857.2584 | 1243027.7539
14 | 2677708.0421 | 1243184.9221
15 | 2677747.5207 | 1243000.4855
16 | 2677729.3795 | 1243192.5069
17 | 2677698.6887 | 1243185.8752
18 | 2677827.5031 | 1243189.4239
19 | 2677854.8766 | 1243181.3646
20 | 2677823.8344 | 1243399.3031
21 | 2677702.7677 | 1243372.2976
22 | 2677804.0318 | 1243430.8224
23 | 2677701.6939 | 1243283.3953
24 | 2677794.3595 | 1243362.2439
25 | 2677898.0474 | 1242975.3407
26 | 2677863.3226 | 1242999.6222
27 | 2677820.1915 | 1242950.123
28 | 2677691.0891 | 1243191.1601
29 | 2677690.8316 | 1243187.165
30 | 2677685.4588 | 1243227.4
31 | 2677523.9696 | 1243272.2659
32 | 2677819.887 | 1243172.8953
33 | 2677821.0429 | 1243188.32
34 | 2677664.8247 | 1243397.619
35 | 2677700.7139 | 1243362.9085
36 | 2677694.0602 | 1243361.3425
37 | 2677706.2043 | 1243338.2582
38 | 2677772.4559 | 1243462.3635
39 | 2677873.2959 | 1242950.0697
40 | 2677861.0862 | 1242950.082
41 | 2677842.8337 | 1242950.1003
42 | 2677831.5554 | 1242950.1116
43 | 2677195.309 | 1243068.9564
44 | 2677218.7465 | 1243094.2604
45 | 2677183.0723 | 1243066.6656
46 | 2677224.8187 | 1243108.594
47 | 2677190.7075 | 1243112.4975
48 | 2677186.651 | 1243047.3313
49 | 2677246.7388 | 1243102.6464
50 | 2677192.4034 | 1243104.1581
51 | 2677357.1487 | 1243118.1463
52 | 2677337.8444 | 1243118.9455
53 | 2677558.1832 | 1243277.6416
54 | 2677301.4281 | 1243117.2975
55 | 2677806.0765 | 1243185.7626
56 | 2677756.1441 | 1243181.8884
57 | 2677813.5591 | 1243137.9933
58 | 2677817.6031 | 1243135.1109
59 | 2677827.2403 | 1243080.4206
60 | 2677635.3583 | 1243599.8705
61 | 2677644.6603 | 1243590.5198
62 | 2677682.7954 | 1243314.233
63 | 2677671.0394 | 1243358.7655
64 | 2677687.8168 | 1243547.1376
65 | 2677650.9841 | 1243544.941
66 | 2677708.1254 | 1243525.8439
67 | 2677649.1431 | 1243504.0439
68 | 2677718.5686 | 1243516.2293
69 | 2677665.8158 | 1243501.5426
70 | 2677662.5058 | 1243500.7829
71 | 2677652.401 | 1243498.4637
72 | 2677720.5617 | 1243443.7371
73 | 2677708.8019 | 1243440.9146
74 | 2677743.4381 | 1243449.2296
75 | 2677703.4895 | 1243439.6396
76 | 2677682.6294 | 1243314.1903
77 | 2677828.6617 | 1243072.3335
78 | 2677778.9804 | 1243073.0831
79 | 2677669.8153 | 1243310.8892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98119 | -0.35984 | 0.0075689 | 0.0018969
1 | 0.98136 | -0.35647 | 0.0018285 | 0.00045826
2 | 0.97995 | -0.384 | 0 | 0
3 | 0.98212 | -0.34172 | 0 | 0
4 | 0.9793 | -0.39676 | 0 | 0
5 | 0.98532 | -0.27968 | 0 | 0
6 | 0.982 | -0.34401 | 0.0026693 | 0.00066898
7 | 0.97811 | -0.42009 | 0 | 0
8 | 0.979 | -0.40269 | 0.00035742 | 8.9578e-05
9 | 0.9868 | -0.25112 | 0 | 0
10 | 0.98501 | -0.28567 | 0.0057054 | 0.0014299
11 | 0.97346 | -0.51145 | 0 | 0
12 | 0.97359 | -0.50896 | 0 | 0
13 | 0.97333 | -0.51406 | 0.0045563 | 0.0011419
14 | 0.97798 | -0.42252 | 0 | 0
15 | 0.97564 | -0.46857 | 0 | 0
16 | 0.97849 | -0.41268 | 0 | 0
17 | 0.97787 | -0.42467 | 0.00038698 | 9.6986e-05
18 | 0.97791 | -0.42406 | 0 | 0
19 | 0.9781 | -0.42032 | 0.0021241 | 0.00053234
20 | 0.98777 | -0.23235 | 0 | 0
21 | 0.99522 | -0.090262 | 0 | 0
22 | 0.9856 | -0.27435 | 0.0033458 | 0.00083853
23 | 0.98187 | -0.34668 | 0.0038263 | 0.00095895
24 | 0.98678 | -0.25149 | 0.0023261 | 0.00058298
25 | 0.97345 | -0.51176 | 0.0054255 | 0.0013597
26 | 0.97387 | -0.50343 | 0.0063985 | 0.0016036
27 | 0.97315 | -0.51748 | 0.0056433 | 0.0014143
28 | 0.97774 | -0.42738 | 0 | 0
29 | 0.97778 | -0.42647 | 0 | 0
30 | 0.97763 | -0.42946 | 0.015446 | 0.0038712
31 | 0.97569 | -0.46761 | 0 | 0
32 | 0.97787 | -0.42487 | 0.0022056 | 0.00055278
33 | 0.97784 | -0.4253 | 0.0043986 | 0.0011024
34 | 0.99503 | -0.093848 | 0.01653 | 0.0041429
35 | 0.99583 | -0.07861 | 0 | 0
36 | 0.99624 | -0.070834 | 0 | 0
37 | 0.99581 | -0.07899 | 0.0017103 | 0.00042865
38 | 0.98308 | -0.32302 | 0 | 0
39 | 0.97272 | -0.526 | 0.0035809 | 0.00089746
40 | 0.97276 | -0.5252 | 0.0019363 | 0.00048529
41 | 0.97286 | -0.52334 | 0.0056607 | 0.0014187
42 | 0.97297 | -0.52102 | 0.0057672 | 0.0014454
43 | 0.97258 | -0.52907 | 0.0039739 | 0.00099595
44 | 0.97273 | -0.52597 | 0 | 0
45 | 0.97254 | -0.5298 | 0 | 0
46 | 0.97285 | -0.52358 | 0 | 0
47 | 0.97249 | -0.53075 | 0 | 0
48 | 0.97248 | -0.53097 | 0.0032201 | 0.00080703
49 | 0.97297 | -0.52119 | 0.0059143 | 0.0014823
50 | 0.97235 | -0.53354 | 0.017812 | 0.0044641
51 | 0.97364 | -0.50795 | 0 | 0
52 | 0.97351 | -0.5105 | 0.0049919 | 0.0012511
53 | 0.97562 | -0.46896 | 0.010589 | 0.0026537
54 | 0.9733 | -0.51469 | 0 | 0
55 | 0.97771 | -0.42791 | 0 | 0
56 | 0.97752 | -0.43172 | 0.020594 | 0.0051612
57 | 0.97651 | -0.45141 | 0.0073754 | 0.0018485
58 | 0.97643 | -0.45316 | 0 | 0
59 | 0.97543 | -0.47272 | 0 | 0
60 | 0.97461 | -0.4887 | 0.0016033 | 0.00040184
61 | 0.97463 | -0.48831 | 0.016267 | 0.0040768
62 | 0.99999 | -0.00020026 | 0.0049052 | 0.0012294
63 | 0.99612 | -0.073161 | 0.005514 | 0.0013819
64 | 0.97565 | -0.46827 | 0 | 0
65 | 0.97479 | -0.48514 | 0.021427 | 0.0053701
66 | 0.97672 | -0.44714 | 0 | 0
67 | 0.97656 | -0.45027 | 0.0026677 | 0.00066858
68 | 0.97728 | -0.43628 | 0 | 0
69 | 0.97522 | -0.47675 | 0.013343 | 0.0033442
70 | 0.97513 | -0.47841 | 0.023917 | 0.0059942
71 | 0.97511 | -0.47892 | 0.0026987 | 0.00067637
72 | 0.98186 | -0.34689 | 0 | 0
73 | 0.98185 | -0.34722 | 0.0006576 | 0.00016481
74 | 0.9819 | -0.34626 | 0.03783 | 0.0094812
75 | 0.98184 | -0.3473 | 0.00083301 | 0.00020877
76 | 1 | 0 | -0.34326 | -0.088145
77 | 0.97542 | -0.47285 | 0.00084351 | 0.0002114
78 | 0.9746 | -0.48919 | 0.018401 | 0.0046117
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16611 | -0.041907 | 0.16614 | 0.041924 | 2.6874e-05 | 1.6843e-05 | 0.25201 | 0.25201 | 0.25201 | 0.98119 | -0.35984 | 0.98136 | -0.35647 | 13.8468
1 | 0.15854 | 0.040011 | -0.15836 | -0.039896 | 0.00018319 | 0.00011458 | 0.24053 | 0.24053 | 0.24053 | 0.98119 | -0.35984 | 0.97995 | -0.384 | 13.2161
2 | -0.16796 | -0.042383 | 0.16808 | 0.042457 | 0.00011871 | 7.4432e-05 | 0.25478 | 0.25478 | 0.25478 | 0.98136 | -0.35647 | 0.98212 | -0.34172 | 13.9991
3 | 0.15836 | 0.039896 | -0.15826 | -0.039836 | 9.6544e-05 | 6.0387e-05 | 0.24053 | 0.24053 | 0.24053 | 0.97995 | -0.384 | 0.9793 | -0.39676 | 13.2162
4 | -0.17458 | -0.044085 | 0.1751 | 0.044412 | 0.00052065 | 0.00032692 | 0.26463 | 0.26462 | 0.26463 | 0.98212 | -0.34172 | 0.98532 | -0.27968 | 14.5399
5 | 0.0064967 | 0.001628 | -0.006496 | -0.0016278 | 7.0834e-07 | 2.0666e-07 | 0.0098431 | 0.0098432 | 0.0098432 | 0.98212 | -0.34172 | 0.982 | -0.34401 | 2.7042
6 | 0.056091 | 0.0141 | -0.056028 | -0.014067 | 6.2427e-05 | 3.2756e-05 | 0.085244 | 0.085246 | 0.085246 | 0.9793 | -0.39676 | 0.97811 | -0.42009 | 4.6839
7 | 0.10217 | 0.025736 | -0.10214 | -0.025718 | 2.897e-05 | 1.7534e-05 | 0.15529 | 0.15529 | 0.15529 | 0.9793 | -0.39676 | 0.979 | -0.40269 | 8.5325
8 | -0.18081 | -0.045842 | 0.18106 | 0.045998 | 0.00024855 | 0.00015624 | 0.27324 | 0.27324 | 0.27324 | 0.98532 | -0.27968 | 0.9868 | -0.25112 | 15.0133
9 | 0.005707 | 0.0014302 | -0.0057054 | -0.0014299 | 1.6302e-06 | 2.9816e-07 | 0.0086186 | 0.0086189 | 0.0086189 | 0.98532 | -0.27968 | 0.98501 | -0.28567 | 2.3678
10 | 0.0038268 | 0.00095878 | -0.0038263 | -0.00095895 | 4.8766e-07 | -1.7713e-07 | 0.0057985 | 0.0057987 | 0.0057987 | 0.982 | -0.34401 | 0.98187 | -0.34668 | 1.593
11 | 0.053904 | 0.013535 | -0.053894 | -0.01353 | 1.0217e-05 | 5.2681e-06 | 0.082015 | 0.082015 | 0.082015 | 0.97811 | -0.42009 | 0.97791 | -0.42406 | 4.5063
12 | 0.0021241 | 0.00053168 | -0.0021241 | -0.00053234 | 2.3313e-08 | -6.5764e-07 | 0.0032312 | 0.0032314 | 0.0032314 | 0.97811 | -0.42009 | 0.9781 | -0.42032 | 0.29592
13 | 0.10178 | 0.025629 | -0.10173 | -0.025599 | 4.8624e-05 | 2.9418e-05 | 0.15475 | 0.15475 | 0.15475 | 0.979 | -0.40269 | 0.97849 | -0.41268 | 8.5027
14 | 0.0023261 | 0.00058119 | -0.0023261 | -0.00058298 | 4.0929e-08 | -1.7873e-06 | 0.003507 | 0.0035077 | 0.0035077 | 0.9868 | -0.25112 | 0.98678 | -0.25149 | 0.24091
15 | -0.18338 | -0.04658 | 0.18355 | 0.046684 | 0.00016585 | 0.0001043 | 0.27675 | 0.27675 | 0.27675 | 0.9868 | -0.25112 | 0.98777 | -0.23235 | 15.206
16 | -0.0045569 | -0.0011419 | 0.0045574 | 0.0011419 | 5.4055e-07 | -2.3455e-08 | 0.0069656 | 0.0069654 | 0.0069656 | 0.97346 | -0.51145 | 0.97359 | -0.50896 | 1.9136
17 | 0.0045569 | 0.0011419 | -0.0045563 | -0.0011419 | 5.6706e-07 | -2.4487e-08 | 0.0069656 | 0.0069657 | 0.0069657 | 0.97346 | -0.51145 | 0.97333 | -0.51406 | 1.9137
18 | 0.0054262 | 0.0013599 | -0.0054255 | -0.0013597 | 7.2296e-07 | 1.1418e-07 | 0.0082933 | 0.0082934 | 0.0082934 | 0.97359 | -0.50896 | 0.97345 | -0.51176 | 2.2784
19 | -0.0099836 | -0.0025017 | 0.0099863 | 0.002503 | 2.6286e-06 | 1.3078e-06 | 0.015259 | 0.015259 | 0.015259 | 0.97359 | -0.50896 | 0.97387 | -0.50343 | 4.1919
20 | 0.039144 | 0.0098663 | -0.039058 | -0.0098185 | 8.607e-05 | 4.78e-05 | 0.059578 | 0.059581 | 0.059581 | 0.97798 | -0.42252 | 0.97564 | -0.46857 | 5.4561
21 | -0.10169 | -0.02557 | 0.10173 | 0.025599 | 4.7788e-05 | 2.8914e-05 | 0.15475 | 0.15475 | 0.15475 | 0.97798 | -0.42252 | 0.97849 | -0.41268 | 8.5027
22 | 0.062543 | 0.015704 | -0.062537 | -0.0157 | 6.4208e-06 | 3.5163e-06 | 0.095171 | 0.095171 | 0.095171 | 0.97798 | -0.42252 | 0.97787 | -0.42467 | 5.2292
23 | 0.016412 | 0.0041227 | -0.016385 | -0.0041067 | 2.7258e-05 | 1.5999e-05 | 0.025035 | 0.025035 | 0.025035 | 0.97564 | -0.46857 | 0.97387 | -0.50343 | 6.8778
24 | 0.022646 | 0.0056958 | -0.022593 | -0.0056635 | 5.2776e-05 | 3.2308e-05 | 0.034546 | 0.034547 | 0.034547 | 0.97564 | -0.46857 | 0.97315 | -0.51748 | 9.4909
25 | 0.06215 | 0.015603 | -0.062144 | -0.015601 | 5.3422e-06 | 2.9196e-06 | 0.094582 | 0.094582 | 0.094582 | 0.97787 | -0.42467 | 0.97778 | -0.42647 | 5.1968
26 | 0.0022057 | 0.00055258 | -0.0022056 | -0.00055278 | 8.5187e-08 | -1.9848e-07 | 0.0033562 | 0.0033563 | 0.0033563 | 0.97791 | -0.42406 | 0.97787 | -0.42487 | 0.92206
27 | 0.051688 | 0.012978 | -0.051685 | -0.012976 | 3.0413e-06 | 1.5353e-06 | 0.078659 | 0.078659 | 0.078659 | 0.97791 | -0.42406 | 0.97784 | -0.4253 | 4.3219
28 | -0.30934 | -0.078673 | 0.31148 | 0.08003 | 0.0021335 | 0.001357 | 0.46642 | 0.46641 | 0.46642 | 0.98777 | -0.23235 | 0.99522 | -0.090262 | 25.6272
29 | 0.1258 | 0.031989 | -0.12554 | -0.031827 | 0.00025396 | 0.00016157 | 0.18967 | 0.18967 | 0.18967 | 0.98777 | -0.23235 | 0.9856 | -0.27435 | 26.0533
30 | 0.016533 | 0.0041407 | -0.01653 | -0.0041429 | 2.8237e-06 | -2.1952e-06 | 0.024719 | 0.02472 | 0.02472 | 0.99522 | -0.090262 | 0.99503 | -0.093848 | 1.3583
31 | -0.32801 | -0.08417 | 0.3282 | 0.084288 | 0.00018555 | 0.00011809 | 0.49113 | 0.49113 | 0.49113 | 0.99522 | -0.090262 | 0.99583 | -0.07861 | 26.9852
32 | 0.1222 | 0.030989 | -0.12191 | -0.030807 | 0.00028522 | 0.0001814 | 0.18462 | 0.18462 | 0.18462 | 0.9856 | -0.27435 | 0.98308 | -0.32302 | 25.3595
33 | 0.01695 | 0.0042492 | -0.016947 | -0.0042475 | 2.8626e-06 | 1.6909e-06 | 0.025918 | 0.025918 | 0.025918 | 0.97315 | -0.51748 | 0.97297 | -0.52102 | 7.1203
34 | -0.062142 | -0.015599 | 0.062144 | 0.015601 | 2.6864e-06 | 1.4682e-06 | 0.094582 | 0.094582 | 0.094582 | 0.97774 | -0.42738 | 0.97778 | -0.42647 | 5.1968
35 | 0.015448 | 0.0038699 | -0.015446 | -0.0038712 | 1.5343e-06 | -1.3388e-06 | 0.023509 | 0.02351 | 0.02351 | 0.97774 | -0.42738 | 0.97763 | -0.42946 | 1.2918
36 | 0.046694 | 0.011729 | -0.046604 | -0.011687 | 8.9511e-05 | 4.2503e-05 | 0.071073 | 0.071078 | 0.071078 | 0.97774 | -0.42738 | 0.97569 | -0.46761 | 3.9054
37 | 0.010589 | 0.002652 | -0.010589 | -0.0026537 | 6.7742e-07 | -1.729e-06 | 0.016149 | 0.01615 | 0.01615 | 0.97569 | -0.46761 | 0.97562 | -0.46896 | 0.88734
38 | 0.036015 | 0.0090347 | -0.035946 | -0.0090095 | 6.9159e-05 | 2.5219e-05 | 0.054929 | 0.054936 | 0.054936 | 0.97569 | -0.46761 | 0.97364 | -0.50795 | 3.0185
39 | 0.047287 | 0.011874 | -0.047281 | -0.011871 | 5.8977e-06 | 2.8223e-06 | 0.071966 | 0.071966 | 0.071966 | 0.97784 | -0.4253 | 0.97771 | -0.42791 | 3.9542
40 | -0.32991 | -0.084717 | 0.33003 | 0.084796 | 0.00012459 | 7.9296e-05 | 0.49369 | 0.49369 | 0.49369 | 0.99583 | -0.07861 | 0.99624 | -0.070834 | 27.1256
41 | 0.0017104 | 0.00042801 | -0.0017103 | -0.00042865 | 3.0926e-08 | -6.3732e-07 | 0.0025555 | 0.0025557 | 0.0025557 | 0.99583 | -0.07861 | 0.99581 | -0.07899 | 0.35106
42 | -0.33555 | -0.086178 | 0.3367 | 0.086913 | 0.0011551 | 0.00073526 | 0.50192 | 0.50192 | 0.50192 | 0.99624 | -0.070834 | 0.99999 | -0.00020026 | 27.5781
43 | 0.0055146 | 0.001382 | -0.005514 | -0.0013819 | 6.1128e-07 | 7.841e-08 | 0.0082368 | 0.0082369 | 0.0082369 | 0.99624 | -0.070834 | 0.99612 | -0.073161 | 2.2629
44 | 0.039365 | 0.0098818 | -0.039321 | -0.0098543 | 4.3583e-05 | 2.7479e-05 | 0.059589 | 0.059589 | 0.059589 | 0.98308 | -0.32302 | 0.9819 | -0.34626 | 16.3706
45 | 0.082546 | 0.020926 | -0.082099 | -0.020641 | 0.00044666 | 0.0002849 | 0.12503 | 0.12503 | 0.12503 | 0.98308 | -0.32302 | 0.97728 | -0.43628 | 34.3485
46 | -0.0035809 | -0.00089746 | 0.003581 | 0.00089739 | 1.3739e-07 | -6.364e-08 | 0.0054779 | 0.0054778 | 0.0054779 | 0.97272 | -0.526 | 0.97276 | -0.5252 | 1.5049
47 | -0.0055174 | -0.0013827 | 0.0055178 | 0.0013828 | 4.8754e-07 | 8.541e-08 | 0.0084398 | 0.0084397 | 0.0084398 | 0.97276 | -0.5252 | 0.97286 | -0.52334 | 2.3186
48 | -0.011179 | -0.0028015 | 0.01118 | 0.0028021 | 1.2364e-06 | 6.5124e-07 | 0.017098 | 0.017098 | 0.017098 | 0.97286 | -0.52334 | 0.97297 | -0.52102 | 4.6972
49 | -0.0071942 | -0.0018028 | 0.0071953 | 0.0018023 | 1.0607e-06 | -4.8031e-07 | 0.011007 | 0.011006 | 0.011007 | 0.97258 | -0.52907 | 0.97273 | -0.52597 | 1.5119
50 | 0.0032204 | 0.00080681 | -0.0032203 | -0.0008069 | 1.1333e-07 | -8.1954e-08 | 0.004927 | 0.004927 | 0.004927 | 0.97258 | -0.52907 | 0.97254 | -0.5298 | 1.3536
51 | -0.025014 | -0.0062688 | 0.025017 | 0.0062701 | 2.8481e-06 | 1.2432e-06 | 0.038264 | 0.038264 | 0.038264 | 0.97273 | -0.52597 | 0.97285 | -0.52358 | 3.5041
52 | 0.017819 | 0.0044665 | -0.017815 | -0.0044656 | 4.0579e-06 | 9.7036e-07 | 0.027258 | 0.027258 | 0.027258 | 0.97273 | -0.52597 | 0.97249 | -0.53075 | 2.4962
53 | 0.0032203 | 0.0008069 | -0.0032201 | -0.00080703 | 1.79e-07 | -1.2941e-07 | 0.004927 | 0.0049271 | 0.0049271 | 0.97254 | -0.5298 | 0.97248 | -0.53097 | 1.3536
54 | -0.025017 | -0.0062701 | 0.02502 | 0.0062703 | 2.8502e-06 | 2.125e-07 | 0.038264 | 0.038264 | 0.038264 | 0.97285 | -0.52358 | 0.97297 | -0.52119 | 2.1024
55 | 0.017815 | 0.0044656 | -0.017812 | -0.0044641 | 2.3712e-06 | 1.412e-06 | 0.027258 | 0.027259 | 0.027259 | 0.97249 | -0.53075 | 0.97235 | -0.53354 | 7.4886
56 | -0.030934 | -0.0077525 | 0.030944 | 0.0077551 | 9.5716e-06 | 2.5835e-06 | 0.047309 | 0.047307 | 0.047309 | 0.97297 | -0.52119 | 0.9733 | -0.51469 | 2.5994
57 | 0.035946 | 0.0090095 | -0.035942 | -0.0090079 | 4.3806e-06 | 1.6003e-06 | 0.054936 | 0.054937 | 0.054937 | 0.97364 | -0.50795 | 0.97351 | -0.5105 | 3.0185
58 | 0.03095 | 0.0077568 | -0.030944 | -0.0077551 | 6.1777e-06 | 1.6661e-06 | 0.047307 | 0.047307 | 0.047307 | 0.97351 | -0.5105 | 0.9733 | -0.51469 | 2.5993
59 | 0.020597 | 0.0051604 | -0.020594 | -0.0051612 | 3.7424e-06 | -7.8825e-07 | 0.031347 | 0.031348 | 0.031348 | 0.97771 | -0.42791 | 0.97752 | -0.43172 | 1.7224
60 | 0.026684 | 0.0067104 | -0.026654 | -0.0066918 | 2.9916e-05 | 1.8541e-05 | 0.040619 | 0.040619 | 0.040619 | 0.97771 | -0.42791 | 0.97651 | -0.45141 | 11.1591
61 | 0.019278 | 0.0048434 | -0.019277 | -0.0048424 | 1.6076e-06 | 9.6672e-07 | 0.029381 | 0.029381 | 0.029381 | 0.97651 | -0.45141 | 0.97643 | -0.45316 | 8.0716
62 | 0.019277 | 0.0048424 | -0.019259 | -0.0048316 | 1.7978e-05 | 1.0812e-05 | 0.029381 | 0.029381 | 0.029381 | 0.97643 | -0.45316 | 0.97543 | -0.47272 | 8.0717
63 | 0.018415 | 0.0046203 | -0.018401 | -0.0046117 | 1.4448e-05 | 8.638e-06 | 0.028094 | 0.028094 | 0.028094 | 0.97543 | -0.47272 | 0.9746 | -0.48919 | 7.7182
64 | 0.00084351 | 0.0002113 | -0.00084351 | -0.0002114 | 5.0983e-09 | -9.9232e-08 | 0.0012867 | 0.0012868 | 0.0012868 | 0.97543 | -0.47272 | 0.97542 | -0.47285 | 0.35351
65 | -0.0016033 | -0.00040184 | 0.0016034 | 0.00040169 | 2.9638e-08 | -1.454e-07 | 0.002448 | 0.0024479 | 0.002448 | 0.97461 | -0.4887 | 0.97463 | -0.48831 | 0.67251
66 | -0.01787 | -0.0044785 | 0.017887 | 0.0044887 | 1.7081e-05 | 1.0168e-05 | 0.027283 | 0.027283 | 0.027283 | 0.97463 | -0.48831 | 0.97565 | -0.46827 | 7.4953
67 | -0.34161 | -0.088142 | 0.34161 | 0.088145 | 3.334e-06 | 2.1225e-06 | 0.50922 | 0.50922 | 0.50922 | 0.99999 | -0.00020026 | 1 | 0 | 27.9791
68 | 0.021444 | 0.0053806 | -0.021427 | -0.0053701 | 1.7236e-05 | 1.0495e-05 | 0.032708 | 0.032708 | 0.032708 | 0.97565 | -0.46827 | 0.97479 | -0.48514 | 8.9857
69 | -0.039331 | -0.0098692 | 0.039371 | 0.0098942 | 3.966e-05 | 2.5015e-05 | 0.05999 | 0.05999 | 0.05999 | 0.97565 | -0.46827 | 0.97672 | -0.44714 | 16.4809
70 | 0.0026681 | 0.00066803 | -0.0026677 | -0.00066858 | 3.9798e-07 | -5.4912e-07 | 0.0040645 | 0.0040648 | 0.0040648 | 0.97672 | -0.44714 | 0.97656 | -0.45027 | 1.1167
71 | -0.042039 | -0.010562 | 0.042061 | 0.010576 | 2.1808e-05 | 1.378e-05 | 0.064055 | 0.064055 | 0.064055 | 0.97672 | -0.44714 | 0.97728 | -0.43628 | 17.5975
72 | 0.040038 | 0.010065 | -0.039961 | -0.010016 | 7.7219e-05 | 4.8728e-05 | 0.060974 | 0.060974 | 0.060974 | 0.97728 | -0.43628 | 0.97522 | -0.47675 | 16.7512
73 | 0.026618 | 0.0066717 | -0.026616 | -0.0066704 | 2.1008e-06 | 1.3021e-06 | 0.040615 | 0.040615 | 0.040615 | 0.97522 | -0.47675 | 0.97513 | -0.47841 | 11.1579
74 | 0.0026988 | 0.00067628 | -0.0026987 | -0.00067637 | 6.5937e-08 | -8.713e-08 | 0.0041182 | 0.0041183 | 0.0041183 | 0.97513 | -0.47841 | 0.97511 | -0.47892 | 1.1314
75 | 0.0014906 | 0.00037338 | -0.0014906 | -0.00037351 | 2.3144e-08 | -1.3814e-07 | 0.002259 | 0.002259 | 0.002259 | 0.98186 | -0.34689 | 0.98185 | -0.34722 | 0.62062
76 | -0.0014906 | -0.00037338 | 0.0014907 | 0.00037311 | 4.5019e-08 | -2.6875e-07 | 0.002259 | 0.0022589 | 0.002259 | 0.98186 | -0.34689 | 0.9819 | -0.34626 | 0.6206
77 | 0.00083301 | 0.00020871 | -0.00083301 | -0.00020877 | 3.2652e-09 | -6.7005e-08 | 0.0012624 | 0.0012625 | 0.0012625 | 0.98185 | -0.34722 | 0.98184 | -0.3473 | 0.34683

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34582 | 0.088786

## res_load
| p_mw | q_mvar
0 | 0.0075689 | 0.0018969
1 | 0.0018285 | 0.00045826
2 | 0.0026693 | 0.00066898
3 | 0.00035742 | 8.9578e-05
4 | 0.0057054 | 0.0014299
5 | 0.0045563 | 0.0011419
6 | 0.00038698 | 9.6986e-05
7 | 0.0021241 | 0.00053234
8 | 0.0033458 | 0.00083853
9 | 0.0038263 | 0.00095895
10 | 0.0023261 | 0.00058298
11 | 0.0054255 | 0.0013597
12 | 0.0063985 | 0.0016036
13 | 0.0056433 | 0.0014143
14 | 0.015446 | 0.0038712
15 | 0.0022056 | 0.00055278
16 | 0.0043986 | 0.0011024
17 | 0.01653 | 0.0041429
18 | 0.0017103 | 0.00042865
19 | 0.0035809 | 0.00089746
20 | 0.0019363 | 0.00048529
21 | 0.0056607 | 0.0014187
22 | 0.0057672 | 0.0014454
23 | 0.0039739 | 0.00099595
24 | 0.0032201 | 0.00080703
25 | 0.0059143 | 0.0014823
26 | 0.017812 | 0.0044641
27 | 0.0049919 | 0.0012511
28 | 0.010589 | 0.0026537
29 | 0.020594 | 0.0051612
30 | 0.0073754 | 0.0018485
31 | 0.0016033 | 0.00040184
32 | 0.016267 | 0.0040768
33 | 0.0049052 | 0.0012294
34 | 0.005514 | 0.0013819
35 | 0.021427 | 0.0053701
36 | 0.0026677 | 0.00066858
37 | 0.013343 | 0.0033442
38 | 0.023917 | 0.0059942
39 | 0.0026987 | 0.00067637
40 | 0.0006576 | 0.00016481
41 | 0.03783 | 0.0094812
42 | 0.00083301 | 0.00020877
43 | 0.0025607 | 0.00064177
44 | 0.00084351 | 0.0002114
45 | 0.018401 | 0.0046117

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1