## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_153-11_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_153-11_1_2_node_124 | 0.4 | n |  | TRUE
2 | bus_LV_153-11_1_2_node_131 | 0.4 | n |  | TRUE
3 | bus_LV_153-11_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_153-11_1_2_node_87 | 0.4 | n |  | TRUE
5 | bus_LV_153-11_1_2_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_153-11_1_2_node_149 | 0.4 | n |  | TRUE
7 | bus_LV_153-11_1_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_153-11_1_2_node_109 | 0.4 | n |  | TRUE
9 | bus_LV_153-11_1_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_153-11_1_2_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_153-11_1_2_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_153-11_1_2_node_127 | 0.4 | n |  | TRUE
13 | bus_LV_153-11_1_2_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_153-11_1_2_node_135 | 0.4 | n |  | TRUE
15 | bus_LV_153-11_1_2_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_153-11_1_2_node_137 | 0.4 | n |  | TRUE
17 | bus_LV_153-11_1_2_node_138 | 0.4 | n |  | TRUE
18 | bus_LV_153-11_1_2_node_125 | 0.4 | n |  | TRUE
19 | bus_LV_153-11_1_2_node_140 | 0.4 | n |  | TRUE
20 | bus_LV_153-11_1_2_node_147 | 0.4 | n |  | TRUE
21 | bus_LV_153-11_1_2_node_146 | 0.4 | n |  | TRUE
22 | bus_LV_153-11_1_2_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_153-11_1_2_node_143 | 0.4 | n |  | TRUE
24 | bus_LV_153-11_1_2_node_144 | 0.4 | n |  | TRUE
25 | bus_LV_153-11_1_2_node_145 | 0.4 | n |  | TRUE
26 | bus_LV_153-11_1_2_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_153-11_1_2_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_153-11_1_2_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_153-11_1_2_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_153-11_1_2_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_153-11_1_2_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_153-11_1_2_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_153-11_1_2_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_153-11_1_2_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_153-11_1_2_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_153-11_1_2_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_153-11_1_2_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_153-11_1_2_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_153-11_1_2_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_153-11_1_2_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_153-11_1_2_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_153-11_1_2_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_153-11_1_2_node_108 | 0.4 | n |  | TRUE
44 | bus_LV_153-11_1_2_node_111 | 0.4 | n |  | TRUE
45 | bus_LV_153-11_1_2_node_112 | 0.4 | n |  | TRUE
46 | bus_LV_153-11_1_2_node_121 | 0.4 | n |  | TRUE
47 | bus_LV_153-11_1_2_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_153-11_1_2_node_123 | 0.4 | n |  | TRUE
49 | bus_MV_355_1_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_153-11_1_2_load_128 | 0 | 0.0020921 | 0.00052432 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_153-11_1_2_load_124 | 1 | 0.0062802 | 0.001574 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_153-11_1_2_load_129 | 3 | 0.0033968 | 0.00085131 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_153-11_1_2_load_87 | 4 | 0.0026567 | 0.00066582 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_153-11_1_2_load_130 | 5 | 0.0035265 | 0.00088383 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_153-11_1_2_load_149 | 6 | 0.0035902 | 0.00089978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_153-11_1_2_load_109 | 8 | 0.0036285 | 0.0009094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_153-11_1_2_load_133 | 9 | 0.001774 | 0.0004446 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_153-11_1_2_load_134 | 10 | 0.0016176 | 0.00040541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_153-11_1_2_load_113 | 11 | 0.0020129 | 0.00050448 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_153-11_1_2_load_127 | 12 | 0.001208 | 0.00030276 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_153-11_1_2_load_135 | 14 | 0.0049307 | 0.0012358 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_153-11_1_2_load_136 | 15 | 0.0048741 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_153-11_1_2_load_137 | 16 | 0.0045876 | 0.0011497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_153-11_1_2_load_138 | 17 | 0.0031316 | 0.00078485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_153-11_1_2_load_125 | 18 | 0.0015484 | 0.00038807 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_153-11_1_2_load_147 | 20 | 0.0024378 | 0.00061096 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_153-11_1_2_load_146 | 21 | 0.0010793 | 0.00027049 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_153-11_1_2_load_142 | 22 | 0.0015375 | 0.00038533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_153-11_1_2_load_143 | 23 | 0.0015608 | 0.00039118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_153-11_1_2_load_144 | 24 | 0.0015978 | 0.00040044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_153-11_1_2_load_145 | 25 | 0.0015404 | 0.00038605 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_153-11_1_2_load_96 | 27 | 0.0023438 | 0.00058741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_153-11_1_2_load_93 | 28 | 0.0074924 | 0.0018778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_153-11_1_2_load_107 | 30 | 0.0052075 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_153-11_1_2_load_82 | 31 | 0.0013276 | 0.00033272 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_153-11_1_2_load_85 | 33 | 0.0022291 | 0.00055867 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_153-11_1_2_load_86 | 34 | 0.0015093 | 0.00037827 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_153-11_1_2_load_89 | 35 | 0.0017695 | 0.00044347 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_153-11_1_2_load_88 | 36 | 0.0015439 | 0.00038693 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_153-11_1_2_load_91 | 38 | 0.0016358 | 0.00040997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_153-11_1_2_load_92 | 39 | 0.0011577 | 0.00029015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_153-11_1_2_load_102 | 40 | 0.00058213 | 0.0001459 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_153-11_1_2_load_103 | 41 | 0.0016703 | 0.00041862 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_153-11_1_2_load_104 | 42 | 0.0019072 | 0.00047799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_153-11_1_2_load_111 | 44 | 0.016467 | 0.0041271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_153-11_1_2_load_121 | 46 | 0.0015946 | 0.00039965 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_153-11_1_2_load_122 | 47 | 0.0021023 | 0.00052689 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_153-11_1_2_line_0 |  | 0 | 1 | 0.0013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_153-11_1_2_line_1 |  | 0 | 2 | 0.023806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_153-11_1_2_line_2 |  | 1 | 47 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_153-11_1_2_line_3 |  | 2 | 6 | 0.032921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_153-11_1_2_line_4 |  | 3 | 4 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_153-11_1_2_line_5 |  | 3 | 5 | 0.0080631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_153-11_1_2_line_6 |  | 4 | 32 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_153-11_1_2_line_7 |  | 6 | 20 | 0.00049047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_153-11_1_2_line_8 |  | 7 | 8 | 0.026999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_153-11_1_2_line_9 |  | 7 | 9 | 0.03004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_153-11_1_2_line_10 |  | 7 | 10 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_153-11_1_2_line_11 |  | 7 | 11 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_153-11_1_2_line_12 |  | 8 | 43 | 0.056748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_153-11_1_2_line_13 |  | 9 | 12 | 0.018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_153-11_1_2_line_14 |  | 10 | 13 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_153-11_1_2_line_15 |  | 11 | 45 | 0.033883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_153-11_1_2_line_16 |  | 12 | 42 | 0.0011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_153-11_1_2_line_17 |  | 13 | 22 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_153-11_1_2_line_18 |  | 13 | 48 | 0.006557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_153-11_1_2_line_19 |  | 14 | 15 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_153-11_1_2_line_20 |  | 14 | 16 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_153-11_1_2_line_21 |  | 16 | 17 | 0.011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_153-11_1_2_line_22 |  | 17 | 18 | 0.016415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_153-11_1_2_line_23 |  | 18 | 48 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_153-11_1_2_line_24 |  | 19 | 20 | 0.016695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_153-11_1_2_line_25 |  | 19 | 21 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_153-11_1_2_line_26 |  | 22 | 23 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_153-11_1_2_line_27 |  | 23 | 24 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_153-11_1_2_line_28 |  | 24 | 25 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_153-11_1_2_line_29 |  | 26 | 27 | 0.019182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_153-11_1_2_line_30 |  | 26 | 28 | 0.026046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_153-11_1_2_line_31 |  | 27 | 29 | 0.0050068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_153-11_1_2_line_32 |  | 29 | 30 | 0.035016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_153-11_1_2_line_33 |  | 30 | 43 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_153-11_1_2_line_34 |  | 31 | 32 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_153-11_1_2_line_35 |  | 32 | 33 | 0.027809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_153-11_1_2_line_36 |  | 32 | 34 | 0.01638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_153-11_1_2_line_37 |  | 34 | 35 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_153-11_1_2_line_38 |  | 35 | 36 | 0.019186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_153-11_1_2_line_39 |  | 36 | 37 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_153-11_1_2_line_40 |  | 37 | 38 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_153-11_1_2_line_41 |  | 37 | 39 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_153-11_1_2_line_42 |  | 39 | 40 | 0.00595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_153-11_1_2_line_43 |  | 40 | 41 | 0.0070697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_153-11_1_2_line_44 |  | 41 | 42 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_153-11_1_2_line_45 |  | 44 | 45 | 0.045012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_153-11_1_2_line_46 |  | 46 | 47 | 0.0002383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_153-11_1_2_line_47 |  | 46 | 48 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_153-11_1_2_trafo_134 | 0.63 MVA 20/0.4 kV | 49 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2700996.5961 | 1234266.7334 | 2700997.244 | 1234265.5759
1 | 2701008.8705 | 1234244.8024 | 2700997.244 | 1234265.5759
2 | 2700981.6398 | 1234284.9139 | 2700987.7012 | 1234276.8889 | 2700992.5588 | 1234273.947 | 2700996.5961 | 1234266.7334
3 | 2701008.8705 | 1234244.8024 | 2700992.0196 | 1234231.7507 | 2700982.0779 | 1234225.7617
4 | 2701051.2843 | 1234289.3207 | 2701063.7953 | 1234302.4524
5 | 2701051.2843 | 1234289.3207 | 2701045.7225 | 1234283.4829
6 | 2701087.9192 | 1234327.1636 | 2701080.9379 | 1234320.5399 | 2701072.8022 | 1234311.9062 | 2701063.7953 | 1234302.4524
7 | 2700982.0779 | 1234225.7617 | 2700981.6578 | 1234225.5086
8 | 2700954.7027 | 1234323.4297 | 2700938.3443 | 1234344.9083
9 | 2700954.7027 | 1234323.4297 | 2700959.666 | 1234328.0731 | 2700977.2103 | 1234343.3187
10 | 2700954.7027 | 1234323.4297 | 2700965.6963 | 1234310.8682
11 | 2700954.7027 | 1234323.4297 | 2700945.7627 | 1234315.3274 | 2700944.5355 | 1234314.2792
12 | 2700903.503 | 1234389.643 | 2700906.3041 | 1234386.9775 | 2700938.3443 | 1234344.9083
13 | 2700991.0657 | 1234355.3588 | 2700977.2103 | 1234343.3187
14 | 2700976.2955 | 1234302.0361 | 2700971.6271 | 1234304.0917 | 2700965.6963 | 1234310.8682
15 | 2700918.7701 | 1234292.2739 | 2700944.5355 | 1234314.2792
16 | 2700991.0657 | 1234355.3588 | 2700991.9193 | 1234356.1005
17 | 2700976.2955 | 1234302.0361 | 2700982.1168 | 1234303.8697 | 2700992.0381 | 1234312.3765
18 | 2700976.2955 | 1234302.0361 | 2700975.018 | 1234298.8009 | 2700972.5434 | 1234296.9574
19 | 2700918.2674 | 1234251.77 | 2700906.9306 | 1234242.6791
20 | 2700918.2674 | 1234251.77 | 2700918.7328 | 1234252.1433 | 2700919.8768 | 1234255.2206 | 2700935.1353 | 1234267.3125
21 | 2700944.107 | 1234274.4224 | 2700935.1353 | 1234267.3125
22 | 2700944.107 | 1234274.4224 | 2700956.9721 | 1234284.6176
23 | 2700972.5434 | 1234296.9574 | 2700956.9721 | 1234284.6176
24 | 2700966.5101 | 1234218.5296 | 2700979.6164 | 1234224.2788 | 2700981.6578 | 1234225.5086
25 | 2700966.5101 | 1234218.5296 | 2700958.0968 | 1234215.073 | 2700952.7543 | 1234213.7987
26 | 2700992.0381 | 1234312.3765 | 2701002.6772 | 1234321.4987
27 | 2701002.6772 | 1234321.4987 | 2701011.9656 | 1234329.4628 | 2701014.1325 | 1234331.3559
28 | 2701014.1325 | 1234331.3559 | 2701019.4033 | 1234335.9607 | 2701023.0658 | 1234340.4965
29 | 2700970.1341 | 1234445.3386 | 2700955.4178 | 1234433.0344
30 | 2700970.1341 | 1234445.3386 | 2700980.318 | 1234439.0403 | 2700984.01 | 1234438.3024 | 2700986.4702 | 1234439.2116 | 2700993.5848 | 1234442.1145
31 | 2700951.5767 | 1234429.8229 | 2700955.4178 | 1234433.0344
32 | 2700951.5767 | 1234429.8229 | 2700924.7091 | 1234407.3671
33 | 2700903.503 | 1234389.643 | 2700924.7091 | 1234407.3671
34 | 2701087.9192 | 1234327.1636 | 2701095.4943 | 1234319.3644 | 2701103.5084 | 1234310.2384 | 2701104.7588 | 1234308.5743
35 | 2701087.9192 | 1234327.1636 | 2701107.5981 | 1234338.6181 | 2701112.1673 | 1234340.7432
36 | 2701087.9192 | 1234327.1636 | 2701076.8627 | 1234339.249
37 | 2701076.8627 | 1234339.249 | 2701064.133 | 1234353.1633
38 | 2701048.9618 | 1234364.1569 | 2701051.2738 | 1234360.6321 | 2701062.847 | 1234354.5688 | 2701064.133 | 1234353.1633
39 | 2701042.9572 | 1234373.3113 | 2701048.9618 | 1234364.1569
40 | 2701042.9572 | 1234373.3113 | 2701043.709 | 1234381.6303 | 2701048.356 | 1234389.3506
41 | 2701042.9572 | 1234373.3113 | 2701029.6842 | 1234371.1507 | 2701017.753 | 1234370.6698
42 | 2701013.9726 | 1234375.2645 | 2701013.9726 | 1234375.2645 | 2701017.753 | 1234370.6698
43 | 2701013.9726 | 1234375.2645 | 2701008.6363 | 1234370.6273
44 | 2701008.6363 | 1234370.6273 | 2700991.9193 | 1234356.1005
45 | 2700918.7701 | 1234292.2739 | 2700897.6065 | 1234318.2673 | 2700890.3522 | 1234327.1808
46 | 2700981.6398 | 1234284.9139 | 2700981.4962 | 1234285.1041
47 | 2700972.5434 | 1234296.9574 | 2700981.4962 | 1234285.1041

## bus_geodata
| x | y | coords
0 | 2700997.244 | 1234265.5759
1 | 2700996.5961 | 1234266.7334
2 | 2701008.8705 | 1234244.8024
3 | 2701051.2843 | 1234289.3207
4 | 2701063.7953 | 1234302.4524
5 | 2701045.7225 | 1234283.4829
6 | 2700982.0779 | 1234225.7617
7 | 2700954.7027 | 1234323.4297
8 | 2700938.3443 | 1234344.9083
9 | 2700977.2103 | 1234343.3187
10 | 2700965.6963 | 1234310.8682
11 | 2700944.5355 | 1234314.2792
12 | 2700991.0657 | 1234355.3588
13 | 2700976.2955 | 1234302.0361
14 | 2700918.2674 | 1234251.77
15 | 2700906.9306 | 1234242.6791
16 | 2700935.1353 | 1234267.3125
17 | 2700944.107 | 1234274.4224
18 | 2700956.9721 | 1234284.6176
19 | 2700966.5101 | 1234218.5296
20 | 2700981.6578 | 1234225.5086
21 | 2700952.7543 | 1234213.7987
22 | 2700992.0381 | 1234312.3765
23 | 2701002.6772 | 1234321.4987
24 | 2701014.1325 | 1234331.3559
25 | 2701023.0658 | 1234340.4965
26 | 2700970.1341 | 1234445.3386
27 | 2700955.4178 | 1234433.0344
28 | 2700993.5848 | 1234442.1145
29 | 2700951.5767 | 1234429.8229
30 | 2700924.7091 | 1234407.3671
31 | 2701104.7588 | 1234308.5743
32 | 2701087.9192 | 1234327.1636
33 | 2701112.1673 | 1234340.7432
34 | 2701076.8627 | 1234339.249
35 | 2701064.133 | 1234353.1633
36 | 2701048.9618 | 1234364.1569
37 | 2701042.9572 | 1234373.3113
38 | 2701048.356 | 1234389.3506
39 | 2701017.753 | 1234370.6698
40 | 2701013.9726 | 1234375.2645
41 | 2701008.6363 | 1234370.6273
42 | 2700991.9193 | 1234356.1005
43 | 2700903.5029 | 1234389.643
44 | 2700890.3522 | 1234327.1808
45 | 2700918.7701 | 1234292.2739
46 | 2700981.4962 | 1234285.1041
47 | 2700981.6398 | 1234284.9139
48 | 2700972.5434 | 1234296.9574
49 | 2700976.2955 | 1234302.0361

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99859 | -0.027079 | 0.0020921 | 0.00052432
1 | 0.9986 | -0.026865 | 0.0062802 | 0.001574
2 | 0.99844 | -0.030038 | 0 | 0
3 | 0.99529 | -0.090602 | 0.0033968 | 0.00085131
4 | 0.99541 | -0.088393 | 0.0026567 | 0.00066582
5 | 0.99527 | -0.091102 | 0.0035265 | 0.00088383
6 | 0.99823 | -0.03413 | 0.0035902 | 0.00089978
7 | 0.99901 | -0.01895 | 0 | 0
8 | 0.99855 | -0.027761 | 0.0036285 | 0.0009094
9 | 0.99825 | -0.0336 | 0.001774 | 0.0004446
10 | 1 | 0 | -0.11142 | -0.027592
11 | 0.99878 | -0.023366 | 0.0020129 | 0.00050448
12 | 0.99781 | -0.041992 | 0.001208 | 0.00030276
13 | 0.99943 | -0.010946 | 0 | 0
14 | 0.99824 | -0.033853 | 0.0049307 | 0.0012358
15 | 0.99818 | -0.035092 | 0.0048741 | 0.0012216
16 | 0.99845 | -0.02985 | 0.0045876 | 0.0011497
17 | 0.9986 | -0.026969 | 0.0031316 | 0.00078485
18 | 0.99886 | -0.021942 | 0.0015484 | 0.00038807
19 | 0.99821 | -0.034476 | 0 | 0
20 | 0.99822 | -0.03416 | 0.0024378 | 0.00061096
21 | 0.99819 | -0.034751 | 0.0010793 | 0.00027049
22 | 0.99932 | -0.013033 | 0.0015375 | 0.00038533
23 | 0.99926 | -0.014183 | 0.0015608 | 0.00039118
24 | 0.99922 | -0.015011 | 0.0015978 | 0.00040044
25 | 0.9992 | -0.015356 | 0.0015404 | 0.00038605
26 | 0.99691 | -0.059405 | 0 | 0
27 | 0.99704 | -0.056884 | 0.0023438 | 0.00058741
28 | 0.99673 | -0.062828 | 0.0074924 | 0.0018778
29 | 0.99709 | -0.056021 | 0 | 0
30 | 0.9974 | -0.049983 | 0.0052075 | 0.0013051
31 | 0.99568 | -0.083158 | 0.0013276 | 0.00033272
32 | 0.99571 | -0.082572 | 0 | 0
33 | 0.99565 | -0.083663 | 0.0022291 | 0.00055867
34 | 0.9959 | -0.078789 | 0.0015093 | 0.00037827
35 | 0.99616 | -0.073935 | 0.0017695 | 0.00044347
36 | 0.99644 | -0.068403 | 0.0015439 | 0.00038693
37 | 0.99662 | -0.064951 | 0 | 0
38 | 0.9966 | -0.06545 | 0.0016358 | 0.00040997
39 | 0.99707 | -0.056222 | 0.0011577 | 0.00029015
40 | 0.99719 | -0.054057 | 0.00058213 | 0.0001459
41 | 0.99732 | -0.051413 | 0.0016703 | 0.00041862
42 | 0.99779 | -0.042486 | 0.0019072 | 0.00047799
43 | 0.99778 | -0.0427 | 0 | 0
44 | 0.9976 | -0.046094 | 0.016467 | 0.0041271
45 | 0.99828 | -0.033121 | 0 | 0
46 | 0.99894 | -0.020299 | 0.0015946 | 0.00039965
47 | 0.99894 | -0.020372 | 0.0021023 | 0.00052689
48 | 0.9992 | -0.015324 | 0 | 0
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0092017 | -0.0023059 | 0.0092018 | 0.002306 | 9.3521e-08 | 4.2499e-08 | 0.013711 | 0.013711 | 0.013711 | 0.99859 | -0.027079 | 0.9986 | -0.026865 | 3.7669
1 | 0.0071096 | 0.0017816 | -0.0071086 | -0.0017813 | 1.0019e-06 | 3.2985e-07 | 0.010594 | 0.010594 | 0.010594 | 0.99859 | -0.027079 | 0.99844 | -0.030038 | 2.9105
2 | -0.015482 | -0.00388 | 0.015487 | 0.0038827 | 4.7903e-06 | 2.7517e-06 | 0.02307 | 0.023069 | 0.02307 | 0.9986 | -0.026865 | 0.99894 | -0.020372 | 6.3378
3 | 0.0071086 | 0.0017813 | -0.0071072 | -0.0017808 | 1.3856e-06 | 4.5633e-07 | 0.010594 | 0.010594 | 0.010594 | 0.99844 | -0.030038 | 0.99823 | -0.03413 | 2.9105
4 | -0.0069234 | -0.0017351 | 0.0069241 | 0.0017353 | 7.287e-07 | 2.3063e-07 | 0.010351 | 0.010351 | 0.010351 | 0.99529 | -0.090602 | 0.99541 | -0.088393 | 2.8436
5 | 0.0035266 | 0.00088378 | -0.0035265 | -0.00088383 | 8.4054e-08 | -5.0991e-08 | 0.0052724 | 0.0052725 | 0.0052725 | 0.99529 | -0.090602 | 0.99527 | -0.091102 | 1.4485
6 | -0.0095808 | -0.0024011 | 0.0095834 | 0.0024024 | 2.6571e-06 | 1.2514e-06 | 0.014322 | 0.014322 | 0.014322 | 0.99541 | -0.088393 | 0.99571 | -0.082572 | 3.9346
7 | 0.0035171 | 0.00088105 | -0.003517 | -0.00088106 | 5.055e-09 | -3.1766e-09 | 0.0052426 | 0.0052426 | 0.0052426 | 0.99823 | -0.03413 | 0.99822 | -0.03416 | 1.4403
8 | 0.018701 | 0.0046958 | -0.018694 | -0.0046911 | 7.8577e-06 | 4.6756e-06 | 0.027859 | 0.027859 | 0.027859 | 0.99901 | -0.01895 | 0.99855 | -0.027761 | 7.6535
9 | 0.027965 | 0.0070319 | -0.027945 | -0.0070198 | 1.9552e-05 | 1.212e-05 | 0.041661 | 0.041661 | 0.041661 | 0.99901 | -0.01895 | 0.99825 | -0.0336 | 11.4454
10 | -0.065168 | -0.016372 | 0.065227 | 0.01641 | 5.8997e-05 | 3.7539e-05 | 0.097081 | 0.097081 | 0.097081 | 0.99901 | -0.01895 | 1 | 0 | 26.6705
11 | 0.018502 | 0.0046443 | -0.018498 | -0.004642 | 3.8966e-06 | 2.3148e-06 | 0.027561 | 0.027561 | 0.027561 | 0.99901 | -0.01895 | 0.99878 | -0.023366 | 7.5718
12 | 0.015065 | 0.0037817 | -0.015054 | -0.0037756 | 1.0727e-05 | 6.1235e-06 | 0.022452 | 0.022452 | 0.022452 | 0.99855 | -0.027761 | 0.99778 | -0.0427 | 6.1681
13 | 0.026171 | 0.0065752 | -0.026161 | -0.0065687 | 1.0479e-05 | 6.4666e-06 | 0.039017 | 0.039017 | 0.039017 | 0.99825 | -0.0336 | 0.99781 | -0.041992 | 10.7189
14 | 0.044544 | 0.011183 | -0.04452 | -0.011168 | 2.3244e-05 | 1.4691e-05 | 0.066288 | 0.066289 | 0.066289 | 1 | 0 | 0.99943 | -0.010946 | 18.2111
15 | 0.016485 | 0.0041375 | -0.016478 | -0.004133 | 7.6658e-06 | 4.4629e-06 | 0.024562 | 0.024562 | 0.024562 | 0.99878 | -0.023366 | 0.99828 | -0.033121 | 6.7479
16 | 0.024953 | 0.0062659 | -0.024952 | -0.0062656 | 5.873e-07 | 3.611e-07 | 0.037215 | 0.037215 | 0.037215 | 0.99781 | -0.041992 | 0.99779 | -0.042486 | 10.224
17 | 0.0062375 | 0.0015629 | -0.0062369 | -0.0015627 | 6.2004e-07 | 1.4562e-07 | 0.0092866 | 0.0092867 | 0.0092867 | 0.99943 | -0.010946 | 0.99932 | -0.013033 | 2.5513
18 | 0.038283 | 0.0096051 | -0.038275 | -0.0096 | 7.9894e-06 | 5.0273e-06 | 0.057002 | 0.057002 | 0.057002 | 0.99943 | -0.010946 | 0.9992 | -0.015324 | 15.6599
19 | 0.0048744 | 0.0012216 | -0.0048741 | -0.0012216 | 2.8769e-07 | -5.838e-09 | 0.0072659 | 0.007266 | 0.007266 | 0.99824 | -0.033853 | 0.99818 | -0.035092 | 1.9961
20 | -0.0098051 | -0.0024573 | 0.009807 | 0.0024582 | 1.8704e-06 | 8.9176e-07 | 0.014616 | 0.014616 | 0.014616 | 0.99824 | -0.033853 | 0.99845 | -0.02985 | 4.0153
21 | -0.014395 | -0.003608 | 0.014397 | 0.0036091 | 1.9756e-06 | 1.1146e-06 | 0.021453 | 0.021453 | 0.021453 | 0.99845 | -0.02985 | 0.9986 | -0.026969 | 5.8936
22 | -0.017528 | -0.0043939 | 0.017532 | 0.0043964 | 4.1994e-06 | 2.4728e-06 | 0.026119 | 0.026119 | 0.026119 | 0.9986 | -0.026969 | 0.99886 | -0.021942 | 7.1756
23 | -0.019081 | -0.0047845 | 0.019087 | 0.0047881 | 6.0201e-06 | 3.5927e-06 | 0.028426 | 0.028426 | 0.028426 | 0.99886 | -0.021942 | 0.9992 | -0.015324 | 7.8093
24 | -0.0010793 | -0.00027031 | 0.0010793 | 0.0002701 | 1.6203e-08 | -2.0788e-07 | 0.0016088 | 0.0016087 | 0.0016088 | 0.99821 | -0.034476 | 0.99822 | -0.03416 | 0.44198
25 | 0.0010793 | 0.00027031 | -0.0010793 | -0.00027049 | 1.416e-08 | -1.8164e-07 | 0.0016088 | 0.0016089 | 0.0016089 | 0.99821 | -0.034476 | 0.99819 | -0.034751 | 0.442
26 | 0.0046994 | 0.0011774 | -0.0046991 | -0.0011774 | 2.5732e-07 | -1.8913e-08 | 0.0069973 | 0.0069974 | 0.0069974 | 0.99932 | -0.013033 | 0.99926 | -0.014183 | 1.9224
27 | 0.0031383 | 0.00078622 | -0.0031382 | -0.00078634 | 1.2376e-07 | -1.1876e-07 | 0.0046732 | 0.0046732 | 0.0046732 | 0.99926 | -0.014183 | 0.99922 | -0.015011 | 1.2839
28 | 0.0015404 | 0.0003859 | -0.0015404 | -0.00038605 | 2.5314e-08 | -1.5184e-07 | 0.0022939 | 0.0022939 | 0.0022939 | 0.99922 | -0.015011 | 0.9992 | -0.015356 | 0.6302
29 | -0.0074936 | -0.0018782 | 0.0074945 | 0.0018785 | 8.9995e-07 | 3.2583e-07 | 0.011185 | 0.011185 | 0.011185 | 0.99691 | -0.059405 | 0.99704 | -0.056884 | 3.0729
30 | 0.0074936 | 0.0018782 | -0.0074924 | -0.0018778 | 1.222e-06 | 4.4254e-07 | 0.011185 | 0.011185 | 0.011185 | 0.99691 | -0.059405 | 0.99673 | -0.062828 | 3.0729
31 | -0.0098383 | -0.002466 | 0.0098387 | 0.0024661 | 4.0479e-07 | 1.9376e-07 | 0.014683 | 0.014683 | 0.014683 | 0.99704 | -0.056884 | 0.99709 | -0.056021 | 4.0338
32 | -0.0098387 | -0.0024661 | 0.0098416 | 0.0024675 | 2.8309e-06 | 1.3549e-06 | 0.014683 | 0.014683 | 0.014683 | 0.99709 | -0.056021 | 0.9974 | -0.049983 | 4.0338
33 | -0.015049 | -0.0037726 | 0.015054 | 0.0037756 | 5.2244e-06 | 2.9828e-06 | 0.022452 | 0.022452 | 0.022452 | 0.9974 | -0.049983 | 0.99778 | -0.0427 | 6.1681
34 | -0.0013276 | -0.00033272 | 0.0013276 | 0.00033241 | 3.7047e-08 | -3.0274e-07 | 0.001984 | 0.0019839 | 0.001984 | 0.99568 | -0.083158 | 0.99571 | -0.082572 | 0.54505
35 | 0.0022292 | 0.00055838 | -0.0022291 | -0.00055867 | 1.1574e-07 | -2.8762e-07 | 0.0033313 | 0.0033315 | 0.0033315 | 0.99571 | -0.082572 | 0.99565 | -0.083663 | 0.91524
36 | -0.01314 | -0.0032932 | 0.013143 | 0.0032945 | 2.3686e-06 | 1.3028e-06 | 0.019637 | 0.019637 | 0.019637 | 0.99571 | -0.082572 | 0.9959 | -0.078789 | 5.3948
37 | -0.014652 | -0.0036728 | 0.014655 | 0.0036747 | 3.3894e-06 | 1.9238e-06 | 0.021892 | 0.021892 | 0.021892 | 0.9959 | -0.078789 | 0.99616 | -0.073935 | 6.0143
38 | -0.016425 | -0.0041182 | 0.016429 | 0.0041207 | 4.331e-06 | 2.522e-06 | 0.024535 | 0.024535 | 0.024535 | 0.99616 | -0.073935 | 0.99644 | -0.068403 | 6.7405
39 | -0.017973 | -0.0045076 | 0.017976 | 0.0045094 | 2.9577e-06 | 1.7503e-06 | 0.026841 | 0.026841 | 0.026841 | 0.99644 | -0.068403 | 0.99662 | -0.064951 | 7.3738
40 | 0.0016358 | 0.00040976 | -0.0016358 | -0.00040997 | 3.8841e-08 | -2.014e-07 | 0.0024423 | 0.0024424 | 0.0024424 | 0.99662 | -0.064951 | 0.9966 | -0.06545 | 0.67098
41 | -0.019612 | -0.0049191 | 0.01962 | 0.004924 | 8.1639e-06 | 4.8939e-06 | 0.029283 | 0.029283 | 0.029283 | 0.99662 | -0.064951 | 0.99707 | -0.056222 | 8.0448
42 | -0.020778 | -0.0052142 | 0.02078 | 0.0052155 | 2.1457e-06 | 1.2956e-06 | 0.031011 | 0.031011 | 0.031011 | 0.99707 | -0.056222 | 0.99719 | -0.054057 | 8.5194
43 | -0.021362 | -0.0053614 | 0.021365 | 0.005363 | 2.6943e-06 | 1.6321e-06 | 0.031879 | 0.031879 | 0.031879 | 0.99719 | -0.054057 | 0.99732 | -0.051413 | 8.758
44 | -0.023035 | -0.0057816 | 0.023045 | 0.0057876 | 9.8115e-06 | 5.9902e-06 | 0.034371 | 0.034371 | 0.034371 | 0.99732 | -0.051413 | 0.99779 | -0.042486 | 9.4427
45 | -0.016467 | -0.0041271 | 0.016478 | 0.004133 | 1.0184e-05 | 5.9295e-06 | 0.024563 | 0.024562 | 0.024563 | 0.9976 | -0.046094 | 0.99828 | -0.033121 | 6.748
46 | 0.017589 | 0.0044096 | -0.017589 | -0.0044096 | 6.1347e-08 | 3.6143e-08 | 0.026201 | 0.026201 | 0.026201 | 0.99894 | -0.020299 | 0.99894 | -0.020372 | 7.1981
47 | -0.019184 | -0.0048093 | 0.019188 | 0.004812 | 4.5489e-06 | 2.7167e-06 | 0.028576 | 0.028576 | 0.028576 | 0.99894 | -0.020299 | 0.9992 | -0.015324 | 7.8507

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11304 | 0.027998

## res_load
| p_mw | q_mvar
0 | 0.0020921 | 0.00052432
1 | 0.0062802 | 0.001574
2 | 0.0033968 | 0.00085131
3 | 0.0026567 | 0.00066582
4 | 0.0035265 | 0.00088383
5 | 0.0035902 | 0.00089978
6 | 0.0036285 | 0.0009094
7 | 0.001774 | 0.0004446
8 | 0.0016176 | 0.00040541
9 | 0.0020129 | 0.00050448
10 | 0.001208 | 0.00030276
11 | 0.0049307 | 0.0012358
12 | 0.0048741 | 0.0012216
13 | 0.0045876 | 0.0011497
14 | 0.0031316 | 0.00078485
15 | 0.0015484 | 0.00038807
16 | 0.0024378 | 0.00061096
17 | 0.0010793 | 0.00027049
18 | 0.0015375 | 0.00038533
19 | 0.0015608 | 0.00039118
20 | 0.0015978 | 0.00040044
21 | 0.0015404 | 0.00038605
22 | 0.0023438 | 0.00058741
23 | 0.0074924 | 0.0018778
24 | 0.0052075 | 0.0013051
25 | 0.0013276 | 0.00033272
26 | 0.0022291 | 0.00055867
27 | 0.0015093 | 0.00037827
28 | 0.0017695 | 0.00044347
29 | 0.0015439 | 0.00038693
30 | 0.0016358 | 0.00040997
31 | 0.0011577 | 0.00029015
32 | 0.00058213 | 0.0001459
33 | 0.0016703 | 0.00041862
34 | 0.0019072 | 0.00047799
35 | 0.016467 | 0.0041271
36 | 0.0015946 | 0.00039965
37 | 0.0021023 | 0.00052689

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1