## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_153-9_1_4_node_43 | 0.4 | n |  | TRUE
1 | bus_LV_153-9_1_4_node_44 | 0.4 | n |  | TRUE
2 | bus_LV_153-9_1_4_node_45 | 0.4 | n |  | TRUE
3 | bus_LV_153-9_1_4_node_168 | 0.4 | n |  | TRUE
4 | bus_LV_153-9_1_4_node_113 | 0.4 | n |  | TRUE
5 | bus_LV_153-9_1_4_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_153-9_1_4_node_119 | 0.4 | n |  | TRUE
7 | bus_LV_153-9_1_4_node_120 | 0.4 | n |  | TRUE
8 | bus_LV_153-9_1_4_node_121 | 0.4 | n |  | TRUE
9 | bus_LV_153-9_1_4_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_153-9_1_4_node_129 | 0.4 | n |  | TRUE
11 | bus_LV_153-9_1_4_node_187 | 0.4 | n |  | TRUE
12 | bus_LV_153-9_1_4_node_125 | 0.4 | n |  | TRUE
13 | bus_LV_153-9_1_4_node_126 | 0.4 | n |  | TRUE
14 | bus_LV_153-9_1_4_node_127 | 0.4 | n |  | TRUE
15 | bus_LV_153-9_1_4_node_128 | 0.4 | n |  | TRUE
16 | bus_LV_153-9_1_4_node_188 | 0.4 | n |  | TRUE
17 | bus_LV_153-9_1_4_node_130 | 0.4 | n |  | TRUE
18 | bus_LV_153-9_1_4_node_132 | 0.4 | n |  | TRUE
19 | bus_LV_153-9_1_4_node_133 | 0.4 | n |  | TRUE
20 | bus_LV_153-9_1_4_node_134 | 0.4 | n |  | TRUE
21 | bus_LV_153-9_1_4_node_135 | 0.4 | n |  | TRUE
22 | bus_LV_153-9_1_4_node_136 | 0.4 | n |  | TRUE
23 | bus_LV_153-9_1_4_node_137 | 0.4 | n |  | TRUE
24 | bus_LV_153-9_1_4_node_138 | 0.4 | n |  | TRUE
25 | bus_LV_153-9_1_4_node_180 | 0.4 | n |  | TRUE
26 | bus_LV_153-9_1_4_node_193 | 0.4 | n |  | TRUE
27 | bus_LV_153-9_1_4_node_162 | 0.4 | n |  | TRUE
28 | bus_LV_153-9_1_4_node_139 | 0.4 | n |  | TRUE
29 | bus_LV_153-9_1_4_node_140 | 0.4 | n |  | TRUE
30 | bus_LV_153-9_1_4_node_141 | 0.4 | n |  | TRUE
31 | bus_LV_153-9_1_4_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_153-9_1_4_node_143 | 0.4 | n |  | TRUE
33 | bus_LV_153-9_1_4_node_144 | 0.4 | n |  | TRUE
34 | bus_LV_153-9_1_4_node_145 | 0.4 | n |  | TRUE
35 | bus_LV_153-9_1_4_node_146 | 0.4 | n |  | TRUE
36 | bus_LV_153-9_1_4_node_147 | 0.4 | n |  | TRUE
37 | bus_LV_153-9_1_4_node_190 | 0.4 | n |  | TRUE
38 | bus_LV_153-9_1_4_node_176 | 0.4 | n |  | TRUE
39 | bus_LV_153-9_1_4_node_163 | 0.4 | n |  | TRUE
40 | bus_LV_153-9_1_4_node_148 | 0.4 | n |  | TRUE
41 | bus_LV_153-9_1_4_node_149 | 0.4 | n |  | TRUE
42 | bus_LV_153-9_1_4_node_150 | 0.4 | n |  | TRUE
43 | bus_LV_153-9_1_4_node_151 | 0.4 | n |  | TRUE
44 | bus_LV_153-9_1_4_node_153 | 0.4 | n |  | TRUE
45 | bus_LV_153-9_1_4_node_154 | 0.4 | n |  | TRUE
46 | bus_LV_153-9_1_4_node_155 | 0.4 | n |  | TRUE
47 | bus_LV_153-9_1_4_node_195 | 0.4 | n |  | TRUE
48 | bus_LV_153-9_1_4_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_153-9_1_4_node_158 | 0.4 | n |  | TRUE
50 | bus_LV_153-9_1_4_node_160 | 0.4 | n |  | TRUE
51 | bus_LV_153-9_1_4_node_161 | 0.4 | n |  | TRUE
52 | bus_LV_153-9_1_4_node_164 | 0.4 | n |  | TRUE
53 | bus_LV_153-9_1_4_node_189 | 0.4 | n |  | TRUE
54 | bus_LV_153-9_1_4_node_165 | 0.4 | n |  | TRUE
55 | bus_LV_153-9_1_4_node_166 | 0.4 | n |  | TRUE
56 | bus_LV_153-9_1_4_node_167 | 0.4 | n |  | TRUE
57 | bus_LV_153-9_1_4_node_183 | 0.4 | n |  | TRUE
58 | bus_LV_153-9_1_4_node_169 | 0.4 | n |  | TRUE
59 | bus_LV_153-9_1_4_node_170 | 0.4 | n |  | TRUE
60 | bus_LV_153-9_1_4_node_172 | 0.4 | n |  | TRUE
61 | bus_LV_153-9_1_4_node_171 | 0.4 | n |  | TRUE
62 | bus_LV_153-9_1_4_node_173 | 0.4 | n |  | TRUE
63 | bus_LV_153-9_1_4_node_174 | 0.4 | n |  | TRUE
64 | bus_LV_153-9_1_4_node_177 | 0.4 | n |  | TRUE
65 | bus_LV_153-9_1_4_node_175 | 0.4 | n |  | TRUE
66 | bus_LV_153-9_1_4_node_184 | 0.4 | n |  | TRUE
67 | bus_LV_153-9_1_4_node_178 | 0.4 | n |  | TRUE
68 | bus_LV_153-9_1_4_node_179 | 0.4 | n |  | TRUE
69 | bus_LV_153-9_1_4_node_185 | 0.4 | n |  | TRUE
70 | bus_LV_153-9_1_4_node_181 | 0.4 | n |  | TRUE
71 | bus_LV_153-9_1_4_node_182 | 0.4 | n |  | TRUE
72 | bus_LV_153-9_1_4_node_192 | 0.4 | n |  | TRUE
73 | bus_LV_153-9_1_4_node_186 | 0.4 | n |  | TRUE
74 | bus_LV_153-9_1_4_node_191 | 0.4 | n |  | TRUE
75 | bus_LV_153-9_1_4_node_196 | 0.4 | n |  | TRUE
76 | bus_LV_153-9_1_4_node_198 | 0.4 | n |  | TRUE
77 | bus_LV_153-9_1_4_node_197 | 0.4 | n |  | TRUE
78 | bus_LV_153-9_1_4_node_199 | 0.4 | n |  | TRUE
79 | bus_MV_355_1_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_153-9_1_4_load_43 | 0 | 0.0008782 | 0.0002201 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_153-9_1_4_load_45 | 2 | 0.00063841 | 0.00016 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_153-9_1_4_load_119 | 6 | 0.042067 | 0.010543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_153-9_1_4_load_121 | 8 | 0.003736 | 0.00093632 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_153-9_1_4_load_122 | 9 | 0.022494 | 0.0056375 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_153-9_1_4_load_129 | 10 | 0.00077175 | 0.00019342 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_153-9_1_4_load_187 | 11 | 0.0037341 | 0.00093586 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_153-9_1_4_load_125 | 12 | 0.0075722 | 0.0018978 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_153-9_1_4_load_126 | 13 | 0.0022719 | 0.00056939 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_153-9_1_4_load_128 | 15 | 0.0031494 | 0.00078933 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_153-9_1_4_load_188 | 16 | 0.00052882 | 0.00013253 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_153-9_1_4_load_130 | 17 | 0.0041715 | 0.0010455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_153-9_1_4_load_133 | 19 | 0.0023262 | 0.000583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_153-9_1_4_load_134 | 20 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_153-9_1_4_load_135 | 21 | 0.0018198 | 0.00045609 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_153-9_1_4_load_136 | 22 | 0.0016252 | 0.00040733 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_153-9_1_4_load_137 | 23 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_153-9_1_4_load_138 | 24 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_153-9_1_4_load_180 | 25 | 0.0018554 | 0.00046502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_153-9_1_4_load_193 | 26 | 0.0078902 | 0.0019775 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_153-9_1_4_load_162 | 27 | 0.0022948 | 0.00057513 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_153-9_1_4_load_139 | 28 | 0.0094927 | 0.0023791 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_153-9_1_4_load_140 | 29 | 0.0091662 | 0.0022973 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_153-9_1_4_load_142 | 31 | 0.0025308 | 0.00063428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_153-9_1_4_load_143 | 32 | 0.0099384 | 0.0024908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_153-9_1_4_load_144 | 33 | 0.0064552 | 0.0016178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_153-9_1_4_load_145 | 34 | 0.0027168 | 0.00068089 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_153-9_1_4_load_146 | 35 | 0.013121 | 0.0032885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_153-9_1_4_load_147 | 36 | 0.0027981 | 0.00070128 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_153-9_1_4_load_163 | 39 | 0.002464 | 0.00061754 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_153-9_1_4_load_148 | 40 | 0.0018434 | 0.00046199 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_153-9_1_4_load_150 | 42 | 0.005916 | 0.0014827 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_153-9_1_4_load_153 | 44 | 0.0074119 | 0.0018576 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_153-9_1_4_load_154 | 45 | 0.0031652 | 0.00079328 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_153-9_1_4_load_195 | 47 | 0.0026417 | 0.00066208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_153-9_1_4_load_157 | 48 | 0.0077106 | 0.0019325 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_153-9_1_4_load_158 | 49 | 0.0063465 | 0.0015906 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_153-9_1_4_load_161 | 51 | 0.00552 | 0.0013834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_153-9_1_4_load_164 | 52 | 0.0062942 | 0.0015775 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_153-9_1_4_load_189 | 53 | 0.0068265 | 0.0017109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_153-9_1_4_load_165 | 54 | 0.0029451 | 0.0007381 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_153-9_1_4_load_166 | 55 | 0.0010594 | 0.00026552 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_153-9_1_4_load_167 | 56 | 0.0021335 | 0.00053471 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_153-9_1_4_load_169 | 58 | 0.0021056 | 0.00052772 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_153-9_1_4_load_172 | 60 | 0.0010726 | 0.00026883 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_153-9_1_4_load_171 | 61 | 0.0051751 | 0.001297 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_153-9_1_4_load_174 | 63 | 0.0010716 | 0.00026856 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_153-9_1_4_load_175 | 65 | 0.018504 | 0.0046375 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_153-9_1_4_load_184 | 66 | 0.0010726 | 0.00026883 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_153-9_1_4_load_178 | 67 | 0.0010666 | 0.00026731 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_153-9_1_4_load_179 | 68 | 0.0010655 | 0.00026704 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_153-9_1_4_load_185 | 69 | 0.0038109 | 0.00095511 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_153-9_1_4_load_181 | 70 | 0.0024473 | 0.00061335 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_153-9_1_4_load_182 | 71 | 0.0046199 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_153-9_1_4_load_192 | 72 | 0.0013884 | 0.00034796 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_153-9_1_4_load_186 | 73 | 0.0037379 | 0.0009368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_153-9_1_4_load_191 | 74 | 0.0051828 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_153-9_1_4_load_198 | 76 | 0.0025392 | 0.00063639 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_153-9_1_4_load_199 | 78 | 0.0090542 | 0.0022692 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_153-9_1_4_line_0 |  | 0 | 1 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_153-9_1_4_line_1 |  | 1 | 2 | 0.073336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_153-9_1_4_line_2 |  | 1 | 3 | 0.44354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_153-9_1_4_line_3 |  | 3 | 57 | 0.005729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_153-9_1_4_line_4 |  | 3 | 56 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_153-9_1_4_line_5 |  | 4 | 5 | 0.073994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_153-9_1_4_line_6 |  | 4 | 6 | 0.057459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_153-9_1_4_line_7 |  | 5 | 7 | 0.006612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_153-9_1_4_line_8 |  | 5 | 8 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_153-9_1_4_line_9 |  | 6 | 9 | 0.043741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_153-9_1_4_line_10 |  | 7 | 10 | 0.059212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_153-9_1_4_line_11 |  | 8 | 11 | 0.0075303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_153-9_1_4_line_12 |  | 10 | 14 | 0.0077639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_153-9_1_4_line_13 |  | 11 | 73 | 0.0075333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_153-9_1_4_line_14 |  | 12 | 13 | 0.038542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_153-9_1_4_line_15 |  | 13 | 14 | 0.020892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_153-9_1_4_line_16 |  | 14 | 15 | 0.0030837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_153-9_1_4_line_17 |  | 15 | 16 | 0.0013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_153-9_1_4_line_18 |  | 16 | 45 | 0.024409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_153-9_1_4_line_19 |  | 17 | 18 | 0.013647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_153-9_1_4_line_20 |  | 18 | 19 | 0.023265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_153-9_1_4_line_21 |  | 18 | 20 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_153-9_1_4_line_22 |  | 18 | 21 | 0.0094101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_153-9_1_4_line_23 |  | 19 | 22 | 0.0050431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_153-9_1_4_line_24 |  | 20 | 23 | 0.0065265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_153-9_1_4_line_25 |  | 21 | 24 | 0.00052016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_153-9_1_4_line_26 |  | 22 | 25 | 0.004406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_153-9_1_4_line_27 |  | 23 | 26 | 0.012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_153-9_1_4_line_28 |  | 24 | 27 | 0.021136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_153-9_1_4_line_29 |  | 25 | 70 | 0.0027975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_153-9_1_4_line_30 |  | 27 | 50 | 0.0061108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_153-9_1_4_line_31 |  | 28 | 29 | 0.02205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_153-9_1_4_line_32 |  | 28 | 30 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_153-9_1_4_line_33 |  | 29 | 31 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_153-9_1_4_line_34 |  | 30 | 32 | 0.0010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_153-9_1_4_line_35 |  | 30 | 33 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_153-9_1_4_line_36 |  | 31 | 34 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_153-9_1_4_line_37 |  | 32 | 35 | 0.026292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_153-9_1_4_line_38 |  | 33 | 36 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_153-9_1_4_line_39 |  | 34 | 37 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_153-9_1_4_line_40 |  | 35 | 38 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_153-9_1_4_line_41 |  | 36 | 39 | 0.0011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_153-9_1_4_line_42 |  | 37 | 74 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_153-9_1_4_line_43 |  | 37 | 53 | 0.0065039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_153-9_1_4_line_44 |  | 38 | 65 | 0.03178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_153-9_1_4_line_45 |  | 39 | 50 | 0.0085639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_153-9_1_4_line_46 |  | 40 | 41 | 0.0099834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_153-9_1_4_line_47 |  | 41 | 42 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_153-9_1_4_line_48 |  | 41 | 43 | 0.038223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_153-9_1_4_line_49 |  | 42 | 44 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_153-9_1_4_line_50 |  | 43 | 45 | 0.031184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_153-9_1_4_line_51 |  | 43 | 46 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_153-9_1_4_line_52 |  | 46 | 47 | 0.027647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_153-9_1_4_line_53 |  | 47 | 75 | 0.0049409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_153-9_1_4_line_54 |  | 48 | 49 | 0.0096816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_153-9_1_4_line_55 |  | 49 | 50 | 0.029932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_153-9_1_4_line_56 |  | 51 | 52 | 0.0079307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_153-9_1_4_line_57 |  | 52 | 53 | 0.01322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_153-9_1_4_line_58 |  | 54 | 55 | 0.00062303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_153-9_1_4_line_59 |  | 55 | 56 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_153-9_1_4_line_60 |  | 57 | 72 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_153-9_1_4_line_61 |  | 58 | 59 | 0.0071144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_153-9_1_4_line_62 |  | 59 | 60 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_153-9_1_4_line_63 |  | 60 | 63 | 0.0076503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_153-9_1_4_line_64 |  | 61 | 62 | 0.019878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_153-9_1_4_line_65 |  | 62 | 64 | 0.031532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_153-9_1_4_line_66 |  | 62 | 65 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_153-9_1_4_line_67 |  | 63 | 66 | 0.0076479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_153-9_1_4_line_68 |  | 64 | 67 | 0.002268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_153-9_1_4_line_69 |  | 64 | 68 | 0.0051422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_153-9_1_4_line_70 |  | 66 | 68 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_153-9_1_4_line_71 |  | 67 | 69 | 0.0073726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_153-9_1_4_line_72 |  | 69 | 73 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_153-9_1_4_line_73 |  | 70 | 71 | 0.017173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_153-9_1_4_line_74 |  | 72 | 74 | 0.40612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_153-9_1_4_line_75 |  | 75 | 76 | 0.01305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_153-9_1_4_line_76 |  | 76 | 77 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_153-9_1_4_line_77 |  | 77 | 78 | 0.0023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_153-9_1_4_trafo_175 | 0.63 MVA 20/0.4 kV | 79 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2702322.9588 | 1234191.4528 | 2702319.9184 | 1234177.6457
1 | 2702322.9588 | 1234191.4528 | 2702300.1468 | 1234198.9213 | 2702292.3849 | 1234195.4851 | 2702282.3907 | 1234164.7233 | 2702279.037 | 1234156.9139
2 | 2702124.0363 | 1234587.8847 | 2702322.9588 | 1234191.4528
3 | 2702118.3057 | 1234588.2977 | 2702124.0363 | 1234587.8847
4 | 2702124.0363 | 1234587.8847 | 2702125.0335 | 1234595.9301 | 2702127.3333 | 1234601.364
5 | 2701650.5498 | 1234248.1344 | 2701653.6092 | 1234294.9774 | 2701653.5737 | 1234308.1088 | 2701646.3442 | 1234320.0052
6 | 2701650.5498 | 1234248.1344 | 2701692.4235 | 1234246.9387 | 2701707.9888 | 1234246.6654
7 | 2701646.3442 | 1234320.0052 | 2701642.3248 | 1234325.2626
8 | 2701646.3442 | 1234320.0052 | 2701664.7627 | 1234321.3562
9 | 2701751.7234 | 1234245.8973 | 2701707.9888 | 1234246.6654
10 | 2701642.3248 | 1234325.2626 | 2701629.3243 | 1234330.1884 | 2701602.2157 | 1234336.1961 | 2701585.523 | 1234341.5914
11 | 2701664.7627 | 1234321.3562 | 2701672.2728 | 1234321.907
12 | 2701578.1354 | 1234343.9792 | 2701585.523 | 1234341.5914
13 | 2701672.2728 | 1234321.907 | 2701679.786 | 1234322.4581
14 | 2701580.7453 | 1234364.7077 | 2701582.6812 | 1234380.0839 | 2701590.8185 | 1234396.5465 | 2701595.4115 | 1234395.648
15 | 2701578.1354 | 1234343.9792 | 2701580.7453 | 1234364.7077
16 | 2701578.1354 | 1234343.9792 | 2701575.0924 | 1234344.4788
17 | 2701573.797 | 1234344.6915 | 2701575.0924 | 1234344.4788
18 | 2701573.797 | 1234344.6915 | 2701549.7103 | 1234348.6461
19 | 2701626.0726 | 1234468.8813 | 2701625.689 | 1234482.5225
20 | 2701626.0726 | 1234468.8813 | 2701621.8971 | 1234467.7868 | 2701603.0283 | 1234466.0468
21 | 2701626.0726 | 1234468.8813 | 2701636.9234 | 1234472.4444
22 | 2701626.0726 | 1234468.8813 | 2701626.4785 | 1234461.9719 | 2701627.0812 | 1234459.5571
23 | 2701603.0283 | 1234466.0468 | 2701598.0065 | 1234465.5837
24 | 2701643.3118 | 1234473.6562 | 2701638.826 | 1234473.0692 | 2701636.9234 | 1234472.4444
25 | 2701627.0812 | 1234459.5571 | 2701627.2071 | 1234459.0524
26 | 2701593.6191 | 1234465.1792 | 2701593.6191 | 1234465.1792 | 2701598.0065 | 1234465.5837
27 | 2701654.723 | 1234478.0337 | 2701648.8953 | 1234474.3868 | 2701643.3118 | 1234473.6562
28 | 2701627.2071 | 1234459.0524 | 2701627.5921 | 1234457.5098 | 2701631.3633 | 1234442.4186 | 2701633.0967 | 1234438.8242
29 | 2701593.6191 | 1234465.1792 | 2701590.9174 | 1234465.9049
30 | 2701635.7511 | 1234433.3201 | 2701633.0967 | 1234438.8242
31 | 2701687.2075 | 1234387.608 | 2701675.1228 | 1234390.2502 | 2701665.4532 | 1234389.8097
32 | 2701645.3997 | 1234388.8963 | 2701665.4532 | 1234389.8097
33 | 2701706.581 | 1234383.5723 | 2701697.2903 | 1234385.4036 | 2701687.2075 | 1234387.608
34 | 2701645.3997 | 1234388.8963 | 2701645.5074 | 1234387.8758
35 | 2701645.3997 | 1234388.8963 | 2701643.8901 | 1234404.9936
36 | 2701706.581 | 1234383.5723 | 2701706.581 | 1234383.5723 | 2701709.6158 | 1234396.565
37 | 2701645.5074 | 1234387.8758 | 2701646.7463 | 1234376.1319 | 2701649.5125 | 1234361.9151
38 | 2701638.4251 | 1234424.0136 | 2701643.8901 | 1234404.9936 | 2701643.8901 | 1234404.9936
39 | 2701712.8447 | 1234410.3885 | 2701709.6158 | 1234396.565
40 | 2701651.4946 | 1234351.7282 | 2701649.5125 | 1234361.9151
41 | 2701638.4251 | 1234424.0136 | 2701638.1161 | 1234425.0892
42 | 2701712.8447 | 1234410.3885 | 2701741.7797 | 1234404.0665
43 | 2701712.8447 | 1234410.3885 | 2701706.4915 | 1234411.7808
44 | 2701651.4946 | 1234351.7282 | 2701683.1767 | 1234354.2199
45 | 2701635.7511 | 1234433.3201 | 2701638.1161 | 1234425.0892
46 | 2701510.1985 | 1234320.6342 | 2701507.2746 | 1234311.0886
47 | 2701510.1985 | 1234320.6342 | 2701504.3184 | 1234319.1549 | 2701497.2206 | 1234320.2567 | 2701489.1488 | 1234315.0038
48 | 2701520.0682 | 1234357.5638 | 2701510.1985 | 1234320.6342
49 | 2701489.1488 | 1234315.0038 | 2701489.1488 | 1234315.0038 | 2701490.7636 | 1234306.9031 | 2701489.6712 | 1234302.5859
50 | 2701520.0682 | 1234357.5638 | 2701535.3223 | 1234351.0084 | 2701549.7103 | 1234348.6461
51 | 2701520.0682 | 1234357.5638 | 2701528.4359 | 1234384.9162
52 | 2701528.4359 | 1234384.9162 | 2701536.5299 | 1234383.1086 | 2701540.6663 | 1234380.2994 | 2701545.7301 | 1234378.5958 | 2701553.3271 | 1234377.9585 | 2701554.6888 | 1234378.2232
53 | 2701559.5546 | 1234379.0435 | 2701558.5941 | 1234378.9826 | 2701554.6888 | 1234378.2232
54 | 2701663.0688 | 1234442.099 | 2701672.7496 | 1234442.2161
55 | 2701635.7511 | 1234433.3201 | 2701648.6106 | 1234441.9243 | 2701663.0688 | 1234442.099
56 | 2701709.1841 | 1234424.7239 | 2701710.7993 | 1234432.4885
57 | 2701706.4915 | 1234411.7808 | 2701706.4915 | 1234411.7808 | 2701709.1841 | 1234424.7239
58 | 2702131.1237 | 1234614.4091 | 2702130.7932 | 1234613.881
59 | 2702127.3333 | 1234601.364 | 2702129.5513 | 1234606.6047 | 2702128.3133 | 1234609.9192 | 2702130.7932 | 1234613.881
60 | 2702118.3057 | 1234588.2977 | 2702103.1968 | 1234589.289
61 | 2701749.8037 | 1234327.4479 | 2701756.9006 | 1234327.9473
62 | 2701749.8037 | 1234327.4479 | 2701739.0659 | 1234326.6947
63 | 2701731.4343 | 1234326.1594 | 2701739.0659 | 1234326.6947
64 | 2701701.9177 | 1234355.6938 | 2701721.729 | 1234357.3243
65 | 2701704.2883 | 1234324.2553 | 2701701.9177 | 1234355.6938
66 | 2701701.9177 | 1234355.6938 | 2701683.1767 | 1234354.2199
67 | 2701723.8052 | 1234325.6242 | 2701731.4343 | 1234326.1594
68 | 2701704.2883 | 1234324.2553 | 2701702.0264 | 1234324.0894
69 | 2701704.2883 | 1234324.2553 | 2701709.4179 | 1234324.6151
70 | 2701723.8052 | 1234325.6242 | 2701709.4179 | 1234324.6151
71 | 2701694.6735 | 1234323.55 | 2701702.0264 | 1234324.0894
72 | 2701694.6735 | 1234323.55 | 2701679.786 | 1234322.4581
73 | 2701574.3319 | 1234470.3582 | 2701575.639 | 1234470.0088 | 2701590.9174 | 1234465.9049
74 | 2701741.7797 | 1234404.0665 | 2702103.1968 | 1234589.289
75 | 2701559.5546 | 1234379.0435 | 2701561.51 | 1234388.2171 | 2701563.2807 | 1234391.4319
76 | 2701564.4258 | 1234412.0626 | 2701566.5376 | 1234408.1068 | 2701566.5812 | 1234405.5612 | 2701565.8662 | 1234402.6579 | 2701565.4532 | 1234396.7019 | 2701564.4839 | 1234393.6164 | 2701563.2807 | 1234391.4319
77 | 2701564.4258 | 1234412.0626 | 2701566.763 | 1234412.0363

## bus_geodata
| x | y | coords
0 | 2702319.9184 | 1234177.6457
1 | 2702322.9588 | 1234191.4528
2 | 2702279.037 | 1234156.9139
3 | 2702124.0363 | 1234587.8847
4 | 2701650.5498 | 1234248.1344
5 | 2701646.3442 | 1234320.0052
6 | 2701707.9888 | 1234246.6654
7 | 2701642.3248 | 1234325.2626
8 | 2701664.7627 | 1234321.3562
9 | 2701751.7234 | 1234245.8973
10 | 2701585.523 | 1234341.5914
11 | 2701672.2728 | 1234321.907
12 | 2701595.4115 | 1234395.648
13 | 2701580.7453 | 1234364.7077
14 | 2701578.1354 | 1234343.9792
15 | 2701575.0924 | 1234344.4788
16 | 2701573.797 | 1234344.6915
17 | 2701625.689 | 1234482.5225
18 | 2701626.0726 | 1234468.8813
19 | 2701603.0283 | 1234466.0468
20 | 2701636.9234 | 1234472.4444
21 | 2701627.0812 | 1234459.5571
22 | 2701598.0065 | 1234465.5837
23 | 2701643.3118 | 1234473.6562
24 | 2701627.2071 | 1234459.0524
25 | 2701593.6191 | 1234465.1792
26 | 2701654.723 | 1234478.0337
27 | 2701633.0967 | 1234438.8242
28 | 2701665.4532 | 1234389.8097
29 | 2701687.2075 | 1234387.608
30 | 2701645.3997 | 1234388.8963
31 | 2701706.581 | 1234383.5723
32 | 2701645.5074 | 1234387.8758
33 | 2701643.8901 | 1234404.9936
34 | 2701709.6158 | 1234396.565
35 | 2701649.5125 | 1234361.9151
36 | 2701638.4251 | 1234424.0136
37 | 2701712.8447 | 1234410.3885
38 | 2701651.4946 | 1234351.7282
39 | 2701638.1161 | 1234425.0892
40 | 2701507.2746 | 1234311.0886
41 | 2701510.1985 | 1234320.6342
42 | 2701489.1488 | 1234315.0038
43 | 2701520.0682 | 1234357.5638
44 | 2701489.6712 | 1234302.5859
45 | 2701549.7103 | 1234348.6461
46 | 2701528.4359 | 1234384.9162
47 | 2701554.6888 | 1234378.2232
48 | 2701672.7496 | 1234442.2161
49 | 2701663.0688 | 1234442.099
50 | 2701635.7511 | 1234433.3201
51 | 2701710.7993 | 1234432.4885
52 | 2701709.1841 | 1234424.7239
53 | 2701706.4915 | 1234411.7808
54 | 2702131.1237 | 1234614.4091
55 | 2702130.7932 | 1234613.881
56 | 2702127.3333 | 1234601.364
57 | 2702118.3057 | 1234588.2977
58 | 2701756.9006 | 1234327.9473
59 | 2701749.8037 | 1234327.4479
60 | 2701739.0659 | 1234326.6947
61 | 2701721.729 | 1234357.3243
62 | 2701701.9177 | 1234355.6938
63 | 2701731.4343 | 1234326.1594
64 | 2701704.2883 | 1234324.2553
65 | 2701683.1767 | 1234354.2199
66 | 2701723.8052 | 1234325.6242
67 | 2701702.0264 | 1234324.0894
68 | 2701709.4179 | 1234324.6151
69 | 2701694.6735 | 1234323.55
70 | 2701590.9174 | 1234465.9049
71 | 2701574.3319 | 1234470.3582
72 | 2702103.1968 | 1234589.289
73 | 2701679.786 | 1234322.4581
74 | 2701741.7797 | 1234404.0665
75 | 2701559.5546 | 1234379.0435
76 | 2701563.2807 | 1234391.4319
77 | 2701564.4258 | 1234412.0626
78 | 2701566.763 | 1234412.0363
79 | 2701701.9177 | 1234355.6938

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98537 | -0.28262 | 0.0008782 | 0.0002201
1 | 0.98538 | -0.2824 | 0 | 0
2 | 0.98534 | -0.28324 | 0.00063841 | 0.00016
3 | 0.986 | -0.27025 | 0 | 0
4 | 0.98413 | -0.30429 | 0 | 0
5 | 0.98855 | -0.2187 | 0 | 0
6 | 0.9807 | -0.37128 | 0.042067 | 0.010543
7 | 0.98826 | -0.22423 | 0 | 0
8 | 0.99045 | -0.18206 | 0.003736 | 0.00093632
9 | 0.97979 | -0.38913 | 0.022494 | 0.0056375
10 | 0.9857 | -0.27389 | 0.00077175 | 0.00019342
11 | 0.99125 | -0.16666 | 0.0037341 | 0.00093586
12 | 0.98491 | -0.28925 | 0.0075722 | 0.0018978
13 | 0.98518 | -0.28401 | 0.0022719 | 0.00056939
14 | 0.98537 | -0.28032 | 0 | 0
15 | 0.98527 | -0.28232 | 0.0031494 | 0.00078933
16 | 0.98523 | -0.2831 | 0.00052882 | 0.00013253
17 | 0.99003 | -0.1917 | 0.0041715 | 0.0010455
18 | 0.99008 | -0.19069 | 0 | 0
19 | 0.98981 | -0.19602 | 0.0023262 | 0.000583
20 | 0.98996 | -0.19303 | 0.0018203 | 0.00045621
21 | 0.99033 | -0.18591 | 0.0018198 | 0.00045609
22 | 0.98976 | -0.19696 | 0.0016252 | 0.00040733
23 | 0.98991 | -0.19416 | 0.0018203 | 0.00045621
24 | 0.99035 | -0.18563 | 0.0018203 | 0.00045621
25 | 0.98973 | -0.19766 | 0.0018554 | 0.00046502
26 | 0.98982 | -0.19591 | 0.0078902 | 0.0019775
27 | 0.99097 | -0.17353 | 0.0022948 | 0.00057513
28 | 0.99242 | -0.14546 | 0.0094927 | 0.0023791
29 | 0.99146 | -0.16395 | 0.0091662 | 0.0022973
30 | 0.99346 | -0.1253 | 0 | 0
31 | 0.99077 | -0.17734 | 0.0025308 | 0.00063428
32 | 0.99357 | -0.12318 | 0.0099384 | 0.0024908
33 | 0.99257 | -0.14253 | 0.0064552 | 0.0016178
34 | 0.99034 | -0.18578 | 0.0027168 | 0.00068089
35 | 0.99663 | -0.064389 | 0.013121 | 0.0032885
36 | 0.9916 | -0.1614 | 0.0027981 | 0.00070128
37 | 0.98991 | -0.19409 | 0 | 0
38 | 0.99796 | -0.038898 | 0 | 0
39 | 0.99154 | -0.16241 | 0.002464 | 0.00061754
40 | 0.9831 | -0.32469 | 0.0018434 | 0.00046199
41 | 0.98312 | -0.32435 | 0 | 0
42 | 0.98283 | -0.32985 | 0.005916 | 0.0014827
43 | 0.98365 | -0.3139 | 0 | 0
44 | 0.98275 | -0.33155 | 0.0074119 | 0.0018576
45 | 0.9845 | -0.29739 | 0.0031652 | 0.00079328
46 | 0.98327 | -0.32124 | 0 | 0
47 | 0.98291 | -0.32834 | 0.0026417 | 0.00066208
48 | 0.99071 | -0.17858 | 0.0077106 | 0.0019325
49 | 0.99078 | -0.17726 | 0.0063465 | 0.0015906
50 | 0.99116 | -0.16979 | 0 | 0
51 | 0.98961 | -0.1998 | 0.00552 | 0.0013834
52 | 0.98966 | -0.19902 | 0.0062942 | 0.0015775
53 | 0.9898 | -0.19624 | 0.0068265 | 0.0017109
54 | 0.98587 | -0.27283 | 0.0029451 | 0.0007381
55 | 0.98587 | -0.27279 | 0.0010594 | 0.00026552
56 | 0.98592 | -0.2718 | 0.0021335 | 0.00053471
57 | 0.98604 | -0.26947 | 0 | 0
58 | 0.99471 | -0.10048 | 0.0021056 | 0.00052772
59 | 0.99472 | -0.10021 | 0 | 0
60 | 0.99474 | -0.099815 | 0.0010726 | 0.00026883
61 | 0.9987 | -0.024613 | 0.0051751 | 0.001297
62 | 0.99879 | -0.022816 | 0 | 0
63 | 0.99477 | -0.099387 | 0.0010716 | 0.00026856
64 | 0.9949 | -0.096884 | 0 | 0
65 | 1 | 0 | -0.28405 | -0.071999
66 | 0.9948 | -0.098814 | 0.0010726 | 0.00026883
67 | 0.99463 | -0.10198 | 0.0010666 | 0.00026731
68 | 0.99487 | -0.097462 | 0.0010655 | 0.00026704
69 | 0.99377 | -0.11842 | 0.0038109 | 0.00095511
70 | 0.98971 | -0.19802 | 0.0024473 | 0.00061335
71 | 0.98963 | -0.19943 | 0.0046199 | 0.0011579
72 | 0.98615 | -0.26738 | 0.0013884 | 0.00034796
73 | 0.99208 | -0.15079 | 0.0037379 | 0.0009368
74 | 0.98952 | -0.2016 | 0.0051828 | 0.0012989
75 | 0.98286 | -0.32937 | 0 | 0
76 | 0.98272 | -0.3321 | 0.0025392 | 0.00063639
77 | 0.98254 | -0.33565 | 0 | 0
78 | 0.98252 | -0.33603 | 0.0090542 | 0.0022692
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0008782 | -0.0002201 | 0.00087821 | 0.00021992 | 9.324e-09 | -1.7413e-07 | 0.0013262 | 0.0013261 | 0.0013262 | 0.98537 | -0.28262 | 0.98538 | -0.2824 | 0.36434
1 | 0.00063844 | 0.00015908 | -0.00063841 | -0.00016 | 2.5553e-08 | -9.1779e-07 | 0.00096377 | 0.0009641 | 0.0009641 | 0.98538 | -0.2824 | 0.98534 | -0.28324 | 0.26486
2 | -0.0015166 | -0.00037901 | 0.0015175 | 0.00037391 | 8.7139e-07 | -5.0959e-06 | 0.0022899 | 0.0022879 | 0.0022899 | 0.98538 | -0.2824 | 0.986 | -0.27025 | 0.62909
3 | -0.0076562 | -0.0019123 | 0.0076565 | 0.0019124 | 2.867e-07 | 1.1041e-07 | 0.011552 | 0.011552 | 0.011552 | 0.986 | -0.27025 | 0.98604 | -0.26947 | 3.1736
4 | 0.0061387 | 0.0015384 | -0.0061382 | -0.0015383 | 4.5082e-07 | 1.0988e-07 | 0.0092641 | 0.0092642 | 0.0092642 | 0.986 | -0.27025 | 0.98592 | -0.2718 | 2.5451
5 | -0.064786 | -0.016324 | 0.065053 | 0.016493 | 0.00026643 | 0.00016957 | 0.097989 | 0.097989 | 0.097989 | 0.98413 | -0.30429 | 0.98855 | -0.2187 | 26.9201
6 | 0.064786 | 0.016324 | -0.06458 | -0.016192 | 0.00020689 | 0.00013168 | 0.097989 | 0.097989 | 0.097989 | 0.98413 | -0.30429 | 0.9807 | -0.37128 | 26.9202
7 | 0.047083 | 0.01188 | -0.04707 | -0.011872 | 1.2464e-05 | 7.8923e-06 | 0.0709 | 0.0709 | 0.0709 | 0.98855 | -0.2187 | 0.98826 | -0.22423 | 19.4781
8 | -0.11214 | -0.028373 | 0.11233 | 0.028499 | 0.00019754 | 0.00012619 | 0.16889 | 0.16889 | 0.16889 | 0.98855 | -0.2187 | 0.99045 | -0.18206 | 46.3981
9 | 0.022513 | 0.0056492 | -0.022494 | -0.0056375 | 1.9143e-05 | 1.17e-05 | 0.034162 | 0.034162 | 0.034162 | 0.9807 | -0.37128 | 0.97979 | -0.38913 | 9.3851
10 | 0.04707 | 0.011872 | -0.046959 | -0.011801 | 0.00011162 | 7.0679e-05 | 0.0709 | 0.070901 | 0.070901 | 0.98826 | -0.22423 | 0.9857 | -0.27389 | 19.4782
11 | -0.11607 | -0.029436 | 0.11616 | 0.029491 | 8.5989e-05 | 5.4936e-05 | 0.1745 | 0.1745 | 0.1745 | 0.99045 | -0.18206 | 0.99125 | -0.16666 | 47.94
12 | 0.046187 | 0.011608 | -0.046173 | -0.011599 | 1.4159e-05 | 8.9626e-06 | 0.069736 | 0.069736 | 0.069736 | 0.9857 | -0.27389 | 0.98537 | -0.28032 | 19.1581
13 | -0.11989 | -0.030427 | 0.11998 | 0.030485 | 9.1639e-05 | 5.8552e-05 | 0.18011 | 0.18011 | 0.18011 | 0.99125 | -0.16666 | 0.99208 | -0.15079 | 49.48
14 | -0.0075722 | -0.0018978 | 0.0075741 | 0.0018985 | 1.8915e-06 | 7.1994e-07 | 0.01144 | 0.01144 | 0.01144 | 0.98491 | -0.28925 | 0.98518 | -0.28401 | 3.1429
15 | -0.0098459 | -0.0024679 | 0.0098477 | 0.0024687 | 1.7327e-06 | 8.4282e-07 | 0.014871 | 0.014871 | 0.014871 | 0.98518 | -0.28401 | 0.98537 | -0.28032 | 4.0855
16 | 0.036325 | 0.0091303 | -0.036322 | -0.0091281 | 3.4809e-06 | 2.1885e-06 | 0.054864 | 0.054864 | 0.054864 | 0.98537 | -0.28032 | 0.98527 | -0.28232 | 15.0726
17 | 0.033172 | 0.0083388 | -0.033171 | -0.008338 | 1.236e-06 | 7.7434e-07 | 0.050108 | 0.050108 | 0.050108 | 0.98527 | -0.28232 | 0.98523 | -0.2831 | 13.7659
18 | 0.032642 | 0.0082054 | -0.03262 | -0.0081915 | 2.2256e-05 | 1.3933e-05 | 0.049309 | 0.049309 | 0.049309 | 0.98523 | -0.2831 | 0.9845 | -0.29739 | 13.5465
19 | -0.0041715 | -0.0010455 | 0.0041717 | 0.0010454 | 2.0117e-07 | -4.6744e-08 | 0.0062698 | 0.0062697 | 0.0062698 | 0.99003 | -0.1917 | 0.99008 | -0.19069 | 1.7225
20 | 0.012879 | 0.0032287 | -0.012875 | -0.0032269 | 3.2686e-06 | 1.7928e-06 | 0.019356 | 0.019356 | 0.019356 | 0.99008 | -0.19069 | 0.98981 | -0.19602 | 5.3176
21 | 0.011533 | 0.0028911 | -0.011532 | -0.0028904 | 1.2868e-06 | 6.767e-07 | 0.017334 | 0.017334 | 0.017334 | 0.99008 | -0.19069 | 0.98996 | -0.19303 | 4.762
22 | -0.028584 | -0.0071653 | 0.02859 | 0.0071693 | 6.5124e-06 | 4.0469e-06 | 0.042959 | 0.042959 | 0.042959 | 0.99008 | -0.19069 | 0.99033 | -0.18591 | 11.802
23 | 0.010549 | 0.0026439 | -0.010549 | -0.0026437 | 4.7564e-07 | 2.3959e-07 | 0.015859 | 0.015859 | 0.015859 | 0.98981 | -0.19602 | 0.98976 | -0.19696 | 4.3568
24 | 0.0097117 | 0.0024342 | -0.0097112 | -0.0024339 | 5.2154e-07 | 2.4987e-07 | 0.014598 | 0.014598 | 0.014598 | 0.98996 | -0.19303 | 0.98991 | -0.19416 | 4.0104
25 | -0.03041 | -0.0076254 | 0.03041 | 0.0076256 | 4.0727e-07 | 2.5396e-07 | 0.045694 | 0.045694 | 0.045694 | 0.99033 | -0.18591 | 0.99035 | -0.18563 | 12.5532
26 | 0.0089234 | 0.0022364 | -0.0089231 | -0.0022362 | 2.9736e-07 | 1.3369e-07 | 0.013415 | 0.013415 | 0.013415 | 0.98976 | -0.19696 | 0.98973 | -0.19766 | 3.6856
27 | 0.0078909 | 0.0019777 | -0.0078902 | -0.0019775 | 6.5982e-07 | 2.6153e-07 | 0.011861 | 0.011862 | 0.011862 | 0.98991 | -0.19416 | 0.98982 | -0.19591 | 3.2587
28 | -0.032231 | -0.0080819 | 0.032249 | 0.0080935 | 1.8589e-05 | 1.1625e-05 | 0.048429 | 0.048429 | 0.048429 | 0.99035 | -0.18563 | 0.99097 | -0.17353 | 13.3046
29 | 0.0070676 | 0.0017712 | -0.0070675 | -0.0017712 | 1.1845e-07 | 3.9857e-08 | 0.010626 | 0.010626 | 0.010626 | 0.98973 | -0.19766 | 0.98971 | -0.19802 | 2.9192
30 | -0.034544 | -0.0086686 | 0.03455 | 0.0086725 | 6.1664e-06 | 3.8677e-06 | 0.051874 | 0.051874 | 0.051874 | 0.99097 | -0.17353 | 0.99116 | -0.16979 | 14.2512
31 | 0.047413 | 0.011921 | -0.047372 | -0.011894 | 4.1805e-05 | 2.647e-05 | 0.071104 | 0.071104 | 0.071104 | 0.99242 | -0.14546 | 0.99146 | -0.16395 | 19.5342
32 | -0.056906 | -0.0143 | 0.056961 | 0.014335 | 5.4821e-05 | 3.4826e-05 | 0.085337 | 0.085337 | 0.085337 | 0.99242 | -0.14546 | 0.99346 | -0.1253 | 23.4444
33 | 0.038205 | 0.0095969 | -0.038181 | -0.0095815 | 2.4407e-05 | 1.5366e-05 | 0.057348 | 0.057348 | 0.057348 | 0.99146 | -0.16395 | 0.99077 | -0.17734 | 15.7548
34 | -0.11741 | -0.029545 | 0.11742 | 0.029552 | 1.1906e-05 | 7.6065e-06 | 0.1759 | 0.1759 | 0.1759 | 0.99346 | -0.1253 | 0.99357 | -0.12318 | 48.3236
35 | 0.060448 | 0.01521 | -0.060398 | -0.015178 | 4.9724e-05 | 3.1614e-05 | 0.090561 | 0.090561 | 0.090561 | 0.99346 | -0.1253 | 0.99257 | -0.14253 | 24.8793
36 | 0.03565 | 0.0089472 | -0.035636 | -0.0089382 | 1.4346e-05 | 9.0097e-06 | 0.053547 | 0.053547 | 0.053547 | 0.99077 | -0.17734 | 0.99034 | -0.18578 | 14.7106
37 | -0.12736 | -0.032043 | 0.12772 | 0.032272 | 0.00035887 | 0.00022934 | 0.19078 | 0.19078 | 0.19078 | 0.99357 | -0.12318 | 0.99663 | -0.064389 | 52.4127
38 | 0.053943 | 0.013561 | -0.053894 | -0.01353 | 4.855e-05 | 3.0816e-05 | 0.080883 | 0.080884 | 0.080884 | 0.99257 | -0.14253 | 0.9916 | -0.1614 | 22.2207
39 | 0.032919 | 0.0082573 | -0.032906 | -0.0082492 | 1.3025e-05 | 8.1534e-06 | 0.049465 | 0.049465 | 0.049465 | 0.99034 | -0.18578 | 0.98991 | -0.19409 | 13.5892
40 | -0.14084 | -0.035561 | 0.14101 | 0.035671 | 0.00017223 | 0.00011009 | 0.21037 | 0.21037 | 0.21037 | 0.99663 | -0.064389 | 0.99796 | -0.038898 | 57.7947
41 | 0.051096 | 0.012828 | -0.051094 | -0.012827 | 2.4679e-06 | 1.565e-06 | 0.076685 | 0.076685 | 0.076685 | 0.9916 | -0.1614 | 0.99154 | -0.16241 | 21.0672
42 | 0.014262 | 0.0035754 | -0.014257 | -0.0035725 | 5.1047e-06 | 2.8864e-06 | 0.021439 | 0.021439 | 0.021439 | 0.98991 | -0.19409 | 0.98952 | -0.2016 | 5.8897
43 | 0.018644 | 0.0046738 | -0.018642 | -0.0046726 | 1.9157e-06 | 1.1425e-06 | 0.028026 | 0.028026 | 0.028026 | 0.98991 | -0.19409 | 0.9898 | -0.19624 | 7.6995
44 | -0.14101 | -0.035671 | 0.14128 | 0.035839 | 0.00026371 | 0.00016794 | 0.21037 | 0.21037 | 0.21037 | 0.99796 | -0.038898 | 1 | 0 | 28.8973
45 | 0.04863 | 0.012209 | -0.048613 | -0.012199 | 1.7108e-05 | 1.0838e-05 | 0.072987 | 0.072987 | 0.072987 | 0.99154 | -0.16241 | 0.99116 | -0.16979 | 20.0513
46 | -0.0018434 | -0.00046199 | 0.0018434 | 0.00046188 | 2.9143e-08 | -1.0794e-07 | 0.0027901 | 0.0027901 | 0.0027901 | 0.9831 | -0.32469 | 0.98312 | -0.32435 | 0.76651
47 | 0.013332 | 0.0033425 | -0.013328 | -0.0033405 | 3.4933e-06 | 1.9457e-06 | 0.020179 | 0.020179 | 0.020179 | 0.98312 | -0.32435 | 0.98283 | -0.32985 | 5.5438
48 | -0.015175 | -0.0038043 | 0.015183 | 0.0038087 | 7.5623e-06 | 4.3549e-06 | 0.022969 | 0.022969 | 0.022969 | 0.98312 | -0.32435 | 0.98365 | -0.3139 | 6.3103
49 | 0.0074125 | 0.0018578 | -0.0074119 | -0.0018576 | 6.0046e-07 | 2.232e-07 | 0.011223 | 0.011223 | 0.011223 | 0.98283 | -0.32985 | 0.98275 | -0.33155 | 3.0832
50 | -0.029432 | -0.0073838 | 0.029455 | 0.0073982 | 2.3183e-05 | 1.4441e-05 | 0.044525 | 0.044525 | 0.044525 | 0.98365 | -0.3139 | 0.9845 | -0.29739 | 12.2322
51 | 0.014249 | 0.0035751 | -0.014244 | -0.0035723 | 4.9836e-06 | 2.8266e-06 | 0.021556 | 0.021556 | 0.021556 | 0.98365 | -0.3139 | 0.98327 | -0.32124 | 5.922
52 | 0.014244 | 0.0035723 | -0.014239 | -0.0035695 | 4.8176e-06 | 2.7327e-06 | 0.021556 | 0.021556 | 0.021556 | 0.98327 | -0.32124 | 0.98291 | -0.32834 | 5.9221
53 | 0.011597 | 0.0029075 | -0.011597 | -0.0029072 | 5.7114e-07 | 3.0291e-07 | 0.017557 | 0.017557 | 0.017557 | 0.98291 | -0.32834 | 0.98286 | -0.32937 | 4.8234
54 | -0.0077106 | -0.0019325 | 0.0077111 | 0.0019326 | 4.8694e-07 | 1.8696e-07 | 0.011581 | 0.011581 | 0.011581 | 0.99071 | -0.17858 | 0.99078 | -0.17726 | 3.1816
55 | -0.014058 | -0.0035232 | 0.014063 | 0.003526 | 5.0032e-06 | 2.8164e-06 | 0.021113 | 0.021112 | 0.021113 | 0.99078 | -0.17726 | 0.99116 | -0.16979 | 5.8002
56 | -0.00552 | -0.0013834 | 0.0055202 | 0.0013835 | 2.0488e-07 | 2.9223e-08 | 0.0083 | 0.0083 | 0.0083 | 0.98961 | -0.1998 | 0.98966 | -0.19902 | 2.2802
57 | -0.011814 | -0.0029609 | 0.011816 | 0.0029618 | 1.5643e-06 | 8.3129e-07 | 0.017764 | 0.017764 | 0.017764 | 0.98966 | -0.19902 | 0.9898 | -0.19624 | 4.8801
58 | -0.0029451 | -0.0007381 | 0.0029451 | 0.0007381 | 4.6162e-09 | -4.9897e-09 | 0.0044451 | 0.0044451 | 0.0044451 | 0.98587 | -0.27283 | 0.98587 | -0.27279 | 1.2212
59 | -0.0040045 | -0.0010036 | 0.0040047 | 0.0010036 | 1.9046e-07 | -5.5392e-08 | 0.0060442 | 0.0060441 | 0.0060442 | 0.98587 | -0.27279 | 0.98592 | -0.2718 | 1.6605
60 | -0.0076565 | -0.0019124 | 0.0076572 | 0.0019127 | 7.5772e-07 | 2.9178e-07 | 0.011552 | 0.011552 | 0.011552 | 0.98604 | -0.26947 | 0.98615 | -0.26738 | 3.1736
61 | -0.0021056 | -0.00052772 | 0.0021057 | 0.00052764 | 2.647e-08 | -7.5412e-08 | 0.0031499 | 0.0031498 | 0.0031499 | 0.99471 | -0.10048 | 0.99472 | -0.10021 | 0.86535
62 | -0.0021057 | -0.00052764 | 0.0021057 | 0.00052753 | 4.0048e-08 | -1.1411e-07 | 0.0031498 | 0.0031498 | 0.0031498 | 0.99472 | -0.10021 | 0.99474 | -0.099815 | 0.86534
63 | -0.0031783 | -0.00079636 | 0.0031784 | 0.0007963 | 6.4846e-08 | -5.7815e-08 | 0.0047543 | 0.0047543 | 0.0047543 | 0.99474 | -0.099815 | 0.99477 | -0.099387 | 1.3061
64 | -0.0051751 | -0.001297 | 0.0051756 | 0.001297 | 4.4319e-07 | 2.3505e-08 | 0.0077107 | 0.0077106 | 0.0077107 | 0.9987 | -0.024613 | 0.99879 | -0.022816 | 2.1183
65 | 0.1358 | 0.034764 | -0.13531 | -0.034453 | 0.00048522 | 0.00031013 | 0.20257 | 0.20257 | 0.20257 | 0.99879 | -0.022816 | 0.9949 | -0.096884 | 55.6512
66 | -0.14097 | -0.036061 | 0.14113 | 0.03616 | 0.00015586 | 9.9257e-05 | 0.21028 | 0.21028 | 0.21028 | 0.99879 | -0.022816 | 1 | 0 | 28.8847
67 | -0.00425 | -0.0010649 | 0.0042501 | 0.0010648 | 1.1591e-07 | -2.5111e-08 | 0.0063572 | 0.0063572 | 0.0063572 | 0.99477 | -0.099387 | 0.9948 | -0.098814 | 1.7465
68 | 0.12892 | 0.032853 | -0.12889 | -0.032832 | 3.1685e-05 | 2.0249e-05 | 0.19302 | 0.19302 | 0.19302 | 0.9949 | -0.096884 | 0.99463 | -0.10198 | 53.0262
69 | 0.0063888 | 0.0016008 | -0.0063886 | -0.0016007 | 1.7606e-07 | 4.5905e-08 | 0.0095552 | 0.0095552 | 0.0095552 | 0.9949 | -0.096884 | 0.99487 | -0.097462 | 2.6251
70 | -0.0053228 | -0.0013337 | 0.0053231 | 0.0013337 | 3.4283e-07 | 3.2147e-08 | 0.0079616 | 0.0079616 | 0.0079616 | 0.9948 | -0.098814 | 0.99487 | -0.097462 | 2.1873
71 | 0.12782 | 0.032565 | -0.12772 | -0.0325 | 0.0001013 | 6.4739e-05 | 0.19142 | 0.19142 | 0.19142 | 0.99463 | -0.10198 | 0.99377 | -0.11842 | 52.5878
72 | 0.12391 | 0.031545 | -0.12372 | -0.031422 | 0.00019307 | 0.00012337 | 0.18571 | 0.18571 | 0.18571 | 0.99377 | -0.11842 | 0.99208 | -0.15079 | 51.0202
73 | 0.0046202 | 0.0011578 | -0.0046199 | -0.0011579 | 3.1074e-07 | -2.1792e-08 | 0.0069464 | 0.0069465 | 0.0069465 | 0.98971 | -0.19802 | 0.98963 | -0.19943 | 1.9084
74 | -0.0090456 | -0.0022607 | 0.009074 | 0.0022736 | 2.8359e-05 | 1.295e-05 | 0.013647 | 0.013645 | 0.013647 | 0.98615 | -0.26738 | 0.98952 | -0.2016 | 3.7491
75 | 0.011597 | 0.0029072 | -0.011595 | -0.0029064 | 1.5085e-06 | 8.0009e-07 | 0.017557 | 0.017557 | 0.017557 | 0.98286 | -0.32937 | 0.98272 | -0.3321 | 4.8234
76 | 0.0090559 | 0.00227 | -0.0090543 | -0.0022693 | 1.5314e-06 | 7.0498e-07 | 0.013712 | 0.013712 | 0.013712 | 0.98272 | -0.3321 | 0.98254 | -0.33565 | 3.7672
77 | 0.0090543 | 0.0022693 | -0.0090542 | -0.0022692 | 1.6481e-07 | 7.5874e-08 | 0.013712 | 0.013712 | 0.013712 | 0.98254 | -0.33565 | 0.98252 | -0.33603 | 3.7672

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30256 | 0.076636

## res_load
| p_mw | q_mvar
0 | 0.0008782 | 0.0002201
1 | 0.00063841 | 0.00016
2 | 0.042067 | 0.010543
3 | 0.003736 | 0.00093632
4 | 0.022494 | 0.0056375
5 | 0.00077175 | 0.00019342
6 | 0.0037341 | 0.00093586
7 | 0.0075722 | 0.0018978
8 | 0.0022719 | 0.00056939
9 | 0.0031494 | 0.00078933
10 | 0.00052882 | 0.00013253
11 | 0.0041715 | 0.0010455
12 | 0.0023262 | 0.000583
13 | 0.0018203 | 0.00045621
14 | 0.0018198 | 0.00045609
15 | 0.0016252 | 0.00040733
16 | 0.0018203 | 0.00045621
17 | 0.0018203 | 0.00045621
18 | 0.0018554 | 0.00046502
19 | 0.0078902 | 0.0019775
20 | 0.0022948 | 0.00057513
21 | 0.0094927 | 0.0023791
22 | 0.0091662 | 0.0022973
23 | 0.0025308 | 0.00063428
24 | 0.0099384 | 0.0024908
25 | 0.0064552 | 0.0016178
26 | 0.0027168 | 0.00068089
27 | 0.013121 | 0.0032885
28 | 0.0027981 | 0.00070128
29 | 0.002464 | 0.00061754
30 | 0.0018434 | 0.00046199
31 | 0.005916 | 0.0014827
32 | 0.0074119 | 0.0018576
33 | 0.0031652 | 0.00079328
34 | 0.0026417 | 0.00066208
35 | 0.0077106 | 0.0019325
36 | 0.0063465 | 0.0015906
37 | 0.00552 | 0.0013834
38 | 0.0062942 | 0.0015775
39 | 0.0068265 | 0.0017109
40 | 0.0029451 | 0.0007381
41 | 0.0010594 | 0.00026552
42 | 0.0021335 | 0.00053471
43 | 0.0021056 | 0.00052772
44 | 0.0010726 | 0.00026883
45 | 0.0051751 | 0.001297
46 | 0.0010716 | 0.00026856
47 | 0.018504 | 0.0046375
48 | 0.0010726 | 0.00026883
49 | 0.0010666 | 0.00026731
50 | 0.0010655 | 0.00026704
51 | 0.0038109 | 0.00095511
52 | 0.0024473 | 0.00061335
53 | 0.0046199 | 0.0011579
54 | 0.0013884 | 0.00034796
55 | 0.0037379 | 0.0009368
56 | 0.0051828 | 0.0012989
57 | 0.0025392 | 0.00063639
58 | 0.0090542 | 0.0022692

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1