## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_157-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_157-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_157-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_157-7_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_157-7_0_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_157-7_0_5_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_157-7_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_157-7_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_157-7_0_5_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_157-7_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_157-7_0_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_157-7_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_157-7_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_157-7_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_157-7_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_157-7_0_5_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_157-7_0_5_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_157-7_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_157-7_0_5_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_157-7_0_5_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_157-7_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_157-7_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_157-7_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_157-7_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_157-7_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_157-7_0_5_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_157-7_0_5_node_60 | 0.4 | n |  | TRUE
27 | bus_LV_157-7_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_157-7_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_157-7_0_5_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_157-7_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_157-7_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_157-7_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_157-7_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_157-7_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_157-7_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_157-7_0_5_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_157-7_0_5_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_157-7_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_157-7_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_157-7_0_5_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_157-7_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_157-7_0_5_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_157-7_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_157-7_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_157-7_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_157-7_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_157-7_0_5_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_157-7_0_5_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_157-7_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_157-7_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_157-7_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_157-7_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_157-7_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_157-7_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_157-7_0_5_node_48 | 0.4 | n |  | TRUE
56 | bus_MV_361_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_157-7_0_5_load_0 | 0 | 0.062205 | 0.01559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_157-7_0_5_load_2 | 2 | 0.0046987 | 0.0011776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_157-7_0_5_load_71 | 5 | 0.095394 | 0.023908 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_157-7_0_5_load_70 | 8 | 0.005933 | 0.0014869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_157-7_0_5_load_33 | 10 | 0.0020163 | 0.00050534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_157-7_0_5_load_32 | 12 | 0.0042553 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_157-7_0_5_load_39 | 15 | 0.009296 | 0.0023298 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_157-7_0_5_load_69 | 18 | 0.0013887 | 0.00034803 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_157-7_0_5_load_38 | 19 | 0.0051123 | 0.0012813 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_157-7_0_5_load_34 | 21 | 0.0033944 | 0.00085072 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_157-7_0_5_load_56 | 24 | 0.0029685 | 0.00074397 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_157-7_0_5_load_55 | 25 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_157-7_0_5_load_60 | 26 | 0.0055413 | 0.0013888 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_157-7_0_5_load_22 | 28 | 0.0096316 | 0.0024139 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_157-7_0_5_load_49 | 30 | 0.0074081 | 0.0018566 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_157-7_0_5_load_30 | 31 | 0.016155 | 0.0040488 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_157-7_0_5_load_35 | 32 | 0.009577 | 0.0024002 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_157-7_0_5_load_28 | 34 | 0.0012264 | 0.00030737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_157-7_0_5_load_23 | 35 | 0.016495 | 0.004134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_157-7_0_5_load_43 | 36 | 0.0030179 | 0.00075635 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_157-7_0_5_load_58 | 37 | 0.0027637 | 0.00069265 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_157-7_0_5_load_51 | 38 | 0.0087944 | 0.0022041 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_157-7_0_5_load_57 | 40 | 0.0024772 | 0.00062083 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_157-7_0_5_load_21 | 41 | 0.021985 | 0.0055101 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_157-7_0_5_load_67 | 42 | 0.023718 | 0.0059443 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_157-7_0_5_load_27 | 43 | 0.0010145 | 0.00025425 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_157-7_0_5_load_31 | 45 | 0.0010544 | 0.00026427 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_157-7_0_5_load_53 | 46 | 0.0013851 | 0.00034714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_157-7_0_5_load_54 | 47 | 0.005059 | 0.0012679 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_157-7_0_5_load_50 | 48 | 0.012927 | 0.0032398 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_157-7_0_5_load_40 | 49 | 0.0038129 | 0.00095561 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_157-7_0_5_load_45 | 53 | 0.0051089 | 0.0012804 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_157-7_0_5_load_48 | 55 | 0.013025 | 0.0032643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_157-7_0_5_line_0 |  | 0 | 1 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_157-7_0_5_line_1 |  | 1 | 2 | 0.026524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_157-7_0_5_line_2 |  | 1 | 3 | 0.38649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_157-7_0_5_line_3 |  | 2 | 4 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_157-7_0_5_line_4 |  | 3 | 5 | 0.040485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_157-7_0_5_line_5 |  | 4 | 27 | 0.058164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_157-7_0_5_line_6 |  | 4 | 28 | 0.042784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_157-7_0_5_line_7 |  | 6 | 7 | 0.008578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_157-7_0_5_line_8 |  | 6 | 8 | 0.025753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_157-7_0_5_line_9 |  | 7 | 34 | 0.0083044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_157-7_0_5_line_10 |  | 7 | 35 | 0.028464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_157-7_0_5_line_11 |  | 9 | 10 | 0.033294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_157-7_0_5_line_12 |  | 9 | 11 | 0.018225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_157-7_0_5_line_13 |  | 9 | 12 | 0.007205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_157-7_0_5_line_14 |  | 10 | 14 | 0.011424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_157-7_0_5_line_15 |  | 11 | 19 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_157-7_0_5_line_16 |  | 11 | 17 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_157-7_0_5_line_17 |  | 13 | 14 | 0.004549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_157-7_0_5_line_18 |  | 13 | 15 | 0.031072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_157-7_0_5_line_19 |  | 13 | 16 | 0.006393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_157-7_0_5_line_20 |  | 14 | 21 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_157-7_0_5_line_21 |  | 16 | 36 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_157-7_0_5_line_22 |  | 16 | 37 | 0.035744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_157-7_0_5_line_23 |  | 17 | 18 | 0.0079251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_157-7_0_5_line_24 |  | 19 | 33 | 0.010769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_157-7_0_5_line_25 |  | 20 | 21 | 0.022971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_157-7_0_5_line_26 |  | 20 | 22 | 0.075509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_157-7_0_5_line_27 |  | 22 | 26 | 0.089673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_157-7_0_5_line_28 |  | 23 | 24 | 0.0076902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_157-7_0_5_line_29 |  | 23 | 25 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_157-7_0_5_line_30 |  | 24 | 40 | 0.022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_157-7_0_5_line_31 |  | 27 | 42 | 0.022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_157-7_0_5_line_32 |  | 28 | 41 | 0.00092242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_157-7_0_5_line_33 |  | 29 | 30 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_157-7_0_5_line_34 |  | 29 | 31 | 0.042886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_157-7_0_5_line_35 |  | 30 | 48 | 0.0099049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_157-7_0_5_line_36 |  | 31 | 44 | 0.042239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_157-7_0_5_line_37 |  | 32 | 33 | 0.0073502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_157-7_0_5_line_38 |  | 34 | 43 | 0.00089194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_157-7_0_5_line_39 |  | 35 | 41 | 0.034755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_157-7_0_5_line_40 |  | 36 | 50 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_157-7_0_5_line_41 |  | 37 | 40 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_157-7_0_5_line_42 |  | 38 | 39 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_157-7_0_5_line_43 |  | 39 | 54 | 0.030508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_157-7_0_5_line_44 |  | 43 | 44 | 0.042557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_157-7_0_5_line_45 |  | 44 | 45 | 0.0078109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_157-7_0_5_line_46 |  | 45 | 46 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_157-7_0_5_line_47 |  | 46 | 47 | 0.028322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_157-7_0_5_line_48 |  | 48 | 52 | 0.0076051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_157-7_0_5_line_49 |  | 49 | 50 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_157-7_0_5_line_50 |  | 49 | 51 | 0.018485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_157-7_0_5_line_51 |  | 50 | 52 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_157-7_0_5_line_52 |  | 51 | 53 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_157-7_0_5_line_53 |  | 53 | 54 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_157-7_0_5_line_54 |  | 54 | 55 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_157-7_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 56 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2696999.504 | 1236184.0902 | 2696997.3105 | 1236179.3731 | 2696993.4138 | 1236176.5296 | 2696989.411 | 1236174.1514
1 | 2696999.504 | 1236184.0902 | 2697020.1149 | 1236167.3954
2 | 2696916.0907 | 1236112.298 | 2696897.4224 | 1236112.0934 | 2696889.1783 | 1236110.8246 | 2696887.0401 | 1236110.1337 | 2696846.7286 | 1236158.4678 | 2696839.2129 | 1236167.2963 | 2696833.4642 | 1236174.0521 | 2696854.4831 | 1236207.3749 | 2696858.786 | 1236202.9529 | 2696869.6213 | 1236198.4818 | 2696878.0226 | 1236193.3594 | 2696881.1677 | 1236187.5397 | 2696888.5085 | 1236197.7781 | 2696888.0382 | 1236202.0181 | 2696883.5818 | 1236205.637 | 2696884.6988 | 1236207.223 | 2696888.3534 | 1236207.2827 | 2696896.6276 | 1236218.2924 | 2696888.79 | 1236225.0474 | 2696913.2223 | 1236250.9206 | 2696914.4882 | 1236248.0169 | 2696920.1419 | 1236237.8127 | 2696931.2887 | 1236225.8523 | 2696945.9651 | 1236216.5071 | 2696961.7101 | 1236210.315 | 2696967.6411 | 1236209.0886 | 2696978.1843 | 1236198.8754 | 2696999.504 | 1236184.0902
3 | 2697028.3135 | 1236160.2318 | 2697027.116 | 1236161.7245 | 2697020.1149 | 1236167.3954
4 | 2696945.935 | 1236138.6266 | 2696925.8705 | 1236116.3939 | 2696916.0907 | 1236112.298
5 | 2697028.3135 | 1236160.2318 | 2696990.9044 | 1236122.582 | 2696987.7394 | 1236118.494
6 | 2697028.3135 | 1236160.2318 | 2697037.0563 | 1236148.1212 | 2697039.9126 | 1236140.5289 | 2697043.9974 | 1236125.3844 | 2697044.3435 | 1236121.3496
7 | 2697066.7495 | 1236053.1025 | 2697062.4427 | 1236060.5265
8 | 2697066.7495 | 1236053.1025 | 2697073.7999 | 1236039.8967 | 2697078.1457 | 1236030.0279
9 | 2697062.4427 | 1236060.5265 | 2697069.3883 | 1236065.0785
10 | 2697062.4427 | 1236060.5265 | 2697054.7008 | 1236075.2887 | 2697050.4986 | 1236086.3099
11 | 2697092.5148 | 1236246.9116 | 2697099.3783 | 1236241.8867 | 2697120.7165 | 1236229.2737
12 | 2697080.6238 | 1236243.7372 | 2697083.0441 | 1236248.925 | 2697084.4442 | 1236251.7055 | 2697092.5148 | 1236246.9116
13 | 2697092.5148 | 1236246.9116 | 2697098.9348 | 1236250.1821
14 | 2697130.5513 | 1236223.4604 | 2697120.7165 | 1236229.2737
15 | 2697080.6238 | 1236243.7372 | 2697080.3174 | 1236241.1858 | 2697080.1711 | 1236239.9492 | 2697075.5136 | 1236231.7051
16 | 2697066.6844 | 1236248.2683 | 2697080.6238 | 1236243.7372
17 | 2697128.8493 | 1236219.2405 | 2697130.5513 | 1236223.4604
18 | 2697128.8493 | 1236219.2405 | 2697124.1507 | 1236203.8857 | 2697111.0639 | 1236211.2456
19 | 2697134.3596 | 1236215.9726 | 2697128.8493 | 1236219.2405
20 | 2697130.5513 | 1236223.4604 | 2697135.6736 | 1236235.5753 | 2697139.2462 | 1236244.5006
21 | 2697134.3596 | 1236215.9726 | 2697131.62 | 1236211.3355 | 2697128.0606 | 1236200.3692 | 2697127.4789 | 1236199.3486
22 | 2697134.3596 | 1236215.9726 | 2697165.1536 | 1236197.8244
23 | 2697066.6844 | 1236248.2683 | 2697062.4803 | 1236241.5502
24 | 2697070.4631 | 1236222.2219 | 2697070.8443 | 1236223.4401 | 2697075.5136 | 1236231.7051
25 | 2697146.8181 | 1236265.8689 | 2697146.092 | 1236260.7533 | 2697144.2388 | 1236254.2181 | 2697142.6328 | 1236250.1444 | 2697140.1672 | 1236246.8016 | 2697139.2462 | 1236244.5006
26 | 2697146.8181 | 1236265.8689 | 2697150.5859 | 1236274.2701 | 2697153.804 | 1236279.7268 | 2697162.2784 | 1236293.7313 | 2697163.8851 | 1236292.212 | 2697178.8418 | 1236278.7022 | 2697183.328 | 1236274.6503 | 2697193.4133 | 1236263.2958
27 | 2697193.4133 | 1236263.2958 | 2697197.6634 | 1236258.4172 | 2697215.1447 | 1236242.8028 | 2697221.7924 | 1236238.0191 | 2697234.6317 | 1236230.4236 | 2697266.5774 | 1236212.4486
28 | 2697206.5782 | 1236173.4111 | 2697199.9529 | 1236177.3157
29 | 2697206.5782 | 1236173.4111 | 2697215.2641 | 1236168.494 | 2697217.2927 | 1236167.284
30 | 2697199.9529 | 1236177.3157 | 2697180.8819 | 1236188.555
31 | 2696987.7394 | 1236118.494 | 2696984.6813 | 1236118.0548 | 2696972.1561 | 1236103.1838
32 | 2697044.3435 | 1236121.3496 | 2697044.4224 | 1236120.4306
33 | 2697081.1581 | 1236141.6368 | 2697093.7917 | 1236154.1601
34 | 2697081.1581 | 1236141.6368 | 2697091.2777 | 1236118.0069 | 2697097.1115 | 1236101.8469
35 | 2697093.7917 | 1236154.1601 | 2697100.8261 | 1236161.1332
36 | 2697111.4538 | 1236062.1174 | 2697097.1115 | 1236101.8469
37 | 2697070.4631 | 1236222.2219 | 2697066.7463 | 1236215.8807
38 | 2697069.3883 | 1236065.0785 | 2697070.1343 | 1236065.5674
39 | 2697044.4224 | 1236120.4306 | 2697044.9604 | 1236114.1585 | 2697049.0548 | 1236090.0964 | 2697050.4986 | 1236086.3099
40 | 2697117.8207 | 1236183.7006 | 2697122.6236 | 1236190.8288 | 2697127.4789 | 1236199.3486
41 | 2697165.1536 | 1236197.8244 | 2697180.8819 | 1236188.555
42 | 2697166.7165 | 1236118.2848 | 2697179.6647 | 1236110.6647
43 | 2697166.7165 | 1236118.2848 | 2697181.4462 | 1236145.0234
44 | 2697111.4538 | 1236062.1174 | 2697077.4268 | 1236068.0435 | 2697073.84 | 1236067.996 | 2697070.1343 | 1236065.5674
45 | 2697111.4538 | 1236062.1174 | 2697114.1208 | 1236054.776
46 | 2697114.1208 | 1236054.776 | 2697121.186 | 1236035.3273
47 | 2697121.186 | 1236035.3273 | 2697130.8565 | 1236008.7073
48 | 2697106.2273 | 1236166.4872 | 2697100.8261 | 1236161.1332
49 | 2697117.8207 | 1236183.7006 | 2697132.323 | 1236173.5754
50 | 2697147.8489 | 1236163.5654 | 2697139.7626 | 1236168.3812 | 2697132.323 | 1236173.5754
51 | 2697106.2273 | 1236166.4872 | 2697117.8207 | 1236183.7006
52 | 2697147.8489 | 1236163.5654 | 2697159.1472 | 1236156.8448
53 | 2697181.4462 | 1236145.0234 | 2697174.0258 | 1236149.383 | 2697172.7871 | 1236150.1522 | 2697169.1344 | 1236150.9041 | 2697159.1472 | 1236156.8448
54 | 2697181.4462 | 1236145.0234 | 2697204.8677 | 1236131.4404

## bus_geodata
| x | y | coords
0 | 2696989.411 | 1236174.1514
1 | 2696999.504 | 1236184.0902
2 | 2697020.1149 | 1236167.3954
3 | 2696916.0907 | 1236112.298
4 | 2697028.3135 | 1236160.2318
5 | 2696945.935 | 1236138.6266
6 | 2697066.7495 | 1236053.1025
7 | 2697062.4427 | 1236060.5265
8 | 2697078.1457 | 1236030.0279
9 | 2697092.5148 | 1236246.9116
10 | 2697120.7165 | 1236229.2737
11 | 2697080.6238 | 1236243.7372
12 | 2697098.9348 | 1236250.1821
13 | 2697128.8493 | 1236219.2405
14 | 2697130.5513 | 1236223.4604
15 | 2697111.0639 | 1236211.2456
16 | 2697134.3596 | 1236215.9726
17 | 2697066.6844 | 1236248.2683
18 | 2697062.4803 | 1236241.5502
19 | 2697075.5136 | 1236231.7051
20 | 2697146.8181 | 1236265.8689
21 | 2697139.2462 | 1236244.5006
22 | 2697193.4133 | 1236263.2958
23 | 2697206.5782 | 1236173.4111
24 | 2697199.9529 | 1236177.3157
25 | 2697217.2927 | 1236167.284
26 | 2697266.5774 | 1236212.4486
27 | 2696987.7394 | 1236118.494
28 | 2697044.3435 | 1236121.3496
29 | 2697081.1581 | 1236141.6369
30 | 2697093.7917 | 1236154.1601
31 | 2697097.1115 | 1236101.8469
32 | 2697066.7463 | 1236215.8807
33 | 2697070.4631 | 1236222.2219
34 | 2697069.3883 | 1236065.0785
35 | 2697050.4986 | 1236086.3099
36 | 2697127.4789 | 1236199.3486
37 | 2697165.1536 | 1236197.8244
38 | 2697179.6647 | 1236110.6647
39 | 2697166.7165 | 1236118.2848
40 | 2697180.8819 | 1236188.555
41 | 2697044.4224 | 1236120.4306
42 | 2696972.1561 | 1236103.1838
43 | 2697070.1343 | 1236065.5674
44 | 2697111.4538 | 1236062.1174
45 | 2697114.1208 | 1236054.776
46 | 2697121.186 | 1236035.3273
47 | 2697130.8565 | 1236008.7073
48 | 2697100.8261 | 1236161.1332
49 | 2697132.323 | 1236173.5754
50 | 2697117.8207 | 1236183.7006
51 | 2697147.8489 | 1236163.5654
52 | 2697106.2273 | 1236166.4872
53 | 2697159.1472 | 1236156.8448
54 | 2697181.4462 | 1236145.0234
55 | 2697204.8677 | 1236131.4404
56 | 2696999.504 | 1236184.0902

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99642 | -0.06805 | 0.062205 | 0.01559
1 | 0.99725 | -0.052031 | 0 | 0
2 | 0.99918 | -0.015465 | 0.0046987 | 0.0011776
3 | 0.98012 | -0.3808 | 0 | 0
4 | 1 | 0 | -0.37721 | -0.096231
5 | 0.97653 | -0.45113 | 0.095394 | 0.023908
6 | 0.99198 | -0.15206 | 0 | 0
7 | 0.99203 | -0.15116 | 0 | 0
8 | 0.99184 | -0.15476 | 0.005933 | 0.0014869
9 | 0.97222 | -0.53545 | 0 | 0
10 | 0.97285 | -0.52297 | 0.0020163 | 0.00050534
11 | 0.97195 | -0.54085 | 0 | 0
12 | 0.97219 | -0.53601 | 0.0042553 | 0.0010665
13 | 0.97323 | -0.51565 | 0 | 0
14 | 0.97309 | -0.51827 | 0 | 0
15 | 0.97296 | -0.52097 | 0.009296 | 0.0023298
16 | 0.97347 | -0.51088 | 0 | 0
17 | 0.97193 | -0.54123 | 0 | 0
18 | 0.97192 | -0.54143 | 0.0013887 | 0.00034803
19 | 0.97177 | -0.54445 | 0.0051123 | 0.0012813
20 | 0.97278 | -0.52436 | 0 | 0
21 | 0.9729 | -0.52202 | 0.0033944 | 0.00085072
22 | 0.97239 | -0.53208 | 0 | 0
23 | 0.97294 | -0.52121 | 0 | 0
24 | 0.97295 | -0.52104 | 0.0029685 | 0.00074397
25 | 0.97293 | -0.52149 | 0.0012305 | 0.0003084
26 | 0.97193 | -0.54125 | 0.0055413 | 0.0013888
27 | 0.99875 | -0.024076 | 0 | 0
28 | 0.99636 | -0.068889 | 0.0096316 | 0.0024139
29 | 0.98005 | -0.38177 | 0 | 0
30 | 0.97833 | -0.41544 | 0.0074081 | 0.0018566
31 | 0.98421 | -0.30107 | 0.016155 | 0.0040488
32 | 0.97161 | -0.54766 | 0.009577 | 0.0024002
33 | 0.97167 | -0.54636 | 0 | 0
34 | 0.99152 | -0.16072 | 0.0012264 | 0.00030737
35 | 0.99382 | -0.11694 | 0.016495 | 0.004134
36 | 0.97431 | -0.49424 | 0.0030179 | 0.00075635
37 | 0.97315 | -0.51708 | 0.0027637 | 0.00069265
38 | 0.97303 | -0.51951 | 0.0087944 | 0.0022041
39 | 0.97315 | -0.51708 | 0 | 0
40 | 0.97304 | -0.51933 | 0.0024772 | 0.00062083
41 | 0.99628 | -0.070302 | 0.021985 | 0.0055101
42 | 0.99826 | -0.033419 | 0.023718 | 0.0059443
43 | 0.99147 | -0.16174 | 0.0010145 | 0.00025425
44 | 0.98894 | -0.21008 | 0 | 0
45 | 0.98889 | -0.21112 | 0.0010544 | 0.00026427
46 | 0.98877 | -0.2135 | 0.0013851 | 0.00034714
47 | 0.98863 | -0.21606 | 0.005059 | 0.0012679
48 | 0.97743 | -0.43291 | 0.012927 | 0.0032398
49 | 0.97471 | -0.4863 | 0.0038129 | 0.00095561
50 | 0.97522 | -0.47633 | 0 | 0
51 | 0.97425 | -0.49544 | 0 | 0
52 | 0.97684 | -0.44454 | 0 | 0
53 | 0.97392 | -0.50194 | 0.0051089 | 0.0012804
54 | 0.9734 | -0.51214 | 0 | 0
55 | 0.97308 | -0.51863 | 0.013025 | 0.0032643
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.062205 | -0.01559 | 0.062253 | 0.01562 | 4.7511e-05 | 3.0216e-05 | 0.092895 | 0.092894 | 0.092895 | 0.99642 | -0.06805 | 0.99725 | -0.052031 | 25.5205
1 | -0.1595 | -0.040703 | 0.15978 | 0.040883 | 0.00028229 | 0.00017997 | 0.23825 | 0.23825 | 0.23825 | 0.99725 | -0.052031 | 0.99918 | -0.015465 | 32.7264
2 | 0.097246 | 0.025083 | -0.095715 | -0.024113 | 0.0015311 | 0.00097001 | 0.14536 | 0.14536 | 0.14536 | 0.99725 | -0.052031 | 0.98012 | -0.3808 | 19.9669
3 | -0.16448 | -0.042061 | 0.1646 | 0.042139 | 0.00012318 | 7.8552e-05 | 0.24525 | 0.24525 | 0.24525 | 0.99918 | -0.015465 | 1 | 0 | 33.6876
4 | 0.095715 | 0.024113 | -0.095394 | -0.023908 | 0.00032078 | 0.00020479 | 0.14536 | 0.14536 | 0.14536 | 0.98012 | -0.3808 | 0.97653 | -0.45113 | 39.9338
5 | 0.023756 | 0.0059674 | -0.023728 | -0.0059507 | 2.7262e-05 | 1.6686e-05 | 0.035354 | 0.035354 | 0.035354 | 1 | 0 | 0.99875 | -0.024076 | 9.7126
6 | 0.1872 | 0.048124 | -0.18657 | -0.047726 | 0.00062435 | 0.00039847 | 0.27898 | 0.27898 | 0.27898 | 1 | 0 | 0.99636 | -0.068889 | 38.3216
7 | -0.0059337 | -0.0014871 | 0.005934 | 0.0014872 | 2.5485e-07 | 5.2358e-08 | 0.0089009 | 0.0089008 | 0.0089009 | 0.99198 | -0.15206 | 0.99203 | -0.15116 | 2.4453
8 | 0.0059337 | 0.0014871 | -0.005933 | -0.0014869 | 7.6513e-07 | 1.5726e-07 | 0.0089009 | 0.008901 | 0.008901 | 0.99198 | -0.15206 | 0.99184 | -0.15476 | 2.4453
9 | 0.13194 | 0.033804 | -0.13187 | -0.033765 | 6.1145e-05 | 3.8918e-05 | 0.19816 | 0.19816 | 0.19816 | 0.99203 | -0.15116 | 0.99152 | -0.16072 | 27.2204
10 | -0.13787 | -0.035291 | 0.1381 | 0.035437 | 0.00022883 | 0.00014572 | 0.20706 | 0.20706 | 0.20706 | 0.99203 | -0.15116 | 0.99382 | -0.11694 | 28.443
11 | -0.020342 | -0.0051003 | 0.020354 | 0.0051077 | 1.2102e-05 | 7.3323e-06 | 0.031134 | 0.031134 | 0.031134 | 0.97222 | -0.53545 | 0.97285 | -0.52297 | 8.5534
12 | 0.016086 | 0.0040339 | -0.016082 | -0.0040314 | 4.143e-06 | 2.4256e-06 | 0.024621 | 0.024621 | 0.024621 | 0.97222 | -0.53545 | 0.97195 | -0.54085 | 6.7641
13 | 0.0042555 | 0.0010665 | -0.0042553 | -0.0010665 | 1.1461e-07 | -1.599e-08 | 0.0065131 | 0.0065131 | 0.0065131 | 0.97222 | -0.53545 | 0.97219 | -0.53601 | 1.7893
14 | -0.02237 | -0.005613 | 0.022375 | 0.0056161 | 5.0162e-06 | 3.0685e-06 | 0.034218 | 0.034218 | 0.034218 | 0.97285 | -0.52297 | 0.97309 | -0.51827 | 9.4006
15 | 0.014693 | 0.0036837 | -0.014691 | -0.0036822 | 2.5208e-06 | 1.4487e-06 | 0.022495 | 0.022495 | 0.022495 | 0.97195 | -0.54085 | 0.97177 | -0.54445 | 6.18
16 | 0.0013887 | 0.00034778 | -0.0013887 | -0.00034794 | 2.4778e-08 | -1.6532e-07 | 0.0021259 | 0.002126 | 0.002126 | 0.97195 | -0.54085 | 0.97193 | -0.54123 | 0.58407
17 | 0.031321 | 0.0078597 | -0.031317 | -0.0078572 | 3.9127e-06 | 2.4476e-06 | 0.047892 | 0.047892 | 0.047892 | 0.97323 | -0.51565 | 0.97309 | -0.51827 | 13.1572
18 | 0.0092984 | 0.0023309 | -0.009296 | -0.0023298 | 2.3552e-06 | 1.1213e-06 | 0.014217 | 0.014217 | 0.014217 | 0.97323 | -0.51565 | 0.97296 | -0.52097 | 3.9058
19 | -0.04062 | -0.010191 | 0.040629 | 0.010196 | 9.248e-06 | 5.8393e-06 | 0.062109 | 0.062109 | 0.062109 | 0.97323 | -0.51565 | 0.97347 | -0.51088 | 17.063
20 | 0.0089424 | 0.0022411 | -0.0089408 | -0.0022404 | 1.5964e-06 | 7.3894e-07 | 0.013674 | 0.013674 | 0.013674 | 0.97309 | -0.51827 | 0.9729 | -0.52202 | 3.7567
21 | -0.050073 | -0.012564 | 0.050112 | 0.012589 | 3.9747e-05 | 2.5213e-05 | 0.076545 | 0.076545 | 0.076545 | 0.97347 | -0.51088 | 0.97431 | -0.49424 | 21.0288
22 | 0.0094437 | 0.0023671 | -0.0094409 | -0.0023658 | 2.7932e-06 | 1.3434e-06 | 0.014436 | 0.014436 | 0.014436 | 0.97347 | -0.51088 | 0.97315 | -0.51708 | 3.9659
23 | 0.0013887 | 0.00034794 | -0.0013887 | -0.00034803 | 1.3433e-08 | -8.9619e-08 | 0.002126 | 0.002126 | 0.002126 | 0.97193 | -0.54123 | 0.97192 | -0.54143 | 0.58408
24 | 0.0095785 | 0.0024009 | -0.0095776 | -0.0024005 | 8.6879e-07 | 4.2262e-07 | 0.014667 | 0.014667 | 0.014667 | 0.97177 | -0.54445 | 0.97167 | -0.54636 | 4.0295
25 | -0.0055457 | -0.0013896 | 0.0055463 | 0.0013897 | 6.1985e-07 | 1.1149e-07 | 0.0084829 | 0.0084828 | 0.0084829 | 0.97278 | -0.52436 | 0.9729 | -0.52202 | 2.3305
26 | 0.0055457 | 0.0013896 | -0.0055437 | -0.0013892 | 2.0377e-06 | 3.6705e-07 | 0.0084829 | 0.0084832 | 0.0084832 | 0.97278 | -0.52436 | 0.97239 | -0.53208 | 2.3306
27 | 0.0055437 | 0.0013892 | -0.0055413 | -0.0013888 | 2.4201e-06 | 4.3701e-07 | 0.0084832 | 0.0084836 | 0.0084836 | 0.97239 | -0.53208 | 0.97193 | -0.54125 | 2.3307
28 | -0.0012305 | -0.00030826 | 0.0012305 | 0.00030817 | 1.0213e-08 | -8.8969e-08 | 0.0018819 | 0.0018819 | 0.0018819 | 0.97294 | -0.52121 | 0.97295 | -0.52104 | 0.51701
29 | 0.0012305 | 0.00030826 | -0.0012305 | -0.0003084 | 1.6394e-08 | -1.428e-07 | 0.0018819 | 0.001882 | 0.001882 | 0.97294 | -0.52121 | 0.97293 | -0.52149 | 0.51703
30 | -0.004199 | -0.0010521 | 0.0041994 | 0.0010521 | 3.4233e-07 | -5.5849e-08 | 0.0064218 | 0.0064217 | 0.0064218 | 0.97295 | -0.52104 | 0.97304 | -0.51933 | 1.7642
31 | 0.023728 | 0.0059507 | -0.023718 | -0.0059443 | 1.0561e-05 | 6.4645e-06 | 0.035354 | 0.035354 | 0.035354 | 0.99875 | -0.024076 | 0.99826 | -0.033419 | 9.7127
32 | 0.17694 | 0.045312 | -0.17693 | -0.045304 | 1.2109e-05 | 7.7256e-06 | 0.2646 | 0.2646 | 0.2646 | 0.99636 | -0.068889 | 0.99628 | -0.070302 | 36.3457
33 | 0.10473 | 0.026478 | -0.10456 | -0.02637 | 0.00016884 | 0.00010783 | 0.15909 | 0.15909 | 0.15909 | 0.98005 | -0.38177 | 0.97833 | -0.41544 | 43.7067
34 | -0.10473 | -0.026478 | 0.10514 | 0.026738 | 0.00040705 | 0.00025997 | 0.15909 | 0.15909 | 0.15909 | 0.98005 | -0.38177 | 0.98421 | -0.30107 | 43.7067
35 | 0.097152 | 0.024513 | -0.09707 | -0.024461 | 8.1166e-05 | 5.1822e-05 | 0.14782 | 0.14783 | 0.14783 | 0.97833 | -0.41544 | 0.97743 | -0.43291 | 40.6113
36 | -0.12129 | -0.030786 | 0.12182 | 0.031127 | 0.00053345 | 0.00034087 | 0.18352 | 0.18352 | 0.18352 | 0.98421 | -0.30107 | 0.98894 | -0.21008 | 50.4167
37 | -0.009577 | -0.0024002 | 0.0095776 | 0.0024005 | 5.9296e-07 | 2.8846e-07 | 0.014667 | 0.014667 | 0.014667 | 0.97161 | -0.54766 | 0.97167 | -0.54636 | 4.0295
38 | 0.13065 | 0.033458 | -0.13064 | -0.033454 | 6.4459e-06 | 4.1023e-06 | 0.19632 | 0.19632 | 0.19632 | 0.99152 | -0.16072 | 0.99147 | -0.16174 | 26.9675
39 | -0.15459 | -0.039571 | 0.15494 | 0.039794 | 0.00035003 | 0.00022312 | 0.23176 | 0.23176 | 0.23176 | 0.99382 | -0.11694 | 0.99628 | -0.070302 | 31.8353
40 | -0.05313 | -0.013345 | 0.053176 | 0.013374 | 4.5447e-05 | 2.8856e-05 | 0.081154 | 0.081154 | 0.081154 | 0.97431 | -0.49424 | 0.97522 | -0.47633 | 22.295
41 | 0.0066772 | 0.0016731 | -0.0066765 | -0.0016729 | 7.1365e-07 | 2.2994e-07 | 0.01021 | 0.01021 | 0.01021 | 0.97315 | -0.51708 | 0.97304 | -0.51933 | 2.8049
42 | -0.0087944 | -0.0022041 | 0.0087954 | 0.0022045 | 1.019e-06 | 4.6554e-07 | 0.013449 | 0.013449 | 0.013449 | 0.97303 | -0.51951 | 0.97315 | -0.51708 | 3.6947
43 | -0.0087954 | -0.0022045 | 0.0087975 | 0.0022055 | 2.0692e-06 | 9.4516e-07 | 0.013449 | 0.013449 | 0.013449 | 0.97315 | -0.51708 | 0.9734 | -0.51214 | 3.6947
44 | 0.12963 | 0.0332 | -0.12932 | -0.033007 | 0.0003028 | 0.0001927 | 0.1948 | 0.1948 | 0.1948 | 0.99147 | -0.16174 | 0.98894 | -0.21008 | 26.7585
45 | 0.0075003 | 0.0018797 | -0.0074999 | -0.0018795 | 3.7304e-07 | 1.3853e-07 | 0.011285 | 0.011285 | 0.011285 | 0.98894 | -0.21008 | 0.98889 | -0.21112 | 3.1004
46 | 0.0064454 | 0.0016153 | -0.0064447 | -0.0016151 | 7.299e-07 | 2.017e-07 | 0.0096987 | 0.0096987 | 0.0096987 | 0.98889 | -0.21112 | 0.98877 | -0.2135 | 2.6645
47 | 0.0050596 | 0.0012679 | -0.005059 | -0.0012679 | 6.1577e-07 | 3.088e-08 | 0.0076143 | 0.0076144 | 0.0076144 | 0.98877 | -0.2135 | 0.98863 | -0.21606 | 2.0919
48 | 0.084144 | 0.021221 | -0.084097 | -0.021192 | 4.6832e-05 | 2.9877e-05 | 0.12815 | 0.12815 | 0.12815 | 0.97743 | -0.43291 | 0.97684 | -0.44454 | 35.2049
49 | -0.030779 | -0.007727 | 0.030793 | 0.0077361 | 1.4647e-05 | 9.1533e-06 | 0.046992 | 0.046992 | 0.046992 | 0.97471 | -0.4863 | 0.97522 | -0.47633 | 12.9099
50 | 0.026966 | 0.0067714 | -0.026954 | -0.0067641 | 1.175e-05 | 7.2898e-06 | 0.041171 | 0.041171 | 0.041171 | 0.97471 | -0.4863 | 0.97425 | -0.49544 | 11.3108
51 | -0.083969 | -0.02111 | 0.084097 | 0.021192 | 0.00012769 | 8.1464e-05 | 0.12815 | 0.12815 | 0.12815 | 0.97522 | -0.47633 | 0.97684 | -0.44454 | 35.2049
52 | 0.026954 | 0.0067641 | -0.026946 | -0.0067589 | 8.3563e-06 | 5.1844e-06 | 0.041171 | 0.041171 | 0.041171 | 0.97425 | -0.49544 | 0.97392 | -0.50194 | 11.3108
53 | 0.021837 | 0.0054785 | -0.021826 | -0.005472 | 1.061e-05 | 6.4743e-06 | 0.033366 | 0.033366 | 0.033366 | 0.97392 | -0.50194 | 0.9734 | -0.51214 | 9.1664
54 | 0.013029 | 0.0032666 | -0.013025 | -0.0032643 | 4.0277e-06 | 2.2413e-06 | 0.019917 | 0.019917 | 0.019917 | 0.9734 | -0.51214 | 0.97308 | -0.51863 | 5.4718

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.37721 | 0.096231

## res_load
| p_mw | q_mvar
0 | 0.062205 | 0.01559
1 | 0.0046987 | 0.0011776
2 | 0.095394 | 0.023908
3 | 0.005933 | 0.0014869
4 | 0.0020163 | 0.00050534
5 | 0.0042553 | 0.0010665
6 | 0.009296 | 0.0023298
7 | 0.0013887 | 0.00034803
8 | 0.0051123 | 0.0012813
9 | 0.0033944 | 0.00085072
10 | 0.0029685 | 0.00074397
11 | 0.0012305 | 0.0003084
12 | 0.0055413 | 0.0013888
13 | 0.0096316 | 0.0024139
14 | 0.0074081 | 0.0018566
15 | 0.016155 | 0.0040488
16 | 0.009577 | 0.0024002
17 | 0.0012264 | 0.00030737
18 | 0.016495 | 0.004134
19 | 0.0030179 | 0.00075635
20 | 0.0027637 | 0.00069265
21 | 0.0087944 | 0.0022041
22 | 0.0024772 | 0.00062083
23 | 0.021985 | 0.0055101
24 | 0.023718 | 0.0059443
25 | 0.0010145 | 0.00025425
26 | 0.0010544 | 0.00026427
27 | 0.0013851 | 0.00034714
28 | 0.005059 | 0.0012679
29 | 0.012927 | 0.0032398
30 | 0.0038129 | 0.00095561
31 | 0.0051089 | 0.0012804
32 | 0.013025 | 0.0032643

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1