## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1704-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1704-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1704-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1704-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1704-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1704-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1704-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1704-3_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1704-3_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1704-3_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1704-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1704-3_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1704-3_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1704-3_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1704-3_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1704-3_0_4_node_246 | 0.4 | n |  | TRUE
16 | bus_LV_1704-3_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1704-3_0_4_node_122 | 0.4 | n |  | TRUE
18 | bus_LV_1704-3_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1704-3_0_4_node_120 | 0.4 | n |  | TRUE
20 | bus_LV_1704-3_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1704-3_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1704-3_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1704-3_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1704-3_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1704-3_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1704-3_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1704-3_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1704-3_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1704-3_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1704-3_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1704-3_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1704-3_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1704-3_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1704-3_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1704-3_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1704-3_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1704-3_0_4_node_213 | 0.4 | n |  | TRUE
38 | bus_LV_1704-3_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1704-3_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1704-3_0_4_node_249 | 0.4 | n |  | TRUE
41 | bus_LV_1704-3_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1704-3_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1704-3_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1704-3_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1704-3_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1704-3_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1704-3_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1704-3_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1704-3_0_4_node_212 | 0.4 | n |  | TRUE
50 | bus_LV_1704-3_0_4_node_211 | 0.4 | n |  | TRUE
51 | bus_LV_1704-3_0_4_node_230 | 0.4 | n |  | TRUE
52 | bus_LV_1704-3_0_4_node_227 | 0.4 | n |  | TRUE
53 | bus_LV_1704-3_0_4_node_200 | 0.4 | n |  | TRUE
54 | bus_LV_1704-3_0_4_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_1704-3_0_4_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_1704-3_0_4_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_1704-3_0_4_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_1704-3_0_4_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_1704-3_0_4_node_116 | 0.4 | n |  | TRUE
60 | bus_LV_1704-3_0_4_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_1704-3_0_4_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_1704-3_0_4_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_1704-3_0_4_node_125 | 0.4 | n |  | TRUE
64 | bus_LV_1704-3_0_4_node_129 | 0.4 | n |  | TRUE
65 | bus_LV_1704-3_0_4_node_126 | 0.4 | n |  | TRUE
66 | bus_LV_1704-3_0_4_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_1704-3_0_4_node_128 | 0.4 | n |  | TRUE
68 | bus_LV_1704-3_0_4_node_201 | 0.4 | n |  | TRUE
69 | bus_LV_1704-3_0_4_node_216 | 0.4 | n |  | TRUE
70 | bus_LV_1704-3_0_4_node_214 | 0.4 | n |  | TRUE
71 | bus_LV_1704-3_0_4_node_217 | 0.4 | n |  | TRUE
72 | bus_LV_1704-3_0_4_node_218 | 0.4 | n |  | TRUE
73 | bus_LV_1704-3_0_4_node_219 | 0.4 | n |  | TRUE
74 | bus_LV_1704-3_0_4_node_220 | 0.4 | n |  | TRUE
75 | bus_LV_1704-3_0_4_node_221 | 0.4 | n |  | TRUE
76 | bus_LV_1704-3_0_4_node_222 | 0.4 | n |  | TRUE
77 | bus_LV_1704-3_0_4_node_223 | 0.4 | n |  | TRUE
78 | bus_LV_1704-3_0_4_node_226 | 0.4 | n |  | TRUE
79 | bus_LV_1704-3_0_4_node_228 | 0.4 | n |  | TRUE
80 | bus_LV_1704-3_0_4_node_229 | 0.4 | n |  | TRUE
81 | bus_LV_1704-3_0_4_node_231 | 0.4 | n |  | TRUE
82 | bus_LV_1704-3_0_4_node_232 | 0.4 | n |  | TRUE
83 | bus_MV_222_1_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1704-3_0_4_load_0 | 0 | 0.0006284 | 0.00015749 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1704-3_0_4_load_1 | 1 | 0.00052747 | 0.0001322 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1704-3_0_4_load_3 | 3 | 0.00086215 | 0.00021608 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1704-3_0_4_load_4 | 4 | 0.00054058 | 0.00013548 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1704-3_0_4_load_5 | 5 | 0.00031459 | 7.8844e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1704-3_0_4_load_6 | 6 | 0.00065127 | 0.00016322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1704-3_0_4_load_13 | 8 | 0.00032952 | 8.2586e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1704-3_0_4_load_11 | 9 | 0.00026228 | 6.5734e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1704-3_0_4_load_7 | 10 | 0.0015324 | 0.00038407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1704-3_0_4_load_10 | 11 | 0.00075054 | 0.0001881 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1704-3_0_4_load_12 | 13 | 0.00051212 | 0.00012835 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1704-3_0_4_load_15 | 14 | 0.0010606 | 0.0002658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1704-3_0_4_load_246 | 15 | 0.0002078 | 5.208e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1704-3_0_4_load_122 | 17 | 0.0011068 | 0.00027739 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1704-3_0_4_load_120 | 19 | 0.00065869 | 0.00016508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1704-3_0_4_load_20 | 20 | 0.0061613 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1704-3_0_4_load_21 | 21 | 0.0090145 | 0.0022592 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1704-3_0_4_load_25 | 25 | 0.0033488 | 0.0008393 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1704-3_0_4_load_31 | 28 | 0.006422 | 0.0016095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1704-3_0_4_load_39 | 29 | 0.027956 | 0.0070065 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1704-3_0_4_load_26 | 30 | 0.00065222 | 0.00016346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1704-3_0_4_load_27 | 31 | 0.0011361 | 0.00028473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1704-3_0_4_load_213 | 37 | 0.00056389 | 0.00014132 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1704-3_0_4_load_42 | 38 | 0.0011127 | 0.00027886 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1704-3_0_4_load_32 | 39 | 0.012959 | 0.0032479 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1704-3_0_4_load_249 | 40 | 0.0034054 | 0.00085347 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1704-3_0_4_load_34 | 41 | 0.0027524 | 0.00068981 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1704-3_0_4_load_35 | 42 | 0.0021288 | 0.00053354 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1704-3_0_4_load_36 | 43 | 0.0010671 | 0.00026743 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1704-3_0_4_load_37 | 44 | 0.0027487 | 0.0006889 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1704-3_0_4_load_44 | 46 | 0.0011815 | 0.0002961 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1704-3_0_4_load_40 | 47 | 0.0010046 | 0.00025178 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1704-3_0_4_load_41 | 48 | 0.00096044 | 0.00024071 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1704-3_0_4_load_212 | 49 | 0.011689 | 0.0029295 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1704-3_0_4_load_211 | 50 | 0.006328 | 0.001586 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1704-3_0_4_load_230 | 51 | 0.0007848 | 0.00019669 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1704-3_0_4_load_227 | 52 | 0.00068531 | 0.00017176 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1704-3_0_4_load_200 | 53 | 0.0027873 | 0.00069855 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1704-3_0_4_load_112 | 54 | 0.002786 | 0.00069823 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1704-3_0_4_load_113 | 55 | 0.00030053 | 7.5319e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1704-3_0_4_load_119 | 57 | 0.00020396 | 5.1118e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1704-3_0_4_load_115 | 58 | 0.0007496 | 0.00018787 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1704-3_0_4_load_123 | 61 | 0.00038582 | 9.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1704-3_0_4_load_129 | 64 | 0.00086319 | 0.00021634 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1704-3_0_4_load_126 | 65 | 0.001554 | 0.00038947 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1704-3_0_4_load_127 | 66 | 0.00021399 | 5.363e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1704-3_0_4_load_128 | 67 | 0.0031315 | 0.00078482 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1704-3_0_4_load_201 | 68 | 0.00074379 | 0.00018641 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1704-3_0_4_load_216 | 69 | 0.04147 | 0.010393 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1704-3_0_4_load_214 | 70 | 0.06688 | 0.016762 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1704-3_0_4_load_217 | 71 | 0.0034543 | 0.00086573 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1704-3_0_4_load_218 | 72 | 0.00085634 | 0.00021462 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1704-3_0_4_load_221 | 75 | 0.00028248 | 7.0795e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1704-3_0_4_load_223 | 77 | 0.0065933 | 0.0016524 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1704-3_0_4_load_226 | 78 | 0.0018499 | 0.00046364 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1704-3_0_4_load_228 | 79 | 0.0026655 | 0.00066803 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1704-3_0_4_load_229 | 80 | 0.001093 | 0.00027394 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1704-3_0_4_load_231 | 81 | 0.00023672 | 5.9327e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1704-3_0_4_load_232 | 82 | 0.00018067 | 4.5281e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1704-3_0_4_line_0 |  | 0 | 1 | 0.030988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1704-3_0_4_line_1 |  | 0 | 2 | 0.024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1704-3_0_4_line_2 |  | 1 | 3 | 0.0018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1704-3_0_4_line_3 |  | 2 | 4 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1704-3_0_4_line_4 |  | 2 | 5 | 0.029632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1704-3_0_4_line_5 |  | 2 | 6 | 0.026314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1704-3_0_4_line_6 |  | 3 | 7 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1704-3_0_4_line_7 |  | 4 | 8 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1704-3_0_4_line_8 |  | 6 | 9 | 0.0062727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1704-3_0_4_line_9 |  | 7 | 11 | 0.028153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1704-3_0_4_line_10 |  | 7 | 10 | 0.017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1704-3_0_4_line_11 |  | 8 | 16 | 0.073548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1704-3_0_4_line_12 |  | 9 | 12 | 0.039694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1704-3_0_4_line_13 |  | 11 | 14 | 0.088143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1704-3_0_4_line_14 |  | 12 | 13 | 0.24688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1704-3_0_4_line_15 |  | 13 | 15 | 0.0084684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1704-3_0_4_line_16 |  | 14 | 18 | 0.25829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1704-3_0_4_line_17 |  | 15 | 46 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1704-3_0_4_line_18 |  | 16 | 17 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1704-3_0_4_line_19 |  | 17 | 61 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1704-3_0_4_line_20 |  | 18 | 19 | 0.14536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1704-3_0_4_line_21 |  | 19 | 60 | 0.0032906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1704-3_0_4_line_22 |  | 20 | 21 | 0.037889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_1704-3_0_4_line_23 |  | 20 | 22 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1704-3_0_4_line_24 |  | 21 | 23 | 0.063878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_1704-3_0_4_line_25 |  | 22 | 24 | 0.019257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_1704-3_0_4_line_26 |  | 22 | 25 | 0.016649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1704-3_0_4_line_27 |  | 23 | 26 | 0.58168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1704-3_0_4_line_28 |  | 24 | 27 | 0.26722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1704-3_0_4_line_29 |  | 24 | 28 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1704-3_0_4_line_30 |  | 25 | 29 | 0.021689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1704-3_0_4_line_31 |  | 26 | 45 | 0.27278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_1704-3_0_4_line_32 |  | 26 | 46 | 0.1599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1704-3_0_4_line_33 |  | 26 | 43 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1704-3_0_4_line_34 |  | 27 | 40 | 0.21893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1704-3_0_4_line_35 |  | 28 | 39 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1704-3_0_4_line_36 |  | 30 | 31 | 0.059227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1704-3_0_4_line_37 |  | 30 | 32 | 0.034321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1704-3_0_4_line_38 |  | 32 | 33 | 0.28843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1704-3_0_4_line_39 |  | 32 | 34 | 0.008146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1704-3_0_4_line_40 |  | 33 | 35 | 0.10091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1704-3_0_4_line_41 |  | 33 | 36 | 0.18669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1704-3_0_4_line_42 |  | 33 | 37 | 0.050865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1704-3_0_4_line_43 |  | 34 | 38 | 0.06488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1704-3_0_4_line_44 |  | 35 | 51 | 0.05385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1704-3_0_4_line_45 |  | 35 | 52 | 0.042378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1704-3_0_4_line_46 |  | 35 | 53 | 0.36647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1704-3_0_4_line_47 |  | 36 | 50 | 0.0030912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_1704-3_0_4_line_48 |  | 37 | 70 | 0.14428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1704-3_0_4_line_49 |  | 38 | 47 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1704-3_0_4_line_50 |  | 41 | 42 | 0.039385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1704-3_0_4_line_51 |  | 41 | 43 | 0.037694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1704-3_0_4_line_52 |  | 42 | 44 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1704-3_0_4_line_53 |  | 45 | 49 | 0.029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_1704-3_0_4_line_54 |  | 45 | 50 | 0.052024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_1704-3_0_4_line_55 |  | 47 | 48 | 0.0097811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1704-3_0_4_line_56 |  | 49 | 69 | 0.069108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_1704-3_0_4_line_57 |  | 51 | 75 | 0.0087826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1704-3_0_4_line_58 |  | 52 | 78 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1704-3_0_4_line_59 |  | 53 | 68 | 0.056146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1704-3_0_4_line_60 |  | 54 | 55 | 0.018001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1704-3_0_4_line_61 |  | 55 | 56 | 0.0073342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1704-3_0_4_line_62 |  | 56 | 57 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1704-3_0_4_line_63 |  | 56 | 58 | 0.015524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1704-3_0_4_line_64 |  | 58 | 59 | 0.050472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1704-3_0_4_line_65 |  | 59 | 60 | 0.037661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1704-3_0_4_line_66 |  | 61 | 62 | 0.27688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1704-3_0_4_line_67 |  | 62 | 63 | 0.087322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1704-3_0_4_line_68 |  | 63 | 64 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1704-3_0_4_line_69 |  | 64 | 66 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1704-3_0_4_line_70 |  | 65 | 66 | 0.00032438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1704-3_0_4_line_71 |  | 65 | 67 | 0.0034261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1704-3_0_4_line_72 |  | 71 | 72 | 0.082445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1704-3_0_4_line_73 |  | 71 | 73 | 0.071355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1704-3_0_4_line_74 |  | 72 | 74 | 0.0047333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1704-3_0_4_line_75 |  | 73 | 75 | 0.066143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1704-3_0_4_line_76 |  | 74 | 76 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1704-3_0_4_line_77 |  | 76 | 77 | 0.026299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1704-3_0_4_line_78 |  | 78 | 79 | 0.021541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1704-3_0_4_line_79 |  | 79 | 80 | 0.0033075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1704-3_0_4_line_80 |  | 80 | 81 | 0.028945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1704-3_0_4_line_81 |  | 81 | 82 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1704-3_0_4_trafo_216 | 0.63 MVA 20/0.4 kV | 83 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2686031.2389 | 1226851.2368 | 2686040.175 | 1226852.2044 | 2686055.914 | 1226848.3293 | 2686061.6784 | 1226848.877
1 | 2686006.7905 | 1226848.7083 | 2686022.3976 | 1226850.2794 | 2686031.2389 | 1226851.2368
2 | 2686063.5314 | 1226849.0531 | 2686061.6784 | 1226848.877
3 | 2686006.7905 | 1226848.7083 | 2686006.5602 | 1226864.6271
4 | 2686006.7905 | 1226848.7083 | 2685978.9254 | 1226843.0239 | 2685977.7876 | 1226842.6634
5 | 2686006.7905 | 1226848.7083 | 2686020.17 | 1226826.0501
6 | 2686079.8462 | 1226856.5478 | 2686067.5105 | 1226849.4311 | 2686063.5314 | 1226849.0531
7 | 2686006.5602 | 1226864.6271 | 2686006.5263 | 1226866.9727 | 2686003.4628 | 1226877.0131 | 2686002.6923 | 1226880.134
8 | 2686020.17 | 1226826.0501 | 2686023.3595 | 1226820.6487
9 | 2686079.8462 | 1226856.5478 | 2686091.0245 | 1226878.1578 | 2686092.3145 | 1226881.7562
10 | 2686079.8462 | 1226856.5478 | 2686084.5302 | 1226849.2438 | 2686085.5093 | 1226840.7744
11 | 2685978.0838 | 1226948.9405 | 2685979.2171 | 1226940.8068 | 2685986.5078 | 1226921.4877 | 2685998.181 | 1226898.4071 | 2686002.6923 | 1226880.134
12 | 2686042.1004 | 1226785.6641 | 2686026.4571 | 1226815.4029 | 2686023.3595 | 1226820.6487
13 | 2686092.3145 | 1226881.7562 | 2686100.1316 | 1226903.5626 | 2686117.342 | 1226929.4518 | 2686134.7679 | 1226944.6367 | 2686144.6481 | 1226948.9393
14 | 2686042.1004 | 1226785.6641 | 2686054.5386 | 1226757.947 | 2686122.6088 | 1226705.5177 | 2686149.7909 | 1226690.8788 | 2686182.3082 | 1226675.2944 | 2686192.3005 | 1226665.2433 | 2686200.2405 | 1226644.5996 | 2686213.0862 | 1226620.4485
15 | 2686213.0862 | 1226620.4485 | 2686214.3841 | 1226618.0083 | 2686217.3183 | 1226613.1162
16 | 2686341.8979 | 1227096.8215 | 2686336.626 | 1227073.0842 | 2686324.4319 | 1227049.4798 | 2686275.8559 | 1227015.8854 | 2686263.262 | 1227004.1392 | 2686234.2375 | 1226986.4841 | 2686193.8511 | 1226970.3656 | 2686144.6481 | 1226948.9393
17 | 2686217.3183 | 1226613.1162 | 2686226.9916 | 1226596.9876 | 2686227.7273 | 1226595.4585
18 | 2685978.0838 | 1226948.9405 | 2685979.3796 | 1226960.585
19 | 2685979.3796 | 1226960.585 | 2685981.8206 | 1226982.5201
20 | 2686341.8979 | 1227096.8215 | 2686349.9621 | 1227122.9567 | 2686362.3566 | 1227132.7433 | 2686393.245 | 1227145.6784 | 2686460.6832 | 1227158.9459
21 | 2686463.9119 | 1227159.5811 | 2686460.6832 | 1227158.9459
22 | 2686819.5991 | 1226702.9367 | 2686849.4381 | 1226699.2875 | 2686855.2933 | 1226694.0921
23 | 2686864.3675 | 1226686.0406 | 2686855.2933 | 1226694.0921
24 | 2686765.4048 | 1226736.1539 | 2686788.1244 | 1226720.4298 | 2686816.6257 | 1226703.3003 | 2686819.5991 | 1226702.9367
25 | 2686881.0713 | 1226676.3778 | 2686864.3675 | 1226686.0406
26 | 2686864.3675 | 1226686.0406 | 2686854.9077 | 1226675.1172 | 2686854.4634 | 1226672.9641
27 | 2686281.9078 | 1226445.6678 | 2686291.4865 | 1226448.4864 | 2686301.0286 | 1226470.0175 | 2686318.3677 | 1226487.5922 | 2686341.9595 | 1226498.9756 | 2686367.9905 | 1226510.9838 | 2686390.1124 | 1226523.3468 | 2686414.2099 | 1226541.6427 | 2686437.6087 | 1226552.1897 | 2686476.5146 | 1226566.0201 | 2686505.8853 | 1226571.9622 | 2686544.6979 | 1226579.6762 | 2686577.4292 | 1226591.1603 | 2686624.1514 | 1226605.917 | 2686648.6923 | 1226620.7624 | 2686672.1136 | 1226645.843 | 2686698.2395 | 1226667.8944 | 2686723.2181 | 1226692.72 | 2686736.2077 | 1226711.6224 | 2686754.7529 | 1226731.0839 | 2686765.4048 | 1226736.1539
28 | 2686881.0713 | 1226676.3778 | 2686899.8009 | 1226681.1212 | 2686967.9418 | 1226714.1172 | 2686981.0392 | 1226713.1524 | 2687037.6984 | 1226695.7132 | 2687057.4698 | 1226696.5919 | 2687087.3443 | 1226701.1766 | 2687091.7749 | 1226704.5438 | 2687126.9877 | 1226731.2444
29 | 2686881.0713 | 1226676.3778 | 2686878.3818 | 1226666.0127
30 | 2686851.1579 | 1226651.6017 | 2686851.2761 | 1226657.5187 | 2686854.4634 | 1226672.9641
31 | 2686281.9078 | 1226445.6678 | 2686291.8755 | 1226418.0155 | 2686307.156 | 1226399.3353 | 2686327.9414 | 1226375.865 | 2686352.0439 | 1226363.5839 | 2686400.2946 | 1226347.9067 | 2686445.9999 | 1226335.2617 | 2686475.638 | 1226325.4967 | 2686506.2715 | 1226316.102
32 | 2686281.9078 | 1226445.6678 | 2686272.3575 | 1226489.4819 | 2686256.5727 | 1226524.1437 | 2686235.4015 | 1226579.5085 | 2686227.7273 | 1226595.4585
33 | 2686281.9078 | 1226445.6678 | 2686269.5528 | 1226448.7242 | 2686267.7373 | 1226449.4396
34 | 2687126.9877 | 1226731.2444 | 2687142.8942 | 1226755.3274 | 2687149.9003 | 1226776.9116 | 2687148.5712 | 1226797.7733 | 2687129.8256 | 1226828.3088 | 2687094.9641 | 1226863.056 | 2687072.173 | 1226905.8966 | 2687069.3413 | 1226918.6195
35 | 2686861.692 | 1226645.0176 | 2686877.0168 | 1226660.7522 | 2686878.3818 | 1226666.0127
36 | 2686268.704 | 1226210.2813 | 2686281.827 | 1226211.9164 | 2686294.6747 | 1226210.4683 | 2686322.2278 | 1226201.7953 | 2686326.3666 | 1226201.1582
37 | 2686359.6413 | 1226194.3217 | 2686356.4861 | 1226196.5219 | 2686326.3666 | 1226201.1582
38 | 2686359.6413 | 1226194.3217 | 2686377.4416 | 1226192.7123 | 2686466.47 | 1226189.0915 | 2686538.3296 | 1226198.9093 | 2686579.357 | 1226199.9401 | 2686600.6706 | 1226180.9259 | 2686627.8893 | 1226161.9423 | 2686634.7916 | 1226161.687
39 | 2686361.5378 | 1226186.3994 | 2686359.6413 | 1226194.3217
40 | 2686634.7916 | 1226161.687 | 2686648.5008 | 1226153.6699 | 2686654.3298 | 1226160.4817 | 2686727.0303 | 1226138.1141
41 | 2686634.7916 | 1226161.687 | 2686648.5008 | 1226153.6699 | 2686654.3298 | 1226160.4817 | 2686625.7231 | 1226204.4846 | 2686607.7027 | 1226220.1665 | 2686588.0465 | 1226232.6113 | 2686560.9901 | 1226256.6232 | 2686545.1639 | 1226277.2962
42 | 2686634.7916 | 1226161.687 | 2686608.4184 | 1226182.4731 | 2686596.6458 | 1226195.1293
43 | 2686361.5378 | 1226186.3994 | 2686351.7299 | 1226186.2903 | 2686325.7145 | 1226185.1121 | 2686296.8276 | 1226182.2446
44 | 2686727.0303 | 1226138.1141 | 2686734.165 | 1226157.7872 | 2686745.3881 | 1226188.7389
45 | 2686727.0303 | 1226138.1141 | 2686766.975 | 1226123.9599
46 | 2686727.0303 | 1226138.1141 | 2686615.5129 | 1225789.0288
47 | 2686545.1639 | 1226277.2962 | 2686543.2853 | 1226279.751
48 | 2686474.484 | 1226264.6156 | 2686501.2302 | 1226259.8232 | 2686534.3407 | 1226246.9401 | 2686574.5927 | 1226219.4509 | 2686590.4588 | 1226201.7806 | 2686596.6458 | 1226195.1293
49 | 2686284.9277 | 1226181.0164 | 2686286.7523 | 1226181.2444 | 2686296.8276 | 1226182.2446
50 | 2686230.6366 | 1226394.8048 | 2686234.7123 | 1226401.7201 | 2686237.8468 | 1226418.188 | 2686242.5538 | 1226432.0024
51 | 2686267.7373 | 1226449.4396 | 2686259.3747 | 1226452.735 | 2686252.0653 | 1226450.2495 | 2686246.7902 | 1226444.4357 | 2686242.5538 | 1226432.0024
52 | 2686230.6366 | 1226394.8048 | 2686225.5384 | 1226386.1546
53 | 2686506.2715 | 1226316.102 | 2686507.1117 | 1226334.9495 | 2686511.4972 | 1226344.9684
54 | 2686506.2715 | 1226316.102 | 2686519.2034 | 1226304.6821 | 2686536.4626 | 1226288.6664 | 2686543.2853 | 1226279.751
55 | 2686284.9277 | 1226181.0164 | 2686275.222 | 1226179.8037
56 | 2686528.3912 | 1226411.4895 | 2686520.9049 | 1226366.4607 | 2686511.4972 | 1226344.9684
57 | 2686746.1398 | 1226197.4892 | 2686746.1398 | 1226197.4892 | 2686745.3881 | 1226188.7389
58 | 2686784.7149 | 1226117.6739 | 2686766.975 | 1226123.9599
59 | 2686615.5129 | 1225789.0288 | 2686595.5041 | 1225770.3673 | 2686577.675 | 1225766.0494 | 2686571.3585 | 1225757.7363
60 | 2686500.0071 | 1227252.9068 | 2686497.6759 | 1227257.7398 | 2686485.5583 | 1227261.3197
61 | 2686503.1934 | 1227246.301 | 2686500.0071 | 1227252.9068
62 | 2686503.1934 | 1227246.301 | 2686508.347 | 1227246.8541 | 2686522.3625 | 1227242.6104 | 2686524.3281 | 1227241.4383
63 | 2686503.1934 | 1227246.301 | 2686501.0708 | 1227230.9224
64 | 2686494.1698 | 1227180.9245 | 2686501.0708 | 1227230.9224
65 | 2686494.1698 | 1227180.9245 | 2686484.269 | 1227169.595 | 2686463.9119 | 1227159.5811
66 | 2686013.8974 | 1227253.4687 | 2685992.4213 | 1227203.924 | 2685984.634 | 1227171.1221 | 2685984.7591 | 1227157.2254 | 2685987.7699 | 1227132.474 | 2685987.7545 | 1227112.5711 | 2685984.4959 | 1227075.832 | 2685985.7848 | 1227018.1441 | 2685981.8206 | 1226982.5201
67 | 2685932.6561 | 1227239.1294 | 2685937.7396 | 1227234.5663 | 2685942.313 | 1227231.219 | 2685947.4366 | 1227232.2715 | 2685963.0136 | 1227238.4785 | 2686013.8974 | 1227253.4687
68 | 2685932.6561 | 1227239.1294 | 2685947.8113 | 1227255.1149 | 2685947.0879 | 1227258.2418
69 | 2685947.0879 | 1227258.2418 | 2685944.0647 | 1227271.3084
70 | 2685943.9916 | 1227271.6244 | 2685944.0647 | 1227271.3084
71 | 2685943.2194 | 1227274.9623 | 2685943.9916 | 1227271.6244
72 | 2686791.9914 | 1226220.6799 | 2686809.9791 | 1226221.8035 | 2686822.7741 | 1226219.2995 | 2686844.5788 | 1226210.3115 | 2686868.4063 | 1226195.9897
73 | 2686744.8771 | 1226253.9209 | 2686747.0717 | 1226249.5054 | 2686749.6564 | 1226229.7739 | 2686754.7903 | 1226223.4221 | 2686763.5286 | 1226218.9019 | 2686791.9914 | 1226220.6799
74 | 2686872.4632 | 1226193.5513 | 2686868.4063 | 1226195.9897
75 | 2686744.8771 | 1226253.9209 | 2686739.3881 | 1226254.4746 | 2686735.4719 | 1226249.0694 | 2686734.0903 | 1226237.7637 | 2686734.627 | 1226226.9529 | 2686743.9655 | 1226206.2302 | 2686746.1398 | 1226197.4892
76 | 2686886.7287 | 1226183.7972 | 2686872.4632 | 1226193.5513
77 | 2686886.7287 | 1226183.7972 | 2686907.7027 | 1226167.9307
78 | 2686784.7149 | 1226117.6739 | 2686798.6076 | 1226112.7512 | 2686804.7347 | 1226109.7981
79 | 2686804.7347 | 1226109.7981 | 2686807.7142 | 1226108.3622
80 | 2686833.7885 | 1226095.7956 | 2686807.7142 | 1226108.3622
81 | 2686833.7885 | 1226095.7956 | 2686852.4806 | 1226086.7868

## bus_geodata
| x | y | coords
0 | 2686031.2389 | 1226851.2368
1 | 2686061.6784 | 1226848.877
2 | 2686006.7905 | 1226848.7083
3 | 2686063.5314 | 1226849.0531
4 | 2686006.5602 | 1226864.6271
5 | 2685977.7876 | 1226842.6634
6 | 2686020.17 | 1226826.0501
7 | 2686079.8462 | 1226856.5478
8 | 2686002.6923 | 1226880.134
9 | 2686023.3595 | 1226820.6487
10 | 2686085.5093 | 1226840.7744
11 | 2686092.3145 | 1226881.7562
12 | 2686042.1004 | 1226785.6641
13 | 2686213.0862 | 1226620.4485
14 | 2686144.6481 | 1226948.9393
15 | 2686217.3183 | 1226613.1162
16 | 2685978.0838 | 1226948.9405
17 | 2685979.3796 | 1226960.585
18 | 2686341.8979 | 1227096.8215
19 | 2686460.6832 | 1227158.9459
20 | 2686855.2933 | 1226694.0921
21 | 2686819.5991 | 1226702.9367
22 | 2686864.3675 | 1226686.0406
23 | 2686765.4048 | 1226736.1539
24 | 2686881.0713 | 1226676.3778
25 | 2686854.4634 | 1226672.9641
26 | 2686281.9078 | 1226445.6678
27 | 2687126.9877 | 1226731.2444
28 | 2686878.3818 | 1226666.0127
29 | 2686851.1579 | 1226651.6017
30 | 2686326.3666 | 1226201.1582
31 | 2686268.704 | 1226210.2813
32 | 2686359.6413 | 1226194.3218
33 | 2686634.7916 | 1226161.687
34 | 2686361.5378 | 1226186.3994
35 | 2686727.0303 | 1226138.1141
36 | 2686545.1639 | 1226277.2962
37 | 2686596.6458 | 1226195.1293
38 | 2686296.8276 | 1226182.2446
39 | 2686861.692 | 1226645.0176
40 | 2687069.3413 | 1226918.6196
41 | 2686242.5538 | 1226432.0024
42 | 2686230.6366 | 1226394.8048
43 | 2686267.7373 | 1226449.4396
44 | 2686225.5384 | 1226386.1546
45 | 2686506.2715 | 1226316.102
46 | 2686227.7273 | 1226595.4585
47 | 2686284.9277 | 1226181.0164
48 | 2686275.222 | 1226179.8037
49 | 2686511.4972 | 1226344.9684
50 | 2686543.2853 | 1226279.751
51 | 2686745.3881 | 1226188.7389
52 | 2686766.975 | 1226123.9599
53 | 2686615.5129 | 1225789.0288
54 | 2686485.5583 | 1227261.3197
55 | 2686500.0071 | 1227252.9068
56 | 2686503.1934 | 1227246.301
57 | 2686524.3281 | 1227241.4383
58 | 2686501.0708 | 1227230.9224
59 | 2686494.1698 | 1227180.9245
60 | 2686463.9119 | 1227159.5811
61 | 2685981.8206 | 1226982.5201
62 | 2686013.8974 | 1227253.4687
63 | 2685932.6561 | 1227239.1294
64 | 2685947.0879 | 1227258.2418
65 | 2685943.9916 | 1227271.6244
66 | 2685944.0647 | 1227271.3084
67 | 2685943.2194 | 1227274.9623
68 | 2686571.3585 | 1225757.7363
69 | 2686528.3912 | 1226411.4895
70 | 2686474.484 | 1226264.6156
71 | 2686791.9914 | 1226220.6799
72 | 2686868.4063 | 1226195.9897
73 | 2686744.8771 | 1226253.9209
74 | 2686872.4632 | 1226193.5513
75 | 2686746.1398 | 1226197.4892
76 | 2686886.7287 | 1226183.7972
77 | 2686907.7027 | 1226167.9307
78 | 2686784.7149 | 1226117.6739
79 | 2686804.7347 | 1226109.7981
80 | 2686807.7142 | 1226108.3622
81 | 2686833.7885 | 1226095.7956
82 | 2686852.4806 | 1226086.7868
83 | 2686506.2715 | 1226316.102

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98089 | -0.36727 | 0.0006284 | 0.00015749
1 | 0.98062 | -0.37258 | 0.00052747 | 0.0001322
2 | 0.98111 | -0.36278 | 0 | 0
3 | 0.9806 | -0.37288 | 0.00086215 | 0.00021608
4 | 0.98099 | -0.36513 | 0.00054058 | 0.00013548
5 | 0.98111 | -0.36295 | 0.00031459 | 7.8844e-05
6 | 0.98157 | -0.35395 | 0.00065127 | 0.00016322
7 | 0.98046 | -0.37554 | 0 | 0
8 | 0.98088 | -0.36734 | 0.00032952 | 8.2586e-05
9 | 0.98168 | -0.35177 | 0.00026228 | 6.5734e-05
10 | 0.98044 | -0.37602 | 0.0015324 | 0.00038407
11 | 0.98029 | -0.37888 | 0.00075054 | 0.0001881
12 | 0.98239 | -0.33781 | 0 | 0
13 | 0.98683 | -0.25142 | 0.00051212 | 0.00012835
14 | 0.97982 | -0.38812 | 0.0010606 | 0.0002658
15 | 0.98698 | -0.24839 | 0.0002078 | 5.208e-05
16 | 0.98039 | -0.37703 | 0 | 0
17 | 0.98031 | -0.37857 | 0.0011068 | 0.00027739
18 | 0.9787 | -0.41024 | 0 | 0
19 | 0.97807 | -0.4227 | 0.00065869 | 0.00016508
20 | 0.97804 | -0.42244 | 0.0061613 | 0.0015442
21 | 0.97857 | -0.41204 | 0.0090145 | 0.0022592
22 | 0.97789 | -0.42543 | 0 | 0
23 | 0.9796 | -0.39192 | 0 | 0
24 | 0.97779 | -0.42744 | 0 | 0
25 | 0.9774 | -0.43494 | 0.0033488 | 0.0008393
26 | 0.98894 | -0.21048 | 0 | 0
27 | 0.97736 | -0.43577 | 0 | 0
28 | 0.97759 | -0.43122 | 0.006422 | 0.0016095
29 | 0.97684 | -0.44601 | 0.027956 | 0.0070065
30 | 0.98438 | -0.29819 | 0.00065222 | 0.00016346
31 | 0.98432 | -0.2994 | 0.0011361 | 0.00028473
32 | 0.98444 | -0.29709 | 0 | 0
33 | 0.98573 | -0.27182 | 0 | 0
34 | 0.98441 | -0.29754 | 0 | 0
35 | 0.98366 | -0.31217 | 0 | 0
36 | 0.99393 | -0.11475 | 0 | 0
37 | 0.98253 | -0.33356 | 0.00056389 | 0.00014132
38 | 0.98423 | -0.30113 | 0.0011127 | 0.00027886
39 | 0.97726 | -0.4377 | 0.012959 | 0.0032479
40 | 0.97667 | -0.4494 | 0.0034054 | 0.00085347
41 | 0.98856 | -0.21789 | 0.0027524 | 0.00068981
42 | 0.98839 | -0.22132 | 0.0021288 | 0.00053354
43 | 0.98883 | -0.21276 | 0.0010671 | 0.00026743
44 | 0.98836 | -0.22181 | 0.0027487 | 0.0006889
45 | 0.99522 | -0.090337 | 0 | 0
46 | 0.98737 | -0.24099 | 0.0011815 | 0.0002961
47 | 0.98421 | -0.30155 | 0.0010046 | 0.00025178
48 | 0.9842 | -0.30172 | 0.00096044 | 0.00024071
49 | 0.99661 | -0.064095 | 0.011689 | 0.0029295
50 | 0.994 | -0.11346 | 0.006328 | 0.001586
51 | 0.98306 | -0.3238 | 0.0007848 | 0.00019669
52 | 0.9834 | -0.3173 | 0.00068531 | 0.00017176
53 | 0.98246 | -0.33556 | 0.0027873 | 0.00069855
54 | 0.97761 | -0.4317 | 0.002786 | 0.00069823
55 | 0.97766 | -0.43078 | 0.00030053 | 7.5319e-05
56 | 0.97768 | -0.43037 | 0 | 0
57 | 0.97767 | -0.43045 | 0.00020396 | 5.1118e-05
58 | 0.97772 | -0.42944 | 0.0007496 | 0.00018787
59 | 0.97791 | -0.42572 | 0 | 0
60 | 0.97805 | -0.42294 | 0 | 0
61 | 0.98018 | -0.38104 | 0.00038582 | 9.6696e-05
62 | 0.9787 | -0.41007 | 0 | 0
63 | 0.97824 | -0.41924 | 0 | 0
64 | 0.9781 | -0.42189 | 0.00086319 | 0.00021634
65 | 0.97804 | -0.42311 | 0.001554 | 0.00038947
66 | 0.97804 | -0.42308 | 0.00021399 | 5.363e-05
67 | 0.97803 | -0.42331 | 0.0031315 | 0.00078482
68 | 0.98243 | -0.33631 | 0.00074379 | 0.00018641
69 | 1 | 0 | -0.21762 | -0.055621
70 | 0.97354 | -0.50939 | 0.06688 | 0.016762
71 | 0.98159 | -0.35267 | 0.0034543 | 0.00086573
72 | 0.98102 | -0.36379 | 0.00085634 | 0.00021462
73 | 0.98231 | -0.3386 | 0 | 0
74 | 0.98099 | -0.36436 | 0 | 0
75 | 0.98297 | -0.32557 | 0.00028248 | 7.0795e-05
76 | 0.98088 | -0.36642 | 0 | 0
77 | 0.98072 | -0.36956 | 0.0065933 | 0.0016524
78 | 0.98329 | -0.31934 | 0.0018499 | 0.00046364
79 | 0.98321 | -0.32096 | 0.0026655 | 0.00066803
80 | 0.9832 | -0.32105 | 0.001093 | 0.00027394
81 | 0.98319 | -0.32127 | 0.00023672 | 5.9327e-05
82 | 0.98319 | -0.32134 | 0.00018067 | 4.5281e-05
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0094484 | 0.0023651 | -0.009446 | -0.002364 | 2.387e-06 | 1.1367e-06 | 0.014332 | 0.014332 | 0.014332 | 0.98089 | -0.36727 | 0.98062 | -0.37258 | 3.9375
1 | -0.010077 | -0.0025226 | 0.010079 | 0.0025236 | 2.1536e-06 | 1.068e-06 | 0.015286 | 0.015286 | 0.015286 | 0.98089 | -0.36727 | 0.98111 | -0.36278 | 4.1994
2 | 0.0089186 | 0.0022318 | -0.0089185 | -0.0022317 | 1.2781e-07 | 5.8318e-08 | 0.013532 | 0.013532 | 0.013532 | 0.98062 | -0.37258 | 0.9806 | -0.37288 | 3.7176
3 | 0.0081432 | 0.002041 | -0.0081423 | -0.0020406 | 9.1067e-07 | 3.818e-07 | 0.012351 | 0.012351 | 0.012351 | 0.98111 | -0.36278 | 0.98099 | -0.36513 | 3.393
4 | 0.00031459 | 7.8471e-05 | -0.00031459 | -7.8844e-05 | 2.529e-09 | -3.7259e-07 | 0.000477 | 0.00047713 | 0.00047713 | 0.98111 | -0.36278 | 0.98111 | -0.36295 | 0.13108
5 | -0.018537 | -0.0046431 | 0.018545 | 0.0046477 | 7.7988e-06 | 4.6588e-06 | 0.028113 | 0.028113 | 0.028113 | 0.98111 | -0.36278 | 0.98157 | -0.35395 | 7.7234
6 | 0.0080563 | 0.0020156 | -0.0080553 | -0.0020152 | 1.022e-06 | 4.2401e-07 | 0.012224 | 0.012224 | 0.012224 | 0.9806 | -0.37288 | 0.98046 | -0.37554 | 3.3582
7 | 0.0076017 | 0.0019051 | -0.0076009 | -0.0019048 | 8.0062e-07 | 3.0968e-07 | 0.011531 | 0.011531 | 0.011531 | 0.98099 | -0.36513 | 0.98088 | -0.36734 | 3.1678
8 | -0.019196 | -0.004811 | 0.019198 | 0.0048122 | 1.9919e-06 | 1.1955e-06 | 0.0291 | 0.0291 | 0.0291 | 0.98157 | -0.35395 | 0.98168 | -0.35177 | 7.9946
9 | 0.0065228 | 0.0016313 | -0.0065218 | -0.001631 | 1.0344e-06 | 3.0699e-07 | 0.0098982 | 0.0098983 | 0.0098983 | 0.98046 | -0.37554 | 0.98029 | -0.37888 | 2.7193
10 | 0.0015325 | 0.00038387 | -0.0015324 | -0.00038407 | 3.4894e-08 | -1.9462e-07 | 0.0023257 | 0.0023258 | 0.0023258 | 0.98046 | -0.37554 | 0.98044 | -0.37602 | 0.63895
11 | 0.0072714 | 0.0018222 | -0.007268 | -0.001821 | 3.356e-06 | 1.22e-06 | 0.011031 | 0.011031 | 0.011031 | 0.98088 | -0.36734 | 0.98039 | -0.37703 | 3.0305
12 | -0.01946 | -0.0048779 | 0.019473 | 0.0048857 | 1.2952e-05 | 7.7871e-06 | 0.029498 | 0.029498 | 0.029498 | 0.98168 | -0.35177 | 0.98239 | -0.33781 | 8.1038
13 | 0.0057712 | 0.0014429 | -0.0057687 | -0.0014424 | 2.536e-06 | 5.1234e-07 | 0.0087591 | 0.0087595 | 0.0087595 | 0.98029 | -0.37888 | 0.97982 | -0.38812 | 2.4064
14 | -0.019473 | -0.0048857 | 0.019554 | 0.0049341 | 8.0551e-05 | 4.8413e-05 | 0.029498 | 0.029496 | 0.029498 | 0.98239 | -0.33781 | 0.98683 | -0.25142 | 8.1037
15 | -0.020066 | -0.0050625 | 0.020069 | 0.0050642 | 2.9095e-06 | 1.7539e-06 | 0.030269 | 0.030269 | 0.030269 | 0.98683 | -0.25142 | 0.98698 | -0.24839 | 8.3156
16 | 0.0047081 | 0.0011766 | -0.0047032 | -0.0011767 | 4.9508e-06 | -8.0961e-08 | 0.0071488 | 0.00715 | 0.00715 | 0.97982 | -0.38812 | 0.9787 | -0.41024 | 1.9643
17 | -0.020276 | -0.0051163 | 0.020284 | 0.0051206 | 7.1911e-06 | 4.3402e-06 | 0.030582 | 0.030582 | 0.030582 | 0.98698 | -0.24839 | 0.98737 | -0.24099 | 8.4016
18 | 0.007268 | 0.001821 | -0.0072675 | -0.0018208 | 5.3464e-07 | 1.9444e-07 | 0.011031 | 0.011031 | 0.011031 | 0.98039 | -0.37703 | 0.98031 | -0.37857 | 3.0305
19 | 0.0061607 | 0.0015434 | -0.00616 | -0.0015432 | 7.2373e-07 | 1.8497e-07 | 0.0093512 | 0.0093513 | 0.0093513 | 0.98031 | -0.37857 | 0.98018 | -0.38104 | 2.569
20 | 0.0047032 | 0.0011767 | -0.0047004 | -0.0011767 | 2.787e-06 | -4.1829e-08 | 0.00715 | 0.0071506 | 0.0071506 | 0.9787 | -0.41024 | 0.97807 | -0.4227 | 1.9645
21 | 0.0040417 | 0.0010116 | -0.0040416 | -0.0010117 | 4.665e-08 | -1.1441e-08 | 0.0061485 | 0.0061485 | 0.0061485 | 0.97807 | -0.4227 | 0.97805 | -0.42294 | 1.6892
22 | -0.060303 | -0.015121 | 0.060333 | 0.015138 | 2.9901e-05 | 1.7234e-05 | 0.091749 | 0.091748 | 0.091749 | 0.97804 | -0.42244 | 0.97857 | -0.41204 | 6.3014
23 | 0.054141 | 0.013577 | -0.054134 | -0.013572 | 7.7174e-06 | 4.3302e-06 | 0.082375 | 0.082375 | 0.082375 | 0.97804 | -0.42244 | 0.97789 | -0.42543 | 5.6576
24 | -0.069347 | -0.017397 | 0.069414 | 0.017437 | 6.6598e-05 | 3.9409e-05 | 0.10546 | 0.10545 | 0.10546 | 0.97857 | -0.41204 | 0.9796 | -0.39192 | 7.2428
25 | 0.0228 | 0.0057085 | -0.022798 | -0.005708 | 2.1728e-06 | 4.2433e-07 | 0.034692 | 0.034692 | 0.034692 | 0.97789 | -0.42543 | 0.97779 | -0.42744 | 2.3827
26 | 0.031334 | 0.0078638 | -0.03132 | -0.0078549 | 1.4195e-05 | 8.8762e-06 | 0.047683 | 0.047684 | 0.047684 | 0.97789 | -0.42543 | 0.9774 | -0.43494 | 13.0999
27 | -0.069414 | -0.017437 | 0.07002 | 0.017795 | 0.00060638 | 0.00035851 | 0.10545 | 0.10544 | 0.10545 | 0.9796 | -0.39192 | 0.98894 | -0.21048 | 7.2428
28 | 0.0034089 | 0.0008463 | -0.0034076 | -0.00085214 | 1.3476e-06 | -5.838e-06 | 0.0051849 | 0.0051873 | 0.0051873 | 0.97779 | -0.42744 | 0.97736 | -0.43577 | 0.71254
29 | 0.019389 | 0.0048617 | -0.019385 | -0.0048596 | 3.4963e-06 | 2.1033e-06 | 0.029507 | 0.029507 | 0.029507 | 0.97779 | -0.42744 | 0.97759 | -0.43122 | 8.1064
30 | 0.027971 | 0.0070156 | -0.027956 | -0.0070065 | 1.475e-05 | 9.1683e-06 | 0.042585 | 0.042585 | 0.042585 | 0.9774 | -0.43494 | 0.97684 | -0.44601 | 11.6993
31 | -0.10022 | -0.025409 | 0.1008 | 0.025767 | 0.00058227 | 0.00035857 | 0.1509 | 0.15089 | 0.1509 | 0.98894 | -0.21048 | 0.99522 | -0.090337 | 10.3638
32 | 0.021497 | 0.0054327 | -0.021465 | -0.0054167 | 3.14e-05 | 1.5999e-05 | 0.032361 | 0.032362 | 0.032362 | 0.98894 | -0.21048 | 0.98737 | -0.24099 | 4.4454
33 | 0.0087007 | 0.0021807 | -0.0086997 | -0.0021803 | 9.4342e-07 | 4.1547e-07 | 0.013092 | 0.013092 | 0.013092 | 0.98894 | -0.21048 | 0.98883 | -0.21276 | 3.5966
34 | 0.0034076 | 0.00085214 | -0.0034054 | -0.00085347 | 2.2096e-06 | -1.3276e-06 | 0.0051873 | 0.0051883 | 0.0051883 | 0.97736 | -0.43577 | 0.97667 | -0.4494 | 1.4254
35 | 0.012963 | 0.0032501 | -0.012959 | -0.0032479 | 4.0005e-06 | 2.2169e-06 | 0.019732 | 0.019732 | 0.019732 | 0.97759 | -0.43122 | 0.97726 | -0.4377 | 5.421
36 | 0.0011362 | 0.00028402 | -0.0011361 | -0.00028473 | 6.5503e-08 | -7.1096e-07 | 0.0017172 | 0.0017175 | 0.0017175 | 0.98438 | -0.29819 | 0.98432 | -0.2994 | 0.47183
37 | -0.0017884 | -0.00044748 | 0.0017885 | 0.00044711 | 9.4036e-08 | -3.7615e-07 | 0.0027031 | 0.002703 | 0.0027031 | 0.98438 | -0.29819 | 0.98444 | -0.29709 | 0.74262
38 | -0.0048669 | -0.0012177 | 0.0048727 | 0.0012177 | 5.8512e-06 | 7.2845e-08 | 0.0073557 | 0.0073544 | 0.0073557 | 0.98444 | -0.29709 | 0.98573 | -0.27182 | 2.0208
39 | 0.0030784 | 0.00077056 | -0.0030783 | -0.00077062 | 6.613e-08 | -6.1243e-08 | 0.0046528 | 0.0046528 | 0.0046528 | 0.98444 | -0.29709 | 0.98441 | -0.29754 | 1.2782
40 | 0.02229 | 0.0056038 | -0.022247 | -0.0055777 | 4.2861e-05 | 2.6147e-05 | 0.033655 | 0.033655 | 0.033655 | 0.98573 | -0.27182 | 0.98366 | -0.31217 | 9.2459
41 | -0.095375 | -0.024214 | 0.096102 | 0.024674 | 0.00072672 | 0.0004603 | 0.14409 | 0.14408 | 0.14409 | 0.98573 | -0.27182 | 0.99393 | -0.11475 | 19.7919
42 | 0.068212 | 0.017392 | -0.068009 | -0.017263 | 0.00020266 | 0.00012906 | 0.10308 | 0.10308 | 0.10308 | 0.98573 | -0.27182 | 0.98253 | -0.33356 | 28.3178
43 | 0.0030783 | 0.00077062 | -0.0030778 | -0.00077111 | 5.2674e-07 | -4.8758e-07 | 0.0046528 | 0.0046531 | 0.0046531 | 0.98441 | -0.29754 | 0.98423 | -0.30113 | 1.2783
44 | 0.011999 | 0.0030137 | -0.011992 | -0.0030101 | 6.6547e-06 | 3.5759e-06 | 0.018153 | 0.018153 | 0.018153 | 0.98366 | -0.31217 | 0.98306 | -0.3238 | 4.9872
45 | 0.0067137 | 0.0016819 | -0.0067121 | -0.0016814 | 1.6391e-06 | 5.1123e-07 | 0.010156 | 0.010156 | 0.010156 | 0.98366 | -0.31217 | 0.9834 | -0.3173 | 2.7901
46 | 0.003535 | 0.00088214 | -0.0035311 | -0.00088427 | 3.929e-06 | -2.1317e-06 | 0.0053462 | 0.0053478 | 0.0053478 | 0.98366 | -0.31217 | 0.98246 | -0.33556 | 1.4692
47 | -0.096102 | -0.024674 | 0.096108 | 0.024678 | 6.0162e-06 | 3.6901e-06 | 0.14408 | 0.14408 | 0.14408 | 0.99393 | -0.11475 | 0.994 | -0.11346 | 9.8959
48 | 0.067445 | 0.017122 | -0.06688 | -0.016762 | 0.00056536 | 0.00036002 | 0.10222 | 0.10222 | 0.10222 | 0.98253 | -0.33356 | 0.97354 | -0.50939 | 28.0833
49 | 0.0019651 | 0.00049225 | -0.0019651 | -0.00049237 | 3.9598e-08 | -1.267e-07 | 0.0029709 | 0.002971 | 0.002971 | 0.98423 | -0.30113 | 0.98421 | -0.30155 | 0.8162
50 | 0.0048784 | 0.0012224 | -0.0048776 | -0.0012223 | 7.9639e-07 | 4.8297e-09 | 0.0073431 | 0.0073432 | 0.0073432 | 0.98856 | -0.21789 | 0.98839 | -0.22132 | 2.0174
51 | -0.0076308 | -0.0019122 | 0.0076327 | 0.0019129 | 1.8648e-06 | 7.1009e-07 | 0.011486 | 0.011486 | 0.011486 | 0.98856 | -0.21789 | 0.98883 | -0.21276 | 3.1555
52 | 0.0027488 | 0.00068881 | -0.0027487 | -0.0006889 | 6.4482e-08 | -8.7414e-08 | 0.0041383 | 0.0041383 | 0.0041383 | 0.98839 | -0.22132 | 0.98836 | -0.22181 | 1.1369
53 | -0.20335 | -0.052102 | 0.20361 | 0.052266 | 0.00025897 | 0.00016419 | 0.30445 | 0.30445 | 0.30445 | 0.99522 | -0.090337 | 0.99661 | -0.064095 | 20.9098
54 | 0.10255 | 0.026335 | -0.10244 | -0.026264 | 0.000115 | 7.0901e-05 | 0.15356 | 0.15356 | 0.15356 | 0.99522 | -0.090337 | 0.994 | -0.11346 | 10.5465
55 | 0.00096045 | 0.00024059 | -0.00096044 | -0.00024071 | 7.7339e-09 | -1.1935e-07 | 0.0014521 | 0.0014521 | 0.0014521 | 0.98421 | -0.30155 | 0.9842 | -0.30172 | 0.39893
56 | -0.2153 | -0.055195 | 0.21597 | 0.055621 | 0.00067133 | 0.00042604 | 0.3219 | 0.3219 | 0.3219 | 0.99661 | -0.064095 | 1 | 0 | 22.1084
57 | 0.011207 | 0.0028134 | -0.011206 | -0.0028129 | 9.4795e-07 | 4.9535e-07 | 0.016965 | 0.016966 | 0.016966 | 0.98306 | -0.3238 | 0.98297 | -0.32557 | 4.6609
58 | 0.0060267 | 0.0015096 | -0.0060262 | -0.0015095 | 5.869e-07 | 1.3686e-07 | 0.009119 | 0.0091191 | 0.0091191 | 0.9834 | -0.3173 | 0.98329 | -0.31934 | 2.5052
59 | 0.00074382 | 0.00018572 | -0.00074379 | -0.00018641 | 2.6716e-08 | -6.9386e-07 | 0.0011263 | 0.0011266 | 0.0011266 | 0.98246 | -0.33556 | 0.98243 | -0.33631 | 0.3095
60 | -0.002786 | -0.00069823 | 0.0027861 | 0.00069808 | 1.2138e-07 | -1.4803e-07 | 0.0042405 | 0.0042404 | 0.0042405 | 0.97761 | -0.4317 | 0.97766 | -0.43078 | 1.165
61 | -0.0030866 | -0.0007734 | 0.0030867 | 0.00077335 | 6.0699e-08 | -5.3122e-08 | 0.0046979 | 0.0046978 | 0.0046979 | 0.97766 | -0.43078 | 0.97768 | -0.43037 | 1.2906
62 | 0.00020397 | 5.0842e-05 | -0.00020396 | -5.1118e-05 | 7.9897e-10 | -2.7682e-07 | 0.00031033 | 0.00031043 | 0.00031043 | 0.97768 | -0.43037 | 0.97767 | -0.43045 | 0.085284
63 | -0.0032906 | -0.00082419 | 0.0032908 | 0.00082409 | 1.4601e-07 | -1.0124e-07 | 0.0050082 | 0.0050081 | 0.0050082 | 0.97768 | -0.43037 | 0.97772 | -0.42944 | 1.3759
64 | -0.0040404 | -0.001012 | 0.0040411 | 0.0010118 | 7.1559e-07 | -1.7513e-07 | 0.0061489 | 0.0061487 | 0.0061489 | 0.97772 | -0.42944 | 0.97791 | -0.42572 | 1.6893
65 | -0.0040411 | -0.0010118 | 0.0040416 | 0.0010117 | 5.3392e-07 | -1.3086e-07 | 0.0061487 | 0.0061485 | 0.0061487 | 0.97791 | -0.42572 | 0.97805 | -0.42294 | 1.6892
66 | 0.0057742 | 0.0014465 | -0.0057662 | -0.0014449 | 7.9788e-06 | 1.6218e-06 | 0.0087655 | 0.0087668 | 0.0087668 | 0.98018 | -0.38104 | 0.9787 | -0.41007 | 2.4085
67 | 0.0057662 | 0.0014449 | -0.0057637 | -0.0014444 | 2.5168e-06 | 5.1397e-07 | 0.0087668 | 0.0087672 | 0.0087672 | 0.9787 | -0.41007 | 0.97824 | -0.41924 | 2.4086
68 | 0.0057637 | 0.0014444 | -0.0057629 | -0.0014442 | 7.2744e-07 | 1.4877e-07 | 0.0087672 | 0.0087673 | 0.0087673 | 0.97824 | -0.41924 | 0.9781 | -0.42189 | 2.4086
69 | 0.0048998 | 0.0012279 | -0.0048995 | -0.0012279 | 2.7945e-07 | 1.053e-08 | 0.0074541 | 0.0074542 | 0.0074542 | 0.9781 | -0.42189 | 0.97804 | -0.42308 | 2.0478
70 | -0.0046855 | -0.0011743 | 0.0046855 | 0.0011743 | 6.1817e-09 | -1.1439e-10 | 0.0071286 | 0.0071286 | 0.0071286 | 0.97804 | -0.42311 | 0.97804 | -0.42308 | 1.9584
71 | 0.0031315 | 0.00078479 | -0.0031315 | -0.00078482 | 2.9163e-08 | -2.4331e-08 | 0.0047643 | 0.0047643 | 0.0047643 | 0.97804 | -0.42311 | 0.97803 | -0.42331 | 1.3089
72 | 0.0074554 | 0.0018691 | -0.0074514 | -0.0018676 | 3.9494e-06 | 1.486e-06 | 0.011302 | 0.011302 | 0.011302 | 0.98159 | -0.35267 | 0.98102 | -0.36379 | 3.1051
73 | -0.01091 | -0.0027348 | 0.010917 | 0.0027386 | 7.3188e-06 | 3.7814e-06 | 0.016539 | 0.016538 | 0.016539 | 0.98159 | -0.35267 | 0.98231 | -0.3386 | 4.5436
74 | 0.0065951 | 0.001653 | -0.0065949 | -0.0016529 | 1.7763e-07 | 5.392e-08 | 0.010004 | 0.010004 | 0.010004 | 0.98102 | -0.36379 | 0.98099 | -0.36436 | 2.7482
75 | -0.010917 | -0.0027386 | 0.010924 | 0.0027421 | 6.7839e-06 | 3.5038e-06 | 0.016538 | 0.016538 | 0.016538 | 0.98231 | -0.3386 | 0.98297 | -0.32557 | 4.5435
76 | 0.0065949 | 0.0016529 | -0.0065943 | -0.0016527 | 6.473e-07 | 1.9653e-07 | 0.010004 | 0.010004 | 0.010004 | 0.98099 | -0.36436 | 0.98088 | -0.36642 | 2.7483
77 | 0.0065943 | 0.0016527 | -0.0065933 | -0.0016524 | 9.8696e-07 | 2.9974e-07 | 0.010004 | 0.010004 | 0.010004 | 0.98088 | -0.36642 | 0.98072 | -0.36956 | 2.7483
78 | 0.0041762 | 0.0010458 | -0.0041759 | -0.0010459 | 3.2261e-07 | -6.6742e-08 | 0.0063196 | 0.0063197 | 0.0063197 | 0.98329 | -0.31934 | 0.98321 | -0.32096 | 1.7362
79 | 0.0015104 | 0.00037788 | -0.0015104 | -0.00037792 | 6.4799e-09 | -3.7799e-08 | 0.0022857 | 0.0022857 | 0.0022857 | 0.98321 | -0.32096 | 0.9832 | -0.32105 | 0.62794
80 | 0.0004174 | 0.00010398 | -0.00041739 | -0.00010435 | 4.3292e-09 | -3.6431e-07 | 0.00063148 | 0.00063161 | 0.00063161 | 0.9832 | -0.32105 | 0.98319 | -0.32127 | 0.17352
81 | 0.00018067 | 4.5018e-05 | -0.00018067 | -4.5281e-05 | 5.8161e-10 | -2.6278e-07 | 0.00027335 | 0.00027344 | 0.00027344 | 0.98319 | -0.32127 | 0.98319 | -0.32134 | 0.075122

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25909 | 0.066015

## res_load
| p_mw | q_mvar
0 | 0.0006284 | 0.00015749
1 | 0.00052747 | 0.0001322
2 | 0.00086215 | 0.00021608
3 | 0.00054058 | 0.00013548
4 | 0.00031459 | 7.8844e-05
5 | 0.00065127 | 0.00016322
6 | 0.00032952 | 8.2586e-05
7 | 0.00026228 | 6.5734e-05
8 | 0.0015324 | 0.00038407
9 | 0.00075054 | 0.0001881
10 | 0.00051212 | 0.00012835
11 | 0.0010606 | 0.0002658
12 | 0.0002078 | 5.208e-05
13 | 0.0011068 | 0.00027739
14 | 0.00065869 | 0.00016508
15 | 0.0061613 | 0.0015442
16 | 0.0090145 | 0.0022592
17 | 0.0033488 | 0.0008393
18 | 0.006422 | 0.0016095
19 | 0.027956 | 0.0070065
20 | 0.00065222 | 0.00016346
21 | 0.0011361 | 0.00028473
22 | 0.00056389 | 0.00014132
23 | 0.0011127 | 0.00027886
24 | 0.012959 | 0.0032479
25 | 0.0034054 | 0.00085347
26 | 0.0027524 | 0.00068981
27 | 0.0021288 | 0.00053354
28 | 0.0010671 | 0.00026743
29 | 0.0027487 | 0.0006889
30 | 0.0011815 | 0.0002961
31 | 0.0010046 | 0.00025178
32 | 0.00096044 | 0.00024071
33 | 0.011689 | 0.0029295
34 | 0.006328 | 0.001586
35 | 0.0007848 | 0.00019669
36 | 0.00068531 | 0.00017176
37 | 0.0027873 | 0.00069855
38 | 0.002786 | 0.00069823
39 | 0.00030053 | 7.5319e-05
40 | 0.00020396 | 5.1118e-05
41 | 0.0007496 | 0.00018787
42 | 0.00038582 | 9.6696e-05
43 | 0.00086319 | 0.00021634
44 | 0.001554 | 0.00038947
45 | 0.00021399 | 5.363e-05
46 | 0.0031315 | 0.00078482
47 | 0.00074379 | 0.00018641
48 | 0.04147 | 0.010393
49 | 0.06688 | 0.016762
50 | 0.0034543 | 0.00086573
51 | 0.00085634 | 0.00021462
52 | 0.00028248 | 7.0795e-05
53 | 0.0065933 | 0.0016524
54 | 0.0018499 | 0.00046364
55 | 0.0026655 | 0.00066803
56 | 0.001093 | 0.00027394
57 | 0.00023672 | 5.9327e-05
58 | 0.00018067 | 4.5281e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1