## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1704-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1704-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1704-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1704-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1704-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1704-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1704-5_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_1704-5_0_3_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_1704-5_0_3_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_1704-5_0_3_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_1704-5_0_3_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_1704-5_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1704-5_0_3_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_1704-5_0_3_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_1704-5_0_3_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_1704-5_0_3_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_1704-5_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1704-5_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_1704-5_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1704-5_0_3_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1704-5_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_1704-5_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1704-5_0_3_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_1704-5_0_3_node_89 | 0.4 | n |  | TRUE
24 | bus_LV_1704-5_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1704-5_0_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_1704-5_0_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1704-5_0_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1704-5_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1704-5_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1704-5_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1704-5_0_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1704-5_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1704-5_0_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1704-5_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1704-5_0_3_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_1704-5_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_1704-5_0_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_1704-5_0_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1704-5_0_3_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1704-5_0_3_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_1704-5_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_1704-5_0_3_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_1704-5_0_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_1704-5_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_1704-5_0_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_1704-5_0_3_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1704-5_0_3_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_1704-5_0_3_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_1704-5_0_3_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_1704-5_0_3_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_1704-5_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_1704-5_0_3_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_1704-5_0_3_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_1704-5_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_MV_25_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1704-5_0_3_load_0 | 0 | 0.0040606 | 0.0010177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1704-5_0_3_load_4 | 4 | 0.0034921 | 0.0008752 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1704-5_0_3_load_5 | 5 | 0.0042852 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1704-5_0_3_load_68 | 6 | 0.0027191 | 0.00068146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1704-5_0_3_load_78 | 8 | 0.0043149 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1704-5_0_3_load_67 | 9 | 0.0045925 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1704-5_0_3_load_54 | 11 | 0.0026931 | 0.00067496 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1704-5_0_3_load_79 | 12 | 0.0037896 | 0.00094977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1704-5_0_3_load_84 | 13 | 0.016049 | 0.0040222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1704-5_0_3_load_85 | 14 | 0.0041249 | 0.0010338 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1704-5_0_3_load_83 | 15 | 0.062148 | 0.015576 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1704-5_0_3_load_38 | 16 | 0.013033 | 0.0032663 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1704-5_0_3_load_48 | 20 | 0.028373 | 0.0071108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1704-5_0_3_load_44 | 21 | 0.0065808 | 0.0016493 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1704-5_0_3_load_90 | 22 | 0.0067771 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1704-5_0_3_load_89 | 23 | 0.01468 | 0.0036793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1704-5_0_3_load_46 | 26 | 0.0087839 | 0.0022015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1704-5_0_3_load_47 | 27 | 0.007439 | 0.0018644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1704-5_0_3_load_49 | 28 | 0.0073845 | 0.0018507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1704-5_0_3_load_50 | 29 | 0.012987 | 0.0032549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1704-5_0_3_load_51 | 30 | 0.0074882 | 0.0018767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1704-5_0_3_load_52 | 31 | 0.0023354 | 0.00058531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1704-5_0_3_load_53 | 32 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1704-5_0_3_load_55 | 33 | 0.0025707 | 0.00064428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1704-5_0_3_load_57 | 34 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1704-5_0_3_load_58 | 35 | 0.0042341 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1704-5_0_3_load_73 | 36 | 0.0042558 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1704-5_0_3_load_70 | 37 | 0.0022706 | 0.00056906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1704-5_0_3_load_59 | 38 | 0.0038077 | 0.0009543 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1704-5_0_3_load_60 | 39 | 0.003451 | 0.0008649 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1704-5_0_3_load_61 | 40 | 0.0039949 | 0.0010012 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1704-5_0_3_load_63 | 41 | 0.0027571 | 0.000691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1704-5_0_3_load_64 | 42 | 0.0058672 | 0.0014705 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1704-5_0_3_load_66 | 43 | 0.0038711 | 0.00097018 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1704-5_0_3_load_71 | 44 | 0.0023594 | 0.00059132 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1704-5_0_3_load_72 | 45 | 0.0046416 | 0.0011633 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1704-5_0_3_load_74 | 46 | 0.004138 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1704-5_0_3_load_75 | 47 | 0.0050322 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1704-5_0_3_load_76 | 49 | 0.0047618 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1704-5_0_3_load_77 | 50 | 0.0048068 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1704-5_0_3_load_82 | 51 | 0.009276 | 0.0023248 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1704-5_0_3_load_81 | 52 | 0.0038458 | 0.00096384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1704-5_0_3_load_80 | 53 | 0.0016658 | 0.00041749 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1704-5_0_3_load_86 | 54 | 0.018543 | 0.0046474 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1704-5_0_3_line_0 |  | 0 | 1 | 0.007776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1704-5_0_3_line_1 |  | 0 | 2 | 0.029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1704-5_0_3_line_2 |  | 1 | 3 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1704-5_0_3_line_3 |  | 1 | 4 | 0.031221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1704-5_0_3_line_4 |  | 2 | 5 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1704-5_0_3_line_5 |  | 3 | 6 | 0.024203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1704-5_0_3_line_6 |  | 4 | 7 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1704-5_0_3_line_7 |  | 5 | 8 | 0.024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1704-5_0_3_line_8 |  | 6 | 9 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1704-5_0_3_line_9 |  | 7 | 10 | 0.038454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1704-5_0_3_line_10 |  | 7 | 11 | 0.052771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1704-5_0_3_line_11 |  | 8 | 12 | 0.029869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1704-5_0_3_line_12 |  | 9 | 43 | 0.030055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1704-5_0_3_line_13 |  | 10 | 36 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1704-5_0_3_line_14 |  | 10 | 37 | 0.0012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1704-5_0_3_line_15 |  | 11 | 31 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1704-5_0_3_line_16 |  | 12 | 53 | 0.004155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1704-5_0_3_line_17 |  | 13 | 14 | 0.0061259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1704-5_0_3_line_18 |  | 13 | 15 | 0.041007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1704-5_0_3_line_19 |  | 14 | 54 | 0.02196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1704-5_0_3_line_20 |  | 16 | 17 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1704-5_0_3_line_21 |  | 17 | 18 | 0.023384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1704-5_0_3_line_22 |  | 17 | 19 | 0.013272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_1704-5_0_3_line_23 |  | 18 | 20 | 0.075296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1704-5_0_3_line_24 |  | 18 | 21 | 0.03224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1704-5_0_3_line_25 |  | 19 | 22 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1704-5_0_3_line_26 |  | 19 | 23 | 0.03282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_1704-5_0_3_line_27 |  | 21 | 24 | 0.013858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1704-5_0_3_line_28 |  | 23 | 25 | 0.038386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1704-5_0_3_line_29 |  | 24 | 26 | 0.0027166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1704-5_0_3_line_30 |  | 24 | 27 | 0.025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1704-5_0_3_line_31 |  | 25 | 48 | 0.025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1704-5_0_3_line_32 |  | 25 | 36 | 0.0754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1704-5_0_3_line_33 |  | 26 | 28 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1704-5_0_3_line_34 |  | 28 | 29 | 0.024005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1704-5_0_3_line_35 |  | 29 | 30 | 0.0060672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1704-5_0_3_line_36 |  | 31 | 32 | 0.0098008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1704-5_0_3_line_37 |  | 32 | 33 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1704-5_0_3_line_38 |  | 33 | 34 | 0.0099968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1704-5_0_3_line_39 |  | 34 | 35 | 0.0089219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1704-5_0_3_line_40 |  | 35 | 38 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1704-5_0_3_line_41 |  | 37 | 44 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1704-5_0_3_line_42 |  | 38 | 39 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1704-5_0_3_line_43 |  | 39 | 40 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1704-5_0_3_line_44 |  | 41 | 42 | 0.027277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1704-5_0_3_line_45 |  | 42 | 43 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1704-5_0_3_line_46 |  | 44 | 45 | 0.0078478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1704-5_0_3_line_47 |  | 45 | 46 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1704-5_0_3_line_48 |  | 46 | 47 | 0.0034573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1704-5_0_3_line_49 |  | 47 | 49 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1704-5_0_3_line_50 |  | 48 | 54 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1704-5_0_3_line_51 |  | 49 | 50 | 0.017166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1704-5_0_3_line_52 |  | 50 | 51 | 0.00046379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1704-5_0_3_line_53 |  | 51 | 52 | 0.023601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1704-5_0_3_trafo_48 | 0.63 MVA 20/0.4 kV | 55 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687760.5287 | 1225663.6797 | 2687768.1291 | 1225662.0364
1 | 2687792.2606 | 1225646.0021 | 2687784.3151 | 1225654.7354 | 2687772.2264 | 1225661.1505 | 2687768.1291 | 1225662.0364
2 | 2687783.5234 | 1225673.9593 | 2687760.5287 | 1225663.6797
3 | 2687760.5287 | 1225663.6797 | 2687740.2712 | 1225661.0904 | 2687729.7838 | 1225658.5163
4 | 2687792.2606 | 1225646.0021 | 2687799.1038 | 1225636.4417
5 | 2687783.5234 | 1225673.9593 | 2687773.5924 | 1225696.031
6 | 2687713.0844 | 1225651.8055 | 2687721.7635 | 1225656.5478 | 2687729.7838 | 1225658.5163
7 | 2687815.8237 | 1225618.2346 | 2687805.8773 | 1225626.9787 | 2687799.1038 | 1225636.4417
8 | 2687763.0977 | 1225719.8425 | 2687764.6451 | 1225713.0302 | 2687770.0254 | 1225703.9588 | 2687773.5924 | 1225696.031
9 | 2687726.0046 | 1225616.7605 | 2687711.8602 | 1225645.3608 | 2687713.0844 | 1225651.8055
10 | 2687713.0844 | 1225651.8055 | 2687707.3985 | 1225658.4708 | 2687697.1017 | 1225681.1681 | 2687715.129 | 1225687.4381
11 | 2687815.8237 | 1225618.2346 | 2687819.3733 | 1225615.114 | 2687835.8609 | 1225596.1324
12 | 2687755.2902 | 1225748.8404 | 2687759.7316 | 1225734.6616 | 2687763.0977 | 1225719.8425
13 | 2687726.0046 | 1225616.7605 | 2687707.1663 | 1225607.5721
14 | 2687726.0046 | 1225616.7605 | 2687726.5435 | 1225615.595
15 | 2687711.6756 | 1225698.3855 | 2687715.129 | 1225687.4381
16 | 2687835.8609 | 1225596.1324 | 2687838.5856 | 1225592.9955
17 | 2687633.6055 | 1225573.4903 | 2687633.5111 | 1225573.935 | 2687636.4307 | 1225578.797
18 | 2687653.4518 | 1225538.0793 | 2687635.165 | 1225566.1429 | 2687633.6055 | 1225573.4903
19 | 2687647.7361 | 1225597.6239 | 2687636.4307 | 1225578.797
20 | 2687601.9102 | 1225688.2601 | 2687602.8624 | 1225690.5312 | 2687601.8751 | 1225695.2755 | 2687597.4283 | 1225712.2046
21 | 2687622.2993 | 1225677.7974 | 2687612.9066 | 1225684.953 | 2687608.651 | 1225687.1697 | 2687601.9102 | 1225688.2601
22 | 2687593.2852 | 1225678.2929 | 2687601.2147 | 1225686.582 | 2687601.9102 | 1225688.2601
23 | 2687622.2993 | 1225677.7974 | 2687665.0386 | 1225645.2264 | 2687682.2686 | 1225632.0489
24 | 2687622.2993 | 1225677.7974 | 2687627.6708 | 1225683.7139 | 2687625.8658 | 1225688.3906 | 2687630.515 | 1225690.327 | 2687630.3829 | 1225692.6045 | 2687641.8913 | 1225695.7044
25 | 2687593.2852 | 1225678.2929 | 2687582.7497 | 1225686.3435 | 2687576.2246 | 1225691.642
26 | 2687593.2852 | 1225678.2929 | 2687616.1985 | 1225660.1398 | 2687618.8548 | 1225657.7294
27 | 2687655.2726 | 1225699.3089 | 2687641.8913 | 1225695.7044
28 | 2687647.2814 | 1225631.9335 | 2687618.8548 | 1225657.7294
29 | 2687655.2726 | 1225699.3089 | 2687654.5759 | 1225701.9346
30 | 2687661.9876 | 1225674.7686 | 2687655.2726 | 1225699.3089
31 | 2687647.2814 | 1225631.9335 | 2687664.0196 | 1225612.511
32 | 2687647.2814 | 1225631.9335 | 2687651.0571 | 1225636.559 | 2687695.3755 | 1225601.8211 | 2687707.1663 | 1225607.5721
33 | 2687651.3962 | 1225713.9175 | 2687654.5759 | 1225701.9346
34 | 2687651.3962 | 1225713.9175 | 2687645.2394 | 1225737.1199
35 | 2687643.6833 | 1225742.9842 | 2687645.2394 | 1225737.1199
36 | 2687711.6756 | 1225698.3855 | 2687708.7271 | 1225707.7322
37 | 2687703.4728 | 1225724.3882 | 2687708.7271 | 1225707.7322
38 | 2687703.4728 | 1225724.3882 | 2687700.4654 | 1225733.9219
39 | 2687697.7813 | 1225742.4304 | 2687700.4654 | 1225733.9219
40 | 2687697.7813 | 1225742.4304 | 2687692.3685 | 1225759.5889
41 | 2687726.5435 | 1225615.595 | 2687735.2656 | 1225596.7315
42 | 2687689.0932 | 1225769.9717 | 2687692.3685 | 1225759.5889
43 | 2687689.0932 | 1225769.9717 | 2687682.741 | 1225790.1082
44 | 2687745.1512 | 1225802.7684 | 2687745.8177 | 1225783.1011 | 2687747.5902 | 1225775.7127
45 | 2687747.5902 | 1225775.7127 | 2687749.9376 | 1225765.9277 | 2687755.2902 | 1225748.8404
46 | 2687735.2656 | 1225596.7315 | 2687736.4674 | 1225594.1324 | 2687738.749 | 1225589.7009
47 | 2687746.3923 | 1225574.8554 | 2687738.749 | 1225589.7009
48 | 2687747.9748 | 1225571.7816 | 2687746.3923 | 1225574.8554
49 | 2687747.9748 | 1225571.7816 | 2687754.0171 | 1225560.0457
50 | 2687664.0196 | 1225612.511 | 2687650.0354 | 1225601.453 | 2687647.7361 | 1225597.6239
51 | 2687761.7878 | 1225544.7402 | 2687758.8295 | 1225550.6987 | 2687754.0171 | 1225560.0457
52 | 2687761.9941 | 1225544.3248 | 2687761.7878 | 1225544.7402
53 | 2687772.4893 | 1225523.186 | 2687761.9941 | 1225544.3248

## bus_geodata
| x | y | coords
0 | 2687768.1291 | 1225662.0364
1 | 2687760.5287 | 1225663.6797
2 | 2687792.2606 | 1225646.0021
3 | 2687783.5234 | 1225673.9593
4 | 2687729.7838 | 1225658.5163
5 | 2687799.1038 | 1225636.4417
6 | 2687773.5924 | 1225696.031
7 | 2687713.0844 | 1225651.8055
8 | 2687815.8237 | 1225618.2346
9 | 2687763.0977 | 1225719.8425
10 | 2687726.0046 | 1225616.7605
11 | 2687715.129 | 1225687.4381
12 | 2687835.8609 | 1225596.1324
13 | 2687633.6055 | 1225573.4903
14 | 2687636.4307 | 1225578.7971
15 | 2687653.4518 | 1225538.0793
16 | 2687597.4283 | 1225712.2046
17 | 2687601.9102 | 1225688.2601
18 | 2687622.2993 | 1225677.7974
19 | 2687593.2852 | 1225678.2929
20 | 2687682.2686 | 1225632.0489
21 | 2687641.8913 | 1225695.7044
22 | 2687576.2246 | 1225691.642
23 | 2687618.8548 | 1225657.7294
24 | 2687655.2726 | 1225699.3089
25 | 2687647.2814 | 1225631.9335
26 | 2687654.5759 | 1225701.9346
27 | 2687661.9876 | 1225674.7686
28 | 2687651.3962 | 1225713.9175
29 | 2687645.2394 | 1225737.1199
30 | 2687643.6833 | 1225742.9842
31 | 2687711.6756 | 1225698.3855
32 | 2687708.7271 | 1225707.7322
33 | 2687703.4728 | 1225724.3882
34 | 2687700.4654 | 1225733.9219
35 | 2687697.7813 | 1225742.4304
36 | 2687707.1663 | 1225607.5721
37 | 2687726.5435 | 1225615.595
38 | 2687692.3685 | 1225759.5889
39 | 2687689.0932 | 1225769.9717
40 | 2687682.741 | 1225790.1082
41 | 2687745.1512 | 1225802.7684
42 | 2687747.5902 | 1225775.7127
43 | 2687755.2902 | 1225748.8404
44 | 2687735.2656 | 1225596.7315
45 | 2687738.749 | 1225589.7009
46 | 2687746.3923 | 1225574.8554
47 | 2687747.9748 | 1225571.7816
48 | 2687664.0196 | 1225612.511
49 | 2687754.0171 | 1225560.0457
50 | 2687761.7878 | 1225544.7402
51 | 2687761.9941 | 1225544.3248
52 | 2687772.4893 | 1225523.186
53 | 2687838.5856 | 1225592.9955
54 | 2687647.7361 | 1225597.6239
55 | 2687622.2993 | 1225677.7974

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97281 | -0.52363 | 0.0040606 | 0.0010177
1 | 0.97294 | -0.52104 | 0 | 0
2 | 0.97242 | -0.53132 | 0 | 0
3 | 0.97247 | -0.53021 | 0 | 0
4 | 0.97404 | -0.49926 | 0.0034921 | 0.0008752
5 | 0.97226 | -0.53437 | 0.0042852 | 0.001074
6 | 0.97202 | -0.53905 | 0.0027191 | 0.00068146
7 | 0.97474 | -0.48545 | 0 | 0
8 | 0.97204 | -0.53885 | 0.0043149 | 0.0010814
9 | 0.97161 | -0.54732 | 0.0045925 | 0.001151
10 | 0.97737 | -0.43395 | 0 | 0
11 | 0.97318 | -0.51628 | 0.0026931 | 0.00067496
12 | 0.97188 | -0.54186 | 0.0037896 | 0.00094977
13 | 0.97715 | -0.43852 | 0.016049 | 0.0040222
14 | 0.9776 | -0.42978 | 0.0041249 | 0.0010338
15 | 0.97478 | -0.48516 | 0.062148 | 0.015576
16 | 0.99077 | -0.17503 | 0.013033 | 0.0032663
17 | 0.99107 | -0.16929 | 0 | 0
18 | 0.99291 | -0.13422 | 0 | 0
19 | 0.99007 | -0.18822 | 0 | 0
20 | 1 | 0 | -0.31225 | -0.080156
21 | 0.99141 | -0.16315 | 0.0065808 | 0.0016493
22 | 0.98994 | -0.19083 | 0.0067771 | 0.0016985
23 | 0.98769 | -0.23388 | 0.01468 | 0.0036793
24 | 0.99085 | -0.17399 | 0 | 0
25 | 0.98377 | -0.30944 | 0 | 0
26 | 0.99076 | -0.17575 | 0.0087839 | 0.0022015
27 | 0.99068 | -0.17735 | 0.007439 | 0.0018644
28 | 0.99044 | -0.18189 | 0.0073845 | 0.0018507
29 | 0.98999 | -0.19063 | 0.012987 | 0.0032549
30 | 0.98995 | -0.19143 | 0.0074882 | 0.0018767
31 | 0.97287 | -0.52242 | 0.0023354 | 0.00058531
32 | 0.97262 | -0.52725 | 0.0043438 | 0.0010887
33 | 0.97226 | -0.53447 | 0.0025707 | 0.00064428
34 | 0.97207 | -0.53813 | 0.0043519 | 0.0010907
35 | 0.97194 | -0.54068 | 0.0042341 | 0.0010612
36 | 0.9796 | -0.39032 | 0.0042558 | 0.0010666
37 | 0.97732 | -0.43491 | 0.0022706 | 0.00056906
38 | 0.97175 | -0.54441 | 0.0038077 | 0.0009543
39 | 0.97168 | -0.54591 | 0.003451 | 0.0008649
40 | 0.9716 | -0.54747 | 0.0039949 | 0.0010012
41 | 0.97096 | -0.56011 | 0.0027571 | 0.000691
42 | 0.97103 | -0.55872 | 0.0058672 | 0.0014705
43 | 0.97126 | -0.55426 | 0.0038711 | 0.00097018
44 | 0.97657 | -0.44966 | 0.0023594 | 0.00059132
45 | 0.9763 | -0.4549 | 0.0046416 | 0.0011633
46 | 0.97581 | -0.46463 | 0.004138 | 0.0010371
47 | 0.97572 | -0.46639 | 0.0050322 | 0.0012612
48 | 0.98137 | -0.35608 | 0 | 0
49 | 0.97544 | -0.47187 | 0.0047618 | 0.0011934
50 | 0.97515 | -0.47751 | 0.0048068 | 0.0012047
51 | 0.97515 | -0.47762 | 0.009276 | 0.0023248
52 | 0.97506 | -0.47929 | 0.0038458 | 0.00096384
53 | 0.97188 | -0.54199 | 0.0016658 | 0.00041749
54 | 0.97928 | -0.39687 | 0.018543 | 0.0046474
55 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018126 | -0.0045456 | 0.018129 | 0.0045469 | 2.2418e-06 | 1.3382e-06 | 0.027727 | 0.027727 | 0.027727 | 0.97281 | -0.52363 | 0.97294 | -0.52104 | 7.6174
1 | 0.014066 | 0.0035279 | -0.014061 | -0.0035249 | 5.1533e-06 | 2.9297e-06 | 0.021516 | 0.021516 | 0.021516 | 0.97281 | -0.52363 | 0.97242 | -0.53132 | 5.911
2 | 0.019837 | 0.0049813 | -0.019828 | -0.004976 | 8.6746e-06 | 5.2399e-06 | 0.030342 | 0.030342 | 0.030342 | 0.97294 | -0.52104 | 0.97247 | -0.53021 | 8.3358
3 | -0.037965 | -0.0095281 | 0.038005 | 0.009553 | 3.9479e-05 | 2.4879e-05 | 0.058069 | 0.058069 | 0.058069 | 0.97294 | -0.52104 | 0.97404 | -0.49926 | 15.9531
4 | 0.014061 | 0.0035249 | -0.014059 | -0.0035238 | 2.0411e-06 | 1.1605e-06 | 0.021516 | 0.021516 | 0.021516 | 0.97242 | -0.53132 | 0.97226 | -0.53437 | 5.9111
5 | 0.019828 | 0.004976 | -0.01982 | -0.004971 | 8.356e-06 | 5.0477e-06 | 0.030342 | 0.030342 | 0.030342 | 0.97247 | -0.53021 | 0.97202 | -0.53905 | 8.3358
6 | -0.041497 | -0.010428 | 0.041524 | 0.010446 | 2.7359e-05 | 1.7284e-05 | 0.063404 | 0.063404 | 0.063404 | 0.97404 | -0.49926 | 0.97474 | -0.48545 | 17.4187
7 | 0.0097733 | 0.0024498 | -0.0097712 | -0.0024488 | 2.0875e-06 | 1.0275e-06 | 0.014958 | 0.014958 | 0.014958 | 0.97226 | -0.53437 | 0.97204 | -0.53885 | 4.1093
8 | 0.017101 | 0.0042895 | -0.017094 | -0.0042855 | 6.7407e-06 | 3.9891e-06 | 0.02618 | 0.02618 | 0.02618 | 0.97202 | -0.53905 | 0.97161 | -0.54732 | 7.1923
9 | -0.073384 | -0.018459 | 0.073565 | 0.018574 | 0.00018105 | 0.00011539 | 0.11205 | 0.11205 | 0.11205 | 0.97474 | -0.48545 | 0.97737 | -0.43395 | 30.7832
10 | 0.03186 | 0.008013 | -0.031813 | -0.0079837 | 4.6832e-05 | 2.9316e-05 | 0.048647 | 0.048647 | 0.048647 | 0.97474 | -0.48545 | 0.97318 | -0.51628 | 13.3646
11 | 0.0054562 | 0.0013674 | -0.0054555 | -0.0013672 | 7.8143e-07 | 1.2993e-07 | 0.0083525 | 0.0083527 | 0.0083527 | 0.97204 | -0.53885 | 0.97188 | -0.54186 | 2.2947
12 | 0.012502 | 0.0031345 | -0.012497 | -0.0031322 | 4.1317e-06 | 2.2722e-06 | 0.019147 | 0.019147 | 0.019147 | 0.97161 | -0.54732 | 0.97126 | -0.55426 | 5.2601
13 | -0.11476 | -0.028924 | 0.115 | 0.029077 | 0.00024011 | 0.00015341 | 0.17478 | 0.17478 | 0.17478 | 0.97737 | -0.43395 | 0.9796 | -0.39032 | 48.0174
14 | 0.041199 | 0.01035 | -0.041197 | -0.010349 | 1.8951e-06 | 1.1967e-06 | 0.062733 | 0.062733 | 0.062733 | 0.97737 | -0.43395 | 0.97732 | -0.43491 | 17.2342
15 | 0.02912 | 0.0073088 | -0.029112 | -0.0073034 | 8.5356e-06 | 5.3202e-06 | 0.044529 | 0.044529 | 0.044529 | 0.97318 | -0.51628 | 0.97287 | -0.52242 | 12.2333
16 | 0.0016658 | 0.00041745 | -0.0016658 | -0.00041749 | 1.0135e-08 | -4.5001e-08 | 0.0025505 | 0.0025505 | 0.0025505 | 0.97188 | -0.54186 | 0.97188 | -0.54199 | 0.70068
17 | -0.078335 | -0.019686 | 0.078368 | 0.019707 | 3.2699e-05 | 2.0851e-05 | 0.11931 | 0.11931 | 0.11931 | 0.97715 | -0.43852 | 0.9776 | -0.42978 | 32.7771
18 | 0.062286 | 0.015664 | -0.062148 | -0.015576 | 0.0001384 | 8.8065e-05 | 0.094869 | 0.09487 | 0.09487 | 0.97715 | -0.43852 | 0.97478 | -0.48516 | 26.0631
19 | -0.082493 | -0.020741 | 0.082622 | 0.020823 | 0.00012989 | 8.2851e-05 | 0.12559 | 0.12559 | 0.12559 | 0.9776 | -0.42978 | 0.97928 | -0.39687 | 34.5019
20 | -0.013033 | -0.0032663 | 0.013036 | 0.0032682 | 3.5646e-06 | 1.9617e-06 | 0.019573 | 0.019573 | 0.019573 | 0.99077 | -0.17503 | 0.99107 | -0.16929 | 5.3773
21 | -0.25736 | -0.06582 | 0.2578 | 0.066099 | 0.00043752 | 0.0002791 | 0.38689 | 0.38689 | 0.38689 | 0.99107 | -0.16929 | 0.99291 | -0.13422 | 35.4291
22 | 0.24433 | 0.062552 | -0.2441 | -0.062409 | 0.00022383 | 0.00014274 | 0.36731 | 0.36731 | 0.36731 | 0.99107 | -0.16929 | 0.99007 | -0.18822 | 33.6367
23 | -0.30858 | -0.078868 | 0.3106 | 0.080156 | 0.0020176 | 0.0012883 | 0.463 | 0.463 | 0.463 | 0.99291 | -0.13422 | 1 | 0 | 42.399
24 | 0.050778 | 0.012769 | -0.050707 | -0.012725 | 7.004e-05 | 4.4409e-05 | 0.076113 | 0.076113 | 0.076113 | 0.99291 | -0.13422 | 0.99141 | -0.16315 | 20.9101
25 | 0.006778 | 0.0016988 | -0.0067771 | -0.0016985 | 8.4308e-07 | 2.61e-07 | 0.010187 | 0.010187 | 0.010187 | 0.99007 | -0.18822 | 0.98994 | -0.19083 | 2.7986
26 | 0.23733 | 0.06071 | -0.2368 | -0.060377 | 0.00052322 | 0.0003336 | 0.35713 | 0.35713 | 0.35713 | 0.99007 | -0.18822 | 0.98769 | -0.23388 | 32.7039
27 | 0.044127 | 0.011075 | -0.044104 | -0.011061 | 2.28e-05 | 1.4413e-05 | 0.066236 | 0.066236 | 0.066236 | 0.99141 | -0.16315 | 0.99085 | -0.17399 | 18.1967
28 | 0.22212 | 0.056697 | -0.22131 | -0.056181 | 0.00080778 | 0.000516 | 0.33501 | 0.33501 | 0.33501 | 0.98769 | -0.23388 | 0.98377 | -0.30944 | 46.0179
29 | 0.036664 | 0.009196 | -0.036661 | -0.0091941 | 3.0886e-06 | 1.9417e-06 | 0.055062 | 0.055062 | 0.055062 | 0.99085 | -0.17399 | 0.99076 | -0.17575 | 15.1271
30 | 0.0074402 | 0.0018648 | -0.007439 | -0.0018644 | 1.1911e-06 | 4.3467e-07 | 0.011173 | 0.011174 | 0.011174 | 0.99085 | -0.17399 | 0.99068 | -0.17735 | 3.0696
31 | 0.10159 | 0.025742 | -0.10136 | -0.025597 | 0.00022708 | 0.00014501 | 0.15376 | 0.15376 | 0.15376 | 0.98377 | -0.30944 | 0.98137 | -0.35608 | 42.2427
32 | 0.11972 | 0.030439 | -0.11926 | -0.030144 | 0.00046442 | 0.00029532 | 0.18125 | 0.18125 | 0.18125 | 0.98377 | -0.30944 | 0.9796 | -0.39032 | 24.8967
33 | 0.027877 | 0.0069926 | -0.027869 | -0.0069876 | 8.1503e-06 | 5.0566e-06 | 0.04187 | 0.04187 | 0.04187 | 0.99076 | -0.17575 | 0.99044 | -0.18189 | 11.5028
34 | 0.020484 | 0.0051368 | -0.020476 | -0.0051317 | 8.5263e-06 | 5.148e-06 | 0.030776 | 0.030776 | 0.030776 | 0.99044 | -0.18189 | 0.98999 | -0.19063 | 8.4549
35 | 0.0074885 | 0.0018768 | -0.0074882 | -0.0018767 | 2.8825e-07 | 1.0647e-07 | 0.011256 | 0.011256 | 0.011256 | 0.98999 | -0.19063 | 0.98995 | -0.19143 | 3.0922
36 | 0.026776 | 0.0067181 | -0.02677 | -0.0067143 | 6.1653e-06 | 3.8241e-06 | 0.040957 | 0.040957 | 0.040957 | 0.97287 | -0.52242 | 0.97262 | -0.52725 | 11.252
37 | 0.022426 | 0.0056256 | -0.022418 | -0.0056209 | 7.7106e-06 | 4.7181e-06 | 0.034312 | 0.034312 | 0.034312 | 0.97262 | -0.52725 | 0.97226 | -0.53447 | 9.4263
38 | 0.019848 | 0.0049767 | -0.019844 | -0.0049746 | 3.4593e-06 | 2.09e-06 | 0.030377 | 0.030377 | 0.030377 | 0.97226 | -0.53447 | 0.97207 | -0.53813 | 8.3455
39 | 0.015492 | 0.0038839 | -0.015491 | -0.0038828 | 1.8817e-06 | 1.0937e-06 | 0.023716 | 0.023716 | 0.023716 | 0.97207 | -0.53813 | 0.97194 | -0.54068 | 6.5153
40 | 0.011256 | 0.0028216 | -0.011254 | -0.0028206 | 2.0038e-06 | 1.0595e-06 | 0.017233 | 0.017234 | 0.017234 | 0.97194 | -0.54068 | 0.97175 | -0.54441 | 4.7345
41 | 0.038926 | 0.0097797 | -0.038899 | -0.0097625 | 2.7383e-05 | 1.7265e-05 | 0.059276 | 0.059276 | 0.059276 | 0.97732 | -0.43491 | 0.97657 | -0.44966 | 16.2845
42 | 0.0074467 | 0.0018663 | -0.0074462 | -0.0018661 | 5.3086e-07 | 2.0489e-07 | 0.011403 | 0.011403 | 0.011403 | 0.97175 | -0.54441 | 0.97168 | -0.54591 | 3.1327
43 | 0.0039952 | 0.0010012 | -0.0039949 | -0.0010012 | 2.964e-07 | -7.1827e-08 | 0.0061182 | 0.0061183 | 0.0061183 | 0.97168 | -0.54591 | 0.9716 | -0.54747 | 1.6809
44 | -0.0027571 | -0.000691 | 0.0027573 | 0.00069078 | 1.8262e-07 | -2.2052e-07 | 0.0042254 | 0.0042252 | 0.0042254 | 0.97096 | -0.56011 | 0.97103 | -0.55872 | 1.1608
45 | -0.0086245 | -0.0021612 | 0.0086263 | 0.0021621 | 1.8319e-06 | 8.2638e-07 | 0.013216 | 0.013216 | 0.013216 | 0.97103 | -0.55872 | 0.97126 | -0.55426 | 3.6308
46 | 0.036539 | 0.0091712 | -0.03653 | -0.0091654 | 9.1241e-06 | 5.7412e-06 | 0.055681 | 0.055681 | 0.055681 | 0.97657 | -0.44966 | 0.9763 | -0.4549 | 15.2969
47 | 0.031889 | 0.0080021 | -0.031874 | -0.0079929 | 1.4793e-05 | 9.2591e-06 | 0.048606 | 0.048606 | 0.048606 | 0.9763 | -0.4549 | 0.97581 | -0.46463 | 13.3534
48 | 0.027736 | 0.0069558 | -0.027734 | -0.0069543 | 2.3194e-06 | 1.4412e-06 | 0.042296 | 0.042296 | 0.042296 | 0.97581 | -0.46463 | 0.97572 | -0.46639 | 11.6199
49 | 0.022701 | 0.0056932 | -0.022695 | -0.0056895 | 5.9335e-06 | 3.6326e-06 | 0.034622 | 0.034622 | 0.034622 | 0.97572 | -0.46639 | 0.97544 | -0.47187 | 9.5115
50 | 0.10136 | 0.025597 | -0.10117 | -0.025471 | 0.00019767 | 0.00012623 | 0.15376 | 0.15376 | 0.15376 | 0.98137 | -0.35608 | 0.97928 | -0.39687 | 42.2427
51 | 0.017934 | 0.0044961 | -0.017929 | -0.0044932 | 4.8179e-06 | 2.8693e-06 | 0.027358 | 0.027358 | 0.027358 | 0.97544 | -0.47187 | 0.97515 | -0.47751 | 7.516
52 | 0.013122 | 0.0032886 | -0.013122 | -0.0032885 | 6.973e-08 | 3.8842e-08 | 0.020023 | 0.020023 | 0.020023 | 0.97515 | -0.47751 | 0.97515 | -0.47762 | 5.5009
53 | 0.0038461 | 0.00096374 | -0.0038458 | -0.00096384 | 3.0484e-07 | -9.9307e-08 | 0.0058688 | 0.0058689 | 0.0058689 | 0.97515 | -0.47762 | 0.97506 | -0.47929 | 1.6123

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.34062 | 0.087267

## res_load
| p_mw | q_mvar
0 | 0.0040606 | 0.0010177
1 | 0.0034921 | 0.0008752
2 | 0.0042852 | 0.001074
3 | 0.0027191 | 0.00068146
4 | 0.0043149 | 0.0010814
5 | 0.0045925 | 0.001151
6 | 0.0026931 | 0.00067496
7 | 0.0037896 | 0.00094977
8 | 0.016049 | 0.0040222
9 | 0.0041249 | 0.0010338
10 | 0.062148 | 0.015576
11 | 0.013033 | 0.0032663
12 | 0.028373 | 0.0071108
13 | 0.0065808 | 0.0016493
14 | 0.0067771 | 0.0016985
15 | 0.01468 | 0.0036793
16 | 0.0087839 | 0.0022015
17 | 0.007439 | 0.0018644
18 | 0.0073845 | 0.0018507
19 | 0.012987 | 0.0032549
20 | 0.0074882 | 0.0018767
21 | 0.0023354 | 0.00058531
22 | 0.0043438 | 0.0010887
23 | 0.0025707 | 0.00064428
24 | 0.0043519 | 0.0010907
25 | 0.0042341 | 0.0010612
26 | 0.0042558 | 0.0010666
27 | 0.0022706 | 0.00056906
28 | 0.0038077 | 0.0009543
29 | 0.003451 | 0.0008649
30 | 0.0039949 | 0.0010012
31 | 0.0027571 | 0.000691
32 | 0.0058672 | 0.0014705
33 | 0.0038711 | 0.00097018
34 | 0.0023594 | 0.00059132
35 | 0.0046416 | 0.0011633
36 | 0.004138 | 0.0010371
37 | 0.0050322 | 0.0012612
38 | 0.0047618 | 0.0011934
39 | 0.0048068 | 0.0012047
40 | 0.009276 | 0.0023248
41 | 0.0038458 | 0.00096384
42 | 0.0016658 | 0.00041749
43 | 0.018543 | 0.0046474

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1