## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1704-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1704-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1704-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1704-6_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1704-6_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1704-6_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1704-6_0_4_node_140 | 0.4 | n |  | TRUE
7 | bus_LV_1704-6_0_4_node_146 | 0.4 | n |  | TRUE
8 | bus_LV_1704-6_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1704-6_0_4_node_141 | 0.4 | n |  | TRUE
10 | bus_LV_1704-6_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1704-6_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1704-6_0_4_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_1704-6_0_4_node_150 | 0.4 | n |  | TRUE
14 | bus_LV_1704-6_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1704-6_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1704-6_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1704-6_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1704-6_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_1704-6_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_1704-6_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_1704-6_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1704-6_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1704-6_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1704-6_0_4_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1704-6_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1704-6_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1704-6_0_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1704-6_0_4_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1704-6_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1704-6_0_4_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_1704-6_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1704-6_0_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1704-6_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_1704-6_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_1704-6_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1704-6_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1704-6_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_1704-6_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1704-6_0_4_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_1704-6_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1704-6_0_4_node_84 | 0.4 | n |  | TRUE
42 | bus_LV_1704-6_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1704-6_0_4_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1704-6_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1704-6_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_1704-6_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1704-6_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1704-6_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1704-6_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1704-6_0_4_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1704-6_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_1704-6_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1704-6_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_1704-6_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_1704-6_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_1704-6_0_4_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_1704-6_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_1704-6_0_4_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_1704-6_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_1704-6_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_1704-6_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_1704-6_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_1704-6_0_4_node_79 | 0.4 | n |  | TRUE
64 | bus_LV_1704-6_0_4_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_1704-6_0_4_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_1704-6_0_4_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_1704-6_0_4_node_95 | 0.4 | n |  | TRUE
68 | bus_LV_1704-6_0_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_1704-6_0_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_1704-6_0_4_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_1704-6_0_4_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_1704-6_0_4_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_1704-6_0_4_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_1704-6_0_4_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_1704-6_0_4_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_1704-6_0_4_node_312 | 0.4 | n |  | TRUE
77 | bus_LV_1704-6_0_4_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_1704-6_0_4_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_1704-6_0_4_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_1704-6_0_4_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_1704-6_0_4_node_143 | 0.4 | n |  | TRUE
82 | bus_LV_1704-6_0_4_node_147 | 0.4 | n |  | TRUE
83 | bus_LV_1704-6_0_4_node_148 | 0.4 | n |  | TRUE
84 | bus_LV_1704-6_0_4_node_149 | 0.4 | n |  | TRUE
85 | bus_MV_25_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1704-6_0_4_load_0 | 0 | 0.0023566 | 0.00059061 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1704-6_0_4_load_1 | 1 | 0.00056738 | 0.0001422 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1704-6_0_4_load_3 | 2 | 0.00086155 | 0.00021592 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1704-6_0_4_load_5 | 3 | 0.0032607 | 0.0008172 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1704-6_0_4_load_140 | 6 | 0.0003661 | 9.1752e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1704-6_0_4_load_146 | 7 | 0.00076033 | 0.00019056 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1704-6_0_4_load_7 | 8 | 0.00046168 | 0.00011571 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1704-6_0_4_load_141 | 9 | 0.0010947 | 0.00027435 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1704-6_0_4_load_10 | 11 | 0.00073829 | 0.00018503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1704-6_0_4_load_70 | 12 | 0.0024483 | 0.00061359 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1704-6_0_4_load_150 | 13 | 0.00030168 | 7.5609e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1704-6_0_4_load_22 | 16 | 0.00040004 | 0.00010026 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1704-6_0_4_load_25 | 17 | 0.00040524 | 0.00010156 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1704-6_0_4_load_26 | 18 | 0.0014201 | 0.00035591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1704-6_0_4_load_75 | 20 | 0.00031359 | 7.8593e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1704-6_0_4_load_34 | 21 | 0.00081994 | 0.0002055 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1704-6_0_4_load_31 | 22 | 0.0087776 | 0.0021999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1704-6_0_4_load_32 | 23 | 0.00015112 | 3.7873e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1704-6_0_4_load_33 | 24 | 0.00020321 | 5.0929e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1704-6_0_4_load_35 | 25 | 0.001049 | 0.00026289 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1704-6_0_4_load_36 | 26 | 0.0032235 | 0.00080789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1704-6_0_4_load_48 | 27 | 0.00090926 | 0.00022788 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1704-6_0_4_load_57 | 28 | 0.0010307 | 0.00025833 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1704-6_0_4_load_37 | 29 | 0.00050384 | 0.00012627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1704-6_0_4_load_38 | 30 | 0.00011564 | 2.8982e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1704-6_0_4_load_40 | 32 | 0.00030797 | 7.7183e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1704-6_0_4_load_41 | 33 | 0.00024424 | 6.1212e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1704-6_0_4_load_44 | 35 | 0.00085235 | 0.00021362 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1704-6_0_4_load_45 | 36 | 0.0004485 | 0.0001124 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1704-6_0_4_load_84 | 41 | 0.0025262 | 0.00063313 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1704-6_0_4_load_50 | 43 | 0.00013785 | 3.4549e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1704-6_0_4_load_51 | 44 | 0.00015583 | 3.9054e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1704-6_0_4_load_60 | 45 | 0.00053025 | 0.00013289 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1704-6_0_4_load_52 | 46 | 0.0037746 | 0.000946 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1704-6_0_4_load_53 | 47 | 0.0029546 | 0.00074049 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1704-6_0_4_load_55 | 49 | 0.0034879 | 0.00087414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1704-6_0_4_load_58 | 51 | 0.00027782 | 6.9627e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1704-6_0_4_load_59 | 52 | 0.0001123 | 2.8144e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1704-6_0_4_load_63 | 53 | 0.00012452 | 3.1208e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1704-6_0_4_load_62 | 54 | 0.00024918 | 6.245e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1704-6_0_4_load_71 | 55 | 0.0020498 | 0.00051373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1704-6_0_4_load_72 | 56 | 0.0018701 | 0.00046868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1704-6_0_4_load_73 | 57 | 0.0013427 | 0.00033652 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1704-6_0_4_load_82 | 58 | 0.00052098 | 0.00013057 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1704-6_0_4_load_74 | 59 | 0.00013151 | 3.2959e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1704-6_0_4_load_76 | 60 | 0.0035853 | 0.00089857 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1704-6_0_4_load_79 | 63 | 0.0027013 | 0.000677 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1704-6_0_4_load_80 | 64 | 0.0056036 | 0.0014044 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1704-6_0_4_load_81 | 65 | 0.0065978 | 0.0016536 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1704-6_0_4_load_91 | 66 | 0.0055753 | 0.0013973 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1704-6_0_4_load_83 | 68 | 0.0022907 | 0.0005741 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1704-6_0_4_load_85 | 70 | 0.0010276 | 0.00025754 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1704-6_0_4_load_96 | 71 | 0.00075096 | 0.00018821 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1704-6_0_4_load_86 | 72 | 0.00083226 | 0.00020858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1704-6_0_4_load_89 | 74 | 0.00093327 | 0.0002339 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1704-6_0_4_load_90 | 75 | 0.0037327 | 0.00093549 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1704-6_0_4_load_312 | 76 | 0.00052255 | 0.00013096 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1704-6_0_4_load_94 | 77 | 0.040629 | 0.010183 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1704-6_0_4_load_142 | 80 | 0.00028398 | 7.1172e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1704-6_0_4_load_147 | 82 | 0.00029999 | 7.5186e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1704-6_0_4_load_148 | 83 | 7.2979e-05 | 1.829e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1704-6_0_4_load_149 | 84 | 0.00014206 | 3.5604e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1704-6_0_4_line_0 |  | 0 | 1 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1704-6_0_4_line_1 |  | 1 | 2 | 0.045514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1704-6_0_4_line_2 |  | 2 | 3 | 0.2463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1704-6_0_4_line_3 |  | 3 | 4 | 0.02136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1704-6_0_4_line_4 |  | 4 | 10 | 0.071366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1704-6_0_4_line_5 |  | 4 | 11 | 0.019859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1704-6_0_4_line_6 |  | 5 | 6 | 0.035176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_1704-6_0_4_line_7 |  | 5 | 7 | 0.06066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1704-6_0_4_line_8 |  | 6 | 51 | 0.029732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_1704-6_0_4_line_9 |  | 7 | 84 | 0.027295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_1704-6_0_4_line_10 |  | 8 | 9 | 0.0081692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1704-6_0_4_line_11 |  | 9 | 80 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1704-6_0_4_line_12 |  | 10 | 12 | 0.14755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1704-6_0_4_line_13 |  | 11 | 13 | 0.0057083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1704-6_0_4_line_14 |  | 12 | 55 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1704-6_0_4_line_15 |  | 13 | 83 | 0.2874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1704-6_0_4_line_16 |  | 14 | 15 | 0.093963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1704-6_0_4_line_17 |  | 14 | 16 | 0.27203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1704-6_0_4_line_18 |  | 15 | 17 | 0.010149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1704-6_0_4_line_19 |  | 15 | 18 | 0.02943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1704-6_0_4_line_20 |  | 16 | 19 | 0.18186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1704-6_0_4_line_21 |  | 18 | 20 | 0.07517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1704-6_0_4_line_22 |  | 19 | 21 | 0.054342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1704-6_0_4_line_23 |  | 19 | 22 | 0.0085211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1704-6_0_4_line_24 |  | 20 | 59 | 0.0012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1704-6_0_4_line_25 |  | 21 | 26 | 0.014333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1704-6_0_4_line_26 |  | 22 | 23 | 0.026659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1704-6_0_4_line_27 |  | 23 | 24 | 0.044626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1704-6_0_4_line_28 |  | 24 | 25 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1704-6_0_4_line_29 |  | 25 | 27 | 0.032615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1704-6_0_4_line_30 |  | 26 | 28 | 0.042299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1704-6_0_4_line_31 |  | 27 | 42 | 0.15544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1704-6_0_4_line_32 |  | 28 | 48 | 0.045191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1704-6_0_4_line_33 |  | 29 | 30 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1704-6_0_4_line_34 |  | 29 | 31 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1704-6_0_4_line_35 |  | 30 | 32 | 0.032617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1704-6_0_4_line_36 |  | 31 | 33 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1704-6_0_4_line_37 |  | 32 | 34 | 0.058172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1704-6_0_4_line_38 |  | 34 | 35 | 0.24568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1704-6_0_4_line_39 |  | 34 | 36 | 0.067418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1704-6_0_4_line_40 |  | 35 | 40 | 0.0036821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1704-6_0_4_line_41 |  | 36 | 38 | 0.51129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1704-6_0_4_line_42 |  | 37 | 38 | 0.27522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1704-6_0_4_line_43 |  | 37 | 39 | 0.13497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1704-6_0_4_line_44 |  | 39 | 67 | 0.034054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1704-6_0_4_line_45 |  | 39 | 66 | 0.016862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1704-6_0_4_line_46 |  | 40 | 41 | 0.032386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1704-6_0_4_line_47 |  | 41 | 70 | 0.025888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1704-6_0_4_line_48 |  | 42 | 43 | 0.27041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1704-6_0_4_line_49 |  | 42 | 44 | 0.38002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1704-6_0_4_line_50 |  | 43 | 45 | 0.016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1704-6_0_4_line_51 |  | 46 | 47 | 0.030336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1704-6_0_4_line_52 |  | 46 | 48 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1704-6_0_4_line_53 |  | 47 | 49 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1704-6_0_4_line_54 |  | 48 | 50 | 0.17282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1704-6_0_4_line_55 |  | 50 | 51 | 0.40919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1704-6_0_4_line_56 |  | 50 | 52 | 0.051902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1704-6_0_4_line_57 |  | 52 | 53 | 0.18506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1704-6_0_4_line_58 |  | 53 | 54 | 0.00025547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1704-6_0_4_line_59 |  | 55 | 56 | 0.0021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_1704-6_0_4_line_60 |  | 56 | 57 | 0.036202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_1704-6_0_4_line_61 |  | 57 | 58 | 0.001085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_1704-6_0_4_line_62 |  | 58 | 67 | 0.089081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_1704-6_0_4_line_63 |  | 60 | 61 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1704-6_0_4_line_64 |  | 61 | 62 | 0.025294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1704-6_0_4_line_65 |  | 61 | 63 | 0.0094523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1704-6_0_4_line_66 |  | 62 | 64 | 0.0047085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1704-6_0_4_line_67 |  | 63 | 65 | 0.0087515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1704-6_0_4_line_68 |  | 65 | 66 | 0.019399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1704-6_0_4_line_69 |  | 67 | 77 | 0.011675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1704-6_0_4_line_70 |  | 68 | 69 | 0.21566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1704-6_0_4_line_71 |  | 69 | 75 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1704-6_0_4_line_72 |  | 69 | 72 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1704-6_0_4_line_73 |  | 70 | 71 | 0.029344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1704-6_0_4_line_74 |  | 71 | 78 | 0.21701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1704-6_0_4_line_75 |  | 72 | 73 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1704-6_0_4_line_76 |  | 73 | 74 | 0.024322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1704-6_0_4_line_77 |  | 75 | 76 | 0.21543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_1704-6_0_4_line_78 |  | 76 | 79 | 0.097994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_1704-6_0_4_line_79 |  | 78 | 79 | 0.018753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_1704-6_0_4_line_80 |  | 80 | 81 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_1704-6_0_4_line_81 |  | 81 | 82 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_1704-6_0_4_line_82 |  | 81 | 83 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_1704-6_0_4_line_83 |  | 82 | 84 | 0.15546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1704-6_0_4_trafo_70 | 0.63 MVA 20/0.4 kV | 85 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2685762.8729 | 1224535.1168 | 2685766.8898 | 1224514.9864
1 | 2685789.6433 | 1224483.1358 | 2685789.8982 | 1224498.0608 | 2685768.1245 | 1224508.7989 | 2685766.8898 | 1224514.9864
2 | 2685789.6433 | 1224483.1358 | 2685789.6433 | 1224483.1358 | 2685809.1119 | 1224435.0724 | 2685825.8999 | 1224349.4446 | 2685833.5775 | 1224325.0274 | 2685848.6592 | 1224308.8227 | 2685904.3204 | 1224287.9247
3 | 2685924.3173 | 1224280.4169 | 2685904.3204 | 1224287.9247
4 | 2685924.3173 | 1224280.4169 | 2685897.6105 | 1224221.5023 | 2685893.6161 | 1224216.1076
5 | 2685924.3173 | 1224280.4169 | 2685932.5189 | 1224298.5033
6 | 2686372.4339 | 1224660.5512 | 2686373.9332 | 1224643.4612 | 2686372.134 | 1224625.5308
7 | 2686372.4339 | 1224660.5512 | 2686365.589 | 1224659.351 | 2686353.2705 | 1224651.2779 | 2686328.9672 | 1224627.7982 | 2686324.9949 | 1224624.4585
8 | 2686372.134 | 1224625.5308 | 2686371.151 | 1224615.7351 | 2686365.5895 | 1224596.6413
9 | 2686304.102 | 1224606.8934 | 2686324.9949 | 1224624.4585
10 | 2686120.3712 | 1224530.6735 | 2686127.1313 | 1224526.0868
11 | 2686127.1313 | 1224526.0868 | 2686150.1361 | 1224510.4778
12 | 2685893.6161 | 1224216.1076 | 2685824.6403 | 1224122.938 | 2685810.273 | 1224099.0479 | 2685808.6075 | 1224095.6878
13 | 2685932.5189 | 1224298.5033 | 2685935.5863 | 1224303.3174
14 | 2685808.6075 | 1224095.6878 | 2685800.9783 | 1224080.2961
15 | 2685935.5863 | 1224303.3174 | 2685940.5272 | 1224311.0719 | 2685957.3657 | 1224326.5478 | 2686015.3959 | 1224367.1916 | 2686038.7865 | 1224385.7646 | 2686076.0502 | 1224420.3269 | 2686158.8671 | 1224477.2306 | 2686161.2617 | 1224479.5217
16 | 2686302.2699 | 1223665.7626 | 2686296.2295 | 1223664.4408 | 2686256.4091 | 1223675.2045 | 2686210.4728 | 1223684.1008
17 | 2686302.2699 | 1223665.7626 | 2686305.7301 | 1223668.2478 | 2686307.6645 | 1223676.059 | 2686306.7159 | 1223683.9395 | 2686296.0962 | 1223741.6028 | 2686276.5125 | 1223842.1657 | 2686270.2632 | 1223870.4278 | 2686264.3138 | 1223888.4651 | 2686252.6715 | 1223906.8645 | 2686239.3772 | 1223918.9024 | 2686237.001 | 1223920.8151
18 | 2686210.4728 | 1223684.1008 | 2686216.2484 | 1223675.7557
19 | 2686210.4728 | 1223684.1008 | 2686194.9693 | 1223709.1163
20 | 2686081.3335 | 1224002.7505 | 2686107.7727 | 1224002.5549 | 2686135.8715 | 1223996.6796 | 2686158.5025 | 1223983.9983 | 2686237.001 | 1223920.8151
21 | 2686147.2629 | 1223767.0269 | 2686188.2014 | 1223720.0363 | 2686194.9693 | 1223709.1163
22 | 2686081.3335 | 1224002.7505 | 2686056.0431 | 1223998.5042 | 2686046.3037 | 1224000.2202 | 2686038.7392 | 1224004.6694 | 2686034.3956 | 1224013.713
23 | 2686081.3335 | 1224002.7505 | 2686083.8472 | 1224010.8924
24 | 2686147.2629 | 1223767.0269 | 2686146.4463 | 1223767.9642
25 | 2686034.3956 | 1224013.713 | 2686028.1904 | 1224026.6327
26 | 2686110.0449 | 1224015.8321 | 2686083.8472 | 1224010.8924
27 | 2686151.6912 | 1224030.237 | 2686143.503 | 1224025.3207 | 2686133.3465 | 1224020.2258 | 2686110.0449 | 1224015.8321
28 | 2686164.495 | 1224037.9245 | 2686151.6912 | 1224030.237
29 | 2686164.495 | 1224037.9245 | 2686170.3353 | 1224041.4311 | 2686181.8116 | 1224044.933 | 2686195.6155 | 1224044.7994
30 | 2686028.1904 | 1224026.6327 | 2686026.4087 | 1224030.3422 | 2686026.2456 | 1224035.3321 | 2686032.9137 | 1224058.7779 | 2686035.8986 | 1224067.0728
31 | 2686346.556 | 1224014.11 | 2686324.8083 | 1224025.9917 | 2686300.4687 | 1224030.9755 | 2686252.7783 | 1224035.5098 | 2686195.6155 | 1224044.7994 | 2686195.6155 | 1224044.7994
32 | 2686052.9525 | 1224108.8907 | 2686042.4497 | 1224085.2783 | 2686035.8986 | 1224067.0728
33 | 2685568.8754 | 1224527.5246 | 2685577.2189 | 1224544.5205 | 2685577.5432 | 1224548.7595
34 | 2685559.2654 | 1224507.9485 | 2685568.8754 | 1224527.5246
35 | 2685578.6993 | 1224581.2906 | 2685579.2997 | 1224571.7135 | 2685577.5432 | 1224548.7595
36 | 2685559.2654 | 1224507.9485 | 2685555.5625 | 1224494.4082
37 | 2685554.8034 | 1224627.8665 | 2685569.0154 | 1224622.9896 | 2685577.7153 | 1224596.9858 | 2685578.6993 | 1224581.2906
38 | 2685554.8034 | 1224627.8665 | 2685581.8616 | 1224707.2543 | 2685634.7906 | 1224860.1604
39 | 2685554.8034 | 1224627.8665 | 2685532.336 | 1224564.3024
40 | 2685635.995 | 1224863.6399 | 2685634.7906 | 1224860.1604
41 | 2685393.0493 | 1224082.0374 | 2685403.4798 | 1224100.2995 | 2685419.0285 | 1224160.8529 | 2685459.1832 | 1224219.3914 | 2685466.7251 | 1224241.8038 | 2685469.158 | 1224262.4862 | 2685469.3331 | 1224368.0054 | 2685470.7518 | 1224386.9609 | 2685477.5513 | 1224409.3072 | 2685532.336 | 1224564.3024
42 | 2685393.0493 | 1224082.0374 | 2685403.0453 | 1224067.1707 | 2685425.3481 | 1224040.25 | 2685437.4536 | 1224031.6401 | 2685453.3055 | 1224026.1972 | 2685467.1286 | 1224024.7279 | 2685504.1254 | 1224025.4819 | 2685514.7856 | 1224027.7476 | 2685538.1392 | 1224035.9109 | 2685546.628 | 1224038.8793 | 2685555.4038 | 1224040.3398 | 2685633.5954 | 1224034.6823 | 2685641.1081 | 1224032.222
43 | 2685641.1081 | 1224032.222 | 2685648.5296 | 1224029.7826 | 2685670.794 | 1224015.0929 | 2685690.0219 | 1223997.4687 | 2685705.1868 | 1223976.5616 | 2685717.5006 | 1223948.275 | 2685724.0925 | 1223941.3096 | 2685729.2469 | 1223938.3263 | 2685731.4252 | 1223938.202
44 | 2685750.1129 | 1223962.8213 | 2685745.6604 | 1223946.5682 | 2685740.738 | 1223940.8268 | 2685731.4252 | 1223938.202
45 | 2685731.4252 | 1223938.202 | 2685739.0233 | 1223923.1487
46 | 2685635.995 | 1224863.6399 | 2685646.5907 | 1224894.2438
47 | 2685655.0605 | 1224918.7075 | 2685655.0605 | 1224918.7075 | 2685646.5907 | 1224894.2438
48 | 2686346.556 | 1224014.11 | 2686353.8653 | 1224024.1229 | 2686357.8942 | 1224036.0006 | 2686364.6782 | 1224082.1973 | 2686370.2994 | 1224089.9064 | 2686375.9816 | 1224093.4134 | 2686412.2641 | 1224103.6358 | 2686484.0682 | 1224125.2711 | 2686512.5906 | 1224142.4083 | 2686518.8568 | 1224151.1165 | 2686517.204 | 1224160.4766 | 2686525.9218 | 1224174.3307
49 | 2686346.556 | 1224014.11 | 2686422.4847 | 1223970.6374 | 2686436.2592 | 1223956.3609 | 2686599.2072 | 1223737.71
50 | 2686536.8089 | 1224186.2464 | 2686531.5241 | 1224183.2337 | 2686525.9218 | 1224174.3307
51 | 2686066.2974 | 1224109.6172 | 2686085.7907 | 1224122.9083 | 2686091.4863 | 1224126.517
52 | 2686052.9525 | 1224108.8907 | 2686060.4166 | 1224105.6074 | 2686066.2974 | 1224109.6172
53 | 2686108.958 | 1224137.5868 | 2686091.4863 | 1224126.517
54 | 2686138.8464 | 1224258.9467 | 2686100.3231 | 1224194.5231 | 2686052.9525 | 1224108.8907
55 | 2686138.8464 | 1224258.9467 | 2686179.7139 | 1224336.3246 | 2686197.1601 | 1224356.9246 | 2686229.7176 | 1224386.5275 | 2686256.8194 | 1224421.0549 | 2686288.9183 | 1224471.7771 | 2686319.1681 | 1224514.0224 | 2686351.1401 | 1224568.1899 | 2686365.5895 | 1224596.6413
56 | 2686138.8464 | 1224258.9467 | 2686149.951 | 1224255.0937 | 2686184.1439 | 1224276.1335
57 | 2686341.7582 | 1224373.1177 | 2686184.1439 | 1224276.1335
58 | 2686341.7582 | 1224373.1177 | 2686341.9757 | 1224373.2516
59 | 2685800.9783 | 1224080.2961 | 2685800.0393 | 1224078.4017
60 | 2685783.9616 | 1224045.9654 | 2685800.0393 | 1224078.4017
61 | 2685783.9616 | 1224045.9654 | 2685783.4798 | 1224044.9933
62 | 2685750.1129 | 1223962.8213 | 2685759.2049 | 1223996.0194 | 2685783.4798 | 1224044.9933
63 | 2685762.6368 | 1223894.1881 | 2685763.5001 | 1223887.9629 | 2685767.6954 | 1223876.4267
64 | 2685762.6368 | 1223894.1881 | 2685767.0861 | 1223894.3523 | 2685774.4317 | 1223897.1934 | 2685785.0617 | 1223904.7183
65 | 2685762.6368 | 1223894.1881 | 2685756.4228 | 1223901.3108
66 | 2685785.0617 | 1223904.7183 | 2685782.7076 | 1223908.796
67 | 2685756.4228 | 1223901.3108 | 2685752.9517 | 1223905.2895 | 2685750.5553 | 1223907.8011
68 | 2685739.0233 | 1223923.1487 | 2685742.5182 | 1223916.2245 | 2685750.5553 | 1223907.8011
69 | 2685750.1129 | 1223962.8213 | 2685754.7688 | 1223955.4833 | 2685756.0504 | 1223952.7877
70 | 2685539.9021 | 1224895.836 | 2685383.4319 | 1225044.2469
71 | 2685383.4319 | 1225044.2469 | 2685384.3633 | 1225061.0804
72 | 2685383.4319 | 1225044.2469 | 2685370.101 | 1225030.0793 | 2685365.0941 | 1225029.3321
73 | 2685661.2336 | 1224947.3945 | 2685655.0605 | 1224918.7075
74 | 2685647.9435 | 1225160.7601 | 2685642.9539 | 1225118.6705 | 2685644.4806 | 1225082.6678 | 2685656.4913 | 1225041.0343 | 2685664.0733 | 1225014.7253 | 2685666.0192 | 1224969.6335 | 2685661.2336 | 1224947.3945
75 | 2685348.2579 | 1225026.8194 | 2685365.0941 | 1225029.3321
76 | 2685348.2579 | 1225026.8194 | 2685334.4882 | 1225006.7707
77 | 2685596.7712 | 1225097.0581 | 2685384.3633 | 1225061.0804
78 | 2685596.7712 | 1225097.0581 | 2685603.7469 | 1225106.5316 | 2685624.4058 | 1225136.2046 | 2685649.8661 | 1225179.4117
79 | 2685647.9435 | 1225160.7601 | 2685649.8661 | 1225179.4117
80 | 2686175.5759 | 1224493.2167 | 2686150.1361 | 1224510.4778
81 | 2686175.5759 | 1224493.2167 | 2686187.2552 | 1224504.3948
82 | 2686175.5759 | 1224493.2167 | 2686161.2617 | 1224479.5217
83 | 2686304.102 | 1224606.8934 | 2686254.9516 | 1224565.5715 | 2686198.5072 | 1224515.1638 | 2686187.2552 | 1224504.3948

## bus_geodata
| x | y | coords
0 | 2685762.8729 | 1224535.1168
1 | 2685766.8898 | 1224514.9864
2 | 2685789.6433 | 1224483.1358
3 | 2685904.3204 | 1224287.9247
4 | 2685924.3173 | 1224280.4169
5 | 2686372.4339 | 1224660.5512
6 | 2686372.134 | 1224625.5308
7 | 2686324.9949 | 1224624.4585
8 | 2686120.3712 | 1224530.6735
9 | 2686127.1313 | 1224526.0868
10 | 2685893.6161 | 1224216.1076
11 | 2685932.5189 | 1224298.5033
12 | 2685808.6075 | 1224095.6878
13 | 2685935.5863 | 1224303.3174
14 | 2686302.2699 | 1223665.7626
15 | 2686210.4728 | 1223684.1008
16 | 2686237.001 | 1223920.8151
17 | 2686216.2484 | 1223675.7557
18 | 2686194.9693 | 1223709.1163
19 | 2686081.3335 | 1224002.7505
20 | 2686147.2629 | 1223767.0269
21 | 2686034.3956 | 1224013.713
22 | 2686083.8472 | 1224010.8924
23 | 2686110.0449 | 1224015.8321
24 | 2686151.6912 | 1224030.237
25 | 2686164.495 | 1224037.9245
26 | 2686028.1904 | 1224026.6327
27 | 2686195.6155 | 1224044.7994
28 | 2686035.8986 | 1224067.0728
29 | 2685568.8754 | 1224527.5246
30 | 2685577.5432 | 1224548.7595
31 | 2685559.2654 | 1224507.9485
32 | 2685578.6993 | 1224581.2906
33 | 2685555.5625 | 1224494.4082
34 | 2685554.8034 | 1224627.8665
35 | 2685634.7906 | 1224860.1604
36 | 2685532.336 | 1224564.3024
37 | 2685641.1081 | 1224032.222
38 | 2685393.0493 | 1224082.0374
39 | 2685731.4252 | 1223938.202
40 | 2685635.995 | 1224863.6399
41 | 2685646.5907 | 1224894.2438
42 | 2686346.556 | 1224014.11
43 | 2686525.9218 | 1224174.3307
44 | 2686599.2072 | 1223737.71
45 | 2686536.8089 | 1224186.2464
46 | 2686066.2974 | 1224109.6172
47 | 2686091.4863 | 1224126.517
48 | 2686052.9525 | 1224108.8907
49 | 2686108.958 | 1224137.5868
50 | 2686138.8464 | 1224258.9468
51 | 2686365.5895 | 1224596.6413
52 | 2686184.1439 | 1224276.1335
53 | 2686341.7582 | 1224373.1177
54 | 2686341.9757 | 1224373.2516
55 | 2685800.9783 | 1224080.2961
56 | 2685800.0393 | 1224078.4017
57 | 2685783.9616 | 1224045.9654
58 | 2685783.4798 | 1224044.9933
59 | 2686146.4463 | 1223767.9642
60 | 2685767.6954 | 1223876.4267
61 | 2685762.6368 | 1223894.1881
62 | 2685785.0617 | 1223904.7183
63 | 2685756.4228 | 1223901.3108
64 | 2685782.7076 | 1223908.796
65 | 2685750.5553 | 1223907.8011
66 | 2685739.0233 | 1223923.1487
67 | 2685750.1129 | 1223962.8213
68 | 2685539.9021 | 1224895.836
69 | 2685383.4319 | 1225044.2469
70 | 2685655.0605 | 1224918.7075
71 | 2685661.2336 | 1224947.3945
72 | 2685365.0941 | 1225029.3321
73 | 2685348.2579 | 1225026.8194
74 | 2685334.4882 | 1225006.7707
75 | 2685384.3633 | 1225061.0804
76 | 2685596.7712 | 1225097.0581
77 | 2685756.0504 | 1223952.7877
78 | 2685647.9435 | 1225160.7601
79 | 2685649.8661 | 1225179.4117
80 | 2686150.1361 | 1224510.4778
81 | 2686175.5759 | 1224493.2167
82 | 2686187.2552 | 1224504.3948
83 | 2686161.2617 | 1224479.5217
84 | 2686304.102 | 1224606.8934
85 | 2685750.1129 | 1223962.8213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99456 | -0.10347 | 0.0023566 | 0.00059061
1 | 0.99461 | -0.10261 | 0.00056738 | 0.0001422
2 | 0.99473 | -0.10027 | 0.00086155 | 0.00021592
3 | 0.99558 | -0.083831 | 0.0032607 | 0.0008172
4 | 0.99572 | -0.081181 | 0 | 0
5 | 0.98659 | -0.25575 | 0 | 0
6 | 0.98608 | -0.26555 | 0.0003661 | 9.1752e-05
7 | 0.98746 | -0.23887 | 0.00076033 | 0.00019056
8 | 0.99033 | -0.18394 | 0.00046168 | 0.00011571
9 | 0.99033 | -0.18387 | 0.0010947 | 0.00027435
10 | 0.99711 | -0.054643 | 0 | 0
11 | 0.99539 | -0.087346 | 0.00073829 | 0.00018503
12 | 1 | 0 | -0.13102 | -0.032942
13 | 0.9953 | -0.089081 | 0.00030168 | 7.5609e-05
14 | 0.97152 | -0.5506 | 0 | 0
15 | 0.97132 | -0.55455 | 0 | 0
16 | 0.9721 | -0.53914 | 0.00040004 | 0.00010026
17 | 0.97132 | -0.55462 | 0.00040524 | 0.00010156
18 | 0.97127 | -0.55556 | 0.0014201 | 0.00035591
19 | 0.97255 | -0.53013 | 0 | 0
20 | 0.97124 | -0.55618 | 0.00031359 | 7.8593e-05
21 | 0.97329 | -0.51548 | 0.00081994 | 0.0002055
22 | 0.97246 | -0.53201 | 0.0087776 | 0.0021999
23 | 0.97238 | -0.53356 | 0.00015112 | 3.7873e-05
24 | 0.97226 | -0.53604 | 0.00020321 | 5.0929e-05
25 | 0.97222 | -0.53681 | 0.001049 | 0.00026289
26 | 0.9735 | -0.51141 | 0.0032235 | 0.00080789
27 | 0.97216 | -0.53787 | 0.00090926 | 0.00022788
28 | 0.97423 | -0.49689 | 0.0010307 | 0.00025833
29 | 0.97939 | -0.39689 | 0.00050384 | 0.00012627
30 | 0.97941 | -0.39658 | 0.00011564 | 2.8982e-05
31 | 0.97939 | -0.39699 | 0 | 0
32 | 0.97943 | -0.39607 | 0.00030797 | 7.7183e-05
33 | 0.97938 | -0.39705 | 0.00024424 | 6.1212e-05
34 | 0.9795 | -0.39482 | 0 | 0
35 | 0.97641 | -0.45528 | 0.00085235 | 0.00021362
36 | 0.98041 | -0.37685 | 0.0004485 | 0.0001124
37 | 0.99147 | -0.16325 | 0 | 0
38 | 0.9876 | -0.2375 | 0 | 0
39 | 0.99337 | -0.12704 | 0 | 0
40 | 0.97637 | -0.45613 | 0 | 0
41 | 0.97599 | -0.46362 | 0.0025262 | 0.00063313
42 | 0.97205 | -0.5403 | 0 | 0
43 | 0.97188 | -0.54366 | 0.00013785 | 3.4549e-05
44 | 0.97199 | -0.54144 | 0.00015583 | 3.9054e-05
45 | 0.97187 | -0.54382 | 0.00053025 | 0.00013289
46 | 0.97491 | -0.4834 | 0.0037746 | 0.000946
47 | 0.97473 | -0.48699 | 0.0029546 | 0.00074049
48 | 0.97506 | -0.48054 | 0 | 0
49 | 0.97466 | -0.48831 | 0.0034879 | 0.00087414
50 | 0.97987 | -0.38616 | 0 | 0
51 | 0.98566 | -0.27374 | 0.00027782 | 6.9627e-05
52 | 0.97984 | -0.38662 | 0.0001123 | 2.8144e-05
53 | 0.97978 | -0.38789 | 0.00012452 | 3.1208e-05
54 | 0.97978 | -0.38789 | 0.00024918 | 6.245e-05
55 | 0.99933 | -0.012832 | 0.0020498 | 0.00051373
56 | 0.99925 | -0.014374 | 0.0018701 | 0.00046868
57 | 0.99789 | -0.040234 | 0.0013427 | 0.00033652
58 | 0.99785 | -0.040998 | 0.00052098 | 0.00013057
59 | 0.97124 | -0.55619 | 0.00013151 | 3.2959e-05
60 | 0.99243 | -0.14511 | 0.0035853 | 0.00089857
61 | 0.9925 | -0.14393 | 0 | 0
62 | 0.99237 | -0.14644 | 0 | 0
63 | 0.99257 | -0.14239 | 0.0027013 | 0.000677
64 | 0.99234 | -0.1469 | 0.0056036 | 0.0014044
65 | 0.99267 | -0.14055 | 0.0065978 | 0.0016536
66 | 0.993 | -0.13421 | 0.0055753 | 0.0013973
67 | 0.9946 | -0.10347 | 0 | 0
68 | 0.97082 | -0.56578 | 0.0022907 | 0.0005741
69 | 0.97128 | -0.55664 | 0 | 0
70 | 0.97575 | -0.46841 | 0.0010276 | 0.00025754
71 | 0.9755 | -0.4733 | 0.00075096 | 0.00018821
72 | 0.97124 | -0.55744 | 0.00083226 | 0.00020858
73 | 0.97122 | -0.55773 | 0 | 0
74 | 0.9712 | -0.55815 | 0.00093327 | 0.0002339
75 | 0.97134 | -0.55537 | 0.0037327 | 0.00093549
76 | 0.97291 | -0.52437 | 0.00052255 | 0.00013096
77 | 0.99416 | -0.11183 | 0.040629 | 0.010183
78 | 0.97381 | -0.50648 | 0 | 0
79 | 0.97367 | -0.50936 | 0 | 0
80 | 0.99037 | -0.1831 | 0.00028398 | 7.1172e-05
81 | 0.99042 | -0.1821 | 0 | 0
82 | 0.99018 | -0.18674 | 0.00029999 | 7.5186e-05
83 | 0.99074 | -0.17609 | 7.2979e-05 | 1.829e-05
84 | 0.98787 | -0.23109 | 0.00014206 | 3.5604e-05
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0023566 | -0.00059061 | 0.0023567 | 0.00059041 | 9.569e-08 | -2.0515e-07 | 0.0035258 | 0.0035257 | 0.0035258 | 0.99456 | -0.10347 | 0.99461 | -0.10261 | 0.96863
1 | -0.0029241 | -0.00073261 | 0.0029244 | 0.00073223 | 3.2661e-07 | -3.8174e-07 | 0.0043745 | 0.0043743 | 0.0043745 | 0.99461 | -0.10261 | 0.99473 | -0.10027 | 1.2018
2 | -0.0037859 | -0.00094815 | 0.0037889 | 0.00094684 | 2.9616e-06 | -1.3046e-06 | 0.0056631 | 0.005662 | 0.0056631 | 0.99473 | -0.10027 | 0.99558 | -0.083831 | 1.5558
3 | -0.0070496 | -0.001764 | 0.0070504 | 0.0017643 | 8.8906e-07 | 2.9121e-07 | 0.010535 | 0.010535 | 0.010535 | 0.99558 | -0.083831 | 0.99572 | -0.081181 | 2.8944
4 | -0.042872 | -0.010943 | 0.042927 | 0.010976 | 5.5047e-05 | 3.3371e-05 | 0.064139 | 0.064139 | 0.064139 | 0.99572 | -0.081181 | 0.99711 | -0.054643 | 8.8104
5 | 0.035822 | 0.0091788 | -0.035811 | -0.0091725 | 1.0699e-05 | 6.3311e-06 | 0.053604 | 0.053604 | 0.053604 | 0.99572 | -0.081181 | 0.99539 | -0.087346 | 7.3632
6 | 0.031382 | 0.0079717 | -0.031367 | -0.0079631 | 1.48e-05 | 8.574e-06 | 0.04737 | 0.04737 | 0.04737 | 0.98659 | -0.25575 | 0.98608 | -0.26555 | 6.5069
7 | -0.031382 | -0.0079717 | 0.031408 | 0.0079865 | 2.5521e-05 | 1.4783e-05 | 0.04737 | 0.047369 | 0.04737 | 0.98659 | -0.25575 | 0.98746 | -0.23887 | 6.5069
8 | 0.031001 | 0.0078714 | -0.030989 | -0.0078643 | 1.222e-05 | 7.0623e-06 | 0.046818 | 0.046818 | 0.046818 | 0.98608 | -0.26555 | 0.98566 | -0.27374 | 6.4311
9 | -0.032168 | -0.008177 | 0.03218 | 0.008184 | 1.2046e-05 | 7.0108e-06 | 0.048515 | 0.048515 | 0.048515 | 0.98746 | -0.23887 | 0.98787 | -0.23109 | 6.6642
10 | -0.00046168 | -0.00011571 | 0.00046168 | 0.0001156 | 1.4741e-09 | -1.0417e-07 | 0.00069369 | 0.00069365 | 0.00069369 | 0.99033 | -0.18394 | 0.99033 | -0.18387 | 0.19057
11 | -0.0015563 | -0.00038995 | 0.0015564 | 0.00038963 | 5.7004e-08 | -3.2123e-07 | 0.0023384 | 0.0023383 | 0.0023384 | 0.99033 | -0.18387 | 0.99037 | -0.1831 | 0.64242
12 | -0.042927 | -0.010976 | 0.043041 | 0.011045 | 0.00011381 | 6.8977e-05 | 0.064139 | 0.064137 | 0.064139 | 0.99711 | -0.054643 | 1 | 0 | 8.8103
13 | 0.035073 | 0.0089874 | -0.03507 | -0.0089857 | 2.9501e-06 | 1.7397e-06 | 0.052501 | 0.052501 | 0.052501 | 0.99539 | -0.087346 | 0.9953 | -0.089081 | 7.2116
14 | 0.086325 | 0.021896 | -0.086272 | -0.021863 | 5.3224e-05 | 3.3613e-05 | 0.12855 | 0.12855 | 0.12855 | 1 | 0 | 0.99933 | -0.012832 | 17.6574
15 | 0.034768 | 0.0089101 | -0.034622 | -0.0088241 | 0.000146 | 8.6003e-05 | 0.05205 | 0.052052 | 0.052052 | 0.9953 | -0.089081 | 0.99074 | -0.17609 | 7.1501
16 | 0.002271 | 0.00056677 | -0.0022706 | -0.00056766 | 4.2615e-07 | -8.9055e-07 | 0.0034774 | 0.0034779 | 0.0034779 | 0.97152 | -0.5506 | 0.97132 | -0.55455 | 0.95546
17 | -0.002271 | -0.00056677 | 0.0022722 | 0.00056419 | 1.2331e-06 | -2.5812e-06 | 0.0034774 | 0.0034762 | 0.0034774 | 0.97152 | -0.5506 | 0.9721 | -0.53914 | 0.95534
18 | 0.00040524 | 0.00010144 | -0.00040524 | -0.00010156 | 1.4666e-09 | -1.2468e-07 | 0.00062076 | 0.0006208 | 0.0006208 | 0.97132 | -0.55455 | 0.97132 | -0.55462 | 0.17055
19 | 0.0018653 | 0.00046622 | -0.0018652 | -0.00046653 | 9.0094e-08 | -3.066e-07 | 0.0028571 | 0.0028572 | 0.0028572 | 0.97132 | -0.55455 | 0.97127 | -0.55556 | 0.78495
20 | -0.0026723 | -0.00066445 | 0.0026734 | 0.00066292 | 1.1398e-06 | -1.5261e-06 | 0.0040886 | 0.0040878 | 0.0040886 | 0.9721 | -0.53914 | 0.97255 | -0.53013 | 1.1232
21 | 0.00044511 | 0.00011061 | -0.0004451 | -0.00011154 | 1.3102e-08 | -9.2191e-07 | 0.00068158 | 0.00068192 | 0.00068192 | 0.97127 | -0.55556 | 0.97124 | -0.55618 | 0.18734
22 | -0.01459 | -0.0036384 | 0.0146 | 0.0036442 | 1.0148e-05 | 5.8199e-06 | 0.022316 | 0.022315 | 0.022316 | 0.97255 | -0.53013 | 0.97329 | -0.51548 | 6.1307
23 | 0.011916 | 0.0029755 | -0.011915 | -0.0029749 | 1.0617e-06 | 5.7375e-07 | 0.018228 | 0.018228 | 0.018228 | 0.97255 | -0.53013 | 0.97246 | -0.53201 | 5.0077
24 | 0.00013151 | 3.2944e-05 | -0.00013151 | -3.2959e-05 | 1.8871e-11 | -1.5372e-08 | 0.00020148 | 0.00020148 | 0.00020148 | 0.97124 | -0.55618 | 0.97124 | -0.55619 | 0.055352
25 | -0.01542 | -0.0038497 | 0.015423 | 0.0038514 | 2.9856e-06 | 1.7326e-06 | 0.023569 | 0.023569 | 0.023569 | 0.97329 | -0.51548 | 0.9735 | -0.51141 | 6.475
26 | 0.0031374 | 0.00077503 | -0.0031372 | -0.00077521 | 2.3003e-07 | -1.835e-07 | 0.0047967 | 0.0047969 | 0.0047969 | 0.97246 | -0.53201 | 0.97238 | -0.53356 | 1.3178
27 | 0.0029861 | 0.00073734 | -0.0029857 | -0.00073767 | 3.4885e-07 | -3.3023e-07 | 0.0045656 | 0.0045658 | 0.0045658 | 0.97238 | -0.53356 | 0.97226 | -0.53604 | 1.2543
28 | 0.0027825 | 0.00068674 | -0.0027824 | -0.00068686 | 1.0139e-07 | -1.2031e-07 | 0.0042548 | 0.0042549 | 0.0042549 | 0.97226 | -0.53604 | 0.97222 | -0.53681 | 1.1689
29 | 0.0017335 | 0.00042397 | -0.0017334 | -0.00042432 | 8.5857e-08 | -3.4947e-07 | 0.0026494 | 0.0026496 | 0.0026496 | 0.97222 | -0.53681 | 0.97216 | -0.53787 | 0.7279
30 | -0.018646 | -0.0046593 | 0.018659 | 0.0046671 | 1.288e-05 | 7.7171e-06 | 0.028496 | 0.028496 | 0.028496 | 0.9735 | -0.51141 | 0.97423 | -0.49689 | 7.8286
31 | 0.00082414 | 0.00019644 | -0.00082404 | -0.0001983 | 9.2281e-08 | -1.8681e-06 | 0.0012579 | 0.0012585 | 0.0012585 | 0.97216 | -0.53787 | 0.97205 | -0.5403 | 0.34575
32 | -0.01969 | -0.0049254 | 0.019705 | 0.0049346 | 1.5323e-05 | 9.2438e-06 | 0.03007 | 0.03007 | 0.03007 | 0.97423 | -0.49689 | 0.97506 | -0.48054 | 8.261
33 | -0.00074808 | -0.00018704 | 0.00074809 | 0.00018675 | 1.1227e-08 | -2.8458e-07 | 0.0011364 | 0.0011363 | 0.0011364 | 0.97939 | -0.39689 | 0.97941 | -0.39658 | 0.3122
34 | 0.00024424 | 6.0762e-05 | -0.00024424 | -6.1036e-05 | 1.1254e-09 | -2.7371e-07 | 0.00037092 | 0.00037102 | 0.00037102 | 0.97939 | -0.39689 | 0.97939 | -0.39699 | 0.10193
35 | -0.00086373 | -0.00021573 | 0.00086375 | 0.00021534 | 2.1052e-08 | -3.9701e-07 | 0.001312 | 0.0013119 | 0.001312 | 0.97941 | -0.39658 | 0.97943 | -0.39607 | 0.36044
36 | 0.00024424 | 6.1036e-05 | -0.00024424 | -6.1212e-05 | 7.2476e-10 | -1.7618e-07 | 0.00037102 | 0.00037108 | 0.00037108 | 0.97939 | -0.39699 | 0.97938 | -0.39705 | 0.10195
37 | -0.0011717 | -0.00029252 | 0.0011718 | 0.00029183 | 6.9087e-08 | -6.8794e-07 | 0.0017797 | 0.0017795 | 0.0017797 | 0.97943 | -0.39607 | 0.9795 | -0.39482 | 0.48894
38 | 0.01355 | 0.0034131 | -0.013511 | -0.0033911 | 3.9065e-05 | 2.1919e-05 | 0.020591 | 0.020592 | 0.020592 | 0.9795 | -0.39482 | 0.97641 | -0.45528 | 5.6572
39 | -0.014722 | -0.0037049 | 0.014735 | 0.0037121 | 1.2652e-05 | 7.2479e-06 | 0.022371 | 0.02237 | 0.022371 | 0.9795 | -0.39482 | 0.98041 | -0.37685 | 6.1458
40 | 0.012659 | 0.0031775 | -0.012658 | -0.0031772 | 5.1397e-07 | 2.8289e-07 | 0.019293 | 0.019293 | 0.019293 | 0.97641 | -0.45528 | 0.97637 | -0.45613 | 5.3004
41 | -0.015183 | -0.0038245 | 0.015285 | 0.0038832 | 0.00010187 | 5.87e-05 | 0.023051 | 0.023049 | 0.023051 | 0.98041 | -0.37685 | 0.9876 | -0.2375 | 6.3327
42 | 0.01534 | 0.0039148 | -0.015285 | -0.0038832 | 5.4826e-05 | 3.1553e-05 | 0.023047 | 0.023049 | 0.023049 | 0.99147 | -0.16325 | 0.9876 | -0.2375 | 6.3321
43 | -0.01534 | -0.0039148 | 0.015367 | 0.0039303 | 2.6885e-05 | 1.5463e-05 | 0.023047 | 0.023047 | 0.023047 | 0.99147 | -0.16325 | 0.99337 | -0.12704 | 6.3317
44 | -0.039447 | -0.0099704 | 0.039491 | 0.0099985 | 4.4633e-05 | 2.8123e-05 | 0.059119 | 0.059119 | 0.059119 | 0.99337 | -0.12704 | 0.9946 | -0.10347 | 16.2415
45 | 0.02408 | 0.0060401 | -0.024072 | -0.006035 | 8.228e-06 | 5.0477e-06 | 0.036072 | 0.036072 | 0.036072 | 0.99337 | -0.12704 | 0.993 | -0.13421 | 9.91
46 | 0.012658 | 0.0031772 | -0.012654 | -0.0031748 | 4.5207e-06 | 2.4884e-06 | 0.019293 | 0.019293 | 0.019293 | 0.97637 | -0.45613 | 0.97599 | -0.46362 | 5.3004
47 | 0.010128 | 0.0025416 | -0.010125 | -0.0025405 | 2.315e-06 | 1.1581e-06 | 0.015442 | 0.015442 | 0.015442 | 0.97599 | -0.46362 | 0.97575 | -0.46841 | 4.2423
48 | 0.00066821 | 0.00016395 | -0.0006681 | -0.00016724 | 1.0597e-07 | -3.2837e-06 | 0.0010216 | 0.0010228 | 0.0010228 | 0.97205 | -0.5403 | 0.97188 | -0.54366 | 0.281
49 | 0.00015583 | 3.4348e-05 | -0.00015583 | -3.9054e-05 | 8.0538e-09 | -4.7054e-06 | 0.00023695 | 0.00023855 | 0.00023855 | 0.97205 | -0.5403 | 0.97199 | -0.54144 | 0.065537
50 | 0.00053025 | 0.00013269 | -0.00053025 | -0.00013289 | 4.1031e-09 | -2.031e-07 | 0.00081178 | 0.00081185 | 0.00081185 | 0.97188 | -0.54366 | 0.97187 | -0.54382 | 0.22304
51 | 0.0064438 | 0.0016148 | -0.0064427 | -0.0016145 | 1.1004e-06 | 3.2607e-07 | 0.0098351 | 0.0098353 | 0.0098353 | 0.97491 | -0.4834 | 0.97473 | -0.48699 | 2.702
52 | -0.010218 | -0.0025608 | 0.01022 | 0.0025615 | 1.3931e-06 | 7.011e-07 | 0.015596 | 0.015596 | 0.015596 | 0.97491 | -0.4834 | 0.97506 | -0.48054 | 4.2847
53 | 0.0034881 | 0.00087403 | -0.0034879 | -0.00087414 | 2.1992e-07 | -1.1704e-07 | 0.0053248 | 0.0053249 | 0.0053249 | 0.97473 | -0.48699 | 0.97466 | -0.48831 | 1.4629
54 | -0.029925 | -0.0074962 | 0.03006 | 0.0075805 | 0.00013514 | 8.4326e-05 | 0.045666 | 0.045665 | 0.045666 | 0.97506 | -0.48054 | 0.97987 | -0.38616 | 12.5457
55 | -0.030546 | -0.0076993 | 0.030711 | 0.0077947 | 0.00016519 | 9.535e-05 | 0.046402 | 0.046399 | 0.046402 | 0.97987 | -0.38616 | 0.98566 | -0.27374 | 6.374
56 | 0.00048603 | 0.00011884 | -0.00048602 | -0.00011948 | 1.0576e-08 | -6.4699e-07 | 0.00073703 | 0.00073725 | 0.00073725 | 0.97987 | -0.38616 | 0.97984 | -0.38662 | 0.20254
57 | 0.00037372 | 9.1338e-05 | -0.0003737 | -9.3655e-05 | 2.2321e-08 | -2.3166e-06 | 0.00056672 | 0.00056755 | 0.00056755 | 0.97984 | -0.38662 | 0.97978 | -0.38789 | 0.15592
58 | 0.00024918 | 6.2447e-05 | -0.00024918 | -6.245e-05 | 1.3773e-11 | -3.2082e-09 | 0.00037843 | 0.00037844 | 0.00037844 | 0.97978 | -0.38789 | 0.97978 | -0.38789 | 0.10397
59 | 0.084222 | 0.021349 | -0.084216 | -0.021345 | 6.2434e-06 | 3.9404e-06 | 0.12549 | 0.12549 | 0.12549 | 0.99933 | -0.012832 | 0.99925 | -0.014374 | 17.2381
60 | 0.082346 | 0.020876 | -0.082244 | -0.020812 | 0.00010221 | 6.4467e-05 | 0.12271 | 0.12271 | 0.12271 | 0.99925 | -0.014374 | 0.99789 | -0.040234 | 16.8557
61 | 0.080901 | 0.020475 | -0.080898 | -0.020473 | 2.964e-06 | 1.8686e-06 | 0.12071 | 0.12071 | 0.12071 | 0.99789 | -0.040234 | 0.99785 | -0.040998 | 16.5806
62 | 0.080377 | 0.020343 | -0.080137 | -0.020191 | 0.00024024 | 0.00015143 | 0.11993 | 0.11993 | 0.11993 | 0.99785 | -0.040998 | 0.9946 | -0.10347 | 16.474
63 | -0.0035853 | -0.00089857 | 0.0035855 | 0.00089846 | 2.0113e-07 | -1.1112e-07 | 0.0053757 | 0.0053756 | 0.0053757 | 0.99243 | -0.14511 | 0.9925 | -0.14393 | 1.4768
64 | 0.0056044 | 0.0014045 | -0.0056037 | -0.0014044 | 6.6969e-07 | 1.0176e-07 | 0.0084025 | 0.0084026 | 0.0084026 | 0.9925 | -0.14393 | 0.99237 | -0.14644 | 2.3084
65 | -0.00919 | -0.002303 | 0.0091906 | 0.0023033 | 6.729e-07 | 3.0849e-07 | 0.013778 | 0.013778 | 0.013778 | 0.9925 | -0.14393 | 0.99257 | -0.14239 | 3.7852
66 | 0.0056037 | 0.0014044 | -0.0056036 | -0.0014044 | 1.2466e-07 | 1.8954e-08 | 0.0084026 | 0.0084026 | 0.0084026 | 0.99237 | -0.14644 | 0.99234 | -0.1469 | 2.3084
67 | -0.011892 | -0.0029803 | 0.011893 | 0.0029808 | 1.043e-06 | 5.5443e-07 | 0.017828 | 0.017828 | 0.017828 | 0.99257 | -0.14239 | 0.99267 | -0.14055 | 4.8977
68 | -0.018491 | -0.0046344 | 0.018496 | 0.0046377 | 5.5888e-06 | 3.326e-06 | 0.027718 | 0.027718 | 0.027718 | 0.99267 | -0.14055 | 0.993 | -0.13421 | 7.6148
69 | 0.040646 | 0.010193 | -0.040629 | -0.010183 | 1.6191e-05 | 1.0211e-05 | 0.060812 | 0.060812 | 0.060812 | 0.9946 | -0.10347 | 0.99416 | -0.11183 | 16.7067
70 | -0.0022907 | -0.0005741 | 0.0022917 | 0.00057207 | 9.9667e-07 | -2.03e-06 | 0.003511 | 0.0035101 | 0.003511 | 0.97082 | -0.56578 | 0.97128 | -0.55664 | 0.96457
71 | -0.0040573 | -0.0010138 | 0.0040576 | 0.0010137 | 2.4418e-07 | -5.2396e-08 | 0.0062148 | 0.0062147 | 0.0062148 | 0.97128 | -0.55664 | 0.97134 | -0.55537 | 1.7074
72 | 0.0017656 | 0.00044173 | -0.0017656 | -0.00044199 | 6.7255e-08 | -2.6036e-07 | 0.0027047 | 0.0027048 | 0.0027048 | 0.97128 | -0.55664 | 0.97124 | -0.55744 | 0.74308
73 | 0.0090976 | 0.0022829 | -0.0090955 | -0.0022819 | 2.1184e-06 | 9.8936e-07 | 0.013875 | 0.013875 | 0.013875 | 0.97575 | -0.46841 | 0.9755 | -0.4733 | 3.8118
74 | 0.0083446 | 0.0020937 | -0.0083314 | -0.002088 | 1.3188e-05 | 5.7357e-06 | 0.01273 | 0.012731 | 0.012731 | 0.9755 | -0.4733 | 0.97381 | -0.50648 | 3.4974
75 | 0.0009333 | 0.00023341 | -0.00093329 | -0.00023361 | 1.3049e-08 | -2.0231e-07 | 0.0014297 | 0.0014298 | 0.0014298 | 0.97124 | -0.55744 | 0.97122 | -0.55773 | 0.3928
76 | 0.00093329 | 0.00023361 | -0.00093327 | -0.0002339 | 1.8647e-08 | -2.8905e-07 | 0.0014298 | 0.0014299 | 0.0014299 | 0.97122 | -0.55773 | 0.9712 | -0.55815 | 0.39283
77 | -0.0077902 | -0.0019492 | 0.0078017 | 0.0019539 | 1.1503e-05 | 4.6907e-06 | 0.011933 | 0.011932 | 0.011933 | 0.97134 | -0.55537 | 0.97291 | -0.52437 | 3.2782
78 | -0.0083243 | -0.0020849 | 0.0083302 | 0.0020875 | 5.9559e-06 | 2.5939e-06 | 0.012731 | 0.012731 | 0.012731 | 0.97291 | -0.52437 | 0.97367 | -0.50936 | 3.4975
79 | 0.0083314 | 0.002088 | -0.0083302 | -0.0020875 | 1.1397e-06 | 4.9615e-07 | 0.012731 | 0.012731 | 0.012731 | 0.97381 | -0.50648 | 0.97367 | -0.50936 | 3.4974
80 | -0.0018404 | -0.0004608 | 0.0018405 | 0.00046046 | 8.8133e-08 | -3.3921e-07 | 0.002765 | 0.0027648 | 0.002765 | 0.99037 | -0.1831 | 0.99042 | -0.1821 | 0.75961
81 | 0.032699 | 0.0083394 | -0.032691 | -0.0083351 | 7.331e-06 | 4.2759e-06 | 0.049178 | 0.049178 | 0.049178 | 0.99042 | -0.1821 | 0.99018 | -0.18674 | 6.7553
82 | -0.034539 | -0.0087999 | 0.034549 | 0.0088058 | 1.0022e-05 | 5.9039e-06 | 0.051943 | 0.051943 | 0.051943 | 0.99042 | -0.1821 | 0.99074 | -0.17609 | 7.135
83 | 0.032391 | 0.00826 | -0.032322 | -0.0082196 | 6.9214e-05 | 4.0307e-05 | 0.048727 | 0.048729 | 0.048729 | 0.99018 | -0.18674 | 0.98787 | -0.23109 | 6.6935

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.13346 | 0.033555

## res_load
| p_mw | q_mvar
0 | 0.0023566 | 0.00059061
1 | 0.00056738 | 0.0001422
2 | 0.00086155 | 0.00021592
3 | 0.0032607 | 0.0008172
4 | 0.0003661 | 9.1752e-05
5 | 0.00076033 | 0.00019056
6 | 0.00046168 | 0.00011571
7 | 0.0010947 | 0.00027435
8 | 0.00073829 | 0.00018503
9 | 0.0024483 | 0.00061359
10 | 0.00030168 | 7.5609e-05
11 | 0.00040004 | 0.00010026
12 | 0.00040524 | 0.00010156
13 | 0.0014201 | 0.00035591
14 | 0.00031359 | 7.8593e-05
15 | 0.00081994 | 0.0002055
16 | 0.0087776 | 0.0021999
17 | 0.00015112 | 3.7873e-05
18 | 0.00020321 | 5.0929e-05
19 | 0.001049 | 0.00026289
20 | 0.0032235 | 0.00080789
21 | 0.00090926 | 0.00022788
22 | 0.0010307 | 0.00025833
23 | 0.00050384 | 0.00012627
24 | 0.00011564 | 2.8982e-05
25 | 0.00030797 | 7.7183e-05
26 | 0.00024424 | 6.1212e-05
27 | 0.00085235 | 0.00021362
28 | 0.0004485 | 0.0001124
29 | 0.0025262 | 0.00063313
30 | 0.00013785 | 3.4549e-05
31 | 0.00015583 | 3.9054e-05
32 | 0.00053025 | 0.00013289
33 | 0.0037746 | 0.000946
34 | 0.0029546 | 0.00074049
35 | 0.0034879 | 0.00087414
36 | 0.00027782 | 6.9627e-05
37 | 0.0001123 | 2.8144e-05
38 | 0.00012452 | 3.1208e-05
39 | 0.00024918 | 6.245e-05
40 | 0.0020498 | 0.00051373
41 | 0.0018701 | 0.00046868
42 | 0.0013427 | 0.00033652
43 | 0.00052098 | 0.00013057
44 | 0.00013151 | 3.2959e-05
45 | 0.0035853 | 0.00089857
46 | 0.0027013 | 0.000677
47 | 0.0056036 | 0.0014044
48 | 0.0065978 | 0.0016536
49 | 0.0055753 | 0.0013973
50 | 0.0022907 | 0.0005741
51 | 0.0010276 | 0.00025754
52 | 0.00075096 | 0.00018821
53 | 0.00083226 | 0.00020858
54 | 0.00093327 | 0.0002339
55 | 0.0037327 | 0.00093549
56 | 0.00052255 | 0.00013096
57 | 0.040629 | 0.010183
58 | 0.00028398 | 7.1172e-05
59 | 0.00029999 | 7.5186e-05
60 | 7.2979e-05 | 1.829e-05
61 | 0.00014206 | 3.5604e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1