## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1705-1_1_4_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_1705-1_1_4_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_1705-1_1_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_1705-1_1_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_1705-1_1_4_node_91 | 0.4 | n |  | TRUE
5 | bus_LV_1705-1_1_4_node_90 | 0.4 | n |  | TRUE
6 | bus_LV_1705-1_1_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1705-1_1_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_1705-1_1_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1705-1_1_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1705-1_1_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1705-1_1_4_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_1705-1_1_4_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_1705-1_1_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1705-1_1_4_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_1705-1_1_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_1705-1_1_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1705-1_1_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1705-1_1_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1705-1_1_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1705-1_1_4_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1705-1_1_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1705-1_1_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1705-1_1_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1705-1_1_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_1705-1_1_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1705-1_1_4_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_1705-1_1_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1705-1_1_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_1705-1_1_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1705-1_1_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1705-1_1_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1705-1_1_4_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_1705-1_1_4_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1705-1_1_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1705-1_1_4_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_1705-1_1_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1705-1_1_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1705-1_1_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1705-1_1_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1705-1_1_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1705-1_1_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_1705-1_1_4_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1705-1_1_4_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_1705-1_1_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1705-1_1_4_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_1705-1_1_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_1705-1_1_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1705-1_1_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1705-1_1_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1705-1_1_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1705-1_1_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1705-1_1_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1705-1_1_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_1705-1_1_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_1705-1_1_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_1705-1_1_4_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_1705-1_1_4_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_1705-1_1_4_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_1705-1_1_4_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_1705-1_1_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1705-1_1_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_1705-1_1_4_node_88 | 0.4 | n |  | TRUE
63 | bus_LV_1705-1_1_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_1705-1_1_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_1705-1_1_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_1705-1_1_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_1705-1_1_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1705-1_1_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_1705-1_1_4_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_1705-1_1_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_1705-1_1_4_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_1705-1_1_4_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_1705-1_1_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_1705-1_1_4_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_1705-1_1_4_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_1705-1_1_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_1705-1_1_4_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_1705-1_1_4_node_94 | 0.4 | n |  | TRUE
79 | bus_MV_222_1_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1705-1_1_4_load_12 | 0 | 0.0018022 | 0.00045166 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1705-1_1_4_load_13 | 1 | 0.00057269 | 0.00014353 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1705-1_1_4_load_16 | 3 | 0.0041653 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1705-1_1_4_load_91 | 4 | 0.00075896 | 0.00019021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1705-1_1_4_load_90 | 5 | 0.0014301 | 0.00035841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1705-1_1_4_load_17 | 6 | 0.00079998 | 0.00020049 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1705-1_1_4_load_18 | 7 | 0.0010996 | 0.00027558 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1705-1_1_4_load_20 | 9 | 0.00095383 | 0.00023905 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1705-1_1_4_load_22 | 11 | 0.01112 | 0.0027869 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1705-1_1_4_load_89 | 12 | 0.0014547 | 0.00036457 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1705-1_1_4_load_40 | 13 | 0.0017028 | 0.00042676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1705-1_1_4_load_92 | 14 | 0.00051304 | 0.00012858 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1705-1_1_4_load_39 | 15 | 0.00070623 | 0.000177 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1705-1_1_4_load_23 | 16 | 0.0017687 | 0.00044328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1705-1_1_4_load_24 | 17 | 0.0034333 | 0.00086048 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1705-1_1_4_load_25 | 18 | 0.0048504 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1705-1_1_4_load_26 | 19 | 0.0027263 | 0.00068326 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1705-1_1_4_load_67 | 22 | 0.0036269 | 0.000909 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1705-1_1_4_load_46 | 24 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1705-1_1_4_load_47 | 25 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1705-1_1_4_load_49 | 26 | 0.0032698 | 0.00081949 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1705-1_1_4_load_30 | 27 | 0.0057771 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1705-1_1_4_load_66 | 28 | 0.0038166 | 0.00095653 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1705-1_1_4_load_28 | 29 | 0.0037361 | 0.00093635 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1705-1_1_4_load_29 | 30 | 0.0023872 | 0.00059829 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1705-1_1_4_load_31 | 31 | 0.0074597 | 0.0018696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1705-1_1_4_load_60 | 32 | 0.0044151 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1705-1_1_4_load_48 | 34 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1705-1_1_4_load_34 | 36 | 0.0025041 | 0.00062759 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1705-1_1_4_load_35 | 37 | 0.012887 | 0.0032297 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1705-1_1_4_load_36 | 38 | 0.0013335 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1705-1_1_4_load_37 | 39 | 0.0020231 | 0.00050703 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1705-1_1_4_load_43 | 41 | 0.0091882 | 0.0023028 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1705-1_1_4_load_70 | 42 | 0.0021749 | 0.00054507 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1705-1_1_4_load_69 | 43 | 0.0047235 | 0.0011838 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1705-1_1_4_load_44 | 44 | 0.0084371 | 0.0021145 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1705-1_1_4_load_71 | 45 | 0.0015281 | 0.00038298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1705-1_1_4_load_68 | 46 | 0.0066658 | 0.0016706 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1705-1_1_4_load_41 | 47 | 0.0013984 | 0.00035047 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1705-1_1_4_load_42 | 48 | 0.0078152 | 0.0019587 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1705-1_1_4_load_45 | 49 | 0.014063 | 0.0035245 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1705-1_1_4_load_50 | 51 | 0.0027315 | 0.00068459 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1705-1_1_4_load_51 | 52 | 0.0039216 | 0.00098284 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1705-1_1_4_load_52 | 53 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1705-1_1_4_load_54 | 54 | 0.0073768 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1705-1_1_4_load_73 | 56 | 0.0032341 | 0.00081054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1705-1_1_4_load_75 | 57 | 0.028448 | 0.0071298 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1705-1_1_4_load_74 | 58 | 0.0066417 | 0.0016646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1705-1_1_4_load_76 | 59 | 0.0032456 | 0.00081343 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1705-1_1_4_load_55 | 60 | 0.076974 | 0.019291 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1705-1_1_4_load_56 | 61 | 0.0063398 | 0.0015889 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1705-1_1_4_load_88 | 62 | 0.0016118 | 0.00040396 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1705-1_1_4_load_59 | 63 | 0.0049023 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1705-1_1_4_load_62 | 64 | 0.0055297 | 0.0013859 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1705-1_1_4_load_63 | 65 | 0.0097511 | 0.0024439 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1705-1_1_4_load_64 | 66 | 0.0093629 | 0.0023466 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1705-1_1_4_load_65 | 67 | 0.0096709 | 0.0024238 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1705-1_1_4_load_83 | 68 | 0.0021482 | 0.0005384 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1705-1_1_4_load_86 | 69 | 0.014047 | 0.0035206 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1705-1_1_4_load_77 | 70 | 0.0032301 | 0.00080953 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1705-1_1_4_load_85 | 71 | 0.013234 | 0.0033167 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1705-1_1_4_load_78 | 72 | 0.010952 | 0.0027449 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1705-1_1_4_load_79 | 73 | 0.0038889 | 0.00097466 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1705-1_1_4_load_80 | 74 | 0.0083438 | 0.0020912 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1705-1_1_4_load_81 | 75 | 0.0041049 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1705-1_1_4_load_84 | 76 | 0.0052486 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1705-1_1_4_load_93 | 77 | 0.0014536 | 0.00036431 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1705-1_1_4_load_94 | 78 | 0.0017912 | 0.0004489 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1705-1_1_4_line_0 |  | 0 | 1 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1705-1_1_4_line_1 |  | 0 | 2 | 0.19175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1705-1_1_4_line_2 |  | 2 | 3 | 0.10872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1705-1_1_4_line_3 |  | 3 | 4 | 0.0092206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1705-1_1_4_line_4 |  | 4 | 5 | 0.011733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1705-1_1_4_line_5 |  | 5 | 9 | 0.0049659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1705-1_1_4_line_6 |  | 6 | 7 | 0.047672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1705-1_1_4_line_7 |  | 6 | 8 | 0.014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1705-1_1_4_line_8 |  | 7 | 9 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1705-1_1_4_line_9 |  | 8 | 10 | 0.04476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1705-1_1_4_line_10 |  | 8 | 11 | 0.0091312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1705-1_1_4_line_11 |  | 10 | 12 | 0.050123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1705-1_1_4_line_12 |  | 10 | 13 | 0.04002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1705-1_1_4_line_13 |  | 12 | 14 | 0.0029691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1705-1_1_4_line_14 |  | 13 | 15 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1705-1_1_4_line_15 |  | 14 | 77 | 0.034822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1705-1_1_4_line_16 |  | 15 | 47 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1705-1_1_4_line_17 |  | 16 | 17 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1705-1_1_4_line_18 |  | 16 | 18 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1705-1_1_4_line_19 |  | 17 | 19 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1705-1_1_4_line_20 |  | 18 | 20 | 0.020245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1705-1_1_4_line_21 |  | 20 | 21 | 0.002526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1705-1_1_4_line_22 |  | 20 | 22 | 0.041579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1705-1_1_4_line_23 |  | 21 | 26 | 0.01545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1705-1_1_4_line_24 |  | 21 | 27 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1705-1_1_4_line_25 |  | 22 | 28 | 0.0050845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1705-1_1_4_line_26 |  | 23 | 24 | 0.027135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1705-1_1_4_line_27 |  | 23 | 25 | 0.0015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1705-1_1_4_line_28 |  | 24 | 34 | 0.0013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1705-1_1_4_line_29 |  | 25 | 35 | 0.034521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1705-1_1_4_line_30 |  | 26 | 34 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1705-1_1_4_line_31 |  | 27 | 29 | 0.020022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1705-1_1_4_line_32 |  | 28 | 66 | 0.001138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1705-1_1_4_line_33 |  | 29 | 30 | 0.037483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_1705-1_1_4_line_34 |  | 30 | 31 | 0.00075107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_1705-1_1_4_line_35 |  | 31 | 32 | 0.023934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_1705-1_1_4_line_36 |  | 32 | 33 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1705-1_1_4_line_37 |  | 33 | 55 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1705-1_1_4_line_38 |  | 33 | 56 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1705-1_1_4_line_39 |  | 33 | 52 | 0.048384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1705-1_1_4_line_40 |  | 35 | 50 | 0.023939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1705-1_1_4_line_41 |  | 36 | 37 | 0.020446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1705-1_1_4_line_42 |  | 36 | 38 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1705-1_1_4_line_43 |  | 37 | 39 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1705-1_1_4_line_44 |  | 38 | 40 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1705-1_1_4_line_45 |  | 39 | 41 | 0.0011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1705-1_1_4_line_46 |  | 40 | 42 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1705-1_1_4_line_47 |  | 40 | 43 | 0.04511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1705-1_1_4_line_48 |  | 41 | 44 | 0.0098106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1705-1_1_4_line_49 |  | 42 | 45 | 0.030455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1705-1_1_4_line_50 |  | 43 | 46 | 0.00017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1705-1_1_4_line_51 |  | 44 | 49 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1705-1_1_4_line_52 |  | 45 | 54 | 0.00033922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1705-1_1_4_line_53 |  | 46 | 63 | 0.0081248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1705-1_1_4_line_54 |  | 47 | 48 | 0.0041026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1705-1_1_4_line_55 |  | 48 | 49 | 0.041518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1705-1_1_4_line_56 |  | 50 | 62 | 0.05949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1705-1_1_4_line_57 |  | 50 | 61 | 0.0057661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1705-1_1_4_line_58 |  | 51 | 52 | 0.010507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1705-1_1_4_line_59 |  | 51 | 53 | 0.014834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1705-1_1_4_line_60 |  | 53 | 54 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1705-1_1_4_line_61 |  | 55 | 57 | 0.059801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1705-1_1_4_line_62 |  | 55 | 58 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1705-1_1_4_line_63 |  | 56 | 59 | 0.020279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1705-1_1_4_line_64 |  | 57 | 69 | 0.043793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1705-1_1_4_line_65 |  | 59 | 70 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1705-1_1_4_line_66 |  | 60 | 61 | 0.022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1705-1_1_4_line_67 |  | 64 | 65 | 0.013313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1705-1_1_4_line_68 |  | 64 | 66 | 0.027335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1705-1_1_4_line_69 |  | 65 | 67 | 0.059101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1705-1_1_4_line_70 |  | 67 | 68 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1705-1_1_4_line_71 |  | 69 | 71 | 0.049979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1705-1_1_4_line_72 |  | 70 | 72 | 0.0087432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1705-1_1_4_line_73 |  | 71 | 76 | 0.0042368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1705-1_1_4_line_74 |  | 72 | 73 | 0.031413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1705-1_1_4_line_75 |  | 73 | 74 | 0.00073216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1705-1_1_4_line_76 |  | 74 | 75 | 0.036072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1705-1_1_4_line_77 |  | 77 | 78 | 0.0034764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1705-1_1_4_trafo_51 | 0.63 MVA 20/0.4 kV | 79 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686209.4438 | 1229412.4311 | 2686216.6908 | 1229415.4391 | 2686221.9508 | 1229419.6102
1 | 2686083.7381 | 1229268.2332 | 2686102.9466 | 1229294.8297 | 2686172.7425 | 1229366.0345 | 2686208.9185 | 1229412.2131 | 2686209.4438 | 1229412.4311
2 | 2686083.7381 | 1229268.2332 | 2686041.8684 | 1229193.8978 | 2686036.5512 | 1229182.7799 | 2686035.7275 | 1229171.7266
3 | 2686035.7275 | 1229171.7266 | 2686035.701 | 1229171.3707 | 2686036.3879 | 1229162.5336
4 | 2686038.5171 | 1229151.2382 | 2686037.0883 | 1229153.5228 | 2686036.3879 | 1229162.5336
5 | 2686041.1504 | 1229147.028 | 2686038.5171 | 1229151.2382
6 | 2686049.266 | 1229134.0521 | 2686049.266 | 1229134.0521 | 2686059.1734 | 1229119.6298 | 2686076.6481 | 1229095.4213 | 2686076.7861 | 1229095.135
7 | 2686082.9521 | 1229082.3479 | 2686076.7861 | 1229095.135
8 | 2686049.266 | 1229134.0521 | 2686041.1504 | 1229147.028
9 | 2686082.9521 | 1229082.3479 | 2686089.652 | 1229071.7597 | 2686094.5974 | 1229061.9911 | 2686099.6101 | 1229051.234 | 2686102.9732 | 1229042.4209
10 | 2686082.9521 | 1229082.3479 | 2686074.605 | 1229086.05
11 | 2686102.9732 | 1229042.4209 | 2686114.9684 | 1229052.3237 | 2686145.954 | 1229067.6488
12 | 2686102.9732 | 1229042.4209 | 2686106.8065 | 1229034.6266 | 2686123.058 | 1229007.837
13 | 2686148.6153 | 1229068.9651 | 2686145.954 | 1229067.6488
14 | 2686128.6153 | 1228998.6764 | 2686123.058 | 1229007.837
15 | 2686148.6153 | 1229068.9651 | 2686179.8286 | 1229084.4028
16 | 2686128.6153 | 1228998.6764 | 2686138.1928 | 1228982.8885
17 | 2686387.5054 | 1228822.2038 | 2686373.3338 | 1228820.8843
18 | 2686387.2396 | 1228837.6271 | 2686389.0985 | 1228831.4667 | 2686387.5054 | 1228822.2038 | 2686387.5054 | 1228822.2038
19 | 2686354.1322 | 1228819.0964 | 2686373.3338 | 1228820.8843
20 | 2686381.1962 | 1228856.9475 | 2686383.9876 | 1228848.4043 | 2686387.2396 | 1228837.6271
21 | 2686381.1962 | 1228856.9475 | 2686378.83 | 1228856.0458
22 | 2686381.1962 | 1228856.9475 | 2686420.0751 | 1228871.6873
23 | 2686378.83 | 1228856.0458 | 2686364.7475 | 1228849.6915
24 | 2686378.83 | 1228856.0458 | 2686371.7142 | 1228879.9736
25 | 2686420.0751 | 1228871.6873 | 2686424.8294 | 1228873.4897
26 | 2686314.7435 | 1228827.1289 | 2686339.4772 | 1228838.2891
27 | 2686314.7435 | 1228827.1289 | 2686313.36 | 1228826.5107
28 | 2686339.4772 | 1228838.2891 | 2686340.7246 | 1228838.852
29 | 2686283.773 | 1228808.9669 | 2686288.9742 | 1228812.934 | 2686303.3754 | 1228822.0493 | 2686313.36 | 1228826.5107
30 | 2686340.7246 | 1228838.852 | 2686364.7475 | 1228849.6915
31 | 2686371.7142 | 1228879.9736 | 2686366.0068 | 1228899.1651
32 | 2686424.8294 | 1228873.4897 | 2686425.8935 | 1228873.8931
33 | 2686355.3222 | 1228935.093 | 2686366.0068 | 1228899.1651
34 | 2686355.3222 | 1228935.093 | 2686355.1081 | 1228935.8129
35 | 2686348.2856 | 1228958.7543 | 2686355.1081 | 1228935.8129
36 | 2686340.7105 | 1228984.2262 | 2686348.2856 | 1228958.7543
37 | 2686340.7105 | 1228984.2262 | 2686336.4941 | 1228996.985
38 | 2686340.7105 | 1228984.2262 | 2686355.3465 | 1228992.8265
39 | 2686340.7105 | 1228984.2262 | 2686321.7856 | 1228970.4531 | 2686302.5321 | 1228954.5407
40 | 2686283.773 | 1228808.9669 | 2686283.0116 | 1228814.4375 | 2686282.6167 | 1228816.0662 | 2686281.9799 | 1228832.7908
41 | 2686213.6229 | 1228928.0833 | 2686195.2156 | 1228936.9834 | 2686195.2156 | 1228936.9834
42 | 2686213.6229 | 1228928.0833 | 2686215.6891 | 1228927.0843 | 2686222.0551 | 1228922.681
43 | 2686189.4467 | 1228950.9888 | 2686191.9741 | 1228948.9003 | 2686192.979 | 1228940.2088 | 2686195.2156 | 1228936.9834
44 | 2686231.4182 | 1228916.2047 | 2686222.0551 | 1228922.681
45 | 2686189.4467 | 1228950.9888 | 2686188.5229 | 1228951.7522 | 2686188.5229 | 1228951.7522
46 | 2686231.4182 | 1228916.2047 | 2686241.5158 | 1228923.3105
47 | 2686231.4182 | 1228916.2047 | 2686199.6701 | 1228884.158
48 | 2686188.5229 | 1228951.7522 | 2686178.7579 | 1228950.8081
49 | 2686241.5158 | 1228923.3105 | 2686242.9694 | 1228924.3333 | 2686258.3435 | 1228926.9581 | 2686270.227 | 1228932.4265
50 | 2686199.5448 | 1228884.0315 | 2686199.5448 | 1228884.0315 | 2686199.6701 | 1228884.158
51 | 2686178.7579 | 1228950.8081 | 2686171.6115 | 1228950.1172 | 2686167.8354 | 1228951.0676
52 | 2686270.227 | 1228932.4265 | 2686270.5352 | 1228932.5683
53 | 2686199.5448 | 1228884.0315 | 2686195.1345 | 1228877.2078
54 | 2686140.3207 | 1228979.3808 | 2686138.1928 | 1228982.8885
55 | 2686140.3207 | 1228979.3808 | 2686150.3547 | 1228962.8404 | 2686158.0365 | 1228953.5341 | 2686167.8354 | 1228951.0676
56 | 2686281.9799 | 1228832.7908 | 2686291.7571 | 1228823.2371 | 2686303.3982 | 1228808.4735 | 2686313.8495 | 1228796.8504 | 2686321.3189 | 1228793.3341 | 2686324.2874 | 1228792.3356
57 | 2686281.9799 | 1228832.7908 | 2686277.5828 | 1228836.5209
58 | 2686294.2475 | 1228948.0844 | 2686298.8891 | 1228951.5299 | 2686302.5321 | 1228954.5407
59 | 2686294.2475 | 1228948.0844 | 2686282.3362 | 1228939.2423
60 | 2686282.3362 | 1228939.2423 | 2686277.9288 | 1228935.9706 | 2686270.5352 | 1228932.5683
61 | 2686336.4941 | 1228996.985 | 2686362.5121 | 1229010.6944 | 2686371.8143 | 1229019.7358 | 2686378.3842 | 1229035.8695
62 | 2686336.4941 | 1228996.985 | 2686330.4878 | 1229007.483
63 | 2686355.3465 | 1228992.8265 | 2686362.9643 | 1228997.3028 | 2686373.481 | 1229001.8129
64 | 2686401.8355 | 1229070.3339 | 2686393.6261 | 1229066.8631 | 2686388.8535 | 1229061.579 | 2686378.3842 | 1229035.8695
65 | 2686373.481 | 1229001.8129 | 2686390.8294 | 1229009.2529
66 | 2686257.53 | 1228843.9663 | 2686262.2454 | 1228843.9569 | 2686268.6468 | 1228843.5383 | 2686275.7427 | 1228838.0818 | 2686277.5828 | 1228836.5209
67 | 2686451.4533 | 1228883.5834 | 2686456.4944 | 1228885.4946 | 2686461.9539 | 1228891.2348
68 | 2686451.4533 | 1228883.5834 | 2686425.8935 | 1228873.8931
69 | 2686473.1744 | 1228947.468 | 2686473.0828 | 1228928.6213 | 2686472.9048 | 1228916.3768 | 2686470.735 | 1228907.1833 | 2686466.6817 | 1228896.2056 | 2686461.9539 | 1228891.2348
70 | 2686473.1744 | 1228947.468 | 2686473.1947 | 1228951.6612 | 2686476.585 | 1228958.9377
71 | 2686443.3644 | 1229095.5981 | 2686435.3396 | 1229093.8657 | 2686430.5833 | 1229090.0717 | 2686423.3058 | 1229080.9263 | 2686414.6522 | 1229075.7525 | 2686401.8355 | 1229070.3339
72 | 2686390.8294 | 1229009.2529 | 2686394.9529 | 1229011.0213 | 2686398.8239 | 1229012.7913
73 | 2686447.5057 | 1229096.4922 | 2686443.3644 | 1229095.5981
74 | 2686427.7605 | 1229024.7695 | 2686422.2539 | 1229023.5043 | 2686398.8239 | 1229012.7913
75 | 2686428.474 | 1229024.9334 | 2686427.7605 | 1229024.7695
76 | 2686463.6153 | 1229033.0727 | 2686454.3331 | 1229030.9757 | 2686437.8563 | 1229027.0891 | 2686428.474 | 1229024.9334
77 | 2686179.8286 | 1229084.4028 | 2686182.9447 | 1229085.9439

## bus_geodata
| x | y | coords
0 | 2686209.4438 | 1229412.4311
1 | 2686221.9508 | 1229419.6102
2 | 2686083.7381 | 1229268.2332
3 | 2686035.7275 | 1229171.7266
4 | 2686036.3879 | 1229162.5336
5 | 2686038.5171 | 1229151.2382
6 | 2686076.7861 | 1229095.135
7 | 2686049.266 | 1229134.0521
8 | 2686082.9521 | 1229082.3479
9 | 2686041.1504 | 1229147.028
10 | 2686102.9732 | 1229042.4209
11 | 2686074.605 | 1229086.05
12 | 2686145.954 | 1229067.6488
13 | 2686123.058 | 1229007.837
14 | 2686148.6153 | 1229068.9651
15 | 2686128.6153 | 1228998.6764
16 | 2686387.5054 | 1228822.2038
17 | 2686373.3338 | 1228820.8843
18 | 2686387.2396 | 1228837.6271
19 | 2686354.1322 | 1228819.0964
20 | 2686381.1962 | 1228856.9475
21 | 2686378.83 | 1228856.0458
22 | 2686420.0751 | 1228871.6873
23 | 2686314.7435 | 1228827.1289
24 | 2686339.4772 | 1228838.2891
25 | 2686313.36 | 1228826.5107
26 | 2686364.7475 | 1228849.6915
27 | 2686371.7142 | 1228879.9736
28 | 2686424.8294 | 1228873.4897
29 | 2686366.0068 | 1228899.1651
30 | 2686355.3222 | 1228935.093
31 | 2686355.1081 | 1228935.8129
32 | 2686348.2856 | 1228958.7543
33 | 2686340.7105 | 1228984.2262
34 | 2686340.7246 | 1228838.852
35 | 2686283.773 | 1228808.9669
36 | 2686213.6229 | 1228928.0833
37 | 2686195.2156 | 1228936.9834
38 | 2686222.0551 | 1228922.681
39 | 2686189.4467 | 1228950.9888
40 | 2686231.4182 | 1228916.2047
41 | 2686188.5229 | 1228951.7522
42 | 2686241.5158 | 1228923.3105
43 | 2686199.6701 | 1228884.158
44 | 2686178.7579 | 1228950.8081
45 | 2686270.227 | 1228932.4265
46 | 2686199.5448 | 1228884.0315
47 | 2686138.1928 | 1228982.8885
48 | 2686140.3207 | 1228979.3808
49 | 2686167.8354 | 1228951.0676
50 | 2686281.9799 | 1228832.7908
51 | 2686294.2475 | 1228948.0844
52 | 2686302.5321 | 1228954.5407
53 | 2686282.3362 | 1228939.2423
54 | 2686270.5352 | 1228932.5683
55 | 2686336.4941 | 1228996.985
56 | 2686355.3465 | 1228992.8265
57 | 2686378.3842 | 1229035.8695
58 | 2686330.4878 | 1229007.483
59 | 2686373.481 | 1229001.8129
60 | 2686257.53 | 1228843.9663
61 | 2686277.5828 | 1228836.5209
62 | 2686324.2874 | 1228792.3356
63 | 2686195.1345 | 1228877.2078
64 | 2686451.4533 | 1228883.5834
65 | 2686461.9539 | 1228891.2348
66 | 2686425.8935 | 1228873.8931
67 | 2686473.1744 | 1228947.468
68 | 2686476.585 | 1228958.9377
69 | 2686401.8355 | 1229070.3339
70 | 2686390.8294 | 1229009.2529
71 | 2686443.3644 | 1229095.5981
72 | 2686398.8239 | 1229012.7913
73 | 2686427.7605 | 1229024.7695
74 | 2686428.474 | 1229024.9334
75 | 2686463.6153 | 1229033.0727
76 | 2686447.5057 | 1229096.4922
77 | 2686179.8286 | 1229084.4028
78 | 2686182.9447 | 1229085.9439
79 | 2686340.7105 | 1228984.2262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97978 | -0.39035 | 0.0018022 | 0.00045166
1 | 0.97978 | -0.3905 | 0.00057269 | 0.00014353
2 | 0.98021 | -0.38207 | 0 | 0
3 | 0.98044 | -0.37737 | 0.0041653 | 0.0010439
4 | 0.9805 | -0.37628 | 0.00075896 | 0.00019021
5 | 0.98058 | -0.37472 | 0.0014301 | 0.00035841
6 | 0.98123 | -0.36193 | 0.00079998 | 0.00020049
7 | 0.98076 | -0.37125 | 0.0010996 | 0.00027558
8 | 0.98138 | -0.35895 | 0 | 0
9 | 0.98062 | -0.37394 | 0.00095383 | 0.00023905
10 | 0.98232 | -0.34057 | 0 | 0
11 | 0.98129 | -0.36079 | 0.01112 | 0.0027869
12 | 0.98208 | -0.34529 | 0.0014547 | 0.00036457
13 | 0.98335 | -0.3204 | 0.0017028 | 0.00042676
14 | 0.98207 | -0.34549 | 0.00051304 | 0.00012858
15 | 0.98365 | -0.31467 | 0.00070623 | 0.000177
16 | 0.98805 | -0.22839 | 0.0017687 | 0.00044328
17 | 0.98797 | -0.22996 | 0.0034333 | 0.00086048
18 | 0.98816 | -0.22615 | 0.0048504 | 0.0012156
19 | 0.98792 | -0.2309 | 0.0027263 | 0.00068326
20 | 0.9884 | -0.22153 | 0 | 0
21 | 0.98853 | -0.21898 | 0 | 0
22 | 0.98672 | -0.25416 | 0.0036269 | 0.000909
23 | 0.98264 | -0.33273 | 0 | 0
24 | 0.98482 | -0.29053 | 0.0026124 | 0.00065473
25 | 0.98252 | -0.3351 | 0.0014326 | 0.00035905
26 | 0.98717 | -0.24512 | 0.0032698 | 0.00081949
27 | 0.99028 | -0.18532 | 0.0057771 | 0.0014479
28 | 0.98653 | -0.25783 | 0.0038166 | 0.00095653
29 | 0.99125 | -0.16669 | 0.0037361 | 0.00093635
30 | 0.99311 | -0.13109 | 0.0023872 | 0.00059829
31 | 0.99315 | -0.13037 | 0.0074597 | 0.0018696
32 | 0.99441 | -0.10632 | 0.0044151 | 0.0011065
33 | 0.99584 | -0.078997 | 0 | 0
34 | 0.98493 | -0.28834 | 0.0024974 | 0.00062591
35 | 0.97979 | -0.38818 | 0 | 0
36 | 0.98969 | -0.19738 | 0.0025041 | 0.00062759
37 | 0.98807 | -0.22878 | 0.012887 | 0.0032297
38 | 0.99051 | -0.18156 | 0.0013335 | 0.00033422
39 | 0.98699 | -0.24967 | 0.0020231 | 0.00050703
40 | 0.99145 | -0.16337 | 0 | 0
41 | 0.98691 | -0.2512 | 0.0091882 | 0.0023028
42 | 0.99266 | -0.14013 | 0.0021749 | 0.00054507
43 | 0.99078 | -0.17641 | 0.0047235 | 0.0011838
44 | 0.98635 | -0.2621 | 0.0084371 | 0.0021145
45 | 0.9957 | -0.081878 | 0.0015281 | 0.00038298
46 | 0.99078 | -0.17645 | 0.0066658 | 0.0016706
47 | 0.98417 | -0.30459 | 0.0013984 | 0.00035047
48 | 0.98429 | -0.30224 | 0.0078152 | 0.0019587
49 | 0.9858 | -0.27274 | 0.014063 | 0.0035245
50 | 0.9779 | -0.42516 | 0 | 0
51 | 0.99883 | -0.022292 | 0.0027315 | 0.00068459
52 | 1 | 0 | -0.40819 | -0.10387
53 | 0.9972 | -0.053145 | 0.0014818 | 0.00037137
54 | 0.99573 | -0.081222 | 0.0073768 | 0.0018488
55 | 0.99501 | -0.094979 | 0 | 0
56 | 0.99527 | -0.090044 | 0.0032341 | 0.00081054
57 | 0.99168 | -0.1594 | 0.028448 | 0.0071298
58 | 0.99494 | -0.096394 | 0.0066417 | 0.0016646
59 | 0.99465 | -0.1021 | 0.0032456 | 0.00081343
60 | 0.97585 | -0.46556 | 0.076974 | 0.019291
61 | 0.97746 | -0.43392 | 0.0063398 | 0.0015889
62 | 0.97782 | -0.42691 | 0.0016118 | 0.00040396
63 | 0.99074 | -0.17716 | 0.0049023 | 0.0012286
64 | 0.98581 | -0.27185 | 0.0055297 | 0.0013859
65 | 0.98555 | -0.277 | 0.0097511 | 0.0024439
66 | 0.98649 | -0.25857 | 0.0093629 | 0.0023466
67 | 0.98491 | -0.28955 | 0.0096709 | 0.0024238
68 | 0.98488 | -0.29002 | 0.0021482 | 0.0005384
69 | 0.99037 | -0.18468 | 0.014047 | 0.0035206
70 | 0.99412 | -0.11226 | 0.0032301 | 0.00080953
71 | 0.98952 | -0.20111 | 0.013234 | 0.0033167
72 | 0.9939 | -0.11647 | 0.010952 | 0.0027449
73 | 0.99343 | -0.12553 | 0.0038889 | 0.00097466
74 | 0.99343 | -0.12569 | 0.0083438 | 0.0020912
75 | 0.99329 | -0.1283 | 0.0041049 | 0.0010288
76 | 0.9895 | -0.2015 | 0.0052486 | 0.0013154
77 | 0.98197 | -0.34753 | 0.0014536 | 0.00036431
78 | 0.98196 | -0.34764 | 0.0017912 | 0.0004489
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00057269 | 0.00014335 | -0.00057269 | -0.00014353 | 4.13e-09 | -1.8072e-07 | 0.00086969 | 0.00086976 | 0.00086976 | 0.97978 | -0.39035 | 0.97978 | -0.3905 | 0.23894
1 | -0.0023749 | -0.00059501 | 0.0023758 | 0.00059319 | 9.3511e-07 | -1.8174e-06 | 0.0036067 | 0.0036058 | 0.0036067 | 0.97978 | -0.39035 | 0.98021 | -0.38207 | 0.99084
2 | -0.0023758 | -0.00059319 | 0.0023763 | 0.00059216 | 5.3003e-07 | -1.0316e-06 | 0.0036058 | 0.0036053 | 0.0036058 | 0.98021 | -0.38207 | 0.98044 | -0.37737 | 0.99061
3 | -0.0065416 | -0.0016361 | 0.006542 | 0.0016362 | 3.4074e-07 | 1.0179e-07 | 0.009927 | 0.009927 | 0.009927 | 0.98044 | -0.37737 | 0.9805 | -0.37628 | 2.7272
4 | -0.0073009 | -0.0018264 | 0.0073015 | 0.0018266 | 5.4001e-07 | 1.9762e-07 | 0.011079 | 0.011079 | 0.011079 | 0.9805 | -0.37628 | 0.98058 | -0.37472 | 3.0436
5 | -0.0087316 | -0.002185 | 0.0087319 | 0.0021852 | 3.2688e-07 | 1.4656e-07 | 0.013249 | 0.013249 | 0.013249 | 0.98058 | -0.37472 | 0.98062 | -0.37394 | 3.6398
6 | 0.010791 | 0.0027029 | -0.010787 | -0.0027004 | 4.7872e-06 | 2.462e-06 | 0.016364 | 0.016364 | 0.016364 | 0.98123 | -0.36193 | 0.98076 | -0.37125 | 4.4957
7 | -0.011591 | -0.0029033 | 0.011593 | 0.0029042 | 1.6448e-06 | 8.733e-07 | 0.017577 | 0.017577 | 0.017577 | 0.98123 | -0.36193 | 0.98138 | -0.35895 | 4.8289
8 | 0.009687 | 0.0024248 | -0.0096857 | -0.0024242 | 1.2396e-06 | 6.0021e-07 | 0.014696 | 0.014696 | 0.014696 | 0.98076 | -0.37125 | 0.98062 | -0.37394 | 4.0374
9 | -0.022714 | -0.0056916 | 0.022734 | 0.0057038 | 1.9908e-05 | 1.2175e-05 | 0.034439 | 0.034439 | 0.034439 | 0.98138 | -0.35895 | 0.98232 | -0.34057 | 9.4613
10 | 0.011121 | 0.0027874 | -0.01112 | -0.0027869 | 9.7358e-07 | 5.0772e-07 | 0.016862 | 0.016862 | 0.016862 | 0.98138 | -0.35895 | 0.98129 | -0.36079 | 4.6324
11 | 0.005214 | 0.0013062 | -0.0052128 | -0.0013061 | 1.1725e-06 | 1.1601e-07 | 0.0078979 | 0.0078982 | 0.0078982 | 0.98232 | -0.34057 | 0.98208 | -0.34529 | 2.1698
12 | -0.027948 | -0.00701 | 0.027974 | 0.0070267 | 2.6899e-05 | 1.6708e-05 | 0.042337 | 0.042337 | 0.042337 | 0.98232 | -0.34057 | 0.98335 | -0.3204 | 11.631
13 | 0.0037582 | 0.0009415 | -0.0037581 | -0.00094152 | 3.61e-08 | -1.4464e-08 | 0.0056941 | 0.0056941 | 0.0056941 | 0.98208 | -0.34529 | 0.98207 | -0.34549 | 1.5643
14 | -0.029677 | -0.0074534 | 0.029685 | 0.0074585 | 8.105e-06 | 5.0512e-06 | 0.044913 | 0.044913 | 0.044913 | 0.98335 | -0.3204 | 0.98365 | -0.31467 | 12.3388
15 | 0.0032451 | 0.00081294 | -0.0032448 | -0.00081318 | 3.1569e-07 | -2.3852e-07 | 0.0049168 | 0.0049169 | 0.0049169 | 0.98207 | -0.34549 | 0.98197 | -0.34753 | 1.3508
16 | -0.030392 | -0.0076355 | 0.030406 | 0.0076446 | 1.4641e-05 | 9.1356e-06 | 0.045982 | 0.045981 | 0.045982 | 0.98365 | -0.31467 | 0.98417 | -0.30459 | 12.6323
17 | 0.0061602 | 0.0015437 | -0.0061597 | -0.0015436 | 4.5937e-07 | 1.1173e-07 | 0.0092773 | 0.0092773 | 0.0092773 | 0.98805 | -0.22839 | 0.98797 | -0.22996 | 2.5487
18 | -0.0079289 | -0.001987 | 0.0079297 | 0.0019873 | 8.4662e-07 | 3.3902e-07 | 0.011941 | 0.011941 | 0.011941 | 0.98805 | -0.22839 | 0.98816 | -0.22615 | 3.2805
19 | 0.0027264 | 0.00068309 | -0.0027263 | -0.00068326 | 1.2194e-07 | -1.689e-07 | 0.0041062 | 0.0041063 | 0.0041063 | 0.98797 | -0.22996 | 0.98792 | -0.2309 | 1.1281
20 | -0.01278 | -0.0032029 | 0.012783 | 0.0032045 | 2.8117e-06 | 1.5401e-06 | 0.019245 | 0.019245 | 0.019245 | 0.98816 | -0.22615 | 0.9884 | -0.22153 | 5.287
21 | -0.056796 | -0.014275 | 0.056803 | 0.014279 | 6.9277e-06 | 4.4014e-06 | 0.085519 | 0.085519 | 0.085519 | 0.9884 | -0.22153 | 0.98853 | -0.21898 | 23.4943
22 | 0.044013 | 0.01107 | -0.043944 | -0.011027 | 6.8486e-05 | 4.3299e-05 | 0.066274 | 0.066275 | 0.066275 | 0.9884 | -0.22153 | 0.98672 | -0.25416 | 18.2073
23 | 0.095765 | 0.024398 | -0.095644 | -0.024321 | 0.00012063 | 7.7005e-05 | 0.14429 | 0.14429 | 0.14429 | 0.98853 | -0.21898 | 0.98717 | -0.24512 | 39.6414
24 | -0.15257 | -0.038677 | 0.15281 | 0.038834 | 0.0002472 | 0.00015757 | 0.22981 | 0.22981 | 0.22981 | 0.98853 | -0.21898 | 0.99028 | -0.18532 | 31.5678
25 | 0.040317 | 0.010118 | -0.04031 | -0.010113 | 7.0496e-06 | 4.4468e-06 | 0.060805 | 0.060805 | 0.060805 | 0.98672 | -0.25416 | 0.98653 | -0.25783 | 16.7047
26 | -0.086887 | -0.02198 | 0.087063 | 0.022092 | 0.00017635 | 0.00011252 | 0.13165 | 0.13165 | 0.13165 | 0.98264 | -0.33273 | 0.98482 | -0.29053 | 36.1665
27 | 0.086887 | 0.02198 | -0.086877 | -0.021974 | 9.8481e-06 | 6.2836e-06 | 0.13165 | 0.13165 | 0.13165 | 0.98264 | -0.33273 | 0.98252 | -0.3351 | 36.1665
28 | -0.089675 | -0.022747 | 0.089685 | 0.022753 | 9.4356e-06 | 6.0214e-06 | 0.13559 | 0.13559 | 0.13559 | 0.98482 | -0.29053 | 0.98493 | -0.28834 | 37.2508
29 | 0.085444 | 0.021614 | -0.085227 | -0.021476 | 0.00021702 | 0.00013846 | 0.12948 | 0.12948 | 0.12948 | 0.98252 | -0.3351 | 0.97979 | -0.38818 | 35.5705
30 | 0.092374 | 0.023502 | -0.092182 | -0.023379 | 0.00019196 | 0.00012252 | 0.13937 | 0.13937 | 0.13937 | 0.98717 | -0.24512 | 0.98493 | -0.28834 | 38.2874
31 | -0.15859 | -0.040282 | 0.15873 | 0.040373 | 0.00014236 | 9.0334e-05 | 0.23849 | 0.23849 | 0.23849 | 0.99028 | -0.18532 | 0.99125 | -0.16669 | 21.8401
32 | 0.036494 | 0.0091568 | -0.036492 | -0.009156 | 1.2931e-06 | 8.1308e-07 | 0.055048 | 0.055048 | 0.055048 | 0.98653 | -0.25783 | 0.98649 | -0.25857 | 15.1232
33 | -0.16247 | -0.041309 | 0.16275 | 0.041486 | 0.00027918 | 0.00017722 | 0.2441 | 0.2441 | 0.2441 | 0.99125 | -0.16669 | 0.99311 | -0.13109 | 22.3537
34 | -0.16514 | -0.042085 | 0.16514 | 0.042088 | 5.7593e-06 | 3.6568e-06 | 0.24768 | 0.24768 | 0.24768 | 0.99311 | -0.13109 | 0.99315 | -0.13037 | 22.6812
35 | -0.1726 | -0.043958 | 0.1728 | 0.044085 | 0.00020047 | 0.00012737 | 0.25885 | 0.25885 | 0.25885 | 0.99315 | -0.13037 | 0.99441 | -0.10632 | 23.7047
36 | -0.17722 | -0.045192 | 0.17745 | 0.04534 | 0.00023409 | 0.00014878 | 0.26546 | 0.26546 | 0.26546 | 0.99441 | -0.10632 | 0.99584 | -0.078997 | 24.3096
37 | 0.067914 | 0.017133 | -0.067862 | -0.0171 | 5.1927e-05 | 3.3059e-05 | 0.10152 | 0.10152 | 0.10152 | 0.99584 | -0.078997 | 0.99501 | -0.094979 | 27.8898
38 | 0.037067 | 0.0093141 | -0.037047 | -0.0093018 | 1.9534e-05 | 1.2281e-05 | 0.055394 | 0.055394 | 0.055394 | 0.99584 | -0.078997 | 0.99527 | -0.090044 | 15.2182
39 | -0.28243 | -0.071788 | 0.28351 | 0.072476 | 0.001079 | 0.00068864 | 0.42237 | 0.42237 | 0.42237 | 0.99584 | -0.078997 | 1 | 0 | 38.6789
40 | 0.085227 | 0.021476 | -0.085077 | -0.02138 | 0.00015049 | 9.6015e-05 | 0.12948 | 0.12948 | 0.12948 | 0.97979 | -0.38818 | 0.9779 | -0.42516 | 35.5705
41 | 0.086546 | 0.021841 | -0.086416 | -0.021758 | 0.00012993 | 8.2892e-05 | 0.13018 | 0.13018 | 0.13018 | 0.98969 | -0.19738 | 0.98807 | -0.22878 | 35.7628
42 | -0.08905 | -0.022468 | 0.089117 | 0.022511 | 6.7515e-05 | 4.3081e-05 | 0.13394 | 0.13394 | 0.13394 | 0.98969 | -0.19738 | 0.99051 | -0.18156 | 36.7971
43 | 0.073529 | 0.018528 | -0.073456 | -0.018481 | 7.3403e-05 | 4.6774e-05 | 0.11077 | 0.11077 | 0.11077 | 0.98807 | -0.22878 | 0.98699 | -0.24967 | 30.4312
44 | -0.090451 | -0.022846 | 0.09053 | 0.022896 | 7.89e-05 | 5.0349e-05 | 0.13594 | 0.13594 | 0.13594 | 0.99051 | -0.18156 | 0.99145 | -0.16337 | 37.3475
45 | 0.071433 | 0.017974 | -0.071427 | -0.017971 | 5.2146e-06 | 3.322e-06 | 0.10772 | 0.10772 | 0.10772 | 0.98699 | -0.24967 | 0.98691 | -0.2512 | 29.5933
46 | -0.10683 | -0.026985 | 0.10695 | 0.027061 | 0.00011915 | 7.6094e-05 | 0.16041 | 0.16041 | 0.16041 | 0.99145 | -0.16337 | 0.99266 | -0.14013 | 44.0694
47 | 0.016302 | 0.004089 | -0.016292 | -0.0040831 | 1.0128e-05 | 5.9003e-06 | 0.024468 | 0.024468 | 0.024468 | 0.99145 | -0.16337 | 0.99078 | -0.17641 | 6.722
48 | 0.062239 | 0.015668 | -0.062207 | -0.015648 | 3.2415e-05 | 2.062e-05 | 0.093866 | 0.093866 | 0.093866 | 0.98691 | -0.2512 | 0.98635 | -0.2621 | 25.7874
49 | -0.10913 | -0.027606 | 0.10943 | 0.027802 | 0.00030595 | 0.00019541 | 0.16367 | 0.16367 | 0.16367 | 0.99266 | -0.14013 | 0.9957 | -0.081878 | 44.965
50 | 0.011568 | 0.0028993 | -0.011568 | -0.0028992 | 2.0159e-08 | 1.0608e-08 | 0.017374 | 0.017374 | 0.017374 | 0.99078 | -0.17641 | 0.99078 | -0.17645 | 4.7731
51 | 0.05377 | 0.013533 | -0.053742 | -0.013516 | 2.7338e-05 | 1.7355e-05 | 0.081138 | 0.081138 | 0.081138 | 0.98635 | -0.2621 | 0.9858 | -0.27274 | 22.2906
52 | -0.11096 | -0.028185 | 0.11096 | 0.028187 | 3.5035e-06 | 2.2378e-06 | 0.16596 | 0.16596 | 0.16596 | 0.9957 | -0.081878 | 0.99573 | -0.081222 | 45.5924
53 | 0.0049024 | 0.0012286 | -0.0049023 | -0.0012286 | 1.6517e-07 | 1.0786e-09 | 0.0073628 | 0.0073628 | 0.0073628 | 0.99078 | -0.17645 | 0.99074 | -0.17716 | 2.0228
54 | -0.031805 | -0.0079951 | 0.031808 | 0.0079973 | 3.5588e-06 | 2.2255e-06 | 0.048096 | 0.048096 | 0.048096 | 0.98417 | -0.30459 | 0.98429 | -0.30224 | 13.2131
55 | -0.039623 | -0.009956 | 0.039679 | 0.0099912 | 5.5882e-05 | 3.5236e-05 | 0.059911 | 0.05991 | 0.059911 | 0.98429 | -0.30224 | 0.9858 | -0.27274 | 16.4589
56 | 0.001612 | 0.0004033 | -0.0016118 | -0.00040396 | 1.342e-07 | -6.604e-07 | 0.0024526 | 0.0024528 | 0.0024528 | 0.9779 | -0.42516 | 0.97782 | -0.42691 | 0.67385
57 | 0.083465 | 0.020977 | -0.08343 | -0.020954 | 3.4889e-05 | 2.2256e-05 | 0.12702 | 0.12702 | 0.12702 | 0.9779 | -0.42516 | 0.97746 | -0.43392 | 34.8967
58 | -0.12289 | -0.031308 | 0.12302 | 0.031392 | 0.00013232 | 8.455e-05 | 0.18326 | 0.18326 | 0.18326 | 0.99883 | -0.022292 | 1 | 0 | 50.3463
59 | 0.12016 | 0.030623 | -0.11998 | -0.030509 | 0.00017862 | 0.00011412 | 0.17919 | 0.17919 | 0.17919 | 0.99883 | -0.022292 | 0.9972 | -0.053145 | 49.2283
60 | 0.1185 | 0.030138 | -0.11834 | -0.030036 | 0.00016007 | 0.00010227 | 0.17698 | 0.17698 | 0.17698 | 0.9972 | -0.053145 | 0.99573 | -0.081222 | 48.6209
61 | 0.06122 | 0.015435 | -0.061032 | -0.015316 | 0.0001881 | 0.00011961 | 0.091586 | 0.091586 | 0.091586 | 0.99501 | -0.094979 | 0.99168 | -0.1594 | 25.1609
62 | 0.0066422 | 0.0016647 | -0.0066417 | -0.0016646 | 4.4752e-07 | 1.2933e-07 | 0.0099332 | 0.0099333 | 0.0099333 | 0.99501 | -0.094979 | 0.99494 | -0.096394 | 2.7289
63 | 0.033813 | 0.0084913 | -0.033793 | -0.0084791 | 1.9439e-05 | 1.2177e-05 | 0.050559 | 0.050559 | 0.050559 | 0.99527 | -0.090044 | 0.99465 | -0.1021 | 13.8899
64 | 0.032584 | 0.008186 | -0.032545 | -0.0081614 | 3.9268e-05 | 2.4567e-05 | 0.048899 | 0.048899 | 0.048899 | 0.99168 | -0.1594 | 0.99037 | -0.18468 | 13.4339
65 | 0.030548 | 0.0076656 | -0.030533 | -0.0076564 | 1.4786e-05 | 9.2183e-06 | 0.045704 | 0.045704 | 0.045704 | 0.99465 | -0.1021 | 0.99412 | -0.11226 | 12.556
66 | -0.076974 | -0.019291 | 0.07709 | 0.019366 | 0.00011621 | 7.4094e-05 | 0.11737 | 0.11737 | 0.11737 | 0.97585 | -0.46556 | 0.97746 | -0.43392 | 32.2453
67 | 0.021583 | 0.0054129 | -0.021577 | -0.0054097 | 5.2989e-06 | 3.2216e-06 | 0.032579 | 0.032579 | 0.032579 | 0.98581 | -0.27185 | 0.98555 | -0.277 | 8.9503
68 | -0.027112 | -0.0067988 | 0.02713 | 0.0068094 | 1.7169e-05 | 1.0639e-05 | 0.040926 | 0.040926 | 0.040926 | 0.98581 | -0.27185 | 0.98649 | -0.25857 | 11.2433
69 | 0.011826 | 0.0029658 | -0.011819 | -0.002962 | 7.0667e-06 | 3.7701e-06 | 0.017856 | 0.017857 | 0.017857 | 0.98555 | -0.277 | 0.98491 | -0.28955 | 4.9057
70 | 0.0021483 | 0.00053827 | -0.0021482 | -0.0005384 | 4.8276e-08 | -1.2462e-07 | 0.0032456 | 0.0032457 | 0.0032457 | 0.98491 | -0.28955 | 0.98488 | -0.29002 | 0.89167
71 | 0.018497 | 0.0046408 | -0.018483 | -0.0046322 | 1.4478e-05 | 8.6233e-06 | 0.027793 | 0.027794 | 0.027794 | 0.99037 | -0.18468 | 0.98952 | -0.20111 | 7.6356
72 | 0.027303 | 0.0068469 | -0.027298 | -0.0068435 | 5.4763e-06 | 3.3915e-06 | 0.040869 | 0.040869 | 0.040869 | 0.99412 | -0.11226 | 0.9939 | -0.11647 | 11.2278
73 | 0.0052487 | 0.0013154 | -0.0052486 | -0.0013154 | 9.8978e-08 | 8.9218e-09 | 0.0078929 | 0.0078929 | 0.0078929 | 0.98952 | -0.20111 | 0.9895 | -0.2015 | 2.1684
74 | 0.016345 | 0.0040986 | -0.016338 | -0.0040945 | 7.0548e-06 | 4.1082e-06 | 0.024472 | 0.024472 | 0.024472 | 0.9939 | -0.11647 | 0.99343 | -0.12553 | 6.7231
75 | 0.012449 | 0.0031199 | -0.012449 | -0.0031198 | 9.5469e-08 | 5.1621e-08 | 0.018647 | 0.018647 | 0.018647 | 0.99343 | -0.12553 | 0.99343 | -0.12569 | 5.1229
76 | 0.0041054 | 0.0010287 | -0.0041049 | -0.0010288 | 5.1152e-07 | -1.396e-07 | 0.0061493 | 0.0061494 | 0.0061494 | 0.99343 | -0.12569 | 0.99329 | -0.1283 | 1.6894
77 | 0.0017912 | 0.00044887 | -0.0017912 | -0.0004489 | 9.6039e-09 | -3.7831e-08 | 0.0027142 | 0.0027142 | 0.0027142 | 0.98197 | -0.34753 | 0.98196 | -0.34764 | 0.74567

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41211 | 0.10485

## res_load
| p_mw | q_mvar
0 | 0.0018022 | 0.00045166
1 | 0.00057269 | 0.00014353
2 | 0.0041653 | 0.0010439
3 | 0.00075896 | 0.00019021
4 | 0.0014301 | 0.00035841
5 | 0.00079998 | 0.00020049
6 | 0.0010996 | 0.00027558
7 | 0.00095383 | 0.00023905
8 | 0.01112 | 0.0027869
9 | 0.0014547 | 0.00036457
10 | 0.0017028 | 0.00042676
11 | 0.00051304 | 0.00012858
12 | 0.00070623 | 0.000177
13 | 0.0017687 | 0.00044328
14 | 0.0034333 | 0.00086048
15 | 0.0048504 | 0.0012156
16 | 0.0027263 | 0.00068326
17 | 0.0036269 | 0.000909
18 | 0.0026124 | 0.00065473
19 | 0.0014326 | 0.00035905
20 | 0.0032698 | 0.00081949
21 | 0.0057771 | 0.0014479
22 | 0.0038166 | 0.00095653
23 | 0.0037361 | 0.00093635
24 | 0.0023872 | 0.00059829
25 | 0.0074597 | 0.0018696
26 | 0.0044151 | 0.0011065
27 | 0.0024974 | 0.00062591
28 | 0.0025041 | 0.00062759
29 | 0.012887 | 0.0032297
30 | 0.0013335 | 0.00033422
31 | 0.0020231 | 0.00050703
32 | 0.0091882 | 0.0023028
33 | 0.0021749 | 0.00054507
34 | 0.0047235 | 0.0011838
35 | 0.0084371 | 0.0021145
36 | 0.0015281 | 0.00038298
37 | 0.0066658 | 0.0016706
38 | 0.0013984 | 0.00035047
39 | 0.0078152 | 0.0019587
40 | 0.014063 | 0.0035245
41 | 0.0027315 | 0.00068459
42 | 0.0039216 | 0.00098284
43 | 0.0014818 | 0.00037137
44 | 0.0073768 | 0.0018488
45 | 0.0032341 | 0.00081054
46 | 0.028448 | 0.0071298
47 | 0.0066417 | 0.0016646
48 | 0.0032456 | 0.00081343
49 | 0.076974 | 0.019291
50 | 0.0063398 | 0.0015889
51 | 0.0016118 | 0.00040396
52 | 0.0049023 | 0.0012286
53 | 0.0055297 | 0.0013859
54 | 0.0097511 | 0.0024439
55 | 0.0093629 | 0.0023466
56 | 0.0096709 | 0.0024238
57 | 0.0021482 | 0.0005384
58 | 0.014047 | 0.0035206
59 | 0.0032301 | 0.00080953
60 | 0.013234 | 0.0033167
61 | 0.010952 | 0.0027449
62 | 0.0038889 | 0.00097466
63 | 0.0083438 | 0.0020912
64 | 0.0041049 | 0.0010288
65 | 0.0052486 | 0.0013154
66 | 0.0014536 | 0.00036431
67 | 0.0017912 | 0.0004489

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1