## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_172-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_172-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_172-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_172-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_172-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_172-12_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_172-12_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_172-12_0_4_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_172-12_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_172-12_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_172-12_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_172-12_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_172-12_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_172-12_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_172-12_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_172-12_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_172-12_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_172-12_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_172-12_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_172-12_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_172-12_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_172-12_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_172-12_0_4_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_172-12_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_172-12_0_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_172-12_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_172-12_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_172-12_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_172-12_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_172-12_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_172-12_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_172-12_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_172-12_0_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_172-12_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_172-12_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_MV_362_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_172-12_0_4_load_0 | 0 | 0.00976 | 0.0024461 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_172-12_0_4_load_3 | 3 | 0.0028467 | 0.00071345 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_172-12_0_4_load_4 | 4 | 0.001295 | 0.00032455 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_172-12_0_4_load_57 | 7 | 0.0012722 | 0.00031885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_172-12_0_4_load_26 | 9 | 0.0097617 | 0.0024465 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_172-12_0_4_load_24 | 10 | 0.01065 | 0.0026692 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_172-12_0_4_load_25 | 13 | 0.0029172 | 0.00073113 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_172-12_0_4_load_39 | 14 | 0.013098 | 0.0032828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_172-12_0_4_load_38 | 16 | 0.013739 | 0.0034433 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_172-12_0_4_load_69 | 19 | 0.023184 | 0.0058104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_172-12_0_4_load_35 | 22 | 0.0069138 | 0.0017328 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_172-12_0_4_load_56 | 23 | 0.00066656 | 0.00016706 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_172-12_0_4_load_58 | 24 | 0.0015282 | 0.000383 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_172-12_0_4_load_27 | 25 | 0.010007 | 0.002508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_172-12_0_4_load_28 | 26 | 0.017192 | 0.0043088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_172-12_0_4_load_34 | 28 | 0.036184 | 0.0090686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_172-12_0_4_load_30 | 29 | 0.0034357 | 0.00086107 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_172-12_0_4_load_33 | 30 | 0.0014298 | 0.00035835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_172-12_0_4_load_55 | 31 | 0.0020963 | 0.00052538 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_172-12_0_4_load_54 | 32 | 0.00045416 | 0.00011382 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_172-12_0_4_load_31 | 33 | 0.0034887 | 0.00087434 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_172-12_0_4_load_36 | 34 | 0.08362 | 0.020957 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_172-12_0_4_line_0 |  | 0 | 1 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_172-12_0_4_line_1 |  | 0 | 2 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_172-12_0_4_line_2 |  | 1 | 3 | 0.012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_172-12_0_4_line_3 |  | 1 | 4 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_172-12_0_4_line_4 |  | 2 | 5 | 0.031979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_172-12_0_4_line_5 |  | 4 | 6 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_172-12_0_4_line_6 |  | 5 | 14 | 0.029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_172-12_0_4_line_7 |  | 6 | 7 | 0.00997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_172-12_0_4_line_8 |  | 7 | 24 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_172-12_0_4_line_9 |  | 8 | 9 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_172-12_0_4_line_10 |  | 8 | 10 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_172-12_0_4_line_11 |  | 9 | 25 | 0.027553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_172-12_0_4_line_12 |  | 10 | 13 | 0.037923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_172-12_0_4_line_13 |  | 11 | 12 | 0.27201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_172-12_0_4_line_14 |  | 11 | 13 | 0.025343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_172-12_0_4_line_15 |  | 12 | 23 | 0.19332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_172-12_0_4_line_16 |  | 14 | 15 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_172-12_0_4_line_17 |  | 15 | 16 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_172-12_0_4_line_18 |  | 16 | 18 | 0.055607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_172-12_0_4_line_19 |  | 17 | 18 | 0.046968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_172-12_0_4_line_20 |  | 17 | 19 | 0.0063295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_172-12_0_4_line_21 |  | 18 | 26 | 0.0035168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_172-12_0_4_line_22 |  | 19 | 21 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_172-12_0_4_line_23 |  | 20 | 21 | 0.05267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_172-12_0_4_line_24 |  | 20 | 22 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_172-12_0_4_line_25 |  | 22 | 30 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_172-12_0_4_line_26 |  | 23 | 31 | 0.0072387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_172-12_0_4_line_27 |  | 25 | 26 | 0.012522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_172-12_0_4_line_28 |  | 27 | 28 | 0.0088634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_172-12_0_4_line_29 |  | 27 | 29 | 0.0085952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_172-12_0_4_line_30 |  | 28 | 34 | 0.05423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_172-12_0_4_line_31 |  | 29 | 33 | 0.0078107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_172-12_0_4_line_32 |  | 30 | 33 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_172-12_0_4_line_33 |  | 31 | 32 | 0.027138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_172-12_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 35 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2699645.2064 | 1249509.9616 | 2699623.3762 | 1249510.6736
1 | 2699603.5895 | 1249511.3189 | 2699623.3762 | 1249510.6736
2 | 2699645.2064 | 1249509.9616 | 2699645.6269 | 1249497.8438
3 | 2699645.2064 | 1249509.9616 | 2699645.9921 | 1249522.014
4 | 2699582.0505 | 1249493.91 | 2699589.6012 | 1249503.8446 | 2699593.5702 | 1249502.2323 | 2699599.3652 | 1249503.4083 | 2699602.4755 | 1249506.6076 | 2699603.5895 | 1249511.3189
5 | 2699646.9051 | 1249536.0217 | 2699645.9921 | 1249522.014
6 | 2699582.0505 | 1249493.91 | 2699561.4059 | 1249505.0498 | 2699555.6562 | 1249507.5406
7 | 2699646.9051 | 1249536.0217 | 2699647.9964 | 1249545.9318
8 | 2699647.9964 | 1249545.9318 | 2699650.375 | 1249567.533
9 | 2699560.891 | 1249565.7887 | 2699545.1579 | 1249561.043
10 | 2699560.891 | 1249565.7887 | 2699575.1016 | 1249573.5578
11 | 2699517.6405 | 1249559.6459 | 2699545.1579 | 1249561.043 | 2699545.1579 | 1249561.043
12 | 2699575.1016 | 1249573.5578 | 2699589.2206 | 1249581.2768 | 2699601.4248 | 1249585.2627 | 2699610.4163 | 1249585.1018
13 | 2699635.6004 | 1249582.7128 | 2699677.73 | 1249578.2398 | 2699694.5508 | 1249576.2322 | 2699719.5388 | 1249572.1937 | 2699735.1723 | 1249568.0424 | 2699743.3564 | 1249565.011 | 2699760.0175 | 1249561.2773 | 2699819.6088 | 1249554.8754 | 2699836.7709 | 1249550.9947 | 2699899.3562 | 1249524.6951
14 | 2699635.6004 | 1249582.7128 | 2699620.0071 | 1249584.9302 | 2699610.4163 | 1249585.1018
15 | 2699899.3562 | 1249524.6951 | 2699903.8314 | 1249532.4767 | 2699964.4516 | 1249597.1383 | 2699988.0164 | 1249619.709 | 2700005.5589 | 1249631.7588 | 2700013.2626 | 1249636.6037 | 2700018.3754 | 1249647.3095 | 2700018.8018 | 1249656.4906 | 2700016.0275 | 1249660.6915 | 2700009.6855 | 1249662.5524
16 | 2699539.612 | 1249514.4912 | 2699555.6562 | 1249507.5406
17 | 2699539.612 | 1249514.4912 | 2699521.3059 | 1249521.7052
18 | 2699501.6227 | 1249558.8326 | 2699495.2549 | 1249531.9713 | 2699521.3059 | 1249521.7052
19 | 2699454.8956 | 1249554.2338 | 2699471.8111 | 1249556.4749 | 2699501.6227 | 1249558.8326
20 | 2699454.8956 | 1249554.2338 | 2699448.6671 | 1249553.1075
21 | 2699501.6227 | 1249558.8326 | 2699505.135 | 1249559.0109
22 | 2699438.2873 | 1249551.2306 | 2699448.6671 | 1249553.1075
23 | 2699409.8969 | 1249573.0826 | 2699411.1136 | 1249547.8277 | 2699419.5833 | 1249548.915 | 2699438.2873 | 1249551.2306
24 | 2699409.8969 | 1249573.0826 | 2699401.3196 | 1249583.358 | 2699398.6378 | 1249599.4444
25 | 2699396.9965 | 1249612.8308 | 2699396.9965 | 1249612.8308 | 2699397.5243 | 1249606.1233 | 2699398.6378 | 1249599.4444
26 | 2700002.7396 | 1249664.5904 | 2700009.6855 | 1249662.5524
27 | 2699517.6405 | 1249559.6459 | 2699505.135 | 1249559.0109
28 | 2699429.2162 | 1249617.0189 | 2699437.9928 | 1249618.256 | 2699437.9928 | 1249618.256
29 | 2699429.2162 | 1249617.0189 | 2699420.6926 | 1249615.911
30 | 2699478.0453 | 1249637.7722 | 2699456.3413 | 1249637.2342 | 2699440.4247 | 1249634.4317 | 2699437.9928 | 1249618.256
31 | 2699420.6926 | 1249615.911 | 2699412.9471 | 1249614.9042
32 | 2699412.9471 | 1249614.9042 | 2699396.9965 | 1249612.8308
33 | 2699986.6143 | 1249682.4305 | 2699990.3901 | 1249679.0512 | 2699992.9493 | 1249667.463 | 2700002.7396 | 1249664.5904

## bus_geodata
| x | y | coords
0 | 2699623.3762 | 1249510.6736
1 | 2699645.2064 | 1249509.9616
2 | 2699603.5895 | 1249511.3189
3 | 2699645.6269 | 1249497.8438
4 | 2699645.9921 | 1249522.014
5 | 2699582.0505 | 1249493.91
6 | 2699646.9051 | 1249536.0217
7 | 2699647.9964 | 1249545.9318
8 | 2699560.891 | 1249565.7887
9 | 2699545.1579 | 1249561.043
10 | 2699575.1016 | 1249573.5578
11 | 2699635.6004 | 1249582.7128
12 | 2699899.3562 | 1249524.6951
13 | 2699610.4163 | 1249585.1018
14 | 2699555.6562 | 1249507.5406
15 | 2699539.612 | 1249514.4912
16 | 2699521.3059 | 1249521.7052
17 | 2699454.8956 | 1249554.2338
18 | 2699501.6227 | 1249558.8326
19 | 2699448.6671 | 1249553.1075
20 | 2699409.8969 | 1249573.0826
21 | 2699438.2873 | 1249551.2306
22 | 2699398.6378 | 1249599.4444
23 | 2700009.6855 | 1249662.5524
24 | 2699650.375 | 1249567.533
25 | 2699517.6405 | 1249559.6459
26 | 2699505.135 | 1249559.0109
27 | 2699429.2162 | 1249617.0189
28 | 2699437.9928 | 1249618.256
29 | 2699420.6926 | 1249615.911
30 | 2699396.9965 | 1249612.8308
31 | 2700002.7396 | 1249664.5904
32 | 2699986.6143 | 1249682.4305
33 | 2699412.9471 | 1249614.9042
34 | 2699478.0453 | 1249637.7722
35 | 2699471.8111 | 1249556.4749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99555 | -0.085624 | 0.00976 | 0.0024461
1 | 0.99541 | -0.088292 | 0 | 0
2 | 0.99585 | -0.07981 | 0 | 0
3 | 0.99538 | -0.0889 | 0.0028467 | 0.00071345
4 | 0.99537 | -0.089163 | 0.001295 | 0.00032455
5 | 0.99634 | -0.070426 | 0 | 0
6 | 0.99533 | -0.089855 | 0 | 0
7 | 0.99531 | -0.090346 | 0.0012722 | 0.00031885
8 | 0.9985 | -0.028892 | 0 | 0
9 | 0.99875 | -0.024066 | 0.0097617 | 0.0024465
10 | 0.99825 | -0.033651 | 0.01065 | 0.0026692
11 | 0.99797 | -0.039167 | 0 | 0
12 | 0.99717 | -0.054551 | 0 | 0
13 | 0.99804 | -0.037733 | 0.0029172 | 0.00073113
14 | 0.99679 | -0.06171 | 0.013098 | 0.0032828
15 | 0.99726 | -0.052572 | 0 | 0
16 | 0.9978 | -0.042299 | 0.013739 | 0.0034433
17 | 0.99655 | -0.065004 | 0 | 0
18 | 1 | 0 | -0.26051 | -0.066152
19 | 0.99609 | -0.073798 | 0.023184 | 0.0058104
20 | 0.98814 | -0.22501 | 0 | 0
21 | 0.99476 | -0.098861 | 0 | 0
22 | 0.98441 | -0.29688 | 0.0069138 | 0.0017328
23 | 0.9966 | -0.065474 | 0.00066656 | 0.00016706
24 | 0.99527 | -0.090931 | 0.0015282 | 0.000383
25 | 0.99941 | -0.011284 | 0.010007 | 0.002508
26 | 0.99983 | -0.0032962 | 0.017192 | 0.0043088
27 | 0.97905 | -0.40106 | 0 | 0
28 | 0.97806 | -0.42039 | 0.036184 | 0.0090686
29 | 0.98001 | -0.38236 | 0.0034357 | 0.00086107
30 | 0.9828 | -0.32805 | 0.0014298 | 0.00035835
31 | 0.99659 | -0.065798 | 0.0020963 | 0.00052538
32 | 0.99658 | -0.066014 | 0.00045416 | 0.00011382
33 | 0.9809 | -0.3649 | 0.0034887 | 0.00087434
34 | 0.97384 | -0.50337 | 0.08362 | 0.020957
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0069434 | 0.0017395 | -0.0069426 | -0.0017392 | 8.8215e-07 | 2.8061e-07 | 0.010378 | 0.010378 | 0.010378 | 0.99555 | -0.085624 | 0.99541 | -0.088292 | 2.8511
1 | -0.016703 | -0.0041856 | 0.016708 | 0.0041883 | 4.6273e-06 | 2.704e-06 | 0.024966 | 0.024966 | 0.024966 | 0.99555 | -0.085624 | 0.99585 | -0.07981 | 6.8587
2 | 0.0028468 | 0.00071334 | -0.0028467 | -0.00071345 | 8.2344e-08 | -1.0491e-07 | 0.0042555 | 0.0042556 | 0.0042556 | 0.99541 | -0.088292 | 0.99538 | -0.0889 | 1.1691
3 | 0.0040958 | 0.0010259 | -0.0040956 | -0.0010259 | 1.6978e-07 | -4.8339e-08 | 0.0061225 | 0.0061225 | 0.0061225 | 0.99541 | -0.088292 | 0.99537 | -0.089163 | 1.682
4 | -0.016708 | -0.0041883 | 0.016716 | 0.0041927 | 7.4744e-06 | 4.3674e-06 | 0.024966 | 0.024966 | 0.024966 | 0.99585 | -0.07981 | 0.99634 | -0.070426 | 6.8587
5 | 0.0028006 | 0.00070139 | -0.0028005 | -0.00070151 | 9.2267e-08 | -1.234e-07 | 0.0041866 | 0.0041867 | 0.0041867 | 0.99537 | -0.089163 | 0.99533 | -0.089855 | 1.1502
6 | -0.016716 | -0.0041927 | 0.016722 | 0.0041967 | 6.9474e-06 | 4.0591e-06 | 0.024966 | 0.024965 | 0.024966 | 0.99634 | -0.070426 | 0.99679 | -0.06171 | 6.8587
7 | 0.0028005 | 0.00070151 | -0.0028005 | -0.0007016 | 6.5534e-08 | -8.7636e-08 | 0.0041867 | 0.0041867 | 0.0041867 | 0.99533 | -0.089855 | 0.99531 | -0.090346 | 1.1502
8 | 0.0015282 | 0.00038274 | -0.0015282 | -0.000383 | 4.2539e-08 | -2.552e-07 | 0.0022847 | 0.0022848 | 0.0022848 | 0.99531 | -0.090346 | 0.99527 | -0.090931 | 0.62768
9 | -0.016794 | -0.0042049 | 0.016797 | 0.0042072 | 3.8594e-06 | 2.255e-06 | 0.025025 | 0.025025 | 0.025025 | 0.9985 | -0.028892 | 0.99875 | -0.024066 | 6.8751
10 | 0.016794 | 0.0042049 | -0.01679 | -0.0042027 | 3.8036e-06 | 2.2225e-06 | 0.025025 | 0.025025 | 0.025025 | 0.9985 | -0.028892 | 0.99825 | -0.033651 | 6.8751
11 | -0.026559 | -0.0066537 | 0.026575 | 0.0066637 | 1.6177e-05 | 9.9927e-06 | 0.039569 | 0.039569 | 0.039569 | 0.99875 | -0.024066 | 0.99941 | -0.011284 | 10.8706
12 | 0.0061397 | 0.0015336 | -0.0061386 | -0.0015333 | 1.1907e-06 | 2.6637e-07 | 0.0091502 | 0.0091504 | 0.0091504 | 0.99825 | -0.033651 | 0.99804 | -0.037733 | 2.5138
13 | 0.0032211 | 0.00080235 | -0.0032187 | -0.00080439 | 2.3518e-06 | -2.0461e-06 | 0.0048011 | 0.0048023 | 0.0048023 | 0.99797 | -0.039167 | 0.99717 | -0.054551 | 1.3193
14 | -0.0032211 | -0.00080235 | 0.0032213 | 0.00080216 | 2.1905e-07 | -1.9096e-07 | 0.0048011 | 0.004801 | 0.0048011 | 0.99797 | -0.039167 | 0.99804 | -0.037733 | 1.319
15 | 0.0032187 | 0.00080439 | -0.0032171 | -0.00080584 | 1.6722e-06 | -1.4503e-06 | 0.0048023 | 0.0048032 | 0.0048032 | 0.99717 | -0.054551 | 0.9966 | -0.065474 | 1.3196
16 | -0.029821 | -0.0074795 | 0.029834 | 0.0074876 | 1.2995e-05 | 8.089e-06 | 0.044519 | 0.044519 | 0.044519 | 0.99679 | -0.06171 | 0.99726 | -0.052572 | 12.2305
17 | -0.029834 | -0.0074876 | 0.029849 | 0.0074967 | 1.4624e-05 | 9.1024e-06 | 0.044519 | 0.044519 | 0.044519 | 0.99726 | -0.052572 | 0.9978 | -0.042299 | 12.2305
18 | -0.043588 | -0.01094 | 0.043676 | 0.010996 | 8.8123e-05 | 5.5671e-05 | 0.065008 | 0.065008 | 0.065008 | 0.9978 | -0.042299 | 1 | 0 | 17.8593
19 | -0.16088 | -0.041337 | 0.16139 | 0.041662 | 0.00050969 | 0.00032498 | 0.24058 | 0.24058 | 0.24058 | 0.99655 | -0.065004 | 1 | 0 | 33.0462
20 | 0.16088 | 0.041337 | -0.16081 | -0.041293 | 6.8688e-05 | 4.3795e-05 | 0.24058 | 0.24058 | 0.24058 | 0.99655 | -0.065004 | 0.99609 | -0.073798 | 33.0463
21 | 0.053797 | 0.013495 | -0.053789 | -0.013489 | 8.4519e-06 | 5.3631e-06 | 0.080055 | 0.080055 | 0.080055 | 1 | 0 | 0.99983 | -0.0032962 | 21.9932
22 | 0.13762 | 0.035482 | -0.13746 | -0.035375 | 0.00016777 | 0.00010723 | 0.20594 | 0.20594 | 0.20594 | 0.99609 | -0.073798 | 0.99476 | -0.098861 | 56.5781
23 | -0.13662 | -0.03484 | 0.13746 | 0.035375 | 0.00083771 | 0.00053546 | 0.20594 | 0.20594 | 0.20594 | 0.98814 | -0.22501 | 0.99476 | -0.098861 | 56.5781
24 | 0.13662 | 0.03484 | -0.13615 | -0.034538 | 0.00047227 | 0.00030187 | 0.20594 | 0.20594 | 0.20594 | 0.98814 | -0.22501 | 0.98441 | -0.29688 | 56.5782
25 | 0.12923 | 0.032805 | -0.12904 | -0.032681 | 0.00019347 | 0.00012365 | 0.19549 | 0.19549 | 0.19549 | 0.98441 | -0.29688 | 0.9828 | -0.32805 | 53.7071
26 | 0.0025505 | 0.00063879 | -0.0025505 | -0.00063886 | 3.9363e-08 | -6.9129e-08 | 0.003808 | 0.003808 | 0.003808 | 0.9966 | -0.065474 | 0.99659 | -0.065798 | 1.0462
27 | -0.036583 | -0.0091717 | 0.036597 | 0.0091805 | 1.3931e-05 | 8.7517e-06 | 0.054469 | 0.054469 | 0.054469 | 0.99941 | -0.011284 | 0.99983 | -0.0032962 | 14.9639
28 | 0.12025 | 0.030309 | -0.12014 | -0.030238 | 0.00011109 | 7.0987e-05 | 0.18282 | 0.18282 | 0.18282 | 0.97905 | -0.40106 | 0.97806 | -0.42039 | 50.2254
29 | -0.12025 | -0.030309 | 0.12036 | 0.030377 | 0.00010773 | 6.8839e-05 | 0.18282 | 0.18282 | 0.18282 | 0.97905 | -0.40106 | 0.98001 | -0.38236 | 50.2253
30 | 0.083952 | 0.021169 | -0.08362 | -0.020957 | 0.00033199 | 0.0002118 | 0.12777 | 0.12777 | 0.12777 | 0.97806 | -0.42039 | 0.97384 | -0.50337 | 35.1017
31 | -0.12379 | -0.031238 | 0.12389 | 0.031305 | 0.00010356 | 6.6182e-05 | 0.18804 | 0.18804 | 0.18804 | 0.98001 | -0.38236 | 0.9809 | -0.3649 | 51.6585
32 | 0.12761 | 0.032323 | -0.12738 | -0.032179 | 0.00022545 | 0.00014408 | 0.19333 | 0.19333 | 0.19333 | 0.9828 | -0.32805 | 0.9809 | -0.3649 | 53.1124
33 | 0.00045416 | 0.00011347 | -0.00045416 | -0.00011382 | 4.6788e-09 | -3.506e-07 | 0.00067799 | 0.00067812 | 0.00067812 | 0.99659 | -0.065798 | 0.99658 | -0.066014 | 0.1863

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26051 | 0.066152

## res_load
| p_mw | q_mvar
0 | 0.00976 | 0.0024461
1 | 0.0028467 | 0.00071345
2 | 0.001295 | 0.00032455
3 | 0.0012722 | 0.00031885
4 | 0.0097617 | 0.0024465
5 | 0.01065 | 0.0026692
6 | 0.0029172 | 0.00073113
7 | 0.013098 | 0.0032828
8 | 0.013739 | 0.0034433
9 | 0.023184 | 0.0058104
10 | 0.0069138 | 0.0017328
11 | 0.00066656 | 0.00016706
12 | 0.0015282 | 0.000383
13 | 0.010007 | 0.002508
14 | 0.017192 | 0.0043088
15 | 0.036184 | 0.0090686
16 | 0.0034357 | 0.00086107
17 | 0.0014298 | 0.00035835
18 | 0.0020963 | 0.00052538
19 | 0.00045416 | 0.00011382
20 | 0.0034887 | 0.00087434
21 | 0.08362 | 0.020957

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1