## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_172-12_1_5_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_172-12_1_5_node_50 | 0.4 | n |  | TRUE
2 | bus_LV_172-12_1_5_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_172-12_1_5_node_51 | 0.4 | n |  | TRUE
4 | bus_LV_172-12_1_5_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_172-12_1_5_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_172-12_1_5_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_172-12_1_5_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_172-12_1_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_172-12_1_5_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_172-12_1_5_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_172-12_1_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_172-12_1_5_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_172-12_1_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_172-12_1_5_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_172-12_1_5_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_172-12_1_5_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_172-12_1_5_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_172-12_1_5_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_172-12_1_5_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_172-12_1_5_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_172-12_1_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_172-12_1_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_172-12_1_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_172-12_1_5_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_172-12_1_5_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_172-12_1_5_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_172-12_1_5_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_172-12_1_5_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_172-12_1_5_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_172-12_1_5_node_68 | 0.4 | n |  | TRUE
31 | bus_MV_362_0_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_172-12_1_5_load_50 | 1 | 0.0096189 | 0.0024107 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_172-12_1_5_load_51 | 3 | 0.029601 | 0.0074187 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_172-12_1_5_load_70 | 5 | 0.072262 | 0.018111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_172-12_1_5_load_60 | 9 | 0.00066962 | 0.00016782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_172-12_1_5_load_59 | 10 | 0.0007555 | 0.00018934 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_172-12_1_5_load_63 | 12 | 0.019371 | 0.0048547 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_172-12_1_5_load_40 | 13 | 0.017915 | 0.0044898 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_172-12_1_5_load_41 | 14 | 0.00035267 | 8.8388e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_172-12_1_5_load_42 | 15 | 0.012908 | 0.0032349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_172-12_1_5_load_43 | 16 | 0.00048147 | 0.00012067 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_172-12_1_5_load_44 | 17 | 0.0088777 | 0.002225 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_172-12_1_5_load_48 | 18 | 0.00048139 | 0.00012065 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_172-12_1_5_load_49 | 19 | 0.01808 | 0.0045313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_172-12_1_5_load_45 | 20 | 0.012713 | 0.0031862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_172-12_1_5_load_53 | 23 | 0.00072531 | 0.00018178 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_172-12_1_5_load_61 | 24 | 0.0023164 | 0.00058054 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_172-12_1_5_load_62 | 25 | 0.00099257 | 0.00024876 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_172-12_1_5_load_64 | 26 | 0.022787 | 0.0057109 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_172-12_1_5_load_65 | 27 | 0.045615 | 0.011432 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_172-12_1_5_load_67 | 29 | 0.072249 | 0.018107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_172-12_1_5_line_0 |  | 0 | 1 | 0.089235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_172-12_1_5_line_1 |  | 0 | 2 | 0.27661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_172-12_1_5_line_2 |  | 0 | 3 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_172-12_1_5_line_3 |  | 1 | 19 | 0.017755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_172-12_1_5_line_4 |  | 2 | 4 | 0.076121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_172-12_1_5_line_5 |  | 2 | 5 | 0.18467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_172-12_1_5_line_6 |  | 3 | 6 | 0.056117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_172-12_1_5_line_7 |  | 4 | 12 | 0.15704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_172-12_1_5_line_8 |  | 4 | 11 | 0.52668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_172-12_1_5_line_9 |  | 5 | 30 | 0.0099385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_172-12_1_5_line_10 |  | 6 | 7 | 0.41145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_172-12_1_5_line_11 |  | 7 | 23 | 0.080554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_172-12_1_5_line_12 |  | 8 | 9 | 0.029144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_172-12_1_5_line_13 |  | 8 | 10 | 0.031239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_172-12_1_5_line_14 |  | 9 | 24 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_172-12_1_5_line_15 |  | 10 | 11 | 0.033551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_172-12_1_5_line_16 |  | 13 | 14 | 0.051877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_172-12_1_5_line_17 |  | 13 | 15 | 0.024571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_172-12_1_5_line_18 |  | 14 | 16 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_172-12_1_5_line_19 |  | 15 | 17 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_172-12_1_5_line_20 |  | 16 | 18 | 0.009903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_172-12_1_5_line_21 |  | 17 | 19 | 0.023747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_172-12_1_5_line_22 |  | 18 | 22 | 0.1056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_172-12_1_5_line_23 |  | 20 | 21 | 0.14545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_172-12_1_5_line_24 |  | 21 | 22 | 0.008742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_172-12_1_5_line_25 |  | 24 | 25 | 0.0052839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_172-12_1_5_line_26 |  | 26 | 27 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_172-12_1_5_line_27 |  | 26 | 28 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_172-12_1_5_line_28 |  | 27 | 29 | 0.0073104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_172-12_1_5_line_29 |  | 28 | 30 | 0.023127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_172-12_1_5_trafo_23 | 0.63 MVA 20/0.4 kV | 31 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2700152.486 | 1249311.1652 | 2700160.0863 | 1249317.2317 | 2700165.4992 | 1249323.5949 | 2700185.3235 | 1249354.8099 | 2700186.5831 | 1249358.0226 | 2700186.813 | 1249360.951 | 2700186.4748 | 1249363.981 | 2700184.6194 | 1249371.8781 | 2700184.201 | 1249375.1847 | 2700184.2381 | 1249378.7993 | 2700185.4655 | 1249388.4023
1 | 2700152.486 | 1249311.1652 | 2700162.1814 | 1249303.6454 | 2700137.1314 | 1249262.5677 | 2700142.9579 | 1249258.7631 | 2700164.4694 | 1249246.9395 | 2700179.9411 | 1249239.9287 | 2700194.6982 | 1249236.3198 | 2700208.2802 | 1249234.3255 | 2700273.3946 | 1249228.4441 | 2700339.9091 | 1249225.078 | 2700346.7226 | 1249224.5374
2 | 2700152.486 | 1249311.1652 | 2700142.6861 | 1249320.6961
3 | 2700187.8455 | 1249405.996 | 2700186.9858 | 1249400.296 | 2700185.4655 | 1249388.4023
4 | 2700404.2877 | 1249176.63 | 2700386.2724 | 1249187.5446 | 2700349.2554 | 1249217.2301 | 2700346.7226 | 1249224.5374
5 | 2700346.7226 | 1249224.5374 | 2700388.0741 | 1249222.0466 | 2700514.5396 | 1249218.4978 | 2700531.2529 | 1249217.8817
6 | 2700103.9643 | 1249361.2739 | 2700114.5347 | 1249351.1222 | 2700138.4044 | 1249324.8603 | 2700142.6861 | 1249320.6961
7 | 2700404.2877 | 1249176.63 | 2700425.8279 | 1249168.9555 | 2700497.0568 | 1249146.3781 | 2700535.905 | 1249134.7943 | 2700553.952 | 1249129.1277
8 | 2700404.2877 | 1249176.63 | 2700349.6034 | 1249030.4004 | 2700283.4969 | 1249043.8924 | 2700270.0522 | 1249045.3328 | 2700258.7887 | 1249045.0754 | 2700245.3067 | 1249043.8131 | 2700235.2716 | 1249041.9197 | 2700225.3898 | 1249039.4507 | 2700210.8523 | 1249034.5122 | 2700170.5222 | 1249019.8413 | 2700161.2192 | 1249017.082 | 2700152.7056 | 1249015.4257 | 2700143.2561 | 1249014.1874 | 2700109.6256 | 1249011.9732 | 2700060.0498 | 1249008.5669 | 2700040.1832 | 1249007.92 | 2700052.0735 | 1248998.3465 | 2700084.6948 | 1248975.8128
9 | 2700541.1846 | 1249217.5155 | 2700531.2529 | 1249217.8817
10 | 2700103.9643 | 1249361.2739 | 2700045.5304 | 1249422.4133 | 2699987.6193 | 1249483.9734 | 2699996.3863 | 1249493.8402 | 2700045.4008 | 1249549.0216 | 2700112.8125 | 1249623.6962 | 2700132.3155 | 1249646.1766 | 2700135.7555 | 1249655.7644 | 2700135.5342 | 1249662.5994 | 2700132.0602 | 1249669.7686
11 | 2700132.0602 | 1249669.7686 | 2700107.9212 | 1249666.0246 | 2700083.2193 | 1249663.8614 | 2700060.5824 | 1249665.0691 | 2700052.2098 | 1249667.284
12 | 2700137.9063 | 1248938.849 | 2700143.3721 | 1248947.0144 | 2700155.3059 | 1248950.074 | 2700160.8943 | 1248954.2857
13 | 2700137.9063 | 1248938.849 | 2700122.0618 | 1248950.0013 | 2700112.3005 | 1248956.7439
14 | 2700172.673 | 1248965.4675 | 2700170.4144 | 1248961.4604 | 2700160.8943 | 1248954.2857
15 | 2700084.6948 | 1248975.8128 | 2700112.3005 | 1248956.7439
16 | 2700198.4175 | 1249472.7103 | 2700200.6051 | 1249482.235 | 2700204.3159 | 1249492.3278 | 2700209.3088 | 1249503.8546 | 2700216.1159 | 1249515.7235 | 2700218.7739 | 1249520.084
17 | 2700198.4175 | 1249472.7103 | 2700196.9335 | 1249466.2492 | 2700194.2576 | 1249448.5078
18 | 2700218.7739 | 1249520.084 | 2700225.6454 | 1249531.3568
19 | 2700191.3872 | 1249429.4771 | 2700194.2576 | 1249448.5078
20 | 2700231.0125 | 1249539.6702 | 2700229.2315 | 1249537.2399 | 2700225.6454 | 1249531.3568
21 | 2700191.3872 | 1249429.4771 | 2700187.8455 | 1249405.996
22 | 2700300.0022 | 1249619.0123 | 2700290.2172 | 1249612.2192 | 2700282.2525 | 1249603.6221 | 2700263.895 | 1249581.3052 | 2700242.3847 | 1249555.1875 | 2700231.0125 | 1249539.6702
23 | 2700307.9703 | 1249615.3665 | 2700290.1388 | 1249594.5484 | 2700286.6053 | 1249589.607 | 2700281.033 | 1249581.5397 | 2700274.1379 | 1249569.5247 | 2700269.1386 | 1249559.2766 | 2700263.8021 | 1249544.8527 | 2700247.9086 | 1249485.421
24 | 2700300.0022 | 1249619.0123 | 2700307.9703 | 1249615.3665
25 | 2700172.673 | 1248965.4675 | 2700175.2675 | 1248970.0705
26 | 2700579.1011 | 1249195.2419 | 2700572.2442 | 1249184.2607 | 2700572.2442 | 1249184.2607
27 | 2700564.1354 | 1249220.6184 | 2700585.206 | 1249205.0191 | 2700579.1011 | 1249195.2419
28 | 2700566.2225 | 1249188.4056 | 2700572.2442 | 1249184.2607
29 | 2700564.1354 | 1249220.6184 | 2700551.7969 | 1249218.3073 | 2700541.1846 | 1249217.5155

## bus_geodata
| x | y | coords
0 | 2700152.486 | 1249311.1652
1 | 2700185.4655 | 1249388.4023
2 | 2700346.7226 | 1249224.5374
3 | 2700142.6861 | 1249320.6961
4 | 2700404.2877 | 1249176.63
5 | 2700531.2529 | 1249217.8817
6 | 2700103.9643 | 1249361.2739
7 | 2700132.0602 | 1249669.7686
8 | 2700137.9063 | 1248938.849
9 | 2700160.8943 | 1248954.2857
10 | 2700112.3005 | 1248956.7439
11 | 2700084.6948 | 1248975.8128
12 | 2700553.952 | 1249129.1277
13 | 2700198.4175 | 1249472.7103
14 | 2700218.7739 | 1249520.084
15 | 2700194.2576 | 1249448.5078
16 | 2700225.6454 | 1249531.3568
17 | 2700191.3872 | 1249429.4771
18 | 2700231.0125 | 1249539.6702
19 | 2700187.8455 | 1249405.996
20 | 2700247.9086 | 1249485.421
21 | 2700307.9703 | 1249615.3665
22 | 2700300.0022 | 1249619.0123
23 | 2700052.2098 | 1249667.284
24 | 2700172.673 | 1248965.4675
25 | 2700175.2675 | 1248970.0705
26 | 2700579.101 | 1249195.2419
27 | 2700572.2442 | 1249184.2607
28 | 2700564.1354 | 1249220.6184
29 | 2700566.2225 | 1249188.4056
30 | 2700541.1846 | 1249217.5155
31 | 2700346.7226 | 1249224.5374

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98278 | -0.32897 | 0 | 0
1 | 0.9794 | -0.39477 | 0.0096189 | 0.0024107
2 | 0.99234 | -0.14473 | 0 | 0
3 | 0.9824 | -0.33646 | 0.029601 | 0.0074187
4 | 1 | 0 | -0.35746 | -0.091866
5 | 0.98016 | -0.3796 | 0.072262 | 0.018111
6 | 0.98236 | -0.33721 | 0 | 0
7 | 0.98208 | -0.34267 | 0 | 0
8 | 0.99748 | -0.048634 | 0 | 0
9 | 0.99737 | -0.050666 | 0.00066962 | 0.00016782
10 | 0.99759 | -0.046456 | 0.0007555 | 0.00018934
11 | 0.99773 | -0.043673 | 0 | 0
12 | 0.99723 | -0.053174 | 0.019371 | 0.0048547
13 | 0.9755 | -0.47139 | 0.017915 | 0.0044898
14 | 0.97482 | -0.48474 | 0.00035267 | 8.8388e-05
15 | 0.97623 | -0.45702 | 0.012908 | 0.0032349
16 | 0.97465 | -0.48805 | 0.00048147 | 0.00012067
17 | 0.97703 | -0.44124 | 0.0088777 | 0.002225
18 | 0.97453 | -0.49045 | 0.00048139 | 0.00012065
19 | 0.97822 | -0.41797 | 0.01808 | 0.0045313
20 | 0.97144 | -0.55128 | 0.012713 | 0.0031862
21 | 0.97317 | -0.51718 | 0 | 0
22 | 0.97327 | -0.51513 | 0 | 0
23 | 0.98203 | -0.34373 | 0.00072531 | 0.00018178
24 | 0.99732 | -0.051624 | 0.0023164 | 0.00058054
25 | 0.99732 | -0.051716 | 0.00099257 | 0.00024876
26 | 0.97625 | -0.45619 | 0.022787 | 0.0057109
27 | 0.97483 | -0.48413 | 0.045615 | 0.011432
28 | 0.97872 | -0.40777 | 0 | 0
29 | 0.97434 | -0.49382 | 0.072249 | 0.018107
30 | 0.97973 | -0.38806 | 0 | 0
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.081931 | 0.020722 | -0.081673 | -0.020559 | 0.00025775 | 0.00016271 | 0.12412 | 0.12412 | 0.12412 | 0.98278 | -0.32897 | 0.9794 | -0.39477 | 17.0493
1 | -0.11227 | -0.028323 | 0.11327 | 0.028952 | 0.00099982 | 0.00062927 | 0.17005 | 0.17005 | 0.17005 | 0.98278 | -0.32897 | 0.99234 | -0.14473 | 15.5724
2 | 0.030337 | 0.0076005 | -0.030327 | -0.0075937 | 1.0816e-05 | 6.7488e-06 | 0.045933 | 0.045933 | 0.045933 | 0.98278 | -0.32897 | 0.9824 | -0.33646 | 12.6189
3 | 0.072054 | 0.018149 | -0.071974 | -0.018098 | 7.9839e-05 | 5.0874e-05 | 0.1095 | 0.1095 | 0.1095 | 0.9794 | -0.39477 | 0.97822 | -0.41797 | 30.0837
4 | -0.32932 | -0.084311 | 0.33164 | 0.085796 | 0.0023262 | 0.0014858 | 0.49445 | 0.49444 | 0.49445 | 0.99234 | -0.14473 | 1 | 0 | 45.2789
5 | 0.21605 | 0.055359 | -0.21362 | -0.053811 | 0.0024292 | 0.0015476 | 0.3244 | 0.3244 | 0.3244 | 0.99234 | -0.14473 | 0.98016 | -0.3796 | 29.7071
6 | 0.00072556 | 0.000175 | -0.00072553 | -0.0001757 | 2.5311e-08 | -6.943e-07 | 0.0010966 | 0.0010968 | 0.0010968 | 0.9824 | -0.33646 | 0.98236 | -0.33721 | 0.30133
7 | 0.01942 | 0.0048841 | -0.019371 | -0.0048547 | 4.9197e-05 | 2.9432e-05 | 0.028903 | 0.028904 | 0.028904 | 1 | 0 | 0.99723 | -0.053174 | 7.9406
8 | 0.0047455 | 0.0011854 | -0.0047357 | -0.001186 | 9.8477e-06 | -5.9149e-07 | 0.00706 | 0.0070624 | 0.0070624 | 1 | 0 | 0.99773 | -0.043673 | 1.9402
9 | 0.14136 | 0.035701 | -0.1413 | -0.035664 | 5.7265e-05 | 3.6274e-05 | 0.2147 | 0.2147 | 0.2147 | 0.98016 | -0.3796 | 0.97973 | -0.38806 | 19.661
10 | 0.00072553 | 0.0001757 | -0.00072535 | -0.00018078 | 1.8593e-07 | -5.0887e-06 | 0.0010968 | 0.0010987 | 0.0010987 | 0.98236 | -0.33721 | 0.98208 | -0.34267 | 0.30183
11 | 0.00072535 | 0.00018078 | -0.00072531 | -0.00018178 | 3.6474e-08 | -9.9588e-07 | 0.0010987 | 0.001099 | 0.001099 | 0.98208 | -0.34267 | 0.98203 | -0.34373 | 0.30193
12 | 0.0039791 | 0.00099681 | -0.0039787 | -0.00099694 | 3.8507e-07 | -1.3393e-07 | 0.0059358 | 0.0059359 | 0.0059359 | 0.99748 | -0.048634 | 0.99737 | -0.050666 | 1.6308
13 | -0.0039791 | -0.00099681 | 0.0039795 | 0.00099666 | 4.1275e-07 | -1.4366e-07 | 0.0059358 | 0.0059357 | 0.0059358 | 0.99748 | -0.048634 | 0.99759 | -0.046456 | 1.6307
14 | 0.0033091 | 0.00082912 | -0.003309 | -0.00082924 | 1.51e-07 | -1.1895e-07 | 0.0049369 | 0.004937 | 0.004937 | 0.99737 | -0.050666 | 0.99732 | -0.051624 | 1.3563
15 | -0.004735 | -0.001186 | 0.0047357 | 0.001186 | 6.2756e-07 | -3.6475e-08 | 0.0070626 | 0.0070624 | 0.0070626 | 0.99759 | -0.046456 | 0.99773 | -0.043673 | 1.9403
16 | 0.014078 | 0.0035435 | -0.014069 | -0.0035384 | 8.9762e-06 | 5.0976e-06 | 0.02148 | 0.021481 | 0.021481 | 0.9755 | -0.47139 | 0.97482 | -0.48474 | 5.9013
17 | -0.031993 | -0.0080333 | 0.032015 | 0.0080471 | 2.195e-05 | 1.3741e-05 | 0.048807 | 0.048807 | 0.048807 | 0.9755 | -0.47139 | 0.97623 | -0.45702 | 13.4086
18 | 0.013717 | 0.00345 | -0.013714 | -0.0034488 | 2.1713e-06 | 1.2251e-06 | 0.020942 | 0.020942 | 0.020942 | 0.97482 | -0.48474 | 0.97465 | -0.48805 | 5.7534
19 | -0.044922 | -0.011282 | 0.044956 | 0.011303 | 3.3847e-05 | 2.1421e-05 | 0.068481 | 0.068481 | 0.068481 | 0.97623 | -0.45702 | 0.97703 | -0.44124 | 18.8136
20 | 0.013233 | 0.0033281 | -0.013231 | -0.0033273 | 1.5164e-06 | 8.4709e-07 | 0.020207 | 0.020207 | 0.020207 | 0.97465 | -0.48805 | 0.97453 | -0.49045 | 5.5515
21 | -0.053834 | -0.013528 | 0.053894 | 0.013566 | 5.988e-05 | 3.8026e-05 | 0.082002 | 0.082002 | 0.082002 | 0.97703 | -0.44124 | 0.97822 | -0.41797 | 22.528
22 | 0.01275 | 0.0032066 | -0.012735 | -0.0031983 | 1.5016e-05 | 8.296e-06 | 0.019472 | 0.019473 | 0.019473 | 0.97453 | -0.49045 | 0.97327 | -0.51513 | 5.3496
23 | -0.012713 | -0.0031862 | 0.012734 | 0.0031976 | 2.0682e-05 | 1.1433e-05 | 0.019473 | 0.019473 | 0.019473 | 0.97144 | -0.55128 | 0.97317 | -0.51718 | 5.3498
24 | -0.012734 | -0.0031976 | 0.012735 | 0.0031983 | 1.2431e-06 | 6.8694e-07 | 0.019473 | 0.019473 | 0.019473 | 0.97317 | -0.51718 | 0.97327 | -0.51513 | 5.3497
25 | 0.00099258 | 0.0002487 | -0.00099257 | -0.00024876 | 4.3456e-09 | -6.6169e-08 | 0.0014809 | 0.0014809 | 0.0014809 | 0.99732 | -0.051624 | 0.99732 | -0.051716 | 0.40685
26 | 0.11805 | 0.029661 | -0.1179 | -0.029561 | 0.00015724 | 0.00010047 | 0.17997 | 0.17997 | 0.17997 | 0.97625 | -0.45619 | 0.97483 | -0.48413 | 49.4413
27 | -0.14084 | -0.035372 | 0.14117 | 0.03558 | 0.00032621 | 0.00020783 | 0.2147 | 0.2147 | 0.2147 | 0.97625 | -0.45619 | 0.97872 | -0.40777 | 29.4916
28 | 0.072282 | 0.018128 | -0.072249 | -0.018107 | 3.3375e-05 | 2.1269e-05 | 0.11034 | 0.11034 | 0.11034 | 0.97483 | -0.48413 | 0.97434 | -0.49382 | 30.3128
29 | -0.14117 | -0.03558 | 0.1413 | 0.035664 | 0.00013326 | 8.4411e-05 | 0.2147 | 0.2147 | 0.2147 | 0.97872 | -0.40777 | 0.97973 | -0.38806 | 19.661

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35746 | 0.091866

## res_load
| p_mw | q_mvar
0 | 0.0096189 | 0.0024107
1 | 0.029601 | 0.0074187
2 | 0.072262 | 0.018111
3 | 0.00066962 | 0.00016782
4 | 0.0007555 | 0.00018934
5 | 0.019371 | 0.0048547
6 | 0.017915 | 0.0044898
7 | 0.00035267 | 8.8388e-05
8 | 0.012908 | 0.0032349
9 | 0.00048147 | 0.00012067
10 | 0.0088777 | 0.002225
11 | 0.00048139 | 0.00012065
12 | 0.01808 | 0.0045313
13 | 0.012713 | 0.0031862
14 | 0.00072531 | 0.00018178
15 | 0.0023164 | 0.00058054
16 | 0.00099257 | 0.00024876
17 | 0.022787 | 0.0057109
18 | 0.045615 | 0.011432
19 | 0.072249 | 0.018107

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1