## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_172-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_172-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_172-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_172-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_172-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_172-1_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_172-1_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_172-1_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_172-1_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_172-1_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_172-1_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_172-1_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_172-1_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_172-1_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_172-1_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_172-1_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_172-1_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_172-1_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_172-1_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_172-1_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_172-1_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_172-1_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_172-1_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_172-1_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_172-1_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_172-1_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_172-1_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_172-1_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_172-1_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_172-1_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_172-1_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_MV_362_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_172-1_0_4_load_0 | 0 | 0.058513 | 0.014665 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_172-1_0_4_load_1 | 1 | 0.028632 | 0.0071759 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_172-1_0_4_load_3 | 3 | 0.0018846 | 0.00047232 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_172-1_0_4_load_4 | 4 | 0.028035 | 0.0070263 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_172-1_0_4_load_5 | 5 | 0.036599 | 0.0091727 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_172-1_0_4_load_6 | 9 | 0.040887 | 0.010247 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_172-1_0_4_load_25 | 13 | 0.038779 | 0.009719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_172-1_0_4_load_33 | 14 | 0.002481 | 0.00062179 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_172-1_0_4_load_10 | 15 | 0.039994 | 0.010023 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_172-1_0_4_load_13 | 17 | 0.0064575 | 0.0016184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_172-1_0_4_load_14 | 18 | 0.016743 | 0.0041962 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_172-1_0_4_load_15 | 19 | 0.015654 | 0.0039233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_172-1_0_4_load_20 | 21 | 0.0019072 | 0.00047798 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_172-1_0_4_load_22 | 25 | 0.022569 | 0.0056563 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_172-1_0_4_load_26 | 26 | 0.081662 | 0.020466 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_172-1_0_4_load_27 | 27 | 0.056671 | 0.014203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_172-1_0_4_load_30 | 28 | 0.033224 | 0.0083266 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_172-1_0_4_load_31 | 29 | 0.0032621 | 0.00081756 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_172-1_0_4_line_0 |  | 0 | 1 | 0.02549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_172-1_0_4_line_1 |  | 0 | 2 | 0.038166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_172-1_0_4_line_2 |  | 1 | 3 | 0.021319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_172-1_0_4_line_3 |  | 2 | 4 | 0.076822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_172-1_0_4_line_4 |  | 2 | 5 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_172-1_0_4_line_5 |  | 4 | 6 | 0.031087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_172-1_0_4_line_6 |  | 6 | 7 | 0.027662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_172-1_0_4_line_7 |  | 6 | 8 | 0.048012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_172-1_0_4_line_8 |  | 7 | 13 | 0.032813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_172-1_0_4_line_9 |  | 7 | 17 | 0.022272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_172-1_0_4_line_10 |  | 8 | 18 | 0.036357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_172-1_0_4_line_11 |  | 9 | 10 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_172-1_0_4_line_12 |  | 10 | 11 | 0.034921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_172-1_0_4_line_13 |  | 11 | 12 | 0.10005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_172-1_0_4_line_14 |  | 11 | 13 | 0.024384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_172-1_0_4_line_15 |  | 12 | 14 | 0.042553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_172-1_0_4_line_16 |  | 14 | 30 | 0.021614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_172-1_0_4_line_17 |  | 15 | 16 | 0.034939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_172-1_0_4_line_18 |  | 16 | 17 | 0.058232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_172-1_0_4_line_19 |  | 18 | 19 | 0.0074529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_172-1_0_4_line_20 |  | 19 | 20 | 0.031877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_172-1_0_4_line_21 |  | 20 | 21 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_172-1_0_4_line_22 |  | 20 | 22 | 0.062703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_172-1_0_4_line_23 |  | 22 | 25 | 0.040864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_172-1_0_4_line_24 |  | 23 | 24 | 0.09461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_172-1_0_4_line_25 |  | 23 | 25 | 0.041229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_172-1_0_4_line_26 |  | 24 | 26 | 0.033996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_172-1_0_4_line_27 |  | 26 | 27 | 0.038448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_172-1_0_4_line_28 |  | 28 | 29 | 0.0058872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_172-1_0_4_line_29 |  | 28 | 30 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_172-1_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 31 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2698126.5402 | 1249935.3831 | 2698110.3006 | 1249915.7362
1 | 2698097.8969 | 1249960.6065 | 2698126.5402 | 1249935.3831 | 2698126.5402 | 1249935.3831
2 | 2698096.2848 | 1249899.916 | 2698097.6329 | 1249900.4107 | 2698110.3006 | 1249915.7362
3 | 2698097.8969 | 1249960.6065 | 2698146.8717 | 1250019.7931
4 | 2698097.8969 | 1249960.6065 | 2698096.4873 | 1249955.9017 | 2698081.3867 | 1249937.0247
5 | 2698166.69 | 1250043.7437 | 2698146.8717 | 1250019.7931
6 | 2698166.69 | 1250043.7437 | 2698187.049 | 1250024.9551
7 | 2698166.69 | 1250043.7437 | 2698129.8137 | 1250074.6128
8 | 2698187.049 | 1250024.9551 | 2698210.2151 | 1250001.7171
9 | 2698187.049 | 1250024.9551 | 2698203.1103 | 1250040.385
10 | 2698129.8137 | 1250074.6128 | 2698153.1122 | 1250102.5238
11 | 2698253.7733 | 1250007.3692 | 2698261.7481 | 1250014.9313
12 | 2698227.4308 | 1249984.448 | 2698239.5459 | 1249994.7124 | 2698253.7733 | 1250007.3692
13 | 2698227.4308 | 1249984.448 | 2698240.6979 | 1249970.3235 | 2698266.5332 | 1249942.808 | 2698287.6872 | 1249920.2856 | 2698280.0104 | 1249911.0288
14 | 2698227.4308 | 1249984.448 | 2698210.2151 | 1250001.7171
15 | 2698280.0104 | 1249911.0288 | 2698252.8319 | 1249878.2865
16 | 2698239.0269 | 1249861.6553 | 2698252.8319 | 1249878.2865
17 | 2698245.1037 | 1250080.7273 | 2698271.5889 | 1250103.5154
18 | 2698245.1037 | 1250080.7273 | 2698203.1103 | 1250040.385
19 | 2698153.1122 | 1250102.5238 | 2698157.8883 | 1250108.2453
20 | 2698178.3159 | 1250132.7169 | 2698157.8883 | 1250108.2453
21 | 2698178.3159 | 1250132.7169 | 2698192.4534 | 1250131.6503 | 2698194.5298 | 1250134.0296
22 | 2698129.2758 | 1250171.791 | 2698174.1379 | 1250136.0503 | 2698178.3159 | 1250132.7169
23 | 2698129.2758 | 1250171.791 | 2698123.9271 | 1250176.0613 | 2698118.6728 | 1250175.0958 | 2698100.1124 | 1250153.2349
24 | 2698007.4738 | 1250066.5046 | 2698058.7365 | 1250120.3056 | 2698065.9932 | 1250128.0317 | 2698073.4281 | 1250121.8054
25 | 2698073.4281 | 1250121.8054 | 2698100.1124 | 1250153.2349
26 | 2698007.4738 | 1250066.5046 | 2697981.2561 | 1250088.146
27 | 2697951.6049 | 1250112.6217 | 2697981.2561 | 1250088.146
28 | 2698229.9653 | 1249877.1506 | 2698229.9653 | 1249877.1506 | 2698229.8677 | 1249883.037
29 | 2698239.0269 | 1249861.6553 | 2698229.9653 | 1249877.1506

## bus_geodata
| x | y | coords
0 | 2698126.5402 | 1249935.3831
1 | 2698110.3006 | 1249915.7362
2 | 2698097.8969 | 1249960.6065
3 | 2698096.2848 | 1249899.916
4 | 2698146.8717 | 1250019.7931
5 | 2698081.3867 | 1249937.0247
6 | 2698166.69 | 1250043.7437
7 | 2698187.0489 | 1250024.9551
8 | 2698129.8137 | 1250074.6128
9 | 2698261.7481 | 1250014.9313
10 | 2698253.7733 | 1250007.3692
11 | 2698227.4308 | 1249984.448
12 | 2698280.0104 | 1249911.0288
13 | 2698210.2151 | 1250001.7171
14 | 2698252.8319 | 1249878.2865
15 | 2698271.5889 | 1250103.5154
16 | 2698245.1037 | 1250080.7273
17 | 2698203.1103 | 1250040.385
18 | 2698153.1122 | 1250102.5238
19 | 2698157.8883 | 1250108.2453
20 | 2698178.3159 | 1250132.7169
21 | 2698194.5298 | 1250134.0296
22 | 2698129.2758 | 1250171.791
23 | 2698073.4281 | 1250121.8054
24 | 2698007.4738 | 1250066.5046
25 | 2698100.1124 | 1250153.2349
26 | 2697981.2561 | 1250088.146
27 | 2697951.6049 | 1250112.6217
28 | 2698229.9653 | 1249877.1506
29 | 2698229.8677 | 1249883.037
30 | 2698239.0269 | 1249861.6553
31 | 2698166.69 | 1250043.7437

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98802 | -0.2302 | 0.058513 | 0.014665
1 | 0.98731 | -0.2441 | 0.028632 | 0.0071759
2 | 0.99114 | -0.16972 | 0 | 0
3 | 0.98727 | -0.24482 | 0.0018846 | 0.00047232
4 | 1 | 0 | -0.49485 | -0.12641
5 | 0.99017 | -0.18863 | 0.036599 | 0.0091727
6 | 0.99655 | -0.065307 | 0 | 0
7 | 0.99445 | -0.10547 | 0 | 0
8 | 0.99365 | -0.12031 | 0 | 0
9 | 0.98736 | -0.24246 | 0.040887 | 0.010247
10 | 0.98777 | -0.23443 | 0 | 0
11 | 0.98908 | -0.20896 | 0 | 0
12 | 0.98548 | -0.27868 | 0 | 0
13 | 0.99087 | -0.17433 | 0.038779 | 0.009719
14 | 0.98395 | -0.30848 | 0.002481 | 0.00062179
15 | 0.99009 | -0.18975 | 0.039994 | 0.010023
16 | 0.99137 | -0.16493 | 0 | 0
17 | 0.9935 | -0.12372 | 0.0064575 | 0.0016184
18 | 0.99145 | -0.16217 | 0.016743 | 0.0041962
19 | 0.99104 | -0.17003 | 0.015654 | 0.0039233
20 | 0.98942 | -0.20079 | 0 | 0
21 | 0.98939 | -0.20138 | 0.0019072 | 0.00047798
22 | 0.98629 | -0.26086 | 0 | 0
23 | 0.98248 | -0.33449 | 0 | 0
24 | 0.97841 | -0.41359 | 0 | 0
25 | 0.98425 | -0.30022 | 0.022569 | 0.0056563
26 | 0.97403 | -0.4996 | 0.081662 | 0.020466
27 | 0.972 | -0.53971 | 0.056671 | 0.014203
28 | 0.98262 | -0.33451 | 0.033224 | 0.0083266
29 | 0.9826 | -0.33485 | 0.0032621 | 0.00081756
30 | 0.98323 | -0.32269 | 0 | 0
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.030537 | 0.0076606 | -0.030517 | -0.007648 | 2.022e-05 | 1.2615e-05 | 0.045993 | 0.045993 | 0.045993 | 0.98802 | -0.2302 | 0.98731 | -0.2441 | 12.6355
1 | -0.08905 | -0.022325 | 0.089308 | 0.02249 | 0.00025744 | 0.00016427 | 0.13412 | 0.13412 | 0.13412 | 0.98802 | -0.2302 | 0.99114 | -0.16972 | 36.8454
2 | 0.0018847 | 0.00047209 | -0.0018846 | -0.00047232 | 6.45e-08 | -2.3135e-07 | 0.0028404 | 0.0028405 | 0.0028405 | 0.98731 | -0.2441 | 0.98727 | -0.24482 | 0.78034
3 | -0.12594 | -0.031683 | 0.12697 | 0.032342 | 0.0010303 | 0.00065842 | 0.18912 | 0.18912 | 0.18912 | 0.99114 | -0.16972 | 1 | 0 | 51.9556
4 | 0.036632 | 0.0091934 | -0.036599 | -0.0091727 | 3.2995e-05 | 2.0742e-05 | 0.055001 | 0.055001 | 0.055001 | 0.99114 | -0.16972 | 0.99017 | -0.18863 | 15.1102
5 | 0.36622 | 0.094073 | -0.36507 | -0.093333 | 0.0011574 | 0.00073953 | 0.54576 | 0.54576 | 0.54576 | 1 | 0 | 0.99655 | -0.065307 | 49.9781
6 | 0.1664 | 0.042207 | -0.16607 | -0.042003 | 0.00032063 | 0.00020449 | 0.24863 | 0.24864 | 0.24864 | 0.99655 | -0.065307 | 0.99445 | -0.10547 | 34.1532
7 | 0.19867 | 0.051126 | -0.19814 | -0.050789 | 0.00052984 | 0.00033723 | 0.29713 | 0.29713 | 0.29713 | 0.99655 | -0.065307 | 0.99365 | -0.12031 | 27.2095
8 | 0.11946 | 0.030256 | -0.11906 | -0.030004 | 0.00039363 | 0.0002515 | 0.17886 | 0.17886 | 0.17886 | 0.99445 | -0.10547 | 0.99087 | -0.17433 | 49.1367
9 | 0.046618 | 0.011747 | -0.046577 | -0.011721 | 4.0666e-05 | 2.5737e-05 | 0.069778 | 0.069778 | 0.069778 | 0.99445 | -0.10547 | 0.9935 | -0.12372 | 19.1697
10 | 0.19814 | 0.050789 | -0.19774 | -0.050534 | 0.00040122 | 0.00025537 | 0.29713 | 0.29713 | 0.29713 | 0.99365 | -0.12031 | 0.99145 | -0.16217 | 27.2095
11 | -0.040887 | -0.010247 | 0.040903 | 0.010257 | 1.5649e-05 | 9.8744e-06 | 0.06162 | 0.06162 | 0.06162 | 0.98736 | -0.24246 | 0.98777 | -0.23443 | 16.9285
12 | -0.040903 | -0.010257 | 0.040952 | 0.010289 | 4.9723e-05 | 3.1375e-05 | 0.06162 | 0.06162 | 0.06162 | 0.98777 | -0.23443 | 0.98908 | -0.20896 | 16.9285
13 | 0.039198 | 0.0099117 | -0.039068 | -0.0098294 | 0.00013061 | 8.2312e-05 | 0.059003 | 0.059003 | 0.059003 | 0.98908 | -0.20896 | 0.98548 | -0.27868 | 16.2097
14 | -0.080151 | -0.0202 | 0.080284 | 0.020285 | 0.00013304 | 8.4835e-05 | 0.12062 | 0.12062 | 0.12062 | 0.98908 | -0.20896 | 0.99087 | -0.17433 | 33.1379
15 | 0.039068 | 0.0098294 | -0.039012 | -0.0097944 | 5.5553e-05 | 3.5013e-05 | 0.059003 | 0.059003 | 0.059003 | 0.98548 | -0.27868 | 0.98395 | -0.30848 | 16.2097
16 | 0.036531 | 0.0091726 | -0.036506 | -0.0091571 | 2.4743e-05 | 1.5561e-05 | 0.055251 | 0.055252 | 0.055252 | 0.98395 | -0.30848 | 0.98323 | -0.32269 | 15.179
17 | -0.039994 | -0.010023 | 0.040041 | 0.010053 | 4.7336e-05 | 2.9845e-05 | 0.060107 | 0.060106 | 0.060107 | 0.99009 | -0.18975 | 0.99137 | -0.16493 | 16.5128
18 | -0.040041 | -0.010053 | 0.04012 | 0.010103 | 7.8892e-05 | 4.9738e-05 | 0.060106 | 0.060106 | 0.060106 | 0.99137 | -0.16493 | 0.9935 | -0.12372 | 16.5127
19 | 0.181 | 0.046337 | -0.18093 | -0.046294 | 6.8925e-05 | 4.3824e-05 | 0.272 | 0.272 | 0.272 | 0.99145 | -0.16217 | 0.99104 | -0.17003 | 24.9084
20 | 0.16527 | 0.04237 | -0.16503 | -0.042214 | 0.00024605 | 0.00015624 | 0.2485 | 0.2485 | 0.2485 | 0.99104 | -0.17003 | 0.98942 | -0.20079 | 22.7561
21 | 0.0019072 | 0.00047779 | -0.0019072 | -0.00047798 | 5.3483e-08 | -1.8841e-07 | 0.0028682 | 0.0028683 | 0.0028683 | 0.98942 | -0.20079 | 0.98939 | -0.20138 | 0.788
22 | 0.16312 | 0.041736 | -0.16265 | -0.041436 | 0.00047289 | 0.00030024 | 0.24563 | 0.24563 | 0.24563 | 0.98942 | -0.20079 | 0.98629 | -0.26086 | 22.4935
23 | 0.16265 | 0.041436 | -0.16234 | -0.04124 | 0.00030818 | 0.00019568 | 0.24563 | 0.24563 | 0.24563 | 0.98629 | -0.26086 | 0.98425 | -0.30022 | 22.4935
24 | 0.13954 | 0.035438 | -0.13901 | -0.035103 | 0.00052907 | 0.00033502 | 0.21151 | 0.21151 | 0.21151 | 0.98248 | -0.33449 | 0.97841 | -0.41359 | 19.3692
25 | -0.13954 | -0.035438 | 0.13977 | 0.035584 | 0.00023056 | 0.00014599 | 0.21151 | 0.21151 | 0.21151 | 0.98248 | -0.33449 | 0.98425 | -0.30022 | 19.369
26 | 0.13901 | 0.035103 | -0.13844 | -0.034739 | 0.00057033 | 0.00036458 | 0.21151 | 0.21151 | 0.21151 | 0.97841 | -0.41359 | 0.97403 | -0.4996 | 58.1075
27 | 0.05678 | 0.014272 | -0.056671 | -0.014203 | 0.00010852 | 6.8976e-05 | 0.086757 | 0.086757 | 0.086757 | 0.97403 | -0.4996 | 0.972 | -0.53971 | 23.8344
28 | 0.0032622 | 0.00081752 | -0.0032621 | -0.00081756 | 5.3876e-08 | -4.0093e-08 | 0.00494 | 0.00494 | 0.00494 | 0.98262 | -0.33451 | 0.9826 | -0.33485 | 1.3571
29 | -0.036486 | -0.0091441 | 0.036506 | 0.0091571 | 2.0549e-05 | 1.2924e-05 | 0.055252 | 0.055252 | 0.055252 | 0.98262 | -0.33451 | 0.98323 | -0.32269 | 15.179

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52288 | 0.13344

## res_load
| p_mw | q_mvar
0 | 0.058513 | 0.014665
1 | 0.028632 | 0.0071759
2 | 0.0018846 | 0.00047232
3 | 0.028035 | 0.0070263
4 | 0.036599 | 0.0091727
5 | 0.040887 | 0.010247
6 | 0.038779 | 0.009719
7 | 0.002481 | 0.00062179
8 | 0.039994 | 0.010023
9 | 0.0064575 | 0.0016184
10 | 0.016743 | 0.0041962
11 | 0.015654 | 0.0039233
12 | 0.0019072 | 0.00047798
13 | 0.022569 | 0.0056563
14 | 0.081662 | 0.020466
15 | 0.056671 | 0.014203
16 | 0.033224 | 0.0083266
17 | 0.0032621 | 0.00081756

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1