## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_172-2_1_4_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_172-2_1_4_node_62 | 0.4 | n |  | TRUE
2 | bus_LV_172-2_1_4_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_172-2_1_4_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_172-2_1_4_node_161 | 0.4 | n |  | TRUE
5 | bus_LV_172-2_1_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_172-2_1_4_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_172-2_1_4_node_115 | 0.4 | n |  | TRUE
8 | bus_LV_172-2_1_4_node_117 | 0.4 | n |  | TRUE
9 | bus_LV_172-2_1_4_node_118 | 0.4 | n |  | TRUE
10 | bus_LV_172-2_1_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_172-2_1_4_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_172-2_1_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_172-2_1_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_172-2_1_4_node_129 | 0.4 | n |  | TRUE
15 | bus_LV_172-2_1_4_node_121 | 0.4 | n |  | TRUE
16 | bus_LV_172-2_1_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_172-2_1_4_node_112 | 0.4 | n |  | TRUE
18 | bus_LV_172-2_1_4_node_109 | 0.4 | n |  | TRUE
19 | bus_LV_172-2_1_4_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_172-2_1_4_node_127 | 0.4 | n |  | TRUE
21 | bus_LV_172-2_1_4_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_172-2_1_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_172-2_1_4_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_172-2_1_4_node_131 | 0.4 | n |  | TRUE
25 | bus_LV_172-2_1_4_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_172-2_1_4_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_172-2_1_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_172-2_1_4_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_172-2_1_4_node_143 | 0.4 | n |  | TRUE
30 | bus_LV_172-2_1_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_172-2_1_4_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_172-2_1_4_node_108 | 0.4 | n |  | TRUE
33 | bus_LV_172-2_1_4_node_134 | 0.4 | n |  | TRUE
34 | bus_LV_172-2_1_4_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_172-2_1_4_node_110 | 0.4 | n |  | TRUE
36 | bus_LV_172-2_1_4_node_119 | 0.4 | n |  | TRUE
37 | bus_LV_172-2_1_4_node_120 | 0.4 | n |  | TRUE
38 | bus_LV_172-2_1_4_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_172-2_1_4_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_172-2_1_4_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_172-2_1_4_node_135 | 0.4 | n |  | TRUE
42 | bus_LV_172-2_1_4_node_144 | 0.4 | n |  | TRUE
43 | bus_LV_172-2_1_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_172-2_1_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_172-2_1_4_node_133 | 0.4 | n |  | TRUE
46 | bus_LV_172-2_1_4_node_130 | 0.4 | n |  | TRUE
47 | bus_LV_172-2_1_4_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_172-2_1_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_172-2_1_4_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_172-2_1_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_172-2_1_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_172-2_1_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_172-2_1_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_172-2_1_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_172-2_1_4_node_159 | 0.4 | n |  | TRUE
56 | bus_LV_172-2_1_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_172-2_1_4_node_163 | 0.4 | n |  | TRUE
58 | bus_LV_172-2_1_4_node_162 | 0.4 | n |  | TRUE
59 | bus_LV_172-2_1_4_node_160 | 0.4 | n |  | TRUE
60 | bus_LV_172-2_1_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_172-2_1_4_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_172-2_1_4_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_172-2_1_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_172-2_1_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_172-2_1_4_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_172-2_1_4_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_172-2_1_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_172-2_1_4_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_172-2_1_4_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_172-2_1_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_172-2_1_4_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_172-2_1_4_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_172-2_1_4_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_172-2_1_4_node_122 | 0.4 | n |  | TRUE
75 | bus_LV_172-2_1_4_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_172-2_1_4_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_172-2_1_4_node_136 | 0.4 | n |  | TRUE
78 | bus_LV_172-2_1_4_node_128 | 0.4 | n |  | TRUE
79 | bus_LV_172-2_1_4_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_172-2_1_4_node_124 | 0.4 | n |  | TRUE
81 | bus_LV_172-2_1_4_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_172-2_1_4_node_137 | 0.4 | n |  | TRUE
83 | bus_MV_362_0_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_172-2_1_4_load_62 | 1 | 0.014404 | 0.0036101 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_172-2_1_4_load_58 | 3 | 0.0038873 | 0.00097426 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_172-2_1_4_load_161 | 4 | 0.0081135 | 0.0020334 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_172-2_1_4_load_115 | 7 | 0.011367 | 0.0028489 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_172-2_1_4_load_117 | 8 | 0.0038842 | 0.00097347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_172-2_1_4_load_118 | 9 | 0.0067302 | 0.0016867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_172-2_1_4_load_113 | 11 | 0.011251 | 0.0028199 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_172-2_1_4_load_129 | 14 | 0.0072139 | 0.001808 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_172-2_1_4_load_121 | 15 | 0.002467 | 0.00061829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_172-2_1_4_load_112 | 17 | 0.0031775 | 0.00079636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_172-2_1_4_load_109 | 18 | 0.0072599 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_172-2_1_4_load_79 | 19 | 0.0020709 | 0.00051901 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_172-2_1_4_load_127 | 20 | 0.0029624 | 0.00074244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_172-2_1_4_load_63 | 23 | 0.0051914 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_172-2_1_4_load_131 | 24 | 0.0047862 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_172-2_1_4_load_132 | 25 | 0.0013687 | 0.00034302 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_172-2_1_4_load_143 | 29 | 0.0076848 | 0.001926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_172-2_1_4_load_107 | 34 | 0.0030216 | 0.00075728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_172-2_1_4_load_120 | 37 | 0.0032761 | 0.00082106 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_172-2_1_4_load_84 | 40 | 0.0098796 | 0.0024761 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_172-2_1_4_load_135 | 41 | 0.0051727 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_172-2_1_4_load_144 | 42 | 0.0076915 | 0.0019277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_172-2_1_4_load_64 | 43 | 0.0092061 | 0.0023073 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_172-2_1_4_load_67 | 44 | 0.0095876 | 0.0024029 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_172-2_1_4_load_133 | 45 | 0.0061347 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_172-2_1_4_load_130 | 46 | 0.012392 | 0.0031057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_172-2_1_4_load_69 | 48 | 0.002498 | 0.00062606 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_172-2_1_4_load_72 | 51 | 0.0025 | 0.00062655 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_172-2_1_4_load_73 | 52 | 0.0025963 | 0.0006507 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_172-2_1_4_load_74 | 53 | 0.0020706 | 0.00051895 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_172-2_1_4_load_159 | 55 | 0.0019835 | 0.00049712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_172-2_1_4_load_76 | 56 | 0.0017794 | 0.00044596 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_172-2_1_4_load_163 | 57 | 0.0020715 | 0.00051917 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_172-2_1_4_load_162 | 58 | 0.0017792 | 0.00044591 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_172-2_1_4_load_160 | 59 | 0.0017035 | 0.00042694 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_172-2_1_4_load_78 | 60 | 0.0017794 | 0.00044596 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_172-2_1_4_load_104 | 62 | 0.0018292 | 0.00045843 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_172-2_1_4_load_80 | 63 | 0.0073017 | 0.00183 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_172-2_1_4_load_82 | 65 | 0.0074217 | 0.0018601 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_172-2_1_4_load_100 | 67 | 0.0063408 | 0.0015892 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_172-2_1_4_load_89 | 70 | 0.0091408 | 0.0022909 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_172-2_1_4_load_105 | 71 | 0.0057861 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_172-2_1_4_load_103 | 73 | 0.0021636 | 0.00054225 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_172-2_1_4_load_122 | 74 | 0.0026626 | 0.00066732 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_172-2_1_4_load_136 | 77 | 0.0059291 | 0.001486 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_172-2_1_4_load_128 | 78 | 0.0031571 | 0.00079124 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_172-2_1_4_load_102 | 79 | 0.011218 | 0.0028115 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_172-2_1_4_load_123 | 81 | 0.0049768 | 0.0012473 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_172-2_1_4_load_137 | 82 | 0.0076 | 0.0019047 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_172-2_1_4_line_0 |  | 0 | 1 | 0.023478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_172-2_1_4_line_1 |  | 0 | 2 | 0.14366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_172-2_1_4_line_2 |  | 0 | 3 | 0.067088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_172-2_1_4_line_3 |  | 1 | 21 | 0.016502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_172-2_1_4_line_4 |  | 2 | 4 | 0.030469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_172-2_1_4_line_5 |  | 5 | 6 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_172-2_1_4_line_6 |  | 5 | 7 | 0.030424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_172-2_1_4_line_7 |  | 6 | 22 | 0.044509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_172-2_1_4_line_8 |  | 7 | 26 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_172-2_1_4_line_9 |  | 8 | 9 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_172-2_1_4_line_10 |  | 9 | 36 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_172-2_1_4_line_11 |  | 10 | 11 | 0.025387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_172-2_1_4_line_12 |  | 10 | 12 | 0.024317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_172-2_1_4_line_13 |  | 11 | 26 | 0.016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_172-2_1_4_line_14 |  | 12 | 19 | 0.0085586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_172-2_1_4_line_15 |  | 12 | 20 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_172-2_1_4_line_16 |  | 13 | 14 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_172-2_1_4_line_17 |  | 13 | 15 | 0.0098566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_172-2_1_4_line_18 |  | 14 | 36 | 0.0018067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_172-2_1_4_line_19 |  | 15 | 37 | 0.0047369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_172-2_1_4_line_20 |  | 16 | 17 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_172-2_1_4_line_21 |  | 16 | 18 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_172-2_1_4_line_22 |  | 18 | 35 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_172-2_1_4_line_23 |  | 19 | 30 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_172-2_1_4_line_24 |  | 20 | 31 | 0.0045054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_172-2_1_4_line_25 |  | 21 | 25 | 0.012732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_172-2_1_4_line_26 |  | 21 | 43 | 0.0057553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_172-2_1_4_line_27 |  | 22 | 23 | 0.0095551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_172-2_1_4_line_28 |  | 23 | 43 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_172-2_1_4_line_29 |  | 24 | 25 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_172-2_1_4_line_30 |  | 26 | 47 | 0.025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_172-2_1_4_line_31 |  | 27 | 28 | 0.03782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_172-2_1_4_line_32 |  | 27 | 29 | 0.025125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_172-2_1_4_line_33 |  | 28 | 41 | 0.02665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_172-2_1_4_line_34 |  | 28 | 38 | 0.037617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_172-2_1_4_line_35 |  | 29 | 42 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_172-2_1_4_line_36 |  | 30 | 60 | 0.01279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_172-2_1_4_line_37 |  | 30 | 56 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_172-2_1_4_line_38 |  | 31 | 80 | 0.019241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_172-2_1_4_line_39 |  | 31 | 35 | 0.008169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_172-2_1_4_line_40 |  | 32 | 33 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_172-2_1_4_line_41 |  | 32 | 34 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_172-2_1_4_line_42 |  | 33 | 45 | 0.0069905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_172-2_1_4_line_43 |  | 34 | 51 | 0.0010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_172-2_1_4_line_44 |  | 37 | 74 | 0.0045982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_172-2_1_4_line_45 |  | 38 | 39 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_172-2_1_4_line_46 |  | 38 | 40 | 0.022392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_172-2_1_4_line_47 |  | 39 | 70 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_172-2_1_4_line_48 |  | 39 | 61 | 0.008397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_172-2_1_4_line_49 |  | 41 | 77 | 0.014591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_172-2_1_4_line_50 |  | 44 | 45 | 0.017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_172-2_1_4_line_51 |  | 46 | 47 | 0.0059684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_172-2_1_4_line_52 |  | 48 | 49 | 0.020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_172-2_1_4_line_53 |  | 48 | 50 | 0.0019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_172-2_1_4_line_54 |  | 49 | 51 | 0.012133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_172-2_1_4_line_55 |  | 49 | 52 | 0.0024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_172-2_1_4_line_56 |  | 50 | 53 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_172-2_1_4_line_57 |  | 50 | 54 | 0.008526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_172-2_1_4_line_58 |  | 52 | 55 | 0.0072942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_172-2_1_4_line_59 |  | 53 | 56 | 0.0015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_172-2_1_4_line_60 |  | 54 | 57 | 0.002378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_172-2_1_4_line_61 |  | 54 | 58 | 0.006011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_172-2_1_4_line_62 |  | 55 | 59 | 0.0073619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_172-2_1_4_line_63 |  | 60 | 61 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_172-2_1_4_line_64 |  | 61 | 62 | 0.0081821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_172-2_1_4_line_65 |  | 62 | 73 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_172-2_1_4_line_66 |  | 63 | 64 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_172-2_1_4_line_67 |  | 64 | 65 | 0.0077226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_172-2_1_4_line_68 |  | 65 | 66 | 0.004443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_172-2_1_4_line_69 |  | 66 | 67 | 0.0056105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_172-2_1_4_line_70 |  | 66 | 68 | 0.044667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_172-2_1_4_line_71 |  | 68 | 71 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_172-2_1_4_line_72 |  | 68 | 69 | 0.025608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_172-2_1_4_line_73 |  | 69 | 70 | 0.02591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_172-2_1_4_line_74 |  | 71 | 75 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_172-2_1_4_line_75 |  | 72 | 73 | 0.025309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_172-2_1_4_line_76 |  | 72 | 74 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_172-2_1_4_line_77 |  | 73 | 79 | 0.028341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_172-2_1_4_line_78 |  | 75 | 76 | 0.036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_172-2_1_4_line_79 |  | 76 | 78 | 0.0052187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_172-2_1_4_line_80 |  | 77 | 82 | 0.0054972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_172-2_1_4_line_81 |  | 80 | 81 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_172-2_1_4_trafo_70 | 0.63 MVA 20/0.4 kV | 83 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2698924.1859 | 1249267.3516 | 2698939.9718 | 1249284.7306
1 | 2698815.1425 | 1249306.8528 | 2698824.6203 | 1249319.5096 | 2698862.3422 | 1249295.9423 | 2698868.7516 | 1249291.5458 | 2698883.5468 | 1249280.6173 | 2698896.5894 | 1249268.8257 | 2698901.9811 | 1249263.8673 | 2698912.4557 | 1249253.912 | 2698916.0911 | 1249258.2539 | 2698921.8759 | 1249265.0335 | 2698924.1859 | 1249267.3516
2 | 2698924.1859 | 1249267.3516 | 2698873.8373 | 1249306.2754 | 2698870.9472 | 1249308.1559
3 | 2698951.067 | 1249296.9456 | 2698939.9718 | 1249284.7306
4 | 2698815.1425 | 1249306.8528 | 2698802.5402 | 1249316.2612 | 2698792.9458 | 1249305.068
5 | 2699005.3938 | 1249328.6441 | 2699021.1708 | 1249358.8312
6 | 2699021.1708 | 1249358.8312 | 2699003.9329 | 1249367.2499 | 2698995.1371 | 1249374.2474
7 | 2698973.5323 | 1249322.3405 | 2698993.2785 | 1249313.8635 | 2698997.5532 | 1249312.0335 | 2699002.0768 | 1249321.9724 | 2699005.3938 | 1249328.6441
8 | 2698978.9213 | 1249387.1478 | 2698995.1371 | 1249374.2474
9 | 2698934.7174 | 1249560.3386 | 2698946.4767 | 1249550.7045
10 | 2698960.4076 | 1249539.2911 | 2698946.4767 | 1249550.7045
11 | 2698948.4742 | 1249415.0947 | 2698968.0002 | 1249398.8698
12 | 2698957.6807 | 1249433.118 | 2698961.2149 | 1249429.9523 | 2698948.4742 | 1249415.0947
13 | 2698978.9213 | 1249387.1478 | 2698974.029 | 1249393.8602 | 2698968.0002 | 1249398.8698
14 | 2698957.6807 | 1249433.118 | 2698953.6012 | 1249436.8306 | 2698952.8524 | 1249435.9952 | 2698951.4276 | 1249437.2835
15 | 2698957.6807 | 1249433.118 | 2698964.6963 | 1249440.8658
16 | 2698980.2518 | 1249522.6427 | 2698961.7918 | 1249538.1298
17 | 2698980.2518 | 1249522.6427 | 2698975.7937 | 1249516.9304 | 2698974.0687 | 1249514.971
18 | 2698960.4076 | 1249539.2911 | 2698961.7918 | 1249538.1298
19 | 2698970.9388 | 1249511.4155 | 2698974.0687 | 1249514.971
20 | 2699000.4365 | 1249473.4301 | 2698987.5678 | 1249484.3237
21 | 2699000.4365 | 1249473.4301 | 2698989.347 | 1249461.1363
22 | 2698973.5218 | 1249449.9734 | 2698979.9361 | 1249450.7033 | 2698989.347 | 1249461.1363
23 | 2698938.3352 | 1249447.473 | 2698942.4553 | 1249445.3957 | 2698951.4276 | 1249437.2835
24 | 2698967.7204 | 1249444.2054 | 2698964.6963 | 1249440.8658
25 | 2698951.067 | 1249296.9456 | 2698956.9861 | 1249292.9746 | 2698962.1943 | 1249290.9039
26 | 2698951.067 | 1249296.9456 | 2698954.8804 | 1249301.2562
27 | 2698973.5323 | 1249322.3405 | 2698967.2013 | 1249315.1838
28 | 2698967.2013 | 1249315.1838 | 2698954.8804 | 1249301.2562
29 | 2698975.4615 | 1249285.6293 | 2698962.1943 | 1249290.9039
30 | 2698978.9213 | 1249387.1478 | 2698963.0554 | 1249367.701
31 | 2698845.7756 | 1249427.0574 | 2698857.8503 | 1249416.6729 | 2698871.5632 | 1249404.9702 | 2698874.5049 | 1249402.4618
32 | 2698845.7756 | 1249427.0574 | 2698829.044 | 1249408.3138
33 | 2698874.5049 | 1249402.4618 | 2698864.5268 | 1249390.3859 | 2698865.2157 | 1249379.4221
34 | 2698874.5049 | 1249402.4618 | 2698871.5632 | 1249404.9702 | 2698893.3805 | 1249430.7209
35 | 2698829.044 | 1249408.3138 | 2698823.8699 | 1249402.5175 | 2698821.2881 | 1249397.4816 | 2698821.2881 | 1249397.4816
36 | 2698938.3352 | 1249447.473 | 2698930.749 | 1249451.3494 | 2698927.4698 | 1249454.0855
37 | 2698938.3352 | 1249447.473 | 2698931.4308 | 1249439.4461
38 | 2698967.7204 | 1249444.2054 | 2698980.7912 | 1249445.6247 | 2698985.2824 | 1249449.8141
39 | 2698973.5218 | 1249449.9734 | 2698967.7204 | 1249444.2054
40 | 2698911.1166 | 1249371.1925 | 2698928.2856 | 1249391.3058
41 | 2698928.2856 | 1249391.3058 | 2698916.8637 | 1249401.1149
42 | 2698911.1166 | 1249371.1925 | 2698916.4156 | 1249366.6332
43 | 2698916.076 | 1249401.7914 | 2698916.8637 | 1249401.1149
44 | 2698970.9388 | 1249511.4155 | 2698970.3393 | 1249510.7345 | 2698967.8906 | 1249507.9729
45 | 2698893.3805 | 1249430.7209 | 2698913.2354 | 1249455.049
46 | 2698893.3805 | 1249430.7209 | 2698887.5493 | 1249435.3273 | 2698876.2811 | 1249445.169
47 | 2698913.2354 | 1249455.049 | 2698907.4124 | 1249459.6109 | 2698895.3198 | 1249469.8425
48 | 2698913.2354 | 1249455.049 | 2698919.1466 | 1249461.0301
49 | 2698865.2157 | 1249379.4221 | 2698865.2157 | 1249379.4221 | 2698856.0141 | 1249368.0983
50 | 2698929.9169 | 1249355.0166 | 2698916.4156 | 1249366.6332
51 | 2698963.0554 | 1249367.701 | 2698961.0844 | 1249364.9882 | 2698963.1064 | 1249363.3297
52 | 2698906.8715 | 1249409.6962 | 2698919.3748 | 1249425.3244
53 | 2698920.5861 | 1249426.8385 | 2698919.3748 | 1249425.3244
54 | 2698906.8715 | 1249409.6962 | 2698916.076 | 1249401.7914
55 | 2698906.8715 | 1249409.6962 | 2698905.3169 | 1249407.8244
56 | 2698920.5861 | 1249426.8385 | 2698930.4361 | 1249438.2897
57 | 2698920.5861 | 1249426.8385 | 2698913.8381 | 1249432.0744
58 | 2698899.7541 | 1249412.5426 | 2698905.3169 | 1249407.8244 | 2698905.3169 | 1249407.8244
59 | 2698931.4308 | 1249439.4461 | 2698930.4361 | 1249438.2897
60 | 2698913.8381 | 1249432.0744 | 2698912.3512 | 1249430.2148
61 | 2698909.4248 | 1249432.7124 | 2698910.8161 | 1249434.4147 | 2698913.8381 | 1249432.0744
62 | 2698899.7541 | 1249412.5426 | 2698894.1398 | 1249417.3045
63 | 2698919.1466 | 1249461.0301 | 2698927.4698 | 1249454.0855
64 | 2698919.1466 | 1249461.0301 | 2698925.2597 | 1249466.4685
65 | 2698936.1271 | 1249476.1364 | 2698925.2597 | 1249466.4685
66 | 2698839.6671 | 1249488.5592 | 2698833.5844 | 1249481.5412 | 2698840.2037 | 1249475.7372
67 | 2698839.6671 | 1249488.5592 | 2698844.7472 | 1249494.3757
68 | 2698847.6699 | 1249497.7221 | 2698844.7472 | 1249494.3757
69 | 2698847.6699 | 1249497.7221 | 2698843.4029 | 1249501.3649
70 | 2698847.6699 | 1249497.7221 | 2698856.7444 | 1249507.8257 | 2698858.8113 | 1249506.1478 | 2698867.2571 | 1249515.4626 | 2698879.1816 | 1249505.02
71 | 2698879.1816 | 1249505.02 | 2698889.0255 | 1249516.1322
72 | 2698875.54 | 1249486.5781 | 2698877.5852 | 1249488.9141 | 2698886.2108 | 1249498.7656 | 2698879.1816 | 1249505.02
73 | 2698875.54 | 1249486.5781 | 2698895.3198 | 1249469.8425
74 | 2698901.7582 | 1249530.5054 | 2698889.0255 | 1249516.1322
75 | 2698952.3531 | 1249491.1968 | 2698945.519 | 1249482.1534 | 2698942.8174 | 1249484.2989 | 2698936.1271 | 1249476.1364
76 | 2698952.3531 | 1249491.1968 | 2698959.1102 | 1249498.0705 | 2698967.8906 | 1249507.9729
77 | 2698936.1271 | 1249476.1364 | 2698914.5367 | 1249494.4954
78 | 2698872.3781 | 1249550.6866 | 2698874.8902 | 1249550.8398 | 2698877.0695 | 1249550.12 | 2698878.9027 | 1249548.8718 | 2698901.7582 | 1249530.5054
79 | 2698872.3781 | 1249550.6866 | 2698872.027 | 1249553.6275 | 2698872.3087 | 1249554.8443 | 2698872.861 | 1249555.6875
80 | 2698852.5473 | 1249363.832 | 2698856.0141 | 1249368.0983
81 | 2698985.2824 | 1249449.8141 | 2698995.1658 | 1249441.1414

## bus_geodata
| x | y | coords
0 | 2698924.1859 | 1249267.3516
1 | 2698939.9718 | 1249284.7306
2 | 2698815.1425 | 1249306.8528
3 | 2698870.9472 | 1249308.1559
4 | 2698792.9458 | 1249305.068
5 | 2699021.1708 | 1249358.8312
6 | 2699005.3938 | 1249328.6441
7 | 2698995.1371 | 1249374.2474
8 | 2698934.7174 | 1249560.3386
9 | 2698946.4767 | 1249550.7045
10 | 2698948.4742 | 1249415.0947
11 | 2698968.0002 | 1249398.8698
12 | 2698957.6807 | 1249433.118
13 | 2698980.2518 | 1249522.6427
14 | 2698961.7918 | 1249538.1298
15 | 2698974.0687 | 1249514.971
16 | 2699000.4365 | 1249473.4301
17 | 2698987.5678 | 1249484.3237
18 | 2698989.347 | 1249461.1363
19 | 2698951.4276 | 1249437.2835
20 | 2698964.6963 | 1249440.8658
21 | 2698951.067 | 1249296.9456
22 | 2698973.5323 | 1249322.3405
23 | 2698967.2013 | 1249315.1838
24 | 2698975.4615 | 1249285.6293
25 | 2698962.1943 | 1249290.9039
26 | 2698978.9213 | 1249387.1478
27 | 2698845.7756 | 1249427.0574
28 | 2698874.5049 | 1249402.4618
29 | 2698829.044 | 1249408.3138
30 | 2698938.3352 | 1249447.473
31 | 2698967.7204 | 1249444.2054
32 | 2698928.2856 | 1249391.3058
33 | 2698911.1166 | 1249371.1925
34 | 2698916.8637 | 1249401.1149
35 | 2698973.5218 | 1249449.9734
36 | 2698960.4076 | 1249539.2911
37 | 2698970.9388 | 1249511.4155
38 | 2698893.3805 | 1249430.7209
39 | 2698913.2354 | 1249455.049
40 | 2698876.2811 | 1249445.169
41 | 2698865.2157 | 1249379.4221
42 | 2698821.2881 | 1249397.4816
43 | 2698954.8804 | 1249301.2562
44 | 2698929.9169 | 1249355.0166
45 | 2698916.4156 | 1249366.6332
46 | 2698963.1064 | 1249363.3297
47 | 2698963.0554 | 1249367.701
48 | 2698919.3748 | 1249425.3244
49 | 2698906.8715 | 1249409.6962
50 | 2698920.5861 | 1249426.8385
51 | 2698916.076 | 1249401.7914
52 | 2698905.3169 | 1249407.8244
53 | 2698930.4361 | 1249438.2897
54 | 2698913.8381 | 1249432.0744
55 | 2698899.7541 | 1249412.5426
56 | 2698931.4308 | 1249439.4461
57 | 2698912.3512 | 1249430.2148
58 | 2698909.4248 | 1249432.7124
59 | 2698894.1398 | 1249417.3045
60 | 2698927.4698 | 1249454.0855
61 | 2698919.1466 | 1249461.0301
62 | 2698925.2597 | 1249466.4685
63 | 2698840.2037 | 1249475.7372
64 | 2698839.6671 | 1249488.5592
65 | 2698844.7472 | 1249494.3757
66 | 2698847.6699 | 1249497.7221
67 | 2698843.4029 | 1249501.3649
68 | 2698879.1816 | 1249505.02
69 | 2698875.54 | 1249486.5781
70 | 2698895.3198 | 1249469.8425
71 | 2698889.0255 | 1249516.1322
72 | 2698952.3531 | 1249491.1968
73 | 2698936.1271 | 1249476.1364
74 | 2698967.8906 | 1249507.9729
75 | 2698901.7582 | 1249530.5054
76 | 2698872.3781 | 1249550.6866
77 | 2698856.0141 | 1249368.0983
78 | 2698872.861 | 1249555.6875
79 | 2698914.5367 | 1249494.4954
80 | 2698985.2824 | 1249449.8141
81 | 2698995.1658 | 1249441.1414
82 | 2698852.5473 | 1249363.832
83 | 2698894.0411 | 1249417.3882

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9797 | -0.39158 | 0 | 0
1 | 0.97996 | -0.38646 | 0.014404 | 0.0036101
2 | 0.97862 | -0.41278 | 0 | 0
3 | 0.97945 | -0.39632 | 0.0038873 | 0.00097426
4 | 0.97839 | -0.41728 | 0.0081135 | 0.0020334
5 | 0.98508 | -0.28646 | 0 | 0
6 | 0.9836 | -0.31522 | 0 | 0
7 | 0.9864 | -0.26083 | 0.011367 | 0.0028489
8 | 0.989 | -0.21131 | 0.0038842 | 0.00097347
9 | 0.98905 | -0.21026 | 0.0067302 | 0.0016867
10 | 0.99049 | -0.18176 | 0 | 0
11 | 0.98857 | -0.21881 | 0.011251 | 0.0028199
12 | 0.99233 | -0.14641 | 0 | 0
13 | 0.98964 | -0.19886 | 0 | 0
14 | 0.98924 | -0.20651 | 0.0072139 | 0.001808
15 | 0.9898 | -0.19573 | 0.002467 | 0.00061829
16 | 0.99177 | -0.15727 | 0 | 0
17 | 0.99173 | -0.15822 | 0.0031775 | 0.00079636
18 | 0.99182 | -0.15634 | 0.0072599 | 0.0018195
19 | 0.99313 | -0.13122 | 0.0020709 | 0.00051901
20 | 0.99216 | -0.14981 | 0.0029624 | 0.00074244
21 | 0.98036 | -0.37855 | 0 | 0
22 | 0.98167 | -0.35296 | 0 | 0
23 | 0.98125 | -0.36108 | 0.0051914 | 0.0013011
24 | 0.98022 | -0.38121 | 0.0047862 | 0.0011995
25 | 0.98029 | -0.37997 | 0.0013687 | 0.00034302
26 | 0.98752 | -0.2392 | 0 | 0
27 | 0.98837 | -0.22346 | 0 | 0
28 | 0.9889 | -0.21309 | 0 | 0
29 | 0.98801 | -0.23036 | 0.0076848 | 0.001926
30 | 0.9947 | -0.10101 | 0 | 0
31 | 0.9921 | -0.15104 | 0 | 0
32 | 0.99953 | -0.0089627 | 0 | 0
33 | 0.99916 | -0.01621 | 0 | 0
34 | 0.99975 | -0.0048334 | 0.0030216 | 0.00075728
35 | 0.99202 | -0.15255 | 0 | 0
36 | 0.98923 | -0.20685 | 0 | 0
37 | 0.98989 | -0.19402 | 0.0032761 | 0.00082106
38 | 0.99008 | -0.19027 | 0 | 0
39 | 0.99134 | -0.16578 | 0 | 0
40 | 0.98988 | -0.1942 | 0.0098796 | 0.0024761
41 | 0.98845 | -0.22198 | 0.0051727 | 0.0012964
42 | 0.98792 | -0.2322 | 0.0076915 | 0.0019277
43 | 0.98053 | -0.37515 | 0.0092061 | 0.0023073
44 | 0.9989 | -0.021112 | 0.0095876 | 0.0024029
45 | 0.99906 | -0.01813 | 0.0061347 | 0.0015375
46 | 0.98717 | -0.24607 | 0.012392 | 0.0031057
47 | 0.98723 | -0.24475 | 0 | 0
48 | 0.9978 | -0.041777 | 0.002498 | 0.00062606
49 | 1 | 0 | -0.27087 | -0.068525
50 | 0.99759 | -0.045791 | 0 | 0
51 | 0.99977 | -0.004494 | 0.0025 | 0.00062655
52 | 0.99999 | -0.0002665 | 0.0025963 | 0.0006507
53 | 0.99598 | -0.076613 | 0.0020706 | 0.00051895
54 | 0.99756 | -0.046366 | 0 | 0
55 | 0.99996 | -0.00073532 | 0.0019835 | 0.00049712
56 | 0.99582 | -0.079703 | 0.0017794 | 0.00044596
57 | 0.99756 | -0.046453 | 0.0020715 | 0.00051917
58 | 0.99755 | -0.046554 | 0.0017792 | 0.00044591
59 | 0.99995 | -0.00095394 | 0.0017035 | 0.00042694
60 | 0.99322 | -0.12952 | 0.0017794 | 0.00044596
61 | 0.99198 | -0.15341 | 0 | 0
62 | 0.99167 | -0.15942 | 0.0018292 | 0.00045843
63 | 0.98799 | -0.23075 | 0.0073017 | 0.00183
64 | 0.98812 | -0.22839 | 0 | 0
65 | 0.98817 | -0.22739 | 0.0074217 | 0.0018601
66 | 0.98823 | -0.22622 | 0 | 0
67 | 0.9882 | -0.22685 | 0.0063408 | 0.0015892
68 | 0.98909 | -0.20944 | 0 | 0
69 | 0.9898 | -0.19576 | 0 | 0
70 | 0.99051 | -0.18193 | 0.0091408 | 0.0022909
71 | 0.98897 | -0.21181 | 0.0057861 | 0.0014501
72 | 0.99054 | -0.18143 | 0 | 0
73 | 0.99114 | -0.16964 | 0.0021636 | 0.00054225
74 | 0.98999 | -0.1921 | 0.0026626 | 0.00066732
75 | 0.98891 | -0.21289 | 0 | 0
76 | 0.98881 | -0.21493 | 0 | 0
77 | 0.98826 | -0.2255 | 0.0059291 | 0.001486
78 | 0.98879 | -0.21522 | 0.0031571 | 0.00079124
79 | 0.99085 | -0.17528 | 0.011218 | 0.0028115
80 | 0.99201 | -0.15274 | 0 | 0
81 | 0.99195 | -0.15389 | 0.0049768 | 0.0012473
82 | 0.98823 | -0.22625 | 0.0076 | 0.0019047
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.012012 | -0.0030116 | 0.012015 | 0.0030132 | 2.9306e-06 | 1.5798e-06 | 0.018244 | 0.018244 | 0.018244 | 0.9797 | -0.39158 | 0.97996 | -0.38646 | 5.0122
1 | 0.0081234 | 0.0020376 | -0.0081152 | -0.0020342 | 8.2026e-06 | 3.4427e-06 | 0.012339 | 0.01234 | 0.01234 | 0.9797 | -0.39158 | 0.97862 | -0.41278 | 3.39
2 | 0.0038882 | 0.00097398 | -0.0038873 | -0.00097426 | 8.7742e-07 | -2.8301e-07 | 0.0059055 | 0.0059058 | 0.0059058 | 0.9797 | -0.39158 | 0.97945 | -0.39632 | 1.6225
3 | -0.026419 | -0.0066232 | 0.026429 | 0.0066294 | 9.9588e-06 | 6.1657e-06 | 0.040116 | 0.040116 | 0.040116 | 0.97996 | -0.38646 | 0.98036 | -0.37855 | 11.021
4 | 0.0081152 | 0.0020342 | -0.0081135 | -0.0020334 | 1.7398e-06 | 7.3074e-07 | 0.01234 | 0.01234 | 0.01234 | 0.97862 | -0.41278 | 0.97839 | -0.41728 | 3.39
5 | 0.047183 | 0.011908 | -0.047118 | -0.011867 | 6.49e-05 | 4.1103e-05 | 0.071302 | 0.071303 | 0.071303 | 0.98508 | -0.28646 | 0.9836 | -0.31522 | 19.5886
6 | -0.047183 | -0.011908 | 0.047241 | 0.011945 | 5.8003e-05 | 3.6734e-05 | 0.071302 | 0.071302 | 0.071302 | 0.98508 | -0.28646 | 0.9864 | -0.26083 | 19.5886
7 | 0.047118 | 0.011867 | -0.047034 | -0.011813 | 8.4858e-05 | 5.3745e-05 | 0.071303 | 0.071303 | 0.071303 | 0.9836 | -0.31522 | 0.98167 | -0.35296 | 19.5887
8 | -0.058608 | -0.014793 | 0.058669 | 0.014832 | 6.0791e-05 | 3.8642e-05 | 0.08845 | 0.08845 | 0.08845 | 0.9864 | -0.26083 | 0.98752 | -0.2392 | 24.2994
9 | -0.0038842 | -0.00097347 | 0.0038844 | 0.0009734 | 1.9469e-07 | -7.0482e-08 | 0.005844 | 0.0058439 | 0.005844 | 0.989 | -0.21131 | 0.98905 | -0.21026 | 1.6055
10 | -0.010615 | -0.0026601 | 0.010616 | 0.002661 | 1.7223e-06 | 8.711e-07 | 0.015969 | 0.015969 | 0.015969 | 0.98905 | -0.21026 | 0.98923 | -0.20685 | 4.3872
11 | 0.082533 | 0.020898 | -0.082386 | -0.020804 | 0.00014654 | 9.3456e-05 | 0.12406 | 0.12406 | 0.12406 | 0.99049 | -0.18176 | 0.98857 | -0.21881 | 34.0837
12 | -0.082533 | -0.020898 | 0.082673 | 0.020987 | 0.00014036 | 8.9515e-05 | 0.12406 | 0.12406 | 0.12406 | 0.99049 | -0.18176 | 0.99233 | -0.14641 | 34.0836
13 | 0.071135 | 0.017984 | -0.071065 | -0.01794 | 6.9482e-05 | 4.4262e-05 | 0.10713 | 0.10713 | 0.10713 | 0.98857 | -0.21881 | 0.98752 | -0.2392 | 29.431
14 | -0.10106 | -0.025596 | 0.10113 | 0.025643 | 7.3793e-05 | 4.7117e-05 | 0.15163 | 0.15163 | 0.15163 | 0.99233 | -0.14641 | 0.99313 | -0.13122 | 41.6571
15 | 0.018384 | 0.004609 | -0.018381 | -0.0046072 | 2.9787e-06 | 1.7714e-06 | 0.027568 | 0.027568 | 0.027568 | 0.99233 | -0.14641 | 0.99216 | -0.14981 | 7.5735
16 | 0.017837 | 0.0044729 | -0.01783 | -0.0044691 | 6.5e-06 | 3.8505e-06 | 0.02682 | 0.02682 | 0.02682 | 0.98964 | -0.19886 | 0.98924 | -0.20651 | 7.3683
17 | -0.017837 | -0.0044729 | 0.01784 | 0.0044745 | 2.6588e-06 | 1.575e-06 | 0.02682 | 0.02682 | 0.02682 | 0.98964 | -0.19886 | 0.9898 | -0.19573 | 7.3682
18 | 0.010616 | 0.0026611 | -0.010616 | -0.002661 | 1.7278e-07 | 8.7385e-08 | 0.015969 | 0.015969 | 0.015969 | 0.98924 | -0.20651 | 0.98923 | -0.20685 | 4.3872
19 | -0.020307 | -0.0050928 | 0.020308 | 0.0050938 | 1.6556e-06 | 9.9869e-07 | 0.030529 | 0.030529 | 0.030529 | 0.9898 | -0.19573 | 0.98989 | -0.19402 | 8.3871
20 | 0.0031776 | 0.00079623 | -0.0031775 | -0.00079636 | 1.4348e-07 | -1.2538e-07 | 0.0047676 | 0.0047676 | 0.0047676 | 0.99177 | -0.15727 | 0.99173 | -0.15822 | 1.3098
21 | -0.0031776 | -0.00079623 | 0.0031778 | 0.00079611 | 1.4112e-07 | -1.2334e-07 | 0.0047676 | 0.0047675 | 0.0047676 | 0.99177 | -0.15727 | 0.99182 | -0.15634 | 1.3098
22 | -0.010438 | -0.0026156 | 0.01044 | 0.0026166 | 1.8857e-06 | 9.4212e-07 | 0.015659 | 0.015659 | 0.015659 | 0.99182 | -0.15634 | 0.99202 | -0.15255 | 4.302
23 | -0.1032 | -0.026162 | 0.10335 | 0.026258 | 0.00015003 | 9.5804e-05 | 0.15473 | 0.15473 | 0.15473 | 0.99313 | -0.13122 | 0.9947 | -0.10101 | 42.5095
24 | 0.015419 | 0.0038648 | -0.015418 | -0.0038642 | 9.0347e-07 | 5.2004e-07 | 0.023125 | 0.023125 | 0.023125 | 0.99216 | -0.14981 | 0.9921 | -0.15104 | 6.353
25 | 0.0061556 | 0.0015427 | -0.0061552 | -0.0015426 | 4.168e-07 | 1.0622e-07 | 0.0093432 | 0.0093432 | 0.0093432 | 0.98036 | -0.37855 | 0.98029 | -0.37997 | 2.5668
26 | -0.032584 | -0.0081721 | 0.03259 | 0.0081754 | 5.2796e-06 | 3.3063e-06 | 0.04946 | 0.04946 | 0.04946 | 0.98036 | -0.37855 | 0.98053 | -0.37515 | 13.5878
27 | 0.047034 | 0.011813 | -0.047015 | -0.011801 | 1.8217e-05 | 1.1538e-05 | 0.071303 | 0.071303 | 0.071303 | 0.98167 | -0.35296 | 0.98125 | -0.36108 | 19.5887
28 | 0.041824 | 0.0105 | -0.041796 | -0.010483 | 2.8056e-05 | 1.7721e-05 | 0.06343 | 0.06343 | 0.06343 | 0.98125 | -0.36108 | 0.98053 | -0.37515 | 17.4259
29 | -0.0047862 | -0.0011995 | 0.0047865 | 0.0011995 | 2.8264e-07 | 9.0293e-10 | 0.0072657 | 0.0072656 | 0.0072657 | 0.98022 | -0.38121 | 0.98029 | -0.37997 | 1.9961
30 | 0.012396 | 0.0031079 | -0.012393 | -0.0031062 | 3.2801e-06 | 1.7786e-06 | 0.018679 | 0.018679 | 0.018679 | 0.98752 | -0.2392 | 0.98723 | -0.24475 | 5.1317
31 | -0.015382 | -0.0038568 | 0.01539 | 0.0038612 | 7.6063e-06 | 4.3831e-06 | 0.023159 | 0.023159 | 0.023159 | 0.98837 | -0.22346 | 0.9889 | -0.21309 | 6.3623
32 | 0.015382 | 0.0038568 | -0.015377 | -0.0038539 | 5.0532e-06 | 2.9122e-06 | 0.023159 | 0.023159 | 0.023159 | 0.98837 | -0.22346 | 0.98801 | -0.23036 | 6.3623
33 | 0.018712 | 0.0046932 | -0.018704 | -0.0046885 | 7.9238e-06 | 4.7295e-06 | 0.028158 | 0.028158 | 0.028158 | 0.9889 | -0.21309 | 0.98845 | -0.22198 | 7.7357
34 | -0.034102 | -0.0085544 | 0.034139 | 0.0085777 | 3.7147e-05 | 2.3291e-05 | 0.051316 | 0.051316 | 0.051316 | 0.9889 | -0.21309 | 0.99008 | -0.19027 | 14.0979
35 | 0.0076922 | 0.0019279 | -0.0076915 | -0.0019277 | 6.7587e-07 | 2.6059e-07 | 0.011585 | 0.011585 | 0.011585 | 0.98801 | -0.23036 | 0.98792 | -0.2322 | 3.1827
36 | 0.12698 | 0.032067 | -0.1268 | -0.031956 | 0.00017321 | 0.00011069 | 0.19004 | 0.19004 | 0.19004 | 0.9947 | -0.10101 | 0.99322 | -0.12952 | 52.208
37 | -0.23033 | -0.058325 | 0.23057 | 0.058476 | 0.00023598 | 0.00015075 | 0.34477 | 0.34477 | 0.34477 | 0.9947 | -0.10101 | 0.99582 | -0.079703 | 47.3587
38 | 0.0049774 | 0.0012473 | -0.004977 | -0.0012473 | 4.0214e-07 | 8.9379e-09 | 0.0074655 | 0.0074655 | 0.0074655 | 0.9921 | -0.15104 | 0.99201 | -0.15274 | 2.051
39 | 0.01044 | 0.0026169 | -0.01044 | -0.0026166 | 7.5118e-07 | 3.7528e-07 | 0.015659 | 0.015659 | 0.015659 | 0.9921 | -0.15104 | 0.99202 | -0.15255 | 4.302
40 | 0.015731 | 0.003945 | -0.015725 | -0.0039419 | 5.4322e-06 | 3.1306e-06 | 0.023419 | 0.023419 | 0.023419 | 0.99953 | -0.0089627 | 0.99916 | -0.01621 | 6.4339
41 | -0.015731 | -0.003945 | 0.015734 | 0.0039468 | 3.0965e-06 | 1.7844e-06 | 0.023419 | 0.023419 | 0.023419 | 0.99953 | -0.0089627 | 0.99975 | -0.0048334 | 6.4338
42 | 0.015725 | 0.0039419 | -0.015724 | -0.003941 | 1.4378e-06 | 8.2862e-07 | 0.023419 | 0.023419 | 0.023419 | 0.99916 | -0.01621 | 0.99906 | -0.01813 | 6.4339
43 | -0.018755 | -0.0047041 | 0.018756 | 0.0047042 | 3.0346e-07 | 1.806e-07 | 0.027916 | 0.027916 | 0.027916 | 0.99975 | -0.0048334 | 0.99977 | -0.004494 | 7.6693
44 | -0.023584 | -0.0059149 | 0.023586 | 0.0059162 | 2.1674e-06 | 1.328e-06 | 0.035454 | 0.035454 | 0.035454 | 0.98989 | -0.19402 | 0.98999 | -0.1921 | 9.74
45 | -0.044021 | -0.011055 | 0.044072 | 0.011087 | 5.1495e-05 | 3.2553e-05 | 0.066168 | 0.066167 | 0.066168 | 0.99008 | -0.19027 | 0.99134 | -0.16578 | 18.1779
46 | 0.0098815 | 0.002477 | -0.0098796 | -0.0024761 | 1.8521e-06 | 8.9742e-07 | 0.014851 | 0.014851 | 0.014851 | 0.99008 | -0.19027 | 0.98988 | -0.1942 | 4.0801
47 | 0.039238 | 0.0098662 | -0.039208 | -0.0098472 | 3.024e-05 | 1.9054e-05 | 0.058909 | 0.058909 | 0.058909 | 0.99134 | -0.16578 | 0.99051 | -0.18193 | 16.1837
48 | -0.08331 | -0.020953 | 0.08336 | 0.020985 | 4.9261e-05 | 3.1419e-05 | 0.12508 | 0.12508 | 0.12508 | 0.99134 | -0.16578 | 0.99198 | -0.15341 | 34.3616
49 | 0.013532 | 0.0033921 | -0.013529 | -0.0033908 | 2.2706e-06 | 1.2662e-06 | 0.020371 | 0.020371 | 0.020371 | 0.98845 | -0.22198 | 0.98826 | -0.2255 | 5.5964
50 | -0.0095876 | -0.0024029 | 0.009589 | 0.0024035 | 1.3624e-06 | 6.3874e-07 | 0.014282 | 0.014282 | 0.014282 | 0.9989 | -0.021112 | 0.99906 | -0.01813 | 3.9237
51 | -0.012392 | -0.0031057 | 0.012393 | 0.0031062 | 7.8093e-07 | 4.2349e-07 | 0.018679 | 0.018679 | 0.018679 | 0.98717 | -0.24607 | 0.98723 | -0.24475 | 5.1317
52 | -0.24119 | -0.061306 | 0.24168 | 0.061616 | 0.00048633 | 0.00031073 | 0.35999 | 0.35999 | 0.35999 | 0.9978 | -0.041777 | 1 | 0 | 49.4496
53 | 0.23869 | 0.06068 | -0.23865 | -0.06065 | 4.6144e-05 | 2.9482e-05 | 0.35627 | 0.35627 | 0.35627 | 0.9978 | -0.041777 | 0.99759 | -0.045791 | 48.9379
54 | 0.02126 | 0.0053335 | -0.021256 | -0.0053308 | 4.554e-06 | 2.7554e-06 | 0.031637 | 0.031637 | 0.031637 | 1 | 0 | 0.99977 | -0.004494 | 8.6915
55 | 0.0062835 | 0.0015746 | -0.0062835 | -0.0015746 | 7.9769e-08 | 1.913e-08 | 0.0093499 | 0.00935 | 0.00935 | 1 | 0 | 0.99999 | -0.0002665 | 2.5687
56 | 0.2348 | 0.059685 | -0.23445 | -0.059463 | 0.00034798 | 0.00022231 | 0.35052 | 0.35052 | 0.35052 | 0.99759 | -0.045791 | 0.99598 | -0.076613 | 48.1489
57 | 0.0038509 | 0.00096495 | -0.0038508 | -0.00096499 | 1.0549e-07 | -4.3803e-08 | 0.0057439 | 0.005744 | 0.005744 | 0.99759 | -0.045791 | 0.99756 | -0.046366 | 1.578
58 | 0.0036871 | 0.00092393 | -0.0036871 | -0.00092397 | 8.234e-08 | -4.2992e-08 | 0.0054866 | 0.0054866 | 0.0054866 | 0.99999 | -0.0002665 | 0.99996 | -0.00073532 | 1.5073
59 | 0.23238 | 0.058944 | -0.23234 | -0.058922 | 3.4523e-05 | 2.2055e-05 | 0.34743 | 0.34743 | 0.34743 | 0.99598 | -0.076613 | 0.99582 | -0.079703 | 47.7239
60 | 0.0020715 | 0.00051915 | -0.0020715 | -0.00051917 | 8.5145e-09 | -2.5596e-08 | 0.00309 | 0.00309 | 0.00309 | 0.99756 | -0.046366 | 0.99756 | -0.046453 | 0.8489
61 | 0.0017792 | 0.00044584 | -0.0017792 | -0.00044591 | 1.5877e-08 | -6.8314e-08 | 0.002654 | 0.002654 | 0.002654 | 0.99756 | -0.046366 | 0.99755 | -0.046554 | 0.72912
62 | 0.0017035 | 0.00042685 | -0.0017035 | -0.00042694 | 1.774e-08 | -8.522e-08 | 0.0025349 | 0.002535 | 0.002535 | 0.99996 | -0.00073532 | 0.99995 | -0.00095394 | 0.69642
63 | 0.12502 | 0.03151 | -0.12488 | -0.031419 | 0.00014271 | 9.1196e-05 | 0.18737 | 0.18737 | 0.18737 | 0.99322 | -0.12952 | 0.99198 | -0.15341 | 51.4756
64 | 0.041522 | 0.010434 | -0.041511 | -0.010427 | 1.1907e-05 | 7.5149e-06 | 0.062295 | 0.062295 | 0.062295 | 0.99198 | -0.15341 | 0.99167 | -0.15942 | 17.1141
65 | 0.039681 | 0.0099684 | -0.039662 | -0.0099562 | 1.9343e-05 | 1.2192e-05 | 0.059551 | 0.059551 | 0.059551 | 0.99167 | -0.15942 | 0.99114 | -0.16964 | 16.3601
66 | -0.0073017 | -0.00183 | 0.0073025 | 0.0018303 | 8.2042e-07 | 2.9336e-07 | 0.010997 | 0.010997 | 0.010997 | 0.98799 | -0.23075 | 0.98812 | -0.22839 | 3.0212
67 | -0.0073025 | -0.0018303 | 0.0073028 | 0.0018304 | 3.5022e-07 | 1.2521e-07 | 0.010997 | 0.010997 | 0.010997 | 0.98812 | -0.22839 | 0.98817 | -0.22739 | 3.0211
68 | -0.014725 | -0.0036904 | 0.014725 | 0.0036909 | 8.1912e-07 | 4.6732e-07 | 0.022173 | 0.022173 | 0.022173 | 0.98817 | -0.22739 | 0.98823 | -0.22622 | 6.0914
69 | 0.006341 | 0.0015892 | -0.0063408 | -0.0015892 | 1.918e-07 | 5.0871e-08 | 0.0095479 | 0.0095479 | 0.0095479 | 0.98823 | -0.22622 | 0.9882 | -0.22685 | 2.623
70 | -0.021066 | -0.0052801 | 0.021083 | 0.0052903 | 1.6854e-05 | 1.0214e-05 | 0.031721 | 0.03172 | 0.031721 | 0.98823 | -0.22622 | 0.98909 | -0.20944 | 8.7145
71 | 0.0089447 | 0.0022414 | -0.0089437 | -0.0022409 | 1.0081e-06 | 4.5465e-07 | 0.013457 | 0.013457 | 0.013457 | 0.98909 | -0.20944 | 0.98897 | -0.21181 | 3.6969
72 | -0.030028 | -0.0075317 | 0.030047 | 0.0075439 | 1.9599e-05 | 1.2214e-05 | 0.045177 | 0.045177 | 0.045177 | 0.98909 | -0.20944 | 0.9898 | -0.19576 | 12.4112
73 | -0.030047 | -0.0075439 | 0.030067 | 0.0075563 | 1.983e-05 | 1.2358e-05 | 0.045177 | 0.045177 | 0.045177 | 0.9898 | -0.19576 | 0.99051 | -0.18193 | 12.4112
74 | 0.0031576 | 0.00079079 | -0.0031574 | -0.00079093 | 1.6252e-07 | -1.4236e-07 | 0.0047507 | 0.0047508 | 0.0047508 | 0.98897 | -0.21181 | 0.98891 | -0.21289 | 1.3052
75 | -0.026262 | -0.0065918 | 0.026277 | 0.0066009 | 1.4775e-05 | 9.13e-06 | 0.039456 | 0.039456 | 0.039456 | 0.99054 | -0.18143 | 0.99114 | -0.16964 | 10.8395
76 | 0.026262 | 0.0065918 | -0.026249 | -0.0065835 | 1.3353e-05 | 8.2517e-06 | 0.039456 | 0.039456 | 0.039456 | 0.99054 | -0.18143 | 0.98999 | -0.1921 | 10.8395
77 | 0.011221 | 0.0028131 | -0.011218 | -0.0028115 | 3.0163e-06 | 1.5653e-06 | 0.016847 | 0.016847 | 0.016847 | 0.99114 | -0.16964 | 0.99085 | -0.17528 | 4.6283
78 | 0.0031574 | 0.00079093 | -0.0031571 | -0.0007912 | 3.071e-07 | -2.6891e-07 | 0.0047508 | 0.004751 | 0.004751 | 0.98891 | -0.21289 | 0.98881 | -0.21493 | 1.3052
79 | 0.0031571 | 0.0007912 | -0.0031571 | -0.00079124 | 4.4174e-08 | -3.867e-08 | 0.004751 | 0.004751 | 0.004751 | 0.98881 | -0.21493 | 0.98879 | -0.21522 | 1.3052
80 | 0.0076003 | 0.0019048 | -0.0076 | -0.0019047 | 2.6996e-07 | 1.0234e-07 | 0.011444 | 0.011444 | 0.011444 | 0.98826 | -0.2255 | 0.98823 | -0.22625 | 3.1439
81 | 0.004977 | 0.0012473 | -0.0049768 | -0.0012473 | 2.7482e-07 | 6.1367e-09 | 0.0074655 | 0.0074656 | 0.0074656 | 0.99201 | -0.15274 | 0.99195 | -0.15389 | 2.051

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27087 | 0.068525

## res_load
| p_mw | q_mvar
0 | 0.014404 | 0.0036101
1 | 0.0038873 | 0.00097426
2 | 0.0081135 | 0.0020334
3 | 0.011367 | 0.0028489
4 | 0.0038842 | 0.00097347
5 | 0.0067302 | 0.0016867
6 | 0.011251 | 0.0028199
7 | 0.0072139 | 0.001808
8 | 0.002467 | 0.00061829
9 | 0.0031775 | 0.00079636
10 | 0.0072599 | 0.0018195
11 | 0.0020709 | 0.00051901
12 | 0.0029624 | 0.00074244
13 | 0.0051914 | 0.0013011
14 | 0.0047862 | 0.0011995
15 | 0.0013687 | 0.00034302
16 | 0.0076848 | 0.001926
17 | 0.0030216 | 0.00075728
18 | 0.0032761 | 0.00082106
19 | 0.0098796 | 0.0024761
20 | 0.0051727 | 0.0012964
21 | 0.0076915 | 0.0019277
22 | 0.0092061 | 0.0023073
23 | 0.0095876 | 0.0024029
24 | 0.0061347 | 0.0015375
25 | 0.012392 | 0.0031057
26 | 0.002498 | 0.00062606
27 | 0.0025 | 0.00062655
28 | 0.0025963 | 0.0006507
29 | 0.0020706 | 0.00051895
30 | 0.0019835 | 0.00049712
31 | 0.0017794 | 0.00044596
32 | 0.0020715 | 0.00051917
33 | 0.0017792 | 0.00044591
34 | 0.0017035 | 0.00042694
35 | 0.0017794 | 0.00044596
36 | 0.0018292 | 0.00045843
37 | 0.0073017 | 0.00183
38 | 0.0074217 | 0.0018601
39 | 0.0063408 | 0.0015892
40 | 0.0091408 | 0.0022909
41 | 0.0057861 | 0.0014501
42 | 0.0021636 | 0.00054225
43 | 0.0026626 | 0.00066732
44 | 0.0059291 | 0.001486
45 | 0.0031571 | 0.00079124
46 | 0.011218 | 0.0028115
47 | 0.0049768 | 0.0012473
48 | 0.0076 | 0.0019047

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1