## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_172-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_172-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_172-3_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_172-3_0_4_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_172-3_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_172-3_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_172-3_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_172-3_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_172-3_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_172-3_0_4_node_115 | 0.4 | n |  | TRUE
10 | bus_LV_172-3_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_172-3_0_4_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_172-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_172-3_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_172-3_0_4_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_172-3_0_4_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_172-3_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_172-3_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_172-3_0_4_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_172-3_0_4_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_172-3_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_172-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_172-3_0_4_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_172-3_0_4_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_172-3_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_172-3_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_172-3_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_172-3_0_4_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_172-3_0_4_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_172-3_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_172-3_0_4_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_172-3_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_172-3_0_4_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_172-3_0_4_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_172-3_0_4_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_172-3_0_4_node_84 | 0.4 | n |  | TRUE
36 | bus_LV_172-3_0_4_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_172-3_0_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_172-3_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_172-3_0_4_node_110 | 0.4 | n |  | TRUE
40 | bus_LV_172-3_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_172-3_0_4_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_172-3_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_172-3_0_4_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_172-3_0_4_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_172-3_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_172-3_0_4_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_172-3_0_4_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_172-3_0_4_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_172-3_0_4_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_172-3_0_4_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_172-3_0_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_172-3_0_4_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_172-3_0_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_172-3_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_172-3_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_172-3_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_172-3_0_4_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_172-3_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_172-3_0_4_node_98 | 0.4 | n |  | TRUE
60 | bus_LV_172-3_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_172-3_0_4_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_172-3_0_4_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_172-3_0_4_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_172-3_0_4_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_172-3_0_4_node_111 | 0.4 | n |  | TRUE
66 | bus_LV_172-3_0_4_node_108 | 0.4 | n |  | TRUE
67 | bus_LV_172-3_0_4_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_172-3_0_4_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_172-3_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_172-3_0_4_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_172-3_0_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_172-3_0_4_node_106 | 0.4 | n |  | TRUE
73 | bus_MV_362_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_172-3_0_4_load_0 | 0 | 0.0071015 | 0.0017798 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_172-3_0_4_load_20 | 4 | 0.0062899 | 0.0015764 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_172-3_0_4_load_16 | 7 | 0.007368 | 0.0018466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_172-3_0_4_load_115 | 9 | 0.0079577 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_172-3_0_4_load_87 | 15 | 0.0044801 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_172-3_0_4_load_60 | 16 | 0.0036087 | 0.00090441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_172-3_0_4_load_88 | 19 | 0.0065195 | 0.001634 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_172-3_0_4_load_65 | 20 | 0.0063363 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_172-3_0_4_load_64 | 22 | 0.0055388 | 0.0013882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_172-3_0_4_load_61 | 23 | 0.0052305 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_172-3_0_4_load_21 | 25 | 0.0027378 | 0.00068616 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_172-3_0_4_load_113 | 27 | 0.0050539 | 0.0012666 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_172-3_0_4_load_63 | 29 | 0.003044 | 0.0007629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_172-3_0_4_load_82 | 30 | 0.0023768 | 0.00059568 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_172-3_0_4_load_75 | 31 | 0.0026215 | 0.000657 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_172-3_0_4_load_103 | 33 | 0.0026669 | 0.00066839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_172-3_0_4_load_101 | 34 | 0.00947 | 0.0023734 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_172-3_0_4_load_100 | 37 | 0.013651 | 0.0034212 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_172-3_0_4_load_77 | 38 | 0.0060576 | 0.0015182 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_172-3_0_4_load_110 | 39 | 0.0058884 | 0.0014758 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_172-3_0_4_load_94 | 41 | 0.012815 | 0.0032117 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_172-3_0_4_load_104 | 44 | 0.016931 | 0.0042433 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_172-3_0_4_load_89 | 46 | 0.00036555 | 9.1615e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_172-3_0_4_load_93 | 47 | 0.013217 | 0.0033125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_172-3_0_4_load_107 | 48 | 0.016333 | 0.0040935 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_172-3_0_4_load_105 | 49 | 0.0038699 | 0.0009699 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_172-3_0_4_load_109 | 50 | 0.0044804 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_172-3_0_4_load_85 | 51 | 0.0075504 | 0.0018923 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_172-3_0_4_load_86 | 52 | 0.003732 | 0.00093533 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_172-3_0_4_load_78 | 53 | 0.00046927 | 0.00011761 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_172-3_0_4_load_66 | 54 | 0.0015199 | 0.00038093 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_172-3_0_4_load_70 | 56 | 0.0050459 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_172-3_0_4_load_74 | 57 | 0.0013999 | 0.00035084 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_172-3_0_4_load_98 | 59 | 0.017063 | 0.0042763 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_172-3_0_4_load_96 | 61 | 0.015724 | 0.0039407 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_172-3_0_4_load_92 | 63 | 0.011117 | 0.0027862 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_172-3_0_4_load_73 | 64 | 0.00041193 | 0.00010324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_172-3_0_4_load_111 | 65 | 0.0015041 | 0.00037697 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_172-3_0_4_load_108 | 66 | 0.016385 | 0.0041064 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_172-3_0_4_load_102 | 67 | 0.0076389 | 0.0019145 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_172-3_0_4_load_112 | 68 | 0.0018441 | 0.00046216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_172-3_0_4_load_79 | 69 | 0.00026735 | 6.7005e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_172-3_0_4_load_80 | 70 | 0.0010838 | 0.00027164 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_172-3_0_4_load_81 | 71 | 0.0028381 | 0.00071129 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_172-3_0_4_load_106 | 72 | 0.0046948 | 0.0011766 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_172-3_0_4_line_0 |  | 0 | 1 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_172-3_0_4_line_1 |  | 1 | 2 | 0.002429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_172-3_0_4_line_2 |  | 2 | 3 | 0.031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_172-3_0_4_line_3 |  | 2 | 4 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_172-3_0_4_line_4 |  | 3 | 24 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_172-3_0_4_line_5 |  | 3 | 7 | 0.014127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_172-3_0_4_line_6 |  | 4 | 25 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_172-3_0_4_line_7 |  | 5 | 6 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_172-3_0_4_line_8 |  | 5 | 7 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_172-3_0_4_line_9 |  | 6 | 26 | 0.041427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_172-3_0_4_line_10 |  | 8 | 9 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_172-3_0_4_line_11 |  | 8 | 10 | 0.046166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_172-3_0_4_line_12 |  | 8 | 11 | 0.0031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_172-3_0_4_line_13 |  | 10 | 20 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_172-3_0_4_line_14 |  | 11 | 27 | 0.025096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_172-3_0_4_line_15 |  | 11 | 28 | 0.023453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_172-3_0_4_line_16 |  | 12 | 13 | 0.14249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_172-3_0_4_line_17 |  | 12 | 14 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_172-3_0_4_line_18 |  | 12 | 15 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_172-3_0_4_line_19 |  | 13 | 16 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_172-3_0_4_line_20 |  | 14 | 29 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_172-3_0_4_line_21 |  | 14 | 23 | 0.049446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_172-3_0_4_line_22 |  | 15 | 19 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_172-3_0_4_line_23 |  | 17 | 18 | 0.092187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_172-3_0_4_line_24 |  | 17 | 19 | 0.039839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_172-3_0_4_line_25 |  | 18 | 30 | 0.024277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_172-3_0_4_line_26 |  | 18 | 31 | 0.0049743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_172-3_0_4_line_27 |  | 20 | 24 | 0.050082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_172-3_0_4_line_28 |  | 21 | 22 | 0.023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_172-3_0_4_line_29 |  | 21 | 23 | 0.0088817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_172-3_0_4_line_30 |  | 22 | 38 | 0.0046268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_172-3_0_4_line_31 |  | 26 | 39 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_172-3_0_4_line_32 |  | 28 | 56 | 0.018825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_172-3_0_4_line_33 |  | 28 | 54 | 0.029892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_172-3_0_4_line_34 |  | 29 | 51 | 0.0056569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_172-3_0_4_line_35 |  | 30 | 33 | 0.047934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_172-3_0_4_line_36 |  | 31 | 64 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_172-3_0_4_line_37 |  | 32 | 33 | 0.033708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_172-3_0_4_line_38 |  | 32 | 34 | 0.02382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_172-3_0_4_line_39 |  | 34 | 67 | 0.021435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_172-3_0_4_line_40 |  | 35 | 36 | 0.63881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_172-3_0_4_line_41 |  | 35 | 37 | 0.076704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_172-3_0_4_line_42 |  | 36 | 45 | 0.057418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_172-3_0_4_line_43 |  | 37 | 40 | 0.043305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_172-3_0_4_line_44 |  | 38 | 53 | 0.016551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_172-3_0_4_line_45 |  | 39 | 50 | 0.02519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_172-3_0_4_line_46 |  | 40 | 41 | 0.021673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_172-3_0_4_line_47 |  | 41 | 47 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_172-3_0_4_line_48 |  | 42 | 43 | 0.0090938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_172-3_0_4_line_49 |  | 42 | 44 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_172-3_0_4_line_50 |  | 43 | 48 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_172-3_0_4_line_51 |  | 44 | 49 | 0.021766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_172-3_0_4_line_52 |  | 45 | 46 | 0.05843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_172-3_0_4_line_53 |  | 47 | 63 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_172-3_0_4_line_54 |  | 48 | 66 | 0.0063844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_172-3_0_4_line_55 |  | 49 | 72 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_172-3_0_4_line_56 |  | 50 | 66 | 0.033631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_172-3_0_4_line_57 |  | 51 | 52 | 0.0044973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_172-3_0_4_line_58 |  | 53 | 69 | 0.0080862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_172-3_0_4_line_59 |  | 54 | 55 | 0.0070381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_172-3_0_4_line_60 |  | 55 | 57 | 0.017994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_172-3_0_4_line_61 |  | 57 | 65 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_172-3_0_4_line_62 |  | 58 | 59 | 0.04203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_172-3_0_4_line_63 |  | 58 | 60 | 0.036897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_172-3_0_4_line_64 |  | 58 | 61 | 0.0022465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_172-3_0_4_line_65 |  | 60 | 62 | 0.012589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_172-3_0_4_line_66 |  | 60 | 63 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_172-3_0_4_line_67 |  | 62 | 67 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_172-3_0_4_line_68 |  | 62 | 68 | 0.013193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_172-3_0_4_line_69 |  | 65 | 68 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_172-3_0_4_line_70 |  | 69 | 70 | 0.0048856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_172-3_0_4_line_71 |  | 70 | 71 | 0.0091893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_172-3_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 73 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2698759.9837 | 1249636.1577 | 2698749.7043 | 1249631.2938 | 2698749.6895 | 1249631.0836
1 | 2698759.9837 | 1249636.1577 | 2698762.1865 | 1249637.1952
2 | 2698762.1865 | 1249637.1952 | 2698775.147 | 1249643.3938 | 2698784.2671 | 1249658.0017
3 | 2698762.1865 | 1249637.1952 | 2698767.3593 | 1249623.6041
4 | 2698792.3879 | 1249670.0464 | 2698788.7838 | 1249664.7377 | 2698784.2671 | 1249658.0017
5 | 2698784.2671 | 1249658.0017 | 2698772.4439 | 1249665.7339
6 | 2698782.4034 | 1249623.4992 | 2698780.868 | 1249625.0081 | 2698778.7185 | 1249626.2065 | 2698776.5378 | 1249626.5594 | 2698774.0517 | 1249626.2066 | 2698767.3593 | 1249623.6041
7 | 2698749.8961 | 1249680.4799 | 2698753.6554 | 1249686.4472 | 2698757.413 | 1249692.5145
8 | 2698749.8961 | 1249680.4799 | 2698772.4439 | 1249665.7339
9 | 2698757.413 | 1249692.5145 | 2698761.5957 | 1249689.8377 | 2698782.284 | 1249719.8615
10 | 2698871.7631 | 1249648.6086 | 2698861.4055 | 1249657.932 | 2698857.6456 | 1249668.2996
11 | 2698846.6168 | 1249630.0636 | 2698852.5783 | 1249633.4768 | 2698857.3365 | 1249629.8088 | 2698859.1668 | 1249629.1833 | 2698860.6688 | 1249629.2306 | 2698863.0866 | 1249630.9612 | 2698867.6537 | 1249627.8794 | 2698868.9137 | 1249633.8272 | 2698869.4343 | 1249643.3545 | 2698871.7631 | 1249648.6086
12 | 2698873.0221 | 1249651.4429 | 2698871.7631 | 1249648.6086
13 | 2698846.6168 | 1249630.0636 | 2698844.2934 | 1249632.182 | 2698841.4787 | 1249634.3257 | 2698833.0202 | 1249640.7881
14 | 2698873.0221 | 1249651.4429 | 2698894.2958 | 1249638.13
15 | 2698873.0221 | 1249651.4429 | 2698881.5003 | 1249664.6836 | 2698884.6214 | 1249671.7745
16 | 2698872.3781 | 1249550.6866 | 2698874.8902 | 1249550.8398 | 2698877.0695 | 1249550.12 | 2698878.9027 | 1249548.8718 | 2698901.7582 | 1249530.5054 | 2698905.7906 | 1249527.348 | 2698909.578 | 1249524.3866 | 2698925.7422 | 1249511.9466 | 2698952.3531 | 1249491.1968 | 2698959.1102 | 1249498.0705 | 2698970.3393 | 1249510.7345 | 2698975.7937 | 1249516.9304 | 2698980.2518 | 1249522.6427
17 | 2698980.2518 | 1249522.6427 | 2698960.4076 | 1249539.2911
18 | 2698980.2518 | 1249522.6427 | 2698987.4241 | 1249533.5422
19 | 2698872.3781 | 1249550.6866 | 2698872.027 | 1249553.6275 | 2698872.3087 | 1249554.8443 | 2698872.861 | 1249555.6875 | 2698874.2899 | 1249556.9457 | 2698876.7941 | 1249559.8341 | 2698877.901 | 1249561.8319 | 2698878.7381 | 1249564.1588 | 2698878.6841 | 1249565.1365 | 2698878.6383 | 1249566.0698
20 | 2698960.4076 | 1249539.2911 | 2698963.6915 | 1249543.8717 | 2698969.1383 | 1249552.6733
21 | 2698960.4076 | 1249539.2911 | 2698922.1596 | 1249570.6271
22 | 2698987.4241 | 1249533.5422 | 2698994.2418 | 1249543.9029
23 | 2699020.6889 | 1249555.2546 | 2699023.3461 | 1249563.8947 | 2699034.1316 | 1249600.3589 | 2699028.3479 | 1249603.0311 | 2698993.1734 | 1249619.2896
24 | 2699020.6889 | 1249555.2546 | 2699007.4268 | 1249563.9399 | 2698994.2418 | 1249543.9029
25 | 2698993.1734 | 1249619.2896 | 2698994.342 | 1249626.626 | 2698997.8512 | 1249631.733 | 2698998.8667 | 1249634.6745 | 2698999.7535 | 1249642.1619 | 2698999.7535 | 1249642.1619
26 | 2698993.1734 | 1249619.2896 | 2698988.6574 | 1249621.3753
27 | 2698792.3879 | 1249670.0464 | 2698810.2317 | 1249657.8231 | 2698825.156 | 1249646.7966 | 2698833.0202 | 1249640.7881
28 | 2698915.2892 | 1249576.2558 | 2698929.2856 | 1249594.9947
29 | 2698915.2892 | 1249576.2558 | 2698922.1596 | 1249570.6271
30 | 2698929.2856 | 1249594.9947 | 2698932.0543 | 1249598.7016
31 | 2698782.284 | 1249719.8615 | 2698796.024 | 1249710.6708
32 | 2698884.6214 | 1249671.7745 | 2698866.5859 | 1249677.1687
33 | 2698884.6214 | 1249671.7745 | 2698891.3959 | 1249669.0076 | 2698912.2911 | 1249660.4642
34 | 2698972.1151 | 1249557.4836 | 2698969.1383 | 1249552.6733
35 | 2698985.5228 | 1249672.6703 | 2699007.7712 | 1249665.3139 | 2698999.7535 | 1249642.1619
36 | 2698960.2463 | 1249631.1543 | 2698981.4157 | 1249624.7198 | 2698988.6574 | 1249621.3753
37 | 2698996.2705 | 1249704.6193 | 2698985.5228 | 1249672.6703
38 | 2698996.2705 | 1249704.6193 | 2698973.7344 | 1249712.3346
39 | 2698973.7344 | 1249712.3346 | 2698953.4553 | 1249719.2773
40 | 2698879.7902 | 1250327.0629 | 2698907.4513 | 1250302.4385 | 2698940.2533 | 1250282.8594 | 2698972.2317 | 1250262.4217 | 2698977.8411 | 1250260.2025 | 2698984.2323 | 1250259.5532 | 2698990.0865 | 1250261.2078 | 2698995.9753 | 1250264.4087 | 2699001.4943 | 1250260.3755 | 2699008.1147 | 1250253.236 | 2699017.4515 | 1250240.3374 | 2699022.8335 | 1250229.1408 | 2699026.1593 | 1250215.3855 | 2699058.3534 | 1249975.7689 | 2699060.5224 | 1249963.918 | 2699064.0439 | 1249930.7954 | 2699064.8328 | 1249918.8436 | 2699065.4773 | 1249908.3017 | 2699066.277 | 1249886.6759 | 2699070.1998 | 1249776.7442
41 | 2699070.1998 | 1249776.7442 | 2698996.3933 | 1249797.6282
42 | 2698879.7902 | 1250327.0629 | 2698874.3866 | 1250333.2443 | 2698870.7677 | 1250340.6119 | 2698859.8166 | 1250380.1381
43 | 2698954.7243 | 1249809.4188 | 2698996.3933 | 1249797.6282
44 | 2698932.0543 | 1249598.7016 | 2698937.6106 | 1249606.1406 | 2698931.9372 | 1249610.6807
45 | 2698816.9614 | 1249696.6657 | 2698796.024 | 1249710.6708
46 | 2698954.7243 | 1249809.4188 | 2698947.7921 | 1249788.8839
47 | 2698947.7921 | 1249788.8839 | 2698940.6929 | 1249767.854
48 | 2698831.7358 | 1249761.5962 | 2698833.4939 | 1249767.1076 | 2698834.4984 | 1249770.2601
49 | 2698834.4984 | 1249770.2601 | 2698837.8787 | 1249770.8725 | 2698840.434 | 1249779.1724
50 | 2698831.7358 | 1249761.5962 | 2698821.1744 | 1249730.6514
51 | 2698840.434 | 1249779.1724 | 2698846.8384 | 1249799.9746
52 | 2698859.8166 | 1250380.1381 | 2698836.6493 | 1250371.6895 | 2698829.8797 | 1250367.8848 | 2698824.8696 | 1250363.609 | 2698822.1638 | 1250360.1501 | 2698821.2016 | 1250357.632 | 2698821.0165 | 1250355.1492 | 2698823.7 | 1250345.681
53 | 2698933.9576 | 1249747.9021 | 2698940.6929 | 1249767.854
54 | 2698821.1744 | 1249730.6514 | 2698827.2482 | 1249728.6845
55 | 2698846.8384 | 1249799.9746 | 2698851.9728 | 1249816.6517
56 | 2698816.9614 | 1249696.6657 | 2698822.977 | 1249715.3918 | 2698827.2482 | 1249728.6845 | 2698827.2482 | 1249728.6845
57 | 2698972.1151 | 1249557.4836 | 2698974.4817 | 1249561.3078
58 | 2698925.6236 | 1249615.733 | 2698931.9372 | 1249610.6807
59 | 2698918.8057 | 1249657.8006 | 2698912.2911 | 1249660.4642
60 | 2698918.8057 | 1249657.8006 | 2698924.5773 | 1249674.8436
61 | 2698924.5773 | 1249674.8436 | 2698924.5773 | 1249674.8436 | 2698920.8414 | 1249675.6263 | 2698924.4934 | 1249688.9087 | 2698925.007 | 1249689.8337
62 | 2698892.4989 | 1249740.4374 | 2698905.6537 | 1249780.356
63 | 2698892.4989 | 1249740.4374 | 2698910.7313 | 1249733.8921 | 2698927.3321 | 1249728.2758
64 | 2698892.4989 | 1249740.4374 | 2698890.3776 | 1249741.1769
65 | 2698927.3321 | 1249728.2758 | 2698939.2568 | 1249724.1382
66 | 2698927.3321 | 1249728.2758 | 2698933.9576 | 1249747.9021
67 | 2698939.2568 | 1249724.1382 | 2698953.4553 | 1249719.2773
68 | 2698939.2568 | 1249724.1382 | 2698934.8548 | 1249711.701
69 | 2698925.007 | 1249689.8337 | 2698930.8199 | 1249700.301 | 2698934.8548 | 1249711.701
70 | 2698925.6236 | 1249615.733 | 2698921.809 | 1249618.7856
71 | 2698914.6342 | 1249624.5271 | 2698921.809 | 1249618.7856

## bus_geodata
| x | y | coords
0 | 2698749.6895 | 1249631.0836
1 | 2698759.9837 | 1249636.1577
2 | 2698762.1865 | 1249637.1952
3 | 2698784.2671 | 1249658.0017
4 | 2698767.3593 | 1249623.6041
5 | 2698749.8961 | 1249680.4799
6 | 2698757.413 | 1249692.5145
7 | 2698772.4439 | 1249665.7339
8 | 2698871.7631 | 1249648.6086
9 | 2698857.6456 | 1249668.2996
10 | 2698846.6168 | 1249630.0636
11 | 2698873.0221 | 1249651.4429
12 | 2698980.2518 | 1249522.6427
13 | 2698872.3781 | 1249550.6866
14 | 2698960.4076 | 1249539.2911
15 | 2698987.4241 | 1249533.5422
16 | 2698878.6383 | 1249566.0698
17 | 2699020.6889 | 1249555.2546
18 | 2698993.1734 | 1249619.2896
19 | 2698994.2418 | 1249543.9029
20 | 2698833.0202 | 1249640.7881
21 | 2698915.2892 | 1249576.2558
22 | 2698929.2856 | 1249594.9947
23 | 2698922.1596 | 1249570.6271
24 | 2698792.3879 | 1249670.0464
25 | 2698782.4034 | 1249623.4992
26 | 2698782.284 | 1249719.8615
27 | 2698894.2957 | 1249638.13
28 | 2698884.6214 | 1249671.7745
29 | 2698969.1383 | 1249552.6733
30 | 2698999.7535 | 1249642.1619
31 | 2698988.6574 | 1249621.3753
32 | 2698996.2705 | 1249704.6193
33 | 2698985.5228 | 1249672.6703
34 | 2698973.7344 | 1249712.3346
35 | 2699070.1998 | 1249776.7442
36 | 2698879.7902 | 1250327.0629
37 | 2698996.3933 | 1249797.6282
38 | 2698932.0543 | 1249598.7016
39 | 2698796.024 | 1249710.6708
40 | 2698954.7243 | 1249809.4188
41 | 2698947.7921 | 1249788.8839
42 | 2698834.4984 | 1249770.2601
43 | 2698831.7358 | 1249761.5962
44 | 2698840.434 | 1249779.1724
45 | 2698859.8166 | 1250380.1381
46 | 2698823.7 | 1250345.681
47 | 2698940.6929 | 1249767.854
48 | 2698821.1744 | 1249730.6514
49 | 2698846.8384 | 1249799.9746
50 | 2698816.9614 | 1249696.6657
51 | 2698972.1151 | 1249557.4836
52 | 2698974.4817 | 1249561.3078
53 | 2698931.9372 | 1249610.6807
54 | 2698912.2911 | 1249660.4642
55 | 2698918.8057 | 1249657.8006
56 | 2698866.5859 | 1249677.1687
57 | 2698924.5773 | 1249674.8436
58 | 2698892.4989 | 1249740.4374
59 | 2698905.6537 | 1249780.356
60 | 2698927.3321 | 1249728.2758
61 | 2698890.3776 | 1249741.1769
62 | 2698939.2568 | 1249724.1382
63 | 2698933.9576 | 1249747.9021
64 | 2698960.2463 | 1249631.1543
65 | 2698925.007 | 1249689.8337
66 | 2698827.2482 | 1249728.6845
67 | 2698953.4553 | 1249719.2773
68 | 2698934.8548 | 1249711.701
69 | 2698925.6236 | 1249615.733
70 | 2698921.809 | 1249618.7856
71 | 2698914.6342 | 1249624.5271
72 | 2698851.9728 | 1249816.6517
73 | 2698873.0221 | 1249651.4429

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98539 | -0.27858 | 0.0071015 | 0.0017798
1 | 0.98547 | -0.27711 | 0 | 0
2 | 0.98548 | -0.2768 | 0 | 0
3 | 0.98595 | -0.26767 | 0 | 0
4 | 0.98536 | -0.27916 | 0.0062899 | 0.0015764
5 | 0.98324 | -0.32019 | 0 | 0
6 | 0.98233 | -0.33774 | 0 | 0
7 | 0.98495 | -0.28693 | 0.007368 | 0.0018466
8 | 0.99727 | -0.051444 | 0 | 0
9 | 0.99709 | -0.054923 | 0.0079577 | 0.0019944
10 | 0.99306 | -0.13142 | 0 | 0
11 | 0.99758 | -0.045666 | 0 | 0
12 | 0.97523 | -0.47722 | 0 | 0
13 | 0.97476 | -0.48666 | 0 | 0
14 | 0.97437 | -0.49421 | 0 | 0
15 | 0.97571 | -0.4678 | 0.0044801 | 0.0011228
16 | 0.9747 | -0.48782 | 0.0036087 | 0.00090441
17 | 0.97809 | -0.42116 | 0 | 0
18 | 0.98242 | -0.33682 | 0 | 0
19 | 0.97622 | -0.45783 | 0.0065195 | 0.001634
20 | 0.99147 | -0.16161 | 0.0063363 | 0.001588
21 | 0.97325 | -0.51639 | 0 | 0
22 | 0.97289 | -0.52339 | 0.0055388 | 0.0013882
23 | 0.97338 | -0.51374 | 0.0052305 | 0.0013109
24 | 0.98719 | -0.24374 | 0 | 0
25 | 0.98532 | -0.27997 | 0.0027378 | 0.00068616
26 | 0.97969 | -0.3892 | 0 | 0
27 | 0.99746 | -0.047888 | 0.0050539 | 0.0012666
28 | 1 | 0 | -0.28836 | -0.073543
29 | 0.97416 | -0.49842 | 0.003044 | 0.0007629
30 | 0.98363 | -0.31341 | 0.0023768 | 0.00059568
31 | 0.9824 | -0.3371 | 0.0026215 | 0.000657
32 | 0.98795 | -0.23002 | 0 | 0
33 | 0.98612 | -0.26531 | 0.0026669 | 0.00066839
34 | 0.98925 | -0.20516 | 0.00947 | 0.0023734
35 | 0.98753 | -0.2392 | 0 | 0
36 | 0.98732 | -0.24354 | 0 | 0
37 | 0.98756 | -0.23867 | 0.013651 | 0.0034212
38 | 0.97285 | -0.52431 | 0.0060576 | 0.0015182
39 | 0.97863 | -0.40981 | 0.0058884 | 0.0014758
40 | 0.98812 | -0.2278 | 0 | 0
41 | 0.98839 | -0.22237 | 0.012815 | 0.0032117
42 | 0.9741 | -0.49885 | 0 | 0
43 | 0.97432 | -0.49459 | 0 | 0
44 | 0.97381 | -0.50453 | 0.016931 | 0.0042433
45 | 0.9873 | -0.24392 | 0 | 0
46 | 0.98728 | -0.2443 | 0.00036555 | 9.1615e-05
47 | 0.98894 | -0.21174 | 0.013217 | 0.0033125
48 | 0.97509 | -0.4793 | 0.016333 | 0.0040935
49 | 0.97364 | -0.50796 | 0.0038699 | 0.0009699
50 | 0.97716 | -0.4386 | 0.0044804 | 0.0011229
51 | 0.9741 | -0.49959 | 0.0075504 | 0.0018923
52 | 0.97408 | -0.4999 | 0.003732 | 0.00093533
53 | 0.97277 | -0.52573 | 0.00046927 | 0.00011761
54 | 0.99771 | -0.043313 | 0.0015199 | 0.00038093
55 | 0.99718 | -0.053446 | 0 | 0
56 | 0.99991 | -0.0016559 | 0.0050459 | 0.0012646
57 | 0.99582 | -0.079402 | 0.0013999 | 0.00035084
58 | 0.98958 | -0.19937 | 0 | 0
59 | 0.98892 | -0.21214 | 0.017063 | 0.0042763
60 | 0.99069 | -0.17786 | 0 | 0
61 | 0.98954 | -0.2 | 0.015724 | 0.0039407
62 | 0.99166 | -0.1591 | 0 | 0
63 | 0.98971 | -0.19671 | 0.011117 | 0.0027862
64 | 0.98239 | -0.33732 | 0.00041193 | 0.00010324
65 | 0.99442 | -0.10615 | 0.0015041 | 0.00037697
66 | 0.97534 | -0.4744 | 0.016385 | 0.0041064
67 | 0.9906 | -0.17924 | 0.0076389 | 0.0019145
68 | 0.99263 | -0.14046 | 0.0018441 | 0.00046216
69 | 0.97274 | -0.52635 | 0.00026735 | 6.7005e-05
70 | 0.97272 | -0.5267 | 0.0010838 | 0.00027164
71 | 0.9727 | -0.52718 | 0.0028381 | 0.00071129
72 | 0.97356 | -0.50946 | 0.0046948 | 0.0011766
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0071015 | -0.0017798 | 0.007102 | 0.00178 | 4.995e-07 | 1.7212e-07 | 0.010724 | 0.010724 | 0.010724 | 0.98539 | -0.27858 | 0.98547 | -0.27711 | 2.9461
1 | -0.007102 | -0.00178 | 0.0071021 | 0.00178 | 1.0475e-07 | 3.6091e-08 | 0.010724 | 0.010724 | 0.010724 | 0.98547 | -0.27711 | 0.98548 | -0.2768 | 2.9461
2 | -0.016131 | -0.0040429 | 0.016138 | 0.004047 | 7.0163e-06 | 4.0884e-06 | 0.024357 | 0.024356 | 0.024357 | 0.98548 | -0.2768 | 0.98595 | -0.26767 | 6.6914
3 | 0.0090288 | 0.0022629 | -0.0090278 | -0.0022624 | 1.0135e-06 | 4.634e-07 | 0.013633 | 0.013633 | 0.013633 | 0.98548 | -0.2768 | 0.98536 | -0.27916 | 3.7453
4 | -0.092795 | -0.023531 | 0.092902 | 0.023599 | 0.0001069 | 6.8231e-05 | 0.14015 | 0.14015 | 0.14015 | 0.98595 | -0.26767 | 0.98719 | -0.24374 | 38.5016
5 | 0.076657 | 0.019484 | -0.076586 | -0.019438 | 7.1027e-05 | 4.5277e-05 | 0.11579 | 0.11579 | 0.11579 | 0.98595 | -0.26767 | 0.98495 | -0.28693 | 31.8103
6 | 0.0027379 | 0.00068601 | -0.0027378 | -0.00068616 | 1.0586e-07 | -1.426e-07 | 0.0041345 | 0.0041346 | 0.0041346 | 0.98536 | -0.27916 | 0.98532 | -0.27997 | 1.1359
7 | 0.069107 | 0.017521 | -0.069049 | -0.017484 | 5.8236e-05 | 3.7092e-05 | 0.10466 | 0.10466 | 0.10466 | 0.98324 | -0.32019 | 0.98233 | -0.33774 | 28.7523
8 | -0.069107 | -0.017521 | 0.069218 | 0.017592 | 0.00011066 | 7.0482e-05 | 0.10466 | 0.10466 | 0.10466 | 0.98324 | -0.32019 | 0.98495 | -0.28693 | 28.7523
9 | 0.069049 | 0.017484 | -0.068879 | -0.017376 | 0.00017016 | 0.00010838 | 0.10466 | 0.10466 | 0.10466 | 0.98233 | -0.33774 | 0.97969 | -0.3892 | 28.7524
10 | 0.0079591 | 0.0019949 | -0.0079577 | -0.0019944 | 1.319e-06 | 5.1881e-07 | 0.011876 | 0.011876 | 0.011876 | 0.99727 | -0.051444 | 0.99709 | -0.054923 | 3.2626
11 | 0.10014 | 0.025763 | -0.099752 | -0.025515 | 0.00038773 | 0.00024755 | 0.14965 | 0.14965 | 0.14965 | 0.99727 | -0.051444 | 0.99306 | -0.13142 | 41.1139
12 | -0.1081 | -0.027758 | 0.10813 | 0.027777 | 3.0332e-05 | 1.9372e-05 | 0.16153 | 0.16153 | 0.16153 | 0.99727 | -0.051444 | 0.99758 | -0.045666 | 44.3764
13 | 0.099752 | 0.025515 | -0.099607 | -0.025422 | 0.00014552 | 9.2911e-05 | 0.14965 | 0.14965 | 0.14965 | 0.99306 | -0.13142 | 0.99147 | -0.16161 | 41.114
14 | 0.0050545 | 0.0012667 | -0.0050539 | -0.0012666 | 5.3494e-07 | 1.4755e-08 | 0.0075394 | 0.0075395 | 0.0075395 | 0.99758 | -0.045666 | 0.99746 | -0.047888 | 2.0713
15 | -0.11318 | -0.029044 | 0.11344 | 0.029204 | 0.0002514 | 0.00016059 | 0.16907 | 0.16907 | 0.16907 | 0.99758 | -0.045666 | 1 | 0 | 46.4476
16 | 0.0036105 | 0.00090358 | -0.0036089 | -0.00090432 | 1.6215e-06 | -7.3926e-07 | 0.0055084 | 0.0055091 | 0.0055091 | 0.97523 | -0.47722 | 0.97476 | -0.48666 | 1.5135
17 | 0.035873 | 0.0090122 | -0.035844 | -0.008994 | 2.9062e-05 | 1.8277e-05 | 0.054743 | 0.054743 | 0.054743 | 0.97523 | -0.47722 | 0.97437 | -0.49421 | 15.0393
18 | -0.039484 | -0.0099158 | 0.039501 | 0.009927 | 1.7762e-05 | 1.1205e-05 | 0.060251 | 0.060251 | 0.060251 | 0.97523 | -0.47722 | 0.97571 | -0.4678 | 16.5526
19 | 0.0036089 | 0.00090432 | -0.0036087 | -0.00090441 | 2.0049e-07 | -9.1258e-08 | 0.0055091 | 0.0055091 | 0.0055091 | 0.97476 | -0.48666 | 0.9747 | -0.48782 | 1.5135
20 | 0.01433 | 0.0035925 | -0.014327 | -0.0035909 | 2.8712e-06 | 1.6385e-06 | 0.021885 | 0.021885 | 0.021885 | 0.97437 | -0.49421 | 0.97416 | -0.49842 | 6.0122
21 | 0.021514 | 0.0054015 | -0.021494 | -0.0053893 | 2.002e-05 | 1.2197e-05 | 0.032859 | 0.032859 | 0.032859 | 0.97437 | -0.49421 | 0.97338 | -0.51374 | 9.0272
22 | -0.043981 | -0.01105 | 0.044002 | 0.011063 | 2.093e-05 | 1.324e-05 | 0.067084 | 0.067084 | 0.067084 | 0.97571 | -0.4678 | 0.97622 | -0.45783 | 18.4296
23 | -0.05061 | -0.012753 | 0.050816 | 0.012883 | 0.00020508 | 0.00013009 | 0.077021 | 0.077021 | 0.077021 | 0.97809 | -0.42116 | 0.98242 | -0.33682 | 21.1596
24 | 0.05061 | 0.012753 | -0.050522 | -0.012697 | 8.8626e-05 | 5.6221e-05 | 0.077021 | 0.077021 | 0.077021 | 0.97809 | -0.42116 | 0.97622 | -0.45783 | 21.1597
25 | -0.053849 | -0.013643 | 0.05391 | 0.013682 | 6.0641e-05 | 3.8502e-05 | 0.081615 | 0.081615 | 0.081615 | 0.98242 | -0.33682 | 0.98363 | -0.31341 | 22.4217
26 | 0.0030334 | 0.00075983 | -0.0030334 | -0.00075986 | 3.9376e-08 | -3.7783e-08 | 0.0045944 | 0.0045945 | 0.0045945 | 0.98242 | -0.33682 | 0.9824 | -0.3371 | 1.2622
27 | 0.093271 | 0.023834 | -0.092902 | -0.023599 | 0.00036887 | 0.00023543 | 0.14015 | 0.14015 | 0.14015 | 0.99147 | -0.16161 | 0.98719 | -0.24374 | 38.5015
28 | 0.016261 | 0.0040772 | -0.016256 | -0.004074 | 5.4219e-06 | 3.1794e-06 | 0.024863 | 0.024863 | 0.024863 | 0.97325 | -0.51639 | 0.97289 | -0.52339 | 6.8305
29 | -0.016261 | -0.0040772 | 0.016263 | 0.0040784 | 2.0589e-06 | 1.2073e-06 | 0.024863 | 0.024863 | 0.024863 | 0.97325 | -0.51639 | 0.97338 | -0.51374 | 6.8305
30 | 0.010717 | 0.0026858 | -0.010717 | -0.0026856 | 4.6618e-07 | 2.409e-07 | 0.016392 | 0.016392 | 0.016392 | 0.97289 | -0.52339 | 0.97285 | -0.52431 | 4.5032
31 | 0.068879 | 0.017376 | -0.068811 | -0.017333 | 6.7899e-05 | 4.3248e-05 | 0.10466 | 0.10466 | 0.10466 | 0.97969 | -0.3892 | 0.97863 | -0.40981 | 28.7524
32 | 0.0050463 | 0.0012646 | -0.0050459 | -0.0012646 | 3.9804e-07 | 7.799e-09 | 0.007509 | 0.0075091 | 0.0075091 | 1 | 0 | 0.99991 | -0.0016559 | 2.0629
33 | 0.16823 | 0.043074 | -0.16788 | -0.042849 | 0.00035213 | 0.00022458 | 0.25065 | 0.25065 | 0.25065 | 1 | 0 | 0.99771 | -0.043313 | 34.4304
34 | 0.011283 | 0.002828 | -0.011282 | -0.0028276 | 6.3013e-07 | 3.3286e-07 | 0.017235 | 0.017235 | 0.017235 | 0.97416 | -0.49842 | 0.9741 | -0.49959 | 4.7349
35 | -0.056286 | -0.014277 | 0.056417 | 0.01436 | 0.00013052 | 8.292e-05 | 0.085211 | 0.08521 | 0.085211 | 0.98363 | -0.31341 | 0.98612 | -0.26531 | 23.4095
36 | 0.00041193 | 0.00010286 | -0.00041193 | -0.00010324 | 4.3936e-09 | -3.7833e-07 | 0.0006238 | 0.00062394 | 0.00062394 | 0.9824 | -0.3371 | 0.98239 | -0.33732 | 0.17141
37 | 0.059185 | 0.015093 | -0.059084 | -0.015029 | 0.00010065 | 6.3988e-05 | 0.089234 | 0.089235 | 0.089235 | 0.98795 | -0.23002 | 0.98612 | -0.26531 | 24.515
38 | -0.059185 | -0.015093 | 0.059256 | 0.015138 | 7.1128e-05 | 4.5217e-05 | 0.089234 | 0.089234 | 0.089234 | 0.98795 | -0.23002 | 0.98925 | -0.20516 | 24.515
39 | -0.068726 | -0.017511 | 0.068812 | 0.017566 | 8.607e-05 | 5.4809e-05 | 0.10348 | 0.10348 | 0.10348 | 0.98925 | -0.20516 | 0.9906 | -0.17924 | 28.4283
40 | 0.00036564 | 8.2017e-05 | -0.00036556 | -9.0142e-05 | 7.2209e-08 | -8.1251e-06 | 0.00054769 | 0.00055043 | 0.00055043 | 0.98753 | -0.2392 | 0.98732 | -0.24354 | 0.15122
41 | -0.00036564 | -8.2017e-05 | 0.00036564 | 8.1041e-05 | 8.6233e-09 | -9.7588e-07 | 0.00054769 | 0.00054738 | 0.00054769 | 0.98753 | -0.2392 | 0.98756 | -0.23867 | 0.15046
42 | 0.00036556 | 9.0142e-05 | -0.00036556 | -9.0872e-05 | 6.5266e-09 | -7.3011e-07 | 0.00055043 | 0.00055069 | 0.00055069 | 0.98732 | -0.24354 | 0.9873 | -0.24392 | 0.15129
43 | -0.014016 | -0.0035022 | 0.014023 | 0.0035063 | 7.2404e-06 | 4.0795e-06 | 0.021115 | 0.021115 | 0.021115 | 0.98756 | -0.23867 | 0.98812 | -0.2278 | 5.8009
44 | 0.0046591 | 0.0011674 | -0.0046588 | -0.0011674 | 3.1521e-07 | -3.7635e-09 | 0.0071263 | 0.0071263 | 0.0071263 | 0.97285 | -0.52431 | 0.97277 | -0.52573 | 1.9578
45 | 0.062923 | 0.015857 | -0.062836 | -0.015802 | 8.6522e-05 | 5.5058e-05 | 0.095705 | 0.095705 | 0.095705 | 0.97863 | -0.40981 | 0.97716 | -0.4386 | 26.2927
46 | -0.014023 | -0.0035063 | 0.014027 | 0.0035083 | 3.6236e-06 | 2.0414e-06 | 0.021115 | 0.021115 | 0.021115 | 0.98812 | -0.2278 | 0.98839 | -0.22237 | 5.8009
47 | -0.026842 | -0.0067201 | 0.026856 | 0.0067285 | 1.359e-05 | 8.4133e-06 | 0.040408 | 0.040408 | 0.040408 | 0.98839 | -0.22237 | 0.98894 | -0.21174 | 11.1011
48 | -0.025504 | -0.0063947 | 0.025509 | 0.0063979 | 5.1764e-06 | 3.1997e-06 | 0.038961 | 0.038961 | 0.038961 | 0.9741 | -0.49885 | 0.97432 | -0.49459 | 10.7035
49 | 0.025504 | 0.0063947 | -0.025497 | -0.0063904 | 6.8988e-06 | 4.2644e-06 | 0.038961 | 0.038961 | 0.038961 | 0.9741 | -0.49885 | 0.97381 | -0.50453 | 10.7035
50 | -0.025509 | -0.0063979 | 0.025528 | 0.0064094 | 1.8612e-05 | 1.1504e-05 | 0.038961 | 0.038961 | 0.038961 | 0.97432 | -0.49459 | 0.97509 | -0.4793 | 10.7035
51 | 0.0085665 | 0.0021471 | -0.0085651 | -0.0021465 | 1.3986e-06 | 6.2433e-07 | 0.01309 | 0.01309 | 0.01309 | 0.97381 | -0.50453 | 0.97364 | -0.50796 | 3.5961
52 | 0.00036556 | 9.0872e-05 | -0.00036555 | -9.1615e-05 | 6.6479e-09 | -7.4294e-07 | 0.00055069 | 0.00055095 | 0.00055095 | 0.9873 | -0.24392 | 0.98728 | -0.2443 | 0.15136
53 | -0.040073 | -0.010041 | 0.040102 | 0.010059 | 2.8709e-05 | 1.8103e-05 | 0.060295 | 0.060295 | 0.060295 | 0.98894 | -0.21174 | 0.98971 | -0.19671 | 16.5646
54 | -0.041861 | -0.010503 | 0.041871 | 0.010509 | 9.7714e-06 | 6.174e-06 | 0.063886 | 0.063886 | 0.063886 | 0.97509 | -0.4793 | 0.97534 | -0.4744 | 17.551
55 | 0.0046951 | 0.0011766 | -0.0046948 | -0.0011766 | 3.3692e-07 | -1.3685e-09 | 0.0071755 | 0.0071756 | 0.0071756 | 0.97364 | -0.50796 | 0.97356 | -0.50946 | 1.9713
56 | 0.058356 | 0.014679 | -0.058256 | -0.014616 | 9.9633e-05 | 6.3345e-05 | 0.088883 | 0.088883 | 0.088883 | 0.97716 | -0.4386 | 0.97534 | -0.4744 | 24.4184
57 | 0.0037321 | 0.00093531 | -0.003732 | -0.00093533 | 5.4814e-08 | -2.0903e-08 | 0.005701 | 0.005701 | 0.005701 | 0.9741 | -0.49959 | 0.97408 | -0.4999 | 1.5662
58 | 0.0041895 | 0.0010498 | -0.0041894 | -0.0010498 | 1.2454e-07 | -2.0681e-08 | 0.0064085 | 0.0064086 | 0.0064086 | 0.97277 | -0.52573 | 0.97274 | -0.52635 | 1.7606
59 | 0.16636 | 0.042468 | -0.16628 | -0.042416 | 8.1416e-05 | 5.1923e-05 | 0.24839 | 0.24839 | 0.24839 | 0.99771 | -0.043313 | 0.99718 | -0.053446 | 34.119
60 | 0.16628 | 0.042416 | -0.16607 | -0.042284 | 0.00020815 | 0.00013275 | 0.24839 | 0.24839 | 0.24839 | 0.99718 | -0.053446 | 0.99582 | -0.079402 | 34.119
61 | 0.16467 | 0.041933 | -0.16446 | -0.041797 | 0.00021213 | 0.00013528 | 0.24629 | 0.24629 | 0.24629 | 0.99582 | -0.079402 | 0.99442 | -0.10615 | 33.8317
62 | 0.017073 | 0.0042824 | -0.017063 | -0.0042763 | 1.0389e-05 | 6.1095e-06 | 0.025674 | 0.025674 | 0.025674 | 0.98958 | -0.19937 | 0.98892 | -0.21214 | 7.0533
63 | -0.032797 | -0.0082234 | 0.032831 | 0.0082445 | 3.3654e-05 | 2.1064e-05 | 0.049318 | 0.049318 | 0.049318 | 0.98958 | -0.19937 | 0.99069 | -0.17786 | 13.549
64 | 0.015724 | 0.003941 | -0.015724 | -0.0039407 | 4.7097e-07 | 2.7256e-07 | 0.023644 | 0.023644 | 0.023644 | 0.98958 | -0.19937 | 0.98954 | -0.2 | 6.4957
65 | -0.084096 | -0.021119 | 0.084171 | 0.021167 | 7.5339e-05 | 4.8054e-05 | 0.12633 | 0.12633 | 0.12633 | 0.99069 | -0.17786 | 0.99166 | -0.1591 | 34.7053
66 | 0.051265 | 0.012875 | -0.051219 | -0.012845 | 4.6067e-05 | 2.9216e-05 | 0.077009 | 0.077009 | 0.077009 | 0.99069 | -0.17786 | 0.98971 | -0.19671 | 21.1564
67 | 0.076525 | 0.019528 | -0.076451 | -0.019481 | 7.4367e-05 | 4.7402e-05 | 0.11495 | 0.11495 | 0.11495 | 0.99166 | -0.1591 | 0.9906 | -0.17924 | 31.5806
68 | -0.1607 | -0.040695 | 0.16084 | 0.040787 | 0.00014401 | 9.1827e-05 | 0.24128 | 0.24128 | 0.24128 | 0.99166 | -0.1591 | 0.99263 | -0.14046 | 33.1429
69 | 0.16295 | 0.04142 | -0.16268 | -0.041249 | 0.00026875 | 0.00017137 | 0.24404 | 0.24404 | 0.24404 | 0.99442 | -0.10615 | 0.99263 | -0.14046 | 33.5226
70 | 0.0039221 | 0.00098284 | -0.003922 | -0.00098286 | 6.5947e-08 | -1.8442e-08 | 0.0059996 | 0.0059996 | 0.0059996 | 0.97274 | -0.52635 | 0.97272 | -0.5267 | 1.6482
71 | 0.0028382 | 0.00071122 | -0.0028381 | -0.00071129 | 6.4956e-08 | -7.2496e-08 | 0.0043416 | 0.0043416 | 0.0043416 | 0.97272 | -0.5267 | 0.9727 | -0.52718 | 1.1928

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28836 | 0.073543

## res_load
| p_mw | q_mvar
0 | 0.0071015 | 0.0017798
1 | 0.0062899 | 0.0015764
2 | 0.007368 | 0.0018466
3 | 0.0079577 | 0.0019944
4 | 0.0044801 | 0.0011228
5 | 0.0036087 | 0.00090441
6 | 0.0065195 | 0.001634
7 | 0.0063363 | 0.001588
8 | 0.0055388 | 0.0013882
9 | 0.0052305 | 0.0013109
10 | 0.0027378 | 0.00068616
11 | 0.0050539 | 0.0012666
12 | 0.003044 | 0.0007629
13 | 0.0023768 | 0.00059568
14 | 0.0026215 | 0.000657
15 | 0.0026669 | 0.00066839
16 | 0.00947 | 0.0023734
17 | 0.013651 | 0.0034212
18 | 0.0060576 | 0.0015182
19 | 0.0058884 | 0.0014758
20 | 0.012815 | 0.0032117
21 | 0.016931 | 0.0042433
22 | 0.00036555 | 9.1615e-05
23 | 0.013217 | 0.0033125
24 | 0.016333 | 0.0040935
25 | 0.0038699 | 0.0009699
26 | 0.0044804 | 0.0011229
27 | 0.0075504 | 0.0018923
28 | 0.003732 | 0.00093533
29 | 0.00046927 | 0.00011761
30 | 0.0015199 | 0.00038093
31 | 0.0050459 | 0.0012646
32 | 0.0013999 | 0.00035084
33 | 0.017063 | 0.0042763
34 | 0.015724 | 0.0039407
35 | 0.011117 | 0.0027862
36 | 0.00041193 | 0.00010324
37 | 0.0015041 | 0.00037697
38 | 0.016385 | 0.0041064
39 | 0.0076389 | 0.0019145
40 | 0.0018441 | 0.00046216
41 | 0.00026735 | 6.7005e-05
42 | 0.0010838 | 0.00027164
43 | 0.0028381 | 0.00071129
44 | 0.0046948 | 0.0011766

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1