## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_173-1_1_4_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_173-1_1_4_node_316 | 0.4 | n |  | TRUE
2 | bus_LV_173-1_1_4_node_24 | 0.4 | n |  | TRUE
3 | bus_LV_173-1_1_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_173-1_1_4_node_298 | 0.4 | n |  | TRUE
5 | bus_LV_173-1_1_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_173-1_1_4_node_253 | 0.4 | n |  | TRUE
7 | bus_LV_173-1_1_4_node_256 | 0.4 | n |  | TRUE
8 | bus_LV_173-1_1_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_173-1_1_4_node_247 | 0.4 | n |  | TRUE
10 | bus_LV_173-1_1_4_node_245 | 0.4 | n |  | TRUE
11 | bus_LV_173-1_1_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_173-1_1_4_node_323 | 0.4 | n |  | TRUE
13 | bus_LV_173-1_1_4_node_272 | 0.4 | n |  | TRUE
14 | bus_LV_173-1_1_4_node_269 | 0.4 | n |  | TRUE
15 | bus_LV_173-1_1_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_173-1_1_4_node_234 | 0.4 | n |  | TRUE
17 | bus_LV_173-1_1_4_node_249 | 0.4 | n |  | TRUE
18 | bus_LV_173-1_1_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_173-1_1_4_node_299 | 0.4 | n |  | TRUE
20 | bus_LV_173-1_1_4_node_317 | 0.4 | n |  | TRUE
21 | bus_LV_173-1_1_4_node_232 | 0.4 | n |  | TRUE
22 | bus_LV_173-1_1_4_node_233 | 0.4 | n |  | TRUE
23 | bus_LV_173-1_1_4_node_235 | 0.4 | n |  | TRUE
24 | bus_LV_173-1_1_4_node_236 | 0.4 | n |  | TRUE
25 | bus_LV_173-1_1_4_node_255 | 0.4 | n |  | TRUE
26 | bus_LV_173-1_1_4_node_240 | 0.4 | n |  | TRUE
27 | bus_LV_173-1_1_4_node_237 | 0.4 | n |  | TRUE
28 | bus_LV_173-1_1_4_node_239 | 0.4 | n |  | TRUE
29 | bus_LV_173-1_1_4_node_241 | 0.4 | n |  | TRUE
30 | bus_LV_173-1_1_4_node_242 | 0.4 | n |  | TRUE
31 | bus_LV_173-1_1_4_node_244 | 0.4 | n |  | TRUE
32 | bus_LV_173-1_1_4_node_246 | 0.4 | n |  | TRUE
33 | bus_LV_173-1_1_4_node_248 | 0.4 | n |  | TRUE
34 | bus_LV_173-1_1_4_node_250 | 0.4 | n |  | TRUE
35 | bus_LV_173-1_1_4_node_251 | 0.4 | n |  | TRUE
36 | bus_LV_173-1_1_4_node_252 | 0.4 | n |  | TRUE
37 | bus_LV_173-1_1_4_node_254 | 0.4 | n |  | TRUE
38 | bus_LV_173-1_1_4_node_257 | 0.4 | n |  | TRUE
39 | bus_LV_173-1_1_4_node_258 | 0.4 | n |  | TRUE
40 | bus_LV_173-1_1_4_node_259 | 0.4 | n |  | TRUE
41 | bus_LV_173-1_1_4_node_260 | 0.4 | n |  | TRUE
42 | bus_LV_173-1_1_4_node_261 | 0.4 | n |  | TRUE
43 | bus_LV_173-1_1_4_node_263 | 0.4 | n |  | TRUE
44 | bus_LV_173-1_1_4_node_264 | 0.4 | n |  | TRUE
45 | bus_LV_173-1_1_4_node_315 | 0.4 | n |  | TRUE
46 | bus_LV_173-1_1_4_node_266 | 0.4 | n |  | TRUE
47 | bus_LV_173-1_1_4_node_267 | 0.4 | n |  | TRUE
48 | bus_LV_173-1_1_4_node_268 | 0.4 | n |  | TRUE
49 | bus_LV_173-1_1_4_node_322 | 0.4 | n |  | TRUE
50 | bus_LV_173-1_1_4_node_321 | 0.4 | n |  | TRUE
51 | bus_LV_173-1_1_4_node_270 | 0.4 | n |  | TRUE
52 | bus_LV_173-1_1_4_node_271 | 0.4 | n |  | TRUE
53 | bus_LV_173-1_1_4_node_273 | 0.4 | n |  | TRUE
54 | bus_LV_173-1_1_4_node_274 | 0.4 | n |  | TRUE
55 | bus_LV_173-1_1_4_node_296 | 0.4 | n |  | TRUE
56 | bus_LV_173-1_1_4_node_297 | 0.4 | n |  | TRUE
57 | bus_LV_173-1_1_4_node_300 | 0.4 | n |  | TRUE
58 | bus_LV_173-1_1_4_node_301 | 0.4 | n |  | TRUE
59 | bus_LV_173-1_1_4_node_302 | 0.4 | n |  | TRUE
60 | bus_LV_173-1_1_4_node_303 | 0.4 | n |  | TRUE
61 | bus_LV_173-1_1_4_node_304 | 0.4 | n |  | TRUE
62 | bus_LV_173-1_1_4_node_305 | 0.4 | n |  | TRUE
63 | bus_LV_173-1_1_4_node_310 | 0.4 | n |  | TRUE
64 | bus_LV_173-1_1_4_node_319 | 0.4 | n |  | TRUE
65 | bus_LV_173-1_1_4_node_306 | 0.4 | n |  | TRUE
66 | bus_LV_173-1_1_4_node_307 | 0.4 | n |  | TRUE
67 | bus_LV_173-1_1_4_node_308 | 0.4 | n |  | TRUE
68 | bus_LV_173-1_1_4_node_309 | 0.4 | n |  | TRUE
69 | bus_LV_173-1_1_4_node_311 | 0.4 | n |  | TRUE
70 | bus_LV_173-1_1_4_node_312 | 0.4 | n |  | TRUE
71 | bus_LV_173-1_1_4_node_313 | 0.4 | n |  | TRUE
72 | bus_LV_173-1_1_4_node_314 | 0.4 | n |  | TRUE
73 | bus_LV_173-1_1_4_node_318 | 0.4 | n |  | TRUE
74 | bus_LV_173-1_1_4_node_320 | 0.4 | n |  | TRUE
75 | bus_MV_6_0_node_167 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_173-1_1_4_load_298 | 4 | 0.0011807 | 0.00029591 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_173-1_1_4_load_256 | 7 | 0.00050521 | 0.00012662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_173-1_1_4_load_247 | 9 | 0.00029182 | 7.3137e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_173-1_1_4_load_245 | 10 | 0.0027727 | 0.00069491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_173-1_1_4_load_323 | 12 | 0.00042212 | 0.00010579 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_173-1_1_4_load_272 | 13 | 0.0011872 | 0.00029755 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_173-1_1_4_load_269 | 14 | 0.00058637 | 0.00014696 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_173-1_1_4_load_249 | 17 | 0.0021155 | 0.00053019 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_173-1_1_4_load_299 | 19 | 0.010421 | 0.0026118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_173-1_1_4_load_317 | 20 | 0.0021705 | 0.00054398 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_173-1_1_4_load_232 | 21 | 0.0018384 | 0.00046073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_173-1_1_4_load_235 | 23 | 0.00097586 | 0.00024457 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_173-1_1_4_load_236 | 24 | 0.0015226 | 0.00038159 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_173-1_1_4_load_255 | 25 | 0.0025754 | 0.00064545 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_173-1_1_4_load_237 | 27 | 0.00097026 | 0.00024317 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_173-1_1_4_load_241 | 29 | 0.0010788 | 0.00027036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_173-1_1_4_load_242 | 30 | 0.0010572 | 0.00026496 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_173-1_1_4_load_246 | 32 | 0.0010117 | 0.00025355 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_173-1_1_4_load_248 | 33 | 0.00084622 | 0.00021208 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_173-1_1_4_load_250 | 34 | 0.0024019 | 0.00060197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_173-1_1_4_load_251 | 35 | 0.0010283 | 0.00025773 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_173-1_1_4_load_252 | 36 | 0.0016913 | 0.00042389 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_173-1_1_4_load_254 | 37 | 0.00099788 | 0.00025009 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_173-1_1_4_load_257 | 38 | 0.0065527 | 0.0016423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_173-1_1_4_load_258 | 39 | 0.0012786 | 0.00032044 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_173-1_1_4_load_259 | 40 | 0.00135 | 0.00033834 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_173-1_1_4_load_260 | 41 | 0.0031684 | 0.00079408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_173-1_1_4_load_261 | 42 | 0.0011288 | 0.00028289 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_173-1_1_4_load_264 | 44 | 0.0034107 | 0.0008548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_173-1_1_4_load_266 | 46 | 0.0025841 | 0.00064764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_173-1_1_4_load_267 | 47 | 0.0019973 | 0.00050056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_173-1_1_4_load_322 | 49 | 0.0017743 | 0.00044467 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_173-1_1_4_load_321 | 50 | 0.0027789 | 0.00069645 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_173-1_1_4_load_270 | 51 | 0.00071998 | 0.00018044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_173-1_1_4_load_271 | 52 | 0.00080345 | 0.00020136 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_173-1_1_4_load_273 | 53 | 0.0015035 | 0.00037682 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_173-1_1_4_load_274 | 54 | 0.00026457 | 6.6308e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_173-1_1_4_load_296 | 55 | 0.0010721 | 0.00026869 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_173-1_1_4_load_297 | 56 | 0.00038764 | 9.7152e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_173-1_1_4_load_300 | 57 | 0.0015799 | 0.00039596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_173-1_1_4_load_301 | 58 | 0.0015565 | 0.0003901 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_173-1_1_4_load_305 | 62 | 0.0011712 | 0.00029352 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_173-1_1_4_load_306 | 65 | 0.0026701 | 0.0006692 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_173-1_1_4_load_307 | 66 | 0.00068224 | 0.00017098 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_173-1_1_4_load_309 | 68 | 0.0013393 | 0.00033567 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_173-1_1_4_load_311 | 69 | 0.0027699 | 0.00069419 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_173-1_1_4_load_312 | 70 | 0.0035499 | 0.00088968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_173-1_1_4_load_313 | 71 | 0.0014854 | 0.00037227 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_173-1_1_4_load_314 | 72 | 0.0011685 | 0.00029286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_173-1_1_4_load_318 | 73 | 0.0018533 | 0.00046447 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_173-1_1_4_load_320 | 74 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_173-1_1_4_line_0 |  | 0 | 1 | 0.043475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_173-1_1_4_line_1 |  | 0 | 2 | 0.45555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_173-1_1_4_line_2 |  | 0 | 3 | 0.62265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_173-1_1_4_line_3 |  | 0 | 4 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_173-1_1_4_line_4 |  | 1 | 73 | 0.04231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_173-1_1_4_line_5 |  | 1 | 60 | 0.057267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_173-1_1_4_line_6 |  | 2 | 12 | 0.13069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_173-1_1_4_line_7 |  | 3 | 11 | 0.56834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_173-1_1_4_line_8 |  | 3 | 7 | 0.22438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_173-1_1_4_line_9 |  | 4 | 55 | 0.0031293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_173-1_1_4_line_10 |  | 5 | 6 | 0.14906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_173-1_1_4_line_11 |  | 5 | 7 | 0.045661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_173-1_1_4_line_12 |  | 6 | 35 | 0.0097937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_173-1_1_4_line_13 |  | 8 | 9 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_173-1_1_4_line_14 |  | 8 | 10 | 0.034577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_173-1_1_4_line_15 |  | 9 | 31 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_173-1_1_4_line_16 |  | 10 | 32 | 0.0023155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_173-1_1_4_line_17 |  | 11 | 13 | 0.011312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_173-1_1_4_line_18 |  | 11 | 14 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_173-1_1_4_line_19 |  | 14 | 51 | 0.0090831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_173-1_1_4_line_20 |  | 15 | 16 | 0.051075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_173-1_1_4_line_21 |  | 15 | 17 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_173-1_1_4_line_22 |  | 16 | 21 | 0.024918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_173-1_1_4_line_23 |  | 17 | 33 | 0.025815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_173-1_1_4_line_24 |  | 18 | 19 | 0.076734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_173-1_1_4_line_25 |  | 18 | 20 | 0.13433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_173-1_1_4_line_26 |  | 19 | 56 | 0.057241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_173-1_1_4_line_27 |  | 21 | 22 | 0.025906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_173-1_1_4_line_28 |  | 22 | 23 | 0.012117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_173-1_1_4_line_29 |  | 22 | 24 | 0.0070087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_173-1_1_4_line_30 |  | 23 | 25 | 0.042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_173-1_1_4_line_31 |  | 24 | 26 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_173-1_1_4_line_32 |  | 25 | 37 | 0.0024367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_173-1_1_4_line_33 |  | 26 | 28 | 0.30414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_173-1_1_4_line_34 |  | 27 | 28 | 0.00978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_173-1_1_4_line_35 |  | 28 | 29 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_173-1_1_4_line_36 |  | 28 | 30 | 0.022227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_173-1_1_4_line_37 |  | 29 | 31 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_173-1_1_4_line_38 |  | 34 | 35 | 0.0046712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_173-1_1_4_line_39 |  | 34 | 36 | 0.0042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_173-1_1_4_line_40 |  | 36 | 37 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_173-1_1_4_line_41 |  | 38 | 39 | 0.0021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_173-1_1_4_line_42 |  | 38 | 40 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_173-1_1_4_line_43 |  | 39 | 41 | 0.0055573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_173-1_1_4_line_44 |  | 40 | 42 | 0.019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_173-1_1_4_line_45 |  | 42 | 43 | 0.23247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_173-1_1_4_line_46 |  | 43 | 44 | 0.15979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_173-1_1_4_line_47 |  | 44 | 45 | 0.025483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_173-1_1_4_line_48 |  | 45 | 60 | 0.017147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_173-1_1_4_line_49 |  | 46 | 47 | 0.048427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_173-1_1_4_line_50 |  | 47 | 48 | 0.20967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_173-1_1_4_line_51 |  | 48 | 49 | 0.077097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_173-1_1_4_line_52 |  | 48 | 50 | 0.0060541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_173-1_1_4_line_53 |  | 50 | 61 | 0.088113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_173-1_1_4_line_54 |  | 51 | 52 | 0.0044011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_173-1_1_4_line_55 |  | 52 | 53 | 0.023847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_173-1_1_4_line_56 |  | 53 | 54 | 0.0077701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_173-1_1_4_line_57 |  | 55 | 56 | 0.0070184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_173-1_1_4_line_58 |  | 57 | 58 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_173-1_1_4_line_59 |  | 57 | 59 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_173-1_1_4_line_60 |  | 58 | 60 | 0.010218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_173-1_1_4_line_61 |  | 59 | 61 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_173-1_1_4_line_62 |  | 59 | 62 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_173-1_1_4_line_63 |  | 61 | 63 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_173-1_1_4_line_64 |  | 62 | 64 | 0.03139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_173-1_1_4_line_65 |  | 63 | 70 | 0.0034593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_173-1_1_4_line_66 |  | 63 | 67 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_173-1_1_4_line_67 |  | 64 | 74 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_173-1_1_4_line_68 |  | 65 | 66 | 0.001153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_173-1_1_4_line_69 |  | 65 | 67 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_173-1_1_4_line_70 |  | 66 | 68 | 0.0057637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_173-1_1_4_line_71 |  | 67 | 69 | 0.0017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_173-1_1_4_line_72 |  | 70 | 71 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_173-1_1_4_line_73 |  | 71 | 72 | 0.0023746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_173-1_1_4_trafo_24 | 0.63 MVA 20/0.4 kV | 75 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2704309.6275 | 1244982.1077 | 2704302.1737 | 1244974.4929 | 2704298.8484 | 1244967.618 | 2704296.8236 | 1244958.1305 | 2704296.2497 | 1244942.6416
1 | 2704309.6275 | 1244982.1077 | 2704316.8841 | 1244986.3275 | 2704325.6228 | 1244988.3495 | 2704336.1559 | 1244988.9018 | 2704344.9946 | 1244987.8231 | 2704367.604 | 1244984.1179 | 2704502.7922 | 1244961.4911 | 2704508.6691 | 1244960.3715 | 2704511.4534 | 1244976.9113 | 2704513.5 | 1245020.2926 | 2704515.9046 | 1245032.2221 | 2704521.1834 | 1245045.7257 | 2704521.9629 | 1245051.6664 | 2704519.7318 | 1245057.3315 | 2704515.2325 | 1245061.7668 | 2704483.6496 | 1245074.6428 | 2704379.9286 | 1245108.2545 | 2704376.3256 | 1245110.7263
2 | 2704309.6275 | 1244982.1077 | 2704316.8841 | 1244986.3275 | 2704325.6228 | 1244988.3495 | 2704336.1559 | 1244988.9018 | 2704344.9946 | 1244987.8231 | 2704367.604 | 1244984.1179 | 2704502.7922 | 1244961.4911 | 2704508.6691 | 1244960.3715 | 2704526.492 | 1244957.6834 | 2704542.5453 | 1244957.1992 | 2704554.7086 | 1244959.1707 | 2704564.8105 | 1244964.0303 | 2704571.2432 | 1244969.1033 | 2704578.3136 | 1244977.8681 | 2704582.339 | 1244986.1678 | 2704585.0401 | 1244994.1328 | 2704588.5198 | 1245011.0853 | 2704607.3361 | 1245116.9781 | 2704608.8119 | 1245141.2676 | 2704608.2882 | 1245175.6521 | 2704609.4305 | 1245180.2981 | 2704612.2677 | 1245183.5396 | 2704615.2399 | 1245185.5603 | 2704618.6816 | 1245186.6663 | 2704629.8866 | 1245186.8085 | 2704629.7347 | 1245214.6833 | 2704630.5753 | 1245229.1428 | 2704631.7578 | 1245243.4972 | 2704647.0238 | 1245243.4775 | 2704662.5306 | 1245248.2215 | 2704686.3559 | 1245258.2165
3 | 2704309.6275 | 1244982.1077 | 2704305.7761 | 1244994.3941 | 2704305.4178 | 1244995.5338
4 | 2704296.2497 | 1244942.6416 | 2704296.2565 | 1244940.1064 | 2704296.0661 | 1244929.4502 | 2704295.8314 | 1244909.2858 | 2704295.7282 | 1244900.3355
5 | 2704253.9494 | 1244907.8485 | 2704272.9945 | 1244916.023 | 2704284.4404 | 1244924.8422 | 2704289.6835 | 1244936.9772 | 2704292.8066 | 1244941.1688 | 2704296.2497 | 1244942.6416
6 | 2704376.3256 | 1245110.7263 | 2704371.3814 | 1245109.961 | 2704315.3625 | 1245120.028 | 2704305.4082 | 1245119.2413 | 2704297.3584 | 1245116.2974 | 2704292.1316 | 1245112.269 | 2704280.5421 | 1245097.8873 | 2704275.6996 | 1245094.7775 | 2704265.117 | 1245093.6128 | 2704256.2072 | 1245095.3131
7 | 2704442.186 | 1245676.9865 | 2704458.1781 | 1245648.1343 | 2704466.9101 | 1245621.7562 | 2704481.7243 | 1245577.0041 | 2704493.3876 | 1245521.5325 | 2704503.4793 | 1245455.7696 | 2704521.7629 | 1245352.7329 | 2704527.4741 | 1245341.7026 | 2704540.0592 | 1245334.2741 | 2704588.3434 | 1245325.1847 | 2704602.7214 | 1245318.0882 | 2704614.0787 | 1245295.4596 | 2704628.1911 | 1245260.6033 | 2704633.6923 | 1245256.7751 | 2704631.7578 | 1245243.4972 | 2704647.0238 | 1245243.4775 | 2704662.5306 | 1245248.2215 | 2704686.3559 | 1245258.2165
8 | 2704686.3559 | 1245258.2165 | 2704798.1135 | 1245307.3062 | 2704806.9941 | 1245309.8206 | 2704814.8794 | 1245310.4938 | 2704823.531 | 1245307.5777 | 2704853.8809 | 1245288.7659 | 2704865.4733 | 1245283.2331 | 2704875.6854 | 1245280.1112 | 2704892.4091 | 1245278.4275
9 | 2704304.4792 | 1244998.519 | 2704305.4178 | 1244995.5338
10 | 2704929.5734 | 1245258.4804 | 2704930.9632 | 1245254.2572 | 2704935.677 | 1245197.5849 | 2704937.9034 | 1245187.0827 | 2704943.4758 | 1245178.3966 | 2704952.5635 | 1245170.9293 | 2704963.5757 | 1245166.5985 | 2704983.6743 | 1245164.2634 | 2704997.3059 | 1245164.3714 | 2705006.4677 | 1245165.5234
11 | 2704929.5734 | 1245258.4804 | 2704927.4167 | 1245265.0475 | 2704919.0525 | 1245272.6388 | 2704906.4982 | 1245277.0091 | 2704892.4091 | 1245278.4275
12 | 2705006.4677 | 1245165.5234 | 2705013.9211 | 1245168.402 | 2705015.4037 | 1245169.4292
13 | 2705358.7271 | 1245423.4505 | 2705353.3649 | 1245416.4608 | 2705349.8356 | 1245412.6072
14 | 2705358.7271 | 1245423.4505 | 2705353.5114 | 1245430.3299 | 2705347.1154 | 1245433.4633 | 2705328.4718 | 1245436.044
15 | 2705326.8855 | 1245398.9991 | 2705332.9511 | 1245400.8527 | 2705340.6715 | 1245405.271 | 2705348.0126 | 1245410.6167 | 2705349.8356 | 1245412.6072
16 | 2705328.4718 | 1245436.044 | 2705326.1782 | 1245436.3615
17 | 2704442.186 | 1245676.9865 | 2704451.2646 | 1245683.7342
18 | 2704442.186 | 1245676.9865 | 2704427.022 | 1245669.2141
19 | 2704427.022 | 1245669.2141 | 2704422.2351 | 1245666.7605 | 2704418.8721 | 1245665.2079
20 | 2705084.1243 | 1245269.7028 | 2705056.0329 | 1245312.4056
21 | 2705056.0329 | 1245312.4056 | 2705059.4622 | 1245313.7785 | 2705062.3983 | 1245327.2471
22 | 2705084.1243 | 1245269.7028 | 2705071.4606 | 1245248.2422
23 | 2705077.5238 | 1245340.4081 | 2705068.719 | 1245341.531 | 2705065.1931 | 1245340.0674 | 2705062.3983 | 1245327.2471
24 | 2704194.648 | 1245028.0343 | 2704206.5626 | 1245023.9404 | 2704210.0434 | 1245020.6879 | 2704215.3006 | 1244999.3524 | 2704216.5216 | 1244994.8147 | 2704220.6277 | 1244991.6733 | 2704247.7594 | 1244987.0121
25 | 2704194.648 | 1245028.0343 | 2704188.3252 | 1245031.3148 | 2704181.5916 | 1245040.3369 | 2704176.6337 | 1245045.5095 | 2704170.839 | 1245052.2797 | 2704162.5691 | 1245061.4306 | 2704154.3206 | 1245069.3586 | 2704143.2103 | 1245078.871 | 2704127.5078 | 1245095.9755 | 2704118.0288 | 1245104.6937 | 2704107.2907 | 1245115.8251 | 2704100.0402 | 1245122.5798
26 | 2704299.2576 | 1245003.2087 | 2704299.2576 | 1245003.2087 | 2704289.4777 | 1245003.6593 | 2704274.3283 | 1244994.4413 | 2704270.4328 | 1244989.0464 | 2704260.8109 | 1244986.5309 | 2704252.0411 | 1244986.2765 | 2704247.7594 | 1244987.0121
27 | 2705060.3543 | 1245225.0688 | 2705062.4658 | 1245233.0014 | 2705068.959 | 1245244.0028 | 2705071.4606 | 1245248.2422
28 | 2705060.3543 | 1245225.0688 | 2705050.7925 | 1245223.0424 | 2705048.8481 | 1245221.7352
29 | 2705060.3543 | 1245225.0688 | 2705067.0456 | 1245222.9835
30 | 2705028.4492 | 1245186.2807 | 2705037.1012 | 1245209.2557 | 2705041.5168 | 1245216.8065 | 2705048.8481 | 1245221.7352
31 | 2705087.9488 | 1245214.6828 | 2705081.6139 | 1245216.4942 | 2705072.4068 | 1245221.3127 | 2705067.0456 | 1245222.9835
32 | 2705027.5904 | 1245184.0003 | 2705028.4492 | 1245186.2807
33 | 2705087.9488 | 1245214.6828 | 2705104.4624 | 1245219.746 | 2705119.4014 | 1245225.8155 | 2705133.9026 | 1245232.7001 | 2705157.0289 | 1245244.5749 | 2705226.8553 | 1245283.0434 | 2705236.1321 | 1245289.6243 | 2705245.5702 | 1245301.1675 | 2705266.4853 | 1245339.2242 | 2705274.0448 | 1245349.2996 | 2705279.5972 | 1245354.102 | 2705289.2117 | 1245358.6762 | 2705302.4414 | 1245361.8135 | 2705314.2672 | 1245363.5804 | 2705337.2938 | 1245365.702
34 | 2705337.2938 | 1245365.702 | 2705344.6967 | 1245359.311
35 | 2705337.2938 | 1245365.702 | 2705332.3635 | 1245381.4744
36 | 2705337.2938 | 1245365.702 | 2705357.5483 | 1245368.1748 | 2705359.2392 | 1245368.8532
37 | 2705326.8855 | 1245398.9991 | 2705332.3635 | 1245381.4744
38 | 2705019.2434 | 1245172.0895 | 2705015.4037 | 1245169.4292
39 | 2705019.2434 | 1245172.0895 | 2705020.3118 | 1245172.8298 | 2705022.1256 | 1245175.1095
40 | 2705027.5904 | 1245184.0003 | 2705026.1447 | 1245180.161 | 2705022.1256 | 1245175.1095
41 | 2703879.2848 | 1245181.8533 | 2703877.4849 | 1245182.9709
42 | 2703879.2848 | 1245181.8533 | 2703887.2373 | 1245176.9154 | 2703899.8003 | 1245168.2653
43 | 2703877.4849 | 1245182.9709 | 2703872.7638 | 1245185.9024
44 | 2703915.4315 | 1245156.1544 | 2703903.8369 | 1245165.486 | 2703899.8003 | 1245168.2653
45 | 2704076.6629 | 1244990.8674 | 2704058.9086 | 1245005.6009 | 2704036.4947 | 1245021.4313 | 2704027.7963 | 1245029.5963 | 2704020.8328 | 1245037.5248 | 2703982.8339 | 1245091.3676 | 2703975.8168 | 1245099.3397 | 2703961.582 | 1245113.3679 | 2703925.9766 | 1245147.5709 | 2703916.3853 | 1245155.3868 | 2703915.4315 | 1245156.1544
46 | 2704076.6629 | 1244990.8674 | 2704087.9474 | 1244981.3357 | 2704102.4534 | 1244970.4039 | 2704156.375 | 1244940.8272 | 2704176.3897 | 1244933.395 | 2704194.3727 | 1244930.6197 | 2704219.8836 | 1244926.6902
47 | 2704245.0089 | 1244922.4473 | 2704230.3992 | 1244925.0704 | 2704219.8836 | 1244926.6902
48 | 2704245.0089 | 1244922.4473 | 2704248.6545 | 1244917.5631 | 2704253.9494 | 1244907.8485
49 | 2703945.7625 | 1244831.062 | 2703952.0747 | 1244828.0776 | 2703965.6258 | 1244821.61 | 2703987.0239 | 1244806.0973
50 | 2704180.2624 | 1244823.5546 | 2704171.3408 | 1244813.4233 | 2704165.591 | 1244806.4502 | 2704159.7503 | 1244801.6328 | 2704151.5519 | 1244797.2298 | 2704130.6023 | 1244790.3122 | 2704112.0815 | 1244787.1069 | 2704105.2976 | 1244786.0759 | 2704079.1814 | 1244785.0057 | 2704031.0331 | 1244788.3083 | 2704017.7344 | 1244790.7214 | 2703997.54 | 1244798.4735 | 2703987.0239 | 1244806.0973
51 | 2704180.2624 | 1244823.5546 | 2704176.4071 | 1244824.0317 | 2704164.6526 | 1244819.8554 | 2704157.7976 | 1244820.2909 | 2704104.974 | 1244830.8536
52 | 2704180.2624 | 1244823.5546 | 2704184.2465 | 1244828.113
53 | 2704253.89 | 1244873.843 | 2704237.2177 | 1244872.9827 | 2704229.2784 | 1244871.4754 | 2704222.007 | 1244868.512 | 2704215.5502 | 1244863.9283 | 2704184.2465 | 1244828.113
54 | 2704418.8721 | 1245665.2079 | 2704414.8763 | 1245663.3631
55 | 2704414.8763 | 1245663.3631 | 2704393.2257 | 1245653.3672
56 | 2704386.1711 | 1245650.1102 | 2704393.2257 | 1245653.3672
57 | 2704304.4792 | 1244998.519 | 2704304.4792 | 1244998.519 | 2704299.2576 | 1245003.2087
58 | 2704263.1238 | 1244884.1695 | 2704259.2388 | 1244894.5866 | 2704257.7349 | 1244898.3572
59 | 2704264.6669 | 1244872.5759 | 2704264.323 | 1244880.9542 | 2704263.1238 | 1244884.1695
60 | 2704253.9494 | 1244907.8485 | 2704257.7349 | 1244898.3572
61 | 2704253.89 | 1244873.843 | 2704264.6669 | 1244872.5759
62 | 2704264.6669 | 1244872.5759 | 2704268.4562 | 1244868.973 | 2704272.8412 | 1244863.3898
63 | 2704237.3034 | 1244846.1854 | 2704250.0887 | 1244858.7866 | 2704253.89 | 1244873.843
64 | 2704295.0654 | 1244842.8535 | 2704287.0721 | 1244845.2705 | 2704272.8412 | 1244863.3898
65 | 2704237.3034 | 1244846.1854 | 2704234.0737 | 1244844.9463
66 | 2704237.3034 | 1244846.1854 | 2704237.2698 | 1244840.7917 | 2704244.3779 | 1244833.6999
67 | 2704295.0654 | 1244842.8535 | 2704294.9738 | 1244836.0355 | 2704294.8968 | 1244830.048
68 | 2704234.9659 | 1244823.2366 | 2704234.3947 | 1244822.2349
69 | 2704244.3779 | 1244833.6999 | 2704234.9856 | 1244823.2712 | 2704234.9659 | 1244823.2366
70 | 2704234.3947 | 1244822.2349 | 2704231.5397 | 1244817.2281
71 | 2704244.3779 | 1244833.6999 | 2704245.7254 | 1244832.581
72 | 2704234.0737 | 1244844.9463 | 2704225.5173 | 1244841.6637 | 2704220.5882 | 1244833.6375
73 | 2704219.3455 | 1244831.614 | 2704220.5882 | 1244833.6375

## bus_geodata
| x | y | coords
0 | 2704309.6275 | 1244982.1077
1 | 2704296.2497 | 1244942.6416
2 | 2704376.3256 | 1245110.7263
3 | 2704686.3559 | 1245258.2165
4 | 2704305.4178 | 1244995.5338
5 | 2704929.5734 | 1245258.4804
6 | 2705006.4677 | 1245165.5234
7 | 2704892.4091 | 1245278.4275
8 | 2705358.7271 | 1245423.4505
9 | 2705349.8356 | 1245412.6072
10 | 2705328.4718 | 1245436.044
11 | 2704442.186 | 1245676.9865
12 | 2704256.2072 | 1245095.3131
13 | 2704451.2646 | 1245683.7342
14 | 2704427.022 | 1245669.2141
15 | 2705056.0329 | 1245312.4056
16 | 2705084.1243 | 1245269.7028
17 | 2705062.3983 | 1245327.2471
18 | 2704194.648 | 1245028.0343
19 | 2704247.7594 | 1244987.0121
20 | 2704100.0402 | 1245122.5798
21 | 2705071.4606 | 1245248.2422
22 | 2705060.3543 | 1245225.0688
23 | 2705048.8481 | 1245221.7352
24 | 2705067.0456 | 1245222.9835
25 | 2705028.4492 | 1245186.2807
26 | 2705087.9488 | 1245214.6828
27 | 2705344.6967 | 1245359.311
28 | 2705337.2938 | 1245365.702
29 | 2705332.3635 | 1245381.4744
30 | 2705359.2392 | 1245368.8532
31 | 2705326.8855 | 1245398.9991
32 | 2705326.1782 | 1245436.3615
33 | 2705077.5238 | 1245340.4081
34 | 2705019.2434 | 1245172.0895
35 | 2705015.4037 | 1245169.4292
36 | 2705022.1256 | 1245175.1095
37 | 2705027.5904 | 1245184.0003
38 | 2703879.2848 | 1245181.8533
39 | 2703877.4849 | 1245182.9709
40 | 2703899.8003 | 1245168.2653
41 | 2703872.7638 | 1245185.9024
42 | 2703915.4315 | 1245156.1544
43 | 2704076.6629 | 1244990.8674
44 | 2704219.8836 | 1244926.6902
45 | 2704245.0089 | 1244922.4473
46 | 2703945.7625 | 1244831.062
47 | 2703987.0239 | 1244806.0973
48 | 2704180.2624 | 1244823.5546
49 | 2704104.9741 | 1244830.8536
50 | 2704184.2465 | 1244828.113
51 | 2704418.8721 | 1245665.2079
52 | 2704414.8763 | 1245663.3631
53 | 2704393.2257 | 1245653.3672
54 | 2704386.1711 | 1245650.1102
55 | 2704304.4792 | 1244998.519
56 | 2704299.2575 | 1245003.2087
57 | 2704263.1238 | 1244884.1695
58 | 2704257.7349 | 1244898.3572
59 | 2704264.6669 | 1244872.5759
60 | 2704253.9494 | 1244907.8485
61 | 2704253.89 | 1244873.843
62 | 2704272.8412 | 1244863.3898
63 | 2704237.3034 | 1244846.1854
64 | 2704295.0654 | 1244842.8535
65 | 2704234.9659 | 1244823.2366
66 | 2704234.3947 | 1244822.2349
67 | 2704244.3779 | 1244833.6999
68 | 2704231.5397 | 1244817.2281
69 | 2704245.7254 | 1244832.581
70 | 2704234.0737 | 1244844.9463
71 | 2704220.5882 | 1244833.6375
72 | 2704219.3455 | 1244831.614
73 | 2704295.7282 | 1244900.3355
74 | 2704294.8968 | 1244830.048
75 | 2704256.2072 | 1245095.3131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98721 | -0.24418 | 0 | 0
1 | 0.98532 | -0.28075 | 0 | 0
2 | 1 | 0 | -0.094708 | -0.023918
3 | 0.98166 | -0.35184 | 0 | 0
4 | 0.98701 | -0.24802 | 0.0011807 | 0.00029591
5 | 0.97819 | -0.41937 | 0 | 0
6 | 0.97498 | -0.48257 | 0 | 0
7 | 0.97918 | -0.40009 | 0.00050521 | 0.00012662
8 | 0.9711 | -0.55907 | 0 | 0
9 | 0.97115 | -0.55809 | 0.00029182 | 7.3137e-05
10 | 0.97098 | -0.56149 | 0.0027727 | 0.00069491
11 | 0.97899 | -0.40417 | 0 | 0
12 | 0.99995 | -0.00096656 | 0.00042212 | 0.00010579
13 | 0.97898 | -0.40441 | 0.0011872 | 0.00029755
14 | 0.97893 | -0.40537 | 0.00058637 | 0.00014696
15 | 0.97333 | -0.5151 | 0 | 0
16 | 0.97347 | -0.51231 | 0 | 0
17 | 0.97328 | -0.51605 | 0.0021155 | 0.00053019
18 | 0.98607 | -0.26635 | 0 | 0
19 | 0.98623 | -0.26335 | 0.010421 | 0.0026118
20 | 0.98581 | -0.27158 | 0.0021705 | 0.00054398
21 | 0.97354 | -0.51095 | 0.0018384 | 0.00046073
22 | 0.97365 | -0.50867 | 0 | 0
23 | 0.97381 | -0.50565 | 0.00097586 | 0.00024457
24 | 0.9736 | -0.50979 | 0.0015226 | 0.00038159
25 | 0.97437 | -0.49443 | 0.0025754 | 0.00064545
26 | 0.97344 | -0.51278 | 0 | 0
27 | 0.9714 | -0.55327 | 0.00097026 | 0.00024317
28 | 0.97141 | -0.5531 | 0 | 0
29 | 0.97133 | -0.55467 | 0.0010788 | 0.00027036
30 | 0.97138 | -0.55353 | 0.0010572 | 0.00026496
31 | 0.97126 | -0.55606 | 0 | 0
32 | 0.97098 | -0.56154 | 0.0010117 | 0.00025355
33 | 0.97326 | -0.51645 | 0.00084622 | 0.00021208
34 | 0.97467 | -0.48864 | 0.0024019 | 0.00060197
35 | 0.97476 | -0.48674 | 0.0010283 | 0.00025773
36 | 0.97459 | -0.49016 | 0.0016913 | 0.00042389
37 | 0.97441 | -0.49367 | 0.00099788 | 0.00025009
38 | 0.97688 | -0.44567 | 0.0065527 | 0.0016423
39 | 0.97687 | -0.44585 | 0.0012786 | 0.00032044
40 | 0.97713 | -0.44073 | 0.00135 | 0.00033834
41 | 0.97686 | -0.44617 | 0.0031684 | 0.00079408
42 | 0.97736 | -0.43627 | 0.0011288 | 0.00028289
43 | 0.98027 | -0.37925 | 0 | 0
44 | 0.98227 | -0.34023 | 0.0034107 | 0.0008548
45 | 0.98267 | -0.33245 | 0 | 0
46 | 0.98001 | -0.38451 | 0.0025841 | 0.00064764
47 | 0.98013 | -0.38223 | 0.0019973 | 0.00050056
48 | 0.98102 | -0.3648 | 0 | 0
49 | 0.98089 | -0.36728 | 0.0017743 | 0.00044467
50 | 0.98105 | -0.3641 | 0.0027789 | 0.00069645
51 | 0.9789 | -0.40591 | 0.00071998 | 0.00018044
52 | 0.97889 | -0.40612 | 0.00080345 | 0.00020136
53 | 0.97885 | -0.40689 | 0.0015035 | 0.00037682
54 | 0.97885 | -0.40692 | 0.00026457 | 6.6308e-05
55 | 0.98697 | -0.24881 | 0.0010721 | 0.00026869
56 | 0.98689 | -0.25044 | 0.00038764 | 9.7152e-05
57 | 0.9823 | -0.33971 | 0.0015799 | 0.00039596
58 | 0.98267 | -0.33241 | 0.0015565 | 0.0003901
59 | 0.98202 | -0.34506 | 0 | 0
60 | 0.98294 | -0.32722 | 0 | 0
61 | 0.9818 | -0.34952 | 0 | 0
62 | 0.982 | -0.34555 | 0.0011712 | 0.00029352
63 | 0.98137 | -0.35779 | 0 | 0
64 | 0.98197 | -0.34615 | 0 | 0
65 | 0.98121 | -0.36107 | 0.0026701 | 0.0006692
66 | 0.9812 | -0.36111 | 0.00068224 | 0.00017098
67 | 0.98127 | -0.35987 | 0 | 0
68 | 0.9812 | -0.36125 | 0.0013393 | 0.00033567
69 | 0.98126 | -0.35996 | 0.0027699 | 0.00069419
70 | 0.98135 | -0.35818 | 0.0035499 | 0.00088968
71 | 0.98131 | -0.35907 | 0.0014854 | 0.00037227
72 | 0.98131 | -0.35912 | 0.0011685 | 0.00029286
73 | 0.98525 | -0.28216 | 0.0018533 | 0.00046447
74 | 0.98196 | -0.3464 | 0.0010536 | 0.00026406
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.04721 | 0.011935 | -0.047127 | -0.011883 | 8.2638e-05 | 5.2333e-05 | 0.071196 | 0.071196 | 0.071196 | 0.98721 | -0.24418 | 0.98532 | -0.28075 | 19.5593
1 | -0.09155 | -0.023137 | 0.092636 | 0.023814 | 0.0010854 | 0.00067693 | 0.13806 | 0.13806 | 0.13806 | 0.98721 | -0.24418 | 1 | 0 | 12.643
2 | 0.029096 | 0.0073793 | -0.028946 | -0.0073071 | 0.00014994 | 7.221e-05 | 0.043887 | 0.043895 | 0.043895 | 0.98721 | -0.24418 | 0.98166 | -0.35184 | 4.0197
3 | 0.015245 | 0.0038221 | -0.015242 | -0.0038205 | 2.7863e-06 | 1.6034e-06 | 0.02298 | 0.02298 | 0.02298 | 0.98721 | -0.24418 | 0.98701 | -0.24802 | 6.3131
4 | 0.0018534 | 0.00046402 | -0.0018533 | -0.00046447 | 1.2429e-07 | -4.5931e-07 | 0.0027988 | 0.002799 | 0.002799 | 0.98532 | -0.28075 | 0.98525 | -0.28216 | 0.76895
5 | 0.045274 | 0.011419 | -0.045173 | -0.011355 | 0.00010046 | 6.357e-05 | 0.068397 | 0.068397 | 0.068397 | 0.98532 | -0.28075 | 0.98294 | -0.32722 | 18.7905
6 | 0.00042214 | 0.00010409 | -0.00042212 | -0.00010579 | 1.9319e-08 | -1.7021e-06 | 0.00062755 | 0.00062815 | 0.00062815 | 1 | 0 | 0.99995 | -0.00096656 | 0.17257
7 | 0.0050782 | 0.0012697 | -0.0050656 | -0.0012688 | 1.2629e-05 | 9.1704e-07 | 0.0076966 | 0.0076991 | 0.0076991 | 0.98166 | -0.35184 | 0.97899 | -0.40417 | 2.1151
8 | 0.023867 | 0.0060374 | -0.023812 | -0.0060078 | 5.513e-05 | 2.9624e-05 | 0.036199 | 0.036201 | 0.036201 | 0.98166 | -0.35184 | 0.97918 | -0.40009 | 4.9726
9 | 0.014062 | 0.0035246 | -0.014061 | -0.0035243 | 5.2739e-07 | 2.9754e-07 | 0.0212 | 0.0212 | 0.0212 | 0.98701 | -0.24802 | 0.98697 | -0.24881 | 5.8241
10 | 0.023286 | 0.005868 | -0.023215 | -0.005825 | 7.0184e-05 | 4.3052e-05 | 0.035433 | 0.035434 | 0.035434 | 0.97819 | -0.41937 | 0.97498 | -0.48257 | 9.7346
11 | -0.023286 | -0.005868 | 0.023307 | 0.0058812 | 2.1498e-05 | 1.3185e-05 | 0.035433 | 0.035433 | 0.035433 | 0.97819 | -0.41937 | 0.97918 | -0.40009 | 9.7344
12 | 0.023215 | 0.005825 | -0.023211 | -0.0058221 | 4.6112e-06 | 2.8291e-06 | 0.035434 | 0.035434 | 0.035434 | 0.97498 | -0.48257 | 0.97476 | -0.48674 | 9.7346
13 | -0.0037848 | -0.00094828 | 0.003785 | 0.00094822 | 1.7701e-07 | -6.0365e-08 | 0.0057993 | 0.0057993 | 0.0057993 | 0.9711 | -0.55907 | 0.97115 | -0.55809 | 1.5932
14 | 0.0037848 | 0.00094828 | -0.0037844 | -0.00094843 | 4.361e-07 | -1.4863e-07 | 0.0057993 | 0.0057995 | 0.0057995 | 0.9711 | -0.55907 | 0.97098 | -0.56149 | 1.5933
15 | -0.0040768 | -0.0010214 | 0.0040772 | 0.0010213 | 3.9531e-07 | -8.1339e-08 | 0.0062464 | 0.0062463 | 0.0062464 | 0.97115 | -0.55809 | 0.97126 | -0.55606 | 1.716
16 | 0.0010117 | 0.00025352 | -0.0010117 | -0.00025355 | 2.0871e-09 | -2.7304e-08 | 0.0015504 | 0.0015504 | 0.0015504 | 0.97098 | -0.56149 | 0.97098 | -0.56154 | 0.42593
17 | 0.0011873 | 0.00029742 | -0.0011872 | -0.00029755 | 1.3813e-08 | -1.3339e-07 | 0.0018045 | 0.0018046 | 0.0018046 | 0.97899 | -0.40417 | 0.97898 | -0.40441 | 0.49576
18 | 0.0038783 | 0.00097137 | -0.0038781 | -0.00097144 | 2.2203e-07 | -7.2144e-08 | 0.0058946 | 0.0058947 | 0.0058947 | 0.97899 | -0.40417 | 0.97893 | -0.40537 | 1.6194
19 | 0.0032917 | 0.00082448 | -0.0032916 | -0.00082454 | 8.527e-08 | -5.962e-08 | 0.0050034 | 0.0050034 | 0.0050034 | 0.97893 | -0.40537 | 0.9789 | -0.40591 | 1.3746
20 | -0.0029618 | -0.00074183 | 0.0029622 | 0.00074144 | 3.9265e-07 | -3.836e-07 | 0.0045279 | 0.0045276 | 0.0045279 | 0.97333 | -0.5151 | 0.97347 | -0.51231 | 1.2439
21 | 0.0029618 | 0.00074183 | -0.0029617 | -0.00074196 | 1.3438e-07 | -1.3123e-07 | 0.0045279 | 0.0045279 | 0.0045279 | 0.97333 | -0.5151 | 0.97328 | -0.51605 | 1.2439
22 | -0.0029622 | -0.00074144 | 0.0029624 | 0.00074126 | 1.9155e-07 | -1.8722e-07 | 0.0045276 | 0.0045275 | 0.0045276 | 0.97347 | -0.51231 | 0.97354 | -0.51095 | 1.2439
23 | 0.00084623 | 0.00021177 | -0.00084622 | -0.00021208 | 1.6203e-08 | -3.1044e-07 | 0.0012937 | 0.0012938 | 0.0012938 | 0.97328 | -0.51605 | 0.97326 | -0.51645 | 0.35543
24 | -0.0021711 | -0.00054262 | 0.0021714 | 0.00054183 | 3.0872e-07 | -7.8142e-07 | 0.0032757 | 0.0032753 | 0.0032757 | 0.98607 | -0.26635 | 0.98623 | -0.26335 | 0.89991
25 | 0.0021711 | 0.00054262 | -0.0021705 | -0.00054398 | 5.4062e-07 | -1.3671e-06 | 0.0032757 | 0.0032763 | 0.0032763 | 0.98607 | -0.26635 | 0.98581 | -0.27158 | 0.90007
26 | -0.012593 | -0.0031537 | 0.012601 | 0.0031579 | 7.7482e-06 | 4.2279e-06 | 0.018999 | 0.018999 | 0.018999 | 0.98623 | -0.26335 | 0.98689 | -0.25044 | 5.2195
27 | -0.0048008 | -0.001202 | 0.0048013 | 0.001202 | 5.23e-07 | 1.2567e-08 | 0.0073374 | 0.0073373 | 0.0073374 | 0.97354 | -0.51095 | 0.97365 | -0.50867 | 2.0158
28 | -0.013523 | -0.0033886 | 0.013525 | 0.0033897 | 1.9409e-06 | 1.0914e-06 | 0.020667 | 0.020667 | 0.020667 | 0.97365 | -0.50867 | 0.97381 | -0.50565 | 5.6778
29 | 0.008722 | 0.0021866 | -0.0087215 | -0.0021864 | 4.6701e-07 | 2.1172e-07 | 0.01333 | 0.01333 | 0.01333 | 0.97365 | -0.50867 | 0.9736 | -0.50979 | 3.6621
30 | -0.014501 | -0.0036343 | 0.014509 | 0.0036387 | 7.7572e-06 | 4.4401e-06 | 0.022158 | 0.022158 | 0.022158 | 0.97381 | -0.50565 | 0.97437 | -0.49443 | 6.0874
31 | 0.007199 | 0.0018048 | -0.0071979 | -0.0018044 | 1.0258e-06 | 3.7559e-07 | 0.011003 | 0.011003 | 0.011003 | 0.9736 | -0.50979 | 0.97344 | -0.51278 | 3.0228
32 | -0.017084 | -0.0042842 | 0.017085 | 0.0042845 | 6.2204e-07 | 3.6775e-07 | 0.026091 | 0.026091 | 0.026091 | 0.97437 | -0.49443 | 0.97441 | -0.49367 | 7.1679
33 | 0.0071979 | 0.0018044 | -0.0071841 | -0.0017994 | 1.381e-05 | 5.0651e-06 | 0.011003 | 0.011004 | 0.011004 | 0.97344 | -0.51278 | 0.97141 | -0.5531 | 3.0232
34 | -0.00097026 | -0.00024317 | 0.00097027 | 0.00024305 | 8.1013e-09 | -1.1589e-07 | 0.0014863 | 0.0014862 | 0.0014863 | 0.9714 | -0.55327 | 0.97141 | -0.5531 | 0.40832
35 | 0.0051566 | 0.0012916 | -0.0051562 | -0.0012916 | 3.8663e-07 | 4.2882e-08 | 0.0078987 | 0.0078988 | 0.0078988 | 0.97141 | -0.5531 | 0.97133 | -0.55467 | 2.17
36 | 0.0010572 | 0.0002647 | -0.0010572 | -0.00026496 | 2.186e-08 | -2.6117e-07 | 0.0016194 | 0.0016195 | 0.0016195 | 0.97141 | -0.5531 | 0.97138 | -0.55353 | 0.44492
37 | 0.0040775 | 0.0010212 | -0.0040772 | -0.0010213 | 2.6864e-07 | -5.5322e-08 | 0.0062462 | 0.0062463 | 0.0062463 | 0.97133 | -0.55467 | 0.97126 | -0.55606 | 1.716
38 | -0.02218 | -0.0055632 | 0.022182 | 0.0055644 | 2.0088e-06 | 1.2274e-06 | 0.033864 | 0.033864 | 0.033864 | 0.97467 | -0.48864 | 0.97476 | -0.48674 | 9.3033
39 | 0.019779 | 0.0049612 | -0.019777 | -0.0049603 | 1.4407e-06 | 8.6952e-07 | 0.030197 | 0.030197 | 0.030197 | 0.97467 | -0.48864 | 0.97459 | -0.49016 | 8.2959
40 | 0.018086 | 0.0045364 | -0.018083 | -0.0045346 | 3.0192e-06 | 1.8007e-06 | 0.027615 | 0.027615 | 0.027615 | 0.97459 | -0.49016 | 0.97441 | -0.49367 | 7.5865
41 | 0.0044471 | 0.0011145 | -0.004447 | -0.0011145 | 3.6455e-08 | -3.1931e-09 | 0.0067739 | 0.0067739 | 0.0067739 | 0.97688 | -0.44567 | 0.97687 | -0.44585 | 1.861
42 | -0.011 | -0.0027567 | 0.011002 | 0.0027581 | 2.5912e-06 | 1.3501e-06 | 0.016755 | 0.016755 | 0.016755 | 0.97688 | -0.44567 | 0.97713 | -0.44073 | 4.6031
43 | 0.0031685 | 0.00079404 | -0.0031684 | -0.00079408 | 4.8543e-08 | -3.8506e-08 | 0.0048263 | 0.0048264 | 0.0048264 | 0.97687 | -0.44585 | 0.97686 | -0.44617 | 1.3259
44 | -0.012352 | -0.0030964 | 0.012355 | 0.0030979 | 2.6252e-06 | 1.4323e-06 | 0.018811 | 0.018811 | 0.018811 | 0.97713 | -0.44073 | 0.97736 | -0.43627 | 5.1678
45 | -0.013484 | -0.0033808 | 0.01352 | 0.0034013 | 3.6739e-05 | 2.0591e-05 | 0.020529 | 0.020528 | 0.020529 | 0.97736 | -0.43627 | 0.98027 | -0.37925 | 5.6399
46 | -0.01352 | -0.0034013 | 0.013546 | 0.0034155 | 2.5251e-05 | 1.4142e-05 | 0.020528 | 0.020527 | 0.020528 | 0.98027 | -0.37925 | 0.98227 | -0.34023 | 5.6396
47 | -0.016956 | -0.0042703 | 0.016963 | 0.004274 | 6.3089e-06 | 3.715e-06 | 0.025694 | 0.025694 | 0.025694 | 0.98227 | -0.34023 | 0.98267 | -0.33245 | 7.0589
48 | -0.016963 | -0.004274 | 0.016967 | 0.0042765 | 4.2451e-06 | 2.4996e-06 | 0.025694 | 0.025694 | 0.025694 | 0.98267 | -0.33245 | 0.98294 | -0.32722 | 7.0588
49 | -0.0025841 | -0.00064764 | 0.0025844 | 0.00064721 | 2.7956e-07 | -4.3134e-07 | 0.0039236 | 0.0039234 | 0.0039236 | 0.98001 | -0.38451 | 0.98013 | -0.38223 | 1.0779
50 | -0.0045817 | -0.0011478 | 0.0045855 | 0.0011476 | 3.8035e-06 | -2.1065e-07 | 0.0069556 | 0.0069547 | 0.0069556 | 0.98013 | -0.38223 | 0.98102 | -0.3648 | 1.9109
51 | 0.0017745 | 0.00044383 | -0.0017743 | -0.00044467 | 2.0942e-07 | -8.3927e-07 | 0.0026912 | 0.0026916 | 0.0026916 | 0.98102 | -0.3648 | 0.98089 | -0.36728 | 0.73944
52 | -0.0063599 | -0.0015914 | 0.0063601 | 0.0015915 | 2.1123e-07 | 5.8749e-08 | 0.0096459 | 0.0096459 | 0.0096459 | 0.98102 | -0.3648 | 0.98105 | -0.3641 | 2.65
53 | -0.009139 | -0.0022879 | 0.0091454 | 0.0022909 | 6.348e-06 | 2.9493e-06 | 0.013861 | 0.01386 | 0.013861 | 0.98105 | -0.3641 | 0.9818 | -0.34952 | 3.8079
54 | 0.0025716 | 0.0006441 | -0.0025716 | -0.00064414 | 2.5219e-08 | -3.9189e-08 | 0.003909 | 0.003909 | 0.003909 | 0.9789 | -0.40591 | 0.97889 | -0.40612 | 1.0739
55 | 0.0017682 | 0.00044277 | -0.0017681 | -0.00044303 | 6.4599e-08 | -2.5843e-07 | 0.0026877 | 0.0026878 | 0.0026878 | 0.97889 | -0.40612 | 0.97885 | -0.40689 | 0.7384
56 | 0.00026457 | 6.621e-05 | -0.00026457 | -6.6308e-05 | 4.7129e-10 | -9.7371e-08 | 0.00040216 | 0.00040219 | 0.00040219 | 0.97885 | -0.40689 | 0.97885 | -0.40692 | 0.11049
57 | 0.012989 | 0.0032556 | -0.012988 | -0.0032551 | 1.0094e-06 | 5.563e-07 | 0.019583 | 0.019583 | 0.019583 | 0.98697 | -0.24881 | 0.98689 | -0.25044 | 5.38
58 | -0.026633 | -0.0066785 | 0.026643 | 0.0066843 | 9.2648e-06 | 5.7373e-06 | 0.040346 | 0.040346 | 0.040346 | 0.9823 | -0.33971 | 0.98267 | -0.33241 | 11.0842
59 | 0.025053 | 0.0062826 | -0.025047 | -0.0062787 | 6.3832e-06 | 3.9357e-06 | 0.037953 | 0.037953 | 0.037953 | 0.9823 | -0.33971 | 0.98202 | -0.34506 | 10.4267
60 | -0.028199 | -0.0070744 | 0.028206 | 0.0070787 | 6.9877e-06 | 4.3427e-06 | 0.042703 | 0.042703 | 0.042703 | 0.98267 | -0.33241 | 0.98294 | -0.32722 | 11.7317
61 | 0.022822 | 0.0057217 | -0.022817 | -0.0057188 | 4.8525e-06 | 2.9687e-06 | 0.034582 | 0.034582 | 0.034582 | 0.98202 | -0.34506 | 0.9818 | -0.34952 | 9.5006
62 | 0.0022249 | 0.00055693 | -0.0022248 | -0.00055705 | 5.2536e-08 | -1.2235e-07 | 0.003371 | 0.0033711 | 0.0033711 | 0.98202 | -0.34506 | 0.982 | -0.34555 | 0.92612
63 | 0.013672 | 0.0034279 | -0.013667 | -0.0034249 | 5.3866e-06 | 3.0246e-06 | 0.020722 | 0.020722 | 0.020722 | 0.9818 | -0.34952 | 0.98137 | -0.35779 | 5.6929
64 | 0.0010537 | 0.00026353 | -0.0010536 | -0.00026391 | 3.0002e-08 | -3.7791e-07 | 0.0015964 | 0.0015965 | 0.0015965 | 0.982 | -0.34555 | 0.98197 | -0.34615 | 0.43861
65 | 0.006204 | 0.0015547 | -0.0062039 | -0.0015546 | 1.1479e-07 | 2.9757e-08 | 0.0094068 | 0.0094068 | 0.0094068 | 0.98137 | -0.35779 | 0.98135 | -0.35818 | 2.5843
66 | 0.0074626 | 0.0018702 | -0.0074619 | -0.0018699 | 7.4041e-07 | 2.7904e-07 | 0.011315 | 0.011315 | 0.011315 | 0.98137 | -0.35779 | 0.98127 | -0.35987 | 3.1086
67 | 0.0010536 | 0.00026391 | -0.0010536 | -0.00026406 | 1.2242e-08 | -1.5417e-07 | 0.0015965 | 0.0015966 | 0.0015966 | 0.98197 | -0.34615 | 0.98196 | -0.3464 | 0.43863
68 | 0.0020216 | 0.00050658 | -0.0020216 | -0.00050659 | 4.0641e-09 | -1.1963e-08 | 0.0030658 | 0.0030658 | 0.0030658 | 0.98121 | -0.36107 | 0.9812 | -0.36111 | 0.84224
69 | -0.0046917 | -0.0011758 | 0.004692 | 0.0011758 | 2.6719e-07 | -6.7829e-09 | 0.0071151 | 0.007115 | 0.0071151 | 0.98121 | -0.36107 | 0.98127 | -0.35987 | 1.9547
70 | 0.0013394 | 0.0003356 | -0.0013393 | -0.00033567 | 8.9169e-09 | -6.7092e-08 | 0.0020311 | 0.0020312 | 0.0020312 | 0.9812 | -0.36111 | 0.9812 | -0.36125 | 0.55801
71 | 0.0027699 | 0.00069418 | -0.0027699 | -0.00069419 | 1.1588e-08 | -1.4709e-08 | 0.0042003 | 0.0042003 | 0.0042003 | 0.98127 | -0.35987 | 0.98126 | -0.35996 | 1.1539
72 | 0.002654 | 0.00066494 | -0.0026539 | -0.0006651 | 1.1285e-07 | -1.6256e-07 | 0.0040242 | 0.0040243 | 0.0040243 | 0.98135 | -0.35818 | 0.98131 | -0.35907 | 1.1056
73 | 0.0011685 | 0.00029283 | -0.0011685 | -0.00029286 | 2.7957e-09 | -2.821e-08 | 0.0017719 | 0.0017719 | 0.0017719 | 0.98131 | -0.35907 | 0.98131 | -0.35912 | 0.48678

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.094708 | 0.023918

## res_load
| p_mw | q_mvar
0 | 0.0011807 | 0.00029591
1 | 0.00050521 | 0.00012662
2 | 0.00029182 | 7.3137e-05
3 | 0.0027727 | 0.00069491
4 | 0.00042212 | 0.00010579
5 | 0.0011872 | 0.00029755
6 | 0.00058637 | 0.00014696
7 | 0.0021155 | 0.00053019
8 | 0.010421 | 0.0026118
9 | 0.0021705 | 0.00054398
10 | 0.0018384 | 0.00046073
11 | 0.00097586 | 0.00024457
12 | 0.0015226 | 0.00038159
13 | 0.0025754 | 0.00064545
14 | 0.00097026 | 0.00024317
15 | 0.0010788 | 0.00027036
16 | 0.0010572 | 0.00026496
17 | 0.0010117 | 0.00025355
18 | 0.00084622 | 0.00021208
19 | 0.0024019 | 0.00060197
20 | 0.0010283 | 0.00025773
21 | 0.0016913 | 0.00042389
22 | 0.00099788 | 0.00025009
23 | 0.0065527 | 0.0016423
24 | 0.0012786 | 0.00032044
25 | 0.00135 | 0.00033834
26 | 0.0031684 | 0.00079408
27 | 0.0011288 | 0.00028289
28 | 0.0034107 | 0.0008548
29 | 0.0025841 | 0.00064764
30 | 0.0019973 | 0.00050056
31 | 0.0017743 | 0.00044467
32 | 0.0027789 | 0.00069645
33 | 0.00071998 | 0.00018044
34 | 0.00080345 | 0.00020136
35 | 0.0015035 | 0.00037682
36 | 0.00026457 | 6.6308e-05
37 | 0.0010721 | 0.00026869
38 | 0.00038764 | 9.7152e-05
39 | 0.0015799 | 0.00039596
40 | 0.0015565 | 0.0003901
41 | 0.0011712 | 0.00029352
42 | 0.0026701 | 0.0006692
43 | 0.00068224 | 0.00017098
44 | 0.0013393 | 0.00033567
45 | 0.0027699 | 0.00069419
46 | 0.0035499 | 0.00088968
47 | 0.0014854 | 0.00037227
48 | 0.0011685 | 0.00029286
49 | 0.0018533 | 0.00046447
50 | 0.0010536 | 0.00026406

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1