## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_176-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_176-11_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_176-11_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_176-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_176-11_0_4_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_176-11_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_176-11_0_4_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_176-11_0_4_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_176-11_0_4_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_176-11_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_176-11_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_176-11_0_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_176-11_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_176-11_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_176-11_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_176-11_0_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_176-11_0_4_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_176-11_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_176-11_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_176-11_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_176-11_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_176-11_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_176-11_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_176-11_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_176-11_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_176-11_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_176-11_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_176-11_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_176-11_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_176-11_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_176-11_0_4_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_176-11_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_176-11_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_176-11_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_176-11_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_176-11_0_4_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_176-11_0_4_node_98 | 0.4 | n |  | TRUE
37 | bus_MV_363_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_176-11_0_4_load_0 | 0 | 0.075269 | 0.018864 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_176-11_0_4_load_1 | 2 | 0.038022 | 0.0095291 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_176-11_0_4_load_3 | 3 | 0.0016385 | 0.00041066 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_176-11_0_4_load_32 | 4 | 0.0041355 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_176-11_0_4_load_44 | 8 | 0.0018686 | 0.0004683 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_176-11_0_4_load_41 | 10 | 0.0034029 | 0.00085284 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_176-11_0_4_load_45 | 12 | 0.0023504 | 0.00058906 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_176-11_0_4_load_12 | 13 | 0.0055215 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_176-11_0_4_load_14 | 15 | 0.005099 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_176-11_0_4_load_34 | 16 | 0.0088663 | 0.0022221 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_176-11_0_4_load_15 | 17 | 0.019612 | 0.0049151 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_176-11_0_4_load_35 | 23 | 0.019608 | 0.0049141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_176-11_0_4_load_19 | 24 | 0.0073566 | 0.0018437 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_176-11_0_4_load_22 | 25 | 0.0088168 | 0.0022097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_176-11_0_4_load_23 | 26 | 0.0013146 | 0.00032948 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_176-11_0_4_load_24 | 27 | 0.0041344 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_176-11_0_4_load_29 | 29 | 0.008061 | 0.0020203 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_176-11_0_4_load_43 | 30 | 0.0091108 | 0.0022834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_176-11_0_4_load_37 | 31 | 0.0023614 | 0.00059183 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_176-11_0_4_load_42 | 34 | 0.0030764 | 0.00077102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_176-11_0_4_load_100 | 35 | 0.0062662 | 0.0015705 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_176-11_0_4_load_98 | 36 | 0.0022454 | 0.00056276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_176-11_0_4_line_0 |  | 0 | 1 | 0.10197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_176-11_0_4_line_1 |  | 1 | 5 | 0.12438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_176-11_0_4_line_2 |  | 1 | 6 | 0.032541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_176-11_0_4_line_3 |  | 2 | 3 | 0.05776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_176-11_0_4_line_4 |  | 2 | 4 | 0.071182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_176-11_0_4_line_5 |  | 4 | 20 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_176-11_0_4_line_6 |  | 5 | 7 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_176-11_0_4_line_7 |  | 5 | 8 | 0.083552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_176-11_0_4_line_8 |  | 6 | 30 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_176-11_0_4_line_9 |  | 7 | 36 | 0.11453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_176-11_0_4_line_10 |  | 8 | 34 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_176-11_0_4_line_11 |  | 9 | 10 | 0.020452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_176-11_0_4_line_12 |  | 9 | 11 | 0.036797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_176-11_0_4_line_13 |  | 9 | 12 | 0.040794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_176-11_0_4_line_14 |  | 10 | 32 | 0.03169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_176-11_0_4_line_15 |  | 11 | 35 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_176-11_0_4_line_16 |  | 13 | 14 | 0.0022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_176-11_0_4_line_17 |  | 14 | 15 | 0.034057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_176-11_0_4_line_18 |  | 15 | 16 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_176-11_0_4_line_19 |  | 16 | 25 | 0.042966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_176-11_0_4_line_20 |  | 16 | 29 | 0.02867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_176-11_0_4_line_21 |  | 17 | 18 | 0.027947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_176-11_0_4_line_22 |  | 18 | 19 | 0.031386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_176-11_0_4_line_23 |  | 18 | 20 | 0.031832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_176-11_0_4_line_24 |  | 19 | 23 | 0.027622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_176-11_0_4_line_25 |  | 20 | 24 | 0.0278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_176-11_0_4_line_26 |  | 21 | 22 | 0.013262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_176-11_0_4_line_27 |  | 21 | 23 | 0.019474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_176-11_0_4_line_28 |  | 22 | 28 | 0.020261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_176-11_0_4_line_29 |  | 22 | 26 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_176-11_0_4_line_30 |  | 25 | 26 | 0.032101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_176-11_0_4_line_31 |  | 25 | 27 | 0.048935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_176-11_0_4_line_32 |  | 28 | 30 | 0.023025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_176-11_0_4_line_33 |  | 31 | 32 | 0.022227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_176-11_0_4_line_34 |  | 31 | 33 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_176-11_0_4_line_35 |  | 33 | 34 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_176-11_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 37 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2692585.391 | 1254178.3012 | 2692580.4452 | 1254166.4702 | 2692568.5917 | 1254131.7135 | 2692567.1228 | 1254126.7311 | 2692567.0765 | 1254122.9385 | 2692568.0662 | 1254119.4847 | 2692570.3816 | 1254116.1738 | 2692573.3924 | 1254114.2305 | 2692603.4411 | 1254102.5915
1 | 2692548.1361 | 1254066.0872 | 2692547.131 | 1254067.6283 | 2692546.5262 | 1254069.1534 | 2692546.1138 | 1254070.915 | 2692546.0264 | 1254072.6483 | 2692546.0335 | 1254074.6055 | 2692546.3268 | 1254076.6005 | 2692555.6927 | 1254105.4248 | 2692557.802 | 1254111.9184 | 2692565.0282 | 1254132.8142 | 2692581.0752 | 1254179.7349 | 2692585.391 | 1254178.3012
2 | 2692585.391 | 1254178.3012 | 2692617.2948 | 1254171.895
3 | 2692700.0714 | 1254069.6946 | 2692754.8131 | 1254051.2687
4 | 2692700.0714 | 1254069.6946 | 2692729.5925 | 1254134.4668
5 | 2692707.8437 | 1254141.7324 | 2692729.5925 | 1254134.4668
6 | 2692548.1361 | 1254066.0872 | 2692539.8707 | 1254058.0741 | 2692534.7284 | 1254053.9795 | 2692530.6764 | 1254052.048 | 2692526.2631 | 1254051.0338
7 | 2692548.1361 | 1254066.0872 | 2692549.3816 | 1254064.6055 | 2692551.1117 | 1254063.0202 | 2692552.8284 | 1254061.8017 | 2692555.0666 | 1254060.5356 | 2692625.7953 | 1254036.8369
8 | 2692617.2948 | 1254171.895 | 2692626.5319 | 1254198.164
9 | 2692526.2631 | 1254051.0338 | 2692527.2138 | 1254045.7223 | 2692525.6067 | 1254041.8609 | 2692524.5438 | 1254037.9301 | 2692523.8792 | 1254035.0731 | 2692523.5155 | 1254032.7545 | 2692523.5319 | 1254030.7421 | 2692523.8335 | 1254028.823 | 2692524.5653 | 1254026.8996 | 2692525.8052 | 1254025.2955 | 2692527.595 | 1254023.7556 | 2692529.8798 | 1254022.4014 | 2692532.2573 | 1254021.3933 | 2692608.1524 | 1253996.217
10 | 2692656.6875 | 1254026.5213 | 2692645.43 | 1254030.258 | 2692625.7953 | 1254036.8369
11 | 2692750.6038 | 1254040.1115 | 2692743.3801 | 1254034.9833 | 2692740.9046 | 1254033.5767 | 2692737.7081 | 1254031.9477 | 2692733.0189 | 1254029.7982
12 | 2692756.2454 | 1254010.8993 | 2692760.98 | 1254015.9663 | 2692764.5357 | 1254022.1156 | 2692750.6038 | 1254040.1115
13 | 2692750.6038 | 1254040.1115 | 2692727.6574 | 1254047.8471 | 2692711.9311 | 1254053.0963
14 | 2692713.5023 | 1254007.3607 | 2692714.8519 | 1254014.176 | 2692716.2852 | 1254017.5678 | 2692717.5716 | 1254019.7452 | 2692719.8155 | 1254021.9709 | 2692721.9877 | 1254023.4728 | 2692726.5967 | 1254026.4472 | 2692732.5089 | 1254029.5644 | 2692733.0189 | 1254029.7982
15 | 2692756.2454 | 1254010.8993 | 2692759.9776 | 1254004.8197 | 2692760.5464 | 1254003.6721 | 2692760.8986 | 1254002.8659 | 2692761.0776 | 1254002.0347 | 2692761.1135 | 1254001.1902 | 2692760.9364 | 1254000.4535 | 2692760.6302 | 1253999.7704
16 | 2692643.9976 | 1254258.202 | 2692641.9962 | 1254257.115
17 | 2692643.9976 | 1254258.202 | 2692648.6406 | 1254260.443 | 2692653.3707 | 1254262.4185 | 2692657.9336 | 1254263.9911 | 2692662.1319 | 1254265.2355 | 2692667.3319 | 1254266.5957 | 2692672.2564 | 1254267.7181 | 2692676.3338 | 1254268.4594
18 | 2692710.7421 | 1254269.6538 | 2692705.7497 | 1254270.1329 | 2692701.5815 | 1254270.3345 | 2692696.412 | 1254270.3981 | 2692691.692 | 1254270.1908 | 2692687.0049 | 1254269.806 | 2692681.8974 | 1254269.2813 | 2692676.7406 | 1254268.5333 | 2692676.3338 | 1254268.4594
19 | 2692710.7421 | 1254269.6538 | 2692710.3836 | 1254226.6889
20 | 2692739.2632 | 1254266.7498 | 2692731.0491 | 1254267.7048 | 2692710.7421 | 1254269.6538
21 | 2692677.5645 | 1254151.822 | 2692686.5546 | 1254178.2838
22 | 2692677.5645 | 1254151.822 | 2692647.7751 | 1254161.9639
23 | 2692707.8437 | 1254141.7324 | 2692677.5645 | 1254151.822
24 | 2692647.7751 | 1254161.9639 | 2692656.53 | 1254188.1622
25 | 2692707.8437 | 1254141.7324 | 2692716.6654 | 1254168.0954
26 | 2692662.7022 | 1254206.6321 | 2692656.9547 | 1254208.4325 | 2692653.7217 | 1254214.9315
27 | 2692662.7022 | 1254206.6321 | 2692656.53 | 1254188.1622
28 | 2692634.1697 | 1254219.8851 | 2692648.8902 | 1254215.0894 | 2692653.7217 | 1254214.9315
29 | 2692653.7217 | 1254214.9315 | 2692657.0597 | 1254215.7065 | 2692665.8784 | 1254221.1153 | 2692675.5106 | 1254224.691 | 2692678.568 | 1254225.1178
30 | 2692710.3836 | 1254226.6889 | 2692707.1093 | 1254227.6433 | 2692692.9173 | 1254227.1208 | 2692678.568 | 1254225.1178
31 | 2692750.0102 | 1254200.7886 | 2692739.5087 | 1254204.0543 | 2692731.5705 | 1254212.2698 | 2692727.7888 | 1254213.3337 | 2692724.4537 | 1254215.2607 | 2692720.704 | 1254220.0613 | 2692715.5078 | 1254225.1951 | 2692710.3836 | 1254226.6889
32 | 2692634.1697 | 1254219.8851 | 2692626.5319 | 1254198.164
33 | 2692713.5023 | 1254007.3607 | 2692692.4645 | 1254014.5332
34 | 2692679.9492 | 1254018.8001 | 2692692.4645 | 1254014.5332
35 | 2692679.9492 | 1254018.8001 | 2692656.6875 | 1254026.5213

## bus_geodata
| x | y | coords
0 | 2692603.4411 | 1254102.5915
1 | 2692585.391 | 1254178.3012
2 | 2692700.0714 | 1254069.6946
3 | 2692754.8131 | 1254051.2687
4 | 2692729.5925 | 1254134.4668
5 | 2692548.1361 | 1254066.0872
6 | 2692617.2948 | 1254171.895
7 | 2692526.2631 | 1254051.0338
8 | 2692625.7953 | 1254036.8369
9 | 2692750.6038 | 1254040.1115
10 | 2692733.0189 | 1254029.7982
11 | 2692756.2454 | 1254010.8993
12 | 2692711.9311 | 1254053.0963
13 | 2692641.9962 | 1254257.115
14 | 2692643.9976 | 1254258.202
15 | 2692676.3338 | 1254268.4594
16 | 2692710.7421 | 1254269.6538
17 | 2692686.5546 | 1254178.2838
18 | 2692677.5645 | 1254151.822
19 | 2692647.7751 | 1254161.9639
20 | 2692707.8437 | 1254141.7324
21 | 2692662.7022 | 1254206.6321
22 | 2692653.7217 | 1254214.9315
23 | 2692656.53 | 1254188.1622
24 | 2692716.6654 | 1254168.0954
25 | 2692710.3836 | 1254226.6889
26 | 2692678.568 | 1254225.1178
27 | 2692750.0102 | 1254200.7886
28 | 2692634.1697 | 1254219.8851
29 | 2692739.2632 | 1254266.7498
30 | 2692626.5319 | 1254198.164
31 | 2692692.4645 | 1254014.5332
32 | 2692713.5023 | 1254007.3607
33 | 2692679.9492 | 1254018.8001
34 | 2692656.6875 | 1254026.5213
35 | 2692760.6302 | 1253999.7704
36 | 2692608.1524 | 1253996.217
37 | 2692647.7751 | 1254161.9639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97638 | -0.45466 | 0.075269 | 0.018864
1 | 0.98351 | -0.31535 | 0 | 0
2 | 0.99503 | -0.095573 | 0.038022 | 0.0095291
3 | 0.99494 | -0.09724 | 0.0016385 | 0.00041066
4 | 0.9976 | -0.045999 | 0.0041355 | 0.0010365
5 | 0.98102 | -0.36385 | 0 | 0
6 | 0.98644 | -0.25872 | 0 | 0
7 | 0.98097 | -0.36496 | 0 | 0
8 | 0.97953 | -0.39316 | 0.0018686 | 0.0004683
9 | 0.97773 | -0.42839 | 0 | 0
10 | 0.9779 | -0.42518 | 0.0034029 | 0.00085284
11 | 0.97752 | -0.4326 | 0 | 0
12 | 0.97764 | -0.43014 | 0.0023504 | 0.00058906
13 | 0.98937 | -0.20339 | 0.0055215 | 0.0013838
14 | 0.98938 | -0.20316 | 0 | 0
15 | 0.98955 | -0.19982 | 0.005099 | 0.0012779
16 | 0.98989 | -0.19329 | 0.0088663 | 0.0022221
17 | 0.9995 | -0.0095578 | 0.019612 | 0.0049151
18 | 1 | 0 | -0.24266 | -0.0615
19 | 0.99757 | -0.045902 | 0 | 0
20 | 0.99852 | -0.028426 | 0 | 0
21 | 0.99411 | -0.11183 | 0 | 0
22 | 0.9932 | -0.12913 | 0 | 0
23 | 0.99544 | -0.086484 | 0.019608 | 0.0049141
24 | 0.99833 | -0.032002 | 0.0073566 | 0.0018437
25 | 0.99097 | -0.17225 | 0.0088168 | 0.0022097
26 | 0.99216 | -0.1492 | 0.0013146 | 0.00032948
27 | 0.99079 | -0.17584 | 0.0041344 | 0.0010362
28 | 0.99121 | -0.16715 | 0 | 0
29 | 0.98968 | -0.1974 | 0.008061 | 0.0020203
30 | 0.98894 | -0.21053 | 0.0091108 | 0.0022834
31 | 0.9785 | -0.41337 | 0.0023614 | 0.00059183
32 | 0.97825 | -0.41824 | 0 | 0
33 | 0.97867 | -0.40991 | 0 | 0
34 | 0.979 | -0.40349 | 0.0030764 | 0.00077102
35 | 0.97745 | -0.43403 | 0.0062662 | 0.0015705
36 | 0.98073 | -0.36962 | 0.0022454 | 0.00056276
37 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.075269 | -0.018864 | 0.075772 | 0.019185 | 0.00050318 | 0.00032075 | 0.11471 | 0.11471 | 0.11471 | 0.97638 | -0.45466 | 0.98351 | -0.31535 | 31.5138
1 | 0.021675 | 0.005465 | -0.021624 | -0.0054344 | 5.0195e-05 | 3.055e-05 | 0.032805 | 0.032805 | 0.032805 | 0.98351 | -0.31535 | 0.98102 | -0.36385 | 9.0124
2 | -0.097446 | -0.02465 | 0.097712 | 0.024819 | 0.00026554 | 0.00016953 | 0.14751 | 0.14751 | 0.14751 | 0.98351 | -0.31535 | 0.98644 | -0.25872 | 40.5259
3 | 0.0016387 | 0.00040999 | -0.0016385 | -0.00041066 | 1.3006e-07 | -6.6695e-07 | 0.0024503 | 0.0024506 | 0.0024506 | 0.99503 | -0.095573 | 0.99494 | -0.09724 | 0.67323
4 | -0.03966 | -0.0099391 | 0.039754 | 0.0099983 | 9.3897e-05 | 5.9167e-05 | 0.05931 | 0.059309 | 0.05931 | 0.99503 | -0.095573 | 0.9976 | -0.045999 | 16.2939
5 | -0.04389 | -0.011035 | 0.043927 | 0.011058 | 3.6866e-05 | 2.3295e-05 | 0.065478 | 0.065478 | 0.065478 | 0.9976 | -0.045999 | 0.99852 | -0.028426 | 17.9884
6 | 0.002246 | 0.00056136 | -0.0022459 | -0.00056163 | 1.1769e-07 | -2.6618e-07 | 0.0034062 | 0.0034064 | 0.0034064 | 0.98102 | -0.36385 | 0.98097 | -0.36496 | 0.93581
7 | 0.019378 | 0.0048731 | -0.019351 | -0.0048568 | 2.7081e-05 | 1.6278e-05 | 0.029399 | 0.029399 | 0.029399 | 0.98102 | -0.36385 | 0.97953 | -0.39316 | 8.0767
8 | -0.097712 | -0.024819 | 0.097939 | 0.024964 | 0.00022723 | 0.00014507 | 0.14751 | 0.14751 | 0.14751 | 0.98644 | -0.25872 | 0.98894 | -0.21053 | 40.5259
9 | 0.0022459 | 0.00056163 | -0.0022454 | -0.00056276 | 4.9844e-07 | -1.1266e-06 | 0.0034064 | 0.0034069 | 0.0034069 | 0.98097 | -0.36496 | 0.98073 | -0.36962 | 0.93596
10 | 0.017483 | 0.0043885 | -0.017474 | -0.0043834 | 8.6162e-06 | 5.1046e-06 | 0.026561 | 0.026561 | 0.026561 | 0.97953 | -0.39316 | 0.979 | -0.40349 | 7.2969
11 | -0.0086185 | -0.0021596 | 0.0086198 | 0.0021602 | 1.3195e-06 | 5.8791e-07 | 0.013116 | 0.013116 | 0.013116 | 0.97773 | -0.42839 | 0.9779 | -0.42518 | 3.6034
12 | 0.0062679 | 0.0015709 | -0.0062666 | -0.0015706 | 1.2556e-06 | 3.4223e-07 | 0.0095392 | 0.0095393 | 0.0095393 | 0.97773 | -0.42839 | 0.97752 | -0.4326 | 2.6207
13 | 0.0023506 | 0.00058868 | -0.0023504 | -0.00058906 | 1.9577e-07 | -3.8629e-07 | 0.0035772 | 0.0035774 | 0.0035774 | 0.97773 | -0.42839 | 0.97764 | -0.43014 | 0.9828
14 | -0.012023 | -0.003013 | 0.012027 | 0.0030152 | 3.9773e-06 | 2.1477e-06 | 0.018294 | 0.018294 | 0.018294 | 0.9779 | -0.42518 | 0.97825 | -0.41824 | 5.0259
15 | 0.0062666 | 0.0015706 | -0.0062662 | -0.0015705 | 4.2643e-07 | 1.1627e-07 | 0.0095393 | 0.0095394 | 0.0095394 | 0.97752 | -0.4326 | 0.97745 | -0.43403 | 2.6207
16 | -0.0055215 | -0.0013838 | 0.0055215 | 0.0013838 | 5.8899e-08 | 8.4474e-09 | 0.0083044 | 0.0083043 | 0.0083044 | 0.98937 | -0.20339 | 0.98938 | -0.20316 | 2.2814
17 | -0.0055215 | -0.0013838 | 0.0055224 | 0.0013839 | 8.8072e-07 | 1.2622e-07 | 0.0083043 | 0.0083042 | 0.0083043 | 0.98938 | -0.20316 | 0.98955 | -0.19982 | 2.2814
18 | -0.010621 | -0.0026619 | 0.010625 | 0.0026635 | 3.3045e-06 | 1.6709e-06 | 0.015972 | 0.015971 | 0.015972 | 0.98955 | -0.19982 | 0.98989 | -0.19329 | 4.3878
19 | -0.027554 | -0.0069066 | 0.027581 | 0.0069237 | 2.7642e-05 | 1.7138e-05 | 0.041419 | 0.041419 | 0.041419 | 0.98989 | -0.19329 | 0.99097 | -0.17225 | 11.379
20 | 0.0080626 | 0.0020209 | -0.008061 | -0.0020203 | 1.5793e-06 | 6.4227e-07 | 0.01212 | 0.01212 | 0.01212 | 0.98989 | -0.19329 | 0.98968 | -0.1974 | 3.3297
21 | -0.019612 | -0.0049151 | 0.01962 | 0.0049205 | 8.9338e-06 | 5.3512e-06 | 0.029197 | 0.029197 | 0.029197 | 0.9995 | -0.0095578 | 1 | 0 | 8.0211
22 | 0.17003 | 0.043633 | -0.16965 | -0.043392 | 0.00037779 | 0.00024096 | 0.25337 | 0.25337 | 0.25337 | 1 | 0 | 0.99757 | -0.045902 | 34.8036
23 | 0.051354 | 0.012946 | -0.051284 | -0.012902 | 6.9754e-05 | 4.4225e-05 | 0.076443 | 0.076443 | 0.076443 | 1 | 0 | 0.99852 | -0.028426 | 21.0007
24 | 0.16965 | 0.043392 | -0.16932 | -0.04318 | 0.00033249 | 0.00021207 | 0.25337 | 0.25337 | 0.25337 | 0.99757 | -0.045902 | 0.99544 | -0.086484 | 34.8036
25 | 0.0073578 | 0.0018442 | -0.0073566 | -0.0018437 | 1.2534e-06 | 4.3861e-07 | 0.010965 | 0.010965 | 0.010965 | 0.99852 | -0.028426 | 0.99833 | -0.032002 | 3.0124
26 | 0.14953 | 0.038149 | -0.1494 | -0.03807 | 0.00012484 | 7.9552e-05 | 0.22406 | 0.22406 | 0.22406 | 0.99411 | -0.11183 | 0.9932 | -0.12913 | 30.7776
27 | -0.14953 | -0.038149 | 0.14971 | 0.038266 | 0.00018331 | 0.00011681 | 0.22406 | 0.22406 | 0.22406 | 0.99411 | -0.11183 | 0.99544 | -0.086484 | 30.7776
28 | 0.10747 | 0.027517 | -0.10727 | -0.027391 | 0.00019749 | 0.00012613 | 0.16122 | 0.16122 | 0.16122 | 0.9932 | -0.12913 | 0.99121 | -0.16715 | 44.2919
29 | 0.041933 | 0.010552 | -0.041892 | -0.010527 | 4.0179e-05 | 2.5363e-05 | 0.062839 | 0.062839 | 0.062839 | 0.9932 | -0.12913 | 0.99216 | -0.1492 | 17.2634
30 | -0.040533 | -0.010169 | 0.040578 | 0.010198 | 4.4598e-05 | 2.8129e-05 | 0.060867 | 0.060867 | 0.060867 | 0.99097 | -0.17225 | 0.99216 | -0.1492 | 16.7218
31 | 0.0041351 | 0.001036 | -0.0041344 | -0.0010362 | 7.0748e-07 | -1.7755e-07 | 0.006209 | 0.0062092 | 0.0062092 | 0.99097 | -0.17225 | 0.99079 | -0.17584 | 1.7058
32 | 0.10727 | 0.027391 | -0.10705 | -0.027248 | 0.00022443 | 0.00014334 | 0.16122 | 0.16122 | 0.16122 | 0.99121 | -0.16715 | 0.98894 | -0.21053 | 44.292
33 | 0.012029 | 0.0030167 | -0.012027 | -0.0030152 | 2.7895e-06 | 1.5062e-06 | 0.018294 | 0.018294 | 0.018294 | 0.9785 | -0.41337 | 0.97825 | -0.41824 | 5.0259
34 | -0.014391 | -0.0036085 | 0.014393 | 0.0036099 | 2.3749e-06 | 1.3538e-06 | 0.021885 | 0.021885 | 0.021885 | 0.9785 | -0.41337 | 0.97867 | -0.40991 | 6.0124
35 | -0.014393 | -0.0036099 | 0.014398 | 0.0036124 | 4.4021e-06 | 2.5093e-06 | 0.021885 | 0.021885 | 0.021885 | 0.97867 | -0.40991 | 0.979 | -0.40349 | 6.0124

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24266 | 0.0615

## res_load
| p_mw | q_mvar
0 | 0.075269 | 0.018864
1 | 0.038022 | 0.0095291
2 | 0.0016385 | 0.00041066
3 | 0.0041355 | 0.0010365
4 | 0.0018686 | 0.0004683
5 | 0.0034029 | 0.00085284
6 | 0.0023504 | 0.00058906
7 | 0.0055215 | 0.0013838
8 | 0.005099 | 0.0012779
9 | 0.0088663 | 0.0022221
10 | 0.019612 | 0.0049151
11 | 0.019608 | 0.0049141
12 | 0.0073566 | 0.0018437
13 | 0.0088168 | 0.0022097
14 | 0.0013146 | 0.00032948
15 | 0.0041344 | 0.0010362
16 | 0.008061 | 0.0020203
17 | 0.0091108 | 0.0022834
18 | 0.0023614 | 0.00059183
19 | 0.0030764 | 0.00077102
20 | 0.0062662 | 0.0015705
21 | 0.0022454 | 0.00056276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1