## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_177-16_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_177-16_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_177-16_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_177-16_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_177-16_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_177-16_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_177-16_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_177-16_0_8_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_177-16_0_8_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_177-16_0_8_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_177-16_0_8_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_177-16_0_8_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_177-16_0_8_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_177-16_0_8_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_177-16_0_8_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_177-16_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_177-16_0_8_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_177-16_0_8_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_177-16_0_8_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_177-16_0_8_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_177-16_0_8_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_177-16_0_8_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_177-16_0_8_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_177-16_0_8_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_177-16_0_8_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_177-16_0_8_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_177-16_0_8_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_177-16_0_8_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_177-16_0_8_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_177-16_0_8_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_177-16_0_8_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_177-16_0_8_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_177-16_0_8_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_177-16_0_8_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_177-16_0_8_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_177-16_0_8_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_177-16_0_8_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_177-16_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_177-16_0_8_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_177-16_0_8_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_177-16_0_8_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_177-16_0_8_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_177-16_0_8_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_177-16_0_8_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_177-16_0_8_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_177-16_0_8_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_177-16_0_8_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_177-16_0_8_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_177-16_0_8_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_177-16_0_8_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_177-16_0_8_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_177-16_0_8_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_177-16_0_8_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_177-16_0_8_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_177-16_0_8_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_177-16_0_8_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_177-16_0_8_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_177-16_0_8_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_177-16_0_8_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_177-16_0_8_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_177-16_0_8_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_177-16_0_8_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_177-16_0_8_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_177-16_0_8_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_177-16_0_8_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_177-16_0_8_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_177-16_0_8_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_177-16_0_8_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_177-16_0_8_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_177-16_0_8_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_177-16_0_8_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_177-16_0_8_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_177-16_0_8_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_177-16_0_8_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_177-16_0_8_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_177-16_0_8_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_177-16_0_8_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_177-16_0_8_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_177-16_0_8_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_177-16_0_8_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_177-16_0_8_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_177-16_0_8_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_177-16_0_8_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_177-16_0_8_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_177-16_0_8_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_177-16_0_8_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_177-16_0_8_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_177-16_0_8_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_177-16_0_8_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_177-16_0_8_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_177-16_0_8_node_87 | 0.4 | n |  | TRUE
91 | bus_MV_7_2_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_177-16_0_8_load_0 | 0 | 0.0045413 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_177-16_0_8_load_1 | 1 | 0.0023814 | 0.00059685 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_177-16_0_8_load_4 | 4 | 0.0059456 | 0.0014901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_177-16_0_8_load_5 | 5 | 0.0057485 | 0.0014407 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_177-16_0_8_load_32 | 8 | 0.0287 | 0.007193 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_177-16_0_8_load_98 | 10 | 0.0034407 | 0.00086231 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_177-16_0_8_load_33 | 12 | 0.0038478 | 0.00096435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_177-16_0_8_load_100 | 13 | 0.011711 | 0.0029351 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_177-16_0_8_load_8 | 14 | 0.0011393 | 0.00028554 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_177-16_0_8_load_9 | 15 | 0.053506 | 0.01341 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_177-16_0_8_load_11 | 17 | 0.0072766 | 0.0018237 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_177-16_0_8_load_20 | 21 | 0.0026806 | 0.00067182 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_177-16_0_8_load_30 | 23 | 0.0034341 | 0.00086068 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_177-16_0_8_load_35 | 24 | 0.00051773 | 0.00012976 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_177-16_0_8_load_34 | 25 | 0.00097905 | 0.00024537 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_177-16_0_8_load_18 | 28 | 0.002052 | 0.00051429 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_177-16_0_8_load_28 | 29 | 0.003819 | 0.00095714 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_177-16_0_8_load_73 | 30 | 0.021407 | 0.0053651 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_177-16_0_8_load_19 | 32 | 0.002019 | 0.00050601 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_177-16_0_8_load_21 | 33 | 0.001359 | 0.0003406 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_177-16_0_8_load_22 | 34 | 0.0037943 | 0.00095094 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_177-16_0_8_load_23 | 35 | 0.0025384 | 0.00063619 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_177-16_0_8_load_24 | 36 | 0.0033531 | 0.00084037 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_177-16_0_8_load_25 | 37 | 0.0020426 | 0.00051191 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_177-16_0_8_load_76 | 38 | 0.02085 | 0.0052256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_177-16_0_8_load_27 | 39 | 0.0036686 | 0.00091943 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_177-16_0_8_load_36 | 40 | 0.013126 | 0.0032896 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_177-16_0_8_load_37 | 41 | 0.0039989 | 0.0010022 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_177-16_0_8_load_39 | 43 | 0.0086072 | 0.0021572 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_177-16_0_8_load_40 | 44 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_177-16_0_8_load_48 | 47 | 0.0072345 | 0.0018131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_177-16_0_8_load_99 | 48 | 0.010909 | 0.0027341 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_177-16_0_8_load_49 | 49 | 0.02749 | 0.0068895 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_177-16_0_8_load_50 | 50 | 0.0043065 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_177-16_0_8_load_52 | 51 | 0.01409 | 0.0035314 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_177-16_0_8_load_94 | 52 | 0.0028494 | 0.00071414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_177-16_0_8_load_93 | 53 | 0.002396 | 0.0006005 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_177-16_0_8_load_47 | 54 | 0.0090749 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_177-16_0_8_load_95 | 56 | 0.0015615 | 0.00039136 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_177-16_0_8_load_58 | 57 | 0.0019426 | 0.00048687 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_177-16_0_8_load_59 | 58 | 0.0073077 | 0.0018315 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_177-16_0_8_load_54 | 59 | 0.0017602 | 0.00044114 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_177-16_0_8_load_101 | 60 | 0.00091657 | 0.00022971 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_177-16_0_8_load_57 | 62 | 0.0024441 | 0.00061254 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_177-16_0_8_load_84 | 63 | 0.0023428 | 0.00058717 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_177-16_0_8_load_70 | 65 | 0.0022908 | 0.00057413 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_177-16_0_8_load_92 | 66 | 0.015716 | 0.0039389 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_177-16_0_8_load_81 | 67 | 0.0015347 | 0.00038463 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_177-16_0_8_load_60 | 68 | 0.0060043 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_177-16_0_8_load_61 | 69 | 0.0096087 | 0.0024082 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_177-16_0_8_load_64 | 71 | 0.0051321 | 0.0012862 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_177-16_0_8_load_65 | 72 | 0.00366 | 0.00091729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_177-16_0_8_load_85 | 74 | 0.012118 | 0.0030371 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_177-16_0_8_load_66 | 76 | 0.0013807 | 0.00034604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_177-16_0_8_load_67 | 77 | 0.0018894 | 0.00047352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_177-16_0_8_load_68 | 78 | 0.0018719 | 0.00046914 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_177-16_0_8_load_69 | 79 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_177-16_0_8_load_77 | 80 | 0.0012938 | 0.00032427 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_177-16_0_8_load_78 | 81 | 0.0018126 | 0.00045427 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_177-16_0_8_load_91 | 83 | 0.0055396 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_177-16_0_8_load_90 | 84 | 0.0021569 | 0.00054057 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_177-16_0_8_load_86 | 85 | 0.008622 | 0.0021609 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_177-16_0_8_load_75 | 86 | 0.016137 | 0.0040444 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_177-16_0_8_load_79 | 87 | 0.0018615 | 0.00046653 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_177-16_0_8_load_80 | 88 | 0.0016706 | 0.00041868 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_177-16_0_8_load_82 | 89 | 0.0019012 | 0.00047649 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_177-16_0_8_load_87 | 90 | 0.0020812 | 0.00052159 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_177-16_0_8_line_0 |  | 0 | 1 | 0.028641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_177-16_0_8_line_1 |  | 0 | 2 | 0.04544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_177-16_0_8_line_2 |  | 1 | 3 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_177-16_0_8_line_3 |  | 2 | 4 | 0.022222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_177-16_0_8_line_4 |  | 2 | 5 | 0.021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_177-16_0_8_line_5 |  | 2 | 6 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_177-16_0_8_line_6 |  | 3 | 7 | 0.004405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_177-16_0_8_line_7 |  | 5 | 8 | 0.044671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_177-16_0_8_line_8 |  | 6 | 9 | 0.057022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_177-16_0_8_line_9 |  | 7 | 10 | 0.038231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_177-16_0_8_line_10 |  | 7 | 11 | 0.030573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_177-16_0_8_line_11 |  | 8 | 12 | 0.038824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_177-16_0_8_line_12 |  | 9 | 13 | 0.005639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_177-16_0_8_line_13 |  | 11 | 22 | 0.080621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_177-16_0_8_line_14 |  | 11 | 23 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_177-16_0_8_line_15 |  | 12 | 38 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_177-16_0_8_line_16 |  | 12 | 37 | 0.042207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_177-16_0_8_line_17 |  | 14 | 15 | 0.05126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_177-16_0_8_line_18 |  | 14 | 16 | 0.016052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_177-16_0_8_line_19 |  | 15 | 17 | 0.055447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_177-16_0_8_line_20 |  | 16 | 18 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_177-16_0_8_line_21 |  | 17 | 19 | 0.0015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_177-16_0_8_line_22 |  | 18 | 20 | 0.036156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_177-16_0_8_line_23 |  | 18 | 21 | 0.0068311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_177-16_0_8_line_24 |  | 19 | 26 | 0.031056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_177-16_0_8_line_25 |  | 19 | 27 | 0.096255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_177-16_0_8_line_26 |  | 20 | 25 | 0.01803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_177-16_0_8_line_27 |  | 21 | 28 | 0.010897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_177-16_0_8_line_28 |  | 22 | 24 | 0.027441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_177-16_0_8_line_29 |  | 23 | 29 | 0.060708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_177-16_0_8_line_30 |  | 24 | 25 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_177-16_0_8_line_31 |  | 26 | 60 | 0.023866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_177-16_0_8_line_32 |  | 27 | 50 | 0.02657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_177-16_0_8_line_33 |  | 27 | 51 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_177-16_0_8_line_34 |  | 28 | 32 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_177-16_0_8_line_35 |  | 29 | 39 | 0.031445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_177-16_0_8_line_36 |  | 30 | 31 | 0.014146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_177-16_0_8_line_37 |  | 31 | 86 | 0.030436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_177-16_0_8_line_38 |  | 31 | 38 | 0.014236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_177-16_0_8_line_39 |  | 32 | 33 | 0.031762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_177-16_0_8_line_40 |  | 34 | 35 | 0.024426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_177-16_0_8_line_41 |  | 34 | 36 | 0.00011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_177-16_0_8_line_42 |  | 35 | 37 | 0.02515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_177-16_0_8_line_43 |  | 40 | 41 | 0.049812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_177-16_0_8_line_44 |  | 40 | 42 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_177-16_0_8_line_45 |  | 41 | 43 | 0.040247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_177-16_0_8_line_46 |  | 42 | 44 | 0.004548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_177-16_0_8_line_47 |  | 43 | 45 | 0.042068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_177-16_0_8_line_48 |  | 45 | 46 | 0.028551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_177-16_0_8_line_49 |  | 45 | 47 | 0.029194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_177-16_0_8_line_50 |  | 46 | 52 | 0.021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_177-16_0_8_line_51 |  | 46 | 53 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_177-16_0_8_line_52 |  | 47 | 48 | 0.046917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_177-16_0_8_line_53 |  | 49 | 50 | 0.014989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_177-16_0_8_line_54 |  | 52 | 56 | 0.024798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_177-16_0_8_line_55 |  | 53 | 57 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_177-16_0_8_line_56 |  | 54 | 55 | 0.032196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_177-16_0_8_line_57 |  | 55 | 58 | 0.024001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_177-16_0_8_line_58 |  | 55 | 59 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_177-16_0_8_line_59 |  | 57 | 61 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_177-16_0_8_line_60 |  | 58 | 64 | 0.0012109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_177-16_0_8_line_61 |  | 59 | 61 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_177-16_0_8_line_62 |  | 61 | 62 | 0.0039739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_177-16_0_8_line_63 |  | 62 | 63 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_177-16_0_8_line_64 |  | 63 | 65 | 0.011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_177-16_0_8_line_65 |  | 64 | 66 | 0.051866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_177-16_0_8_line_66 |  | 64 | 67 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_177-16_0_8_line_67 |  | 65 | 78 | 0.0083866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_177-16_0_8_line_68 |  | 66 | 86 | 0.023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_177-16_0_8_line_69 |  | 67 | 88 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_177-16_0_8_line_70 |  | 68 | 69 | 0.045678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_177-16_0_8_line_71 |  | 68 | 70 | 0.059955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_177-16_0_8_line_72 |  | 70 | 71 | 0.0026311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_177-16_0_8_line_73 |  | 70 | 72 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_177-16_0_8_line_74 |  | 71 | 73 | 0.034113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_177-16_0_8_line_75 |  | 72 | 74 | 0.061549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_177-16_0_8_line_76 |  | 73 | 75 | 0.031725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_177-16_0_8_line_77 |  | 75 | 82 | 0.065457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_177-16_0_8_line_78 |  | 75 | 83 | 0.027203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_177-16_0_8_line_79 |  | 76 | 77 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_177-16_0_8_line_80 |  | 76 | 78 | 0.0085369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_177-16_0_8_line_81 |  | 77 | 79 | 0.0031198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_177-16_0_8_line_82 |  | 79 | 80 | 0.019114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_177-16_0_8_line_83 |  | 80 | 81 | 0.0068758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_177-16_0_8_line_84 |  | 81 | 87 | 0.027783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_177-16_0_8_line_85 |  | 82 | 84 | 0.014188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_177-16_0_8_line_86 |  | 82 | 85 | 0.026466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_177-16_0_8_line_87 |  | 84 | 87 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_177-16_0_8_line_88 |  | 85 | 90 | 0.030419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_177-16_0_8_line_89 |  | 88 | 89 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_177-16_0_8_trafo_92 | 0.63 MVA 20/0.4 kV | 91 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2702057.9354 | 1247239.122 | 2702062.588 | 1247236.5306 | 2702074.0709 | 1247228.6443 | 2702080.7724 | 1247222.0739
1 | 2702017.407 | 1247259.6158 | 2702030.2894 | 1247253.7995 | 2702046.6689 | 1247245.397 | 2702057.9354 | 1247239.122
2 | 2702101.0065 | 1247204.3334 | 2702085.2056 | 1247217.7274 | 2702080.7724 | 1247222.0739
3 | 2702017.407 | 1247259.6158 | 2702005.1688 | 1247264.4313 | 2701996.5714 | 1247267.3239
4 | 2702017.407 | 1247259.6158 | 2702009.2827 | 1247240.0571
5 | 2702017.407 | 1247259.6158 | 2702019.4201 | 1247265.1103 | 2702026.1325 | 1247262.2457
6 | 2702101.0065 | 1247204.3334 | 2702104.8833 | 1247206.4462
7 | 2701992.5642 | 1247198.6334 | 2702004.3063 | 1247228.0768 | 2702009.2827 | 1247240.0571
8 | 2702026.1325 | 1247262.2457 | 2702028.7205 | 1247266.3824 | 2702031.3349 | 1247267.228 | 2702033.9707 | 1247267.2734 | 2702036.7824 | 1247268.9453 | 2702046.0793 | 1247281.8265 | 2702047.6906 | 1247288.2815 | 2702059.4643 | 1247305.6089
9 | 2702104.8833 | 1247206.4462 | 2702076.093 | 1247231.6006
10 | 2702104.8833 | 1247206.4462 | 2702119.1318 | 1247194.1486 | 2702126.4984 | 1247203.3048
11 | 2701984.3346 | 1247161.2031 | 2701984.5952 | 1247173.7174 | 2701985.1267 | 1247178.8305 | 2701986.6864 | 1247183.8946 | 2701992.5642 | 1247198.6334
12 | 2702063.0447 | 1247301.2448 | 2702059.4643 | 1247305.6089
13 | 2702126.4984 | 1247203.3048 | 2702119.1318 | 1247194.1486 | 2702135.2342 | 1247178.1689 | 2702148.5885 | 1247166.0338 | 2702138.894 | 1247153.8684 | 2702131.0404 | 1247144.0365
14 | 2702126.4984 | 1247203.3048 | 2702130.9113 | 1247210.2641 | 2702134.6628 | 1247215.8939
15 | 2701984.3346 | 1247161.2031 | 2701995.307 | 1247161.4697 | 2702003.6479 | 1247162.3139 | 2702009.6291 | 1247163.2353
16 | 2701984.3346 | 1247161.2031 | 2701974.6292 | 1247161.5031 | 2701965.0518 | 1247162.706 | 2701954.8936 | 1247165.1777 | 2701944.6507 | 1247168.6154 | 2701943.2175 | 1247169.2934
17 | 2702190.1663 | 1247150.4441 | 2702219.8043 | 1247191.5699 | 2702220.1292 | 1247192.0354
18 | 2702180.7814 | 1247137.4215 | 2702190.1663 | 1247150.4441
19 | 2702220.1292 | 1247192.0354 | 2702251.8676 | 1247237.5002
20 | 2702180.7814 | 1247137.4215 | 2702213.1786 | 1247112.7493
21 | 2702252.7811 | 1247238.8088 | 2702251.8676 | 1247237.5002
22 | 2702213.1786 | 1247112.7493 | 2702203.8916 | 1247101.9252 | 2702186.223 | 1247114.9532
23 | 2702213.1786 | 1247112.7493 | 2702219.4813 | 1247110.115
24 | 2702252.7811 | 1247238.8088 | 2702270.2034 | 1247264.5517
25 | 2702252.7811 | 1247238.8088 | 2702314.216 | 1247195.4455 | 2702316.6873 | 1247199.3245 | 2702330.4103 | 1247189.9205
26 | 2702186.223 | 1247114.9532 | 2702168.3518 | 1247112.5656 | 2702168.3518 | 1247112.5656
27 | 2702228.1425 | 1247103.6471 | 2702221.61 | 1247109.2252 | 2702219.4813 | 1247110.115
28 | 2702131.0404 | 1247144.0365 | 2702152.0165 | 1247126.3439
29 | 2702150.3084 | 1247267.4694 | 2702156.0279 | 1247260.803 | 2702157.8258 | 1247255.5521 | 2702157.4818 | 1247251.8433 | 2702155.1907 | 1247246.6998 | 2702134.6628 | 1247215.8939
30 | 2702152.0165 | 1247126.3439 | 2702168.3518 | 1247112.5656
31 | 2702258.9741 | 1247284.4403 | 2702269.6266 | 1247272.1477 | 2702270.2034 | 1247264.5517
32 | 2702330.4103 | 1247189.9205 | 2702352.3312 | 1247174.9067
33 | 2702330.4103 | 1247189.9205 | 2702319.8481 | 1247173.8837
34 | 2702228.1425 | 1247103.6471 | 2702241.265 | 1247092.4419
35 | 2702129.8331 | 1247291.3348 | 2702150.3084 | 1247267.4694
36 | 2702023.5733 | 1247166.0484 | 2702031.1529 | 1247168.9923 | 2702036.5162 | 1247171.7158
37 | 2702023.5733 | 1247166.0484 | 2702025.8005 | 1247158.2362 | 2702026.8521 | 1247155.5188 | 2702028.0111 | 1247153.5817 | 2702029.5773 | 1247151.6849 | 2702040.5716 | 1247141.9555
38 | 2702023.5733 | 1247166.0484 | 2702015.3493 | 1247164.1166 | 2702009.6291 | 1247163.2353
39 | 2702265.4188 | 1247071.8169 | 2702241.265 | 1247092.4419
40 | 2701903.7082 | 1247198.581 | 2701906.3885 | 1247195.7235 | 2701913.4504 | 1247188.795 | 2701921.5462 | 1247181.9288 | 2701921.5462 | 1247181.9288
41 | 2701903.7082 | 1247198.581 | 2701903.6284 | 1247198.6661
42 | 2701921.5462 | 1247181.9288 | 2701928.781 | 1247176.8046 | 2701936.3257 | 1247172.5532 | 2701943.2175 | 1247169.2934
43 | 2702170.7126 | 1247033.4979 | 2702158.5023 | 1247043.2193 | 2702136.9758 | 1247016.6388
44 | 2702181.5025 | 1247023.3111 | 2702182.0568 | 1247024.466 | 2702170.7126 | 1247033.4979
45 | 2702105.2554 | 1247041.4108 | 2702136.9758 | 1247016.6388 | 2702136.9758 | 1247016.6388
46 | 2702181.5025 | 1247023.3111 | 2702179.0835 | 1247019.4552
47 | 2702078.6766 | 1247016.535 | 2702100.4475 | 1247045.1655 | 2702105.2554 | 1247041.4108
48 | 2702061.3749 | 1246993.786 | 2702078.6766 | 1247016.535
49 | 2702078.6766 | 1247016.535 | 2702083.5131 | 1247012.9487 | 2702091.9913 | 1247008.9026 | 2702096.6707 | 1247009.1723 | 2702102.0681 | 1247006.7967 | 2702104.3804 | 1247004.5928
50 | 2702061.3749 | 1246993.786 | 2702077.4243 | 1246979.4075
51 | 2702061.3749 | 1246993.786 | 2702048.2858 | 1247004.8851
52 | 2702104.3804 | 1247004.5928 | 2702110.6171 | 1246998.6486 | 2702127.552 | 1246975.5999 | 2702136.9138 | 1246973.0616
53 | 2702364.6974 | 1247166.4371 | 2702352.3312 | 1247174.9067
54 | 2702095.398 | 1246962.3752 | 2702092.0145 | 1246966.3363 | 2702077.4243 | 1246979.4075
55 | 2702048.2858 | 1247004.8851 | 2702031.2769 | 1247019.3081
56 | 2702035.9542 | 1247063.8924 | 2702052.8571 | 1247055.3988 | 2702062.7676 | 1247046.5606
57 | 2702035.9542 | 1247063.8924 | 2702047.8649 | 1247084.7292
58 | 2702035.9542 | 1247063.8924 | 2702028.9875 | 1247051.7142
59 | 2702017.2523 | 1247031.2006 | 2702031.2769 | 1247019.3081
60 | 2702048.4658 | 1247085.7804 | 2702047.8649 | 1247084.7292
61 | 2702017.2523 | 1247031.2006 | 2702028.9875 | 1247051.7142
62 | 2702017.2523 | 1247031.2006 | 2702014.1528 | 1247033.6876
63 | 2702014.1528 | 1247033.6876 | 2701997.666 | 1247046.9166
64 | 2701988.7321 | 1247054.0853 | 2701997.666 | 1247046.9166
65 | 2702048.4658 | 1247085.7804 | 2702055.4454 | 1247097.6877 | 2702059.4554 | 1247103.9171 | 2702064.4613 | 1247110.6641 | 2702069.2781 | 1247116.5516 | 2702058.3092 | 1247126.2586
66 | 2702048.4658 | 1247085.7804 | 2702038.1516 | 1247094.2082
67 | 2701988.7321 | 1247054.0853 | 2701982.1909 | 1247059.3339
68 | 2702058.3092 | 1247126.2586 | 2702040.5716 | 1247141.9555
69 | 2702022.5157 | 1247106.6874 | 2702026.8343 | 1247103.4555 | 2702038.1516 | 1247094.2082
70 | 2701944.644 | 1246990.8442 | 2701973.2609 | 1246959.6101 | 2701975.8087 | 1246957.4876
71 | 2701904.0164 | 1247034.9345 | 2701919.711 | 1247018.0576 | 2701944.644 | 1246990.8442
72 | 2701904.0164 | 1247034.9345 | 2701902.2251 | 1247036.8616
73 | 2701904.0164 | 1247034.9345 | 2701884.8572 | 1247017.0375
74 | 2701879.0004 | 1247061.848 | 2701902.2251 | 1247036.8616
75 | 2701897.6139 | 1247000.4308 | 2701884.1323 | 1246987.022 | 2701869.4416 | 1247002.6374 | 2701884.8572 | 1247017.0375
76 | 2701857.3278 | 1247085.0161 | 2701859.4126 | 1247082.8391 | 2701879.0004 | 1247061.848
77 | 2701857.3278 | 1247085.0161 | 2701853.0813 | 1247089.4578 | 2701863.6323 | 1247099.3023 | 2701886.1263 | 1247131.614 | 2701889.5652 | 1247135.9209
78 | 2701857.3278 | 1247085.0161 | 2701837.4335 | 1247066.4634
79 | 2701975.5326 | 1247064.6766 | 2701963.1957 | 1247074.5757
80 | 2701975.5326 | 1247064.6766 | 2701982.1909 | 1247059.3339
81 | 2701960.7624 | 1247076.5281 | 2701963.1957 | 1247074.5757
82 | 2701945.8546 | 1247088.4902 | 2701960.7624 | 1247076.5281
83 | 2701945.8546 | 1247088.4902 | 2701940.4918 | 1247092.7933
84 | 2701940.4918 | 1247092.7933 | 2701918.8224 | 1247110.1809
85 | 2701889.5652 | 1247135.9209 | 2701899.6923 | 1247125.9844
86 | 2701889.5652 | 1247135.9209 | 2701872.9656 | 1247153.6051 | 2701871.5135 | 1247155.2737
87 | 2701899.6923 | 1247125.9844 | 2701902.229 | 1247123.4954 | 2701918.8224 | 1247110.1809
88 | 2701871.5135 | 1247155.2737 | 2701851.5436 | 1247178.2194
89 | 2702006.5147 | 1247118.6623 | 2702022.5157 | 1247106.6874

## bus_geodata
| x | y | coords
0 | 2702057.9354 | 1247239.122
1 | 2702080.7724 | 1247222.0739
2 | 2702017.407 | 1247259.6158
3 | 2702101.0065 | 1247204.3334
4 | 2701996.5714 | 1247267.3239
5 | 2702009.2827 | 1247240.0571
6 | 2702026.1325 | 1247262.2457
7 | 2702104.8833 | 1247206.4462
8 | 2701992.5642 | 1247198.6334
9 | 2702059.4643 | 1247305.6089
10 | 2702076.093 | 1247231.6006
11 | 2702126.4984 | 1247203.3048
12 | 2701984.3346 | 1247161.2031
13 | 2702063.0447 | 1247301.2449
14 | 2702190.1663 | 1247150.4441
15 | 2702220.1292 | 1247192.0354
16 | 2702180.7814 | 1247137.4215
17 | 2702251.8676 | 1247237.5002
18 | 2702213.1786 | 1247112.7493
19 | 2702252.7811 | 1247238.8088
20 | 2702186.223 | 1247114.9532
21 | 2702219.4813 | 1247110.115
22 | 2702131.0404 | 1247144.0365
23 | 2702134.6628 | 1247215.8939
24 | 2702152.0165 | 1247126.3439
25 | 2702168.3518 | 1247112.5656
26 | 2702270.2034 | 1247264.5517
27 | 2702330.4103 | 1247189.9205
28 | 2702228.1425 | 1247103.6471
29 | 2702150.3084 | 1247267.4694
30 | 2702036.5162 | 1247171.7158
31 | 2702023.5733 | 1247166.0484
32 | 2702241.265 | 1247092.4419
33 | 2702265.4188 | 1247071.8169
34 | 2701903.7082 | 1247198.581
35 | 2701921.5462 | 1247181.9288
36 | 2701903.6284 | 1247198.6661
37 | 2701943.2175 | 1247169.2934
38 | 2702009.6291 | 1247163.2353
39 | 2702129.8331 | 1247291.3348
40 | 2702170.7126 | 1247033.4979
41 | 2702136.9758 | 1247016.6388
42 | 2702181.5025 | 1247023.3111
43 | 2702105.2554 | 1247041.4108
44 | 2702179.0835 | 1247019.4552
45 | 2702078.6766 | 1247016.535
46 | 2702061.3749 | 1246993.786
47 | 2702104.3804 | 1247004.5928
48 | 2702136.9138 | 1246973.0616
49 | 2702364.6974 | 1247166.4371
50 | 2702352.3312 | 1247174.9067
51 | 2702319.8481 | 1247173.8837
52 | 2702077.4243 | 1246979.4075
53 | 2702048.2858 | 1247004.8851
54 | 2702062.7676 | 1247046.5606
55 | 2702035.9542 | 1247063.8924
56 | 2702095.398 | 1246962.3752
57 | 2702031.2769 | 1247019.3081
58 | 2702047.8649 | 1247084.7292
59 | 2702028.9875 | 1247051.7142
60 | 2702258.9741 | 1247284.4403
61 | 2702017.2523 | 1247031.2006
62 | 2702014.1528 | 1247033.6876
63 | 2701997.666 | 1247046.9166
64 | 2702048.4658 | 1247085.7804
65 | 2701988.7321 | 1247054.0853
66 | 2702058.3092 | 1247126.2586
67 | 2702038.1516 | 1247094.2082
68 | 2701944.644 | 1246990.8442
69 | 2701975.8087 | 1246957.4876
70 | 2701904.0164 | 1247034.9345
71 | 2701902.2251 | 1247036.8616
72 | 2701884.8572 | 1247017.0375
73 | 2701879.0004 | 1247061.848
74 | 2701897.6139 | 1247000.4308
75 | 2701857.3278 | 1247085.0161
76 | 2701975.5326 | 1247064.6766
77 | 2701963.1957 | 1247074.5757
78 | 2701982.1909 | 1247059.3339
79 | 2701960.7624 | 1247076.5281
80 | 2701945.8546 | 1247088.4902
81 | 2701940.4918 | 1247092.7933
82 | 2701889.5652 | 1247135.9209
83 | 2701837.4335 | 1247066.4635
84 | 2701899.6923 | 1247125.9844
85 | 2701871.5135 | 1247155.2737
86 | 2702040.5716 | 1247141.9555
87 | 2701918.8224 | 1247110.1809
88 | 2702022.5157 | 1247106.6874
89 | 2702006.5147 | 1247118.6623
90 | 2701851.5436 | 1247178.2194
91 | 2702048.4658 | 1247085.7804

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98919 | -0.20627 | 0.0045413 | 0.0011382
1 | 0.9883 | -0.22352 | 0.0023814 | 0.00059685
2 | 0.99066 | -0.17805 | 0 | 0
3 | 0.98747 | -0.23948 | 0 | 0
4 | 0.99054 | -0.18039 | 0.0059456 | 0.0014901
5 | 0.99143 | -0.16326 | 0.0057485 | 0.0014407
6 | 0.99052 | -0.18078 | 0 | 0
7 | 0.98733 | -0.2421 | 0 | 0
8 | 0.99312 | -0.13102 | 0.0287 | 0.007193
9 | 0.98991 | -0.19265 | 0 | 0
10 | 0.98721 | -0.24445 | 0.0034407 | 0.00086231
11 | 0.98642 | -0.25979 | 0 | 0
12 | 0.99484 | -0.098173 | 0.0038478 | 0.00096435
13 | 0.98985 | -0.19383 | 0.011711 | 0.0029351
14 | 0.97997 | -0.38515 | 0.0011393 | 0.00028554
15 | 0.97869 | -0.41021 | 0.053506 | 0.01341
16 | 0.98037 | -0.37723 | 0 | 0
17 | 0.97799 | -0.42386 | 0.0072766 | 0.0018237
18 | 0.9814 | -0.35721 | 0 | 0
19 | 0.97797 | -0.4242 | 0 | 0
20 | 0.98238 | -0.33811 | 0 | 0
21 | 0.98134 | -0.35821 | 0.0026806 | 0.00067182
22 | 0.9842 | -0.30262 | 0 | 0
23 | 0.98626 | -0.26272 | 0.0034341 | 0.00086068
24 | 0.98345 | -0.31725 | 0.00051773 | 0.00012976
25 | 0.98286 | -0.3286 | 0.00097905 | 0.00024537
26 | 0.97794 | -0.42472 | 0 | 0
27 | 0.97592 | -0.46454 | 0 | 0
28 | 0.98129 | -0.35928 | 0.002052 | 0.00051429
29 | 0.98585 | -0.27087 | 0.003819 | 0.00095714
30 | 0.99653 | -0.066051 | 0.021407 | 0.0053651
31 | 0.9968 | -0.060737 | 0 | 0
32 | 0.98124 | -0.36034 | 0.002019 | 0.00050601
33 | 0.9812 | -0.36112 | 0.001359 | 0.0003406
34 | 0.99401 | -0.11427 | 0.0037943 | 0.00095094
35 | 0.99416 | -0.11119 | 0.0025384 | 0.00063619
36 | 0.99401 | -0.11428 | 0.0033531 | 0.00084037
37 | 0.99439 | -0.1069 | 0.0020426 | 0.00051191
38 | 0.99605 | -0.074998 | 0.02085 | 0.0052256
39 | 0.98574 | -0.27294 | 0.0036686 | 0.00091943
40 | 0.98518 | -0.28476 | 0.013126 | 0.0032896
41 | 0.98596 | -0.26958 | 0.0039989 | 0.0010022
42 | 0.98512 | -0.28586 | 0 | 0
43 | 0.98673 | -0.25444 | 0.0086072 | 0.0021572
44 | 0.98511 | -0.28617 | 0.0038627 | 0.00096809
45 | 0.98788 | -0.23218 | 0 | 0
46 | 0.98913 | -0.20786 | 0 | 0
47 | 0.98739 | -0.24164 | 0.0072345 | 0.0018131
48 | 0.98692 | -0.2508 | 0.010909 | 0.0027341
49 | 0.97475 | -0.48756 | 0.02749 | 0.0068895
50 | 0.97513 | -0.48001 | 0.0043065 | 0.0010793
51 | 0.97567 | -0.46949 | 0.01409 | 0.0035314
52 | 0.98905 | -0.20956 | 0.0028494 | 0.00071414
53 | 0.98996 | -0.19193 | 0.002396 | 0.0006005
54 | 0.9963 | -0.070246 | 0.0090749 | 0.0022744
55 | 0.99657 | -0.065116 | 0 | 0
56 | 0.98901 | -0.21025 | 0.0015615 | 0.00039136
57 | 0.99107 | -0.17032 | 0.0019426 | 0.00048687
58 | 0.99813 | -0.035494 | 0.0073077 | 0.0018315
59 | 0.99486 | -0.097625 | 0.0017602 | 0.00044114
60 | 0.97792 | -0.42512 | 0.00091657 | 0.00022971
61 | 0.99203 | -0.1519 | 0 | 0
62 | 0.99176 | -0.15708 | 0.0024441 | 0.00061254
63 | 0.99037 | -0.18374 | 0.0023428 | 0.00058717
64 | 0.99817 | -0.034709 | 0 | 0
65 | 0.98964 | -0.19775 | 0.0022908 | 0.00057413
66 | 1 | 0 | -0.42604 | -0.10842
67 | 0.99811 | -0.035899 | 0.0015347 | 0.00038463
68 | 0.97692 | -0.44503 | 0.0060043 | 0.0015048
69 | 0.97651 | -0.45305 | 0.0096087 | 0.0024082
70 | 0.97779 | -0.42795 | 0 | 0
71 | 0.97787 | -0.42644 | 0.0051321 | 0.0012862
72 | 0.97741 | -0.43549 | 0.00366 | 0.00091729
73 | 0.97902 | -0.40376 | 0 | 0
74 | 0.97671 | -0.44911 | 0.012118 | 0.0030371
75 | 0.9801 | -0.3827 | 0 | 0
76 | 0.98861 | -0.2175 | 0.0013807 | 0.00034604
77 | 0.98769 | -0.23535 | 0.0018894 | 0.00047352
78 | 0.98912 | -0.20767 | 0.0018719 | 0.00046914
79 | 0.98751 | -0.23877 | 0.0014117 | 0.0003538
80 | 0.98645 | -0.25925 | 0.0012938 | 0.00032427
81 | 0.98607 | -0.26648 | 0.0018126 | 0.00045427
82 | 0.98265 | -0.33287 | 0 | 0
83 | 0.97996 | -0.38544 | 0.0055396 | 0.0013884
84 | 0.98335 | -0.31936 | 0.0021569 | 0.00054057
85 | 0.98239 | -0.33798 | 0.008622 | 0.0021609
86 | 0.99855 | -0.027473 | 0.016137 | 0.0040444
87 | 0.98461 | -0.2948 | 0.0018615 | 0.00046653
88 | 0.99804 | -0.03715 | 0.0016706 | 0.00041868
89 | 0.99801 | -0.037815 | 0.0019012 | 0.00047649
90 | 0.98233 | -0.33912 | 0.0020812 | 0.00052159
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.13642 | 0.034682 | -0.1363 | -0.034611 | 0.00011326 | 7.1019e-05 | 0.20538 | 0.20538 | 0.20538 | 0.98919 | -0.20627 | 0.9883 | -0.22352 | 14.106
1 | -0.14096 | -0.03582 | 0.14115 | 0.035941 | 0.00019185 | 0.00012045 | 0.21221 | 0.21221 | 0.21221 | 0.98919 | -0.20627 | 0.99066 | -0.17805 | 14.5752
2 | 0.13392 | 0.034014 | -0.13382 | -0.03395 | 0.00010278 | 6.4402e-05 | 0.2018 | 0.2018 | 0.2018 | 0.9883 | -0.22352 | 0.98747 | -0.23948 | 13.8598
3 | 0.0059462 | 0.0014902 | -0.0059456 | -0.0014901 | 6.6478e-07 | 1.3937e-07 | 0.0089315 | 0.0089316 | 0.0089316 | 0.99066 | -0.17805 | 0.99054 | -0.18039 | 2.4537
4 | -0.15882 | -0.04037 | 0.15893 | 0.040442 | 0.00011318 | 7.1342e-05 | 0.23875 | 0.23875 | 0.23875 | 0.99066 | -0.17805 | 0.99143 | -0.16326 | 16.3976
5 | 0.01172 | 0.0029397 | -0.011718 | -0.0029389 | 1.5283e-06 | 8.0881e-07 | 0.017605 | 0.017605 | 0.017605 | 0.99066 | -0.17805 | 0.99052 | -0.18078 | 4.8364
6 | 0.13382 | 0.03395 | -0.1338 | -0.033939 | 1.6817e-05 | 1.0538e-05 | 0.2018 | 0.2018 | 0.2018 | 0.98747 | -0.23948 | 0.98733 | -0.2421 | 13.8598
7 | -0.16468 | -0.041883 | 0.16493 | 0.042044 | 0.00025628 | 0.00016171 | 0.24738 | 0.24738 | 0.24738 | 0.99143 | -0.16326 | 0.99312 | -0.13102 | 16.9902
8 | 0.011718 | 0.0029389 | -0.011712 | -0.0029354 | 6.6273e-06 | 3.5079e-06 | 0.017605 | 0.017605 | 0.017605 | 0.99052 | -0.18078 | 0.98991 | -0.19265 | 4.8365
9 | 0.0034411 | 0.00086207 | -0.0034407 | -0.00086231 | 3.8558e-07 | -2.4211e-07 | 0.0051859 | 0.0051861 | 0.0051861 | 0.98733 | -0.2421 | 0.98721 | -0.24445 | 1.4248
10 | 0.13036 | 0.033077 | -0.13025 | -0.033008 | 0.0001108 | 6.9349e-05 | 0.19661 | 0.19661 | 0.19661 | 0.98733 | -0.2421 | 0.98642 | -0.25979 | 13.5037
11 | -0.19363 | -0.049237 | 0.19394 | 0.049432 | 0.0003069 | 0.0001944 | 0.29038 | 0.29038 | 0.29038 | 0.99312 | -0.13102 | 0.99484 | -0.098173 | 19.9435
12 | 0.011712 | 0.0029354 | -0.011711 | -0.0029351 | 6.5539e-07 | 3.4696e-07 | 0.017605 | 0.017605 | 0.017605 | 0.98991 | -0.19265 | 0.98985 | -0.19383 | 4.8365
13 | 0.11932 | 0.030269 | -0.11908 | -0.030116 | 0.00024524 | 0.00015285 | 0.18013 | 0.18013 | 0.18013 | 0.98642 | -0.25979 | 0.9842 | -0.30262 | 12.3717
14 | 0.010927 | 0.002739 | -0.010925 | -0.0027382 | 1.5288e-06 | 7.8693e-07 | 0.016483 | 0.016483 | 0.016483 | 0.98642 | -0.25979 | 0.98626 | -0.26272 | 4.5283
15 | -0.20952 | -0.053339 | 0.20976 | 0.053488 | 0.00023441 | 0.0001487 | 0.31369 | 0.31369 | 0.31369 | 0.99484 | -0.098173 | 0.99605 | -0.074998 | 21.5445
16 | 0.011736 | 0.0029433 | -0.011731 | -0.0029407 | 4.8779e-06 | 2.574e-06 | 0.017555 | 0.017555 | 0.017555 | 0.99484 | -0.098173 | 0.99439 | -0.1069 | 4.8229
17 | 0.10788 | 0.02714 | -0.10775 | -0.02706 | 0.000129 | 7.9981e-05 | 0.16384 | 0.16384 | 0.16384 | 0.97997 | -0.38515 | 0.97869 | -0.41021 | 11.2528
18 | -0.10902 | -0.027426 | 0.10906 | 0.027451 | 4.1254e-05 | 2.5593e-05 | 0.16557 | 0.16557 | 0.16557 | 0.97997 | -0.38515 | 0.98037 | -0.37723 | 11.3716
19 | 0.054241 | 0.01365 | -0.054206 | -0.01363 | 3.5371e-05 | 1.9853e-05 | 0.08249 | 0.082491 | 0.082491 | 0.97869 | -0.41021 | 0.97799 | -0.42386 | 5.6656
20 | -0.10906 | -0.027451 | 0.10916 | 0.027516 | 0.00010447 | 6.4809e-05 | 0.16557 | 0.16557 | 0.16557 | 0.98037 | -0.37723 | 0.9814 | -0.35721 | 11.3716
21 | 0.046929 | 0.011807 | -0.046928 | -0.011806 | 7.6315e-07 | 4.0831e-07 | 0.071419 | 0.071419 | 0.071419 | 0.97799 | -0.42386 | 0.97797 | -0.4242 | 4.9052
22 | -0.11727 | -0.029548 | 0.11738 | 0.029615 | 0.00010724 | 6.6803e-05 | 0.17787 | 0.17787 | 0.17787 | 0.9814 | -0.35721 | 0.98238 | -0.33811 | 12.2162
23 | 0.0081115 | 0.0020324 | -0.0081111 | -0.0020323 | 3.8748e-07 | 1.6167e-07 | 0.012299 | 0.012299 | 0.012299 | 0.9814 | -0.35721 | 0.98134 | -0.35821 | 3.3788
24 | 0.00091661 | 0.00022905 | -0.00091658 | -0.00022942 | 2.2646e-08 | -3.7518e-07 | 0.0013944 | 0.0013945 | 0.0013945 | 0.97797 | -0.4242 | 0.97794 | -0.42472 | 0.38312
25 | 0.046012 | 0.011577 | -0.045923 | -0.011523 | 8.8498e-05 | 5.4228e-05 | 0.070025 | 0.070026 | 0.070026 | 0.97797 | -0.4242 | 0.97592 | -0.46454 | 9.6189
26 | -0.11738 | -0.029615 | 0.11743 | 0.029649 | 5.3476e-05 | 3.3311e-05 | 0.17787 | 0.17787 | 0.17787 | 0.98238 | -0.33811 | 0.98286 | -0.3286 | 12.2162
27 | 0.0054306 | 0.0013605 | -0.0054303 | -0.0013604 | 2.7707e-07 | 3.9653e-08 | 0.0082342 | 0.0082342 | 0.0082342 | 0.98134 | -0.35821 | 0.98129 | -0.35928 | 2.2621
28 | 0.11908 | 0.030116 | -0.11899 | -0.030064 | 8.3475e-05 | 5.203e-05 | 0.18013 | 0.18013 | 0.18013 | 0.9842 | -0.30262 | 0.98345 | -0.31725 | 12.3717
29 | 0.0074909 | 0.0018775 | -0.007488 | -0.0018764 | 2.908e-06 | 1.0867e-06 | 0.011302 | 0.011302 | 0.011302 | 0.98626 | -0.26272 | 0.98585 | -0.27087 | 3.105
30 | 0.11848 | 0.029934 | -0.11841 | -0.029894 | 6.4443e-05 | 4.016e-05 | 0.17935 | 0.17935 | 0.17935 | 0.98345 | -0.31725 | 0.98286 | -0.3286 | 12.3179
31 | 0.00091658 | 0.00022942 | -0.00091657 | -0.00022971 | 1.7406e-08 | -2.883e-07 | 0.0013945 | 0.0013947 | 0.0013947 | 0.97794 | -0.42472 | 0.97792 | -0.42512 | 0.38315
32 | 0.031829 | 0.0079897 | -0.031806 | -0.007975 | 2.3472e-05 | 1.469e-05 | 0.048536 | 0.048536 | 0.048536 | 0.97592 | -0.46454 | 0.97513 | -0.48001 | 13.3341
33 | 0.014094 | 0.0035333 | -0.01409 | -0.0035314 | 3.3255e-06 | 1.8884e-06 | 0.02149 | 0.02149 | 0.02149 | 0.97592 | -0.46454 | 0.97567 | -0.46949 | 5.9038
34 | 0.0033782 | 0.00084613 | -0.0033781 | -0.00084624 | 1.698e-07 | -1.0931e-07 | 0.0051225 | 0.0051226 | 0.0051226 | 0.98129 | -0.35928 | 0.98124 | -0.36034 | 1.4073
35 | 0.0036689 | 0.00091926 | -0.0036686 | -0.00091943 | 3.6163e-07 | -1.6946e-07 | 0.0055377 | 0.0055379 | 0.0055379 | 0.98585 | -0.27087 | 0.98574 | -0.27294 | 1.5214
36 | -0.021407 | -0.0053651 | 0.021413 | 0.0053684 | 5.4204e-06 | 3.2847e-06 | 0.031965 | 0.031965 | 0.031965 | 0.99653 | -0.066051 | 0.9968 | -0.060737 | 8.7816
37 | -0.25218 | -0.064183 | 0.25259 | 0.064441 | 0.00040511 | 0.00025768 | 0.3768 | 0.3768 | 0.3768 | 0.9968 | -0.060737 | 0.99855 | -0.027473 | 25.8791
38 | 0.23077 | 0.058814 | -0.23061 | -0.058714 | 0.0001587 | 0.00010082 | 0.34484 | 0.34484 | 0.34484 | 0.9968 | -0.060737 | 0.99605 | -0.074998 | 23.6838
39 | 0.0013591 | 0.00034023 | -0.001359 | -0.0003406 | 5.0588e-08 | -3.6881e-07 | 0.0020608 | 0.002061 | 0.002061 | 0.98124 | -0.36034 | 0.9812 | -0.36112 | 0.5662
40 | -0.0071474 | -0.0017913 | 0.0071485 | 0.0017917 | 1.0486e-06 | 3.5444e-07 | 0.0107 | 0.010699 | 0.0107 | 0.99401 | -0.11427 | 0.99416 | -0.11119 | 2.9394
41 | 0.0033531 | 0.00084037 | -0.0033531 | -0.00084037 | 1.1016e-09 | -8.0758e-10 | 0.0050196 | 0.0050196 | 0.0050196 | 0.99401 | -0.11427 | 0.99401 | -0.11428 | 1.379
42 | -0.0096869 | -0.0024279 | 0.0096889 | 0.0024288 | 1.9826e-06 | 9.4266e-07 | 0.014499 | 0.014499 | 0.014499 | 0.99416 | -0.11119 | 0.99439 | -0.1069 | 3.9832
43 | -0.016989 | -0.0042576 | 0.017001 | 0.0042648 | 1.2299e-05 | 7.2363e-06 | 0.02566 | 0.025659 | 0.02566 | 0.98518 | -0.28476 | 0.98596 | -0.26958 | 7.0493
44 | 0.003863 | 0.000968 | -0.0038628 | -0.00096807 | 2.0147e-07 | -7.2e-08 | 0.0058346 | 0.0058347 | 0.0058347 | 0.98518 | -0.28476 | 0.98512 | -0.28586 | 1.6029
45 | -0.021 | -0.005267 | 0.021015 | 0.0052762 | 1.5161e-05 | 9.1894e-06 | 0.031694 | 0.031694 | 0.031694 | 0.98596 | -0.26958 | 0.98673 | -0.25444 | 8.7073
46 | 0.0038628 | 0.00096807 | -0.0038627 | -0.00096809 | 5.8061e-08 | -2.0744e-08 | 0.0058347 | 0.0058347 | 0.0058347 | 0.98512 | -0.28586 | 0.98511 | -0.28617 | 1.6029
47 | -0.029622 | -0.0074334 | 0.029654 | 0.007453 | 3.1484e-05 | 1.9612e-05 | 0.044674 | 0.044674 | 0.044674 | 0.98673 | -0.25444 | 0.98788 | -0.23218 | 12.2731
48 | -0.04781 | -0.012008 | 0.047866 | 0.012043 | 5.5541e-05 | 3.518e-05 | 0.072024 | 0.072024 | 0.072024 | 0.98788 | -0.23218 | 0.98913 | -0.20786 | 19.7869
49 | 0.018157 | 0.0045546 | -0.018148 | -0.0045497 | 8.1894e-06 | 4.8676e-06 | 0.02735 | 0.02735 | 0.02735 | 0.98788 | -0.23218 | 0.98739 | -0.24164 | 7.5139
50 | 0.0044114 | 0.0011052 | -0.004411 | -0.0011052 | 3.5587e-07 | -4.8808e-08 | 0.0066362 | 0.0066363 | 0.0066363 | 0.98913 | -0.20786 | 0.98905 | -0.20956 | 1.8232
51 | -0.052277 | -0.013148 | 0.052317 | 0.013173 | 3.9819e-05 | 2.5264e-05 | 0.07866 | 0.07866 | 0.07866 | 0.98913 | -0.20786 | 0.98996 | -0.19193 | 21.61
52 | 0.010914 | 0.0027366 | -0.010909 | -0.0027341 | 4.7598e-06 | 2.4465e-06 | 0.016448 | 0.016448 | 0.016448 | 0.98739 | -0.24164 | 0.98692 | -0.2508 | 4.5187
53 | -0.02749 | -0.0068895 | 0.027499 | 0.0068957 | 9.8981e-06 | 6.1479e-06 | 0.041964 | 0.041964 | 0.041964 | 0.97475 | -0.48756 | 0.97513 | -0.48001 | 11.5287
54 | 0.0015616 | 0.00039107 | -0.0015615 | -0.00039136 | 5.1328e-08 | -2.8539e-07 | 0.0023493 | 0.0023494 | 0.0023494 | 0.98905 | -0.20956 | 0.98901 | -0.21025 | 0.64545
55 | -0.054713 | -0.013774 | 0.05477 | 0.01381 | 5.6591e-05 | 3.5931e-05 | 0.082262 | 0.082262 | 0.082262 | 0.98996 | -0.19193 | 0.99107 | -0.17032 | 22.5994
56 | -0.0090749 | -0.0022744 | 0.0090771 | 0.0022754 | 2.2179e-06 | 1.0001e-06 | 0.013554 | 0.013554 | 0.013554 | 0.9963 | -0.070246 | 0.99657 | -0.065116 | 3.7236
57 | -0.14243 | -0.036299 | 0.14263 | 0.036429 | 0.00020393 | 0.00012989 | 0.21288 | 0.21288 | 0.21288 | 0.99657 | -0.065116 | 0.99813 | -0.035494 | 29.2416
58 | 0.13335 | 0.034024 | -0.13314 | -0.03389 | 0.00020903 | 0.0001336 | 0.19933 | 0.19933 | 0.19933 | 0.99657 | -0.065116 | 0.99486 | -0.097625 | 54.7598
59 | -0.056712 | -0.014296 | 0.056762 | 0.014328 | 5.0029e-05 | 3.1782e-05 | 0.085178 | 0.085178 | 0.085178 | 0.99107 | -0.17032 | 0.99203 | -0.1519 | 23.4006
60 | -0.14994 | -0.038261 | 0.14995 | 0.038264 | 5.6845e-06 | 3.5748e-06 | 0.22377 | 0.22377 | 0.22377 | 0.99813 | -0.035494 | 0.99817 | -0.034709 | 15.369
61 | 0.13138 | 0.033449 | -0.13104 | -0.03323 | 0.00034287 | 0.00021913 | 0.19669 | 0.19669 | 0.19669 | 0.99486 | -0.097625 | 0.99203 | -0.1519 | 54.0365
62 | 0.074277 | 0.018902 | -0.074258 | -0.01889 | 1.8532e-05 | 1.1809e-05 | 0.11151 | 0.11151 | 0.11151 | 0.99203 | -0.1519 | 0.99176 | -0.15708 | 30.636
63 | 0.071814 | 0.018278 | -0.071722 | -0.018219 | 9.2198e-05 | 5.8734e-05 | 0.10785 | 0.10785 | 0.10785 | 0.99176 | -0.15708 | 0.99037 | -0.18374 | 29.6286
64 | 0.069379 | 0.017632 | -0.069332 | -0.017602 | 4.6753e-05 | 2.9774e-05 | 0.10433 | 0.10433 | 0.10433 | 0.99037 | -0.18374 | 0.98964 | -0.19775 | 28.6615
65 | -0.15505 | -0.039544 | 0.15531 | 0.039708 | 0.00026033 | 0.00016389 | 0.23139 | 0.23139 | 0.23139 | 0.99817 | -0.034709 | 1 | 0 | 15.8919
66 | 0.005107 | 0.0012795 | -0.0051067 | -0.0012795 | 2.895e-07 | 1.1186e-08 | 0.0076131 | 0.0076132 | 0.0076132 | 0.99817 | -0.034709 | 0.99811 | -0.035899 | 2.0915
67 | 0.067041 | 0.017028 | -0.067009 | -0.017007 | 3.2008e-05 | 2.0377e-05 | 0.10088 | 0.10088 | 0.10088 | 0.98964 | -0.19775 | 0.98912 | -0.20767 | 27.7153
68 | 0.26908 | 0.068712 | -0.26872 | -0.068485 | 0.00035679 | 0.00022711 | 0.40085 | 0.40085 | 0.40085 | 1 | 0 | 0.99855 | -0.027473 | 27.5307
69 | 0.0035721 | 0.00089482 | -0.0035718 | -0.00089495 | 2.1278e-07 | -1.2531e-07 | 0.0053252 | 0.0053253 | 0.0053253 | 0.99811 | -0.035899 | 0.99804 | -0.03715 | 1.463
70 | 0.0096124 | 0.0024099 | -0.0096087 | -0.0024082 | 3.6721e-06 | 1.7785e-06 | 0.014642 | 0.014642 | 0.014642 | 0.97692 | -0.44503 | 0.97651 | -0.45305 | 4.0225
71 | -0.015617 | -0.0039148 | 0.015629 | 0.0039222 | 1.2721e-05 | 7.3904e-06 | 0.023787 | 0.023787 | 0.023787 | 0.97692 | -0.44503 | 0.97779 | -0.42795 | 6.5349
72 | -0.031421 | -0.0078841 | 0.031423 | 0.0078855 | 2.2563e-06 | 1.411e-06 | 0.04782 | 0.04782 | 0.04782 | 0.97779 | -0.42795 | 0.97787 | -0.42644 | 13.1374
73 | 0.015792 | 0.0039619 | -0.015786 | -0.0039586 | 5.6788e-06 | 3.3057e-06 | 0.024033 | 0.024033 | 0.024033 | 0.97779 | -0.42795 | 0.97741 | -0.43549 | 6.6026
74 | -0.036555 | -0.0091717 | 0.036595 | 0.0091966 | 3.9588e-05 | 2.4908e-05 | 0.05563 | 0.055629 | 0.05563 | 0.97787 | -0.42644 | 0.97902 | -0.40376 | 15.2829
75 | 0.012126 | 0.0030413 | -0.012118 | -0.0030371 | 7.8667e-06 | 4.2638e-06 | 0.018461 | 0.018462 | 0.018462 | 0.97741 | -0.43549 | 0.97671 | -0.44911 | 5.0719
76 | -0.036595 | -0.0091966 | 0.036632 | 0.0092198 | 3.6816e-05 | 2.3163e-05 | 0.055629 | 0.055629 | 0.055629 | 0.97902 | -0.40376 | 0.9801 | -0.3827 | 15.2828
77 | -0.042172 | -0.010608 | 0.042273 | 0.010672 | 0.00010067 | 6.3602e-05 | 0.064041 | 0.06404 | 0.064041 | 0.9801 | -0.3827 | 0.98265 | -0.33287 | 17.5936
78 | 0.0055403 | 0.0013885 | -0.0055396 | -0.0013884 | 7.2176e-07 | 1.1916e-07 | 0.0084114 | 0.0084116 | 0.0084116 | 0.9801 | -0.3827 | 0.97996 | -0.38544 | 2.3109
79 | 0.063726 | 0.016173 | -0.063671 | -0.016138 | 5.4653e-05 | 3.4775e-05 | 0.095989 | 0.095989 | 0.095989 | 0.98861 | -0.2175 | 0.98769 | -0.23535 | 26.3707
80 | -0.065107 | -0.016519 | 0.065137 | 0.016538 | 3.0788e-05 | 1.9595e-05 | 0.098068 | 0.098068 | 0.098068 | 0.98861 | -0.2175 | 0.98912 | -0.20767 | 26.9416
81 | 0.061782 | 0.015664 | -0.061772 | -0.015658 | 1.015e-05 | 6.4559e-06 | 0.093143 | 0.093143 | 0.093143 | 0.98769 | -0.23535 | 0.98751 | -0.23877 | 25.5887
82 | 0.06036 | 0.015304 | -0.060301 | -0.015266 | 5.9376e-05 | 3.7756e-05 | 0.091016 | 0.091016 | 0.091016 | 0.98751 | -0.23877 | 0.98645 | -0.25925 | 25.0044
83 | 0.059007 | 0.014942 | -0.058986 | -0.014929 | 2.0453e-05 | 1.3002e-05 | 0.089064 | 0.089064 | 0.089064 | 0.98645 | -0.25925 | 0.98607 | -0.26648 | 24.4682
84 | 0.057174 | 0.014475 | -0.057096 | -0.014425 | 7.7647e-05 | 4.934e-05 | 0.086329 | 0.086329 | 0.086329 | 0.98607 | -0.26648 | 0.98461 | -0.2948 | 23.7168
85 | -0.052979 | -0.013355 | 0.053013 | 0.013377 | 3.4266e-05 | 2.175e-05 | 0.080252 | 0.080252 | 0.080252 | 0.98265 | -0.33287 | 0.98335 | -0.31936 | 22.0474
86 | 0.010706 | 0.0026835 | -0.010703 | -0.0026822 | 2.6085e-06 | 1.3343e-06 | 0.016212 | 0.016212 | 0.016212 | 0.98265 | -0.33287 | 0.98239 | -0.33798 | 4.4539
87 | -0.05517 | -0.013918 | 0.055235 | 0.013959 | 6.4942e-05 | 4.1247e-05 | 0.083516 | 0.083516 | 0.083516 | 0.98335 | -0.31936 | 0.98461 | -0.2948 | 22.944
88 | 0.0020813 | 0.00052128 | -0.0020812 | -0.00052159 | 1.1336e-07 | -3.1257e-07 | 0.0031524 | 0.0031525 | 0.0031525 | 0.98239 | -0.33798 | 0.98233 | -0.33912 | 0.86608
89 | 0.0019013 | 0.00047627 | -0.0019012 | -0.00047649 | 6.0221e-08 | -2.2262e-07 | 0.0028346 | 0.0028347 | 0.0028347 | 0.99804 | -0.03715 | 0.99801 | -0.037815 | 0.77876

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44176 | 0.11236

## res_load
| p_mw | q_mvar
0 | 0.0045413 | 0.0011382
1 | 0.0023814 | 0.00059685
2 | 0.0059456 | 0.0014901
3 | 0.0057485 | 0.0014407
4 | 0.0287 | 0.007193
5 | 0.0034407 | 0.00086231
6 | 0.0038478 | 0.00096435
7 | 0.011711 | 0.0029351
8 | 0.0011393 | 0.00028554
9 | 0.053506 | 0.01341
10 | 0.0072766 | 0.0018237
11 | 0.0026806 | 0.00067182
12 | 0.0034341 | 0.00086068
13 | 0.00051773 | 0.00012976
14 | 0.00097905 | 0.00024537
15 | 0.002052 | 0.00051429
16 | 0.003819 | 0.00095714
17 | 0.021407 | 0.0053651
18 | 0.002019 | 0.00050601
19 | 0.001359 | 0.0003406
20 | 0.0037943 | 0.00095094
21 | 0.0025384 | 0.00063619
22 | 0.0033531 | 0.00084037
23 | 0.0020426 | 0.00051191
24 | 0.02085 | 0.0052256
25 | 0.0036686 | 0.00091943
26 | 0.013126 | 0.0032896
27 | 0.0039989 | 0.0010022
28 | 0.0086072 | 0.0021572
29 | 0.0038627 | 0.00096809
30 | 0.0072345 | 0.0018131
31 | 0.010909 | 0.0027341
32 | 0.02749 | 0.0068895
33 | 0.0043065 | 0.0010793
34 | 0.01409 | 0.0035314
35 | 0.0028494 | 0.00071414
36 | 0.002396 | 0.0006005
37 | 0.0090749 | 0.0022744
38 | 0.0015615 | 0.00039136
39 | 0.0019426 | 0.00048687
40 | 0.0073077 | 0.0018315
41 | 0.0017602 | 0.00044114
42 | 0.00091657 | 0.00022971
43 | 0.0024441 | 0.00061254
44 | 0.0023428 | 0.00058717
45 | 0.0022908 | 0.00057413
46 | 0.015716 | 0.0039389
47 | 0.0015347 | 0.00038463
48 | 0.0060043 | 0.0015048
49 | 0.0096087 | 0.0024082
50 | 0.0051321 | 0.0012862
51 | 0.00366 | 0.00091729
52 | 0.012118 | 0.0030371
53 | 0.0013807 | 0.00034604
54 | 0.0018894 | 0.00047352
55 | 0.0018719 | 0.00046914
56 | 0.0014117 | 0.0003538
57 | 0.0012938 | 0.00032427
58 | 0.0018126 | 0.00045427
59 | 0.0055396 | 0.0013884
60 | 0.0021569 | 0.00054057
61 | 0.008622 | 0.0021609
62 | 0.016137 | 0.0040444
63 | 0.0018615 | 0.00046653
64 | 0.0016706 | 0.00041868
65 | 0.0019012 | 0.00047649
66 | 0.0020812 | 0.00052159

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1