## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_177-21_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_177-21_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_177-21_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_177-21_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_177-21_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_177-21_0_5_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_177-21_0_5_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_177-21_0_5_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_177-21_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_177-21_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_177-21_0_5_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_177-21_0_5_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_177-21_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_177-21_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_177-21_0_5_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_177-21_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_177-21_0_5_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_177-21_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_177-21_0_5_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_177-21_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_177-21_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_177-21_0_5_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_177-21_0_5_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_177-21_0_5_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_177-21_0_5_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_177-21_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_177-21_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_177-21_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_177-21_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_177-21_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_177-21_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_177-21_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_177-21_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_177-21_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_177-21_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_177-21_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_177-21_0_5_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_177-21_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_177-21_0_5_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_177-21_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_177-21_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_177-21_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_177-21_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_177-21_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_177-21_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_177-21_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_177-21_0_5_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_177-21_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_177-21_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_MV_7_2_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_177-21_0_5_load_0 | 0 | 0.073792 | 0.018494 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_177-21_0_5_load_52 | 5 | 0.0070537 | 0.0017678 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_177-21_0_5_load_50 | 7 | 0.0045884 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_177-21_0_5_load_42 | 9 | 0.025524 | 0.0063969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_177-21_0_5_load_18 | 10 | 0.010216 | 0.0025604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_177-21_0_5_load_15 | 11 | 0.081644 | 0.020462 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_177-21_0_5_load_51 | 14 | 0.013087 | 0.0032799 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_177-21_0_5_load_26 | 16 | 0.01358 | 0.0034034 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_177-21_0_5_load_23 | 18 | 0.036968 | 0.009265 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_177-21_0_5_load_22 | 19 | 0.0078756 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_177-21_0_5_load_19 | 20 | 0.0023825 | 0.0005971 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_177-21_0_5_load_44 | 21 | 0.0032529 | 0.00081526 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_177-21_0_5_load_53 | 22 | 0.0040862 | 0.0010241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_177-21_0_5_load_41 | 23 | 0.0035983 | 0.00090181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_177-21_0_5_load_39 | 24 | 0.0079036 | 0.0019808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_177-21_0_5_load_16 | 25 | 0.010145 | 0.0025426 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_177-21_0_5_load_35 | 26 | 0.0016822 | 0.0004216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_177-21_0_5_load_36 | 28 | 0.0057927 | 0.0014518 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_177-21_0_5_load_20 | 31 | 0.0064409 | 0.0016143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_177-21_0_5_load_45 | 32 | 0.0018823 | 0.00047174 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_177-21_0_5_load_54 | 36 | 0.0031109 | 0.00077967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_177-21_0_5_load_49 | 38 | 0.0077465 | 0.0019415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_177-21_0_5_load_46 | 39 | 0.0048133 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_177-21_0_5_load_37 | 40 | 0.035195 | 0.0088208 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_177-21_0_5_load_27 | 41 | 0.067481 | 0.016912 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_177-21_0_5_load_43 | 42 | 0.014513 | 0.0036372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_177-21_0_5_load_38 | 45 | 0.014064 | 0.0035248 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_177-21_0_5_load_55 | 46 | 0.014103 | 0.0035346 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_177-21_0_5_load_47 | 47 | 0.0029638 | 0.0007428 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_177-21_0_5_load_48 | 48 | 0.0047705 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_177-21_0_5_line_0 |  | 0 | 1 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_177-21_0_5_line_1 |  | 1 | 2 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_177-21_0_5_line_2 |  | 2 | 8 | 0.029467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_177-21_0_5_line_3 |  | 2 | 9 | 0.041186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_177-21_0_5_line_4 |  | 3 | 4 | 0.034809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_177-21_0_5_line_5 |  | 3 | 5 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_177-21_0_5_line_6 |  | 4 | 6 | 0.010395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_177-21_0_5_line_7 |  | 4 | 7 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_177-21_0_5_line_8 |  | 5 | 22 | 0.00013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_177-21_0_5_line_9 |  | 6 | 23 | 0.0070155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_177-21_0_5_line_10 |  | 6 | 24 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_177-21_0_5_line_11 |  | 7 | 14 | 0.0042128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_177-21_0_5_line_12 |  | 8 | 10 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_177-21_0_5_line_13 |  | 8 | 11 | 0.022254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_177-21_0_5_line_14 |  | 10 | 24 | 0.0011025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_177-21_0_5_line_15 |  | 11 | 25 | 0.005451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_177-21_0_5_line_16 |  | 12 | 13 | 0.001622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_177-21_0_5_line_17 |  | 12 | 14 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_177-21_0_5_line_18 |  | 13 | 21 | 0.0076239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_177-21_0_5_line_19 |  | 15 | 16 | 0.0195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_177-21_0_5_line_20 |  | 15 | 17 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_177-21_0_5_line_21 |  | 15 | 18 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_177-21_0_5_line_22 |  | 17 | 19 | 0.017463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_177-21_0_5_line_23 |  | 17 | 20 | 0.029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_177-21_0_5_line_24 |  | 18 | 30 | 0.0077547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_177-21_0_5_line_25 |  | 19 | 27 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_177-21_0_5_line_26 |  | 20 | 31 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_177-21_0_5_line_27 |  | 21 | 32 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_177-21_0_5_line_28 |  | 23 | 48 | 0.0020248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_177-21_0_5_line_29 |  | 25 | 33 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_177-21_0_5_line_30 |  | 26 | 27 | 0.0074597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_177-21_0_5_line_31 |  | 28 | 29 | 0.0086598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_177-21_0_5_line_32 |  | 29 | 31 | 0.0080593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_177-21_0_5_line_33 |  | 30 | 41 | 0.0033717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_177-21_0_5_line_34 |  | 33 | 34 | 0.004984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_177-21_0_5_line_35 |  | 33 | 35 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_177-21_0_5_line_36 |  | 34 | 36 | 0.015151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_177-21_0_5_line_37 |  | 35 | 40 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_177-21_0_5_line_38 |  | 36 | 46 | 0.0020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_177-21_0_5_line_39 |  | 37 | 38 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_177-21_0_5_line_40 |  | 37 | 39 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_177-21_0_5_line_41 |  | 39 | 47 | 0.0079568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_177-21_0_5_line_42 |  | 40 | 45 | 0.01408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_177-21_0_5_line_43 |  | 41 | 42 | 0.042629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_177-21_0_5_line_44 |  | 42 | 44 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_177-21_0_5_line_45 |  | 43 | 44 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_177-21_0_5_line_46 |  | 43 | 45 | 0.0070393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_177-21_0_5_line_47 |  | 47 | 48 | 0.0079504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_177-21_0_5_trafo_42 | 0.63 MVA 20/0.4 kV | 49 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2701486.3196 | 1247040.5206 | 2701485.8348 | 1247039.7117 | 2701478.2812 | 1247026.1972
1 | 2701485.4799 | 1247049.8469 | 2701483.0901 | 1247050.8735 | 2701480.2065 | 1247052.5032 | 2701479.8409 | 1247045.1801 | 2701486.3196 | 1247040.5206
2 | 2701485.4799 | 1247049.8469 | 2701483.0901 | 1247050.8735 | 2701480.2065 | 1247052.5032 | 2701478.284 | 1247053.5934 | 2701484.6788 | 1247069.7154 | 2701488.3694 | 1247071.2576
3 | 2701485.4799 | 1247049.8469 | 2701493.3117 | 1247064.1143 | 2701515.1497 | 1247052.1293
4 | 2701449.083 | 1247038.2484 | 2701453.343 | 1247055.0678 | 2701455.3545 | 1247062.0188 | 2701457.7075 | 1247071.9668
5 | 2701449.083 | 1247038.2484 | 2701441.5771 | 1247040.2438 | 2701435.0734 | 1247041.9773
6 | 2701457.7075 | 1247071.9668 | 2701459.7237 | 1247082.1648
7 | 2701457.7075 | 1247071.9668 | 2701448.8232 | 1247074.6058 | 2701441.9283 | 1247076.6474
8 | 2701434.9398 | 1247042.0129 | 2701435.0734 | 1247041.9773
9 | 2701459.7237 | 1247082.1648 | 2701461.3286 | 1247088.9943
10 | 2701459.7237 | 1247082.1648 | 2701476.406 | 1247075.8128
11 | 2701441.9283 | 1247076.6474 | 2701437.8889 | 1247077.8435
12 | 2701488.3694 | 1247071.2576 | 2701477.4364 | 1247075.4205
13 | 2701488.3694 | 1247071.2576 | 2701490.0856 | 1247074.2671 | 2701493.6309 | 1247084.2911 | 2701493.3376 | 1247087.7444 | 2701494.3702 | 1247090.5309 | 2701494.9668 | 1247092.1438
14 | 2701477.4364 | 1247075.4205 | 2701476.406 | 1247075.8128
15 | 2701494.9668 | 1247092.1438 | 2701496.8578 | 1247097.2562
16 | 2701420.4349 | 1247086.3739 | 2701421.8976 | 1247085.665
17 | 2701421.8976 | 1247085.665 | 2701437.8889 | 1247077.8435
18 | 2701420.4349 | 1247086.3739 | 2701423.5595 | 1247093.3281
19 | 2701546.8517 | 1246997.5899 | 2701566.2433 | 1246995.5409
20 | 2701524.2317 | 1246990.5749 | 2701534.5424 | 1246994.6435 | 2701538.3104 | 1246996.0758 | 2701541.9055 | 1246997.0159 | 2701546.8517 | 1246997.5899
21 | 2701546.8517 | 1246997.5899 | 2701548.2463 | 1247002.6177 | 2701554.9314 | 1247015.8981
22 | 2701524.2317 | 1246990.5749 | 2701516.5831 | 1246974.8761
23 | 2701524.2317 | 1246990.5749 | 2701515.2657 | 1246989.1536 | 2701506.5693 | 1246989.6385 | 2701496.2302 | 1246991.1961 | 2701495.2594 | 1246991.2842
24 | 2701557.3131 | 1247023.278 | 2701554.9314 | 1247015.8981
25 | 2701531.6615 | 1246966.1274 | 2701516.5831 | 1246974.8761
26 | 2701495.2594 | 1246991.2842 | 2701487.7782 | 1246991.9632 | 2701479.9846 | 1246991.7852 | 2701475.6189 | 1246991.401
27 | 2701423.5595 | 1247093.3281 | 2701427.8382 | 1247102.8511
28 | 2701461.7918 | 1247090.9653 | 2701461.3286 | 1247088.9943
29 | 2701503.6773 | 1247110.3946 | 2701501.6345 | 1247105.2779 | 2701500.0743 | 1247105.9517 | 2701496.8578 | 1247097.2562
30 | 2701531.6615 | 1246966.1274 | 2701528.8978 | 1246962.0769 | 2701527.6808 | 1246959.8291
31 | 2701467.5907 | 1246990.6945 | 2701458.9354 | 1246990.4129
32 | 2701467.5907 | 1246990.6945 | 2701475.6189 | 1246991.401
33 | 2701557.3131 | 1247023.278 | 2701557.7078 | 1247026.6266
34 | 2701503.6773 | 1247110.3946 | 2701505.4864 | 1247115.0403
35 | 2701503.6773 | 1247110.3946 | 2701516.629 | 1247104.9343
36 | 2701505.4864 | 1247115.0403 | 2701508.9962 | 1247123.1623 | 2701510.6929 | 1247126.8721 | 2701511.826 | 1247128.786
37 | 2701516.629 | 1247104.9343 | 2701536.3419 | 1247096.6269
38 | 2701512.8809 | 1247130.568 | 2701511.826 | 1247128.786
39 | 2701477.6936 | 1247121.1584 | 2701481.2746 | 1247125.5676 | 2701488.6117 | 1247134.4008
40 | 2701477.6936 | 1247121.1584 | 2701471.3533 | 1247111.1198 | 2701468.2386 | 1247105.3809
41 | 2701468.2386 | 1247105.3809 | 2701464.4432 | 1247098.3877
42 | 2701536.3419 | 1247096.6269 | 2701549.317 | 1247091.159
43 | 2701557.7078 | 1247026.6266 | 2701561.8312 | 1247061.6076 | 2701559.7753 | 1247068.7224
44 | 2701565.9887 | 1247083.9519 | 2701559.7753 | 1247068.7224
45 | 2701565.9887 | 1247083.9519 | 2701555.8038 | 1247088.4254
46 | 2701555.8038 | 1247088.4254 | 2701549.317 | 1247091.159
47 | 2701461.7918 | 1247090.9653 | 2701462.8432 | 1247095.4397 | 2701464.4432 | 1247098.3877

## bus_geodata
| x | y | coords
0 | 2701478.2812 | 1247026.1972
1 | 2701486.3196 | 1247040.5206
2 | 2701485.4799 | 1247049.8469
3 | 2701449.083 | 1247038.2484
4 | 2701457.7075 | 1247071.9668
5 | 2701435.0734 | 1247041.9773
6 | 2701459.7237 | 1247082.1648
7 | 2701441.9283 | 1247076.6474
8 | 2701488.3694 | 1247071.2576
9 | 2701515.1497 | 1247052.1293
10 | 2701477.4364 | 1247075.4205
11 | 2701494.9668 | 1247092.1438
12 | 2701421.8976 | 1247085.665
13 | 2701420.4349 | 1247086.3739
14 | 2701437.8889 | 1247077.8435
15 | 2701546.8517 | 1246997.5899
16 | 2701566.2433 | 1246995.5409
17 | 2701524.2317 | 1246990.5749
18 | 2701554.9314 | 1247015.8981
19 | 2701516.5831 | 1246974.8761
20 | 2701495.2594 | 1246991.2842
21 | 2701423.5595 | 1247093.3281
22 | 2701434.9398 | 1247042.0129
23 | 2701461.3286 | 1247088.9943
24 | 2701476.406 | 1247075.8128
25 | 2701496.8578 | 1247097.2562
26 | 2701527.6808 | 1246959.829
27 | 2701531.6615 | 1246966.1274
28 | 2701458.9354 | 1246990.4129
29 | 2701467.5907 | 1246990.6945
30 | 2701557.3131 | 1247023.278
31 | 2701475.6189 | 1246991.401
32 | 2701427.8382 | 1247102.8511
33 | 2701503.6773 | 1247110.3946
34 | 2701505.4864 | 1247115.0403
35 | 2701516.629 | 1247104.9343
36 | 2701511.826 | 1247128.786
37 | 2701477.6936 | 1247121.1584
38 | 2701488.6117 | 1247134.4008
39 | 2701468.2386 | 1247105.3809
40 | 2701536.3419 | 1247096.6269
41 | 2701557.7078 | 1247026.6266
42 | 2701559.7753 | 1247068.7224
43 | 2701555.8038 | 1247088.4254
44 | 2701565.9887 | 1247083.9519
45 | 2701549.317 | 1247091.159
46 | 2701512.8809 | 1247130.568
47 | 2701464.4432 | 1247098.3877
48 | 2701461.7918 | 1247090.9653
49 | 2701485.4799 | 1247049.8469

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99307 | -0.13276 | 0.073792 | 0.018494
1 | 0.99418 | -0.11136 | 0 | 0
2 | 0.99561 | -0.083777 | 0 | 0
3 | 0.99046 | -0.18302 | 0 | 0
4 | 0.99081 | -0.17613 | 0 | 0
5 | 0.99031 | -0.18589 | 0.0070537 | 0.0017678
6 | 0.99114 | -0.16987 | 0 | 0
7 | 0.99047 | -0.1828 | 0.0045884 | 0.00115
8 | 0.99296 | -0.13456 | 0 | 0
9 | 1 | 0 | -0.47133 | -0.11962
10 | 0.99215 | -0.15028 | 0.010216 | 0.0025604
11 | 0.99135 | -0.16559 | 0.081644 | 0.020462
12 | 0.99032 | -0.18579 | 0 | 0
13 | 0.99031 | -0.18594 | 0 | 0
14 | 0.9904 | -0.18416 | 0.013087 | 0.0032799
15 | 0.98246 | -0.33807 | 0 | 0
16 | 0.98222 | -0.34285 | 0.01358 | 0.0034034
17 | 0.98193 | -0.34847 | 0 | 0
18 | 0.98317 | -0.32439 | 0.036968 | 0.009265
19 | 0.98178 | -0.35149 | 0.0078756 | 0.0019738
20 | 0.98154 | -0.3562 | 0.0023825 | 0.0005971
21 | 0.99027 | -0.18663 | 0.0032529 | 0.00081526
22 | 0.99031 | -0.1859 | 0.0040862 | 0.0010241
23 | 0.99098 | -0.17284 | 0.0035983 | 0.00090181
24 | 0.99208 | -0.15156 | 0.0079036 | 0.0019808
25 | 0.99106 | -0.17123 | 0.010145 | 0.0025426
26 | 0.98174 | -0.35225 | 0.0016822 | 0.0004216
27 | 0.98175 | -0.35202 | 0 | 0
28 | 0.98123 | -0.36231 | 0.0057927 | 0.0014518
29 | 0.98127 | -0.3614 | 0 | 0
30 | 0.9837 | -0.31394 | 0 | 0
31 | 0.98132 | -0.36056 | 0.0064409 | 0.0016143
32 | 0.99025 | -0.18698 | 0.0018823 | 0.00047174
33 | 0.99021 | -0.18756 | 0 | 0
34 | 0.99013 | -0.18909 | 0 | 0
35 | 0.98955 | -0.20041 | 0 | 0
36 | 0.98989 | -0.19373 | 0.0031109 | 0.00077967
37 | 0.99061 | -0.18007 | 0 | 0
38 | 0.99049 | -0.18243 | 0.0077465 | 0.0019415
39 | 0.99074 | -0.17754 | 0.0048133 | 0.0012063
40 | 0.98853 | -0.22003 | 0.035195 | 0.0088208
41 | 0.98393 | -0.30941 | 0.067481 | 0.016912
42 | 0.98673 | -0.25499 | 0.014513 | 0.0036372
43 | 0.98772 | -0.23569 | 0 | 0
44 | 0.98732 | -0.24346 | 0 | 0
45 | 0.98798 | -0.23076 | 0.014064 | 0.0035248
46 | 0.98987 | -0.19424 | 0.014103 | 0.0035346
47 | 0.99083 | -0.17576 | 0.0029638 | 0.0007428
48 | 0.99095 | -0.17357 | 0.0047705 | 0.0011956
49 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.073792 | -0.018494 | 0.073867 | 0.018542 | 7.5304e-05 | 4.7982e-05 | 0.11057 | 0.11057 | 0.11057 | 0.99307 | -0.13276 | 0.99418 | -0.11136 | 30.3763
1 | -0.073867 | -0.018542 | 0.073965 | 0.018604 | 9.7312e-05 | 6.2004e-05 | 0.11057 | 0.11057 | 0.11057 | 0.99418 | -0.11136 | 0.99561 | -0.083777 | 30.3763
2 | 0.39382 | 0.099809 | -0.39286 | -0.099198 | 0.00095836 | 0.00061182 | 0.58899 | 0.58899 | 0.58899 | 0.99561 | -0.083777 | 0.99296 | -0.13456 | 40.4528
3 | -0.46779 | -0.11841 | 0.46968 | 0.11962 | 0.0018896 | 0.0012072 | 0.69956 | 0.69956 | 0.69956 | 0.99561 | -0.083777 | 1 | 0 | 48.0469
4 | -0.011141 | -0.0027927 | 0.011145 | 0.0027946 | 3.6572e-06 | 1.8925e-06 | 0.016738 | 0.016738 | 0.016738 | 0.99046 | -0.18302 | 0.99081 | -0.17613 | 4.5985
5 | 0.011141 | 0.0027927 | -0.01114 | -0.0027919 | 1.5232e-06 | 7.8828e-07 | 0.016738 | 0.016739 | 0.016739 | 0.99046 | -0.18302 | 0.99031 | -0.18589 | 4.5985
6 | -0.033964 | -0.0085165 | 0.033975 | 0.0085228 | 1.0143e-05 | 6.3575e-06 | 0.05101 | 0.05101 | 0.05101 | 0.99081 | -0.17613 | 0.99114 | -0.16987 | 14.0137
7 | 0.022819 | 0.0057219 | -0.022812 | -0.0057174 | 7.2492e-06 | 4.4276e-06 | 0.034271 | 0.034272 | 0.034272 | 0.99081 | -0.17613 | 0.99047 | -0.1828 | 9.4153
8 | 0.0040862 | 0.0010241 | -0.0040862 | -0.0010241 | 1.9554e-09 | -5.2686e-10 | 0.0061398 | 0.0061398 | 0.0061398 | 0.99031 | -0.18589 | 0.99031 | -0.1859 | 1.6868
9 | 0.023901 | 0.0059927 | -0.023898 | -0.0059906 | 3.3876e-06 | 2.0777e-06 | 0.035884 | 0.035884 | 0.035884 | 0.99114 | -0.16987 | 0.99098 | -0.17284 | 9.8583
10 | -0.057876 | -0.014516 | 0.057926 | 0.014548 | 5.0543e-05 | 3.2117e-05 | 0.086894 | 0.086894 | 0.086894 | 0.99114 | -0.16987 | 0.99208 | -0.15156 | 23.8719
11 | 0.018224 | 0.0045675 | -0.018223 | -0.0045668 | 1.1842e-06 | 7.0366e-07 | 0.027378 | 0.027378 | 0.027378 | 0.99047 | -0.1828 | 0.9904 | -0.18416 | 7.5215
12 | 0.076107 | 0.019128 | -0.07605 | -0.019091 | 5.7084e-05 | 3.6382e-05 | 0.11407 | 0.11407 | 0.11407 | 0.99296 | -0.13456 | 0.99215 | -0.15028 | 31.3379
13 | 0.31676 | 0.08007 | -0.31629 | -0.07977 | 0.00047058 | 0.00030002 | 0.47492 | 0.47492 | 0.47492 | 0.99296 | -0.13456 | 0.99135 | -0.16559 | 32.6184
14 | 0.065834 | 0.016531 | -0.06583 | -0.016528 | 4.0317e-06 | 2.566e-06 | 0.098748 | 0.098748 | 0.098748 | 0.99215 | -0.15028 | 0.99208 | -0.15156 | 27.1286
15 | 0.23464 | 0.059308 | -0.23458 | -0.059268 | 6.3454e-05 | 4.033e-05 | 0.35238 | 0.35238 | 0.35238 | 0.99135 | -0.16559 | 0.99106 | -0.17123 | 24.2017
16 | 0.0051354 | 0.0012869 | -0.0051354 | -0.0012869 | 3.6216e-08 | 2.3089e-09 | 0.0077163 | 0.0077163 | 0.0077163 | 0.99032 | -0.18579 | 0.99031 | -0.18594 | 2.1199
17 | -0.0051354 | -0.0012869 | 0.0051358 | 0.0012869 | 3.9747e-07 | 2.5316e-08 | 0.0077163 | 0.0077162 | 0.0077163 | 0.99032 | -0.18579 | 0.9904 | -0.18416 | 2.1199
18 | 0.0051354 | 0.0012869 | -0.0051352 | -0.0012869 | 1.7023e-07 | 1.0857e-08 | 0.0077163 | 0.0077163 | 0.0077163 | 0.99031 | -0.18594 | 0.99027 | -0.18663 | 2.1199
19 | 0.013583 | 0.0034051 | -0.01358 | -0.0034034 | 3.0948e-06 | 1.7338e-06 | 0.020573 | 0.020573 | 0.020573 | 0.98246 | -0.33807 | 0.98222 | -0.34285 | 5.6518
20 | 0.024196 | 0.0060709 | -0.024184 | -0.0060635 | 1.1993e-05 | 7.3741e-06 | 0.036649 | 0.036649 | 0.036649 | 0.98246 | -0.33807 | 0.98193 | -0.34847 | 10.0683
21 | -0.037779 | -0.009476 | 0.037803 | 0.0094915 | 2.4662e-05 | 1.5529e-05 | 0.057221 | 0.057221 | 0.057221 | 0.98246 | -0.33807 | 0.98317 | -0.32439 | 15.7201
22 | 0.0095592 | 0.0023958 | -0.0095578 | -0.0023951 | 1.3742e-06 | 6.5862e-07 | 0.014486 | 0.014486 | 0.014486 | 0.98193 | -0.34847 | 0.98178 | -0.35149 | 3.9797
23 | 0.014624 | 0.0036677 | -0.014619 | -0.0036646 | 5.3819e-06 | 3.075e-06 | 0.022163 | 0.022163 | 0.022163 | 0.98193 | -0.34847 | 0.98154 | -0.3562 | 6.0887
24 | -0.074771 | -0.018756 | 0.074808 | 0.01878 | 3.7245e-05 | 2.3739e-05 | 0.11317 | 0.11317 | 0.11317 | 0.98317 | -0.32439 | 0.9837 | -0.31394 | 31.0911
25 | 0.0016823 | 0.00042133 | -0.0016822 | -0.00042152 | 4.2497e-08 | -1.9324e-07 | 0.0025496 | 0.0025497 | 0.0025497 | 0.98178 | -0.35149 | 0.98175 | -0.35202 | 0.70047
26 | 0.012237 | 0.0030675 | -0.012234 | -0.0030661 | 2.5411e-06 | 1.3775e-06 | 0.018551 | 0.018551 | 0.018551 | 0.98154 | -0.3562 | 0.98132 | -0.36056 | 5.0965
27 | 0.0018823 | 0.00047162 | -0.0018823 | -0.00047174 | 3.1319e-08 | -1.1427e-07 | 0.0028283 | 0.0028284 | 0.0028284 | 0.99027 | -0.18663 | 0.99025 | -0.18698 | 0.77703
28 | 0.020299 | 0.0050888 | -0.020299 | -0.0050884 | 7.0545e-07 | 4.254e-07 | 0.030481 | 0.030481 | 0.030481 | 0.99098 | -0.17284 | 0.99095 | -0.17357 | 8.3739
29 | 0.22443 | 0.056725 | -0.22426 | -0.056614 | 0.00017562 | 0.00011155 | 0.33714 | 0.33715 | 0.33715 | 0.99106 | -0.17123 | 0.99021 | -0.18756 | 23.1556
30 | -0.0016822 | -0.0004216 | 0.0016822 | 0.00042152 | 1.8186e-08 | -8.2687e-08 | 0.0025497 | 0.0025497 | 0.0025497 | 0.98174 | -0.35225 | 0.98175 | -0.35202 | 0.70048
31 | -0.0057927 | -0.0014518 | 0.0057929 | 0.0014518 | 2.506e-07 | 5.0991e-08 | 0.0087845 | 0.0087845 | 0.0087845 | 0.98123 | -0.36231 | 0.98127 | -0.3614 | 2.4133
32 | -0.0057929 | -0.0014518 | 0.0057932 | 0.0014519 | 2.3322e-07 | 4.7445e-08 | 0.0087845 | 0.0087844 | 0.0087845 | 0.98127 | -0.3614 | 0.98132 | -0.36056 | 2.4133
33 | -0.074808 | -0.01878 | 0.074824 | 0.018791 | 1.6194e-05 | 1.0321e-05 | 0.11317 | 0.11317 | 0.11317 | 0.9837 | -0.31394 | 0.98393 | -0.30941 | 31.0911
34 | 0.017219 | 0.0043174 | -0.017218 | -0.0043167 | 1.2515e-06 | 7.3684e-07 | 0.025877 | 0.025877 | 0.025877 | 0.99021 | -0.18756 | 0.99013 | -0.18909 | 7.109
35 | 0.20704 | 0.052296 | -0.20691 | -0.052215 | 0.00012736 | 8.0787e-05 | 0.31127 | 0.31127 | 0.31127 | 0.99021 | -0.18756 | 0.98955 | -0.20041 | 21.3784
36 | 0.017218 | 0.0043167 | -0.017214 | -0.0043144 | 3.8046e-06 | 2.2401e-06 | 0.025877 | 0.025877 | 0.025877 | 0.99013 | -0.18909 | 0.98989 | -0.19373 | 7.109
37 | 0.20691 | 0.052215 | -0.20672 | -0.052092 | 0.00019431 | 0.00012326 | 0.31127 | 0.31127 | 0.31127 | 0.98955 | -0.20041 | 0.98853 | -0.22003 | 21.3784
38 | 0.014103 | 0.0035348 | -0.014103 | -0.0035346 | 3.4902e-07 | 1.9675e-07 | 0.0212 | 0.0212 | 0.0212 | 0.98989 | -0.19373 | 0.98987 | -0.19424 | 5.8243
39 | 0.0077474 | 0.0019418 | -0.0077465 | -0.0019415 | 8.7168e-07 | 3.3694e-07 | 0.011638 | 0.011638 | 0.011638 | 0.99061 | -0.18007 | 0.99049 | -0.18243 | 3.1972
40 | -0.0077474 | -0.0019418 | 0.0077483 | 0.0019422 | 9.3463e-07 | 3.6121e-07 | 0.011638 | 0.011637 | 0.011638 | 0.99061 | -0.18007 | 0.99074 | -0.17754 | 3.1971
41 | -0.012562 | -0.0031485 | 0.012563 | 0.0031491 | 1.0621e-06 | 5.7727e-07 | 0.018867 | 0.018867 | 0.018867 | 0.99074 | -0.17754 | 0.99083 | -0.17576 | 5.1832
42 | 0.17152 | 0.043271 | -0.17143 | -0.043216 | 8.8063e-05 | 5.5639e-05 | 0.25829 | 0.25829 | 0.25829 | 0.98853 | -0.22003 | 0.98798 | -0.23076 | 17.7397
43 | -0.14231 | -0.035703 | 0.14268 | 0.035939 | 0.00037024 | 0.00023587 | 0.21522 | 0.21522 | 0.21522 | 0.98393 | -0.30941 | 0.98673 | -0.25499 | 29.5637
44 | -0.15719 | -0.039576 | 0.15727 | 0.039631 | 8.6693e-05 | 5.4643e-05 | 0.23711 | 0.23711 | 0.23711 | 0.98673 | -0.25499 | 0.98732 | -0.24346 | 16.285
45 | 0.15733 | 0.039667 | -0.15727 | -0.039631 | 5.8489e-05 | 3.6865e-05 | 0.23711 | 0.23711 | 0.23711 | 0.98772 | -0.23569 | 0.98732 | -0.24346 | 16.2849
46 | -0.15733 | -0.039667 | 0.15737 | 0.039691 | 3.7102e-05 | 2.3385e-05 | 0.23711 | 0.23711 | 0.23711 | 0.98772 | -0.23569 | 0.98798 | -0.23076 | 16.2849
47 | -0.015527 | -0.0038919 | 0.015528 | 0.0038928 | 1.621e-06 | 9.3504e-07 | 0.023318 | 0.023318 | 0.023318 | 0.99083 | -0.17576 | 0.99095 | -0.17357 | 6.4059

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49685 | 0.12602

## res_load
| p_mw | q_mvar
0 | 0.073792 | 0.018494
1 | 0.0070537 | 0.0017678
2 | 0.0045884 | 0.00115
3 | 0.025524 | 0.0063969
4 | 0.010216 | 0.0025604
5 | 0.081644 | 0.020462
6 | 0.013087 | 0.0032799
7 | 0.01358 | 0.0034034
8 | 0.036968 | 0.009265
9 | 0.0078756 | 0.0019738
10 | 0.0023825 | 0.0005971
11 | 0.0032529 | 0.00081526
12 | 0.0040862 | 0.0010241
13 | 0.0035983 | 0.00090181
14 | 0.0079036 | 0.0019808
15 | 0.010145 | 0.0025426
16 | 0.0016822 | 0.0004216
17 | 0.0057927 | 0.0014518
18 | 0.0064409 | 0.0016143
19 | 0.0018823 | 0.00047174
20 | 0.0031109 | 0.00077967
21 | 0.0077465 | 0.0019415
22 | 0.0048133 | 0.0012063
23 | 0.035195 | 0.0088208
24 | 0.067481 | 0.016912
25 | 0.014513 | 0.0036372
26 | 0.014064 | 0.0035248
27 | 0.014103 | 0.0035346
28 | 0.0029638 | 0.0007428
29 | 0.0047705 | 0.0011956

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1