## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_177-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_177-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_177-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_177-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_177-2_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_177-2_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_177-2_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_177-2_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_177-2_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_177-2_0_4_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_177-2_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_177-2_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_177-2_0_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_177-2_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_177-2_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_177-2_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_177-2_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_177-2_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_177-2_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_177-2_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_177-2_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_177-2_0_4_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_177-2_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_177-2_0_4_node_87 | 0.4 | n |  | TRUE
24 | bus_LV_177-2_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_177-2_0_4_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_177-2_0_4_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_177-2_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_177-2_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_177-2_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_177-2_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_177-2_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_177-2_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_177-2_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_177-2_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_177-2_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_177-2_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_177-2_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_177-2_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_177-2_0_4_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_177-2_0_4_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_177-2_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_177-2_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_177-2_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_177-2_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_177-2_0_4_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_177-2_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_177-2_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_177-2_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_177-2_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_177-2_0_4_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_177-2_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_177-2_0_4_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_177-2_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_177-2_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_177-2_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_177-2_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_177-2_0_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_177-2_0_4_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_177-2_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_177-2_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_177-2_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_177-2_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_177-2_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_177-2_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_177-2_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_177-2_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_177-2_0_4_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_177-2_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_177-2_0_4_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_177-2_0_4_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_177-2_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_177-2_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_177-2_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_177-2_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_177-2_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_177-2_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_177-2_0_4_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_177-2_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_177-2_0_4_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_177-2_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_177-2_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_177-2_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_177-2_0_4_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_177-2_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_177-2_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_MV_7_2_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_177-2_0_4_load_0 | 0 | 0.0035513 | 0.00089003 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_177-2_0_4_load_17 | 5 | 0.0019025 | 0.00047681 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_177-2_0_4_load_18 | 6 | 0.0074735 | 0.001873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_177-2_0_4_load_19 | 7 | 0.002304 | 0.00057744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_177-2_0_4_load_47 | 10 | 0.0026963 | 0.00067577 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_177-2_0_4_load_72 | 13 | 0.0044669 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_177-2_0_4_load_25 | 16 | 0.0028339 | 0.00071024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_177-2_0_4_load_26 | 17 | 0.0025343 | 0.00063515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_177-2_0_4_load_85 | 21 | 0.0068025 | 0.0017049 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_177-2_0_4_load_87 | 23 | 0.0044518 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_177-2_0_4_load_31 | 24 | 0.02041 | 0.0051152 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_177-2_0_4_load_88 | 25 | 0.0043392 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_177-2_0_4_load_28 | 28 | 0.0038706 | 0.00097005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_177-2_0_4_load_40 | 30 | 0.0054542 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_177-2_0_4_load_22 | 33 | 0.0031482 | 0.000789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_177-2_0_4_load_21 | 34 | 0.0012453 | 0.00031211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_177-2_0_4_load_46 | 37 | 0.00090307 | 0.00022633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_177-2_0_4_load_44 | 38 | 0.0033749 | 0.00084583 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_177-2_0_4_load_76 | 40 | 0.0066319 | 0.0016621 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_177-2_0_4_load_39 | 41 | 0.0044421 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_177-2_0_4_load_38 | 43 | 0.01373 | 0.003441 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_177-2_0_4_load_27 | 44 | 0.0021129 | 0.00052955 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_177-2_0_4_load_71 | 49 | 0.0040814 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_177-2_0_4_load_78 | 50 | 0.01021 | 0.002559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_177-2_0_4_load_65 | 51 | 0.021168 | 0.0053051 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_177-2_0_4_load_34 | 53 | 0.007225 | 0.0018107 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_177-2_0_4_load_59 | 54 | 0.014161 | 0.003549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_177-2_0_4_load_60 | 55 | 0.013648 | 0.0034205 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_177-2_0_4_load_61 | 56 | 0.0032932 | 0.00082536 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_177-2_0_4_load_66 | 57 | 0.0048533 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_177-2_0_4_load_79 | 58 | 0.0041349 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_177-2_0_4_load_41 | 60 | 0.0019987 | 0.00050093 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_177-2_0_4_load_42 | 61 | 0.0017104 | 0.00042866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_177-2_0_4_load_48 | 64 | 0.0017811 | 0.00044638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_177-2_0_4_load_56 | 65 | 0.00092478 | 0.00023177 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_177-2_0_4_load_67 | 67 | 0.03137 | 0.0078621 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_177-2_0_4_load_86 | 70 | 0.0013214 | 0.00033117 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_177-2_0_4_load_70 | 71 | 0.0057971 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_177-2_0_4_load_80 | 72 | 0.015756 | 0.0039488 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_177-2_0_4_load_58 | 74 | 0.0026672 | 0.00066846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_177-2_0_4_load_63 | 75 | 0.0052635 | 0.0013192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_177-2_0_4_load_57 | 77 | 0.001552 | 0.00038898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_177-2_0_4_load_89 | 80 | 0.0015102 | 0.0003785 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_177-2_0_4_load_81 | 81 | 0.0089327 | 0.0022388 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_177-2_0_4_load_74 | 82 | 0.0028442 | 0.00071281 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_177-2_0_4_load_69 | 83 | 0.035357 | 0.0088613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_177-2_0_4_load_77 | 84 | 0.0092191 | 0.0023105 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_177-2_0_4_load_84 | 85 | 0.08549 | 0.021426 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_177-2_0_4_line_0 |  | 0 | 1 | 0.0036942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_177-2_0_4_line_1 |  | 0 | 2 | 0.041394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_177-2_0_4_line_2 |  | 1 | 3 | 0.00642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_177-2_0_4_line_3 |  | 1 | 4 | 0.0099843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_177-2_0_4_line_4 |  | 2 | 5 | 0.020701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_177-2_0_4_line_5 |  | 3 | 6 | 0.031618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_177-2_0_4_line_6 |  | 3 | 7 | 0.0081104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_177-2_0_4_line_7 |  | 4 | 14 | 0.025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_177-2_0_4_line_8 |  | 5 | 35 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_177-2_0_4_line_9 |  | 7 | 17 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_177-2_0_4_line_10 |  | 8 | 9 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_177-2_0_4_line_11 |  | 8 | 10 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_177-2_0_4_line_12 |  | 9 | 36 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_177-2_0_4_line_13 |  | 9 | 37 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_177-2_0_4_line_14 |  | 10 | 38 | 0.0018431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_177-2_0_4_line_15 |  | 11 | 12 | 0.00478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_177-2_0_4_line_16 |  | 11 | 13 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_177-2_0_4_line_17 |  | 12 | 39 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_177-2_0_4_line_18 |  | 12 | 40 | 0.032783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_177-2_0_4_line_19 |  | 13 | 36 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_177-2_0_4_line_20 |  | 14 | 43 | 0.0083428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_177-2_0_4_line_21 |  | 15 | 16 | 0.016225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_177-2_0_4_line_22 |  | 15 | 17 | 0.024275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_177-2_0_4_line_23 |  | 15 | 18 | 0.044708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_177-2_0_4_line_24 |  | 16 | 44 | 0.0032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_177-2_0_4_line_25 |  | 18 | 34 | 0.010003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_177-2_0_4_line_26 |  | 19 | 20 | 0.028296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_177-2_0_4_line_27 |  | 19 | 21 | 0.042439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_177-2_0_4_line_28 |  | 20 | 25 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_177-2_0_4_line_29 |  | 21 | 45 | 0.031128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_177-2_0_4_line_30 |  | 22 | 23 | 0.004339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_177-2_0_4_line_31 |  | 22 | 24 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_177-2_0_4_line_32 |  | 24 | 27 | 0.034124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_177-2_0_4_line_33 |  | 26 | 27 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_177-2_0_4_line_34 |  | 26 | 28 | 0.0076685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_177-2_0_4_line_35 |  | 27 | 46 | 0.038036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_177-2_0_4_line_36 |  | 27 | 29 | 0.04785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_177-2_0_4_line_37 |  | 29 | 30 | 0.028806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_177-2_0_4_line_38 |  | 31 | 32 | 0.099067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_177-2_0_4_line_39 |  | 31 | 33 | 0.044296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_177-2_0_4_line_40 |  | 32 | 51 | 0.070318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_177-2_0_4_line_41 |  | 33 | 34 | 0.0067219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_177-2_0_4_line_42 |  | 35 | 54 | 0.00182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_177-2_0_4_line_43 |  | 35 | 55 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_177-2_0_4_line_44 |  | 37 | 62 | 0.0055098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_177-2_0_4_line_45 |  | 38 | 61 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_177-2_0_4_line_46 |  | 39 | 82 | 0.031347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_177-2_0_4_line_47 |  | 39 | 76 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_177-2_0_4_line_48 |  | 40 | 84 | 0.034267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_177-2_0_4_line_49 |  | 41 | 42 | 0.022211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_177-2_0_4_line_50 |  | 42 | 50 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_177-2_0_4_line_51 |  | 42 | 46 | 0.004741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_177-2_0_4_line_52 |  | 43 | 52 | 0.032486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_177-2_0_4_line_53 |  | 45 | 85 | 0.007769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_177-2_0_4_line_54 |  | 45 | 79 | 0.042954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_177-2_0_4_line_55 |  | 45 | 81 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_177-2_0_4_line_56 |  | 46 | 58 | 0.025767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_177-2_0_4_line_57 |  | 47 | 48 | 0.053583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_177-2_0_4_line_58 |  | 47 | 49 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_177-2_0_4_line_59 |  | 48 | 52 | 0.009607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_177-2_0_4_line_60 |  | 48 | 53 | 0.023357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_177-2_0_4_line_61 |  | 51 | 57 | 0.029192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_177-2_0_4_line_62 |  | 55 | 56 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_177-2_0_4_line_63 |  | 56 | 75 | 0.035198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_177-2_0_4_line_64 |  | 58 | 59 | 0.040666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_177-2_0_4_line_65 |  | 59 | 76 | 0.0366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_177-2_0_4_line_66 |  | 59 | 66 | 0.10901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_177-2_0_4_line_67 |  | 60 | 61 | 0.0017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_177-2_0_4_line_68 |  | 62 | 63 | 0.030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_177-2_0_4_line_69 |  | 63 | 64 | 0.030615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_177-2_0_4_line_70 |  | 64 | 65 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_177-2_0_4_line_71 |  | 65 | 77 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_177-2_0_4_line_72 |  | 66 | 67 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_177-2_0_4_line_73 |  | 67 | 78 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_177-2_0_4_line_74 |  | 68 | 69 | 0.10942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_177-2_0_4_line_75 |  | 68 | 70 | 0.11164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_177-2_0_4_line_76 |  | 69 | 71 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_177-2_0_4_line_77 |  | 69 | 72 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_177-2_0_4_line_78 |  | 71 | 78 | 0.0088922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_177-2_0_4_line_79 |  | 72 | 81 | 0.042743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_177-2_0_4_line_80 |  | 73 | 74 | 0.034038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_177-2_0_4_line_81 |  | 73 | 75 | 0.047843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_177-2_0_4_line_82 |  | 74 | 77 | 0.0044727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_177-2_0_4_line_83 |  | 78 | 83 | 0.029551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_177-2_0_4_line_84 |  | 79 | 80 | 0.03736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_177-2_0_4_trafo_79 | 0.63 MVA 20/0.4 kV | 86 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2701155.1398 | 1247400.2772 | 2701157.7287 | 1247397.6419
1 | 2701186.7374 | 1247368.1133 | 2701157.7287 | 1247397.6419
2 | 2701155.1398 | 1247400.2772 | 2701150.6198 | 1247404.8481
3 | 2701147.93 | 1247393.3711 | 2701151.5583 | 1247396.7801 | 2701155.1398 | 1247400.2772
4 | 2701186.7374 | 1247368.1133 | 2701192.9618 | 1247373.8907 | 2701198.7546 | 1247378.8379 | 2701202.3734 | 1247381.6635
5 | 2701150.6198 | 1247404.8481 | 2701172.2152 | 1247428.0013
6 | 2701150.6198 | 1247404.8481 | 2701144.9549 | 1247410.6522
7 | 2701147.93 | 1247393.3711 | 2701129.9458 | 1247411.801
8 | 2701210.0377 | 1247394.9431 | 2701209.9116 | 1247391.2714 | 2701207.7527 | 1247385.8636 | 2701202.3734 | 1247381.6635
9 | 2701131.5458 | 1247424.3906 | 2701144.9549 | 1247410.6522
10 | 2701240.0257 | 1247307.1196 | 2701231.647 | 1247315.1272
11 | 2701231.647 | 1247315.1272 | 2701240.1755 | 1247323.1124
12 | 2701230.2164 | 1247302.0259 | 2701232.6896 | 1247299.644 | 2701240.0257 | 1247307.1196
13 | 2701240.0257 | 1247307.1196 | 2701247.2908 | 1247300.1852
14 | 2701240.1755 | 1247323.1124 | 2701241.489 | 1247321.8195
15 | 2701197.4274 | 1247326.0629 | 2701194.0403 | 1247322.6802
16 | 2701197.4274 | 1247326.0629 | 2701201.2967 | 1247322.8819 | 2701210.6583 | 1247322.3413 | 2701220.2626 | 1247312.3651
17 | 2701178.4818 | 1247309.6378 | 2701181.6542 | 1247312.7611 | 2701194.0403 | 1247322.6802
18 | 2701194.0403 | 1247322.6802 | 2701191.7027 | 1247326.4099 | 2701192.2144 | 1247332.2788 | 2701194.7598 | 1247337.1705 | 2701182.8942 | 1247349.3104
19 | 2701230.2164 | 1247302.0259 | 2701220.2626 | 1247312.3651
20 | 2701129.9458 | 1247411.801 | 2701125.2599 | 1247407.0618 | 2701124.0927 | 1247408.2676
21 | 2701114.5903 | 1247441.7626 | 2701126.0015 | 1247453.2972
22 | 2701114.5903 | 1247441.7626 | 2701131.5458 | 1247424.3906
23 | 2701084.1015 | 1247474.5129 | 2701093.1744 | 1247463.8703 | 2701114.5903 | 1247441.7626
24 | 2701128.0761 | 1247455.8093 | 2701126.9326 | 1247454.2384 | 2701126.0015 | 1247453.2972
25 | 2701084.1015 | 1247474.5129 | 2701090.8958 | 1247481.8548
26 | 2700944.6217 | 1247283.7211 | 2700945.4498 | 1247287.8828 | 2700943.7945 | 1247292.3693 | 2700951.1657 | 1247296.9205 | 2700958.4529 | 1247304.6284
27 | 2700944.6217 | 1247283.7211 | 2700968.7372 | 1247248.7999
28 | 2700958.4529 | 1247304.6284 | 2700968.7779 | 1247295.4303
29 | 2700985.7372 | 1247222.7623 | 2700982.5303 | 1247228.7457 | 2700979.6784 | 1247232.956 | 2700968.7372 | 1247248.7999
30 | 2701009.6452 | 1247346.9777 | 2701006.9612 | 1247343.5627
31 | 2701009.6452 | 1247346.9777 | 2701025.5972 | 1247335.6295 | 2701031.8471 | 1247337.7042
32 | 2701056.4797 | 1247361.3202 | 2701031.8471 | 1247337.7042
33 | 2701040.3549 | 1247373.9442 | 2701056.4797 | 1247361.3202
34 | 2701040.3549 | 1247373.9442 | 2701036.5158 | 1247369.5976 | 2701034.9508 | 1247370.6198
35 | 2701056.4797 | 1247361.3202 | 2701065.9596 | 1247353.8426 | 2701085.694 | 1247336.8768
36 | 2701026.0641 | 1247390.6582 | 2701046.0429 | 1247375.7425 | 2701060.1409 | 1247365.0188 | 2701056.4797 | 1247361.3202
37 | 2701026.0641 | 1247390.6582 | 2701042.4589 | 1247412.6992 | 2701043.3251 | 1247413.7171
38 | 2701120.1581 | 1247517.439 | 2701125.6911 | 1247522.1148 | 2701128.7899 | 1247528.2168 | 2701136.0584 | 1247548.9348 | 2701137.6871 | 1247549.552 | 2701169.4223 | 1247538.4846 | 2701175.7104 | 1247550.6904 | 2701176.6025 | 1247552.418 | 2701178.073 | 1247555.6679 | 2701181.4843 | 1247563.3766
39 | 2701120.1581 | 1247517.439 | 2701114.9201 | 1247514.0693 | 2701109.0967 | 1247511.8015 | 2701102.2065 | 1247510.9612 | 2701098.199 | 1247499.6729 | 2701094.565 | 1247487.2969
40 | 2701181.4843 | 1247563.3766 | 2701188.6829 | 1247559.8633 | 2701195.0904 | 1247555.7917 | 2701203.2399 | 1247551.4496 | 2701219.0029 | 1247544.0795 | 2701244.0017 | 1247531.2889
41 | 2701094.565 | 1247487.2969 | 2701093.9296 | 1247485.1332 | 2701090.8958 | 1247481.8548
42 | 2701210.0377 | 1247394.9431 | 2701208.2288 | 1247394.7009
43 | 2701210.0377 | 1247394.9431 | 2701216.4194 | 1247397.6986 | 2701222.1266 | 1247405.4465 | 2701229.8762 | 1247411.2611
44 | 2701251.2765 | 1247296.381 | 2701247.2908 | 1247300.1852
45 | 2701250.9846 | 1247312.4733 | 2701241.489 | 1247321.8195
46 | 2701178.4818 | 1247309.6378 | 2701191.1976 | 1247296.7114 | 2701194.6726 | 1247294.947 | 2701200.8727 | 1247287.9919
47 | 2701178.4818 | 1247309.6378 | 2701155.9505 | 1247288.1811
48 | 2701182.8942 | 1247349.3104 | 2701171.4552 | 1247361.0137 | 2701159.0107 | 1247373.8829
49 | 2701088.8747 | 1247340.4004 | 2701105.4263 | 1247355.2113
50 | 2701088.8747 | 1247340.4004 | 2701114.2839 | 1247315.9368
51 | 2701085.694 | 1247336.8768 | 2701088.8747 | 1247340.4004
52 | 2701101.4982 | 1247431.6092 | 2701124.0927 | 1247408.2676
53 | 2700991.4644 | 1247228.0306 | 2700985.7372 | 1247222.7623
54 | 2700985.7372 | 1247222.7623 | 2700992.4177 | 1247212.4347 | 2701000.1713 | 1247203.86 | 2701009.9289 | 1247196.4982 | 2701016.0726 | 1247193.2892
55 | 2700985.7372 | 1247222.7623 | 2700993.1014 | 1247218.4176 | 2700998.1128 | 1247211.6088 | 2700999.2172 | 1247210.3805
56 | 2701085.694 | 1247336.8768 | 2701104.1227 | 1247318.8676
57 | 2701070.6773 | 1247400.1258 | 2701096.0104 | 1247426.4894 | 2701090.9943 | 1247431.3633 | 2701092.5269 | 1247432.746 | 2701094.2156 | 1247434.276 | 2701092.4466 | 1247436.1251 | 2701094.6371 | 1247438.3531
58 | 2701070.6773 | 1247400.1258 | 2701090.1953 | 1247380.3879
59 | 2701094.6371 | 1247438.3531 | 2701101.4982 | 1247431.6092
60 | 2701094.6371 | 1247438.3531 | 2701077.9186 | 1247454.6636
61 | 2701244.0017 | 1247531.2889 | 2701256.0172 | 1247525.1411 | 2701269.5925 | 1247517.2652
62 | 2701229.8762 | 1247411.2611 | 2701244.4285 | 1247403.7353
63 | 2701275.6929 | 1247387.5665 | 2701244.4285 | 1247403.7353
64 | 2701133.4629 | 1247290.7107 | 2701115.364 | 1247307.8821 | 2701104.1227 | 1247318.8676
65 | 2701133.4629 | 1247290.7107 | 2701140.0143 | 1247284.4175 | 2701146.4659 | 1247281.7588 | 2701157.9709 | 1247281.3436 | 2701159.7738 | 1247282.3862 | 2701155.9505 | 1247288.1811
66 | 2701100.7771 | 1247194.0444 | 2701111.6856 | 1247215.7585 | 2701107.9421 | 1247222.1886 | 2701121.2544 | 1247251.3383 | 2701123.0462 | 1247253.9154 | 2701135.4336 | 1247271.7405 | 2701131.0143 | 1247283.2408 | 2701131.4569 | 1247287.4072 | 2701133.4629 | 1247290.7107
67 | 2701252.2345 | 1247311.243 | 2701250.9846 | 1247312.4733
68 | 2701251.2765 | 1247296.381 | 2701262.4754 | 1247285.1412 | 2701272.7115 | 1247274.5522
69 | 2701272.7115 | 1247274.5522 | 2701278.2599 | 1247285.8446 | 2701286.6472 | 1247301.808
70 | 2701286.6472 | 1247301.808 | 2701292.2475 | 1247312.4671
71 | 2701301.8399 | 1247330.7241 | 2701292.2475 | 1247312.4671
72 | 2701100.7771 | 1247194.0444 | 2701089.1891 | 1247199.9269
73 | 2701078.7154 | 1247205.2437 | 2701089.1891 | 1247199.9269
74 | 2701048.1393 | 1247079.58 | 2701052.3195 | 1247138.3638 | 2701054.8353 | 1247164.049 | 2701056.0134 | 1247178.6916 | 2701055.3394 | 1247181.449 | 2701053.7983 | 1247183.6578 | 2701055.3361 | 1247187.8428
75 | 2701048.1393 | 1247079.58 | 2701035.3142 | 1247081.6298 | 2701024.5922 | 1247082.1809 | 2700994.4749 | 1247083.7469 | 2700983.0361 | 1247085.5758 | 2700965.681 | 1247090.5619 | 2700955.6193 | 1247094.0378 | 2700940.9103 | 1247100.2478 | 2700939.6553 | 1247101.0878
76 | 2701055.3361 | 1247187.8428 | 2701056.0363 | 1247189.7562 | 2701057.4955 | 1247198.5435 | 2701058.816 | 1247202.18 | 2701061.014 | 1247203.9744 | 2701063.7844 | 1247204.5443 | 2701066.9271 | 1247204.5423 | 2701070.033 | 1247204.156
77 | 2701055.3361 | 1247187.8428 | 2701051.6314 | 1247188.9027 | 2701036.113 | 1247191.0411
78 | 2701078.7154 | 1247205.2437 | 2701073.0594 | 1247203.7795 | 2701070.033 | 1247204.156
79 | 2701036.113 | 1247191.0411 | 2701029.944 | 1247191.8911 | 2701023.4613 | 1247193.7154 | 2701017.0017 | 1247196.3964 | 2701011.9118 | 1247199.3898 | 2701007.5112 | 1247202.2727 | 2701003.0565 | 1247206.1109 | 2700999.2172 | 1247210.3805
80 | 2701318.1892 | 1247365.5891 | 2701303.8315 | 1247334.7275
81 | 2701318.1892 | 1247365.5891 | 2701275.6929 | 1247387.5665
82 | 2701301.8399 | 1247330.7241 | 2701302.9675 | 1247332.8701 | 2701303.8315 | 1247334.7275
83 | 2701078.7154 | 1247205.2437 | 2701079.2156 | 1247209.5779 | 2701089.3304 | 1247232.6572
84 | 2700983.8754 | 1247177.7398 | 2700988.5663 | 1247176.8857 | 2700991.4294 | 1247177.3348 | 2700995.6889 | 1247178.7418 | 2701003.5611 | 1247183.6019 | 2701013.9932 | 1247190.2959 | 2701016.0726 | 1247193.2892

## bus_geodata
| x | y | coords
0 | 2701157.7287 | 1247397.6419
1 | 2701155.1398 | 1247400.2772
2 | 2701186.7374 | 1247368.1133
3 | 2701150.6198 | 1247404.8481
4 | 2701147.93 | 1247393.3711
5 | 2701202.3734 | 1247381.6635
6 | 2701172.2152 | 1247428.0013
7 | 2701144.9549 | 1247410.6522
8 | 2701231.647 | 1247315.1272
9 | 2701240.0257 | 1247307.1196
10 | 2701240.1755 | 1247323.1124
11 | 2701197.4274 | 1247326.0629
12 | 2701194.0403 | 1247322.6802
13 | 2701220.2626 | 1247312.3651
14 | 2701129.9458 | 1247411.801
15 | 2701114.5903 | 1247441.7626
16 | 2701126.0015 | 1247453.2972
17 | 2701131.5458 | 1247424.3906
18 | 2701084.1015 | 1247474.5129
19 | 2700944.6217 | 1247283.7211
20 | 2700958.4529 | 1247304.6284
21 | 2700968.7372 | 1247248.7999
22 | 2701009.6452 | 1247346.9777
23 | 2701006.9612 | 1247343.5627
24 | 2701031.8471 | 1247337.7042
25 | 2700968.7779 | 1247295.4303
26 | 2701040.3549 | 1247373.9442
27 | 2701056.4797 | 1247361.3202
28 | 2701034.9508 | 1247370.6198
29 | 2701026.0641 | 1247390.6582
30 | 2701043.3251 | 1247413.7171
31 | 2701120.1581 | 1247517.439
32 | 2701181.4843 | 1247563.3766
33 | 2701094.565 | 1247487.2969
34 | 2701090.8958 | 1247481.8548
35 | 2701210.0377 | 1247394.9431
36 | 2701230.2164 | 1247302.0259
37 | 2701247.2908 | 1247300.1852
38 | 2701241.489 | 1247321.8195
39 | 2701178.4818 | 1247309.6378
40 | 2701182.8942 | 1247349.3104
41 | 2701105.4263 | 1247355.2113
42 | 2701088.8747 | 1247340.4004
43 | 2701124.0927 | 1247408.2676
44 | 2701128.0761 | 1247455.8093
45 | 2700985.7372 | 1247222.7623
46 | 2701085.694 | 1247336.8768
47 | 2701070.6773 | 1247400.1258
48 | 2701094.6371 | 1247438.3531
49 | 2701090.1953 | 1247380.3879
50 | 2701114.2839 | 1247315.9368
51 | 2701244.0017 | 1247531.2889
52 | 2701101.4982 | 1247431.6092
53 | 2701077.9186 | 1247454.6636
54 | 2701208.2288 | 1247394.7009
55 | 2701229.8762 | 1247411.2611
56 | 2701244.4285 | 1247403.7353
57 | 2701269.5925 | 1247517.2652
58 | 2701104.1227 | 1247318.8676
59 | 2701133.4629 | 1247290.7107
60 | 2701252.2345 | 1247311.243
61 | 2701250.9846 | 1247312.4733
62 | 2701251.2765 | 1247296.381
63 | 2701272.7115 | 1247274.5522
64 | 2701286.6472 | 1247301.808
65 | 2701292.2475 | 1247312.4671
66 | 2701100.7771 | 1247194.0444
67 | 2701089.1891 | 1247199.9269
68 | 2701048.1393 | 1247079.58
69 | 2701055.3361 | 1247187.8428
70 | 2700939.6553 | 1247101.0878
71 | 2701070.033 | 1247204.156
72 | 2701036.113 | 1247191.0411
73 | 2701318.1892 | 1247365.5891
74 | 2701303.8315 | 1247334.7275
75 | 2701275.6929 | 1247387.5665
76 | 2701155.9505 | 1247288.1811
77 | 2701301.8399 | 1247330.7241
78 | 2701078.7154 | 1247205.2437
79 | 2701016.0726 | 1247193.2892
80 | 2700983.8754 | 1247177.7398
81 | 2700999.2172 | 1247210.3805
82 | 2701200.8727 | 1247287.9919
83 | 2701089.3304 | 1247232.6572
84 | 2701159.0107 | 1247373.8829
85 | 2700991.4644 | 1247228.0306
86 | 2701085.694 | 1247336.8768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97732 | -0.43587 | 0.0035513 | 0.00089003
1 | 0.97723 | -0.43751 | 0 | 0
2 | 0.9783 | -0.41668 | 0 | 0
3 | 0.97714 | -0.43937 | 0 | 0
4 | 0.977 | -0.44207 | 0 | 0
5 | 0.97879 | -0.4071 | 0.0019025 | 0.00047681
6 | 0.97692 | -0.44368 | 0.0074735 | 0.001873
7 | 0.97704 | -0.44135 | 0.002304 | 0.00057744
8 | 0.98872 | -0.21454 | 0 | 0
9 | 0.98882 | -0.21252 | 0 | 0
10 | 0.98862 | -0.21658 | 0.0026963 | 0.00067577
11 | 0.99117 | -0.16752 | 0 | 0
12 | 0.99137 | -0.16365 | 0 | 0
13 | 0.98998 | -0.19036 | 0.0044669 | 0.0011195
14 | 0.9764 | -0.45384 | 0 | 0
15 | 0.97654 | -0.45102 | 0 | 0
16 | 0.97647 | -0.45248 | 0.0028339 | 0.00071024
17 | 0.97681 | -0.44579 | 0.0025343 | 0.00063515
18 | 0.97612 | -0.45931 | 0 | 0
19 | 0.97441 | -0.49291 | 0 | 0
20 | 0.9743 | -0.49517 | 0 | 0
21 | 0.97458 | -0.48953 | 0.0068025 | 0.0017049
22 | 0.9968 | -0.061622 | 0 | 0
23 | 0.99678 | -0.061961 | 0.0044518 | 0.0011157
24 | 0.9969 | -0.059579 | 0.02041 | 0.0051152
25 | 0.97424 | -0.49627 | 0.0043392 | 0.0010875
26 | 0.9976 | -0.046096 | 0 | 0
27 | 0.99767 | -0.04471 | 0 | 0
28 | 0.99757 | -0.046616 | 0.0038706 | 0.00097005
29 | 0.99744 | -0.049283 | 0 | 0
30 | 0.99729 | -0.052036 | 0.0054542 | 0.0013669
31 | 0.97457 | -0.4896 | 0 | 0
32 | 0.97217 | -0.53703 | 0 | 0
33 | 0.97565 | -0.46846 | 0.0031482 | 0.000789
34 | 0.97584 | -0.46487 | 0.0012453 | 0.00031211
35 | 0.97918 | -0.39936 | 0 | 0
36 | 0.98939 | -0.20162 | 0 | 0
37 | 0.98844 | -0.21983 | 0.00090307 | 0.00022633
38 | 0.9886 | -0.21681 | 0.0033749 | 0.00084583
39 | 0.99233 | -0.14538 | 0 | 0
40 | 0.9909 | -0.17287 | 0.0066319 | 0.0016621
41 | 0.9987 | -0.024901 | 0.0044421 | 0.0011133
42 | 0.99879 | -0.023177 | 0 | 0
43 | 0.97621 | -0.45766 | 0.01373 | 0.003441
44 | 0.97646 | -0.45261 | 0.0021129 | 0.00052955
45 | 0.97491 | -0.48317 | 0 | 0
46 | 0.99886 | -0.021963 | 0 | 0
47 | 0.97556 | -0.47037 | 0 | 0
48 | 0.97577 | -0.46637 | 0 | 0
49 | 0.97546 | -0.47245 | 0.0040814 | 0.0010229
50 | 0.99847 | -0.029472 | 0.01021 | 0.002559
51 | 0.97046 | -0.57084 | 0.021168 | 0.0053051
52 | 0.97587 | -0.46438 | 0 | 0
53 | 0.97561 | -0.46946 | 0.007225 | 0.0018107
54 | 0.97916 | -0.39983 | 0.014161 | 0.003549
55 | 0.97993 | -0.38468 | 0.013648 | 0.0034205
56 | 0.98047 | -0.37418 | 0.0032932 | 0.00082536
57 | 0.97032 | -0.57346 | 0.0048533 | 0.0012164
58 | 1 | 0 | -0.40928 | -0.10476
59 | 0.99558 | -0.083555 | 0 | 0
60 | 0.98855 | -0.21775 | 0.0019987 | 0.00050093
61 | 0.98856 | -0.21769 | 0.0017104 | 0.00042866
62 | 0.98824 | -0.22381 | 0 | 0
63 | 0.98709 | -0.24592 | 0 | 0
64 | 0.98593 | -0.26813 | 0.0017811 | 0.00044638
65 | 0.98549 | -0.27675 | 0.00092478 | 0.00023177
66 | 0.98895 | -0.21008 | 0 | 0
67 | 0.98816 | -0.22528 | 0.03137 | 0.0078621
68 | 0.98297 | -0.32565 | 0 | 0
69 | 0.9831 | -0.32303 | 0 | 0
70 | 0.98283 | -0.32831 | 0.0013214 | 0.00033117
71 | 0.98619 | -0.26331 | 0.0057971 | 0.0014529
72 | 0.98087 | -0.36637 | 0.015756 | 0.0039488
73 | 0.98336 | -0.31796 | 0 | 0
74 | 0.98457 | -0.29456 | 0.0026672 | 0.00066846
75 | 0.98166 | -0.35095 | 0.0052635 | 0.0013192
76 | 0.99382 | -0.11695 | 0 | 0
77 | 0.98473 | -0.29142 | 0.001552 | 0.00038898
78 | 0.98726 | -0.24262 | 0 | 0
79 | 0.97484 | -0.48436 | 0 | 0
80 | 0.97479 | -0.48539 | 0.0015102 | 0.0003785
81 | 0.97661 | -0.44965 | 0.0089327 | 0.0022388
82 | 0.99225 | -0.14696 | 0.0028442 | 0.00071281
83 | 0.9863 | -0.26132 | 0.035357 | 0.0088613
84 | 0.99061 | -0.17848 | 0.0092191 | 0.0023105
85 | 0.97429 | -0.49535 | 0.08549 | 0.021426
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.072926 | 0.018351 | -0.072921 | -0.018348 | 5.6959e-06 | 3.5065e-06 | 0.11106 | 0.11106 | 0.11106 | 0.97732 | -0.43587 | 0.97723 | -0.43751 | 10.1704
1 | -0.076478 | -0.019241 | 0.076548 | 0.019285 | 7.0187e-05 | 4.3362e-05 | 0.11647 | 0.11647 | 0.11647 | 0.97732 | -0.43587 | 0.9783 | -0.41668 | 10.6656
2 | 0.047854 | 0.012056 | -0.047849 | -0.012053 | 4.2635e-06 | 2.4873e-06 | 0.072888 | 0.072888 | 0.072888 | 0.97723 | -0.43751 | 0.97714 | -0.43937 | 6.6748
3 | 0.025067 | 0.0062921 | -0.025062 | -0.0062887 | 5.4558e-06 | 3.3666e-06 | 0.038173 | 0.038173 | 0.038173 | 0.97723 | -0.43751 | 0.977 | -0.44207 | 10.487
4 | -0.076548 | -0.019285 | 0.076583 | 0.019306 | 3.5101e-05 | 2.1684e-05 | 0.11647 | 0.11647 | 0.11647 | 0.9783 | -0.41668 | 0.97879 | -0.4071 | 10.6655
5 | 0.007475 | 0.0018736 | -0.0074735 | -0.001873 | 1.5364e-06 | 5.8733e-07 | 0.011383 | 0.011383 | 0.011383 | 0.97714 | -0.43937 | 0.97692 | -0.44368 | 3.1273
6 | 0.040374 | 0.01018 | -0.04037 | -0.010178 | 3.8351e-06 | 2.1497e-06 | 0.061505 | 0.061505 | 0.061505 | 0.97714 | -0.43937 | 0.97704 | -0.44135 | 5.6324
7 | 0.025062 | 0.0062887 | -0.025048 | -0.0062801 | 1.4052e-05 | 8.6716e-06 | 0.038173 | 0.038173 | 0.038173 | 0.977 | -0.44207 | 0.9764 | -0.45384 | 10.4871
8 | -0.078485 | -0.019783 | 0.078514 | 0.019801 | 2.9066e-05 | 1.7986e-05 | 0.11936 | 0.11936 | 0.11936 | 0.97879 | -0.4071 | 0.97918 | -0.39936 | 10.9304
9 | 0.038066 | 0.0096001 | -0.038058 | -0.0095956 | 8.0716e-06 | 4.4447e-06 | 0.057996 | 0.057997 | 0.057997 | 0.97704 | -0.44135 | 0.97681 | -0.44579 | 5.311
10 | -0.0097815 | -0.0024516 | 0.0097825 | 0.002452 | 9.405e-07 | 4.5348e-07 | 0.014721 | 0.014721 | 0.014721 | 0.98872 | -0.21454 | 0.98882 | -0.21252 | 4.0443
11 | 0.0097815 | 0.0024516 | -0.0097806 | -0.0024511 | 9.4947e-07 | 4.5784e-07 | 0.014721 | 0.014721 | 0.014721 | 0.98872 | -0.21454 | 0.98862 | -0.21658 | 4.0443
12 | -0.13352 | -0.033981 | 0.13359 | 0.034025 | 7.0218e-05 | 4.4405e-05 | 0.20112 | 0.20112 | 0.20112 | 0.98882 | -0.21252 | 0.98939 | -0.20162 | 18.4173
13 | 0.12374 | 0.031529 | -0.1237 | -0.031501 | 4.3617e-05 | 2.7529e-05 | 0.1864 | 0.1864 | 0.1864 | 0.98882 | -0.21252 | 0.98844 | -0.21983 | 17.0692
14 | 0.0070842 | 0.0017754 | -0.0070842 | -0.0017753 | 7.8582e-08 | 2.666e-08 | 0.010663 | 0.010663 | 0.010663 | 0.98862 | -0.21658 | 0.9886 | -0.21681 | 2.9293
15 | -0.13829 | -0.035287 | 0.13831 | 0.035303 | 2.5808e-05 | 1.6332e-05 | 0.20783 | 0.20783 | 0.20783 | 0.99117 | -0.16752 | 0.99137 | -0.16365 | 19.0321
16 | 0.13829 | 0.035287 | -0.13813 | -0.03519 | 0.00015244 | 9.6472e-05 | 0.20783 | 0.20783 | 0.20783 | 0.99117 | -0.16752 | 0.98998 | -0.19036 | 19.0321
17 | -0.15417 | -0.039281 | 0.15431 | 0.039367 | 0.00013605 | 8.6287e-05 | 0.23164 | 0.23164 | 0.23164 | 0.99137 | -0.16365 | 0.99233 | -0.14538 | 21.2122
18 | 0.01586 | 0.0039778 | -0.015854 | -0.0039738 | 6.9677e-06 | 4.0368e-06 | 0.023807 | 0.023807 | 0.023807 | 0.99137 | -0.16365 | 0.9909 | -0.17287 | 6.5404
19 | 0.13367 | 0.034071 | -0.13359 | -0.034025 | 7.2563e-05 | 4.5887e-05 | 0.20112 | 0.20112 | 0.20112 | 0.98998 | -0.19036 | 0.98939 | -0.20162 | 18.4173
20 | 0.025048 | 0.0062801 | -0.025043 | -0.0062772 | 4.5588e-06 | 2.8133e-06 | 0.038173 | 0.038173 | 0.038173 | 0.9764 | -0.45384 | 0.97621 | -0.45766 | 10.4871
21 | 0.0049472 | 0.0012398 | -0.0049468 | -0.0012398 | 3.4576e-07 | 1.8304e-08 | 0.0075382 | 0.0075383 | 0.0075383 | 0.97654 | -0.45102 | 0.97647 | -0.45248 | 2.071
22 | -0.035515 | -0.0089557 | 0.035524 | 0.0089605 | 8.8929e-06 | 4.7801e-06 | 0.054136 | 0.054136 | 0.054136 | 0.97654 | -0.45102 | 0.97681 | -0.44579 | 4.9575
23 | 0.030568 | 0.0077159 | -0.030556 | -0.0077099 | 1.2135e-05 | 6.0891e-06 | 0.046598 | 0.046599 | 0.046599 | 0.97654 | -0.45102 | 0.97612 | -0.45931 | 4.2673
24 | 0.0021129 | 0.00052952 | -0.0021129 | -0.00052955 | 1.2701e-08 | -3.2737e-08 | 0.0032199 | 0.0032199 | 0.0032199 | 0.97647 | -0.45248 | 0.97646 | -0.45261 | 0.88458
25 | 0.030556 | 0.0077099 | -0.030548 | -0.0077048 | 8.1457e-06 | 5.0882e-06 | 0.046599 | 0.046599 | 0.046599 | 0.97612 | -0.45931 | 0.97584 | -0.46487 | 12.8019
26 | 0.0043399 | 0.0010874 | -0.0043395 | -0.0010875 | 4.6606e-07 | -5.4144e-08 | 0.0066274 | 0.0066275 | 0.0066275 | 0.97441 | -0.49291 | 0.9743 | -0.49517 | 1.8207
27 | -0.0043399 | -0.0010874 | 0.0043406 | 0.0010874 | 6.9898e-07 | -8.1383e-08 | 0.0066274 | 0.0066272 | 0.0066274 | 0.97441 | -0.49291 | 0.97458 | -0.48953 | 1.8207
28 | 0.0043395 | 0.0010875 | -0.0043392 | -0.0010875 | 2.2777e-07 | -2.6426e-08 | 0.0066275 | 0.0066276 | 0.0066276 | 0.9743 | -0.49517 | 0.97424 | -0.49627 | 1.8208
29 | -0.011143 | -0.0027922 | 0.011146 | 0.002794 | 3.3788e-06 | 1.7744e-06 | 0.017013 | 0.017013 | 0.017013 | 0.97458 | -0.48953 | 0.97491 | -0.48317 | 4.674
30 | 0.0044519 | 0.0011157 | -0.0044518 | -0.0011157 | 7.1865e-08 | -1.0566e-08 | 0.0066458 | 0.0066458 | 0.0066458 | 0.9968 | -0.061622 | 0.99678 | -0.061961 | 1.8258
31 | -0.0044519 | -0.0011157 | 0.0044523 | 0.0011157 | 4.333e-07 | -6.3756e-08 | 0.0066458 | 0.0066457 | 0.0066458 | 0.9968 | -0.061622 | 0.9969 | -0.059579 | 1.8258
32 | -0.024862 | -0.0062309 | 0.02488 | 0.0062417 | 1.7623e-05 | 1.0834e-05 | 0.03711 | 0.03711 | 0.03711 | 0.9969 | -0.059579 | 0.99767 | -0.04471 | 10.1952
33 | -0.0038706 | -0.00097001 | 0.0038709 | 0.00096991 | 2.5553e-07 | -1.034e-07 | 0.0057734 | 0.0057733 | 0.0057734 | 0.9976 | -0.046096 | 0.99767 | -0.04471 | 1.5861
34 | 0.0038706 | 0.00097001 | -0.0038706 | -0.00097005 | 9.5854e-08 | -3.8774e-08 | 0.0057734 | 0.0057734 | 0.0057734 | 0.9976 | -0.046096 | 0.99757 | -0.046616 | 1.5861
35 | -0.034207 | -0.0085788 | 0.034244 | 0.008602 | 3.713e-05 | 2.3266e-05 | 0.051021 | 0.051021 | 0.051021 | 0.99767 | -0.04471 | 0.99886 | -0.021963 | 14.0168
36 | 0.0054561 | 0.0013672 | -0.0054549 | -0.001367 | 1.1883e-06 | 1.358e-07 | 0.0081376 | 0.0081378 | 0.0081378 | 0.99767 | -0.04471 | 0.99744 | -0.049283 | 2.2357
37 | 0.0054549 | 0.001367 | -0.0054542 | -0.0013669 | 7.1539e-07 | 8.1917e-08 | 0.0081378 | 0.0081379 | 0.0081379 | 0.99744 | -0.049283 | 0.99729 | -0.052036 | 2.2357
38 | 0.026123 | 0.0065841 | -0.026064 | -0.0065475 | 5.914e-05 | 3.6618e-05 | 0.039899 | 0.039899 | 0.039899 | 0.97457 | -0.4896 | 0.97217 | -0.53703 | 10.9613
39 | -0.026123 | -0.0065841 | 0.026149 | 0.0066005 | 2.6443e-05 | 1.6371e-05 | 0.039899 | 0.039898 | 0.039899 | 0.97457 | -0.4896 | 0.97565 | -0.46846 | 10.9612
40 | 0.026064 | 0.0065475 | -0.026022 | -0.0065215 | 4.1978e-05 | 2.5996e-05 | 0.039899 | 0.039899 | 0.039899 | 0.97217 | -0.53703 | 0.97046 | -0.57084 | 10.9614
41 | -0.029297 | -0.0073895 | 0.029302 | 0.0073927 | 5.0365e-06 | 3.1394e-06 | 0.0447 | 0.0447 | 0.0447 | 0.97565 | -0.46846 | 0.97584 | -0.46487 | 12.2802
42 | 0.014161 | 0.0035492 | -0.014161 | -0.003549 | 3.1607e-07 | 1.7939e-07 | 0.02152 | 0.02152 | 0.02152 | 0.97918 | -0.39936 | 0.97916 | -0.39983 | 5.912
43 | -0.092675 | -0.02335 | 0.092741 | 0.023391 | 6.5154e-05 | 4.0707e-05 | 0.14088 | 0.14088 | 0.14088 | 0.97918 | -0.39936 | 0.97993 | -0.38468 | 12.901
44 | 0.1228 | 0.031275 | -0.12277 | -0.03126 | 2.3581e-05 | 1.488e-05 | 0.18504 | 0.18504 | 0.18504 | 0.98844 | -0.21983 | 0.98824 | -0.22381 | 16.9448
45 | 0.0037092 | 0.00092949 | -0.0037091 | -0.00092956 | 1.5574e-07 | -7.1155e-08 | 0.005583 | 0.005583 | 0.005583 | 0.9886 | -0.21681 | 0.98856 | -0.21769 | 1.5338
46 | 0.0028444 | 0.00071255 | -0.0028442 | -0.00071281 | 2.1384e-07 | -2.6807e-07 | 0.0042651 | 0.0042652 | 0.0042652 | 0.99233 | -0.14538 | 0.99225 | -0.14696 | 1.1718
47 | -0.15715 | -0.04008 | 0.15737 | 0.040217 | 0.00021609 | 0.00013709 | 0.2359 | 0.2359 | 0.2359 | 0.99233 | -0.14538 | 0.99382 | -0.11695 | 21.6027
48 | 0.0092216 | 0.0023117 | -0.0092191 | -0.0023105 | 2.4643e-06 | 1.1359e-06 | 0.013848 | 0.013848 | 0.013848 | 0.9909 | -0.17287 | 0.99061 | -0.17848 | 3.8045
49 | -0.0044421 | -0.0011133 | 0.0044424 | 0.0011132 | 3.6483e-07 | -5.7165e-08 | 0.0066184 | 0.0066183 | 0.0066184 | 0.9987 | -0.024901 | 0.99879 | -0.023177 | 1.8182
50 | 0.010214 | 0.0025605 | -0.01021 | -0.002559 | 3.0626e-06 | 1.4986e-06 | 0.015216 | 0.015217 | 0.015217 | 0.99879 | -0.023177 | 0.99847 | -0.029472 | 4.1804
51 | -0.014656 | -0.0036737 | 0.014657 | 0.0036742 | 8.4762e-07 | 4.8042e-07 | 0.021835 | 0.021835 | 0.021835 | 0.99879 | -0.023177 | 0.99886 | -0.021963 | 5.9986
52 | 0.011313 | 0.0028362 | -0.01131 | -0.0028343 | 3.6229e-06 | 1.9126e-06 | 0.017245 | 0.017245 | 0.017245 | 0.97621 | -0.45766 | 0.97587 | -0.46438 | 4.7377
53 | 0.08554 | 0.021458 | -0.08549 | -0.021426 | 4.9668e-05 | 3.169e-05 | 0.13057 | 0.13057 | 0.13057 | 0.97491 | -0.48317 | 0.97429 | -0.49535 | 35.8705
54 | 0.0015104 | 0.0003776 | -0.0015103 | -0.00037808 | 8.5586e-08 | -4.8079e-07 | 0.002305 | 0.0023052 | 0.0023052 | 0.97491 | -0.48317 | 0.97484 | -0.48436 | 0.63329
55 | -0.098197 | -0.024629 | 0.098354 | 0.02473 | 0.00015718 | 0.00010036 | 0.14989 | 0.14989 | 0.14989 | 0.97491 | -0.48317 | 0.97661 | -0.44965 | 41.1777
56 | -0.048901 | -0.012276 | 0.048952 | 0.012309 | 5.1289e-05 | 3.2487e-05 | 0.072856 | 0.072856 | 0.072856 | 0.99886 | -0.021963 | 1 | 0 | 20.0153
57 | -0.0040818 | -0.0010228 | 0.0040826 | 0.0010226 | 7.7882e-07 | -1.7072e-07 | 0.0062259 | 0.0062256 | 0.0062259 | 0.97556 | -0.47037 | 0.97577 | -0.46637 | 1.7104
58 | 0.0040818 | 0.0010228 | -0.0040814 | -0.0010229 | 4.0349e-07 | -8.8318e-08 | 0.0062259 | 0.006226 | 0.006226 | 0.97556 | -0.47037 | 0.97546 | -0.47245 | 1.7104
59 | -0.011309 | -0.0028338 | 0.01131 | 0.0028343 | 1.0714e-06 | 5.6568e-07 | 0.017245 | 0.017245 | 0.017245 | 0.97577 | -0.46637 | 0.97587 | -0.46438 | 4.7377
60 | 0.007226 | 0.0018111 | -0.007225 | -0.0018107 | 1.0636e-06 | 3.8899e-07 | 0.01102 | 0.01102 | 0.01102 | 0.97577 | -0.46637 | 0.97561 | -0.46946 | 3.0274
61 | 0.0048539 | 0.0012164 | -0.0048533 | -0.0012164 | 6.0637e-07 | 2.7448e-08 | 0.0074425 | 0.0074427 | 0.0074427 | 0.97046 | -0.57084 | 0.97032 | -0.57346 | 2.0447
62 | -0.10639 | -0.026812 | 0.10644 | 0.026845 | 5.3482e-05 | 3.3609e-05 | 0.1616 | 0.1616 | 0.1616 | 0.97993 | -0.38468 | 0.98047 | -0.37418 | 14.7988
63 | -0.10974 | -0.027671 | 0.10986 | 0.027747 | 0.00012212 | 7.6822e-05 | 0.1666 | 0.1666 | 0.1666 | 0.98047 | -0.37418 | 0.98166 | -0.35095 | 15.2565
64 | 0.35867 | 0.092455 | -0.35722 | -0.091527 | 0.0014529 | 0.00092828 | 0.53462 | 0.53462 | 0.53462 | 1 | 0 | 0.99558 | -0.083555 | 48.9583
65 | 0.15762 | 0.040379 | -0.15737 | -0.040217 | 0.0002546 | 0.00016152 | 0.2359 | 0.2359 | 0.2359 | 0.99558 | -0.083555 | 0.99382 | -0.11695 | 21.6027
66 | 0.1996 | 0.051148 | -0.19838 | -0.050375 | 0.0012159 | 0.00077396 | 0.29872 | 0.29873 | 0.29873 | 0.99558 | -0.083555 | 0.98895 | -0.21008 | 27.3558
67 | -0.0019987 | -0.00050093 | 0.0019987 | 0.00050091 | 5.953e-09 | -1.8675e-08 | 0.0030086 | 0.0030085 | 0.0030086 | 0.98855 | -0.21775 | 0.98856 | -0.21769 | 0.82653
68 | 0.12277 | 0.03126 | -0.12264 | -0.031177 | 0.00013076 | 8.2515e-05 | 0.18504 | 0.18504 | 0.18504 | 0.98824 | -0.22381 | 0.98709 | -0.24592 | 16.9448
69 | 0.12264 | 0.031177 | -0.12251 | -0.031095 | 0.00013103 | 8.2684e-05 | 0.18504 | 0.18504 | 0.18504 | 0.98709 | -0.24592 | 0.98593 | -0.26813 | 16.9448
70 | 0.12073 | 0.030648 | -0.12068 | -0.030617 | 5.0046e-05 | 3.1569e-05 | 0.18235 | 0.18235 | 0.18235 | 0.98593 | -0.26813 | 0.98549 | -0.27675 | 16.6987
71 | 0.11975 | 0.030385 | -0.11967 | -0.030332 | 8.4413e-05 | 5.3237e-05 | 0.18095 | 0.18095 | 0.18095 | 0.98549 | -0.27675 | 0.98473 | -0.29142 | 16.5708
72 | 0.19838 | 0.050375 | -0.19824 | -0.050282 | 0.00014496 | 9.2275e-05 | 0.29873 | 0.29873 | 0.29873 | 0.98895 | -0.21008 | 0.98816 | -0.22528 | 27.3558
73 | 0.16687 | 0.04242 | -0.16673 | -0.042331 | 0.00013929 | 8.8845e-05 | 0.25149 | 0.25149 | 0.25149 | 0.98816 | -0.22528 | 0.98726 | -0.24262 | 34.5449
74 | -0.0013216 | -0.00032986 | 0.0013217 | 0.00032858 | 1.641e-07 | -1.2822e-06 | 0.0020001 | 0.0019996 | 0.0020001 | 0.98297 | -0.32565 | 0.9831 | -0.32303 | 0.54947
75 | 0.0013216 | 0.00032986 | -0.0013214 | -0.00033117 | 1.6752e-07 | -1.3078e-06 | 0.0020001 | 0.0020006 | 0.0020006 | 0.98297 | -0.32565 | 0.98283 | -0.32831 | 0.54961
76 | -0.12505 | -0.031684 | 0.12541 | 0.031914 | 0.00035987 | 0.00022998 | 0.1894 | 0.1894 | 0.1894 | 0.9831 | -0.32303 | 0.98619 | -0.26331 | 52.0326
77 | 0.12373 | 0.031355 | -0.12347 | -0.031191 | 0.00025705 | 0.00016426 | 0.1874 | 0.1874 | 0.1874 | 0.9831 | -0.32303 | 0.98087 | -0.36637 | 51.4833
78 | -0.13121 | -0.033367 | 0.13134 | 0.03345 | 0.00013092 | 8.3675e-05 | 0.19815 | 0.19815 | 0.19815 | 0.98619 | -0.26331 | 0.98726 | -0.24262 | 54.4356
79 | 0.10772 | 0.027242 | -0.10729 | -0.026968 | 0.00042847 | 0.00027368 | 0.1635 | 0.1635 | 0.1635 | 0.98087 | -0.36637 | 0.97661 | -0.44965 | 44.9168
80 | -0.1153 | -0.029181 | 0.11543 | 0.029263 | 0.00012967 | 8.1694e-05 | 0.17458 | 0.17458 | 0.17458 | 0.98336 | -0.31796 | 0.98457 | -0.29456 | 15.987
81 | 0.1153 | 0.029181 | -0.11512 | -0.029067 | 0.00018227 | 0.00011483 | 0.17458 | 0.17458 | 0.17458 | 0.98336 | -0.31796 | 0.98166 | -0.35095 | 15.987
82 | -0.1181 | -0.029932 | 0.11812 | 0.029943 | 1.7835e-05 | 1.1244e-05 | 0.17861 | 0.17861 | 0.17861 | 0.98457 | -0.29456 | 0.98473 | -0.29142 | 16.3561
83 | 0.035388 | 0.0088811 | -0.035357 | -0.0088613 | 3.1531e-05 | 1.9803e-05 | 0.053342 | 0.053342 | 0.053342 | 0.98726 | -0.24262 | 0.9863 | -0.26132 | 14.6544
84 | 0.0015103 | 0.00037808 | -0.0015102 | -0.0003785 | 7.4452e-08 | -4.1811e-07 | 0.0023052 | 0.0023053 | 0.0023053 | 0.97484 | -0.48436 | 0.97479 | -0.48539 | 0.63333

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41341 | 0.1058

## res_load
| p_mw | q_mvar
0 | 0.0035513 | 0.00089003
1 | 0.0019025 | 0.00047681
2 | 0.0074735 | 0.001873
3 | 0.002304 | 0.00057744
4 | 0.0026963 | 0.00067577
5 | 0.0044669 | 0.0011195
6 | 0.0028339 | 0.00071024
7 | 0.0025343 | 0.00063515
8 | 0.0068025 | 0.0017049
9 | 0.0044518 | 0.0011157
10 | 0.02041 | 0.0051152
11 | 0.0043392 | 0.0010875
12 | 0.0038706 | 0.00097005
13 | 0.0054542 | 0.0013669
14 | 0.0031482 | 0.000789
15 | 0.0012453 | 0.00031211
16 | 0.00090307 | 0.00022633
17 | 0.0033749 | 0.00084583
18 | 0.0066319 | 0.0016621
19 | 0.0044421 | 0.0011133
20 | 0.01373 | 0.003441
21 | 0.0021129 | 0.00052955
22 | 0.0040814 | 0.0010229
23 | 0.01021 | 0.002559
24 | 0.021168 | 0.0053051
25 | 0.007225 | 0.0018107
26 | 0.014161 | 0.003549
27 | 0.013648 | 0.0034205
28 | 0.0032932 | 0.00082536
29 | 0.0048533 | 0.0012164
30 | 0.0041349 | 0.0010363
31 | 0.0019987 | 0.00050093
32 | 0.0017104 | 0.00042866
33 | 0.0017811 | 0.00044638
34 | 0.00092478 | 0.00023177
35 | 0.03137 | 0.0078621
36 | 0.0013214 | 0.00033117
37 | 0.0057971 | 0.0014529
38 | 0.015756 | 0.0039488
39 | 0.0026672 | 0.00066846
40 | 0.0052635 | 0.0013192
41 | 0.001552 | 0.00038898
42 | 0.0015102 | 0.0003785
43 | 0.0089327 | 0.0022388
44 | 0.0028442 | 0.00071281
45 | 0.035357 | 0.0088613
46 | 0.0092191 | 0.0023105
47 | 0.08549 | 0.021426

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1