## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_177-4_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_177-4_1_2_node_61 | 0.4 | n |  | TRUE
2 | bus_LV_177-4_1_2_node_32 | 0.4 | n |  | TRUE
3 | bus_LV_177-4_1_2_node_37 | 0.4 | n |  | TRUE
4 | bus_LV_177-4_1_2_node_91 | 0.4 | n |  | TRUE
5 | bus_LV_177-4_1_2_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_177-4_1_2_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_177-4_1_2_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_177-4_1_2_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_177-4_1_2_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_177-4_1_2_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_177-4_1_2_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_177-4_1_2_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_177-4_1_2_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_177-4_1_2_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_177-4_1_2_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_177-4_1_2_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_177-4_1_2_node_95 | 0.4 | n |  | TRUE
18 | bus_LV_177-4_1_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_177-4_1_2_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_177-4_1_2_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_177-4_1_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_177-4_1_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_177-4_1_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_177-4_1_2_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_177-4_1_2_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_177-4_1_2_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_177-4_1_2_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_177-4_1_2_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_177-4_1_2_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_177-4_1_2_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_177-4_1_2_node_90 | 0.4 | n |  | TRUE
32 | bus_MV_7_2_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_177-4_1_2_load_128 | 0 | 0.022473 | 0.0056322 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_177-4_1_2_load_91 | 4 | 0.012972 | 0.0032511 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_177-4_1_2_load_116 | 5 | 0.0005186 | 0.00012997 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_177-4_1_2_load_45 | 6 | 0.00050469 | 0.00012649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_177-4_1_2_load_49 | 9 | 0.0040897 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_177-4_1_2_load_51 | 11 | 0.022257 | 0.0055781 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_177-4_1_2_load_52 | 12 | 0.0011659 | 0.00029219 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_177-4_1_2_load_48 | 13 | 0.009737 | 0.0024403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_177-4_1_2_load_95 | 17 | 0.0052358 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_177-4_1_2_load_53 | 18 | 0.00073977 | 0.0001854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_177-4_1_2_load_55 | 21 | 0.056417 | 0.014139 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_177-4_1_2_load_63 | 24 | 0.05528 | 0.013855 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_177-4_1_2_load_65 | 26 | 0.00056372 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_177-4_1_2_load_66 | 27 | 0.00018624 | 4.6676e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_177-4_1_2_load_70 | 29 | 0.00044705 | 0.00011204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_177-4_1_2_load_94 | 30 | 0.017872 | 0.0044791 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_177-4_1_2_load_90 | 31 | 0.003866 | 0.00096892 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_177-4_1_2_line_0 |  | 0 | 1 | 0.024758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_177-4_1_2_line_1 |  | 1 | 25 | 0.042491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_177-4_1_2_line_2 |  | 2 | 3 | 0.74103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_177-4_1_2_line_3 |  | 2 | 4 | 0.041082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_177-4_1_2_line_4 |  | 3 | 5 | 0.097004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_177-4_1_2_line_5 |  | 4 | 31 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_177-4_1_2_line_6 |  | 6 | 7 | 0.059212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_177-4_1_2_line_7 |  | 6 | 8 | 0.032548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_177-4_1_2_line_8 |  | 7 | 9 | 0.032441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_177-4_1_2_line_9 |  | 7 | 10 | 0.10708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_177-4_1_2_line_10 |  | 8 | 11 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_177-4_1_2_line_11 |  | 8 | 12 | 0.0027976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_177-4_1_2_line_12 |  | 9 | 15 | 0.045553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_177-4_1_2_line_13 |  | 10 | 16 | 0.055931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_177-4_1_2_line_14 |  | 10 | 17 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_177-4_1_2_line_15 |  | 11 | 18 | 0.0093009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_177-4_1_2_line_16 |  | 13 | 14 | 0.051201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_177-4_1_2_line_17 |  | 14 | 28 | 0.060964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_177-4_1_2_line_18 |  | 15 | 22 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_177-4_1_2_line_19 |  | 15 | 23 | 0.031173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_177-4_1_2_line_20 |  | 16 | 30 | 0.049678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_177-4_1_2_line_21 |  | 18 | 19 | 0.011995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_177-4_1_2_line_22 |  | 19 | 20 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_177-4_1_2_line_23 |  | 20 | 29 | 0.037223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_177-4_1_2_line_24 |  | 20 | 27 | 0.047597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_177-4_1_2_line_25 |  | 21 | 22 | 0.041564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_177-4_1_2_line_26 |  | 23 | 24 | 0.035103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_177-4_1_2_line_27 |  | 25 | 31 | 0.014847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_177-4_1_2_line_28 |  | 25 | 29 | 0.043597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_177-4_1_2_line_29 |  | 26 | 27 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_177-4_1_2_line_30 |  | 26 | 28 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_177-4_1_2_trafo_49 | 0.63 MVA 20/0.4 kV | 32 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2700817.9451 | 1247600.0245 | 2700803.9527 | 1247600.5982 | 2700795.5567 | 1247593.8792
1 | 2700800.2732 | 1247636.6083 | 2700811.0438 | 1247625.5939 | 2700818.0061 | 1247610.645 | 2700817.9451 | 1247600.0245
2 | 2700760.3191 | 1247797.0103 | 2700703.8226 | 1247854.8736 | 2700669.2101 | 1247890.9586 | 2700674.2968 | 1247896.1156 | 2700750.7026 | 1247818.3636 | 2700887.2962 | 1247679.6107 | 2700896.1775 | 1247670.4213 | 2700901.2138 | 1247662.1227 | 2700908.1135 | 1247653.5223 | 2700936.3947 | 1247624.7589 | 2700947.3984 | 1247613.8265 | 2700944.4099 | 1247611.4405 | 2700940.3492 | 1247607.6906 | 2700938.4451 | 1247605.5009 | 2700937.249 | 1247603.4345 | 2700937.0518 | 1247600.818 | 2700940.5147 | 1247579.7938 | 2700939.4069 | 1247574.7599 | 2700935.9242 | 1247570.7864 | 2700929.7745 | 1247565.9446 | 2700920.0854 | 1247561.7876 | 2700910.9095 | 1247560.3192 | 2700905.0091 | 1247560.3521 | 2700908.1322 | 1247569.9239 | 2700904.2205 | 1247605.3294 | 2700897.4539 | 1247619.859 | 2700883.1254 | 1247637.9627 | 2700873.4286 | 1247647.1272 | 2700863.7504 | 1247655.2022 | 2700850.3075 | 1247664.781
3 | 2700850.3075 | 1247664.781 | 2700833.2082 | 1247671.262 | 2700826.5141 | 1247671.7819 | 2700820.0658 | 1247670.2822 | 2700814.5505 | 1247667.2305 | 2700813.216 | 1247664.3682
4 | 2700760.3191 | 1247797.0103 | 2700822.8072 | 1247733.3671 | 2700828.2919 | 1247727.8049
5 | 2700813.216 | 1247664.3682 | 2700806.5471 | 1247650.0648
6 | 2700619.5014 | 1247653.2956 | 2700636.9924 | 1247642.8621 | 2700662.2719 | 1247631.9715 | 2700672.6652 | 1247627.4862
7 | 2700700.8728 | 1247611.5331 | 2700685.5504 | 1247621.9255 | 2700672.6652 | 1247627.4862
8 | 2700619.5014 | 1247653.2956 | 2700599.0692 | 1247628.0975
9 | 2700541.97 | 1247726.1375 | 2700557.6253 | 1247709.0118 | 2700565.5187 | 1247701.4731 | 2700611.4994 | 1247665.4471 | 2700619.5014 | 1247653.2956
10 | 2700700.8728 | 1247611.5331 | 2700709.8903 | 1247631.4924
11 | 2700700.8728 | 1247611.5331 | 2700703.3805 | 1247610.2928
12 | 2700570.3787 | 1247592.7149 | 2700599.0692 | 1247628.0975
13 | 2700541.97 | 1247726.1375 | 2700496.595 | 1247759.0162
14 | 2700541.97 | 1247726.1375 | 2700559.1543 | 1247748.4407
15 | 2700709.8903 | 1247631.4924 | 2700713.7197 | 1247639.9685
16 | 2700691.2023 | 1247748.5205 | 2700688.7783 | 1247745.8106 | 2700660.2678 | 1247707.7366
17 | 2700682.8012 | 1247719.255 | 2700689.602 | 1247722.6731 | 2700701.8773 | 1247725.3281 | 2700711.3012 | 1247724.6432 | 2700708.3537 | 1247727.84 | 2700702.5038 | 1247736.9145 | 2700691.2023 | 1247748.5205
18 | 2700569.3809 | 1247578.0644 | 2700577.5856 | 1247586.0208 | 2700570.3787 | 1247592.7149
19 | 2700570.3787 | 1247592.7149 | 2700577.5856 | 1247586.0208 | 2700593.2049 | 1247571.4855
20 | 2700496.595 | 1247759.0162 | 2700527.7229 | 1247797.7329
21 | 2700718.6582 | 1247650.8993 | 2700713.7197 | 1247639.9685
22 | 2700724.4174 | 1247664.4967 | 2700718.6582 | 1247650.8993
23 | 2700724.4174 | 1247664.4967 | 2700759.3543 | 1247651.6521
24 | 2700724.4174 | 1247664.4967 | 2700720.1049 | 1247681.7814 | 2700713.9579 | 1247695.888 | 2700707.3219 | 1247702.3248 | 2700703.3391 | 1247705.5887
25 | 2700569.3809 | 1247578.0644 | 2700559.5889 | 1247579.9553 | 2700544.7537 | 1247563.869 | 2700551.7124 | 1247557.0995
26 | 2700593.2049 | 1247571.4855 | 2700569.2982 | 1247545.7814
27 | 2700800.2732 | 1247636.6083 | 2700806.5471 | 1247650.0648
28 | 2700800.2732 | 1247636.6083 | 2700759.3543 | 1247651.6521
29 | 2700694.6582 | 1247712.8905 | 2700699.4391 | 1247708.7849 | 2700703.3391 | 1247705.5887
30 | 2700682.8012 | 1247719.255 | 2700692.0493 | 1247715.131 | 2700694.6582 | 1247712.8905

## bus_geodata
| x | y | coords
0 | 2700795.5567 | 1247593.8792
1 | 2700817.9451 | 1247600.0245
2 | 2700850.3075 | 1247664.781
3 | 2700760.3191 | 1247797.0103
4 | 2700813.216 | 1247664.3682
5 | 2700828.2919 | 1247727.8049
6 | 2700672.6652 | 1247627.4862
7 | 2700619.5014 | 1247653.2956
8 | 2700700.8728 | 1247611.5331
9 | 2700599.0692 | 1247628.0975
10 | 2700541.97 | 1247726.1375
11 | 2700709.8903 | 1247631.4924
12 | 2700703.3805 | 1247610.2928
13 | 2700660.2678 | 1247707.7366
14 | 2700691.2023 | 1247748.5205
15 | 2700570.3787 | 1247592.7149
16 | 2700496.595 | 1247759.0162
17 | 2700559.1543 | 1247748.4407
18 | 2700713.7197 | 1247639.9685
19 | 2700718.6582 | 1247650.8993
20 | 2700724.4174 | 1247664.4967
21 | 2700551.7124 | 1247557.0995
22 | 2700569.3809 | 1247578.0644
23 | 2700593.2049 | 1247571.4855
24 | 2700569.2982 | 1247545.7814
25 | 2700800.2732 | 1247636.6083
26 | 2700694.6582 | 1247712.8905
27 | 2700703.3391 | 1247705.5887
28 | 2700682.8012 | 1247719.255
29 | 2700759.3543 | 1247651.6521
30 | 2700527.7229 | 1247797.7329
31 | 2700806.5471 | 1247650.0648
32 | 2700599.0692 | 1247628.0975

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98315 | -0.32464 | 0.022473 | 0.0056322
1 | 0.98366 | -0.31461 | 0 | 0
2 | 0.98409 | -0.30631 | 0 | 0
3 | 0.98374 | -0.31344 | 0 | 0
4 | 0.98411 | -0.30591 | 0.012972 | 0.0032511
5 | 0.98369 | -0.31434 | 0.0005186 | 0.00012997
6 | 0.99295 | -0.13459 | 0.00050469 | 0.00012649
7 | 0.99706 | -0.055911 | 0 | 0
8 | 0.99071 | -0.17782 | 0 | 0
9 | 1 | 0 | -0.21384 | -0.053916
10 | 0.9948 | -0.099403 | 0 | 0
11 | 0.98922 | -0.20657 | 0.022257 | 0.0055781
12 | 0.9907 | -0.17788 | 0.0011659 | 0.00029219
13 | 0.98584 | -0.27233 | 0.009737 | 0.0024403
14 | 0.98629 | -0.26339 | 0 | 0
15 | 0.99535 | -0.089102 | 0 | 0
16 | 0.99389 | -0.11703 | 0 | 0
17 | 0.99467 | -0.102 | 0.0052358 | 0.0013122
18 | 0.98878 | -0.21511 | 0.00073977 | 0.0001854
19 | 0.98822 | -0.22598 | 0 | 0
20 | 0.98753 | -0.23938 | 0 | 0
21 | 0.99211 | -0.15167 | 0.056417 | 0.014139
22 | 0.99425 | -0.11023 | 0 | 0
23 | 0.99377 | -0.11947 | 0 | 0
24 | 0.992 | -0.15378 | 0.05528 | 0.013855
25 | 0.98455 | -0.29743 | 0 | 0
26 | 0.98696 | -0.2504 | 0.00056372 | 0.00014128
27 | 0.98707 | -0.2483 | 0.00018624 | 4.6676e-05
28 | 0.98684 | -0.25276 | 0 | 0
29 | 0.98615 | -0.26623 | 0.00044705 | 0.00011204
30 | 0.99308 | -0.1327 | 0.017872 | 0.0044791
31 | 0.98431 | -0.30207 | 0.003866 | 0.00096892
32 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.022473 | -0.0056322 | 0.022484 | 0.0056388 | 1.0741e-05 | 6.5599e-06 | 0.034013 | 0.034013 | 0.034013 | 0.98315 | -0.32464 | 0.98366 | -0.31461 | 9.3443
1 | -0.022484 | -0.0056388 | 0.022502 | 0.0056501 | 1.8434e-05 | 1.1258e-05 | 0.034013 | 0.034013 | 0.034013 | 0.98366 | -0.31461 | 0.98455 | -0.29743 | 9.3442
2 | 0.00051879 | 0.00011945 | -0.00051862 | -0.00012876 | 1.7011e-07 | -9.3027e-06 | 0.00078082 | 0.00078404 | 0.00078404 | 0.98409 | -0.30631 | 0.98374 | -0.31344 | 0.21539
3 | -0.00051879 | -0.00011945 | 0.0005188 | 0.00011894 | 9.3907e-09 | -5.1596e-07 | 0.00078082 | 0.00078065 | 0.00078082 | 0.98409 | -0.30631 | 0.98411 | -0.30591 | 0.21451
4 | 0.00051862 | 0.00012876 | -0.0005186 | -0.00012997 | 2.2373e-08 | -1.2172e-06 | 0.00078404 | 0.00078447 | 0.00078447 | 0.98374 | -0.31344 | 0.98369 | -0.31434 | 0.21551
5 | -0.013491 | -0.0033701 | 0.013493 | 0.0033714 | 2.4616e-06 | 1.3749e-06 | 0.020395 | 0.020395 | 0.020395 | 0.98411 | -0.30591 | 0.98431 | -0.30207 | 5.603
6 | -0.075932 | -0.019208 | 0.07622 | 0.019392 | 0.00028782 | 0.00018344 | 0.11385 | 0.11385 | 0.11385 | 0.99295 | -0.13459 | 0.99706 | -0.055911 | 31.2783
7 | 0.075427 | 0.019082 | -0.075271 | -0.018982 | 0.00015612 | 9.9497e-05 | 0.1131 | 0.1131 | 0.1131 | 0.99295 | -0.13459 | 0.99071 | -0.17782 | 31.0705
8 | -0.099404 | -0.025229 | 0.099672 | 0.0254 | 0.00026814 | 0.00017119 | 0.14846 | 0.14846 | 0.14846 | 0.99706 | -0.055911 | 1 | 0 | 40.7865
9 | 0.023185 | 0.0058375 | -0.023137 | -0.0058081 | 4.8102e-05 | 2.9392e-05 | 0.03461 | 0.034611 | 0.034611 | 0.99706 | -0.055911 | 0.9948 | -0.099403 | 9.5085
10 | 0.074105 | 0.01869 | -0.074003 | -0.018625 | 0.00010183 | 6.4887e-05 | 0.11135 | 0.11135 | 0.11135 | 0.99071 | -0.17782 | 0.98922 | -0.20657 | 30.5895
11 | 0.0011659 | 0.00029216 | -0.0011659 | -0.00029219 | 3.217e-09 | -3.3965e-08 | 0.0017511 | 0.0017511 | 0.0017511 | 0.99071 | -0.17782 | 0.9907 | -0.17788 | 0.48108
12 | 0.11252 | 0.028516 | -0.11204 | -0.02821 | 0.00047948 | 0.00030628 | 0.16754 | 0.16754 | 0.16754 | 1 | 0 | 0.99535 | -0.089102 | 46.027
13 | 0.0179 | 0.0044959 | -0.017885 | -0.004487 | 1.504e-05 | 8.9001e-06 | 0.026778 | 0.026778 | 0.026778 | 0.9948 | -0.099403 | 0.99389 | -0.11703 | 7.3567
14 | 0.0052365 | 0.0013123 | -0.0052358 | -0.0013122 | 6.4776e-07 | 4.9067e-08 | 0.0078326 | 0.0078328 | 0.0078328 | 0.9948 | -0.099403 | 0.99467 | -0.102 | 2.1519
15 | 0.051746 | 0.013047 | -0.051725 | -0.013034 | 2.1147e-05 | 1.3415e-05 | 0.077866 | 0.077866 | 0.077866 | 0.98922 | -0.20657 | 0.98878 | -0.21511 | 21.3918
16 | -0.009737 | -0.0024403 | 0.0097411 | 0.0024423 | 4.1472e-06 | 2.0011e-06 | 0.014697 | 0.014697 | 0.014697 | 0.98584 | -0.27233 | 0.98629 | -0.26339 | 4.0376
17 | -0.0097411 | -0.0024423 | 0.0097461 | 0.0024447 | 4.9378e-06 | 2.3817e-06 | 0.014697 | 0.014696 | 0.014697 | 0.98629 | -0.26339 | 0.98684 | -0.25276 | 4.0376
18 | 0.056586 | 0.014247 | -0.056529 | -0.01421 | 5.7097e-05 | 3.6266e-05 | 0.084617 | 0.084617 | 0.084617 | 0.99535 | -0.089102 | 0.99425 | -0.11023 | 23.2464
19 | 0.055451 | 0.013963 | -0.055371 | -0.013912 | 8.0378e-05 | 5.1037e-05 | 0.082921 | 0.082921 | 0.082921 | 0.99535 | -0.089102 | 0.99377 | -0.11947 | 22.7806
20 | 0.017885 | 0.004487 | -0.017872 | -0.0044791 | 1.3359e-05 | 7.9064e-06 | 0.026778 | 0.026779 | 0.026779 | 0.99389 | -0.11703 | 0.99308 | -0.1327 | 7.3568
21 | 0.050985 | 0.012848 | -0.050959 | -0.012831 | 2.6498e-05 | 1.6805e-05 | 0.076753 | 0.076753 | 0.076753 | 0.98878 | -0.21511 | 0.98822 | -0.22598 | 21.0859
22 | 0.050959 | 0.012831 | -0.050926 | -0.012811 | 3.2609e-05 | 2.0681e-05 | 0.076753 | 0.076753 | 0.076753 | 0.98822 | -0.22598 | 0.98753 | -0.23938 | 21.086
23 | 0.040424 | 0.010175 | -0.040372 | -0.010142 | 5.1815e-05 | 3.2686e-05 | 0.060926 | 0.060926 | 0.060926 | 0.98753 | -0.23938 | 0.98615 | -0.26623 | 16.738
24 | 0.010503 | 0.0026359 | -0.010498 | -0.0026337 | 4.4709e-06 | 2.2527e-06 | 0.015827 | 0.015827 | 0.015827 | 0.98753 | -0.23938 | 0.98707 | -0.2483 | 4.3481
25 | -0.056417 | -0.014139 | 0.056529 | 0.01421 | 0.0001116 | 7.0886e-05 | 0.084617 | 0.084617 | 0.084617 | 0.99211 | -0.15167 | 0.99425 | -0.11023 | 23.2465
26 | 0.055371 | 0.013912 | -0.05528 | -0.013855 | 9.0513e-05 | 5.7474e-05 | 0.082921 | 0.082922 | 0.082922 | 0.99377 | -0.11947 | 0.992 | -0.15378 | 22.7807
27 | 0.017363 | 0.0043426 | -0.017359 | -0.0043403 | 3.8333e-06 | 2.2646e-06 | 0.026239 | 0.026239 | 0.026239 | 0.98455 | -0.29743 | 0.98431 | -0.30207 | 7.2086
28 | -0.039865 | -0.0099927 | 0.039925 | 0.01003 | 5.9351e-05 | 3.7429e-05 | 0.060252 | 0.060252 | 0.060252 | 0.98455 | -0.29743 | 0.98615 | -0.26623 | 16.5527
29 | -0.010311 | -0.0025865 | 0.010312 | 0.002587 | 1.0282e-06 | 5.1303e-07 | 0.015546 | 0.015546 | 0.015546 | 0.98696 | -0.2504 | 0.98707 | -0.2483 | 4.271
30 | 0.0097471 | 0.0024452 | -0.0097461 | -0.0024447 | 1.0987e-06 | 5.2982e-07 | 0.014696 | 0.014696 | 0.014696 | 0.98696 | -0.2504 | 0.98684 | -0.25276 | 4.0375

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21793 | 0.054941

## res_load
| p_mw | q_mvar
0 | 0.022473 | 0.0056322
1 | 0.012972 | 0.0032511
2 | 0.0005186 | 0.00012997
3 | 0.00050469 | 0.00012649
4 | 0.0040897 | 0.001025
5 | 0.022257 | 0.0055781
6 | 0.0011659 | 0.00029219
7 | 0.009737 | 0.0024403
8 | 0.0052358 | 0.0013122
9 | 0.00073977 | 0.0001854
10 | 0.056417 | 0.014139
11 | 0.05528 | 0.013855
12 | 0.00056372 | 0.00014128
13 | 0.00018624 | 4.6676e-05
14 | 0.00044705 | 0.00011204
15 | 0.017872 | 0.0044791
16 | 0.003866 | 0.00096892

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1