## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_178-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_178-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_178-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_178-10_0_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_178-10_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_178-10_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_178-10_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_178-10_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_178-10_0_4_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_178-10_0_4_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_178-10_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_178-10_0_4_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_178-10_0_4_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_178-10_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_178-10_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_178-10_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_178-10_0_4_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_178-10_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_178-10_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_178-10_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_178-10_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_178-10_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_178-10_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_178-10_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_178-10_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_178-10_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_178-10_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_178-10_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_178-10_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_178-10_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_178-10_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_178-10_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_178-10_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_178-10_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_178-10_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_178-10_0_4_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_178-10_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_178-10_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_178-10_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_178-10_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_178-10_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_178-10_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_178-10_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_178-10_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_178-10_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_178-10_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_178-10_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_178-10_0_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_178-10_0_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_178-10_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_178-10_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_178-10_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_178-10_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_178-10_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_178-10_0_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_178-10_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_178-10_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_178-10_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_178-10_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_178-10_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_178-10_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_178-10_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_178-10_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_178-10_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_178-10_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_178-10_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_178-10_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_178-10_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_178-10_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_178-10_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_MV_26_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_178-10_0_4_load_0 | 0 | 0.0034198 | 0.00085708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_178-10_0_4_load_1 | 1 | 0.0053695 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_178-10_0_4_load_25 | 3 | 0.0011003 | 0.00027577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_178-10_0_4_load_17 | 6 | 0.0051641 | 0.0012943 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_178-10_0_4_load_70 | 8 | 0.0096467 | 0.0024177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_178-10_0_4_load_22 | 9 | 0.040516 | 0.010154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_178-10_0_4_load_21 | 10 | 0.058126 | 0.014568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_178-10_0_4_load_3 | 11 | 0.023603 | 0.0059154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_178-10_0_4_load_15 | 15 | 0.044687 | 0.0112 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_178-10_0_4_load_19 | 17 | 0.080316 | 0.020129 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_178-10_0_4_load_18 | 18 | 0.067383 | 0.016888 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_178-10_0_4_load_20 | 21 | 0.087511 | 0.021932 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_178-10_0_4_load_23 | 23 | 0.0607 | 0.015213 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_178-10_0_4_load_31 | 24 | 0.00087326 | 0.00021886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_178-10_0_4_load_24 | 28 | 0.046898 | 0.011754 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_178-10_0_4_load_16 | 29 | 0.016448 | 0.0041223 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_178-10_0_4_load_30 | 31 | 0.00075888 | 0.00019019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_178-10_0_4_load_26 | 32 | 0.0020104 | 0.00050386 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_178-10_0_4_load_37 | 34 | 0.0033649 | 0.00084334 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_178-10_0_4_load_73 | 35 | 0.0010125 | 0.00025374 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_178-10_0_4_load_38 | 36 | 0.00073688 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_178-10_0_4_load_39 | 37 | 0.00097743 | 0.00024497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_178-10_0_4_load_40 | 38 | 0.0014211 | 0.00035617 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_178-10_0_4_load_41 | 39 | 0.0010965 | 0.00027481 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_178-10_0_4_load_44 | 40 | 0.00091682 | 0.00022978 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_178-10_0_4_load_27 | 42 | 0.0022856 | 0.00057281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_178-10_0_4_load_29 | 43 | 0.00080978 | 0.00020295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_178-10_0_4_load_34 | 44 | 0.0034806 | 0.00087231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_178-10_0_4_load_35 | 45 | 0.0046684 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_178-10_0_4_load_72 | 48 | 0.0031503 | 0.00078955 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_178-10_0_4_load_45 | 49 | 0.00041393 | 0.00010374 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_178-10_0_4_load_46 | 50 | 0.00010683 | 2.6775e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_178-10_0_4_load_47 | 51 | 0.00010649 | 2.6689e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_178-10_0_4_load_48 | 52 | 0.00050763 | 0.00012722 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_178-10_0_4_load_50 | 55 | 0.00074577 | 0.00018691 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_178-10_0_4_load_51 | 56 | 0.00025015 | 6.2692e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_178-10_0_4_load_53 | 58 | 0.00023139 | 5.7993e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_178-10_0_4_load_57 | 60 | 7.9922e-05 | 2.003e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_178-10_0_4_load_61 | 61 | 0.00020753 | 5.2012e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_178-10_0_4_load_62 | 62 | 0.00028143 | 7.0532e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_178-10_0_4_load_58 | 63 | 7.3988e-05 | 1.8543e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_178-10_0_4_load_63 | 65 | 0.0001431 | 3.5864e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_178-10_0_4_load_68 | 67 | 0.00031954 | 8.0084e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_178-10_0_4_load_67 | 68 | 0.00015338 | 3.8441e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_178-10_0_4_load_69 | 69 | 0.00073337 | 0.0001838 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_178-10_0_4_line_0 |  | 0 | 1 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_178-10_0_4_line_1 |  | 1 | 2 | 0.03599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_178-10_0_4_line_2 |  | 2 | 3 | 0.039098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_178-10_0_4_line_3 |  | 3 | 4 | 0.029224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_178-10_0_4_line_4 |  | 4 | 5 | 0.10209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_178-10_0_4_line_5 |  | 4 | 6 | 0.074045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_178-10_0_4_line_6 |  | 5 | 9 | 0.10623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_178-10_0_4_line_7 |  | 5 | 10 | 0.099875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_178-10_0_4_line_8 |  | 5 | 7 | 0.40942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_178-10_0_4_line_9 |  | 6 | 29 | 0.010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_178-10_0_4_line_10 |  | 7 | 8 | 0.024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_178-10_0_4_line_11 |  | 10 | 14 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_178-10_0_4_line_12 |  | 11 | 12 | 0.037096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_178-10_0_4_line_13 |  | 12 | 13 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_178-10_0_4_line_14 |  | 12 | 14 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_178-10_0_4_line_15 |  | 13 | 15 | 0.047339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_178-10_0_4_line_16 |  | 14 | 19 | 0.037522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_178-10_0_4_line_17 |  | 14 | 16 | 0.054218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_178-10_0_4_line_18 |  | 16 | 17 | 0.029907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_178-10_0_4_line_19 |  | 16 | 18 | 0.046844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_178-10_0_4_line_20 |  | 18 | 20 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_178-10_0_4_line_21 |  | 19 | 22 | 0.53143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_178-10_0_4_line_22 |  | 19 | 23 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_178-10_0_4_line_23 |  | 20 | 21 | 0.078835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_178-10_0_4_line_24 |  | 21 | 27 | 0.6308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_178-10_0_4_line_25 |  | 22 | 24 | 0.040104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_178-10_0_4_line_26 |  | 23 | 28 | 0.0063549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_178-10_0_4_line_27 |  | 24 | 25 | 0.036137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_178-10_0_4_line_28 |  | 25 | 26 | 0.052024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_178-10_0_4_line_29 |  | 26 | 33 | 0.054133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_178-10_0_4_line_30 |  | 26 | 34 | 0.025034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_178-10_0_4_line_31 |  | 27 | 40 | 0.036875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_178-10_0_4_line_32 |  | 27 | 38 | 0.036203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_178-10_0_4_line_33 |  | 30 | 31 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_178-10_0_4_line_34 |  | 30 | 32 | 0.00032102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_178-10_0_4_line_35 |  | 31 | 34 | 0.024333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_178-10_0_4_line_36 |  | 32 | 42 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_178-10_0_4_line_37 |  | 33 | 35 | 0.023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_178-10_0_4_line_38 |  | 36 | 37 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_178-10_0_4_line_39 |  | 36 | 38 | 0.0054478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_178-10_0_4_line_40 |  | 37 | 39 | 0.081493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_178-10_0_4_line_41 |  | 40 | 41 | 0.97464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_178-10_0_4_line_42 |  | 41 | 52 | 0.32071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_178-10_0_4_line_43 |  | 42 | 43 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_178-10_0_4_line_44 |  | 43 | 44 | 0.0034547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_178-10_0_4_line_45 |  | 44 | 45 | 0.4989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_178-10_0_4_line_46 |  | 45 | 46 | 0.13657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_178-10_0_4_line_47 |  | 46 | 47 | 0.03592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_178-10_0_4_line_48 |  | 47 | 48 | 0.11392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_178-10_0_4_line_49 |  | 49 | 50 | 0.0026847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_178-10_0_4_line_50 |  | 49 | 51 | 0.014295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_178-10_0_4_line_51 |  | 50 | 52 | 0.05302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_178-10_0_4_line_52 |  | 51 | 53 | 0.027114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_178-10_0_4_line_53 |  | 53 | 54 | 0.021979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_178-10_0_4_line_54 |  | 54 | 61 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_178-10_0_4_line_55 |  | 55 | 56 | 0.0056592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_178-10_0_4_line_56 |  | 55 | 57 | 0.019218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_178-10_0_4_line_57 |  | 56 | 58 | 0.002334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_178-10_0_4_line_58 |  | 57 | 59 | 0.04688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_178-10_0_4_line_59 |  | 58 | 60 | 0.0018955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_178-10_0_4_line_60 |  | 59 | 61 | 0.0027936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_178-10_0_4_line_61 |  | 59 | 62 | 0.031306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_178-10_0_4_line_62 |  | 59 | 63 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_178-10_0_4_line_63 |  | 62 | 64 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_178-10_0_4_line_64 |  | 64 | 66 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_178-10_0_4_line_65 |  | 64 | 65 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_178-10_0_4_line_66 |  | 66 | 67 | 0.012564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_178-10_0_4_line_67 |  | 66 | 68 | 0.031642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_178-10_0_4_line_68 |  | 67 | 69 | 0.016285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_178-10_0_4_trafo_19 | 0.63 MVA 20/0.4 kV | 70 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2702738.6229 | 1252316.3149 | 2702745.1604 | 1252309.8453 | 2702744.9285 | 1252306.2495 | 2702743.9106 | 1252303.1405
1 | 2702768.5206 | 1252276.8796 | 2702754.493 | 1252291.8372 | 2702743.9106 | 1252303.1405
2 | 2702768.5206 | 1252276.8796 | 2702799.6863 | 1252300.4885
3 | 2702822.9814 | 1252318.1353 | 2702799.6863 | 1252300.4885
4 | 2702822.9814 | 1252318.1353 | 2702863.3885 | 1252352.3529 | 2702899.0083 | 1252386.2097
5 | 2702822.9814 | 1252318.1353 | 2702786.9418 | 1252354.4947 | 2702771.2201 | 1252337.9127
6 | 2702899.0083 | 1252386.2097 | 2702887.0504 | 1252402.8153 | 2702883.34 | 1252410.8796 | 2702882.8062 | 1252418.1428 | 2702885.0192 | 1252429.7906 | 2702890.56 | 1252441.4851 | 2702898.325 | 1252455.9204 | 2702902.0068 | 1252465.5698 | 2702906.8949 | 1252482.9897
7 | 2702899.0083 | 1252386.2097 | 2702914.2505 | 1252401.2531 | 2702922.8695 | 1252410.4213 | 2702925.1967 | 1252412.8859 | 2702929.5652 | 1252416.8984 | 2702973.7918 | 1252452.1457
8 | 2702899.0083 | 1252386.2097 | 2702863.3885 | 1252352.3529 | 2702869.0196 | 1252346.2569 | 2702827.9243 | 1252310.8152 | 2702784.4057 | 1252277.5334 | 2702752.3879 | 1252255.2603 | 2702705.3283 | 1252225.4649 | 2702651.6192 | 1252195.6103 | 2702609.8116 | 1252175.8704 | 2702584.3966 | 1252164.5324 | 2702589.4972 | 1252152.8891
9 | 2702771.2201 | 1252337.9127 | 2702763.9468 | 1252330.2414
10 | 2702589.4972 | 1252152.8891 | 2702611.5994 | 1252162.4037
11 | 2702993.3244 | 1252480.1904 | 2702989.2044 | 1252470.5778 | 2702979.4753 | 1252456.6753 | 2702973.7918 | 1252452.1457
12 | 2703010.4917 | 1252466.122 | 2703019.592 | 1252482.3155 | 2703029.1551 | 1252498.1763
13 | 2703010.4917 | 1252466.122 | 2703030.4608 | 1252458.4742 | 2703032.6243 | 1252457.3331
14 | 2703010.4917 | 1252466.122 | 2702996.9265 | 1252470.5453 | 2702993.3244 | 1252480.1904
15 | 2703032.6243 | 1252457.3331 | 2703074.5217 | 1252435.2972
16 | 2702993.3244 | 1252480.1904 | 2702997.9793 | 1252488.9895 | 2702998.3181 | 1252506.8319 | 2702999.9099 | 1252516.4229
17 | 2702986.8965 | 1252440.9695 | 2702991.9661 | 1252451.9664 | 2703002.9763 | 1252456.8728 | 2702993.0006 | 1252464.5278 | 2702996.9265 | 1252470.5453 | 2702993.3244 | 1252480.1904
18 | 2702986.8965 | 1252440.9695 | 2702981.9421 | 1252431.5869 | 2702968.2842 | 1252417.9052
19 | 2702986.8965 | 1252440.9695 | 2703003.5078 | 1252397.17
20 | 2703010.926 | 1252386.499 | 2703005.147 | 1252392.8481 | 2703003.5078 | 1252397.17
21 | 2702793.4227 | 1252850.2159 | 2702836.357 | 1252849.5382 | 2702843.4415 | 1252847.5151 | 2702848.2219 | 1252844.3066 | 2702851.7169 | 1252839.0631 | 2702855.0182 | 1252831.0695 | 2702856.8249 | 1252821.7823 | 2702862.1197 | 1252772.9016 | 2702865.6468 | 1252748.4432 | 2702868.1292 | 1252740.2353 | 2702871.7544 | 1252732.7144 | 2702878.0776 | 1252726.7305 | 2702886.7469 | 1252720.8208 | 2702913.8885 | 1252711.2511 | 2702931.9335 | 1252708.2956 | 2702961.2587 | 1252705.5473 | 2702975.7716 | 1252707.7903 | 2702992.2666 | 1252714.1043 | 2702998.8525 | 1252714.7192 | 2703004.569 | 1252713.6845 | 2703011.6355 | 1252710.5381 | 2703016.439 | 1252705.1507 | 2703020.0492 | 1252698.9418 | 2703036.6084 | 1252662.5338 | 2703040.7101 | 1252650.64 | 2703042.7236 | 1252639.4661 | 2703042.9229 | 1252626.7149 | 2703033.875 | 1252601.0147 | 2703024.0101 | 1252576.2899 | 2703021.5454 | 1252569.1525 | 2703017.2941 | 1252557.1133 | 2703016.8189 | 1252548.854 | 2703018.0397 | 1252542.8926 | 2703013.003 | 1252538.2569 | 2702999.9099 | 1252516.4229
22 | 2702999.9099 | 1252516.4229 | 2702988.9205 | 1252516.3985 | 2702977.8162 | 1252513.9367
23 | 2703010.926 | 1252386.499 | 2703019.3531 | 1252371.9895 | 2703035.4181 | 1252357.0902 | 2703048.5397 | 1252333.0658 | 2703051.4594 | 1252320.5732
24 | 2703051.4594 | 1252320.5732 | 2703045.4762 | 1251689.7971
25 | 2702793.4227 | 1252850.2159 | 2702792.3454 | 1252872.2704 | 2702792.0379 | 1252879.115 | 2702793.0781 | 1252890.2381
26 | 2702971.612 | 1252512.5612 | 2702977.8162 | 1252513.9367
27 | 2702796.4428 | 1252926.2182 | 2702793.0781 | 1252890.2381
28 | 2702753.177 | 1252916.4598 | 2702762.6929 | 1252920.0166 | 2702776.1669 | 1252929.9027 | 2702779.047 | 1252934.8567 | 2702796.4428 | 1252926.2182
29 | 2702723.7138 | 1252936.7986 | 2702728.1859 | 1252947.4402 | 2702733.2294 | 1252942.5459 | 2702746.8552 | 1252933.6862 | 2702751.1151 | 1252929.1565 | 2702752.9037 | 1252925.251 | 2702753.177 | 1252916.4598
30 | 2702753.177 | 1252916.4598 | 2702747.9628 | 1252891.9745
31 | 2703045.4762 | 1251689.7971 | 2703040.4056 | 1251687.9296 | 2703037.9877 | 1251683.7176 | 2703046.7043 | 1251669.9804 | 2703052.2695 | 1251661.2146
32 | 2703045.4762 | 1251689.7971 | 2703056.5564 | 1251688.1551 | 2703068.0212 | 1251684.3737 | 2703080.3013 | 1251680.3275
33 | 2702740.9813 | 1252857.7011 | 2702743.0246 | 1252868.1486
34 | 2702740.9207 | 1252857.3859 | 2702740.9813 | 1252857.7011
35 | 2702747.9628 | 1252891.9745 | 2702744.5514 | 1252875.9555 | 2702743.0246 | 1252868.1486
36 | 2702740.9207 | 1252857.3859 | 2702739.1191 | 1252848.0166 | 2702737.5659 | 1252835.1416
37 | 2702719.9202 | 1252913.5919 | 2702723.7138 | 1252936.7986
38 | 2703085.4755 | 1251678.6226 | 2703101.9674 | 1251673.1886 | 2703106.3339 | 1251670.9707
39 | 2703085.4755 | 1251678.6226 | 2703080.3013 | 1251680.3275
40 | 2703106.3339 | 1251670.9707 | 2703112.6989 | 1251667.7376 | 2703145.1566 | 1251644.9398 | 2703151.6918 | 1251644.6311 | 2703176.1185 | 1251654.2752 | 2703177.9522 | 1251654.7164
41 | 2703052.2695 | 1251661.2146 | 2703013.8532 | 1250687.3354
42 | 2703013.8532 | 1250687.3354 | 2703039.1061 | 1250684.0162 | 2703053.958 | 1250686.1539 | 2703077.0541 | 1250683.5535 | 2703094.8778 | 1250684.998 | 2703111.0197 | 1250687.6253 | 2703117.2584 | 1250688.8015 | 2703120.5176 | 1250682.8757 | 2703120.5796 | 1250674.9815 | 2703115.6581 | 1250666.6671 | 2703107.9164 | 1250656.4131 | 2703104.0497 | 1250648.2282 | 2703107.0261 | 1250642.4976 | 2703120.7715 | 1250633.1738 | 2703149.0168 | 1250602.8522 | 2703152.3633 | 1250600.1527 | 2703164.2872 | 1250590.5081 | 2703170.6435 | 1250585.3702 | 2703181.9518 | 1250579.8627 | 2703199.7323 | 1250561.2686 | 2703210.2748 | 1250556.3816 | 2703216.9827 | 1250557.9329 | 2703228.5932 | 1250563.6842 | 2703234.7663 | 1250568.931
43 | 2702737.5659 | 1252835.1416 | 2702736.0089 | 1252822.2345
44 | 2702735.5951 | 1252818.8047 | 2702736.0089 | 1252822.2345
45 | 2702735.5951 | 1252818.8047 | 2702734.6521 | 1252810.9872 | 2702732.6792 | 1252801.5899 | 2702727.6509 | 1252781.2419 | 2702726.3202 | 1252776.5929 | 2702721.4 | 1252759.1492 | 2702692.1175 | 1252655.0358 | 2702677.9534 | 1252621.3522 | 2702663.5115 | 1252595.4145 | 2702641.0338 | 1252563.2215 | 2702627.6654 | 1252544.1301 | 2702617.4636 | 1252525.2383 | 2702611.5321 | 1252512.9813 | 2702604.0459 | 1252489.822 | 2702591.6863 | 1252439.9458 | 2702586.5099 | 1252424.1769 | 2702580.6567 | 1252409.5638 | 2702573.2452 | 1252397.3257 | 2702560.9801 | 1252383.3578 | 2702543.4077 | 1252369.4425 | 2702541.7645 | 1252368.1494
46 | 2702437.4589 | 1252280.2495 | 2702454.9556 | 1252298.133 | 2702475.8294 | 1252316.2641 | 2702541.7645 | 1252368.1494
47 | 2702437.4589 | 1252280.2495 | 2702412.7173 | 1252306.3538
48 | 2702412.7173 | 1252306.3538 | 2702427.8465 | 1252320.5934 | 2702500.3628 | 1252379.3723
49 | 2703279.8222 | 1250587.8198 | 2703277.9827 | 1250589.0982 | 2703277.5682 | 1250589.2592
50 | 2703279.8222 | 1250587.8198 | 2703291.5604 | 1250579.6621
51 | 2703234.7663 | 1250568.931 | 2703238.7044 | 1250572.2783 | 2703243.3877 | 1250579.5212 | 2703257.351 | 1250591.4962 | 2703264.6795 | 1250592.5247 | 2703270.396 | 1250592.0461 | 2703277.5682 | 1250589.2592
52 | 2703313.4812 | 1250563.7522 | 2703306.296 | 1250569.6539 | 2703302.7384 | 1250571.8937 | 2703291.5604 | 1250579.6621
53 | 2703313.4812 | 1250563.7522 | 2703309.5774 | 1250542.1225
54 | 2703309.5774 | 1250542.1225 | 2703305.6806 | 1250533.5144 | 2703290.6574 | 1250520.5511
55 | 2703237.8829 | 1250506.3558 | 2703237.8829 | 1250506.3558 | 2703232.2442 | 1250506.8366
56 | 2703250.1365 | 1250491.6798 | 2703243.1623 | 1250501.4995 | 2703237.8829 | 1250506.3558
57 | 2703232.2442 | 1250506.8366 | 2703229.9186 | 1250507.0349
58 | 2703288.5423 | 1250518.7261 | 2703250.1365 | 1250491.6798
59 | 2703228.03 | 1250507.196 | 2703229.9186 | 1250507.0349
60 | 2703288.5423 | 1250518.7261 | 2703290.6574 | 1250520.5511
61 | 2703288.5423 | 1250518.7261 | 2703289.2073 | 1250511.3318 | 2703287.9162 | 1250504.4038 | 2703281.3198 | 1250492.9908 | 2703278.8205 | 1250490.3278
62 | 2703288.5423 | 1250518.7261 | 2703295.0394 | 1250510.2881 | 2703300.1898 | 1250506.1544
63 | 2703268.9701 | 1250479.8318 | 2703278.8205 | 1250490.3278
64 | 2703269.4516 | 1250462.1817 | 2703268.9701 | 1250479.8318
65 | 2703268.9701 | 1250479.8318 | 2703257.8034 | 1250479.8039 | 2703252.9086 | 1250478.6558
66 | 2703269.4516 | 1250462.1817 | 2703270.0926 | 1250453.9974 | 2703270.2302 | 1250449.6447
67 | 2703269.4516 | 1250462.1817 | 2703264.067 | 1250454.4483 | 2703248.6932 | 1250448.865 | 2703244.1675 | 1250445.1387
68 | 2703270.2302 | 1250449.6447 | 2703270.7446 | 1250433.3683

## bus_geodata
| x | y | coords
0 | 2702738.6229 | 1252316.3149
1 | 2702743.9106 | 1252303.1405
2 | 2702768.5206 | 1252276.8796
3 | 2702799.6863 | 1252300.4885
4 | 2702822.9814 | 1252318.1353
5 | 2702899.0083 | 1252386.2097
6 | 2702771.2201 | 1252337.9127
7 | 2702589.4972 | 1252152.8891
8 | 2702611.5994 | 1252162.4037
9 | 2702906.8949 | 1252482.9897
10 | 2702973.7918 | 1252452.1457
11 | 2703029.1551 | 1252498.1763
12 | 2703010.4917 | 1252466.122
13 | 2703032.6243 | 1252457.3331
14 | 2702993.3244 | 1252480.1904
15 | 2703074.5217 | 1252435.2972
16 | 2702986.8965 | 1252440.9695
17 | 2702968.2842 | 1252417.9052
18 | 2703003.5078 | 1252397.17
19 | 2702999.9099 | 1252516.4229
20 | 2703010.926 | 1252386.499
21 | 2703051.4594 | 1252320.5732
22 | 2702793.4227 | 1252850.2159
23 | 2702977.8162 | 1252513.9367
24 | 2702793.0781 | 1252890.2381
25 | 2702796.4428 | 1252926.2182
26 | 2702753.177 | 1252916.4598
27 | 2703045.4762 | 1251689.7971
28 | 2702971.612 | 1252512.5612
29 | 2702763.9468 | 1252330.2414
30 | 2702740.9813 | 1252857.7011
31 | 2702743.0246 | 1252868.1486
32 | 2702740.9207 | 1252857.3859
33 | 2702723.7138 | 1252936.7986
34 | 2702747.9628 | 1252891.9745
35 | 2702719.9202 | 1252913.5919
36 | 2703085.4755 | 1251678.6226
37 | 2703106.3339 | 1251670.9707
38 | 2703080.3013 | 1251680.3275
39 | 2703177.9522 | 1251654.7164
40 | 2703052.2695 | 1251661.2146
41 | 2703013.8532 | 1250687.3354
42 | 2702737.5659 | 1252835.1416
43 | 2702736.0089 | 1252822.2345
44 | 2702735.5951 | 1252818.8047
45 | 2702541.7645 | 1252368.1494
46 | 2702437.4589 | 1252280.2495
47 | 2702412.7173 | 1252306.3538
48 | 2702500.3628 | 1252379.3723
49 | 2703279.8222 | 1250587.8198
50 | 2703277.5682 | 1250589.2592
51 | 2703291.5604 | 1250579.6621
52 | 2703234.7663 | 1250568.931
53 | 2703313.4812 | 1250563.7522
54 | 2703309.5774 | 1250542.1225
55 | 2703237.8829 | 1250506.3558
56 | 2703232.2442 | 1250506.8366
57 | 2703250.1365 | 1250491.6798
58 | 2703229.9186 | 1250507.0349
59 | 2703288.5423 | 1250518.7261
60 | 2703228.03 | 1250507.196
61 | 2703290.6574 | 1250520.5511
62 | 2703278.8205 | 1250490.3278
63 | 2703300.1898 | 1250506.1544
64 | 2703268.9701 | 1250479.8318
65 | 2703252.9086 | 1250478.6558
66 | 2703269.4516 | 1250462.1817
67 | 2703270.2302 | 1250449.6447
68 | 2703244.1675 | 1250445.1387
69 | 2703270.7446 | 1250433.3683
70 | 2702986.8965 | 1252440.9695

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97861 | -0.41226 | 0.0034198 | 0.00085708
1 | 0.97866 | -0.41126 | 0.0053695 | 0.0013457
2 | 0.97895 | -0.40551 | 0 | 0
3 | 0.97927 | -0.39926 | 0.0011003 | 0.00027577
4 | 0.97954 | -0.394 | 0 | 0
5 | 0.98252 | -0.33574 | 0 | 0
6 | 0.97806 | -0.42312 | 0.0051641 | 0.0012943
7 | 0.97886 | -0.40738 | 0 | 0
8 | 0.97865 | -0.4116 | 0.0096467 | 0.0024177
9 | 0.97853 | -0.41377 | 0.040516 | 0.010154
10 | 0.99009 | -0.18956 | 0.058126 | 0.014568
11 | 0.98998 | -0.19183 | 0.023603 | 0.0059154
12 | 0.99078 | -0.17627 | 0 | 0
13 | 0.98981 | -0.19515 | 0 | 0
14 | 0.99232 | -0.14653 | 0 | 0
15 | 0.98787 | -0.23285 | 0.044687 | 0.0112
16 | 0.99654 | -0.065734 | 0 | 0
17 | 1 | 0 | -0.51056 | -0.12997
18 | 0.99301 | -0.13359 | 0.067383 | 0.016888
19 | 0.9912 | -0.16815 | 0 | 0
20 | 0.99182 | -0.15628 | 0 | 0
21 | 0.98478 | -0.29288 | 0.087511 | 0.021932
22 | 0.98012 | -0.38227 | 0 | 0
23 | 0.989 | -0.21093 | 0.0607 | 0.015213
24 | 0.97928 | -0.39862 | 0.00087326 | 0.00021886
25 | 0.97856 | -0.4128 | 0 | 0
26 | 0.97752 | -0.43325 | 0 | 0
27 | 0.97921 | -0.40202 | 0 | 0
28 | 0.98872 | -0.21624 | 0.046898 | 0.011754
29 | 0.9779 | -0.42629 | 0.016448 | 0.0041223
30 | 0.97649 | -0.45348 | 0 | 0
31 | 0.97665 | -0.45028 | 0.00075888 | 0.00019019
32 | 0.97648 | -0.45358 | 0.0020104 | 0.00050386
33 | 0.97746 | -0.43425 | 0 | 0
34 | 0.97704 | -0.44264 | 0.0033649 | 0.00084334
35 | 0.97744 | -0.43469 | 0.0010125 | 0.00025374
36 | 0.97906 | -0.40509 | 0.00073688 | 0.00018468
37 | 0.97902 | -0.40593 | 0.00097743 | 0.00024497
38 | 0.97907 | -0.40481 | 0.0014211 | 0.00035617
39 | 0.97893 | -0.40756 | 0.0010965 | 0.00027481
40 | 0.97903 | -0.40559 | 0.00091682 | 0.00022978
41 | 0.97509 | -0.48376 | 0 | 0
42 | 0.97618 | -0.45951 | 0.0022856 | 0.00057281
43 | 0.97603 | -0.4624 | 0.00080978 | 0.00020295
44 | 0.976 | -0.46311 | 0.0034806 | 0.00087231
45 | 0.97236 | -0.53491 | 0.0046684 | 0.00117
46 | 0.97196 | -0.54286 | 0 | 0
47 | 0.97185 | -0.54495 | 0 | 0
48 | 0.97152 | -0.55158 | 0.0031503 | 0.00078955
49 | 0.97359 | -0.51344 | 0.00041393 | 0.00010374
50 | 0.9736 | -0.51326 | 0.00010683 | 2.6775e-05
51 | 0.97354 | -0.51432 | 0.00010649 | 2.6689e-05
52 | 0.97379 | -0.50949 | 0.00050763 | 0.00012722
53 | 0.97346 | -0.51593 | 0 | 0
54 | 0.9734 | -0.51723 | 0 | 0
55 | 0.97322 | -0.52072 | 0.00074577 | 0.00018691
56 | 0.97322 | -0.52078 | 0.00025015 | 6.2692e-05
57 | 0.97324 | -0.52026 | 0 | 0
58 | 0.97322 | -0.52079 | 0.00023139 | 5.7993e-05
59 | 0.9733 | -0.51913 | 0 | 0
60 | 0.97322 | -0.52079 | 7.9922e-05 | 2.003e-05
61 | 0.97331 | -0.51897 | 0.00020753 | 5.2012e-05
62 | 0.97325 | -0.52007 | 0.00028143 | 7.0532e-05
63 | 0.9733 | -0.51915 | 7.3988e-05 | 1.8543e-05
64 | 0.97324 | -0.52043 | 0 | 0
65 | 0.97323 | -0.52047 | 0.0001431 | 3.5864e-05
66 | 0.97322 | -0.52082 | 0 | 0
67 | 0.9732 | -0.52106 | 0.00031954 | 8.0084e-05
68 | 0.97321 | -0.52091 | 0.00015338 | 3.8441e-05
69 | 0.97319 | -0.52128 | 0.00073337 | 0.0001838
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0034198 | -0.00085708 | 0.00342 | 0.00085699 | 1.6297e-07 | -9.7644e-08 | 0.0052 | 0.0051999 | 0.0052 | 0.97861 | -0.41226 | 0.97866 | -0.41126 | 1.4286
1 | -0.0087895 | -0.0022027 | 0.0087919 | 0.0022038 | 2.4104e-06 | 1.0903e-06 | 0.013364 | 0.013364 | 0.013364 | 0.97866 | -0.41126 | 0.97895 | -0.40551 | 3.6714
2 | -0.0087919 | -0.0022038 | 0.0087945 | 0.002205 | 2.6185e-06 | 1.1841e-06 | 0.013364 | 0.013364 | 0.013364 | 0.97895 | -0.40551 | 0.97927 | -0.39926 | 3.6714
3 | -0.0098949 | -0.0024808 | 0.0098973 | 0.002482 | 2.4775e-06 | 1.2178e-06 | 0.015036 | 0.015036 | 0.015036 | 0.97927 | -0.39926 | 0.97954 | -0.394 | 4.1307
4 | -0.031542 | -0.0079183 | 0.03163 | 0.0079732 | 8.7913e-05 | 5.4976e-05 | 0.04792 | 0.04792 | 0.04792 | 0.97954 | -0.394 | 0.98252 | -0.33574 | 13.1649
5 | 0.021645 | 0.0054363 | -0.021615 | -0.005418 | 3.0027e-05 | 1.8287e-05 | 0.032885 | 0.032885 | 0.032885 | 0.97954 | -0.394 | 0.97806 | -0.42312 | 9.0343
6 | 0.040667 | 0.01025 | -0.040516 | -0.010154 | 0.00015121 | 9.5436e-05 | 0.06161 | 0.06161 | 0.06161 | 0.98252 | -0.33574 | 0.97853 | -0.41377 | 16.9259
7 | -0.081978 | -0.020657 | 0.082556 | 0.021026 | 0.00057769 | 0.00036845 | 0.1242 | 0.12419 | 0.1242 | 0.98252 | -0.33574 | 0.99009 | -0.18956 | 34.1196
8 | 0.0096817 | 0.0024346 | -0.0096486 | -0.0024186 | 3.3026e-05 | 1.5971e-05 | 0.014666 | 0.014668 | 0.014668 | 0.98252 | -0.33574 | 0.97886 | -0.40738 | 4.0295
9 | 0.016451 | 0.0041237 | -0.016448 | -0.0041223 | 2.4832e-06 | 1.4566e-06 | 0.025028 | 0.025028 | 0.025028 | 0.97806 | -0.42312 | 0.9779 | -0.42629 | 6.8759
10 | 0.0096486 | 0.0024186 | -0.0096467 | -0.0024177 | 1.9413e-06 | 9.4003e-07 | 0.014668 | 0.014668 | 0.014668 | 0.97886 | -0.40738 | 0.97865 | -0.4116 | 4.0296
11 | -0.14068 | -0.035594 | 0.14097 | 0.035779 | 0.00029114 | 0.00018543 | 0.21155 | 0.21155 | 0.21155 | 0.99009 | -0.18956 | 0.99232 | -0.14653 | 29.0595
12 | -0.023603 | -0.0059154 | 0.02362 | 0.0059261 | 1.7508e-05 | 1.0728e-05 | 0.035476 | 0.035476 | 0.035476 | 0.98998 | -0.19183 | 0.99078 | -0.17627 | 9.7462
13 | 0.044808 | 0.011276 | -0.044767 | -0.01125 | 4.0385e-05 | 2.554e-05 | 0.067311 | 0.067311 | 0.067311 | 0.99078 | -0.17627 | 0.98981 | -0.19515 | 18.4921
14 | -0.068428 | -0.017202 | 0.068525 | 0.017264 | 9.7321e-05 | 6.1969e-05 | 0.10279 | 0.10279 | 0.10279 | 0.99078 | -0.17627 | 0.99232 | -0.14653 | 28.2383
15 | 0.044767 | 0.01125 | -0.044687 | -0.0112 | 8.0431e-05 | 5.0869e-05 | 0.067311 | 0.067311 | 0.067311 | 0.98981 | -0.19515 | 0.98787 | -0.23285 | 18.4922
16 | 0.13072 | 0.033014 | -0.13058 | -0.032929 | 0.00013528 | 8.4645e-05 | 0.19611 | 0.19611 | 0.19611 | 0.99232 | -0.14653 | 0.9912 | -0.16815 | 13.4689
17 | -0.34022 | -0.086057 | 0.34154 | 0.086902 | 0.0013244 | 0.0008448 | 0.51045 | 0.51045 | 0.51045 | 0.99232 | -0.14653 | 0.99654 | -0.065734 | 35.0582
18 | -0.5073 | -0.12894 | 0.50891 | 0.12997 | 0.0016115 | 0.0010298 | 0.75812 | 0.75812 | 0.75812 | 0.99654 | -0.065734 | 1 | 0 | 52.0687
19 | 0.16575 | 0.042036 | -0.16521 | -0.041693 | 0.00053879 | 0.00034361 | 0.24767 | 0.24768 | 0.24768 | 0.99654 | -0.065734 | 0.99301 | -0.13359 | 34.0213
20 | 0.097831 | 0.024805 | -0.097725 | -0.024737 | 0.00010659 | 6.8049e-05 | 0.1467 | 0.1467 | 0.1467 | 0.99301 | -0.13359 | 0.99182 | -0.15628 | 40.3026
21 | 0.022755 | 0.0058149 | -0.022521 | -0.0056724 | 0.00023311 | 0.00014242 | 0.0342 | 0.034202 | 0.034202 | 0.9912 | -0.16815 | 0.98012 | -0.38227 | 9.3962
22 | 0.10783 | 0.027114 | -0.10761 | -0.026974 | 0.00021984 | 0.00014041 | 0.16191 | 0.16191 | 0.16191 | 0.9912 | -0.16815 | 0.989 | -0.21093 | 44.4803
23 | 0.097725 | 0.024737 | -0.097088 | -0.02433 | 0.00063624 | 0.00040618 | 0.1467 | 0.1467 | 0.1467 | 0.99182 | -0.15628 | 0.98478 | -0.29288 | 40.3027
24 | 0.0095777 | 0.0023982 | -0.0095282 | -0.0023744 | 4.9549e-05 | 2.3731e-05 | 0.014471 | 0.014474 | 0.014474 | 0.98478 | -0.29288 | 0.97921 | -0.40202 | 3.9764
25 | 0.022521 | 0.0056724 | -0.022504 | -0.0056617 | 1.7593e-05 | 1.0754e-05 | 0.034202 | 0.034202 | 0.034202 | 0.98012 | -0.38227 | 0.97928 | -0.39862 | 9.3963
26 | 0.04691 | 0.011761 | -0.046898 | -0.011754 | 1.1872e-05 | 7.5164e-06 | 0.070581 | 0.070581 | 0.070581 | 0.989 | -0.21093 | 0.98872 | -0.21624 | 19.3904
27 | 0.021631 | 0.0054428 | -0.021616 | -0.0054339 | 1.4646e-05 | 8.9194e-06 | 0.032875 | 0.032876 | 0.032876 | 0.97928 | -0.39862 | 0.97856 | -0.4128 | 9.0318
28 | 0.021616 | 0.0054339 | -0.021595 | -0.0054211 | 2.1085e-05 | 1.2842e-05 | 0.032876 | 0.032876 | 0.032876 | 0.97856 | -0.4128 | 0.97752 | -0.43325 | 9.0318
29 | 0.0010125 | 0.00025282 | -0.0010125 | -0.00025346 | 4.8211e-08 | -6.4772e-07 | 0.001541 | 0.0015412 | 0.0015412 | 0.97752 | -0.43325 | 0.97746 | -0.43425 | 0.42341
30 | 0.020582 | 0.0051683 | -0.020573 | -0.0051627 | 9.2178e-06 | 5.5857e-06 | 0.031335 | 0.031335 | 0.031335 | 0.97752 | -0.43325 | 0.97704 | -0.44264 | 8.6085
31 | 0.0052955 | 0.0013152 | -0.0052946 | -0.0013151 | 8.945e-07 | 1.0869e-07 | 0.0080427 | 0.0080429 | 0.0080429 | 0.97921 | -0.40202 | 0.97903 | -0.40559 | 2.2096
32 | 0.0042327 | 0.0010593 | -0.0042321 | -0.0010594 | 5.6158e-07 | -9.5944e-08 | 0.0064315 | 0.0064316 | 0.0064316 | 0.97921 | -0.40202 | 0.97907 | -0.40481 | 1.7669
33 | -0.016441 | -0.004124 | 0.016443 | 0.0041254 | 2.5058e-06 | 1.4705e-06 | 0.025054 | 0.025054 | 0.025054 | 0.97649 | -0.45348 | 0.97665 | -0.45028 | 6.883
34 | 0.016441 | 0.004124 | -0.01644 | -0.0041239 | 7.5565e-08 | 4.4346e-08 | 0.025054 | 0.025054 | 0.025054 | 0.97649 | -0.45348 | 0.97648 | -0.45358 | 6.883
35 | -0.017202 | -0.0043156 | 0.017208 | 0.0043193 | 6.2686e-06 | 3.7073e-06 | 0.02621 | 0.02621 | 0.02621 | 0.97665 | -0.45028 | 0.97704 | -0.44264 | 7.2007
36 | 0.01443 | 0.0036201 | -0.014426 | -0.0036177 | 4.082e-06 | 2.331e-06 | 0.021991 | 0.021991 | 0.021991 | 0.97648 | -0.45358 | 0.97618 | -0.45951 | 6.0414
37 | 0.0010125 | 0.00025346 | -0.0010125 | -0.00025374 | 2.0947e-08 | -2.8134e-07 | 0.0015412 | 0.0015413 | 0.0015413 | 0.97746 | -0.43425 | 0.97744 | -0.43469 | 0.42344
38 | 0.0020741 | 0.00051858 | -0.002074 | -0.0005188 | 8.2934e-08 | -2.2686e-07 | 0.0031518 | 0.0031519 | 0.0031519 | 0.97906 | -0.40509 | 0.97902 | -0.40593 | 0.86592
39 | -0.002811 | -0.00070326 | 0.002811 | 0.00070321 | 3.7279e-08 | -4.4651e-08 | 0.0042718 | 0.0042718 | 0.0042718 | 0.97906 | -0.40509 | 0.97907 | -0.40481 | 1.1736
40 | 0.0010966 | 0.00027384 | -0.0010965 | -0.00027481 | 8.4874e-08 | -9.7033e-07 | 0.0016663 | 0.0016667 | 0.0016667 | 0.97902 | -0.40593 | 0.97893 | -0.40756 | 0.45789
41 | 0.0043778 | 0.0010853 | -0.0043616 | -0.0010871 | 1.6171e-05 | -1.8574e-06 | 0.0066494 | 0.0066538 | 0.0066538 | 0.97903 | -0.40559 | 0.97509 | -0.48376 | 1.828
42 | 0.0043616 | 0.0010871 | -0.0043563 | -0.0010877 | 5.3256e-06 | -5.8667e-07 | 0.0066538 | 0.0066552 | 0.0066552 | 0.97509 | -0.48376 | 0.97379 | -0.50949 | 1.8284
43 | 0.01214 | 0.0030449 | -0.012139 | -0.003044 | 1.6698e-06 | 9.0615e-07 | 0.018507 | 0.018507 | 0.018507 | 0.97618 | -0.45951 | 0.97603 | -0.4624 | 5.0843
44 | 0.011329 | 0.0028411 | -0.011329 | -0.0028409 | 3.8649e-07 | 2.0418e-07 | 0.017272 | 0.017272 | 0.017272 | 0.97603 | -0.4624 | 0.976 | -0.46311 | 4.7451
45 | 0.007848 | 0.0019685 | -0.0078212 | -0.0019576 | 2.6792e-05 | 1.0935e-05 | 0.011966 | 0.011968 | 0.011968 | 0.976 | -0.46311 | 0.97236 | -0.53491 | 3.2879
46 | 0.0031528 | 0.0007876 | -0.0031517 | -0.00078853 | 1.1919e-06 | -9.305e-07 | 0.0048239 | 0.0048245 | 0.0048245 | 0.97236 | -0.53491 | 0.97196 | -0.54286 | 1.3254
47 | 0.0031517 | 0.00078853 | -0.0031513 | -0.00078878 | 3.1354e-07 | -2.4447e-07 | 0.0048245 | 0.0048247 | 0.0048247 | 0.97196 | -0.54286 | 0.97185 | -0.54495 | 1.3255
48 | 0.0031513 | 0.00078878 | -0.0031503 | -0.00078955 | 9.9454e-07 | -7.7463e-07 | 0.0048247 | 0.0048252 | 0.0048252 | 0.97185 | -0.54495 | 0.97152 | -0.55158 | 1.3256
49 | -0.0037411 | -0.00093395 | 0.0037411 | 0.00093394 | 3.29e-08 | -1.233e-08 | 0.0057165 | 0.0057165 | 0.0057165 | 0.97359 | -0.51344 | 0.9736 | -0.51326 | 1.5705
50 | 0.0033272 | 0.00083021 | -0.003327 | -0.0008303 | 1.3855e-07 | -8.9081e-08 | 0.0050839 | 0.0050839 | 0.0050839 | 0.97359 | -0.51344 | 0.97354 | -0.51432 | 1.3967
51 | -0.003848 | -0.00096072 | 0.0038486 | 0.0009605 | 6.8735e-07 | -2.1957e-07 | 0.0058798 | 0.0058795 | 0.0058798 | 0.9736 | -0.51326 | 0.97379 | -0.50949 | 1.6153
52 | 0.0032205 | 0.00080361 | -0.0032203 | -0.00080379 | 2.4625e-07 | -1.7952e-07 | 0.0049212 | 0.0049213 | 0.0049213 | 0.97354 | -0.51432 | 0.97346 | -0.51593 | 1.352
53 | 0.0032203 | 0.00080379 | -0.0032201 | -0.00080394 | 1.9962e-07 | -1.4547e-07 | 0.0049213 | 0.0049214 | 0.0049214 | 0.97346 | -0.51593 | 0.9734 | -0.51723 | 1.352
54 | 0.0032201 | 0.00080394 | -0.0032198 | -0.00080413 | 2.6605e-07 | -1.9381e-07 | 0.0049214 | 0.0049215 | 0.0049215 | 0.9734 | -0.51723 | 0.97331 | -0.51897 | 1.3521
55 | 0.00056146 | 0.00014059 | -0.00056146 | -0.00014066 | 1.5638e-09 | -6.932e-08 | 0.00085841 | 0.00085844 | 0.00085844 | 0.97322 | -0.52072 | 0.97322 | -0.52078 | 0.23583
56 | -0.0013072 | -0.0003275 | 0.0013073 | 0.00032728 | 2.8787e-08 | -2.2038e-07 | 0.0019987 | 0.0019986 | 0.0019987 | 0.97322 | -0.52072 | 0.97324 | -0.52026 | 0.54908
57 | 0.00031132 | 7.7971e-05 | -0.00031132 | -7.8e-05 | 1.9823e-10 | -2.8875e-08 | 0.00047597 | 0.00047598 | 0.00047598 | 0.97322 | -0.52078 | 0.97322 | -0.52079 | 0.13076
58 | -0.0013073 | -0.00032728 | 0.0013073 | 0.00032674 | 7.0213e-08 | -5.3766e-07 | 0.0019986 | 0.0019984 | 0.0019986 | 0.97324 | -0.52026 | 0.9733 | -0.51913 | 0.54906
59 | 7.9922e-05 | 2.0007e-05 | -7.9922e-05 | -2.003e-05 | 1.0563e-11 | -2.3547e-08 | 0.00012219 | 0.0001222 | 0.0001222 | 0.97322 | -0.52079 | 0.97322 | -0.52079 | 0.033571
60 | -0.0030123 | -0.00075214 | 0.0030123 | 0.00075212 | 2.2209e-08 | -2.0507e-08 | 0.0046043 | 0.0046042 | 0.0046043 | 0.9733 | -0.51913 | 0.97331 | -0.51897 | 1.2649
61 | 0.001631 | 0.00040707 | -0.0016309 | -0.00040741 | 7.2958e-08 | -3.4236e-07 | 0.0024928 | 0.002493 | 0.002493 | 0.9733 | -0.51913 | 0.97325 | -0.52007 | 0.68489
62 | 7.3988e-05 | 1.8329e-05 | -7.3988e-05 | -1.8543e-05 | 8.2733e-11 | -2.1438e-07 | 0.00011304 | 0.00011312 | 0.00011312 | 0.9733 | -0.51913 | 0.9733 | -0.51915 | 0.031076
63 | 0.0013495 | 0.00033688 | -0.0013494 | -0.00033704 | 2.2968e-08 | -1.6417e-07 | 0.0020627 | 0.0020628 | 0.0020628 | 0.97325 | -0.52007 | 0.97324 | -0.52043 | 0.5667
64 | 0.0012063 | 0.00030138 | -0.0012063 | -0.00030159 | 2.252e-08 | -2.0502e-07 | 0.0018441 | 0.0018441 | 0.0018441 | 0.97324 | -0.52043 | 0.97322 | -0.52082 | 0.50663
65 | 0.0001431 | 3.5662e-05 | -0.0001431 | -3.5864e-05 | 2.906e-10 | -2.0105e-07 | 0.00021871 | 0.00021879 | 0.00021879 | 0.97324 | -0.52043 | 0.97323 | -0.52047 | 0.060106
66 | 0.0010529 | 0.00026354 | -0.0010529 | -0.00026369 | 1.221e-08 | -1.4831e-07 | 0.0016098 | 0.0016098 | 0.0016098 | 0.97322 | -0.52082 | 0.9732 | -0.52106 | 0.44226
67 | 0.00015338 | 3.8048e-05 | -0.00015338 | -3.8441e-05 | 6.5219e-10 | -3.9276e-07 | 0.00023437 | 0.00023452 | 0.00023452 | 0.97322 | -0.52082 | 0.97321 | -0.52091 | 0.064427
68 | 0.00073338 | 0.0001836 | -0.00073337 | -0.0001838 | 7.6779e-09 | -1.9743e-07 | 0.0011213 | 0.0011213 | 0.0011213 | 0.9732 | -0.52106 | 0.97319 | -0.52128 | 0.30806

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59087 | 0.1501

## res_load
| p_mw | q_mvar
0 | 0.0034198 | 0.00085708
1 | 0.0053695 | 0.0013457
2 | 0.0011003 | 0.00027577
3 | 0.0051641 | 0.0012943
4 | 0.0096467 | 0.0024177
5 | 0.040516 | 0.010154
6 | 0.058126 | 0.014568
7 | 0.023603 | 0.0059154
8 | 0.044687 | 0.0112
9 | 0.080316 | 0.020129
10 | 0.067383 | 0.016888
11 | 0.087511 | 0.021932
12 | 0.0607 | 0.015213
13 | 0.00087326 | 0.00021886
14 | 0.046898 | 0.011754
15 | 0.016448 | 0.0041223
16 | 0.00075888 | 0.00019019
17 | 0.0020104 | 0.00050386
18 | 0.0033649 | 0.00084334
19 | 0.0010125 | 0.00025374
20 | 0.00073688 | 0.00018468
21 | 0.00097743 | 0.00024497
22 | 0.0014211 | 0.00035617
23 | 0.0010965 | 0.00027481
24 | 0.00091682 | 0.00022978
25 | 0.0022856 | 0.00057281
26 | 0.00080978 | 0.00020295
27 | 0.0034806 | 0.00087231
28 | 0.0046684 | 0.00117
29 | 0.0031503 | 0.00078955
30 | 0.00041393 | 0.00010374
31 | 0.00010683 | 2.6775e-05
32 | 0.00010649 | 2.6689e-05
33 | 0.00050763 | 0.00012722
34 | 0.00074577 | 0.00018691
35 | 0.00025015 | 6.2692e-05
36 | 0.00023139 | 5.7993e-05
37 | 7.9922e-05 | 2.003e-05
38 | 0.00020753 | 5.2012e-05
39 | 0.00028143 | 7.0532e-05
40 | 7.3988e-05 | 1.8543e-05
41 | 0.0001431 | 3.5864e-05
42 | 0.00031954 | 8.0084e-05
43 | 0.00015338 | 3.8441e-05
44 | 0.00073337 | 0.0001838

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1