## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_192-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_192-1_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_192-1_0_2_node_128 | 0.4 | n |  | TRUE
3 | bus_LV_192-1_0_2_node_112 | 0.4 | n |  | TRUE
4 | bus_LV_192-1_0_2_node_127 | 0.4 | n |  | TRUE
5 | bus_LV_192-1_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_192-1_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_192-1_0_2_node_129 | 0.4 | n |  | TRUE
8 | bus_LV_192-1_0_2_node_124 | 0.4 | n |  | TRUE
9 | bus_LV_192-1_0_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_192-1_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_192-1_0_2_node_326 | 0.4 | n |  | TRUE
12 | bus_LV_192-1_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_192-1_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_192-1_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_192-1_0_2_node_319 | 0.4 | n |  | TRUE
16 | bus_LV_192-1_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_192-1_0_2_node_131 | 0.4 | n |  | TRUE
18 | bus_LV_192-1_0_2_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_192-1_0_2_node_320 | 0.4 | n |  | TRUE
20 | bus_LV_192-1_0_2_node_321 | 0.4 | n |  | TRUE
21 | bus_LV_192-1_0_2_node_322 | 0.4 | n |  | TRUE
22 | bus_LV_192-1_0_2_node_323 | 0.4 | n |  | TRUE
23 | bus_LV_192-1_0_2_node_223 | 0.4 | n |  | TRUE
24 | bus_LV_192-1_0_2_node_324 | 0.4 | n |  | TRUE
25 | bus_LV_192-1_0_2_node_325 | 0.4 | n |  | TRUE
26 | bus_LV_192-1_0_2_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_192-1_0_2_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_192-1_0_2_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_192-1_0_2_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_192-1_0_2_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_192-1_0_2_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_192-1_0_2_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_192-1_0_2_node_77 | 0.4 | n |  | TRUE
34 | bus_LV_192-1_0_2_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_192-1_0_2_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_192-1_0_2_node_83 | 0.4 | n |  | TRUE
37 | bus_LV_192-1_0_2_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_192-1_0_2_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_192-1_0_2_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_192-1_0_2_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_192-1_0_2_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_192-1_0_2_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_192-1_0_2_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_192-1_0_2_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_192-1_0_2_node_89 | 0.4 | n |  | TRUE
46 | bus_LV_192-1_0_2_node_119 | 0.4 | n |  | TRUE
47 | bus_LV_192-1_0_2_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_192-1_0_2_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_192-1_0_2_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_192-1_0_2_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_192-1_0_2_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_192-1_0_2_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_192-1_0_2_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_192-1_0_2_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_192-1_0_2_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_192-1_0_2_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_192-1_0_2_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_192-1_0_2_node_122 | 0.4 | n |  | TRUE
59 | bus_LV_192-1_0_2_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_192-1_0_2_node_116 | 0.4 | n |  | TRUE
61 | bus_LV_192-1_0_2_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_192-1_0_2_node_118 | 0.4 | n |  | TRUE
63 | bus_LV_192-1_0_2_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_192-1_0_2_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_192-1_0_2_node_125 | 0.4 | n |  | TRUE
66 | bus_MV_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_192-1_0_2_load_0 | 0 | 0.0072514 | 0.0018174 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_192-1_0_2_load_112 | 3 | 0.001443 | 0.00036165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_192-1_0_2_load_127 | 4 | 0.0011714 | 0.00029359 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_192-1_0_2_load_6 | 5 | 0.0022107 | 0.00055405 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_192-1_0_2_load_129 | 7 | 0.0005568 | 0.00013955 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_192-1_0_2_load_132 | 9 | 0.00019322 | 4.8425e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_192-1_0_2_load_326 | 11 | 0.0050317 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_192-1_0_2_load_8 | 13 | 0.0029777 | 0.00074629 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_192-1_0_2_load_7 | 14 | 0.0034975 | 0.00087657 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_192-1_0_2_load_319 | 15 | 0.0011647 | 0.0002919 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_192-1_0_2_load_9 | 16 | 0.0040622 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_192-1_0_2_load_131 | 17 | 0.00026208 | 6.5684e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_192-1_0_2_load_322 | 21 | 0.00099077 | 0.00024831 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_192-1_0_2_load_323 | 22 | 0.0054105 | 0.001356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_192-1_0_2_load_324 | 24 | 0.0016642 | 0.00041708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_192-1_0_2_load_325 | 25 | 0.0024157 | 0.00060542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_192-1_0_2_load_70 | 26 | 0.00068049 | 0.00017055 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_192-1_0_2_load_71 | 27 | 0.00011292 | 2.8301e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_192-1_0_2_load_72 | 28 | 0.00021124 | 5.2941e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_192-1_0_2_load_74 | 30 | 0.00027056 | 6.7809e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_192-1_0_2_load_75 | 31 | 0.00089537 | 0.0002244 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_192-1_0_2_load_76 | 32 | 0.00020168 | 5.0546e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_192-1_0_2_load_92 | 34 | 0.00083226 | 0.00020859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_192-1_0_2_load_91 | 35 | 0.00014917 | 3.7385e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_192-1_0_2_load_88 | 37 | 0.00012277 | 3.0768e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_192-1_0_2_load_78 | 38 | 0.0012585 | 0.00031541 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_192-1_0_2_load_79 | 39 | 0.0010493 | 0.00026298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_192-1_0_2_load_80 | 40 | 0.0011686 | 0.00029287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_192-1_0_2_load_82 | 42 | 0.00036812 | 9.2258e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_192-1_0_2_load_86 | 43 | 0.0016211 | 0.00040628 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_192-1_0_2_load_87 | 47 | 0.00035864 | 8.9884e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_192-1_0_2_load_95 | 50 | 0.00020843 | 5.2236e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_192-1_0_2_load_106 | 52 | 0.0015141 | 0.00037948 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_192-1_0_2_load_107 | 53 | 0.00041437 | 0.00010385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_192-1_0_2_load_111 | 56 | 0.00016392 | 4.1081e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_192-1_0_2_load_113 | 57 | 0.0004123 | 0.00010333 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_192-1_0_2_load_122 | 58 | 0.00021734 | 5.4471e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_192-1_0_2_load_115 | 59 | 0.0011509 | 0.00028845 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_192-1_0_2_load_116 | 60 | 0.00035231 | 8.8298e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_192-1_0_2_load_117 | 61 | 0.00031499 | 7.8943e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_192-1_0_2_load_118 | 62 | 0.00019162 | 4.8025e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_192-1_0_2_load_120 | 63 | 0.0011153 | 0.00027953 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_192-1_0_2_load_121 | 64 | 0.00076418 | 0.00019152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_192-1_0_2_load_125 | 65 | 0.00039955 | 0.00010014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_192-1_0_2_line_0 |  | 0 | 1 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_192-1_0_2_line_1 |  | 1 | 5 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_192-1_0_2_line_2 |  | 1 | 6 | 0.13549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_192-1_0_2_line_3 |  | 2 | 3 | 0.04385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_192-1_0_2_line_4 |  | 2 | 4 | 0.034344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_192-1_0_2_line_5 |  | 3 | 55 | 0.035778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_192-1_0_2_line_6 |  | 5 | 14 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_192-1_0_2_line_7 |  | 6 | 13 | 0.066712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_192-1_0_2_line_8 |  | 6 | 10 | 0.19064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_192-1_0_2_line_9 |  | 7 | 8 | 0.032771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_192-1_0_2_line_10 |  | 7 | 9 | 0.014727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_192-1_0_2_line_11 |  | 8 | 48 | 0.030134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_192-1_0_2_line_12 |  | 10 | 11 | 0.048758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_192-1_0_2_line_13 |  | 10 | 12 | 0.19403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_192-1_0_2_line_14 |  | 12 | 16 | 0.031059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_192-1_0_2_line_15 |  | 14 | 15 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_192-1_0_2_line_16 |  | 15 | 19 | 0.012408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_192-1_0_2_line_17 |  | 17 | 18 | 0.38112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_192-1_0_2_line_18 |  | 18 | 48 | 0.20411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_192-1_0_2_line_19 |  | 18 | 44 | 0.17129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_192-1_0_2_line_20 |  | 19 | 20 | 0.081708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_192-1_0_2_line_21 |  | 19 | 21 | 0.038468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_192-1_0_2_line_22 |  | 20 | 22 | 0.16562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_192-1_0_2_line_23 |  | 21 | 23 | 0.014671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_192-1_0_2_line_24 |  | 23 | 51 | 0.24779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_192-1_0_2_line_25 |  | 23 | 25 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_192-1_0_2_line_26 |  | 24 | 25 | 0.059911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_192-1_0_2_line_27 |  | 26 | 27 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_192-1_0_2_line_28 |  | 26 | 28 | 0.009517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_192-1_0_2_line_29 |  | 27 | 29 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_192-1_0_2_line_30 |  | 28 | 30 | 0.0062769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_192-1_0_2_line_31 |  | 29 | 31 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_192-1_0_2_line_32 |  | 29 | 32 | 0.025456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_192-1_0_2_line_33 |  | 30 | 33 | 0.05449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_192-1_0_2_line_34 |  | 32 | 34 | 0.047845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_192-1_0_2_line_35 |  | 33 | 35 | 0.023171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_192-1_0_2_line_36 |  | 33 | 36 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_192-1_0_2_line_37 |  | 33 | 37 | 0.03062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_192-1_0_2_line_38 |  | 34 | 49 | 0.044989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_192-1_0_2_line_39 |  | 36 | 43 | 0.042609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_192-1_0_2_line_40 |  | 36 | 41 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_192-1_0_2_line_41 |  | 37 | 47 | 0.11571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_192-1_0_2_line_42 |  | 38 | 39 | 0.0045125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_192-1_0_2_line_43 |  | 38 | 40 | 0.040996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_192-1_0_2_line_44 |  | 39 | 41 | 0.022154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_192-1_0_2_line_45 |  | 40 | 42 | 0.025186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_192-1_0_2_line_46 |  | 44 | 45 | 0.092128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_192-1_0_2_line_47 |  | 44 | 46 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_192-1_0_2_line_48 |  | 45 | 47 | 0.093773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_192-1_0_2_line_49 |  | 46 | 61 | 0.031667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_192-1_0_2_line_50 |  | 48 | 65 | 0.046528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_192-1_0_2_line_51 |  | 48 | 64 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_192-1_0_2_line_52 |  | 49 | 50 | 0.076822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_192-1_0_2_line_53 |  | 51 | 56 | 0.095744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_192-1_0_2_line_54 |  | 52 | 53 | 0.02312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_192-1_0_2_line_55 |  | 52 | 54 | 0.056612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_192-1_0_2_line_56 |  | 54 | 55 | 0.046423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_192-1_0_2_line_57 |  | 54 | 56 | 0.02499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_192-1_0_2_line_58 |  | 55 | 57 | 0.021159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_192-1_0_2_line_59 |  | 57 | 58 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_192-1_0_2_line_60 |  | 58 | 63 | 0.011296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_192-1_0_2_line_61 |  | 59 | 60 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_192-1_0_2_line_62 |  | 59 | 61 | 0.002375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_192-1_0_2_line_63 |  | 60 | 62 | 0.0024808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_192-1_0_2_line_64 |  | 63 | 64 | 0.030026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_192-1_0_2_trafo_114 | 0.63 MVA 20/0.4 kV | 66 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2694550.9191 | 1240741.6497 | 2694546.7313 | 1240740.5822 | 2694543.4876 | 1240725.348
1 | 2694550.9191 | 1240741.6497 | 2694553.6114 | 1240752.9799
2 | 2694521.3462 | 1240609.4246 | 2694543.1785 | 1240708.2126 | 2694544.9944 | 1240716.2253 | 2694549.2912 | 1240734.6519 | 2694550.9191 | 1240741.6497
3 | 2695062.8311 | 1240978.4462 | 2695054.1655 | 1240976.039 | 2695020.404 | 1240967.3729
4 | 2695062.8311 | 1240978.4462 | 2695033.162 | 1240995.746
5 | 2694986.2473 | 1240956.7597 | 2695014.0612 | 1240965.7448 | 2695020.404 | 1240967.3729
6 | 2694553.6114 | 1240752.9799 | 2694557.9013 | 1240771.0332
7 | 2694584.7079 | 1240628.8037 | 2694573.9608 | 1240623.1394 | 2694555.0711 | 1240615.8998 | 2694529.1353 | 1240609.4597 | 2694521.3462 | 1240609.4246
8 | 2694521.3462 | 1240609.4246 | 2694517.1221 | 1240590.2208 | 2694515.5152 | 1240566.711 | 2694516.6516 | 1240532.8817 | 2694592.6086 | 1240567.2837 | 2694604.2073 | 1240570.7711 | 2694622.1243 | 1240573.0917
9 | 2694899.2331 | 1241045.7791 | 2694891.0378 | 1241034.7732 | 2694886.8138 | 1241031.2586 | 2694881.3559 | 1241030.1928 | 2694874.6606 | 1241034.5585
10 | 2694863.142 | 1241043.6681 | 2694869.6714 | 1241037.8118 | 2694874.6606 | 1241034.5585
11 | 2694899.2331 | 1241045.7791 | 2694928.2839 | 1241037.4707
12 | 2694604.2588 | 1240618.2852 | 2694620.3819 | 1240581.8149 | 2694622.1243 | 1240573.0917
13 | 2694805.8639 | 1240521.8624 | 2694781.3427 | 1240524.3839 | 2694768.3534 | 1240526.0445 | 2694755.7282 | 1240530.0126 | 2694744.0017 | 1240534.5288 | 2694700.2886 | 1240558.6939 | 2694694.5888 | 1240561.8498 | 2694685.3876 | 1240565.9394 | 2694673.8375 | 1240569.3689 | 2694658.3732 | 1240571.6351 | 2694622.1243 | 1240573.0917
14 | 2694805.8639 | 1240521.8624 | 2694809.1903 | 1240529.9883 | 2694809.6223 | 1240552.2631
15 | 2694561.5799 | 1240786.5136 | 2694557.9013 | 1240771.0332
16 | 2694564.4484 | 1240798.5855 | 2694561.5799 | 1240786.5136
17 | 2694950.1667 | 1241197.7629 | 2694936.6684 | 1241211.0013 | 2694924.3925 | 1241229.6079 | 2694909.0267 | 1241257.016 | 2694897.9337 | 1241285.8269 | 2694896.7535 | 1241300.9861 | 2694891.9533 | 1241314.5973 | 2694874.9694 | 1241328.7809 | 2694857.926 | 1241332.9784 | 2694833.8427 | 1241322.975 | 2694807.8587 | 1241304.624 | 2694783.2753 | 1241293.2562 | 2694741.6888 | 1241278.8149 | 2694715.6311 | 1241262.2089 | 2694696.1295 | 1241239.4363 | 2694689.6896 | 1241222.1646
18 | 2694950.1667 | 1241197.7629 | 2694915.9697 | 1241168.0938 | 2694889.4243 | 1241149.8224 | 2694885.6631 | 1241143.8578 | 2694885.7168 | 1241139.5555 | 2694891.7585 | 1241130.1228 | 2694903.8424 | 1241114.5487 | 2694917.2832 | 1241096.8726 | 2694926.946 | 1241080.437 | 2694928.5003 | 1241066.4736 | 2694926.9049 | 1241043.3086 | 2694928.2839 | 1241037.4707
19 | 2694950.1667 | 1241197.7629 | 2694955.3101 | 1241207.6081 | 2694973.4644 | 1241220.4859 | 2694996.7156 | 1241227.6855 | 2695016.0039 | 1241233.4875 | 2695031.74 | 1241239.644 | 2695044.9553 | 1241244.0811 | 2695062.1986 | 1241240.6435 | 2695070.9945 | 1241241.0291 | 2695077.0635 | 1241242.6497 | 2695082.1169 | 1241242.9976 | 2695081.7132 | 1241249.307 | 2695086.1903 | 1241240.3164 | 2695088.8899 | 1241235.1335 | 2695090.0849 | 1241232.762
20 | 2694564.4484 | 1240798.5855 | 2694591.2515 | 1240875.7924
21 | 2694564.4484 | 1240798.5855 | 2694598.0368 | 1240817.3369
22 | 2694569.4561 | 1241036.6431 | 2694581.4886 | 1240986.7753 | 2694589.2667 | 1240944.779 | 2694589.6551 | 1240932.2758 | 2694583.2587 | 1240897.5702 | 2694585.1116 | 1240884.7568 | 2694591.2515 | 1240875.7924
23 | 2694610.8471 | 1240824.4885 | 2694598.0368 | 1240817.3369
24 | 2694610.8471 | 1240824.4885 | 2694613.5337 | 1240826.266 | 2694737.6854 | 1240901.1574 | 2694822.1922 | 1240953.8349
25 | 2694610.8471 | 1240824.4885 | 2694620.984 | 1240806.4383
26 | 2694648.4611 | 1240753.2317 | 2694633.8397 | 1240783.5466 | 2694620.984 | 1240806.4383
27 | 2695345.4658 | 1241486.4005 | 2695350.0399 | 1241485.9995 | 2695357.3424 | 1241482.3843
28 | 2695335.9813 | 1241486.8648 | 2695338.3558 | 1241487.0237 | 2695345.4658 | 1241486.4005
29 | 2695369.3716 | 1241473.0448 | 2695360.0251 | 1241481.0562 | 2695357.3424 | 1241482.3843
30 | 2695335.9813 | 1241486.8648 | 2695329.7184 | 1241486.4457
31 | 2695369.3716 | 1241473.0448 | 2695390.5569 | 1241480.5684
32 | 2695369.3716 | 1241473.0448 | 2695376.2257 | 1241459.6782 | 2695378.2543 | 1241449.4432
33 | 2695276.7861 | 1241481.5533 | 2695282.1829 | 1241484.9869 | 2695290.2969 | 1241487.3189 | 2695306.6462 | 1241484.9018 | 2695329.7184 | 1241486.4457
34 | 2695385.4851 | 1241402.1946 | 2695382.9243 | 1241425.8827 | 2695378.2543 | 1241449.4432
35 | 2695276.7861 | 1241481.5533 | 2695279.9856 | 1241476.79 | 2695282.6565 | 1241472.4518 | 2695288.9264 | 1241461.8255
36 | 2695260.3364 | 1241500.1143 | 2695266.1617 | 1241494.2812 | 2695276.7861 | 1241481.5533
37 | 2695276.7861 | 1241481.5533 | 2695273.0003 | 1241478.5681 | 2695265.3038 | 1241469.0707 | 2695256.2799 | 1241458.9299
38 | 2695392.9368 | 1241358.1261 | 2695389.2757 | 1241367.1295 | 2695385.4851 | 1241402.1946
39 | 2695260.3364 | 1241500.1143 | 2695287.8692 | 1241531.591 | 2695288.3806 | 1241532.1932
40 | 2695260.3364 | 1241500.1143 | 2695253.1524 | 1241492.6045
41 | 2695172.0437 | 1241379.6589 | 2695183.4706 | 1241389.9654 | 2695237.071 | 1241439.2509 | 2695252.3946 | 1241454.5638 | 2695256.2799 | 1241458.9299
42 | 2695234.4688 | 1241511.5781 | 2695237.8514 | 1241508.5914
43 | 2695234.4688 | 1241511.5781 | 2695210.5647 | 1241532.6847 | 2695203.6522 | 1241538.6143
44 | 2695253.1524 | 1241492.6045 | 2695241.8443 | 1241505.0658 | 2695237.8514 | 1241508.5914
45 | 2695203.6522 | 1241538.6143 | 2695184.5356 | 1241555.0127
46 | 2695090.0849 | 1241232.762 | 2695088.8899 | 1241235.1335 | 2695086.1903 | 1241240.3164 | 2695086.1111 | 1241254.6926 | 2695083.0843 | 1241272.2795 | 2695083.3048 | 1241281.6345 | 2695085.5492 | 1241291.1664 | 2695089.8393 | 1241303.7446 | 2695093.6551 | 1241310.533 | 2695100.8912 | 1241319.0553
47 | 2695090.0849 | 1241232.762 | 2695101.1747 | 1241210.3451
48 | 2695100.8912 | 1241319.0553 | 2695105.4202 | 1241325.2214 | 2695111.0812 | 1241331.0609 | 2695115.73 | 1241334.9383 | 2695135.3432 | 1241350.631 | 2695165.0073 | 1241373.3124 | 2695172.0437 | 1241379.6589
49 | 2695101.1747 | 1241210.3451 | 2695106.0801 | 1241210.9575 | 2695111.4096 | 1241208.7078 | 2695116.9662 | 1241201.725 | 2695120.6056 | 1241202.5394 | 2695127.4796 | 1241207.1645
50 | 2694928.2839 | 1241037.4707 | 2694944.8543 | 1241034.5335 | 2694963.3241 | 1241032.4607 | 2694974.4206 | 1241031.838
51 | 2694928.2839 | 1241037.4707 | 2694931.3505 | 1241026.3559 | 2694932.2645 | 1241023.1005
52 | 2695392.9368 | 1241358.1261 | 2695445.1887 | 1241414.4406
53 | 2694822.1922 | 1240953.8349 | 2694836.9773 | 1240960.4093 | 2694849.7964 | 1240961.7595 | 2694865.202 | 1240960.7383 | 2694889.077 | 1240957.851 | 2694915.8714 | 1240953.2593
54 | 2694966.6872 | 1240899.6248 | 2694972.8663 | 1240892.2529 | 2694984.4468 | 1240885.3134
55 | 2694940.5795 | 1240949.6127 | 2694943.6715 | 1240940.6999 | 2694953.5519 | 1240921.0766 | 2694964.0465 | 1240902.7752 | 2694966.6872 | 1240899.6248
56 | 2694940.5795 | 1240949.6127 | 2694949.0593 | 1240949.4593 | 2694962.2707 | 1240950.4047 | 2694973.8464 | 1240952.9028 | 2694986.2473 | 1240956.7597
57 | 2694940.5795 | 1240949.6127 | 2694932.7556 | 1240950.3659 | 2694915.8714 | 1240953.2593
58 | 2694986.2473 | 1240956.7597 | 2694983.1164 | 1240967.6288 | 2694977.3322 | 1240975.599
59 | 2694977.3322 | 1240975.599 | 2694975.283 | 1240978.4227 | 2694956.5395 | 1240996.1569
60 | 2694946.4598 | 1240998.4766 | 2694951.3272 | 1240999.5886 | 2694954.7352 | 1240997.8641 | 2694956.5395 | 1240996.1569
61 | 2695129.4501 | 1241208.4903 | 2695137.9247 | 1241214.1924 | 2695137.9247 | 1241214.1924
62 | 2695129.4501 | 1241208.4903 | 2695127.4796 | 1241207.1645
63 | 2695137.9247 | 1241214.1924 | 2695138.5778 | 1241216.5856
64 | 2694946.4598 | 1240998.4766 | 2694946.4598 | 1240998.4766 | 2694941.4009 | 1241000.3527 | 2694935.2479 | 1241012.4745 | 2694932.2645 | 1241023.1005

## bus_geodata
| x | y | coords
0 | 2694543.4876 | 1240725.348
1 | 2694550.9191 | 1240741.6497
2 | 2695062.8311 | 1240978.4462
3 | 2695020.404 | 1240967.3729
4 | 2695033.162 | 1240995.746
5 | 2694553.6114 | 1240752.9799
6 | 2694521.3462 | 1240609.4246
7 | 2694874.6606 | 1241034.5585
8 | 2694899.2331 | 1241045.7791
9 | 2694863.142 | 1241043.6681
10 | 2694622.1243 | 1240573.0917
11 | 2694604.2588 | 1240618.2852
12 | 2694805.8639 | 1240521.8624
13 | 2694584.7079 | 1240628.8037
14 | 2694557.9013 | 1240771.0332
15 | 2694561.5799 | 1240786.5136
16 | 2694809.6223 | 1240552.2631
17 | 2694689.6896 | 1241222.1646
18 | 2694950.1667 | 1241197.7629
19 | 2694564.4484 | 1240798.5855
20 | 2694591.2515 | 1240875.7924
21 | 2694598.0368 | 1240817.3369
22 | 2694569.4561 | 1241036.6431
23 | 2694610.8471 | 1240824.4885
24 | 2694648.4611 | 1240753.2317
25 | 2694620.984 | 1240806.4383
26 | 2695345.4658 | 1241486.4005
27 | 2695357.3424 | 1241482.3843
28 | 2695335.9813 | 1241486.8648
29 | 2695369.3716 | 1241473.0448
30 | 2695329.7184 | 1241486.4457
31 | 2695390.5569 | 1241480.5684
32 | 2695378.2543 | 1241449.4432
33 | 2695276.7861 | 1241481.5533
34 | 2695385.4851 | 1241402.1946
35 | 2695288.9264 | 1241461.8255
36 | 2695260.3364 | 1241500.1143
37 | 2695256.2799 | 1241458.9299
38 | 2695234.4688 | 1241511.5781
39 | 2695237.8514 | 1241508.5914
40 | 2695203.6522 | 1241538.6143
41 | 2695253.1524 | 1241492.6045
42 | 2695184.5356 | 1241555.0127
43 | 2695288.3806 | 1241532.1932
44 | 2695090.0849 | 1241232.762
45 | 2695100.8912 | 1241319.0553
46 | 2695101.1747 | 1241210.3451
47 | 2695172.0437 | 1241379.6589
48 | 2694928.2839 | 1241037.4707
49 | 2695392.9368 | 1241358.1261
50 | 2695445.1887 | 1241414.4406
51 | 2694822.1922 | 1240953.8349
52 | 2694966.6872 | 1240899.6248
53 | 2694984.4468 | 1240885.3134
54 | 2694940.5795 | 1240949.6127
55 | 2694986.2473 | 1240956.7597
56 | 2694915.8714 | 1240953.2593
57 | 2694977.3322 | 1240975.599
58 | 2694956.5395 | 1240996.1569
59 | 2695129.4501 | 1241208.4903
60 | 2695137.9247 | 1241214.1924
61 | 2695127.4796 | 1241207.1645
62 | 2695138.5778 | 1241216.5856
63 | 2694946.4598 | 1240998.4766
64 | 2694932.2645 | 1241023.1005
65 | 2694974.4206 | 1241031.838
66 | 2694822.1922 | 1240953.8349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98873 | -0.21661 | 0.0072514 | 0.0018174
1 | 0.98887 | -0.21404 | 0 | 0
2 | 0.99688 | -0.059856 | 0 | 0
3 | 0.99693 | -0.058954 | 0.001443 | 0.00036165
4 | 0.99685 | -0.060562 | 0.0011714 | 0.00029359
5 | 0.98907 | -0.21003 | 0.0022107 | 0.00055405
6 | 0.98736 | -0.24329 | 0 | 0
7 | 0.99556 | -0.085266 | 0.0005568 | 0.00013955
8 | 0.99559 | -0.084833 | 0 | 0
9 | 0.99556 | -0.085316 | 0.00019322 | 4.8425e-05
10 | 0.98577 | -0.27437 | 0 | 0
11 | 0.98554 | -0.27877 | 0.0050317 | 0.0012611
12 | 0.98504 | -0.28853 | 0 | 0
13 | 0.98718 | -0.24684 | 0.0029777 | 0.00074629
14 | 0.98944 | -0.2029 | 0.0034975 | 0.00087657
15 | 0.9898 | -0.19581 | 0.0011647 | 0.0002919
16 | 0.98492 | -0.2908 | 0.0040622 | 0.0010181
17 | 0.99331 | -0.1288 | 0.00026208 | 6.5684e-05
18 | 0.9934 | -0.127 | 0 | 0
19 | 0.9901 | -0.19002 | 0 | 0
20 | 0.9897 | -0.19789 | 0 | 0
21 | 0.99122 | -0.1684 | 0.00099077 | 0.00024831
22 | 0.98888 | -0.21386 | 0.0054105 | 0.001356
23 | 0.99166 | -0.15992 | 0 | 0
24 | 0.99149 | -0.16318 | 0.0016642 | 0.00041708
25 | 0.99158 | -0.16141 | 0.0024157 | 0.00060542
26 | 0.98854 | -0.22148 | 0.00068049 | 0.00017055
27 | 0.98851 | -0.22199 | 0.00011292 | 2.8301e-05
28 | 0.98856 | -0.22098 | 0.00021124 | 5.2941e-05
29 | 0.98848 | -0.22258 | 0 | 0
30 | 0.98858 | -0.22062 | 0.00027056 | 6.7809e-05
31 | 0.98846 | -0.22293 | 0.00089537 | 0.0002244
32 | 0.98845 | -0.22314 | 0.00020168 | 5.0546e-05
33 | 0.98875 | -0.2173 | 0 | 0
34 | 0.98841 | -0.22403 | 0.00083226 | 0.00020859
35 | 0.98875 | -0.21736 | 0.00014917 | 3.7385e-05
36 | 0.98863 | -0.21972 | 0 | 0
37 | 0.98901 | -0.21236 | 0.00012277 | 3.0768e-05
38 | 0.9885 | -0.22218 | 0.0012585 | 0.00031541
39 | 0.98851 | -0.22195 | 0.0010493 | 0.00026298
40 | 0.98844 | -0.2233 | 0.0011686 | 0.00029287
41 | 0.98859 | -0.22043 | 0 | 0
42 | 0.98844 | -0.22347 | 0.00036812 | 9.2258e-05
43 | 0.98856 | -0.22095 | 0.0016211 | 0.00040628
44 | 0.9916 | -0.16201 | 0 | 0
45 | 0.99079 | -0.17759 | 0 | 0
46 | 0.99155 | -0.1629 | 0 | 0
47 | 0.98998 | -0.19347 | 0.00035864 | 8.9884e-05
48 | 0.99561 | -0.084435 | 0 | 0
49 | 0.9884 | -0.2242 | 0 | 0
50 | 0.98838 | -0.22449 | 0.00020843 | 5.2236e-05
51 | 1 | 0 | -0.059016 | -0.014542
52 | 0.99768 | -0.044485 | 0.0015141 | 0.00037948
53 | 0.99767 | -0.044653 | 0.00041437 | 0.00010385
54 | 0.99778 | -0.042572 | 0 | 0
55 | 0.99702 | -0.057311 | 0 | 0
56 | 0.99824 | -0.033802 | 0.00016392 | 4.1081e-05
57 | 0.99672 | -0.063064 | 0.0004123 | 0.00010333
58 | 0.99631 | -0.070822 | 0.00021734 | 5.4471e-05
59 | 0.99149 | -0.1641 | 0.0011509 | 0.00028845
60 | 0.99148 | -0.1642 | 0.00035231 | 8.8298e-05
61 | 0.99149 | -0.16403 | 0.00031499 | 7.8943e-05
62 | 0.99148 | -0.1642 | 0.00019162 | 4.8025e-05
63 | 0.99616 | -0.073772 | 0.0011153 | 0.00027953
64 | 0.99578 | -0.081029 | 0.00076418 | 0.00019152
65 | 0.99559 | -0.084762 | 0.00039955 | 0.00010014
66 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0072514 | -0.0018174 | 0.0072523 | 0.0018177 | 8.8864e-07 | 3.135e-07 | 0.010913 | 0.010913 | 0.010913 | 0.98873 | -0.21661 | 0.98887 | -0.21404 | 2.9981
1 | -0.019359 | -0.0048571 | 0.019363 | 0.0048593 | 3.7064e-06 | 2.2227e-06 | 0.029133 | 0.029133 | 0.029133 | 0.98887 | -0.21404 | 0.98907 | -0.21003 | 8.0035
2 | 0.012107 | 0.0030394 | -0.01209 | -0.0030303 | 1.6867e-05 | 9.0592e-06 | 0.01822 | 0.01822 | 0.01822 | 0.98887 | -0.21404 | 0.98736 | -0.24329 | 5.0056
3 | -0.0011715 | -0.00029316 | 0.0011715 | 0.00029262 | 5.0264e-08 | -5.3956e-07 | 0.0017485 | 0.0017483 | 0.0017485 | 0.99688 | -0.059856 | 0.99693 | -0.058954 | 0.48034
4 | 0.0011715 | 0.00029316 | -0.0011714 | -0.00029359 | 3.9376e-08 | -4.2255e-07 | 0.0017485 | 0.0017486 | 0.0017486 | 0.99688 | -0.059856 | 0.99685 | -0.060562 | 0.48039
5 | -0.0026145 | -0.00065428 | 0.0026147 | 0.00065394 | 2.0428e-07 | -3.358e-07 | 0.0039021 | 0.0039019 | 0.0039021 | 0.99693 | -0.058954 | 0.99702 | -0.057311 | 1.072
6 | -0.021573 | -0.0054133 | 0.021581 | 0.0054178 | 7.3312e-06 | 4.4537e-06 | 0.032459 | 0.032458 | 0.032459 | 0.98907 | -0.21003 | 0.98944 | -0.2029 | 8.9172
7 | 0.0029782 | 0.00074576 | -0.0029777 | -0.00074629 | 5.0396e-07 | -5.3054e-07 | 0.0044881 | 0.0044884 | 0.0044884 | 0.98736 | -0.24329 | 0.98718 | -0.24684 | 1.2331
8 | 0.0091117 | 0.0022846 | -0.0090982 | -0.0022784 | 1.3482e-05 | 6.1941e-06 | 0.013732 | 0.013733 | 0.013733 | 0.98736 | -0.24329 | 0.98577 | -0.27437 | 3.7728
9 | -0.00075002 | -0.00018778 | 0.00075004 | 0.00018737 | 1.544e-08 | -4.1625e-07 | 0.001121 | 0.0011208 | 0.001121 | 0.99556 | -0.085266 | 0.99559 | -0.084833 | 0.30795
10 | 0.00019322 | 4.8234e-05 | -0.00019322 | -4.8425e-05 | 4.6049e-10 | -1.912e-07 | 0.00028873 | 0.00028879 | 0.00028879 | 0.99556 | -0.085266 | 0.99556 | -0.085316 | 0.079339
11 | -0.00075004 | -0.00018737 | 0.00075005 | 0.00018698 | 1.4194e-08 | -3.8278e-07 | 0.0011208 | 0.0011207 | 0.0011208 | 0.99559 | -0.084833 | 0.99561 | -0.084435 | 0.30791
12 | 0.0050328 | 0.0012611 | -0.0050317 | -0.0012611 | 1.0553e-06 | 5.3932e-08 | 0.0075969 | 0.0075972 | 0.0075972 | 0.98577 | -0.27437 | 0.98554 | -0.27877 | 2.0871
13 | 0.0040654 | 0.0010172 | -0.0040626 | -0.001018 | 2.74e-06 | -7.1819e-07 | 0.0061361 | 0.006137 | 0.006137 | 0.98577 | -0.27437 | 0.98504 | -0.28853 | 1.686
14 | 0.0040626 | 0.001018 | -0.0040622 | -0.0010181 | 4.3867e-07 | -1.1458e-07 | 0.006137 | 0.0061371 | 0.0061371 | 0.98504 | -0.28853 | 0.98492 | -0.2908 | 1.686
15 | -0.025078 | -0.0062944 | 0.025087 | 0.0062996 | 8.4888e-06 | 5.2284e-06 | 0.037718 | 0.037718 | 0.037718 | 0.98944 | -0.2029 | 0.9898 | -0.19581 | 10.3622
16 | -0.026251 | -0.0065915 | 0.026259 | 0.006596 | 7.2486e-06 | 4.4796e-06 | 0.039469 | 0.039469 | 0.039469 | 0.9898 | -0.19581 | 0.9901 | -0.19002 | 10.8432
17 | -0.00026208 | -6.5684e-05 | 0.0002621 | 6.0764e-05 | 2.1934e-08 | -4.9198e-06 | 0.00039261 | 0.00039093 | 0.00039261 | 0.99331 | -0.1288 | 0.9934 | -0.127 | 0.10786
18 | -0.011827 | -0.0029633 | 0.011851 | 0.002976 | 2.402e-05 | 1.2725e-05 | 0.017716 | 0.017715 | 0.017716 | 0.9934 | -0.127 | 0.99561 | -0.084435 | 4.8669
19 | 0.011565 | 0.0029026 | -0.011546 | -0.0028924 | 1.928e-05 | 1.0126e-05 | 0.017325 | 0.017326 | 0.017326 | 0.9934 | -0.127 | 0.9916 | -0.16201 | 4.7598
20 | 0.0054167 | 0.0013568 | -0.0054146 | -0.0013565 | 2.0305e-06 | 2.4912e-07 | 0.0081404 | 0.0081408 | 0.0081408 | 0.9901 | -0.19002 | 0.9897 | -0.19789 | 2.2365
21 | -0.031675 | -0.0079527 | 0.031708 | 0.0079732 | 3.2698e-05 | 2.0431e-05 | 0.04761 | 0.047609 | 0.04761 | 0.9901 | -0.19002 | 0.99122 | -0.1684 | 13.0796
22 | 0.0054146 | 0.0013565 | -0.0054105 | -0.001356 | 4.1163e-06 | 5.0795e-07 | 0.0081408 | 0.0081415 | 0.0081415 | 0.9897 | -0.19789 | 0.98888 | -0.21386 | 2.2367
23 | -0.032699 | -0.0082215 | 0.032712 | 0.0082298 | 1.3262e-05 | 8.2985e-06 | 0.049097 | 0.049097 | 0.049097 | 0.99122 | -0.1684 | 0.99166 | -0.15992 | 13.4881
24 | -0.036792 | -0.0092515 | 0.037076 | 0.0094296 | 0.00028333 | 0.00017811 | 0.055219 | 0.055218 | 0.055219 | 0.99166 | -0.15992 | 1 | 0 | 15.1701
25 | 0.0040803 | 0.0010217 | -0.00408 | -0.0010218 | 2.9099e-07 | -8.0829e-08 | 0.0061223 | 0.0061224 | 0.0061224 | 0.99166 | -0.15992 | 0.99158 | -0.16141 | 1.682
26 | -0.0016642 | -0.00041708 | 0.0016643 | 0.0004164 | 1.4013e-07 | -6.8306e-07 | 0.0024976 | 0.0024973 | 0.0024976 | 0.99149 | -0.16318 | 0.99158 | -0.16141 | 0.68615
27 | 0.0022509 | 0.00056106 | -0.0022508 | -0.00056118 | 5.481e-08 | -1.2825e-07 | 0.0033871 | 0.0033871 | 0.0033871 | 0.98854 | -0.22148 | 0.98851 | -0.22199 | 0.93053
28 | -0.0029314 | -0.0007316 | 0.0029314 | 0.00073153 | 6.9452e-08 | -7.7565e-08 | 0.0044114 | 0.0044114 | 0.0044114 | 0.98854 | -0.22148 | 0.98856 | -0.22098 | 1.2119
29 | 0.0021379 | 0.00053288 | -0.0021378 | -0.00053304 | 5.9399e-08 | -1.5816e-07 | 0.0032172 | 0.0032172 | 0.0032172 | 0.98851 | -0.22199 | 0.98848 | -0.22258 | 0.88386
30 | -0.0031427 | -0.00078447 | 0.0031427 | 0.00078442 | 5.2647e-08 | -4.6783e-08 | 0.0047293 | 0.0047293 | 0.0047293 | 0.98856 | -0.22098 | 0.98858 | -0.22062 | 1.2993
31 | 0.00089539 | 0.00022412 | -0.00089537 | -0.0002244 | 1.5315e-08 | -2.7838e-07 | 0.0013478 | 0.0013479 | 0.0013479 | 0.98848 | -0.22258 | 0.98846 | -0.22293 | 0.3703
32 | 0.0012425 | 0.00030892 | -0.0012424 | -0.00030922 | 3.3363e-08 | -3.0495e-07 | 0.0018695 | 0.0018696 | 0.0018696 | 0.98848 | -0.22258 | 0.98845 | -0.22314 | 0.51362
33 | -0.0034133 | -0.00085223 | 0.0034138 | 0.00085188 | 5.391e-07 | -3.5373e-07 | 0.0051366 | 0.0051363 | 0.0051366 | 0.98858 | -0.22062 | 0.98875 | -0.2173 | 1.4111
34 | 0.0010407 | 0.00025868 | -0.0010407 | -0.00025926 | 4.4004e-08 | -5.8509e-07 | 0.001566 | 0.0015662 | 0.0015662 | 0.98845 | -0.22314 | 0.98841 | -0.22403 | 0.43027
35 | 0.00014917 | 3.7088e-05 | -0.00014917 | -3.7385e-05 | 4.3769e-10 | -2.969e-07 | 0.00022439 | 0.00022449 | 0.00022449 | 0.98875 | -0.2173 | 0.98875 | -0.21736 | 0.061674
36 | 0.0054668 | 0.0013684 | -0.0054662 | -0.0013683 | 6.2925e-07 | 8.4757e-08 | 0.0082266 | 0.0082267 | 0.0082267 | 0.98875 | -0.2173 | 0.98863 | -0.21972 | 2.2601
37 | -0.0090298 | -0.0022574 | 0.0090319 | 0.0022583 | 2.1198e-06 | 9.6385e-07 | 0.013587 | 0.013587 | 0.013587 | 0.98875 | -0.2173 | 0.98901 | -0.21236 | 3.7328
38 | 0.00020843 | 5.0678e-05 | -0.00020843 | -5.1254e-05 | 1.6564e-09 | -5.7555e-07 | 0.00031324 | 0.00031344 | 0.00031344 | 0.98841 | -0.22403 | 0.9884 | -0.2242 | 0.08611
39 | 0.0016212 | 0.00040579 | -0.0016211 | -0.00040628 | 9.5128e-08 | -4.8544e-07 | 0.0024399 | 0.0024401 | 0.0024401 | 0.98863 | -0.21972 | 0.98856 | -0.22095 | 0.67035
40 | 0.003845 | 0.00096252 | -0.0038449 | -0.00096257 | 1.3033e-07 | -4.966e-08 | 0.0057868 | 0.0057869 | 0.0057869 | 0.98863 | -0.21972 | 0.98859 | -0.22043 | 1.5898
41 | -0.0091547 | -0.0022891 | 0.0091629 | 0.0022929 | 8.2295e-06 | 3.7806e-06 | 0.013772 | 0.013771 | 0.013772 | 0.98901 | -0.21236 | 0.98998 | -0.19347 | 3.7835
42 | -0.0027953 | -0.00069974 | 0.0027953 | 0.0006997 | 2.9957e-08 | -3.8676e-08 | 0.0042075 | 0.0042075 | 0.0042075 | 0.9885 | -0.22218 | 0.98851 | -0.22195 | 1.1559
43 | 0.0015368 | 0.00038433 | -0.0015367 | -0.00038481 | 8.2257e-08 | -4.7287e-07 | 0.002313 | 0.0023132 | 0.0023132 | 0.9885 | -0.22218 | 0.98844 | -0.2233 | 0.6355
44 | -0.0038446 | -0.00096268 | 0.0038449 | 0.00096257 | 2.7821e-07 | -1.0597e-07 | 0.005787 | 0.0057869 | 0.005787 | 0.98851 | -0.22195 | 0.98859 | -0.22043 | 1.5898
45 | 0.00036812 | 9.1937e-05 | -0.00036812 | -9.2258e-05 | 2.9e-09 | -3.2098e-07 | 0.00055406 | 0.00055417 | 0.00055417 | 0.98844 | -0.2233 | 0.98844 | -0.22347 | 0.15224
46 | 0.0095358 | 0.0023895 | -0.0095287 | -0.0023862 | 7.0744e-06 | 3.3401e-06 | 0.01431 | 0.01431 | 0.01431 | 0.9916 | -0.16201 | 0.99079 | -0.17759 | 3.9313
47 | 0.0020101 | 0.00050292 | -0.00201 | -0.00050319 | 8.5279e-08 | -2.6789e-07 | 0.003016 | 0.0030162 | 0.0030162 | 0.9916 | -0.16201 | 0.99155 | -0.1629 | 0.82861
48 | 0.0095287 | 0.0023862 | -0.0095215 | -0.0023828 | 7.2011e-06 | 3.402e-06 | 0.01431 | 0.01431 | 0.01431 | 0.99079 | -0.17759 | 0.98998 | -0.19347 | 3.9314
49 | 0.00201 | 0.00050319 | -0.0020099 | -0.00050353 | 1.0803e-07 | -3.3929e-07 | 0.0030162 | 0.0030163 | 0.0030163 | 0.99155 | -0.1629 | 0.99149 | -0.16403 | 0.82865
50 | 0.00039955 | 9.9535e-05 | -0.00039955 | -0.00010014 | 6.2199e-09 | -6.0108e-07 | 0.00059695 | 0.00059716 | 0.00059716 | 0.99561 | -0.084435 | 0.99559 | -0.084762 | 0.16406
51 | -0.013001 | -0.0032626 | 0.013003 | 0.0032637 | 2.1115e-06 | 1.1574e-06 | 0.019432 | 0.019432 | 0.019432 | 0.99561 | -0.084435 | 0.99578 | -0.081029 | 5.3386
52 | 0.00020843 | 5.1254e-05 | -0.00020843 | -5.2236e-05 | 2.8333e-09 | -9.8277e-07 | 0.00031344 | 0.00031379 | 0.00031379 | 0.9884 | -0.2242 | 0.98838 | -0.22449 | 0.086205
53 | 0.02029 | 0.0051118 | -0.020257 | -0.0050921 | 3.2749e-05 | 1.9706e-05 | 0.030201 | 0.030202 | 0.030202 | 1 | 0 | 0.99824 | -0.033802 | 8.2972
54 | 0.00041437 | 0.00010355 | -0.00041437 | -0.00010385 | 3.3109e-09 | -2.9979e-07 | 0.00061792 | 0.00061802 | 0.00061802 | 0.99768 | -0.044485 | 0.99767 | -0.044653 | 0.16979
55 | -0.0019285 | -0.00048303 | 0.0019287 | 0.0004824 | 1.7561e-07 | -6.2695e-07 | 0.0028762 | 0.002876 | 0.0028762 | 0.99768 | -0.044485 | 0.99778 | -0.042572 | 0.79017
56 | 0.018156 | 0.0045636 | -0.018144 | -0.004556 | 1.2768e-05 | 7.5656e-06 | 0.027082 | 0.027082 | 0.027082 | 0.99778 | -0.042572 | 0.99702 | -0.057311 | 7.4401
57 | -0.020085 | -0.005046 | 0.020093 | 0.005051 | 8.4104e-06 | 5.0561e-06 | 0.029958 | 0.029957 | 0.029958 | 0.99778 | -0.042572 | 0.99824 | -0.033802 | 8.2301
58 | 0.015529 | 0.0039021 | -0.015525 | -0.0038996 | 4.2634e-06 | 2.4527e-06 | 0.02318 | 0.02318 | 0.02318 | 0.99702 | -0.057311 | 0.99672 | -0.063064 | 6.3681
59 | 0.015112 | 0.0037963 | -0.015107 | -0.0037931 | 5.593e-06 | 3.1979e-06 | 0.022565 | 0.022565 | 0.022565 | 0.99672 | -0.063064 | 0.99631 | -0.070822 | 6.1991
60 | 0.014889 | 0.0037386 | -0.014887 | -0.0037374 | 2.0953e-06 | 1.1939e-06 | 0.02224 | 0.02224 | 0.02224 | 0.99631 | -0.070822 | 0.99616 | -0.073772 | 6.1099
61 | 0.00054394 | 0.00013616 | -0.00054393 | -0.00013629 | 2.5524e-09 | -1.301e-07 | 0.00081628 | 0.00081632 | 0.00081632 | 0.99149 | -0.1641 | 0.99148 | -0.1642 | 0.22426
62 | -0.0016949 | -0.00042461 | 0.0016949 | 0.00042458 | 5.7621e-09 | -2.6942e-08 | 0.0025436 | 0.0025436 | 0.0025436 | 0.99149 | -0.1641 | 0.99149 | -0.16403 | 0.69879
63 | 0.00019162 | 4.7993e-05 | -0.00019162 | -4.8025e-05 | 7.6888e-11 | -3.1945e-08 | 0.00028757 | 0.00028759 | 0.00028759 | 0.99148 | -0.1642 | 0.99148 | -0.1642 | 0.079007
64 | 0.013772 | 0.0034579 | -0.013767 | -0.0034552 | 4.7663e-06 | 2.6597e-06 | 0.020574 | 0.020574 | 0.020574 | 0.99616 | -0.073772 | 0.99578 | -0.081029 | 5.6523

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.059016 | 0.014542

## res_load
| p_mw | q_mvar
0 | 0.0072514 | 0.0018174
1 | 0.001443 | 0.00036165
2 | 0.0011714 | 0.00029359
3 | 0.0022107 | 0.00055405
4 | 0.0005568 | 0.00013955
5 | 0.00019322 | 4.8425e-05
6 | 0.0050317 | 0.0012611
7 | 0.0029777 | 0.00074629
8 | 0.0034975 | 0.00087657
9 | 0.0011647 | 0.0002919
10 | 0.0040622 | 0.0010181
11 | 0.00026208 | 6.5684e-05
12 | 0.00099077 | 0.00024831
13 | 0.0054105 | 0.001356
14 | 0.0016642 | 0.00041708
15 | 0.0024157 | 0.00060542
16 | 0.00068049 | 0.00017055
17 | 0.00011292 | 2.8301e-05
18 | 0.00021124 | 5.2941e-05
19 | 0.00027056 | 6.7809e-05
20 | 0.00089537 | 0.0002244
21 | 0.00020168 | 5.0546e-05
22 | 0.00083226 | 0.00020859
23 | 0.00014917 | 3.7385e-05
24 | 0.00012277 | 3.0768e-05
25 | 0.0012585 | 0.00031541
26 | 0.0010493 | 0.00026298
27 | 0.0011686 | 0.00029287
28 | 0.00036812 | 9.2258e-05
29 | 0.0016211 | 0.00040628
30 | 0.00035864 | 8.9884e-05
31 | 0.00020843 | 5.2236e-05
32 | 0.0015141 | 0.00037948
33 | 0.00041437 | 0.00010385
34 | 0.00016392 | 4.1081e-05
35 | 0.0004123 | 0.00010333
36 | 0.00021734 | 5.4471e-05
37 | 0.0011509 | 0.00028845
38 | 0.00035231 | 8.8298e-05
39 | 0.00031499 | 7.8943e-05
40 | 0.00019162 | 4.8025e-05
41 | 0.0011153 | 0.00027953
42 | 0.00076418 | 0.00019152
43 | 0.00039955 | 0.00010014

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1