## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_192-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_192-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_192-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_192-2_0_3_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_192-2_0_3_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_192-2_0_3_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_192-2_0_3_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_192-2_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_192-2_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_192-2_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_192-2_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_192-2_0_3_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_192-2_0_3_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_192-2_0_3_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_192-2_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_192-2_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_192-2_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_192-2_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_192-2_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_192-2_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_192-2_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_192-2_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_192-2_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_192-2_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_192-2_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_192-2_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_192-2_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_192-2_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_192-2_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_192-2_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_192-2_0_3_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_192-2_0_3_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_192-2_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_192-2_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_192-2_0_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_192-2_0_3_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_192-2_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_192-2_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_192-2_0_3_node_125 | 0.4 | n |  | TRUE
39 | bus_LV_192-2_0_3_node_124 | 0.4 | n |  | TRUE
40 | bus_LV_192-2_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_192-2_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_192-2_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_192-2_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_192-2_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_192-2_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_192-2_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_192-2_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_192-2_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_192-2_0_3_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_192-2_0_3_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_192-2_0_3_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_192-2_0_3_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_192-2_0_3_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_192-2_0_3_node_131 | 0.4 | n |  | TRUE
55 | bus_LV_192-2_0_3_node_130 | 0.4 | n |  | TRUE
56 | bus_LV_192-2_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_192-2_0_3_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_192-2_0_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_192-2_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_192-2_0_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_192-2_0_3_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_192-2_0_3_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_192-2_0_3_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_192-2_0_3_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_192-2_0_3_node_128 | 0.4 | n |  | TRUE
66 | bus_LV_192-2_0_3_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_192-2_0_3_node_132 | 0.4 | n |  | TRUE
68 | bus_LV_192-2_0_3_node_129 | 0.4 | n |  | TRUE
69 | bus_LV_192-2_0_3_node_133 | 0.4 | n |  | TRUE
70 | bus_MV_356_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_192-2_0_3_load_0 | 0 | 0.0067142 | 0.0016827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_192-2_0_3_load_1 | 1 | 0.0043241 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_192-2_0_3_load_53 | 4 | 0.001876 | 0.00047018 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_192-2_0_3_load_65 | 5 | 0.0010694 | 0.00026801 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_192-2_0_3_load_28 | 7 | 0.0094159 | 0.0023599 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_192-2_0_3_load_6 | 9 | 0.0041782 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_192-2_0_3_load_5 | 10 | 0.002704 | 0.00067769 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_192-2_0_3_load_72 | 11 | 0.0026164 | 0.00065573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_192-2_0_3_load_71 | 12 | 0.00096873 | 0.00024279 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_192-2_0_3_load_70 | 13 | 0.00097716 | 0.0002449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_192-2_0_3_load_7 | 14 | 0.0034978 | 0.00087662 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_192-2_0_3_load_8 | 15 | 0.0037141 | 0.00093084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_192-2_0_3_load_9 | 16 | 0.0037579 | 0.00094182 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_192-2_0_3_load_10 | 17 | 0.0056719 | 0.0014215 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_192-2_0_3_load_26 | 20 | 0.0083094 | 0.0020825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_192-2_0_3_load_12 | 22 | 0.0077463 | 0.0019414 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_192-2_0_3_load_13 | 23 | 0.0058263 | 0.0014602 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_192-2_0_3_load_16 | 26 | 0.0042882 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_192-2_0_3_load_37 | 28 | 0.0051398 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_192-2_0_3_load_24 | 29 | 0.0079515 | 0.0019928 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_192-2_0_3_load_50 | 30 | 0.015785 | 0.0039562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_192-2_0_3_load_18 | 32 | 0.0090101 | 0.0022581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_192-2_0_3_load_19 | 33 | 0.0037041 | 0.00092833 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_192-2_0_3_load_75 | 34 | 0.0027874 | 0.00069859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_192-2_0_3_load_76 | 35 | 0.0033461 | 0.00083862 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_192-2_0_3_load_33 | 36 | 0.0030224 | 0.00075747 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_192-2_0_3_load_29 | 37 | 0.0067201 | 0.0016842 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_192-2_0_3_load_125 | 38 | 0.0025779 | 0.00064607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_192-2_0_3_load_30 | 40 | 0.0035598 | 0.00089218 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_192-2_0_3_load_31 | 41 | 0.0032036 | 0.00080289 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_192-2_0_3_load_32 | 42 | 0.0034327 | 0.00086031 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_192-2_0_3_load_34 | 43 | 0.0034964 | 0.00087629 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_192-2_0_3_load_35 | 44 | 0.0013614 | 0.0003412 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_192-2_0_3_load_40 | 45 | 0.0018388 | 0.00046086 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_192-2_0_3_load_39 | 46 | 0.0057131 | 0.0014318 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_192-2_0_3_load_51 | 47 | 0.016841 | 0.0042208 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_192-2_0_3_load_123 | 49 | 0.0073768 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_192-2_0_3_load_64 | 52 | 0.0052534 | 0.0013166 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_192-2_0_3_load_66 | 53 | 0.00035663 | 8.9381e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_192-2_0_3_load_131 | 54 | 0.0021715 | 0.00054422 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_192-2_0_3_load_130 | 55 | 0.0011008 | 0.0002759 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_192-2_0_3_load_67 | 56 | 0.00059808 | 0.00014989 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_192-2_0_3_load_69 | 57 | 0.00073618 | 0.0001845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_192-2_0_3_load_73 | 58 | 0.00097057 | 0.00024325 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_192-2_0_3_load_74 | 59 | 0.011242 | 0.0028176 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_192-2_0_3_load_118 | 60 | 0.0030328 | 0.00076009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_192-2_0_3_load_119 | 61 | 0.0050323 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_192-2_0_3_load_128 | 65 | 0.0011215 | 0.00028109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_192-2_0_3_load_127 | 66 | 0.0037259 | 0.0009338 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_192-2_0_3_load_132 | 67 | 0.0019796 | 0.00049614 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_192-2_0_3_load_129 | 68 | 0.0015401 | 0.00038598 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_192-2_0_3_load_133 | 69 | 0.0049347 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_192-2_0_3_line_0 |  | 0 | 1 | 0.031983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_192-2_0_3_line_1 |  | 1 | 2 | 0.00078372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_192-2_0_3_line_2 |  | 2 | 3 | 0.022873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_192-2_0_3_line_3 |  | 2 | 4 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_192-2_0_3_line_4 |  | 3 | 5 | 0.038738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_192-2_0_3_line_5 |  | 3 | 6 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_192-2_0_3_line_6 |  | 4 | 7 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_192-2_0_3_line_7 |  | 5 | 52 | 0.027325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_192-2_0_3_line_8 |  | 6 | 13 | 0.055213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_192-2_0_3_line_9 |  | 6 | 53 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_192-2_0_3_line_10 |  | 7 | 21 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_192-2_0_3_line_11 |  | 8 | 9 | 0.051653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_192-2_0_3_line_12 |  | 8 | 10 | 0.042936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_192-2_0_3_line_13 |  | 10 | 11 | 0.096347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_192-2_0_3_line_14 |  | 11 | 12 | 0.083286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_192-2_0_3_line_15 |  | 12 | 13 | 0.029439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_192-2_0_3_line_16 |  | 14 | 15 | 0.012603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_192-2_0_3_line_17 |  | 14 | 16 | 0.025387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_192-2_0_3_line_18 |  | 15 | 17 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_192-2_0_3_line_19 |  | 16 | 18 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_192-2_0_3_line_20 |  | 17 | 19 | 0.046245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_192-2_0_3_line_21 |  | 18 | 20 | 0.037663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_192-2_0_3_line_22 |  | 19 | 34 | 0.023535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_192-2_0_3_line_23 |  | 19 | 35 | 0.040877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_192-2_0_3_line_24 |  | 19 | 33 | 0.024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_192-2_0_3_line_25 |  | 20 | 21 | 0.04093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_192-2_0_3_line_26 |  | 21 | 37 | 0.018438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_192-2_0_3_line_27 |  | 22 | 23 | 0.029137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_192-2_0_3_line_28 |  | 22 | 24 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_192-2_0_3_line_29 |  | 23 | 25 | 0.0037625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_192-2_0_3_line_30 |  | 24 | 26 | 0.0053447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_192-2_0_3_line_31 |  | 25 | 27 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_192-2_0_3_line_32 |  | 25 | 28 | 0.028146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_192-2_0_3_line_33 |  | 26 | 29 | 0.022654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_192-2_0_3_line_34 |  | 27 | 30 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_192-2_0_3_line_35 |  | 28 | 31 | 0.040944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_192-2_0_3_line_36 |  | 31 | 45 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_192-2_0_3_line_37 |  | 32 | 33 | 0.0086407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_192-2_0_3_line_38 |  | 34 | 36 | 0.00832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_192-2_0_3_line_39 |  | 36 | 41 | 0.022491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_192-2_0_3_line_40 |  | 37 | 38 | 0.0017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_192-2_0_3_line_41 |  | 38 | 39 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_192-2_0_3_line_42 |  | 39 | 49 | 0.0063903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_192-2_0_3_line_43 |  | 39 | 45 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_192-2_0_3_line_44 |  | 40 | 41 | 0.0061684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_192-2_0_3_line_45 |  | 40 | 42 | 0.025616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_192-2_0_3_line_46 |  | 42 | 43 | 0.0061993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_192-2_0_3_line_47 |  | 43 | 44 | 0.026125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_192-2_0_3_line_48 |  | 46 | 47 | 0.0059429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_192-2_0_3_line_49 |  | 47 | 48 | 0.036103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_192-2_0_3_line_50 |  | 48 | 50 | 0.022673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_192-2_0_3_line_51 |  | 49 | 50 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_192-2_0_3_line_52 |  | 50 | 51 | 0.015762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_192-2_0_3_line_53 |  | 51 | 54 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_192-2_0_3_line_54 |  | 51 | 55 | 0.0057823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_192-2_0_3_line_55 |  | 53 | 56 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_192-2_0_3_line_56 |  | 55 | 68 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_192-2_0_3_line_57 |  | 56 | 57 | 0.00046367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_192-2_0_3_line_58 |  | 57 | 58 | 0.013237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_192-2_0_3_line_59 |  | 58 | 59 | 0.033054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_192-2_0_3_line_60 |  | 60 | 61 | 0.054764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_192-2_0_3_line_61 |  | 60 | 62 | 0.029882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_192-2_0_3_line_62 |  | 62 | 63 | 0.033406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_192-2_0_3_line_63 |  | 62 | 64 | 0.055257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_192-2_0_3_line_64 |  | 63 | 65 | 0.0053141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_192-2_0_3_line_65 |  | 63 | 66 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_192-2_0_3_line_66 |  | 64 | 67 | 0.030257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_192-2_0_3_line_67 |  | 65 | 68 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_192-2_0_3_line_68 |  | 67 | 69 | 0.0064778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_192-2_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 70 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2694691.6409 | 1238986.1579 | 2694672.6116 | 1239011.8642
1 | 2694672.6116 | 1239011.8642 | 2694672.1453 | 1239012.4941
2 | 2694672.1453 | 1239012.4941 | 2694665.9875 | 1239007.281 | 2694664.2229 | 1239005.5071 | 2694663.0479 | 1239003.7649 | 2694662.138 | 1239001.5265 | 2694661.5239 | 1238998.7702 | 2694661.2187 | 1238996.0856 | 2694661.1946 | 1238993.8057
3 | 2694672.1453 | 1239012.4941 | 2694662.4155 | 1239025.3208
4 | 2694661.1946 | 1238993.8057 | 2694657.6004 | 1238993.8596 | 2694653.5994 | 1238994.285 | 2694649.7622 | 1238994.8798 | 2694646.5734 | 1238995.6073 | 2694643.2322 | 1238996.8772 | 2694639.9122 | 1238998.7146 | 2694626.3492 | 1239008.28
5 | 2694660.0579 | 1238967.8461 | 2694660.7955 | 1238971.8719 | 2694661.2394 | 1238974.8701 | 2694661.5088 | 1238977.8989 | 2694661.5196 | 1238981.4906 | 2694661.1946 | 1238993.8057
6 | 2694656.0328 | 1239033.7351 | 2694662.4155 | 1239025.3208
7 | 2694604.0191 | 1239024.0285 | 2694626.3492 | 1239008.28
8 | 2694660.0579 | 1238967.8461 | 2694653.7065 | 1238935.8767 | 2694652.0706 | 1238928.8788 | 2694649.9191 | 1238920.5383 | 2694648.1121 | 1238913.9634
9 | 2694660.0579 | 1238967.8461 | 2694656.438 | 1238966.6653 | 2694650.207 | 1238964.7056
10 | 2694641.2518 | 1239053.2208 | 2694656.0328 | 1239033.7351
11 | 2694759.7 | 1238782.72 | 2694748.299 | 1238833.0991
12 | 2694759.7 | 1238782.72 | 2694734.7208 | 1238782.677 | 2694719.1231 | 1238773.7795
13 | 2694627.5054 | 1238803.5941 | 2694719.1231 | 1238773.7795
14 | 2694638.5295 | 1238886.1477 | 2694627.5054 | 1238803.5941
15 | 2694638.5295 | 1238886.1477 | 2694642.3091 | 1238895.8542 | 2694644.0111 | 1238900.6071 | 2694645.6491 | 1238905.5702 | 2694647.4881 | 1238911.693 | 2694648.1121 | 1238913.9634
16 | 2694766.0781 | 1239072.7662 | 2694753.5284 | 1239073.9231
17 | 2694728.8258 | 1239079.1185 | 2694741.8779 | 1239074.9971 | 2694753.5284 | 1239073.9231
18 | 2694776.6134 | 1239072.7274 | 2694767.9919 | 1239072.5897 | 2694766.0781 | 1239072.7662
19 | 2694713.4199 | 1239083.9831 | 2694728.8258 | 1239079.1185
20 | 2694776.6134 | 1239072.7274 | 2694822.6594 | 1239077.0101
21 | 2694713.4199 | 1239083.9831 | 2694678.4928 | 1239069.8912
22 | 2694822.6594 | 1239077.0101 | 2694822.7672 | 1239053.4753
23 | 2694822.6594 | 1239077.0101 | 2694839.3192 | 1239073.0732 | 2694860.3214 | 1239076.7003 | 2694862.766 | 1239076.7512
24 | 2694822.6594 | 1239077.0101 | 2694827.6128 | 1239093.6683 | 2694831.4147 | 1239099.4044
25 | 2694641.2518 | 1239053.2208 | 2694647.5094 | 1239057.3903 | 2694678.4928 | 1239069.8912
26 | 2694641.2518 | 1239053.2208 | 2694630.5775 | 1239068.2542
27 | 2694744.1573 | 1239140.9493 | 2694739.0901 | 1239139.6895 | 2694717.7944 | 1239128.8062
28 | 2694760.9332 | 1239145.1199 | 2694744.1573 | 1239140.9493
29 | 2694714.4257 | 1239127.1312 | 2694715.9796 | 1239127.8788 | 2694717.7944 | 1239128.8062
30 | 2694760.9332 | 1239145.1199 | 2694766.0539 | 1239146.6511
31 | 2694699.2773 | 1239151.0852 | 2694705.216 | 1239147.733 | 2694714.4257 | 1239127.1312
32 | 2694714.4257 | 1239127.1312 | 2694689.0352 | 1239114.9848
33 | 2694766.0539 | 1239146.6511 | 2694774.0933 | 1239149.055 | 2694786.5548 | 1239155.9924
34 | 2694699.2773 | 1239151.0852 | 2694678.5711 | 1239147.2043
35 | 2694652.0998 | 1239097.3154 | 2694689.0352 | 1239114.9848
36 | 2694652.0998 | 1239097.3154 | 2694632.2289 | 1239087.4043
37 | 2694831.4147 | 1239099.4044 | 2694836.1883 | 1239106.6068
38 | 2694822.7672 | 1239053.4753 | 2694822.8053 | 1239045.1555
39 | 2694828.162 | 1239023.3121 | 2694822.8053 | 1239045.1555 | 2694822.8053 | 1239045.1555
40 | 2694630.5775 | 1239068.2542 | 2694629.5456 | 1239069.7076
41 | 2694621.2522 | 1239082.068 | 2694626.2081 | 1239074.4079 | 2694629.5456 | 1239069.7076
42 | 2694621.2522 | 1239082.068 | 2694617.8981 | 1239087.5074
43 | 2694621.2522 | 1239082.068 | 2694624.5791 | 1239083.5888 | 2694632.2289 | 1239087.4043
44 | 2694828.162 | 1239023.3121 | 2694829.6311 | 1239017.3213
45 | 2694839.4301 | 1238993.6626 | 2694829.8049 | 1239016.6127 | 2694829.6311 | 1239017.3213
46 | 2694842.1788 | 1238988.1082 | 2694839.7692 | 1238992.8542 | 2694839.4301 | 1238993.6626
47 | 2694842.1788 | 1238988.1082 | 2694852.5709 | 1238967.6399 | 2694854.3478 | 1238965.0155
48 | 2694632.6837 | 1239128.4735 | 2694629.2866 | 1239131.3548 | 2694628.0208 | 1239132.1379
49 | 2694594.9759 | 1239127.8834 | 2694611.6049 | 1239136.299 | 2694622.1203 | 1239135.7884 | 2694628.0208 | 1239132.1379
50 | 2694605.4184 | 1239107.7459 | 2694594.9759 | 1239127.8834
51 | 2694605.4184 | 1239107.7459 | 2694617.8981 | 1239087.5074
52 | 2694605.4184 | 1239107.7459 | 2694600.2803 | 1239107.853 | 2694591.2265 | 1239113.4796
53 | 2694591.2265 | 1239113.4796 | 2694591.5043 | 1239120.2558 | 2694589.8103 | 1239125.9219 | 2694586.1761 | 1239130.4154
54 | 2694591.2265 | 1239113.4796 | 2694588.6756 | 1239108.8356 | 2694588.3332 | 1239108.4938
55 | 2694650.207 | 1238964.7056 | 2694635.7311 | 1238960.1527 | 2694635.2653 | 1238960.0296
56 | 2694573.4335 | 1239091.8331 | 2694576.6385 | 1239097.5577 | 2694583.1653 | 1239103.3437 | 2694585.0195 | 1239105.1857 | 2694588.3332 | 1239108.4938
57 | 2694634.817 | 1238959.9111 | 2694635.2653 | 1238960.0296
58 | 2694634.817 | 1238959.9111 | 2694631.7913 | 1238959.1113 | 2694628.1234 | 1238959.0417 | 2694624.8692 | 1238959.6014 | 2694622.0044 | 1238960.8789
59 | 2694592.3089 | 1238972.4922 | 2694610.0069 | 1238969.4052 | 2694612.6337 | 1238968.8133 | 2694613.7907 | 1238968.3647 | 2694614.9215 | 1238967.66 | 2694616.603 | 1238966.1079 | 2694619.5436 | 1238962.919 | 2694622.0044 | 1238960.8789
60 | 2694506.6511 | 1239002.5063 | 2694505.1662 | 1239019.2729 | 2694536.3769 | 1239035.982 | 2694538.1156 | 1239037.8192
61 | 2694533.125 | 1239065.3632 | 2694540.8087 | 1239047.45 | 2694540.79 | 1239042.9241 | 2694539.3899 | 1239039.1657 | 2694538.1156 | 1239037.8192
62 | 2694564.7037 | 1239076.5298 | 2694533.125 | 1239065.3632
63 | 2694514.4825 | 1239117.3272 | 2694519.0137 | 1239102.1325 | 2694524.715 | 1239085.6666 | 2694529.8987 | 1239073.1954 | 2694533.125 | 1239065.3632
64 | 2694564.7037 | 1239076.5298 | 2694567.6745 | 1239080.9359 | 2694567.6745 | 1239080.9359
65 | 2694564.7037 | 1239076.5298 | 2694561.8699 | 1239070.647 | 2694556.0049 | 1239066.1954
66 | 2694514.4825 | 1239117.3272 | 2694520.8415 | 1239116.0831 | 2694540.6866 | 1239102.9854
67 | 2694567.6745 | 1239080.9359 | 2694573.2403 | 1239091.488 | 2694573.4335 | 1239091.8331
68 | 2694546.093 | 1239099.4171 | 2694540.6866 | 1239102.9854

## bus_geodata
| x | y | coords
0 | 2694691.6409 | 1238986.1579
1 | 2694672.6116 | 1239011.8642
2 | 2694672.1453 | 1239012.4941
3 | 2694661.1946 | 1238993.8057
4 | 2694662.4155 | 1239025.3208
5 | 2694626.3492 | 1239008.28
6 | 2694660.0579 | 1238967.8461
7 | 2694656.0328 | 1239033.7351
8 | 2694759.7 | 1238782.72
9 | 2694748.299 | 1238833.0991
10 | 2694719.1231 | 1238773.7795
11 | 2694627.5054 | 1238803.5941
12 | 2694638.5295 | 1238886.1477
13 | 2694648.1121 | 1238913.9634
14 | 2694753.5284 | 1239073.9231
15 | 2694766.0781 | 1239072.7662
16 | 2694728.8258 | 1239079.1185
17 | 2694776.6134 | 1239072.7274
18 | 2694713.4199 | 1239083.9831
19 | 2694822.6594 | 1239077.0101
20 | 2694678.4928 | 1239069.8912
21 | 2694641.2518 | 1239053.2208
22 | 2694744.1573 | 1239140.9493
23 | 2694717.7944 | 1239128.8062
24 | 2694760.9332 | 1239145.1199
25 | 2694714.4257 | 1239127.1312
26 | 2694766.0539 | 1239146.6511
27 | 2694699.2773 | 1239151.0852
28 | 2694689.0352 | 1239114.9848
29 | 2694786.5548 | 1239155.9924
30 | 2694678.5711 | 1239147.2043
31 | 2694652.0998 | 1239097.3154
32 | 2694836.1883 | 1239106.6068
33 | 2694831.4147 | 1239099.4044
34 | 2694822.7672 | 1239053.4753
35 | 2694862.766 | 1239076.7512
36 | 2694822.8053 | 1239045.1555
37 | 2694630.5775 | 1239068.2542
38 | 2694629.5456 | 1239069.7076
39 | 2694621.2522 | 1239082.068
40 | 2694829.6311 | 1239017.3213
41 | 2694828.162 | 1239023.3121
42 | 2694839.4301 | 1238993.6626
43 | 2694842.1788 | 1238988.1082
44 | 2694854.3478 | 1238965.0155
45 | 2694632.2289 | 1239087.4043
46 | 2694632.6837 | 1239128.4735
47 | 2694628.0208 | 1239132.138
48 | 2694594.9759 | 1239127.8834
49 | 2694617.8981 | 1239087.5074
50 | 2694605.4184 | 1239107.7459
51 | 2694591.2265 | 1239113.4796
52 | 2694604.0191 | 1239024.0285
53 | 2694650.207 | 1238964.7056
54 | 2694586.1761 | 1239130.4154
55 | 2694588.3332 | 1239108.4938
56 | 2694635.2653 | 1238960.0296
57 | 2694634.817 | 1238959.9111
58 | 2694622.0044 | 1238960.8789
59 | 2694592.3089 | 1238972.4922
60 | 2694538.1156 | 1239037.8192
61 | 2694506.6511 | 1239002.5063
62 | 2694533.125 | 1239065.3632
63 | 2694564.7037 | 1239076.5298
64 | 2694514.4825 | 1239117.3272
65 | 2694567.6745 | 1239080.9359
66 | 2694556.0049 | 1239066.1954
67 | 2694540.6866 | 1239102.9854
68 | 2694573.4335 | 1239091.8331
69 | 2694546.093 | 1239099.4171
70 | 2694713.4199 | 1239083.9831

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99442 | -0.10711 | 0.0067142 | 0.0016827
1 | 0.99461 | -0.10332 | 0.0043241 | 0.0010837
2 | 0.99462 | -0.10317 | 0 | 0
3 | 0.99396 | -0.11595 | 0 | 0
4 | 0.99525 | -0.091058 | 0.001876 | 0.00047018
5 | 0.99373 | -0.12027 | 0.0010694 | 0.00026801
6 | 0.99335 | -0.12762 | 0 | 0
7 | 0.99568 | -0.082772 | 0.0094159 | 0.0023599
8 | 0.991 | -0.17323 | 0 | 0
9 | 0.9908 | -0.17706 | 0.0041782 | 0.0010472
10 | 0.99116 | -0.17004 | 0.002704 | 0.00067769
11 | 0.99177 | -0.15828 | 0.0026164 | 0.00065573
12 | 0.99249 | -0.14426 | 0.00096873 | 0.00024279
13 | 0.99278 | -0.1388 | 0.00097716 | 0.0002449
14 | 0.99622 | -0.072573 | 0.0034978 | 0.00087662
15 | 0.99568 | -0.082831 | 0.0037141 | 0.00093084
16 | 0.99737 | -0.050388 | 0.0037579 | 0.00094182
17 | 0.99527 | -0.090732 | 0.0056719 | 0.0014215
18 | 0.99816 | -0.035234 | 0 | 0
19 | 0.99371 | -0.12083 | 0 | 0
20 | 1 | 0 | -0.22329 | -0.056159
21 | 0.99688 | -0.059571 | 0 | 0
22 | 0.98846 | -0.22218 | 0.0077463 | 0.0019414
23 | 0.98899 | -0.2118 | 0.0058263 | 0.0014602
24 | 0.98826 | -0.22596 | 0 | 0
25 | 0.98908 | -0.21007 | 0 | 0
26 | 0.9882 | -0.22713 | 0.0042882 | 0.0010747
27 | 0.98865 | -0.21834 | 0 | 0
28 | 0.99015 | -0.18923 | 0.0051398 | 0.0012882
29 | 0.98804 | -0.23034 | 0.0079515 | 0.0019928
30 | 0.98835 | -0.22427 | 0.015785 | 0.0039562
31 | 0.99191 | -0.15527 | 0 | 0
32 | 0.99336 | -0.12765 | 0.0090101 | 0.0022581
33 | 0.99343 | -0.12628 | 0.0037041 | 0.00092833
34 | 0.99327 | -0.1295 | 0.0027874 | 0.00069859
35 | 0.99359 | -0.12324 | 0.0033461 | 0.00083862
36 | 0.99313 | -0.13216 | 0.0030224 | 0.00075747
37 | 0.99498 | -0.096009 | 0.0067201 | 0.0016842
38 | 0.99481 | -0.099328 | 0.0025779 | 0.00064607
39 | 0.9934 | -0.12642 | 0 | 0
40 | 0.99275 | -0.13944 | 0.0035598 | 0.00089218
41 | 0.99282 | -0.13815 | 0.0032036 | 0.00080289
42 | 0.99256 | -0.1432 | 0.0034327 | 0.00086031
43 | 0.99253 | -0.14373 | 0.0034964 | 0.00087629
44 | 0.9925 | -0.14436 | 0.0013614 | 0.0003412
45 | 0.99286 | -0.1369 | 0.0018388 | 0.00046086
46 | 0.99081 | -0.17655 | 0.0057131 | 0.0014318
47 | 0.99084 | -0.17594 | 0.016841 | 0.0042208
48 | 0.99159 | -0.1615 | 0 | 0
49 | 0.99308 | -0.13258 | 0.0073768 | 0.0018488
50 | 0.99206 | -0.15244 | 0 | 0
51 | 0.9917 | -0.15932 | 0 | 0
52 | 0.9936 | -0.12281 | 0.0052534 | 0.0013166
53 | 0.99322 | -0.13016 | 0.00035663 | 8.9381e-05
54 | 0.99167 | -0.16003 | 0.0021715 | 0.00054422
55 | 0.99158 | -0.16162 | 0.0011008 | 0.0002759
56 | 0.99303 | -0.13391 | 0.00059808 | 0.00014989
57 | 0.99302 | -0.13402 | 0.00073618 | 0.0001845
58 | 0.99288 | -0.13688 | 0.00097057 | 0.00024325
59 | 0.99254 | -0.14345 | 0.011242 | 0.0028176
60 | 0.99015 | -0.18946 | 0.0030328 | 0.00076009
61 | 0.9899 | -0.19436 | 0.0050323 | 0.0012612
62 | 0.99037 | -0.18518 | 0 | 0
63 | 0.99083 | -0.17629 | 0 | 0
64 | 0.99002 | -0.19197 | 0 | 0
65 | 0.99092 | -0.17452 | 0.0011215 | 0.00028109
66 | 0.99078 | -0.17721 | 0.0037259 | 0.0009338
67 | 0.98983 | -0.19569 | 0.0019796 | 0.00049614
68 | 0.99114 | -0.17018 | 0.0015401 | 0.00038598
69 | 0.9898 | -0.19626 | 0.0049347 | 0.0012368
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0067142 | -0.0016827 | 0.0067154 | 0.0016831 | 1.2106e-06 | 3.598e-07 | 0.010047 | 0.010047 | 0.010047 | 0.99442 | -0.10711 | 0.99461 | -0.10332 | 2.7601
1 | -0.01104 | -0.0027668 | 0.01104 | 0.0027669 | 8.0168e-08 | 4.1136e-08 | 0.016516 | 0.016516 | 0.016516 | 0.99461 | -0.10332 | 0.99462 | -0.10317 | 4.5374
2 | 0.031736 | 0.0079722 | -0.031717 | -0.0079601 | 1.9341e-05 | 1.2082e-05 | 0.047486 | 0.047486 | 0.047486 | 0.99462 | -0.10317 | 0.99396 | -0.11595 | 13.0456
3 | -0.042776 | -0.010739 | 0.042801 | 0.010755 | 2.473e-05 | 1.5618e-05 | 0.064002 | 0.064002 | 0.064002 | 0.99462 | -0.10317 | 0.99525 | -0.091058 | 17.583
4 | 0.0063247 | 0.001585 | -0.0063234 | -0.0015847 | 1.3023e-06 | 3.3153e-07 | 0.0094684 | 0.0094686 | 0.0094686 | 0.99396 | -0.11595 | 0.99373 | -0.12027 | 2.6013
5 | 0.025392 | 0.0063751 | -0.025378 | -0.0063664 | 1.4134e-05 | 8.7082e-06 | 0.038018 | 0.038018 | 0.038018 | 0.99396 | -0.11595 | 0.99335 | -0.12762 | 10.4444
6 | -0.044677 | -0.011225 | 0.044694 | 0.011236 | 1.7676e-05 | 1.1175e-05 | 0.066807 | 0.066807 | 0.066807 | 0.99525 | -0.091058 | 0.99568 | -0.082772 | 18.3535
7 | 0.005254 | 0.0013167 | -0.0052534 | -0.0013166 | 6.3424e-07 | 5.1954e-08 | 0.0078673 | 0.0078675 | 0.0078675 | 0.99373 | -0.12027 | 0.9936 | -0.12281 | 2.1614
8 | 0.011465 | 0.0028767 | -0.011459 | -0.0028735 | 6.1079e-06 | 3.1947e-06 | 0.017175 | 0.017176 | 0.017176 | 0.99335 | -0.12762 | 0.99278 | -0.1388 | 4.7186
9 | 0.013913 | 0.0034897 | -0.013911 | -0.0034887 | 1.6843e-06 | 9.4414e-07 | 0.020842 | 0.020842 | 0.020842 | 0.99335 | -0.12762 | 0.99322 | -0.13016 | 5.726
10 | -0.05411 | -0.013596 | 0.05417 | 0.013634 | 5.9994e-05 | 3.8078e-05 | 0.080879 | 0.080878 | 0.080879 | 0.99568 | -0.082772 | 0.99688 | -0.059571 | 22.2194
11 | 0.004179 | 0.001047 | -0.0041782 | -0.0010472 | 7.6267e-07 | -1.7727e-07 | 0.0062747 | 0.006275 | 0.006275 | 0.991 | -0.17323 | 0.9908 | -0.17706 | 1.7239
12 | -0.004179 | -0.001047 | 0.0041796 | 0.0010468 | 6.3392e-07 | -1.4758e-07 | 0.0062747 | 0.0062745 | 0.0062747 | 0.991 | -0.17323 | 0.99116 | -0.17004 | 1.7238
13 | -0.0068836 | -0.0017245 | 0.0068875 | 0.0017258 | 3.8582e-06 | 1.2268e-06 | 0.010334 | 0.010334 | 0.010334 | 0.99116 | -0.17004 | 0.99177 | -0.15828 | 2.839
14 | -0.0095039 | -0.0023815 | 0.0095102 | 0.0023845 | 6.3501e-06 | 2.9885e-06 | 0.014259 | 0.014259 | 0.014259 | 0.99177 | -0.15828 | 0.99249 | -0.14426 | 3.9173
15 | -0.010479 | -0.0026273 | 0.010482 | 0.0026286 | 2.725e-06 | 1.3634e-06 | 0.015711 | 0.015711 | 0.015711 | 0.99249 | -0.14426 | 0.99278 | -0.1388 | 4.3163
16 | 0.046424 | 0.011676 | -0.046401 | -0.011661 | 2.2734e-05 | 1.4385e-05 | 0.069356 | 0.069356 | 0.069356 | 0.99622 | -0.072573 | 0.99568 | -0.082831 | 19.0538
17 | -0.049921 | -0.012552 | 0.049974 | 0.012586 | 5.2954e-05 | 3.356e-05 | 0.07458 | 0.07458 | 0.07458 | 0.99622 | -0.072573 | 0.99737 | -0.050388 | 20.4891
18 | 0.042687 | 0.010731 | -0.042671 | -0.01072 | 1.6098e-05 | 1.0166e-05 | 0.063805 | 0.063805 | 0.063805 | 0.99568 | -0.082831 | 0.99527 | -0.090732 | 17.529
19 | -0.053732 | -0.013528 | 0.053771 | 0.013552 | 3.8955e-05 | 2.472e-05 | 0.080187 | 0.080187 | 0.080187 | 0.99737 | -0.050388 | 0.99816 | -0.035234 | 22.0294
20 | 0.036999 | 0.0092989 | -0.036946 | -0.0092655 | 5.3082e-05 | 3.3372e-05 | 0.055326 | 0.055326 | 0.055326 | 0.99527 | -0.090732 | 0.99371 | -0.12083 | 15.1994
21 | -0.053771 | -0.013552 | 0.053862 | 0.01361 | 9.0813e-05 | 5.7627e-05 | 0.080187 | 0.080187 | 0.080187 | 0.99816 | -0.035234 | 1 | 0 | 22.0293
22 | 0.020881 | 0.0052386 | -0.020873 | -0.0052334 | 8.6299e-06 | 5.2183e-06 | 0.03127 | 0.03127 | 0.03127 | 0.99371 | -0.12083 | 0.99327 | -0.1295 | 8.5907
23 | 0.0033465 | 0.00083833 | -0.0033461 | -0.00083862 | 3.8493e-07 | -2.8314e-07 | 0.005011 | 0.0050112 | 0.0050112 | 0.99371 | -0.12083 | 0.99359 | -0.12324 | 1.3767
24 | 0.012718 | 0.0031885 | -0.012715 | -0.0031867 | 3.2998e-06 | 1.7977e-06 | 0.019045 | 0.019045 | 0.019045 | 0.99371 | -0.12083 | 0.99343 | -0.12628 | 5.2321
25 | 0.16778 | 0.042549 | -0.1673 | -0.042244 | 0.000479 | 0.00030549 | 0.24983 | 0.24983 | 0.24983 | 1 | 0 | 0.99688 | -0.059571 | 34.3175
26 | 0.11313 | 0.02861 | -0.11293 | -0.028484 | 0.00019736 | 0.00012607 | 0.16895 | 0.16895 | 0.16895 | 0.99688 | -0.059571 | 0.99498 | -0.096009 | 46.4156
27 | -0.01999 | -0.005011 | 0.02 | 0.005017 | 9.895e-06 | 5.9591e-06 | 0.030093 | 0.030093 | 0.030093 | 0.98846 | -0.22218 | 0.98899 | -0.2118 | 8.2674
28 | 0.012244 | 0.0030696 | -0.012242 | -0.0030684 | 2.2024e-06 | 1.188e-06 | 0.018432 | 0.018432 | 0.018432 | 0.98846 | -0.22218 | 0.98826 | -0.22596 | 5.0638
29 | -0.025826 | -0.0064772 | 0.025828 | 0.0064785 | 2.1306e-06 | 1.3153e-06 | 0.038859 | 0.038859 | 0.038859 | 0.98899 | -0.2118 | 0.98908 | -0.21007 | 10.6757
30 | 0.012242 | 0.0030684 | -0.012241 | -0.0030681 | 6.8095e-07 | 3.6733e-07 | 0.018432 | 0.018432 | 0.018432 | 0.98826 | -0.22596 | 0.9882 | -0.22713 | 5.0638
31 | 0.015796 | 0.0039624 | -0.01579 | -0.0039588 | 6.224e-06 | 3.6064e-06 | 0.023766 | 0.023766 | 0.023766 | 0.98908 | -0.21007 | 0.98865 | -0.21834 | 6.529
32 | -0.041624 | -0.010441 | 0.041666 | 0.010467 | 4.1395e-05 | 2.6131e-05 | 0.062625 | 0.062625 | 0.062625 | 0.98908 | -0.21007 | 0.99015 | -0.18923 | 17.2046
33 | 0.0079527 | 0.0019933 | -0.0079515 | -0.0019928 | 1.2182e-06 | 4.8949e-07 | 0.011975 | 0.011975 | 0.011975 | 0.9882 | -0.22713 | 0.98804 | -0.23034 | 3.2899
34 | 0.01579 | 0.0039588 | -0.015785 | -0.0039562 | 4.462e-06 | 2.5856e-06 | 0.023766 | 0.023766 | 0.023766 | 0.98865 | -0.21834 | 0.98835 | -0.22427 | 6.5291
35 | -0.046806 | -0.011755 | 0.046882 | 0.011803 | 7.5987e-05 | 4.8104e-05 | 0.070349 | 0.070349 | 0.070349 | 0.99015 | -0.18923 | 0.99191 | -0.15527 | 19.3266
36 | -0.046882 | -0.011803 | 0.046923 | 0.011829 | 4.121e-05 | 2.6088e-05 | 0.070349 | 0.070349 | 0.070349 | 0.99191 | -0.15527 | 0.99286 | -0.1369 | 19.3266
37 | -0.0090101 | -0.0022581 | 0.0090107 | 0.0022584 | 5.9025e-07 | 2.6589e-07 | 0.013497 | 0.013497 | 0.013497 | 0.99336 | -0.12765 | 0.99343 | -0.12628 | 3.7079
38 | 0.018085 | 0.0045348 | -0.018083 | -0.0045335 | 2.2904e-06 | 1.3582e-06 | 0.027094 | 0.027094 | 0.027094 | 0.99327 | -0.1295 | 0.99313 | -0.13216 | 7.4435
39 | 0.015061 | 0.003776 | -0.015056 | -0.0037735 | 4.2948e-06 | 2.4577e-06 | 0.022566 | 0.022566 | 0.022566 | 0.99313 | -0.13216 | 0.99282 | -0.13815 | 6.1995
40 | 0.10621 | 0.026799 | -0.10619 | -0.026789 | 1.6877e-05 | 1.0778e-05 | 0.1589 | 0.1589 | 0.1589 | 0.99498 | -0.096009 | 0.99481 | -0.099328 | 43.6546
41 | 0.10362 | 0.026142 | -0.10348 | -0.026057 | 0.00013421 | 8.5704e-05 | 0.15505 | 0.15505 | 0.15505 | 0.99481 | -0.099328 | 0.9934 | -0.12642 | 42.5953
42 | 0.054695 | 0.013751 | -0.054679 | -0.013741 | 1.6091e-05 | 1.0215e-05 | 0.081942 | 0.081942 | 0.081942 | 0.9934 | -0.12642 | 0.99308 | -0.13258 | 22.5116
43 | 0.048786 | 0.012306 | -0.048762 | -0.01229 | 2.4463e-05 | 1.5499e-05 | 0.073105 | 0.073105 | 0.073105 | 0.9934 | -0.12642 | 0.99286 | -0.1369 | 20.0837
44 | -0.011852 | -0.0029703 | 0.011853 | 0.0029707 | 7.2998e-07 | 3.8743e-07 | 0.017765 | 0.017765 | 0.017765 | 0.99275 | -0.13944 | 0.99282 | -0.13815 | 4.8804
45 | 0.0082921 | 0.0020781 | -0.0082907 | -0.0020775 | 1.4839e-06 | 6.1857e-07 | 0.012429 | 0.012429 | 0.012429 | 0.99275 | -0.13944 | 0.99256 | -0.1432 | 3.4146
46 | 0.004858 | 0.0012172 | -0.0048579 | -0.0012172 | 1.233e-07 | -1.2082e-09 | 0.0072828 | 0.0072828 | 0.0072828 | 0.99256 | -0.1432 | 0.99253 | -0.14373 | 2.0008
47 | 0.0013614 | 0.00034088 | -0.0013614 | -0.0003412 | 4.0811e-08 | -3.1151e-07 | 0.002041 | 0.0020411 | 0.0020411 | 0.99253 | -0.14373 | 0.9925 | -0.14436 | 0.56074
48 | -0.0057131 | -0.0014318 | 0.0057132 | 0.0014319 | 1.6406e-07 | 2.8454e-08 | 0.0085799 | 0.0085799 | 0.0085799 | 0.99081 | -0.17655 | 0.99084 | -0.17594 | 2.3571
49 | -0.022554 | -0.0056527 | 0.02257 | 0.0056621 | 1.5533e-05 | 9.4755e-06 | 0.033871 | 0.033871 | 0.033871 | 0.99084 | -0.17594 | 0.99159 | -0.1615 | 9.3053
50 | -0.02257 | -0.0056621 | 0.02258 | 0.0056681 | 9.7545e-06 | 5.9502e-06 | 0.033871 | 0.033871 | 0.033871 | 0.99159 | -0.1615 | 0.99206 | -0.15244 | 9.3053
51 | 0.047302 | 0.011892 | -0.047257 | -0.011864 | 4.4807e-05 | 2.8369e-05 | 0.070889 | 0.070889 | 0.070889 | 0.99308 | -0.13258 | 0.99206 | -0.15244 | 19.4751
52 | 0.024677 | 0.0061956 | -0.024669 | -0.0061906 | 8.0997e-06 | 4.9804e-06 | 0.037018 | 0.037018 | 0.037018 | 0.99206 | -0.15244 | 0.9917 | -0.15932 | 10.1698
53 | 0.0021716 | 0.00054403 | -0.0021715 | -0.00054422 | 7.3553e-08 | -1.9129e-07 | 0.0032583 | 0.0032583 | 0.0032583 | 0.9917 | -0.15932 | 0.99167 | -0.16003 | 0.89515
54 | 0.022498 | 0.0056466 | -0.022495 | -0.0056451 | 2.4714e-06 | 1.5071e-06 | 0.03376 | 0.03376 | 0.03376 | 0.9917 | -0.15932 | 0.99158 | -0.16162 | 9.2747
55 | 0.013555 | 0.0033993 | -0.013552 | -0.003398 | 2.4215e-06 | 1.3471e-06 | 0.020308 | 0.020308 | 0.020308 | 0.99322 | -0.13016 | 0.99303 | -0.13391 | 5.5792
56 | 0.021394 | 0.0053692 | -0.021386 | -0.0053639 | 8.7289e-06 | 5.2954e-06 | 0.032108 | 0.032108 | 0.032108 | 0.99158 | -0.16162 | 0.99114 | -0.17018 | 8.8209
57 | 0.012954 | 0.0032481 | -0.012954 | -0.0032481 | 6.5521e-08 | 3.5935e-08 | 0.019412 | 0.019412 | 0.019412 | 0.99303 | -0.13391 | 0.99302 | -0.13402 | 5.333
58 | 0.012218 | 0.0030636 | -0.012216 | -0.0030627 | 1.664e-06 | 8.9371e-07 | 0.018309 | 0.018309 | 0.018309 | 0.99302 | -0.13402 | 0.99288 | -0.13688 | 5.0299
59 | 0.011246 | 0.0028194 | -0.011242 | -0.0028176 | 3.5211e-06 | 1.8262e-06 | 0.016854 | 0.016855 | 0.016855 | 0.99288 | -0.13688 | 0.99254 | -0.14345 | 4.6304
60 | 0.0050335 | 0.0012613 | -0.0050323 | -0.0012612 | 1.1751e-06 | 4.7884e-08 | 0.0075644 | 0.0075646 | 0.0075646 | 0.99015 | -0.18946 | 0.9899 | -0.19436 | 2.0782
61 | -0.0080663 | -0.0020214 | 0.0080679 | 0.002022 | 1.6466e-06 | 6.6941e-07 | 0.012122 | 0.012122 | 0.012122 | 0.99015 | -0.18946 | 0.99037 | -0.18518 | 3.3303
62 | -0.014986 | -0.003756 | 0.014992 | 0.0037597 | 6.351e-06 | 3.6346e-06 | 0.022516 | 0.022516 | 0.022516 | 0.99037 | -0.18518 | 0.99083 | -0.17629 | 6.1858
63 | 0.0069179 | 0.001734 | -0.0069157 | -0.0017333 | 2.2388e-06 | 7.2204e-07 | 0.010394 | 0.010394 | 0.010394 | 0.99037 | -0.18518 | 0.99002 | -0.19197 | 2.8556
64 | -0.018718 | -0.0046934 | 0.01872 | 0.0046944 | 1.5748e-06 | 9.3945e-07 | 0.028112 | 0.028112 | 0.028112 | 0.99083 | -0.17629 | 0.99092 | -0.17452 | 7.723
65 | 0.0037261 | 0.00093373 | -0.0037259 | -0.0009338 | 1.6313e-07 | -7.4521e-08 | 0.0055958 | 0.0055958 | 0.0055958 | 0.99083 | -0.17629 | 0.99078 | -0.17721 | 1.5373
66 | 0.0069157 | 0.0017333 | -0.0069145 | -0.0017329 | 1.2259e-06 | 3.9561e-07 | 0.010394 | 0.010395 | 0.010395 | 0.99002 | -0.19197 | 0.98983 | -0.19569 | 2.8557
67 | -0.019841 | -0.0049754 | 0.019846 | 0.0049779 | 4.1034e-06 | 2.4674e-06 | 0.029796 | 0.029796 | 0.029796 | 0.99092 | -0.17452 | 0.99114 | -0.17018 | 8.1857
68 | 0.0049348 | 0.0012368 | -0.0049347 | -0.0012368 | 1.3369e-07 | 2.3011e-09 | 0.0074186 | 0.0074186 | 0.0074186 | 0.98983 | -0.19569 | 0.9898 | -0.19626 | 2.0381

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2316 | 0.058242

## res_load
| p_mw | q_mvar
0 | 0.0067142 | 0.0016827
1 | 0.0043241 | 0.0010837
2 | 0.001876 | 0.00047018
3 | 0.0010694 | 0.00026801
4 | 0.0094159 | 0.0023599
5 | 0.0041782 | 0.0010472
6 | 0.002704 | 0.00067769
7 | 0.0026164 | 0.00065573
8 | 0.00096873 | 0.00024279
9 | 0.00097716 | 0.0002449
10 | 0.0034978 | 0.00087662
11 | 0.0037141 | 0.00093084
12 | 0.0037579 | 0.00094182
13 | 0.0056719 | 0.0014215
14 | 0.0083094 | 0.0020825
15 | 0.0077463 | 0.0019414
16 | 0.0058263 | 0.0014602
17 | 0.0042882 | 0.0010747
18 | 0.0051398 | 0.0012882
19 | 0.0079515 | 0.0019928
20 | 0.015785 | 0.0039562
21 | 0.0090101 | 0.0022581
22 | 0.0037041 | 0.00092833
23 | 0.0027874 | 0.00069859
24 | 0.0033461 | 0.00083862
25 | 0.0030224 | 0.00075747
26 | 0.0067201 | 0.0016842
27 | 0.0025779 | 0.00064607
28 | 0.0035598 | 0.00089218
29 | 0.0032036 | 0.00080289
30 | 0.0034327 | 0.00086031
31 | 0.0034964 | 0.00087629
32 | 0.0013614 | 0.0003412
33 | 0.0018388 | 0.00046086
34 | 0.0057131 | 0.0014318
35 | 0.016841 | 0.0042208
36 | 0.0073768 | 0.0018488
37 | 0.0052534 | 0.0013166
38 | 0.00035663 | 8.9381e-05
39 | 0.0021715 | 0.00054422
40 | 0.0011008 | 0.0002759
41 | 0.00059808 | 0.00014989
42 | 0.00073618 | 0.0001845
43 | 0.00097057 | 0.00024325
44 | 0.011242 | 0.0028176
45 | 0.0030328 | 0.00076009
46 | 0.0050323 | 0.0012612
47 | 0.0011215 | 0.00028109
48 | 0.0037259 | 0.0009338
49 | 0.0019796 | 0.00049614
50 | 0.0015401 | 0.00038598
51 | 0.0049347 | 0.0012368

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1