## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_192-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_192-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_192-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_192-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_192-4_0_4_node_32 | 0.4 | n |  | TRUE
5 | bus_LV_192-4_0_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_192-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_192-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_192-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_192-4_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_192-4_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_192-4_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_192-4_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_192-4_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_192-4_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_192-4_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_192-4_0_4_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_192-4_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_192-4_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_192-4_0_4_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_192-4_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_192-4_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_192-4_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_192-4_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_192-4_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_192-4_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_192-4_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_192-4_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_192-4_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_192-4_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_192-4_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_192-4_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_192-4_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_192-4_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_192-4_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_192-4_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_192-4_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_192-4_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_192-4_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_192-4_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_192-4_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_192-4_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_192-4_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_192-4_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_192-4_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_192-4_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_192-4_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_192-4_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_192-4_0_4_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_192-4_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_192-4_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_192-4_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_192-4_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_192-4_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_MV_356_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_192-4_0_4_load_0 | 0 | 0.00063268 | 0.00015857 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_192-4_0_4_load_1 | 1 | 0.00013554 | 3.397e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_192-4_0_4_load_2 | 2 | 0.00034138 | 8.5557e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_192-4_0_4_load_3 | 3 | 0.00062029 | 0.00015546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_192-4_0_4_load_31 | 5 | 0.0003864 | 9.6841e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_192-4_0_4_load_4 | 6 | 0.084043 | 0.021063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_192-4_0_4_load_5 | 7 | 0.07336 | 0.018386 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_192-4_0_4_load_26 | 13 | 0.0049206 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_192-4_0_4_load_42 | 14 | 0.03766 | 0.0094385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_192-4_0_4_load_43 | 16 | 0.008668 | 0.0021724 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_192-4_0_4_load_53 | 19 | 0.0024475 | 0.0006134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_192-4_0_4_load_57 | 24 | 0.021865 | 0.0054799 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_192-4_0_4_load_45 | 27 | 0.006486 | 0.0016255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_192-4_0_4_load_30 | 28 | 0.00098846 | 0.00024773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_192-4_0_4_load_33 | 29 | 0.00054141 | 0.00013569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_192-4_0_4_load_39 | 32 | 0.048089 | 0.012052 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_192-4_0_4_load_56 | 36 | 0.0037153 | 0.00093114 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_192-4_0_4_load_58 | 37 | 0.026129 | 0.0065484 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_192-4_0_4_load_41 | 38 | 0.0077132 | 0.0019331 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_192-4_0_4_load_59 | 39 | 0.040371 | 0.010118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_192-4_0_4_load_47 | 40 | 0.0036257 | 0.00090869 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_192-4_0_4_load_38 | 41 | 0.021145 | 0.0052994 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_192-4_0_4_load_35 | 42 | 0.043355 | 0.010866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_192-4_0_4_load_50 | 46 | 0.0013522 | 0.0003389 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_192-4_0_4_load_54 | 47 | 0.078735 | 0.019733 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_192-4_0_4_load_29 | 49 | 0.001403 | 0.00035164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_192-4_0_4_load_49 | 50 | 0.015608 | 0.0039118 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_192-4_0_4_load_40 | 51 | 0.044706 | 0.011204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_192-4_0_4_load_55 | 52 | 0.0036647 | 0.00091845 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_192-4_0_4_load_36 | 53 | 0.011989 | 0.0030047 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_192-4_0_4_line_0 |  | 0 | 1 | 0.038731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_192-4_0_4_line_1 |  | 0 | 2 | 0.012835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_192-4_0_4_line_2 |  | 2 | 3 | 0.0096311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_192-4_0_4_line_3 |  | 3 | 4 | 0.54552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_192-4_0_4_line_4 |  | 4 | 5 | 0.24606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_192-4_0_4_line_5 |  | 5 | 49 | 0.0036533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_192-4_0_4_line_6 |  | 6 | 7 | 0.0025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_192-4_0_4_line_7 |  | 6 | 8 | 0.047429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_192-4_0_4_line_8 |  | 8 | 9 | 0.0667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_192-4_0_4_line_9 |  | 8 | 10 | 0.085819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_192-4_0_4_line_10 |  | 9 | 14 | 0.031139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_192-4_0_4_line_11 |  | 9 | 11 | 0.033204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_192-4_0_4_line_12 |  | 10 | 15 | 0.008154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_192-4_0_4_line_13 |  | 10 | 16 | 0.048684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_192-4_0_4_line_14 |  | 11 | 12 | 0.06295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_192-4_0_4_line_15 |  | 11 | 13 | 0.021731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_192-4_0_4_line_16 |  | 12 | 40 | 0.037056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_192-4_0_4_line_17 |  | 15 | 45 | 0.007694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_192-4_0_4_line_18 |  | 15 | 27 | 0.051852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_192-4_0_4_line_19 |  | 17 | 18 | 0.072827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_192-4_0_4_line_20 |  | 17 | 19 | 0.0039781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_192-4_0_4_line_21 |  | 18 | 23 | 0.04307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_192-4_0_4_line_22 |  | 18 | 24 | 0.021836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_192-4_0_4_line_23 |  | 20 | 21 | 0.070711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_192-4_0_4_line_24 |  | 20 | 22 | 0.053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_192-4_0_4_line_25 |  | 21 | 33 | 0.028758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_192-4_0_4_line_26 |  | 21 | 24 | 0.032901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_192-4_0_4_line_27 |  | 22 | 46 | 0.029583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_192-4_0_4_line_28 |  | 23 | 39 | 0.059754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_192-4_0_4_line_29 |  | 23 | 34 | 0.048421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_192-4_0_4_line_30 |  | 25 | 26 | 0.95013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_192-4_0_4_line_31 |  | 25 | 27 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_192-4_0_4_line_32 |  | 26 | 28 | 0.032463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_192-4_0_4_line_33 |  | 26 | 29 | 0.049648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_192-4_0_4_line_34 |  | 28 | 49 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_192-4_0_4_line_35 |  | 30 | 31 | 0.071971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_192-4_0_4_line_36 |  | 30 | 32 | 0.035421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_192-4_0_4_line_37 |  | 31 | 41 | 0.04184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_192-4_0_4_line_38 |  | 31 | 42 | 0.034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_192-4_0_4_line_39 |  | 32 | 51 | 0.0025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_192-4_0_4_line_40 |  | 33 | 38 | 0.038871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_192-4_0_4_line_41 |  | 34 | 35 | 0.085755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_192-4_0_4_line_42 |  | 34 | 36 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_192-4_0_4_line_43 |  | 35 | 37 | 0.0092612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_192-4_0_4_line_44 |  | 36 | 52 | 0.030721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_192-4_0_4_line_45 |  | 38 | 51 | 0.00033078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_192-4_0_4_line_46 |  | 40 | 43 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_192-4_0_4_line_47 |  | 42 | 53 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_192-4_0_4_line_48 |  | 43 | 44 | 0.002095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_192-4_0_4_line_49 |  | 44 | 50 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_192-4_0_4_line_50 |  | 45 | 48 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_192-4_0_4_line_51 |  | 45 | 46 | 0.036831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_192-4_0_4_line_52 |  | 47 | 48 | 0.023624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_192-4_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 54 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64
0 | 2695554.9272 | 1241006.8385 | 2695560.785 | 1241017.8815 | 2695561.1494 | 1241025.771 | 2695556.2745 | 1241034.0543 | 2695550.1474 | 1241040.2604
1 | 2695554.9272 | 1241006.8385 | 2695548.9128 | 1240995.5001
2 | 2695544.3996 | 1240986.9919 | 2695548.9128 | 1240995.5001
3 | 2695067.1556 | 1240722.7463 | 2695544.3996 | 1240986.9919
4 | 2695067.1556 | 1240722.7463 | 2695064.6114 | 1240716.3341 | 2695065.6185 | 1240709.6453 | 2695138.5147 | 1240562.9811 | 2695149.0162 | 1240536.7742 | 2695158.931 | 1240497.6249
5 | 2695159.8278 | 1240494.0835 | 2695158.931 | 1240497.6249
6 | 2694887.6946 | 1239933.2636 | 2694889.2117 | 1239931.1982
7 | 2694859.6169 | 1239971.4882 | 2694887.6946 | 1239933.2636
8 | 2694809.7484 | 1239950.7874 | 2694817.8651 | 1239939.3641 | 2694836.1716 | 1239952.9221 | 2694859.6169 | 1239971.4882
9 | 2694802.9149 | 1239997.8689 | 2694822.4577 | 1239971.4502 | 2694836.1716 | 1239952.9221 | 2694859.6169 | 1239971.4882
10 | 2694809.7484 | 1239950.7874 | 2694798.1996 | 1239949.7912 | 2694786.5271 | 1239965.4708
11 | 2694802.4439 | 1239927.9426 | 2694817.8651 | 1239939.3641 | 2694809.7484 | 1239950.7874
12 | 2694802.9149 | 1239997.8689 | 2694800.0648 | 1240000.6255 | 2694796.4972 | 1240002.848
13 | 2694802.9149 | 1239997.8689 | 2694842.208 | 1240026.6129
14 | 2694751.8516 | 1239890.485 | 2694767.4075 | 1239902.0085 | 2694802.4439 | 1239927.9426
15 | 2694802.4439 | 1239927.9426 | 2694808.0457 | 1239920.5488 | 2694815.5643 | 1239910.6196
16 | 2694751.8516 | 1239890.485 | 2694755.1115 | 1239886.2227 | 2694763.6086 | 1239875.1389 | 2694774.0917 | 1239860.8478
17 | 2694788.95 | 1240004.1951 | 2694792.7658 | 1240003.9559 | 2694796.4972 | 1240002.848
18 | 2694796.4972 | 1240002.848 | 2694799.8517 | 1240009.7066 | 2694805.1677 | 1240026.8154 | 2694825.5195 | 1240043.475
19 | 2694571.4542 | 1239903.5743 | 2694621.8773 | 1239940.7942 | 2694622.5856 | 1239950.9241
20 | 2694571.4542 | 1239903.5743 | 2694573.8047 | 1239900.3649
21 | 2694622.5856 | 1239950.9241 | 2694621.8773 | 1239940.7942 | 2694627.1039 | 1239932.2489 | 2694641.3802 | 1239918.733 | 2694643.3051 | 1239916.1285
22 | 2694622.5856 | 1239950.9241 | 2694639.7941 | 1239964.3655
23 | 2694665.4888 | 1239984.8889 | 2694667.4718 | 1239981.4846 | 2694670.54 | 1239979.2763 | 2694672.2663 | 1239978.6923 | 2694675.2871 | 1239978.507 | 2694678.1414 | 1239979.2753 | 2694681.0362 | 1239981.3007 | 2694682.7882 | 1239983.8417 | 2694683.6341 | 1239987.2355 | 2694692.7835 | 1239994.0198 | 2694706.291 | 1240004.0316 | 2694705.0687 | 1240000.0535 | 2694705.5685 | 1239993.8569 | 2694709.3886 | 1239988.6139
24 | 2694709.3886 | 1239988.6139 | 2694708.9457 | 1239990.297 | 2694708.9689 | 1239991.6873 | 2694709.4686 | 1239993.0741 | 2694710.5833 | 1239994.315 | 2694715.9095 | 1239998.492 | 2694747.7837 | 1240023.4969
25 | 2694664.0791 | 1240007.3498 | 2694666.1098 | 1240004.7469 | 2694672.3104 | 1239996.7843 | 2694668.9307 | 1239995.2848 | 2694666.9643 | 1239993.3854 | 2694665.7276 | 1239991.253 | 2694665.0496 | 1239988.2399 | 2694665.4888 | 1239984.8889
26 | 2694665.4888 | 1239984.8889 | 2694657.843 | 1239978.1953 | 2694655.4293 | 1239976.3555 | 2694647.3054 | 1239970.2325 | 2694639.7941 | 1239964.3655
27 | 2694747.7837 | 1240023.4969 | 2694763.4408 | 1240036.7122 | 2694765.5146 | 1240037.5681 | 2694767.757 | 1240037.8152 | 2694769.6716 | 1240037.2787 | 2694771.4398 | 1240035.9615 | 2694771.6827 | 1240035.6416
28 | 2694643.3051 | 1239916.1285 | 2694700.1379 | 1239935.0932
29 | 2694672.0567 | 1239877.1133 | 2694643.3051 | 1239916.1285
30 | 2694807.0423 | 1240068.0649 | 2694804.438 | 1240071.537 | 2694797.9005 | 1240080.228 | 2694810.3037 | 1240089.7443 | 2694814.4804 | 1240092.9467 | 2694816.8123 | 1240091.3828 | 2694819.5029 | 1240090.5585 | 2694822.3163 | 1240090.5701 | 2694825.0108 | 1240091.3915 | 2694827.3378 | 1240092.9743 | 2694829.0437 | 1240095.0809 | 2694830.0778 | 1240097.577 | 2694830.3677 | 1240100.2614 | 2694829.8864 | 1240102.9224 | 2694828.6604 | 1240105.3379 | 2694831.9173 | 1240109.304 | 2694838.2043 | 1240116.2874 | 2694861.6145 | 1240135.5869 | 2694879.3481 | 1240150.8706 | 2694887.1261 | 1240161.5695 | 2694897.0981 | 1240163.7082 | 2694904.1874 | 1240170.1708 | 2694906.6204 | 1240173.1564 | 2694907.8243 | 1240183.9503 | 2694901.5879 | 1240201.7084 | 2694894.2012 | 1240221.8831 | 2694890.1507 | 1240241.533 | 2694890.4601 | 1240266.6345 | 2694896.8264 | 1240280.4688 | 2694903.3758 | 1240290.4142 | 2694827.4716 | 1240439.9686 | 2694826.0777 | 1240442.0034 | 2694822.4777 | 1240444.848 | 2694814.9996 | 1240446.1629 | 2694808.0265 | 1240444.2724 | 2694807.3514 | 1240445.8183 | 2694803.2185 | 1240446.0414 | 2694800.8227 | 1240446.8815 | 2694801.0725 | 1240449.2317 | 2694802.6374 | 1240449.746 | 2694804.9162 | 1240454.8084 | 2694808.568 | 1240458.6584 | 2694821.3566 | 1240464.8339 | 2694820.9413 | 1240466.6842 | 2694816.8227 | 1240466.485 | 2694809.2525 | 1240465.5189 | 2694806.1882 | 1240465.1253 | 2694795.0538 | 1240464.7694 | 2694795.2764 | 1240472.134 | 2694795.9628 | 1240481.2407 | 2694796.8999 | 1240489.8065 | 2694797.6469 | 1240493.6991 | 2694798.7013 | 1240496.3401 | 2694801.7594 | 1240505.6403 | 2694805.4722 | 1240519.3988 | 2694805.8639 | 1240521.8624 | 2694878.5594 | 1240505.7005 | 2694893.6349 | 1240501.2715 | 2694928.2164 | 1240491.0945 | 2694960.241 | 1240476.7181 | 2694988.632 | 1240472.0021 | 2695034.8303 | 1240468.4499 | 2695072.2063 | 1240461.8433 | 2695106.075 | 1240457.9495 | 2695141.8954 | 1240454.9768
31 | 2694807.0423 | 1240068.0649 | 2694825.5195 | 1240043.475
32 | 2695141.8954 | 1240454.9768 | 2695144.1499 | 1240459.6497 | 2695152.2457 | 1240478.2934 | 2695156.5522 | 1240483.7469
33 | 2695141.8954 | 1240454.9768 | 2695191.293 | 1240450.0008
34 | 2695159.8278 | 1240494.0835 | 2695161.0145 | 1240489.3978 | 2695156.5522 | 1240483.7469
35 | 2694713.2458 | 1240109.4433 | 2694690.359 | 1240090.9645 | 2694666.9971 | 1240070.4878 | 2694658.3596 | 1240062.9111
36 | 2694658.3596 | 1240062.9111 | 2694679.7981 | 1240034.7142
37 | 2694713.2458 | 1240109.4433 | 2694737.7826 | 1240129.2606 | 2694741.8374 | 1240136.7865 | 2694741.3413 | 1240138.4656
38 | 2694713.2458 | 1240109.4433 | 2694719.3722 | 1240101.8576 | 2694735.1436 | 1240082.328 | 2694735.1436 | 1240082.328
39 | 2694679.7981 | 1240034.7142 | 2694681.3644 | 1240032.6541
40 | 2694664.0791 | 1240007.3498 | 2694672.4216 | 1240012.5645 | 2694686.9969 | 1240022.4932 | 2694685.9645 | 1240025.5679 | 2694684.4875 | 1240028.5465 | 2694681.5646 | 1240032.3908
41 | 2694648.8179 | 1239821.368 | 2694641.0321 | 1239828.1712 | 2694632.1893 | 1239839.6054 | 2694667.9033 | 1239865.7942 | 2694676.0041 | 1239871.9502 | 2694672.0567 | 1239877.1133
42 | 2694672.0567 | 1239877.1133 | 2694652.5125 | 1239863.4837
43 | 2694648.8179 | 1239821.368 | 2694653.9018 | 1239821.7716 | 2694657.2451 | 1239824.249
44 | 2694629.7672 | 1239843.744 | 2694644.1873 | 1239854.1853 | 2694646.6007 | 1239859.3609 | 2694652.5125 | 1239863.4837
45 | 2694681.3644 | 1240032.6541 | 2694681.5646 | 1240032.3908
46 | 2694786.2756 | 1239844.4445 | 2694784.5779 | 1239846.5523 | 2694774.0917 | 1239860.8478
47 | 2694743.0048 | 1240088.7027 | 2694735.1436 | 1240082.328
48 | 2694786.2756 | 1239844.4445 | 2694787.5876 | 1239842.8087
49 | 2694787.5876 | 1239842.8087 | 2694777.4828 | 1239834.7414
50 | 2694788.95 | 1240004.1951 | 2694783.2911 | 1240000.4909 | 2694779.616 | 1239998.0749
51 | 2694788.95 | 1240004.1951 | 2694788.3644 | 1240010.5461 | 2694787.1236 | 1240015.3076 | 2694771.6827 | 1240035.6416
52 | 2694779.616 | 1239998.0749 | 2694760.7305 | 1239983.883

## bus_geodata
| x | y | coords
0 | 2695554.9272 | 1241006.8385
1 | 2695550.1474 | 1241040.2604
2 | 2695548.9128 | 1240995.5001
3 | 2695544.3996 | 1240986.9919
4 | 2695067.1556 | 1240722.7463
5 | 2695158.931 | 1240497.6249
6 | 2694887.6946 | 1239933.2636
7 | 2694889.2117 | 1239931.1982
8 | 2694859.6169 | 1239971.4882
9 | 2694809.7484 | 1239950.7874
10 | 2694802.9149 | 1239997.8689
11 | 2694802.4439 | 1239927.9426
12 | 2694751.8516 | 1239890.485
13 | 2694815.5643 | 1239910.6196
14 | 2694786.5271 | 1239965.4708
15 | 2694796.4972 | 1240002.848
16 | 2694842.208 | 1240026.6129
17 | 2694571.4542 | 1239903.5743
18 | 2694622.5856 | 1239950.9241
19 | 2694573.8047 | 1239900.3649
20 | 2694709.3886 | 1239988.6139
21 | 2694665.4888 | 1239984.8889
22 | 2694747.7837 | 1240023.4969
23 | 2694643.3051 | 1239916.1285
24 | 2694639.7941 | 1239964.3655
25 | 2694807.0423 | 1240068.0649
26 | 2695141.8954 | 1240454.9768
27 | 2694825.5195 | 1240043.475
28 | 2695156.5522 | 1240483.7469
29 | 2695191.293 | 1240450.0008
30 | 2694658.3596 | 1240062.9111
31 | 2694713.2458 | 1240109.4433
32 | 2694679.7981 | 1240034.7142
33 | 2694664.0791 | 1240007.3498
34 | 2694672.0567 | 1239877.1133
35 | 2694648.8178 | 1239821.368
36 | 2694652.5125 | 1239863.4837
37 | 2694657.2451 | 1239824.249
38 | 2694681.5646 | 1240032.3908
39 | 2694700.1379 | 1239935.0932
40 | 2694774.0917 | 1239860.8478
41 | 2694741.3413 | 1240138.4656
42 | 2694735.1436 | 1240082.328
43 | 2694786.2756 | 1239844.4445
44 | 2694787.5876 | 1239842.8087
45 | 2694788.95 | 1240004.1951
46 | 2694771.6827 | 1240035.6416
47 | 2694760.7305 | 1239983.883
48 | 2694779.616 | 1239998.0749
49 | 2695159.8278 | 1240494.0835
50 | 2694777.4828 | 1239834.7414
51 | 2694681.3644 | 1240032.6541
52 | 2694629.7672 | 1239843.744
53 | 2694743.0048 | 1240088.7027
54 | 2694779.616 | 1239998.0749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98891 | -0.21409 | 0.00063268 | 0.00015857
1 | 0.9889 | -0.21419 | 0.00013554 | 3.397e-05
2 | 0.98892 | -0.21392 | 0.00034138 | 8.5557e-05
3 | 0.98893 | -0.21372 | 0.00062029 | 0.00015546
4 | 0.98979 | -0.19681 | 0 | 0
5 | 0.99018 | -0.18914 | 0.0003864 | 9.6841e-05
6 | 0.98725 | -0.24446 | 0.084043 | 0.021063
7 | 0.98708 | -0.24783 | 0.07336 | 0.018386
8 | 0.99068 | -0.17795 | 0 | 0
9 | 0.98689 | -0.25146 | 0 | 0
10 | 0.99501 | -0.094777 | 0 | 0
11 | 0.98615 | -0.26582 | 0 | 0
12 | 0.98503 | -0.28755 | 0 | 0
13 | 0.98605 | -0.26774 | 0.0049206 | 0.0012332
14 | 0.98581 | -0.27247 | 0.03766 | 0.0094385
15 | 0.99543 | -0.086602 | 0 | 0
16 | 0.99462 | -0.10221 | 0.008668 | 0.0021724
17 | 0.98199 | -0.345 | 0 | 0
18 | 0.98215 | -0.34178 | 0 | 0
19 | 0.98198 | -0.34518 | 0.0024475 | 0.0006134
20 | 0.98819 | -0.22493 | 0 | 0
21 | 0.98368 | -0.31217 | 0 | 0
22 | 0.9916 | -0.15938 | 0 | 0
23 | 0.9792 | -0.39945 | 0 | 0
24 | 0.98293 | -0.32673 | 0.021865 | 0.0054799
25 | 0.99475 | -0.099957 | 0 | 0
26 | 0.99036 | -0.18562 | 0 | 0
27 | 0.99489 | -0.097187 | 0.006486 | 0.0016255
28 | 0.99022 | -0.18824 | 0.00098846 | 0.00024773
29 | 0.99033 | -0.1861 | 0.00054141 | 0.00013569
30 | 0.98019 | -0.38023 | 0 | 0
31 | 0.97763 | -0.43029 | 0 | 0
32 | 0.98082 | -0.36794 | 0.048089 | 0.012052
33 | 0.9825 | -0.33512 | 0 | 0
34 | 0.97769 | -0.429 | 0 | 0
35 | 0.97561 | -0.46994 | 0 | 0
36 | 0.97753 | -0.4322 | 0.0037153 | 0.00093114
37 | 0.97538 | -0.47437 | 0.026129 | 0.0065484
38 | 0.9809 | -0.36623 | 0.0077132 | 0.0019331
39 | 0.97696 | -0.4434 | 0.040371 | 0.010118
40 | 0.98437 | -0.30036 | 0.0036257 | 0.00090869
41 | 0.97681 | -0.44644 | 0.021145 | 0.0052994
42 | 0.97584 | -0.46553 | 0.043355 | 0.010866
43 | 0.98408 | -0.3061 | 0 | 0
44 | 0.98405 | -0.30669 | 0 | 0
45 | 0.99586 | -0.078501 | 0 | 0
46 | 0.99349 | -0.12337 | 0.0013522 | 0.0003389
47 | 1 | 0 | -0.52599 | -0.13461
48 | 0.99718 | -0.053278 | 0 | 0
49 | 0.99019 | -0.189 | 0.001403 | 0.00035164
50 | 0.98386 | -0.31032 | 0.015608 | 0.0039118
51 | 0.98089 | -0.36648 | 0.044706 | 0.011204
52 | 0.97742 | -0.43426 | 0.0036647 | 0.00091845
53 | 0.97572 | -0.46775 | 0.011989 | 0.0030047
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00013554 | 3.3473e-05 | -0.00013554 | -3.397e-05 | 6.0361e-10 | -4.9652e-07 | 0.00020377 | 0.00020395 | 0.00020395 | 0.98891 | -0.21409 | 0.9889 | -0.21419 | 0.05603
1 | -0.00076822 | -0.00019204 | 0.00076823 | 0.00019188 | 6.429e-09 | -1.6055e-07 | 0.0011558 | 0.0011557 | 0.0011558 | 0.98891 | -0.21409 | 0.98892 | -0.21392 | 0.31752
2 | -0.0011096 | -0.00027743 | 0.0011096 | 0.00027732 | 1.0065e-08 | -1.1713e-07 | 0.0016694 | 0.0016693 | 0.0016694 | 0.98892 | -0.21392 | 0.98893 | -0.21372 | 0.45862
3 | -0.0017299 | -0.00043278 | 0.0017313 | 0.00042666 | 1.3844e-06 | -6.1192e-06 | 0.0026027 | 0.0026002 | 0.0026027 | 0.98893 | -0.21372 | 0.98979 | -0.19681 | 0.71502
4 | -0.0017313 | -0.00042666 | 0.0017319 | 0.00042389 | 6.2361e-07 | -2.7647e-06 | 0.0026002 | 0.0025991 | 0.0026002 | 0.98979 | -0.19681 | 0.99018 | -0.18914 | 0.71435
5 | -0.0021183 | -0.00052073 | 0.0021183 | 0.0005207 | 1.3852e-08 | -3.8127e-08 | 0.0031798 | 0.0031798 | 0.0031798 | 0.99018 | -0.18914 | 0.99019 | -0.189 | 0.87357
6 | 0.073371 | 0.018393 | -0.07336 | -0.018386 | 1.1753e-05 | 7.4892e-06 | 0.11059 | 0.11059 | 0.11059 | 0.98725 | -0.24446 | 0.98708 | -0.24783 | 30.3817
7 | -0.15741 | -0.039456 | 0.15792 | 0.039776 | 0.00050061 | 0.00031917 | 0.23726 | 0.23726 | 0.23726 | 0.98725 | -0.24446 | 0.99068 | -0.17795 | 32.5909
8 | 0.062126 | 0.015688 | -0.061908 | -0.015549 | 0.00021799 | 0.00013866 | 0.093356 | 0.093357 | 0.093357 | 0.99068 | -0.17795 | 0.98689 | -0.25146 | 25.6474
9 | -0.22004 | -0.055464 | 0.22092 | 0.056022 | 0.00087943 | 0.0005584 | 0.33062 | 0.33062 | 0.33062 | 0.99068 | -0.17795 | 0.99501 | -0.094777 | 22.7072
10 | 0.037698 | 0.0094622 | -0.03766 | -0.0094385 | 3.7733e-05 | 2.3752e-05 | 0.056845 | 0.056845 | 0.056845 | 0.98689 | -0.25146 | 0.98581 | -0.27247 | 15.6169
11 | 0.024211 | 0.0060872 | -0.024194 | -0.006077 | 1.6599e-05 | 1.0199e-05 | 0.036511 | 0.036511 | 0.036511 | 0.98689 | -0.25146 | 0.98615 | -0.26582 | 10.0306
12 | -0.22959 | -0.058196 | 0.22968 | 0.058253 | 9.0241e-05 | 5.7331e-05 | 0.34358 | 0.34358 | 0.34358 | 0.99501 | -0.094777 | 0.99543 | -0.086602 | 23.5977
13 | 0.008671 | 0.0021737 | -0.008668 | -0.0021724 | 3.0701e-06 | 1.3327e-06 | 0.012968 | 0.012968 | 0.012968 | 0.99501 | -0.094777 | 0.99462 | -0.10221 | 3.5626
14 | 0.019273 | 0.0048438 | -0.019253 | -0.0048318 | 1.9971e-05 | 1.1979e-05 | 0.029086 | 0.029086 | 0.029086 | 0.98615 | -0.26582 | 0.98503 | -0.28755 | 7.9908
15 | 0.004921 | 0.0012332 | -0.0049206 | -0.0012332 | 4.4931e-07 | 1.0339e-08 | 0.0074254 | 0.0074255 | 0.0074255 | 0.98615 | -0.26582 | 0.98605 | -0.26774 | 2.04
16 | 0.019253 | 0.0048318 | -0.019241 | -0.0048247 | 1.1756e-05 | 7.0526e-06 | 0.029086 | 0.029087 | 0.029087 | 0.98503 | -0.28755 | 0.98437 | -0.30036 | 7.9908
17 | -0.24125 | -0.061137 | 0.24134 | 0.061197 | 9.3932e-05 | 5.9716e-05 | 0.36087 | 0.36087 | 0.36087 | 0.99543 | -0.086602 | 0.99586 | -0.078501 | 24.7847
18 | 0.011565 | 0.0028844 | -0.011559 | -0.0028814 | 5.808e-06 | 3.0434e-06 | 0.017283 | 0.017283 | 0.017283 | 0.99543 | -0.086602 | 0.99489 | -0.097187 | 4.7481
19 | -0.0024475 | -0.00061336 | 0.0024479 | 0.00061268 | 3.7561e-07 | -6.8109e-07 | 0.0037087 | 0.0037084 | 0.0037087 | 0.98199 | -0.345 | 0.98215 | -0.34178 | 1.0189
20 | 0.0024475 | 0.00061336 | -0.0024475 | -0.0006134 | 2.0519e-08 | -3.7194e-08 | 0.0037087 | 0.0037088 | 0.0037088 | 0.98199 | -0.345 | 0.98198 | -0.34518 | 1.0189
21 | 0.074274 | 0.018765 | -0.074069 | -0.018634 | 0.00020472 | 0.00013047 | 0.11258 | 0.11258 | 0.11258 | 0.98215 | -0.34178 | 0.9792 | -0.39945 | 30.9295
22 | -0.076722 | -0.019378 | 0.076777 | 0.019412 | 5.5369e-05 | 3.4883e-05 | 0.11629 | 0.11629 | 0.11629 | 0.98215 | -0.34178 | 0.98293 | -0.32673 | 15.9741
23 | 0.27768 | 0.070543 | -0.27652 | -0.069804 | 0.0011609 | 0.00073935 | 0.41847 | 0.41847 | 0.41847 | 0.98819 | -0.22493 | 0.98368 | -0.31217 | 28.741
24 | -0.27768 | -0.070543 | 0.27856 | 0.071103 | 0.00087919 | 0.00055993 | 0.41847 | 0.41847 | 0.41847 | 0.98819 | -0.22493 | 0.9916 | -0.15938 | 28.7409
25 | 0.17781 | 0.044869 | -0.17761 | -0.044746 | 0.0001952 | 0.00012347 | 0.26908 | 0.26908 | 0.26908 | 0.98368 | -0.31217 | 0.9825 | -0.33512 | 18.4807
26 | 0.098711 | 0.024935 | -0.098642 | -0.024892 | 6.8838e-05 | 4.2387e-05 | 0.14939 | 0.14939 | 0.14939 | 0.98368 | -0.31217 | 0.98293 | -0.32673 | 10.2604
27 | -0.27856 | -0.071103 | 0.27904 | 0.071412 | 0.00048567 | 0.0003093 | 0.41847 | 0.41847 | 0.41847 | 0.9916 | -0.15938 | 0.99349 | -0.12337 | 28.7409
28 | 0.040455 | 0.010171 | -0.040371 | -0.010118 | 8.4721e-05 | 5.3472e-05 | 0.061489 | 0.061489 | 0.061489 | 0.9792 | -0.39945 | 0.97696 | -0.4434 | 16.8926
29 | 0.033614 | 0.0084631 | -0.033567 | -0.0084333 | 4.7404e-05 | 2.9731e-05 | 0.051095 | 0.051095 | 0.051095 | 0.9792 | -0.39945 | 0.97769 | -0.429 | 14.037
30 | 0.0050724 | 0.0012558 | -0.0050519 | -0.001255 | 2.0496e-05 | 8.3728e-07 | 0.0075823 | 0.0075866 | 0.0075866 | 0.99475 | -0.099957 | 0.99036 | -0.18562 | 2.0842
31 | -0.0050724 | -0.0012558 | 0.0050731 | 0.0012559 | 6.6312e-07 | 2.5042e-08 | 0.0075823 | 0.0075822 | 0.0075823 | 0.99475 | -0.099957 | 0.99489 | -0.097187 | 2.0831
32 | 0.0045105 | 0.0011199 | -0.00451 | -0.00112 | 5.5852e-07 | -6.0209e-08 | 0.0067734 | 0.0067735 | 0.0067735 | 0.99036 | -0.18562 | 0.99022 | -0.18824 | 1.8609
33 | 0.00054142 | 0.00013506 | -0.00054141 | -0.00013569 | 1.2317e-08 | -6.3094e-07 | 0.00081327 | 0.00081349 | 0.00081349 | 0.99036 | -0.18562 | 0.99033 | -0.1861 | 0.22349
34 | 0.0035215 | 0.00087226 | -0.0035214 | -0.00087233 | 1.262e-07 | -7.4033e-08 | 0.0052882 | 0.0052882 | 0.0052882 | 0.99022 | -0.18824 | 0.99019 | -0.189 | 1.4528
35 | 0.076783 | 0.019355 | -0.076599 | -0.01924 | 0.00018348 | 0.00011562 | 0.1166 | 0.1166 | 0.1166 | 0.98019 | -0.38023 | 0.97763 | -0.43029 | 16.017
36 | -0.076783 | -0.019355 | 0.076828 | 0.019382 | 4.515e-05 | 2.7109e-05 | 0.1166 | 0.1166 | 0.1166 | 0.98019 | -0.38023 | 0.98082 | -0.36794 | 8.0085
37 | 0.021161 | 0.0053093 | -0.021145 | -0.0052994 | 1.6279e-05 | 9.8942e-06 | 0.032211 | 0.032211 | 0.032211 | 0.97763 | -0.43029 | 0.97681 | -0.44644 | 8.8491
38 | 0.055438 | 0.01393 | -0.055345 | -0.013871 | 9.3088e-05 | 5.914e-05 | 0.084393 | 0.084394 | 0.084394 | 0.97763 | -0.43029 | 0.97584 | -0.46553 | 23.1851
39 | -0.12492 | -0.031434 | 0.12493 | 0.03144 | 8.7178e-06 | 5.4487e-06 | 0.18956 | 0.18956 | 0.18956 | 0.98082 | -0.36794 | 0.98089 | -0.36648 | 13.0192
40 | 0.17761 | 0.044746 | -0.17735 | -0.044579 | 0.00026385 | 0.0001669 | 0.26908 | 0.26908 | 0.26908 | 0.9825 | -0.33512 | 0.9809 | -0.36623 | 18.4807
41 | 0.026185 | 0.0065835 | -0.026134 | -0.0065518 | 5.1095e-05 | 3.1628e-05 | 0.039861 | 0.039861 | 0.039861 | 0.97769 | -0.429 | 0.97561 | -0.46994 | 10.9508
42 | 0.0073814 | 0.0018499 | -0.0073803 | -0.0018494 | 1.1277e-06 | 4.2299e-07 | 0.011234 | 0.011234 | 0.011234 | 0.97769 | -0.429 | 0.97753 | -0.4322 | 3.0864
43 | 0.026134 | 0.0065518 | -0.026129 | -0.0065484 | 5.5181e-06 | 3.416e-06 | 0.039861 | 0.039861 | 0.039861 | 0.97561 | -0.46994 | 0.97538 | -0.47437 | 10.9508
44 | 0.003665 | 0.0009183 | -0.0036647 | -0.00091845 | 3.5858e-07 | -1.556e-07 | 0.0055789 | 0.005579 | 0.005579 | 0.97753 | -0.4322 | 0.97742 | -0.43426 | 1.5327
45 | 0.16963 | 0.042646 | -0.16963 | -0.042644 | 2.0542e-06 | 1.298e-06 | 0.25738 | 0.25738 | 0.25738 | 0.9809 | -0.36623 | 0.98089 | -0.36648 | 17.6771
46 | 0.015615 | 0.003916 | -0.015611 | -0.0039136 | 4.2703e-06 | 2.4733e-06 | 0.023606 | 0.023606 | 0.023606 | 0.98437 | -0.30036 | 0.98408 | -0.3061 | 6.4851
47 | 0.01199 | 0.0030054 | -0.011989 | -0.0030047 | 1.2688e-06 | 6.856e-07 | 0.018284 | 0.018284 | 0.018284 | 0.97584 | -0.46553 | 0.97572 | -0.46775 | 5.023
48 | 0.015611 | 0.0039136 | -0.015611 | -0.0039133 | 4.3778e-07 | 2.5356e-07 | 0.023606 | 0.023606 | 0.023606 | 0.98408 | -0.3061 | 0.98405 | -0.30669 | 6.4851
49 | 0.015611 | 0.0039133 | -0.015608 | -0.0039118 | 2.702e-06 | 1.565e-06 | 0.023606 | 0.023606 | 0.023606 | 0.98405 | -0.30669 | 0.98386 | -0.31032 | 6.4852
50 | -0.52235 | -0.13334 | 0.52298 | 0.13374 | 0.00063749 | 0.00040742 | 0.78136 | 0.78136 | 0.78136 | 0.99586 | -0.078501 | 0.99718 | -0.053278 | 53.6645
51 | 0.28101 | 0.07214 | -0.28039 | -0.071751 | 0.00061051 | 0.00038881 | 0.42049 | 0.42049 | 0.42049 | 0.99586 | -0.078501 | 0.99349 | -0.12337 | 28.8799
52 | 0.52434 | 0.13461 | -0.52298 | -0.13374 | 0.0013521 | 0.00086412 | 0.78135 | 0.78136 | 0.78136 | 1 | 0 | 0.99718 | -0.053278 | 53.6645

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60472 | 0.15434

## res_load
| p_mw | q_mvar
0 | 0.00063268 | 0.00015857
1 | 0.00013554 | 3.397e-05
2 | 0.00034138 | 8.5557e-05
3 | 0.00062029 | 0.00015546
4 | 0.0003864 | 9.6841e-05
5 | 0.084043 | 0.021063
6 | 0.07336 | 0.018386
7 | 0.0049206 | 0.0012332
8 | 0.03766 | 0.0094385
9 | 0.008668 | 0.0021724
10 | 0.0024475 | 0.0006134
11 | 0.021865 | 0.0054799
12 | 0.006486 | 0.0016255
13 | 0.00098846 | 0.00024773
14 | 0.00054141 | 0.00013569
15 | 0.048089 | 0.012052
16 | 0.0037153 | 0.00093114
17 | 0.026129 | 0.0065484
18 | 0.0077132 | 0.0019331
19 | 0.040371 | 0.010118
20 | 0.0036257 | 0.00090869
21 | 0.021145 | 0.0052994
22 | 0.043355 | 0.010866
23 | 0.0013522 | 0.0003389
24 | 0.078735 | 0.019733
25 | 0.001403 | 0.00035164
26 | 0.015608 | 0.0039118
27 | 0.044706 | 0.011204
28 | 0.0036647 | 0.00091845
29 | 0.011989 | 0.0030047

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1