## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_193-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_193-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_193-2_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_193-2_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_193-2_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_193-2_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_193-2_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_193-2_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_193-2_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_193-2_0_5_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_193-2_0_5_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_193-2_0_5_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_193-2_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_193-2_0_5_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_193-2_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_193-2_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_193-2_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_193-2_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_193-2_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_193-2_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_193-2_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_193-2_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_193-2_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_193-2_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_193-2_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_193-2_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_193-2_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_193-2_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_193-2_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_193-2_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_193-2_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_193-2_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_193-2_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_193-2_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_193-2_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_193-2_0_5_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_193-2_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_193-2_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_193-2_0_5_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_193-2_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_193-2_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_193-2_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_193-2_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_193-2_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_193-2_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_193-2_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_193-2_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_193-2_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_193-2_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_193-2_0_5_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_193-2_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_193-2_0_5_node_53 | 0.4 | n |  | TRUE
52 | bus_MV_365_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_193-2_0_5_load_0 | 0 | 0.027646 | 0.0069288 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_193-2_0_5_load_1 | 1 | 0.033338 | 0.0083553 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_193-2_0_5_load_4 | 4 | 0.02715 | 0.0068045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_193-2_0_5_load_5 | 5 | 0.024237 | 0.0060744 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_193-2_0_5_load_6 | 6 | 0.014999 | 0.0037591 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_193-2_0_5_load_7 | 7 | 0.0015671 | 0.00039276 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_193-2_0_5_load_22 | 9 | 0.03398 | 0.0085163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_193-2_0_5_load_54 | 10 | 0.00081317 | 0.0002038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_193-2_0_5_load_56 | 11 | 0.00026251 | 6.5792e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_193-2_0_5_load_45 | 13 | 0.00073902 | 0.00018522 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_193-2_0_5_load_9 | 14 | 0.033584 | 0.008417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_193-2_0_5_load_10 | 15 | 0.011196 | 0.0028059 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_193-2_0_5_load_20 | 20 | 0.016448 | 0.0041223 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_193-2_0_5_load_55 | 22 | 0.015321 | 0.0038398 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_193-2_0_5_load_25 | 23 | 0.0077744 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_193-2_0_5_load_24 | 24 | 0.0083422 | 0.0020907 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_193-2_0_5_load_57 | 26 | 0.0018308 | 0.00045884 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_193-2_0_5_load_14 | 28 | 0.020105 | 0.0050387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_193-2_0_5_load_15 | 29 | 0.0033467 | 0.00083875 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_193-2_0_5_load_23 | 31 | 0.0082955 | 0.0020791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_193-2_0_5_load_27 | 33 | 0.0029772 | 0.00074615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_193-2_0_5_load_34 | 35 | 0.0013955 | 0.00034974 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_193-2_0_5_load_35 | 37 | 0.010194 | 0.0025548 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_193-2_0_5_load_49 | 38 | 0.0031288 | 0.00078415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_193-2_0_5_load_32 | 39 | 0.019098 | 0.0047863 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_193-2_0_5_load_31 | 41 | 0.0094351 | 0.0023647 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_193-2_0_5_load_33 | 42 | 0.040602 | 0.010176 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_193-2_0_5_load_36 | 43 | 0.0018716 | 0.00046908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_193-2_0_5_load_37 | 44 | 0.0024163 | 0.00060558 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_193-2_0_5_load_38 | 45 | 0.0012156 | 0.00030466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_193-2_0_5_load_39 | 46 | 0.0013968 | 0.00035007 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_193-2_0_5_load_40 | 47 | 0.00071064 | 0.0001781 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_193-2_0_5_load_46 | 48 | 0.041323 | 0.010356 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_193-2_0_5_load_51 | 49 | 0.0026848 | 0.00067288 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_193-2_0_5_load_53 | 51 | 0.0036451 | 0.00091354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_193-2_0_5_line_0 |  | 0 | 1 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_193-2_0_5_line_1 |  | 0 | 2 | 0.041471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_193-2_0_5_line_2 |  | 1 | 3 | 0.052694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_193-2_0_5_line_3 |  | 2 | 4 | 0.027868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_193-2_0_5_line_4 |  | 2 | 5 | 0.073558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_193-2_0_5_line_5 |  | 2 | 6 | 0.061466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_193-2_0_5_line_6 |  | 3 | 7 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_193-2_0_5_line_7 |  | 3 | 8 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_193-2_0_5_line_8 |  | 4 | 9 | 0.043579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_193-2_0_5_line_9 |  | 7 | 10 | 0.046938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_193-2_0_5_line_10 |  | 8 | 11 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_193-2_0_5_line_11 |  | 9 | 12 | 0.033812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_193-2_0_5_line_12 |  | 11 | 13 | 0.0018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_193-2_0_5_line_13 |  | 12 | 31 | 0.041096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_193-2_0_5_line_14 |  | 13 | 47 | 0.0038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_193-2_0_5_line_15 |  | 14 | 15 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_193-2_0_5_line_16 |  | 14 | 16 | 0.090285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_193-2_0_5_line_17 |  | 15 | 17 | 0.029506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_193-2_0_5_line_18 |  | 16 | 18 | 0.17566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_193-2_0_5_line_19 |  | 17 | 19 | 0.045959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_193-2_0_5_line_20 |  | 17 | 20 | 0.033867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_193-2_0_5_line_21 |  | 18 | 21 | 0.031435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_193-2_0_5_line_22 |  | 18 | 22 | 0.10055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_193-2_0_5_line_23 |  | 19 | 23 | 0.036233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_193-2_0_5_line_24 |  | 19 | 24 | 0.0066044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_193-2_0_5_line_25 |  | 20 | 25 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_193-2_0_5_line_26 |  | 21 | 26 | 0.0076757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_193-2_0_5_line_27 |  | 21 | 27 | 0.087043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_193-2_0_5_line_28 |  | 23 | 32 | 0.026446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_193-2_0_5_line_29 |  | 24 | 30 | 0.028903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_193-2_0_5_line_30 |  | 25 | 29 | 0.034544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_193-2_0_5_line_31 |  | 27 | 48 | 0.15557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_193-2_0_5_line_32 |  | 28 | 29 | 0.0080308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_193-2_0_5_line_33 |  | 30 | 31 | 0.05285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_193-2_0_5_line_34 |  | 32 | 33 | 0.047344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_193-2_0_5_line_35 |  | 32 | 34 | 0.090465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_193-2_0_5_line_36 |  | 33 | 35 | 0.00027924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_193-2_0_5_line_37 |  | 34 | 36 | 0.039855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_193-2_0_5_line_38 |  | 34 | 37 | 0.041323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_193-2_0_5_line_39 |  | 35 | 39 | 0.038601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_193-2_0_5_line_40 |  | 36 | 38 | 0.056269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_193-2_0_5_line_41 |  | 38 | 40 | 0.053007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_193-2_0_5_line_42 |  | 39 | 41 | 0.002995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_193-2_0_5_line_43 |  | 40 | 49 | 0.065375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_193-2_0_5_line_44 |  | 41 | 42 | 0.024953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_193-2_0_5_line_45 |  | 43 | 44 | 0.0244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_193-2_0_5_line_46 |  | 43 | 45 | 0.00017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_193-2_0_5_line_47 |  | 44 | 46 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_193-2_0_5_line_48 |  | 45 | 47 | 0.0069866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_193-2_0_5_line_49 |  | 49 | 50 | 0.005651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_193-2_0_5_line_50 |  | 50 | 51 | 0.015395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_193-2_0_5_trafo_19 | 0.63 MVA 20/0.4 kV | 52 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2691033.2522 | 1248243.3204 | 2691014.3819 | 1248262.0355
1 | 2691062.6975 | 1248214.1172 | 2691033.2522 | 1248243.3204
2 | 2690979.7703 | 1248301.4437 | 2690989.3435 | 1248286.9352 | 2691002.1835 | 1248274.1336 | 2691014.3819 | 1248262.0355
3 | 2691062.6975 | 1248214.1172 | 2691042.8362 | 1248194.5689
4 | 2691062.6975 | 1248214.1172 | 2691092.8782 | 1248245.6046 | 2691096.9402 | 1248249.6257 | 2691114.7451 | 1248233.1962
5 | 2691107.2555 | 1248171.6473 | 2691062.6975 | 1248214.1172
6 | 2690979.7703 | 1248301.4437 | 2690981.8311 | 1248313.1425
7 | 2690979.7703 | 1248301.4437 | 2690977.8622 | 1248303.7273 | 2690972.9071 | 1248309.6558 | 2690970.2218 | 1248312.8726
8 | 2691042.8362 | 1248194.5689 | 2691017.9956 | 1248170.1198 | 2691011.5134 | 1248164.2794
9 | 2690981.8311 | 1248313.1425 | 2690983.0424 | 1248320.0191 | 2690985.6119 | 1248331.2337 | 2690986.8228 | 1248335.9892 | 2690988.5617 | 1248341.2866 | 2690993.1601 | 1248349.2298 | 2690996.3541 | 1248357.4188
10 | 2690970.2218 | 1248312.8726 | 2690968.5426 | 1248318.451 | 2690968.0262 | 1248322.5684 | 2690968.7836 | 1248327.3503 | 2690970.9873 | 1248334.381
11 | 2690986.3933 | 1248141.6465 | 2691011.5134 | 1248164.2794
12 | 2690971.5477 | 1248336.1687 | 2690970.9873 | 1248334.381
13 | 2690986.3933 | 1248141.6465 | 2690957.462 | 1248112.4601
14 | 2690972.6974 | 1248339.8368 | 2690971.5477 | 1248336.1687
15 | 2690900.7533 | 1247988.5338 | 2690892.0528 | 1247976.4525
16 | 2690834.9137 | 1247907.4247 | 2690855.7974 | 1247924.7355 | 2690892.0528 | 1247976.4525
17 | 2690917.9966 | 1248012.4774 | 2690900.7533 | 1247988.5338
18 | 2690834.9137 | 1247907.4247 | 2690827.9668 | 1247924.042 | 2690811.8634 | 1247969.8633 | 2690807.0292 | 1247993.0402 | 2690805.299 | 1248006.3793 | 2690803.7007 | 1248012.1036 | 2690797.9451 | 1248027.883 | 2690795.4826 | 1248037.7527 | 2690794.562 | 1248046.0783 | 2690794.4632 | 1248052.5261 | 2690794.5746 | 1248057.576 | 2690795.2492 | 1248061.367 | 2690793.3001 | 1248061.882 | 2690784.9605 | 1248063.9225 | 2690782.8877 | 1248064.6247 | 2690780.7007 | 1248065.881
19 | 2690917.9966 | 1248012.4774 | 2690945.1543 | 1248049.6109
20 | 2690917.9966 | 1248012.4774 | 2690890.3583 | 1248032.0504
21 | 2690762.1928 | 1248040.434 | 2690780.7007 | 1248065.881
22 | 2690780.7007 | 1248065.881 | 2690787.8623 | 1248076.6432 | 2690794.8462 | 1248084.2115 | 2690801.0411 | 1248089.5437 | 2690810.2192 | 1248096.3672 | 2690825.1331 | 1248106.4365 | 2690832.282 | 1248111.6166 | 2690842.5649 | 1248120.2696 | 2690855.5125 | 1248131.9768
23 | 2690945.1543 | 1248049.6109 | 2690971.0337 | 1248024.2517
24 | 2690945.1543 | 1248049.6109 | 2690940.5231 | 1248054.3195
25 | 2690866.9113 | 1248048.6551 | 2690890.3583 | 1248032.0504
26 | 2690762.1928 | 1248040.434 | 2690758.1426 | 1248033.9138
27 | 2690762.1928 | 1248040.434 | 2690717.8314 | 1248068.6876 | 2690689.0172 | 1248087.8836
28 | 2690989.9229 | 1248005.7423 | 2690971.0337 | 1248024.2517
29 | 2690920.256 | 1248074.926 | 2690940.5231 | 1248054.3195
30 | 2690866.9113 | 1248048.6551 | 2690856.5497 | 1248033.7962 | 2690843.0545 | 1248043.1657
31 | 2690689.0172 | 1248087.8836 | 2690700.1173 | 1248117.6759 | 2690742.6599 | 1248233.9172
32 | 2690843.0545 | 1248043.1657 | 2690836.4577 | 1248047.7456
33 | 2690920.256 | 1248074.926 | 2690957.462 | 1248112.4601
34 | 2690989.9229 | 1248005.7423 | 2691022.5328 | 1248040.0646
35 | 2690989.9229 | 1248005.7423 | 2691033.737 | 1247965.5399 | 2691052.4842 | 1247957.1769 | 2691057.0718 | 1247960.928 | 2691061.4889 | 1247962.0077
36 | 2691022.7251 | 1248040.2671 | 2691022.5328 | 1248040.0646
37 | 2691050.6707 | 1247931.6631 | 2691055.9554 | 1247940.184 | 2691053.2242 | 1247942.4438 | 2691050.7948 | 1247946.6875 | 2691050.47 | 1247952.587 | 2691052.4842 | 1247957.1769 | 2691057.0718 | 1247960.928 | 2691061.4889 | 1247962.0077
38 | 2691061.4889 | 1247962.0077 | 2691061.4001 | 1247966.3096 | 2691065.634 | 1247972.9241 | 2691081.3827 | 1247997.4735
39 | 2691049.313 | 1248068.2511 | 2691022.7251 | 1248040.2671
40 | 2691050.6707 | 1247931.6631 | 2691041.0455 | 1247915.1028 | 2691019.8133 | 1247884.6616
41 | 2690988.962 | 1247841.5588 | 2691012.6659 | 1247874.4141 | 2691019.8133 | 1247884.6616
42 | 2691051.3759 | 1248070.4223 | 2691049.313 | 1248068.2511
43 | 2690988.962 | 1247841.5588 | 2690943.1119 | 1247888.1603
44 | 2691068.5631 | 1248088.5122 | 2691051.3759 | 1248070.4223
45 | 2690974.8402 | 1248346.6731 | 2690977.294 | 1248354.5015 | 2690982.5823 | 1248369.8098
46 | 2690974.8402 | 1248346.6731 | 2690974.7871 | 1248346.5036
47 | 2690986.8819 | 1248382.2558 | 2690982.5823 | 1248369.8098
48 | 2690974.7871 | 1248346.5036 | 2690972.6974 | 1248339.8368
49 | 2690939.1486 | 1247892.1886 | 2690943.1119 | 1247888.1603
50 | 2690939.1486 | 1247892.1886 | 2690928.3905 | 1247903.2006

## bus_geodata
| x | y | coords
0 | 2691033.2522 | 1248243.3204
1 | 2691014.3819 | 1248262.0355
2 | 2691062.6975 | 1248214.1172
3 | 2690979.7703 | 1248301.4437
4 | 2691042.8362 | 1248194.5689
5 | 2691114.7451 | 1248233.1962
6 | 2691107.2555 | 1248171.6473
7 | 2690981.8311 | 1248313.1425
8 | 2690970.2218 | 1248312.8726
9 | 2691011.5134 | 1248164.2794
10 | 2690996.3541 | 1248357.4188
11 | 2690970.9873 | 1248334.381
12 | 2690986.3933 | 1248141.6465
13 | 2690971.5477 | 1248336.1687
14 | 2690892.0528 | 1247976.4525
15 | 2690900.7533 | 1247988.5338
16 | 2690834.9137 | 1247907.4247
17 | 2690917.9966 | 1248012.4774
18 | 2690780.7007 | 1248065.881
19 | 2690945.1543 | 1248049.6109
20 | 2690890.3583 | 1248032.0504
21 | 2690762.1928 | 1248040.434
22 | 2690855.5125 | 1248131.9768
23 | 2690971.0337 | 1248024.2517
24 | 2690940.5231 | 1248054.3195
25 | 2690866.9113 | 1248048.6551
26 | 2690758.1426 | 1248033.9138
27 | 2690689.0172 | 1248087.8836
28 | 2690836.4577 | 1248047.7456
29 | 2690843.0545 | 1248043.1657
30 | 2690920.256 | 1248074.926
31 | 2690957.462 | 1248112.4601
32 | 2690989.9229 | 1248005.7423
33 | 2691022.5328 | 1248040.0646
34 | 2691061.4889 | 1247962.0077
35 | 2691022.7251 | 1248040.2671
36 | 2691050.6707 | 1247931.6631
37 | 2691081.3827 | 1247997.4735
38 | 2691019.8133 | 1247884.6616
39 | 2691049.313 | 1248068.2511
40 | 2690988.962 | 1247841.5588
41 | 2691051.3759 | 1248070.4223
42 | 2691068.5631 | 1248088.5122
43 | 2690974.8402 | 1248346.6731
44 | 2690982.5823 | 1248369.8098
45 | 2690974.7871 | 1248346.5036
46 | 2690986.8819 | 1248382.2558
47 | 2690972.6974 | 1248339.8368
48 | 2690742.6599 | 1248233.9172
49 | 2690943.1119 | 1247888.1603
50 | 2690939.1486 | 1247892.1886
51 | 2690928.3905 | 1247903.2006
52 | 2690927.1303 | 1248199.3812

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98619 | -0.26562 | 0.027646 | 0.0069288
1 | 0.9851 | -0.28676 | 0.033338 | 0.0083553
2 | 0.98894 | -0.21227 | 0 | 0
3 | 0.98457 | -0.29717 | 0 | 0
4 | 0.99179 | -0.15719 | 0.02715 | 0.0068045
5 | 0.9873 | -0.24409 | 0.024237 | 0.0060744
6 | 0.98809 | -0.22871 | 0.014999 | 0.0037591
7 | 0.98454 | -0.29768 | 0.0015671 | 0.00039276
8 | 0.98445 | -0.29948 | 0 | 0
9 | 0.99733 | -0.050924 | 0.03398 | 0.0085163
10 | 0.98451 | -0.29837 | 0.00081317 | 0.0002038
11 | 0.98428 | -0.30292 | 0.00026251 | 6.5792e-05
12 | 1 | 0 | -0.44102 | -0.11253
13 | 0.98426 | -0.3032 | 0.00073902 | 0.00018522
14 | 0.98644 | -0.25899 | 0.033584 | 0.008417
15 | 0.98686 | -0.25081 | 0.011196 | 0.0028059
16 | 0.98479 | -0.29058 | 0 | 0
17 | 0.9878 | -0.23264 | 0 | 0
18 | 0.9816 | -0.35234 | 0 | 0
19 | 0.98983 | -0.19354 | 0 | 0
20 | 0.98656 | -0.25681 | 0.016448 | 0.0041223
21 | 0.98034 | -0.37691 | 0 | 0
22 | 0.98018 | -0.38025 | 0.015321 | 0.0038398
23 | 0.98644 | -0.25883 | 0.0077744 | 0.0019484
24 | 0.99033 | -0.18398 | 0.0083422 | 0.0020907
25 | 0.98594 | -0.26889 | 0 | 0
26 | 0.98032 | -0.37717 | 0.0018308 | 0.00045884
27 | 0.97698 | -0.44238 | 0 | 0
28 | 0.98504 | -0.28633 | 0.020105 | 0.0050387
29 | 0.98519 | -0.28343 | 0.0033467 | 0.00083875
30 | 0.99258 | -0.14085 | 0 | 0
31 | 0.99669 | -0.062476 | 0.0082955 | 0.0020791
32 | 0.98416 | -0.30307 | 0 | 0
33 | 0.98093 | -0.3659 | 0.0029772 | 0.00074615
34 | 0.98251 | -0.33513 | 0 | 0
35 | 0.98091 | -0.36626 | 0.0013955 | 0.00034974
36 | 0.98217 | -0.34195 | 0 | 0
37 | 0.98213 | -0.34274 | 0.010194 | 0.0025548
38 | 0.98167 | -0.35158 | 0.0031288 | 0.00078415
39 | 0.97844 | -0.41473 | 0.019098 | 0.0047863
40 | 0.98136 | -0.35765 | 0 | 0
41 | 0.9783 | -0.41745 | 0.0094351 | 0.0023647
42 | 0.97736 | -0.43592 | 0.040602 | 0.010176
43 | 0.98419 | -0.30461 | 0.0018716 | 0.00046908
44 | 0.9841 | -0.30628 | 0.0024163 | 0.00060558
45 | 0.98419 | -0.30459 | 0.0012156 | 0.00030466
46 | 0.98409 | -0.30662 | 0.0013968 | 0.00035007
47 | 0.98424 | -0.30372 | 0.00071064 | 0.0001781
48 | 0.97097 | -0.56051 | 0.041323 | 0.010356
49 | 0.98098 | -0.36514 | 0.0026848 | 0.00067288
50 | 0.98096 | -0.36552 | 0 | 0
51 | 0.98091 | -0.36653 | 0.0036451 | 0.00091354
52 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.044384 | 0.011142 | -0.04434 | -0.011113 | 4.4707e-05 | 2.8274e-05 | 0.066976 | 0.066976 | 0.066976 | 0.98619 | -0.26562 | 0.9851 | -0.28676 | 18.4
1 | -0.072031 | -0.018071 | 0.072214 | 0.018188 | 0.00018372 | 0.00011705 | 0.10869 | 0.10869 | 0.10869 | 0.98619 | -0.26562 | 0.98894 | -0.21227 | 29.86
2 | 0.011002 | 0.0027582 | -0.010996 | -0.0027554 | 5.4574e-06 | 2.8222e-06 | 0.016619 | 0.016619 | 0.016619 | 0.9851 | -0.28676 | 0.98457 | -0.29717 | 4.5656
3 | -0.1115 | -0.02805 | 0.11179 | 0.028238 | 0.00029427 | 0.00018798 | 0.16781 | 0.16781 | 0.16781 | 0.98894 | -0.21227 | 0.99179 | -0.15719 | 46.1006
4 | 0.024274 | 0.006097 | -0.024237 | -0.0060744 | 3.6807e-05 | 2.2614e-05 | 0.036529 | 0.036529 | 0.036529 | 0.98894 | -0.21227 | 0.9873 | -0.24409 | 10.0354
5 | 0.015011 | 0.0037658 | -0.014999 | -0.0037591 | 1.176e-05 | 6.7383e-06 | 0.022587 | 0.022588 | 0.022588 | 0.98894 | -0.21227 | 0.98809 | -0.22871 | 6.2054
6 | 0.0023804 | 0.00059587 | -0.0023803 | -0.00059599 | 5.7647e-08 | -1.1417e-07 | 0.0035973 | 0.0035974 | 0.0035974 | 0.98457 | -0.29717 | 0.98454 | -0.29768 | 0.98829
7 | 0.0086158 | 0.0021595 | -0.0086149 | -0.0021591 | 9.4594e-07 | 4.1623e-07 | 0.013021 | 0.013021 | 0.013021 | 0.98457 | -0.29717 | 0.98445 | -0.29948 | 3.5773
8 | -0.13894 | -0.035043 | 0.13965 | 0.035497 | 0.00071071 | 0.00045429 | 0.20854 | 0.20854 | 0.20854 | 0.99179 | -0.15719 | 0.99733 | -0.050924 | 57.2913
9 | 0.0008132 | 0.00020322 | -0.00081317 | -0.0002038 | 2.6584e-08 | -5.7988e-07 | 0.0012288 | 0.0012291 | 0.0012291 | 0.98454 | -0.29768 | 0.98451 | -0.29837 | 0.33765
10 | 0.0086149 | 0.0021591 | -0.0086134 | -0.0021584 | 1.4106e-06 | 6.2078e-07 | 0.013021 | 0.013022 | 0.013022 | 0.98445 | -0.29948 | 0.98428 | -0.30292 | 3.5774
11 | -0.17363 | -0.044013 | 0.17406 | 0.044285 | 0.00042606 | 0.0002718 | 0.25924 | 0.25924 | 0.25924 | 0.99733 | -0.050924 | 1 | 0 | 35.6097
12 | 0.0083509 | 0.0020927 | -0.0083508 | -0.0020926 | 1.1198e-07 | 4.7854e-08 | 0.012625 | 0.012625 | 0.012625 | 0.98428 | -0.30292 | 0.98426 | -0.3032 | 3.4683
13 | 0.26531 | 0.068247 | -0.26451 | -0.067734 | 0.00080316 | 0.00051241 | 0.39541 | 0.39541 | 0.39541 | 1 | 0 | 0.99669 | -0.062476 | 36.2097
14 | 0.0076118 | 0.0019074 | -0.0076116 | -0.0019073 | 1.9089e-07 | 7.3314e-08 | 0.011507 | 0.011507 | 0.011507 | 0.98426 | -0.3032 | 0.98424 | -0.30372 | 3.1614
15 | -0.092761 | -0.023507 | 0.092797 | 0.023529 | 3.6486e-05 | 2.2781e-05 | 0.14002 | 0.14002 | 0.14002 | 0.98644 | -0.25899 | 0.98686 | -0.25081 | 12.8224
16 | 0.059177 | 0.01509 | -0.059087 | -0.015035 | 9.0118e-05 | 5.4224e-05 | 0.089359 | 0.089361 | 0.089361 | 0.98644 | -0.25899 | 0.98479 | -0.29058 | 8.1832
17 | -0.10399 | -0.026335 | 0.10408 | 0.026392 | 9.0799e-05 | 5.6979e-05 | 0.1569 | 0.1569 | 0.1569 | 0.98686 | -0.25081 | 0.9878 | -0.23264 | 14.3683
18 | 0.059087 | 0.015035 | -0.058911 | -0.01493 | 0.00017534 | 0.00010553 | 0.089361 | 0.089363 | 0.089363 | 0.98479 | -0.29058 | 0.9816 | -0.35234 | 8.1834
19 | -0.14406 | -0.036441 | 0.14433 | 0.036613 | 0.00027085 | 0.00017158 | 0.21713 | 0.21713 | 0.21713 | 0.9878 | -0.23264 | 0.98983 | -0.19354 | 19.8841
20 | 0.039978 | 0.010049 | -0.039932 | -0.01002 | 4.6077e-05 | 2.9056e-05 | 0.060234 | 0.060234 | 0.060234 | 0.9878 | -0.23264 | 0.98656 | -0.25681 | 16.5477
21 | 0.04357 | 0.011078 | -0.043518 | -0.011046 | 5.1513e-05 | 3.2571e-05 | 0.066105 | 0.066105 | 0.066105 | 0.9816 | -0.35234 | 0.98034 | -0.37691 | 18.1608
22 | 0.015341 | 0.0038515 | -0.015321 | -0.0038398 | 2.0398e-05 | 1.1786e-05 | 0.023258 | 0.023259 | 0.023259 | 0.9816 | -0.35234 | 0.98018 | -0.38025 | 6.3897
23 | 0.10192 | 0.025923 | -0.1016 | -0.025719 | 0.00031956 | 0.00020405 | 0.15336 | 0.15336 | 0.15336 | 0.98983 | -0.19354 | 0.98644 | -0.25883 | 42.1315
24 | -0.24626 | -0.062536 | 0.24637 | 0.062608 | 0.00011332 | 7.227e-05 | 0.37049 | 0.37049 | 0.37049 | 0.98983 | -0.19354 | 0.99033 | -0.18398 | 33.9279
25 | 0.023484 | 0.0058974 | -0.02347 | -0.0058891 | 1.3521e-05 | 8.2867e-06 | 0.035425 | 0.035425 | 0.035425 | 0.98656 | -0.25681 | 0.98594 | -0.26889 | 9.7322
26 | 0.0018308 | 0.00045875 | -0.0018308 | -0.00045884 | 2.2228e-08 | -8.2552e-08 | 0.0027789 | 0.0027789 | 0.0027789 | 0.98034 | -0.37691 | 0.98032 | -0.37717 | 0.76344
27 | 0.041688 | 0.010587 | -0.041557 | -0.010504 | 0.0001309 | 8.2682e-05 | 0.063326 | 0.063327 | 0.063327 | 0.98034 | -0.37691 | 0.97698 | -0.44238 | 17.3974
28 | 0.09383 | 0.023771 | -0.093631 | -0.023644 | 0.00019894 | 0.00012698 | 0.14163 | 0.14163 | 0.14163 | 0.98644 | -0.25883 | 0.98416 | -0.30307 | 38.9098
29 | -0.25471 | -0.064699 | 0.25524 | 0.065037 | 0.00053004 | 0.00033811 | 0.38303 | 0.38303 | 0.38303 | 0.99033 | -0.18398 | 0.99258 | -0.14085 | 35.0757
30 | 0.02347 | 0.0058891 | -0.023454 | -0.0058792 | 1.6256e-05 | 9.9639e-06 | 0.035425 | 0.035425 | 0.035425 | 0.98594 | -0.26889 | 0.98519 | -0.28343 | 9.7322
31 | 0.041557 | 0.010504 | -0.041323 | -0.010356 | 0.00023396 | 0.0001478 | 0.063327 | 0.063327 | 0.063327 | 0.97698 | -0.44238 | 0.97097 | -0.56051 | 17.3976
32 | -0.020105 | -0.0050387 | 0.020108 | 0.0050404 | 2.7777e-06 | 1.6755e-06 | 0.030371 | 0.03037 | 0.030371 | 0.98504 | -0.28633 | 0.98519 | -0.28343 | 8.3435
33 | -0.25524 | -0.065037 | 0.25621 | 0.065655 | 0.00096919 | 0.00061822 | 0.38303 | 0.38303 | 0.38303 | 0.99258 | -0.14085 | 0.99669 | -0.062476 | 35.0757
34 | 0.073933 | 0.018694 | -0.073711 | -0.018552 | 0.00022208 | 0.00014153 | 0.11184 | 0.11184 | 0.11184 | 0.98416 | -0.30307 | 0.98093 | -0.3659 | 30.7264
35 | 0.019698 | 0.0049499 | -0.019668 | -0.0049318 | 3.0102e-05 | 1.8117e-05 | 0.029788 | 0.029788 | 0.029788 | 0.98416 | -0.30307 | 0.98251 | -0.33513 | 8.1836
36 | 0.070734 | 0.017806 | -0.070733 | -0.017805 | 1.2063e-06 | 7.6848e-07 | 0.10733 | 0.10733 | 0.10733 | 0.98093 | -0.3659 | 0.98091 | -0.36626 | 29.4857
37 | 0.0094705 | 0.0023751 | -0.0094674 | -0.0023737 | 3.075e-06 | 1.4634e-06 | 0.014344 | 0.014344 | 0.014344 | 0.98251 | -0.33513 | 0.98217 | -0.34195 | 3.9406
38 | 0.010198 | 0.0025567 | -0.010194 | -0.0025548 | 3.6964e-06 | 1.8426e-06 | 0.015445 | 0.015445 | 0.015445 | 0.98251 | -0.33513 | 0.98213 | -0.34274 | 4.2431
39 | 0.069337 | 0.017456 | -0.069177 | -0.017354 | 0.00016023 | 0.00010206 | 0.10521 | 0.10521 | 0.10521 | 0.98091 | -0.36626 | 0.97844 | -0.41473 | 28.9041
40 | 0.0094674 | 0.0023737 | -0.009463 | -0.0023716 | 4.3414e-06 | 2.0667e-06 | 0.014344 | 0.014344 | 0.014344 | 0.98217 | -0.34195 | 0.98167 | -0.35158 | 3.9407
41 | 0.0063342 | 0.0015874 | -0.0063324 | -0.0015869 | 1.8325e-06 | 5.0285e-07 | 0.0096014 | 0.0096016 | 0.0096016 | 0.98167 | -0.35158 | 0.98136 | -0.35765 | 2.6378
42 | 0.05008 | 0.012567 | -0.050073 | -0.012563 | 6.5157e-06 | 4.1324e-06 | 0.076167 | 0.076167 | 0.076167 | 0.97844 | -0.41473 | 0.9783 | -0.41745 | 20.9251
43 | 0.0063324 | 0.0015869 | -0.0063301 | -0.0015863 | 2.2602e-06 | 6.2085e-07 | 0.0096016 | 0.0096019 | 0.0096019 | 0.98136 | -0.35765 | 0.98098 | -0.36514 | 2.6379
44 | 0.040638 | 0.010198 | -0.040602 | -0.010176 | 3.5757e-05 | 2.2571e-05 | 0.061816 | 0.061816 | 0.061816 | 0.9783 | -0.41745 | 0.97736 | -0.43592 | 16.9825
45 | 0.0038134 | 0.00095539 | -0.0038131 | -0.0009555 | 3.0416e-07 | -1.1538e-07 | 0.0057655 | 0.0057656 | 0.0057656 | 0.98419 | -0.30461 | 0.9841 | -0.30628 | 1.584
46 | -0.0056851 | -0.0014245 | 0.0056851 | 0.0014245 | 4.9209e-09 | 8.9209e-10 | 0.0085952 | 0.0085952 | 0.0085952 | 0.98419 | -0.30461 | 0.98419 | -0.30459 | 2.3613
47 | 0.0013968 | 0.00034992 | -0.0013968 | -0.00035007 | 2.2027e-08 | -1.532e-07 | 0.002112 | 0.0021121 | 0.0021121 | 0.9841 | -0.30628 | 0.98409 | -0.30662 | 0.58024
48 | -0.0069007 | -0.0017291 | 0.006901 | 0.0017292 | 2.8518e-07 | 9.373e-08 | 0.010433 | 0.010433 | 0.010433 | 0.98419 | -0.30459 | 0.98424 | -0.30372 | 2.8662
49 | 0.0036453 | 0.00091343 | -0.0036453 | -0.00091346 | 6.4791e-08 | -2.9877e-08 | 0.0055294 | 0.0055294 | 0.0055294 | 0.98098 | -0.36514 | 0.98096 | -0.36552 | 1.5191
50 | 0.0036453 | 0.00091346 | -0.0036451 | -0.00091354 | 1.7651e-07 | -8.1376e-08 | 0.0055294 | 0.0055295 | 0.0055295 | 0.98096 | -0.36552 | 0.98091 | -0.36653 | 1.5191

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44102 | 0.11253

## res_load
| p_mw | q_mvar
0 | 0.027646 | 0.0069288
1 | 0.033338 | 0.0083553
2 | 0.02715 | 0.0068045
3 | 0.024237 | 0.0060744
4 | 0.014999 | 0.0037591
5 | 0.0015671 | 0.00039276
6 | 0.03398 | 0.0085163
7 | 0.00081317 | 0.0002038
8 | 0.00026251 | 6.5792e-05
9 | 0.00073902 | 0.00018522
10 | 0.033584 | 0.008417
11 | 0.011196 | 0.0028059
12 | 0.016448 | 0.0041223
13 | 0.015321 | 0.0038398
14 | 0.0077744 | 0.0019484
15 | 0.0083422 | 0.0020907
16 | 0.0018308 | 0.00045884
17 | 0.020105 | 0.0050387
18 | 0.0033467 | 0.00083875
19 | 0.0082955 | 0.0020791
20 | 0.0029772 | 0.00074615
21 | 0.0013955 | 0.00034974
22 | 0.010194 | 0.0025548
23 | 0.0031288 | 0.00078415
24 | 0.019098 | 0.0047863
25 | 0.0094351 | 0.0023647
26 | 0.040602 | 0.010176
27 | 0.0018716 | 0.00046908
28 | 0.0024163 | 0.00060558
29 | 0.0012156 | 0.00030466
30 | 0.0013968 | 0.00035007
31 | 0.00071064 | 0.0001781
32 | 0.041323 | 0.010356
33 | 0.0026848 | 0.00067288
34 | 0.0036451 | 0.00091354

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1