## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_193-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_193-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_193-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_193-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_193-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_193-3_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_193-3_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_193-3_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_193-3_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_193-3_0_5_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_193-3_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_193-3_0_5_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_193-3_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_193-3_0_5_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_193-3_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_193-3_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_193-3_0_5_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_193-3_0_5_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_193-3_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_193-3_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_193-3_0_5_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_193-3_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_193-3_0_5_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_193-3_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_193-3_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_193-3_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_193-3_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_193-3_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_193-3_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_193-3_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_193-3_0_5_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_193-3_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_193-3_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_193-3_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_193-3_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_193-3_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_193-3_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_193-3_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_193-3_0_5_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_193-3_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_193-3_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_193-3_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_193-3_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_193-3_0_5_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_193-3_0_5_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_193-3_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_MV_365_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_193-3_0_5_load_0 | 0 | 0.018726 | 0.0046932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_193-3_0_5_load_3 | 3 | 0.012143 | 0.0030433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_193-3_0_5_load_4 | 4 | 0.027456 | 0.0068811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_193-3_0_5_load_5 | 5 | 0.036751 | 0.0092106 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_193-3_0_5_load_6 | 6 | 0.014998 | 0.0037588 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_193-3_0_5_load_7 | 7 | 0.0022769 | 0.00057064 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_193-3_0_5_load_27 | 9 | 0.011698 | 0.0029317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_193-3_0_5_load_15 | 10 | 0.029652 | 0.0074314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_193-3_0_5_load_39 | 11 | 0.0086657 | 0.0021718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_193-3_0_5_load_26 | 14 | 0.0028447 | 0.00071295 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_193-3_0_5_load_21 | 16 | 0.0079086 | 0.0019821 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_193-3_0_5_load_25 | 17 | 0.0015686 | 0.00039312 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_193-3_0_5_load_32 | 19 | 0.00249 | 0.00062406 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_193-3_0_5_load_29 | 20 | 0.01237 | 0.0031001 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_193-3_0_5_load_51 | 22 | 0.0021978 | 0.00055081 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_193-3_0_5_load_20 | 23 | 0.0031303 | 0.00078452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_193-3_0_5_load_23 | 24 | 0.0022532 | 0.00056471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_193-3_0_5_load_30 | 25 | 0.0011255 | 0.00028208 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_193-3_0_5_load_34 | 26 | 0.001917 | 0.00048043 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_193-3_0_5_load_41 | 27 | 0.0032349 | 0.00081074 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_193-3_0_5_load_40 | 28 | 0.0030384 | 0.00076149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_193-3_0_5_load_49 | 29 | 0.028939 | 0.0072527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_193-3_0_5_load_45 | 30 | 0.025738 | 0.0064505 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_193-3_0_5_load_16 | 31 | 0.011028 | 0.0027638 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_193-3_0_5_load_17 | 32 | 0.0095495 | 0.0023933 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_193-3_0_5_load_18 | 33 | 0.0013932 | 0.00034916 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_193-3_0_5_load_19 | 34 | 0.004046 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_193-3_0_5_load_22 | 35 | 0.0019694 | 0.00049358 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_193-3_0_5_load_50 | 37 | 0.00068948 | 0.0001728 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_193-3_0_5_load_35 | 38 | 0.0026873 | 0.00067351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_193-3_0_5_load_36 | 39 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_193-3_0_5_load_48 | 41 | 0.011496 | 0.0028811 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_193-3_0_5_load_46 | 42 | 0.0094656 | 0.0023723 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_193-3_0_5_load_42 | 44 | 0.0067077 | 0.0016811 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_193-3_0_5_line_0 |  | 0 | 1 | 0.053575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_193-3_0_5_line_1 |  | 0 | 2 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_193-3_0_5_line_2 |  | 1 | 3 | 0.059742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_193-3_0_5_line_3 |  | 1 | 4 | 0.028421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_193-3_0_5_line_4 |  | 1 | 5 | 0.027126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_193-3_0_5_line_5 |  | 2 | 6 | 0.025249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_193-3_0_5_line_6 |  | 2 | 7 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_193-3_0_5_line_7 |  | 3 | 8 | 0.11887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_193-3_0_5_line_8 |  | 5 | 9 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_193-3_0_5_line_9 |  | 6 | 10 | 0.024781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_193-3_0_5_line_10 |  | 7 | 11 | 0.0097738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_193-3_0_5_line_11 |  | 8 | 12 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_193-3_0_5_line_12 |  | 11 | 13 | 0.0088288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_193-3_0_5_line_13 |  | 12 | 14 | 0.024421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_193-3_0_5_line_14 |  | 12 | 15 | 0.05041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_193-3_0_5_line_15 |  | 12 | 16 | 0.057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_193-3_0_5_line_16 |  | 12 | 17 | 0.021451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_193-3_0_5_line_17 |  | 13 | 40 | 0.054374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_193-3_0_5_line_18 |  | 13 | 38 | 0.11496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_193-3_0_5_line_19 |  | 15 | 21 | 0.016029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_193-3_0_5_line_20 |  | 15 | 22 | 0.036271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_193-3_0_5_line_21 |  | 16 | 23 | 5.4221e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_193-3_0_5_line_22 |  | 17 | 24 | 0.029415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_193-3_0_5_line_23 |  | 18 | 19 | 0.0093091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_193-3_0_5_line_24 |  | 18 | 20 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_193-3_0_5_line_25 |  | 19 | 21 | 0.0053903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_193-3_0_5_line_26 |  | 20 | 25 | 0.040094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_193-3_0_5_line_27 |  | 21 | 26 | 0.0091005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_193-3_0_5_line_28 |  | 23 | 34 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_193-3_0_5_line_29 |  | 24 | 35 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_193-3_0_5_line_30 |  | 25 | 36 | 0.045964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_193-3_0_5_line_31 |  | 26 | 37 | 0.023967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_193-3_0_5_line_32 |  | 27 | 28 | 0.041702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_193-3_0_5_line_33 |  | 28 | 36 | 0.0021661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_193-3_0_5_line_34 |  | 29 | 30 | 0.044869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_193-3_0_5_line_35 |  | 30 | 45 | 0.10036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_193-3_0_5_line_36 |  | 31 | 32 | 0.059752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_193-3_0_5_line_37 |  | 32 | 33 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_193-3_0_5_line_38 |  | 33 | 34 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_193-3_0_5_line_39 |  | 38 | 39 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_193-3_0_5_line_40 |  | 40 | 41 | 0.024061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_193-3_0_5_line_41 |  | 40 | 42 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_193-3_0_5_line_42 |  | 41 | 43 | 0.00929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_193-3_0_5_line_43 |  | 43 | 45 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_193-3_0_5_line_44 |  | 44 | 45 | 0.11334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_193-3_0_5_trafo_1 | 0.63 MVA 20/0.4 kV | 46 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2690834.9137 | 1247907.4247 | 2690823.4572 | 1247899.421 | 2690807.894 | 1247887.8183 | 2690791.6738 | 1247875.7998
1 | 2690776.5262 | 1247864.576 | 2690791.6738 | 1247875.7998
2 | 2690834.9137 | 1247907.4247 | 2690843.2648 | 1247890.362 | 2690848.7854 | 1247882.5406 | 2690854.1038 | 1247874.1046 | 2690858.5848 | 1247866.1005 | 2690863.6103 | 1247855.1746
3 | 2690834.9137 | 1247907.4247 | 2690827.9668 | 1247924.042 | 2690824.5151 | 1247933.8636
4 | 2690834.9137 | 1247907.4247 | 2690855.7974 | 1247924.7355
5 | 2690776.5262 | 1247864.576 | 2690761.5088 | 1247884.8737
6 | 2690776.5262 | 1247864.576 | 2690762.2819 | 1247853.8808
7 | 2690928.2182 | 1247756.8742 | 2690899.8139 | 1247787.6175 | 2690889.4792 | 1247801.0137 | 2690883.5951 | 1247810.8643 | 2690879.1013 | 1247819.7021 | 2690865.3751 | 1247851.3379 | 2690863.6103 | 1247855.1746
8 | 2690855.7974 | 1247924.7355 | 2690863.064 | 1247935.1011
9 | 2690746.7695 | 1247904.7954 | 2690761.5088 | 1247884.8737
10 | 2690754.6455 | 1247847.8167 | 2690755.5427 | 1247848.8207 | 2690762.2819 | 1247853.8808
11 | 2690928.2182 | 1247756.8742 | 2690933.1515 | 1247763.7106 | 2690937.8503 | 1247760.2244
12 | 2690748.7627 | 1247841.2334 | 2690754.6455 | 1247847.8167
13 | 2690937.8503 | 1247760.2244 | 2690923.5763 | 1247740.4096
14 | 2690937.8503 | 1247760.2244 | 2690933.1515 | 1247763.7106 | 2690952.0466 | 1247790.0313 | 2690942.112 | 1247797.0398
15 | 2690937.8503 | 1247760.2244 | 2690967.5761 | 1247749.7057 | 2690992.7355 | 1247744.7895
16 | 2690937.8503 | 1247760.2244 | 2690950.2912 | 1247777.6994
17 | 2690748.7627 | 1247841.2334 | 2690737.3229 | 1247833.1078 | 2690727.1935 | 1247834.6095 | 2690718.5201 | 1247839.1913 | 2690700.6709 | 1247849.1036
18 | 2690748.7627 | 1247841.2334 | 2690747.3433 | 1247822.9423 | 2690727.6196 | 1247765.3414 | 2690762.4514 | 1247760.2261 | 2690762.8267 | 1247759.8612
19 | 2690932.2339 | 1247809.2309 | 2690936.6786 | 1247806.0633 | 2690938.1079 | 1247804.4729 | 2690939.6655 | 1247801.906 | 2690942.112 | 1247797.0398
20 | 2690942.112 | 1247797.0398 | 2690929.7106 | 1247780.2147 | 2690928.5272 | 1247779.0735 | 2690927.7382 | 1247778.8056 | 2690926.747 | 1247778.9127 | 2690925.042 | 1247779.765 | 2690916.9876 | 1247785.6726
21 | 2690992.7887 | 1247744.7791 | 2690992.7355 | 1247744.7895
22 | 2690967.3507 | 1247801.6618 | 2690950.2912 | 1247777.6994
23 | 2690940.6064 | 1247821.3129 | 2690935.3041 | 1247813.6614
24 | 2690940.6064 | 1247821.3129 | 2690928.553 | 1247829.5422
25 | 2690932.2339 | 1247809.2309 | 2690935.3041 | 1247813.6614
26 | 2690928.553 | 1247829.5422 | 2690905.1648 | 1247845.51 | 2690912.095 | 1247855.0289
27 | 2690932.2339 | 1247809.2309 | 2690924.8217 | 1247814.511
28 | 2691012.844 | 1247740.8603 | 2690992.7887 | 1247744.7791
29 | 2690967.3507 | 1247801.6618 | 2690983.7443 | 1247824.6889
30 | 2690939.1486 | 1247892.1886 | 2690912.095 | 1247855.0289
31 | 2690906.5653 | 1247815.462 | 2690910.7847 | 1247821.3779 | 2690912.1464 | 1247822.2216 | 2690913.475 | 1247822.2754 | 2690914.8142 | 1247821.6399 | 2690924.8217 | 1247814.511
32 | 2690940.6677 | 1247890.6445 | 2690969.915 | 1247860.918
33 | 2690939.1486 | 1247892.1886 | 2690940.6677 | 1247890.6445
34 | 2690743.9862 | 1248011.1237 | 2690743.2041 | 1248009.8647 | 2690716.9917 | 1247975.2913
35 | 2690672.8311 | 1247887.4846 | 2690675.9389 | 1247910.4606 | 2690684.6562 | 1247931.1317 | 2690696.5907 | 1247948.3829 | 2690716.9917 | 1247975.2913
36 | 2691055.5238 | 1247716.3849 | 2691078.8013 | 1247701.0428 | 2691083.7821 | 1247697.4055 | 2691105.1784 | 1247683.1579
37 | 2691055.5238 | 1247716.3849 | 2691045.7293 | 1247722.8404 | 2691033.338 | 1247729.6303
38 | 2691033.338 | 1247729.6303 | 2691012.844 | 1247740.8603 | 2691012.844 | 1247740.8603
39 | 2690762.8267 | 1247759.8612 | 2690769.1836 | 1247753.6798 | 2690781.3927 | 1247741.8055
40 | 2690700.6709 | 1247849.1036 | 2690694.9246 | 1247853.9193 | 2690683.4996 | 1247865.9122
41 | 2690700.6709 | 1247849.1036 | 2690697.3371 | 1247838.7716
42 | 2690677.0917 | 1247872.6385 | 2690683.4996 | 1247865.9122
43 | 2690672.8311 | 1247887.4846 | 2690677.0917 | 1247872.6385
44 | 2690672.8311 | 1247887.4846 | 2690649.8166 | 1247911.651 | 2690623.1689 | 1247927.9338 | 2690591.9929 | 1247941.5232 | 2690577.9262 | 1247945.898

## bus_geodata
| x | y | coords
0 | 2690791.6738 | 1247875.7998
1 | 2690834.9137 | 1247907.4247
2 | 2690776.5262 | 1247864.576
3 | 2690863.6103 | 1247855.1746
4 | 2690824.5151 | 1247933.8636
5 | 2690855.7974 | 1247924.7355
6 | 2690761.5088 | 1247884.8737
7 | 2690762.2819 | 1247853.8808
8 | 2690928.2182 | 1247756.8742
9 | 2690863.064 | 1247935.1011
10 | 2690746.7695 | 1247904.7954
11 | 2690754.6455 | 1247847.8167
12 | 2690937.8503 | 1247760.2244
13 | 2690748.7627 | 1247841.2334
14 | 2690923.5763 | 1247740.4096
15 | 2690942.112 | 1247797.0398
16 | 2690992.7355 | 1247744.7895
17 | 2690950.2912 | 1247777.6994
18 | 2690940.6064 | 1247821.3129
19 | 2690935.3041 | 1247813.6614
20 | 2690928.553 | 1247829.5422
21 | 2690932.2339 | 1247809.2309
22 | 2690916.9876 | 1247785.6726
23 | 2690992.7887 | 1247744.7791
24 | 2690967.3507 | 1247801.6618
25 | 2690912.095 | 1247855.0289
26 | 2690924.8217 | 1247814.511
27 | 2690969.915 | 1247860.918
28 | 2690940.6677 | 1247890.6445
29 | 2690743.9862 | 1248011.1237
30 | 2690716.9917 | 1247975.2913
31 | 2691105.1784 | 1247683.1579
32 | 2691055.5238 | 1247716.3849
33 | 2691033.338 | 1247729.6303
34 | 2691012.844 | 1247740.8603
35 | 2690983.7443 | 1247824.6889
36 | 2690939.1486 | 1247892.1886
37 | 2690906.5653 | 1247815.462
38 | 2690762.8267 | 1247759.8612
39 | 2690781.3927 | 1247741.8055
40 | 2690700.6709 | 1247849.1036
41 | 2690683.4996 | 1247865.9122
42 | 2690697.3371 | 1247838.7716
43 | 2690677.0917 | 1247872.6385
44 | 2690577.9262 | 1247945.898
45 | 2690672.8311 | 1247887.4846
46 | 2690776.5262 | 1247864.576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99601 | -0.075953 | 0.018726 | 0.0046932
1 | 1 | 0 | -0.32758 | -0.082883
2 | 0.99477 | -0.099716 | 0 | 0
3 | 0.99533 | -0.088841 | 0.012143 | 0.0030433
4 | 0.99929 | -0.013611 | 0.027456 | 0.0068811
5 | 0.99881 | -0.022933 | 0.036751 | 0.0092106
6 | 0.99374 | -0.11959 | 0.014998 | 0.0037588
7 | 0.99314 | -0.13072 | 0.0022769 | 0.00057064
8 | 0.98736 | -0.24227 | 0 | 0
9 | 0.99867 | -0.025521 | 0.011698 | 0.0029317
10 | 0.99307 | -0.13257 | 0.029652 | 0.0074314
11 | 0.99227 | -0.14738 | 0.0086657 | 0.0021718
12 | 0.9864 | -0.26087 | 0 | 0
13 | 0.99156 | -0.16109 | 0 | 0
14 | 0.98633 | -0.26211 | 0.0028447 | 0.00071295
15 | 0.98514 | -0.28535 | 0 | 0
16 | 0.98444 | -0.2989 | 0.0079086 | 0.0019821
17 | 0.98628 | -0.2631 | 0.0015686 | 0.00039312
18 | 0.98449 | -0.29798 | 0 | 0
19 | 0.98466 | -0.29467 | 0.00249 | 0.00062406
20 | 0.98423 | -0.30317 | 0.01237 | 0.0031001
21 | 0.98477 | -0.29251 | 0 | 0
22 | 0.98507 | -0.28678 | 0.0021978 | 0.00055081
23 | 0.98444 | -0.29893 | 0.0031303 | 0.00078452
24 | 0.98617 | -0.26532 | 0.0022532 | 0.00056471
25 | 0.98395 | -0.30851 | 0.0011255 | 0.00028208
26 | 0.98475 | -0.29294 | 0.001917 | 0.00048043
27 | 0.98355 | -0.31638 | 0.0032349 | 0.00081074
28 | 0.98368 | -0.31395 | 0.0030384 | 0.00076149
29 | 0.9781 | -0.42234 | 0.028939 | 0.0072527
30 | 0.9793 | -0.39871 | 0.025738 | 0.0064505
31 | 0.98238 | -0.33923 | 0.011028 | 0.0027638
32 | 0.98299 | -0.32734 | 0.0095495 | 0.0023933
33 | 0.98348 | -0.31774 | 0.0013932 | 0.00034916
34 | 0.98395 | -0.30849 | 0.004046 | 0.001014
35 | 0.98612 | -0.26632 | 0.0019694 | 0.00049358
36 | 0.98369 | -0.3137 | 0 | 0
37 | 0.98474 | -0.29323 | 0.00068948 | 0.0001728
38 | 0.991 | -0.17199 | 0.0026873 | 0.00067351
39 | 0.99093 | -0.17321 | 0.0026554 | 0.0006655
40 | 0.98742 | -0.24081 | 0 | 0
41 | 0.98579 | -0.27221 | 0.011496 | 0.0028811
42 | 0.98732 | -0.24265 | 0.0094656 | 0.0023723
43 | 0.98527 | -0.28245 | 0 | 0
44 | 0.98369 | -0.31318 | 0.0067077 | 0.0016811
45 | 0.98439 | -0.29949 | 0 | 0
46 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.16333 | -0.04144 | 0.16393 | 0.041822 | 0.00059898 | 0.00038195 | 0.24419 | 0.24419 | 0.24419 | 0.99601 | -0.075953 | 1 | 0 | 33.5424
1 | 0.1446 | 0.036747 | -0.14444 | -0.036642 | 0.00016525 | 0.00010527 | 0.21621 | 0.21621 | 0.21621 | 0.99601 | -0.075953 | 0.99477 | -0.099716 | 29.6995
2 | 0.086029 | 0.021992 | -0.085661 | -0.021757 | 0.00036801 | 0.00023475 | 0.12817 | 0.12817 | 0.12817 | 1 | 0 | 0.99533 | -0.088841 | 35.2105
3 | 0.027474 | 0.0068922 | -0.027456 | -0.0068811 | 1.7815e-05 | 1.1029e-05 | 0.040884 | 0.040884 | 0.040884 | 1 | 0 | 0.99929 | -0.013611 | 11.2319
4 | 0.048503 | 0.012177 | -0.04845 | -0.012143 | 5.2996e-05 | 3.3562e-05 | 0.07218 | 0.07218 | 0.07218 | 1 | 0 | 0.99881 | -0.022933 | 19.8297
5 | 0.04471 | 0.011228 | -0.044668 | -0.011202 | 4.2362e-05 | 2.6784e-05 | 0.066888 | 0.066888 | 0.066888 | 0.99477 | -0.099716 | 0.99374 | -0.11959 | 18.3758
6 | 0.099727 | 0.025413 | -0.099578 | -0.025318 | 0.00014894 | 9.5093e-05 | 0.14932 | 0.14932 | 0.14932 | 0.99477 | -0.099716 | 0.99314 | -0.13072 | 41.0233
7 | 0.073519 | 0.018714 | -0.072979 | -0.01837 | 0.00053951 | 0.00034376 | 0.11001 | 0.11001 | 0.11001 | 0.99533 | -0.088841 | 0.98736 | -0.24227 | 30.2234
8 | 0.011699 | 0.0029325 | -0.011698 | -0.0029317 | 1.4421e-06 | 7.5728e-07 | 0.017429 | 0.017429 | 0.017429 | 0.99881 | -0.022933 | 0.99867 | -0.025521 | 4.7883
9 | 0.02967 | 0.0074428 | -0.029652 | -0.0074314 | 1.8345e-05 | 1.142e-05 | 0.04443 | 0.04443 | 0.04443 | 0.99374 | -0.11959 | 0.99307 | -0.13257 | 12.2061
10 | 0.097301 | 0.024748 | -0.097223 | -0.024698 | 7.8035e-05 | 4.9816e-05 | 0.14591 | 0.14591 | 0.14591 | 0.99314 | -0.13072 | 0.99227 | -0.14738 | 40.0861
11 | 0.072979 | 0.01837 | -0.072914 | -0.018329 | 6.4817e-05 | 4.1301e-05 | 0.11001 | 0.11001 | 0.11001 | 0.98736 | -0.24227 | 0.9864 | -0.26087 | 30.2235
12 | 0.088557 | 0.022526 | -0.088499 | -0.022489 | 5.8493e-05 | 3.7322e-05 | 0.13292 | 0.13292 | 0.13292 | 0.99227 | -0.14738 | 0.99156 | -0.16109 | 36.5161
13 | 0.0028449 | 0.00071275 | -0.0028447 | -0.00071295 | 1.6866e-07 | -2.0376e-07 | 0.0042915 | 0.0042916 | 0.0042916 | 0.9864 | -0.26087 | 0.98633 | -0.26211 | 1.179
14 | 0.027117 | 0.0068137 | -0.027086 | -0.0067941 | 3.1643e-05 | 1.9609e-05 | 0.040913 | 0.040914 | 0.040914 | 0.9864 | -0.26087 | 0.98514 | -0.28535 | 11.24
15 | 0.03716 | 0.0093515 | -0.037092 | -0.0093091 | 6.7399e-05 | 4.2407e-05 | 0.056071 | 0.056071 | 0.056071 | 0.9864 | -0.26087 | 0.98444 | -0.2989 | 15.4041
16 | 0.0057924 | 0.0014511 | -0.0057917 | -0.001451 | 6.1417e-07 | 1.1928e-07 | 0.0087378 | 0.0087379 | 0.0087379 | 0.9864 | -0.26087 | 0.98628 | -0.2631 | 2.4005
17 | 0.083153 | 0.02115 | -0.082835 | -0.020947 | 0.00031807 | 0.00020287 | 0.1249 | 0.1249 | 0.1249 | 0.99156 | -0.16109 | 0.98742 | -0.24081 | 34.3123
18 | 0.0053456 | 0.0013391 | -0.0053429 | -0.0013388 | 2.7743e-06 | 2.9357e-07 | 0.0080219 | 0.0080224 | 0.0080224 | 0.99156 | -0.16109 | 0.991 | -0.17199 | 2.204
19 | 0.024888 | 0.0062436 | -0.024879 | -0.0062384 | 8.4952e-06 | 5.2329e-06 | 0.037594 | 0.037594 | 0.037594 | 0.98514 | -0.28535 | 0.98477 | -0.29251 | 10.328
20 | 0.0021979 | 0.00055044 | -0.0021978 | -0.00055081 | 1.499e-07 | -3.6584e-07 | 0.0033197 | 0.0033199 | 0.0033199 | 0.98514 | -0.28535 | 0.98507 | -0.28678 | 0.91205
21 | 0.029184 | 0.007327 | -0.029184 | -0.007327 | 3.9577e-08 | 2.4636e-08 | 0.044117 | 0.044117 | 0.044117 | 0.98444 | -0.2989 | 0.98444 | -0.29893 | 12.12
22 | 0.0042232 | 0.0010579 | -0.0042227 | -0.001058 | 4.4779e-07 | -8.8759e-08 | 0.0063714 | 0.0063715 | 0.0063715 | 0.98628 | -0.2631 | 0.98617 | -0.26532 | 1.7504
23 | -0.019777 | -0.0049582 | 0.01978 | 0.0049601 | 3.1194e-06 | 1.878e-06 | 0.029893 | 0.029893 | 0.029893 | 0.98449 | -0.29798 | 0.98466 | -0.29467 | 8.2123
24 | 0.019777 | 0.0049582 | -0.019772 | -0.0049553 | 4.8906e-06 | 2.9445e-06 | 0.029893 | 0.029893 | 0.029893 | 0.98449 | -0.29798 | 0.98423 | -0.30317 | 8.2123
25 | -0.02227 | -0.0055841 | 0.022273 | 0.0055855 | 2.2896e-06 | 1.3968e-06 | 0.033656 | 0.033656 | 0.033656 | 0.98466 | -0.29467 | 0.98477 | -0.29251 | 9.2461
26 | 0.0074026 | 0.0018551 | -0.0074007 | -0.0018544 | 1.8832e-06 | 6.9587e-07 | 0.011192 | 0.011192 | 0.011192 | 0.98423 | -0.30317 | 0.98395 | -0.30851 | 3.0747
27 | 0.0026065 | 0.00065285 | -0.0026064 | -0.00065294 | 5.2933e-08 | -8.1904e-08 | 0.0039383 | 0.0039384 | 0.0039384 | 0.98477 | -0.29251 | 0.98475 | -0.29294 | 1.082
28 | 0.026054 | 0.0065425 | -0.026042 | -0.0065351 | 1.1887e-05 | 7.3479e-06 | 0.039385 | 0.039385 | 0.039385 | 0.98444 | -0.29893 | 0.98395 | -0.30849 | 10.8202
29 | 0.0019695 | 0.00049328 | -0.0019694 | -0.00049358 | 9.3609e-08 | -3.0072e-07 | 0.0029716 | 0.0029718 | 0.0029718 | 0.98617 | -0.26532 | 0.98612 | -0.26632 | 0.81642
30 | 0.0062752 | 0.0015724 | -0.0062737 | -0.001572 | 1.5523e-06 | 4.0981e-07 | 0.0094898 | 0.00949 | 0.00949 | 0.98395 | -0.30851 | 0.98369 | -0.3137 | 2.6071
31 | 0.00068949 | 0.0001725 | -0.00068948 | -0.0001728 | 9.755e-09 | -2.9867e-07 | 0.0010418 | 0.0010419 | 0.0010419 | 0.98475 | -0.29294 | 0.98474 | -0.29323 | 0.28623
32 | -0.0032349 | -0.00081074 | 0.0032353 | 0.00081045 | 3.7455e-07 | -2.8961e-07 | 0.004894 | 0.0048939 | 0.004894 | 0.98355 | -0.31638 | 0.98368 | -0.31395 | 1.3445
33 | -0.0062736 | -0.0015719 | 0.0062737 | 0.001572 | 7.3154e-08 | 1.9321e-08 | 0.00949 | 0.00949 | 0.00949 | 0.98368 | -0.31395 | 0.98369 | -0.3137 | 2.6071
34 | -0.028939 | -0.0072527 | 0.028971 | 0.007273 | 3.2612e-05 | 2.0308e-05 | 0.044026 | 0.044025 | 0.044026 | 0.9781 | -0.42234 | 0.9793 | -0.39871 | 12.0949
35 | -0.054709 | -0.013724 | 0.054969 | 0.013889 | 0.00026011 | 0.0001652 | 0.083133 | 0.083133 | 0.083133 | 0.9793 | -0.39871 | 0.98439 | -0.29949 | 22.8387
36 | -0.011028 | -0.0027638 | 0.011034 | 0.002767 | 6.2517e-06 | 3.2441e-06 | 0.016704 | 0.016703 | 0.016704 | 0.98238 | -0.33923 | 0.98299 | -0.32734 | 4.5889
37 | -0.020583 | -0.0051604 | 0.020593 | 0.005166 | 9.4152e-06 | 5.6977e-06 | 0.031159 | 0.031159 | 0.031159 | 0.98299 | -0.32734 | 0.98348 | -0.31774 | 8.5602
38 | -0.021986 | -0.0055152 | 0.021996 | 0.0055211 | 9.6983e-06 | 5.9102e-06 | 0.033267 | 0.033267 | 0.033267 | 0.98348 | -0.31774 | 0.98395 | -0.30849 | 9.1392
39 | 0.0026555 | 0.00066526 | -0.0026554 | -0.0006655 | 1.544e-07 | -2.3483e-07 | 0.0039873 | 0.0039874 | 0.0039874 | 0.991 | -0.17199 | 0.99093 | -0.17321 | 1.0954
40 | 0.073368 | 0.018574 | -0.073258 | -0.018504 | 0.00011043 | 7.0371e-05 | 0.11063 | 0.11063 | 0.11063 | 0.98742 | -0.24081 | 0.98579 | -0.27221 | 30.3932
41 | 0.0094665 | 0.0023727 | -0.0094656 | -0.0023723 | 8.2855e-07 | 3.9142e-07 | 0.014266 | 0.014266 | 0.014266 | 0.98742 | -0.24081 | 0.98732 | -0.24265 | 3.9192
42 | 0.061762 | 0.015623 | -0.061732 | -0.015603 | 3.0312e-05 | 1.9281e-05 | 0.093279 | 0.093279 | 0.093279 | 0.98579 | -0.27221 | 0.98527 | -0.28245 | 25.626
43 | 0.061732 | 0.015603 | -0.061681 | -0.015571 | 5.0391e-05 | 3.2054e-05 | 0.093279 | 0.093279 | 0.093279 | 0.98527 | -0.28245 | 0.98439 | -0.29949 | 25.626
44 | -0.0067077 | -0.0016811 | 0.0067121 | 0.0016825 | 4.3757e-06 | 1.3606e-06 | 0.010147 | 0.010146 | 0.010147 | 0.98369 | -0.31318 | 0.98439 | -0.29949 | 2.7876

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.32758 | 0.082883

## res_load
| p_mw | q_mvar
0 | 0.018726 | 0.0046932
1 | 0.012143 | 0.0030433
2 | 0.027456 | 0.0068811
3 | 0.036751 | 0.0092106
4 | 0.014998 | 0.0037588
5 | 0.0022769 | 0.00057064
6 | 0.011698 | 0.0029317
7 | 0.029652 | 0.0074314
8 | 0.0086657 | 0.0021718
9 | 0.0028447 | 0.00071295
10 | 0.0079086 | 0.0019821
11 | 0.0015686 | 0.00039312
12 | 0.00249 | 0.00062406
13 | 0.01237 | 0.0031001
14 | 0.0021978 | 0.00055081
15 | 0.0031303 | 0.00078452
16 | 0.0022532 | 0.00056471
17 | 0.0011255 | 0.00028208
18 | 0.001917 | 0.00048043
19 | 0.0032349 | 0.00081074
20 | 0.0030384 | 0.00076149
21 | 0.028939 | 0.0072527
22 | 0.025738 | 0.0064505
23 | 0.011028 | 0.0027638
24 | 0.0095495 | 0.0023933
25 | 0.0013932 | 0.00034916
26 | 0.004046 | 0.001014
27 | 0.0019694 | 0.00049358
28 | 0.00068948 | 0.0001728
29 | 0.0026873 | 0.00067351
30 | 0.0026554 | 0.0006655
31 | 0.011496 | 0.0028811
32 | 0.0094656 | 0.0023723
33 | 0.0067077 | 0.0016811

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1