## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_195-15_1_4_node_99 | 0.4 | n |  | TRUE
1 | bus_LV_195-15_1_4_node_103 | 0.4 | n |  | TRUE
2 | bus_LV_195-15_1_4_node_104 | 0.4 | n |  | TRUE
3 | bus_LV_195-15_1_4_node_115 | 0.4 | n |  | TRUE
4 | bus_LV_195-15_1_4_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_195-15_1_4_node_106 | 0.4 | n |  | TRUE
6 | bus_LV_195-15_1_4_node_107 | 0.4 | n |  | TRUE
7 | bus_LV_195-15_1_4_node_108 | 0.4 | n |  | TRUE
8 | bus_LV_195-15_1_4_node_109 | 0.4 | n |  | TRUE
9 | bus_LV_195-15_1_4_node_110 | 0.4 | n |  | TRUE
10 | bus_LV_195-15_1_4_node_111 | 0.4 | n |  | TRUE
11 | bus_LV_195-15_1_4_node_112 | 0.4 | n |  | TRUE
12 | bus_LV_195-15_1_4_node_161 | 0.4 | n |  | TRUE
13 | bus_LV_195-15_1_4_node_160 | 0.4 | n |  | TRUE
14 | bus_LV_195-15_1_4_node_143 | 0.4 | n |  | TRUE
15 | bus_LV_195-15_1_4_node_164 | 0.4 | n |  | TRUE
16 | bus_LV_195-15_1_4_node_113 | 0.4 | n |  | TRUE
17 | bus_LV_195-15_1_4_node_114 | 0.4 | n |  | TRUE
18 | bus_LV_195-15_1_4_node_116 | 0.4 | n |  | TRUE
19 | bus_LV_195-15_1_4_node_117 | 0.4 | n |  | TRUE
20 | bus_LV_195-15_1_4_node_118 | 0.4 | n |  | TRUE
21 | bus_LV_195-15_1_4_node_119 | 0.4 | n |  | TRUE
22 | bus_LV_195-15_1_4_node_120 | 0.4 | n |  | TRUE
23 | bus_LV_195-15_1_4_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_195-15_1_4_node_122 | 0.4 | n |  | TRUE
25 | bus_LV_195-15_1_4_node_179 | 0.4 | n |  | TRUE
26 | bus_LV_195-15_1_4_node_165 | 0.4 | n |  | TRUE
27 | bus_LV_195-15_1_4_node_177 | 0.4 | n |  | TRUE
28 | bus_LV_195-15_1_4_node_133 | 0.4 | n |  | TRUE
29 | bus_LV_195-15_1_4_node_169 | 0.4 | n |  | TRUE
30 | bus_LV_195-15_1_4_node_134 | 0.4 | n |  | TRUE
31 | bus_LV_195-15_1_4_node_135 | 0.4 | n |  | TRUE
32 | bus_LV_195-15_1_4_node_136 | 0.4 | n |  | TRUE
33 | bus_LV_195-15_1_4_node_137 | 0.4 | n |  | TRUE
34 | bus_LV_195-15_1_4_node_138 | 0.4 | n |  | TRUE
35 | bus_LV_195-15_1_4_node_139 | 0.4 | n |  | TRUE
36 | bus_LV_195-15_1_4_node_140 | 0.4 | n |  | TRUE
37 | bus_LV_195-15_1_4_node_144 | 0.4 | n |  | TRUE
38 | bus_LV_195-15_1_4_node_141 | 0.4 | n |  | TRUE
39 | bus_LV_195-15_1_4_node_142 | 0.4 | n |  | TRUE
40 | bus_LV_195-15_1_4_node_145 | 0.4 | n |  | TRUE
41 | bus_LV_195-15_1_4_node_147 | 0.4 | n |  | TRUE
42 | bus_LV_195-15_1_4_node_148 | 0.4 | n |  | TRUE
43 | bus_LV_195-15_1_4_node_162 | 0.4 | n |  | TRUE
44 | bus_LV_195-15_1_4_node_149 | 0.4 | n |  | TRUE
45 | bus_LV_195-15_1_4_node_152 | 0.4 | n |  | TRUE
46 | bus_LV_195-15_1_4_node_150 | 0.4 | n |  | TRUE
47 | bus_LV_195-15_1_4_node_151 | 0.4 | n |  | TRUE
48 | bus_LV_195-15_1_4_node_166 | 0.4 | n |  | TRUE
49 | bus_LV_195-15_1_4_node_153 | 0.4 | n |  | TRUE
50 | bus_LV_195-15_1_4_node_154 | 0.4 | n |  | TRUE
51 | bus_LV_195-15_1_4_node_184 | 0.4 | n |  | TRUE
52 | bus_LV_195-15_1_4_node_155 | 0.4 | n |  | TRUE
53 | bus_LV_195-15_1_4_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_195-15_1_4_node_156 | 0.4 | n |  | TRUE
55 | bus_LV_195-15_1_4_node_157 | 0.4 | n |  | TRUE
56 | bus_LV_195-15_1_4_node_185 | 0.4 | n |  | TRUE
57 | bus_LV_195-15_1_4_node_167 | 0.4 | n |  | TRUE
58 | bus_LV_195-15_1_4_node_170 | 0.4 | n |  | TRUE
59 | bus_LV_195-15_1_4_node_171 | 0.4 | n |  | TRUE
60 | bus_LV_195-15_1_4_node_175 | 0.4 | n |  | TRUE
61 | bus_LV_195-15_1_4_node_181 | 0.4 | n |  | TRUE
62 | bus_LV_195-15_1_4_node_178 | 0.4 | n |  | TRUE
63 | bus_LV_195-15_1_4_node_172 | 0.4 | n |  | TRUE
64 | bus_LV_195-15_1_4_node_173 | 0.4 | n |  | TRUE
65 | bus_LV_195-15_1_4_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_195-15_1_4_node_183 | 0.4 | n |  | TRUE
67 | bus_LV_195-15_1_4_node_187 | 0.4 | n |  | TRUE
68 | bus_LV_195-15_1_4_node_186 | 0.4 | n |  | TRUE
69 | bus_LV_195-15_1_4_node_188 | 0.4 | n |  | TRUE
70 | bus_LV_195-15_1_4_node_189 | 0.4 | n |  | TRUE
71 | bus_LV_195-15_1_4_node_190 | 0.4 | n |  | TRUE
72 | bus_LV_195-15_1_4_node_191 | 0.4 | n |  | TRUE
73 | bus_LV_195-15_1_4_node_193 | 0.4 | n |  | TRUE
74 | bus_MV_364_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_195-15_1_4_load_103 | 1 | 0.0016406 | 0.00041117 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_195-15_1_4_load_104 | 2 | 0.0017649 | 0.00044233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_195-15_1_4_load_105 | 4 | 0.00079659 | 0.00019964 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_195-15_1_4_load_108 | 7 | 0.00077053 | 0.00019311 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_195-15_1_4_load_109 | 8 | 0.009521 | 0.0023862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_195-15_1_4_load_161 | 12 | 0.0093927 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_195-15_1_4_load_160 | 13 | 0.0087313 | 0.0021883 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_195-15_1_4_load_164 | 15 | 0.0074481 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_195-15_1_4_load_113 | 16 | 0.0016928 | 0.00042426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_195-15_1_4_load_114 | 17 | 0.0027455 | 0.00068809 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_195-15_1_4_load_116 | 18 | 0.0026204 | 0.00065673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_195-15_1_4_load_117 | 19 | 0.0072031 | 0.0018053 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_195-15_1_4_load_122 | 24 | 0.016222 | 0.0040655 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_195-15_1_4_load_179 | 25 | 0.01654 | 0.0041452 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_195-15_1_4_load_165 | 26 | 0.0084176 | 0.0021097 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_195-15_1_4_load_133 | 28 | 0.01873 | 0.0046941 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_195-15_1_4_load_134 | 30 | 0.0025764 | 0.00064571 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_195-15_1_4_load_135 | 31 | 0.0041976 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_195-15_1_4_load_136 | 32 | 0.0023914 | 0.00059935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_195-15_1_4_load_137 | 33 | 0.0030437 | 0.00076283 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_195-15_1_4_load_138 | 34 | 0.0017472 | 0.00043789 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_195-15_1_4_load_139 | 35 | 0.0030507 | 0.00076459 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_195-15_1_4_load_140 | 36 | 0.0034841 | 0.00087319 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_195-15_1_4_load_141 | 38 | 0.0048494 | 0.0012154 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_195-15_1_4_load_142 | 39 | 0.0035195 | 0.00088207 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_195-15_1_4_load_145 | 40 | 0.00462 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_195-15_1_4_load_148 | 42 | 0.0071679 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_195-15_1_4_load_162 | 43 | 0.0090581 | 0.0022702 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_195-15_1_4_load_152 | 45 | 0.010014 | 0.0025098 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_195-15_1_4_load_150 | 46 | 0.0069825 | 0.00175 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_195-15_1_4_load_151 | 47 | 0.0023913 | 0.00059933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_195-15_1_4_load_153 | 49 | 0.004033 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_195-15_1_4_load_156 | 54 | 0.0074482 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_195-15_1_4_load_157 | 55 | 0.0071278 | 0.0017864 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_195-15_1_4_load_167 | 57 | 0.014316 | 0.003588 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_195-15_1_4_load_181 | 61 | 0.010725 | 0.0026878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_195-15_1_4_load_172 | 63 | 0.0035623 | 0.0008928 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_195-15_1_4_load_173 | 64 | 0.0035656 | 0.00089362 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_195-15_1_4_load_182 | 65 | 0.019446 | 0.0048737 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_195-15_1_4_load_183 | 66 | 0.0013935 | 0.00034925 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_195-15_1_4_load_186 | 68 | 0.00093979 | 0.00023553 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_195-15_1_4_load_191 | 72 | 0.0051113 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_195-15_1_4_load_193 | 73 | 0.0082987 | 0.0020798 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_195-15_1_4_line_0 |  | 0 | 1 | 0.0041284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_195-15_1_4_line_1 |  | 0 | 2 | 0.041581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_195-15_1_4_line_2 |  | 1 | 3 | 0.024081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_195-15_1_4_line_3 |  | 3 | 18 | 0.034354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_195-15_1_4_line_4 |  | 3 | 16 | 0.023774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_195-15_1_4_line_5 |  | 4 | 5 | 0.0089785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_195-15_1_4_line_6 |  | 4 | 6 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_195-15_1_4_line_7 |  | 5 | 7 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_195-15_1_4_line_8 |  | 5 | 8 | 0.052598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_195-15_1_4_line_9 |  | 6 | 9 | 0.025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_195-15_1_4_line_10 |  | 6 | 10 | 0.028668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_195-15_1_4_line_11 |  | 7 | 11 | 0.017662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_195-15_1_4_line_12 |  | 9 | 12 | 0.050046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_195-15_1_4_line_13 |  | 9 | 13 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_195-15_1_4_line_14 |  | 10 | 14 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_195-15_1_4_line_15 |  | 10 | 15 | 0.016837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_195-15_1_4_line_16 |  | 11 | 16 | 0.0095112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_195-15_1_4_line_17 |  | 11 | 17 | 0.040482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_195-15_1_4_line_18 |  | 14 | 40 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_195-15_1_4_line_19 |  | 14 | 38 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_195-15_1_4_line_20 |  | 15 | 26 | 0.03079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_195-15_1_4_line_21 |  | 19 | 20 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_195-15_1_4_line_22 |  | 19 | 21 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_195-15_1_4_line_23 |  | 20 | 22 | 0.02703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_195-15_1_4_line_24 |  | 21 | 23 | 0.005579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_195-15_1_4_line_25 |  | 21 | 24 | 0.032883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_195-15_1_4_line_26 |  | 22 | 25 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_195-15_1_4_line_27 |  | 23 | 26 | 0.049705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_195-15_1_4_line_28 |  | 24 | 27 | 0.053326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_195-15_1_4_line_29 |  | 27 | 62 | 0.052309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_195-15_1_4_line_30 |  | 27 | 57 | 0.012419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_195-15_1_4_line_31 |  | 28 | 29 | 0.030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_195-15_1_4_line_32 |  | 29 | 58 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_195-15_1_4_line_33 |  | 29 | 59 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_195-15_1_4_line_34 |  | 30 | 31 | 0.0082478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_195-15_1_4_line_35 |  | 30 | 32 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_195-15_1_4_line_36 |  | 31 | 33 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_195-15_1_4_line_37 |  | 33 | 34 | 0.028186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_195-15_1_4_line_38 |  | 34 | 35 | 0.0046871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_195-15_1_4_line_39 |  | 35 | 36 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_195-15_1_4_line_40 |  | 36 | 37 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_195-15_1_4_line_41 |  | 37 | 41 | 0.036675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_195-15_1_4_line_42 |  | 37 | 39 | 0.03797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_195-15_1_4_line_43 |  | 38 | 39 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_195-15_1_4_line_44 |  | 40 | 42 | 0.02977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_195-15_1_4_line_45 |  | 41 | 43 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_195-15_1_4_line_46 |  | 42 | 44 | 0.0013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_195-15_1_4_line_47 |  | 43 | 52 | 0.04866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_195-15_1_4_line_48 |  | 44 | 45 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_195-15_1_4_line_49 |  | 44 | 46 | 0.0080299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_195-15_1_4_line_50 |  | 45 | 48 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_195-15_1_4_line_51 |  | 46 | 47 | 0.0039406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_195-15_1_4_line_52 |  | 48 | 56 | 0.10841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_195-15_1_4_line_53 |  | 49 | 50 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_195-15_1_4_line_54 |  | 50 | 51 | 0.07844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_195-15_1_4_line_55 |  | 51 | 66 | 0.056792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_195-15_1_4_line_56 |  | 52 | 53 | 0.044059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_195-15_1_4_line_57 |  | 53 | 55 | 0.036551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_195-15_1_4_line_58 |  | 54 | 55 | 0.01716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_195-15_1_4_line_59 |  | 56 | 67 | 0.27445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_195-15_1_4_line_60 |  | 56 | 66 | 0.022935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_195-15_1_4_line_61 |  | 58 | 60 | 0.035311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_195-15_1_4_line_62 |  | 58 | 61 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_195-15_1_4_line_63 |  | 59 | 62 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_195-15_1_4_line_64 |  | 60 | 64 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_195-15_1_4_line_65 |  | 62 | 65 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_195-15_1_4_line_66 |  | 63 | 64 | 0.020974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_195-15_1_4_line_67 |  | 67 | 70 | 0.057778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_195-15_1_4_line_68 |  | 67 | 68 | 0.084051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_195-15_1_4_line_69 |  | 68 | 69 | 0.076154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_195-15_1_4_line_70 |  | 69 | 71 | 0.074678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_195-15_1_4_line_71 |  | 70 | 72 | 0.040427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_195-15_1_4_line_72 |  | 71 | 73 | 0.13174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_195-15_1_4_trafo_149 | 0.63 MVA 20/0.4 kV | 74 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2690826.5145 | 1244911.8656 | 2690829.1353 | 1244908.6758
1 | 2690826.5145 | 1244911.8656 | 2690847.3505 | 1244931.5215 | 2690852.2969 | 1244936.1897 | 2690858.3232 | 1244937.3399
2 | 2690842.3184 | 1244888.5568 | 2690831.6663 | 1244905.5953 | 2690829.1353 | 1244908.6758
3 | 2690842.3184 | 1244888.5568 | 2690856.637 | 1244902.0083 | 2690861.4349 | 1244906.5074 | 2690862.2171 | 1244907.2421 | 2690869.1535 | 1244907.8044 | 2690869.2269 | 1244907.8704
4 | 2690842.3184 | 1244888.5568 | 2690853.4572 | 1244867.554
5 | 2690873.489 | 1244829.0674 | 2690877.5248 | 1244821.0471
6 | 2690883.2204 | 1244809.0015 | 2690880.8627 | 1244814.4139 | 2690877.5248 | 1244821.0471
7 | 2690873.489 | 1244829.0674 | 2690866.034 | 1244843.4668
8 | 2690873.489 | 1244829.0674 | 2690900.8928 | 1244855.0956 | 2690905.9282 | 1244859.8763 | 2690907.0604 | 1244860.95 | 2690913.3403 | 1244861.4466
9 | 2690883.2204 | 1244809.0015 | 2690884.8971 | 1244803.1561 | 2690899.7299 | 1244805.752 | 2690903.37 | 1244807.8871
10 | 2690876.2147 | 1244782.8858 | 2690878.9474 | 1244786.5303 | 2690882.9238 | 1244792.3623 | 2690884.8971 | 1244803.1561 | 2690883.2204 | 1244809.0015
11 | 2690857.9135 | 1244859.1514 | 2690866.034 | 1244843.4668
12 | 2690903.37 | 1244807.8871 | 2690927.6108 | 1244832.2101 | 2690932.3815 | 1244836.9979 | 2690940.8307 | 1244839.9407
13 | 2690903.37 | 1244807.8871 | 2690918.8515 | 1244792.8242
14 | 2690876.2147 | 1244782.8858 | 2690887.089 | 1244773.5565
15 | 2690876.2147 | 1244782.8858 | 2690870.256 | 1244787.5535 | 2690862.2374 | 1244792.1995
16 | 2690857.9135 | 1244859.1514 | 2690853.4572 | 1244867.554
17 | 2690857.9135 | 1244859.1514 | 2690876.512 | 1244876.8828 | 2690881.0628 | 1244881.2225 | 2690881.8076 | 1244881.9344 | 2690889.2496 | 1244882.5489
18 | 2690887.089 | 1244773.5565 | 2690869.7922 | 1244757.8472
19 | 2690887.089 | 1244773.5565 | 2690906.2107 | 1244757.6636
20 | 2690862.2374 | 1244792.1995 | 2690835.5961 | 1244807.6354
21 | 2690758.8946 | 1244853.0646 | 2690770.5791 | 1244845.9151
22 | 2690787.806 | 1244835.4493 | 2690776.0209 | 1244842.5854 | 2690770.5791 | 1244845.9151
23 | 2690737.8326 | 1244842.2121 | 2690752.2581 | 1244842.2883 | 2690755.733 | 1244847.8123 | 2690758.8946 | 1244853.0646
24 | 2690787.806 | 1244835.4493 | 2690792.5887 | 1244832.5537
25 | 2690787.806 | 1244835.4493 | 2690787.976 | 1244824.844 | 2690788.3283 | 1244802.8218 | 2690788.3325 | 1244802.57
26 | 2690737.8326 | 1244842.2121 | 2690737.5676 | 1244832.8677 | 2690737.5527 | 1244831.7686
27 | 2690792.5887 | 1244832.5537 | 2690835.5961 | 1244807.6354
28 | 2690777.7512 | 1244760.6729 | 2690782.4226 | 1244765.0477 | 2690788.6091 | 1244765.2425 | 2690792.8118 | 1244768.6427 | 2690792.5758 | 1244790.4665 | 2690788.4425 | 1244795.8628 | 2690788.3325 | 1244802.57
29 | 2690777.7512 | 1244760.6729 | 2690770.335 | 1244768.2429 | 2690740.9486 | 1244767.9932 | 2690729.7191 | 1244773.381
30 | 2690777.7512 | 1244760.6729 | 2690777.8356 | 1244748.2538
31 | 2690706.4815 | 1244784.6786 | 2690706.8143 | 1244804.9099 | 2690702.1502 | 1244813.8898
32 | 2690706.4815 | 1244784.6786 | 2690704.0409 | 1244782.1839 | 2690687.1644 | 1244780.7804 | 2690682.4248 | 1244777.8947
33 | 2690706.4815 | 1244784.6786 | 2690726.093 | 1244785.1455
34 | 2690927.8465 | 1244635.3661 | 2690932.34 | 1244642.2824
35 | 2690918.844 | 1244617.3818 | 2690927.0661 | 1244634.1648 | 2690927.8465 | 1244635.3661
36 | 2690936.0775 | 1244653.237 | 2690935.591 | 1244648.9398 | 2690934.5674 | 1244645.7106 | 2690932.34 | 1244642.2824
37 | 2690936.0775 | 1244653.237 | 2690939.2486 | 1244681.2446
38 | 2690939.2486 | 1244681.2446 | 2690939.5245 | 1244683.6817 | 2690939.2921 | 1244685.904
39 | 2690937.5672 | 1244702.399 | 2690937.5672 | 1244702.399 | 2690939.2921 | 1244685.904
40 | 2690947.849 | 1244713.4871 | 2690938.1894 | 1244704.6991 | 2690937.5672 | 1244702.399
41 | 2690973.4646 | 1244730.9707 | 2690956.2281 | 1244713.6156 | 2690951.7552 | 1244709.1104 | 2690947.849 | 1244713.4871
42 | 2690947.849 | 1244713.4871 | 2690922.8004 | 1244742.0234
43 | 2690906.2107 | 1244757.6636 | 2690916.7898 | 1244748.8709 | 2690922.8004 | 1244742.0234
44 | 2690847.7545 | 1244737.8321 | 2690869.7922 | 1244757.8472
45 | 2690973.4646 | 1244730.9707 | 2690986.2909 | 1244717.5796
46 | 2690846.7654 | 1244736.9337 | 2690847.7545 | 1244737.8321
47 | 2691025.4098 | 1244743.5323 | 2691009.2526 | 1244740.0597 | 2690986.2909 | 1244717.5796
48 | 2690846.7654 | 1244736.9337 | 2690837.2694 | 1244728.3152 | 2690826.488 | 1244718.7954
49 | 2690846.7654 | 1244736.9337 | 2690846.6843 | 1244728.9043
50 | 2690816.4062 | 1244709.8932 | 2690826.488 | 1244718.7954
51 | 2690846.6843 | 1244728.9043 | 2690846.6843 | 1244728.9043 | 2690846.0103 | 1244725.0218
52 | 2690816.4062 | 1244709.8932 | 2690789.9709 | 1244604.7545
53 | 2690933.8459 | 1244553.7975 | 2690939.1023 | 1244566.2509
54 | 2690933.8459 | 1244553.7975 | 2690855.6512 | 1244559.9931
55 | 2690855.6512 | 1244559.9931 | 2690841.2433 | 1244572.5375 | 2690810.0052 | 1244593.6223
56 | 2691025.4098 | 1244743.5323 | 2691013.1445 | 1244785.8536
57 | 2691013.1445 | 1244785.8536 | 2690995.0769 | 1244778.8379 | 2690983.4129 | 1244766.2385
58 | 2690972.1653 | 1244779.1979 | 2690983.4129 | 1244766.2385
59 | 2690789.9709 | 1244604.7545 | 2690596.0511 | 1244410.5454
60 | 2690789.9709 | 1244604.7545 | 2690807.0777 | 1244595.5983 | 2690810.0052 | 1244593.6223
61 | 2690682.4248 | 1244777.8947 | 2690651.211 | 1244776.5611 | 2690647.4603 | 1244774.7358
62 | 2690682.4248 | 1244777.8947 | 2690682.6382 | 1244768.8801 | 2690685.5611 | 1244763.5652 | 2690685.174 | 1244755.2753
63 | 2690729.7191 | 1244773.381 | 2690726.093 | 1244785.1455
64 | 2690647.4603 | 1244774.7358 | 2690639.9372 | 1244764.591 | 2690639.9583 | 1244757.9628
65 | 2690729.7191 | 1244773.381 | 2690730.4861 | 1244761.7841 | 2690733.0861 | 1244757.3205 | 2690733.2271 | 1244752.2425
66 | 2690644.0825 | 1244738.635 | 2690644.3615 | 1244747.0789 | 2690639.9768 | 1244752.1157 | 2690639.9583 | 1244757.9628
67 | 2690542.9756 | 1244416.3284 | 2690553.5769 | 1244422.4058 | 2690561.3276 | 1244424.1254 | 2690567.9916 | 1244423.749 | 2690575.1846 | 1244421.4015 | 2690596.0511 | 1244410.5454
68 | 2690596.0511 | 1244410.5454 | 2690593.4404 | 1244401.8546 | 2690592.4701 | 1244392.1547 | 2690593.3512 | 1244382.4721 | 2690595.7625 | 1244372.0567 | 2690606.0615 | 1244332.6401 | 2690606.8009 | 1244328.6326
69 | 2690625.5302 | 1244255.024 | 2690625.0715 | 1244258.8309 | 2690622.6721 | 1244266.4778 | 2690615.9636 | 1244285.0781 | 2690611.9451 | 1244300.7506 | 2690606.8009 | 1244328.6326
70 | 2690687.5601 | 1244213.3851 | 2690672.1949 | 1244222.268 | 2690631.7479 | 1244251.7276 | 2690625.5302 | 1244255.024
71 | 2690542.9756 | 1244416.3284 | 2690518.2815 | 1244431.8743 | 2690511.3122 | 1244423.0464
72 | 2690687.5601 | 1244213.3851 | 2690703.6439 | 1244227.6861 | 2690731.7646 | 1244244.6398 | 2690761.5126 | 1244252.0447 | 2690792.2869 | 1244258.0756 | 2690807.37 | 1244261.0271

## bus_geodata
| x | y | coords
0 | 2690826.5145 | 1244911.8656
1 | 2690829.1353 | 1244908.6758
2 | 2690858.3232 | 1244937.3399
3 | 2690842.3184 | 1244888.5568
4 | 2690877.5248 | 1244821.0471
5 | 2690873.489 | 1244829.0674
6 | 2690883.2204 | 1244809.0015
7 | 2690866.034 | 1244843.4668
8 | 2690913.3403 | 1244861.4466
9 | 2690903.37 | 1244807.8871
10 | 2690876.2147 | 1244782.8858
11 | 2690857.9135 | 1244859.1514
12 | 2690940.8307 | 1244839.9407
13 | 2690918.8515 | 1244792.8242
14 | 2690887.089 | 1244773.5565
15 | 2690862.2374 | 1244792.1995
16 | 2690853.4572 | 1244867.554
17 | 2690889.2496 | 1244882.5489
18 | 2690869.2269 | 1244907.8704
19 | 2690770.5791 | 1244845.9151
20 | 2690758.8946 | 1244853.0646
21 | 2690787.806 | 1244835.4493
22 | 2690737.8326 | 1244842.2121
23 | 2690792.5887 | 1244832.5537
24 | 2690788.3325 | 1244802.57
25 | 2690737.5527 | 1244831.7686
26 | 2690835.5961 | 1244807.6354
27 | 2690777.7512 | 1244760.6729
28 | 2690702.1502 | 1244813.8898
29 | 2690706.4815 | 1244784.6786
30 | 2690927.8465 | 1244635.3661
31 | 2690932.34 | 1244642.2824
32 | 2690918.844 | 1244617.3818
33 | 2690936.0775 | 1244653.237
34 | 2690939.2486 | 1244681.2446
35 | 2690939.2921 | 1244685.904
36 | 2690937.5672 | 1244702.399
37 | 2690947.849 | 1244713.4871
38 | 2690906.2107 | 1244757.6636
39 | 2690922.8004 | 1244742.0234
40 | 2690869.7922 | 1244757.8472
41 | 2690973.4646 | 1244730.9707
42 | 2690847.7545 | 1244737.8321
43 | 2690986.2909 | 1244717.5796
44 | 2690846.7654 | 1244736.9337
45 | 2690826.488 | 1244718.7954
46 | 2690846.6843 | 1244728.9043
47 | 2690846.0103 | 1244725.0218
48 | 2690816.4062 | 1244709.8932
49 | 2690939.1023 | 1244566.2509
50 | 2690933.8459 | 1244553.7975
51 | 2690855.6512 | 1244559.9931
52 | 2691025.4098 | 1244743.5323
53 | 2691013.1445 | 1244785.8536
54 | 2690972.1653 | 1244779.1979
55 | 2690983.4129 | 1244766.2385
56 | 2690789.9709 | 1244604.7545
57 | 2690777.8356 | 1244748.2538
58 | 2690682.4248 | 1244777.8947
59 | 2690726.093 | 1244785.1455
60 | 2690647.4603 | 1244774.7358
61 | 2690685.174 | 1244755.2753
62 | 2690729.7191 | 1244773.381
63 | 2690644.0825 | 1244738.635
64 | 2690639.9583 | 1244757.9628
65 | 2690733.2271 | 1244752.2425
66 | 2690810.0052 | 1244593.6223
67 | 2690596.0511 | 1244410.5454
68 | 2690606.8009 | 1244328.6326
69 | 2690625.5302 | 1244255.024
70 | 2690542.9756 | 1244416.3284
71 | 2690687.5601 | 1244213.3851
72 | 2690511.3122 | 1244423.0464
73 | 2690807.37 | 1244261.0271
74 | 2690834.5576 | 1244709.9822

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99125 | -0.16698 | 0 | 0
1 | 0.99126 | -0.16685 | 0.0016406 | 0.00041117
2 | 0.99118 | -0.16828 | 0.0017649 | 0.00044233
3 | 0.99133 | -0.16539 | 0 | 0
4 | 0.99204 | -0.15174 | 0.00079659 | 0.00019964
5 | 0.99187 | -0.15504 | 0 | 0
6 | 0.9923 | -0.14665 | 0 | 0
7 | 0.9917 | -0.15827 | 0.00077053 | 0.00019311
8 | 0.99141 | -0.16392 | 0.009521 | 0.0023862
9 | 0.99188 | -0.15479 | 0 | 0
10 | 0.99334 | -0.12653 | 0 | 0
11 | 0.99153 | -0.16155 | 0 | 0
12 | 0.99145 | -0.16312 | 0.0093927 | 0.002354
13 | 0.99171 | -0.15813 | 0.0087313 | 0.0021883
14 | 0.99444 | -0.1056 | 0 | 0
15 | 0.99137 | -0.16413 | 0.0074481 | 0.0018667
16 | 0.99146 | -0.16285 | 0.0016928 | 0.00042426
17 | 0.99143 | -0.16352 | 0.0027455 | 0.00068809
18 | 0.99125 | -0.16699 | 0.0026204 | 0.00065673
19 | 0.98185 | -0.34738 | 0.0072031 | 0.0018053
20 | 0.98164 | -0.35148 | 0 | 0
21 | 0.98229 | -0.33873 | 0 | 0
22 | 0.98123 | -0.35957 | 0 | 0
23 | 0.98287 | -0.32762 | 0 | 0
24 | 0.97964 | -0.3903 | 0.016222 | 0.0040655
25 | 0.98107 | -0.3627 | 0.01654 | 0.0041452
26 | 0.98797 | -0.2292 | 0.0084176 | 0.0021097
27 | 0.97615 | -0.45868 | 0 | 0
28 | 0.97179 | -0.5444 | 0.01873 | 0.0046941
29 | 0.97232 | -0.53392 | 0 | 0
30 | 0.98965 | -0.19819 | 0.0025764 | 0.00064571
31 | 0.98968 | -0.19746 | 0.0041976 | 0.001052
32 | 0.9896 | -0.19905 | 0.0023914 | 0.00059935
33 | 0.98978 | -0.19554 | 0.0030437 | 0.00076283
34 | 0.9901 | -0.18942 | 0.0017472 | 0.00043789
35 | 0.99016 | -0.18826 | 0.0030507 | 0.00076459
36 | 0.99042 | -0.18324 | 0.0034841 | 0.00087319
37 | 0.99071 | -0.17762 | 0 | 0
38 | 0.99324 | -0.12863 | 0.0048494 | 0.0012154
39 | 0.99224 | -0.14791 | 0.0035195 | 0.00088207
40 | 0.99679 | -0.060733 | 0.00462 | 0.0011579
41 | 0.98991 | -0.19303 | 0 | 0
42 | 0.99986 | -0.0026808 | 0.0071679 | 0.0017965
43 | 0.98951 | -0.20083 | 0.0090581 | 0.0022702
44 | 1 | 0 | -0.27458 | -0.069782
45 | 0.99926 | -0.014154 | 0.010014 | 0.0025098
46 | 0.99993 | -0.001312 | 0.0069825 | 0.00175
47 | 0.99992 | -0.0014763 | 0.0023913 | 0.00059933
48 | 0.99902 | -0.018805 | 0 | 0
49 | 0.9964 | -0.069098 | 0.004033 | 0.0010108
50 | 0.99645 | -0.068141 | 0 | 0
51 | 0.99674 | -0.062587 | 0 | 0
52 | 0.98886 | -0.21347 | 0 | 0
53 | 0.98827 | -0.22492 | 0 | 0
54 | 0.98766 | -0.23672 | 0.0074482 | 0.0018667
55 | 0.98778 | -0.23443 | 0.0071278 | 0.0017864
56 | 0.99706 | -0.056381 | 0 | 0
57 | 0.97598 | -0.46193 | 0.014316 | 0.003588
58 | 0.97189 | -0.54245 | 0 | 0
59 | 0.97299 | -0.52073 | 0 | 0
60 | 0.97166 | -0.5471 | 0 | 0
61 | 0.97166 | -0.54708 | 0.010725 | 0.0026878
62 | 0.97341 | -0.51245 | 0 | 0
63 | 0.97146 | -0.55101 | 0.0035623 | 0.0008928
64 | 0.97153 | -0.54963 | 0.0035656 | 0.00089362
65 | 0.97302 | -0.52027 | 0.019446 | 0.0048737
66 | 0.99695 | -0.058566 | 0.0013935 | 0.00034925
67 | 0.99346 | -0.12578 | 0 | 0
68 | 0.99275 | -0.13951 | 0.00093979 | 0.00023553
69 | 0.99217 | -0.15071 | 0 | 0
70 | 0.99319 | -0.13099 | 0 | 0
71 | 0.9916 | -0.16169 | 0 | 0
72 | 0.993 | -0.13465 | 0.0051113 | 0.001281
73 | 0.9906 | -0.1811 | 0.0082987 | 0.0020798
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.001765 | -0.00044186 | 0.001765 | 0.00044182 | 1.0867e-08 | -4.6263e-08 | 0.0026494 | 0.0026494 | 0.0026494 | 0.99125 | -0.16698 | 0.99126 | -0.16685 | 0.72786
1 | 0.001765 | 0.00044186 | -0.0017649 | -0.00044233 | 1.0946e-07 | -4.6591e-07 | 0.0026494 | 0.0026496 | 0.0026496 | 0.99125 | -0.16698 | 0.99118 | -0.16828 | 0.72791
2 | -0.0034056 | -0.00085298 | 0.0034058 | 0.00085283 | 2.3599e-07 | -1.5941e-07 | 0.0051121 | 0.005112 | 0.0051121 | 0.99126 | -0.16685 | 0.99133 | -0.16539 | 1.4044
3 | 0.0026206 | 0.00065641 | -0.0026204 | -0.00065673 | 1.9933e-07 | -3.1532e-07 | 0.0039334 | 0.0039336 | 0.0039336 | 0.99133 | -0.16539 | 0.99125 | -0.16699 | 1.0807
4 | -0.0060264 | -0.0015092 | 0.0060272 | 0.0015094 | 7.2943e-07 | 1.6028e-07 | 0.0090454 | 0.0090453 | 0.0090454 | 0.99133 | -0.16539 | 0.99146 | -0.16285 | 2.485
5 | 0.020768 | 0.0052065 | -0.020765 | -0.0052045 | 3.2675e-06 | 1.9753e-06 | 0.031152 | 0.031152 | 0.031152 | 0.99204 | -0.15174 | 0.99187 | -0.15504 | 8.5583
6 | -0.021565 | -0.0054061 | 0.02157 | 0.0054093 | 5.2301e-06 | 3.1751e-06 | 0.032347 | 0.032347 | 0.032347 | 0.99204 | -0.15174 | 0.9923 | -0.14665 | 8.8866
7 | 0.01124 | 0.0028164 | -0.011238 | -0.0028155 | 1.729e-06 | 8.9729e-07 | 0.016862 | 0.016862 | 0.016862 | 0.99187 | -0.15504 | 0.9917 | -0.15827 | 4.6325
8 | 0.009525 | 0.0023881 | -0.009521 | -0.0023862 | 4.0278e-06 | 1.8992e-06 | 0.01429 | 0.01429 | 0.01429 | 0.99187 | -0.15504 | 0.99141 | -0.16392 | 3.9259
9 | 0.018136 | 0.0045488 | -0.018129 | -0.0045447 | 7.0345e-06 | 4.1746e-06 | 0.027198 | 0.027198 | 0.027198 | 0.9923 | -0.14665 | 0.99188 | -0.15479 | 7.4719
10 | -0.039706 | -0.0099581 | 0.039744 | 0.0099821 | 3.8116e-05 | 2.4024e-05 | 0.059545 | 0.059545 | 0.059545 | 0.9923 | -0.14665 | 0.99334 | -0.12653 | 16.3584
11 | 0.010468 | 0.0026224 | -0.010466 | -0.0026216 | 1.6339e-06 | 8.1785e-07 | 0.015706 | 0.015706 | 0.015706 | 0.9917 | -0.15827 | 0.99153 | -0.16155 | 4.3149
12 | 0.0093965 | 0.0023558 | -0.0093927 | -0.002354 | 3.7295e-06 | 1.7412e-06 | 0.014097 | 0.014097 | 0.014097 | 0.99188 | -0.15479 | 0.99145 | -0.16312 | 3.8728
13 | 0.0087327 | 0.0021889 | -0.0087313 | -0.0021883 | 1.3903e-06 | 6.1102e-07 | 0.013101 | 0.013101 | 0.013101 | 0.99188 | -0.15479 | 0.99171 | -0.15813 | 3.5992
14 | -0.1678 | -0.042801 | 0.16797 | 0.042909 | 0.00016983 | 0.00010832 | 0.25163 | 0.25163 | 0.25163 | 0.99334 | -0.12653 | 0.99444 | -0.1056 | 34.5642
15 | 0.12805 | 0.032818 | -0.12782 | -0.03267 | 0.00023295 | 0.00014887 | 0.19208 | 0.19208 | 0.19208 | 0.99334 | -0.12653 | 0.99137 | -0.16413 | 52.7702
16 | 0.0077204 | 0.0019338 | -0.00772 | -0.0019337 | 4.7877e-07 | 1.8375e-07 | 0.011586 | 0.011586 | 0.011586 | 0.99153 | -0.16155 | 0.99146 | -0.16285 | 3.1829
17 | 0.0027458 | 0.00068773 | -0.0027455 | -0.00068809 | 2.5776e-07 | -3.5712e-07 | 0.0041205 | 0.0041207 | 0.0041207 | 0.99153 | -0.16155 | 0.99143 | -0.16352 | 1.1321
18 | -0.22069 | -0.056208 | 0.22117 | 0.056513 | 0.00047869 | 0.00030576 | 0.33055 | 0.33055 | 0.33055 | 0.99444 | -0.1056 | 0.99679 | -0.060733 | 45.4053
19 | 0.052724 | 0.013299 | -0.052666 | -0.013262 | 5.8079e-05 | 3.6848e-05 | 0.078924 | 0.078924 | 0.078924 | 0.99444 | -0.1056 | 0.99324 | -0.12863 | 21.6823
20 | 0.12037 | 0.030803 | -0.12 | -0.030561 | 0.00037787 | 0.00024144 | 0.1809 | 0.1809 | 0.1809 | 0.99137 | -0.16413 | 0.98797 | -0.2292 | 49.699
21 | 0.016552 | 0.0041523 | -0.016549 | -0.0041504 | 3.2326e-06 | 1.8957e-06 | 0.025086 | 0.025086 | 0.025086 | 0.98185 | -0.34738 | 0.98164 | -0.35148 | 6.8918
22 | -0.023755 | -0.0059576 | 0.023765 | 0.0059636 | 9.7975e-06 | 6.0154e-06 | 0.036002 | 0.036002 | 0.036002 | 0.98185 | -0.34738 | 0.98229 | -0.33873 | 9.8908
23 | 0.016549 | 0.0041504 | -0.016542 | -0.0041467 | 6.3789e-06 | 3.7409e-06 | 0.025086 | 0.025086 | 0.025086 | 0.98164 | -0.35148 | 0.98123 | -0.35957 | 6.8918
24 | -0.11099 | -0.028077 | 0.11105 | 0.028115 | 5.9207e-05 | 3.7822e-05 | 0.16823 | 0.16823 | 0.16823 | 0.98229 | -0.33873 | 0.98287 | -0.32762 | 46.2161
25 | 0.087226 | 0.022113 | -0.087011 | -0.021976 | 0.00021559 | 0.00013756 | 0.13222 | 0.13222 | 0.13222 | 0.98229 | -0.33873 | 0.97964 | -0.3903 | 36.3254
26 | 0.016542 | 0.0041467 | -0.01654 | -0.0041452 | 2.4655e-06 | 1.446e-06 | 0.025086 | 0.025086 | 0.025086 | 0.98123 | -0.35957 | 0.98107 | -0.3627 | 6.8918
27 | -0.11105 | -0.028115 | 0.11158 | 0.028452 | 0.00052749 | 0.00033696 | 0.16823 | 0.16823 | 0.16823 | 0.98287 | -0.32762 | 0.98797 | -0.2292 | 46.2161
28 | 0.070789 | 0.01791 | -0.070558 | -0.017763 | 0.00023146 | 0.00014747 | 0.10759 | 0.10759 | 0.10759 | 0.97964 | -0.3903 | 0.97615 | -0.45868 | 29.5564
29 | 0.056239 | 0.014174 | -0.056095 | -0.014082 | 0.00014426 | 9.1677e-05 | 0.085758 | 0.085758 | 0.085758 | 0.97615 | -0.45868 | 0.97341 | -0.51245 | 23.5599
30 | 0.014319 | 0.0035893 | -0.014316 | -0.003588 | 2.2189e-06 | 1.2649e-06 | 0.021827 | 0.021827 | 0.021827 | 0.97615 | -0.45868 | 0.97598 | -0.46193 | 5.9965
31 | -0.01873 | -0.0046941 | 0.018739 | 0.0046997 | 9.3617e-06 | 5.6152e-06 | 0.028679 | 0.028679 | 0.028679 | 0.97179 | -0.5444 | 0.97232 | -0.53392 | 7.8788
32 | 0.017865 | 0.0044806 | -0.017857 | -0.0044762 | 7.2623e-06 | 4.3267e-06 | 0.027341 | 0.027341 | 0.027341 | 0.97232 | -0.53392 | 0.97189 | -0.54245 | 7.5112
33 | -0.036604 | -0.0091803 | 0.036627 | 0.0091948 | 2.3017e-05 | 1.4488e-05 | 0.05602 | 0.05602 | 0.05602 | 0.97232 | -0.53392 | 0.97299 | -0.52073 | 15.39
34 | -0.0049679 | -0.0012449 | 0.0049681 | 0.0012449 | 1.7257e-07 | 4.4653e-09 | 0.0074697 | 0.0074696 | 0.0074697 | 0.98965 | -0.19819 | 0.98968 | -0.19746 | 2.0521
35 | 0.0023915 | 0.00059916 | -0.0023914 | -0.00059935 | 9.7565e-08 | -1.9609e-07 | 0.0035958 | 0.0035959 | 0.0035959 | 0.98965 | -0.19819 | 0.9896 | -0.19905 | 0.98789
36 | -0.0091657 | -0.0022969 | 0.0091666 | 0.0022973 | 8.4039e-07 | 3.862e-07 | 0.013781 | 0.013781 | 0.013781 | 0.98968 | -0.19746 | 0.98978 | -0.19554 | 3.7859
37 | -0.01221 | -0.0030601 | 0.012214 | 0.003062 | 3.5617e-06 | 1.9171e-06 | 0.018357 | 0.018357 | 0.018357 | 0.98978 | -0.19554 | 0.9901 | -0.18942 | 5.043
38 | -0.013961 | -0.0034999 | 0.013962 | 0.0035004 | 7.7383e-07 | 4.3497e-07 | 0.020982 | 0.020982 | 0.020982 | 0.9901 | -0.18942 | 0.99016 | -0.18826 | 5.7644
39 | -0.017013 | -0.0042649 | 0.017017 | 0.0042673 | 4.0654e-06 | 2.3885e-06 | 0.025567 | 0.025567 | 0.025567 | 0.99016 | -0.18826 | 0.99042 | -0.18324 | 7.0239
40 | -0.020501 | -0.0051405 | 0.020506 | 0.0051438 | 5.4938e-06 | 3.3172e-06 | 0.030801 | 0.030801 | 0.030801 | 0.99042 | -0.18324 | 0.99071 | -0.17762 | 8.4619
41 | 0.023684 | 0.0059529 | -0.023667 | -0.0059422 | 1.741e-05 | 1.0671e-05 | 0.03558 | 0.03558 | 0.03558 | 0.99071 | -0.17762 | 0.98991 | -0.19303 | 9.7746
42 | -0.044191 | -0.011097 | 0.044253 | 0.011136 | 6.2743e-05 | 3.9666e-05 | 0.066381 | 0.066381 | 0.066381 | 0.99071 | -0.17762 | 0.99224 | -0.14791 | 18.2365
43 | 0.047817 | 0.012046 | -0.047773 | -0.012018 | 4.4034e-05 | 2.7886e-05 | 0.071659 | 0.071659 | 0.071659 | 0.99324 | -0.12863 | 0.99224 | -0.14791 | 19.6865
44 | -0.22579 | -0.057671 | 0.22643 | 0.058077 | 0.00063561 | 0.00040601 | 0.33745 | 0.33745 | 0.33745 | 0.99679 | -0.060733 | 0.99986 | -0.0026808 | 46.3526
45 | 0.023667 | 0.0059422 | -0.023658 | -0.0059369 | 8.8026e-06 | 5.3954e-06 | 0.03558 | 0.03558 | 0.03558 | 0.98991 | -0.19303 | 0.98951 | -0.20083 | 9.7747
46 | -0.2336 | -0.059874 | 0.23363 | 0.059893 | 3.0362e-05 | 1.9396e-05 | 0.34811 | 0.34811 | 0.34811 | 0.99986 | -0.0026808 | 1 | 0 | 47.8179
47 | 0.0146 | 0.0036667 | -0.014591 | -0.0036617 | 8.7984e-06 | 5.0063e-06 | 0.021958 | 0.021958 | 0.021958 | 0.98951 | -0.20083 | 0.98886 | -0.21347 | 6.0325
48 | 0.029926 | 0.0075391 | -0.029906 | -0.0075265 | 2.0243e-05 | 1.2599e-05 | 0.044544 | 0.044544 | 0.044544 | 1 | 0 | 0.99926 | -0.014154 | 12.2374
49 | 0.0093744 | 0.0023495 | -0.0093738 | -0.0023493 | 5.8593e-07 | 2.6966e-07 | 0.013949 | 0.013949 | 0.013949 | 1 | 0 | 0.99993 | -0.001312 | 3.8322
50 | 0.019891 | 0.0050167 | -0.019887 | -0.005014 | 4.4284e-06 | 2.6581e-06 | 0.029632 | 0.029632 | 0.029632 | 0.99926 | -0.014154 | 0.99902 | -0.018805 | 8.1406
51 | 0.0023914 | 0.00059929 | -0.0023913 | -0.00059933 | 1.8713e-08 | -3.9714e-08 | 0.0035586 | 0.0035586 | 0.0035586 | 0.99993 | -0.001312 | 0.99992 | -0.0014763 | 0.97764
52 | 0.019887 | 0.005014 | -0.019851 | -0.0049926 | 3.5696e-05 | 2.1429e-05 | 0.029632 | 0.029632 | 0.029632 | 0.99902 | -0.018805 | 0.99706 | -0.056381 | 8.1407
53 | -0.004033 | -0.0010108 | 0.0040331 | 0.0010107 | 1.8387e-07 | -5.8395e-08 | 0.0060228 | 0.0060227 | 0.0060228 | 0.9964 | -0.069098 | 0.99645 | -0.068141 | 1.6546
54 | -0.0040331 | -0.0010107 | 0.0040342 | 0.0010104 | 1.0669e-06 | -3.3926e-07 | 0.0060227 | 0.0060224 | 0.0060227 | 0.99645 | -0.068141 | 0.99674 | -0.062587 | 1.6546
55 | -0.0040342 | -0.0010104 | 0.004035 | 0.0010101 | 7.7238e-07 | -2.4605e-07 | 0.0060224 | 0.0060221 | 0.0060224 | 0.99674 | -0.062587 | 0.99695 | -0.058566 | 1.6545
56 | 0.014591 | 0.0036617 | -0.014583 | -0.0036571 | 7.9666e-06 | 4.5338e-06 | 0.021958 | 0.021959 | 0.021959 | 0.98886 | -0.21347 | 0.98827 | -0.22492 | 6.0326
57 | 0.014583 | 0.0036571 | -0.014577 | -0.0036534 | 6.6092e-06 | 3.7618e-06 | 0.021959 | 0.021959 | 0.021959 | 0.98827 | -0.22492 | 0.98778 | -0.23443 | 6.0326
58 | -0.0074482 | -0.0018667 | 0.007449 | 0.001867 | 8.1029e-07 | 2.9896e-07 | 0.011221 | 0.011221 | 0.011221 | 0.98766 | -0.23672 | 0.98778 | -0.23443 | 3.0828
59 | 0.014422 | 0.0036331 | -0.014374 | -0.0036062 | 4.7711e-05 | 2.6968e-05 | 0.02153 | 0.021531 | 0.021531 | 0.99706 | -0.056381 | 0.99346 | -0.12578 | 5.9152
60 | 0.0054291 | 0.0013594 | -0.0054285 | -0.0013594 | 5.6457e-07 | 6.2232e-08 | 0.0081019 | 0.0081021 | 0.0081021 | 0.99706 | -0.056381 | 0.99695 | -0.058566 | 2.2258
61 | 0.0071306 | 0.0017872 | -0.007129 | -0.0017866 | 1.5783e-06 | 5.7262e-07 | 0.010917 | 0.010917 | 0.010917 | 0.97189 | -0.54245 | 0.97166 | -0.5471 | 2.9993
62 | 0.010727 | 0.002689 | -0.010725 | -0.0026878 | 2.3651e-06 | 1.224e-06 | 0.016424 | 0.016424 | 0.016424 | 0.97189 | -0.54245 | 0.97166 | -0.54708 | 4.512
63 | -0.036627 | -0.0091948 | 0.036641 | 0.0092039 | 1.4485e-05 | 9.1177e-06 | 0.05602 | 0.056019 | 0.05602 | 0.97299 | -0.52073 | 0.97341 | -0.51245 | 15.39
64 | 0.007129 | 0.0017866 | -0.0071282 | -0.0017863 | 8.6078e-07 | 3.124e-07 | 0.010917 | 0.010918 | 0.010918 | 0.97166 | -0.5471 | 0.97153 | -0.54963 | 2.9993
65 | 0.019454 | 0.0048781 | -0.019446 | -0.0048737 | 7.2524e-06 | 4.3698e-06 | 0.029739 | 0.029739 | 0.029739 | 0.97341 | -0.51245 | 0.97302 | -0.52027 | 8.17
66 | -0.0035623 | -0.0008928 | 0.0035626 | 0.00089269 | 2.3417e-07 | -1.0983e-07 | 0.0054565 | 0.0054564 | 0.0054565 | 0.97146 | -0.55101 | 0.97153 | -0.54963 | 1.499
67 | 0.0051134 | 0.0012811 | -0.0051121 | -0.001281 | 1.271e-06 | 6.5488e-08 | 0.0076588 | 0.0076591 | 0.0076591 | 0.99346 | -0.12578 | 0.99319 | -0.13099 | 2.1041
68 | 0.009261 | 0.0023251 | -0.0092549 | -0.0023223 | 6.0661e-06 | 2.7948e-06 | 0.013873 | 0.013873 | 0.013873 | 0.99346 | -0.12578 | 0.99275 | -0.13951 | 3.8113
69 | 0.0083152 | 0.0020867 | -0.0083107 | -0.0020849 | 4.4369e-06 | 1.8555e-06 | 0.012464 | 0.012465 | 0.012465 | 0.99275 | -0.13951 | 0.99217 | -0.15071 | 3.4244
70 | 0.0083107 | 0.0020849 | -0.0083064 | -0.0020831 | 4.3512e-06 | 1.8209e-06 | 0.012465 | 0.012465 | 0.012465 | 0.99217 | -0.15071 | 0.9916 | -0.16169 | 3.4245
71 | 0.0051121 | 0.001281 | -0.0051113 | -0.001281 | 8.8934e-07 | 4.6097e-08 | 0.0076591 | 0.0076592 | 0.0076592 | 0.99319 | -0.13099 | 0.993 | -0.13465 | 2.1042
72 | 0.0083064 | 0.0020831 | -0.0082987 | -0.0020798 | 7.6767e-06 | 3.2153e-06 | 0.012465 | 0.012466 | 0.012466 | 0.9916 | -0.16169 | 0.9906 | -0.1811 | 3.4246

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.27458 | 0.069782

## res_load
| p_mw | q_mvar
0 | 0.0016406 | 0.00041117
1 | 0.0017649 | 0.00044233
2 | 0.00079659 | 0.00019964
3 | 0.00077053 | 0.00019311
4 | 0.009521 | 0.0023862
5 | 0.0093927 | 0.002354
6 | 0.0087313 | 0.0021883
7 | 0.0074481 | 0.0018667
8 | 0.0016928 | 0.00042426
9 | 0.0027455 | 0.00068809
10 | 0.0026204 | 0.00065673
11 | 0.0072031 | 0.0018053
12 | 0.016222 | 0.0040655
13 | 0.01654 | 0.0041452
14 | 0.0084176 | 0.0021097
15 | 0.01873 | 0.0046941
16 | 0.0025764 | 0.00064571
17 | 0.0041976 | 0.001052
18 | 0.0023914 | 0.00059935
19 | 0.0030437 | 0.00076283
20 | 0.0017472 | 0.00043789
21 | 0.0030507 | 0.00076459
22 | 0.0034841 | 0.00087319
23 | 0.0048494 | 0.0012154
24 | 0.0035195 | 0.00088207
25 | 0.00462 | 0.0011579
26 | 0.0071679 | 0.0017965
27 | 0.0090581 | 0.0022702
28 | 0.010014 | 0.0025098
29 | 0.0069825 | 0.00175
30 | 0.0023913 | 0.00059933
31 | 0.004033 | 0.0010108
32 | 0.0074482 | 0.0018667
33 | 0.0071278 | 0.0017864
34 | 0.014316 | 0.003588
35 | 0.010725 | 0.0026878
36 | 0.0035623 | 0.0008928
37 | 0.0035656 | 0.00089362
38 | 0.019446 | 0.0048737
39 | 0.0013935 | 0.00034925
40 | 0.00093979 | 0.00023553
41 | 0.0051113 | 0.001281
42 | 0.0082987 | 0.0020798

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1