## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_195-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_195-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_195-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_195-2_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_195-2_0_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_195-2_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_195-2_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_195-2_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_195-2_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_195-2_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_195-2_0_2_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_195-2_0_2_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_195-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_195-2_0_2_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_195-2_0_2_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_195-2_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_195-2_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_195-2_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_195-2_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_195-2_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_195-2_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_195-2_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_195-2_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_195-2_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_195-2_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_195-2_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_195-2_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_195-2_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_195-2_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_195-2_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_195-2_0_2_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_195-2_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_195-2_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_195-2_0_2_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_195-2_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_195-2_0_2_node_309 | 0.4 | n |  | TRUE
36 | bus_LV_195-2_0_2_node_305 | 0.4 | n |  | TRUE
37 | bus_LV_195-2_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_195-2_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_195-2_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_195-2_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_195-2_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_195-2_0_2_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_195-2_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_195-2_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_195-2_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_195-2_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_195-2_0_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_195-2_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_195-2_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_195-2_0_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_195-2_0_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_195-2_0_2_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_195-2_0_2_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_195-2_0_2_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_195-2_0_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_195-2_0_2_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_195-2_0_2_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_195-2_0_2_node_243 | 0.4 | n |  | TRUE
59 | bus_LV_195-2_0_2_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_195-2_0_2_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_195-2_0_2_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_195-2_0_2_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_195-2_0_2_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_195-2_0_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_195-2_0_2_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_195-2_0_2_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_195-2_0_2_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_195-2_0_2_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_195-2_0_2_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_195-2_0_2_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_195-2_0_2_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_195-2_0_2_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_195-2_0_2_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_195-2_0_2_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_195-2_0_2_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_195-2_0_2_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_195-2_0_2_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_195-2_0_2_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_195-2_0_2_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_195-2_0_2_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_195-2_0_2_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_195-2_0_2_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_195-2_0_2_node_303 | 0.4 | n |  | TRUE
84 | bus_MV_356_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_195-2_0_2_load_0 | 0 | 0.0019505 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_195-2_0_2_load_1 | 1 | 0.0013102 | 0.00032838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_195-2_0_2_load_4 | 6 | 0.0011343 | 0.00028427 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_195-2_0_2_load_7 | 8 | 0.0022789 | 0.00057114 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_195-2_0_2_load_91 | 10 | 0.0027519 | 0.00068969 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_195-2_0_2_load_71 | 11 | 0.00062889 | 0.00015761 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_195-2_0_2_load_87 | 14 | 0.0014146 | 0.00035454 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_195-2_0_2_load_10 | 15 | 0.0019157 | 0.00048011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_195-2_0_2_load_11 | 16 | 0.00046756 | 0.00011718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_195-2_0_2_load_13 | 17 | 0.0014373 | 0.00036022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_195-2_0_2_load_14 | 18 | 0.00054572 | 0.00013677 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_195-2_0_2_load_16 | 19 | 0.00077929 | 0.00019531 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_195-2_0_2_load_17 | 20 | 0.0018707 | 0.00046884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_195-2_0_2_load_18 | 21 | 0.0017724 | 0.00044421 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_195-2_0_2_load_19 | 22 | 0.0002476 | 6.2054e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_195-2_0_2_load_20 | 23 | 0.0007259 | 0.00018193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_195-2_0_2_load_22 | 25 | 0.0016794 | 0.00042091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_195-2_0_2_load_28 | 29 | 0.0028482 | 0.00071382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_195-2_0_2_load_61 | 30 | 0.0018375 | 0.00046052 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_195-2_0_2_load_32 | 33 | 0.0060466 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_195-2_0_2_load_309 | 35 | 0.0017496 | 0.0004385 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_195-2_0_2_load_36 | 37 | 0.00075827 | 0.00019004 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_195-2_0_2_load_41 | 40 | 0.00070151 | 0.00017582 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_195-2_0_2_load_33 | 41 | 0.00075708 | 0.00018974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_195-2_0_2_load_34 | 42 | 0.0014471 | 0.00036269 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_195-2_0_2_load_35 | 43 | 0.0048655 | 0.0012194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_195-2_0_2_load_38 | 44 | 0.00089198 | 0.00022355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_195-2_0_2_load_39 | 45 | 0.0051825 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_195-2_0_2_load_51 | 46 | 0.012868 | 0.0032249 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_195-2_0_2_load_52 | 47 | 0.004227 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_195-2_0_2_load_53 | 48 | 0.0097238 | 0.002437 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_195-2_0_2_load_54 | 49 | 0.00086329 | 0.00021636 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_195-2_0_2_load_55 | 50 | 0.00055274 | 0.00013853 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_195-2_0_2_load_56 | 51 | 0.0010058 | 0.00025206 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_195-2_0_2_load_57 | 52 | 0.0013624 | 0.00034144 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_195-2_0_2_load_58 | 53 | 0.0019252 | 0.00048251 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_195-2_0_2_load_60 | 55 | 0.0010552 | 0.00026446 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_195-2_0_2_load_63 | 57 | 0.00082205 | 0.00020603 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_195-2_0_2_load_243 | 58 | 0.0046475 | 0.0011648 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_195-2_0_2_load_65 | 59 | 0.00088755 | 0.00022244 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_195-2_0_2_load_66 | 60 | 0.0011511 | 0.00028849 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_195-2_0_2_load_67 | 61 | 0.00056633 | 0.00014194 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_195-2_0_2_load_68 | 62 | 0.00049896 | 0.00012505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_195-2_0_2_load_69 | 63 | 0.0015157 | 0.00037986 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_195-2_0_2_load_70 | 64 | 0.00034093 | 8.5445e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_195-2_0_2_load_78 | 65 | 0.0018263 | 0.00045772 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_195-2_0_2_load_72 | 66 | 0.0021174 | 0.00053067 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_195-2_0_2_load_73 | 67 | 0.0042303 | 0.0010602 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_195-2_0_2_load_74 | 68 | 0.00085893 | 0.00021527 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_195-2_0_2_load_75 | 69 | 0.00091773 | 0.00023001 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_195-2_0_2_load_77 | 71 | 0.001343 | 0.0003366 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_195-2_0_2_load_79 | 72 | 0.0026826 | 0.00067233 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_195-2_0_2_load_84 | 73 | 0.0011156 | 0.00027959 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_195-2_0_2_load_80 | 74 | 0.00035487 | 8.894e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_195-2_0_2_load_81 | 75 | 0.00032112 | 8.0481e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_195-2_0_2_load_82 | 76 | 0.00024136 | 6.049e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_195-2_0_2_load_83 | 77 | 0.00056505 | 0.00014162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_195-2_0_2_load_86 | 79 | 0.00054796 | 0.00013733 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_195-2_0_2_load_88 | 80 | 0.0005065 | 0.00012694 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_195-2_0_2_load_90 | 82 | 0.00090461 | 0.00022672 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_195-2_0_2_load_303 | 83 | 0.00094971 | 0.00023802 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_195-2_0_2_line_0 |  | 0 | 1 | 0.23127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_195-2_0_2_line_1 |  | 0 | 2 | 0.035992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_195-2_0_2_line_2 |  | 0 | 3 | 0.72852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_195-2_0_2_line_3 |  | 1 | 4 | 0.67917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_195-2_0_2_line_4 |  | 2 | 5 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_195-2_0_2_line_5 |  | 3 | 7 | 0.27154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_195-2_0_2_line_6 |  | 4 | 19 | 0.049611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_195-2_0_2_line_7 |  | 4 | 18 | 0.02574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_195-2_0_2_line_8 |  | 5 | 6 | 0.023219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_195-2_0_2_line_9 |  | 7 | 8 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_195-2_0_2_line_10 |  | 7 | 9 | 0.033597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_195-2_0_2_line_11 |  | 8 | 10 | 0.056187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_195-2_0_2_line_12 |  | 9 | 11 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_195-2_0_2_line_13 |  | 9 | 12 | 0.024638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_195-2_0_2_line_14 |  | 9 | 13 | 0.010943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_195-2_0_2_line_15 |  | 11 | 63 | 0.011497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_195-2_0_2_line_16 |  | 12 | 14 | 0.055772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_195-2_0_2_line_17 |  | 13 | 51 | 0.023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_195-2_0_2_line_18 |  | 13 | 57 | 0.0055194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_195-2_0_2_line_19 |  | 14 | 80 | 0.041081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_195-2_0_2_line_20 |  | 15 | 16 | 0.026628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_195-2_0_2_line_21 |  | 16 | 17 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_195-2_0_2_line_22 |  | 17 | 18 | 0.017607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_195-2_0_2_line_23 |  | 19 | 20 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_195-2_0_2_line_24 |  | 20 | 21 | 0.0016881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_195-2_0_2_line_25 |  | 21 | 22 | 0.03299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_195-2_0_2_line_26 |  | 23 | 24 | 0.082197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_195-2_0_2_line_27 |  | 23 | 25 | 0.0091984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_195-2_0_2_line_28 |  | 24 | 26 | 0.14509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_195-2_0_2_line_29 |  | 24 | 27 | 0.17251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_195-2_0_2_line_30 |  | 24 | 28 | 0.19979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_195-2_0_2_line_31 |  | 26 | 29 | 0.032277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_195-2_0_2_line_32 |  | 27 | 30 | 0.0012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_195-2_0_2_line_33 |  | 28 | 35 | 0.055714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_195-2_0_2_line_34 |  | 28 | 36 | 0.24683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_195-2_0_2_line_35 |  | 29 | 34 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_195-2_0_2_line_36 |  | 30 | 54 | 0.044696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_195-2_0_2_line_37 |  | 31 | 32 | 0.043149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_195-2_0_2_line_38 |  | 31 | 33 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_195-2_0_2_line_39 |  | 31 | 34 | 0.005394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_195-2_0_2_line_40 |  | 32 | 37 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_195-2_0_2_line_41 |  | 32 | 38 | 0.10717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_195-2_0_2_line_42 |  | 33 | 41 | 0.037963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_195-2_0_2_line_43 |  | 36 | 83 | 0.31637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_195-2_0_2_line_44 |  | 38 | 45 | 0.035024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_195-2_0_2_line_45 |  | 38 | 39 | 0.007272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_195-2_0_2_line_46 |  | 39 | 40 | 0.0034622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_195-2_0_2_line_47 |  | 41 | 42 | 0.0078541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_195-2_0_2_line_48 |  | 42 | 43 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_195-2_0_2_line_49 |  | 43 | 44 | 0.053502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_195-2_0_2_line_50 |  | 46 | 47 | 0.040646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_195-2_0_2_line_51 |  | 46 | 48 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_195-2_0_2_line_52 |  | 47 | 49 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_195-2_0_2_line_53 |  | 49 | 50 | 0.0063677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_195-2_0_2_line_54 |  | 50 | 51 | 0.0046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_195-2_0_2_line_55 |  | 52 | 53 | 0.028332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_195-2_0_2_line_56 |  | 52 | 54 | 0.022494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_195-2_0_2_line_57 |  | 53 | 55 | 0.0097705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_195-2_0_2_line_58 |  | 54 | 56 | 0.04978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_195-2_0_2_line_59 |  | 55 | 57 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_195-2_0_2_line_60 |  | 56 | 58 | 0.051777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_195-2_0_2_line_61 |  | 59 | 60 | 0.0039945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_195-2_0_2_line_62 |  | 59 | 61 | 0.002744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_195-2_0_2_line_63 |  | 60 | 62 | 0.0064984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_195-2_0_2_line_64 |  | 61 | 63 | 0.0056891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_195-2_0_2_line_65 |  | 62 | 64 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_195-2_0_2_line_66 |  | 64 | 65 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_195-2_0_2_line_67 |  | 65 | 70 | 0.01419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_195-2_0_2_line_68 |  | 66 | 67 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_195-2_0_2_line_69 |  | 66 | 68 | 0.062993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_195-2_0_2_line_70 |  | 67 | 69 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_195-2_0_2_line_71 |  | 68 | 70 | 0.015406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_195-2_0_2_line_72 |  | 70 | 71 | 0.018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_195-2_0_2_line_73 |  | 71 | 72 | 0.027349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_195-2_0_2_line_74 |  | 72 | 73 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_195-2_0_2_line_75 |  | 73 | 78 | 0.0086106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_195-2_0_2_line_76 |  | 74 | 75 | 0.0022354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_195-2_0_2_line_77 |  | 75 | 76 | 0.029392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_195-2_0_2_line_78 |  | 76 | 77 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_195-2_0_2_line_79 |  | 77 | 78 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_195-2_0_2_line_80 |  | 78 | 79 | 0.026846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_195-2_0_2_line_81 |  | 80 | 81 | 0.13556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_195-2_0_2_line_82 |  | 81 | 82 | 0.040975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_195-2_0_2_trafo_243 | 0.63 MVA 20/0.4 kV | 84 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2694139.7535 | 1241412.8944 | 2694135.3699 | 1241410.3786 | 2694130.5143 | 1241405.1977 | 2694096.2527 | 1241355.5953 | 2694089.6248 | 1241347.7288 | 2694081.973 | 1241340.5355 | 2694071.8136 | 1241335.0593 | 2694060.2703 | 1241331.4959 | 2694047.8843 | 1241331.4886 | 2694036.1487 | 1241334.327 | 2694023.8363 | 1241339.2134 | 2694012.0879 | 1241345.254 | 2694000.8841 | 1241352.7155 | 2693971.1296 | 1241377.9522 | 2693960.3854 | 1241375.4841
1 | 2694174.1079 | 1241405.645 | 2694167.6931 | 1241407.2334 | 2694152.0654 | 1241413.757 | 2694145.1111 | 1241414.0803 | 2694139.7535 | 1241412.8944
2 | 2694097.0309 | 1242140.1611 | 2694139.7535 | 1241412.8944
3 | 2693687.9251 | 1241997.6051 | 2693960.3854 | 1241375.4841
4 | 2694184.9248 | 1241403.0369 | 2694174.1079 | 1241405.645
5 | 2694097.0309 | 1242140.1611 | 2694095.219 | 1242192.416 | 2694116.5695 | 1242276.3284 | 2694121.4679 | 1242304.0158 | 2694138.0471 | 1242384.1054 | 2694143.3585 | 1242406.2396
6 | 2693687.9251 | 1241997.6051 | 2693696.137 | 1242015.2702 | 2693713.8021 | 1242039.679
7 | 2693687.9251 | 1241997.6051 | 2693671.923 | 1242017.7659
8 | 2694184.9248 | 1241403.0369 | 2694189.5693 | 1241411.5058 | 2694196.9195 | 1241416.2482 | 2694201.044 | 1241418.7293
9 | 2694143.3585 | 1242406.2396 | 2694144.0768 | 1242387.423
10 | 2694143.3585 | 1242406.2396 | 2694145.8133 | 1242420.2001 | 2694147.426 | 1242424.3399 | 2694150.2105 | 1242427.0528 | 2694153.3533 | 1242428.626 | 2694149.822 | 1242435.3306
11 | 2694146.9672 | 1242331.3155 | 2694144.5174 | 1242372.7662 | 2694144.2774 | 1242382.1694 | 2694144.0768 | 1242387.423
12 | 2694149.822 | 1242435.3306 | 2694161.8975 | 1242438.0909 | 2694169.1773 | 1242441.4756 | 2694171.3476 | 1242443.4347
13 | 2694162.3759 | 1242414.1472 | 2694153.3533 | 1242428.626 | 2694149.822 | 1242435.3306
14 | 2694149.822 | 1242435.3306 | 2694144.4763 | 1242444.8863
15 | 2694171.3476 | 1242443.4347 | 2694179.8818 | 1242451.1388
16 | 2694162.3759 | 1242414.1472 | 2694190.9451 | 1242366.2487
17 | 2694144.4763 | 1242444.8863 | 2694138.2566 | 1242442.8305 | 2694121.6072 | 1242440.4278
18 | 2694144.4763 | 1242444.8863 | 2694142.3033 | 1242449.9599
19 | 2694211.9891 | 1242330.9668 | 2694190.9451 | 1242366.2487
20 | 2693650.7404 | 1242052.4608 | 2693640.2951 | 1242076.9546
21 | 2693650.7404 | 1242052.4608 | 2693651.8668 | 1242049.8196 | 2693661.044 | 1242031.3681
22 | 2693671.923 | 1242017.7659 | 2693668.1299 | 1242022.5447 | 2693663.1817 | 1242027.07 | 2693661.044 | 1242031.3681
23 | 2693713.8021 | 1242039.679 | 2693723.1162 | 1242052.5488
24 | 2693724.1059 | 1242053.9164 | 2693723.1162 | 1242052.5488
25 | 2693724.1059 | 1242053.9164 | 2693742.0571 | 1242078.7205 | 2693743.0474 | 1242080.8757
26 | 2694029.8129 | 1242717.3396 | 2694020.9005 | 1242713.9514 | 2694013.1946 | 1242712.6617 | 2694008.2373 | 1242716.8196 | 2693990.5365 | 1242750.8648 | 2693978.6958 | 1242761.9523 | 2693975.3612 | 1242763.7441
27 | 2693967.2585 | 1242768.098 | 2693975.3612 | 1242763.7441
28 | 2693961.2415 | 1242844.8715 | 2693976.5116 | 1242822.4965 | 2693989.6069 | 1242800.9321 | 2694003.8185 | 1242773.3365 | 2694015.8808 | 1242747.3191 | 2694029.8129 | 1242717.3396
29 | 2694029.8129 | 1242717.3396 | 2694058.7027 | 1242655.6622 | 2694065.4337 | 1242639.7792 | 2694074.3628 | 1242614.0014 | 2694083.512 | 1242586.7482 | 2694089.7594 | 1242569.9013 | 2694095.4363 | 1242558.0379
30 | 2694029.8129 | 1242717.3396 | 2694058.7027 | 1242655.6622 | 2694065.4337 | 1242639.7792 | 2694059.8968 | 1242639.9582 | 2694043.2478 | 1242651.0249 | 2694024.9217 | 1242661.0643 | 2693999.5694 | 1242670.3364 | 2693981.7943 | 1242672.3341 | 2693960.1421 | 1242664.2297
31 | 2693961.2415 | 1242844.8715 | 2693947.5593 | 1242861.9788 | 2693940.6788 | 1242869.7385
32 | 2694095.4363 | 1242558.0379 | 2694095.9845 | 1242556.8917
33 | 2693960.1421 | 1242664.2297 | 2693965.6142 | 1242719.669
34 | 2693726.7174 | 1242716.8337 | 2693782.635 | 1242718.9854 | 2693800.8217 | 1242720.5851 | 2693831.8844 | 1242716.8511 | 2693857.9144 | 1242712.4928 | 2693868.7908 | 1242707.8724 | 2693886.3263 | 1242696.1743 | 2693914.9736 | 1242681.2275 | 2693928.8704 | 1242671.1176 | 2693940.7073 | 1242666.0011 | 2693950.4086 | 1242663.9865 | 2693960.1421 | 1242664.2297
35 | 2693921.8519 | 1242889.437 | 2693933.8888 | 1242877.3962 | 2693940.6788 | 1242869.7385
36 | 2694114.0134 | 1242516.0121 | 2694104.6401 | 1242538.7916 | 2694095.9845 | 1242556.8917
37 | 2693925.7156 | 1242893.2121 | 2693908.4704 | 1242908.0948 | 2693894.0217 | 1242922.5437
38 | 2693925.7156 | 1242893.2121 | 2693936.8309 | 1242901.8438
39 | 2693921.8519 | 1242889.437 | 2693925.7156 | 1242893.2121
40 | 2693894.0217 | 1242922.5437 | 2693908.0412 | 1242939.5005
41 | 2693894.0217 | 1242922.5437 | 2693865.0557 | 1242951.4961 | 2693842.3162 | 1242973.4641 | 2693819.1817 | 1242999.3844
42 | 2693936.8309 | 1242901.8438 | 2693948.9857 | 1242911.2829 | 2693950.2658 | 1242915.4173 | 2693940.7428 | 1242930.9803
43 | 2693726.7174 | 1242716.8337 | 2693731.4944 | 1242740.8049 | 2693726.5218 | 1242766.0453 | 2693716.1413 | 1242779.9585 | 2693695.5576 | 1242787.9728 | 2693669.9737 | 1242792.8282 | 2693637.8794 | 1242801.128 | 2693622.2264 | 1242809.0425 | 2693616.5597 | 1242823.2082 | 2693612.3982 | 1242865.0961 | 2693613.5962 | 1242883.073 | 2693624.0968 | 1242916.586 | 2693623.0718 | 1242925.4876 | 2693617.832 | 1242937.0358 | 2693608.018 | 1242951.9933
44 | 2693819.1817 | 1242999.3844 | 2693844.1603 | 1243023.9351
45 | 2693814.4768 | 1242993.8281 | 2693819.1817 | 1242999.3844
46 | 2693814.4768 | 1242993.8281 | 2693812.3678 | 1242996.5739
47 | 2693940.7428 | 1242930.9803 | 2693936.6435 | 1242937.6797
48 | 2693924.9861 | 1242954.2786 | 2693930.6158 | 1242947.5304 | 2693936.6435 | 1242937.6797
49 | 2693924.9861 | 1242954.2786 | 2693917.6698 | 1242963.0483 | 2693930.0286 | 1242978.3998 | 2693920.2785 | 1242986.8741 | 2693913.7653 | 1242980.0207
50 | 2694056.1775 | 1242418.9968 | 2694094.7436 | 1242431.8332
51 | 2694045.7349 | 1242415.5211 | 2694056.1775 | 1242418.9968
52 | 2694111.1185 | 1242437.1557 | 2694102.0723 | 1242434.2725 | 2694094.7436 | 1242431.8332
53 | 2694117.1856 | 1242439.0893 | 2694111.1185 | 1242437.1557
54 | 2694121.6072 | 1242440.4278 | 2694121.2016 | 1242440.3693 | 2694117.1856 | 1242439.0893
55 | 2694122.8694 | 1242495.3347 | 2694134.024 | 1242469.2908
56 | 2694114.0134 | 1242516.0121 | 2694122.8694 | 1242495.3347
57 | 2694137.8707 | 1242460.3094 | 2694134.024 | 1242469.2908
58 | 2694114.0134 | 1242516.0121 | 2694092.4508 | 1242521.2964 | 2694078.1705 | 1242523.6162 | 2694065.395 | 1242520.667
59 | 2694137.8707 | 1242460.3094 | 2694142.3033 | 1242449.9599
60 | 2694065.395 | 1242520.667 | 2694059.8434 | 1242519.3892 | 2694026.6212 | 1242498.0801 | 2694021.8405 | 1242493.5128
61 | 2694189.9761 | 1242457.9087 | 2694186.1415 | 1242456.7896 | 2694186.1415 | 1242456.7896
62 | 2694184.1047 | 1242454.9509 | 2694186.1415 | 1242456.7896
63 | 2694189.9761 | 1242457.9087 | 2694196.2143 | 1242459.7292
64 | 2694179.8818 | 1242451.1388 | 2694184.1047 | 1242454.9509
65 | 2694196.2143 | 1242459.7292 | 2694198.8746 | 1242460.5056 | 2694214.3126 | 1242461.9517
66 | 2694214.3126 | 1242461.9517 | 2694214.3126 | 1242461.9517 | 2694228.964 | 1242460.0829 | 2694228.964 | 1242460.0829
67 | 2694242.8842 | 1242462.8393 | 2694228.964 | 1242460.0829
68 | 2694207.2028 | 1242532.6283 | 2694193.4271 | 1242557.1609
69 | 2694207.2028 | 1242532.6283 | 2694215.4726 | 1242517.901 | 2694225.2674 | 1242498.5975 | 2694236.0757 | 1242476.659
70 | 2694183.0742 | 1242575.6192 | 2694187.6112 | 1242567.5182 | 2694193.4271 | 1242557.1609
71 | 2694242.8842 | 1242462.8393 | 2694236.0757 | 1242476.659
72 | 2694242.8842 | 1242462.8393 | 2694250.0719 | 1242446.797 | 2694249.9182 | 1242445.7023
73 | 2694240.1754 | 1242420.7489 | 2694248.2721 | 1242433.981 | 2694249.9182 | 1242445.7023
74 | 2694240.1754 | 1242420.7489 | 2694237.0933 | 1242415.712 | 2694225.2277 | 1242404.4011
75 | 2694220.1521 | 1242397.5183 | 2694223.2854 | 1242402.5496 | 2694225.2277 | 1242404.4011
76 | 2694281.8128 | 1242389.7986 | 2694279.5775 | 1242389.7763
77 | 2694250.4218 | 1242392.5388 | 2694267.9229 | 1242389.6598 | 2694279.5775 | 1242389.7763
78 | 2694250.4218 | 1242392.5388 | 2694236.0295 | 1242394.9064
79 | 2694220.1521 | 1242397.5183 | 2694236.0295 | 1242394.9064
80 | 2694220.1521 | 1242397.5183 | 2694204.5328 | 1242400.8173 | 2694194.2464 | 1242404.3688
81 | 2694294.3411 | 1242224.0442 | 2694260.6923 | 1242258.0685 | 2694241.1556 | 1242285.6679 | 2694222.9841 | 1242312.5328 | 2694211.9891 | 1242330.9668
82 | 2694272.6738 | 1242189.2294 | 2694294.3411 | 1242224.0442

## bus_geodata
| x | y | coords
0 | 2694139.7535 | 1241412.8944
1 | 2693960.3854 | 1241375.4841
2 | 2694174.1079 | 1241405.645
3 | 2694097.0309 | 1242140.1611
4 | 2693687.9251 | 1241997.6051
5 | 2694184.9248 | 1241403.0369
6 | 2694201.044 | 1241418.7293
7 | 2694143.3585 | 1242406.2396
8 | 2694144.0768 | 1242387.423
9 | 2694149.822 | 1242435.3306
10 | 2694146.9672 | 1242331.3155
11 | 2694171.3476 | 1242443.4347
12 | 2694162.3759 | 1242414.1472
13 | 2694144.4763 | 1242444.8863
14 | 2694190.9451 | 1242366.2487
15 | 2693640.2951 | 1242076.9546
16 | 2693650.7404 | 1242052.4608
17 | 2693661.044 | 1242031.3681
18 | 2693671.923 | 1242017.7659
19 | 2693713.8021 | 1242039.679
20 | 2693723.1162 | 1242052.5488
21 | 2693724.1059 | 1242053.9164
22 | 2693743.0474 | 1242080.8757
23 | 2693975.3612 | 1242763.7441
24 | 2694029.8129 | 1242717.3396
25 | 2693967.2585 | 1242768.098
26 | 2693961.2415 | 1242844.8715
27 | 2694095.4363 | 1242558.0379
28 | 2693960.1421 | 1242664.2297
29 | 2693940.6788 | 1242869.7385
30 | 2694095.9845 | 1242556.8917
31 | 2693925.7156 | 1242893.2121
32 | 2693894.0217 | 1242922.5437
33 | 2693936.8309 | 1242901.8438
34 | 2693921.8519 | 1242889.437
35 | 2693965.6142 | 1242719.669
36 | 2693726.7174 | 1242716.8337
37 | 2693908.0412 | 1242939.5005
38 | 2693819.1817 | 1242999.3844
39 | 2693814.4768 | 1242993.8281
40 | 2693812.3678 | 1242996.5739
41 | 2693940.7428 | 1242930.9803
42 | 2693936.6435 | 1242937.6797
43 | 2693924.9861 | 1242954.2786
44 | 2693913.7653 | 1242980.0207
45 | 2693844.1603 | 1243023.9351
46 | 2694056.1775 | 1242418.9968
47 | 2694094.7436 | 1242431.8332
48 | 2694045.7349 | 1242415.5211
49 | 2694111.1185 | 1242437.1557
50 | 2694117.1856 | 1242439.0893
51 | 2694121.6072 | 1242440.4278
52 | 2694122.8694 | 1242495.3347
53 | 2694134.024 | 1242469.2908
54 | 2694114.0134 | 1242516.0121
55 | 2694137.8707 | 1242460.3094
56 | 2694065.395 | 1242520.667
57 | 2694142.3033 | 1242449.9599
58 | 2694021.8405 | 1242493.5128
59 | 2694186.1415 | 1242456.7896
60 | 2694189.9761 | 1242457.9087
61 | 2694184.1047 | 1242454.9509
62 | 2694196.2143 | 1242459.7292
63 | 2694179.8818 | 1242451.1388
64 | 2694214.3126 | 1242461.9517
65 | 2694228.964 | 1242460.0829
66 | 2694207.2028 | 1242532.6283
67 | 2694193.4271 | 1242557.1609
68 | 2694236.0757 | 1242476.659
69 | 2694183.0742 | 1242575.6192
70 | 2694242.8842 | 1242462.8393
71 | 2694249.9182 | 1242445.7023
72 | 2694240.1754 | 1242420.7489
73 | 2694225.2277 | 1242404.4011
74 | 2694281.8128 | 1242389.7986
75 | 2694279.5775 | 1242389.7763
76 | 2694250.4218 | 1242392.5388
77 | 2694236.0295 | 1242394.9064
78 | 2694220.1521 | 1242397.5183
79 | 2694194.2464 | 1242404.3688
80 | 2694211.9891 | 1242330.9668
81 | 2694294.3411 | 1242224.0442
82 | 2694272.6738 | 1242189.2294
83 | 2693608.018 | 1242951.9933
84 | 2694065.395 | 1242520.667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97847 | -0.41487 | 0.0019505 | 0.00048883
1 | 0.97623 | -0.45867 | 0.0013102 | 0.00032838
2 | 0.97843 | -0.41562 | 0 | 0
3 | 0.98759 | -0.23774 | 0 | 0
4 | 0.9705 | -0.57178 | 0 | 0
5 | 0.97842 | -0.41585 | 0 | 0
6 | 0.9784 | -0.41633 | 0.0011343 | 0.00028427
7 | 0.99099 | -0.17247 | 0 | 0
8 | 0.99091 | -0.17415 | 0.0022789 | 0.00057114
9 | 0.99157 | -0.16142 | 0 | 0
10 | 0.99077 | -0.1769 | 0.0027519 | 0.00068969
11 | 0.99108 | -0.17083 | 0.00062889 | 0.00015761
12 | 0.99151 | -0.16266 | 0 | 0
13 | 0.99201 | -0.15287 | 0 | 0
14 | 0.99136 | -0.16546 | 0.0014146 | 0.00035454
15 | 0.97023 | -0.57709 | 0.0019157 | 0.00048011
16 | 0.97028 | -0.57614 | 0.00046756 | 0.00011718
17 | 0.97033 | -0.5751 | 0.0014373 | 0.00036022
18 | 0.9704 | -0.57386 | 0.00054572 | 0.00013677
19 | 0.97028 | -0.57607 | 0.00077929 | 0.00019531
20 | 0.97023 | -0.57721 | 0.0018707 | 0.00046884
21 | 0.97022 | -0.57728 | 0.0017724 | 0.00044421
22 | 0.97022 | -0.57743 | 0.0002476 | 6.2054e-05
23 | 0.98891 | -0.21283 | 0.0007259 | 0.00018193
24 | 0.98909 | -0.20931 | 0 | 0
25 | 0.98889 | -0.21311 | 0.0016794 | 0.00042091
26 | 0.98595 | -0.27029 | 0 | 0
27 | 0.99363 | -0.12164 | 0 | 0
28 | 0.9886 | -0.21901 | 0 | 0
29 | 0.98525 | -0.2839 | 0.0028482 | 0.00071382
30 | 0.99367 | -0.121 | 0.0018375 | 0.00046052
31 | 0.98463 | -0.29603 | 0 | 0
32 | 0.98436 | -0.30118 | 0 | 0
33 | 0.98445 | -0.29957 | 0.0060466 | 0.0015154
34 | 0.98473 | -0.29402 | 0 | 0
35 | 0.98851 | -0.22074 | 0.0017496 | 0.0004385
36 | 0.98838 | -0.22325 | 0 | 0
37 | 0.98435 | -0.30149 | 0.00075827 | 0.00019004
38 | 0.98378 | -0.31254 | 0 | 0
39 | 0.98378 | -0.31263 | 0 | 0
40 | 0.98378 | -0.31268 | 0.00070151 | 0.00017582
41 | 0.98417 | -0.30501 | 0.00075708 | 0.00018974
42 | 0.98412 | -0.30603 | 0.0014471 | 0.00036269
43 | 0.98401 | -0.30814 | 0.0048655 | 0.0012194
44 | 0.98396 | -0.309 | 0.00089198 | 0.00022355
45 | 0.98362 | -0.31581 | 0.0051825 | 0.0012989
46 | 0.98984 | -0.19495 | 0.012868 | 0.0032249
47 | 0.99068 | -0.17863 | 0.004227 | 0.0010594
48 | 0.98974 | -0.19685 | 0.0097238 | 0.002437
49 | 0.99111 | -0.17043 | 0.00086329 | 0.00021636
50 | 0.99127 | -0.1673 | 0.00055274 | 0.00013853
51 | 0.99139 | -0.16499 | 0.0010058 | 0.00025206
52 | 0.99411 | -0.11253 | 0.0013624 | 0.00034144
53 | 0.9931 | -0.13182 | 0.0019252 | 0.00048251
54 | 0.99492 | -0.096971 | 0 | 0
55 | 0.99277 | -0.13832 | 0.0010552 | 0.00026446
56 | 0.99741 | -0.049317 | 0 | 0
57 | 0.99238 | -0.14571 | 0.00082205 | 0.00020603
58 | 1 | 0 | -0.11183 | -0.02807
59 | 0.99069 | -0.17839 | 0.00088755 | 0.00022244
60 | 0.99062 | -0.17975 | 0.0011511 | 0.00028849
61 | 0.99074 | -0.17742 | 0.00056633 | 0.00014194
62 | 0.99052 | -0.18182 | 0.00049896 | 0.00012505
63 | 0.99085 | -0.17534 | 0.0015157 | 0.00037986
64 | 0.99022 | -0.1875 | 0.00034093 | 8.5445e-05
65 | 0.98999 | -0.192 | 0.0018263 | 0.00045772
66 | 0.98926 | -0.20624 | 0.0021174 | 0.00053067
67 | 0.98913 | -0.20882 | 0.0042303 | 0.0010602
68 | 0.98968 | -0.19809 | 0.00085893 | 0.00021527
69 | 0.98911 | -0.20917 | 0.00091773 | 0.00023001
70 | 0.98979 | -0.19586 | 0 | 0
71 | 0.98967 | -0.19825 | 0.001343 | 0.0003366
72 | 0.98953 | -0.20109 | 0.0026826 | 0.00067233
73 | 0.98946 | -0.20234 | 0.0011156 | 0.00027959
74 | 0.98939 | -0.20368 | 0.00035487 | 8.894e-05
75 | 0.98939 | -0.20367 | 0.00032112 | 8.0481e-05
76 | 0.98941 | -0.20331 | 0.00024136 | 6.049e-05
77 | 0.98942 | -0.20307 | 0.00056505 | 0.00014162
78 | 0.98945 | -0.20265 | 0 | 0
79 | 0.98943 | -0.20291 | 0.00054796 | 0.00013733
80 | 0.99131 | -0.1665 | 0.0005065 | 0.00012694
81 | 0.9912 | -0.16868 | 0 | 0
82 | 0.99116 | -0.16934 | 0.00090461 | 0.00022672
83 | 0.98811 | -0.22864 | 0.00094971 | 0.00023802
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010419 | 0.0026259 | -0.010397 | -0.0026148 | 2.179e-05 | 1.1047e-05 | 0.01585 | 0.015851 | 0.015851 | 0.97847 | -0.41487 | 0.97623 | -0.45867 | 4.3548
1 | 0.0011343 | 0.00028344 | -0.0011343 | -0.00028387 | 4.0154e-08 | -4.2636e-07 | 0.0017247 | 0.0017249 | 0.0017249 | 0.97847 | -0.41487 | 0.97843 | -0.41562 | 0.47388
2 | -0.013504 | -0.0033982 | 0.013619 | 0.0034627 | 0.00011525 | 6.4527e-05 | 0.020541 | 0.020538 | 0.020541 | 0.97847 | -0.41487 | 0.98759 | -0.23774 | 5.6432
3 | 0.0090872 | 0.0022865 | -0.0090383 | -0.0022636 | 4.8896e-05 | 2.2851e-05 | 0.013854 | 0.013857 | 0.013857 | 0.97623 | -0.45867 | 0.9705 | -0.57178 | 3.807
4 | 0.0011343 | 0.00028387 | -0.0011343 | -0.000284 | 1.2381e-08 | -1.3143e-07 | 0.0017249 | 0.001725 | 0.001725 | 0.97843 | -0.41562 | 0.97842 | -0.41585 | 0.47389
5 | -0.013619 | -0.0034627 | 0.013662 | 0.0034867 | 4.2948e-05 | 2.4001e-05 | 0.020538 | 0.020537 | 0.020538 | 0.98759 | -0.23774 | 0.99099 | -0.17247 | 5.6423
6 | 0.0046712 | 0.0011699 | -0.0046702 | -0.0011699 | 9.5425e-07 | -2.1696e-09 | 0.0071618 | 0.007162 | 0.007162 | 0.9705 | -0.57178 | 0.97028 | -0.57607 | 1.9676
7 | 0.0043671 | 0.0010937 | -0.0043667 | -0.0010937 | 4.3272e-07 | -4.1078e-08 | 0.0066955 | 0.0066956 | 0.0066956 | 0.9705 | -0.57178 | 0.9704 | -0.57386 | 1.8395
8 | 0.0011343 | 0.000284 | -0.0011343 | -0.00028427 | 2.591e-08 | -2.7503e-07 | 0.001725 | 0.0017251 | 0.0017251 | 0.97842 | -0.41585 | 0.9784 | -0.41633 | 0.47392
9 | 0.0050315 | 0.0012603 | -0.0050311 | -0.0012603 | 4.0303e-07 | 1.535e-08 | 0.0075548 | 0.0075549 | 0.0075549 | 0.99099 | -0.17247 | 0.99091 | -0.17415 | 2.0755
10 | -0.018694 | -0.004747 | 0.018704 | 0.004753 | 9.9422e-06 | 5.9299e-06 | 0.028091 | 0.028091 | 0.028091 | 0.99099 | -0.17247 | 0.99157 | -0.16142 | 7.7174
11 | 0.0027523 | 0.0006892 | -0.0027519 | -0.00068969 | 3.5989e-07 | -4.9335e-07 | 0.0041328 | 0.004133 | 0.004133 | 0.99091 | -0.17415 | 0.99077 | -0.1769 | 1.1354
12 | 0.02275 | 0.0057116 | -0.02274 | -0.0057054 | 1.0203e-05 | 6.2292e-06 | 0.034144 | 0.034144 | 0.034144 | 0.99157 | -0.16142 | 0.99108 | -0.17083 | 9.3802
13 | 0.0028265 | 0.00070482 | -0.0028263 | -0.00070503 | 1.6613e-07 | -2.1146e-07 | 0.0042403 | 0.0042404 | 0.0042404 | 0.99157 | -0.16142 | 0.99151 | -0.16266 | 1.165
14 | -0.04428 | -0.011169 | 0.044298 | 0.011181 | 1.8134e-05 | 1.1464e-05 | 0.066475 | 0.066475 | 0.066475 | 0.99157 | -0.16142 | 0.99201 | -0.15287 | 18.2625
15 | 0.022111 | 0.0055477 | -0.022106 | -0.0055448 | 4.7522e-06 | 2.8933e-06 | 0.0332 | 0.0332 | 0.0332 | 0.99108 | -0.17083 | 0.99085 | -0.17534 | 9.1208
16 | 0.0028263 | 0.00070503 | -0.0028259 | -0.00070551 | 3.7609e-07 | -4.785e-07 | 0.0042404 | 0.0042407 | 0.0042407 | 0.99151 | -0.16266 | 0.99136 | -0.16546 | 1.165
17 | 0.029293 | 0.007361 | -0.029276 | -0.0073505 | 1.6928e-05 | 1.0532e-05 | 0.043947 | 0.043947 | 0.043947 | 0.99201 | -0.15287 | 0.99139 | -0.16499 | 12.0734
18 | -0.073592 | -0.018542 | 0.073617 | 0.018558 | 2.5237e-05 | 1.608e-05 | 0.11042 | 0.11042 | 0.11042 | 0.99201 | -0.15287 | 0.99238 | -0.14571 | 30.3358
19 | 0.0014113 | 0.00035098 | -0.0014112 | -0.00035146 | 6.9073e-08 | -4.8545e-07 | 0.0021174 | 0.0021176 | 0.0021176 | 0.99136 | -0.16546 | 0.99131 | -0.1665 | 0.58175
20 | -0.0019157 | -0.00048011 | 0.0019157 | 0.00047983 | 8.6188e-08 | -2.7371e-07 | 0.002938 | 0.0029379 | 0.002938 | 0.97023 | -0.57709 | 0.97028 | -0.57614 | 0.80714
21 | -0.0023833 | -0.00059702 | 0.0023834 | 0.0005968 | 1.1761e-07 | -2.1474e-07 | 0.0036549 | 0.0036548 | 0.0036549 | 0.97028 | -0.57614 | 0.97033 | -0.5751 | 1.0041
22 | -0.0038207 | -0.00095702 | 0.0038209 | 0.00095695 | 2.2665e-07 | -7.245e-08 | 0.0058589 | 0.0058588 | 0.0058589 | 0.97033 | -0.5751 | 0.9704 | -0.57386 | 1.6096
23 | 0.0038909 | 0.00097462 | -0.0038907 | -0.00097468 | 2.1211e-07 | -6.0455e-08 | 0.0059669 | 0.005967 | 0.005967 | 0.97028 | -0.57607 | 0.97023 | -0.57721 | 1.6393
24 | 0.00202 | 0.00050584 | -0.00202 | -0.00050586 | 6.0756e-09 | -1.696e-08 | 0.0030979 | 0.0030979 | 0.0030979 | 0.97023 | -0.57721 | 0.97022 | -0.57728 | 0.85108
25 | 0.0002476 | 6.1648e-05 | -0.0002476 | -6.2054e-05 | 1.7833e-09 | -4.0627e-07 | 0.00037959 | 0.00037974 | 0.00037974 | 0.97022 | -0.57728 | 0.97022 | -0.57743 | 0.10432
26 | -0.0024054 | -0.00060273 | 0.0024058 | 0.00060194 | 4.0374e-07 | -7.9637e-07 | 0.0036193 | 0.003619 | 0.0036193 | 0.98891 | -0.21283 | 0.98909 | -0.20931 | 0.99432
27 | 0.0016795 | 0.0004208 | -0.0016794 | -0.00042091 | 2.2029e-08 | -1.0391e-07 | 0.0025271 | 0.0025271 | 0.0025271 | 0.98891 | -0.21283 | 0.98889 | -0.21311 | 0.69426
28 | 0.023606 | 0.0059506 | -0.023537 | -0.0059085 | 6.867e-05 | 4.2092e-05 | 0.035525 | 0.035526 | 0.035526 | 0.98909 | -0.20931 | 0.98595 | -0.27029 | 9.7599
29 | -0.028713 | -0.0072197 | 0.028833 | 0.0072948 | 0.00012075 | 7.5056e-05 | 0.043204 | 0.043204 | 0.043204 | 0.98909 | -0.20931 | 0.99363 | -0.12164 | 11.8694
30 | 0.0027012 | 0.00066718 | -0.0026999 | -0.00066895 | 1.2354e-06 | -1.7723e-06 | 0.0040602 | 0.0040611 | 0.0040611 | 0.98909 | -0.20931 | 0.9886 | -0.21901 | 1.1157
31 | 0.023537 | 0.0059085 | -0.023522 | -0.0058991 | 1.5276e-05 | 9.3654e-06 | 0.035526 | 0.035526 | 0.035526 | 0.98595 | -0.27029 | 0.98525 | -0.2839 | 9.7599
32 | -0.028833 | -0.0072948 | 0.028834 | 0.0072953 | 8.8935e-07 | 5.5272e-07 | 0.043204 | 0.043204 | 0.043204 | 0.99363 | -0.12164 | 0.99367 | -0.121 | 11.8691
33 | 0.0017498 | 0.00043788 | -0.0017496 | -0.0004385 | 1.4491e-07 | -6.2154e-07 | 0.0026335 | 0.0026338 | 0.0026338 | 0.9886 | -0.21901 | 0.98851 | -0.22074 | 0.72356
34 | 0.00095014 | 0.00023108 | -0.00094995 | -0.00023412 | 1.888e-07 | -3.0433e-06 | 0.0014277 | 0.0014288 | 0.0014288 | 0.9886 | -0.21901 | 0.98838 | -0.22325 | 0.39252
35 | 0.020673 | 0.0051853 | -0.020664 | -0.0051793 | 9.9667e-06 | 6.0317e-06 | 0.031225 | 0.031225 | 0.031225 | 0.98525 | -0.2839 | 0.98473 | -0.29402 | 8.5782
36 | -0.030672 | -0.0077558 | 0.030707 | 0.0077779 | 3.5397e-05 | 2.2074e-05 | 0.045955 | 0.045955 | 0.045955 | 0.99367 | -0.121 | 0.99492 | -0.096971 | 12.6251
37 | 0.0066479 | 0.0016655 | -0.0066463 | -0.001665 | 1.6332e-06 | 4.9656e-07 | 0.010046 | 0.010047 | 0.010047 | 0.98463 | -0.29603 | 0.98436 | -0.30118 | 2.7601
38 | 0.014014 | 0.0035126 | -0.014011 | -0.0035112 | 2.367e-06 | 1.3359e-06 | 0.021178 | 0.021178 | 0.021178 | 0.98463 | -0.29603 | 0.98445 | -0.29957 | 5.8182
39 | -0.020662 | -0.0051781 | 0.020664 | 0.0051793 | 1.9721e-06 | 1.1936e-06 | 0.031225 | 0.031225 | 0.031225 | 0.98463 | -0.29603 | 0.98473 | -0.29402 | 8.5782
40 | 0.00075828 | 0.00018977 | -0.00075827 | -0.00019004 | 1.084e-08 | -2.7275e-07 | 0.0011462 | 0.0011463 | 0.0011463 | 0.98436 | -0.30118 | 0.98435 | -0.30149 | 0.3149
41 | 0.005888 | 0.0014753 | -0.0058848 | -0.0014746 | 3.184e-06 | 6.7612e-07 | 0.0089005 | 0.0089009 | 0.0089009 | 0.98436 | -0.30118 | 0.98378 | -0.31254 | 2.4453
42 | 0.0079647 | 0.0019958 | -0.0079626 | -0.001995 | 2.0633e-06 | 8.3795e-07 | 0.012039 | 0.012039 | 0.012039 | 0.98445 | -0.29957 | 0.98417 | -0.30501 | 3.3074
43 | 0.00094995 | 0.00023412 | -0.00094971 | -0.00023802 | 2.4242e-07 | -3.8983e-06 | 0.0014288 | 0.0014302 | 0.0014302 | 0.98838 | -0.22325 | 0.98811 | -0.22864 | 0.39291
44 | 0.0051833 | 0.0012989 | -0.0051825 | -0.0012989 | 8.0728e-07 | 7.2032e-08 | 0.0078399 | 0.0078401 | 0.0078401 | 0.98378 | -0.31254 | 0.98362 | -0.31581 | 2.1539
45 | 0.00070152 | 0.00017568 | -0.00070151 | -0.00017577 | 3.0701e-09 | -9.0369e-08 | 0.001061 | 0.0010611 | 0.0010611 | 0.98378 | -0.31254 | 0.98378 | -0.31263 | 0.2915
46 | 0.00070151 | 0.00017577 | -0.00070151 | -0.00017582 | 1.4617e-09 | -4.3024e-08 | 0.0010611 | 0.0010611 | 0.0010611 | 0.98378 | -0.31263 | 0.98378 | -0.31268 | 0.29151
47 | 0.0072055 | 0.0018052 | -0.0072052 | -0.0018051 | 3.4956e-07 | 1.2392e-07 | 0.010894 | 0.010894 | 0.010894 | 0.98417 | -0.30501 | 0.98412 | -0.30603 | 2.9929
48 | 0.005758 | 0.0014424 | -0.0057575 | -0.0014423 | 5.7805e-07 | 1.1159e-07 | 0.0087061 | 0.0087062 | 0.0087062 | 0.98412 | -0.30603 | 0.98401 | -0.30814 | 2.3918
49 | 0.00089201 | 0.00022289 | -0.00089198 | -0.00022355 | 3.6499e-08 | -6.5625e-07 | 0.0013487 | 0.0013489 | 0.0013489 | 0.98401 | -0.30814 | 0.98396 | -0.309 | 0.37058
50 | -0.022592 | -0.0056624 | 0.02261 | 0.0056731 | 1.7582e-05 | 1.0729e-05 | 0.033963 | 0.033963 | 0.033963 | 0.98984 | -0.19495 | 0.99068 | -0.17863 | 9.3305
51 | 0.0097247 | 0.0024374 | -0.0097238 | -0.002437 | 8.8206e-07 | 4.2306e-07 | 0.014619 | 0.014619 | 0.014619 | 0.98984 | -0.19495 | 0.98974 | -0.19685 | 4.0162
52 | -0.026837 | -0.0067325 | 0.026847 | 0.006739 | 1.0493e-05 | 6.4936e-06 | 0.040312 | 0.040312 | 0.040312 | 0.99068 | -0.17863 | 0.99111 | -0.17043 | 11.0746
53 | -0.027711 | -0.0069554 | 0.027715 | 0.0069579 | 4.1339e-06 | 2.5636e-06 | 0.041608 | 0.041608 | 0.041608 | 0.99111 | -0.17043 | 0.99127 | -0.1673 | 11.4307
54 | -0.028268 | -0.0070965 | 0.028271 | 0.0070984 | 3.1234e-06 | 1.9394e-06 | 0.042437 | 0.042437 | 0.042437 | 0.99127 | -0.1673 | 0.99139 | -0.16499 | 11.6586
55 | 0.077541 | 0.019587 | -0.077469 | -0.019542 | 7.1631e-05 | 4.511e-05 | 0.11612 | 0.11612 | 0.11612 | 0.99411 | -0.11253 | 0.9931 | -0.13182 | 15.9507
56 | -0.078903 | -0.019929 | 0.078962 | 0.019966 | 5.8885e-05 | 3.7103e-05 | 0.11816 | 0.11816 | 0.11816 | 0.99411 | -0.11253 | 0.99492 | -0.096971 | 16.2307
57 | 0.075544 | 0.01906 | -0.075521 | -0.019045 | 2.349e-05 | 1.4781e-05 | 0.11324 | 0.11324 | 0.11324 | 0.9931 | -0.13182 | 0.99277 | -0.13832 | 15.5544
58 | -0.10967 | -0.027744 | 0.10992 | 0.027903 | 0.00025139 | 0.00015959 | 0.16411 | 0.16411 | 0.16411 | 0.99492 | -0.096971 | 0.99741 | -0.049317 | 22.5432
59 | 0.074465 | 0.01878 | -0.074439 | -0.018764 | 2.6318e-05 | 1.6552e-05 | 0.11165 | 0.11165 | 0.11165 | 0.99277 | -0.13832 | 0.99238 | -0.14571 | 15.3372
60 | -0.10992 | -0.027903 | 0.11018 | 0.028069 | 0.00026148 | 0.00016599 | 0.16411 | 0.16411 | 0.16411 | 0.99741 | -0.049317 | 1 | 0 | 22.5432
61 | 0.019134 | 0.0047988 | -0.019133 | -0.0047981 | 1.2373e-06 | 7.4043e-07 | 0.02874 | 0.02874 | 0.02874 | 0.99069 | -0.17839 | 0.99062 | -0.17975 | 7.8956
62 | -0.020021 | -0.0050213 | 0.020022 | 0.0050218 | 9.306e-07 | 5.6025e-07 | 0.030073 | 0.030073 | 0.030073 | 0.99069 | -0.17839 | 0.99074 | -0.17742 | 8.2618
63 | 0.017981 | 0.0045096 | -0.01798 | -0.0045085 | 1.7779e-06 | 1.0542e-06 | 0.027011 | 0.027011 | 0.027011 | 0.99062 | -0.17975 | 0.99052 | -0.18182 | 7.4206
64 | -0.020589 | -0.0051637 | 0.020591 | 0.005165 | 2.0401e-06 | 1.2324e-06 | 0.030924 | 0.030924 | 0.030924 | 0.99074 | -0.17742 | 0.99085 | -0.17534 | 8.4955
65 | 0.017481 | 0.0043835 | -0.017476 | -0.0043807 | 4.7268e-06 | 2.79e-06 | 0.026261 | 0.026262 | 0.026262 | 0.99052 | -0.18182 | 0.99022 | -0.1875 | 7.2147
66 | 0.017135 | 0.0042952 | -0.017131 | -0.0042931 | 3.6723e-06 | 2.1603e-06 | 0.025749 | 0.025749 | 0.025749 | 0.99022 | -0.1875 | 0.98999 | -0.192 | 7.074
67 | 0.015305 | 0.0038354 | -0.015302 | -0.0038337 | 2.8161e-06 | 1.6199e-06 | 0.023004 | 0.023004 | 0.023004 | 0.98999 | -0.192 | 0.98979 | -0.19586 | 6.3198
68 | 0.0051487 | 0.00129 | -0.0051481 | -0.00129 | 6.328e-07 | 4.3808e-08 | 0.0077444 | 0.0077445 | 0.0077445 | 0.98926 | -0.20624 | 0.98913 | -0.20882 | 2.1276
69 | -0.0072661 | -0.0018207 | 0.0072689 | 0.0018217 | 2.8216e-06 | 9.9673e-07 | 0.010929 | 0.010929 | 0.010929 | 0.98926 | -0.20624 | 0.98968 | -0.19809 | 3.0026
70 | 0.00091775 | 0.00022974 | -0.00091773 | -0.00023001 | 1.5127e-08 | -2.6196e-07 | 0.0013805 | 0.0013806 | 0.0013806 | 0.98913 | -0.20882 | 0.98911 | -0.20917 | 0.3793
71 | -0.0081279 | -0.0020369 | 0.0081287 | 0.0020373 | 8.6276e-07 | 3.5418e-07 | 0.01222 | 0.01222 | 0.01222 | 0.98968 | -0.19809 | 0.98979 | -0.19586 | 3.3573
72 | 0.0071735 | 0.0017964 | -0.0071727 | -0.0017962 | 8.1482e-07 | 2.8137e-07 | 0.010784 | 0.010784 | 0.010784 | 0.98979 | -0.19586 | 0.98967 | -0.19825 | 2.9626
73 | 0.0058296 | 0.0014596 | -0.0058289 | -0.0014594 | 7.8785e-07 | 1.5285e-07 | 0.0087646 | 0.0087647 | 0.0087647 | 0.98967 | -0.19825 | 0.98953 | -0.20109 | 2.4079
74 | 0.0031462 | 0.00078708 | -0.003146 | -0.00078725 | 1.8713e-07 | -1.6665e-07 | 0.0047307 | 0.0047308 | 0.0047308 | 0.98953 | -0.20109 | 0.98946 | -0.20234 | 1.2997
75 | 0.0020305 | 0.00050766 | -0.0020304 | -0.00050775 | 3.0099e-08 | -9.1331e-08 | 0.0030531 | 0.0030531 | 0.0030531 | 0.98946 | -0.20234 | 0.98945 | -0.20265 | 0.83877
76 | -0.00035487 | -8.894e-05 | 0.00035487 | 8.8911e-05 | 2.3875e-10 | -2.8555e-08 | 0.00053372 | 0.00053371 | 0.00053372 | 0.98939 | -0.20368 | 0.98939 | -0.20367 | 0.14663
77 | -0.000676 | -0.00016939 | 0.00067601 | 0.00016902 | 1.1391e-08 | -3.7018e-07 | 0.0010167 | 0.0010165 | 0.0010167 | 0.98939 | -0.20367 | 0.98941 | -0.20331 | 0.2793
78 | -0.00091736 | -0.00022951 | 0.00091737 | 0.00022933 | 1.0409e-08 | -1.8066e-07 | 0.0013795 | 0.0013795 | 0.0013795 | 0.98941 | -0.20331 | 0.98942 | -0.20307 | 0.37899
79 | -0.0014824 | -0.00037095 | 0.0014825 | 0.00037076 | 2.9985e-08 | -1.8747e-07 | 0.0022292 | 0.0022292 | 0.0022292 | 0.98942 | -0.20307 | 0.98945 | -0.20265 | 0.61243
80 | 0.00054797 | 0.00013699 | -0.00054796 | -0.00013733 | 6.8359e-09 | -3.4043e-07 | 0.00082397 | 0.00082409 | 0.00082409 | 0.98945 | -0.20265 | 0.98943 | -0.20291 | 0.2264
81 | 0.00090473 | 0.00022452 | -0.00090464 | -0.00022621 | 9.3694e-08 | -1.6876e-06 | 0.0013573 | 0.0013579 | 0.0013579 | 0.99131 | -0.1665 | 0.9912 | -0.16868 | 0.37305
82 | 0.00090464 | 0.00022621 | -0.00090461 | -0.00022672 | 2.8336e-08 | -5.0999e-07 | 0.0013579 | 0.0013581 | 0.0013581 | 0.9912 | -0.16868 | 0.99116 | -0.16934 | 0.3731

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11648 | 0.029234

## res_load
| p_mw | q_mvar
0 | 0.0019505 | 0.00048883
1 | 0.0013102 | 0.00032838
2 | 0.0011343 | 0.00028427
3 | 0.0022789 | 0.00057114
4 | 0.0027519 | 0.00068969
5 | 0.00062889 | 0.00015761
6 | 0.0014146 | 0.00035454
7 | 0.0019157 | 0.00048011
8 | 0.00046756 | 0.00011718
9 | 0.0014373 | 0.00036022
10 | 0.00054572 | 0.00013677
11 | 0.00077929 | 0.00019531
12 | 0.0018707 | 0.00046884
13 | 0.0017724 | 0.00044421
14 | 0.0002476 | 6.2054e-05
15 | 0.0007259 | 0.00018193
16 | 0.0016794 | 0.00042091
17 | 0.0028482 | 0.00071382
18 | 0.0018375 | 0.00046052
19 | 0.0060466 | 0.0015154
20 | 0.0017496 | 0.0004385
21 | 0.00075827 | 0.00019004
22 | 0.00070151 | 0.00017582
23 | 0.00075708 | 0.00018974
24 | 0.0014471 | 0.00036269
25 | 0.0048655 | 0.0012194
26 | 0.00089198 | 0.00022355
27 | 0.0051825 | 0.0012989
28 | 0.012868 | 0.0032249
29 | 0.004227 | 0.0010594
30 | 0.0097238 | 0.002437
31 | 0.00086329 | 0.00021636
32 | 0.00055274 | 0.00013853
33 | 0.0010058 | 0.00025206
34 | 0.0013624 | 0.00034144
35 | 0.0019252 | 0.00048251
36 | 0.0010552 | 0.00026446
37 | 0.00082205 | 0.00020603
38 | 0.0046475 | 0.0011648
39 | 0.00088755 | 0.00022244
40 | 0.0011511 | 0.00028849
41 | 0.00056633 | 0.00014194
42 | 0.00049896 | 0.00012505
43 | 0.0015157 | 0.00037986
44 | 0.00034093 | 8.5445e-05
45 | 0.0018263 | 0.00045772
46 | 0.0021174 | 0.00053067
47 | 0.0042303 | 0.0010602
48 | 0.00085893 | 0.00021527
49 | 0.00091773 | 0.00023001
50 | 0.001343 | 0.0003366
51 | 0.0026826 | 0.00067233
52 | 0.0011156 | 0.00027959
53 | 0.00035487 | 8.894e-05
54 | 0.00032112 | 8.0481e-05
55 | 0.00024136 | 6.049e-05
56 | 0.00056505 | 0.00014162
57 | 0.00054796 | 0.00013733
58 | 0.0005065 | 0.00012694
59 | 0.00090461 | 0.00022672
60 | 0.00094971 | 0.00023802

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1