## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_195-5_1_2_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_195-5_1_2_node_94 | 0.4 | n |  | TRUE
2 | bus_LV_195-5_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_195-5_1_2_node_96 | 0.4 | n |  | TRUE
4 | bus_LV_195-5_1_2_node_185 | 0.4 | n |  | TRUE
5 | bus_LV_195-5_1_2_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_195-5_1_2_node_174 | 0.4 | n |  | TRUE
7 | bus_LV_195-5_1_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_195-5_1_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_195-5_1_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_195-5_1_2_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_195-5_1_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_195-5_1_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_195-5_1_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_195-5_1_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_195-5_1_2_node_205 | 0.4 | n |  | TRUE
16 | bus_LV_195-5_1_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_195-5_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_195-5_1_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_195-5_1_2_node_182 | 0.4 | n |  | TRUE
20 | bus_LV_195-5_1_2_node_211 | 0.4 | n |  | TRUE
21 | bus_LV_195-5_1_2_node_213 | 0.4 | n |  | TRUE
22 | bus_LV_195-5_1_2_node_212 | 0.4 | n |  | TRUE
23 | bus_LV_195-5_1_2_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_195-5_1_2_node_175 | 0.4 | n |  | TRUE
25 | bus_LV_195-5_1_2_node_176 | 0.4 | n |  | TRUE
26 | bus_LV_195-5_1_2_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_195-5_1_2_node_177 | 0.4 | n |  | TRUE
28 | bus_LV_195-5_1_2_node_178 | 0.4 | n |  | TRUE
29 | bus_LV_195-5_1_2_node_179 | 0.4 | n |  | TRUE
30 | bus_LV_195-5_1_2_node_180 | 0.4 | n |  | TRUE
31 | bus_LV_195-5_1_2_node_181 | 0.4 | n |  | TRUE
32 | bus_LV_195-5_1_2_node_183 | 0.4 | n |  | TRUE
33 | bus_LV_195-5_1_2_node_184 | 0.4 | n |  | TRUE
34 | bus_LV_195-5_1_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_195-5_1_2_node_186 | 0.4 | n |  | TRUE
36 | bus_LV_195-5_1_2_node_187 | 0.4 | n |  | TRUE
37 | bus_LV_195-5_1_2_node_200 | 0.4 | n |  | TRUE
38 | bus_LV_195-5_1_2_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_195-5_1_2_node_98 | 0.4 | n |  | TRUE
40 | bus_LV_195-5_1_2_node_201 | 0.4 | n |  | TRUE
41 | bus_LV_195-5_1_2_node_203 | 0.4 | n |  | TRUE
42 | bus_LV_195-5_1_2_node_202 | 0.4 | n |  | TRUE
43 | bus_LV_195-5_1_2_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_195-5_1_2_node_218 | 0.4 | n |  | TRUE
45 | bus_LV_195-5_1_2_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_195-5_1_2_node_209 | 0.4 | n |  | TRUE
47 | bus_LV_195-5_1_2_node_210 | 0.4 | n |  | TRUE
48 | bus_LV_195-5_1_2_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_195-5_1_2_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_195-5_1_2_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_195-5_1_2_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_195-5_1_2_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_195-5_1_2_node_127 | 0.4 | n |  | TRUE
54 | bus_MV_364_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_195-5_1_2_load_129 | 0 | 0.00017232 | 4.3189e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_195-5_1_2_load_130 | 2 | 0.00020694 | 5.1863e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_195-5_1_2_load_185 | 4 | 0.00096899 | 0.00024285 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_195-5_1_2_load_131 | 5 | 0.00047158 | 0.00011819 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_195-5_1_2_load_174 | 6 | 0.00031125 | 7.8007e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_195-5_1_2_load_6 | 7 | 0.001304 | 0.0003268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_195-5_1_2_load_7 | 8 | 0.0021619 | 0.00054183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_195-5_1_2_load_10 | 11 | 0.00083619 | 0.00020957 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_195-5_1_2_load_205 | 15 | 0.00079192 | 0.00019847 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_195-5_1_2_load_23 | 17 | 7.5563e-05 | 1.8938e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_195-5_1_2_load_24 | 18 | 0.00033754 | 8.4597e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_195-5_1_2_load_182 | 19 | 0.00051896 | 0.00013006 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_195-5_1_2_load_211 | 20 | 5.3579e-05 | 1.3428e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_195-5_1_2_load_213 | 21 | 0.017983 | 0.0045069 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_195-5_1_2_load_212 | 22 | 0.0044099 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_195-5_1_2_load_176 | 25 | 0.0074873 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_195-5_1_2_load_100 | 26 | 0.010619 | 0.0026614 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_195-5_1_2_load_177 | 27 | 4.6645e-05 | 1.169e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_195-5_1_2_load_178 | 28 | 0.00021385 | 5.3596e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_195-5_1_2_load_181 | 31 | 0.00073773 | 0.00018489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_195-5_1_2_load_183 | 32 | 0.00023619 | 5.9194e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_195-5_1_2_load_186 | 35 | 0.0031253 | 0.00078328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_195-5_1_2_load_187 | 36 | 0.0078042 | 0.0019559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_195-5_1_2_load_200 | 37 | 0.00083954 | 0.00021041 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_195-5_1_2_load_201 | 40 | 0.0012889 | 0.00032302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_195-5_1_2_load_203 | 41 | 0.0036039 | 0.00090322 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_195-5_1_2_load_202 | 42 | 0.00019265 | 4.8282e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_195-5_1_2_load_218 | 44 | 0.0020147 | 0.00050494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_195-5_1_2_load_209 | 46 | 0.00024981 | 6.2608e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_195-5_1_2_load_210 | 47 | 0.0022919 | 0.00057439 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_195-5_1_2_load_84 | 48 | 0.0066609 | 0.0016694 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_195-5_1_2_load_87 | 51 | 0.005027 | 0.0012599 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_195-5_1_2_load_127 | 53 | 0.0014786 | 0.00037056 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_195-5_1_2_line_0 |  | 0 | 1 | 0.11715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_195-5_1_2_line_1 |  | 1 | 3 | 0.1718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_195-5_1_2_line_2 |  | 1 | 53 | 0.060101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_195-5_1_2_line_3 |  | 2 | 3 | 0.028217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_195-5_1_2_line_4 |  | 2 | 4 | 0.0072737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_195-5_1_2_line_5 |  | 3 | 5 | 0.035797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_195-5_1_2_line_6 |  | 4 | 32 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_195-5_1_2_line_7 |  | 5 | 6 | 0.034361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_195-5_1_2_line_8 |  | 6 | 23 | 0.051615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_195-5_1_2_line_9 |  | 7 | 8 | 0.028669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_195-5_1_2_line_10 |  | 7 | 9 | 0.086975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_195-5_1_2_line_11 |  | 8 | 10 | 0.1018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_195-5_1_2_line_12 |  | 9 | 11 | 0.15577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_195-5_1_2_line_13 |  | 10 | 12 | 0.16209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_195-5_1_2_line_14 |  | 10 | 13 | 0.04423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_195-5_1_2_line_15 |  | 11 | 14 | 0.008682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_195-5_1_2_line_16 |  | 12 | 16 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_195-5_1_2_line_17 |  | 12 | 17 | 0.15931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_195-5_1_2_line_18 |  | 13 | 18 | 0.17069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_195-5_1_2_line_19 |  | 14 | 15 | 0.0052625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_195-5_1_2_line_20 |  | 16 | 19 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_195-5_1_2_line_21 |  | 16 | 20 | 0.043287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_195-5_1_2_line_22 |  | 18 | 21 | 0.16621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_195-5_1_2_line_23 |  | 19 | 30 | 0.030773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_195-5_1_2_line_24 |  | 20 | 46 | 0.0016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_195-5_1_2_line_25 |  | 21 | 22 | 0.0093306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_195-5_1_2_line_26 |  | 23 | 43 | 0.051689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_195-5_1_2_line_27 |  | 23 | 24 | 0.099967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_195-5_1_2_line_28 |  | 24 | 25 | 0.048732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_195-5_1_2_line_29 |  | 24 | 26 | 0.0279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_195-5_1_2_line_30 |  | 26 | 52 | 0.025761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_195-5_1_2_line_31 |  | 27 | 28 | 0.0012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_195-5_1_2_line_32 |  | 27 | 29 | 0.035387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_195-5_1_2_line_33 |  | 29 | 30 | 0.051595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_195-5_1_2_line_34 |  | 29 | 31 | 0.054626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_195-5_1_2_line_35 |  | 30 | 32 | 0.0074897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_195-5_1_2_line_36 |  | 33 | 34 | 0.071612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_195-5_1_2_line_37 |  | 33 | 35 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_195-5_1_2_line_38 |  | 34 | 36 | 0.036311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_195-5_1_2_line_39 |  | 34 | 49 | 0.099479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_195-5_1_2_line_40 |  | 37 | 38 | 0.038843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_195-5_1_2_line_41 |  | 37 | 39 | 0.037328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_195-5_1_2_line_42 |  | 38 | 42 | 0.14335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_195-5_1_2_line_43 |  | 39 | 40 | 0.0027579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_195-5_1_2_line_44 |  | 40 | 41 | 0.0088982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_195-5_1_2_line_45 |  | 42 | 43 | 0.087599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_195-5_1_2_line_46 |  | 43 | 45 | 0.81268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_195-5_1_2_line_47 |  | 44 | 45 | 0.04692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_195-5_1_2_line_48 |  | 46 | 47 | 0.054225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_195-5_1_2_line_49 |  | 48 | 49 | 0.031752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_195-5_1_2_line_50 |  | 48 | 50 | 0.055797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_195-5_1_2_line_51 |  | 49 | 51 | 0.025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_195-5_1_2_line_52 |  | 50 | 52 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_195-5_1_2_trafo_186 | 0.63 MVA 20/0.4 kV | 54 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2691776.9171 | 1244257.8125 | 2691833.247 | 1244269.0147 | 2691838.8356 | 1244272.7039 | 2691841.928 | 1244277.0217 | 2691841.4263 | 1244280.6166 | 2691821.2773 | 1244319.8243
1 | 2691784.3799 | 1244090.6362 | 2691791.443 | 1244135.8014 | 2691795.4361 | 1244156.1451 | 2691798.2001 | 1244178.26 | 2691797.6327 | 1244192.4507 | 2691795.5053 | 1244207.8182 | 2691789.1439 | 1244226.7006 | 2691776.9171 | 1244257.8125
2 | 2691776.9171 | 1244257.8125 | 2691762.4416 | 1244294.0824 | 2691753.4681 | 1244313.1233
3 | 2691784.3799 | 1244090.6362 | 2691806.3821 | 1244102.3297 | 2691809.6706 | 1244102.6147
4 | 2691809.6706 | 1244102.6147 | 2691816.9171 | 1244103.2426
5 | 2691784.3799 | 1244090.6362 | 2691778.0111 | 1244078.7399 | 2691761.8938 | 1244063.3235
6 | 2691846.9847 | 1244094.0297 | 2691822.4745 | 1244103.7242 | 2691816.9171 | 1244103.2426
7 | 2691735.0669 | 1244041.8531 | 2691761.8938 | 1244063.3235
8 | 2691694.7687 | 1244009.6012 | 2691735.0669 | 1244041.8531
9 | 2692045.2494 | 1244243.4826 | 2692046.1077 | 1244240.3915 | 2692049.7552 | 1244215.1933
10 | 2692022.83 | 1244327.4957 | 2692025.8617 | 1244313.3099 | 2692045.2494 | 1244243.4826
11 | 2692070.6078 | 1244115.9785 | 2692059.5095 | 1244147.8079 | 2692049.7552 | 1244215.1933
12 | 2692022.83 | 1244327.4957 | 2692039.8775 | 1244334.9991 | 2692069.1366 | 1244341.6469 | 2692092.8199 | 1244344.272 | 2692110.3417 | 1244343.132 | 2692126.5148 | 1244338.3128 | 2692148.3322 | 1244333.5925 | 2692157.6488 | 1244333.7374 | 2692165.3219 | 1244336.0472 | 2692172.5025 | 1244341.8408
13 | 2692070.6078 | 1244115.9785 | 2692050.6584 | 1244099.6456 | 2692039.0705 | 1244095.8297 | 2692002.3757 | 1244104.5894 | 2691992.3275 | 1244101.3978 | 2691975.7199 | 1244086.4403 | 2691956.9511 | 1244076.8089 | 2691939.8023 | 1244076.276 | 2691924.3129 | 1244078.3932
14 | 2692085.9528 | 1244074.4855 | 2692070.6078 | 1244115.9785
15 | 2692174.3452 | 1244350.1979 | 2692174.4197 | 1244347.3525 | 2692172.5025 | 1244341.8408
16 | 2691924.3129 | 1244078.3932 | 2691900.8749 | 1244081.8105
17 | 2691924.3129 | 1244078.3932 | 2691929.9421 | 1244087.276 | 2691932.0142 | 1244097.4379 | 2691931.8536 | 1244109.7446 | 2691928.9162 | 1244123.7096 | 2691922.4225 | 1244154.9879 | 2691921.4498 | 1244218.2202 | 2691920.1701 | 1244234.8266
18 | 2692085.9528 | 1244074.4855 | 2692086.4394 | 1244059.215 | 2692092.0756 | 1244041.3557 | 2692097.2949 | 1244012.3817 | 2692098.654 | 1243963.8109 | 2692112.5188 | 1243906.8239
19 | 2692174.3452 | 1244350.1979 | 2692178.4971 | 1244353.4315
20 | 2691900.8749 | 1244081.8105 | 2691882.4218 | 1244083.3331
21 | 2691900.8749 | 1244081.8105 | 2691904.0145 | 1244095.7584 | 2691906.3549 | 1244107.1477 | 2691905.4154 | 1244124.485
22 | 2692112.5188 | 1243906.8239 | 2692115.6253 | 1243894.0554 | 2692098.2692 | 1243878.6078 | 2692040.4944 | 1243780.1155 | 2692040.5778 | 1243764.4689
23 | 2691852.4306 | 1244088.8879 | 2691862.9826 | 1244084.9372 | 2691882.4218 | 1244083.3331
24 | 2691905.3279 | 1244126.1002 | 2691905.4154 | 1244124.485
25 | 2692040.6275 | 1243755.1385 | 2692040.5778 | 1243764.4689
26 | 2691653.1957 | 1243998.5173 | 2691653.0283 | 1243995.1678 | 2691664.9214 | 1243995.8965 | 2691670.2809 | 1243997.3136 | 2691675.1628 | 1243999.8132 | 2691689.0275 | 1244009.8905 | 2691692.5978 | 1244012.6477 | 2691694.7687 | 1244009.6012
27 | 2691694.7687 | 1244009.6012 | 2691696.0762 | 1244006.1855 | 2691695.1155 | 1244000.3774 | 2691688.3587 | 1243991.5553 | 2691688.3475 | 1243985.4395 | 2691727.4601 | 1243923.4977
28 | 2691727.4601 | 1243923.4977 | 2691730.7381 | 1243920.2237 | 2691736.0075 | 1243911.8433 | 2691750.2138 | 1243889.6019 | 2691744.323 | 1243884.4069
29 | 2691727.4601 | 1243923.4977 | 2691709.4529 | 1243911.9663 | 2691706.8635 | 1243910.3028 | 2691705.2993 | 1243909.3001 | 2691703.9672 | 1243908.4478
30 | 2691683.5064 | 1243892.8065 | 2691702.4851 | 1243907.4997 | 2691703.9672 | 1243908.4478
31 | 2691839.8281 | 1244011.1818 | 2691840.3633 | 1244010.0384
32 | 2691854.9067 | 1244037.3654 | 2691849.9927 | 1244035.9772 | 2691842.7549 | 1244030.9058 | 2691838.8863 | 1244025.453 | 2691837.8711 | 1244015.3631 | 2691839.8281 | 1244011.1818
33 | 2691854.9067 | 1244037.3654 | 2691854.1149 | 1244062.6165 | 2691852.4306 | 1244088.8879
34 | 2691854.9067 | 1244037.3654 | 2691856.6212 | 1243982.7664
35 | 2691852.4306 | 1244088.8879 | 2691846.9847 | 1244094.0297
36 | 2691830.962 | 1243858.272 | 2691823.1575 | 1243848.2882 | 2691779.2415 | 1243808.8126
37 | 2691818.138 | 1243882.0135 | 2691823.9789 | 1243863.579 | 2691830.962 | 1243858.272
38 | 2691760.5658 | 1243839.9804 | 2691779.2415 | 1243808.8126
39 | 2691711.248 | 1243808.1275 | 2691736.8762 | 1243772.6416 | 2691779.2415 | 1243808.8126
40 | 2691559.0506 | 1244198.1575 | 2691550.1798 | 1244204.3698 | 2691525.3627 | 1244217.3633
41 | 2691492.0223 | 1244234.1505 | 2691525.3627 | 1244217.3633
42 | 2691559.0506 | 1244198.1575 | 2691569.0675 | 1244191.1402 | 2691585.0993 | 1244176.877 | 2691601.812 | 1244159.1439 | 2691617.1261 | 1244138.5094 | 2691627.1819 | 1244121.652 | 2691634.2279 | 1244107.3502 | 2691641.092 | 1244090.6437 | 2691642.7856 | 1244084.9292
43 | 2691492.0223 | 1244234.1505 | 2691489.5398 | 1244235.352
44 | 2691481.5303 | 1244239.2284 | 2691489.5398 | 1244235.352
45 | 2691653.1957 | 1243998.5173 | 2691653.7679 | 1244023.1112 | 2691652.8991 | 1244038.2424 | 2691650.8459 | 1244051.7652 | 2691647.2001 | 1244070.0337 | 2691642.7856 | 1244084.9292
46 | 2691213.6773 | 1243579.1875 | 2691204.8605 | 1243587.258 | 2691203.9422 | 1243613.052 | 2691200.0895 | 1243636.9884 | 2691198.8066 | 1243653.0696 | 2691200.8928 | 1243670.27 | 2691209.8825 | 1243683.3846 | 2691218.7968 | 1243690.0933 | 2691238.0717 | 1243687.1207 | 2691251.1096 | 1243681.2835 | 2691263.2299 | 1243679.5687 | 2691271.4653 | 1243682.2529 | 2691280.5665 | 1243691.055 | 2691291.9918 | 1243710.9122 | 2691277.2745 | 1243719.3032 | 2691274.1971 | 1243724.2818 | 2691275.4632 | 1243739.2569 | 2691272.2124 | 1243752.0609 | 2691273.4593 | 1243764.3559 | 2691272.2842 | 1243779.8049 | 2691272.6555 | 1243794.9664 | 2691273.9017 | 1243807.3058 | 2691281.6298 | 1243817.3989 | 2691290.0741 | 1243827.125 | 2691303.236 | 1243837.2684 | 2691325.7021 | 1243857.2401 | 2691338.9021 | 1243865.8831 | 2691337.5941 | 1243869.8326 | 2691343.8088 | 1243887.875 | 2691354.5323 | 1243901.7393 | 2691355.8006 | 1243906.2511 | 2691407.3841 | 1243966.724 | 2691451.5275 | 1244018.9766 | 2691465.704 | 1244030.9151 | 2691482.0842 | 1244037.1834 | 2691498.064 | 1244037.5634 | 2691523.4079 | 1244031.6165 | 2691594.1712 | 1244013.8062 | 2691645.6375 | 1243999.9794 | 2691653.1957 | 1243998.5173
47 | 2691213.6773 | 1243579.1875 | 2691246.7167 | 1243612.5981
48 | 2691905.3279 | 1244126.1002 | 2691905.1797 | 1244128.8346 | 2691894.9609 | 1244172.2533 | 2691893.1669 | 1244178.8964
49 | 2691711.248 | 1243808.1275 | 2691694.0475 | 1243834.8167
50 | 2691670.2581 | 1243884.3956 | 2691674.7236 | 1243875.6914 | 2691677.3743 | 1243860.6878 | 2691694.0475 | 1243834.8167
51 | 2691732.8646 | 1243822.35 | 2691711.248 | 1243808.1275
52 | 2691670.2581 | 1243884.3956 | 2691683.5064 | 1243892.8065

## bus_geodata
| x | y | coords
0 | 2691821.2773 | 1244319.8243
1 | 2691776.9171 | 1244257.8125
2 | 2691809.6706 | 1244102.6147
3 | 2691784.3799 | 1244090.6362
4 | 2691816.9171 | 1244103.2427
5 | 2691761.8938 | 1244063.3235
6 | 2691735.0669 | 1244041.8531
7 | 2692045.2494 | 1244243.4826
8 | 2692049.7552 | 1244215.1933
9 | 2692022.83 | 1244327.4957
10 | 2692070.6078 | 1244115.9785
11 | 2692172.5025 | 1244341.8408
12 | 2691924.3129 | 1244078.3932
13 | 2692085.9528 | 1244074.4855
14 | 2692174.3452 | 1244350.1979
15 | 2692178.4971 | 1244353.4315
16 | 2691900.8749 | 1244081.8105
17 | 2691920.1701 | 1244234.8266
18 | 2692112.5188 | 1243906.8239
19 | 2691882.4218 | 1244083.3331
20 | 2691905.4154 | 1244124.485
21 | 2692040.5778 | 1243764.4689
22 | 2692040.6275 | 1243755.1385
23 | 2691694.7687 | 1244009.6012
24 | 2691727.4601 | 1243923.4977
25 | 2691744.323 | 1243884.4069
26 | 2691703.9672 | 1243908.4478
27 | 2691839.8281 | 1244011.1818
28 | 2691840.3633 | 1244010.0384
29 | 2691854.9067 | 1244037.3654
30 | 2691852.4306 | 1244088.8879
31 | 2691856.6212 | 1243982.7664
32 | 2691846.9847 | 1244094.0297
33 | 2691830.962 | 1243858.272
34 | 2691779.2415 | 1243808.8126
35 | 2691818.138 | 1243882.0135
36 | 2691760.5658 | 1243839.9804
37 | 2691525.3627 | 1244217.3633
38 | 2691559.0506 | 1244198.1575
39 | 2691492.0223 | 1244234.1505
40 | 2691489.5398 | 1244235.352
41 | 2691481.5303 | 1244239.2284
42 | 2691642.7856 | 1244084.9292
43 | 2691653.1957 | 1243998.5173
44 | 2691246.7167 | 1243612.5981
45 | 2691213.6773 | 1243579.1875
46 | 2691905.3279 | 1244126.1002
47 | 2691893.1669 | 1244178.8964
48 | 2691694.0475 | 1243834.8167
49 | 2691711.248 | 1243808.1275
50 | 2691670.2581 | 1243884.3956
51 | 2691732.8646 | 1243822.35
52 | 2691683.5064 | 1243892.8065
53 | 2691753.4681 | 1244313.1233
54 | 2691830.962 | 1243858.272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9841 | -0.30507 | 0.00017232 | 4.3189e-05
1 | 0.98412 | -0.3047 | 0 | 0
2 | 0.98394 | -0.30807 | 0.00020694 | 5.1863e-05
3 | 0.98438 | -0.29957 | 0 | 0
4 | 0.98383 | -0.31025 | 0.00096899 | 0.00024285
5 | 0.98496 | -0.28826 | 0.00047158 | 0.00011819
6 | 0.98553 | -0.27727 | 0.00031125 | 7.8007e-05
7 | 0.97956 | -0.39323 | 0.001304 | 0.0003268
8 | 0.97964 | -0.39169 | 0.0021619 | 0.00054183
9 | 0.97943 | -0.39581 | 0 | 0
10 | 0.98012 | -0.38226 | 0 | 0
11 | 0.9792 | -0.40043 | 0.00083619 | 0.00020957
12 | 0.98222 | -0.34139 | 0 | 0
13 | 0.97918 | -0.40053 | 0 | 0
14 | 0.97919 | -0.40055 | 0 | 0
15 | 0.97919 | -0.40063 | 0.00079192 | 0.00019847
16 | 0.98253 | -0.33543 | 0 | 0
17 | 0.98221 | -0.34161 | 7.5563e-05 | 1.8938e-05
18 | 0.97556 | -0.47134 | 0.00033754 | 8.4597e-05
19 | 0.98279 | -0.33033 | 0.00051896 | 0.00013006
20 | 0.98242 | -0.33746 | 5.3579e-05 | 1.3428e-05
21 | 0.97209 | -0.53976 | 0.017983 | 0.0045069
22 | 0.97205 | -0.54051 | 0.0044099 | 0.0011052
23 | 0.98639 | -0.26065 | 0 | 0
24 | 0.98842 | -0.2214 | 0 | 0
25 | 0.98809 | -0.22791 | 0.0074873 | 0.0018765
26 | 0.98908 | -0.20862 | 0.010619 | 0.0026614
27 | 0.98318 | -0.3228 | 4.6645e-05 | 1.169e-05
28 | 0.98318 | -0.32281 | 0.00021385 | 5.3596e-05
29 | 0.98319 | -0.32264 | 0 | 0
30 | 0.98324 | -0.32171 | 0 | 0
31 | 0.98315 | -0.32337 | 0.00073773 | 0.00018489
32 | 0.98335 | -0.31954 | 0.00023619 | 5.9194e-05
33 | 0.99894 | -0.019983 | 0 | 0
34 | 0.99626 | -0.071118 | 0 | 0
35 | 1 | 0 | -0.084281 | -0.021131
36 | 0.996 | -0.076096 | 0.0078042 | 0.0019559
37 | 0.98457 | -0.29613 | 0.00083954 | 0.00021041
38 | 0.98478 | -0.29213 | 0 | 0
39 | 0.9844 | -0.29942 | 0 | 0
40 | 0.98439 | -0.29966 | 0.0012889 | 0.00032302
41 | 0.98436 | -0.30024 | 0.0036039 | 0.00090322
42 | 0.98553 | -0.27736 | 0.00019265 | 4.8282e-05
43 | 0.98601 | -0.26804 | 0 | 0
44 | 0.98442 | -0.29935 | 0.0020147 | 0.00050494
45 | 0.98451 | -0.29765 | 0 | 0
46 | 0.98242 | -0.33753 | 0.00024981 | 6.2608e-05
47 | 0.98231 | -0.33978 | 0.0022919 | 0.00057439
48 | 0.99187 | -0.15504 | 0.0066609 | 0.0016694
49 | 0.99287 | -0.13574 | 0 | 0
50 | 0.99027 | -0.18575 | 0 | 0
51 | 0.99276 | -0.13804 | 0.005027 | 0.0012599
52 | 0.98982 | -0.19439 | 0 | 0
53 | 0.98403 | -0.3063 | 0.0014786 | 0.00037056
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00017232 | -4.3189e-05 | 0.00017233 | 4.1702e-05 | 2.9767e-09 | -1.4866e-06 | 0.00026057 | 0.00026004 | 0.00026057 | 0.9841 | -0.30507 | 0.98412 | -0.3047 | 0.071584
1 | -0.001651 | -0.00041157 | 0.0016514 | 0.00040965 | 4.011e-07 | -1.9267e-06 | 0.0024956 | 0.0024948 | 0.0024956 | 0.98412 | -0.3047 | 0.98438 | -0.29957 | 0.6856
2 | 0.0014787 | 0.00036987 | -0.0014786 | -0.00037056 | 1.1265e-07 | -6.9148e-07 | 0.0022356 | 0.0022358 | 0.0022358 | 0.98412 | -0.3047 | 0.98403 | -0.3063 | 0.61424
3 | -0.033704 | -0.0085338 | 0.033717 | 0.0085419 | 1.3762e-05 | 8.0905e-06 | 0.051001 | 0.051001 | 0.051001 | 0.98394 | -0.30807 | 0.98438 | -0.29957 | 7.0057
4 | 0.033497 | 0.0084819 | -0.033493 | -0.0084799 | 3.5041e-06 | 2.0579e-06 | 0.050688 | 0.050688 | 0.050688 | 0.98394 | -0.30807 | 0.98383 | -0.31025 | 6.9627
5 | -0.035369 | -0.0089515 | 0.035388 | 0.0089629 | 1.9208e-05 | 1.1383e-05 | 0.053496 | 0.053496 | 0.053496 | 0.98438 | -0.29957 | 0.98496 | -0.28826 | 7.3483
6 | 0.032524 | 0.008237 | -0.03251 | -0.0082285 | 1.4508e-05 | 8.4747e-06 | 0.049223 | 0.049223 | 0.049223 | 0.98383 | -0.31025 | 0.98335 | -0.31954 | 6.7614
7 | -0.03586 | -0.0090811 | 0.035879 | 0.0090923 | 1.8932e-05 | 1.1241e-05 | 0.054208 | 0.054208 | 0.054208 | 0.98496 | -0.28826 | 0.98553 | -0.27727 | 7.4462
8 | -0.03619 | -0.0091703 | 0.036219 | 0.0091875 | 2.8933e-05 | 1.7201e-05 | 0.054678 | 0.054677 | 0.054678 | 0.98553 | -0.27727 | 0.98639 | -0.26065 | 7.5107
9 | -0.0029326 | -0.00073198 | 0.0029329 | 0.00073175 | 2.1325e-07 | -2.2445e-07 | 0.0044538 | 0.0044537 | 0.0044538 | 0.97956 | -0.39323 | 0.97964 | -0.39169 | 1.2236
10 | 0.0016287 | 0.00040517 | -0.0016285 | -0.00040614 | 1.995e-07 | -9.6706e-07 | 0.002473 | 0.0024734 | 0.0024734 | 0.97956 | -0.39323 | 0.97943 | -0.39581 | 0.6795
11 | -0.0050948 | -0.0012736 | 0.005097 | 0.0012738 | 2.2853e-06 | 1.8027e-07 | 0.0077375 | 0.007737 | 0.0077375 | 0.97964 | -0.39169 | 0.98012 | -0.38226 | 2.1257
12 | 0.0016285 | 0.00040614 | -0.0016281 | -0.00040787 | 3.5746e-07 | -1.7312e-06 | 0.0024734 | 0.0024741 | 0.0024741 | 0.97943 | -0.39581 | 0.9792 | -0.40043 | 0.67969
13 | -0.027998 | -0.007075 | 0.028053 | 0.0071061 | 5.4966e-05 | 3.1084e-05 | 0.042528 | 0.042526 | 0.042528 | 0.98012 | -0.38226 | 0.98222 | -0.34139 | 5.8417
14 | 0.022901 | 0.0058012 | -0.022881 | -0.0057889 | 2.0076e-05 | 1.2292e-05 | 0.034791 | 0.034791 | 0.034791 | 0.98012 | -0.38226 | 0.97918 | -0.40053 | 9.5579
15 | 0.00079193 | 0.0001983 | -0.00079193 | -0.00019841 | 4.7149e-09 | -1.0619e-07 | 0.0012034 | 0.0012034 | 0.0012034 | 0.9792 | -0.40043 | 0.97919 | -0.40055 | 0.33061
16 | -0.028129 | -0.007123 | 0.028137 | 0.0071276 | 8.0514e-06 | 4.5549e-06 | 0.04264 | 0.04264 | 0.04264 | 0.98222 | -0.34139 | 0.98253 | -0.33543 | 5.8571
17 | 7.5563e-05 | 1.6922e-05 | -7.5563e-05 | -1.8938e-05 | 7.7807e-10 | -2.0158e-06 | 0.00011379 | 0.00011447 | 0.00011447 | 0.98222 | -0.34139 | 0.98221 | -0.34161 | 0.031449
18 | 0.022881 | 0.0057889 | -0.022804 | -0.0057415 | 7.7476e-05 | 4.7445e-05 | 0.034791 | 0.034792 | 0.034792 | 0.97918 | -0.40053 | 0.97556 | -0.47134 | 9.5581
19 | 0.00079193 | 0.00019841 | -0.00079192 | -0.00019847 | 2.858e-09 | -6.4368e-08 | 0.0012034 | 0.0012034 | 0.0012034 | 0.97919 | -0.40055 | 0.97919 | -0.40063 | 0.33062
20 | -0.030732 | -0.0077771 | 0.03074 | 0.0077814 | 7.5294e-06 | 4.3497e-06 | 0.04657 | 0.04657 | 0.04657 | 0.98253 | -0.33543 | 0.98279 | -0.33033 | 6.397
21 | 0.0025957 | 0.0006495 | -0.0025955 | -0.00064988 | 2.5083e-07 | -3.8764e-07 | 0.0039308 | 0.003931 | 0.003931 | 0.98253 | -0.33543 | 0.98242 | -0.33746 | 1.0799
22 | 0.022466 | 0.0056569 | -0.022393 | -0.0056121 | 7.3231e-05 | 4.48e-05 | 0.034277 | 0.034277 | 0.034277 | 0.97556 | -0.47134 | 0.97209 | -0.53976 | 9.4169
23 | -0.031259 | -0.0079115 | 0.031272 | 0.007919 | 1.2939e-05 | 7.5009e-06 | 0.047356 | 0.047356 | 0.047356 | 0.98279 | -0.33033 | 0.98324 | -0.32171 | 6.5049
24 | 0.0025419 | 0.00063646 | -0.0025419 | -0.00063647 | 8.9902e-09 | -1.4727e-08 | 0.0038499 | 0.0038499 | 0.0038499 | 0.98242 | -0.33746 | 0.98242 | -0.33753 | 1.0577
25 | 0.0044101 | 0.0011052 | -0.0044099 | -0.0011052 | 1.5946e-07 | -1.3617e-08 | 0.0067507 | 0.0067507 | 0.0067507 | 0.97209 | -0.53976 | 0.97205 | -0.54051 | 1.8546
26 | 0.0079541 | 0.0019835 | -0.0079513 | -0.0019823 | 2.7892e-06 | 1.1256e-06 | 0.011996 | 0.011996 | 0.011996 | 0.98639 | -0.26065 | 0.98601 | -0.26804 | 3.2956
27 | -0.044173 | -0.011171 | 0.044256 | 0.011222 | 8.332e-05 | 5.0767e-05 | 0.066673 | 0.066672 | 0.066673 | 0.98639 | -0.26065 | 0.98842 | -0.2214 | 9.1583
28 | 0.0074896 | 0.0018773 | -0.0074873 | -0.0018765 | 2.3233e-06 | 8.6253e-07 | 0.011275 | 0.011276 | 0.011276 | 0.98842 | -0.2214 | 0.98809 | -0.22791 | 3.0977
29 | -0.051746 | -0.013099 | 0.051778 | 0.013119 | 3.1784e-05 | 1.9626e-05 | 0.077947 | 0.077947 | 0.077947 | 0.98842 | -0.2214 | 0.98908 | -0.20862 | 10.707
30 | -0.062397 | -0.01578 | 0.062439 | 0.015807 | 4.2609e-05 | 2.6608e-05 | 0.093923 | 0.093922 | 0.093923 | 0.98908 | -0.20862 | 0.98982 | -0.19439 | 12.9015
31 | 0.00021385 | 5.358e-05 | -0.00021385 | -5.3596e-05 | 4.9704e-11 | -1.5978e-08 | 0.00032365 | 0.00032365 | 0.00032365 | 0.98318 | -0.3228 | 0.98318 | -0.32281 | 0.088916
32 | -0.00026049 | -6.527e-05 | 0.0002605 | 6.4822e-05 | 2.0617e-09 | -4.4745e-07 | 0.00039424 | 0.00039408 | 0.00039424 | 0.98318 | -0.3228 | 0.98319 | -0.32264 | 0.10831
33 | -0.00099825 | -0.00024904 | 0.0009983 | 0.00024841 | 4.4133e-08 | -6.2611e-07 | 0.0015104 | 0.0015102 | 0.0015104 | 0.98319 | -0.32264 | 0.98324 | -0.32171 | 0.41495
34 | 0.00073776 | 0.00018422 | -0.00073773 | -0.00018489 | 2.5533e-08 | -6.7639e-07 | 0.0011163 | 0.0011166 | 0.0011166 | 0.98319 | -0.32264 | 0.98315 | -0.32337 | 0.30675
35 | -0.03227 | -0.0081674 | 0.032274 | 0.0081693 | 3.3533e-06 | 1.9561e-06 | 0.048866 | 0.048866 | 0.048866 | 0.98324 | -0.32171 | 0.98335 | -0.31954 | 6.7123
36 | 0.082551 | 0.021081 | -0.082348 | -0.020952 | 0.00020349 | 0.00012837 | 0.12311 | 0.12311 | 0.12311 | 0.99894 | -0.019983 | 0.99626 | -0.071118 | 16.9103
37 | -0.082551 | -0.021081 | 0.082631 | 0.021131 | 7.982e-05 | 5.0349e-05 | 0.12311 | 0.12311 | 0.12311 | 0.99894 | -0.019983 | 1 | 0 | 16.9102
38 | 0.007806 | 0.0019566 | -0.0078042 | -0.0019559 | 1.851e-06 | 7.1197e-07 | 0.011659 | 0.011659 | 0.011659 | 0.99626 | -0.071118 | 0.996 | -0.076096 | 3.2031
39 | 0.074542 | 0.018996 | -0.07431 | -0.01885 | 0.00023168 | 0.00014569 | 0.11145 | 0.11145 | 0.11145 | 0.99626 | -0.071118 | 0.99287 | -0.13574 | 15.3089
40 | -0.0057332 | -0.0014366 | 0.0057343 | 0.0014368 | 1.0935e-06 | 2.0578e-07 | 0.0086647 | 0.0086645 | 0.0086647 | 0.98457 | -0.29613 | 0.98478 | -0.29213 | 2.3804
41 | 0.0048937 | 0.0012262 | -0.0048929 | -0.0012262 | 7.657e-07 | 1.54e-08 | 0.0073959 | 0.007396 | 0.007396 | 0.98457 | -0.29613 | 0.9844 | -0.29942 | 2.0319
42 | -0.0057343 | -0.0014368 | 0.0057383 | 0.0014376 | 4.0353e-06 | 7.5739e-07 | 0.0086645 | 0.0086639 | 0.0086645 | 0.98478 | -0.29213 | 0.98553 | -0.27736 | 2.3804
43 | 0.0048929 | 0.0012262 | -0.0048928 | -0.0012262 | 5.6573e-08 | 1.1451e-09 | 0.007396 | 0.007396 | 0.007396 | 0.9844 | -0.29942 | 0.98439 | -0.29966 | 2.0319
44 | 0.003604 | 0.00090317 | -0.0036039 | -0.00090322 | 9.9033e-08 | -4.9738e-08 | 0.0054478 | 0.0054478 | 0.0054478 | 0.98439 | -0.29966 | 0.98436 | -0.30024 | 1.4967
45 | -0.005931 | -0.0014859 | 0.0059336 | 0.0014864 | 2.634e-06 | 5.6899e-07 | 0.0089547 | 0.0089543 | 0.0089547 | 0.98553 | -0.27736 | 0.98601 | -0.26804 | 2.4601
46 | 0.0020177 | 0.00049591 | -0.0020149 | -0.00050445 | 2.8227e-06 | -8.5433e-06 | 0.0030416 | 0.0030452 | 0.0030452 | 0.98601 | -0.26804 | 0.98451 | -0.29765 | 0.83659
47 | -0.0020147 | -0.00050494 | 0.0020149 | 0.00050445 | 1.6317e-07 | -4.9215e-07 | 0.0030454 | 0.0030452 | 0.0030454 | 0.98442 | -0.29935 | 0.98451 | -0.29765 | 0.83665
48 | 0.0022921 | 0.00057386 | -0.0022919 | -0.00057439 | 2.4507e-07 | -5.2967e-07 | 0.0034715 | 0.0034717 | 0.0034717 | 0.98242 | -0.33753 | 0.98231 | -0.33978 | 0.95378
49 | -0.069218 | -0.01755 | 0.069283 | 0.01759 | 6.4286e-05 | 4.0323e-05 | 0.10391 | 0.10391 | 0.10391 | 0.99187 | -0.15504 | 0.99287 | -0.13574 | 14.274
50 | 0.062558 | 0.015881 | -0.062465 | -0.015823 | 9.2289e-05 | 5.7627e-05 | 0.093922 | 0.093922 | 0.093922 | 0.99187 | -0.15504 | 0.99027 | -0.18575 | 12.9014
51 | 0.0050276 | 0.0012599 | -0.005027 | -0.0012599 | 5.4975e-07 | 1.7925e-08 | 0.0075348 | 0.0075349 | 0.0075349 | 0.99287 | -0.13574 | 0.99276 | -0.13804 | 2.07
52 | 0.062465 | 0.015823 | -0.062439 | -0.015807 | 2.5902e-05 | 1.6174e-05 | 0.093922 | 0.093922 | 0.093922 | 0.99027 | -0.18575 | 0.98982 | -0.19439 | 12.9014

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.087407 | 0.021915

## res_load
| p_mw | q_mvar
0 | 0.00017232 | 4.3189e-05
1 | 0.00020694 | 5.1863e-05
2 | 0.00096899 | 0.00024285
3 | 0.00047158 | 0.00011819
4 | 0.00031125 | 7.8007e-05
5 | 0.001304 | 0.0003268
6 | 0.0021619 | 0.00054183
7 | 0.00083619 | 0.00020957
8 | 0.00079192 | 0.00019847
9 | 7.5563e-05 | 1.8938e-05
10 | 0.00033754 | 8.4597e-05
11 | 0.00051896 | 0.00013006
12 | 5.3579e-05 | 1.3428e-05
13 | 0.017983 | 0.0045069
14 | 0.0044099 | 0.0011052
15 | 0.0074873 | 0.0018765
16 | 0.010619 | 0.0026614
17 | 4.6645e-05 | 1.169e-05
18 | 0.00021385 | 5.3596e-05
19 | 0.00073773 | 0.00018489
20 | 0.00023619 | 5.9194e-05
21 | 0.0031253 | 0.00078328
22 | 0.0078042 | 0.0019559
23 | 0.00083954 | 0.00021041
24 | 0.0012889 | 0.00032302
25 | 0.0036039 | 0.00090322
26 | 0.00019265 | 4.8282e-05
27 | 0.0020147 | 0.00050494
28 | 0.00024981 | 6.2608e-05
29 | 0.0022919 | 0.00057439
30 | 0.0066609 | 0.0016694
31 | 0.005027 | 0.0012599
32 | 0.0014786 | 0.00037056

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1