## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_195-5_2_4_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_195-5_2_4_node_112 | 0.4 | n |  | TRUE
2 | bus_LV_195-5_2_4_node_188 | 0.4 | n |  | TRUE
3 | bus_LV_195-5_2_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_195-5_2_4_node_114 | 0.4 | n |  | TRUE
5 | bus_LV_195-5_2_4_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_195-5_2_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_195-5_2_4_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_195-5_2_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_195-5_2_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_195-5_2_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_195-5_2_4_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_195-5_2_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_195-5_2_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_195-5_2_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_195-5_2_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_195-5_2_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_195-5_2_4_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_195-5_2_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_195-5_2_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_195-5_2_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_195-5_2_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_195-5_2_4_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_195-5_2_4_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_195-5_2_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_195-5_2_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_195-5_2_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_195-5_2_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_195-5_2_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_195-5_2_4_node_160 | 0.4 | n |  | TRUE
30 | bus_LV_195-5_2_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_195-5_2_4_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_195-5_2_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_195-5_2_4_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_195-5_2_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_195-5_2_4_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_195-5_2_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_195-5_2_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_195-5_2_4_node_125 | 0.4 | n |  | TRUE
39 | bus_LV_195-5_2_4_node_126 | 0.4 | n |  | TRUE
40 | bus_LV_195-5_2_4_node_122 | 0.4 | n |  | TRUE
41 | bus_LV_195-5_2_4_node_152 | 0.4 | n |  | TRUE
42 | bus_LV_195-5_2_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_195-5_2_4_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_195-5_2_4_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_195-5_2_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_195-5_2_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_195-5_2_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_195-5_2_4_node_166 | 0.4 | n |  | TRUE
49 | bus_LV_195-5_2_4_node_169 | 0.4 | n |  | TRUE
50 | bus_LV_195-5_2_4_node_106 | 0.4 | n |  | TRUE
51 | bus_LV_195-5_2_4_node_107 | 0.4 | n |  | TRUE
52 | bus_LV_195-5_2_4_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_195-5_2_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_195-5_2_4_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_195-5_2_4_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_195-5_2_4_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_195-5_2_4_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_195-5_2_4_node_156 | 0.4 | n |  | TRUE
59 | bus_LV_195-5_2_4_node_155 | 0.4 | n |  | TRUE
60 | bus_LV_195-5_2_4_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_195-5_2_4_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_195-5_2_4_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_195-5_2_4_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_195-5_2_4_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_195-5_2_4_node_124 | 0.4 | n |  | TRUE
66 | bus_LV_195-5_2_4_node_123 | 0.4 | n |  | TRUE
67 | bus_LV_195-5_2_4_node_153 | 0.4 | n |  | TRUE
68 | bus_LV_195-5_2_4_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_195-5_2_4_node_137 | 0.4 | n |  | TRUE
70 | bus_LV_195-5_2_4_node_138 | 0.4 | n |  | TRUE
71 | bus_LV_195-5_2_4_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_195-5_2_4_node_140 | 0.4 | n |  | TRUE
73 | bus_LV_195-5_2_4_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_195-5_2_4_node_143 | 0.4 | n |  | TRUE
75 | bus_LV_195-5_2_4_node_144 | 0.4 | n |  | TRUE
76 | bus_LV_195-5_2_4_node_154 | 0.4 | n |  | TRUE
77 | bus_LV_195-5_2_4_node_158 | 0.4 | n |  | TRUE
78 | bus_LV_195-5_2_4_node_165 | 0.4 | n |  | TRUE
79 | bus_LV_195-5_2_4_node_161 | 0.4 | n |  | TRUE
80 | bus_LV_195-5_2_4_node_162 | 0.4 | n |  | TRUE
81 | bus_LV_195-5_2_4_node_163 | 0.4 | n |  | TRUE
82 | bus_LV_195-5_2_4_node_164 | 0.4 | n |  | TRUE
83 | bus_LV_195-5_2_4_node_167 | 0.4 | n |  | TRUE
84 | bus_LV_195-5_2_4_node_168 | 0.4 | n |  | TRUE
85 | bus_MV_364_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_195-5_2_4_load_188 | 2 | 0.0017915 | 0.000449 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_195-5_2_4_load_114 | 4 | 0.007096 | 0.0017784 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_195-5_2_4_load_52 | 7 | 0.011946 | 0.0029939 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_195-5_2_4_load_36 | 8 | 0.0029207 | 0.00073201 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_195-5_2_4_load_33 | 9 | 0.0071874 | 0.0018013 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_195-5_2_4_load_40 | 13 | 0.0035484 | 0.00088932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_195-5_2_4_load_59 | 17 | 0.0050599 | 0.0012681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_195-5_2_4_load_60 | 19 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_195-5_2_4_load_42 | 20 | 0.0025329 | 0.00063481 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_195-5_2_4_load_43 | 21 | 0.0056161 | 0.0014075 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_195-5_2_4_load_44 | 22 | 0.0013873 | 0.00034768 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_195-5_2_4_load_45 | 23 | 0.0014775 | 0.0003703 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_195-5_2_4_load_51 | 24 | 0.011973 | 0.0030007 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_195-5_2_4_load_49 | 25 | 0.0019641 | 0.00049226 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_195-5_2_4_load_46 | 26 | 0.0013509 | 0.00033858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_195-5_2_4_load_47 | 27 | 0.0017722 | 0.00044415 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_195-5_2_4_load_48 | 28 | 0.0091636 | 0.0022966 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_195-5_2_4_load_160 | 29 | 0.0026223 | 0.00065722 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_195-5_2_4_load_50 | 30 | 0.0010684 | 0.00026776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_195-5_2_4_load_53 | 31 | 0.027692 | 0.0069402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_195-5_2_4_load_54 | 32 | 0.014902 | 0.0037347 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_195-5_2_4_load_56 | 33 | 0.0093705 | 0.0023485 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_195-5_2_4_load_62 | 37 | 0.0031363 | 0.00078603 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_195-5_2_4_load_125 | 38 | 0.016633 | 0.0041686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_195-5_2_4_load_126 | 39 | 0.007222 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_195-5_2_4_load_66 | 42 | 0.004147 | 0.0010393 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_195-5_2_4_load_79 | 43 | 0.00073944 | 0.00018532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_195-5_2_4_load_80 | 44 | 0.0044528 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_195-5_2_4_load_82 | 46 | 0.015244 | 0.0038204 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_195-5_2_4_load_83 | 47 | 0.0022039 | 0.00055235 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_195-5_2_4_load_166 | 48 | 0.0069401 | 0.0017394 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_195-5_2_4_load_169 | 49 | 0.00064218 | 0.00016095 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_195-5_2_4_load_106 | 50 | 0.0020129 | 0.00050449 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_195-5_2_4_load_107 | 51 | 0.01514 | 0.0037944 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_195-5_2_4_load_108 | 52 | 0.0018952 | 0.00047497 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_195-5_2_4_load_110 | 53 | 0.0015321 | 0.00038398 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_195-5_2_4_load_113 | 55 | 0.0091136 | 0.0022841 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_195-5_2_4_load_116 | 57 | 0.0051075 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_195-5_2_4_load_156 | 58 | 0.016532 | 0.0041434 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_195-5_2_4_load_155 | 59 | 0.0049153 | 0.0012319 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_195-5_2_4_load_117 | 60 | 0.0058384 | 0.0014633 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_195-5_2_4_load_118 | 61 | 0.0059649 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_195-5_2_4_load_120 | 63 | 0.0052591 | 0.001318 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_195-5_2_4_load_121 | 64 | 0.012636 | 0.0031668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_195-5_2_4_load_124 | 65 | 0.020897 | 0.0052373 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_195-5_2_4_load_123 | 66 | 0.010907 | 0.0027334 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_195-5_2_4_load_136 | 68 | 0.0035116 | 0.00088008 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_195-5_2_4_load_137 | 69 | 0.012161 | 0.003048 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_195-5_2_4_load_138 | 70 | 0.0011483 | 0.00028779 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_195-5_2_4_load_139 | 71 | 0.0052223 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_195-5_2_4_load_140 | 72 | 0.0011005 | 0.00027582 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_195-5_2_4_load_143 | 74 | 0.0055584 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_195-5_2_4_load_144 | 75 | 0.0094813 | 0.0023762 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_195-5_2_4_load_154 | 76 | 0.0053402 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_195-5_2_4_load_158 | 77 | 0.0080092 | 0.0020073 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_195-5_2_4_load_161 | 79 | 0.0062934 | 0.0015773 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_195-5_2_4_load_167 | 83 | 0.012144 | 0.0030435 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_195-5_2_4_load_168 | 84 | 0.0036569 | 0.0009165 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_195-5_2_4_line_0 |  | 0 | 1 | 0.022707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_195-5_2_4_line_1 |  | 0 | 2 | 0.0067525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_195-5_2_4_line_2 |  | 1 | 50 | 0.026262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_195-5_2_4_line_3 |  | 1 | 53 | 0.016116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_195-5_2_4_line_4 |  | 3 | 4 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_195-5_2_4_line_5 |  | 3 | 5 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_195-5_2_4_line_6 |  | 5 | 54 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_195-5_2_4_line_7 |  | 5 | 51 | 0.028528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_195-5_2_4_line_8 |  | 6 | 7 | 0.024565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_195-5_2_4_line_9 |  | 6 | 8 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_195-5_2_4_line_10 |  | 7 | 12 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_195-5_2_4_line_11 |  | 9 | 10 | 0.0020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_195-5_2_4_line_12 |  | 9 | 11 | 0.026546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_195-5_2_4_line_13 |  | 10 | 12 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_195-5_2_4_line_14 |  | 11 | 13 | 0.014969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_195-5_2_4_line_15 |  | 11 | 14 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_195-5_2_4_line_16 |  | 12 | 15 | 0.029506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_195-5_2_4_line_17 |  | 13 | 20 | 0.0040026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_195-5_2_4_line_18 |  | 14 | 21 | 0.046066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_195-5_2_4_line_19 |  | 14 | 22 | 0.0031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_195-5_2_4_line_20 |  | 15 | 19 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_195-5_2_4_line_21 |  | 15 | 18 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_195-5_2_4_line_22 |  | 16 | 17 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_195-5_2_4_line_23 |  | 16 | 18 | 0.00746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_195-5_2_4_line_24 |  | 17 | 36 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_195-5_2_4_line_25 |  | 18 | 31 | 0.005857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_195-5_2_4_line_26 |  | 19 | 41 | 0.016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_195-5_2_4_line_27 |  | 20 | 23 | 0.0035116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_195-5_2_4_line_28 |  | 21 | 24 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_195-5_2_4_line_29 |  | 22 | 25 | 0.005391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_195-5_2_4_line_30 |  | 23 | 26 | 0.015267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_195-5_2_4_line_31 |  | 25 | 30 | 0.009011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_195-5_2_4_line_32 |  | 26 | 27 | 0.0019364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_195-5_2_4_line_33 |  | 27 | 28 | 0.022366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_195-5_2_4_line_34 |  | 28 | 29 | 0.0025551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_195-5_2_4_line_35 |  | 32 | 33 | 0.0076189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_195-5_2_4_line_36 |  | 33 | 34 | 0.01449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_195-5_2_4_line_37 |  | 34 | 38 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_195-5_2_4_line_38 |  | 34 | 39 | 0.026393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_195-5_2_4_line_39 |  | 34 | 40 | 0.047512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_195-5_2_4_line_40 |  | 35 | 36 | 0.003953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_195-5_2_4_line_41 |  | 35 | 37 | 0.0070779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_195-5_2_4_line_42 |  | 36 | 42 | 0.006726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_195-5_2_4_line_43 |  | 38 | 67 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_195-5_2_4_line_44 |  | 39 | 68 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_195-5_2_4_line_45 |  | 40 | 65 | 0.034707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_195-5_2_4_line_46 |  | 40 | 63 | 0.024197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_195-5_2_4_line_47 |  | 41 | 67 | 0.029588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_195-5_2_4_line_48 |  | 41 | 75 | 0.021957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_195-5_2_4_line_49 |  | 43 | 44 | 0.074722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_195-5_2_4_line_50 |  | 44 | 45 | 0.049676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_195-5_2_4_line_51 |  | 45 | 46 | 0.034829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_195-5_2_4_line_52 |  | 45 | 47 | 0.071193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_195-5_2_4_line_53 |  | 46 | 48 | 0.027619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_195-5_2_4_line_54 |  | 47 | 49 | 0.0097679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_195-5_2_4_line_55 |  | 48 | 76 | 0.044525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_195-5_2_4_line_56 |  | 48 | 81 | 0.033503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_195-5_2_4_line_57 |  | 51 | 52 | 0.00022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_195-5_2_4_line_58 |  | 52 | 53 | 0.021046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_195-5_2_4_line_59 |  | 53 | 55 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_195-5_2_4_line_60 |  | 54 | 56 | 0.002034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_195-5_2_4_line_61 |  | 54 | 57 | 0.027231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_195-5_2_4_line_62 |  | 56 | 58 | 0.045335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_195-5_2_4_line_63 |  | 57 | 59 | 0.025723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_195-5_2_4_line_64 |  | 59 | 74 | 0.0036457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_195-5_2_4_line_65 |  | 60 | 61 | 0.030821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_195-5_2_4_line_66 |  | 60 | 62 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_195-5_2_4_line_67 |  | 62 | 63 | 0.016131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_195-5_2_4_line_68 |  | 62 | 64 | 0.026061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_195-5_2_4_line_69 |  | 65 | 66 | 0.0011544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_195-5_2_4_line_70 |  | 67 | 76 | 0.0068943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_195-5_2_4_line_71 |  | 68 | 69 | 0.0058458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_195-5_2_4_line_72 |  | 70 | 71 | 0.017734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_195-5_2_4_line_73 |  | 70 | 72 | 0.0070479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_195-5_2_4_line_74 |  | 71 | 73 | 0.047037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_195-5_2_4_line_75 |  | 73 | 74 | 0.019147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_195-5_2_4_line_76 |  | 73 | 75 | 0.049759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_195-5_2_4_line_77 |  | 77 | 78 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_195-5_2_4_line_78 |  | 78 | 82 | 0.025422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_195-5_2_4_line_79 |  | 79 | 80 | 0.0045844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_195-5_2_4_line_80 |  | 79 | 81 | 0.0032995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_195-5_2_4_line_81 |  | 80 | 82 | 0.024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_195-5_2_4_line_82 |  | 81 | 83 | 0.0362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_195-5_2_4_line_83 |  | 82 | 84 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_195-5_2_4_trafo_152 | 0.63 MVA 20/0.4 kV | 85 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2692862.573 | 1244017.7019 | 2692866.5734 | 1244034.9441 | 2692862.9292 | 1244038.3897
1 | 2692862.573 | 1244017.7019 | 2692869.1636 | 1244016.2321
2 | 2692862.9292 | 1244038.3897 | 2692852.8332 | 1244049.3733 | 2692845.4044 | 1244049.7907 | 2692841.9035 | 1244049.8804 | 2692841.5067 | 1244049.9327
3 | 2692862.9292 | 1244038.3897 | 2692875.4139 | 1244048.6261
4 | 2692930.6947 | 1244033.7027 | 2692942.3047 | 1244033.6734 | 2692955.303 | 1244033.6744
5 | 2692920.8265 | 1244049.9158 | 2692930.6947 | 1244033.7027
6 | 2692906.6586 | 1244069.442 | 2692920.8265 | 1244049.9158
7 | 2692920.8265 | 1244049.9158 | 2692892.9968 | 1244043.6409
8 | 2692962.0759 | 1244002.9044 | 2692986.5035 | 1244005.5019
9 | 2692962.0759 | 1244002.9044 | 2692974.9979 | 1243997.4091
10 | 2693003.7813 | 1244007.3391 | 2692986.5035 | 1244005.5019
11 | 2692998.6363 | 1243987.9216 | 2692997.9645 | 1243985.9609
12 | 2692984.8782 | 1243962.9762 | 2692992.8452 | 1243975.4771 | 2692996.5258 | 1243981.7617 | 2692997.9645 | 1243985.9609
13 | 2692998.6363 | 1243987.9216 | 2693001.8901 | 1243997.8023 | 2693003.4387 | 1244002.6746 | 2693003.7813 | 1244007.3391
14 | 2692984.8782 | 1243962.9762 | 2692976.7159 | 1243962.4479 | 2692970.1712 | 1243960.641
15 | 2692984.8782 | 1243962.9762 | 2692984.0584 | 1243956.9366 | 2692982.4279 | 1243938.486
16 | 2693003.7813 | 1244007.3391 | 2693013.2166 | 1244011.0342 | 2693020.8215 | 1244015.2899 | 2693030.0341 | 1244020.6495
17 | 2692966.313 | 1243959.5758 | 2692970.1712 | 1243960.641
18 | 2692982.4279 | 1243938.486 | 2692988.0877 | 1243938.0967 | 2692995.7767 | 1243936.516 | 2693013.2839 | 1243931.5756 | 2693023.9815 | 1243922.0078
19 | 2692982.4279 | 1243938.486 | 2692981.6666 | 1243935.3994
20 | 2693030.0341 | 1244020.6495 | 2693021.5442 | 1244038.1184 | 2693014.3637 | 1244050.3833
21 | 2693030.0341 | 1244020.6495 | 2693035.5957 | 1244011.5854
22 | 2693030.3275 | 1244006.2878 | 2693032.3144 | 1244005.3849 | 2693034.2745 | 1244003.7811 | 2693040.9246 | 1243997.1966
23 | 2693035.5957 | 1244011.5854 | 2693030.3275 | 1244006.2878
24 | 2693053.8013 | 1243983.8056 | 2693045.1307 | 1243993.0321 | 2693040.9246 | 1243997.1966
25 | 2693035.5957 | 1244011.5854 | 2693040.4341 | 1244014.886
26 | 2693006.2755 | 1244064.1987 | 2693014.3637 | 1244050.3833
27 | 2692966.313 | 1243959.5758 | 2692962.928 | 1243958.6412
28 | 2693030.8487 | 1243912.9787 | 2693025.5265 | 1243920.6259 | 2693023.9815 | 1243922.0078
29 | 2692981.6666 | 1243935.3994 | 2692980.3756 | 1243930.1652
30 | 2692948.5114 | 1243960.2266 | 2692956.8176 | 1243956.9542 | 2692962.928 | 1243958.6412
31 | 2692980.3756 | 1243930.1652 | 2692978.2178 | 1243921.4164
32 | 2692948.5114 | 1243960.2266 | 2692946.7098 | 1243960.9363
33 | 2692946.7098 | 1243960.9363 | 2692925.9006 | 1243969.1344
34 | 2692925.9006 | 1243969.1344 | 2692923.5234 | 1243970.071
35 | 2693048.5206 | 1244064.2436 | 2693045.44 | 1244057.2752
36 | 2693055.1587 | 1244076.9524 | 2693054.4102 | 1244074.0719 | 2693052.9947 | 1244071.8035 | 2693050.2114 | 1244068.0682 | 2693048.5206 | 1244064.2436
37 | 2693055.1587 | 1244076.9524 | 2693054.1442 | 1244077.0588 | 2693049.1382 | 1244079.1374 | 2693034.8231 | 1244085.6344
38 | 2693055.1587 | 1244076.9524 | 2693077.5609 | 1244062.9987
39 | 2693055.1587 | 1244076.9524 | 2693060.7091 | 1244080.153 | 2693075.2599 | 1244109.9258 | 2693081.8007 | 1244114.5541
40 | 2693056.4842 | 1243986.7165 | 2693053.8013 | 1243983.8056
41 | 2693056.4842 | 1243986.7165 | 2693061.4 | 1243981.6243
42 | 2693053.8013 | 1243983.8056 | 2693054.9386 | 1243979.2422 | 2693055.6622 | 1243977.353
43 | 2693018.5636 | 1244089.3546 | 2693027.9908 | 1244088.7353 | 2693034.8231 | 1244085.6344
44 | 2693097.5534 | 1244050.546 | 2693077.5609 | 1244062.9987
45 | 2693081.8007 | 1244114.5541 | 2693086.597 | 1244111.3825 | 2693105.0895 | 1244089.1002
46 | 2693081.8007 | 1244114.5541 | 2693082.1554 | 1244122.2877 | 2693093.4598 | 1244134.2457
47 | 2693006.2755 | 1244064.1987 | 2693013.6761 | 1244069.4297 | 2693015.9609 | 1244076.5153 | 2693018.5636 | 1244089.3546
48 | 2693006.2755 | 1244064.1987 | 2692999.1972 | 1244073.5948 | 2692992.6503 | 1244081.4074
49 | 2693105.1402 | 1244268.4306 | 2693068.5593 | 1244231.5232 | 2693054.0112 | 1244214.0227
50 | 2693022.2559 | 1244175.8219 | 2693036.8843 | 1244193.4201 | 2693054.0112 | 1244214.0227
51 | 2693022.2559 | 1244175.8219 | 2693011.2714 | 1244160.0823 | 2693001.2554 | 1244148.076
52 | 2693022.2559 | 1244175.8219 | 2693043.95 | 1244151.1102 | 2693049.9341 | 1244148.8245 | 2693065.6129 | 1244158.7334 | 2693074.1609 | 1244168.9958
53 | 2692983.5627 | 1244126.8675 | 2693001.2554 | 1244148.076
54 | 2693080.4125 | 1244176.5011 | 2693074.1609 | 1244168.9958
55 | 2692983.5627 | 1244126.8675 | 2692997.3628 | 1244109.5931 | 2693013.5767 | 1244094.1152
56 | 2692963.4387 | 1244153.639 | 2692973.3122 | 1244141.9071 | 2692983.5627 | 1244126.8675
57 | 2692892.7804 | 1244043.5922 | 2692892.9968 | 1244043.6409
58 | 2692875.4139 | 1244048.6261 | 2692881.9254 | 1244041.1446 | 2692892.7804 | 1244043.5922
59 | 2692875.4139 | 1244048.6261 | 2692863.0375 | 1244062.7929
60 | 2692906.6586 | 1244069.442 | 2692904.8159 | 1244070.3138
61 | 2692906.6586 | 1244069.442 | 2692909.0083 | 1244075.7724 | 2692912.0667 | 1244080.7685 | 2692918.6515 | 1244087.8992 | 2692922.576 | 1244090.857
62 | 2692904.8159 | 1244070.3138 | 2692877.2774 | 1244106.3265
63 | 2692922.576 | 1244090.857 | 2692943.1179 | 1244106.3395
64 | 2692946.0293 | 1244108.5339 | 2692943.1179 | 1244106.3395
65 | 2693121.3427 | 1244150.8092 | 2693125.356 | 1244150.8093 | 2693151.668 | 1244145.6774
66 | 2693104.5413 | 1244145.9679 | 2693110.398 | 1244149.3957 | 2693116.1502 | 1244150.8092 | 2693121.3427 | 1244150.8092
67 | 2693104.5413 | 1244145.9679 | 2693093.4598 | 1244134.2457
68 | 2693104.5413 | 1244145.9679 | 2693100.2695 | 1244161.9462 | 2693101.2442 | 1244171.4179
69 | 2693105.8267 | 1244088.2119 | 2693105.0895 | 1244089.1002
70 | 2693018.5636 | 1244089.3546 | 2693013.5767 | 1244094.1152
71 | 2693097.5534 | 1244050.546 | 2693102.5154 | 1244047.4553
72 | 2692921.7333 | 1244171.3239 | 2692932.5716 | 1244157.288
73 | 2692921.7333 | 1244171.3239 | 2692917.4257 | 1244176.9022
74 | 2692961.3199 | 1244120.0584 | 2692932.5716 | 1244157.288
75 | 2692961.3199 | 1244120.0584 | 2692946.0293 | 1244108.5339
76 | 2692961.3199 | 1244120.0584 | 2692980.0028 | 1244096.5001 | 2692992.6503 | 1244081.4074
77 | 2692938.4804 | 1244177.8329 | 2692934.4289 | 1244180.7494 | 2692927.6865 | 1244184.2416
78 | 2692962.4599 | 1244183.7685 | 2692956.5067 | 1244179.75 | 2692949.4856 | 1244177.7941 | 2692942.0898 | 1244177.567 | 2692938.4804 | 1244177.8329
79 | 2692957.9534 | 1244159.3018 | 2692961.1431 | 1244156.0089
80 | 2692963.4387 | 1244153.639 | 2692961.1431 | 1244156.0089
81 | 2692957.9534 | 1244159.3018 | 2692960.5231 | 1244168.4711 | 2692962.4599 | 1244183.7685
82 | 2692963.4387 | 1244153.639 | 2692967.1542 | 1244157.211 | 2692980.7656 | 1244166.4201 | 2692988.4463 | 1244178.8502
83 | 2692962.4599 | 1244183.7685 | 2692970.6371 | 1244198.8504

## bus_geodata
| x | y | coords
0 | 2692862.573 | 1244017.7019
1 | 2692862.9292 | 1244038.3897
2 | 2692869.1636 | 1244016.2321
3 | 2692930.6947 | 1244033.7027
4 | 2692955.303 | 1244033.6744
5 | 2692920.8265 | 1244049.9158
6 | 2692962.0759 | 1244002.9044
7 | 2692986.5035 | 1244005.5019
8 | 2692974.9979 | 1243997.4091
9 | 2692997.9645 | 1243985.9609
10 | 2692998.6363 | 1243987.9216
11 | 2692984.8782 | 1243962.9762
12 | 2693003.7813 | 1244007.3391
13 | 2692970.1712 | 1243960.641
14 | 2692982.4279 | 1243938.486
15 | 2693030.0341 | 1244020.6495
16 | 2693030.3275 | 1244006.2878
17 | 2693040.9246 | 1243997.1966
18 | 2693035.5957 | 1244011.5854
19 | 2693014.3637 | 1244050.3833
20 | 2692966.313 | 1243959.5758
21 | 2693023.9815 | 1243922.0078
22 | 2692981.6666 | 1243935.3994
23 | 2692962.928 | 1243958.6412
24 | 2693030.8487 | 1243912.9787
25 | 2692980.3756 | 1243930.1652
26 | 2692948.5114 | 1243960.2266
27 | 2692946.7098 | 1243960.9363
28 | 2692925.9006 | 1243969.1344
29 | 2692923.5234 | 1243970.071
30 | 2692978.2178 | 1243921.4164
31 | 2693040.4341 | 1244014.886
32 | 2693045.44 | 1244057.2752
33 | 2693048.5206 | 1244064.2436
34 | 2693055.1586 | 1244076.9524
35 | 2693056.4842 | 1243986.7165
36 | 2693053.8013 | 1243983.8056
37 | 2693061.4 | 1243981.6243
38 | 2693034.8231 | 1244085.6344
39 | 2693077.5609 | 1244062.9987
40 | 2693081.8007 | 1244114.5541
41 | 2693006.2755 | 1244064.1987
42 | 2693055.6622 | 1243977.353
43 | 2693105.1402 | 1244268.4306
44 | 2693054.0112 | 1244214.0227
45 | 2693022.2559 | 1244175.8219
46 | 2693001.2554 | 1244148.076
47 | 2693074.1609 | 1244168.9958
48 | 2692983.5627 | 1244126.8675
49 | 2693080.4125 | 1244176.5011
50 | 2692841.5067 | 1244049.9327
51 | 2692892.9968 | 1244043.6409
52 | 2692892.7804 | 1244043.5922
53 | 2692875.4139 | 1244048.6261
54 | 2692906.6586 | 1244069.442
55 | 2692863.0375 | 1244062.7929
56 | 2692904.8159 | 1244070.3138
57 | 2692922.576 | 1244090.857
58 | 2692877.2774 | 1244106.3265
59 | 2692943.1179 | 1244106.3395
60 | 2693121.3427 | 1244150.8092
61 | 2693151.668 | 1244145.6774
62 | 2693104.5413 | 1244145.9679
63 | 2693093.4598 | 1244134.2457
64 | 2693101.2442 | 1244171.4179
65 | 2693105.0895 | 1244089.1002
66 | 2693105.8267 | 1244088.2119
67 | 2693018.5636 | 1244089.3546
68 | 2693097.5534 | 1244050.546
69 | 2693102.5154 | 1244047.4553
70 | 2692921.7333 | 1244171.3239
71 | 2692932.5716 | 1244157.2879
72 | 2692917.4257 | 1244176.9022
73 | 2692961.3199 | 1244120.0584
74 | 2692946.0293 | 1244108.5339
75 | 2692992.6503 | 1244081.4074
76 | 2693013.5767 | 1244094.1152
77 | 2692927.6865 | 1244184.2416
78 | 2692938.4804 | 1244177.8329
79 | 2692961.1431 | 1244156.0089
80 | 2692957.9534 | 1244159.3018
81 | 2692963.4387 | 1244153.639
82 | 2692962.4599 | 1244183.7685
83 | 2692988.4463 | 1244178.8502
84 | 2692970.6371 | 1244198.8504
85 | 2693018.5636 | 1244089.3546

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98837 | -0.22387 | 0 | 0
1 | 0.98841 | -0.22314 | 0 | 0
2 | 0.98836 | -0.22408 | 0.0017915 | 0.000449
3 | 0.98945 | -0.20295 | 0 | 0
4 | 0.98929 | -0.20606 | 0.007096 | 0.0017784
5 | 0.98957 | -0.20055 | 0 | 0
6 | 0.99301 | -0.1343 | 0 | 0
7 | 0.99307 | -0.13303 | 0.011946 | 0.0029939
8 | 0.99297 | -0.13502 | 0.0029207 | 0.00073201
9 | 0.99225 | -0.14881 | 0.0071874 | 0.0018013
10 | 0.99235 | -0.14691 | 0 | 0
11 | 0.99117 | -0.16973 | 0 | 0
12 | 0.99331 | -0.12846 | 0 | 0
13 | 0.99087 | -0.1757 | 0.0035484 | 0.00088932
14 | 0.99068 | -0.17935 | 0 | 0
15 | 0.9951 | -0.093843 | 0 | 0
16 | 0.99463 | -0.10296 | 0 | 0
17 | 0.99447 | -0.10602 | 0.0050599 | 0.0012681
18 | 0.99472 | -0.10133 | 0 | 0
19 | 0.99838 | -0.030954 | 0.0041761 | 0.0010466
20 | 0.9908 | -0.17705 | 0.0025329 | 0.00063481
21 | 0.98994 | -0.19375 | 0.0056161 | 0.0014075
22 | 0.99066 | -0.1796 | 0.0013873 | 0.00034768
23 | 0.99074 | -0.17807 | 0.0014775 | 0.0003703
24 | 0.98981 | -0.19618 | 0.011973 | 0.0030007
25 | 0.99065 | -0.17989 | 0.0019641 | 0.00049226
26 | 0.99054 | -0.18211 | 0.0013509 | 0.00033858
27 | 0.99051 | -0.18258 | 0.0017722 | 0.00044415
28 | 0.99027 | -0.18726 | 0.0091636 | 0.0022966
29 | 0.99026 | -0.18738 | 0.0026223 | 0.00065722
30 | 0.99064 | -0.18006 | 0.0010684 | 0.00026776
31 | 0.99457 | -0.10419 | 0.027692 | 0.0069402
32 | 0.99285 | -0.13734 | 0.014902 | 0.0037347
33 | 0.99295 | -0.13533 | 0.0093705 | 0.0023485
34 | 0.99327 | -0.12912 | 0 | 0
35 | 0.99434 | -0.10862 | 0 | 0
36 | 0.99435 | -0.1084 | 0 | 0
37 | 0.99432 | -0.10901 | 0.0031363 | 0.00078603
38 | 0.99547 | -0.086662 | 0.016633 | 0.0041686
39 | 0.99272 | -0.1398 | 0.007222 | 0.00181
40 | 0.99059 | -0.18088 | 0 | 0
41 | 1 | 0 | -0.39384 | -0.099371
42 | 0.99432 | -0.1089 | 0.004147 | 0.0010393
43 | 0.99343 | -0.12636 | 0.00073944 | 0.00018532
44 | 0.99348 | -0.12538 | 0.0044528 | 0.001116
45 | 0.99371 | -0.12082 | 0 | 0
46 | 0.99397 | -0.11588 | 0.015244 | 0.0038204
47 | 0.99353 | -0.1244 | 0.0022039 | 0.00055235
48 | 0.99455 | -0.10454 | 0.0069401 | 0.0017394
49 | 0.99352 | -0.12451 | 0.00064218 | 0.00016095
50 | 0.98836 | -0.22408 | 0.0020129 | 0.00050449
51 | 0.98874 | -0.21656 | 0.01514 | 0.0037944
52 | 0.98874 | -0.21662 | 0.0018952 | 0.00047497
53 | 0.98846 | -0.22205 | 0.0015321 | 0.00038398
54 | 0.99042 | -0.18401 | 0 | 0
55 | 0.98831 | -0.2251 | 0.0091136 | 0.0022841
56 | 0.99039 | -0.18461 | 0 | 0
57 | 0.9918 | -0.15738 | 0.0051075 | 0.0012801
58 | 0.9897 | -0.19794 | 0.016532 | 0.0041434
59 | 0.99322 | -0.12997 | 0.0049153 | 0.0012319
60 | 0.98938 | -0.20443 | 0.0058384 | 0.0014633
61 | 0.98921 | -0.20771 | 0.0059649 | 0.0014949
62 | 0.98957 | -0.20067 | 0 | 0
63 | 0.98993 | -0.19366 | 0.0052591 | 0.001318
64 | 0.98927 | -0.20653 | 0.012636 | 0.0031668
65 | 0.98958 | -0.20051 | 0.020897 | 0.0052373
66 | 0.98957 | -0.20073 | 0.010907 | 0.0027334
67 | 0.99742 | -0.049376 | 0 | 0
68 | 0.99238 | -0.14633 | 0.0035116 | 0.00088008
69 | 0.99232 | -0.14759 | 0.012161 | 0.003048
70 | 0.99432 | -0.10879 | 0.0011483 | 0.00028779
71 | 0.99435 | -0.10809 | 0.0052223 | 0.0013088
72 | 0.99431 | -0.10893 | 0.0011005 | 0.00027582
73 | 0.99468 | -0.10189 | 0 | 0
74 | 0.99343 | -0.12577 | 0.0055584 | 0.0013931
75 | 0.99824 | -0.033607 | 0.0094813 | 0.0023762
76 | 0.997 | -0.057312 | 0.0053402 | 0.0013384
77 | 0.99299 | -0.13484 | 0.0080092 | 0.0020073
78 | 0.99308 | -0.13306 | 0 | 0
79 | 0.99358 | -0.12337 | 0.0062934 | 0.0015773
80 | 0.99353 | -0.12432 | 0 | 0
81 | 0.99363 | -0.12233 | 0 | 0
82 | 0.99326 | -0.12946 | 0 | 0
83 | 0.99323 | -0.13009 | 0.012144 | 0.0030435
84 | 0.99321 | -0.13057 | 0.0036569 | 0.0009165
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017915 | -0.00044892 | 0.0017916 | 0.00044867 | 6.1943e-08 | -2.5138e-07 | 0.0026972 | 0.0026971 | 0.0026972 | 0.98837 | -0.22387 | 0.98841 | -0.22314 | 0.74098
1 | 0.0017915 | 0.00044892 | -0.0017915 | -0.000449 | 1.8421e-08 | -7.4749e-08 | 0.0026972 | 0.0026972 | 0.0026972 | 0.98837 | -0.22387 | 0.98836 | -0.22408 | 0.74099
2 | 0.002013 | 0.00050421 | -0.0020129 | -0.00050449 | 9.0443e-08 | -2.7869e-07 | 0.0030304 | 0.0030305 | 0.0030305 | 0.98841 | -0.22314 | 0.98836 | -0.22408 | 0.83257
3 | -0.0038046 | -0.00095288 | 0.0038048 | 0.0009528 | 1.9825e-07 | -7.9688e-08 | 0.0057275 | 0.0057274 | 0.0057275 | 0.98841 | -0.22314 | 0.98846 | -0.22205 | 1.5735
4 | 0.0070971 | 0.0017788 | -0.007096 | -0.0017784 | 1.0513e-06 | 3.5679e-07 | 0.010673 | 0.010673 | 0.010673 | 0.98945 | -0.20295 | 0.98929 | -0.20606 | 2.9322
5 | -0.0070971 | -0.0017788 | 0.0070979 | 0.0017791 | 8.1029e-07 | 2.7493e-07 | 0.010673 | 0.010673 | 0.010673 | 0.98945 | -0.20295 | 0.98957 | -0.20055 | 2.9322
6 | -0.038612 | -0.009687 | 0.038643 | 0.0097062 | 3.0474e-05 | 1.9193e-05 | 0.058065 | 0.058065 | 0.058065 | 0.98957 | -0.20055 | 0.99042 | -0.18401 | 15.9519
7 | 0.031514 | 0.007908 | -0.03149 | -0.0078929 | 2.4028e-05 | 1.5012e-05 | 0.047392 | 0.047392 | 0.047392 | 0.98957 | -0.20055 | 0.98874 | -0.21656 | 13.0198
8 | -0.0029208 | -0.00073189 | 0.002921 | 0.00073169 | 1.7647e-07 | -2.0487e-07 | 0.0043768 | 0.0043767 | 0.0043768 | 0.99301 | -0.1343 | 0.99307 | -0.13303 | 1.2024
9 | 0.0029208 | 0.00073189 | -0.0029207 | -0.00073201 | 1.0087e-07 | -1.1709e-07 | 0.0043768 | 0.0043769 | 0.0043769 | 0.99301 | -0.1343 | 0.99297 | -0.13502 | 1.2024
10 | -0.014867 | -0.0037256 | 0.01487 | 0.0037274 | 3.2333e-06 | 1.8444e-06 | 0.022276 | 0.022276 | 0.022276 | 0.99307 | -0.13303 | 0.99331 | -0.12846 | 6.1198
11 | -0.051747 | -0.012999 | 0.051751 | 0.013002 | 4.6817e-06 | 2.9695e-06 | 0.077611 | 0.077611 | 0.077611 | 0.99225 | -0.14881 | 0.99235 | -0.14691 | 21.3218
12 | 0.044559 | 0.011197 | -0.044515 | -0.011169 | 4.4464e-05 | 2.8114e-05 | 0.066833 | 0.066833 | 0.066833 | 0.99225 | -0.14881 | 0.99117 | -0.16973 | 18.3607
13 | -0.051751 | -0.013002 | 0.051797 | 0.01303 | 4.561e-05 | 2.893e-05 | 0.077611 | 0.077611 | 0.077611 | 0.99235 | -0.14691 | 0.99331 | -0.12846 | 21.3218
14 | 0.022482 | 0.0056393 | -0.022476 | -0.0056354 | 6.3952e-06 | 3.9001e-06 | 0.033753 | 0.033753 | 0.033753 | 0.99117 | -0.16973 | 0.99087 | -0.1757 | 9.2729
15 | 0.022033 | 0.0055298 | -0.022023 | -0.0055237 | 1.0102e-05 | 6.1484e-06 | 0.03308 | 0.03308 | 0.03308 | 0.99117 | -0.16973 | 0.99068 | -0.17935 | 9.0879
16 | -0.066667 | -0.016758 | 0.066777 | 0.016828 | 0.0001104 | 7.0272e-05 | 0.099887 | 0.099887 | 0.099887 | 0.99331 | -0.12846 | 0.9951 | -0.093843 | 27.4416
17 | 0.018927 | 0.004746 | -0.018926 | -0.0047453 | 1.2127e-06 | 7.2459e-07 | 0.028425 | 0.028425 | 0.028425 | 0.99087 | -0.1757 | 0.9908 | -0.17705 | 7.809
18 | 0.017603 | 0.0044161 | -0.017591 | -0.004409 | 1.2077e-05 | 7.1369e-06 | 0.026441 | 0.026441 | 0.026441 | 0.99068 | -0.17935 | 0.98994 | -0.19375 | 7.2641
19 | 0.0044199 | 0.0011075 | -0.0044198 | -0.0011076 | 5.2542e-08 | -7.3066e-09 | 0.0066387 | 0.0066387 | 0.0066387 | 0.99068 | -0.17935 | 0.99066 | -0.1796 | 1.8238
20 | -0.10683 | -0.026875 | 0.10716 | 0.02708 | 0.00032204 | 0.00020567 | 0.15979 | 0.15979 | 0.15979 | 0.9951 | -0.093843 | 0.99838 | -0.030954 | 43.8978
21 | 0.040057 | 0.010047 | -0.040042 | -0.010038 | 1.4299e-05 | 9.0134e-06 | 0.059901 | 0.059901 | 0.059901 | 0.9951 | -0.093843 | 0.99472 | -0.10133 | 16.4563
22 | 0.012346 | 0.0030947 | -0.012344 | -0.0030937 | 1.8005e-06 | 9.6968e-07 | 0.01847 | 0.01847 | 0.01847 | 0.99463 | -0.10296 | 0.99447 | -0.10602 | 5.0743
23 | -0.012346 | -0.0030947 | 0.012347 | 0.0030952 | 9.5438e-07 | 5.1398e-07 | 0.01847 | 0.01847 | 0.01847 | 0.99463 | -0.10296 | 0.99472 | -0.10133 | 5.0743
24 | 0.0072843 | 0.0018255 | -0.0072835 | -0.0018253 | 8.2773e-07 | 2.887e-07 | 0.010899 | 0.010899 | 0.010899 | 0.99447 | -0.10602 | 0.99435 | -0.1084 | 2.9944
25 | 0.027695 | 0.0069425 | -0.027692 | -0.0069402 | 3.77e-06 | 2.3368e-06 | 0.04143 | 0.04143 | 0.04143 | 0.99472 | -0.10133 | 0.99457 | -0.10419 | 11.382
26 | -0.11133 | -0.028127 | 0.1115 | 0.028233 | 0.00016545 | 0.00010568 | 0.16601 | 0.16601 | 0.16601 | 0.99838 | -0.030954 | 1 | 0 | 45.6077
27 | 0.016393 | 0.0041105 | -0.016392 | -0.00411 | 7.9824e-07 | 4.6565e-07 | 0.024621 | 0.024621 | 0.024621 | 0.9908 | -0.17705 | 0.99074 | -0.17807 | 6.7639
28 | 0.011974 | 0.0030015 | -0.011973 | -0.0030007 | 1.3838e-06 | 7.3921e-07 | 0.018 | 0.018 | 0.018 | 0.98994 | -0.19375 | 0.98981 | -0.19618 | 4.9449
29 | 0.0030326 | 0.00075987 | -0.0030325 | -0.00075991 | 4.1944e-08 | -4.2566e-08 | 0.004555 | 0.004555 | 0.004555 | 0.99066 | -0.1796 | 0.99065 | -0.17989 | 1.2514
30 | 0.014915 | 0.0037397 | -0.014912 | -0.0037381 | 2.8729e-06 | 1.6421e-06 | 0.022401 | 0.022402 | 0.022402 | 0.99074 | -0.17807 | 0.99054 | -0.18211 | 6.1543
31 | 0.0010684 | 0.00026765 | -0.0010684 | -0.00026776 | 8.7019e-09 | -1.1045e-07 | 0.0016047 | 0.0016048 | 0.0016048 | 0.99065 | -0.17989 | 0.99064 | -0.18006 | 0.44087
32 | 0.013561 | 0.0033995 | -0.013561 | -0.0033993 | 3.0137e-07 | 1.6795e-07 | 0.020372 | 0.020372 | 0.020372 | 0.99054 | -0.18211 | 0.99051 | -0.18258 | 5.5967
33 | 0.011789 | 0.0029552 | -0.011786 | -0.0029538 | 2.6306e-06 | 1.3957e-06 | 0.01771 | 0.01771 | 0.01771 | 0.99051 | -0.18258 | 0.99027 | -0.18726 | 4.8654
34 | 0.0026224 | 0.0006572 | -0.0026223 | -0.00065722 | 1.4877e-08 | -2.335e-08 | 0.0039404 | 0.0039404 | 0.0039404 | 0.99027 | -0.18726 | 0.99026 | -0.18738 | 1.0825
35 | -0.014902 | -0.0037347 | 0.014903 | 0.0037355 | 1.4251e-06 | 8.1351e-07 | 0.022334 | 0.022333 | 0.022334 | 0.99285 | -0.13734 | 0.99295 | -0.13533 | 6.1356
36 | -0.024274 | -0.006084 | 0.024281 | 0.0060884 | 7.19e-06 | 4.4141e-06 | 0.036376 | 0.036376 | 0.036376 | 0.99295 | -0.13533 | 0.99327 | -0.12912 | 9.9934
37 | -0.10891 | -0.027386 | 0.10913 | 0.027527 | 0.00022131 | 0.00014135 | 0.16319 | 0.16319 | 0.16319 | 0.99327 | -0.12912 | 0.99547 | -0.086662 | 44.8323
38 | 0.022912 | 0.0057484 | -0.022901 | -0.0057412 | 1.1662e-05 | 7.1225e-06 | 0.034327 | 0.034327 | 0.034327 | 0.99327 | -0.12912 | 0.99272 | -0.1398 | 9.4305
39 | 0.061717 | 0.015549 | -0.061564 | -0.015452 | 0.0001524 | 9.6925e-05 | 0.092487 | 0.092487 | 0.092487 | 0.99327 | -0.12912 | 0.99059 | -0.18088 | 25.4085
40 | -0.0031364 | -0.00078598 | 0.0031364 | 0.00078595 | 3.2655e-08 | -3.0376e-08 | 0.0046935 | 0.0046935 | 0.0046935 | 0.99434 | -0.10862 | 0.99435 | -0.1084 | 1.2894
41 | 0.0031364 | 0.00078598 | -0.0031363 | -0.00078603 | 5.847e-08 | -5.4386e-08 | 0.0046935 | 0.0046935 | 0.0046935 | 0.99434 | -0.10862 | 0.99432 | -0.10901 | 1.2894
42 | 0.0041471 | 0.0010393 | -0.004147 | -0.0010393 | 9.7143e-08 | -2.5073e-08 | 0.006206 | 0.006206 | 0.006206 | 0.99435 | -0.1084 | 0.99432 | -0.1089 | 1.7049
43 | -0.12576 | -0.031696 | 0.12599 | 0.031839 | 0.00022479 | 0.00014364 | 0.18805 | 0.18805 | 0.18805 | 0.99547 | -0.086662 | 0.99742 | -0.049376 | 51.6627
44 | 0.015679 | 0.0039312 | -0.015674 | -0.0039284 | 4.8786e-06 | 2.8179e-06 | 0.023502 | 0.023502 | 0.023502 | 0.99272 | -0.1398 | 0.99238 | -0.14633 | 6.4566
45 | 0.031833 | 0.0079894 | -0.031804 | -0.0079708 | 2.9765e-05 | 1.8603e-05 | 0.047822 | 0.047823 | 0.047823 | 0.99059 | -0.18088 | 0.98958 | -0.20051 | 13.1381
46 | 0.029731 | 0.0074626 | -0.029713 | -0.0074513 | 1.8102e-05 | 1.1274e-05 | 0.044664 | 0.044664 | 0.044664 | 0.99059 | -0.18088 | 0.98993 | -0.19366 | 12.2704
47 | 0.19232 | 0.048718 | -0.19187 | -0.048427 | 0.00045494 | 0.00029038 | 0.28636 | 0.28636 | 0.28636 | 1 | 0 | 0.99742 | -0.049376 | 39.3356
48 | 0.088365 | 0.02242 | -0.088223 | -0.022329 | 0.00014257 | 9.0956e-05 | 0.13159 | 0.13159 | 0.13159 | 1 | 0 | 0.99824 | -0.033607 | 36.15
49 | -0.00073944 | -0.00018532 | 0.00073947 | 0.00018437 | 3.4363e-08 | -9.4551e-07 | 0.0011076 | 0.0011072 | 0.0011076 | 0.99343 | -0.12636 | 0.99348 | -0.12538 | 0.30428
50 | -0.0051923 | -0.0013004 | 0.0051934 | 0.0013004 | 1.1265e-06 | 7.759e-08 | 0.0077766 | 0.0077764 | 0.0077766 | 0.99348 | -0.12538 | 0.99371 | -0.12082 | 2.1364
51 | -0.00804 | -0.002013 | 0.0080418 | 0.0020137 | 1.8929e-06 | 7.6011e-07 | 0.012039 | 0.012038 | 0.012039 | 0.99371 | -0.12082 | 0.99397 | -0.11588 | 3.3073
52 | 0.0028466 | 0.00071256 | -0.0028461 | -0.00071317 | 4.8503e-07 | -6.1169e-07 | 0.0042622 | 0.0042625 | 0.0042625 | 0.99371 | -0.12082 | 0.99353 | -0.1244 | 1.171
53 | -0.023286 | -0.0058342 | 0.023298 | 0.0058419 | 1.2586e-05 | 7.6966e-06 | 0.034859 | 0.034859 | 0.034859 | 0.99397 | -0.11588 | 0.99455 | -0.10454 | 9.5766
54 | 0.00064219 | 0.00016082 | -0.00064218 | -0.00016095 | 3.3884e-09 | -1.2433e-07 | 0.00096177 | 0.00096181 | 0.00096181 | 0.99353 | -0.1244 | 0.99352 | -0.12451 | 0.26423
55 | -0.060378 | -0.015147 | 0.060514 | 0.015234 | 0.00013627 | 8.6635e-05 | 0.090341 | 0.090341 | 0.090341 | 0.99455 | -0.10454 | 0.997 | -0.057312 | 24.8189
56 | 0.03014 | 0.007566 | -0.030114 | -0.00755 | 2.5553e-05 | 1.592e-05 | 0.045098 | 0.045099 | 0.045099 | 0.99455 | -0.10454 | 0.99363 | -0.12233 | 12.3897
57 | 0.016351 | 0.0040986 | -0.016351 | -0.0040986 | 5.0354e-08 | 2.9382e-08 | 0.024607 | 0.024607 | 0.024607 | 0.98874 | -0.21656 | 0.98874 | -0.21662 | 6.7603
58 | 0.014456 | 0.0036236 | -0.014452 | -0.0036215 | 3.7353e-06 | 2.1208e-06 | 0.021755 | 0.021755 | 0.021755 | 0.98874 | -0.21662 | 0.98846 | -0.22205 | 5.9768
59 | 0.0091149 | 0.0022847 | -0.0091136 | -0.0022841 | 1.3282e-06 | 6.0896e-07 | 0.013722 | 0.013722 | 0.013722 | 0.98846 | -0.22205 | 0.98831 | -0.2251 | 3.7697
60 | 0.016543 | 0.0041498 | -0.016543 | -0.0041495 | 4.7124e-07 | 2.7542e-07 | 0.024856 | 0.024856 | 0.024856 | 0.99042 | -0.18401 | 0.99039 | -0.18461 | 6.8285
61 | -0.055186 | -0.013856 | 0.055256 | 0.013901 | 7.0212e-05 | 4.4585e-05 | 0.082921 | 0.082921 | 0.082921 | 0.99042 | -0.18401 | 0.9918 | -0.15738 | 22.7804
62 | 0.016543 | 0.0041495 | -0.016532 | -0.0041434 | 1.0503e-05 | 6.1392e-06 | 0.024856 | 0.024856 | 0.024856 | 0.99039 | -0.18461 | 0.9897 | -0.19794 | 6.8286
63 | -0.060364 | -0.015181 | 0.060443 | 0.015231 | 7.915e-05 | 5.0324e-05 | 0.090583 | 0.090583 | 0.090583 | 0.9918 | -0.15738 | 0.99322 | -0.12997 | 24.8856
64 | -0.065358 | -0.016463 | 0.065371 | 0.016471 | 1.3116e-05 | 8.347e-06 | 0.097947 | 0.097947 | 0.097947 | 0.99322 | -0.12997 | 0.99343 | -0.12577 | 26.9086
65 | 0.0059658 | 0.0014951 | -0.0059649 | -0.0014949 | 9.305e-07 | 1.9978e-07 | 0.0089725 | 0.0089726 | 0.0089726 | 0.98938 | -0.20443 | 0.98921 | -0.20771 | 2.465
66 | -0.011804 | -0.0029584 | 0.011806 | 0.0029595 | 2.1159e-06 | 1.1242e-06 | 0.017753 | 0.017753 | 0.017753 | 0.98938 | -0.20443 | 0.98957 | -0.20067 | 4.8773
67 | -0.024446 | -0.0061282 | 0.024454 | 0.0061333 | 8.1738e-06 | 5.0239e-06 | 0.036759 | 0.036759 | 0.036759 | 0.98957 | -0.20067 | 0.98993 | -0.19366 | 10.0987
68 | 0.012639 | 0.0031687 | -0.012636 | -0.0031668 | 3.5303e-06 | 1.9247e-06 | 0.019006 | 0.019006 | 0.019006 | 0.98957 | -0.20067 | 0.98927 | -0.20653 | 5.2214
69 | 0.010907 | 0.0027335 | -0.010907 | -0.0027334 | 1.1644e-07 | 5.9689e-08 | 0.0164 | 0.0164 | 0.0164 | 0.98958 | -0.20051 | 0.98957 | -0.20073 | 4.5055
70 | 0.06588 | 0.016588 | -0.065855 | -0.016572 | 2.4988e-05 | 1.5902e-05 | 0.098311 | 0.098311 | 0.098311 | 0.99742 | -0.049376 | 0.997 | -0.057312 | 27.0085
71 | 0.012162 | 0.0030483 | -0.012161 | -0.003048 | 7.2906e-07 | 3.9108e-07 | 0.018237 | 0.018237 | 0.018237 | 0.99238 | -0.14633 | 0.99232 | -0.14759 | 5.0101
72 | -0.0022488 | -0.00056353 | 0.0022489 | 0.00056334 | 7.5317e-08 | -1.8182e-07 | 0.0033654 | 0.0033653 | 0.0033654 | 0.99432 | -0.10879 | 0.99435 | -0.10809 | 0.92456
73 | 0.0011005 | 0.00027573 | -0.0011005 | -0.00027582 | 7.1689e-09 | -8.6827e-08 | 0.0016469 | 0.001647 | 0.001647 | 0.99432 | -0.10879 | 0.99431 | -0.10893 | 0.45246
74 | -0.0074712 | -0.0018722 | 0.0074734 | 0.001873 | 2.2048e-06 | 8.0073e-07 | 0.01118 | 0.01118 | 0.01118 | 0.99435 | -0.10809 | 0.99468 | -0.10189 | 3.0715
75 | 0.071011 | 0.017916 | -0.07093 | -0.017864 | 8.1093e-05 | 5.1651e-05 | 0.10627 | 0.10627 | 0.10627 | 0.99468 | -0.10189 | 0.99343 | -0.12577 | 29.1959
76 | -0.078484 | -0.019789 | 0.078742 | 0.019953 | 0.00025741 | 0.00016409 | 0.11745 | 0.11745 | 0.11745 | 0.99468 | -0.10189 | 0.99824 | -0.033607 | 32.2673
77 | -0.0080092 | -0.0020073 | 0.0080099 | 0.0020076 | 6.7983e-07 | 2.7227e-07 | 0.012002 | 0.012002 | 0.012002 | 0.99299 | -0.13484 | 0.99308 | -0.13306 | 3.2973
78 | -0.0080099 | -0.0020076 | 0.0080113 | 0.0020081 | 1.3732e-06 | 5.4988e-07 | 0.012002 | 0.012002 | 0.012002 | 0.99308 | -0.13306 | 0.99326 | -0.12946 | 3.2972
79 | 0.011672 | 0.0029263 | -0.011671 | -0.002926 | 5.253e-07 | 2.7682e-07 | 0.01748 | 0.01748 | 0.01748 | 0.99358 | -0.12337 | 0.99353 | -0.12432 | 4.8023
80 | -0.017965 | -0.0045036 | 0.017966 | 0.0045041 | 8.9571e-07 | 5.3052e-07 | 0.026906 | 0.026906 | 0.026906 | 0.99358 | -0.12337 | 0.99363 | -0.12233 | 7.3917
81 | 0.011671 | 0.002926 | -0.011668 | -0.0029245 | 2.858e-06 | 1.5062e-06 | 0.01748 | 0.01748 | 0.01748 | 0.99353 | -0.12432 | 0.99326 | -0.12946 | 4.8023
82 | 0.012148 | 0.0030459 | -0.012144 | -0.0030435 | 4.4932e-06 | 2.4069e-06 | 0.018193 | 0.018193 | 0.018193 | 0.99363 | -0.12233 | 0.99323 | -0.13009 | 4.9981
83 | 0.0036571 | 0.0009164 | -0.0036569 | -0.0009165 | 1.9311e-07 | -9.8451e-08 | 0.0054786 | 0.0054787 | 0.0054787 | 0.99326 | -0.12946 | 0.99321 | -0.13057 | 1.5051

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39384 | 0.099371

## res_load
| p_mw | q_mvar
0 | 0.0017915 | 0.000449
1 | 0.007096 | 0.0017784
2 | 0.011946 | 0.0029939
3 | 0.0029207 | 0.00073201
4 | 0.0071874 | 0.0018013
5 | 0.0035484 | 0.00088932
6 | 0.0050599 | 0.0012681
7 | 0.0041761 | 0.0010466
8 | 0.0025329 | 0.00063481
9 | 0.0056161 | 0.0014075
10 | 0.0013873 | 0.00034768
11 | 0.0014775 | 0.0003703
12 | 0.011973 | 0.0030007
13 | 0.0019641 | 0.00049226
14 | 0.0013509 | 0.00033858
15 | 0.0017722 | 0.00044415
16 | 0.0091636 | 0.0022966
17 | 0.0026223 | 0.00065722
18 | 0.0010684 | 0.00026776
19 | 0.027692 | 0.0069402
20 | 0.014902 | 0.0037347
21 | 0.0093705 | 0.0023485
22 | 0.0031363 | 0.00078603
23 | 0.016633 | 0.0041686
24 | 0.007222 | 0.00181
25 | 0.004147 | 0.0010393
26 | 0.00073944 | 0.00018532
27 | 0.0044528 | 0.001116
28 | 0.015244 | 0.0038204
29 | 0.0022039 | 0.00055235
30 | 0.0069401 | 0.0017394
31 | 0.00064218 | 0.00016095
32 | 0.0020129 | 0.00050449
33 | 0.01514 | 0.0037944
34 | 0.0018952 | 0.00047497
35 | 0.0015321 | 0.00038398
36 | 0.0091136 | 0.0022841
37 | 0.0051075 | 0.0012801
38 | 0.016532 | 0.0041434
39 | 0.0049153 | 0.0012319
40 | 0.0058384 | 0.0014633
41 | 0.0059649 | 0.0014949
42 | 0.0052591 | 0.001318
43 | 0.012636 | 0.0031668
44 | 0.020897 | 0.0052373
45 | 0.010907 | 0.0027334
46 | 0.0035116 | 0.00088008
47 | 0.012161 | 0.003048
48 | 0.0011483 | 0.00028779
49 | 0.0052223 | 0.0013088
50 | 0.0011005 | 0.00027582
51 | 0.0055584 | 0.0013931
52 | 0.0094813 | 0.0023762
53 | 0.0053402 | 0.0013384
54 | 0.0080092 | 0.0020073
55 | 0.0062934 | 0.0015773
56 | 0.012144 | 0.0030435
57 | 0.0036569 | 0.0009165

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1