## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_195-7_3_2_node_263 | 0.4 | n |  | TRUE
1 | bus_LV_195-7_3_2_node_79 | 0.4 | n |  | TRUE
2 | bus_LV_195-7_3_2_node_224 | 0.4 | n |  | TRUE
3 | bus_LV_195-7_3_2_node_223 | 0.4 | n |  | TRUE
4 | bus_LV_195-7_3_2_node_226 | 0.4 | n |  | TRUE
5 | bus_LV_195-7_3_2_node_231 | 0.4 | n |  | TRUE
6 | bus_LV_195-7_3_2_node_232 | 0.4 | n |  | TRUE
7 | bus_LV_195-7_3_2_node_233 | 0.4 | n |  | TRUE
8 | bus_LV_195-7_3_2_node_234 | 0.4 | n |  | TRUE
9 | bus_LV_195-7_3_2_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_195-7_3_2_node_235 | 0.4 | n |  | TRUE
11 | bus_LV_195-7_3_2_node_236 | 0.4 | n |  | TRUE
12 | bus_LV_195-7_3_2_node_225 | 0.4 | n |  | TRUE
13 | bus_LV_195-7_3_2_node_227 | 0.4 | n |  | TRUE
14 | bus_LV_195-7_3_2_node_237 | 0.4 | n |  | TRUE
15 | bus_LV_195-7_3_2_node_218 | 0.4 | n |  | TRUE
16 | bus_LV_195-7_3_2_node_238 | 0.4 | n |  | TRUE
17 | bus_LV_195-7_3_2_node_185 | 0.4 | n |  | TRUE
18 | bus_LV_195-7_3_2_node_239 | 0.4 | n |  | TRUE
19 | bus_LV_195-7_3_2_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_195-7_3_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_195-7_3_2_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_195-7_3_2_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_195-7_3_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_195-7_3_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_195-7_3_2_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_195-7_3_2_node_184 | 0.4 | n |  | TRUE
27 | bus_LV_195-7_3_2_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_195-7_3_2_node_114 | 0.4 | n |  | TRUE
29 | bus_LV_195-7_3_2_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_195-7_3_2_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_195-7_3_2_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_195-7_3_2_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_195-7_3_2_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_195-7_3_2_node_205 | 0.4 | n |  | TRUE
35 | bus_LV_195-7_3_2_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_195-7_3_2_node_113 | 0.4 | n |  | TRUE
37 | bus_LV_195-7_3_2_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_195-7_3_2_node_206 | 0.4 | n |  | TRUE
39 | bus_LV_195-7_3_2_node_111 | 0.4 | n |  | TRUE
40 | bus_LV_195-7_3_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_195-7_3_2_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_195-7_3_2_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_195-7_3_2_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_195-7_3_2_node_90 | 0.4 | n |  | TRUE
45 | bus_LV_195-7_3_2_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_195-7_3_2_node_117 | 0.4 | n |  | TRUE
47 | bus_LV_195-7_3_2_node_251 | 0.4 | n |  | TRUE
48 | bus_LV_195-7_3_2_node_252 | 0.4 | n |  | TRUE
49 | bus_LV_195-7_3_2_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_195-7_3_2_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_195-7_3_2_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_195-7_3_2_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_195-7_3_2_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_195-7_3_2_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_195-7_3_2_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_195-7_3_2_node_97 | 0.4 | n |  | TRUE
57 | bus_LV_195-7_3_2_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_195-7_3_2_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_195-7_3_2_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_195-7_3_2_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_195-7_3_2_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_195-7_3_2_node_104 | 0.4 | n |  | TRUE
63 | bus_LV_195-7_3_2_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_195-7_3_2_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_195-7_3_2_node_115 | 0.4 | n |  | TRUE
66 | bus_LV_195-7_3_2_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_195-7_3_2_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_195-7_3_2_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_195-7_3_2_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_195-7_3_2_node_119 | 0.4 | n |  | TRUE
71 | bus_LV_195-7_3_2_node_250 | 0.4 | n |  | TRUE
72 | bus_MV_364_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_195-7_3_2_load_263 | 0 | 0.0098174 | 0.0024605 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_195-7_3_2_load_224 | 2 | 0.0028666 | 0.00071843 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_195-7_3_2_load_223 | 3 | 0.0019916 | 0.00049915 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_195-7_3_2_load_226 | 4 | 0.0018085 | 0.00045324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_195-7_3_2_load_231 | 5 | 0.023089 | 0.0057867 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_195-7_3_2_load_233 | 7 | 0.0026092 | 0.00065394 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_195-7_3_2_load_234 | 8 | 0.020462 | 0.0051283 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_195-7_3_2_load_82 | 9 | 0.0020749 | 0.00052001 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_195-7_3_2_load_225 | 12 | 0.002914 | 0.00073032 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_195-7_3_2_load_227 | 13 | 0.000927 | 0.00023233 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_195-7_3_2_load_237 | 14 | 0.014682 | 0.0036796 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_195-7_3_2_load_218 | 15 | 0.001346 | 0.00033734 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_195-7_3_2_load_185 | 17 | 0.0028854 | 0.00072316 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_195-7_3_2_load_239 | 18 | 0.010207 | 0.002558 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_195-7_3_2_load_54 | 20 | 0.010619 | 0.0026615 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_195-7_3_2_load_55 | 21 | 0.0017667 | 0.00044277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_195-7_3_2_load_56 | 22 | 0.0015074 | 0.00037779 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_195-7_3_2_load_60 | 25 | 0.00087302 | 0.0002188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_195-7_3_2_load_184 | 26 | 0.0046079 | 0.0011548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_195-7_3_2_load_76 | 27 | 0.028037 | 0.0070266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_195-7_3_2_load_72 | 29 | 0.020669 | 0.0051801 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_195-7_3_2_load_73 | 30 | 0.0051118 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_195-7_3_2_load_81 | 33 | 0.0020051 | 0.00050253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_195-7_3_2_load_205 | 34 | 0.002157 | 0.00054058 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_195-7_3_2_load_95 | 35 | 0.0020468 | 0.00051297 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_195-7_3_2_load_206 | 38 | 0.002618 | 0.00065614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_195-7_3_2_load_111 | 39 | 0.00053699 | 0.00013458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_195-7_3_2_load_86 | 40 | 0.0031009 | 0.00077716 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_195-7_3_2_load_87 | 41 | 0.0015261 | 0.00038247 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_195-7_3_2_load_89 | 43 | 0.0014641 | 0.00036693 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_195-7_3_2_load_91 | 45 | 0.00064939 | 0.00016275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_195-7_3_2_load_117 | 46 | 0.0017402 | 0.00043613 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_195-7_3_2_load_251 | 47 | 0.0015846 | 0.00039713 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_195-7_3_2_load_252 | 48 | 0.0019564 | 0.00049032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_195-7_3_2_load_107 | 49 | 0.0038684 | 0.00096951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_195-7_3_2_load_92 | 50 | 0.0023512 | 0.00058927 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_195-7_3_2_load_93 | 51 | 0.0026245 | 0.00065777 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_195-7_3_2_load_94 | 52 | 0.003095 | 0.00077568 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_195-7_3_2_load_109 | 54 | 0.0038697 | 0.00096983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_195-7_3_2_load_98 | 55 | 0.001939 | 0.00048596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_195-7_3_2_load_97 | 56 | 0.0013124 | 0.00032893 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_195-7_3_2_load_100 | 58 | 0.0023536 | 0.00058988 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_195-7_3_2_load_101 | 59 | 0.001971 | 0.00049398 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_195-7_3_2_load_102 | 60 | 0.0019093 | 0.00047852 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_195-7_3_2_load_105 | 63 | 0.0033731 | 0.00084539 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_195-7_3_2_load_106 | 64 | 0.003741 | 0.00093758 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_195-7_3_2_load_115 | 65 | 0.0021293 | 0.00053366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_195-7_3_2_load_110 | 66 | 0.00091741 | 0.00022992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_195-7_3_2_load_116 | 68 | 0.003164 | 0.00079299 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_195-7_3_2_load_118 | 69 | 0.0018547 | 0.00046484 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_195-7_3_2_load_119 | 70 | 0.0017134 | 0.00042941 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_195-7_3_2_load_250 | 71 | 0.0015312 | 0.00038376 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_195-7_3_2_line_0 |  | 0 | 1 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_195-7_3_2_line_1 |  | 1 | 37 | 0.031534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_195-7_3_2_line_2 |  | 1 | 31 | 0.061434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_195-7_3_2_line_3 |  | 2 | 3 | 0.016123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_195-7_3_2_line_4 |  | 2 | 4 | 0.018147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_195-7_3_2_line_5 |  | 3 | 9 | 0.012703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_195-7_3_2_line_6 |  | 4 | 12 | 0.030494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_195-7_3_2_line_7 |  | 5 | 6 | 0.052022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_195-7_3_2_line_8 |  | 6 | 7 | 0.019218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_195-7_3_2_line_9 |  | 6 | 8 | 0.033933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_195-7_3_2_line_10 |  | 8 | 10 | 0.054236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_195-7_3_2_line_11 |  | 9 | 32 | 0.031013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_195-7_3_2_line_12 |  | 10 | 11 | 0.025464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_195-7_3_2_line_13 |  | 11 | 14 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_195-7_3_2_line_14 |  | 12 | 13 | 0.0062395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_195-7_3_2_line_15 |  | 13 | 15 | 0.0027242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_195-7_3_2_line_16 |  | 14 | 16 | 0.0094851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_195-7_3_2_line_17 |  | 16 | 17 | 0.03701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_195-7_3_2_line_18 |  | 16 | 18 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_195-7_3_2_line_19 |  | 17 | 28 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_195-7_3_2_line_20 |  | 18 | 19 | 0.097753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_195-7_3_2_line_21 |  | 19 | 23 | 0.40071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_195-7_3_2_line_22 |  | 20 | 21 | 0.034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_195-7_3_2_line_23 |  | 20 | 22 | 0.021825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_195-7_3_2_line_24 |  | 21 | 23 | 0.089533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_195-7_3_2_line_25 |  | 22 | 24 | 0.16908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_195-7_3_2_line_26 |  | 24 | 25 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_195-7_3_2_line_27 |  | 26 | 27 | 0.035689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_195-7_3_2_line_28 |  | 26 | 28 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_195-7_3_2_line_29 |  | 27 | 31 | 0.049855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_195-7_3_2_line_30 |  | 29 | 30 | 0.028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_195-7_3_2_line_31 |  | 29 | 31 | 0.024698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_195-7_3_2_line_32 |  | 30 | 32 | 0.027161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_195-7_3_2_line_33 |  | 32 | 33 | 0.0064541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_195-7_3_2_line_34 |  | 33 | 39 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_195-7_3_2_line_35 |  | 34 | 35 | 0.03156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_195-7_3_2_line_36 |  | 34 | 36 | 0.072394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_195-7_3_2_line_37 |  | 35 | 51 | 0.00072763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_195-7_3_2_line_38 |  | 36 | 67 | 0.064993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_195-7_3_2_line_39 |  | 37 | 38 | 0.033121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_195-7_3_2_line_40 |  | 39 | 66 | 0.0089044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_195-7_3_2_line_41 |  | 40 | 41 | 0.0082116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_195-7_3_2_line_42 |  | 40 | 42 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_195-7_3_2_line_43 |  | 41 | 43 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_195-7_3_2_line_44 |  | 42 | 44 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_195-7_3_2_line_45 |  | 42 | 45 | 0.040334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_195-7_3_2_line_46 |  | 43 | 46 | 0.00010467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_195-7_3_2_line_47 |  | 44 | 47 | 0.023092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_195-7_3_2_line_48 |  | 44 | 48 | 0.032032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_195-7_3_2_line_49 |  | 45 | 49 | 0.029168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_195-7_3_2_line_50 |  | 46 | 69 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_195-7_3_2_line_51 |  | 47 | 71 | 0.0046464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_195-7_3_2_line_52 |  | 48 | 59 | 0.016262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_195-7_3_2_line_53 |  | 49 | 64 | 0.0030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_195-7_3_2_line_54 |  | 50 | 51 | 0.031996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_195-7_3_2_line_55 |  | 50 | 52 | 0.00262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_195-7_3_2_line_56 |  | 52 | 53 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_195-7_3_2_line_57 |  | 53 | 54 | 0.042026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_195-7_3_2_line_58 |  | 53 | 55 | 0.0087835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_195-7_3_2_line_59 |  | 54 | 65 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_195-7_3_2_line_60 |  | 55 | 56 | 0.032497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_195-7_3_2_line_61 |  | 56 | 57 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_195-7_3_2_line_62 |  | 57 | 58 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_195-7_3_2_line_63 |  | 57 | 59 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_195-7_3_2_line_64 |  | 60 | 61 | 0.070896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_195-7_3_2_line_65 |  | 61 | 62 | 0.037165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_195-7_3_2_line_66 |  | 62 | 63 | 0.05512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_195-7_3_2_line_67 |  | 63 | 64 | 0.03008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_195-7_3_2_line_68 |  | 65 | 68 | 0.016343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_195-7_3_2_line_69 |  | 66 | 67 | 0.09344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_195-7_3_2_line_70 |  | 69 | 70 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_195-7_3_2_trafo_72 | 0.63 MVA 20/0.4 kV | 72 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2692034.202 | 1242485.196 | 2692026.2412 | 1242481.2919 | 2692024.463 | 1242480.4192 | 2692020.4712 | 1242478.467 | 2692016.5621 | 1242476.5494
1 | 2692034.202 | 1242485.196 | 2692037.0687 | 1242486.5748 | 2692043.4656 | 1242474.3316 | 2692049.3957 | 1242472.1997 | 2692057.1312 | 1242475.0329
2 | 2692034.202 | 1242485.196 | 2692037.0687 | 1242486.5748 | 2692038.3668 | 1242487.2065 | 2692040.813 | 1242488.3898 | 2692048.3241 | 1242492.0423 | 2692043.4244 | 1242501.8292 | 2692028.5342 | 1242533.2773
3 | 2691976.3061 | 1242453.109 | 2691985.0639 | 1242439.5716
4 | 2691990.8659 | 1242423.1057 | 2691988.2291 | 1242427.1401 | 2691988.0938 | 1242434.8882 | 2691985.0639 | 1242439.5716
5 | 2691969.406 | 1242463.7748 | 2691976.3061 | 1242453.109
6 | 2692007.5491 | 1242397.5804 | 2691990.8659 | 1242423.1057
7 | 2692118.8066 | 1242559.3082 | 2692082.7701 | 1242559.627 | 2692079.7547 | 1242556.1443 | 2692068.3803 | 1242556.3865
8 | 2692118.8066 | 1242559.3082 | 2692125.6396 | 1242541.3458
9 | 2692118.8066 | 1242559.3082 | 2692106.7403 | 1242591.0229
10 | 2692068.3784 | 1242611.0642 | 2692076.2423 | 1242613.4102 | 2692082.7084 | 1242614.7226 | 2692096.7082 | 1242614.3284 | 2692100.4656 | 1242607.515 | 2692106.7403 | 1242591.0229
11 | 2691959.6291 | 1242492.9236 | 2691963.0636 | 1242477.1762 | 2691966.6065 | 1242468.1022 | 2691969.406 | 1242463.7748
12 | 2692049.1713 | 1242618.1716 | 2692049.9144 | 1242611.2113 | 2692068.3784 | 1242611.0642
13 | 2692049.1713 | 1242618.1716 | 2692046.0828 | 1242630.6108
14 | 2692007.5491 | 1242397.5804 | 2692010.9627 | 1242392.3576
15 | 2692012.4531 | 1242390.0772 | 2692010.9627 | 1242392.3576
16 | 2692042.8673 | 1242639.5342 | 2692046.0828 | 1242630.6108
17 | 2692042.8673 | 1242639.5342 | 2692027.0777 | 1242634.4522 | 2692007.689 | 1242628.0369
18 | 2692042.8673 | 1242639.5342 | 2692037.3449 | 1242655.9435
19 | 2691985.4483 | 1242622.5091 | 2691995.4675 | 1242627.2457 | 2692003.137 | 1242626.5307 | 2692007.689 | 1242628.0369
20 | 2692006.1649 | 1242748.5908 | 2692037.3449 | 1242655.9435
21 | 2692006.1649 | 1242748.5908 | 2691975.0604 | 1242846.2815 | 2691989.0933 | 1242851.514 | 2692040.4291 | 1242900.3908 | 2692044.8764 | 1242907.0648 | 2692064.959 | 1242894.1444 | 2692116.3146 | 1242814.1705 | 2692131.0993 | 1242745.2153 | 2692135.9582 | 1242738.0521 | 2692141.417 | 1242735.1013
22 | 2692254.0024 | 1242688.8486 | 2692221.5814 | 1242699.8365
23 | 2692254.0024 | 1242688.8486 | 2692254.7226 | 1242688.6045 | 2692275.327 | 1242684.2252
24 | 2692141.417 | 1242735.1013 | 2692150.5022 | 1242730.8391 | 2692189.2492 | 1242723.3909 | 2692220.7809 | 1242700.1078 | 2692221.5814 | 1242699.8365
25 | 2692425.0631 | 1242617.3683 | 2692420.2115 | 1242620.1504 | 2692378.5118 | 1242656.9286 | 2692368.0954 | 1242664.1274 | 2692355.7649 | 1242669.4729 | 2692288.992 | 1242681.3208 | 2692275.327 | 1242684.2252
26 | 2692425.0631 | 1242617.3683 | 2692433.4332 | 1242607.0201
27 | 2692006.8424 | 1242578.1663 | 2691991.3308 | 1242610.3083
28 | 2691985.4483 | 1242622.5091 | 2691989.5494 | 1242613.9997 | 2691991.3308 | 1242610.3083
29 | 2692028.5342 | 1242533.2773 | 2692021.5284 | 1242547.7349 | 2692006.8424 | 1242578.1663
30 | 2692006.2448 | 1242522.6394 | 2691994.2982 | 1242516.9343 | 2691984.6416 | 1242512.6926 | 2691980.9381 | 1242509.7655
31 | 2692028.5342 | 1242533.2773 | 2692013.5851 | 1242526.1402 | 2692010.9509 | 1242524.8873 | 2692009.3749 | 1242524.1401 | 2692006.2831 | 1242522.6577 | 2692006.2448 | 1242522.6394
32 | 2691959.6291 | 1242492.9236 | 2691980.9381 | 1242509.7655
33 | 2691959.6291 | 1242492.9236 | 2691956.5017 | 1242498.5694
34 | 2691942.1193 | 1242518.8514 | 2691952.7223 | 1242505.3926 | 2691956.5017 | 1242498.5694
35 | 2691886.2935 | 1242502.9389 | 2691897.4166 | 1242474.3462 | 2691897.6728 | 1242473.5048
36 | 2691857.8618 | 1242569.5047 | 2691880.5745 | 1242517.6399 | 2691886.2935 | 1242502.9389
37 | 2691897.6728 | 1242473.5048 | 2691897.8847 | 1242472.8087
38 | 2691857.8618 | 1242569.5047 | 2691871.1556 | 1242584.922 | 2691877.1922 | 1242593.4662 | 2691882.2149 | 1242605.9755 | 2691887.9772 | 1242615.6386 | 2691890.864 | 1242613.7596 | 2691893.9301 | 1242608.6033
39 | 2692057.1312 | 1242475.0329 | 2692059.2355 | 1242470.9737 | 2692073.4983 | 1242446.2429
40 | 2691942.1193 | 1242518.8514 | 2691936.6089 | 1242525.8459
41 | 2691843.2107 | 1242399.2798 | 2691840.7675 | 1242407.1195
42 | 2691846.3024 | 1242389.3585 | 2691843.2107 | 1242399.2798
43 | 2691840.7675 | 1242407.1195 | 2691834.1744 | 1242428.2765
44 | 2691846.3024 | 1242389.3585 | 2691853.5515 | 1242376.2609
45 | 2691846.3024 | 1242389.3585 | 2691814.9948 | 1242375.208 | 2691809.0505 | 1242374.5873
46 | 2691834.1432 | 1242428.3765 | 2691834.1744 | 1242428.2765
47 | 2691853.5515 | 1242376.2609 | 2691839.9468 | 1242357.6021
48 | 2691853.5515 | 1242376.2609 | 2691858.3374 | 1242368.4403 | 2691879.067 | 1242358.7972
49 | 2691809.0505 | 1242374.5873 | 2691797.4906 | 1242373.3803 | 2691782.5098 | 1242377.0403 | 2691780.761 | 1242378.2449
50 | 2691834.1432 | 1242428.3765 | 2691826.1569 | 1242454.004
51 | 2691837.2094 | 1242353.8477 | 2691839.9468 | 1242357.6021
52 | 2691879.067 | 1242358.7972 | 2691879.8048 | 1242358.454 | 2691895.0873 | 1242356.1963
53 | 2691780.761 | 1242378.2449 | 2691778.2294 | 1242379.9887
54 | 2691907.1046 | 1242442.1735 | 2691906.945 | 1242442.9593 | 2691903.1041 | 1242455.6648 | 2691897.8847 | 1242472.8087
55 | 2691907.6261 | 1242439.6059 | 2691907.1046 | 1242442.1735
56 | 2691912.0196 | 1242417.9748 | 2691907.6261 | 1242439.6059
57 | 2691912.0196 | 1242417.9748 | 2691936.2839 | 1242421.6645 | 2691941.9166 | 1242421.1625 | 2691946.2334 | 1242410.1507
58 | 2691912.0196 | 1242417.9748 | 2691912.8885 | 1242409.2344
59 | 2691953.5937 | 1242391.3754 | 2691946.2334 | 1242410.1507
60 | 2691914.8913 | 1242376.808 | 2691914.9051 | 1242377.6451 | 2691914.4286 | 1242389.3686 | 2691913.1839 | 1242406.2619 | 2691912.8885 | 1242409.2344
61 | 2691912.9801 | 1242353.5529 | 2691914.718 | 1242366.3004 | 2691914.8913 | 1242376.808
62 | 2691912.9801 | 1242353.5529 | 2691927.4638 | 1242351.7314 | 2691929.7225 | 1242351.2324
63 | 2691912.9801 | 1242353.5529 | 2691895.0873 | 1242356.1963
64 | 2691693.1908 | 1242424.5395 | 2691738.7546 | 1242370.2242
65 | 2691693.1908 | 1242424.5395 | 2691702.5715 | 1242430.5111 | 2691724.3665 | 1242444.7696
66 | 2691724.3665 | 1242444.7696 | 2691730.8814 | 1242432.1942 | 2691738.0963 | 1242420.7973 | 2691751.4817 | 1242403.458 | 2691755.5573 | 1242399.6709
67 | 2691778.2294 | 1242379.9887 | 2691772.4685 | 1242383.9568 | 2691755.5573 | 1242399.6709
68 | 2691953.5937 | 1242391.3754 | 2691959.5587 | 1242376.1593
69 | 2691893.9301 | 1242608.6033 | 2691927.296 | 1242537.6672 | 2691936.6089 | 1242525.8459
70 | 2691826.1569 | 1242454.004 | 2691821.7946 | 1242468.0021

## bus_geodata
| x | y | coords
0 | 2692016.5621 | 1242476.5494
1 | 2692034.202 | 1242485.196
2 | 2691985.0639 | 1242439.5716
3 | 2691976.3061 | 1242453.109
4 | 2691990.8659 | 1242423.1057
5 | 2692068.3803 | 1242556.3865
6 | 2692118.8066 | 1242559.3082
7 | 2692125.6396 | 1242541.3458
8 | 2692106.7403 | 1242591.0229
9 | 2691969.406 | 1242463.7748
10 | 2692068.3784 | 1242611.0642
11 | 2692049.1713 | 1242618.1716
12 | 2692007.5491 | 1242397.5804
13 | 2692010.9627 | 1242392.3576
14 | 2692046.0828 | 1242630.6108
15 | 2692012.4531 | 1242390.0772
16 | 2692042.8673 | 1242639.5342
17 | 2692007.689 | 1242628.0369
18 | 2692037.3449 | 1242655.9435
19 | 2692006.1649 | 1242748.5908
20 | 2692254.0024 | 1242688.8486
21 | 2692221.5814 | 1242699.8365
22 | 2692275.327 | 1242684.2252
23 | 2692141.417 | 1242735.1013
24 | 2692425.0631 | 1242617.3683
25 | 2692433.4332 | 1242607.0201
26 | 2691991.3308 | 1242610.3083
27 | 2692006.8424 | 1242578.1663
28 | 2691985.4483 | 1242622.5091
29 | 2692006.2448 | 1242522.6394
30 | 2691980.9381 | 1242509.7655
31 | 2692028.5342 | 1242533.2773
32 | 2691959.6291 | 1242492.9236
33 | 2691956.5017 | 1242498.5694
34 | 2691886.2935 | 1242502.9389
35 | 2691897.6728 | 1242473.5048
36 | 2691857.8618 | 1242569.5047
37 | 2692057.1312 | 1242475.0329
38 | 2692073.4983 | 1242446.2429
39 | 2691942.1193 | 1242518.8514
40 | 2691843.2107 | 1242399.2798
41 | 2691840.7675 | 1242407.1195
42 | 2691846.3024 | 1242389.3585
43 | 2691834.1744 | 1242428.2765
44 | 2691853.5515 | 1242376.2609
45 | 2691809.0505 | 1242374.5873
46 | 2691834.1432 | 1242428.3765
47 | 2691839.9468 | 1242357.6021
48 | 2691879.067 | 1242358.7972
49 | 2691780.761 | 1242378.2449
50 | 2691907.1046 | 1242442.1735
51 | 2691897.8847 | 1242472.8087
52 | 2691907.6261 | 1242439.6059
53 | 2691912.0196 | 1242417.9748
54 | 2691946.2334 | 1242410.1507
55 | 2691912.8885 | 1242409.2344
56 | 2691914.8913 | 1242376.808
57 | 2691912.9801 | 1242353.5529
58 | 2691929.7225 | 1242351.2324
59 | 2691895.0873 | 1242356.1963
60 | 2691738.7546 | 1242370.2242
61 | 2691693.1908 | 1242424.5395
62 | 2691724.3665 | 1242444.7696
63 | 2691755.5573 | 1242399.6709
64 | 2691778.2294 | 1242379.9887
65 | 2691953.5937 | 1242391.3754
66 | 2691936.6089 | 1242525.8459
67 | 2691893.9301 | 1242608.6033
68 | 2691959.5587 | 1242376.1593
69 | 2691826.1569 | 1242454.004
70 | 2691821.7946 | 1242468.0021
71 | 2691837.2094 | 1242353.8477
72 | 2692028.5342 | 1242533.2773

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99608 | -0.074574 | 0.0098174 | 0.0024605
1 | 0.99625 | -0.071195 | 0 | 0
2 | 0.99525 | -0.090073 | 0.0028666 | 0.00071843
3 | 0.99539 | -0.087275 | 0.0019916 | 0.00049915
4 | 0.99513 | -0.092308 | 0.0018085 | 0.00045324
5 | 0.97583 | -0.46583 | 0.023089 | 0.0057867
6 | 0.97695 | -0.44387 | 0 | 0
7 | 0.9769 | -0.44479 | 0.0026092 | 0.00065394
8 | 0.97776 | -0.42796 | 0.020462 | 0.0051283
9 | 0.99553 | -0.084626 | 0.0020749 | 0.00052001
10 | 0.98008 | -0.38242 | 0 | 0
11 | 0.98117 | -0.36111 | 0 | 0
12 | 0.99499 | -0.095093 | 0.002914 | 0.00073032
13 | 0.99497 | -0.095342 | 0.000927 | 0.00023233
14 | 0.98172 | -0.3504 | 0.014682 | 0.0036796
15 | 0.99497 | -0.095407 | 0.001346 | 0.00033734
16 | 0.98226 | -0.33997 | 0 | 0
17 | 0.98521 | -0.28275 | 0.0028854 | 0.00072316
18 | 0.98186 | -0.34779 | 0.010207 | 0.002558
19 | 0.98051 | -0.37397 | 0 | 0
20 | 0.97335 | -0.51445 | 0.010619 | 0.0026615
21 | 0.97377 | -0.50626 | 0.0017667 | 0.00044277
22 | 0.97331 | -0.51541 | 0.0015074 | 0.00037779
23 | 0.975 | -0.48197 | 0 | 0
24 | 0.97317 | -0.51813 | 0 | 0
25 | 0.97316 | -0.51835 | 0.00087302 | 0.0002188
26 | 0.98826 | -0.22377 | 0.0046079 | 0.0011548
27 | 0.99135 | -0.16451 | 0.028037 | 0.0070266
28 | 0.98715 | -0.24525 | 0 | 0
29 | 1 | 0 | -0.22062 | -0.056275
30 | 0.99785 | -0.040612 | 0.0051118 | 0.0012811
31 | 0.99695 | -0.057784 | 0 | 0
32 | 0.99592 | -0.077031 | 0 | 0
33 | 0.99555 | -0.084124 | 0.0020051 | 0.00050253
34 | 0.98095 | -0.36386 | 0.002157 | 0.00054058
35 | 0.97928 | -0.39644 | 0.0020468 | 0.00051297
36 | 0.98493 | -0.28674 | 0 | 0
37 | 0.99618 | -0.072645 | 0 | 0
38 | 0.9961 | -0.074169 | 0.002618 | 0.00065614
39 | 0.99414 | -0.11069 | 0.00053699 | 0.00013458
40 | 0.97217 | -0.53602 | 0.0031009 | 0.00077716
41 | 0.97211 | -0.53727 | 0.0015261 | 0.00038247
42 | 0.97228 | -0.53383 | 0 | 0
43 | 0.97197 | -0.54004 | 0.0014641 | 0.00036693
44 | 0.97263 | -0.52695 | 0 | 0
45 | 0.97177 | -0.54391 | 0.00064939 | 0.00016275
46 | 0.97197 | -0.54005 | 0.0017402 | 0.00043613
47 | 0.97256 | -0.52828 | 0.0015846 | 0.00039713
48 | 0.97347 | -0.5104 | 0.0019564 | 0.00049032
49 | 0.97142 | -0.55086 | 0.0038684 | 0.00096951
50 | 0.97768 | -0.42758 | 0.0023512 | 0.00058927
51 | 0.97924 | -0.39716 | 0.0026245 | 0.00065777
52 | 0.97756 | -0.42996 | 0.003095 | 0.00077568
53 | 0.9766 | -0.44881 | 0 | 0
54 | 0.97624 | -0.45585 | 0.0038697 | 0.00096983
55 | 0.97629 | -0.45485 | 0.001939 | 0.00048596
56 | 0.97521 | -0.47607 | 0.0013124 | 0.00032893
57 | 0.97446 | -0.49079 | 0 | 0
58 | 0.97443 | -0.49152 | 0.0023536 | 0.00058988
59 | 0.97392 | -0.50142 | 0.001971 | 0.00049398
60 | 0.97096 | -0.56008 | 0.0019093 | 0.00047852
61 | 0.97108 | -0.55757 | 0 | 0
62 | 0.97115 | -0.55626 | 0 | 0
63 | 0.97125 | -0.55431 | 0.0033731 | 0.00084539
64 | 0.9714 | -0.55137 | 0.003741 | 0.00093758
65 | 0.97614 | -0.45781 | 0.0021293 | 0.00053366
66 | 0.99364 | -0.12012 | 0.00091741 | 0.00022992
67 | 0.9885 | -0.21804 | 0 | 0
68 | 0.9761 | -0.45875 | 0.003164 | 0.00079299
69 | 0.97188 | -0.54182 | 0.0018547 | 0.00046484
70 | 0.97185 | -0.54228 | 0.0017134 | 0.00042941
71 | 0.97256 | -0.52841 | 0.0015312 | 0.00038376
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0098174 | -0.0024605 | 0.009819 | 0.0024612 | 1.5808e-06 | 7.5655e-07 | 0.014666 | 0.014666 | 0.014666 | 0.99608 | -0.074574 | 0.99625 | -0.071195 | 4.0291
1 | 0.0026184 | 0.00065554 | -0.0026182 | -0.00065583 | 1.8085e-07 | -2.9484e-07 | 0.0039106 | 0.0039108 | 0.0039108 | 0.99625 | -0.071195 | 0.99618 | -0.072645 | 1.0744
2 | -0.012437 | -0.0031168 | 0.012445 | 0.0031211 | 7.95e-06 | 4.2875e-06 | 0.018577 | 0.018576 | 0.018577 | 0.99625 | -0.071195 | 0.99695 | -0.057784 | 5.1035
3 | -0.0098635 | -0.0024718 | 0.0098648 | 0.0024725 | 1.3149e-06 | 6.32e-07 | 0.014747 | 0.014747 | 0.014747 | 0.99525 | -0.090073 | 0.99539 | -0.087275 | 4.0514
4 | 0.0069969 | 0.0017534 | -0.0069962 | -0.0017532 | 7.4474e-07 | 2.4084e-07 | 0.010461 | 0.010461 | 0.010461 | 0.99525 | -0.090073 | 0.99513 | -0.092308 | 2.874
5 | -0.011856 | -0.0029716 | 0.011858 | 0.0029724 | 1.4965e-06 | 7.9262e-07 | 0.017724 | 0.017724 | 0.017724 | 0.99539 | -0.087275 | 0.99553 | -0.084626 | 4.8693
6 | 0.0051877 | 0.0012999 | -0.005187 | -0.0012999 | 6.881e-07 | 4.4272e-08 | 0.0077571 | 0.0077573 | 0.0077573 | 0.99513 | -0.092308 | 0.99499 | -0.095093 | 2.1311
7 | -0.023089 | -0.0057867 | 0.023114 | 0.0058016 | 2.4182e-05 | 1.4826e-05 | 0.035208 | 0.035208 | 0.035208 | 0.97583 | -0.46583 | 0.97695 | -0.44387 | 9.6726
8 | 0.0026093 | 0.00065377 | -0.0026092 | -0.00065394 | 1.1383e-07 | -1.6777e-07 | 0.0039743 | 0.0039744 | 0.0039744 | 0.97695 | -0.44387 | 0.9769 | -0.44479 | 1.0919
9 | -0.025723 | -0.0064553 | 0.025742 | 0.0064674 | 1.9536e-05 | 1.2078e-05 | 0.039182 | 0.039182 | 0.039182 | 0.97695 | -0.44387 | 0.97776 | -0.42796 | 10.7644
10 | -0.046204 | -0.011596 | 0.046305 | 0.011659 | 0.00010058 | 6.3689e-05 | 0.070323 | 0.070322 | 0.070323 | 0.97776 | -0.42796 | 0.98008 | -0.38242 | 19.3194
11 | -0.013933 | -0.0034924 | 0.013938 | 0.0034953 | 5.0439e-06 | 2.8247e-06 | 0.020826 | 0.020825 | 0.020826 | 0.99553 | -0.084626 | 0.99592 | -0.077031 | 5.7213
12 | -0.046305 | -0.011659 | 0.046352 | 0.011689 | 4.7223e-05 | 2.9901e-05 | 0.070322 | 0.070322 | 0.070322 | 0.98008 | -0.38242 | 0.98117 | -0.36111 | 19.3194
13 | -0.046352 | -0.011689 | 0.046376 | 0.011704 | 2.3768e-05 | 1.505e-05 | 0.070322 | 0.070322 | 0.070322 | 0.98117 | -0.36111 | 0.98172 | -0.3504 | 19.3193
14 | 0.002273 | 0.00056957 | -0.002273 | -0.00056964 | 2.7038e-08 | -6.3734e-08 | 0.0033993 | 0.0033994 | 0.0033994 | 0.99499 | -0.095093 | 0.99497 | -0.095342 | 0.93389
15 | 0.001346 | 0.00033731 | -0.001346 | -0.00033734 | 4.1397e-09 | -3.2732e-08 | 0.002013 | 0.002013 | 0.002013 | 0.99497 | -0.095342 | 0.99497 | -0.095407 | 0.55302
16 | -0.061058 | -0.015384 | 0.061088 | 0.015403 | 3.0484e-05 | 1.939e-05 | 0.092576 | 0.092576 | 0.092576 | 0.98172 | -0.3504 | 0.98226 | -0.33997 | 25.4329
17 | -0.086189 | -0.021733 | 0.086426 | 0.021884 | 0.00023677 | 0.00015106 | 0.13061 | 0.13061 | 0.13061 | 0.98226 | -0.33997 | 0.98521 | -0.28275 | 35.883
18 | 0.0251 | 0.0063296 | -0.025091 | -0.0063238 | 9.3943e-06 | 5.7933e-06 | 0.038038 | 0.038038 | 0.038038 | 0.98226 | -0.33997 | 0.98186 | -0.34779 | 10.4501
19 | -0.089311 | -0.022607 | 0.089472 | 0.02271 | 0.00016109 | 0.00010279 | 0.13497 | 0.13497 | 0.13497 | 0.98521 | -0.28275 | 0.98715 | -0.24525 | 37.0802
20 | 0.014884 | 0.0037658 | -0.014866 | -0.0037551 | 1.8674e-05 | 1.0717e-05 | 0.02257 | 0.02257 | 0.02257 | 0.98186 | -0.34779 | 0.98051 | -0.37397 | 6.2007
21 | 0.014866 | 0.0037551 | -0.014789 | -0.0037111 | 7.6555e-05 | 4.3969e-05 | 0.02257 | 0.022572 | 0.022572 | 0.98051 | -0.37397 | 0.975 | -0.48197 | 6.2012
22 | -0.013 | -0.0032557 | 0.013005 | 0.0032585 | 5.0699e-06 | 2.8191e-06 | 0.019873 | 0.019873 | 0.019873 | 0.97335 | -0.51445 | 0.97377 | -0.50626 | 5.4597
23 | 0.0023807 | 0.0005942 | -0.0023806 | -0.0005944 | 1.0836e-07 | -2.0191e-07 | 0.0036386 | 0.0036387 | 0.0036387 | 0.97335 | -0.51445 | 0.97331 | -0.51541 | 0.99963
24 | -0.014772 | -0.0037013 | 0.014789 | 0.0037111 | 1.7107e-05 | 9.8332e-06 | 0.022573 | 0.022572 | 0.022573 | 0.97377 | -0.50626 | 0.975 | -0.48197 | 6.2013
25 | 0.00087314 | 0.00021661 | -0.00087303 | -0.00021864 | 1.1291e-07 | -2.0288e-06 | 0.0013341 | 0.0013348 | 0.0013348 | 0.97331 | -0.51541 | 0.97317 | -0.51813 | 0.36671
26 | 0.00087303 | 0.00021864 | -0.00087302 | -0.0002188 | 8.8935e-09 | -1.5967e-07 | 0.0013348 | 0.0013349 | 0.0013349 | 0.97317 | -0.51813 | 0.97316 | -0.51835 | 0.36673
27 | -0.094172 | -0.023924 | 0.094442 | 0.024096 | 0.00026952 | 0.00017203 | 0.14191 | 0.14191 | 0.14191 | 0.98826 | -0.22377 | 0.99135 | -0.16451 | 38.9862
28 | 0.089565 | 0.022769 | -0.089472 | -0.02271 | 9.2532e-05 | 5.9047e-05 | 0.13497 | 0.13497 | 0.13497 | 0.98826 | -0.22377 | 0.98715 | -0.24525 | 37.0802
29 | -0.12248 | -0.031123 | 0.12311 | 0.031527 | 0.00063291 | 0.00040442 | 0.18399 | 0.18399 | 0.18399 | 0.99135 | -0.16451 | 0.99695 | -0.057784 | 50.5473
30 | 0.083035 | 0.021384 | -0.082871 | -0.021279 | 0.00016374 | 0.00010442 | 0.12376 | 0.12376 | 0.12376 | 1 | 0 | 0.99785 | -0.040612 | 34.0004
31 | 0.13594 | 0.034891 | -0.13556 | -0.034648 | 0.00038004 | 0.0002429 | 0.20257 | 0.20257 | 0.20257 | 1 | 0 | 0.99695 | -0.057784 | 55.6506
32 | 0.07776 | 0.019998 | -0.077622 | -0.019911 | 0.00013738 | 8.7571e-05 | 0.11614 | 0.11614 | 0.11614 | 0.99785 | -0.040612 | 0.99592 | -0.077031 | 31.9063
33 | 0.063684 | 0.016415 | -0.063662 | -0.016401 | 2.1988e-05 | 1.3988e-05 | 0.095314 | 0.095314 | 0.095314 | 0.99592 | -0.077031 | 0.99555 | -0.084124 | 26.1851
34 | 0.061657 | 0.015899 | -0.061578 | -0.015848 | 7.9686e-05 | 5.0675e-05 | 0.092317 | 0.092317 | 0.092317 | 0.99555 | -0.084124 | 0.99414 | -0.11069 | 25.3618
35 | 0.057235 | 0.014478 | -0.057146 | -0.014421 | 8.9308e-05 | 5.6759e-05 | 0.086869 | 0.086869 | 0.086869 | 0.98095 | -0.36386 | 0.97928 | -0.39644 | 23.8651
36 | -0.059392 | -0.015019 | 0.059613 | 0.015159 | 0.00022058 | 0.00014026 | 0.090141 | 0.09014 | 0.090141 | 0.98095 | -0.36386 | 0.98493 | -0.28674 | 24.7639
37 | 0.055099 | 0.013908 | -0.055097 | -0.013907 | 1.9143e-06 | 1.216e-06 | 0.083759 | 0.083759 | 0.083759 | 0.97928 | -0.39644 | 0.97924 | -0.39716 | 23.0106
38 | -0.059613 | -0.015159 | 0.059811 | 0.015285 | 0.00019803 | 0.00012591 | 0.09014 | 0.09014 | 0.09014 | 0.98493 | -0.28674 | 0.9885 | -0.21804 | 24.7638
39 | 0.0026182 | 0.00065583 | -0.002618 | -0.00065614 | 1.8997e-07 | -3.096e-07 | 0.0039108 | 0.0039109 | 0.0039109 | 0.99618 | -0.072645 | 0.9961 | -0.074169 | 1.0744
40 | 0.061041 | 0.015713 | -0.061013 | -0.015696 | 2.7964e-05 | 1.7782e-05 | 0.091513 | 0.091513 | 0.091513 | 0.99414 | -0.11069 | 0.99364 | -0.12012 | 25.141
41 | 0.0083002 | 0.00208 | -0.0082997 | -0.0020798 | 4.97e-07 | 2.1627e-07 | 0.012704 | 0.012704 | 0.012704 | 0.97217 | -0.53602 | 0.97211 | -0.53727 | 3.4902
42 | -0.011401 | -0.0028572 | 0.011402 | 0.0028578 | 1.1867e-06 | 6.3062e-07 | 0.017451 | 0.01745 | 0.017451 | 0.97217 | -0.53602 | 0.97228 | -0.53383 | 4.7941
43 | 0.0067736 | 0.0016973 | -0.0067727 | -0.001697 | 8.9336e-07 | 2.9705e-07 | 0.010368 | 0.010368 | 0.010368 | 0.97211 | -0.53727 | 0.97197 | -0.54004 | 2.8484
44 | -0.024956 | -0.0062561 | 0.024964 | 0.0062611 | 8.1847e-06 | 5.0526e-06 | 0.038194 | 0.038194 | 0.038194 | 0.97228 | -0.53383 | 0.97263 | -0.52695 | 10.4928
45 | 0.013553 | 0.0033983 | -0.013547 | -0.0033946 | 6.5081e-06 | 3.6652e-06 | 0.020743 | 0.020743 | 0.020743 | 0.97228 | -0.53383 | 0.97177 | -0.54391 | 5.6987
46 | 0.0053086 | 0.0013301 | -0.0053086 | -0.0013301 | 2.5944e-09 | 3.6141e-10 | 0.008127 | 0.008127 | 0.008127 | 0.97197 | -0.54004 | 0.97197 | -0.54005 | 2.2327
47 | 0.003116 | 0.00078067 | -0.0031158 | -0.00078083 | 1.9679e-07 | -1.6063e-07 | 0.004767 | 0.0047671 | 0.0047671 | 0.97263 | -0.52695 | 0.97256 | -0.52828 | 1.3096
48 | -0.02808 | -0.0070418 | 0.028102 | 0.0070556 | 2.2169e-05 | 1.379e-05 | 0.042961 | 0.042961 | 0.042961 | 0.97263 | -0.52695 | 0.97347 | -0.5104 | 11.8024
49 | 0.012898 | 0.0032319 | -0.012893 | -0.0032295 | 4.2661e-06 | 2.3691e-06 | 0.019749 | 0.019749 | 0.019749 | 0.97177 | -0.54391 | 0.97142 | -0.55086 | 5.4256
50 | 0.0035684 | 0.00089395 | -0.0035681 | -0.00089409 | 3.0041e-07 | -1.404e-07 | 0.0054629 | 0.005463 | 0.005463 | 0.97197 | -0.54005 | 0.97188 | -0.54182 | 1.5008
51 | 0.0015312 | 0.0003837 | -0.0015312 | -0.00038376 | 9.563e-09 | -5.1537e-08 | 0.0023427 | 0.0023427 | 0.0023427 | 0.97256 | -0.52828 | 0.97256 | -0.52841 | 0.64361
52 | -0.030058 | -0.0075459 | 0.030071 | 0.007554 | 1.2876e-05 | 8.0387e-06 | 0.045951 | 0.045951 | 0.045951 | 0.97347 | -0.5104 | 0.97392 | -0.50142 | 12.6239
53 | 0.0090249 | 0.00226 | -0.0090247 | -0.0022599 | 2.2029e-07 | 1.0293e-07 | 0.013824 | 0.013824 | 0.013824 | 0.97142 | -0.55086 | 0.9714 | -0.55137 | 3.7977
54 | -0.052396 | -0.013201 | 0.052472 | 0.013249 | 7.6351e-05 | 4.8463e-05 | 0.079771 | 0.079771 | 0.079771 | 0.97768 | -0.42758 | 0.97924 | -0.39716 | 21.915
55 | 0.050045 | 0.012612 | -0.050039 | -0.012608 | 5.7038e-06 | 3.6176e-06 | 0.076192 | 0.076192 | 0.076192 | 0.97768 | -0.42758 | 0.97756 | -0.42996 | 20.9319
56 | 0.046944 | 0.011832 | -0.046902 | -0.011805 | 4.2293e-05 | 2.6791e-05 | 0.071481 | 0.071481 | 0.071481 | 0.97756 | -0.42996 | 0.9766 | -0.44881 | 19.6377
57 | 0.0091668 | 0.0022979 | -0.0091637 | -0.0022964 | 3.0745e-06 | 1.442e-06 | 0.013967 | 0.013967 | 0.013967 | 0.9766 | -0.44881 | 0.97624 | -0.45585 | 3.8372
58 | 0.037735 | 0.0095076 | -0.037724 | -0.0095007 | 1.0896e-05 | 6.8633e-06 | 0.057514 | 0.057514 | 0.057514 | 0.9766 | -0.44881 | 0.97629 | -0.45485 | 15.8006
59 | 0.005294 | 0.0013266 | -0.0052935 | -0.0013265 | 4.9241e-07 | 6.302e-08 | 0.0080692 | 0.0080693 | 0.0080693 | 0.97624 | -0.45585 | 0.97614 | -0.45781 | 2.2168
60 | 0.035785 | 0.0090148 | -0.035749 | -0.008992 | 3.6274e-05 | 2.281e-05 | 0.054559 | 0.054559 | 0.054559 | 0.97629 | -0.45485 | 0.97521 | -0.47607 | 14.9887
61 | 0.034437 | 0.008663 | -0.034412 | -0.0086478 | 2.4212e-05 | 1.5204e-05 | 0.052556 | 0.052556 | 0.052556 | 0.97521 | -0.47607 | 0.97446 | -0.49079 | 14.4386
62 | 0.0023537 | 0.00058972 | -0.0023536 | -0.00058988 | 8.192e-08 | -1.5824e-07 | 0.0035941 | 0.0035942 | 0.0035942 | 0.97446 | -0.49079 | 0.97443 | -0.49152 | 0.98741
63 | 0.032059 | 0.0080581 | -0.032042 | -0.0080479 | 1.626e-05 | 1.0181e-05 | 0.048962 | 0.048962 | 0.048962 | 0.97446 | -0.49079 | 0.97392 | -0.50142 | 13.4512
64 | -0.0019093 | -0.00047852 | 0.0019095 | 0.00047778 | 2.276e-07 | -7.3131e-07 | 0.0029261 | 0.0029257 | 0.0029261 | 0.97096 | -0.56008 | 0.97108 | -0.55757 | 0.80386
65 | -0.0019095 | -0.00047778 | 0.0019096 | 0.0004774 | 1.1929e-07 | -3.8347e-07 | 0.0029257 | 0.0029256 | 0.0029257 | 0.97108 | -0.55757 | 0.97115 | -0.55626 | 0.80377
66 | -0.0019096 | -0.0004774 | 0.0019098 | 0.00047683 | 1.769e-07 | -5.6886e-07 | 0.0029256 | 0.0029253 | 0.0029256 | 0.97115 | -0.55626 | 0.97125 | -0.55431 | 0.80373
67 | -0.005283 | -0.0013222 | 0.0052837 | 0.0013223 | 7.3884e-07 | 1.0053e-07 | 0.0080932 | 0.0080931 | 0.0080932 | 0.97125 | -0.55431 | 0.9714 | -0.55137 | 2.2234
68 | 0.0031642 | 0.00079287 | -0.003164 | -0.00079299 | 1.4259e-07 | -1.1304e-07 | 0.0048234 | 0.0048235 | 0.0048235 | 0.97614 | -0.45781 | 0.9761 | -0.45875 | 1.3251
69 | 0.060095 | 0.015466 | -0.059811 | -0.015285 | 0.00028471 | 0.00018101 | 0.09014 | 0.09014 | 0.09014 | 0.99364 | -0.12012 | 0.9885 | -0.21804 | 24.7637
70 | 0.0017134 | 0.00042925 | -0.0017134 | -0.00042941 | 3.7838e-08 | -1.5747e-07 | 0.0026233 | 0.0026234 | 0.0026234 | 0.97188 | -0.54182 | 0.97185 | -0.54228 | 0.72071

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24129 | 0.061455

## res_load
| p_mw | q_mvar
0 | 0.0098174 | 0.0024605
1 | 0.0028666 | 0.00071843
2 | 0.0019916 | 0.00049915
3 | 0.0018085 | 0.00045324
4 | 0.023089 | 0.0057867
5 | 0.0026092 | 0.00065394
6 | 0.020462 | 0.0051283
7 | 0.0020749 | 0.00052001
8 | 0.002914 | 0.00073032
9 | 0.000927 | 0.00023233
10 | 0.014682 | 0.0036796
11 | 0.001346 | 0.00033734
12 | 0.0028854 | 0.00072316
13 | 0.010207 | 0.002558
14 | 0.010619 | 0.0026615
15 | 0.0017667 | 0.00044277
16 | 0.0015074 | 0.00037779
17 | 0.00087302 | 0.0002188
18 | 0.0046079 | 0.0011548
19 | 0.028037 | 0.0070266
20 | 0.020669 | 0.0051801
21 | 0.0051118 | 0.0012811
22 | 0.0020051 | 0.00050253
23 | 0.002157 | 0.00054058
24 | 0.0020468 | 0.00051297
25 | 0.002618 | 0.00065614
26 | 0.00053699 | 0.00013458
27 | 0.0031009 | 0.00077716
28 | 0.0015261 | 0.00038247
29 | 0.0014641 | 0.00036693
30 | 0.00064939 | 0.00016275
31 | 0.0017402 | 0.00043613
32 | 0.0015846 | 0.00039713
33 | 0.0019564 | 0.00049032
34 | 0.0038684 | 0.00096951
35 | 0.0023512 | 0.00058927
36 | 0.0026245 | 0.00065777
37 | 0.003095 | 0.00077568
38 | 0.0038697 | 0.00096983
39 | 0.001939 | 0.00048596
40 | 0.0013124 | 0.00032893
41 | 0.0023536 | 0.00058988
42 | 0.001971 | 0.00049398
43 | 0.0019093 | 0.00047852
44 | 0.0033731 | 0.00084539
45 | 0.003741 | 0.00093758
46 | 0.0021293 | 0.00053366
47 | 0.00091741 | 0.00022992
48 | 0.003164 | 0.00079299
49 | 0.0018547 | 0.00046484
50 | 0.0017134 | 0.00042941
51 | 0.0015312 | 0.00038376

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1