## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_196-4_1_4_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_196-4_1_4_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_196-4_1_4_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_196-4_1_4_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_196-4_1_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_196-4_1_4_node_152 | 0.4 | n |  | TRUE
6 | bus_LV_196-4_1_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_196-4_1_4_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_196-4_1_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_196-4_1_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_196-4_1_4_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_196-4_1_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_196-4_1_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_196-4_1_4_node_154 | 0.4 | n |  | TRUE
14 | bus_LV_196-4_1_4_node_188 | 0.4 | n |  | TRUE
15 | bus_LV_196-4_1_4_node_153 | 0.4 | n |  | TRUE
16 | bus_LV_196-4_1_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_196-4_1_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_196-4_1_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_196-4_1_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_196-4_1_4_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_196-4_1_4_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_196-4_1_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_196-4_1_4_node_130 | 0.4 | n |  | TRUE
24 | bus_LV_196-4_1_4_node_129 | 0.4 | n |  | TRUE
25 | bus_LV_196-4_1_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_196-4_1_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_196-4_1_4_node_172 | 0.4 | n |  | TRUE
28 | bus_LV_196-4_1_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_196-4_1_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_196-4_1_4_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_196-4_1_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_196-4_1_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_196-4_1_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_196-4_1_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_196-4_1_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_196-4_1_4_node_145 | 0.4 | n |  | TRUE
37 | bus_LV_196-4_1_4_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_196-4_1_4_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_196-4_1_4_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_196-4_1_4_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_196-4_1_4_node_150 | 0.4 | n |  | TRUE
42 | bus_LV_196-4_1_4_node_132 | 0.4 | n |  | TRUE
43 | bus_LV_196-4_1_4_node_133 | 0.4 | n |  | TRUE
44 | bus_LV_196-4_1_4_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_196-4_1_4_node_135 | 0.4 | n |  | TRUE
46 | bus_LV_196-4_1_4_node_137 | 0.4 | n |  | TRUE
47 | bus_LV_196-4_1_4_node_138 | 0.4 | n |  | TRUE
48 | bus_LV_196-4_1_4_node_139 | 0.4 | n |  | TRUE
49 | bus_LV_196-4_1_4_node_146 | 0.4 | n |  | TRUE
50 | bus_LV_196-4_1_4_node_142 | 0.4 | n |  | TRUE
51 | bus_LV_196-4_1_4_node_140 | 0.4 | n |  | TRUE
52 | bus_LV_196-4_1_4_node_141 | 0.4 | n |  | TRUE
53 | bus_LV_196-4_1_4_node_143 | 0.4 | n |  | TRUE
54 | bus_LV_196-4_1_4_node_144 | 0.4 | n |  | TRUE
55 | bus_LV_196-4_1_4_node_183 | 0.4 | n |  | TRUE
56 | bus_LV_196-4_1_4_node_165 | 0.4 | n |  | TRUE
57 | bus_LV_196-4_1_4_node_158 | 0.4 | n |  | TRUE
58 | bus_LV_196-4_1_4_node_148 | 0.4 | n |  | TRUE
59 | bus_LV_196-4_1_4_node_163 | 0.4 | n |  | TRUE
60 | bus_LV_196-4_1_4_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_196-4_1_4_node_157 | 0.4 | n |  | TRUE
62 | bus_LV_196-4_1_4_node_159 | 0.4 | n |  | TRUE
63 | bus_LV_196-4_1_4_node_164 | 0.4 | n |  | TRUE
64 | bus_LV_196-4_1_4_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_196-4_1_4_node_176 | 0.4 | n |  | TRUE
66 | bus_LV_196-4_1_4_node_184 | 0.4 | n |  | TRUE
67 | bus_LV_196-4_1_4_node_177 | 0.4 | n |  | TRUE
68 | bus_LV_196-4_1_4_node_166 | 0.4 | n |  | TRUE
69 | bus_LV_196-4_1_4_node_173 | 0.4 | n |  | TRUE
70 | bus_LV_196-4_1_4_node_174 | 0.4 | n |  | TRUE
71 | bus_LV_196-4_1_4_node_175 | 0.4 | n |  | TRUE
72 | bus_LV_196-4_1_4_node_178 | 0.4 | n |  | TRUE
73 | bus_LV_196-4_1_4_node_179 | 0.4 | n |  | TRUE
74 | bus_LV_196-4_1_4_node_180 | 0.4 | n |  | TRUE
75 | bus_LV_196-4_1_4_node_185 | 0.4 | n |  | TRUE
76 | bus_LV_196-4_1_4_node_186 | 0.4 | n |  | TRUE
77 | bus_MV_356_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_196-4_1_4_load_13 | 0 | 0.00087343 | 0.0002189 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_196-4_1_4_load_17 | 1 | 0.0016954 | 0.00042491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_196-4_1_4_load_19 | 3 | 0.0053726 | 0.0013465 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_196-4_1_4_load_131 | 7 | 0.0050029 | 0.0012538 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_196-4_1_4_load_44 | 11 | 0.0094743 | 0.0023745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_196-4_1_4_load_154 | 13 | 0.010967 | 0.0027485 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_196-4_1_4_load_188 | 14 | 0.0071413 | 0.0017898 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_196-4_1_4_load_153 | 15 | 0.0049557 | 0.001242 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_196-4_1_4_load_69 | 18 | 0.0075717 | 0.0018977 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_196-4_1_4_load_136 | 21 | 0.0060079 | 0.0015057 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_196-4_1_4_load_130 | 23 | 0.0074005 | 0.0018547 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_196-4_1_4_load_129 | 24 | 0.0057534 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_196-4_1_4_load_172 | 27 | 0.0063016 | 0.0015793 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_196-4_1_4_load_55 | 28 | 0.006151 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_196-4_1_4_load_58 | 30 | 0.0073277 | 0.0018365 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_196-4_1_4_load_66 | 33 | 0.0047837 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_196-4_1_4_load_67 | 34 | 0.0046752 | 0.0011717 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_196-4_1_4_load_145 | 36 | 0.0059925 | 0.0015019 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_196-4_1_4_load_68 | 37 | 0.01473 | 0.0036917 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_196-4_1_4_load_149 | 39 | 0.005564 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_196-4_1_4_load_72 | 40 | 0.0050949 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_196-4_1_4_load_150 | 41 | 0.0057393 | 0.0014384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_196-4_1_4_load_132 | 42 | 0.0059903 | 0.0015013 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_196-4_1_4_load_135 | 45 | 0.005298 | 0.0013278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_196-4_1_4_load_137 | 46 | 0.0059894 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_196-4_1_4_load_138 | 47 | 0.0056171 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_196-4_1_4_load_142 | 50 | 0.011224 | 0.002813 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_196-4_1_4_load_140 | 51 | 0.011223 | 0.0028126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_196-4_1_4_load_141 | 52 | 0.011223 | 0.0028126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_196-4_1_4_load_183 | 55 | 0.0052001 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_196-4_1_4_load_165 | 56 | 0.0031091 | 0.00077922 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_196-4_1_4_load_148 | 58 | 0.0051697 | 0.0012957 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_196-4_1_4_load_155 | 60 | 0.0085535 | 0.0021437 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_196-4_1_4_load_157 | 61 | 0.0011718 | 0.00029369 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_196-4_1_4_load_164 | 63 | 0.00081049 | 0.00020313 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_196-4_1_4_load_176 | 65 | 0.0041924 | 0.0010507 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_196-4_1_4_load_184 | 66 | 0.003642 | 0.00091277 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_196-4_1_4_load_166 | 68 | 0.0021279 | 0.0005333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_196-4_1_4_load_175 | 71 | 0.0070349 | 0.0017631 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_196-4_1_4_load_185 | 75 | 0.0096487 | 0.0024182 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_196-4_1_4_load_186 | 76 | 0.010035 | 0.002515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_196-4_1_4_line_0 |  | 0 | 1 | 0.0017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_196-4_1_4_line_1 |  | 1 | 5 | 0.025061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_196-4_1_4_line_2 |  | 2 | 3 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_196-4_1_4_line_3 |  | 2 | 4 | 0.037587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_196-4_1_4_line_4 |  | 3 | 6 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_196-4_1_4_line_5 |  | 4 | 11 | 0.0060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_196-4_1_4_line_6 |  | 5 | 8 | 0.036622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_196-4_1_4_line_7 |  | 6 | 7 | 0.004066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_196-4_1_4_line_8 |  | 6 | 8 | 0.02141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_196-4_1_4_line_9 |  | 8 | 14 | 0.006879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_196-4_1_4_line_10 |  | 8 | 12 | 0.019612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_196-4_1_4_line_11 |  | 9 | 10 | 0.068741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_196-4_1_4_line_12 |  | 9 | 11 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_196-4_1_4_line_13 |  | 10 | 15 | 0.003326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_196-4_1_4_line_14 |  | 10 | 16 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_196-4_1_4_line_15 |  | 12 | 13 | 0.0058761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_196-4_1_4_line_16 |  | 13 | 60 | 0.01969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_196-4_1_4_line_17 |  | 16 | 40 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_196-4_1_4_line_18 |  | 16 | 17 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_196-4_1_4_line_19 |  | 17 | 18 | 0.024428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_196-4_1_4_line_20 |  | 18 | 38 | 0.0066514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_196-4_1_4_line_21 |  | 19 | 20 | 0.040019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_196-4_1_4_line_22 |  | 19 | 21 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_196-4_1_4_line_23 |  | 20 | 35 | 0.064124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_196-4_1_4_line_24 |  | 20 | 36 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_196-4_1_4_line_25 |  | 21 | 43 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_196-4_1_4_line_26 |  | 22 | 23 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_196-4_1_4_line_27 |  | 22 | 24 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_196-4_1_4_line_28 |  | 23 | 26 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_196-4_1_4_line_29 |  | 25 | 26 | 0.26678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_196-4_1_4_line_30 |  | 25 | 27 | 0.025116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_196-4_1_4_line_31 |  | 27 | 69 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_196-4_1_4_line_32 |  | 28 | 29 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_196-4_1_4_line_33 |  | 29 | 30 | 0.0056025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_196-4_1_4_line_34 |  | 30 | 31 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_196-4_1_4_line_35 |  | 31 | 39 | 0.00078255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_196-4_1_4_line_36 |  | 31 | 34 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_196-4_1_4_line_37 |  | 32 | 33 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_196-4_1_4_line_38 |  | 32 | 34 | 0.0047649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_196-4_1_4_line_39 |  | 33 | 38 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_196-4_1_4_line_40 |  | 35 | 37 | 0.0068852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_196-4_1_4_line_41 |  | 35 | 38 | 0.037589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_196-4_1_4_line_42 |  | 40 | 41 | 0.018873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_196-4_1_4_line_43 |  | 42 | 43 | 0.028328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_196-4_1_4_line_44 |  | 42 | 44 | 0.028204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_196-4_1_4_line_45 |  | 43 | 45 | 0.0035916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_196-4_1_4_line_46 |  | 44 | 46 | 0.032554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_196-4_1_4_line_47 |  | 45 | 47 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_196-4_1_4_line_48 |  | 46 | 48 | 0.035094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_196-4_1_4_line_49 |  | 48 | 49 | 0.007005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_196-4_1_4_line_50 |  | 48 | 50 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_196-4_1_4_line_51 |  | 49 | 58 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_196-4_1_4_line_52 |  | 49 | 53 | 0.034289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_196-4_1_4_line_53 |  | 50 | 52 | 0.028991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_196-4_1_4_line_54 |  | 51 | 52 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_196-4_1_4_line_55 |  | 53 | 54 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_196-4_1_4_line_56 |  | 53 | 55 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_196-4_1_4_line_57 |  | 54 | 56 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_196-4_1_4_line_58 |  | 54 | 57 | 0.062033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_196-4_1_4_line_59 |  | 57 | 61 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_196-4_1_4_line_60 |  | 58 | 59 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_196-4_1_4_line_61 |  | 59 | 67 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_196-4_1_4_line_62 |  | 61 | 62 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_196-4_1_4_line_63 |  | 62 | 63 | 0.015658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_196-4_1_4_line_64 |  | 63 | 68 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_196-4_1_4_line_65 |  | 64 | 65 | 0.021146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_196-4_1_4_line_66 |  | 64 | 66 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_196-4_1_4_line_67 |  | 65 | 70 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_196-4_1_4_line_68 |  | 66 | 67 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_196-4_1_4_line_69 |  | 67 | 73 | 0.028887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_196-4_1_4_line_70 |  | 69 | 70 | 0.036055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_196-4_1_4_line_71 |  | 69 | 71 | 0.014671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_196-4_1_4_line_72 |  | 71 | 72 | 0.014743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_196-4_1_4_line_73 |  | 72 | 74 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_196-4_1_4_line_74 |  | 73 | 75 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_196-4_1_4_line_75 |  | 74 | 76 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_196-4_1_4_trafo_63 | 0.63 MVA 20/0.4 kV | 77 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2696678.5899 | 1240714.6412 | 2696677.0853 | 1240715.5836 | 2696677.0853 | 1240715.5836
1 | 2696661.3322 | 1240735.0751 | 2696677.0853 | 1240715.5836
2 | 2696748.3674 | 1240757.5431 | 2696728.9807 | 1240752.668 | 2696728.9533 | 1240752.6617
3 | 2696735.2958 | 1240792.5342 | 2696740.6559 | 1240772.2396 | 2696748.3674 | 1240757.5431
4 | 2696714.3257 | 1240749.3378 | 2696728.9533 | 1240752.6617
5 | 2696735.2958 | 1240792.5342 | 2696734.1554 | 1240796.1517 | 2696732.9888 | 1240798.1306
6 | 2696661.3322 | 1240735.0751 | 2696677.3315 | 1240745.9549 | 2696690.9534 | 1240749.1014 | 2696693.4092 | 1240746.9064
7 | 2696714.3257 | 1240749.3378 | 2696715.4933 | 1240745.4428
8 | 2696693.4092 | 1240746.9064 | 2696704.1382 | 1240749.8389 | 2696711.0306 | 1240750.1292 | 2696714.3257 | 1240749.3378
9 | 2696693.4092 | 1240746.9064 | 2696695.2416 | 1240740.2757
10 | 2696687.3739 | 1240765.0217 | 2696690.9534 | 1240749.1014 | 2696693.4092 | 1240746.9064
11 | 2696668.942 | 1240831.0379 | 2696673.363 | 1240832.1552 | 2696678.8683 | 1240833.557 | 2696682.1838 | 1240837.0803 | 2696687.7777 | 1240831.6562 | 2696690.9483 | 1240819.4765 | 2696695.8672 | 1240814.1748 | 2696721.7422 | 1240817.2097
12 | 2696721.7422 | 1240817.2097 | 2696732.9888 | 1240798.1306
13 | 2696669.8562 | 1240827.8393 | 2696668.942 | 1240831.0379
14 | 2696657.1726 | 1240837.6624 | 2696662.4233 | 1240835.2015 | 2696668.6295 | 1240832.1114 | 2696668.942 | 1240831.0379
15 | 2696687.3739 | 1240765.0217 | 2696681.7605 | 1240763.2845 | 2696681.7605 | 1240763.2845
16 | 2696681.7605 | 1240763.2845 | 2696676.4126 | 1240782.2345
17 | 2696657.1726 | 1240837.6624 | 2696649.6992 | 1240826.6213 | 2696649.6992 | 1240826.6213
18 | 2696662.6071 | 1240846.2017 | 2696657.1726 | 1240837.6624
19 | 2696662.6071 | 1240846.2017 | 2696656.542 | 1240869.8652
20 | 2696650.3177 | 1240872.2101 | 2696656.542 | 1240869.8652
21 | 2696700.6064 | 1240884.8496 | 2696682.6664 | 1240899.3461 | 2696678.2252 | 1240915.7083
22 | 2696700.6064 | 1240884.8496 | 2696712.4217 | 1240887.4663 | 2696716.1611 | 1240888.2949
23 | 2696637.4235 | 1240907.0375 | 2696644.8094 | 1240924.8378 | 2696651.4055 | 1240925.201 | 2696653.4293 | 1240917.0278 | 2696654.8004 | 1240911.3125 | 2696664.322 | 1240913.6026 | 2696672.7128 | 1240915.6741 | 2696678.2252 | 1240915.7083
24 | 2696678.2252 | 1240915.7083 | 2696689.796 | 1240929.1513 | 2696693.849 | 1240930.107 | 2696693.6372 | 1240930.9489
25 | 2696731.7043 | 1240891.7392 | 2696716.1611 | 1240888.2949
26 | 2696864.9513 | 1241002.1839 | 2696862.547 | 1241000.2988 | 2696874.5103 | 1240984.5711
27 | 2696864.9513 | 1241002.1839 | 2696853.5501 | 1241018.7979
28 | 2696874.5103 | 1240984.5711 | 2696885.398 | 1240969.8821
29 | 2696837.3074 | 1240947.7364 | 2696840.9637 | 1240942.8812 | 2696864.5762 | 1240911.2204 | 2696870.3069 | 1240901.5955 | 2696879.9615 | 1240883.2393 | 2696884.6532 | 1240871.0177 | 2696891.4772 | 1240854.6501 | 2696895.3406 | 1240856.1031 | 2696907.4207 | 1240860.5592 | 2696911.849 | 1240863.0779 | 2696906.9658 | 1240867.1123 | 2696896.9449 | 1240891.6895 | 2696889.2582 | 1240907.6316 | 2696884.5784 | 1240914.4937 | 2696897.6556 | 1240920.8675 | 2696907.809 | 1240934.0098 | 2696882.1489 | 1240967.8609 | 2696885.398 | 1240969.8821
30 | 2696837.3074 | 1240947.7364 | 2696823.691 | 1240968.8413
31 | 2696814.9835 | 1240986.646 | 2696823.691 | 1240968.8413
32 | 2696597.7848 | 1240882.207 | 2696592.2325 | 1240890.6564 | 2696590.0158 | 1240898.4415
33 | 2696597.7848 | 1240882.207 | 2696595.2659 | 1240878.0629 | 2696595.414 | 1240877.3247
34 | 2696598.8791 | 1240860.0526 | 2696595.414 | 1240877.3247
35 | 2696598.8791 | 1240860.0526 | 2696598.1285 | 1240859.8312
36 | 2696598.8791 | 1240860.0526 | 2696607.7493 | 1240862.8769 | 2696615.3662 | 1240866.1576
37 | 2696619.7425 | 1240868.0426 | 2696634.4992 | 1240872.0747 | 2696638.6909 | 1240869.163
38 | 2696619.7425 | 1240868.0426 | 2696615.3662 | 1240866.1576
39 | 2696650.3177 | 1240872.2101 | 2696638.6909 | 1240869.163
40 | 2696637.4235 | 1240907.0375 | 2696632.0968 | 1240911.4
41 | 2696637.4235 | 1240907.0375 | 2696640.0938 | 1240898.1743 | 2696645.925 | 1240889.7851 | 2696650.3177 | 1240872.2101
42 | 2696631.251 | 1240822.6402 | 2696649.6992 | 1240826.6213
43 | 2696731.7043 | 1240891.7392 | 2696726.2915 | 1240905.0722 | 2696728.4901 | 1240907.5209 | 2696726.4871 | 1240917.9781
44 | 2696736.0465 | 1240937.5667 | 2696723.6875 | 1240932.5949 | 2696726.4871 | 1240917.9781
45 | 2696731.7043 | 1240891.7392 | 2696735.2112 | 1240892.515
46 | 2696736.0465 | 1240937.5667 | 2696722.2929 | 1240955.5117 | 2696716.3761 | 1240963.5051
47 | 2696753.5965 | 1240896.582 | 2696735.2112 | 1240892.515
48 | 2696700.8214 | 1240993.6684 | 2696701.4919 | 1240983.6162 | 2696703.7886 | 1240980.5068 | 2696713.0136 | 1240968.0477 | 2696716.3761 | 1240963.5051
49 | 2696702.9891 | 1241000.3309 | 2696700.8214 | 1240993.6684
50 | 2696700.8214 | 1240993.6684 | 2696682.7102 | 1240996.0062
51 | 2696702.9891 | 1241000.3309 | 2696719.1657 | 1241013.7279
52 | 2696702.9891 | 1241000.3309 | 2696680.1565 | 1241025.9672
53 | 2696659.1166 | 1240989.3311 | 2696662.5382 | 1240990.12 | 2696666.1736 | 1240998.1408 | 2696682.7102 | 1240996.0062
54 | 2696640.7423 | 1240985.0947 | 2696640.7423 | 1240985.0947 | 2696659.1166 | 1240989.3311
55 | 2696657.1053 | 1241051.5778 | 2696675.1494 | 1241031.5899 | 2696680.1565 | 1241025.9672
56 | 2696680.1565 | 1241025.9672 | 2696696.6522 | 1241039.9824
57 | 2696657.1053 | 1241051.5778 | 2696674.1925 | 1241065.7538
58 | 2696615.4881 | 1241097.6795 | 2696657.1053 | 1241051.5778
59 | 2696615.4881 | 1241097.6795 | 2696607.9998 | 1241107.4594
60 | 2696730.4774 | 1241023.0959 | 2696719.1657 | 1241013.7279
61 | 2696730.4774 | 1241023.0959 | 2696741.4699 | 1241014.0126 | 2696747.8069 | 1241020.0538
62 | 2696600.9986 | 1241120.9168 | 2696604.4469 | 1241112.0996 | 2696607.9998 | 1241107.4594
63 | 2696600.9986 | 1241120.9168 | 2696592.287 | 1241127.8803 | 2696590.2901 | 1241131.9187
64 | 2696578.1995 | 1241145.4865 | 2696582.9269 | 1241146.8089 | 2696590.2901 | 1241131.9187
65 | 2696774.2101 | 1241047.2046 | 2696781.967 | 1241040.8374 | 2696787.8665 | 1241033.3612 | 2696788.7744 | 1241032.0596
66 | 2696774.2101 | 1241047.2046 | 2696755.6402 | 1241028.1089
67 | 2696798.204 | 1241018.5409 | 2696788.7744 | 1241032.0596
68 | 2696747.8069 | 1241020.0538 | 2696755.6402 | 1241028.1089
69 | 2696747.8069 | 1241020.0538 | 2696741.4699 | 1241014.0126 | 2696752.6328 | 1240997.2597
70 | 2696814.9835 | 1240986.646 | 2696802.621 | 1241011.5521 | 2696798.204 | 1241018.5409
71 | 2696814.9835 | 1240986.646 | 2696803.2071 | 1240977.8962
72 | 2696791.3727 | 1240969.1033 | 2696803.2071 | 1240977.8962
73 | 2696779.1736 | 1240959.8975 | 2696791.3727 | 1240969.1033
74 | 2696752.6328 | 1240997.2597 | 2696741.4119 | 1240987.7504
75 | 2696779.1736 | 1240959.8975 | 2696769.3851 | 1240952.9364

## bus_geodata
| x | y | coords
0 | 2696678.5899 | 1240714.6412
1 | 2696677.0853 | 1240715.5836
2 | 2696748.3674 | 1240757.5431
3 | 2696728.9533 | 1240752.6617
4 | 2696735.2958 | 1240792.5342
5 | 2696661.3322 | 1240735.0751
6 | 2696714.3257 | 1240749.3378
7 | 2696715.4933 | 1240745.4428
8 | 2696693.4092 | 1240746.9064
9 | 2696721.7422 | 1240817.2097
10 | 2696668.942 | 1240831.0379
11 | 2696732.9888 | 1240798.1306
12 | 2696687.3739 | 1240765.0217
13 | 2696681.7605 | 1240763.2845
14 | 2696695.2416 | 1240740.2757
15 | 2696669.8562 | 1240827.8393
16 | 2696657.1726 | 1240837.6624
17 | 2696662.6071 | 1240846.2017
18 | 2696656.542 | 1240869.8652
19 | 2696700.6064 | 1240884.8496
20 | 2696678.2252 | 1240915.7083
21 | 2696716.1611 | 1240888.2949
22 | 2696864.9513 | 1241002.1839
23 | 2696874.5103 | 1240984.5711
24 | 2696853.5501 | 1241018.7979
25 | 2696837.3074 | 1240947.7364
26 | 2696885.398 | 1240969.8821
27 | 2696823.691 | 1240968.8413
28 | 2696590.0158 | 1240898.4415
29 | 2696597.7848 | 1240882.207
30 | 2696595.414 | 1240877.3247
31 | 2696598.8791 | 1240860.0526
32 | 2696619.7425 | 1240868.0426
33 | 2696638.6909 | 1240869.163
34 | 2696615.3662 | 1240866.1576
35 | 2696637.4235 | 1240907.0375
36 | 2696693.6372 | 1240930.9489
37 | 2696632.0968 | 1240911.4
38 | 2696650.3177 | 1240872.2101
39 | 2696598.1285 | 1240859.8312
40 | 2696649.6992 | 1240826.6213
41 | 2696631.251 | 1240822.6402
42 | 2696726.4871 | 1240917.9781
43 | 2696731.7043 | 1240891.7392
44 | 2696736.0465 | 1240937.5667
45 | 2696735.2112 | 1240892.515
46 | 2696716.3761 | 1240963.5051
47 | 2696753.5965 | 1240896.582
48 | 2696700.8214 | 1240993.6684
49 | 2696702.9891 | 1241000.3309
50 | 2696682.7102 | 1240996.0062
51 | 2696640.7423 | 1240985.0947
52 | 2696659.1166 | 1240989.3311
53 | 2696680.1565 | 1241025.9672
54 | 2696657.1053 | 1241051.5778
55 | 2696696.6522 | 1241039.9824
56 | 2696674.1925 | 1241065.7538
57 | 2696615.4881 | 1241097.6795
58 | 2696719.1657 | 1241013.7279
59 | 2696730.4774 | 1241023.0959
60 | 2696676.4126 | 1240782.2345
61 | 2696607.9998 | 1241107.4594
62 | 2696600.9986 | 1241120.9168
63 | 2696590.2901 | 1241131.9187
64 | 2696774.2101 | 1241047.2046
65 | 2696788.7744 | 1241032.0596
66 | 2696755.6402 | 1241028.1089
67 | 2696747.8069 | 1241020.0538
68 | 2696578.1995 | 1241145.4865
69 | 2696814.9835 | 1240986.646
70 | 2696798.204 | 1241018.5409
71 | 2696803.2071 | 1240977.8962
72 | 2696791.3727 | 1240969.1033
73 | 2696752.6328 | 1240997.2597
74 | 2696779.1736 | 1240959.8975
75 | 2696741.4119 | 1240987.7504
76 | 2696769.3851 | 1240952.9364
77 | 2696682.6664 | 1240899.3461

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97879 | -0.40898 | 0.00087343 | 0.0002189
1 | 0.97879 | -0.40895 | 0.0016954 | 0.00042491
2 | 0.98073 | -0.37099 | 0 | 0
3 | 0.97999 | -0.38537 | 0.0053726 | 0.0013465
4 | 0.9821 | -0.34405 | 0 | 0
5 | 0.97885 | -0.40778 | 0 | 0
6 | 0.97952 | -0.39469 | 0 | 0
7 | 0.9795 | -0.39506 | 0.0050029 | 0.0012538
8 | 0.97894 | -0.40607 | 0 | 0
9 | 0.98333 | -0.32007 | 0 | 0
10 | 0.98646 | -0.25944 | 0 | 0
11 | 0.98233 | -0.33969 | 0.0094743 | 0.0023745
12 | 0.97858 | -0.41304 | 0 | 0
13 | 0.97847 | -0.41512 | 0.010967 | 0.0027485
14 | 0.97889 | -0.40696 | 0.0071413 | 0.0017898
15 | 0.98644 | -0.25973 | 0.0049557 | 0.001242
16 | 0.98715 | -0.24607 | 0 | 0
17 | 0.98776 | -0.23434 | 0 | 0
18 | 0.98922 | -0.20607 | 0.0075717 | 0.0018977
19 | 0.99752 | -0.046922 | 0 | 0
20 | 1 | 0 | -0.26141 | -0.066607
21 | 0.99653 | -0.065667 | 0.0060079 | 0.0015057
22 | 0.97094 | -0.56185 | 0 | 0
23 | 0.97106 | -0.55942 | 0.0074005 | 0.0018547
24 | 0.97083 | -0.56399 | 0.0057534 | 0.0014419
25 | 0.97456 | -0.49033 | 0 | 0
26 | 0.97128 | -0.55498 | 0 | 0
27 | 0.97487 | -0.48427 | 0.0063016 | 0.0015793
28 | 0.98815 | -0.22705 | 0.006151 | 0.0015416
29 | 0.98825 | -0.22505 | 0 | 0
30 | 0.98828 | -0.22444 | 0.0073277 | 0.0018365
31 | 0.9885 | -0.2202 | 0 | 0
32 | 0.98891 | -0.21221 | 0 | 0
33 | 0.98935 | -0.20359 | 0.0047837 | 0.0011989
34 | 0.9888 | -0.21422 | 0.0046752 | 0.0011717
35 | 0.99317 | -0.13019 | 0 | 0
36 | 0.99988 | -0.0023786 | 0.0059925 | 0.0015019
37 | 0.99307 | -0.13198 | 0.01473 | 0.0036917
38 | 0.98967 | -0.19749 | 0 | 0
39 | 0.98849 | -0.22028 | 0.005564 | 0.0013945
40 | 0.98702 | -0.24865 | 0.0050949 | 0.0012769
41 | 0.98692 | -0.25059 | 0.0057393 | 0.0014384
42 | 0.9925 | -0.1422 | 0.0059903 | 0.0015013
43 | 0.99558 | -0.083595 | 0 | 0
44 | 0.98959 | -0.1979 | 0 | 0
45 | 0.99555 | -0.084284 | 0.005298 | 0.0013278
46 | 0.98623 | -0.2626 | 0.0059894 | 0.0015011
47 | 0.99545 | -0.086144 | 0.0056171 | 0.0014078
48 | 0.98281 | -0.32905 | 0 | 0
49 | 0.98234 | -0.33811 | 0 | 0
50 | 0.98224 | -0.34015 | 0.011224 | 0.002813
51 | 0.98144 | -0.35574 | 0.011223 | 0.0028126
52 | 0.98164 | -0.35191 | 0.011223 | 0.0028126
53 | 0.98195 | -0.34581 | 0 | 0
54 | 0.98172 | -0.35031 | 0 | 0
55 | 0.98185 | -0.34784 | 0.0052001 | 0.0013033
56 | 0.98166 | -0.35155 | 0.0031091 | 0.00077922
57 | 0.98148 | -0.35492 | 0 | 0
58 | 0.98119 | -0.36059 | 0.0051697 | 0.0012957
59 | 0.98045 | -0.37497 | 0 | 0
60 | 0.97832 | -0.41819 | 0.0085535 | 0.0021437
61 | 0.98144 | -0.35584 | 0.0011718 | 0.00029369
62 | 0.9814 | -0.35665 | 0 | 0
63 | 0.98135 | -0.35749 | 0.00081049 | 0.00020313
64 | 0.97782 | -0.42636 | 0 | 0
65 | 0.97702 | -0.44208 | 0.0041924 | 0.0010507
66 | 0.97883 | -0.40661 | 0.003642 | 0.00091277
67 | 0.97929 | -0.39754 | 0 | 0
68 | 0.98131 | -0.35831 | 0.0021279 | 0.0005333
69 | 0.97523 | -0.4772 | 0 | 0
70 | 0.97646 | -0.45308 | 0 | 0
71 | 0.975 | -0.48179 | 0.0070349 | 0.0017631
72 | 0.97486 | -0.4845 | 0 | 0
73 | 0.97903 | -0.40261 | 0 | 0
74 | 0.97472 | -0.48731 | 0 | 0
75 | 0.9789 | -0.40519 | 0.0096487 | 0.0024182
76 | 0.9746 | -0.48952 | 0.010035 | 0.002515
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00087343 | -0.0002189 | 0.00087343 | 0.00021888 | 1.1738e-09 | -2.1563e-08 | 0.0013278 | 0.0013278 | 0.0013278 | 0.97879 | -0.40898 | 0.97879 | -0.40895 | 0.36479
1 | -0.0025688 | -0.00064379 | 0.002569 | 0.00064357 | 1.4333e-07 | -2.2328e-07 | 0.0039053 | 0.0039052 | 0.0039053 | 0.97879 | -0.40895 | 0.97885 | -0.40778 | 1.0729
2 | 0.039675 | 0.0099679 | -0.039647 | -0.0099508 | 2.721e-05 | 1.7162e-05 | 0.060206 | 0.060206 | 0.060206 | 0.98073 | -0.37099 | 0.97999 | -0.38537 | 16.54
3 | -0.039675 | -0.0099679 | 0.039726 | 0.01 | 5.1091e-05 | 3.2223e-05 | 0.060206 | 0.060205 | 0.060206 | 0.98073 | -0.37099 | 0.9821 | -0.34405 | 16.54
4 | 0.034275 | 0.0086043 | -0.03426 | -0.0085947 | 1.5238e-05 | 9.5637e-06 | 0.052048 | 0.052048 | 0.052048 | 0.97999 | -0.38537 | 0.97952 | -0.39469 | 14.2989
5 | -0.039726 | -0.01 | 0.039734 | 0.010005 | 8.2781e-06 | 5.2209e-06 | 0.060205 | 0.060205 | 0.060205 | 0.9821 | -0.34405 | 0.98233 | -0.33969 | 16.5399
6 | -0.002569 | -0.00064357 | 0.0025692 | 0.00064324 | 2.0943e-07 | -3.2635e-07 | 0.0039052 | 0.003905 | 0.0039052 | 0.97885 | -0.40778 | 0.97894 | -0.40607 | 1.0729
7 | 0.0050029 | 0.0012538 | -0.0050029 | -0.0012538 | 8.8073e-08 | 5.1879e-09 | 0.0076002 | 0.0076002 | 0.0076002 | 0.97952 | -0.39469 | 0.9795 | -0.39506 | 2.088
8 | 0.029257 | 0.0073409 | -0.029241 | -0.007331 | 1.5861e-05 | 9.882e-06 | 0.044448 | 0.044448 | 0.044448 | 0.97952 | -0.39469 | 0.97894 | -0.40607 | 12.2109
9 | 0.0071417 | 0.0017899 | -0.0071413 | -0.0017898 | 3.0399e-07 | 1.0807e-07 | 0.010856 | 0.010856 | 0.010856 | 0.97894 | -0.40607 | 0.97889 | -0.40696 | 2.9823
10 | 0.01953 | 0.0048978 | -0.019523 | -0.0048939 | 6.4816e-06 | 3.9018e-06 | 0.029687 | 0.029687 | 0.029687 | 0.97894 | -0.40607 | 0.97858 | -0.41304 | 8.1559
11 | -0.049254 | -0.012409 | 0.049398 | 0.0125 | 0.00014329 | 9.0831e-05 | 0.074557 | 0.074556 | 0.074557 | 0.98333 | -0.32007 | 0.98646 | -0.25944 | 20.4826
12 | 0.049254 | 0.012409 | -0.049208 | -0.01238 | 4.6166e-05 | 2.9266e-05 | 0.074557 | 0.074557 | 0.074557 | 0.98333 | -0.32007 | 0.98233 | -0.33969 | 20.4827
13 | 0.0049557 | 0.001242 | -0.0049557 | -0.001242 | 6.9699e-08 | 2.1471e-09 | 0.0074754 | 0.0074755 | 0.0074755 | 0.98646 | -0.25944 | 0.98644 | -0.25973 | 2.0537
14 | -0.054353 | -0.013742 | 0.054388 | 0.013764 | 3.4874e-05 | 2.2143e-05 | 0.082032 | 0.082032 | 0.082032 | 0.98646 | -0.25944 | 0.98715 | -0.24607 | 22.5362
15 | 0.019523 | 0.0048939 | -0.019521 | -0.0048928 | 1.942e-06 | 1.1691e-06 | 0.029687 | 0.029687 | 0.029687 | 0.97858 | -0.41304 | 0.97847 | -0.41512 | 8.1559
16 | 0.0085547 | 0.0021443 | -0.0085535 | -0.0021437 | 1.2497e-06 | 5.5255e-07 | 0.01301 | 0.01301 | 0.01301 | 0.97847 | -0.41512 | 0.97832 | -0.41819 | 3.5741
17 | 0.010836 | 0.0027161 | -0.010835 | -0.0027154 | 1.334e-06 | 6.8331e-07 | 0.016334 | 0.016334 | 0.016334 | 0.98715 | -0.24607 | 0.98702 | -0.24865 | 4.4874
18 | -0.065224 | -0.01648 | 0.065261 | 0.016504 | 3.6698e-05 | 2.3357e-05 | 0.098366 | 0.098366 | 0.098366 | 0.98715 | -0.24607 | 0.98776 | -0.23434 | 27.0236
19 | -0.065261 | -0.016504 | 0.06535 | 0.01656 | 8.8637e-05 | 5.6415e-05 | 0.098366 | 0.098366 | 0.098366 | 0.98776 | -0.23434 | 0.98922 | -0.20607 | 27.0236
20 | -0.072921 | -0.018458 | 0.072952 | 0.018477 | 3.0046e-05 | 1.9144e-05 | 0.10976 | 0.10976 | 0.10976 | 0.98922 | -0.20607 | 0.98967 | -0.19749 | 30.1526
21 | -0.13618 | -0.034899 | 0.13649 | 0.035097 | 0.00031049 | 0.00019767 | 0.20342 | 0.20342 | 0.20342 | 0.99752 | -0.046922 | 1 | 0 | 27.9421
22 | 0.13618 | 0.034899 | -0.13606 | -0.03482 | 0.00012361 | 7.8693e-05 | 0.20342 | 0.20342 | 0.20342 | 0.99752 | -0.046922 | 0.99653 | -0.065667 | 27.9421
23 | 0.11728 | 0.030009 | -0.11654 | -0.02954 | 0.00073413 | 0.00046901 | 0.17473 | 0.17473 | 0.17473 | 1 | 0 | 0.99317 | -0.13019 | 48.0022
24 | 0.0059932 | 0.001502 | -0.0059925 | -0.0015019 | 6.7907e-07 | 1.3593e-07 | 0.008918 | 0.0089181 | 0.0089181 | 1 | 0 | 0.99988 | -0.0023786 | 2.45
25 | 0.13005 | 0.033315 | -0.12994 | -0.033243 | 0.00011286 | 7.1819e-05 | 0.19445 | 0.19445 | 0.19445 | 0.99653 | -0.065667 | 0.99558 | -0.083595 | 26.7099
26 | -0.005754 | -0.0014421 | 0.0057547 | 0.0014422 | 6.6463e-07 | 1.4344e-07 | 0.0088183 | 0.0088182 | 0.0088183 | 0.97094 | -0.56185 | 0.97106 | -0.55942 | 2.4226
27 | 0.005754 | 0.0014421 | -0.0057534 | -0.0014419 | 5.8759e-07 | 1.2688e-07 | 0.0088183 | 0.0088184 | 0.0088184 | 0.97094 | -0.56185 | 0.97083 | -0.56399 | 2.4226
28 | -0.013155 | -0.003297 | 0.013158 | 0.0032985 | 2.7836e-06 | 1.5555e-06 | 0.020158 | 0.020158 | 0.020158 | 0.97106 | -0.55942 | 0.97128 | -0.55498 | 5.538
29 | 0.013199 | 0.0033212 | -0.013158 | -0.0032985 | 4.0651e-05 | 2.2703e-05 | 0.020157 | 0.020158 | 0.020158 | 0.97456 | -0.49033 | 0.97128 | -0.55498 | 5.538
30 | -0.013199 | -0.0033212 | 0.013202 | 0.0033233 | 3.8269e-06 | 2.1361e-06 | 0.020157 | 0.020157 | 0.020157 | 0.97456 | -0.49033 | 0.97487 | -0.48427 | 5.5377
31 | -0.019504 | -0.0049027 | 0.019511 | 0.0049067 | 6.5896e-06 | 3.9701e-06 | 0.029776 | 0.029776 | 0.029776 | 0.97487 | -0.48427 | 0.97523 | -0.4772 | 8.1802
32 | -0.006151 | -0.0015416 | 0.0061516 | 0.0015417 | 5.8571e-07 | 1.4162e-07 | 0.0092626 | 0.0092625 | 0.0092626 | 0.98815 | -0.22705 | 0.98825 | -0.22505 | 2.5447
33 | -0.0061516 | -0.0015417 | 0.0061518 | 0.0015418 | 1.8025e-07 | 4.3573e-08 | 0.0092625 | 0.0092625 | 0.0092625 | 0.98825 | -0.22505 | 0.98828 | -0.22444 | 2.5446
34 | -0.013479 | -0.0033783 | 0.013482 | 0.0033798 | 2.7211e-06 | 1.5157e-06 | 0.020295 | 0.020295 | 0.020295 | 0.98828 | -0.22444 | 0.9885 | -0.2202 | 5.5757
35 | 0.005564 | 0.0013945 | -0.005564 | -0.0013945 | 2.0587e-08 | 3.1439e-09 | 0.0083757 | 0.0083757 | 0.0083757 | 0.9885 | -0.2202 | 0.98849 | -0.22028 | 2.301
36 | -0.019046 | -0.0047742 | 0.019052 | 0.0047775 | 5.4261e-06 | 3.247e-06 | 0.028671 | 0.028671 | 0.028671 | 0.9885 | -0.2202 | 0.9888 | -0.21422 | 7.8767
37 | -0.023729 | -0.0059506 | 0.023739 | 0.0059566 | 9.7541e-06 | 5.9808e-06 | 0.035707 | 0.035706 | 0.035707 | 0.98891 | -0.21221 | 0.98935 | -0.20359 | 9.8095
38 | 0.023729 | 0.0059506 | -0.023727 | -0.0059492 | 2.2781e-06 | 1.3969e-06 | 0.035707 | 0.035707 | 0.035707 | 0.98891 | -0.21221 | 0.9888 | -0.21422 | 9.8095
39 | -0.028523 | -0.0071555 | 0.028531 | 0.0071607 | 8.2958e-06 | 5.1549e-06 | 0.042901 | 0.042901 | 0.042901 | 0.98935 | -0.20359 | 0.98967 | -0.19749 | 11.7861
40 | 0.014731 | 0.0036924 | -0.01473 | -0.0036917 | 1.2578e-06 | 7.159e-07 | 0.022072 | 0.022072 | 0.022072 | 0.99317 | -0.13019 | 0.99307 | -0.13198 | 6.0636
41 | 0.10181 | 0.025847 | -0.10148 | -0.025637 | 0.00032849 | 0.00020975 | 0.15266 | 0.15266 | 0.15266 | 0.99317 | -0.13019 | 0.98967 | -0.19749 | 41.9386
42 | 0.0057398 | 0.0014385 | -0.0057393 | -0.0014384 | 5.2994e-07 | 9.7977e-08 | 0.0086532 | 0.0086533 | 0.0086533 | 0.98702 | -0.24865 | 0.98692 | -0.25059 | 2.3773
43 | -0.11868 | -0.030292 | 0.11902 | 0.030507 | 0.00033708 | 0.00021536 | 0.17813 | 0.17813 | 0.17813 | 0.9925 | -0.1422 | 0.99558 | -0.083595 | 48.9376
44 | 0.11269 | 0.02879 | -0.11239 | -0.028597 | 0.00030262 | 0.00019331 | 0.16915 | 0.16915 | 0.16915 | 0.9925 | -0.1422 | 0.98959 | -0.1979 | 46.4704
45 | 0.010916 | 0.0027358 | -0.010916 | -0.0027356 | 3.5851e-07 | 1.8274e-07 | 0.016315 | 0.016315 | 0.016315 | 0.99558 | -0.083595 | 0.99555 | -0.084284 | 4.4822
46 | 0.11239 | 0.028597 | -0.11204 | -0.028374 | 0.0003493 | 0.00022313 | 0.16915 | 0.16915 | 0.16915 | 0.98959 | -0.1979 | 0.98623 | -0.2626 | 46.4704
47 | 0.0056176 | 0.0014078 | -0.0056171 | -0.0014078 | 4.9781e-07 | 7.3787e-08 | 0.0083964 | 0.0083965 | 0.0083965 | 0.99555 | -0.084284 | 0.99545 | -0.086144 | 2.3067
48 | 0.10605 | 0.026873 | -0.10572 | -0.026657 | 0.00033739 | 0.00021549 | 0.16012 | 0.16012 | 0.16012 | 0.98623 | -0.2626 | 0.98281 | -0.32905 | 43.9879
49 | 0.072014 | 0.018199 | -0.071983 | -0.018179 | 3.1259e-05 | 1.9917e-05 | 0.10909 | 0.10909 | 0.10909 | 0.98281 | -0.32905 | 0.98234 | -0.33811 | 29.9687
50 | 0.033701 | 0.0084582 | -0.033684 | -0.008447 | 1.7833e-05 | 1.1182e-05 | 0.05103 | 0.05103 | 0.05103 | 0.98281 | -0.32905 | 0.98224 | -0.34015 | 14.0192
51 | 0.059555 | 0.015064 | -0.059491 | -0.015024 | 6.417e-05 | 4.0803e-05 | 0.090261 | 0.090261 | 0.090261 | 0.98234 | -0.33811 | 0.98119 | -0.36059 | 24.797
52 | 0.012428 | 0.0031148 | -0.012423 | -0.0031124 | 4.5568e-06 | 2.4825e-06 | 0.018825 | 0.018825 | 0.018825 | 0.98234 | -0.33811 | 0.98195 | -0.34581 | 5.1718
53 | 0.02246 | 0.005634 | -0.022447 | -0.0056263 | 1.2587e-05 | 7.6892e-06 | 0.034026 | 0.034027 | 0.034027 | 0.98224 | -0.34015 | 0.98164 | -0.35191 | 9.348
54 | -0.011223 | -0.0028126 | 0.011225 | 0.0028137 | 2.0472e-06 | 1.0719e-06 | 0.017015 | 0.017015 | 0.017015 | 0.98144 | -0.35574 | 0.98164 | -0.35191 | 4.6745
55 | 0.0072225 | 0.001809 | -0.007221 | -0.0018085 | 1.5477e-06 | 5.5477e-07 | 0.010944 | 0.010945 | 0.010945 | 0.98195 | -0.34581 | 0.98172 | -0.35031 | 3.0067
56 | 0.0052006 | 0.0013033 | -0.0052001 | -0.0013033 | 5.0414e-07 | 4.8866e-08 | 0.0078809 | 0.007881 | 0.007881 | 0.98195 | -0.34581 | 0.98185 | -0.34784 | 2.1651
57 | 0.0031093 | 0.00077906 | -0.0031091 | -0.00077922 | 1.8492e-07 | -1.6235e-07 | 0.0047128 | 0.0047129 | 0.0047129 | 0.98172 | -0.35031 | 0.98166 | -0.35155 | 1.2948
58 | 0.0041116 | 0.0010294 | -0.0041107 | -0.0010296 | 9.0342e-07 | -2.0597e-07 | 0.0062317 | 0.006232 | 0.006232 | 0.98172 | -0.35031 | 0.98148 | -0.35492 | 1.7121
59 | 0.0041107 | 0.0010296 | -0.0041106 | -0.0010297 | 1.794e-07 | -4.0847e-08 | 0.006232 | 0.0062321 | 0.0062321 | 0.98148 | -0.35492 | 0.98144 | -0.35584 | 1.7121
60 | 0.054321 | 0.013728 | -0.054283 | -0.013704 | 3.7415e-05 | 2.376e-05 | 0.082421 | 0.082421 | 0.082421 | 0.98119 | -0.36059 | 0.98045 | -0.37497 | 22.6432
61 | 0.054283 | 0.013704 | -0.054225 | -0.013667 | 5.863e-05 | 3.7233e-05 | 0.082421 | 0.082421 | 0.082421 | 0.98045 | -0.37497 | 0.97929 | -0.39754 | 22.6432
62 | 0.0029387 | 0.00073597 | -0.0029386 | -0.00073609 | 1.1398e-07 | -1.2054e-07 | 0.0044554 | 0.0044554 | 0.0044554 | 0.98144 | -0.35584 | 0.9814 | -0.35665 | 1.224
63 | 0.0029386 | 0.00073609 | -0.0029385 | -0.00073621 | 1.1656e-07 | -1.2324e-07 | 0.0044554 | 0.0044555 | 0.0044555 | 0.9814 | -0.35665 | 0.98135 | -0.35749 | 1.224
64 | 0.002128 | 0.00053308 | -0.0021279 | -0.0005333 | 8.4017e-08 | -2.1812e-07 | 0.0032266 | 0.0032266 | 0.0032266 | 0.98135 | -0.35749 | 0.98131 | -0.35831 | 0.88644
65 | 0.040873 | 0.010298 | -0.040842 | -0.010278 | 3.0697e-05 | 1.9381e-05 | 0.062218 | 0.062218 | 0.062218 | 0.97782 | -0.42636 | 0.97702 | -0.44208 | 17.0929
66 | -0.040873 | -0.010298 | 0.040911 | 0.010322 | 3.8667e-05 | 2.4412e-05 | 0.062218 | 0.062218 | 0.062218 | 0.97782 | -0.42636 | 0.97883 | -0.40661 | 17.0929
67 | 0.036649 | 0.0092275 | -0.03663 | -0.0092154 | 1.9268e-05 | 1.2125e-05 | 0.055833 | 0.055833 | 0.055833 | 0.97702 | -0.44208 | 0.97646 | -0.45308 | 15.3388
68 | -0.044553 | -0.011235 | 0.044573 | 0.011247 | 1.9343e-05 | 1.2238e-05 | 0.067755 | 0.067755 | 0.067755 | 0.97883 | -0.40661 | 0.97929 | -0.39754 | 18.6139
69 | 0.0096522 | 0.0024199 | -0.0096499 | -0.0024188 | 2.3302e-06 | 1.128e-06 | 0.014667 | 0.014667 | 0.014667 | 0.97929 | -0.39754 | 0.97903 | -0.40261 | 4.0293
70 | -0.036588 | -0.0091888 | 0.03663 | 0.0092154 | 4.2149e-05 | 2.6525e-05 | 0.055833 | 0.055833 | 0.055833 | 0.97523 | -0.4772 | 0.97646 | -0.45308 | 15.3388
71 | 0.017077 | 0.0042822 | -0.017074 | -0.00428 | 3.7357e-06 | 2.2078e-06 | 0.026058 | 0.026058 | 0.026058 | 0.97523 | -0.4772 | 0.975 | -0.48179 | 7.1587
72 | 0.010039 | 0.0025169 | -0.010037 | -0.0025162 | 1.2978e-06 | 6.4677e-07 | 0.015321 | 0.015321 | 0.015321 | 0.975 | -0.48179 | 0.97486 | -0.4845 | 4.2092
73 | 0.010037 | 0.0025162 | -0.010036 | -0.0025156 | 1.3428e-06 | 6.6923e-07 | 0.015321 | 0.015321 | 0.015321 | 0.97486 | -0.4845 | 0.97472 | -0.48731 | 4.2092
74 | 0.0096499 | 0.0024188 | -0.0096487 | -0.0024182 | 1.1865e-06 | 5.7443e-07 | 0.014667 | 0.014667 | 0.014667 | 0.97903 | -0.40261 | 0.9789 | -0.40519 | 4.0293
75 | 0.010036 | 0.0025156 | -0.010035 | -0.002515 | 1.0574e-06 | 5.2701e-07 | 0.015321 | 0.015321 | 0.015321 | 0.97472 | -0.48731 | 0.9746 | -0.48952 | 4.2092

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.26141 | 0.066607

## res_load
| p_mw | q_mvar
0 | 0.00087343 | 0.0002189
1 | 0.0016954 | 0.00042491
2 | 0.0053726 | 0.0013465
3 | 0.0050029 | 0.0012538
4 | 0.0094743 | 0.0023745
5 | 0.010967 | 0.0027485
6 | 0.0071413 | 0.0017898
7 | 0.0049557 | 0.001242
8 | 0.0075717 | 0.0018977
9 | 0.0060079 | 0.0015057
10 | 0.0074005 | 0.0018547
11 | 0.0057534 | 0.0014419
12 | 0.0063016 | 0.0015793
13 | 0.006151 | 0.0015416
14 | 0.0073277 | 0.0018365
15 | 0.0047837 | 0.0011989
16 | 0.0046752 | 0.0011717
17 | 0.0059925 | 0.0015019
18 | 0.01473 | 0.0036917
19 | 0.005564 | 0.0013945
20 | 0.0050949 | 0.0012769
21 | 0.0057393 | 0.0014384
22 | 0.0059903 | 0.0015013
23 | 0.005298 | 0.0013278
24 | 0.0059894 | 0.0015011
25 | 0.0056171 | 0.0014078
26 | 0.011224 | 0.002813
27 | 0.011223 | 0.0028126
28 | 0.011223 | 0.0028126
29 | 0.0052001 | 0.0013033
30 | 0.0031091 | 0.00077922
31 | 0.0051697 | 0.0012957
32 | 0.0085535 | 0.0021437
33 | 0.0011718 | 0.00029369
34 | 0.00081049 | 0.00020313
35 | 0.0041924 | 0.0010507
36 | 0.003642 | 0.00091277
37 | 0.0021279 | 0.0005333
38 | 0.0070349 | 0.0017631
39 | 0.0096487 | 0.0024182
40 | 0.010035 | 0.002515

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1