## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_213-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_213-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_213-4_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_213-4_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_213-4_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_213-4_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_213-4_0_6_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_213-4_0_6_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_213-4_0_6_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_213-4_0_6_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_213-4_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_213-4_0_6_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_213-4_0_6_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_213-4_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_213-4_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_213-4_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_213-4_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_213-4_0_6_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_213-4_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_213-4_0_6_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_213-4_0_6_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_213-4_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_213-4_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_213-4_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_213-4_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_213-4_0_6_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_213-4_0_6_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_213-4_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_213-4_0_6_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_213-4_0_6_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_213-4_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_213-4_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_213-4_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_213-4_0_6_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_213-4_0_6_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_213-4_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_213-4_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_213-4_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_213-4_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_213-4_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_213-4_0_6_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_213-4_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_213-4_0_6_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_213-4_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_213-4_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_213-4_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_213-4_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_213-4_0_6_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_213-4_0_6_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_213-4_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_213-4_0_6_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_213-4_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_213-4_0_6_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_213-4_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_213-4_0_6_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_213-4_0_6_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_213-4_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_213-4_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_213-4_0_6_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_213-4_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_213-4_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_213-4_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_213-4_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_213-4_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_213-4_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_213-4_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_213-4_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_213-4_0_6_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_213-4_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_213-4_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_213-4_0_6_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_213-4_0_6_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_213-4_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_213-4_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_213-4_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_213-4_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_213-4_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_213-4_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_MV_370_0_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_213-4_0_6_load_0 | 0 | 0.00093405 | 0.0002341 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_213-4_0_6_load_1 | 1 | 0.0022146 | 0.00055504 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_213-4_0_6_load_3 | 3 | 0.00042805 | 0.00010728 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_213-4_0_6_load_4 | 4 | 0.0013105 | 0.00032843 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_213-4_0_6_load_6 | 5 | 0.00157 | 0.00039348 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_213-4_0_6_load_30 | 6 | 0.0025436 | 0.00063748 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_213-4_0_6_load_35 | 7 | 0.0021586 | 0.00054101 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_213-4_0_6_load_33 | 8 | 0.0024278 | 0.00060846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_213-4_0_6_load_8 | 10 | 0.00074702 | 0.00018722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_213-4_0_6_load_24 | 11 | 0.00099019 | 0.00024817 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_213-4_0_6_load_9 | 13 | 0.0040487 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_213-4_0_6_load_10 | 14 | 0.0012008 | 0.00030096 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_213-4_0_6_load_58 | 18 | 0.00059552 | 0.00014925 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_213-4_0_6_load_83 | 19 | 0.0033441 | 0.00083811 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_213-4_0_6_load_59 | 20 | 0.004349 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_213-4_0_6_load_14 | 21 | 0.0034771 | 0.00087143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_213-4_0_6_load_15 | 22 | 0.0042824 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_213-4_0_6_load_16 | 23 | 0.02174 | 0.0054486 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_213-4_0_6_load_18 | 24 | 0.017482 | 0.0043813 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_213-4_0_6_load_31 | 25 | 0.0011046 | 0.00027685 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_213-4_0_6_load_23 | 27 | 0.00099582 | 0.00024958 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_213-4_0_6_load_38 | 29 | 0.020406 | 0.0051141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_213-4_0_6_load_19 | 30 | 0.032817 | 0.0082248 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_213-4_0_6_load_20 | 31 | 0.018999 | 0.0047616 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_213-4_0_6_load_22 | 32 | 0.0093767 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_213-4_0_6_load_63 | 33 | 0.030796 | 0.0077181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_213-4_0_6_load_25 | 35 | 0.0063186 | 0.0015836 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_213-4_0_6_load_26 | 36 | 0.0037687 | 0.00094453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_213-4_0_6_load_28 | 38 | 0.0089756 | 0.0022495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_213-4_0_6_load_70 | 40 | 0.05747 | 0.014403 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_213-4_0_6_load_81 | 41 | 0.002713 | 0.00067994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_213-4_0_6_load_32 | 43 | 0.0058726 | 0.0014718 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_213-4_0_6_load_34 | 44 | 0.0027497 | 0.00068913 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_213-4_0_6_load_37 | 46 | 0.0069563 | 0.0017434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_213-4_0_6_load_57 | 47 | 0.02309 | 0.005787 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_213-4_0_6_load_61 | 50 | 0.044563 | 0.011169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_213-4_0_6_load_40 | 51 | 0.022372 | 0.0056069 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_213-4_0_6_load_43 | 53 | 0.036172 | 0.0090655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_213-4_0_6_load_45 | 54 | 0.002728 | 0.00068369 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_213-4_0_6_load_68 | 55 | 0.021128 | 0.0052951 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_213-4_0_6_load_82 | 57 | 0.0021918 | 0.00054931 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_213-4_0_6_load_66 | 58 | 0.0049968 | 0.0012523 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_213-4_0_6_load_65 | 60 | 0.07761 | 0.019451 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_213-4_0_6_load_48 | 61 | 0.0068384 | 0.0017139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_213-4_0_6_load_49 | 62 | 0.0044582 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_213-4_0_6_load_50 | 63 | 0.0023298 | 0.00058391 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_213-4_0_6_load_52 | 64 | 0.022717 | 0.0056935 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_213-4_0_6_load_53 | 65 | 0.0025649 | 0.00064282 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_213-4_0_6_load_54 | 66 | 0.016243 | 0.0040709 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_213-4_0_6_load_56 | 67 | 0.0035223 | 0.00088276 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_213-4_0_6_load_80 | 69 | 0.0051697 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_213-4_0_6_load_78 | 70 | 0.0046336 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_213-4_0_6_load_77 | 71 | 0.0067748 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_213-4_0_6_load_72 | 72 | 0.0067556 | 0.0016931 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_213-4_0_6_load_73 | 73 | 0.002013 | 0.00050451 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_213-4_0_6_load_74 | 74 | 0.003242 | 0.00081253 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_213-4_0_6_load_75 | 75 | 0.001771 | 0.00044385 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_213-4_0_6_load_79 | 77 | 0.00096146 | 0.00024097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_213-4_0_6_line_0 |  | 0 | 1 | 0.0099188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_213-4_0_6_line_1 |  | 0 | 2 | 0.0045731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_213-4_0_6_line_2 |  | 1 | 3 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_213-4_0_6_line_3 |  | 2 | 4 | 0.037382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_213-4_0_6_line_4 |  | 3 | 5 | 0.026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_213-4_0_6_line_5 |  | 5 | 6 | 0.0080804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_213-4_0_6_line_6 |  | 6 | 9 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_213-4_0_6_line_7 |  | 7 | 8 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_213-4_0_6_line_8 |  | 8 | 43 | 0.027824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_213-4_0_6_line_9 |  | 9 | 25 | 0.0094688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_213-4_0_6_line_10 |  | 10 | 11 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_213-4_0_6_line_11 |  | 11 | 12 | 0.024039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_213-4_0_6_line_12 |  | 12 | 27 | 0.016697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_213-4_0_6_line_13 |  | 12 | 30 | 0.0064086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_213-4_0_6_line_14 |  | 13 | 14 | 0.0023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_213-4_0_6_line_15 |  | 13 | 15 | 0.039149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_213-4_0_6_line_16 |  | 15 | 16 | 0.065969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_213-4_0_6_line_17 |  | 16 | 17 | 0.00262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_213-4_0_6_line_18 |  | 16 | 18 | 0.0074873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_213-4_0_6_line_19 |  | 17 | 19 | 0.024408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_213-4_0_6_line_20 |  | 18 | 20 | 0.018509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_213-4_0_6_line_21 |  | 20 | 67 | 0.00010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_213-4_0_6_line_22 |  | 21 | 22 | 0.020532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_213-4_0_6_line_23 |  | 21 | 23 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_213-4_0_6_line_24 |  | 23 | 24 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_213-4_0_6_line_25 |  | 24 | 26 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_213-4_0_6_line_26 |  | 25 | 27 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_213-4_0_6_line_27 |  | 26 | 28 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_213-4_0_6_line_28 |  | 26 | 29 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_213-4_0_6_line_29 |  | 28 | 49 | 0.028118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_213-4_0_6_line_30 |  | 28 | 50 | 0.041756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_213-4_0_6_line_31 |  | 29 | 45 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_213-4_0_6_line_32 |  | 30 | 31 | 0.0066784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_213-4_0_6_line_33 |  | 31 | 32 | 0.0079778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_213-4_0_6_line_34 |  | 32 | 33 | 0.030768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_213-4_0_6_line_35 |  | 33 | 34 | 0.0099552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_213-4_0_6_line_36 |  | 34 | 60 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_213-4_0_6_line_37 |  | 34 | 49 | 0.027033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_213-4_0_6_line_38 |  | 35 | 36 | 0.00026207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_213-4_0_6_line_39 |  | 35 | 37 | 0.068235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_213-4_0_6_line_40 |  | 36 | 38 | 0.035267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_213-4_0_6_line_41 |  | 37 | 39 | 0.099812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_213-4_0_6_line_42 |  | 38 | 40 | 0.0070676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_213-4_0_6_line_43 |  | 39 | 41 | 0.044226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_213-4_0_6_line_44 |  | 40 | 42 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_213-4_0_6_line_45 |  | 42 | 55 | 0.041222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_213-4_0_6_line_46 |  | 42 | 68 | 0.029613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_213-4_0_6_line_47 |  | 43 | 44 | 0.0063588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_213-4_0_6_line_48 |  | 44 | 45 | 0.052575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_213-4_0_6_line_49 |  | 45 | 46 | 0.015821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_213-4_0_6_line_50 |  | 46 | 47 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_213-4_0_6_line_51 |  | 47 | 48 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_213-4_0_6_line_52 |  | 48 | 67 | 0.029931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_213-4_0_6_line_53 |  | 48 | 66 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_213-4_0_6_line_54 |  | 49 | 55 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_213-4_0_6_line_55 |  | 49 | 52 | 0.004501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_213-4_0_6_line_56 |  | 51 | 52 | 0.041538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_213-4_0_6_line_57 |  | 52 | 53 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_213-4_0_6_line_58 |  | 52 | 54 | 0.053491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_213-4_0_6_line_59 |  | 54 | 56 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_213-4_0_6_line_60 |  | 56 | 57 | 0.025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_213-4_0_6_line_61 |  | 58 | 59 | 0.028268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_213-4_0_6_line_62 |  | 59 | 68 | 0.005165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_213-4_0_6_line_63 |  | 61 | 62 | 0.0049551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_213-4_0_6_line_64 |  | 61 | 63 | 0.021774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_213-4_0_6_line_65 |  | 63 | 64 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_213-4_0_6_line_66 |  | 64 | 65 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_213-4_0_6_line_67 |  | 65 | 66 | 0.0035468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_213-4_0_6_line_68 |  | 68 | 69 | 0.032547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_213-4_0_6_line_69 |  | 68 | 70 | 0.022381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_213-4_0_6_line_70 |  | 70 | 71 | 0.0097752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_213-4_0_6_line_71 |  | 71 | 77 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_213-4_0_6_line_72 |  | 72 | 73 | 0.033262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_213-4_0_6_line_73 |  | 72 | 74 | 0.003089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_213-4_0_6_line_74 |  | 73 | 75 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_213-4_0_6_line_75 |  | 74 | 76 | 0.04737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_213-4_0_6_line_76 |  | 76 | 77 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_213-4_0_6_trafo_44 | 0.63 MVA 20/0.4 kV | 78 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2692985.1369 | 1258788.1508 | 2692995.0255 | 1258788.9233
1 | 2692980.5777 | 1258787.7946 | 2692985.1369 | 1258788.1508
2 | 2692995.0255 | 1258788.9233 | 2693012.1219 | 1258790.2588 | 2693013.4087 | 1258790.5953
3 | 2692980.5777 | 1258787.7946 | 2692981.1273 | 1258807.5078 | 2692984.5341 | 1258817.6471 | 2692984.8956 | 1258820.544 | 2692986.9467 | 1258824.0306
4 | 2693039.1699 | 1258797.331 | 2693013.4087 | 1258790.5953
5 | 2693039.1699 | 1258797.331 | 2693046.9875 | 1258799.375
6 | 2693061.3941 | 1258802.6098 | 2693057.9618 | 1258802.2444 | 2693046.9875 | 1258799.375
7 | 2693049.0787 | 1258743.2435 | 2693033.9383 | 1258738.6719 | 2693031.2433 | 1258738.1162
8 | 2693075.1473 | 1258752.7569 | 2693065.6798 | 1258748.2562 | 2693049.0787 | 1258743.2435
9 | 2693061.3941 | 1258802.6098 | 2693070.088 | 1258806.3613
10 | 2693079.0177 | 1258856.9745 | 2693070.1139 | 1258867.7052
11 | 2693098.2687 | 1258842.8994 | 2693093.2334 | 1258845.2332 | 2693090.6086 | 1258846.7375 | 2693079.0177 | 1258856.9745
12 | 2693098.2687 | 1258842.8994 | 2693092.2453 | 1258827.3267
13 | 2693098.2687 | 1258842.8994 | 2693104.6733 | 1258843.1275
14 | 2693181.999 | 1258633.8488 | 2693179.7013 | 1258633.3168
15 | 2693141.5617 | 1258624.4849 | 2693179.7013 | 1258633.3168
16 | 2693121.7257 | 1258656.5094 | 2693117.4626 | 1258649.0475 | 2693112.9369 | 1258639.591 | 2693110.2565 | 1258633.6108 | 2693108.1235 | 1258627.3389 | 2693112.1292 | 1258626.2455 | 2693116.4788 | 1258625.3354 | 2693124.6863 | 1258624.5862 | 2693141.5617 | 1258624.4849
17 | 2693121.7257 | 1258656.5094 | 2693119.7384 | 1258658.2239
18 | 2693121.7257 | 1258656.5094 | 2693125.4379 | 1258663.0116
19 | 2693102.1674 | 1258675.2165 | 2693119.7384 | 1258658.2239
20 | 2693125.4379 | 1258663.0116 | 2693133.0838 | 1258676.4038 | 2693134.4112 | 1258679.1916
21 | 2693134.4572 | 1258679.2882 | 2693134.4112 | 1258679.1916
22 | 2693104.4907 | 1258782.8029 | 2693097.649 | 1258780.2511 | 2693092.6578 | 1258783.6085 | 2693085.9305 | 1258781.0018
23 | 2693124.8664 | 1258789.8691 | 2693119.4383 | 1258788.378 | 2693104.4907 | 1258782.8029
24 | 2693124.8664 | 1258789.8691 | 2693137.5603 | 1258793.356 | 2693142.3332 | 1258793.3311
25 | 2693150.828 | 1258788.2051 | 2693146.8867 | 1258791.9127 | 2693142.3332 | 1258793.3311
26 | 2693070.088 | 1258806.3613 | 2693078.2435 | 1258809.8805 | 2693082.5808 | 1258812.1394 | 2693088.532 | 1258817.7263 | 2693092.2453 | 1258827.3267
27 | 2693159.1684 | 1258795.7535 | 2693150.828 | 1258788.2051
28 | 2693150.828 | 1258788.2051 | 2693142.3109 | 1258780.4396
29 | 2693175.8896 | 1258818.3346 | 2693166.2323 | 1258803.9267 | 2693159.1684 | 1258795.7535
30 | 2693159.1684 | 1258795.7535 | 2693165.1339 | 1258789.4202 | 2693177.7451 | 1258773.2948 | 2693186.5065 | 1258764.2611
31 | 2693131.4362 | 1258768.1063 | 2693134.9475 | 1258773.0321 | 2693141.3215 | 1258779.5376 | 2693142.3109 | 1258780.4396
32 | 2693111.3474 | 1258843.3652 | 2693104.6733 | 1258843.1275
33 | 2693111.3474 | 1258843.3652 | 2693117.2951 | 1258843.577 | 2693119.3134 | 1258843.3978
34 | 2693149.9603 | 1258840.6759 | 2693119.3134 | 1258843.3978
35 | 2693159.8769 | 1258839.7996 | 2693150.7944 | 1258840.6018 | 2693149.9603 | 1258840.6759
36 | 2693159.8769 | 1258839.7996 | 2693149.7225 | 1258861.268
37 | 2693175.8896 | 1258818.3346 | 2693169.9675 | 1258823.3454 | 2693159.8769 | 1258839.7996
38 | 2693196.6192 | 1258943.2654 | 2693196.6522 | 1258943.0054
39 | 2693179.9452 | 1259008.3494 | 2693185.0317 | 1259000.3676 | 2693189.6682 | 1258991.7671 | 2693195.1676 | 1258954.7132 | 2693196.6192 | 1258943.2654
40 | 2693196.6522 | 1258943.0054 | 2693201.0884 | 1258908.0189
41 | 2693199.7018 | 1259082.7307 | 2693171.9349 | 1259067.9151 | 2693168.1595 | 1259065.8985 | 2693162.6436 | 1259058.061 | 2693160.7422 | 1259050.0247 | 2693162.0087 | 1259042.3719 | 2693179.9452 | 1259008.3494
42 | 2693201.9775 | 1258901.0075 | 2693201.0884 | 1258908.0189
43 | 2693199.7018 | 1259082.7307 | 2693220.1255 | 1259091.804 | 2693234.7811 | 1259096.1383 | 2693241.3 | 1259097.1353
44 | 2693211.1746 | 1258879.5388 | 2693206.7148 | 1258884.5837 | 2693204.1182 | 1258888.6016 | 2693202.606 | 1258896.0503 | 2693201.9775 | 1258901.0075
45 | 2693211.1746 | 1258879.5388 | 2693207.469 | 1258875.9554 | 2693204.2941 | 1258872.1802 | 2693199.528 | 1258865.0773 | 2693197.6234 | 1258861.0663 | 2693190.8469 | 1258844.2395
46 | 2693238.4618 | 1258888.4868 | 2693233.394 | 1258888.5737 | 2693230.2263 | 1258888.6461 | 2693225.9024 | 1258887.933 | 2693222.4461 | 1258886.7109 | 2693219.4684 | 1258885.2518 | 2693215.2116 | 1258882.6715 | 2693211.1746 | 1258879.5388
47 | 2693075.1473 | 1258752.7569 | 2693080.8903 | 1258755.487
48 | 2693131.4362 | 1258768.1063 | 2693127.9086 | 1258768.5289 | 2693123.5119 | 1258768.126 | 2693116.8248 | 1258767.1423 | 2693087.0902 | 1258758.4343 | 2693080.8903 | 1258755.487
49 | 2693131.4362 | 1258768.1063 | 2693131.1522 | 1258764.599 | 2693131.4927 | 1258760.212 | 2693132.6113 | 1258753.8134 | 2693132.8508 | 1258752.4272
50 | 2693136.487 | 1258732.1772 | 2693135.5894 | 1258736.5799 | 2693132.8508 | 1258752.4272
51 | 2693140.445 | 1258708.3228 | 2693140.2056 | 1258712.0331 | 2693139.6257 | 1258716.7833 | 2693136.487 | 1258732.1772
52 | 2693140.445 | 1258708.3228 | 2693140.3767 | 1258703.5624 | 2693140.114 | 1258698.6988 | 2693139.0497 | 1258692.555 | 2693138.1037 | 1258688.9483 | 2693136.585 | 1258684.3653 | 2693135.0471 | 1258680.5269 | 2693134.4572 | 1258679.2882
53 | 2693140.445 | 1258708.3228 | 2693157.7357 | 1258705.599
54 | 2693175.8896 | 1258818.3346 | 2693184.641 | 1258831.3717 | 2693190.426 | 1258843.1943 | 2693190.8469 | 1258844.2395
55 | 2693175.8896 | 1258818.3346 | 2693180.2648 | 1258817.2249
56 | 2693180.2648 | 1258817.2249 | 2693175.1147 | 1258810.5718 | 2693175.0249 | 1258808.6133 | 2693168.0323 | 1258800.2188 | 2693166.3651 | 1258796.9344 | 2693175.208 | 1258782.9386
57 | 2693180.2648 | 1258817.2249 | 2693182.1872 | 1258821.0693 | 2693186.7187 | 1258828.2241 | 2693186.8523 | 1258828.4852
58 | 2693180.2648 | 1258817.2249 | 2693188.659 | 1258809.3952 | 2693197.5754 | 1258803.3531 | 2693209.8536 | 1258796.4075 | 2693220.6986 | 1258795.2441 | 2693226.8622 | 1258794.3546
59 | 2693242.1029 | 1258792.3901 | 2693232.5777 | 1258793.5298 | 2693226.8622 | 1258794.3546
60 | 2693249.9081 | 1258813.3185 | 2693248.5364 | 1258805.1571 | 2693248.9652 | 1258799.9597 | 2693248.8503 | 1258797.6783 | 2693247.014 | 1258793.6462 | 2693242.1029 | 1258792.3901
61 | 2693235.2384 | 1258884.4439 | 2693230.6912 | 1258884.9839 | 2693224.6284 | 1258884.0988 | 2693217.4309 | 1258880.1045 | 2693210.4032 | 1258873.9665
62 | 2693238.4618 | 1258888.4868 | 2693235.2384 | 1258884.4439
63 | 2693204.1364 | 1258686.508 | 2693204.1364 | 1258686.508 | 2693209.0561 | 1258687.0992
64 | 2693204.1364 | 1258686.508 | 2693189.1325 | 1258691.2978 | 2693183.9456 | 1258694.3609
65 | 2693174.8546 | 1258699.7293 | 2693183.9456 | 1258694.3609
66 | 2693174.8546 | 1258699.7293 | 2693167.5266 | 1258704.0567 | 2693161.2393 | 1258705.0471
67 | 2693157.7357 | 1258705.599 | 2693161.2393 | 1258705.0471
68 | 2693238.4618 | 1258888.4868 | 2693241.836 | 1258884.4034 | 2693247.029 | 1258879.2478 | 2693261.1773 | 1258865.2079
69 | 2693238.4618 | 1258888.4868 | 2693239.6855 | 1258891.6864 | 2693240.9951 | 1258893.742 | 2693242.7873 | 1258895.3159 | 2693255.1361 | 1258902.1894
70 | 2693263.6773 | 1258906.9436 | 2693255.1361 | 1258902.1894
71 | 2693263.6773 | 1258906.9436 | 2693279.7082 | 1258915.8666
72 | 2693267.6519 | 1258966.885 | 2693264.4863 | 1258972.2412 | 2693263.1085 | 1258985.0296 | 2693257.1158 | 1258997.8787
73 | 2693267.6519 | 1258966.885 | 2693269.2235 | 1258964.2257
74 | 2693257.1158 | 1258997.8787 | 2693257.1158 | 1258997.8787 | 2693242.92 | 1258990.6716 | 2693242.2569 | 1258992.0123
75 | 2693293.3247 | 1258923.4458 | 2693269.2235 | 1258964.2257
76 | 2693293.3247 | 1258923.4458 | 2693279.7082 | 1258915.8666

## bus_geodata
| x | y | coords
0 | 2692985.1369 | 1258788.1508
1 | 2692995.0255 | 1258788.9233
2 | 2692980.5777 | 1258787.7946
3 | 2693013.4087 | 1258790.5953
4 | 2692986.9467 | 1258824.0306
5 | 2693039.1699 | 1258797.331
6 | 2693046.9875 | 1258799.375
7 | 2693031.2433 | 1258738.1162
8 | 2693049.0787 | 1258743.2435
9 | 2693061.3941 | 1258802.6098
10 | 2693070.1139 | 1258867.7052
11 | 2693079.0177 | 1258856.9745
12 | 2693098.2687 | 1258842.8994
13 | 2693179.7013 | 1258633.3168
14 | 2693181.999 | 1258633.8488
15 | 2693141.5617 | 1258624.4849
16 | 2693121.7257 | 1258656.5094
17 | 2693119.7384 | 1258658.2239
18 | 2693125.4379 | 1258663.0116
19 | 2693102.1674 | 1258675.2165
20 | 2693134.4112 | 1258679.1916
21 | 2693104.4907 | 1258782.8029
22 | 2693085.9305 | 1258781.0018
23 | 2693124.8664 | 1258789.8691
24 | 2693142.3332 | 1258793.3311
25 | 2693070.088 | 1258806.3613
26 | 2693150.828 | 1258788.2051
27 | 2693092.2453 | 1258827.3267
28 | 2693159.1684 | 1258795.7535
29 | 2693142.3109 | 1258780.4396
30 | 2693104.6733 | 1258843.1275
31 | 2693111.3474 | 1258843.3652
32 | 2693119.3134 | 1258843.3978
33 | 2693149.9603 | 1258840.6759
34 | 2693159.8769 | 1258839.7996
35 | 2693196.6192 | 1258943.2654
36 | 2693196.6522 | 1258943.0054
37 | 2693179.9452 | 1259008.3494
38 | 2693201.0884 | 1258908.0189
39 | 2693199.7018 | 1259082.7307
40 | 2693201.9775 | 1258901.0075
41 | 2693241.3 | 1259097.1353
42 | 2693211.1746 | 1258879.5388
43 | 2693075.1473 | 1258752.7569
44 | 2693080.8903 | 1258755.487
45 | 2693131.4362 | 1258768.1063
46 | 2693132.8508 | 1258752.4272
47 | 2693136.487 | 1258732.1772
48 | 2693140.445 | 1258708.3228
49 | 2693175.8896 | 1258818.3346
50 | 2693186.5065 | 1258764.2611
51 | 2693175.208 | 1258782.9386
52 | 2693180.2648 | 1258817.2249
53 | 2693186.8523 | 1258828.4852
54 | 2693226.8622 | 1258794.3546
55 | 2693190.8469 | 1258844.2395
56 | 2693242.1029 | 1258792.3901
57 | 2693249.9081 | 1258813.3185
58 | 2693210.4032 | 1258873.9665
59 | 2693235.2384 | 1258884.4439
60 | 2693149.7225 | 1258861.268
61 | 2693204.1364 | 1258686.508
62 | 2693209.0561 | 1258687.0992
63 | 2693183.9456 | 1258694.3608
64 | 2693174.8546 | 1258699.7293
65 | 2693161.2393 | 1258705.0471
66 | 2693157.7357 | 1258705.599
67 | 2693134.4572 | 1258679.2882
68 | 2693238.4618 | 1258888.4868
69 | 2693261.1773 | 1258865.2079
70 | 2693255.1361 | 1258902.1894
71 | 2693263.6773 | 1258906.9436
72 | 2693267.6519 | 1258966.885
73 | 2693257.1158 | 1258997.8787
74 | 2693269.2235 | 1258964.2257
75 | 2693242.2569 | 1258992.0123
76 | 2693293.3247 | 1258923.4458
77 | 2693279.7082 | 1258915.8666
78 | 2693180.2648 | 1258817.2249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99297 | -0.13529 | 0.00093405 | 0.0002341
1 | 0.99299 | -0.1349 | 0.0022146 | 0.00055504
2 | 0.99297 | -0.1354 | 0 | 0
3 | 0.99307 | -0.13344 | 0.00042805 | 0.00010728
4 | 0.99292 | -0.13627 | 0.0013105 | 0.00032843
5 | 0.99319 | -0.13114 | 0.00157 | 0.00039348
6 | 0.99323 | -0.13022 | 0.0025436 | 0.00063748
7 | 0.9921 | -0.15151 | 0.0021586 | 0.00054101
8 | 0.99214 | -0.1508 | 0.0024278 | 0.00060846
9 | 0.99336 | -0.12787 | 0 | 0
10 | 0.99385 | -0.11826 | 0.00074702 | 0.00018722
11 | 0.99386 | -0.11807 | 0.00099019 | 0.00024817
12 | 0.9939 | -0.11733 | 0 | 0
13 | 0.98687 | -0.25295 | 0.0040487 | 0.0010147
14 | 0.98686 | -0.253 | 0.0012008 | 0.00030096
15 | 0.98705 | -0.24927 | 0 | 0
16 | 0.98737 | -0.24307 | 0 | 0
17 | 0.98736 | -0.24323 | 0 | 0
18 | 0.98743 | -0.24192 | 0.00059552 | 0.00014925
19 | 0.98729 | -0.24469 | 0.0033441 | 0.00083811
20 | 0.98759 | -0.23888 | 0.004349 | 0.00109
21 | 0.99506 | -0.094574 | 0.0034771 | 0.00087143
22 | 0.99498 | -0.096122 | 0.0042824 | 0.0010733
23 | 0.99522 | -0.091627 | 0.02174 | 0.0054486
24 | 0.9957 | -0.082319 | 0.017482 | 0.0043813
25 | 0.99343 | -0.12636 | 0.0011046 | 0.00027685
26 | 0.99614 | -0.073914 | 0 | 0
27 | 0.99373 | -0.12061 | 0.00099582 | 0.00024958
28 | 0.99708 | -0.055895 | 0 | 0
29 | 0.9947 | -0.10146 | 0.020406 | 0.0051141
30 | 0.99398 | -0.11588 | 0.032817 | 0.0082248
31 | 0.99425 | -0.1105 | 0.018999 | 0.0047616
32 | 0.99472 | -0.10141 | 0.0093767 | 0.00235
33 | 0.9968 | -0.061369 | 0.030796 | 0.0077181
34 | 0.99775 | -0.043079 | 0 | 0
35 | 0.98958 | -0.2005 | 0.0063186 | 0.0015836
36 | 0.98958 | -0.20046 | 0.0037687 | 0.00094453
37 | 0.98941 | -0.20381 | 0 | 0
38 | 0.98999 | -0.19243 | 0.0089756 | 0.0022495
39 | 0.98916 | -0.20863 | 0 | 0
40 | 0.99013 | -0.18969 | 0.05747 | 0.014403
41 | 0.98905 | -0.21077 | 0.002713 | 0.00067994
42 | 0.99188 | -0.15577 | 0 | 0
43 | 0.99226 | -0.14854 | 0.0058726 | 0.0014718
44 | 0.99232 | -0.14737 | 0.0027497 | 0.00068913
45 | 0.99295 | -0.13508 | 0 | 0
46 | 0.99147 | -0.16373 | 0.0069563 | 0.0017434
47 | 0.98966 | -0.19856 | 0.02309 | 0.005787
48 | 0.98806 | -0.22973 | 0 | 0
49 | 1 | 0 | -0.61537 | -0.15524
50 | 0.99538 | -0.088574 | 0.044563 | 0.011169
51 | 0.9989 | -0.0212 | 0.022372 | 0.0056069
52 | 0.99974 | -0.0049804 | 0 | 0
53 | 0.99931 | -0.013222 | 0.036172 | 0.0090655
54 | 0.9995 | -0.0095727 | 0.002728 | 0.00068369
55 | 0.99625 | -0.071731 | 0.021128 | 0.0052951
56 | 0.99947 | -0.010161 | 0 | 0
57 | 0.99942 | -0.011127 | 0.0021918 | 0.00054931
58 | 0.99074 | -0.17781 | 0.0049968 | 0.0012523
59 | 0.99087 | -0.1753 | 0 | 0
60 | 0.99608 | -0.075388 | 0.07761 | 0.019451
61 | 0.98619 | -0.26611 | 0.0068384 | 0.0017139
62 | 0.98617 | -0.26651 | 0.0044582 | 0.0011173
63 | 0.98641 | -0.26171 | 0.0023298 | 0.00058391
64 | 0.98655 | -0.25913 | 0.022717 | 0.0056935
65 | 0.98704 | -0.24945 | 0.0025649 | 0.00064282
66 | 0.98717 | -0.24698 | 0.016243 | 0.0040709
67 | 0.98759 | -0.23886 | 0.0035223 | 0.00088276
68 | 0.9909 | -0.17484 | 0 | 0
69 | 0.99074 | -0.17783 | 0.0051697 | 0.0012956
70 | 0.99036 | -0.18524 | 0.0046336 | 0.0011613
71 | 0.99017 | -0.18898 | 0.0067748 | 0.0016979
72 | 0.9891 | -0.20982 | 0.0067556 | 0.0016931
73 | 0.98898 | -0.21206 | 0.002013 | 0.00050451
74 | 0.98913 | -0.20924 | 0.003242 | 0.00081253
75 | 0.98895 | -0.21261 | 0.001771 | 0.00044385
76 | 0.98972 | -0.19761 | 0 | 0
77 | 0.98992 | -0.19379 | 0.00096146 | 0.00024097
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022446 | -0.00056202 | 0.0022446 | 0.00056192 | 4.2077e-08 | -1.0138e-07 | 0.0033634 | 0.0033634 | 0.0033634 | 0.99297 | -0.13529 | 0.99299 | -0.1349 | 0.92402
1 | 0.0013105 | 0.00032793 | -0.0013105 | -0.00032798 | 6.6129e-09 | -5.4922e-08 | 0.0019637 | 0.0019637 | 0.0019637 | 0.99297 | -0.13529 | 0.99297 | -0.1354 | 0.53948
2 | -0.0044592 | -0.001117 | 0.0044595 | 0.0011169 | 3.0939e-07 | -4.1047e-08 | 0.006682 | 0.0066819 | 0.006682 | 0.99299 | -0.1349 | 0.99307 | -0.13344 | 1.8357
3 | 0.0013105 | 0.00032798 | -0.0013105 | -0.00032843 | 5.4061e-08 | -4.4893e-07 | 0.0019637 | 0.0019639 | 0.0019639 | 0.99297 | -0.1354 | 0.99292 | -0.13627 | 0.53953
4 | -0.0048876 | -0.0012242 | 0.0048881 | 0.0012242 | 5.3551e-07 | -1.8199e-09 | 0.0073233 | 0.0073232 | 0.0073233 | 0.99307 | -0.13344 | 0.99319 | -0.13114 | 2.0119
5 | -0.0064581 | -0.0016177 | 0.0064584 | 0.0016178 | 2.8366e-07 | 7.6969e-08 | 0.0096754 | 0.0096754 | 0.0096754 | 0.99319 | -0.13114 | 0.99323 | -0.13022 | 2.6581
6 | -0.009002 | -0.0022552 | 0.009003 | 0.0022557 | 1.009e-06 | 4.5429e-07 | 0.013486 | 0.013486 | 0.013486 | 0.99323 | -0.13022 | 0.99336 | -0.12787 | 3.705
7 | -0.0021586 | -0.00054101 | 0.0021587 | 0.00054081 | 7.2985e-08 | -1.9306e-07 | 0.0032377 | 0.0032376 | 0.0032377 | 0.9921 | -0.15151 | 0.99214 | -0.1508 | 0.88947
8 | -0.0045865 | -0.0011493 | 0.004587 | 0.0011492 | 4.9371e-07 | -4.3386e-08 | 0.0068788 | 0.0068787 | 0.0068788 | 0.99214 | -0.1508 | 0.99226 | -0.14854 | 1.8898
9 | -0.009003 | -0.0022557 | 0.0090037 | 0.002256 | 6.4579e-07 | 2.9072e-07 | 0.013486 | 0.013486 | 0.013486 | 0.99336 | -0.12787 | 0.99343 | -0.12636 | 3.7049
10 | -0.00074702 | -0.00018722 | 0.00074702 | 0.00018704 | 6.5406e-09 | -1.7651e-07 | 0.0011184 | 0.0011184 | 0.0011184 | 0.99385 | -0.11826 | 0.99386 | -0.11807 | 0.30727
11 | -0.0017372 | -0.00043521 | 0.0017373 | 0.00043494 | 6.098e-08 | -2.7251e-07 | 0.0026009 | 0.0026008 | 0.0026009 | 0.99386 | -0.11807 | 0.9939 | -0.11733 | 0.71453
12 | 0.011109 | 0.0027847 | -0.011107 | -0.0027838 | 1.7319e-06 | 8.9209e-07 | 0.016631 | 0.016632 | 0.016632 | 0.9939 | -0.11733 | 0.99373 | -0.12061 | 4.5691
13 | -0.012846 | -0.0032196 | 0.012847 | 0.0032201 | 8.889e-07 | 4.8584e-07 | 0.019232 | 0.019232 | 0.019232 | 0.9939 | -0.11733 | 0.99398 | -0.11588 | 5.2836
14 | 0.0012008 | 0.00030093 | -0.0012008 | -0.00030096 | 2.8995e-09 | -2.8278e-08 | 0.0018106 | 0.0018107 | 0.0018107 | 0.98687 | -0.25295 | 0.98686 | -0.253 | 0.49743
15 | -0.0052496 | -0.0013156 | 0.0052505 | 0.0013157 | 9.1978e-07 | 8.8364e-08 | 0.0079154 | 0.0079152 | 0.0079154 | 0.98687 | -0.25295 | 0.98705 | -0.24927 | 2.1746
16 | -0.0052505 | -0.0013157 | 0.005252 | 0.0013159 | 1.5498e-06 | 1.4841e-07 | 0.0079152 | 0.0079149 | 0.0079152 | 0.98705 | -0.24927 | 0.98737 | -0.24307 | 2.1745
17 | 0.0033444 | 0.00083793 | -0.0033443 | -0.00083795 | 2.4957e-08 | -1.7537e-08 | 0.00504 | 0.00504 | 0.00504 | 0.98737 | -0.24307 | 0.98736 | -0.24323 | 1.3846
18 | -0.0085964 | -0.0021538 | 0.0085969 | 0.002154 | 4.7122e-07 | 2.0581e-07 | 0.012955 | 0.012955 | 0.012955 | 0.98737 | -0.24307 | 0.98743 | -0.24192 | 3.559
19 | 0.0033443 | 0.00083795 | -0.0033441 | -0.00083811 | 2.3251e-07 | -1.6335e-07 | 0.00504 | 0.0050401 | 0.0050401 | 0.98736 | -0.24323 | 0.98729 | -0.24469 | 1.3847
20 | -0.0091924 | -0.0023033 | 0.0091937 | 0.0023039 | 1.3318e-06 | 6.1558e-07 | 0.013852 | 0.013852 | 0.013852 | 0.98743 | -0.24192 | 0.98759 | -0.23888 | 3.8056
21 | -0.013543 | -0.0033938 | 0.013543 | 0.0033938 | 1.6703e-08 | 9.3209e-09 | 0.020405 | 0.020405 | 0.020405 | 0.98759 | -0.23888 | 0.98759 | -0.23886 | 5.6058
22 | 0.0042828 | 0.0010732 | -0.0042824 | -0.0010733 | 3.1581e-07 | -6.4576e-08 | 0.0064044 | 0.0064045 | 0.0064045 | 0.99506 | -0.094574 | 0.99498 | -0.096122 | 1.7595
23 | -0.0077598 | -0.0019446 | 0.0077609 | 0.0019451 | 1.0898e-06 | 4.1706e-07 | 0.011604 | 0.011604 | 0.011604 | 0.99506 | -0.094574 | 0.99522 | -0.091627 | 3.1879
24 | -0.029501 | -0.0073936 | 0.029514 | 0.0074018 | 1.3087e-05 | 8.1423e-06 | 0.044109 | 0.044109 | 0.044109 | 0.99522 | -0.091627 | 0.9957 | -0.082319 | 12.1178
25 | -0.046996 | -0.011783 | 0.047015 | 0.011795 | 1.8832e-05 | 1.192e-05 | 0.070234 | 0.070234 | 0.070234 | 0.9957 | -0.082319 | 0.99614 | -0.073914 | 19.2951
26 | -0.010108 | -0.0025328 | 0.010111 | 0.0025342 | 2.7705e-06 | 1.3557e-06 | 0.015141 | 0.01514 | 0.015141 | 0.99343 | -0.12636 | 0.99373 | -0.12061 | 4.1595
27 | -0.18375 | -0.046397 | 0.18391 | 0.046498 | 0.00015879 | 0.00010133 | 0.27461 | 0.27461 | 0.27461 | 0.99614 | -0.073914 | 0.99708 | -0.055895 | 37.7214
28 | 0.13674 | 0.034602 | -0.13656 | -0.034487 | 0.00018054 | 0.0001154 | 0.20438 | 0.20438 | 0.20438 | 0.99614 | -0.073914 | 0.9947 | -0.10146 | 56.1478
29 | -0.22855 | -0.057711 | 0.22916 | 0.058103 | 0.00061388 | 0.00039215 | 0.34123 | 0.34123 | 0.34123 | 0.99708 | -0.055895 | 1 | 0 | 46.8723
30 | 0.044633 | 0.011213 | -0.044563 | -0.011169 | 6.9494e-05 | 4.3932e-05 | 0.066619 | 0.066619 | 0.066619 | 0.99708 | -0.055895 | 0.99538 | -0.088574 | 18.3019
31 | 0.11615 | 0.029372 | -0.11597 | -0.029253 | 0.00018697 | 0.00011945 | 0.17385 | 0.17385 | 0.17385 | 0.9947 | -0.10146 | 0.99295 | -0.13508 | 47.7617
32 | -0.045664 | -0.011445 | 0.045676 | 0.011452 | 1.1704e-05 | 7.4037e-06 | 0.068361 | 0.068361 | 0.068361 | 0.99398 | -0.11588 | 0.99425 | -0.1105 | 18.7805
33 | -0.064675 | -0.016214 | 0.064703 | 0.016232 | 2.803e-05 | 1.7836e-05 | 0.096796 | 0.096795 | 0.096796 | 0.99425 | -0.1105 | 0.99472 | -0.10141 | 26.5922
34 | -0.07408 | -0.018582 | 0.074222 | 0.018672 | 0.0001417 | 9.0289e-05 | 0.11082 | 0.11082 | 0.11082 | 0.99472 | -0.10141 | 0.9968 | -0.061369 | 30.4456
35 | -0.10502 | -0.02639 | 0.10511 | 0.026449 | 9.1778e-05 | 5.8608e-05 | 0.15679 | 0.15679 | 0.15679 | 0.9968 | -0.061369 | 0.99775 | -0.043079 | 43.0751
36 | 0.077729 | 0.019527 | -0.07761 | -0.019451 | 0.00011966 | 7.6271e-05 | 0.11594 | 0.11594 | 0.11594 | 0.99775 | -0.043079 | 0.99608 | -0.075388 | 31.8515
37 | -0.18284 | -0.045976 | 0.18322 | 0.046217 | 0.00037702 | 0.00024059 | 0.27273 | 0.27273 | 0.27273 | 0.99775 | -0.043079 | 1 | 0 | 37.4633
38 | -0.0090329 | -0.0022616 | 0.0090329 | 0.0022616 | 1.8129e-08 | 8.2359e-09 | 0.013582 | 0.013582 | 0.013582 | 0.98958 | -0.2005 | 0.98958 | -0.20046 | 3.7313
39 | 0.0027143 | 0.00067806 | -0.0027139 | -0.00067866 | 4.2612e-07 | -6.0376e-07 | 0.0040807 | 0.004081 | 0.004081 | 0.98958 | -0.2005 | 0.98941 | -0.20381 | 1.1212
40 | -0.012802 | -0.0032062 | 0.012806 | 0.0032089 | 4.9e-06 | 2.6828e-06 | 0.019249 | 0.019249 | 0.019249 | 0.98958 | -0.20046 | 0.98999 | -0.19243 | 5.2881
41 | 0.0027139 | 0.00067866 | -0.0027133 | -0.00067955 | 6.2344e-07 | -8.8255e-07 | 0.004081 | 0.0040815 | 0.0040815 | 0.98941 | -0.20381 | 0.98916 | -0.20863 | 1.1213
42 | -0.021782 | -0.0054583 | 0.021785 | 0.0054601 | 2.8408e-06 | 1.7272e-06 | 0.032739 | 0.032739 | 0.032739 | 0.98999 | -0.19243 | 0.99013 | -0.18969 | 8.9944
43 | 0.0027133 | 0.00067955 | -0.002713 | -0.00067994 | 2.7629e-07 | -3.9082e-07 | 0.0040815 | 0.0040817 | 0.0040817 | 0.98916 | -0.20863 | 0.98905 | -0.21077 | 1.1213
44 | -0.079255 | -0.019863 | 0.079383 | 0.019945 | 0.00012829 | 8.1796e-05 | 0.11911 | 0.11911 | 0.11911 | 0.99013 | -0.18969 | 0.99188 | -0.15577 | 32.722
45 | -0.11577 | -0.029086 | 0.11623 | 0.029384 | 0.00046639 | 0.00029795 | 0.1737 | 0.1737 | 0.1737 | 0.99188 | -0.15577 | 0.99625 | -0.071731 | 47.7193
46 | 0.036384 | 0.0091407 | -0.03635 | -0.0091199 | 3.3094e-05 | 2.0798e-05 | 0.05459 | 0.05459 | 0.05459 | 0.99188 | -0.15577 | 0.9909 | -0.17484 | 14.9973
47 | -0.01046 | -0.002621 | 0.01046 | 0.0026213 | 5.8667e-07 | 2.9333e-07 | 0.015685 | 0.015685 | 0.015685 | 0.99226 | -0.14854 | 0.99232 | -0.14737 | 4.3092
48 | -0.01321 | -0.0033105 | 0.013218 | 0.0033147 | 7.736e-06 | 4.2714e-06 | 0.019809 | 0.019808 | 0.019809 | 0.99232 | -0.14737 | 0.99295 | -0.13508 | 5.4419
49 | 0.10275 | 0.025938 | -0.10261 | -0.025848 | 0.00014079 | 8.99e-05 | 0.15404 | 0.15404 | 0.15404 | 0.99295 | -0.13508 | 0.99147 | -0.16373 | 42.3199
50 | 0.095652 | 0.024105 | -0.095493 | -0.024003 | 0.00015912 | 0.00010157 | 0.1436 | 0.1436 | 0.1436 | 0.99147 | -0.16373 | 0.98966 | -0.19856 | 39.4517
51 | 0.072403 | 0.018216 | -0.072295 | -0.018148 | 0.00010766 | 6.8591e-05 | 0.10889 | 0.10889 | 0.10889 | 0.98966 | -0.19856 | 0.98806 | -0.22973 | 29.9139
52 | 0.017072 | 0.004281 | -0.017065 | -0.0042766 | 7.4202e-06 | 4.3658e-06 | 0.025712 | 0.025712 | 0.025712 | 0.98806 | -0.22973 | 0.98759 | -0.23886 | 7.0637
53 | 0.055223 | 0.013867 | -0.055177 | -0.013838 | 4.541e-05 | 2.8838e-05 | 0.083175 | 0.083175 | 0.083175 | 0.98806 | -0.22973 | 0.98717 | -0.24698 | 22.8503
54 | 0.13783 | 0.034982 | -0.13736 | -0.034679 | 0.00047381 | 0.00030285 | 0.20525 | 0.20525 | 0.20525 | 1 | 0 | 0.99625 | -0.071731 | 56.3886
55 | 0.063511 | 0.015934 | -0.063496 | -0.015924 | 1.5077e-05 | 9.5901e-06 | 0.094511 | 0.094511 | 0.094511 | 1 | 0 | 0.99974 | -0.0049804 | 25.9647
56 | -0.022372 | -0.0056069 | 0.022389 | 0.0056174 | 1.73e-05 | 1.0528e-05 | 0.033326 | 0.033326 | 0.033326 | 0.9989 | -0.0212 | 0.99974 | -0.0049804 | 9.1556
57 | 0.036186 | 0.0090744 | -0.036172 | -0.0090655 | 1.4208e-05 | 8.9223e-06 | 0.053861 | 0.053861 | 0.053861 | 0.99974 | -0.0049804 | 0.99931 | -0.013222 | 14.797
58 | 0.004921 | 0.0012326 | -0.0049199 | -0.0012326 | 1.0761e-06 | -1.2552e-08 | 0.0073241 | 0.0073244 | 0.0073244 | 0.99974 | -0.0049804 | 0.9995 | -0.0095727 | 2.0122
59 | 0.0021919 | 0.00054888 | -0.0021919 | -0.00054904 | 6.1364e-08 | -1.6214e-07 | 0.0032631 | 0.0032632 | 0.0032632 | 0.9995 | -0.0095727 | 0.99947 | -0.010161 | 0.89648
60 | 0.0021919 | 0.00054904 | -0.0021918 | -0.00054931 | 1.0086e-07 | -2.6645e-07 | 0.0032632 | 0.0032633 | 0.0032633 | 0.99947 | -0.010161 | 0.99942 | -0.011127 | 0.89651
61 | -0.0049968 | -0.0012523 | 0.0049974 | 0.0012523 | 5.9704e-07 | 1.8027e-08 | 0.0075048 | 0.0075046 | 0.0075048 | 0.99074 | -0.17781 | 0.99087 | -0.1753 | 2.0618
62 | -0.0049974 | -0.0012523 | 0.0049975 | 0.0012523 | 1.0908e-07 | 3.2822e-09 | 0.0075046 | 0.0075046 | 0.0075046 | 0.99087 | -0.1753 | 0.9909 | -0.17484 | 2.0617
63 | 0.0044583 | 0.0011173 | -0.0044582 | -0.0011173 | 8.4084e-08 | -9.4087e-09 | 0.0067269 | 0.0067269 | 0.0067269 | 0.98619 | -0.26611 | 0.98617 | -0.26651 | 1.8481
64 | -0.011297 | -0.0028312 | 0.011299 | 0.0028324 | 2.3722e-06 | 1.2404e-06 | 0.017045 | 0.017045 | 0.017045 | 0.98619 | -0.26611 | 0.98641 | -0.26171 | 4.6827
65 | -0.013629 | -0.0034163 | 0.013631 | 0.0034173 | 1.6735e-06 | 9.3625e-07 | 0.02056 | 0.020559 | 0.02056 | 0.98641 | -0.26171 | 0.98655 | -0.25913 | 5.6482
66 | -0.036348 | -0.0091108 | 0.036365 | 0.0091213 | 1.6766e-05 | 1.054e-05 | 0.054824 | 0.054824 | 0.054824 | 0.98655 | -0.25913 | 0.98704 | -0.24945 | 15.0616
67 | -0.03893 | -0.0097642 | 0.038934 | 0.009767 | 4.5816e-06 | 2.8869e-06 | 0.058691 | 0.058691 | 0.058691 | 0.98704 | -0.24945 | 0.98717 | -0.24698 | 16.1239
68 | 0.0051704 | 0.0012957 | -0.0051697 | -0.0012956 | 7.3578e-07 | 5.1712e-08 | 0.0077643 | 0.0077644 | 0.0077644 | 0.9909 | -0.17484 | 0.99074 | -0.17783 | 2.1331
69 | 0.026183 | 0.0065719 | -0.02617 | -0.0065639 | 1.2977e-05 | 8.0171e-06 | 0.039321 | 0.039322 | 0.039322 | 0.9909 | -0.17484 | 0.99036 | -0.18524 | 10.8026
70 | 0.021536 | 0.0054026 | -0.021532 | -0.0054003 | 3.8385e-06 | 2.3309e-06 | 0.03236 | 0.03236 | 0.03236 | 0.99036 | -0.18524 | 0.99017 | -0.18898 | 8.89
71 | 0.014757 | 0.0037024 | -0.014754 | -0.0037004 | 3.3842e-06 | 1.93e-06 | 0.022179 | 0.022179 | 0.022179 | 0.99017 | -0.18898 | 0.98992 | -0.19379 | 6.093
72 | 0.0037845 | 0.000948 | -0.0037841 | -0.00094817 | 4.0431e-07 | -1.681e-07 | 0.0056932 | 0.0056934 | 0.0056934 | 0.9891 | -0.20982 | 0.98898 | -0.21206 | 1.5641
73 | -0.01054 | -0.0026411 | 0.01054 | 0.0026413 | 2.9125e-07 | 1.4675e-07 | 0.015856 | 0.015856 | 0.015856 | 0.9891 | -0.20982 | 0.98913 | -0.20924 | 4.3562
74 | 0.001771 | 0.00044366 | -0.001771 | -0.00044385 | 4.6374e-08 | -1.938e-07 | 0.0026646 | 0.0026647 | 0.0026647 | 0.98898 | -0.21206 | 0.98895 | -0.21261 | 0.73207
75 | -0.013782 | -0.0034538 | 0.01379 | 0.0034581 | 7.6362e-06 | 4.2788e-06 | 0.020734 | 0.020733 | 0.020734 | 0.98913 | -0.20924 | 0.98972 | -0.19761 | 5.6961
76 | -0.01379 | -0.0034581 | 0.013793 | 0.0034595 | 2.5122e-06 | 1.4075e-06 | 0.020733 | 0.020733 | 0.020733 | 0.98972 | -0.19761 | 0.98992 | -0.19379 | 5.696

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61537 | 0.15524

## res_load
| p_mw | q_mvar
0 | 0.00093405 | 0.0002341
1 | 0.0022146 | 0.00055504
2 | 0.00042805 | 0.00010728
3 | 0.0013105 | 0.00032843
4 | 0.00157 | 0.00039348
5 | 0.0025436 | 0.00063748
6 | 0.0021586 | 0.00054101
7 | 0.0024278 | 0.00060846
8 | 0.00074702 | 0.00018722
9 | 0.00099019 | 0.00024817
10 | 0.0040487 | 0.0010147
11 | 0.0012008 | 0.00030096
12 | 0.00059552 | 0.00014925
13 | 0.0033441 | 0.00083811
14 | 0.004349 | 0.00109
15 | 0.0034771 | 0.00087143
16 | 0.0042824 | 0.0010733
17 | 0.02174 | 0.0054486
18 | 0.017482 | 0.0043813
19 | 0.0011046 | 0.00027685
20 | 0.00099582 | 0.00024958
21 | 0.020406 | 0.0051141
22 | 0.032817 | 0.0082248
23 | 0.018999 | 0.0047616
24 | 0.0093767 | 0.00235
25 | 0.030796 | 0.0077181
26 | 0.0063186 | 0.0015836
27 | 0.0037687 | 0.00094453
28 | 0.0089756 | 0.0022495
29 | 0.05747 | 0.014403
30 | 0.002713 | 0.00067994
31 | 0.0058726 | 0.0014718
32 | 0.0027497 | 0.00068913
33 | 0.0069563 | 0.0017434
34 | 0.02309 | 0.005787
35 | 0.044563 | 0.011169
36 | 0.022372 | 0.0056069
37 | 0.036172 | 0.0090655
38 | 0.002728 | 0.00068369
39 | 0.021128 | 0.0052951
40 | 0.0021918 | 0.00054931
41 | 0.0049968 | 0.0012523
42 | 0.07761 | 0.019451
43 | 0.0068384 | 0.0017139
44 | 0.0044582 | 0.0011173
45 | 0.0023298 | 0.00058391
46 | 0.022717 | 0.0056935
47 | 0.0025649 | 0.00064282
48 | 0.016243 | 0.0040709
49 | 0.0035223 | 0.00088276
50 | 0.0051697 | 0.0012956
51 | 0.0046336 | 0.0011613
52 | 0.0067748 | 0.0016979
53 | 0.0067556 | 0.0016931
54 | 0.002013 | 0.00050451
55 | 0.003242 | 0.00081253
56 | 0.001771 | 0.00044385
57 | 0.00096146 | 0.00024097

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1