## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_214-1_2_2_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_214-1_2_2_node_272 | 0.4 | n |  | TRUE
2 | bus_LV_214-1_2_2_node_306 | 0.4 | n |  | TRUE
3 | bus_LV_214-1_2_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_214-1_2_2_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_214-1_2_2_node_226 | 0.4 | n |  | TRUE
6 | bus_LV_214-1_2_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_214-1_2_2_node_227 | 0.4 | n |  | TRUE
8 | bus_LV_214-1_2_2_node_228 | 0.4 | n |  | TRUE
9 | bus_LV_214-1_2_2_node_122 | 0.4 | n |  | TRUE
10 | bus_LV_214-1_2_2_node_292 | 0.4 | n |  | TRUE
11 | bus_LV_214-1_2_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_214-1_2_2_node_305 | 0.4 | n |  | TRUE
13 | bus_LV_214-1_2_2_node_274 | 0.4 | n |  | TRUE
14 | bus_LV_214-1_2_2_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_214-1_2_2_node_307 | 0.4 | n |  | TRUE
16 | bus_LV_214-1_2_2_node_344 | 0.4 | n |  | TRUE
17 | bus_LV_214-1_2_2_node_119 | 0.4 | n |  | TRUE
18 | bus_LV_214-1_2_2_node_120 | 0.4 | n |  | TRUE
19 | bus_LV_214-1_2_2_node_121 | 0.4 | n |  | TRUE
20 | bus_LV_214-1_2_2_node_123 | 0.4 | n |  | TRUE
21 | bus_LV_214-1_2_2_node_273 | 0.4 | n |  | TRUE
22 | bus_LV_214-1_2_2_node_271 | 0.4 | n |  | TRUE
23 | bus_LV_214-1_2_2_node_203 | 0.4 | n |  | TRUE
24 | bus_LV_214-1_2_2_node_204 | 0.4 | n |  | TRUE
25 | bus_LV_214-1_2_2_node_205 | 0.4 | n |  | TRUE
26 | bus_LV_214-1_2_2_node_206 | 0.4 | n |  | TRUE
27 | bus_LV_214-1_2_2_node_207 | 0.4 | n |  | TRUE
28 | bus_LV_214-1_2_2_node_235 | 0.4 | n |  | TRUE
29 | bus_LV_214-1_2_2_node_219 | 0.4 | n |  | TRUE
30 | bus_LV_214-1_2_2_node_221 | 0.4 | n |  | TRUE
31 | bus_LV_214-1_2_2_node_220 | 0.4 | n |  | TRUE
32 | bus_LV_214-1_2_2_node_222 | 0.4 | n |  | TRUE
33 | bus_LV_214-1_2_2_node_223 | 0.4 | n |  | TRUE
34 | bus_LV_214-1_2_2_node_224 | 0.4 | n |  | TRUE
35 | bus_LV_214-1_2_2_node_313 | 0.4 | n |  | TRUE
36 | bus_LV_214-1_2_2_node_316 | 0.4 | n |  | TRUE
37 | bus_LV_214-1_2_2_node_315 | 0.4 | n |  | TRUE
38 | bus_LV_214-1_2_2_node_236 | 0.4 | n |  | TRUE
39 | bus_LV_214-1_2_2_node_237 | 0.4 | n |  | TRUE
40 | bus_LV_214-1_2_2_node_323 | 0.4 | n |  | TRUE
41 | bus_LV_214-1_2_2_node_275 | 0.4 | n |  | TRUE
42 | bus_LV_214-1_2_2_node_321 | 0.4 | n |  | TRUE
43 | bus_LV_214-1_2_2_node_343 | 0.4 | n |  | TRUE
44 | bus_LV_214-1_2_2_node_279 | 0.4 | n |  | TRUE
45 | bus_LV_214-1_2_2_node_363 | 0.4 | n |  | TRUE
46 | bus_LV_214-1_2_2_node_337 | 0.4 | n |  | TRUE
47 | bus_LV_214-1_2_2_node_293 | 0.4 | n |  | TRUE
48 | bus_LV_214-1_2_2_node_301 | 0.4 | n |  | TRUE
49 | bus_LV_214-1_2_2_node_302 | 0.4 | n |  | TRUE
50 | bus_LV_214-1_2_2_node_303 | 0.4 | n |  | TRUE
51 | bus_LV_214-1_2_2_node_304 | 0.4 | n |  | TRUE
52 | bus_LV_214-1_2_2_node_310 | 0.4 | n |  | TRUE
53 | bus_LV_214-1_2_2_node_331 | 0.4 | n |  | TRUE
54 | bus_LV_214-1_2_2_node_308 | 0.4 | n |  | TRUE
55 | bus_LV_214-1_2_2_node_309 | 0.4 | n |  | TRUE
56 | bus_LV_214-1_2_2_node_311 | 0.4 | n |  | TRUE
57 | bus_LV_214-1_2_2_node_312 | 0.4 | n |  | TRUE
58 | bus_LV_214-1_2_2_node_332 | 0.4 | n |  | TRUE
59 | bus_LV_214-1_2_2_node_314 | 0.4 | n |  | TRUE
60 | bus_LV_214-1_2_2_node_320 | 0.4 | n |  | TRUE
61 | bus_LV_214-1_2_2_node_317 | 0.4 | n |  | TRUE
62 | bus_LV_214-1_2_2_node_318 | 0.4 | n |  | TRUE
63 | bus_LV_214-1_2_2_node_319 | 0.4 | n |  | TRUE
64 | bus_LV_214-1_2_2_node_322 | 0.4 | n |  | TRUE
65 | bus_LV_214-1_2_2_node_333 | 0.4 | n |  | TRUE
66 | bus_LV_214-1_2_2_node_336 | 0.4 | n |  | TRUE
67 | bus_LV_214-1_2_2_node_324 | 0.4 | n |  | TRUE
68 | bus_LV_214-1_2_2_node_327 | 0.4 | n |  | TRUE
69 | bus_LV_214-1_2_2_node_325 | 0.4 | n |  | TRUE
70 | bus_LV_214-1_2_2_node_326 | 0.4 | n |  | TRUE
71 | bus_LV_214-1_2_2_node_328 | 0.4 | n |  | TRUE
72 | bus_LV_214-1_2_2_node_329 | 0.4 | n |  | TRUE
73 | bus_LV_214-1_2_2_node_334 | 0.4 | n |  | TRUE
74 | bus_LV_214-1_2_2_node_330 | 0.4 | n |  | TRUE
75 | bus_LV_214-1_2_2_node_341 | 0.4 | n |  | TRUE
76 | bus_LV_214-1_2_2_node_354 | 0.4 | n |  | TRUE
77 | bus_LV_214-1_2_2_node_347 | 0.4 | n |  | TRUE
78 | bus_LV_214-1_2_2_node_345 | 0.4 | n |  | TRUE
79 | bus_LV_214-1_2_2_node_335 | 0.4 | n |  | TRUE
80 | bus_LV_214-1_2_2_node_338 | 0.4 | n |  | TRUE
81 | bus_LV_214-1_2_2_node_339 | 0.4 | n |  | TRUE
82 | bus_LV_214-1_2_2_node_340 | 0.4 | n |  | TRUE
83 | bus_LV_214-1_2_2_node_342 | 0.4 | n |  | TRUE
84 | bus_LV_214-1_2_2_node_346 | 0.4 | n |  | TRUE
85 | bus_LV_214-1_2_2_node_348 | 0.4 | n |  | TRUE
86 | bus_LV_214-1_2_2_node_349 | 0.4 | n |  | TRUE
87 | bus_LV_214-1_2_2_node_350 | 0.4 | n |  | TRUE
88 | bus_LV_214-1_2_2_node_352 | 0.4 | n |  | TRUE
89 | bus_LV_214-1_2_2_node_353 | 0.4 | n |  | TRUE
90 | bus_LV_214-1_2_2_node_355 | 0.4 | n |  | TRUE
91 | bus_MV_369_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_214-1_2_2_load_306 | 2 | 0.0016552 | 0.00041484 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_214-1_2_2_load_226 | 5 | 0.0035773 | 0.00089657 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_214-1_2_2_load_227 | 7 | 0.0037651 | 0.00094361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_214-1_2_2_load_228 | 8 | 0.0027488 | 0.00068891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_214-1_2_2_load_122 | 9 | 0.0018827 | 0.00047186 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_214-1_2_2_load_292 | 10 | 0.001379 | 0.00034562 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_214-1_2_2_load_305 | 12 | 0.0040296 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_214-1_2_2_load_274 | 13 | 0.0013234 | 0.00033168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_214-1_2_2_load_344 | 16 | 0.00064853 | 0.00016254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_214-1_2_2_load_119 | 17 | 0.0037495 | 0.00093972 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_214-1_2_2_load_120 | 18 | 0.00073807 | 0.00018498 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_214-1_2_2_load_121 | 19 | 0.0015924 | 0.00039909 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_214-1_2_2_load_271 | 22 | 0.0028126 | 0.0007049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_214-1_2_2_load_203 | 23 | 0.0015446 | 0.00038711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_214-1_2_2_load_204 | 24 | 0.0052214 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_214-1_2_2_load_205 | 25 | 0.0019663 | 0.0004928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_214-1_2_2_load_206 | 26 | 0.0050617 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_214-1_2_2_load_207 | 27 | 0.0015611 | 0.00039125 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_214-1_2_2_load_219 | 29 | 0.0026772 | 0.00067096 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_214-1_2_2_load_220 | 31 | 0.0010435 | 0.00026152 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_214-1_2_2_load_222 | 32 | 0.0009065 | 0.00022719 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_214-1_2_2_load_223 | 33 | 0.0011727 | 0.0002939 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_214-1_2_2_load_224 | 34 | 0.0015263 | 0.00038254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_214-1_2_2_load_313 | 35 | 0.0019032 | 0.000477 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_214-1_2_2_load_316 | 36 | 0.00074692 | 0.0001872 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_214-1_2_2_load_236 | 38 | 0.0053082 | 0.0013303 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_214-1_2_2_load_237 | 39 | 0.00077685 | 0.0001947 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_214-1_2_2_load_323 | 40 | 0.00075106 | 0.00018823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_214-1_2_2_load_275 | 41 | 0.0013529 | 0.00033906 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_214-1_2_2_load_321 | 42 | 0.0025541 | 0.00064011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_214-1_2_2_load_343 | 43 | 0.0037929 | 0.0009506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_214-1_2_2_load_363 | 45 | 0.0022854 | 0.00057276 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_214-1_2_2_load_293 | 47 | 0.0014511 | 0.00036368 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_214-1_2_2_load_301 | 48 | 0.00047194 | 0.00011828 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_214-1_2_2_load_303 | 50 | 0.00065469 | 0.00016408 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_214-1_2_2_load_304 | 51 | 0.00077057 | 0.00019312 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_214-1_2_2_load_310 | 52 | 0.0012237 | 0.00030668 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_214-1_2_2_load_331 | 53 | 0.00093693 | 0.00023482 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_214-1_2_2_load_308 | 54 | 0.0082928 | 0.0020784 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_214-1_2_2_load_309 | 55 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_214-1_2_2_load_311 | 56 | 0.00082813 | 0.00020755 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_214-1_2_2_load_312 | 57 | 0.00098963 | 0.00024802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_214-1_2_2_load_314 | 59 | 0.0015458 | 0.00038741 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_214-1_2_2_load_320 | 60 | 0.00095375 | 0.00023903 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_214-1_2_2_load_318 | 62 | 0.00074561 | 0.00018687 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_214-1_2_2_load_322 | 64 | 0.00074561 | 0.00018687 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_214-1_2_2_load_336 | 66 | 0.0039741 | 0.00099601 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_214-1_2_2_load_324 | 67 | 0.0011188 | 0.00028039 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_214-1_2_2_load_325 | 69 | 0.0013865 | 0.0003475 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_214-1_2_2_load_326 | 70 | 0.0019975 | 0.00050061 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_214-1_2_2_load_328 | 71 | 0.0022115 | 0.00055425 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_214-1_2_2_load_334 | 73 | 0.0036563 | 0.00091635 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_214-1_2_2_load_341 | 75 | 0.0010845 | 0.00027181 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_214-1_2_2_load_347 | 77 | 0.00047086 | 0.00011801 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_214-1_2_2_load_345 | 78 | 0.00036362 | 9.1132e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_214-1_2_2_load_335 | 79 | 0.0028152 | 0.00070555 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_214-1_2_2_load_338 | 80 | 0.0016524 | 0.00041413 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_214-1_2_2_load_339 | 81 | 0.0015678 | 0.00039292 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_214-1_2_2_load_340 | 82 | 0.0017596 | 0.00044099 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_214-1_2_2_load_342 | 83 | 0.0053578 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_214-1_2_2_load_348 | 85 | 0.00031993 | 8.0182e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_214-1_2_2_load_349 | 86 | 0.0025667 | 0.00064327 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_214-1_2_2_load_350 | 87 | 0.00041021 | 0.00010281 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_214-1_2_2_load_352 | 88 | 0.0065249 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_214-1_2_2_load_353 | 89 | 0.00024965 | 6.2569e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_214-1_2_2_load_355 | 90 | 0.0025397 | 0.00063652 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_214-1_2_2_line_0 |  | 0 | 1 | 0.035653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_214-1_2_2_line_1 |  | 0 | 2 | 0.026886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_214-1_2_2_line_2 |  | 1 | 41 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_214-1_2_2_line_3 |  | 1 | 22 | 0.031847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_214-1_2_2_line_4 |  | 3 | 4 | 0.031332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_214-1_2_2_line_5 |  | 3 | 5 | 0.012583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_214-1_2_2_line_6 |  | 4 | 9 | 0.041378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_214-1_2_2_line_7 |  | 4 | 10 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_214-1_2_2_line_8 |  | 6 | 7 | 0.030822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_214-1_2_2_line_9 |  | 6 | 8 | 0.040704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_214-1_2_2_line_10 |  | 7 | 38 | 0.024753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_214-1_2_2_line_11 |  | 9 | 18 | 0.0076686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_214-1_2_2_line_12 |  | 10 | 47 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_214-1_2_2_line_13 |  | 11 | 12 | 0.0046458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_214-1_2_2_line_14 |  | 11 | 13 | 0.045784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_214-1_2_2_line_15 |  | 12 | 53 | 0.065223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_214-1_2_2_line_16 |  | 13 | 20 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_214-1_2_2_line_17 |  | 14 | 15 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_214-1_2_2_line_18 |  | 14 | 16 | 0.002145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_214-1_2_2_line_19 |  | 15 | 54 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_214-1_2_2_line_20 |  | 16 | 43 | 0.020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_214-1_2_2_line_21 |  | 17 | 18 | 0.018674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_214-1_2_2_line_22 |  | 17 | 19 | 0.0090717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_214-1_2_2_line_23 |  | 19 | 20 | 0.01295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_214-1_2_2_line_24 |  | 20 | 21 | 0.030986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_214-1_2_2_line_25 |  | 20 | 22 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_214-1_2_2_line_26 |  | 21 | 42 | 0.011397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_214-1_2_2_line_27 |  | 23 | 24 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_214-1_2_2_line_28 |  | 23 | 25 | 0.00025978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_214-1_2_2_line_29 |  | 24 | 26 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_214-1_2_2_line_30 |  | 25 | 27 | 0.0237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_214-1_2_2_line_31 |  | 26 | 28 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_214-1_2_2_line_32 |  | 28 | 38 | 0.015035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_214-1_2_2_line_33 |  | 28 | 39 | 0.0062627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_214-1_2_2_line_34 |  | 29 | 30 | 0.0074945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_214-1_2_2_line_35 |  | 30 | 33 | 0.0082197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_214-1_2_2_line_36 |  | 30 | 34 | 0.0097022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_214-1_2_2_line_37 |  | 31 | 32 | 0.0041101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_214-1_2_2_line_38 |  | 32 | 35 | 0.0057085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_214-1_2_2_line_39 |  | 33 | 36 | 0.0049173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_214-1_2_2_line_40 |  | 34 | 37 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_214-1_2_2_line_41 |  | 35 | 59 | 0.01794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_214-1_2_2_line_42 |  | 36 | 61 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_214-1_2_2_line_43 |  | 37 | 60 | 0.0082263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_214-1_2_2_line_44 |  | 37 | 59 | 0.0069354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_214-1_2_2_line_45 |  | 39 | 40 | 0.0049258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_214-1_2_2_line_46 |  | 40 | 64 | 0.0045346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_214-1_2_2_line_47 |  | 41 | 43 | 0.028946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_214-1_2_2_line_48 |  | 42 | 60 | 0.0044203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_214-1_2_2_line_49 |  | 44 | 45 | 0.032283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_214-1_2_2_line_50 |  | 44 | 46 | 0.058319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_214-1_2_2_line_51 |  | 46 | 75 | 0.024204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_214-1_2_2_line_52 |  | 46 | 80 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_214-1_2_2_line_53 |  | 46 | 72 | 0.030068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_214-1_2_2_line_54 |  | 48 | 49 | 0.083321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_214-1_2_2_line_55 |  | 49 | 50 | 0.062382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_214-1_2_2_line_56 |  | 49 | 51 | 0.048628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_214-1_2_2_line_57 |  | 51 | 52 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_214-1_2_2_line_58 |  | 52 | 55 | 0.016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_214-1_2_2_line_59 |  | 55 | 56 | 0.00080091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_214-1_2_2_line_60 |  | 56 | 57 | 0.020512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_214-1_2_2_line_61 |  | 57 | 58 | 0.010896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_214-1_2_2_line_62 |  | 58 | 77 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_214-1_2_2_line_63 |  | 58 | 78 | 0.0081374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_214-1_2_2_line_64 |  | 61 | 62 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_214-1_2_2_line_65 |  | 61 | 63 | 0.002237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_214-1_2_2_line_66 |  | 62 | 64 | 0.004518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_214-1_2_2_line_67 |  | 63 | 65 | 0.007461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_214-1_2_2_line_68 |  | 63 | 66 | 0.024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_214-1_2_2_line_69 |  | 65 | 71 | 0.0078307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_214-1_2_2_line_70 |  | 66 | 79 | 0.019898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_214-1_2_2_line_71 |  | 67 | 68 | 0.028386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_214-1_2_2_line_72 |  | 68 | 69 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_214-1_2_2_line_73 |  | 69 | 70 | 0.0095603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_214-1_2_2_line_74 |  | 70 | 71 | 0.00040974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_214-1_2_2_line_75 |  | 72 | 73 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_214-1_2_2_line_76 |  | 73 | 79 | 0.0018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_214-1_2_2_line_77 |  | 74 | 75 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_214-1_2_2_line_78 |  | 74 | 76 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_214-1_2_2_line_79 |  | 76 | 86 | 0.058833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_214-1_2_2_line_80 |  | 76 | 88 | 0.024131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_214-1_2_2_line_81 |  | 78 | 84 | 0.034706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_214-1_2_2_line_82 |  | 80 | 81 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_214-1_2_2_line_83 |  | 81 | 82 | 0.0015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_214-1_2_2_line_84 |  | 82 | 83 | 0.0053499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_214-1_2_2_line_85 |  | 84 | 85 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_214-1_2_2_line_86 |  | 84 | 86 | 0.01039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_214-1_2_2_line_87 |  | 85 | 87 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_214-1_2_2_line_88 |  | 88 | 89 | 0.001636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_214-1_2_2_line_89 |  | 89 | 90 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_214-1_2_2_trafo_224 | 0.63 MVA 20/0.4 kV | 91 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2697234.4024 | 1268849.527 | 2697250.0601 | 1268854.4333 | 2697269.2249 | 1268857.0843
1 | 2697234.4024 | 1268849.527 | 2697229.5644 | 1268861.7577 | 2697220.4639 | 1268872.0424
2 | 2697269.2249 | 1268857.0843 | 2697266.3562 | 1268881.8804
3 | 2697269.2249 | 1268857.0843 | 2697288.705 | 1268859.785 | 2697300.729 | 1268861.7322
4 | 2697327.2471 | 1268745.8021 | 2697328.5233 | 1268757.8776 | 2697329.6452 | 1268777.0344
5 | 2697327.2471 | 1268745.8021 | 2697339.4263 | 1268748.9648
6 | 2697329.6452 | 1268777.0344 | 2697327.4362 | 1268808.7579 | 2697325.946 | 1268818.2188
7 | 2697329.6452 | 1268777.0344 | 2697344.5575 | 1268779.1071
8 | 2697439.5141 | 1268770.7509 | 2697425.2979 | 1268798.0988
9 | 2697439.5141 | 1268770.7509 | 2697469.628 | 1268781.3231 | 2697477.2203 | 1268785.7489
10 | 2697425.2979 | 1268798.0988 | 2697417.0637 | 1268813.9392 | 2697414.9393 | 1268820.5041
11 | 2697324.7528 | 1268825.7939 | 2697325.946 | 1268818.2188
12 | 2697344.5575 | 1268779.1071 | 2697355.0543 | 1268780.5661
13 | 2697320.1305 | 1268928.2154 | 2697321.8176 | 1268932.544
14 | 2697320.1305 | 1268928.2154 | 2697316.9888 | 1268911.9611 | 2697314.8209 | 1268882.8126
15 | 2697321.8176 | 1268932.544 | 2697329.7059 | 1268952.7825 | 2697347.7496 | 1268992.3652
16 | 2697316.3174 | 1268865.4778 | 2697314.7646 | 1268882.055 | 2697314.8209 | 1268882.8126
17 | 2697222.2863 | 1268907.4428 | 2697231.6525 | 1268918.6952
18 | 2697231.6525 | 1268918.6952 | 2697233.1021 | 1268917.1142
19 | 2697232.043 | 1268884.473 | 2697225.1713 | 1268891.766 | 2697221.519 | 1268899.1899 | 2697222.2863 | 1268907.4428
20 | 2697233.1021 | 1268917.1142 | 2697241.7772 | 1268907.6526 | 2697247.4376 | 1268903.0508
21 | 2697324.7528 | 1268825.7939 | 2697323.9054 | 1268831.174 | 2697321.8505 | 1268844.2405
22 | 2697320.4412 | 1268853.2021 | 2697321.8505 | 1268844.2405
23 | 2697316.3174 | 1268865.4778 | 2697320.4412 | 1268853.2021 | 2697320.4412 | 1268853.2021
24 | 2697316.3174 | 1268865.4778 | 2697341.7427 | 1268883.3004
25 | 2697316.3174 | 1268865.4778 | 2697306.9765 | 1268862.7439 | 2697300.729 | 1268861.7322
26 | 2697341.7427 | 1268883.3004 | 2697350.6733 | 1268876.2194
27 | 2697439.3599 | 1268844.3712 | 2697450.5726 | 1268850.9227 | 2697464.5536 | 1268855.2244
28 | 2697464.8019 | 1268855.3007 | 2697464.5536 | 1268855.2244
29 | 2697439.3599 | 1268844.3712 | 2697439.3305 | 1268844.354 | 2697429.3186 | 1268840.9582
30 | 2697482.2945 | 1268851.602 | 2697480.9101 | 1268857.9512 | 2697478.4908 | 1268859.5126 | 2697464.8019 | 1268855.3007
31 | 2697412.5868 | 1268835.2832 | 2697429.3186 | 1268840.9582
32 | 2697412.5868 | 1268835.2832 | 2697413.6453 | 1268824.5028 | 2697414.9393 | 1268820.5041
33 | 2697412.5868 | 1268835.2832 | 2697411.214 | 1268841.3936
34 | 2697378.1996 | 1268866.5871 | 2697378.4083 | 1268859.0955
35 | 2697378.1996 | 1268866.5871 | 2697382.3865 | 1268865.5552 | 2697386.2053 | 1268866.3834
36 | 2697378.1996 | 1268866.5871 | 2697377.7137 | 1268869.5816 | 2697371.046 | 1268869.4758
37 | 2697374.4935 | 1268842.0928 | 2697372.9358 | 1268842.1021 | 2697370.5658 | 1268843.0495
38 | 2697365.7734 | 1268845.92 | 2697367.2456 | 1268844.3769 | 2697370.5658 | 1268843.0495
39 | 2697391.0109 | 1268867.4255 | 2697386.2053 | 1268866.3834
40 | 2697359.7745 | 1268869.2969 | 2697371.046 | 1268869.4758
41 | 2697365.7734 | 1268845.92 | 2697363.2245 | 1268848.5919 | 2697361.8097 | 1268862.7687
42 | 2697404.6989 | 1268870.3937 | 2697391.0109 | 1268867.4255
43 | 2697359.7745 | 1268869.2969 | 2697357.087 | 1268871.143 | 2697352.2094 | 1268872.0745
44 | 2697359.7745 | 1268869.2969 | 2697361.5293 | 1268865.5782 | 2697361.8097 | 1268862.7687
45 | 2697410.1343 | 1268846.1996 | 2697411.214 | 1268841.3936
46 | 2697409.1404 | 1268850.6239 | 2697410.1343 | 1268846.1996
47 | 2697266.3562 | 1268881.8804 | 2697266.355 | 1268881.8911 | 2697263.4284 | 1268888.6597 | 2697258.0802 | 1268894.3987 | 2697247.4376 | 1268903.0508
48 | 2697352.2094 | 1268872.0745 | 2697350.6733 | 1268876.2194
49 | 2697505.254 | 1268877.4247 | 2697507.774 | 1268878.8786 | 2697510.927 | 1268908.0885
50 | 2697453.0143 | 1268915.9508 | 2697461.6655 | 1268913.9473 | 2697495.6887 | 1268909.705 | 2697510.927 | 1268908.0885
51 | 2697453.0143 | 1268915.9508 | 2697446.7159 | 1268921.7851 | 2697436.889 | 1268933.9253
52 | 2697453.0143 | 1268915.9508 | 2697451.9519 | 1268897.1696
53 | 2697453.0143 | 1268915.9508 | 2697445.01 | 1268915.6963 | 2697422.8751 | 1268916.532
54 | 2697296.3105 | 1269129.9476 | 2697293.5934 | 1269133.606 | 2697289.3929 | 1269139.5863 | 2697262.9027 | 1269177.3262 | 2697247.9862 | 1269197.8191
55 | 2697296.3105 | 1269129.9476 | 2697328.2671 | 1269153.2824 | 2697333.0541 | 1269154.1842 | 2697336.0095 | 1269152.5093 | 2697337.201 | 1269148.7146 | 2697336.8989 | 1269144.217 | 2697332.2313 | 1269140.1812
56 | 2697296.3105 | 1269129.9476 | 2697314.6376 | 1269105.2843 | 2697326.751 | 1269092.1053
57 | 2697334.6152 | 1269083.5492 | 2697326.751 | 1269092.1053
58 | 2697347.3868 | 1269072.9798 | 2697336.0738 | 1269081.9623 | 2697334.6152 | 1269083.5492
59 | 2697347.3868 | 1269072.9798 | 2697348.0141 | 1269072.4818
60 | 2697364.0785 | 1269059.7266 | 2697348.0141 | 1269072.4818
61 | 2697372.6119 | 1269052.9511 | 2697364.0785 | 1269059.7266
62 | 2697372.6119 | 1269052.9511 | 2697384.5956 | 1269078.6047
63 | 2697372.6119 | 1269052.9511 | 2697376.389 | 1269045.7435
64 | 2697404.6989 | 1268870.3937 | 2697408.1501 | 1268855.0321
65 | 2697403.9267 | 1268872.4939 | 2697404.6989 | 1268870.3937
66 | 2697408.1501 | 1268855.0321 | 2697409.1404 | 1268850.6239
67 | 2697403.9267 | 1268872.4939 | 2697401.4247 | 1268879.5252
68 | 2697403.9267 | 1268872.4939 | 2697427.9204 | 1268878.5278
69 | 2697401.4247 | 1268879.5252 | 2697399.1165 | 1268887.008
70 | 2697429.3123 | 1268896.6604 | 2697432.0589 | 1268888.1819 | 2697431.9445 | 1268884.6215 | 2697430.422 | 1268881.1046 | 2697427.9204 | 1268878.5278
71 | 2697392.5104 | 1268908.4247 | 2697366.2127 | 1268897.738
72 | 2697392.5104 | 1268908.4247 | 2697396.1778 | 1268896.535
73 | 2697396.1778 | 1268896.535 | 2697398.9958 | 1268887.3995
74 | 2697399.1165 | 1268887.008 | 2697398.9958 | 1268887.3995
75 | 2697422.8751 | 1268916.532 | 2697428.7398 | 1268898.4278
76 | 2697428.7398 | 1268898.4278 | 2697429.3123 | 1268896.6604
77 | 2697429.7587 | 1268942.7341 | 2697436.889 | 1268933.9253
78 | 2697429.7587 | 1268942.7341 | 2697424.8042 | 1268953.795
79 | 2697424.8042 | 1268953.795 | 2697417.1846 | 1268969.4603 | 2697397.4495 | 1269005.8686
80 | 2697424.8042 | 1268953.795 | 2697402.459 | 1268944.6843
81 | 2697392.4984 | 1269015.0027 | 2697376.389 | 1269045.7435
82 | 2697451.9519 | 1268897.1696 | 2697451.2255 | 1268884.3281 | 2697455.0532 | 1268881.8002 | 2697466.683 | 1268881.9573
83 | 2697466.683 | 1268881.9573 | 2697468.2457 | 1268881.9784
84 | 2697473.5951 | 1268882.0507 | 2697468.2457 | 1268881.9784
85 | 2697392.4984 | 1269015.0027 | 2697398.3763 | 1269022.7838 | 2697404.4668 | 1269040.032 | 2697406.6088 | 1269042.8315
86 | 2697392.4984 | 1269015.0027 | 2697397.4495 | 1269005.8686
87 | 2697418.3482 | 1269055.7084 | 2697413.2049 | 1269051.4523 | 2697406.6088 | 1269042.8315
88 | 2697402.459 | 1268944.6843 | 2697400.9441 | 1268944.0666
89 | 2697390.7913 | 1268943.2811 | 2697397.2611 | 1268942.5649 | 2697400.9441 | 1268944.0666

## bus_geodata
| x | y | coords
0 | 2697234.4023 | 1268849.527
1 | 2697269.2249 | 1268857.0843
2 | 2697220.4639 | 1268872.0424
3 | 2697327.2471 | 1268745.8021
4 | 2697329.6452 | 1268777.0344
5 | 2697339.4263 | 1268748.9648
6 | 2697439.5141 | 1268770.7509
7 | 2697425.2979 | 1268798.0988
8 | 2697477.2203 | 1268785.7489
9 | 2697325.946 | 1268818.2188
10 | 2697344.5575 | 1268779.1071
11 | 2697320.1305 | 1268928.2154
12 | 2697321.8176 | 1268932.544
13 | 2697314.8209 | 1268882.8126
14 | 2697231.6525 | 1268918.6952
15 | 2697222.2863 | 1268907.4428
16 | 2697233.1021 | 1268917.1142
17 | 2697321.8505 | 1268844.2405
18 | 2697324.7528 | 1268825.7939
19 | 2697320.4412 | 1268853.2021
20 | 2697316.3174 | 1268865.4778
21 | 2697341.7427 | 1268883.3004
22 | 2697300.729 | 1268861.7322
23 | 2697464.5536 | 1268855.2244
24 | 2697439.3599 | 1268844.3712
25 | 2697464.8019 | 1268855.3007
26 | 2697429.3186 | 1268840.9582
27 | 2697482.2945 | 1268851.602
28 | 2697412.5868 | 1268835.2832
29 | 2697378.4083 | 1268859.0955
30 | 2697378.1996 | 1268866.5871
31 | 2697374.4935 | 1268842.0928
32 | 2697370.5658 | 1268843.0495
33 | 2697386.2053 | 1268866.3834
34 | 2697371.046 | 1268869.4758
35 | 2697365.7734 | 1268845.92
36 | 2697391.0109 | 1268867.4255
37 | 2697359.7745 | 1268869.2969
38 | 2697414.9393 | 1268820.5041
39 | 2697411.214 | 1268841.3936
40 | 2697410.1343 | 1268846.1996
41 | 2697266.3562 | 1268881.8804
42 | 2697350.6733 | 1268876.2194
43 | 2697247.4376 | 1268903.0508
44 | 2697510.927 | 1268908.0885
45 | 2697505.254 | 1268877.4247
46 | 2697453.0143 | 1268915.9508
47 | 2697355.0543 | 1268780.5661
48 | 2697247.9862 | 1269197.8191
49 | 2697296.3105 | 1269129.9476
50 | 2697332.2313 | 1269140.1812
51 | 2697326.751 | 1269092.1053
52 | 2697334.6152 | 1269083.5492
53 | 2697347.7496 | 1268992.3652
54 | 2697232.043 | 1268884.473
55 | 2697347.3868 | 1269072.9798
56 | 2697348.0141 | 1269072.4818
57 | 2697364.0785 | 1269059.7266
58 | 2697372.6119 | 1269052.9511
59 | 2697361.8097 | 1268862.7687
60 | 2697352.2094 | 1268872.0745
61 | 2697404.6989 | 1268870.3937
62 | 2697408.1501 | 1268855.0321
63 | 2697403.9267 | 1268872.4939
64 | 2697409.1404 | 1268850.6239
65 | 2697401.4247 | 1268879.5252
66 | 2697427.9204 | 1268878.5278
67 | 2697366.2127 | 1268897.738
68 | 2697392.5104 | 1268908.4247
69 | 2697396.1778 | 1268896.535
70 | 2697398.9958 | 1268887.3995
71 | 2697399.1165 | 1268887.008
72 | 2697422.8751 | 1268916.532
73 | 2697428.7398 | 1268898.4278
74 | 2697429.7587 | 1268942.7341
75 | 2697436.889 | 1268933.9253
76 | 2697424.8042 | 1268953.795
77 | 2697384.5956 | 1269078.6047
78 | 2697376.389 | 1269045.7435
79 | 2697429.3123 | 1268896.6604
80 | 2697451.9519 | 1268897.1696
81 | 2697466.683 | 1268881.9573
82 | 2697468.2457 | 1268881.9784
83 | 2697473.5951 | 1268882.0507
84 | 2697392.4984 | 1269015.0027
85 | 2697406.6088 | 1269042.8315
86 | 2697397.4495 | 1269005.8686
87 | 2697418.3482 | 1269055.7084
88 | 2697402.459 | 1268944.6843
89 | 2697400.9441 | 1268944.0666
90 | 2697390.7913 | 1268943.2811
91 | 2697378.1996 | 1268866.5871

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99673 | -0.062963 | 0 | 0
1 | 0.99678 | -0.061927 | 0 | 0
2 | 0.99669 | -0.063744 | 0.0016552 | 0.00041484
3 | 0.99668 | -0.063893 | 0 | 0
4 | 0.99678 | -0.061926 | 0 | 0
5 | 0.99664 | -0.064683 | 0.0035773 | 0.00089657
6 | 0.99588 | -0.079075 | 0 | 0
7 | 0.99596 | -0.077585 | 0.0037651 | 0.00094361
8 | 0.99578 | -0.081042 | 0.0027488 | 0.00068891
9 | 0.99702 | -0.057274 | 0.0018827 | 0.00047186
10 | 0.99674 | -0.062673 | 0.001379 | 0.00034562
11 | 0.9972 | -0.053815 | 0 | 0
12 | 0.99718 | -0.05422 | 0.0040296 | 0.0010099
13 | 0.99741 | -0.049828 | 0.0013234 | 0.00033168
14 | 0.99594 | -0.078048 | 0 | 0
15 | 0.99583 | -0.080179 | 0 | 0
16 | 0.99596 | -0.077735 | 0.00064853 | 0.00016254
17 | 0.99723 | -0.053202 | 0.0037495 | 0.00093972
18 | 0.99708 | -0.056159 | 0.00073807 | 0.00018498
19 | 0.99734 | -0.05117 | 0.0015924 | 0.00039909
20 | 0.99751 | -0.047909 | 0 | 0
21 | 0.99861 | -0.026638 | 0 | 0
22 | 0.99724 | -0.053132 | 0.0028126 | 0.0007049
23 | 0.9958 | -0.080775 | 0.0015446 | 0.00038711
24 | 0.99592 | -0.078313 | 0.0052214 | 0.0013086
25 | 0.9958 | -0.080791 | 0.0019663 | 0.0004928
26 | 0.99602 | -0.076394 | 0.0050617 | 0.0012686
27 | 0.99576 | -0.081442 | 0.0015611 | 0.00039125
28 | 0.99627 | -0.071628 | 0 | 0
29 | 0.99923 | -0.014831 | 0.0026772 | 0.00067096
30 | 0.99924 | -0.014481 | 0 | 0
31 | 0.9994 | -0.011593 | 0.0010435 | 0.00026152
32 | 0.9994 | -0.011518 | 0.0009065 | 0.00022719
33 | 0.99862 | -0.026382 | 0.0011727 | 0.0002939
34 | 1 | 0 | -0.13583 | -0.033812
35 | 0.99941 | -0.011324 | 0.0019032 | 0.000477
36 | 0.99826 | -0.033408 | 0.00074692 | 0.0001872
37 | 0.99951 | -0.0094638 | 0 | 0
38 | 0.99611 | -0.074751 | 0.0053082 | 0.0013303
39 | 0.99643 | -0.068639 | 0.00077685 | 0.0001947
40 | 0.99655 | -0.066222 | 0.00075106 | 0.00018823
41 | 0.99646 | -0.068099 | 0.0013529 | 0.00033906
42 | 0.99902 | -0.018825 | 0.0025541 | 0.00064011
43 | 0.99612 | -0.074572 | 0.0037929 | 0.0009506
44 | 0.99371 | -0.12104 | 0 | 0
45 | 0.99364 | -0.12234 | 0.0022854 | 0.00057276
46 | 0.99383 | -0.11868 | 0 | 0
47 | 0.99673 | -0.062943 | 0.0014511 | 0.00036368
48 | 0.99169 | -0.1601 | 0.00047194 | 0.00011828
49 | 0.99173 | -0.1594 | 0 | 0
50 | 0.99169 | -0.16013 | 0.00065469 | 0.00016408
51 | 0.99178 | -0.15842 | 0.00077057 | 0.00019312
52 | 0.9918 | -0.15803 | 0.0012237 | 0.00030668
53 | 0.99712 | -0.055292 | 0.00093693 | 0.00023482
54 | 0.99563 | -0.084052 | 0.0082928 | 0.0020784
55 | 0.99185 | -0.15711 | 0.0014886 | 0.00037307
56 | 0.99185 | -0.15705 | 0.00082813 | 0.00020755
57 | 0.99195 | -0.15507 | 0.00098963 | 0.00024802
58 | 0.99202 | -0.15383 | 0 | 0
59 | 0.99947 | -0.010117 | 0.0015458 | 0.00038741
60 | 0.99919 | -0.0156 | 0.00095375 | 0.00023903
61 | 0.99722 | -0.053264 | 0 | 0
62 | 0.99679 | -0.061602 | 0.00074561 | 0.00018687
63 | 0.99712 | -0.055255 | 0 | 0
64 | 0.99667 | -0.063937 | 0.00074561 | 0.00018687
65 | 0.99707 | -0.056133 | 0 | 0
66 | 0.99613 | -0.074379 | 0.0039741 | 0.00099601
67 | 0.99696 | -0.058309 | 0.0011188 | 0.00028039
68 | 0.99699 | -0.057752 | 0 | 0
69 | 0.997 | -0.057508 | 0.0013865 | 0.0003475
70 | 0.99702 | -0.057088 | 0.0019975 | 0.00050061
71 | 0.99703 | -0.057055 | 0.0022115 | 0.00055425
72 | 0.99475 | -0.10087 | 0 | 0
73 | 0.99533 | -0.089614 | 0.0036563 | 0.00091635
74 | 0.99316 | -0.13163 | 0 | 0
75 | 0.99337 | -0.12765 | 0.0010845 | 0.00027181
76 | 0.99294 | -0.13589 | 0 | 0
77 | 0.992 | -0.15406 | 0.00047086 | 0.00011801
78 | 0.99207 | -0.15283 | 0.00036362 | 9.1132e-05
79 | 0.9954 | -0.088397 | 0.0028152 | 0.00070555
80 | 0.99365 | -0.12212 | 0.0016524 | 0.00041413
81 | 0.99342 | -0.12658 | 0.0015678 | 0.00039292
82 | 0.99341 | -0.12677 | 0.0017596 | 0.00044099
83 | 0.99338 | -0.12728 | 0.0053578 | 0.0013428
84 | 0.9923 | -0.14836 | 0 | 0
85 | 0.99228 | -0.14877 | 0.00031993 | 8.0182e-05
86 | 0.99237 | -0.14689 | 0.0025667 | 0.00064327
87 | 0.99227 | -0.1489 | 0.00041021 | 0.00010281
88 | 0.99273 | -0.13986 | 0.0065249 | 0.0016353
89 | 0.99273 | -0.13994 | 0.00024965 | 6.2569e-05
90 | 0.99271 | -0.14041 | 0.0025397 | 0.00063652
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0016553 | -0.00041453 | 0.0016554 | 0.00041412 | 8.1636e-08 | -4.1246e-07 | 0.0024711 | 0.0024709 | 0.0024711 | 0.99673 | -0.062963 | 0.99678 | -0.061927 | 0.67887
1 | 0.0016553 | 0.00041453 | -0.0016552 | -0.00041484 | 6.1568e-08 | -3.11e-07 | 0.0024711 | 0.0024712 | 0.0024712 | 0.99673 | -0.062963 | 0.99669 | -0.063744 | 0.67891
2 | 0.014099 | 0.0035367 | -0.014095 | -0.0035343 | 4.1471e-06 | 2.3289e-06 | 0.021049 | 0.021049 | 0.021049 | 0.99678 | -0.061927 | 0.99646 | -0.068099 | 5.7826
3 | -0.015754 | -0.0039508 | 0.015761 | 0.0039546 | 6.6062e-06 | 3.8127e-06 | 0.023519 | 0.023519 | 0.023519 | 0.99678 | -0.061927 | 0.99724 | -0.053132 | 6.4614
4 | -0.0035775 | -0.00089649 | 0.0035778 | 0.0008963 | 3.3517e-07 | -1.9386e-07 | 0.0053411 | 0.0053409 | 0.0053411 | 0.99668 | -0.063893 | 0.99678 | -0.061926 | 1.4673
5 | 0.0035775 | 0.00089649 | -0.0035773 | -0.00089657 | 1.3461e-07 | -7.783e-08 | 0.0053411 | 0.0053411 | 0.0053411 | 0.99668 | -0.063893 | 0.99664 | -0.064683 | 1.4673
6 | -0.0064081 | -0.0016053 | 0.0064095 | 0.0016057 | 1.4199e-06 | 3.6922e-07 | 0.0095659 | 0.0095657 | 0.0095659 | 0.99678 | -0.061926 | 0.99702 | -0.057274 | 2.628
7 | 0.0028303 | 0.00070905 | -0.0028302 | -0.00070918 | 1.0078e-07 | -1.3174e-07 | 0.004225 | 0.0042251 | 0.0042251 | 0.99678 | -0.061926 | 0.99674 | -0.062673 | 1.1607
8 | -0.002749 | -0.00068854 | 0.0027492 | 0.00068826 | 1.9499e-07 | -2.7628e-07 | 0.0041073 | 0.0041072 | 0.0041073 | 0.99588 | -0.079075 | 0.99596 | -0.077585 | 1.1284
9 | 0.002749 | 0.00068854 | -0.0027488 | -0.00068891 | 2.5752e-07 | -3.6475e-07 | 0.0041073 | 0.0041075 | 0.0041075 | 0.99588 | -0.079075 | 0.99578 | -0.081042 | 1.1284
10 | -0.0065143 | -0.0016319 | 0.0065152 | 0.0016321 | 8.7921e-07 | 2.4052e-07 | 0.0097324 | 0.0097323 | 0.0097324 | 0.99596 | -0.077585 | 0.99611 | -0.074751 | 2.6737
11 | -0.0082922 | -0.0020776 | 0.0082927 | 0.0020777 | 4.4043e-07 | 1.8186e-07 | 0.012376 | 0.012376 | 0.012376 | 0.99702 | -0.057274 | 0.99708 | -0.056159 | 3.3999
12 | 0.0014511 | 0.00036356 | -0.0014511 | -0.00036368 | 1.8651e-08 | -1.2619e-07 | 0.0021663 | 0.0021664 | 0.0021664 | 0.99674 | -0.062673 | 0.99673 | -0.062943 | 0.59515
13 | 0.0049667 | 0.0012439 | -0.0049666 | -0.0012439 | 9.5684e-08 | 6.2985e-10 | 0.0074109 | 0.0074109 | 0.0074109 | 0.9972 | -0.053815 | 0.99718 | -0.05422 | 2.036
14 | -0.0049667 | -0.0012439 | 0.0049676 | 0.0012439 | 9.4293e-07 | 6.052e-09 | 0.0074109 | 0.0074107 | 0.0074109 | 0.9972 | -0.053815 | 0.99741 | -0.049828 | 2.036
15 | 0.00093698 | 0.000234 | -0.00093693 | -0.00023482 | 4.7805e-08 | -8.2021e-07 | 0.0013979 | 0.0013982 | 0.0013982 | 0.99718 | -0.05422 | 0.99712 | -0.055292 | 0.38412
16 | -0.006291 | -0.0015756 | 0.0062916 | 0.0015757 | 5.7503e-07 | 1.4078e-07 | 0.0093851 | 0.009385 | 0.0093851 | 0.99741 | -0.049828 | 0.99751 | -0.047909 | 2.5783
17 | 0.0082952 | 0.0020794 | -0.0082943 | -0.002079 | 8.4226e-07 | 3.4879e-07 | 0.012394 | 0.012394 | 0.012394 | 0.99594 | -0.078048 | 0.99583 | -0.080179 | 3.4049
18 | -0.0082952 | -0.0020794 | 0.0082953 | 0.0020794 | 1.2356e-07 | 5.1164e-08 | 0.012394 | 0.012394 | 0.012394 | 0.99594 | -0.078048 | 0.99596 | -0.077735 | 3.4049
19 | 0.0082943 | 0.002079 | -0.0082928 | -0.0020784 | 1.5303e-06 | 6.3383e-07 | 0.012394 | 0.012394 | 0.012394 | 0.99583 | -0.080179 | 0.99563 | -0.084052 | 3.4049
20 | -0.0089438 | -0.0022419 | 0.0089452 | 0.0022425 | 1.348e-06 | 6.007e-07 | 0.013363 | 0.013363 | 0.013363 | 0.99596 | -0.077735 | 0.99612 | -0.074572 | 3.6711
21 | 0.009032 | 0.0022633 | -0.0090307 | -0.0022627 | 1.2719e-06 | 5.7041e-07 | 0.013477 | 0.013477 | 0.013477 | 0.99723 | -0.053202 | 0.99708 | -0.056159 | 3.7025
22 | -0.012782 | -0.003203 | 0.012783 | 0.0032037 | 1.2374e-06 | 6.7355e-07 | 0.019072 | 0.019072 | 0.019072 | 0.99723 | -0.053202 | 0.99734 | -0.05117 | 5.2395
23 | -0.014375 | -0.0036028 | 0.014377 | 0.003604 | 2.2338e-06 | 1.2606e-06 | 0.021448 | 0.021448 | 0.021448 | 0.99734 | -0.05117 | 0.99751 | -0.047909 | 5.8922
24 | -0.039247 | -0.009842 | 0.039287 | 0.0098671 | 3.9832e-05 | 2.5087e-05 | 0.058549 | 0.058548 | 0.058549 | 0.99751 | -0.047909 | 0.99861 | -0.026638 | 16.0848
25 | 0.018578 | 0.0046623 | -0.018574 | -0.0046595 | 4.6268e-06 | 2.7516e-06 | 0.027716 | 0.027716 | 0.027716 | 0.99751 | -0.047909 | 0.99724 | -0.053132 | 7.6143
26 | -0.039287 | -0.0098671 | 0.039302 | 0.0098763 | 1.4651e-05 | 9.2273e-06 | 0.058548 | 0.058548 | 0.058548 | 0.99861 | -0.026638 | 0.99902 | -0.018825 | 16.0847
27 | -0.005072 | -0.0012709 | 0.0050726 | 0.0012709 | 5.9482e-07 | 2.1397e-08 | 0.007579 | 0.0075789 | 0.007579 | 0.9958 | -0.080775 | 0.99592 | -0.078313 | 2.0822
28 | 0.0035275 | 0.00088377 | -0.0035275 | -0.00088377 | 2.7068e-09 | -1.6468e-09 | 0.005271 | 0.005271 | 0.005271 | 0.9958 | -0.080775 | 0.9958 | -0.080791 | 1.4481
29 | -0.010294 | -0.0025795 | 0.010295 | 0.00258 | 9.4084e-07 | 4.6411e-07 | 0.01538 | 0.01538 | 0.01538 | 0.99592 | -0.078313 | 0.99602 | -0.076394 | 4.2253
30 | 0.0015612 | 0.00039098 | -0.0015611 | -0.00039125 | 4.8366e-08 | -2.7735e-07 | 0.0023328 | 0.0023329 | 0.0023329 | 0.9958 | -0.080791 | 0.99576 | -0.081442 | 0.6409
31 | -0.015357 | -0.0038486 | 0.01536 | 0.0038506 | 3.4873e-06 | 2.0019e-06 | 0.022942 | 0.022942 | 0.022942 | 0.99602 | -0.076394 | 0.99627 | -0.071628 | 6.3028
32 | 0.011825 | 0.0029634 | -0.011823 | -0.0029625 | 1.7588e-06 | 9.2985e-07 | 0.017662 | 0.017662 | 0.017662 | 0.99627 | -0.071628 | 0.99611 | -0.074751 | 4.8521
33 | -0.027185 | -0.006814 | 0.027189 | 0.0068164 | 3.8719e-06 | 2.3964e-06 | 0.040604 | 0.040604 | 0.040604 | 0.99627 | -0.071628 | 0.99643 | -0.068639 | 11.1549
34 | -0.0026772 | -0.00067096 | 0.0026772 | 0.00067089 | 4.4669e-08 | -6.9584e-08 | 0.0039867 | 0.0039867 | 0.0039867 | 0.99923 | -0.014831 | 0.99924 | -0.014481 | 1.0953
35 | 0.083195 | 0.020968 | -0.083147 | -0.020938 | 4.7342e-05 | 3.0191e-05 | 0.12393 | 0.12393 | 0.12393 | 0.99924 | -0.014481 | 0.99862 | -0.026382 | 34.0468
36 | -0.085872 | -0.021639 | 0.085931 | 0.021677 | 5.9533e-05 | 3.7974e-05 | 0.12792 | 0.12792 | 0.12792 | 0.99924 | -0.014481 | 1 | 0 | 35.142
37 | -0.0010435 | -0.00026152 | 0.0010435 | 0.00026147 | 3.7204e-09 | -5.1476e-08 | 0.0015536 | 0.0015536 | 0.0015536 | 0.9994 | -0.011593 | 0.9994 | -0.011518 | 0.42683
38 | -0.00195 | -0.00048866 | 0.00195 | 0.00048859 | 1.8044e-08 | -6.3254e-08 | 0.0029033 | 0.0029033 | 0.0029033 | 0.9994 | -0.011518 | 0.99941 | -0.011324 | 0.79761
39 | 0.081975 | 0.020644 | -0.081947 | -0.020627 | 2.7528e-05 | 1.7554e-05 | 0.12218 | 0.12218 | 0.12218 | 0.99862 | -0.026382 | 0.99826 | -0.033408 | 33.5667
40 | 0.04825 | 0.012134 | -0.048228 | -0.01212 | 2.18e-05 | 1.3804e-05 | 0.071811 | 0.071811 | 0.071811 | 1 | 0 | 0.99951 | -0.0094638 | 19.7283
41 | -0.0038532 | -0.00096559 | 0.0038535 | 0.0009655 | 2.2142e-07 | -9.3386e-08 | 0.005737 | 0.0057369 | 0.005737 | 0.99941 | -0.011324 | 0.99947 | -0.010117 | 1.5761
42 | 0.0812 | 0.02044 | -0.081123 | -0.02039 | 7.6987e-05 | 4.9089e-05 | 0.12107 | 0.12107 | 0.12107 | 0.99826 | -0.033408 | 0.99722 | -0.053264 | 33.2609
43 | 0.042829 | 0.010767 | -0.042816 | -0.01076 | 1.2546e-05 | 7.9217e-06 | 0.063773 | 0.063773 | 0.063773 | 0.99951 | -0.0094638 | 0.99919 | -0.0156 | 17.52
44 | 0.0053994 | 0.0013529 | -0.0053992 | -0.0013529 | 1.6805e-07 | 1.6655e-08 | 0.0080382 | 0.0080383 | 0.0080383 | 0.99951 | -0.0094638 | 0.99947 | -0.010117 | 2.2083
45 | -0.027966 | -0.007011 | 0.027969 | 0.007013 | 3.2219e-06 | 1.9978e-06 | 0.041764 | 0.041764 | 0.041764 | 0.99643 | -0.068639 | 0.99655 | -0.066222 | 11.4736
46 | -0.02872 | -0.0072013 | 0.028723 | 0.0072032 | 3.1274e-06 | 1.9424e-06 | 0.042885 | 0.042885 | 0.042885 | 0.99655 | -0.066222 | 0.99667 | -0.063937 | 11.7817
47 | 0.012742 | 0.0031953 | -0.012738 | -0.0031931 | 3.9302e-06 | 2.1384e-06 | 0.019028 | 0.019029 | 0.019029 | 0.99646 | -0.068099 | 0.99612 | -0.074572 | 5.2276
48 | -0.041856 | -0.010516 | 0.041862 | 0.010521 | 6.4446e-06 | 4.0666e-06 | 0.062353 | 0.062353 | 0.062353 | 0.99902 | -0.018825 | 0.99919 | -0.0156 | 17.1298
49 | 0.0022855 | 0.00057243 | -0.0022854 | -0.00057276 | 1.4179e-07 | -3.2744e-07 | 0.0034223 | 0.0034224 | 0.0034224 | 0.99371 | -0.12104 | 0.99364 | -0.12234 | 0.94022
50 | -0.0022855 | -0.00057243 | 0.0022857 | 0.00057184 | 2.5611e-07 | -5.9169e-07 | 0.0034223 | 0.003422 | 0.0034223 | 0.99371 | -0.12104 | 0.99383 | -0.11868 | 0.94018
51 | 0.020985 | 0.0052633 | -0.020976 | -0.0052579 | 8.9614e-06 | 5.4218e-06 | 0.031421 | 0.031421 | 0.031421 | 0.99383 | -0.11868 | 0.99337 | -0.12765 | 8.6323
52 | 0.010341 | 0.0025925 | -0.01034 | -0.0025917 | 1.6912e-06 | 8.3867e-07 | 0.015484 | 0.015484 | 0.015484 | 0.99383 | -0.11868 | 0.99365 | -0.12212 | 4.2538
53 | -0.033612 | -0.0084277 | 0.033641 | 0.0084455 | 2.8559e-05 | 1.7888e-05 | 0.050327 | 0.050327 | 0.050327 | 0.99383 | -0.11868 | 0.99475 | -0.10087 | 13.8261
54 | -0.00047194 | -0.00011828 | 0.00047196 | 0.00011722 | 1.566e-08 | -1.065e-06 | 0.00070814 | 0.00070777 | 0.00070814 | 0.99169 | -0.1601 | 0.99173 | -0.1594 | 0.19455
55 | 0.00065471 | 0.00016329 | -0.00065469 | -0.00016408 | 2.2568e-08 | -7.9045e-07 | 0.00098207 | 0.00098235 | 0.00098235 | 0.99173 | -0.1594 | 0.99169 | -0.16013 | 0.26988
56 | -0.0011267 | -0.00028051 | 0.0011267 | 0.00027991 | 5.2065e-08 | -5.9416e-07 | 0.0016898 | 0.0016896 | 0.0016898 | 0.99173 | -0.1594 | 0.99178 | -0.15842 | 0.46424
57 | -0.0018973 | -0.00047303 | 0.0018973 | 0.00047291 | 3.5291e-08 | -1.2738e-07 | 0.0028457 | 0.0028457 | 0.0028457 | 0.99178 | -0.15842 | 0.9918 | -0.15803 | 0.7818
58 | -0.003121 | -0.00077958 | 0.0031211 | 0.00077946 | 1.3644e-07 | -1.2692e-07 | 0.0046816 | 0.0046815 | 0.0046816 | 0.9918 | -0.15803 | 0.99185 | -0.15711 | 1.2861
59 | -0.0046097 | -0.0011525 | 0.0046097 | 0.0011525 | 1.436e-08 | -1.1461e-09 | 0.0069147 | 0.0069147 | 0.0069147 | 0.99185 | -0.15711 | 0.99185 | -0.15705 | 1.8996
60 | -0.0054379 | -0.0013601 | 0.0054384 | 0.0013601 | 5.1182e-07 | 6.2798e-08 | 0.0081571 | 0.008157 | 0.0081571 | 0.99185 | -0.15705 | 0.99195 | -0.15507 | 2.241
61 | -0.006428 | -0.0016082 | 0.0064284 | 0.0016083 | 3.7984e-07 | 1.0243e-07 | 0.0096416 | 0.0096415 | 0.0096416 | 0.99195 | -0.15507 | 0.99202 | -0.15383 | 2.6488
62 | 0.00047086 | 0.00011765 | -0.00047086 | -0.00011801 | 5.2958e-09 | -3.6216e-07 | 0.00070616 | 0.00070629 | 0.00070629 | 0.99202 | -0.15383 | 0.992 | -0.15406 | 0.19404
63 | -0.0068992 | -0.0017259 | 0.0068996 | 0.001726 | 3.2674e-07 | 1.0405e-07 | 0.010348 | 0.010348 | 0.010348 | 0.99202 | -0.15383 | 0.99207 | -0.15283 | 2.8428
64 | 0.03023 | 0.0075865 | -0.030218 | -0.007579 | 1.2015e-05 | 7.4845e-06 | 0.045111 | 0.045111 | 0.045111 | 0.99722 | -0.053264 | 0.99679 | -0.061602 | 12.3933
65 | 0.050893 | 0.012804 | -0.050888 | -0.012801 | 4.84e-06 | 3.0684e-06 | 0.075958 | 0.075958 | 0.075958 | 0.99722 | -0.053264 | 0.99712 | -0.055255 | 20.8676
66 | 0.029472 | 0.0073921 | -0.029469 | -0.0073901 | 3.2799e-06 | 2.0402e-06 | 0.043998 | 0.043998 | 0.043998 | 0.99679 | -0.061602 | 0.99667 | -0.063937 | 12.0875
67 | 0.0067149 | 0.0016823 | -0.0067147 | -0.0016822 | 2.8094e-07 | 8.2487e-08 | 0.010021 | 0.010021 | 0.010021 | 0.99712 | -0.055255 | 0.99707 | -0.056133 | 2.7529
68 | 0.044174 | 0.011119 | -0.044133 | -0.011093 | 4.0338e-05 | 2.5494e-05 | 0.065938 | 0.065938 | 0.065938 | 0.99712 | -0.055255 | 0.99613 | -0.074379 | 18.1148
69 | 0.0067147 | 0.0016822 | -0.0067144 | -0.0016822 | 2.9486e-07 | 8.6585e-08 | 0.010021 | 0.010021 | 0.010021 | 0.99707 | -0.056133 | 0.99703 | -0.057055 | 2.7529
70 | 0.040159 | 0.010097 | -0.040132 | -0.01008 | 2.6864e-05 | 1.6934e-05 | 0.060001 | 0.060001 | 0.060001 | 0.99613 | -0.074379 | 0.9954 | -0.088397 | 16.4839
71 | -0.0011188 | -0.00028039 | 0.0011188 | 0.00028004 | 2.9679e-08 | -3.5116e-07 | 0.0016698 | 0.0016697 | 0.0016698 | 0.99696 | -0.058309 | 0.99699 | -0.057752 | 0.45875
72 | -0.0011188 | -0.00028004 | 0.0011188 | 0.00027989 | 1.3008e-08 | -1.5393e-07 | 0.0016697 | 0.0016697 | 0.0016697 | 0.99699 | -0.057752 | 0.997 | -0.057508 | 0.45871
73 | -0.0025054 | -0.00062739 | 0.0025054 | 0.00062729 | 5.0121e-08 | -9.2599e-08 | 0.003739 | 0.003739 | 0.003739 | 0.997 | -0.057508 | 0.99702 | -0.057088 | 1.0272
74 | -0.0045029 | -0.0011279 | 0.0045029 | 0.0011279 | 6.9392e-09 | -9.0273e-10 | 0.0067201 | 0.0067201 | 0.0067201 | 0.99702 | -0.057088 | 0.99703 | -0.057055 | 1.8462
75 | -0.033641 | -0.0084455 | 0.033659 | 0.0084569 | 1.8075e-05 | 1.1321e-05 | 0.050327 | 0.050327 | 0.050327 | 0.99475 | -0.10087 | 0.99533 | -0.089614 | 13.8261
76 | -0.037315 | -0.0093732 | 0.037317 | 0.0093746 | 2.1686e-06 | 1.3637e-06 | 0.055793 | 0.055793 | 0.055793 | 0.99533 | -0.089614 | 0.9954 | -0.088397 | 15.3277
77 | -0.019888 | -0.0049838 | 0.019892 | 0.0049861 | 3.7733e-06 | 2.2682e-06 | 0.029797 | 0.029797 | 0.029797 | 0.99316 | -0.13163 | 0.99337 | -0.12765 | 8.186
78 | 0.019888 | 0.0049838 | -0.019884 | -0.0049814 | 4.0337e-06 | 2.4248e-06 | 0.029797 | 0.029797 | 0.029797 | 0.99316 | -0.13163 | 0.99294 | -0.13589 | 8.186
79 | 0.010568 | 0.0026463 | -0.010562 | -0.0026435 | 5.5328e-06 | 2.7804e-06 | 0.015836 | 0.015836 | 0.015836 | 0.99294 | -0.13589 | 0.99237 | -0.14689 | 4.3506
80 | 0.0093161 | 0.0023351 | -0.0093143 | -0.0023343 | 1.7638e-06 | 8.1678e-07 | 0.013961 | 0.013961 | 0.013961 | 0.99294 | -0.13589 | 0.99273 | -0.13986 | 3.8355
81 | -0.0072632 | -0.0018171 | 0.0072647 | 0.0018177 | 1.5443e-06 | 5.4012e-07 | 0.010893 | 0.010893 | 0.010893 | 0.99207 | -0.15283 | 0.9923 | -0.14836 | 2.9926
82 | 0.0086871 | 0.0021775 | -0.0086853 | -0.0021767 | 1.8456e-06 | 8.0459e-07 | 0.013009 | 0.013009 | 0.013009 | 0.99365 | -0.12212 | 0.99342 | -0.12658 | 3.574
83 | 0.0071175 | 0.0017838 | -0.0071174 | -0.0017838 | 6.6612e-08 | 2.2397e-08 | 0.010661 | 0.010661 | 0.010661 | 0.99342 | -0.12658 | 0.99341 | -0.12677 | 2.9289
84 | 0.0053579 | 0.0013428 | -0.0053578 | -0.0013428 | 1.2922e-07 | 1.3436e-08 | 0.0080255 | 0.0080255 | 0.0080255 | 0.99341 | -0.12677 | 0.99338 | -0.12728 | 2.2048
85 | 0.00073016 | 0.00018237 | -0.00073014 | -0.00018277 | 1.4188e-08 | -3.9871e-07 | 0.0010947 | 0.0010948 | 0.0010948 | 0.9923 | -0.14836 | 0.99228 | -0.14877 | 0.30078
86 | -0.0079949 | -0.0020001 | 0.0079954 | 0.0020003 | 5.5988e-07 | 2.241e-07 | 0.011988 | 0.011988 | 0.011988 | 0.9923 | -0.14836 | 0.99237 | -0.14689 | 3.2933
87 | 0.00041022 | 0.00010258 | -0.00041021 | -0.00010281 | 2.4874e-09 | -2.2486e-07 | 0.00061508 | 0.00061516 | 0.00061516 | 0.99228 | -0.14877 | 0.99227 | -0.1489 | 0.169
88 | 0.0027895 | 0.00069897 | -0.0027894 | -0.00069899 | 1.0725e-08 | -1.4288e-08 | 0.0041811 | 0.0041811 | 0.0041811 | 0.99273 | -0.13986 | 0.99273 | -0.13994 | 1.1487
89 | 0.0025398 | 0.00063642 | -0.0025397 | -0.00063652 | 5.6992e-08 | -9.9107e-08 | 0.0038069 | 0.0038069 | 0.0038069 | 0.99273 | -0.13994 | 0.99271 | -0.14041 | 1.0459

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.13736 | 0.034194

## res_load
| p_mw | q_mvar
0 | 0.0016552 | 0.00041484
1 | 0.0035773 | 0.00089657
2 | 0.0037651 | 0.00094361
3 | 0.0027488 | 0.00068891
4 | 0.0018827 | 0.00047186
5 | 0.001379 | 0.00034562
6 | 0.0040296 | 0.0010099
7 | 0.0013234 | 0.00033168
8 | 0.00064853 | 0.00016254
9 | 0.0037495 | 0.00093972
10 | 0.00073807 | 0.00018498
11 | 0.0015924 | 0.00039909
12 | 0.0028126 | 0.0007049
13 | 0.0015446 | 0.00038711
14 | 0.0052214 | 0.0013086
15 | 0.0019663 | 0.0004928
16 | 0.0050617 | 0.0012686
17 | 0.0015611 | 0.00039125
18 | 0.0026772 | 0.00067096
19 | 0.0010435 | 0.00026152
20 | 0.0009065 | 0.00022719
21 | 0.0011727 | 0.0002939
22 | 0.0015263 | 0.00038254
23 | 0.0019032 | 0.000477
24 | 0.00074692 | 0.0001872
25 | 0.0053082 | 0.0013303
26 | 0.00077685 | 0.0001947
27 | 0.00075106 | 0.00018823
28 | 0.0013529 | 0.00033906
29 | 0.0025541 | 0.00064011
30 | 0.0037929 | 0.0009506
31 | 0.0022854 | 0.00057276
32 | 0.0014511 | 0.00036368
33 | 0.00047194 | 0.00011828
34 | 0.00065469 | 0.00016408
35 | 0.00077057 | 0.00019312
36 | 0.0012237 | 0.00030668
37 | 0.00093693 | 0.00023482
38 | 0.0082928 | 0.0020784
39 | 0.0014886 | 0.00037307
40 | 0.00082813 | 0.00020755
41 | 0.00098963 | 0.00024802
42 | 0.0015458 | 0.00038741
43 | 0.00095375 | 0.00023903
44 | 0.00074561 | 0.00018687
45 | 0.00074561 | 0.00018687
46 | 0.0039741 | 0.00099601
47 | 0.0011188 | 0.00028039
48 | 0.0013865 | 0.0003475
49 | 0.0019975 | 0.00050061
50 | 0.0022115 | 0.00055425
51 | 0.0036563 | 0.00091635
52 | 0.0010845 | 0.00027181
53 | 0.00047086 | 0.00011801
54 | 0.00036362 | 9.1132e-05
55 | 0.0028152 | 0.00070555
56 | 0.0016524 | 0.00041413
57 | 0.0015678 | 0.00039292
58 | 0.0017596 | 0.00044099
59 | 0.0053578 | 0.0013428
60 | 0.00031993 | 8.0182e-05
61 | 0.0025667 | 0.00064327
62 | 0.00041021 | 0.00010281
63 | 0.0065249 | 0.0016353
64 | 0.00024965 | 6.2569e-05
65 | 0.0025397 | 0.00063652

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1