## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_216-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_216-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_216-3_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_216-3_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_216-3_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_216-3_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_216-3_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_216-3_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_216-3_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_216-3_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_216-3_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_216-3_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_216-3_0_5_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_216-3_0_5_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_216-3_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_216-3_0_5_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_216-3_0_5_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_216-3_0_5_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_216-3_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_216-3_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_216-3_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_216-3_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_216-3_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_216-3_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_216-3_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_216-3_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_216-3_0_5_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_216-3_0_5_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_216-3_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_216-3_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_216-3_0_5_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_216-3_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_216-3_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_216-3_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_216-3_0_5_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_216-3_0_5_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_216-3_0_5_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_216-3_0_5_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_216-3_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_216-3_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_216-3_0_5_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_216-3_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_216-3_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_216-3_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_216-3_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_216-3_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_216-3_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_216-3_0_5_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_216-3_0_5_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_216-3_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_216-3_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_216-3_0_5_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_216-3_0_5_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_216-3_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_216-3_0_5_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_216-3_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_216-3_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_216-3_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_216-3_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_216-3_0_5_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_216-3_0_5_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_216-3_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_216-3_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_216-3_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_216-3_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_216-3_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_216-3_0_5_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_216-3_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_216-3_0_5_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_216-3_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_216-3_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_216-3_0_5_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_216-3_0_5_node_88 | 0.4 | n |  | TRUE
73 | bus_LV_216-3_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_216-3_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_216-3_0_5_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_216-3_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_216-3_0_5_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_216-3_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_216-3_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_216-3_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_216-3_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_216-3_0_5_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_216-3_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_MV_369_0_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_216-3_0_5_load_0 | 0 | 0.003724 | 0.00093333 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_216-3_0_5_load_1 | 1 | 0.0010241 | 0.00025666 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_216-3_0_5_load_4 | 3 | 0.0017149 | 0.00042979 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_216-3_0_5_load_5 | 4 | 0.0015695 | 0.00039336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_216-3_0_5_load_15 | 6 | 0.002008 | 0.00050324 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_216-3_0_5_load_7 | 8 | 0.0044384 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_216-3_0_5_load_89 | 12 | 0.002342 | 0.00058695 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_216-3_0_5_load_21 | 13 | 0.0025126 | 0.00062973 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_216-3_0_5_load_12 | 14 | 0.002009 | 0.0005035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_216-3_0_5_load_35 | 17 | 0.0073486 | 0.0018417 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_216-3_0_5_load_19 | 19 | 0.0034753 | 0.000871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_216-3_0_5_load_16 | 20 | 0.0064972 | 0.0016283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_216-3_0_5_load_11 | 22 | 0.00084421 | 0.00021158 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_216-3_0_5_load_13 | 23 | 0.0022764 | 0.00057052 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_216-3_0_5_load_20 | 24 | 0.0011581 | 0.00029025 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_216-3_0_5_load_22 | 25 | 0.00071274 | 0.00017863 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_216-3_0_5_load_80 | 26 | 0.0025766 | 0.00064577 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_216-3_0_5_load_79 | 27 | 0.0010181 | 0.00025516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_216-3_0_5_load_38 | 29 | 0.0024981 | 0.00062608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_216-3_0_5_load_34 | 30 | 0.0047473 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_216-3_0_5_load_23 | 31 | 0.00086628 | 0.00021711 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_216-3_0_5_load_49 | 35 | 0.0025077 | 0.00062849 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_216-3_0_5_load_68 | 36 | 0.00025555 | 6.4046e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_216-3_0_5_load_84 | 38 | 0.0062295 | 0.0015613 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_216-3_0_5_load_50 | 40 | 0.0023436 | 0.00058736 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_216-3_0_5_load_28 | 41 | 0.092495 | 0.023181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_216-3_0_5_load_29 | 42 | 0.040468 | 0.010142 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_216-3_0_5_load_30 | 44 | 0.00086478 | 0.00021673 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_216-3_0_5_load_53 | 48 | 0.0039021 | 0.00097795 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_216-3_0_5_load_40 | 49 | 0.00063703 | 0.00015966 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_216-3_0_5_load_52 | 50 | 0.0011243 | 0.00028178 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_216-3_0_5_load_85 | 51 | 0.016857 | 0.0042248 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_216-3_0_5_load_76 | 52 | 0.0046762 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_216-3_0_5_load_39 | 53 | 0.0023207 | 0.00058163 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_216-3_0_5_load_78 | 54 | 0.0021189 | 0.00053105 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_216-3_0_5_load_42 | 57 | 0.0029646 | 0.000743 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_216-3_0_5_load_82 | 58 | 0.00081649 | 0.00020463 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_216-3_0_5_load_63 | 60 | 0.0019335 | 0.00048458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_216-3_0_5_load_61 | 62 | 0.0015482 | 0.00038801 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_216-3_0_5_load_83 | 64 | 0.00053079 | 0.00013303 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_216-3_0_5_load_58 | 66 | 0.0014367 | 0.00036008 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_216-3_0_5_load_54 | 69 | 0.0054852 | 0.0013747 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_216-3_0_5_load_60 | 70 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_216-3_0_5_load_62 | 71 | 0.0018075 | 0.000453 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_216-3_0_5_load_88 | 72 | 0.0017786 | 0.00044576 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_216-3_0_5_load_71 | 73 | 0.0011603 | 0.00029079 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_216-3_0_5_load_57 | 74 | 0.0003651 | 9.1504e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_216-3_0_5_load_65 | 75 | 0.0007284 | 0.00018255 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_216-3_0_5_load_59 | 76 | 0.00184 | 0.00046114 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_216-3_0_5_load_67 | 78 | 0.00082447 | 0.00020663 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_216-3_0_5_load_81 | 80 | 0.00091613 | 0.0002296 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_216-3_0_5_load_72 | 81 | 0.0011643 | 0.0002918 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_216-3_0_5_load_75 | 83 | 0.0018076 | 0.00045303 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_216-3_0_5_line_0 |  | 0 | 1 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_216-3_0_5_line_1 |  | 1 | 2 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_216-3_0_5_line_2 |  | 2 | 3 | 0.049465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_216-3_0_5_line_3 |  | 3 | 4 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_216-3_0_5_line_4 |  | 4 | 5 | 0.010684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_216-3_0_5_line_5 |  | 5 | 6 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_216-3_0_5_line_6 |  | 6 | 7 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_216-3_0_5_line_7 |  | 7 | 14 | 0.024538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_216-3_0_5_line_8 |  | 7 | 10 | 0.025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_216-3_0_5_line_9 |  | 8 | 9 | 0.019578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_216-3_0_5_line_10 |  | 9 | 10 | 0.014797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_216-3_0_5_line_11 |  | 9 | 11 | 0.39083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_216-3_0_5_line_12 |  | 10 | 12 | 0.026898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_216-3_0_5_line_13 |  | 11 | 13 | 0.11616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_216-3_0_5_line_14 |  | 13 | 21 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_216-3_0_5_line_15 |  | 14 | 22 | 0.0020494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_216-3_0_5_line_16 |  | 15 | 16 | 0.024934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_216-3_0_5_line_17 |  | 15 | 17 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_216-3_0_5_line_18 |  | 16 | 55 | 0.009912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_216-3_0_5_line_19 |  | 17 | 30 | 0.0056343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_216-3_0_5_line_20 |  | 18 | 19 | 0.0057647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_216-3_0_5_line_21 |  | 18 | 20 | 0.027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_216-3_0_5_line_22 |  | 19 | 26 | 0.00093238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_216-3_0_5_line_23 |  | 20 | 21 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_216-3_0_5_line_24 |  | 21 | 24 | 0.028177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_216-3_0_5_line_25 |  | 21 | 25 | 0.038642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_216-3_0_5_line_26 |  | 22 | 23 | 0.0089633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_216-3_0_5_line_27 |  | 26 | 27 | 0.012675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_216-3_0_5_line_28 |  | 27 | 54 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_216-3_0_5_line_29 |  | 27 | 80 | 0.030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_216-3_0_5_line_30 |  | 28 | 29 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_216-3_0_5_line_31 |  | 28 | 30 | 0.0077529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_216-3_0_5_line_32 |  | 29 | 54 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_216-3_0_5_line_33 |  | 31 | 32 | 0.037368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_216-3_0_5_line_34 |  | 32 | 33 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_216-3_0_5_line_35 |  | 33 | 34 | 0.004595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_216-3_0_5_line_36 |  | 33 | 35 | 0.010734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_216-3_0_5_line_37 |  | 34 | 38 | 0.027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_216-3_0_5_line_38 |  | 34 | 39 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_216-3_0_5_line_39 |  | 35 | 40 | 0.0062239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_216-3_0_5_line_40 |  | 36 | 37 | 0.03564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_216-3_0_5_line_41 |  | 37 | 73 | 0.026983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_216-3_0_5_line_42 |  | 37 | 79 | 0.008576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_216-3_0_5_line_43 |  | 38 | 46 | 0.037462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_216-3_0_5_line_44 |  | 39 | 59 | 0.041287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_216-3_0_5_line_45 |  | 41 | 42 | 0.0054681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_216-3_0_5_line_46 |  | 42 | 43 | 0.025938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_216-3_0_5_line_47 |  | 43 | 47 | 0.055208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_216-3_0_5_line_48 |  | 43 | 48 | 0.0051057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_216-3_0_5_line_49 |  | 44 | 45 | 0.046327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_216-3_0_5_line_50 |  | 44 | 46 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_216-3_0_5_line_51 |  | 45 | 49 | 0.0068768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_216-3_0_5_line_52 |  | 45 | 50 | 0.0040521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_216-3_0_5_line_53 |  | 46 | 51 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_216-3_0_5_line_54 |  | 47 | 52 | 0.026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_216-3_0_5_line_55 |  | 48 | 50 | 0.03279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_216-3_0_5_line_56 |  | 49 | 53 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_216-3_0_5_line_57 |  | 52 | 83 | 0.020514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_216-3_0_5_line_58 |  | 53 | 56 | 0.0087629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_216-3_0_5_line_59 |  | 55 | 75 | 0.026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_216-3_0_5_line_60 |  | 56 | 57 | 0.020593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_216-3_0_5_line_61 |  | 57 | 58 | 0.00068653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_216-3_0_5_line_62 |  | 58 | 63 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_216-3_0_5_line_63 |  | 59 | 60 | 0.040968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_216-3_0_5_line_64 |  | 59 | 61 | 0.060487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_216-3_0_5_line_65 |  | 59 | 62 | 0.016724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_216-3_0_5_line_66 |  | 61 | 65 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_216-3_0_5_line_67 |  | 61 | 66 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_216-3_0_5_line_68 |  | 62 | 71 | 0.0037465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_216-3_0_5_line_69 |  | 63 | 64 | 0.01094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_216-3_0_5_line_70 |  | 64 | 72 | 0.0039802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_216-3_0_5_line_71 |  | 65 | 73 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_216-3_0_5_line_72 |  | 66 | 74 | 0.030751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_216-3_0_5_line_73 |  | 67 | 68 | 0.069413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_216-3_0_5_line_74 |  | 67 | 69 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_216-3_0_5_line_75 |  | 68 | 70 | 0.013596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_216-3_0_5_line_76 |  | 70 | 76 | 0.0015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_216-3_0_5_line_77 |  | 74 | 76 | 0.023943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_216-3_0_5_line_78 |  | 75 | 77 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_216-3_0_5_line_79 |  | 77 | 78 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_216-3_0_5_line_80 |  | 79 | 80 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_216-3_0_5_line_81 |  | 81 | 82 | 0.076719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_216-3_0_5_line_82 |  | 82 | 83 | 0.44324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_216-3_0_5_trafo_43 | 0.63 MVA 20/0.4 kV | 84 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2700995.4443 | 1267274.3637 | 2700990.391 | 1267265.7048
1 | 2700984.4036 | 1267255.4454 | 2700990.391 | 1267265.7048
2 | 2700984.4036 | 1267255.4454 | 2700965.5418 | 1267266.9884 | 2700959.0771 | 1267268.5904 | 2700954.6703 | 1267269.1712 | 2700938.4273 | 1267268.8586
3 | 2700938.4273 | 1267268.8586 | 2700918.8681 | 1267268.4822
4 | 2700908.1864 | 1267268.2766 | 2700918.8681 | 1267268.4822
5 | 2700908.1864 | 1267268.2766 | 2700906.209 | 1267279.5746 | 2700906.4034 | 1267281.8698
6 | 2700910.4186 | 1267295.8268 | 2700906.7666 | 1267286.1564 | 2700906.4034 | 1267281.8698
7 | 2700910.4186 | 1267295.8268 | 2700924.2621 | 1267296.397 | 2700934.6288 | 1267293.8172
8 | 2700910.4186 | 1267295.8268 | 2700912.4242 | 1267310.1954 | 2700913.7927 | 1267320.8722
9 | 2700915.665 | 1267335.5499 | 2700896.4127 | 1267339.1052
10 | 2700913.7927 | 1267320.8722 | 2700915.665 | 1267335.5499
11 | 2700761.2246 | 1267613.0709 | 2700795.6807 | 1267591.5848 | 2700825.4975 | 1267575.5021 | 2700863.1861 | 1267558.2862 | 2700938.092 | 1267528.5733 | 2700937.1618 | 1267521.3291 | 2700920.7636 | 1267380.3969 | 2700916.6947 | 1267343.5853 | 2700915.665 | 1267335.5499
12 | 2700940.7387 | 1267319.5535 | 2700913.7927 | 1267320.8722
13 | 2700761.2246 | 1267613.0709 | 2700762.316 | 1267624.9996 | 2700755.0397 | 1267675.0733 | 2700753.0144 | 1267693.1763 | 2700748.8136 | 1267716.5577 | 2700748.5067 | 1267728.1624
14 | 2700748.1771 | 1267740.6227 | 2700748.5067 | 1267728.1624
15 | 2700936.6607 | 1267294.0593 | 2700934.6738 | 1267293.806 | 2700934.6288 | 1267293.8172
16 | 2700650.0966 | 1267804.2607 | 2700656.0145 | 1267792.7407 | 2700659.8743 | 1267781.3857
17 | 2700659.8743 | 1267781.3857 | 2700665.3464 | 1267782.769 | 2700671.7249 | 1267782.6553 | 2700679.586 | 1267781.1585
18 | 2700650.0966 | 1267804.2607 | 2700644.9234 | 1267812.7242
19 | 2700685.1209 | 1267780.1046 | 2700679.586 | 1267781.1585
20 | 2700754.1335 | 1267783.338 | 2700748.7745 | 1267785.4623
21 | 2700754.1335 | 1267783.338 | 2700764.3559 | 1267768.8445 | 2700763.599 | 1267758.9344
22 | 2700748.7745 | 1267785.4623 | 2700747.9077 | 1267785.8059
23 | 2700748.1771 | 1267740.6227 | 2700757.9291 | 1267749.73 | 2700763.599 | 1267758.9344
24 | 2700748.1771 | 1267740.6227 | 2700735.1006 | 1267741.0446 | 2700729.0817 | 1267744.3559 | 2700723.1004 | 1267750.0004
25 | 2700748.1771 | 1267740.6227 | 2700785.5425 | 1267730.3622
26 | 2700945.552 | 1267295.1929 | 2700936.6607 | 1267294.0593
27 | 2700735.6257 | 1267788.816 | 2700745.5534 | 1267786.7391 | 2700747.9077 | 1267785.8059
28 | 2700735.6257 | 1267788.816 | 2700730.6316 | 1267789.8651 | 2700722.9478 | 1267789.295
29 | 2700735.6257 | 1267788.816 | 2700736.2857 | 1267800.4371 | 2700733.7013 | 1267819.1731
30 | 2700692.737 | 1267778.6544 | 2700699.8192 | 1267783.6237 | 2700708.0493 | 1267786.291
31 | 2700692.737 | 1267778.6544 | 2700685.1209 | 1267780.1046
32 | 2700722.9478 | 1267789.295 | 2700715.6466 | 1267788.7533 | 2700708.0493 | 1267786.291
33 | 2700725.3679 | 1267974.42 | 2700728.0713 | 1267979.2257 | 2700740.8806 | 1268008.3909
34 | 2700704.9746 | 1267954.0998 | 2700721.2836 | 1267967.1554 | 2700725.3679 | 1267974.42
35 | 2700701.3877 | 1267951.214 | 2700704.9746 | 1267954.0998
36 | 2700704.9746 | 1267954.0998 | 2700709.9697 | 1267944.5991
37 | 2700701.3877 | 1267951.214 | 2700692.0848 | 1267960.8191 | 2700687.8353 | 1267974.7792
38 | 2700701.3877 | 1267951.214 | 2700691.6191 | 1267943.5411
39 | 2700709.9697 | 1267944.5991 | 2700708.9676 | 1267942.002 | 2700706.5476 | 1267940.8821 | 2700705.7859 | 1267941.0177
40 | 2700739.2809 | 1267841.1002 | 2700763.3951 | 1267847.2054 | 2700768.3575 | 1267848.4577 | 2700773.903 | 1267849.5219
41 | 2700739.2809 | 1267841.1002 | 2700720.0832 | 1267853.4946 | 2700716.5577 | 1267855.6493
42 | 2700730.9938 | 1267838.8015 | 2700739.2809 | 1267841.1002
43 | 2700673.0895 | 1268009.0584 | 2700683.5916 | 1267988.7202 | 2700687.8353 | 1267974.7792
44 | 2700691.6191 | 1267943.5411 | 2700679.9042 | 1267934.3337 | 2700681.2695 | 1267929.3194 | 2700682.8511 | 1267923.5415 | 2700687.2835 | 1267923.6393 | 2700697.6255 | 1267920.6463
45 | 2700614.7725 | 1268031.1787 | 2700610.0707 | 1268028.3869
46 | 2700587.7683 | 1268015.1441 | 2700610.0707 | 1268028.3869
47 | 2700587.7683 | 1268015.1441 | 2700580.9543 | 1268026.2597 | 2700572.8841 | 1268038.1991 | 2700557.3237 | 1268061.187
48 | 2700587.7683 | 1268015.1441 | 2700590.4355 | 1268010.7905
49 | 2700651.2298 | 1268000.123 | 2700609.6821 | 1267979.3758
50 | 2700651.2298 | 1268000.123 | 2700673.0895 | 1268009.0584
51 | 2700609.6821 | 1267979.3758 | 2700612.78 | 1267973.2363
52 | 2700609.6821 | 1267979.3758 | 2700607.5652 | 1267982.831
53 | 2700673.0895 | 1268009.0584 | 2700666.7939 | 1268021.1953
54 | 2700557.3237 | 1268061.187 | 2700577.8155 | 1268078.6036
55 | 2700607.5652 | 1267982.831 | 2700590.4355 | 1268010.7905
56 | 2700620.4053 | 1267958.1244 | 2700612.78 | 1267973.2363
57 | 2700577.5532 | 1268094.7789 | 2700583.497 | 1268086.4649 | 2700582.9988 | 1268083.009 | 2700577.8155 | 1268078.6036
58 | 2700624.3529 | 1267950.301 | 2700620.4053 | 1267958.1244
59 | 2700644.9234 | 1267812.7242 | 2700650.6631 | 1267815.6355 | 2700661.1113 | 1267819.6724 | 2700669.4372 | 1267822.1499
60 | 2700624.3529 | 1267950.301 | 2700643.5561 | 1267957.7368
61 | 2700644.1963 | 1267957.9847 | 2700643.5561 | 1267957.7368
62 | 2700654.5447 | 1267961.9917 | 2700644.1963 | 1267957.9847
63 | 2700697.6255 | 1267920.6463 | 2700698.2443 | 1267891.8659 | 2700702.4621 | 1267889.9806 | 2700709.9542 | 1267890.9963
64 | 2700694.7754 | 1267879.8522 | 2700682.8511 | 1267923.5415 | 2700687.2835 | 1267923.6393 | 2700697.6255 | 1267920.6463
65 | 2700697.6255 | 1267920.6463 | 2700713.6895 | 1267915.9961
66 | 2700694.7754 | 1267879.8522 | 2700697.7257 | 1267871.5066 | 2700701.575 | 1267866.5124
67 | 2700694.7754 | 1267879.8522 | 2700681.828 | 1267876.0539
68 | 2700717.2883 | 1267914.9544 | 2700713.6895 | 1267915.9961
69 | 2700654.5447 | 1267961.9917 | 2700664.7443 | 1267965.9491
70 | 2700668.455 | 1267967.3888 | 2700664.7443 | 1267965.9491
71 | 2700701.575 | 1267866.5124 | 2700706.6482 | 1267861.7059 | 2700716.5577 | 1267855.6493
72 | 2700651.793 | 1267869.9702 | 2700657.2585 | 1267870.3607 | 2700668.5353 | 1267872.1542 | 2700681.828 | 1267876.0539
73 | 2700565.4679 | 1267868.9746 | 2700601.043 | 1267883.7481 | 2700617.4488 | 1267857.572
74 | 2700565.4679 | 1267868.9746 | 2700566.088 | 1267865.2709 | 2700568.3116 | 1267856.2678 | 2700568.5684 | 1267852.555
75 | 2700617.4488 | 1267857.572 | 2700628.6358 | 1267865.2989
76 | 2700628.6358 | 1267865.2989 | 2700629.8959 | 1267866.1693
77 | 2700651.793 | 1267869.9702 | 2700642.3331 | 1267869.2944 | 2700637.3898 | 1267871.3453 | 2700629.8959 | 1267866.1693
78 | 2700682.5185 | 1267826.0425 | 2700669.4372 | 1267822.1499
79 | 2700682.5185 | 1267826.0425 | 2700693.6771 | 1267828.9795
80 | 2700730.9938 | 1267838.8015 | 2700733.7013 | 1267819.1731
81 | 2700568.7533 | 1268537.9286 | 2700610.5717 | 1268537.2621 | 2700645.4661 | 1268537.4753
82 | 2700577.5532 | 1268094.7789 | 2700568.7533 | 1268537.9286

## bus_geodata
| x | y | coords
0 | 2700995.4443 | 1267274.3637
1 | 2700990.391 | 1267265.7048
2 | 2700984.4036 | 1267255.4454
3 | 2700938.4273 | 1267268.8586
4 | 2700918.8681 | 1267268.4822
5 | 2700908.1864 | 1267268.2766
6 | 2700906.4034 | 1267281.8698
7 | 2700910.4186 | 1267295.8268
8 | 2700896.4127 | 1267339.1052
9 | 2700915.665 | 1267335.5499
10 | 2700913.7927 | 1267320.8722
11 | 2700761.2246 | 1267613.0709
12 | 2700940.7387 | 1267319.5535
13 | 2700748.5067 | 1267728.1624
14 | 2700934.6288 | 1267293.8172
15 | 2700659.8743 | 1267781.3857
16 | 2700650.0966 | 1267804.2607
17 | 2700679.586 | 1267781.1585
18 | 2700754.1335 | 1267783.338
19 | 2700748.7745 | 1267785.4623
20 | 2700763.599 | 1267758.9344
21 | 2700748.1771 | 1267740.6227
22 | 2700936.6607 | 1267294.0593
23 | 2700945.552 | 1267295.1929
24 | 2700723.1004 | 1267750.0004
25 | 2700785.5425 | 1267730.3622
26 | 2700747.9077 | 1267785.8059
27 | 2700735.6257 | 1267788.816
28 | 2700692.737 | 1267778.6544
29 | 2700708.0493 | 1267786.291
30 | 2700685.1209 | 1267780.1046
31 | 2700740.8806 | 1268008.3909
32 | 2700725.3679 | 1267974.42
33 | 2700704.9746 | 1267954.0998
34 | 2700701.3877 | 1267951.214
35 | 2700709.9697 | 1267944.5991
36 | 2700773.903 | 1267849.5219
37 | 2700739.2809 | 1267841.1002
38 | 2700687.8353 | 1267974.7792
39 | 2700691.6191 | 1267943.5411
40 | 2700705.7859 | 1267941.0177
41 | 2700614.7725 | 1268031.1787
42 | 2700610.0708 | 1268028.3869
43 | 2700587.7683 | 1268015.1441
44 | 2700651.2298 | 1268000.123
45 | 2700609.6821 | 1267979.3758
46 | 2700673.0895 | 1268009.0584
47 | 2700557.3237 | 1268061.187
48 | 2700590.4355 | 1268010.7905
49 | 2700612.78 | 1267973.2363
50 | 2700607.5652 | 1267982.831
51 | 2700666.7939 | 1268021.1953
52 | 2700577.8155 | 1268078.6036
53 | 2700620.4053 | 1267958.1244
54 | 2700722.9478 | 1267789.295
55 | 2700644.9234 | 1267812.7242
56 | 2700624.3529 | 1267950.301
57 | 2700643.5561 | 1267957.7368
58 | 2700644.1963 | 1267957.9847
59 | 2700697.6255 | 1267920.6463
60 | 2700709.9542 | 1267890.9963
61 | 2700694.7754 | 1267879.8522
62 | 2700713.6895 | 1267915.9961
63 | 2700654.5447 | 1267961.9917
64 | 2700664.7443 | 1267965.9491
65 | 2700701.575 | 1267866.5124
66 | 2700681.828 | 1267876.0539
67 | 2700565.4679 | 1267868.9746
68 | 2700617.4488 | 1267857.572
69 | 2700568.5684 | 1267852.555
70 | 2700628.6358 | 1267865.2989
71 | 2700717.2883 | 1267914.9544
72 | 2700668.455 | 1267967.3888
73 | 2700716.5577 | 1267855.6493
74 | 2700651.793 | 1267869.9702
75 | 2700669.4372 | 1267822.1499
76 | 2700629.8959 | 1267866.1693
77 | 2700682.5185 | 1267826.0425
78 | 2700693.6771 | 1267828.9795
79 | 2700730.9938 | 1267838.8015
80 | 2700733.7013 | 1267819.1731
81 | 2700645.4661 | 1268537.4753
82 | 2700568.7533 | 1268537.9286
83 | 2700577.5532 | 1268094.7789
84 | 2700682.8511 | 1267923.5415

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97543 | -0.47454 | 0.003724 | 0.00093333
1 | 0.97547 | -0.47385 | 0.0010241 | 0.00025666
2 | 0.97552 | -0.47282 | 0 | 0
3 | 0.97574 | -0.46852 | 0.0017149 | 0.00042979
4 | 0.97585 | -0.4662 | 0.0015695 | 0.00039336
5 | 0.97593 | -0.46463 | 0 | 0
6 | 0.97604 | -0.46261 | 0.002008 | 0.00050324
7 | 0.97617 | -0.45992 | 0 | 0
8 | 0.97669 | -0.44976 | 0.0044384 | 0.0011124
9 | 0.97677 | -0.44817 | 0 | 0
10 | 0.97653 | -0.45291 | 0 | 0
11 | 0.98474 | -0.29262 | 0 | 0
12 | 0.97647 | -0.45406 | 0.002342 | 0.00058695
13 | 0.98711 | -0.24685 | 0.0025126 | 0.00062973
14 | 0.97606 | -0.46222 | 0.002009 | 0.0005035
15 | 0.98866 | -0.21715 | 0 | 0
16 | 0.98862 | -0.21784 | 0 | 0
17 | 0.98869 | -0.21659 | 0.0073486 | 0.0018417
18 | 0.98883 | -0.21379 | 0 | 0
19 | 0.989 | -0.21042 | 0.0034753 | 0.000871
20 | 0.98799 | -0.23002 | 0.0064972 | 0.0016283
21 | 0.98739 | -0.24139 | 0 | 0
22 | 0.97605 | -0.46234 | 0.00084421 | 0.00021158
23 | 0.97603 | -0.46271 | 0.0022764 | 0.00057052
24 | 0.98736 | -0.24198 | 0.0011581 | 0.00029025
25 | 0.98737 | -0.24189 | 0.00071274 | 0.00017863
26 | 0.98903 | -0.20981 | 0.0025766 | 0.00064577
27 | 0.98949 | -0.20103 | 0.0010181 | 0.00025516
28 | 0.98883 | -0.21381 | 0 | 0
29 | 0.98905 | -0.2096 | 0.0024981 | 0.00062608
30 | 0.98873 | -0.2157 | 0.0047473 | 0.0011898
31 | 0.99534 | -0.088144 | 0.00086628 | 0.00021711
32 | 0.99537 | -0.087574 | 0 | 0
33 | 0.9954 | -0.087129 | 0 | 0
34 | 0.99542 | -0.086667 | 0 | 0
35 | 0.99535 | -0.088045 | 0.0025077 | 0.00062849
36 | 0.99267 | -0.13985 | 0.00025555 | 6.4046e-05
37 | 0.99267 | -0.13969 | 0 | 0
38 | 0.99311 | -0.13071 | 0.0062295 | 0.0015613
39 | 0.99648 | -0.066581 | 0 | 0
40 | 0.99533 | -0.088302 | 0.0023436 | 0.00058736
41 | 0.9783 | -0.41745 | 0.092495 | 0.023181
42 | 0.97877 | -0.40824 | 0.040468 | 0.010142
43 | 0.98196 | -0.3457 | 0 | 0
44 | 0.98842 | -0.2206 | 0.00086478 | 0.00021673
45 | 0.9851 | -0.28475 | 0 | 0
46 | 0.99012 | -0.18797 | 0 | 0
47 | 0.98157 | -0.35335 | 0 | 0
48 | 0.98263 | -0.33273 | 0.0039021 | 0.00097795
49 | 0.98504 | -0.28587 | 0.00063703 | 0.00015966
50 | 0.98482 | -0.29005 | 0.0011243 | 0.00028178
51 | 0.9899 | -0.19207 | 0.016857 | 0.0042248
52 | 0.98138 | -0.35708 | 0.0046762 | 0.001172
53 | 0.98491 | -0.28842 | 0.0023207 | 0.00058163
54 | 0.98927 | -0.20519 | 0.0021189 | 0.00053105
55 | 0.98861 | -0.21811 | 0 | 0
56 | 0.98486 | -0.28938 | 0 | 0
57 | 0.98474 | -0.29164 | 0.0029646 | 0.000743
58 | 0.98474 | -0.29168 | 0.00081649 | 0.00020463
59 | 1 | 0 | -0.2667 | -0.068025
60 | 0.99993 | -0.0013812 | 0.0019335 | 0.00048458
61 | 0.99603 | -0.07543 | 0 | 0
62 | 0.99995 | -0.00097828 | 0.0015482 | 0.00038801
63 | 0.98472 | -0.29214 | 0 | 0
64 | 0.9847 | -0.29259 | 0.00053079 | 0.00013303
65 | 0.99519 | -0.091555 | 0 | 0
66 | 0.9959 | -0.077972 | 0.0014367 | 0.00036008
67 | 0.99502 | -0.094953 | 0 | 0
68 | 0.99537 | -0.088251 | 0 | 0
69 | 0.99494 | -0.096571 | 0.0054852 | 0.0013747
70 | 0.99544 | -0.086938 | 0.0015912 | 0.00039879
71 | 0.99994 | -0.0010963 | 0.0018075 | 0.000453
72 | 0.98469 | -0.29272 | 0.0017786 | 0.00044576
73 | 0.99415 | -0.11139 | 0.0011603 | 0.00029079
74 | 0.99564 | -0.082991 | 0.0003651 | 9.1504e-05
75 | 0.98857 | -0.21884 | 0.0007284 | 0.00018255
76 | 0.99545 | -0.086747 | 0.00184 | 0.00046114
77 | 0.98856 | -0.21904 | 0 | 0
78 | 0.98855 | -0.21921 | 0.00082447 | 0.00020663
79 | 0.99221 | -0.14866 | 0 | 0
80 | 0.99113 | -0.16942 | 0.00091613 | 0.0002296
81 | 0.98077 | -0.36924 | 0.0011643 | 0.0002918
82 | 0.98085 | -0.36762 | 0 | 0
83 | 0.98133 | -0.35819 | 0.0018076 | 0.00045303
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.003724 | -0.00093333 | 0.0037242 | 0.00093329 | 1.2134e-07 | -4.7494e-08 | 0.005681 | 0.005681 | 0.005681 | 0.97543 | -0.47454 | 0.97547 | -0.47385 | 1.5607
1 | -0.0047482 | -0.0011899 | 0.0047485 | 0.0011899 | 2.337e-07 | 1.2704e-09 | 0.0072431 | 0.0072431 | 0.0072431 | 0.97547 | -0.47385 | 0.97552 | -0.47282 | 1.9899
2 | -0.0047485 | -0.0011899 | 0.0047495 | 0.00119 | 9.7311e-07 | 5.095e-09 | 0.0072431 | 0.0072429 | 0.0072431 | 0.97552 | -0.47282 | 0.97574 | -0.46852 | 1.9899
3 | -0.0064643 | -0.0016197 | 0.006465 | 0.00162 | 7.1293e-07 | 2.119e-07 | 0.0098581 | 0.009858 | 0.0098581 | 0.97574 | -0.46852 | 0.97585 | -0.4662 | 2.7083
4 | -0.0080346 | -0.0020133 | 0.0080352 | 0.0020136 | 6.0133e-07 | 2.5137e-07 | 0.012251 | 0.012251 | 0.012251 | 0.97585 | -0.4662 | 0.97593 | -0.46463 | 3.3657
5 | -0.0080352 | -0.0020136 | 0.008036 | 0.0020139 | 7.7521e-07 | 3.2402e-07 | 0.012251 | 0.012251 | 0.012251 | 0.97593 | -0.46463 | 0.97604 | -0.46261 | 3.3657
6 | -0.010044 | -0.0025171 | 0.010045 | 0.0025178 | 1.2871e-06 | 6.4079e-07 | 0.015312 | 0.015312 | 0.015312 | 0.97604 | -0.46261 | 0.97617 | -0.45992 | 4.2067
7 | 0.0051302 | 0.0012856 | -0.0051297 | -0.0012855 | 5.6274e-07 | 5.3423e-08 | 0.0078201 | 0.0078202 | 0.0078202 | 0.97617 | -0.45992 | 0.97606 | -0.46222 | 2.1484
8 | -0.015175 | -0.0038033 | 0.015181 | 0.0038063 | 5.0712e-06 | 2.9295e-06 | 0.023132 | 0.023132 | 0.023132 | 0.97617 | -0.45992 | 0.97653 | -0.45291 | 6.3551
9 | -0.0044384 | -0.0011124 | 0.0044387 | 0.0011123 | 3.3569e-07 | -3.0191e-08 | 0.006762 | 0.0067619 | 0.006762 | 0.97669 | -0.44976 | 0.97677 | -0.44817 | 1.8577
10 | 0.017527 | 0.0043953 | -0.017523 | -0.004393 | 3.956e-06 | 2.3467e-06 | 0.026701 | 0.026701 | 0.026701 | 0.97677 | -0.44817 | 0.97653 | -0.45291 | 7.3355
11 | -0.021965 | -0.0055076 | 0.022129 | 0.0056077 | 0.0001641 | 0.00010009 | 0.033463 | 0.033461 | 0.033463 | 0.97677 | -0.44817 | 0.98474 | -0.29262 | 9.1931
12 | 0.0023421 | 0.0005867 | -0.002342 | -0.00058695 | 1.2847e-07 | -2.5427e-07 | 0.0035687 | 0.0035689 | 0.0035689 | 0.97653 | -0.45291 | 0.97647 | -0.45406 | 0.98046
13 | -0.022129 | -0.0056077 | 0.022178 | 0.0056375 | 4.877e-05 | 2.9732e-05 | 0.033461 | 0.033461 | 0.033461 | 0.98474 | -0.29262 | 0.98711 | -0.24685 | 9.1926
14 | -0.024691 | -0.0062672 | 0.024697 | 0.0062712 | 6.4852e-06 | 3.9911e-06 | 0.037248 | 0.037248 | 0.037248 | 0.98711 | -0.24685 | 0.98739 | -0.24139 | 10.233
15 | 0.0031207 | 0.000782 | -0.0031207 | -0.00078201 | 1.7395e-08 | -1.4482e-08 | 0.0047575 | 0.0047575 | 0.0047575 | 0.97606 | -0.46222 | 0.97605 | -0.46234 | 1.307
16 | 0.001553 | 0.00038817 | -0.001553 | -0.00038845 | 5.1071e-08 | -2.8704e-07 | 0.002337 | 0.0023372 | 0.0023372 | 0.98866 | -0.21715 | 0.98862 | -0.21784 | 0.64207
17 | -0.001553 | -0.00038817 | 0.0015531 | 0.00038794 | 4.1015e-08 | -2.3056e-07 | 0.002337 | 0.0023369 | 0.002337 | 0.98866 | -0.21715 | 0.98869 | -0.21659 | 0.64204
18 | 0.001553 | 0.00038845 | -0.0015529 | -0.00038857 | 2.0304e-08 | -1.141e-07 | 0.0023372 | 0.0023372 | 0.0023372 | 0.98862 | -0.21784 | 0.98861 | -0.21811 | 0.64209
19 | -0.0089017 | -0.0022297 | 0.008902 | 0.0022298 | 3.7921e-07 | 1.7044e-07 | 0.013397 | 0.013397 | 0.013397 | 0.98869 | -0.21659 | 0.98873 | -0.2157 | 3.6805
20 | -0.033106 | -0.0083927 | 0.033111 | 0.0083961 | 5.3726e-06 | 3.3645e-06 | 0.049853 | 0.049853 | 0.049853 | 0.98883 | -0.21379 | 0.989 | -0.21042 | 13.6958
21 | 0.033106 | 0.0083927 | -0.03308 | -0.0083766 | 2.5792e-05 | 1.6152e-05 | 0.049853 | 0.049853 | 0.049853 | 0.98883 | -0.21379 | 0.98799 | -0.23002 | 13.6958
22 | -0.036586 | -0.0092671 | 0.036587 | 0.0092678 | 1.0608e-06 | 6.6695e-07 | 0.055081 | 0.055081 | 0.055081 | 0.989 | -0.21042 | 0.98903 | -0.20981 | 15.1322
23 | 0.026583 | 0.0067482 | -0.026568 | -0.0067392 | 1.4541e-05 | 8.9972e-06 | 0.040067 | 0.040067 | 0.040067 | 0.98799 | -0.23002 | 0.98739 | -0.24139 | 11.0075
24 | 0.0011582 | 0.00028991 | -0.0011581 | -0.00029025 | 3.2186e-08 | -3.3979e-07 | 0.0017452 | 0.0017454 | 0.0017454 | 0.98739 | -0.24139 | 0.98736 | -0.24198 | 0.47949
25 | 0.00071276 | 0.00017815 | -0.00071274 | -0.00017863 | 1.6716e-08 | -4.8354e-07 | 0.001074 | 0.0010741 | 0.0010741 | 0.98739 | -0.24139 | 0.98737 | -0.24189 | 0.29509
26 | 0.0022764 | 0.00057043 | -0.0022764 | -0.00057052 | 4.0484e-08 | -8.6115e-08 | 0.0034705 | 0.0034705 | 0.0034705 | 0.97605 | -0.46234 | 0.97603 | -0.46271 | 0.95344
27 | -0.039164 | -0.0099135 | 0.039181 | 0.0099239 | 1.6522e-05 | 1.0411e-05 | 0.058958 | 0.058958 | 0.058958 | 0.98903 | -0.20981 | 0.98949 | -0.20103 | 16.1972
28 | 0.018277 | 0.0045831 | -0.018274 | -0.004581 | 3.6288e-06 | 2.1579e-06 | 0.027487 | 0.027487 | 0.027487 | 0.98949 | -0.20103 | 0.98927 | -0.20519 | 7.5513
29 | -0.058476 | -0.014762 | 0.058565 | 0.014819 | 8.8677e-05 | 5.636e-05 | 0.087976 | 0.087975 | 0.087976 | 0.98949 | -0.20103 | 0.99113 | -0.16942 | 24.1691
30 | -0.013651 | -0.0034203 | 0.013653 | 0.0034218 | 2.7379e-06 | 1.5302e-06 | 0.020541 | 0.020541 | 0.020541 | 0.98883 | -0.21381 | 0.98905 | -0.2096 | 5.6432
31 | 0.013651 | 0.0034203 | -0.013649 | -0.0034196 | 1.2268e-06 | 6.8568e-07 | 0.020541 | 0.020541 | 0.020541 | 0.98883 | -0.21381 | 0.98873 | -0.2157 | 5.6433
32 | -0.016151 | -0.0040479 | 0.016155 | 0.0040499 | 3.3896e-06 | 1.9728e-06 | 0.0243 | 0.0243 | 0.0243 | 0.98905 | -0.2096 | 0.98927 | -0.20519 | 6.6757
33 | -0.00086628 | -0.00021711 | 0.0008663 | 0.00021664 | 2.3499e-08 | -4.7066e-07 | 0.0012951 | 0.0012949 | 0.0012951 | 0.99534 | -0.088144 | 0.99537 | -0.087574 | 0.35579
34 | -0.0008663 | -0.00021664 | 0.00086632 | 0.00021627 | 1.8346e-08 | -3.6755e-07 | 0.0012949 | 0.0012948 | 0.0012949 | 0.99537 | -0.087574 | 0.9954 | -0.087129 | 0.35574
35 | -0.0057179 | -0.0014321 | 0.005718 | 0.0014321 | 1.2588e-07 | 2.0835e-08 | 0.0085473 | 0.0085473 | 0.0085473 | 0.9954 | -0.087129 | 0.99542 | -0.086667 | 2.3482
36 | 0.0048515 | 0.0012158 | -0.0048513 | -0.0012158 | 2.1172e-07 | -4.0172e-09 | 0.0072525 | 0.0072526 | 0.0072526 | 0.9954 | -0.087129 | 0.99535 | -0.088045 | 1.9925
37 | 0.1811 | 0.046334 | -0.18072 | -0.046088 | 0.00038524 | 0.00024583 | 0.27106 | 0.27106 | 0.27106 | 0.99542 | -0.086667 | 0.99311 | -0.13071 | 37.2332
38 | -0.18682 | -0.047766 | 0.187 | 0.047882 | 0.00018174 | 0.00011599 | 0.2796 | 0.2796 | 0.2796 | 0.99542 | -0.086667 | 0.99648 | -0.066581 | 38.4072
39 | 0.0023436 | 0.0005873 | -0.0023436 | -0.00058736 | 2.8651e-08 | -6.2558e-08 | 0.0035036 | 0.0035036 | 0.0035036 | 0.99535 | -0.088045 | 0.99533 | -0.088302 | 0.96254
40 | -0.00025555 | -6.4046e-05 | 0.00025555 | 6.3587e-05 | 1.9604e-09 | -4.5948e-07 | 0.00038307 | 0.00038291 | 0.00038307 | 0.99267 | -0.13985 | 0.99267 | -0.13969 | 0.10524
41 | -0.059821 | -0.015166 | 0.059903 | 0.015218 | 8.1476e-05 | 5.1795e-05 | 0.089734 | 0.089734 | 0.089734 | 0.99267 | -0.13969 | 0.99415 | -0.11139 | 24.6521
42 | 0.059566 | 0.015102 | -0.05954 | -0.015086 | 2.5675e-05 | 1.6321e-05 | 0.089351 | 0.089351 | 0.089351 | 0.99267 | -0.13969 | 0.99221 | -0.14866 | 24.5469
43 | 0.17449 | 0.044526 | -0.174 | -0.044219 | 0.00048115 | 0.00030697 | 0.26172 | 0.26172 | 0.26172 | 0.99311 | -0.13071 | 0.99012 | -0.18797 | 35.9511
44 | -0.187 | -0.047882 | 0.18761 | 0.048268 | 0.00060521 | 0.00038625 | 0.2796 | 0.2796 | 0.2796 | 0.99648 | -0.066581 | 1 | 0 | 38.4072
45 | -0.092495 | -0.023181 | 0.092535 | 0.023207 | 4.0586e-05 | 2.5906e-05 | 0.14069 | 0.14069 | 0.14069 | 0.9783 | -0.41745 | 0.97877 | -0.40824 | 38.6502
46 | -0.133 | -0.033349 | 0.1334 | 0.033604 | 0.00039771 | 0.00025421 | 0.20221 | 0.20221 | 0.20221 | 0.97877 | -0.40824 | 0.98196 | -0.3457 | 55.5522
47 | 0.007653 | 0.0019121 | -0.0076502 | -0.001911 | 2.7834e-06 | 1.0832e-06 | 0.011595 | 0.011595 | 0.011595 | 0.98196 | -0.3457 | 0.98157 | -0.35335 | 3.1855
48 | -0.14105 | -0.035516 | 0.14114 | 0.035572 | 8.7522e-05 | 5.595e-05 | 0.2138 | 0.2138 | 0.2138 | 0.98196 | -0.3457 | 0.98263 | -0.33273 | 58.7376
49 | 0.15603 | 0.039619 | -0.15555 | -0.039313 | 0.00048004 | 0.00030604 | 0.23508 | 0.23508 | 0.23508 | 0.98842 | -0.2206 | 0.9851 | -0.28475 | 32.2917
50 | -0.1569 | -0.039835 | 0.15714 | 0.039993 | 0.00024678 | 0.00015733 | 0.23639 | 0.23638 | 0.23639 | 0.98842 | -0.2206 | 0.99012 | -0.18797 | 32.4705
51 | 0.0090508 | 0.0022683 | -0.0090503 | -0.0022681 | 4.82e-07 | 2.2094e-07 | 0.013671 | 0.013671 | 0.013671 | 0.9851 | -0.28475 | 0.98504 | -0.28587 | 3.7559
52 | 0.1465 | 0.037044 | -0.14646 | -0.037021 | 3.7246e-05 | 2.3734e-05 | 0.22141 | 0.22141 | 0.22141 | 0.9851 | -0.28475 | 0.98482 | -0.29005 | 30.4138
53 | 0.01686 | 0.0042267 | -0.016857 | -0.0042248 | 3.2921e-06 | 1.9311e-06 | 0.025339 | 0.02534 | 0.02534 | 0.99012 | -0.18797 | 0.9899 | -0.19207 | 6.9614
54 | 0.0076502 | 0.001911 | -0.0076489 | -0.0019105 | 1.3559e-06 | 5.2791e-07 | 0.011595 | 0.011595 | 0.011595 | 0.98157 | -0.35335 | 0.98138 | -0.35708 | 3.1855
55 | -0.14504 | -0.03655 | 0.14534 | 0.036739 | 0.00029679 | 0.00018911 | 0.21971 | 0.21971 | 0.21971 | 0.98263 | -0.33273 | 0.98482 | -0.29005 | 30.1805
56 | 0.0084133 | 0.0021084 | -0.0084123 | -0.002108 | 1.0253e-06 | 4.4073e-07 | 0.012709 | 0.012709 | 0.012709 | 0.98504 | -0.28587 | 0.98491 | -0.28842 | 3.4916
57 | 0.0029726 | 0.00073849 | -0.0029725 | -0.00073865 | 1.5612e-07 | -1.5927e-07 | 0.0045049 | 0.004505 | 0.004505 | 0.98138 | -0.35708 | 0.98133 | -0.35819 | 1.2376
58 | 0.0060915 | 0.0015264 | -0.0060913 | -0.0015263 | 2.7832e-07 | 6.6612e-08 | 0.0092031 | 0.0092031 | 0.0092031 | 0.98491 | -0.28842 | 0.98486 | -0.28938 | 2.5283
59 | 0.0015529 | 0.00038857 | -0.0015529 | -0.00038887 | 5.3925e-08 | -3.03e-07 | 0.0023372 | 0.0023373 | 0.0023373 | 0.98861 | -0.21811 | 0.98857 | -0.21884 | 0.64212
60 | 0.0060913 | 0.0015263 | -0.0060906 | -0.0015262 | 6.5406e-07 | 1.5659e-07 | 0.0092031 | 0.0092032 | 0.0092032 | 0.98486 | -0.28938 | 0.98474 | -0.29164 | 2.5284
61 | 0.003126 | 0.00078315 | -0.003126 | -0.00078316 | 5.7443e-09 | -5.0578e-09 | 0.0047235 | 0.0047235 | 0.0047235 | 0.98474 | -0.29164 | 0.98474 | -0.29168 | 1.2977
62 | 0.0023095 | 0.00057853 | -0.0023095 | -0.00057864 | 5.0679e-08 | -1.0874e-07 | 0.0034897 | 0.0034898 | 0.0034898 | 0.98474 | -0.29168 | 0.98472 | -0.29214 | 0.95873
63 | 0.0019336 | 0.00048412 | -0.0019335 | -0.00048458 | 1.2718e-07 | -4.5603e-07 | 0.0028771 | 0.0028773 | 0.0028773 | 1 | 0 | 0.99993 | -0.0013812 | 0.79046
64 | 0.072157 | 0.018432 | -0.071895 | -0.018265 | 0.0002621 | 0.00016695 | 0.10749 | 0.10749 | 0.10749 | 1 | 0 | 0.99603 | -0.07543 | 29.5313
65 | 0.0033558 | 0.00084084 | -0.0033557 | -0.00084096 | 1.5637e-07 | -1.1931e-07 | 0.0049934 | 0.0049935 | 0.0049935 | 1 | 0 | 0.99995 | -0.00097828 | 1.3718
66 | 0.061169 | 0.015576 | -0.061121 | -0.015545 | 4.7531e-05 | 3.0223e-05 | 0.09147 | 0.09147 | 0.09147 | 0.99603 | -0.07543 | 0.99519 | -0.091555 | 25.1291
67 | 0.010726 | 0.002689 | -0.010725 | -0.0026883 | 1.2993e-06 | 6.5593e-07 | 0.016024 | 0.016024 | 0.016024 | 0.99603 | -0.07543 | 0.9959 | -0.077972 | 4.4023
68 | 0.0018075 | 0.00045295 | -0.0018075 | -0.000453 | 1.0164e-08 | -4.2642e-08 | 0.0026897 | 0.0026897 | 0.0026897 | 0.99995 | -0.00097828 | 0.99994 | -0.0010963 | 0.73893
69 | 0.0023095 | 0.00057864 | -0.0023094 | -0.00057874 | 4.9965e-08 | -1.072e-07 | 0.0034898 | 0.0034898 | 0.0034898 | 0.98472 | -0.29214 | 0.9847 | -0.29259 | 0.95874
70 | 0.0017786 | 0.00044572 | -0.0017786 | -0.00044576 | 1.0782e-08 | -4.373e-08 | 0.0026877 | 0.0026877 | 0.0026877 | 0.9847 | -0.29259 | 0.98469 | -0.29272 | 0.73839
71 | 0.061121 | 0.015545 | -0.061063 | -0.015508 | 5.8366e-05 | 3.7113e-05 | 0.09147 | 0.09147 | 0.09147 | 0.99519 | -0.091555 | 0.99415 | -0.11139 | 25.1292
72 | 0.0092879 | 0.0023282 | -0.0092856 | -0.0023272 | 2.2208e-06 | 1.0213e-06 | 0.013878 | 0.013878 | 0.013878 | 0.9959 | -0.077972 | 0.99564 | -0.082991 | 3.8125
73 | -0.0054856 | -0.0013748 | 0.0054874 | 0.001375 | 1.7517e-06 | 2.1915e-07 | 0.0082035 | 0.0082032 | 0.0082035 | 0.99502 | -0.094953 | 0.99537 | -0.088251 | 2.2537
74 | 0.0054856 | 0.0013748 | -0.0054852 | -0.0013747 | 4.2273e-07 | 5.2991e-08 | 0.0082035 | 0.0082036 | 0.0082036 | 0.99502 | -0.094953 | 0.99494 | -0.096571 | 2.2537
75 | -0.0054874 | -0.001375 | 0.0054877 | 0.001375 | 3.4309e-07 | 4.2841e-08 | 0.0082032 | 0.0082031 | 0.0082032 | 0.99537 | -0.088251 | 0.99544 | -0.086938 | 2.2536
76 | -0.0070789 | -0.0017738 | 0.0070789 | 0.0017738 | 6.4307e-08 | 2.1247e-08 | 0.010582 | 0.010582 | 0.010582 | 0.99544 | -0.086938 | 0.99545 | -0.086747 | 2.9071
77 | 0.0089205 | 0.0022357 | -0.0089189 | -0.002235 | 1.5959e-06 | 7.1006e-07 | 0.013332 | 0.013332 | 0.013332 | 0.99564 | -0.082991 | 0.99545 | -0.086747 | 3.6627
78 | 0.00082448 | 0.00020632 | -0.00082448 | -0.00020649 | 7.8815e-09 | -1.6994e-07 | 0.0012409 | 0.001241 | 0.001241 | 0.98857 | -0.21884 | 0.98856 | -0.21904 | 0.34093
79 | 0.00082448 | 0.00020649 | -0.00082447 | -0.00020663 | 6.6639e-09 | -1.4367e-07 | 0.001241 | 0.001241 | 0.001241 | 0.98856 | -0.21904 | 0.98855 | -0.21921 | 0.34094
80 | 0.05954 | 0.015086 | -0.059481 | -0.015048 | 5.9321e-05 | 3.771e-05 | 0.089351 | 0.089351 | 0.089351 | 0.99221 | -0.14866 | 0.99113 | -0.16942 | 24.5469
81 | -0.0011643 | -0.0002918 | 0.0011644 | 0.00029089 | 8.9754e-08 | -9.1079e-07 | 0.0017665 | 0.0017661 | 0.0017665 | 0.98077 | -0.36924 | 0.98085 | -0.36762 | 0.48529
82 | -0.0011644 | -0.00029089 | 0.0011649 | 0.00028562 | 5.1786e-07 | -5.2657e-06 | 0.0017661 | 0.0017641 | 0.0017661 | 0.98085 | -0.36762 | 0.98133 | -0.35819 | 0.48519

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2667 | 0.068025

## res_load
| p_mw | q_mvar
0 | 0.003724 | 0.00093333
1 | 0.0010241 | 0.00025666
2 | 0.0017149 | 0.00042979
3 | 0.0015695 | 0.00039336
4 | 0.002008 | 0.00050324
5 | 0.0044384 | 0.0011124
6 | 0.002342 | 0.00058695
7 | 0.0025126 | 0.00062973
8 | 0.002009 | 0.0005035
9 | 0.0073486 | 0.0018417
10 | 0.0034753 | 0.000871
11 | 0.0064972 | 0.0016283
12 | 0.00084421 | 0.00021158
13 | 0.0022764 | 0.00057052
14 | 0.0011581 | 0.00029025
15 | 0.00071274 | 0.00017863
16 | 0.0025766 | 0.00064577
17 | 0.0010181 | 0.00025516
18 | 0.0024981 | 0.00062608
19 | 0.0047473 | 0.0011898
20 | 0.00086628 | 0.00021711
21 | 0.0025077 | 0.00062849
22 | 0.00025555 | 6.4046e-05
23 | 0.0062295 | 0.0015613
24 | 0.0023436 | 0.00058736
25 | 0.092495 | 0.023181
26 | 0.040468 | 0.010142
27 | 0.00086478 | 0.00021673
28 | 0.0039021 | 0.00097795
29 | 0.00063703 | 0.00015966
30 | 0.0011243 | 0.00028178
31 | 0.016857 | 0.0042248
32 | 0.0046762 | 0.001172
33 | 0.0023207 | 0.00058163
34 | 0.0021189 | 0.00053105
35 | 0.0029646 | 0.000743
36 | 0.00081649 | 0.00020463
37 | 0.0019335 | 0.00048458
38 | 0.0015482 | 0.00038801
39 | 0.00053079 | 0.00013303
40 | 0.0014367 | 0.00036008
41 | 0.0054852 | 0.0013747
42 | 0.0015912 | 0.00039879
43 | 0.0018075 | 0.000453
44 | 0.0017786 | 0.00044576
45 | 0.0011603 | 0.00029079
46 | 0.0003651 | 9.1504e-05
47 | 0.0007284 | 0.00018255
48 | 0.00184 | 0.00046114
49 | 0.00082447 | 0.00020663
50 | 0.00091613 | 0.0002296
51 | 0.0011643 | 0.0002918
52 | 0.0018076 | 0.00045303

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1