## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2186-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2186-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2186-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2186-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2186-1_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2186-1_0_2_node_94 | 0.4 | n |  | TRUE
6 | bus_LV_2186-1_0_2_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_2186-1_0_2_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_2186-1_0_2_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_2186-1_0_2_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_2186-1_0_2_node_97 | 0.4 | n |  | TRUE
11 | bus_LV_2186-1_0_2_node_98 | 0.4 | n |  | TRUE
12 | bus_LV_2186-1_0_2_node_116 | 0.4 | n |  | TRUE
13 | bus_LV_2186-1_0_2_node_112 | 0.4 | n |  | TRUE
14 | bus_LV_2186-1_0_2_node_99 | 0.4 | n |  | TRUE
15 | bus_LV_2186-1_0_2_node_100 | 0.4 | n |  | TRUE
16 | bus_LV_2186-1_0_2_node_101 | 0.4 | n |  | TRUE
17 | bus_LV_2186-1_0_2_node_102 | 0.4 | n |  | TRUE
18 | bus_LV_2186-1_0_2_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_2186-1_0_2_node_104 | 0.4 | n |  | TRUE
20 | bus_LV_2186-1_0_2_node_111 | 0.4 | n |  | TRUE
21 | bus_LV_2186-1_0_2_node_105 | 0.4 | n |  | TRUE
22 | bus_LV_2186-1_0_2_node_106 | 0.4 | n |  | TRUE
23 | bus_LV_2186-1_0_2_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_2186-1_0_2_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_2186-1_0_2_node_109 | 0.4 | n |  | TRUE
26 | bus_LV_2186-1_0_2_node_110 | 0.4 | n |  | TRUE
27 | bus_LV_2186-1_0_2_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_2186-1_0_2_node_130 | 0.4 | n |  | TRUE
29 | bus_LV_2186-1_0_2_node_125 | 0.4 | n |  | TRUE
30 | bus_LV_2186-1_0_2_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_2186-1_0_2_node_128 | 0.4 | n |  | TRUE
32 | bus_LV_2186-1_0_2_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_2186-1_0_2_node_134 | 0.4 | n |  | TRUE
34 | bus_LV_2186-1_0_2_node_132 | 0.4 | n |  | TRUE
35 | bus_LV_2186-1_0_2_node_113 | 0.4 | n |  | TRUE
36 | bus_LV_2186-1_0_2_node_114 | 0.4 | n |  | TRUE
37 | bus_LV_2186-1_0_2_node_131 | 0.4 | n |  | TRUE
38 | bus_LV_2186-1_0_2_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_2186-1_0_2_node_140 | 0.4 | n |  | TRUE
40 | bus_LV_2186-1_0_2_node_138 | 0.4 | n |  | TRUE
41 | bus_LV_2186-1_0_2_node_4 | 0.4 | n |  | TRUE
42 | bus_LV_2186-1_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2186-1_0_2_node_5 | 0.4 | n |  | TRUE
44 | bus_LV_2186-1_0_2_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_2186-1_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_2186-1_0_2_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_2186-1_0_2_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_2186-1_0_2_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_2186-1_0_2_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_2186-1_0_2_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_2186-1_0_2_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_2186-1_0_2_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_2186-1_0_2_node_120 | 0.4 | n |  | TRUE
54 | bus_LV_2186-1_0_2_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_2186-1_0_2_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_2186-1_0_2_node_135 | 0.4 | n |  | TRUE
57 | bus_LV_2186-1_0_2_node_136 | 0.4 | n |  | TRUE
58 | bus_LV_2186-1_0_2_node_137 | 0.4 | n |  | TRUE
59 | bus_LV_2186-1_0_2_node_139 | 0.4 | n |  | TRUE
60 | bus_LV_2186-1_0_2_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_2186-1_0_2_node_23 | 0.4 | n |  | TRUE
62 | bus_LV_2186-1_0_2_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_2186-1_0_2_node_12 | 0.4 | n |  | TRUE
64 | bus_LV_2186-1_0_2_node_13 | 0.4 | n |  | TRUE
65 | bus_LV_2186-1_0_2_node_14 | 0.4 | n |  | TRUE
66 | bus_LV_2186-1_0_2_node_169 | 0.4 | n |  | TRUE
67 | bus_LV_2186-1_0_2_node_167 | 0.4 | n |  | TRUE
68 | bus_LV_2186-1_0_2_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_2186-1_0_2_node_21 | 0.4 | n |  | TRUE
70 | bus_LV_2186-1_0_2_node_168 | 0.4 | n |  | TRUE
71 | bus_LV_2186-1_0_2_node_20 | 0.4 | n |  | TRUE
72 | bus_LV_2186-1_0_2_node_32 | 0.4 | n |  | TRUE
73 | bus_LV_2186-1_0_2_node_166 | 0.4 | n |  | TRUE
74 | bus_LV_2186-1_0_2_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_2186-1_0_2_node_36 | 0.4 | n |  | TRUE
76 | bus_LV_2186-1_0_2_node_18 | 0.4 | n |  | TRUE
77 | bus_LV_2186-1_0_2_node_19 | 0.4 | n |  | TRUE
78 | bus_LV_2186-1_0_2_node_22 | 0.4 | n |  | TRUE
79 | bus_LV_2186-1_0_2_node_29 | 0.4 | n |  | TRUE
80 | bus_LV_2186-1_0_2_node_30 | 0.4 | n |  | TRUE
81 | bus_LV_2186-1_0_2_node_31 | 0.4 | n |  | TRUE
82 | bus_LV_2186-1_0_2_node_33 | 0.4 | n |  | TRUE
83 | bus_LV_2186-1_0_2_node_34 | 0.4 | n |  | TRUE
84 | bus_LV_2186-1_0_2_node_165 | 0.4 | n |  | TRUE
85 | bus_LV_2186-1_0_2_node_170 | 0.4 | n |  | TRUE
86 | bus_LV_2186-1_0_2_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_2186-1_0_2_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_2186-1_0_2_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_2186-1_0_2_node_40 | 0.4 | n |  | TRUE
90 | bus_LV_2186-1_0_2_node_43 | 0.4 | n |  | TRUE
91 | bus_LV_2186-1_0_2_node_44 | 0.4 | n |  | TRUE
92 | bus_LV_2186-1_0_2_node_57 | 0.4 | n |  | TRUE
93 | bus_MV_27_2_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2186-1_0_2_load_0 | 0 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2186-1_0_2_load_1 | 1 | 0.0021488 | 0.00053854 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2186-1_0_2_load_3 | 3 | 0.0023182 | 0.00058098 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2186-1_0_2_load_94 | 5 | 0.003065 | 0.00076817 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2186-1_0_2_load_93 | 6 | 0.00063203 | 0.0001584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2186-1_0_2_load_91 | 8 | 0.0035909 | 0.00089997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2186-1_0_2_load_96 | 9 | 0.0011069 | 0.00027743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2186-1_0_2_load_98 | 11 | 0.0022768 | 0.00057061 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2186-1_0_2_load_112 | 13 | 0.0026535 | 0.00066503 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2186-1_0_2_load_99 | 14 | 0.001915 | 0.00047995 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2186-1_0_2_load_101 | 16 | 0.0025844 | 0.00064771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2186-1_0_2_load_102 | 17 | 0.001336 | 0.00033485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2186-1_0_2_load_103 | 18 | 0.00068238 | 0.00017102 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2186-1_0_2_load_111 | 20 | 0.0027387 | 0.00068637 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2186-1_0_2_load_105 | 21 | 0.0033486 | 0.00083923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2186-1_0_2_load_106 | 22 | 0.0025979 | 0.0006511 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2186-1_0_2_load_107 | 23 | 0.0023513 | 0.0005893 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2186-1_0_2_load_108 | 24 | 0.0033771 | 0.00084638 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2186-1_0_2_load_110 | 26 | 0.0015534 | 0.00038931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2186-1_0_2_load_126 | 27 | 0.0050799 | 0.0012732 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2186-1_0_2_load_130 | 28 | 0.0036475 | 0.00091414 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2186-1_0_2_load_125 | 29 | 0.0044274 | 0.0011096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2186-1_0_2_load_128 | 31 | 0.0036205 | 0.00090739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2186-1_0_2_load_129 | 32 | 0.0038203 | 0.00095745 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2186-1_0_2_load_113 | 35 | 0.0019458 | 0.00048766 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2186-1_0_2_load_114 | 36 | 0.001682 | 0.00042155 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2186-1_0_2_load_131 | 37 | 0.0064587 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2186-1_0_2_load_140 | 39 | 0.0022218 | 0.00055683 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2186-1_0_2_load_25 | 42 | 0.0025989 | 0.00065133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2186-1_0_2_load_27 | 45 | 0.011855 | 0.0029712 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2186-1_0_2_load_26 | 46 | 0.0015613 | 0.0003913 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2186-1_0_2_load_92 | 47 | 0.0024874 | 0.00062341 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2186-1_0_2_load_115 | 48 | 0.00054778 | 0.00013729 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2186-1_0_2_load_121 | 49 | 0.0017574 | 0.00044044 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2186-1_0_2_load_119 | 50 | 0.0015733 | 0.0003943 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2186-1_0_2_load_117 | 51 | 0.0024026 | 0.00060214 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2186-1_0_2_load_118 | 52 | 0.0014645 | 0.00036703 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2186-1_0_2_load_120 | 53 | 0.0020641 | 0.00051731 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2186-1_0_2_load_122 | 54 | 0.00066677 | 0.00016711 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2186-1_0_2_load_123 | 55 | 0.0038628 | 0.00096811 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2186-1_0_2_load_135 | 56 | 0.0021395 | 0.00053621 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2186-1_0_2_load_136 | 57 | 0.0015914 | 0.00039884 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2186-1_0_2_load_137 | 58 | 0.00080377 | 0.00020144 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2186-1_0_2_load_139 | 59 | 0.0019466 | 0.00048785 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2186-1_0_2_load_141 | 60 | 0.0049362 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2186-1_0_2_load_23 | 61 | 0.0013414 | 0.00033619 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2186-1_0_2_load_28 | 62 | 0.011418 | 0.0028616 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2186-1_0_2_load_12 | 63 | 0.00047221 | 0.00011835 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2186-1_0_2_load_169 | 66 | 0.00028826 | 7.2244e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2186-1_0_2_load_167 | 67 | 0.001204 | 0.00030174 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2186-1_0_2_load_21 | 69 | 0.00056786 | 0.00014232 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2186-1_0_2_load_168 | 70 | 0.00035107 | 8.7986e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2186-1_0_2_load_32 | 72 | 0.0012118 | 0.00030371 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2186-1_0_2_load_166 | 73 | 0.00018002 | 4.5116e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2186-1_0_2_load_37 | 74 | 0.00030159 | 7.5585e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2186-1_0_2_load_36 | 75 | 0.00051627 | 0.00012939 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2186-1_0_2_load_18 | 76 | 0.00076669 | 0.00019215 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2186-1_0_2_load_29 | 79 | 0.005119 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2186-1_0_2_load_30 | 80 | 0.0096586 | 0.0024207 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2186-1_0_2_load_33 | 82 | 0.016319 | 0.0040899 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2186-1_0_2_load_165 | 84 | 0.00071854 | 0.00018008 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2186-1_0_2_load_170 | 85 | 0.0031222 | 0.00078251 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2186-1_0_2_load_85 | 87 | 0.0047091 | 0.0011802 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2186-1_0_2_load_43 | 90 | 0.0036041 | 0.00090326 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2186-1_0_2_load_44 | 91 | 0.0015678 | 0.00039293 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2186-1_0_2_load_57 | 92 | 0.0016309 | 0.00040874 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2186-1_0_2_line_0 |  | 0 | 1 | 0.092686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2186-1_0_2_line_1 |  | 0 | 2 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2186-1_0_2_line_2 |  | 1 | 3 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2186-1_0_2_line_3 |  | 2 | 4 | 0.052561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2186-1_0_2_line_4 |  | 2 | 5 | 0.044833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2186-1_0_2_line_5 |  | 4 | 45 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2186-1_0_2_line_6 |  | 4 | 46 | 0.012904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2186-1_0_2_line_7 |  | 4 | 41 | 0.039695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2186-1_0_2_line_8 |  | 5 | 47 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2186-1_0_2_line_9 |  | 6 | 7 | 0.017056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_2186-1_0_2_line_10 |  | 6 | 8 | 0.050046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_2186-1_0_2_line_11 |  | 7 | 9 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2186-1_0_2_line_12 |  | 7 | 10 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2186-1_0_2_line_13 |  | 8 | 47 | 0.0070372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2186-1_0_2_line_14 |  | 9 | 11 | 0.027781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_2186-1_0_2_line_15 |  | 10 | 12 | 0.058309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2186-1_0_2_line_16 |  | 10 | 13 | 0.014921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2186-1_0_2_line_17 |  | 12 | 31 | 0.095889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2186-1_0_2_line_18 |  | 13 | 19 | 0.0072238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2186-1_0_2_line_19 |  | 14 | 15 | 0.031802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2186-1_0_2_line_20 |  | 14 | 16 | 0.0045917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2186-1_0_2_line_21 |  | 15 | 17 | 0.010518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2186-1_0_2_line_22 |  | 17 | 18 | 0.0055185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2186-1_0_2_line_23 |  | 18 | 19 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2186-1_0_2_line_24 |  | 19 | 20 | 0.02597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2186-1_0_2_line_25 |  | 20 | 35 | 0.0048802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2186-1_0_2_line_26 |  | 21 | 22 | 0.0062319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2186-1_0_2_line_27 |  | 21 | 23 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2186-1_0_2_line_28 |  | 22 | 24 | 0.023176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2186-1_0_2_line_29 |  | 23 | 25 | 0.037047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2186-1_0_2_line_30 |  | 24 | 26 | 0.030138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2186-1_0_2_line_31 |  | 25 | 27 | 0.011352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2186-1_0_2_line_32 |  | 25 | 28 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2186-1_0_2_line_33 |  | 27 | 29 | 0.0029807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2186-1_0_2_line_34 |  | 29 | 30 | 0.018688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2186-1_0_2_line_35 |  | 30 | 31 | 0.042623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2186-1_0_2_line_36 |  | 30 | 32 | 0.034714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2186-1_0_2_line_37 |  | 32 | 33 | 0.0296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2186-1_0_2_line_38 |  | 33 | 34 | 0.010676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2186-1_0_2_line_39 |  | 34 | 37 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2186-1_0_2_line_40 |  | 35 | 36 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2186-1_0_2_line_41 |  | 36 | 48 | 0.006834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2186-1_0_2_line_42 |  | 37 | 38 | 0.043755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2186-1_0_2_line_43 |  | 38 | 56 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2186-1_0_2_line_44 |  | 38 | 57 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2186-1_0_2_line_45 |  | 39 | 40 | 0.009123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2186-1_0_2_line_46 |  | 40 | 59 | 0.0053329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2186-1_0_2_line_47 |  | 40 | 58 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2186-1_0_2_line_48 |  | 41 | 42 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2186-1_0_2_line_49 |  | 42 | 43 | 0.013196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2186-1_0_2_line_50 |  | 43 | 44 | 0.023953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2186-1_0_2_line_51 |  | 44 | 61 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2186-1_0_2_line_52 |  | 45 | 62 | 0.053837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2186-1_0_2_line_53 |  | 48 | 49 | 0.020489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2186-1_0_2_line_54 |  | 48 | 50 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2186-1_0_2_line_55 |  | 49 | 54 | 0.0052135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2186-1_0_2_line_56 |  | 50 | 51 | 0.0003469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2186-1_0_2_line_57 |  | 51 | 52 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2186-1_0_2_line_58 |  | 52 | 53 | 0.0071557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2186-1_0_2_line_59 |  | 54 | 55 | 0.019479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2186-1_0_2_line_60 |  | 56 | 58 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2186-1_0_2_line_61 |  | 59 | 60 | 0.013819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2186-1_0_2_line_62 |  | 61 | 77 | 0.0058337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2186-1_0_2_line_63 |  | 63 | 64 | 0.036389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2186-1_0_2_line_64 |  | 64 | 65 | 0.006692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2186-1_0_2_line_65 |  | 65 | 68 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2186-1_0_2_line_66 |  | 65 | 69 | 0.012586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2186-1_0_2_line_67 |  | 66 | 67 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2186-1_0_2_line_68 |  | 67 | 73 | 0.0055412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2186-1_0_2_line_69 |  | 68 | 74 | 0.0074035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2186-1_0_2_line_70 |  | 68 | 75 | 0.022565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2186-1_0_2_line_71 |  | 69 | 71 | 0.0096338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2186-1_0_2_line_72 |  | 70 | 71 | 0.097897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2186-1_0_2_line_73 |  | 70 | 72 | 0.028067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2186-1_0_2_line_74 |  | 70 | 73 | 0.00083486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2186-1_0_2_line_75 |  | 72 | 78 | 0.021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2186-1_0_2_line_76 |  | 76 | 77 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2186-1_0_2_line_77 |  | 77 | 78 | 0.033325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2186-1_0_2_line_78 |  | 78 | 79 | 0.04631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2186-1_0_2_line_79 |  | 79 | 80 | 0.031228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2186-1_0_2_line_80 |  | 80 | 81 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2186-1_0_2_line_81 |  | 81 | 82 | 0.052488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_2186-1_0_2_line_82 |  | 81 | 83 | 0.036193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2186-1_0_2_line_83 |  | 82 | 84 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_2186-1_0_2_line_84 |  | 83 | 85 | 0.063261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2186-1_0_2_line_85 |  | 83 | 86 | 0.058962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2186-1_0_2_line_86 |  | 86 | 87 | 0.027202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2186-1_0_2_line_87 |  | 86 | 88 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2186-1_0_2_line_88 |  | 88 | 91 | 0.0003833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2186-1_0_2_line_89 |  | 89 | 90 | 0.034894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2186-1_0_2_line_90 |  | 89 | 91 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2186-1_0_2_line_91 |  | 90 | 92 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2186-1_0_2_trafo_98 | 0.63 MVA 20/0.4 kV | 93 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2569150.0295 | 1177866.3975 | 2569175.4299 | 1177867.8058 | 2569236.6433 | 1177873.9493 | 2569242.2888 | 1177874.9037
1 | 2569129.2037 | 1177865.2429 | 2569150.0295 | 1177866.3975
2 | 2569260.7029 | 1177878.0166 | 2569242.2888 | 1177874.9037
3 | 2569129.2037 | 1177865.2429 | 2569129.3563 | 1177860.762 | 2569129.5666 | 1177854.1241 | 2569129.9559 | 1177842.2159 | 2569114.2733 | 1177840.1402 | 2569115.3795 | 1177826.483
4 | 2569129.2037 | 1177865.2429 | 2569114.9513 | 1177907.7497
5 | 2569115.3795 | 1177826.483 | 2569136.5354 | 1177826.0377
6 | 2569115.3795 | 1177826.483 | 2569114.2636 | 1177813.6268
7 | 2569088.8778 | 1177834.8909 | 2569102.0239 | 1177838.5138 | 2569114.2733 | 1177840.1402 | 2569115.3795 | 1177826.483
8 | 2569114.9513 | 1177907.7497 | 2569107.6812 | 1177929.8777
9 | 2569152.7994 | 1177967.4188 | 2569136.133 | 1177963.7949
10 | 2569105.4847 | 1177936.5634 | 2569101.8168 | 1177947.7273 | 2569109.0721 | 1177952.9481 | 2569126.6305 | 1177961.7287 | 2569136.133 | 1177963.7949
11 | 2569152.7994 | 1177967.4188 | 2569156.6493 | 1177956.2076
12 | 2569159.8054 | 1177976.1761 | 2569157.8169 | 1177969.8831 | 2569152.7994 | 1177967.4188
13 | 2569105.4847 | 1177936.5634 | 2569107.6812 | 1177929.8777
14 | 2569165.6719 | 1177929.9329 | 2569156.6493 | 1177956.2076
15 | 2569103.3063 | 1177966.8407 | 2569108.0182 | 1177964.8709 | 2569117.7524 | 1177964.8206 | 2569145.1818 | 1177973.4057 | 2569159.8054 | 1177976.1761
16 | 2569159.8054 | 1177976.1761 | 2569174.4669 | 1177978.9469
17 | 2569103.3063 | 1177966.8407 | 2569107.8019 | 1177976.2446 | 2569113.8144 | 1177995.2901 | 2569116.4797 | 1178043.835 | 2569118.906 | 1178060.5359
18 | 2569181.565 | 1177980.2883 | 2569174.4669 | 1177978.9469
19 | 2569168.9866 | 1178003.6987 | 2569159.1869 | 1178001.4258 | 2569142.2381 | 1177996.7108 | 2569138.1873 | 1177997.6131
20 | 2569133.7054 | 1177998.6114 | 2569138.1873 | 1177997.6131
21 | 2569168.9866 | 1178003.6987 | 2569175.6462 | 1178000.1069 | 2569177.294 | 1177997.6576
22 | 2569177.294 | 1177997.6576 | 2569178.5731 | 1177995.7562 | 2569179.1859 | 1177992.588
23 | 2569181.565 | 1177980.2883 | 2569179.1859 | 1177992.588
24 | 2569181.565 | 1177980.2883 | 2569207.0833 | 1177985.1087
25 | 2569211.8787 | 1177986.0145 | 2569207.0833 | 1177985.1087
26 | 2569151.1514 | 1178032.1912 | 2569150.8336 | 1178030.673 | 2569154.5092 | 1178027.7748
27 | 2569151.1514 | 1178032.1912 | 2569155.0173 | 1178050.6584
28 | 2569154.5092 | 1178027.7748 | 2569154.5092 | 1178027.7748 | 2569176.8646 | 1178033.8871
29 | 2569162.608 | 1178086.9194 | 2569155.0173 | 1178050.6584
30 | 2569176.8646 | 1178033.8871 | 2569205.9352 | 1178041.8356
31 | 2569162.608 | 1178086.9194 | 2569152.2806 | 1178091.6313
32 | 2569162.608 | 1178086.9194 | 2569180.5581 | 1178079.6323
33 | 2569149.5689 | 1178092.8685 | 2569152.2806 | 1178091.6313
34 | 2569132.5666 | 1178100.6259 | 2569149.5689 | 1178092.8685
35 | 2569132.5666 | 1178100.6259 | 2569120.5757 | 1178072.0285 | 2569118.906 | 1178060.5359
36 | 2569132.5666 | 1178100.6259 | 2569151.1876 | 1178129.923
37 | 2569165.0196 | 1178155.9651 | 2569159.998 | 1178143.7847 | 2569151.1876 | 1178129.923
38 | 2569165.0196 | 1178155.9651 | 2569168.5524 | 1178156.5139 | 2569171.7089 | 1178158.1651 | 2569174.1672 | 1178160.7427
39 | 2569174.1672 | 1178160.7427 | 2569182.0744 | 1178154.6432 | 2569187.7437 | 1178151.99
40 | 2569211.8787 | 1177986.0145 | 2569213.9327 | 1177986.4025 | 2569236.8651 | 1177991.7123
41 | 2569243.5229 | 1177993.2538 | 2569236.8651 | 1177991.7123
42 | 2569227.3737 | 1178133.4433 | 2569187.7437 | 1178151.99
43 | 2569227.3737 | 1178133.4433 | 2569225.8711 | 1178115.6676
44 | 2569227.3737 | 1178133.4433 | 2569238.0219 | 1178128.4192 | 2569245.6676 | 1178127.4725
45 | 2569214.5678 | 1178084.4837 | 2569223.4276 | 1178086.7615
46 | 2569223.4276 | 1178086.7615 | 2569228.5749 | 1178088.1558
47 | 2569223.4276 | 1178086.7615 | 2569224.5643 | 1178100.2086
48 | 2569088.8778 | 1177834.8909 | 2569076.9598 | 1177834.3245
49 | 2569063.7784 | 1177833.6979 | 2569076.9598 | 1177834.3245
50 | 2569063.7784 | 1177833.6979 | 2569059.1315 | 1177833.4774 | 2569052.2068 | 1177831.6456 | 2569041.9716 | 1177825.0173
51 | 2569041.9716 | 1177825.0173 | 2569046.9087 | 1177819.2999 | 2569055.0591 | 1177813.1037
52 | 2569184.1888 | 1177819.3354 | 2569184.6537 | 1177825.0248 | 2569136.5354 | 1177826.0377
53 | 2569243.5229 | 1177993.2538 | 2569263.4858 | 1177997.8691
54 | 2569243.5229 | 1177993.2538 | 2569239.2925 | 1178013.0311
55 | 2569268.5653 | 1177999.0434 | 2569263.4858 | 1177997.8691
56 | 2569239.2199 | 1178013.3704 | 2569239.2925 | 1178013.0311
57 | 2569239.2199 | 1178013.3704 | 2569236.7973 | 1178024.6965
58 | 2569235.3005 | 1178031.6939 | 2569236.7973 | 1178024.6965
59 | 2569287.4636 | 1178003.7472 | 2569280.4951 | 1178001.8015 | 2569268.5653 | 1177999.0434
60 | 2569225.8711 | 1178115.6676 | 2569224.5643 | 1178100.2086
61 | 2569241.9134 | 1178091.769 | 2569228.5749 | 1178088.1558
62 | 2569059.7031 | 1177809.5731 | 2569055.0591 | 1177813.1037
63 | 2569070.9003 | 1177635.9136 | 2569071.3049 | 1177637.3234 | 2569073.9928 | 1177639.9219 | 2569080.1394 | 1177641.969 | 2569103.9785 | 1177635.4847
64 | 2569066.195 | 1177640.6849 | 2569070.9003 | 1177635.9136
65 | 2569066.195 | 1177640.6849 | 2569076.1269 | 1177644.769
66 | 2569066.195 | 1177640.6849 | 2569063.9374 | 1177642.9755 | 2569060.5692 | 1177651.7191
67 | 2569112.4147 | 1177750.7342 | 2569099.962 | 1177751.2761
68 | 2569094.426 | 1177751.517 | 2569099.962 | 1177751.2761
69 | 2569076.1269 | 1177644.769 | 2569073.9244 | 1177651.8373
70 | 2569076.1269 | 1177644.769 | 2569092.897 | 1177645.7494 | 2569092.7476 | 1177649.3521 | 2569094.8894 | 1177649.6378
71 | 2569057.1062 | 1177660.709 | 2569060.5692 | 1177651.7191
72 | 2569093.592 | 1177751.5533 | 2569057.1062 | 1177660.709
73 | 2569093.592 | 1177751.5533 | 2569089.1585 | 1177751.7462 | 2569087.1876 | 1177754.8135 | 2569088.1834 | 1177774.772
74 | 2569094.426 | 1177751.517 | 2569093.592 | 1177751.5533
75 | 2569089.593 | 1177795.878 | 2569088.2617 | 1177776.3414 | 2569088.1834 | 1177774.772
76 | 2569059.7031 | 1177809.5731 | 2569057.8317 | 1177800.856 | 2569057.2986 | 1177784.4879
77 | 2569059.7031 | 1177809.5731 | 2569069.4986 | 1177802.1296 | 2569087.0728 | 1177796.1468 | 2569089.593 | 1177795.878
78 | 2569089.593 | 1177795.878 | 2569119.5602 | 1177792.666 | 2569135.6538 | 1177791.0863
79 | 2569166.7322 | 1177788.0357 | 2569135.6538 | 1177791.0863
80 | 2569179.0926 | 1177786.8225 | 2569166.7322 | 1177788.0357
81 | 2569179.0926 | 1177786.8225 | 2569179.7323 | 1177780.4714 | 2569177.508 | 1177759.5942 | 2569173.7103 | 1177744.7728 | 2569171.9143 | 1177743.2145 | 2569164.4941 | 1177743.6166
82 | 2569215.3401 | 1177787.903 | 2569182.8654 | 1177786.4473 | 2569179.0926 | 1177786.8225
83 | 2569150.6013 | 1177744.3695 | 2569164.4941 | 1177743.6166
84 | 2569215.3401 | 1177787.903 | 2569224.6652 | 1177797.371 | 2569229.5269 | 1177803.6826 | 2569231.6712 | 1177809.0744 | 2569232.7659 | 1177815.4054 | 2569231.9751 | 1177822.0907 | 2569228.2716 | 1177834.4384 | 2569218.1408 | 1177833.201
85 | 2569215.3401 | 1177787.903 | 2569217.9845 | 1177788.0228 | 2569236.5372 | 1177790.9955 | 2569272.7007 | 1177801.0148
86 | 2569272.7007 | 1177801.0148 | 2569264.5106 | 1177826.9544
87 | 2569297.3889 | 1177809.8926 | 2569277.9647 | 1177802.3662 | 2569272.7007 | 1177801.0148
88 | 2569297.3889 | 1177809.8926 | 2569297.7463 | 1177810.0312
89 | 2569313.7428 | 1177816.2342 | 2569302.8938 | 1177849.399
90 | 2569313.7428 | 1177816.2342 | 2569297.7463 | 1177810.0312
91 | 2569314.3701 | 1177855.2521 | 2569302.0898 | 1177851.857 | 2569302.8938 | 1177849.399

## bus_geodata
| x | y | coords
0 | 2569150.0295 | 1177866.3975
1 | 2569242.2888 | 1177874.9037
2 | 2569129.2037 | 1177865.2429
3 | 2569260.7029 | 1177878.0166
4 | 2569115.3795 | 1177826.483
5 | 2569114.9513 | 1177907.7497
6 | 2569136.133 | 1177963.7949
7 | 2569152.7994 | 1177967.4188
8 | 2569105.4847 | 1177936.5634
9 | 2569156.6493 | 1177956.2076
10 | 2569159.8054 | 1177976.1761
11 | 2569165.6719 | 1177929.9329
12 | 2569103.3063 | 1177966.8407
13 | 2569174.4669 | 1177978.9469
14 | 2569138.1873 | 1177997.6131
15 | 2569168.9866 | 1178003.6987
16 | 2569133.7054 | 1177998.6114
17 | 2569177.294 | 1177997.6576
18 | 2569179.1859 | 1177992.588
19 | 2569181.565 | 1177980.2883
20 | 2569207.0833 | 1177985.1087
21 | 2569151.1514 | 1178032.1912
22 | 2569154.5092 | 1178027.7748
23 | 2569155.0173 | 1178050.6584
24 | 2569176.8646 | 1178033.8871
25 | 2569162.608 | 1178086.9194
26 | 2569205.9352 | 1178041.8356
27 | 2569152.2806 | 1178091.6313
28 | 2569180.5581 | 1178079.6323
29 | 2569149.5689 | 1178092.8685
30 | 2569132.5666 | 1178100.6259
31 | 2569118.906 | 1178060.5359
32 | 2569151.1876 | 1178129.923
33 | 2569165.0196 | 1178155.9651
34 | 2569174.1672 | 1178160.7427
35 | 2569211.8787 | 1177986.0145
36 | 2569236.8651 | 1177991.7123
37 | 2569187.7437 | 1178151.99
38 | 2569227.3737 | 1178133.4433
39 | 2569214.5678 | 1178084.4837
40 | 2569223.4276 | 1178086.7615
41 | 2569088.8778 | 1177834.8909
42 | 2569076.9598 | 1177834.3245
43 | 2569063.7784 | 1177833.6979
44 | 2569041.9716 | 1177825.0173
45 | 2569136.5354 | 1177826.0377
46 | 2569114.2636 | 1177813.6268
47 | 2569107.6812 | 1177929.8777
48 | 2569243.5229 | 1177993.2538
49 | 2569263.4858 | 1177997.8691
50 | 2569239.2925 | 1178013.0311
51 | 2569239.2199 | 1178013.3704
52 | 2569236.7973 | 1178024.6965
53 | 2569235.3005 | 1178031.6939
54 | 2569268.5653 | 1177999.0434
55 | 2569287.4636 | 1178003.7472
56 | 2569225.8711 | 1178115.6676
57 | 2569245.6676 | 1178127.4725
58 | 2569224.5643 | 1178100.2086
59 | 2569228.5749 | 1178088.1558
60 | 2569241.9134 | 1178091.769
61 | 2569055.0591 | 1177813.1037
62 | 2569184.1888 | 1177819.3354
63 | 2569103.9785 | 1177635.4847
64 | 2569070.9003 | 1177635.9136
65 | 2569066.195 | 1177640.6849
66 | 2569112.4147 | 1177750.7342
67 | 2569099.962 | 1177751.2761
68 | 2569076.1269 | 1177644.769
69 | 2569060.5692 | 1177651.7191
70 | 2569093.592 | 1177751.5533
71 | 2569057.1062 | 1177660.709
72 | 2569088.1834 | 1177774.772
73 | 2569094.426 | 1177751.517
74 | 2569073.9244 | 1177651.8373
75 | 2569094.8894 | 1177649.6378
76 | 2569057.2986 | 1177784.4879
77 | 2569059.7031 | 1177809.5731
78 | 2569089.593 | 1177795.878
79 | 2569135.6538 | 1177791.0863
80 | 2569166.7322 | 1177788.0357
81 | 2569179.0926 | 1177786.8225
82 | 2569164.4941 | 1177743.6166
83 | 2569215.3401 | 1177787.903
84 | 2569150.6013 | 1177744.3695
85 | 2569218.1408 | 1177833.201
86 | 2569272.7007 | 1177801.0148
87 | 2569264.5106 | 1177826.9544
88 | 2569297.3889 | 1177809.8926
89 | 2569313.7428 | 1177816.2342
90 | 2569302.8938 | 1177849.399
91 | 2569297.7463 | 1177810.0312
92 | 2569314.3701 | 1177855.2521
93 | 2569152.7994 | 1177967.4188

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9862 | -0.26305 | 0.010023 | 0.0025121
1 | 0.98582 | -0.27048 | 0.0021488 | 0.00053854
2 | 0.98648 | -0.25764 | 0 | 0
3 | 0.98578 | -0.27126 | 0.0023182 | 0.00058098
4 | 0.98251 | -0.33431 | 0 | 0
5 | 0.99046 | -0.18117 | 0.003065 | 0.00076817
6 | 0.99569 | -0.081642 | 0.00063203 | 0.0001584
7 | 0.99652 | -0.065855 | 0 | 0
8 | 0.99325 | -0.12784 | 0.0035909 | 0.00089997
9 | 0.99756 | -0.046191 | 0.0011069 | 0.00027743
10 | 0.99558 | -0.083787 | 0 | 0
11 | 1 | 0 | -0.19499 | -0.049628
12 | 0.99269 | -0.13925 | 0 | 0
13 | 0.99518 | -0.091631 | 0.0026535 | 0.00066503
14 | 0.99472 | -0.10045 | 0.001915 | 0.00047995
15 | 0.99485 | -0.097932 | 0 | 0
16 | 0.99471 | -0.10066 | 0.0025844 | 0.00064771
17 | 0.99489 | -0.097099 | 0.001336 | 0.00033485
18 | 0.99492 | -0.096532 | 0.00068238 | 0.00017102
19 | 0.995 | -0.095093 | 0 | 0
20 | 0.99451 | -0.10457 | 0.0027387 | 0.00068637
21 | 0.98462 | -0.29551 | 0.0033486 | 0.00083923
22 | 0.98457 | -0.29635 | 0.0025979 | 0.0006511
23 | 0.98481 | -0.29182 | 0.0023513 | 0.0005893
24 | 0.98447 | -0.2984 | 0.0033771 | 0.00084638
25 | 0.98526 | -0.28301 | 0 | 0
26 | 0.98443 | -0.29925 | 0.0015534 | 0.00038931
27 | 0.98543 | -0.27957 | 0.0050799 | 0.0012732
28 | 0.98519 | -0.28428 | 0.0036475 | 0.00091414
29 | 0.98549 | -0.2784 | 0.0044274 | 0.0011096
30 | 0.98595 | -0.26955 | 0 | 0
31 | 0.98792 | -0.23117 | 0.0036205 | 0.00090739
32 | 0.98518 | -0.28445 | 0.0038203 | 0.00095745
33 | 0.98463 | -0.29514 | 0 | 0
34 | 0.98444 | -0.299 | 0 | 0
35 | 0.99443 | -0.10611 | 0.0019458 | 0.00048766
36 | 0.99405 | -0.11335 | 0.001682 | 0.00042155
37 | 0.98414 | -0.30488 | 0.0064587 | 0.0016187
38 | 0.98359 | -0.31563 | 0 | 0
39 | 0.98311 | -0.32485 | 0.0022218 | 0.00055683
40 | 0.98313 | -0.32449 | 0 | 0
41 | 0.98043 | -0.37473 | 0 | 0
42 | 0.9798 | -0.38691 | 0.0025989 | 0.00065133
43 | 0.97914 | -0.39978 | 0 | 0
44 | 0.97794 | -0.42318 | 0 | 0
45 | 0.98206 | -0.3432 | 0.011855 | 0.0029712
46 | 0.98249 | -0.33467 | 0.0015613 | 0.0003913
47 | 0.99259 | -0.14043 | 0.0024874 | 0.00062341
48 | 0.99396 | -0.11508 | 0.00054778 | 0.00013729
49 | 0.99385 | -0.11736 | 0.0017574 | 0.00044044
50 | 0.99383 | -0.11776 | 0.0015733 | 0.0003943
51 | 0.99382 | -0.1178 | 0.0024026 | 0.00060214
52 | 0.99379 | -0.11852 | 0.0014645 | 0.00036703
53 | 0.99377 | -0.11878 | 0.0020641 | 0.00051731
54 | 0.99383 | -0.11777 | 0.00066677 | 0.00016711
55 | 0.99376 | -0.1191 | 0.0038628 | 0.00096811
56 | 0.98339 | -0.3195 | 0.0021395 | 0.00053621
57 | 0.98356 | -0.31619 | 0.0015914 | 0.00039884
58 | 0.98325 | -0.32227 | 0.00080377 | 0.00020144
59 | 0.9831 | -0.32515 | 0.0019466 | 0.00048785
60 | 0.98304 | -0.32638 | 0.0049362 | 0.0012371
61 | 0.97705 | -0.4406 | 0.0013414 | 0.00033619
62 | 0.98149 | -0.35432 | 0.011418 | 0.0028616
63 | 0.97474 | -0.48595 | 0.00047221 | 0.00011835
64 | 0.97475 | -0.48563 | 0 | 0
65 | 0.97476 | -0.48557 | 0 | 0
66 | 0.97495 | -0.48184 | 0.00028826 | 7.2244e-05
67 | 0.97495 | -0.48178 | 0.001204 | 0.00030174
68 | 0.97475 | -0.48573 | 0 | 0
69 | 0.97477 | -0.48528 | 0.00056786 | 0.00014232
70 | 0.97496 | -0.4816 | 0.00035107 | 8.7986e-05
71 | 0.97479 | -0.48495 | 0 | 0
72 | 0.97506 | -0.4796 | 0.0012118 | 0.00030371
73 | 0.97496 | -0.48163 | 0.00018002 | 4.5116e-05
74 | 0.97475 | -0.48578 | 0.00030159 | 7.5585e-05
75 | 0.97474 | -0.48595 | 0.00051627 | 0.00012939
76 | 0.97674 | -0.44653 | 0.00076669 | 0.00019215
77 | 0.97676 | -0.44618 | 0 | 0
78 | 0.97516 | -0.47762 | 0 | 0
79 | 0.97315 | -0.51714 | 0.005119 | 0.0012829
80 | 0.97194 | -0.54093 | 0.0096586 | 0.0024207
81 | 0.97158 | -0.54819 | 0 | 0
82 | 0.97074 | -0.56472 | 0.016319 | 0.0040899
83 | 0.97108 | -0.55798 | 0 | 0
84 | 0.97073 | -0.56491 | 0.00071854 | 0.00018008
85 | 0.9709 | -0.56164 | 0.0031222 | 0.00078251
86 | 0.97045 | -0.57054 | 0 | 0
87 | 0.97033 | -0.57291 | 0.0047091 | 0.0011802
88 | 0.97028 | -0.57384 | 0 | 0
89 | 0.9702 | -0.57555 | 0 | 0
90 | 0.97002 | -0.57894 | 0.0036041 | 0.00090326
91 | 0.97028 | -0.57389 | 0.0015678 | 0.00039293
92 | 0.97 | -0.5794 | 0.0016309 | 0.00040874
93 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044686 | 0.0011192 | -0.004467 | -0.0011193 | 1.58e-06 | -1.7096e-07 | 0.0067421 | 0.0067426 | 0.0067426 | 0.9862 | -0.26305 | 0.98582 | -0.27048 | 1.8524
1 | -0.014492 | -0.0036312 | 0.014496 | 0.0036334 | 3.7396e-06 | 2.1271e-06 | 0.021866 | 0.021866 | 0.021866 | 0.9862 | -0.26305 | 0.98648 | -0.25764 | 6.0071
2 | 0.0023182 | 0.0005808 | -0.0023182 | -0.00058098 | 8.5749e-08 | -1.8322e-07 | 0.0034991 | 0.0034992 | 0.0034992 | 0.98582 | -0.27048 | 0.98578 | -0.27126 | 0.96132
3 | 0.081954 | 0.020866 | -0.081652 | -0.020673 | 0.00030178 | 0.00019247 | 0.12374 | 0.12374 | 0.12374 | 0.98648 | -0.25764 | 0.98251 | -0.33431 | 33.9937
4 | -0.096449 | -0.024499 | 0.096806 | 0.024726 | 0.00035642 | 0.00022753 | 0.1456 | 0.1456 | 0.1456 | 0.98648 | -0.25764 | 0.99046 | -0.18117 | 40.0006
5 | 0.023289 | 0.0058421 | -0.023279 | -0.005836 | 9.8732e-06 | 6.051e-06 | 0.035273 | 0.035274 | 0.035274 | 0.98251 | -0.33431 | 0.98206 | -0.3432 | 9.6905
6 | 0.0015613 | 0.00039115 | -0.0015613 | -0.0003913 | 2.7058e-08 | -1.4611e-07 | 0.0023646 | 0.0023646 | 0.0023646 | 0.98251 | -0.33431 | 0.98249 | -0.33467 | 0.64963
7 | 0.056801 | 0.01444 | -0.056691 | -0.01437 | 0.00011035 | 7.0121e-05 | 0.086099 | 0.086099 | 0.086099 | 0.98251 | -0.33431 | 0.98043 | -0.37473 | 23.6537
8 | -0.099871 | -0.025495 | 0.10007 | 0.02562 | 0.00019707 | 0.00012582 | 0.15021 | 0.15021 | 0.15021 | 0.99046 | -0.18117 | 0.99259 | -0.14043 | 41.2656
9 | -0.10708 | -0.027493 | 0.10716 | 0.027545 | 8.2133e-05 | 5.2121e-05 | 0.16026 | 0.16026 | 0.16026 | 0.99569 | -0.081642 | 0.99652 | -0.065855 | 22.0136
10 | 0.10645 | 0.027335 | -0.10621 | -0.027184 | 0.00023817 | 0.00015113 | 0.15931 | 0.15932 | 0.15932 | 0.99569 | -0.081642 | 0.99325 | -0.12784 | 21.884
11 | -0.19162 | -0.048958 | 0.1918 | 0.049074 | 0.00018238 | 0.00011641 | 0.28646 | 0.28646 | 0.28646 | 0.99652 | -0.065855 | 0.99756 | -0.046191 | 39.3485
12 | 0.084457 | 0.021412 | -0.084384 | -0.021366 | 7.2724e-05 | 4.6385e-05 | 0.1262 | 0.1262 | 0.1262 | 0.99652 | -0.065855 | 0.99558 | -0.083787 | 34.67
13 | 0.10262 | 0.026284 | -0.10256 | -0.026244 | 6.2533e-05 | 3.993e-05 | 0.15394 | 0.15394 | 0.15394 | 0.99325 | -0.12784 | 0.99259 | -0.14043 | 42.29
14 | -0.19291 | -0.049352 | 0.19334 | 0.049627 | 0.00043237 | 0.00027599 | 0.28811 | 0.28811 | 0.28811 | 0.99756 | -0.046191 | 1 | 0 | 39.5753
15 | 0.054471 | 0.013858 | -0.054325 | -0.013766 | 0.00014519 | 9.2164e-05 | 0.081486 | 0.081486 | 0.081486 | 0.99558 | -0.083787 | 0.99269 | -0.13925 | 22.3863
16 | 0.029913 | 0.0075082 | -0.029902 | -0.0075012 | 1.1187e-05 | 6.9655e-06 | 0.044713 | 0.044713 | 0.044713 | 0.99558 | -0.083787 | 0.99518 | -0.091631 | 12.2838
17 | 0.054325 | 0.013766 | -0.054087 | -0.013614 | 0.00023876 | 0.00015158 | 0.081486 | 0.081486 | 0.081486 | 0.99269 | -0.13925 | 0.98792 | -0.23117 | 22.3864
18 | 0.027249 | 0.0068362 | -0.027244 | -0.0068334 | 4.4973e-06 | 2.7845e-06 | 0.040746 | 0.040746 | 0.040746 | 0.99518 | -0.091631 | 0.995 | -0.095093 | 11.1939
19 | -0.0044994 | -0.0011276 | 0.0045 | 0.0011275 | 5.4027e-07 | -6.7115e-08 | 0.0067308 | 0.0067306 | 0.0067308 | 0.99472 | -0.10045 | 0.99485 | -0.097932 | 1.8491
20 | 0.0025844 | 0.00064766 | -0.0025844 | -0.00064771 | 2.5736e-08 | -4.3134e-08 | 0.003866 | 0.003866 | 0.003866 | 0.99472 | -0.10045 | 0.99471 | -0.10066 | 1.0621
21 | -0.0045 | -0.0011275 | 0.0045002 | 0.0011275 | 1.7869e-07 | -2.2225e-08 | 0.0067306 | 0.0067306 | 0.0067306 | 0.99485 | -0.097932 | 0.99489 | -0.097099 | 1.8491
22 | -0.0058362 | -0.0014624 | 0.0058364 | 0.0014624 | 1.5767e-07 | 2.9248e-08 | 0.0087288 | 0.0087288 | 0.0087288 | 0.99489 | -0.097099 | 0.99492 | -0.096532 | 2.398
23 | -0.0065187 | -0.0016334 | 0.0065192 | 0.0016335 | 4.4653e-07 | 1.2308e-07 | 0.0097494 | 0.0097493 | 0.0097494 | 0.99492 | -0.096532 | 0.995 | -0.095093 | 2.6784
24 | 0.020725 | 0.0051999 | -0.020716 | -0.0051942 | 9.3566e-06 | 5.6511e-06 | 0.030996 | 0.030996 | 0.030996 | 0.995 | -0.095093 | 0.99451 | -0.10457 | 8.5155
25 | 0.017977 | 0.0045079 | -0.017976 | -0.0045071 | 1.3241e-06 | 7.8413e-07 | 0.026899 | 0.026899 | 0.026899 | 0.99451 | -0.10457 | 0.99443 | -0.10611 | 7.3898
26 | 0.0075292 | 0.0018866 | -0.0075289 | -0.0018865 | 3.0257e-07 | 1.1438e-07 | 0.011378 | 0.011378 | 0.011378 | 0.98462 | -0.29551 | 0.98457 | -0.29635 | 3.126
27 | -0.010878 | -0.0027258 | 0.01088 | 0.0027268 | 1.912e-06 | 9.8368e-07 | 0.016439 | 0.016439 | 0.016439 | 0.98462 | -0.29551 | 0.98481 | -0.29182 | 4.5162
28 | 0.004931 | 0.0012354 | -0.0049305 | -0.0012353 | 4.8266e-07 | 1.4191e-08 | 0.0074522 | 0.0074523 | 0.0074523 | 0.98457 | -0.29635 | 0.98447 | -0.2984 | 2.0473
29 | -0.013231 | -0.0033161 | 0.013237 | 0.0033192 | 5.5524e-06 | 3.082e-06 | 0.019992 | 0.019992 | 0.019992 | 0.98481 | -0.29182 | 0.98526 | -0.28301 | 5.4922
30 | 0.0015534 | 0.00038896 | -0.0015534 | -0.00038931 | 6.2302e-08 | -3.4331e-07 | 0.0023478 | 0.002348 | 0.002348 | 0.98447 | -0.2984 | 0.98443 | -0.29925 | 0.64505
31 | -0.016884 | -0.0042332 | 0.016887 | 0.0042348 | 2.7681e-06 | 1.627e-06 | 0.025501 | 0.0255 | 0.025501 | 0.98526 | -0.28301 | 0.98543 | -0.27957 | 7.0056
32 | 0.0036477 | 0.00091404 | -0.0036475 | -0.00091414 | 2.2048e-07 | -1.0559e-07 | 0.005509 | 0.0055091 | 0.0055091 | 0.98526 | -0.28301 | 0.98519 | -0.28428 | 1.5135
33 | -0.021967 | -0.005508 | 0.021968 | 0.0055087 | 1.2299e-06 | 7.4915e-07 | 0.033171 | 0.033171 | 0.033171 | 0.98543 | -0.27957 | 0.98549 | -0.2784 | 9.113
34 | -0.026396 | -0.0066183 | 0.026407 | 0.0066252 | 1.1133e-05 | 6.8866e-06 | 0.039856 | 0.039856 | 0.039856 | 0.98549 | -0.2784 | 0.98595 | -0.26955 | 10.9495
35 | -0.050374 | -0.012648 | 0.050466 | 0.012707 | 9.2402e-05 | 5.8593e-05 | 0.076033 | 0.076033 | 0.076033 | 0.98595 | -0.26955 | 0.98792 | -0.23117 | 20.8883
36 | 0.023967 | 0.0060227 | -0.02395 | -0.0060123 | 1.7038e-05 | 1.0462e-05 | 0.036177 | 0.036177 | 0.036177 | 0.98595 | -0.26955 | 0.98518 | -0.28445 | 9.9388
37 | 0.02013 | 0.0050548 | -0.020119 | -0.0050486 | 1.0263e-05 | 6.1916e-06 | 0.030407 | 0.030407 | 0.030407 | 0.98518 | -0.28445 | 0.98463 | -0.29514 | 8.3537
38 | 0.020119 | 0.0050486 | -0.020116 | -0.0050464 | 3.7017e-06 | 2.2333e-06 | 0.030407 | 0.030407 | 0.030407 | 0.98463 | -0.29514 | 0.98444 | -0.299 | 8.3537
39 | 0.020116 | 0.0050464 | -0.02011 | -0.005043 | 5.6329e-06 | 3.3986e-06 | 0.030407 | 0.030407 | 0.030407 | 0.98444 | -0.299 | 0.98414 | -0.30488 | 8.3537
40 | 0.01603 | 0.0040194 | -0.016024 | -0.0040162 | 5.5301e-06 | 3.2069e-06 | 0.023987 | 0.023987 | 0.023987 | 0.99443 | -0.10611 | 0.99405 | -0.11335 | 6.5899
41 | 0.014342 | 0.0035947 | -0.014341 | -0.003594 | 1.1813e-06 | 6.6742e-07 | 0.021469 | 0.02147 | 0.02147 | 0.99405 | -0.11335 | 0.99396 | -0.11508 | 5.8982
42 | 0.013651 | 0.0034243 | -0.013644 | -0.0034204 | 6.9913e-06 | 3.9188e-06 | 0.020642 | 0.020642 | 0.020642 | 0.98414 | -0.30488 | 0.98359 | -0.31563 | 5.6709
43 | 0.012053 | 0.0030217 | -0.012051 | -0.0030205 | 2.2243e-06 | 1.1972e-06 | 0.018235 | 0.018235 | 0.018235 | 0.98359 | -0.31563 | 0.98339 | -0.3195 | 5.0095
44 | 0.0015914 | 0.00039862 | -0.0015914 | -0.00039884 | 4.2338e-08 | -2.2011e-07 | 0.0024075 | 0.0024076 | 0.0024076 | 0.98359 | -0.31563 | 0.98356 | -0.31619 | 0.66143
45 | -0.0022218 | -0.00055683 | 0.0022218 | 0.00055674 | 3.8688e-08 | -9.0922e-08 | 0.0033628 | 0.0033628 | 0.0033628 | 0.98311 | -0.32485 | 0.98313 | -0.32449 | 0.92385
46 | 0.0068833 | 0.0017251 | -0.0068831 | -0.001725 | 2.1706e-07 | 7.1295e-08 | 0.010418 | 0.010418 | 0.010418 | 0.98313 | -0.32449 | 0.9831 | -0.32515 | 2.8621
47 | -0.0091051 | -0.0022818 | 0.009106 | 0.0022822 | 9.6108e-07 | 4.4395e-07 | 0.013781 | 0.013781 | 0.013781 | 0.98313 | -0.32449 | 0.98325 | -0.32227 | 3.786
48 | 0.056691 | 0.01437 | -0.056658 | -0.014349 | 3.3168e-05 | 2.1077e-05 | 0.086099 | 0.086099 | 0.086099 | 0.98043 | -0.37473 | 0.9798 | -0.38691 | 23.6537
49 | 0.054059 | 0.013697 | -0.054025 | -0.013676 | 3.3399e-05 | 2.1209e-05 | 0.082153 | 0.082153 | 0.082153 | 0.9798 | -0.38691 | 0.97914 | -0.39978 | 22.5694
50 | 0.054025 | 0.013676 | -0.053965 | -0.013638 | 6.0623e-05 | 3.8498e-05 | 0.082153 | 0.082153 | 0.082153 | 0.97914 | -0.39978 | 0.97794 | -0.42318 | 22.5694
51 | 0.053965 | 0.013638 | -0.05392 | -0.013609 | 4.5031e-05 | 2.8597e-05 | 0.082153 | 0.082153 | 0.082153 | 0.97794 | -0.42318 | 0.97705 | -0.4406 | 22.5695
52 | 0.011424 | 0.0028648 | -0.011418 | -0.0028616 | 6.0496e-06 | 3.191e-06 | 0.01731 | 0.01731 | 0.01731 | 0.98206 | -0.3432 | 0.98149 | -0.35432 | 4.7556
53 | 0.006288 | 0.0015757 | -0.0062873 | -0.0015755 | 6.8085e-07 | 1.702e-07 | 0.0094133 | 0.0094134 | 0.0094134 | 0.99396 | -0.11508 | 0.99385 | -0.11736 | 2.5861
54 | 0.0075055 | 0.001881 | -0.0075046 | -0.0018806 | 9.5753e-07 | 3.5071e-07 | 0.011236 | 0.011236 | 0.011236 | 0.99396 | -0.11508 | 0.99383 | -0.11776 | 3.0869
55 | 0.0045299 | 0.0011351 | -0.0045298 | -0.0011351 | 8.9931e-08 | -1.0001e-08 | 0.0067822 | 0.0067823 | 0.0067823 | 0.99385 | -0.11736 | 0.99383 | -0.11777 | 1.8633
56 | 0.0059313 | 0.0014863 | -0.0059313 | -0.0014863 | 1.026e-08 | 2.0709e-09 | 0.0088806 | 0.0088806 | 0.0088806 | 0.99383 | -0.11776 | 0.99382 | -0.1178 | 2.4397
57 | 0.0035287 | 0.00088419 | -0.0035286 | -0.00088427 | 1.2124e-07 | -7.2481e-08 | 0.0052833 | 0.0052834 | 0.0052834 | 0.99382 | -0.1178 | 0.99379 | -0.11852 | 1.4515
58 | 0.0020641 | 0.00051723 | -0.0020641 | -0.00051731 | 2.5632e-08 | -7.631e-08 | 0.0030906 | 0.0030906 | 0.0030906 | 0.99379 | -0.11852 | 0.99377 | -0.11878 | 0.84908
59 | 0.003863 | 0.00096801 | -0.0038628 | -0.00096811 | 2.4438e-07 | -9.5992e-08 | 0.0057839 | 0.005784 | 0.005784 | 0.99383 | -0.11777 | 0.99376 | -0.1191 | 1.589
60 | 0.0099111 | 0.0024843 | -0.0099098 | -0.0024837 | 1.3085e-06 | 6.4065e-07 | 0.014997 | 0.014997 | 0.014997 | 0.98339 | -0.3195 | 0.98325 | -0.32227 | 4.1201
61 | 0.0049365 | 0.0012371 | -0.0049362 | -0.0012371 | 2.8932e-07 | 9.9529e-09 | 0.0074719 | 0.0074719 | 0.0074719 | 0.9831 | -0.32515 | 0.98304 | -0.32638 | 2.0527
62 | 0.052578 | 0.013273 | -0.052564 | -0.013264 | 1.4039e-05 | 8.9121e-06 | 0.08011 | 0.08011 | 0.08011 | 0.97705 | -0.4406 | 0.97676 | -0.44618 | 22.0082
63 | -0.00047221 | -0.00011835 | 0.00047222 | 0.0001179 | 7.0896e-09 | -4.4905e-07 | 0.00072087 | 0.00072071 | 0.00072087 | 0.97474 | -0.48595 | 0.97475 | -0.48563 | 0.19804
64 | -0.00047222 | -0.0001179 | 0.00047222 | 0.00011782 | 1.3034e-09 | -8.2583e-08 | 0.00072071 | 0.00072068 | 0.00072071 | 0.97475 | -0.48563 | 0.97476 | -0.48557 | 0.198
65 | 0.00081788 | 0.00020448 | -0.00081787 | -0.00020461 | 6.2608e-09 | -1.2953e-07 | 0.0012483 | 0.0012484 | 0.0012484 | 0.97476 | -0.48557 | 0.97475 | -0.48573 | 0.34297
66 | -0.0012901 | -0.00032229 | 0.0012901 | 0.00032215 | 1.8298e-08 | -1.4518e-07 | 0.001969 | 0.001969 | 0.001969 | 0.97476 | -0.48557 | 0.97477 | -0.48528 | 0.54094
67 | -0.00028826 | -7.2244e-05 | 0.00028826 | 7.2089e-05 | 9.0461e-10 | -1.5485e-07 | 0.00043996 | 0.0004399 | 0.00043996 | 0.97495 | -0.48184 | 0.97495 | -0.48178 | 0.12087
68 | -0.0014922 | -0.00037383 | 0.0014922 | 0.00037377 | 1.0778e-08 | -6.2203e-08 | 0.0022775 | 0.0022774 | 0.0022775 | 0.97495 | -0.48178 | 0.97496 | -0.48163 | 0.62568
69 | 0.00030159 | 7.5494e-05 | -0.00030159 | -7.5585e-05 | 5.8844e-10 | -9.1909e-08 | 0.00046036 | 0.0004604 | 0.0004604 | 0.97475 | -0.48573 | 0.97475 | -0.48578 | 0.12648
70 | 0.00051628 | 0.00012911 | -0.00051627 | -0.00012939 | 5.2555e-09 | -2.7791e-07 | 0.00078803 | 0.00078813 | 0.00078813 | 0.97475 | -0.48573 | 0.97474 | -0.48595 | 0.21652
71 | -0.001858 | -0.00046447 | 0.001858 | 0.00046437 | 2.9052e-08 | -1.015e-07 | 0.0028358 | 0.0028358 | 0.0028358 | 0.97477 | -0.48528 | 0.97479 | -0.48495 | 0.77907
72 | 0.0018583 | 0.00046333 | -0.001858 | -0.00046437 | 2.9518e-07 | -1.0317e-06 | 0.0028353 | 0.0028358 | 0.0028358 | 0.97496 | -0.4816 | 0.97479 | -0.48495 | 0.77906
73 | -0.0038816 | -0.0009702 | 0.003882 | 0.00097009 | 3.6928e-07 | -1.1371e-07 | 0.0059233 | 0.0059232 | 0.0059233 | 0.97496 | -0.4816 | 0.97506 | -0.4796 | 1.6273
74 | 0.0016723 | 0.00041888 | -0.0016723 | -0.00041889 | 2.0395e-09 | -9.106e-09 | 0.0025522 | 0.0025522 | 0.0025522 | 0.97496 | -0.4816 | 0.97496 | -0.48163 | 0.70115
75 | -0.0050938 | -0.0012738 | 0.0050943 | 0.0012738 | 4.7922e-07 | 4.2827e-08 | 0.0077726 | 0.0077725 | 0.0077726 | 0.97506 | -0.4796 | 0.97516 | -0.47762 | 2.1353
76 | -0.00076669 | -0.00019215 | 0.0007667 | 0.00019184 | 1.2938e-08 | -3.0829e-07 | 0.001168 | 0.0011679 | 0.001168 | 0.97674 | -0.44653 | 0.97676 | -0.44618 | 0.32088
77 | 0.051798 | 0.013072 | -0.05172 | -0.013023 | 7.7879e-05 | 4.9426e-05 | 0.078942 | 0.078942 | 0.078942 | 0.97676 | -0.44618 | 0.97516 | -0.47762 | 21.6874
78 | 0.046625 | 0.011749 | -0.046538 | -0.011693 | 8.7962e-05 | 5.5719e-05 | 0.07117 | 0.07117 | 0.07117 | 0.97516 | -0.47762 | 0.97315 | -0.51714 | 19.5522
79 | 0.041419 | 0.01041 | -0.041372 | -0.01038 | 4.6986e-05 | 2.9683e-05 | 0.063343 | 0.063343 | 0.063343 | 0.97315 | -0.51714 | 0.97194 | -0.54093 | 17.4018
80 | 0.031713 | 0.0079598 | -0.031702 | -0.0079529 | 1.0981e-05 | 6.8738e-06 | 0.048556 | 0.048556 | 0.048556 | 0.97194 | -0.54093 | 0.97158 | -0.54819 | 13.3395
81 | 0.017051 | 0.0042777 | -0.017037 | -0.0042698 | 1.3424e-05 | 7.9421e-06 | 0.026116 | 0.026116 | 0.026116 | 0.97158 | -0.54819 | 0.97074 | -0.56472 | 7.1747
82 | 0.014651 | 0.0036752 | -0.014644 | -0.0036713 | 6.8346e-06 | 3.9262e-06 | 0.02244 | 0.02244 | 0.02244 | 0.97158 | -0.54819 | 0.97108 | -0.55798 | 6.1649
83 | 0.00071854 | 0.00017991 | -0.00071854 | -0.00018008 | 6.3291e-09 | -1.6795e-07 | 0.0011014 | 0.0011014 | 0.0011014 | 0.97074 | -0.56472 | 0.97073 | -0.56491 | 0.30259
84 | 0.0031228 | 0.00078207 | -0.0031222 | -0.00078251 | 5.4318e-07 | -4.3485e-07 | 0.0047849 | 0.0047852 | 0.0047852 | 0.97108 | -0.55798 | 0.9709 | -0.56164 | 1.3146
85 | 0.011522 | 0.0028892 | -0.011515 | -0.0028855 | 6.8924e-06 | 3.6822e-06 | 0.017656 | 0.017656 | 0.017656 | 0.97108 | -0.55798 | 0.97045 | -0.57054 | 4.8505
86 | 0.0047096 | 0.0011802 | -0.0047091 | -0.0011802 | 5.3196e-07 | 4.4045e-09 | 0.0072214 | 0.0072215 | 0.0072215 | 0.97045 | -0.57054 | 0.97033 | -0.57291 | 1.9839
87 | 0.0068051 | 0.0017053 | -0.0068041 | -0.0017049 | 1.0697e-06 | 3.6097e-07 | 0.010434 | 0.010435 | 0.010435 | 0.97045 | -0.57054 | 0.97028 | -0.57384 | 2.8666
88 | 0.0068041 | 0.0017049 | -0.006804 | -0.0017049 | 1.565e-08 | 5.2819e-09 | 0.010435 | 0.010435 | 0.010435 | 0.97028 | -0.57384 | 0.97028 | -0.57389 | 2.8666
89 | 0.0052358 | 0.0013119 | -0.005235 | -0.0013118 | 8.4382e-07 | 1.0922e-07 | 0.0080302 | 0.0080304 | 0.0080304 | 0.9702 | -0.57555 | 0.97002 | -0.57894 | 2.2062
90 | -0.0052358 | -0.0013119 | 0.0052362 | 0.001312 | 4.1489e-07 | 5.3637e-08 | 0.0080302 | 0.0080302 | 0.0080302 | 0.9702 | -0.57555 | 0.97028 | -0.57389 | 2.2061
91 | 0.0016309 | 0.00040858 | -0.0016309 | -0.00040874 | 3.5976e-08 | -1.6618e-07 | 0.0025018 | 0.0025019 | 0.0025019 | 0.97002 | -0.57894 | 0.97 | -0.5794 | 0.68733

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.19727 | 0.050198

## res_load
| p_mw | q_mvar
0 | 0.010023 | 0.0025121
1 | 0.0021488 | 0.00053854
2 | 0.0023182 | 0.00058098
3 | 0.003065 | 0.00076817
4 | 0.00063203 | 0.0001584
5 | 0.0035909 | 0.00089997
6 | 0.0011069 | 0.00027743
7 | 0.0022768 | 0.00057061
8 | 0.0026535 | 0.00066503
9 | 0.001915 | 0.00047995
10 | 0.0025844 | 0.00064771
11 | 0.001336 | 0.00033485
12 | 0.00068238 | 0.00017102
13 | 0.0027387 | 0.00068637
14 | 0.0033486 | 0.00083923
15 | 0.0025979 | 0.0006511
16 | 0.0023513 | 0.0005893
17 | 0.0033771 | 0.00084638
18 | 0.0015534 | 0.00038931
19 | 0.0050799 | 0.0012732
20 | 0.0036475 | 0.00091414
21 | 0.0044274 | 0.0011096
22 | 0.0036205 | 0.00090739
23 | 0.0038203 | 0.00095745
24 | 0.0019458 | 0.00048766
25 | 0.001682 | 0.00042155
26 | 0.0064587 | 0.0016187
27 | 0.0022218 | 0.00055683
28 | 0.0025989 | 0.00065133
29 | 0.011855 | 0.0029712
30 | 0.0015613 | 0.0003913
31 | 0.0024874 | 0.00062341
32 | 0.00054778 | 0.00013729
33 | 0.0017574 | 0.00044044
34 | 0.0015733 | 0.0003943
35 | 0.0024026 | 0.00060214
36 | 0.0014645 | 0.00036703
37 | 0.0020641 | 0.00051731
38 | 0.00066677 | 0.00016711
39 | 0.0038628 | 0.00096811
40 | 0.0021395 | 0.00053621
41 | 0.0015914 | 0.00039884
42 | 0.00080377 | 0.00020144
43 | 0.0019466 | 0.00048785
44 | 0.0049362 | 0.0012371
45 | 0.0013414 | 0.00033619
46 | 0.011418 | 0.0028616
47 | 0.00047221 | 0.00011835
48 | 0.00028826 | 7.2244e-05
49 | 0.001204 | 0.00030174
50 | 0.00056786 | 0.00014232
51 | 0.00035107 | 8.7986e-05
52 | 0.0012118 | 0.00030371
53 | 0.00018002 | 4.5116e-05
54 | 0.00030159 | 7.5585e-05
55 | 0.00051627 | 0.00012939
56 | 0.00076669 | 0.00019215
57 | 0.005119 | 0.0012829
58 | 0.0096586 | 0.0024207
59 | 0.016319 | 0.0040899
60 | 0.00071854 | 0.00018008
61 | 0.0031222 | 0.00078251
62 | 0.0047091 | 0.0011802
63 | 0.0036041 | 0.00090326
64 | 0.0015678 | 0.00039293
65 | 0.0016309 | 0.00040874

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1