## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2186-1_1_4_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_2186-1_1_4_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_2186-1_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_2186-1_1_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_2186-1_1_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_2186-1_1_4_node_142 | 0.4 | n |  | TRUE
6 | bus_LV_2186-1_1_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_2186-1_1_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_2186-1_1_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_2186-1_1_4_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_2186-1_1_4_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_2186-1_1_4_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_2186-1_1_4_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_2186-1_1_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_2186-1_1_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2186-1_1_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_2186-1_1_4_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_2186-1_1_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2186-1_1_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_2186-1_1_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_2186-1_1_4_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_2186-1_1_4_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_2186-1_1_4_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_2186-1_1_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_2186-1_1_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_2186-1_1_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_2186-1_1_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2186-1_1_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_2186-1_1_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_2186-1_1_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_2186-1_1_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_2186-1_1_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_2186-1_1_4_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_2186-1_1_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_2186-1_1_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_2186-1_1_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_2186-1_1_4_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_2186-1_1_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_2186-1_1_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_2186-1_1_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_2186-1_1_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_2186-1_1_4_node_148 | 0.4 | n |  | TRUE
42 | bus_LV_2186-1_1_4_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_2186-1_1_4_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_2186-1_1_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_2186-1_1_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_2186-1_1_4_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_2186-1_1_4_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_2186-1_1_4_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_2186-1_1_4_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_2186-1_1_4_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_2186-1_1_4_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_2186-1_1_4_node_87 | 0.4 | n |  | TRUE
53 | bus_LV_2186-1_1_4_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_2186-1_1_4_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_2186-1_1_4_node_124 | 0.4 | n |  | TRUE
56 | bus_LV_2186-1_1_4_node_156 | 0.4 | n |  | TRUE
57 | bus_LV_2186-1_1_4_node_143 | 0.4 | n |  | TRUE
58 | bus_LV_2186-1_1_4_node_144 | 0.4 | n |  | TRUE
59 | bus_LV_2186-1_1_4_node_145 | 0.4 | n |  | TRUE
60 | bus_LV_2186-1_1_4_node_146 | 0.4 | n |  | TRUE
61 | bus_LV_2186-1_1_4_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_2186-1_1_4_node_147 | 0.4 | n |  | TRUE
63 | bus_LV_2186-1_1_4_node_150 | 0.4 | n |  | TRUE
64 | bus_LV_2186-1_1_4_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_2186-1_1_4_node_155 | 0.4 | n |  | TRUE
66 | bus_LV_2186-1_1_4_node_152 | 0.4 | n |  | TRUE
67 | bus_LV_2186-1_1_4_node_153 | 0.4 | n |  | TRUE
68 | bus_LV_2186-1_1_4_node_154 | 0.4 | n |  | TRUE
69 | bus_LV_2186-1_1_4_node_163 | 0.4 | n |  | TRUE
70 | bus_LV_2186-1_1_4_node_157 | 0.4 | n |  | TRUE
71 | bus_LV_2186-1_1_4_node_158 | 0.4 | n |  | TRUE
72 | bus_LV_2186-1_1_4_node_159 | 0.4 | n |  | TRUE
73 | bus_LV_2186-1_1_4_node_160 | 0.4 | n |  | TRUE
74 | bus_LV_2186-1_1_4_node_164 | 0.4 | n |  | TRUE
75 | bus_LV_2186-1_1_4_node_161 | 0.4 | n |  | TRUE
76 | bus_LV_2186-1_1_4_node_162 | 0.4 | n |  | TRUE
77 | bus_MV_27_2_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2186-1_1_4_load_7 | 0 | 0.0033412 | 0.00083738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2186-1_1_4_load_8 | 1 | 0.0017759 | 0.00044509 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2186-1_1_4_load_10 | 3 | 0.0015319 | 0.00038392 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2186-1_1_4_load_11 | 4 | 0.0035162 | 0.00088125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2186-1_1_4_load_142 | 5 | 0.0025431 | 0.00063736 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2186-1_1_4_load_15 | 6 | 0.001207 | 0.0003025 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2186-1_1_4_load_16 | 7 | 0.00099004 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2186-1_1_4_load_56 | 8 | 0.0061483 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2186-1_1_4_load_38 | 9 | 0.0054989 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2186-1_1_4_load_42 | 12 | 0.0060267 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2186-1_1_4_load_60 | 13 | 0.0022165 | 0.00055552 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2186-1_1_4_load_51 | 15 | 0.0035061 | 0.00087872 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2186-1_1_4_load_45 | 16 | 0.0053865 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2186-1_1_4_load_48 | 18 | 0.0020278 | 0.00050822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2186-1_1_4_load_49 | 19 | 0.0031484 | 0.00078907 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2186-1_1_4_load_50 | 20 | 0.0024751 | 0.00062031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2186-1_1_4_load_68 | 22 | 0.0010246 | 0.00025679 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2186-1_1_4_load_72 | 23 | 0.002479 | 0.00062131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2186-1_1_4_load_52 | 24 | 0.0032908 | 0.00082476 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2186-1_1_4_load_54 | 26 | 0.0065289 | 0.0016363 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2186-1_1_4_load_55 | 27 | 0.0017513 | 0.00043892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2186-1_1_4_load_58 | 28 | 0.00218 | 0.00054637 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2186-1_1_4_load_59 | 29 | 0.0022819 | 0.00057189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2186-1_1_4_load_64 | 30 | 0.002036 | 0.00051027 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2186-1_1_4_load_65 | 31 | 0.0025886 | 0.00064877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2186-1_1_4_load_89 | 32 | 0.0012951 | 0.00032459 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2186-1_1_4_load_66 | 33 | 0.0021173 | 0.00053063 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2186-1_1_4_load_67 | 34 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2186-1_1_4_load_69 | 35 | 0.0016023 | 0.00040158 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2186-1_1_4_load_70 | 36 | 0.0037426 | 0.00093799 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2186-1_1_4_load_71 | 37 | 0.0034597 | 0.00086707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2186-1_1_4_load_77 | 38 | 0.0024359 | 0.00061049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2186-1_1_4_load_73 | 39 | 0.002469 | 0.0006188 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2186-1_1_4_load_74 | 40 | 0.002759 | 0.00069147 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2186-1_1_4_load_148 | 41 | 0.003589 | 0.0008995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2186-1_1_4_load_75 | 42 | 0.0063821 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2186-1_1_4_load_76 | 43 | 0.0046228 | 0.0011586 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2186-1_1_4_load_78 | 44 | 0.0033349 | 0.00083581 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2186-1_1_4_load_79 | 45 | 0.0057678 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2186-1_1_4_load_80 | 46 | 0.00343 | 0.00085963 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2186-1_1_4_load_81 | 47 | 0.002588 | 0.00064862 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2186-1_1_4_load_82 | 48 | 0.0036089 | 0.00090448 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2186-1_1_4_load_83 | 49 | 0.0025825 | 0.00064724 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2186-1_1_4_load_84 | 50 | 0.0030668 | 0.00076861 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2186-1_1_4_load_86 | 51 | 0.012369 | 0.0030999 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2186-1_1_4_load_87 | 52 | 0.0012817 | 0.00032123 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2186-1_1_4_load_88 | 53 | 0.0032234 | 0.00080786 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2186-1_1_4_load_90 | 54 | 0.0051909 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2186-1_1_4_load_124 | 55 | 0.0022322 | 0.00055943 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2186-1_1_4_load_156 | 56 | 0.0048251 | 0.0012093 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2186-1_1_4_load_143 | 57 | 0.0049839 | 0.0012491 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2186-1_1_4_load_144 | 58 | 0.0020924 | 0.00052441 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2186-1_1_4_load_145 | 59 | 0.0024533 | 0.00061485 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2186-1_1_4_load_149 | 61 | 0.0032328 | 0.00081022 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2186-1_1_4_load_147 | 62 | 0.0060828 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2186-1_1_4_load_150 | 63 | 0.0021685 | 0.00054348 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2186-1_1_4_load_155 | 65 | 0.0026211 | 0.00065692 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2186-1_1_4_load_152 | 66 | 0.0026903 | 0.00067426 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2186-1_1_4_load_153 | 67 | 0.0024718 | 0.00061949 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2186-1_1_4_load_154 | 68 | 0.004183 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2186-1_1_4_load_163 | 69 | 0.0023835 | 0.00059737 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2186-1_1_4_load_157 | 70 | 0.0057157 | 0.0014325 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2186-1_1_4_load_158 | 71 | 0.0046161 | 0.0011569 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2186-1_1_4_load_159 | 72 | 0.0035164 | 0.00088128 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2186-1_1_4_load_160 | 73 | 0.0029925 | 0.00074998 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2186-1_1_4_load_164 | 74 | 0.001476 | 0.00036993 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2186-1_1_4_load_161 | 75 | 0.0032174 | 0.00080637 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2186-1_1_4_load_162 | 76 | 0.0022394 | 0.00056124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2186-1_1_4_line_0 |  | 0 | 1 | 0.025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2186-1_1_4_line_1 |  | 0 | 2 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2186-1_1_4_line_2 |  | 2 | 3 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2186-1_1_4_line_3 |  | 2 | 4 | 0.018434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2186-1_1_4_line_4 |  | 4 | 5 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2186-1_1_4_line_5 |  | 5 | 57 | 0.00073063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2186-1_1_4_line_6 |  | 6 | 7 | 0.05933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2186-1_1_4_line_7 |  | 6 | 8 | 0.058827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2186-1_1_4_line_8 |  | 8 | 27 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2186-1_1_4_line_9 |  | 9 | 10 | 0.020643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2186-1_1_4_line_10 |  | 10 | 11 | 0.033493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2186-1_1_4_line_11 |  | 10 | 12 | 0.016835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2186-1_1_4_line_12 |  | 10 | 13 | 0.033721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2186-1_1_4_line_13 |  | 11 | 14 | 0.004729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2186-1_1_4_line_14 |  | 11 | 15 | 0.047038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2186-1_1_4_line_15 |  | 13 | 29 | 0.0046383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2186-1_1_4_line_16 |  | 14 | 18 | 0.017571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_2186-1_1_4_line_17 |  | 14 | 16 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_2186-1_1_4_line_18 |  | 15 | 24 | 0.001552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2186-1_1_4_line_19 |  | 16 | 17 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_2186-1_1_4_line_20 |  | 17 | 19 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2186-1_1_4_line_21 |  | 17 | 20 | 0.029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_2186-1_1_4_line_22 |  | 18 | 21 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_2186-1_1_4_line_23 |  | 19 | 22 | 0.0044178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2186-1_1_4_line_24 |  | 20 | 23 | 0.030684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_2186-1_1_4_line_25 |  | 21 | 30 | 0.009572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_2186-1_1_4_line_26 |  | 21 | 31 | 0.012804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2186-1_1_4_line_27 |  | 22 | 35 | 0.0023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2186-1_1_4_line_28 |  | 23 | 39 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_2186-1_1_4_line_29 |  | 24 | 25 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2186-1_1_4_line_30 |  | 25 | 26 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2186-1_1_4_line_31 |  | 25 | 27 | 0.0085759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2186-1_1_4_line_32 |  | 28 | 29 | 0.019068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2186-1_1_4_line_33 |  | 30 | 32 | 0.15108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2186-1_1_4_line_34 |  | 31 | 33 | 0.0035296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2186-1_1_4_line_35 |  | 32 | 55 | 0.039185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2186-1_1_4_line_36 |  | 32 | 52 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_2186-1_1_4_line_37 |  | 33 | 34 | 0.030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2186-1_1_4_line_38 |  | 35 | 36 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2186-1_1_4_line_39 |  | 36 | 37 | 0.009124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2186-1_1_4_line_40 |  | 37 | 38 | 0.010074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2186-1_1_4_line_41 |  | 38 | 44 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2186-1_1_4_line_42 |  | 39 | 40 | 0.026095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2186-1_1_4_line_43 |  | 39 | 41 | 0.21995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2186-1_1_4_line_44 |  | 40 | 42 | 0.03444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2186-1_1_4_line_45 |  | 41 | 62 | 0.039675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2186-1_1_4_line_46 |  | 42 | 43 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2186-1_1_4_line_47 |  | 44 | 45 | 0.00098753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2186-1_1_4_line_48 |  | 45 | 46 | 0.022633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2186-1_1_4_line_49 |  | 46 | 47 | 0.0066847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2186-1_1_4_line_50 |  | 47 | 48 | 0.013829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2186-1_1_4_line_51 |  | 48 | 49 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2186-1_1_4_line_52 |  | 49 | 50 | 0.0064874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2186-1_1_4_line_53 |  | 51 | 52 | 0.0089023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_2186-1_1_4_line_54 |  | 51 | 53 | 0.00073165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_2186-1_1_4_line_55 |  | 53 | 54 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_2186-1_1_4_line_56 |  | 54 | 56 | 0.032272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_2186-1_1_4_line_57 |  | 56 | 70 | 0.025689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2186-1_1_4_line_58 |  | 57 | 58 | 0.023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2186-1_1_4_line_59 |  | 58 | 59 | 0.028312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2186-1_1_4_line_60 |  | 59 | 60 | 0.011177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2186-1_1_4_line_61 |  | 60 | 61 | 0.015877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2186-1_1_4_line_62 |  | 60 | 62 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2186-1_1_4_line_63 |  | 61 | 63 | 0.0010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2186-1_1_4_line_64 |  | 63 | 64 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2186-1_1_4_line_65 |  | 64 | 65 | 0.044237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2186-1_1_4_line_66 |  | 64 | 66 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2186-1_1_4_line_67 |  | 65 | 69 | 0.0016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2186-1_1_4_line_68 |  | 66 | 67 | 0.0050897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2186-1_1_4_line_69 |  | 67 | 68 | 0.022149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2186-1_1_4_line_70 |  | 69 | 75 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2186-1_1_4_line_71 |  | 70 | 71 | 0.048627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2186-1_1_4_line_72 |  | 71 | 72 | 0.041113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2186-1_1_4_line_73 |  | 72 | 73 | 0.03944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2186-1_1_4_line_74 |  | 73 | 74 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2186-1_1_4_line_75 |  | 75 | 76 | 0.026653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2186-1_1_4_trafo_156 | 0.63 MVA 20/0.4 kV | 77 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2569286.987 | 1178151.7897 | 2569284.5733 | 1178161.964 | 2569285.3053 | 1178164.6506 | 2569296.9612 | 1178168.6573
1 | 2569290.7731 | 1178135.8297 | 2569286.987 | 1178151.7897
2 | 2569290.7731 | 1178135.8297 | 2569278.6589 | 1178132.7802
3 | 2569290.7731 | 1178135.8297 | 2569308.6494 | 1178140.3293
4 | 2569308.6494 | 1178140.3293 | 2569331.3288 | 1178146.038 | 2569333.7351 | 1178147.0223
5 | 2569334.4113 | 1178147.299 | 2569333.7351 | 1178147.0223
6 | 2569394.3705 | 1177706.6456 | 2569404.604 | 1177707.4453 | 2569434.1532 | 1177719.5116 | 2569451.2763 | 1177720.4207
7 | 2569437.5068 | 1177777.6136 | 2569451.2763 | 1177720.4207
8 | 2569437.5068 | 1177777.6136 | 2569421.5215 | 1177771.6366
9 | 2569358.4364 | 1177832.7914 | 2569339.0625 | 1177825.6653
10 | 2569358.4364 | 1177832.7914 | 2569390.5261 | 1177842.6877
11 | 2569358.4364 | 1177832.7914 | 2569364.8286 | 1177817.2172
12 | 2569358.4364 | 1177832.7914 | 2569345.0055 | 1177863.7217
13 | 2569390.5261 | 1177842.6877 | 2569394.9514 | 1177844.3882
14 | 2569390.5261 | 1177842.6877 | 2569407.1584 | 1177798.6881
15 | 2569345.0055 | 1177863.7217 | 2569340.5349 | 1177862.4857
16 | 2569394.9514 | 1177844.3882 | 2569390.697 | 1177861.4368
17 | 2569394.9514 | 1177844.3882 | 2569403.4955 | 1177847.6573 | 2569406.2818 | 1177849.0894
18 | 2569407.1584 | 1177798.6881 | 2569407.7072 | 1177797.2363
19 | 2569415.5313 | 1177853.8434 | 2569406.2818 | 1177849.0894
20 | 2569415.5313 | 1177853.8434 | 2569428.5408 | 1177853.221 | 2569440.8321 | 1177853.7138
21 | 2569415.5313 | 1177853.8434 | 2569424.1112 | 1177862.6152 | 2569427.3947 | 1177868.168 | 2569433.3001 | 1177877.6075
22 | 2569387.771 | 1177873.1622 | 2569390.697 | 1177861.4368
23 | 2569440.8321 | 1177853.7138 | 2569445.2464 | 1177853.8908
24 | 2569433.3001 | 1177877.6075 | 2569438.1957 | 1177885.4328 | 2569449.8793 | 1177894.5001 | 2569455.9994 | 1177897.1374
25 | 2569387.771 | 1177873.1622 | 2569379.6056 | 1177878.1955
26 | 2569387.771 | 1177873.1622 | 2569400.0173 | 1177876.8986
27 | 2569445.2464 | 1177853.8908 | 2569447.5854 | 1177853.9846
28 | 2569455.9994 | 1177897.1374 | 2569468.6946 | 1177902.6082 | 2569475.5705 | 1177904.329
29 | 2569415.1877 | 1177776.2492 | 2569410.7909 | 1177789.0784 | 2569407.7072 | 1177797.2363
30 | 2569415.1877 | 1177776.2492 | 2569410.7081 | 1177772.9037 | 2569402.9901 | 1177771.3201
31 | 2569415.1877 | 1177776.2492 | 2569418.2755 | 1177771.92 | 2569421.5215 | 1177771.6366
32 | 2569322.1559 | 1177857.4046 | 2569340.5349 | 1177862.4857
33 | 2569379.6056 | 1177878.1955 | 2569326.061 | 1178019.4711
34 | 2569403.3933 | 1177877.9286 | 2569400.0173 | 1177876.8986
35 | 2569290.9961 | 1178004.7335 | 2569320.4912 | 1178012.9687 | 2569326.061 | 1178019.4711
36 | 2569333.7357 | 1178028.431 | 2569326.061 | 1178019.4711
37 | 2569426.9692 | 1177891.0487 | 2569426.9389 | 1177885.1124 | 2569403.3933 | 1177877.9286
38 | 2569447.5854 | 1177853.9846 | 2569465.6446 | 1177854.7087
39 | 2569474.7613 | 1177855.0743 | 2569465.6446 | 1177854.7087
40 | 2569474.7613 | 1177855.0743 | 2569481.6569 | 1177855.3508 | 2569484.7933 | 1177855.8335
41 | 2569509.4798 | 1177861.6045 | 2569492.4928 | 1177857.0186 | 2569484.7933 | 1177855.8335
42 | 2569475.5705 | 1177904.329 | 2569500.8851 | 1177910.6645
43 | 2569475.5705 | 1177904.329 | 2569409.6966 | 1178114.1866
44 | 2569500.8851 | 1177910.6645 | 2569505.0434 | 1177911.7052 | 2569533.8622 | 1177920.5776
45 | 2569409.6966 | 1178114.1866 | 2569411.5683 | 1178117.1119 | 2569412.3991 | 1178127.1684 | 2569401.7607 | 1178151.0139
46 | 2569533.8622 | 1177920.5776 | 2569543.5837 | 1177923.5705 | 2569554.1725 | 1177928.4056
47 | 2569510.4332 | 1177861.8619 | 2569509.4798 | 1177861.6045
48 | 2569510.4332 | 1177861.8619 | 2569532.2837 | 1177867.7609
49 | 2569532.2837 | 1177867.7609 | 2569538.7374 | 1177869.5032
50 | 2569538.7374 | 1177869.5032 | 2569552.0882 | 1177873.1076
51 | 2569564.755 | 1177876.5272 | 2569552.0882 | 1177873.1076
52 | 2569564.755 | 1177876.5272 | 2569571.0181 | 1177878.2181
53 | 2569342.274 | 1178030.9508 | 2569333.7357 | 1178028.431 | 2569333.7357 | 1178028.431
54 | 2569342.274 | 1178030.9508 | 2569342.9758 | 1178031.1579
55 | 2569342.9758 | 1178031.1579 | 2569367.8871 | 1178038.5097
56 | 2569367.8871 | 1178038.5097 | 2569398.8391 | 1178047.6443
57 | 2569398.8391 | 1178047.6443 | 2569423.477 | 1178054.9154
58 | 2569356.2473 | 1178156.2319 | 2569334.4113 | 1178147.299
59 | 2569356.2473 | 1178156.2319 | 2569367.614 | 1178160.8819 | 2569381.855 | 1178168.2433
60 | 2569391.7843 | 1178173.3758 | 2569381.855 | 1178168.2433
61 | 2569391.7843 | 1178173.3758 | 2569405.52 | 1178181.3391
62 | 2569391.7843 | 1178173.3758 | 2569401.7607 | 1178151.0139
63 | 2569405.52 | 1178181.3391 | 2569406.4049 | 1178181.8522
64 | 2569418.7747 | 1178189.0236 | 2569406.4049 | 1178181.8522
65 | 2569418.7747 | 1178189.0236 | 2569440.3758 | 1178150.4197
66 | 2569418.7747 | 1178189.0236 | 2569428.9169 | 1178194.4782
67 | 2569441.1987 | 1178148.9491 | 2569440.3758 | 1178150.4197
68 | 2569428.9169 | 1178194.4782 | 2569433.3995 | 1178196.8889
69 | 2569433.3995 | 1178196.8889 | 2569452.906 | 1178207.3796
70 | 2569449.2119 | 1178134.6286 | 2569441.1987 | 1178148.9491
71 | 2569423.477 | 1178054.9154 | 2569428.4492 | 1178056.3828 | 2569468.3805 | 1178073.4923
72 | 2569468.3805 | 1178073.4923 | 2569479.9079 | 1178078.4314 | 2569504.9911 | 1178092.1127
73 | 2569504.9911 | 1178092.1127 | 2569520.8387 | 1178100.7565 | 2569538.2236 | 1178113.2153
74 | 2569538.2236 | 1178113.2153 | 2569551.5735 | 1178122.7823
75 | 2569449.2119 | 1178134.6286 | 2569449.2119 | 1178134.6286 | 2569472.7834 | 1178147.0698

## bus_geodata
| x | y | coords
0 | 2569286.987 | 1178151.7897
1 | 2569296.9612 | 1178168.6573
2 | 2569290.7731 | 1178135.8297
3 | 2569278.6589 | 1178132.7802
4 | 2569308.6494 | 1178140.3293
5 | 2569333.7351 | 1178147.0224
6 | 2569451.2763 | 1177720.4207
7 | 2569394.3705 | 1177706.6456
8 | 2569437.5068 | 1177777.6136
9 | 2569339.0625 | 1177825.6653
10 | 2569358.4364 | 1177832.7914
11 | 2569390.5261 | 1177842.6877
12 | 2569364.8286 | 1177817.2172
13 | 2569345.0055 | 1177863.7217
14 | 2569394.9514 | 1177844.3882
15 | 2569407.1584 | 1177798.6881
16 | 2569406.2818 | 1177849.0894
17 | 2569415.5313 | 1177853.8434
18 | 2569390.697 | 1177861.4368
19 | 2569440.8321 | 1177853.7138
20 | 2569433.3001 | 1177877.6075
21 | 2569387.771 | 1177873.1622
22 | 2569445.2464 | 1177853.8908
23 | 2569455.9994 | 1177897.1374
24 | 2569407.7072 | 1177797.2363
25 | 2569415.1877 | 1177776.2492
26 | 2569402.9901 | 1177771.3201
27 | 2569421.5215 | 1177771.6366
28 | 2569322.1559 | 1177857.4046
29 | 2569340.5349 | 1177862.4857
30 | 2569379.6056 | 1177878.1955
31 | 2569400.0173 | 1177876.8986
32 | 2569326.061 | 1178019.4711
33 | 2569403.3933 | 1177877.9286
34 | 2569426.9692 | 1177891.0487
35 | 2569447.5854 | 1177853.9846
36 | 2569465.6446 | 1177854.7087
37 | 2569474.7613 | 1177855.0743
38 | 2569484.7933 | 1177855.8335
39 | 2569475.5705 | 1177904.329
40 | 2569500.8851 | 1177910.6645
41 | 2569409.6966 | 1178114.1866
42 | 2569533.8622 | 1177920.5776
43 | 2569554.1725 | 1177928.4056
44 | 2569509.4798 | 1177861.6045
45 | 2569510.4332 | 1177861.8619
46 | 2569532.2837 | 1177867.7609
47 | 2569538.7374 | 1177869.5032
48 | 2569552.0882 | 1177873.1076
49 | 2569564.755 | 1177876.5272
50 | 2569571.0181 | 1177878.2181
51 | 2569342.274 | 1178030.9508
52 | 2569333.7357 | 1178028.431
53 | 2569342.9758 | 1178031.1579
54 | 2569367.8871 | 1178038.5097
55 | 2569290.9961 | 1178004.7335
56 | 2569398.8391 | 1178047.6443
57 | 2569334.4113 | 1178147.299
58 | 2569356.2473 | 1178156.2319
59 | 2569381.855 | 1178168.2433
60 | 2569391.7843 | 1178173.3758
61 | 2569405.52 | 1178181.3391
62 | 2569401.7607 | 1178151.0139
63 | 2569406.4049 | 1178181.8522
64 | 2569418.7747 | 1178189.0236
65 | 2569440.3758 | 1178150.4197
66 | 2569428.9169 | 1178194.4782
67 | 2569433.3995 | 1178196.8889
68 | 2569452.906 | 1178207.3796
69 | 2569441.1987 | 1178148.9491
70 | 2569423.477 | 1178054.9154
71 | 2569468.3805 | 1178073.4923
72 | 2569504.9911 | 1178092.1127
73 | 2569538.2236 | 1178113.2153
74 | 2569551.5735 | 1178122.7823
75 | 2569449.2119 | 1178134.6286
76 | 2569472.7834 | 1178147.0698
77 | 2569243.5229 | 1177993.2538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97173 | -0.54607 | 0.0033412 | 0.00083738
1 | 0.97169 | -0.54691 | 0.0017759 | 0.00044509
2 | 0.97181 | -0.54453 | 0 | 0
3 | 0.97179 | -0.54488 | 0.0015319 | 0.00038392
4 | 0.97192 | -0.54226 | 0.0035162 | 0.00088125
5 | 0.97217 | -0.53739 | 0.0025431 | 0.00063736
6 | 0.98312 | -0.32349 | 0.001207 | 0.0003025
7 | 0.98306 | -0.32455 | 0.00099004 | 0.00024813
8 | 0.98323 | -0.32116 | 0.0061483 | 0.0015409
9 | 0.98417 | -0.30298 | 0.0054989 | 0.0013782
10 | 0.98427 | -0.30094 | 0 | 0
11 | 0.98483 | -0.28997 | 0 | 0
12 | 0.98418 | -0.30276 | 0.0060267 | 0.0015104
13 | 0.98406 | -0.30499 | 0.0022165 | 0.00055552
14 | 0.98501 | -0.28643 | 0 | 0
15 | 0.98382 | -0.3098 | 0.0035061 | 0.00087872
16 | 0.98454 | -0.29552 | 0.0053865 | 0.00135
17 | 0.98416 | -0.30289 | 0 | 0
18 | 0.98591 | -0.26907 | 0.0020278 | 0.00050822
19 | 0.98323 | -0.32104 | 0.0031484 | 0.00078907
20 | 0.98344 | -0.31693 | 0.0024751 | 0.00062031
21 | 0.98653 | -0.257 | 0 | 0
22 | 0.98308 | -0.32396 | 0.0010246 | 0.00025679
23 | 0.98272 | -0.33092 | 0.002479 | 0.00062131
24 | 0.98379 | -0.31035 | 0.0032908 | 0.00082476
25 | 0.98345 | -0.31703 | 0 | 0
26 | 0.98337 | -0.31861 | 0.0065289 | 0.0016363
27 | 0.98337 | -0.31859 | 0.0017513 | 0.00043892
28 | 0.98401 | -0.30611 | 0.00218 | 0.00054637
29 | 0.98404 | -0.30536 | 0.0022819 | 0.00057189
30 | 0.98705 | -0.24709 | 0.002036 | 0.00051027
31 | 0.98646 | -0.25846 | 0.0025886 | 0.00064877
32 | 0.99524 | -0.09017 | 0.0012951 | 0.00032459
33 | 0.98645 | -0.2587 | 0.0021173 | 0.00053063
34 | 0.9864 | -0.25962 | 0.0016683 | 0.00041811
35 | 0.98301 | -0.32547 | 0.0016023 | 0.00040158
36 | 0.98244 | -0.33656 | 0.0037426 | 0.00093799
37 | 0.98218 | -0.34155 | 0.0034597 | 0.00086707
38 | 0.98193 | -0.34644 | 0.0024359 | 0.00061049
39 | 0.98224 | -0.34016 | 0.002469 | 0.0006188
40 | 0.98191 | -0.34665 | 0.002759 | 0.00069147
41 | 0.97638 | -0.45436 | 0.003589 | 0.0008995
42 | 0.98156 | -0.35351 | 0.0063821 | 0.0015995
43 | 0.98147 | -0.35533 | 0.0046228 | 0.0011586
44 | 0.98136 | -0.35763 | 0.0033349 | 0.00083581
45 | 0.98134 | -0.35801 | 0.0057678 | 0.0014456
46 | 0.98102 | -0.36427 | 0.00343 | 0.00085963
47 | 0.98095 | -0.3657 | 0.002588 | 0.00064862
48 | 0.98083 | -0.36802 | 0.0036089 | 0.00090448
49 | 0.98076 | -0.36937 | 0.0025825 | 0.00064724
50 | 0.98074 | -0.36973 | 0.0030668 | 0.00076861
51 | 0.99639 | -0.068376 | 0.012369 | 0.0030999
52 | 0.99589 | -0.077781 | 0.0012817 | 0.00032123
53 | 0.99643 | -0.06755 | 0.0032234 | 0.00080786
54 | 0.998 | -0.037804 | 0.0051909 | 0.001301
55 | 0.99516 | -0.09171 | 0.0022322 | 0.00055943
56 | 1 | 0 | -0.22454 | -0.057163
57 | 0.97218 | -0.53722 | 0.0049839 | 0.0012491
58 | 0.97257 | -0.52952 | 0.0020924 | 0.00052441
59 | 0.97309 | -0.5192 | 0.0024533 | 0.00061485
60 | 0.97332 | -0.51463 | 0 | 0
61 | 0.97295 | -0.522 | 0.0032328 | 0.00081022
62 | 0.9744 | -0.49327 | 0.0060828 | 0.0015245
63 | 0.97293 | -0.52241 | 0.0021685 | 0.00054348
64 | 0.97266 | -0.52763 | 0 | 0
65 | 0.97223 | -0.53616 | 0.0026211 | 0.00065692
66 | 0.97256 | -0.52961 | 0.0026903 | 0.00067426
67 | 0.97253 | -0.53023 | 0.0024718 | 0.00061949
68 | 0.97244 | -0.53194 | 0.004183 | 0.0010484
69 | 0.97222 | -0.5364 | 0.0023835 | 0.00059737
70 | 0.99957 | -0.0082069 | 0.0057157 | 0.0014325
71 | 0.99902 | -0.018905 | 0.0046161 | 0.0011569
72 | 0.99872 | -0.024642 | 0.0035164 | 0.00088128
73 | 0.99856 | -0.027723 | 0.0029925 | 0.00074998
74 | 0.99854 | -0.028146 | 0.001476 | 0.00036993
75 | 0.97213 | -0.53805 | 0.0032174 | 0.00080637
76 | 0.97208 | -0.53915 | 0.0022394 | 0.00056124
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.001776 | 0.00044482 | -0.0017759 | -0.00044509 | 7.0908e-08 | -2.7132e-07 | 0.0027195 | 0.0027196 | 0.0027196 | 0.97173 | -0.54607 | 0.97169 | -0.54691 | 0.74715
1 | -0.0051172 | -0.0012822 | 0.0051176 | 0.0012822 | 3.7768e-07 | 3.8501e-08 | 0.0078359 | 0.0078358 | 0.0078359 | 0.97173 | -0.54607 | 0.97181 | -0.54453 | 2.1527
2 | 0.0015319 | 0.00038378 | -0.0015319 | -0.00038392 | 2.5773e-08 | -1.3828e-07 | 0.0023455 | 0.0023456 | 0.0023456 | 0.97181 | -0.54453 | 0.97179 | -0.54488 | 0.6444
3 | -0.0066495 | -0.001666 | 0.0066502 | 0.0016663 | 7.1657e-07 | 2.3018e-07 | 0.010181 | 0.010181 | 0.010181 | 0.97181 | -0.54453 | 0.97192 | -0.54226 | 2.7971
4 | -0.010166 | -0.0025475 | 0.010169 | 0.0025487 | 2.3608e-06 | 1.1888e-06 | 0.015565 | 0.015565 | 0.015565 | 0.97192 | -0.54226 | 0.97217 | -0.53739 | 4.276
5 | -0.012712 | -0.003186 | 0.012712 | 0.0031861 | 1.0372e-07 | 5.7324e-08 | 0.019457 | 0.019457 | 0.019457 | 0.97217 | -0.53739 | 0.97218 | -0.53722 | 5.3453
6 | 0.00099009 | 0.00024741 | -0.00099004 | -0.00024813 | 4.9956e-08 | -7.2029e-07 | 0.0014983 | 0.0014986 | 0.0014986 | 0.98312 | -0.32349 | 0.98306 | -0.32455 | 0.4117
7 | -0.0021971 | -0.00054991 | 0.0021973 | 0.00054932 | 2.439e-07 | -5.8993e-07 | 0.0033252 | 0.0033249 | 0.0033252 | 0.98312 | -0.32349 | 0.98323 | -0.32116 | 0.91351
8 | -0.0083456 | -0.0020902 | 0.0083467 | 0.0020907 | 1.0208e-06 | 4.3685e-07 | 0.01263 | 0.01263 | 0.01263 | 0.98323 | -0.32116 | 0.98337 | -0.31859 | 3.4697
9 | -0.0054989 | -0.0013782 | 0.0054994 | 0.0013782 | 5.3509e-07 | 8.0117e-08 | 0.0083141 | 0.008314 | 0.0083141 | 0.98417 | -0.30298 | 0.98427 | -0.30094 | 2.2841
10 | -0.018207 | -0.0045628 | 0.018216 | 0.0045684 | 9.5153e-06 | 5.6639e-06 | 0.027525 | 0.027524 | 0.027525 | 0.98427 | -0.30094 | 0.98483 | -0.28997 | 7.5617
11 | 0.0060273 | 0.0015106 | -0.0060267 | -0.0015104 | 5.2417e-07 | 1.2152e-07 | 0.009112 | 0.0091121 | 0.0091121 | 0.98427 | -0.30094 | 0.98418 | -0.30276 | 2.5033
12 | 0.0066799 | 0.001674 | -0.0066786 | -0.0016736 | 1.2896e-06 | 3.9685e-07 | 0.010099 | 0.010099 | 0.010099 | 0.98427 | -0.30094 | 0.98406 | -0.30499 | 2.7744
13 | -0.041669 | -0.010455 | 0.041676 | 0.01046 | 7.0304e-06 | 4.4393e-06 | 0.062964 | 0.062963 | 0.062964 | 0.98483 | -0.28997 | 0.98501 | -0.28643 | 17.2977
14 | 0.023453 | 0.0058869 | -0.023431 | -0.0058733 | 2.2154e-05 | 1.3581e-05 | 0.035439 | 0.035439 | 0.035439 | 0.98483 | -0.28997 | 0.98382 | -0.3098 | 9.7361
15 | 0.0044621 | 0.0011181 | -0.004462 | -0.0011181 | 7.9182e-08 | -8.2502e-09 | 0.0067471 | 0.0067471 | 0.0067471 | 0.98406 | -0.30499 | 0.98404 | -0.30536 | 1.8536
16 | -0.166 | -0.041931 | 0.16614 | 0.042018 | 0.00013826 | 8.7813e-05 | 0.25089 | 0.25089 | 0.25089 | 0.98501 | -0.28643 | 0.98591 | -0.26907 | 22.9754
17 | 0.12433 | 0.031471 | -0.12427 | -0.031437 | 5.4216e-05 | 3.4229e-05 | 0.18793 | 0.18793 | 0.18793 | 0.98501 | -0.28643 | 0.98454 | -0.29552 | 17.2095
18 | 0.019925 | 0.0049946 | -0.019924 | -0.0049942 | 5.2858e-07 | 3.1859e-07 | 0.030136 | 0.030136 | 0.030136 | 0.98382 | -0.3098 | 0.98379 | -0.31035 | 8.2792
19 | 0.11889 | 0.030087 | -0.11885 | -0.03006 | 4.2019e-05 | 2.6496e-05 | 0.17979 | 0.17979 | 0.17979 | 0.98454 | -0.29552 | 0.98416 | -0.30289 | 16.464
20 | 0.039886 | 0.010031 | -0.039852 | -0.010009 | 3.4554e-05 | 2.1793e-05 | 0.060319 | 0.060319 | 0.060319 | 0.98416 | -0.30289 | 0.98323 | -0.32104 | 16.5712
21 | 0.078959 | 0.020029 | -0.078905 | -0.019996 | 5.3265e-05 | 3.2953e-05 | 0.11947 | 0.11947 | 0.11947 | 0.98416 | -0.30289 | 0.98344 | -0.31693 | 10.9404
22 | -0.16817 | -0.042527 | 0.16827 | 0.042588 | 9.7422e-05 | 6.1887e-05 | 0.25395 | 0.25395 | 0.25395 | 0.98591 | -0.26907 | 0.98653 | -0.257 | 23.2556
23 | 0.036703 | 0.0092202 | -0.036698 | -0.009217 | 5.113e-06 | 3.2163e-06 | 0.055554 | 0.055554 | 0.055554 | 0.98323 | -0.32104 | 0.98308 | -0.32396 | 15.2622
24 | 0.07643 | 0.019376 | -0.076379 | -0.019344 | 5.1365e-05 | 3.1706e-05 | 0.11572 | 0.11572 | 0.11572 | 0.98344 | -0.31693 | 0.98272 | -0.33092 | 10.5975
25 | -0.17464 | -0.044186 | 0.17473 | 0.044239 | 8.3118e-05 | 5.2828e-05 | 0.26357 | 0.26357 | 0.26357 | 0.98653 | -0.257 | 0.98705 | -0.24709 | 24.1361
26 | 0.0063747 | 0.0015973 | -0.0063743 | -0.0015972 | 4.4388e-07 | 1.2062e-07 | 0.009615 | 0.0096151 | 0.0096151 | 0.98653 | -0.257 | 0.98646 | -0.25846 | 2.6415
27 | 0.035674 | 0.0089602 | -0.035671 | -0.0089586 | 2.5601e-06 | 1.6088e-06 | 0.054004 | 0.054004 | 0.054004 | 0.98308 | -0.32396 | 0.98301 | -0.32547 | 14.8361
28 | 0.0739 | 0.018723 | -0.073867 | -0.018703 | 3.2772e-05 | 2.018e-05 | 0.11197 | 0.11197 | 0.11197 | 0.98272 | -0.33092 | 0.98224 | -0.34016 | 10.2537
29 | 0.016633 | 0.0041695 | -0.016628 | -0.0041664 | 5.2892e-06 | 3.1022e-06 | 0.025159 | 0.025159 | 0.025159 | 0.98379 | -0.31035 | 0.98345 | -0.31703 | 6.9118
30 | 0.0065294 | 0.0016364 | -0.0065289 | -0.0016363 | 4.9184e-07 | 1.4429e-07 | 0.0098794 | 0.0098794 | 0.0098794 | 0.98345 | -0.31703 | 0.98337 | -0.31861 | 2.7141
31 | 0.010099 | 0.00253 | -0.010098 | -0.0025296 | 7.5082e-07 | 3.7172e-07 | 0.01528 | 0.01528 | 0.01528 | 0.98345 | -0.31703 | 0.98337 | -0.31859 | 4.1977
32 | -0.00218 | -0.00054637 | 0.0021801 | 0.00054618 | 7.7712e-08 | -1.925e-07 | 0.0032967 | 0.0032966 | 0.0032967 | 0.98401 | -0.30611 | 0.98404 | -0.30536 | 0.90568
33 | -0.17676 | -0.044749 | 0.1781 | 0.045602 | 0.0013426 | 0.00085344 | 0.26664 | 0.26663 | 0.26664 | 0.98705 | -0.24709 | 0.99524 | -0.09017 | 24.4172
34 | 0.0037857 | 0.00094839 | -0.0037856 | -0.0009484 | 4.3159e-08 | -1.7437e-08 | 0.0057103 | 0.0057103 | 0.0057103 | 0.98646 | -0.25846 | 0.98645 | -0.2587 | 1.5688
35 | 0.0022323 | 0.00055903 | -0.0022322 | -0.00055943 | 1.6368e-07 | -4.0439e-07 | 0.0033375 | 0.0033376 | 0.0033376 | 0.99524 | -0.09017 | 0.99516 | -0.09171 | 0.91694
36 | -0.18163 | -0.046486 | 0.18174 | 0.046555 | 0.00010903 | 6.9319e-05 | 0.27191 | 0.27191 | 0.27191 | 0.99524 | -0.09017 | 0.99589 | -0.077781 | 24.8999
37 | 0.0016684 | 0.00041777 | -0.0016683 | -0.00041811 | 7.2564e-08 | -3.4359e-07 | 0.0025165 | 0.0025167 | 0.0025167 | 0.98645 | -0.2587 | 0.9864 | -0.25962 | 0.69139
38 | 0.034069 | 0.008557 | -0.034051 | -0.0085457 | 1.8031e-05 | 1.1311e-05 | 0.051578 | 0.051578 | 0.051578 | 0.98301 | -0.32547 | 0.98244 | -0.33656 | 14.1698
39 | 0.030308 | 0.0076077 | -0.030301 | -0.0076032 | 7.2115e-06 | 4.4998e-06 | 0.045909 | 0.04591 | 0.04591 | 0.98244 | -0.33656 | 0.98218 | -0.34155 | 12.6125
40 | 0.026841 | 0.0067361 | -0.026835 | -0.0067322 | 6.2483e-06 | 3.8714e-06 | 0.040668 | 0.040668 | 0.040668 | 0.98218 | -0.34155 | 0.98193 | -0.34644 | 11.1726
41 | 0.024399 | 0.0061218 | -0.024386 | -0.0061137 | 1.3016e-05 | 8.0092e-06 | 0.036977 | 0.036977 | 0.036977 | 0.98193 | -0.34644 | 0.98136 | -0.35763 | 10.1585
42 | 0.013772 | 0.0034538 | -0.013768 | -0.0034514 | 4.26e-06 | 2.3962e-06 | 0.020864 | 0.020865 | 0.020865 | 0.98224 | -0.34016 | 0.98191 | -0.34665 | 5.732
43 | 0.057626 | 0.01463 | -0.057311 | -0.014434 | 0.00031479 | 0.00019593 | 0.087366 | 0.087368 | 0.087368 | 0.98224 | -0.34016 | 0.97638 | -0.45436 | 12.0011
44 | 0.011009 | 0.0027599 | -0.011005 | -0.0027581 | 3.5948e-06 | 1.8652e-06 | 0.016684 | 0.016684 | 0.016684 | 0.98191 | -0.34665 | 0.98156 | -0.35351 | 4.5834
45 | 0.053722 | 0.013535 | -0.053622 | -0.013471 | 9.9791e-05 | 6.3371e-05 | 0.081898 | 0.081898 | 0.081898 | 0.97638 | -0.45436 | 0.9744 | -0.49327 | 22.4996
46 | 0.0046232 | 0.0011586 | -0.0046228 | -0.0011586 | 4.018e-07 | -1.8529e-08 | 0.0070086 | 0.0070087 | 0.0070087 | 0.98156 | -0.35351 | 0.98147 | -0.35533 | 1.9255
47 | 0.021051 | 0.0052779 | -0.021051 | -0.0052777 | 3.7733e-07 | 2.2901e-07 | 0.03192 | 0.03192 | 0.03192 | 0.98136 | -0.35763 | 0.98134 | -0.35801 | 8.7693
48 | 0.015283 | 0.0038321 | -0.015278 | -0.0038295 | 4.5582e-06 | 2.6314e-06 | 0.023174 | 0.023175 | 0.023175 | 0.98134 | -0.35801 | 0.98102 | -0.36427 | 6.3666
49 | 0.011849 | 0.0029699 | -0.011848 | -0.0029695 | 8.0966e-07 | 4.3379e-07 | 0.017972 | 0.017972 | 0.017972 | 0.98102 | -0.36427 | 0.98095 | -0.3657 | 4.9374
50 | 0.0092597 | 0.0023208 | -0.0092587 | -0.0023204 | 1.0231e-06 | 4.8025e-07 | 0.014046 | 0.014046 | 0.014046 | 0.98095 | -0.3657 | 0.98083 | -0.36802 | 3.8589
51 | 0.0056497 | 0.0014159 | -0.0056494 | -0.0014158 | 3.6146e-07 | 6.5751e-08 | 0.0085712 | 0.0085712 | 0.0085712 | 0.98083 | -0.36802 | 0.98076 | -0.36937 | 2.3547
52 | 0.0030669 | 0.00076857 | -0.0030668 | -0.00076861 | 5.2671e-08 | -4.8155e-08 | 0.004653 | 0.0046531 | 0.0046531 | 0.98076 | -0.36937 | 0.98074 | -0.36973 | 1.2783
53 | 0.18311 | 0.046929 | -0.18302 | -0.046876 | 8.3436e-05 | 5.3051e-05 | 0.27382 | 0.27382 | 0.27382 | 0.99639 | -0.068376 | 0.99589 | -0.077781 | 25.0753
54 | -0.19547 | -0.050029 | 0.19548 | 0.050034 | 7.8136e-06 | 4.9721e-06 | 0.29229 | 0.29229 | 0.29229 | 0.99639 | -0.068376 | 0.99643 | -0.06755 | 26.7668
55 | -0.19871 | -0.050842 | 0.19899 | 0.051025 | 0.00028659 | 0.0001824 | 0.29711 | 0.29711 | 0.29711 | 0.99643 | -0.06755 | 0.998 | -0.037804 | 27.2076
56 | -0.20418 | -0.052326 | 0.20456 | 0.052564 | 0.00037488 | 0.00023866 | 0.30485 | 0.30485 | 0.30485 | 0.998 | -0.037804 | 1 | 0 | 27.9163
57 | 0.018333 | 0.0045989 | -0.018326 | -0.0045946 | 7.1698e-06 | 4.2518e-06 | 0.027281 | 0.027282 | 0.027282 | 1 | 0 | 0.99957 | -0.0082069 | 7.4949
58 | -0.017696 | -0.0044352 | 0.017702 | 0.004439 | 6.4904e-06 | 3.8612e-06 | 0.027085 | 0.027085 | 0.027085 | 0.97218 | -0.53722 | 0.97257 | -0.52952 | 7.441
59 | -0.019795 | -0.0049634 | 0.019804 | 0.0049693 | 9.7388e-06 | 5.8813e-06 | 0.030287 | 0.030286 | 0.030287 | 0.97257 | -0.52952 | 0.97309 | -0.5192 | 8.3205
60 | -0.022258 | -0.0055842 | 0.022263 | 0.0055871 | 4.8562e-06 | 2.9691e-06 | 0.034038 | 0.034038 | 0.034038 | 0.97309 | -0.5192 | 0.97332 | -0.51463 | 9.3511
61 | 0.025228 | 0.0063289 | -0.02522 | -0.0063234 | 8.8581e-06 | 5.4719e-06 | 0.038572 | 0.038572 | 0.038572 | 0.97332 | -0.51463 | 0.97295 | -0.522 | 10.5966
62 | -0.047491 | -0.011916 | 0.047539 | 0.011947 | 4.8411e-05 | 3.0678e-05 | 0.072609 | 0.072609 | 0.072609 | 0.97332 | -0.51463 | 0.9744 | -0.49327 | 19.9476
63 | 0.021987 | 0.0055132 | -0.021986 | -0.0055129 | 4.3375e-07 | 2.6489e-07 | 0.033627 | 0.033627 | 0.033627 | 0.97295 | -0.522 | 0.97293 | -0.52241 | 9.2383
64 | 0.019818 | 0.0049694 | -0.019813 | -0.0049665 | 4.9262e-06 | 2.9752e-06 | 0.030311 | 0.030311 | 0.030311 | 0.97293 | -0.52241 | 0.97266 | -0.52763 | 8.3272
65 | 0.010466 | 0.0026239 | -0.010462 | -0.0026217 | 4.2532e-06 | 2.1732e-06 | 0.016012 | 0.016012 | 0.016012 | 0.97266 | -0.52763 | 0.97223 | -0.53616 | 4.399
66 | 0.0093465 | 0.0023425 | -0.0093456 | -0.0023421 | 8.8293e-07 | 4.2216e-07 | 0.014299 | 0.014299 | 0.014299 | 0.97266 | -0.52763 | 0.97256 | -0.52961 | 3.9282
67 | 0.007841 | 0.0019648 | -0.0078409 | -0.0019648 | 9.1009e-08 | 3.7349e-08 | 0.012001 | 0.012001 | 0.012001 | 0.97223 | -0.53616 | 0.97222 | -0.5364 | 3.2969
68 | 0.0066553 | 0.0016679 | -0.0066551 | -0.0016678 | 1.979e-07 | 6.3497e-08 | 0.010183 | 0.010183 | 0.010183 | 0.97256 | -0.52961 | 0.97253 | -0.53023 | 2.7974
69 | 0.0041833 | 0.0010483 | -0.004183 | -0.0010484 | 3.4027e-07 | -5.7028e-08 | 0.0064006 | 0.0064007 | 0.0064007 | 0.97253 | -0.53023 | 0.97244 | -0.53194 | 1.7584
70 | 0.0054574 | 0.0013674 | -0.0054569 | -0.0013674 | 4.2932e-07 | 7.1293e-08 | 0.0083526 | 0.0083526 | 0.0083526 | 0.97222 | -0.5364 | 0.97213 | -0.53805 | 2.2947
71 | 0.01261 | 0.0031621 | -0.012604 | -0.0031587 | 6.4265e-06 | 3.4759e-06 | 0.018773 | 0.018773 | 0.018773 | 0.99957 | -0.0082069 | 0.99902 | -0.018905 | 5.1575
72 | 0.0079877 | 0.0020018 | -0.0079856 | -0.0020009 | 2.1824e-06 | 8.5856e-07 | 0.011898 | 0.011898 | 0.011898 | 0.99902 | -0.018905 | 0.99872 | -0.024642 | 3.2686
73 | 0.0044692 | 0.0011196 | -0.0044685 | -0.0011197 | 6.5576e-07 | -9.633e-08 | 0.0066586 | 0.0066588 | 0.0066588 | 0.99872 | -0.024642 | 0.99856 | -0.027723 | 1.8293
74 | 0.0014761 | 0.00036973 | -0.001476 | -0.00036993 | 2.9797e-08 | -1.9578e-07 | 0.0021995 | 0.0021996 | 0.0021996 | 0.99856 | -0.027723 | 0.99854 | -0.028146 | 0.60428
75 | 0.0022395 | 0.00056099 | -0.0022394 | -0.00056124 | 1.1744e-07 | -2.5527e-07 | 0.0034278 | 0.0034279 | 0.0034279 | 0.97213 | -0.53805 | 0.97208 | -0.53915 | 0.94174

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.22937 | 0.058373

## res_load
| p_mw | q_mvar
0 | 0.0033412 | 0.00083738
1 | 0.0017759 | 0.00044509
2 | 0.0015319 | 0.00038392
3 | 0.0035162 | 0.00088125
4 | 0.0025431 | 0.00063736
5 | 0.001207 | 0.0003025
6 | 0.00099004 | 0.00024813
7 | 0.0061483 | 0.0015409
8 | 0.0054989 | 0.0013782
9 | 0.0060267 | 0.0015104
10 | 0.0022165 | 0.00055552
11 | 0.0035061 | 0.00087872
12 | 0.0053865 | 0.00135
13 | 0.0020278 | 0.00050822
14 | 0.0031484 | 0.00078907
15 | 0.0024751 | 0.00062031
16 | 0.0010246 | 0.00025679
17 | 0.002479 | 0.00062131
18 | 0.0032908 | 0.00082476
19 | 0.0065289 | 0.0016363
20 | 0.0017513 | 0.00043892
21 | 0.00218 | 0.00054637
22 | 0.0022819 | 0.00057189
23 | 0.002036 | 0.00051027
24 | 0.0025886 | 0.00064877
25 | 0.0012951 | 0.00032459
26 | 0.0021173 | 0.00053063
27 | 0.0016683 | 0.00041811
28 | 0.0016023 | 0.00040158
29 | 0.0037426 | 0.00093799
30 | 0.0034597 | 0.00086707
31 | 0.0024359 | 0.00061049
32 | 0.002469 | 0.0006188
33 | 0.002759 | 0.00069147
34 | 0.003589 | 0.0008995
35 | 0.0063821 | 0.0015995
36 | 0.0046228 | 0.0011586
37 | 0.0033349 | 0.00083581
38 | 0.0057678 | 0.0014456
39 | 0.00343 | 0.00085963
40 | 0.002588 | 0.00064862
41 | 0.0036089 | 0.00090448
42 | 0.0025825 | 0.00064724
43 | 0.0030668 | 0.00076861
44 | 0.012369 | 0.0030999
45 | 0.0012817 | 0.00032123
46 | 0.0032234 | 0.00080786
47 | 0.0051909 | 0.001301
48 | 0.0022322 | 0.00055943
49 | 0.0048251 | 0.0012093
50 | 0.0049839 | 0.0012491
51 | 0.0020924 | 0.00052441
52 | 0.0024533 | 0.00061485
53 | 0.0032328 | 0.00081022
54 | 0.0060828 | 0.0015245
55 | 0.0021685 | 0.00054348
56 | 0.0026211 | 0.00065692
57 | 0.0026903 | 0.00067426
58 | 0.0024718 | 0.00061949
59 | 0.004183 | 0.0010484
60 | 0.0023835 | 0.00059737
61 | 0.0057157 | 0.0014325
62 | 0.0046161 | 0.0011569
63 | 0.0035164 | 0.00088128
64 | 0.0029925 | 0.00074998
65 | 0.001476 | 0.00036993
66 | 0.0032174 | 0.00080637
67 | 0.0022394 | 0.00056124

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1