## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_220-2_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_220-2_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_220-2_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_220-2_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_220-2_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_220-2_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_220-2_0_1_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_220-2_0_1_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_220-2_0_1_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_220-2_0_1_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_220-2_0_1_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_220-2_0_1_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_220-2_0_1_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_220-2_0_1_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_220-2_0_1_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_220-2_0_1_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_220-2_0_1_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_220-2_0_1_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_220-2_0_1_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_220-2_0_1_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_220-2_0_1_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_220-2_0_1_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_220-2_0_1_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_220-2_0_1_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_220-2_0_1_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_220-2_0_1_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_220-2_0_1_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_220-2_0_1_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_220-2_0_1_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_220-2_0_1_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_220-2_0_1_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_220-2_0_1_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_220-2_0_1_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_220-2_0_1_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_220-2_0_1_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_220-2_0_1_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_220-2_0_1_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_220-2_0_1_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_220-2_0_1_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_220-2_0_1_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_220-2_0_1_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_220-2_0_1_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_220-2_0_1_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_220-2_0_1_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_220-2_0_1_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_220-2_0_1_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_220-2_0_1_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_220-2_0_1_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_220-2_0_1_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_220-2_0_1_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_220-2_0_1_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_220-2_0_1_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_220-2_0_1_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_220-2_0_1_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_220-2_0_1_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_220-2_0_1_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_220-2_0_1_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_220-2_0_1_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_220-2_0_1_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_220-2_0_1_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_220-2_0_1_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_220-2_0_1_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_220-2_0_1_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_220-2_0_1_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_220-2_0_1_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_220-2_0_1_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_220-2_0_1_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_220-2_0_1_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_220-2_0_1_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_220-2_0_1_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_220-2_0_1_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_220-2_0_1_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_220-2_0_1_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_220-2_0_1_load_0 | 0 | 0.0021175 | 0.00053069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_220-2_0_1_load_1 | 1 | 0.0025735 | 0.00064498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_220-2_0_1_load_2 | 2 | 0.0023356 | 0.00058535 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_220-2_0_1_load_5 | 5 | 0.001186 | 0.00029723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_220-2_0_1_load_12 | 6 | 0.00036378 | 9.1173e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_220-2_0_1_load_7 | 7 | 0.0061121 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_220-2_0_1_load_8 | 8 | 0.00038539 | 9.6589e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_220-2_0_1_load_13 | 10 | 0.00073679 | 0.00018466 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_220-2_0_1_load_15 | 12 | 0.00088159 | 0.00022095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_220-2_0_1_load_16 | 14 | 0.0019391 | 0.000486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_220-2_0_1_load_18 | 16 | 0.0006234 | 0.00015624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_220-2_0_1_load_19 | 17 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_220-2_0_1_load_22 | 20 | 0.0017569 | 0.00044033 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_220-2_0_1_load_24 | 21 | 0.00096582 | 0.00024206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_220-2_0_1_load_25 | 22 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_220-2_0_1_load_23 | 23 | 0.0014343 | 0.00035947 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_220-2_0_1_load_28 | 24 | 0.0008126 | 0.00020366 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_220-2_0_1_load_27 | 27 | 0.00058091 | 0.00014559 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_220-2_0_1_load_37 | 29 | 0.00019601 | 4.9126e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_220-2_0_1_load_34 | 30 | 0.0016777 | 0.00042047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_220-2_0_1_load_31 | 32 | 0.0014452 | 0.00036221 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_220-2_0_1_load_33 | 33 | 0.001325 | 0.00033208 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_220-2_0_1_load_39 | 37 | 0.00053452 | 0.00013396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_220-2_0_1_load_40 | 39 | 0.00066144 | 0.00016577 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_220-2_0_1_load_41 | 40 | 0.00093873 | 0.00023527 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_220-2_0_1_load_42 | 41 | 0.00043096 | 0.00010801 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_220-2_0_1_load_49 | 42 | 0.00022785 | 5.7105e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_220-2_0_1_load_44 | 43 | 0.00046046 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_220-2_0_1_load_50 | 46 | 0.00048001 | 0.0001203 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_220-2_0_1_load_71 | 49 | 0.00040541 | 0.0001016 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_220-2_0_1_load_54 | 50 | 0.00012156 | 3.0466e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_220-2_0_1_load_53 | 51 | 5.2319e-05 | 1.3112e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_220-2_0_1_load_66 | 53 | 0.00013614 | 3.4121e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_220-2_0_1_load_59 | 58 | 0.00027963 | 7.0082e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_220-2_0_1_load_63 | 59 | 0.00016051 | 4.0228e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_220-2_0_1_load_64 | 60 | 0.00017253 | 4.3239e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_220-2_0_1_load_60 | 61 | 0.00020747 | 5.1998e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_220-2_0_1_load_61 | 62 | 0.00024676 | 6.1843e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_220-2_0_1_load_68 | 65 | 0.00071362 | 0.00017885 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_220-2_0_1_load_69 | 66 | 0.00050465 | 0.00012648 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_220-2_0_1_load_70 | 67 | 0.00015098 | 3.7838e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_220-2_0_1_load_73 | 68 | 0.00017586 | 4.4075e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_220-2_0_1_load_77 | 69 | 5.7418e-05 | 1.439e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_220-2_0_1_load_74 | 70 | 8.3278e-05 | 2.0871e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_220-2_0_1_load_75 | 71 | 0.00016667 | 4.1773e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_220-2_0_1_load_76 | 72 | 5.1181e-05 | 1.2827e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_220-2_0_1_line_0 |  | 0 | 1 | 0.069896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_220-2_0_1_line_1 |  | 1 | 2 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_220-2_0_1_line_2 |  | 2 | 3 | 0.08828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_220-2_0_1_line_3 |  | 3 | 4 | 0.023488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_220-2_0_1_line_4 |  | 4 | 5 | 0.0035805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_220-2_0_1_line_5 |  | 5 | 6 | 0.0038001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_220-2_0_1_line_6 |  | 6 | 9 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_220-2_0_1_line_7 |  | 7 | 8 | 0.041957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_220-2_0_1_line_8 |  | 8 | 9 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_220-2_0_1_line_9 |  | 9 | 10 | 0.002882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_220-2_0_1_line_10 |  | 10 | 13 | 0.011167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_220-2_0_1_line_11 |  | 11 | 12 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_220-2_0_1_line_12 |  | 11 | 13 | 0.034759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_220-2_0_1_line_13 |  | 13 | 14 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_220-2_0_1_line_14 |  | 14 | 15 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_220-2_0_1_line_15 |  | 15 | 16 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_220-2_0_1_line_16 |  | 15 | 17 | 0.0034065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_220-2_0_1_line_17 |  | 16 | 18 | 0.0047499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_220-2_0_1_line_18 |  | 17 | 19 | 0.037472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_220-2_0_1_line_19 |  | 18 | 20 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_220-2_0_1_line_20 |  | 19 | 21 | 0.021869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_220-2_0_1_line_21 |  | 19 | 22 | 0.003717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_220-2_0_1_line_22 |  | 20 | 23 | 0.0081303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_220-2_0_1_line_23 |  | 22 | 25 | 0.038242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_220-2_0_1_line_24 |  | 23 | 24 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_220-2_0_1_line_25 |  | 25 | 26 | 0.11864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_220-2_0_1_line_26 |  | 25 | 27 | 0.018344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_220-2_0_1_line_27 |  | 26 | 30 | 0.036568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_220-2_0_1_line_28 |  | 26 | 31 | 0.042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_220-2_0_1_line_29 |  | 26 | 28 | 0.044367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_220-2_0_1_line_30 |  | 28 | 29 | 0.03226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_220-2_0_1_line_31 |  | 30 | 34 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_220-2_0_1_line_32 |  | 31 | 33 | 0.039693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_220-2_0_1_line_33 |  | 31 | 32 | 0.021489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_220-2_0_1_line_34 |  | 34 | 35 | 0.14344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_220-2_0_1_line_35 |  | 35 | 36 | 0.039213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_220-2_0_1_line_36 |  | 35 | 37 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_220-2_0_1_line_37 |  | 36 | 38 | 0.5835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_220-2_0_1_line_38 |  | 37 | 39 | 0.029386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_220-2_0_1_line_39 |  | 38 | 42 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_220-2_0_1_line_40 |  | 38 | 43 | 0.035578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_220-2_0_1_line_41 |  | 39 | 40 | 0.0081988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_220-2_0_1_line_42 |  | 40 | 41 | 0.0085261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_220-2_0_1_line_43 |  | 43 | 44 | 0.080758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_220-2_0_1_line_44 |  | 44 | 45 | 0.039278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_220-2_0_1_line_45 |  | 45 | 46 | 0.045716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_220-2_0_1_line_46 |  | 46 | 51 | 0.011392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_220-2_0_1_line_47 |  | 47 | 48 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_220-2_0_1_line_48 |  | 47 | 49 | 0.028907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_220-2_0_1_line_49 |  | 48 | 50 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_220-2_0_1_line_50 |  | 48 | 51 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_220-2_0_1_line_51 |  | 49 | 65 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_220-2_0_1_line_52 |  | 50 | 55 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_220-2_0_1_line_53 |  | 52 | 53 | 0.0095958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_220-2_0_1_line_54 |  | 52 | 54 | 0.005616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_220-2_0_1_line_55 |  | 54 | 60 | 0.0016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_220-2_0_1_line_56 |  | 54 | 56 | 0.043176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_220-2_0_1_line_57 |  | 55 | 57 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_220-2_0_1_line_58 |  | 56 | 57 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_220-2_0_1_line_59 |  | 56 | 58 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_220-2_0_1_line_60 |  | 57 | 59 | 0.0017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_220-2_0_1_line_61 |  | 58 | 61 | 0.0033303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_220-2_0_1_line_62 |  | 61 | 62 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_220-2_0_1_line_63 |  | 63 | 64 | 0.050196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_220-2_0_1_line_64 |  | 63 | 65 | 0.0073554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_220-2_0_1_line_65 |  | 64 | 66 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_220-2_0_1_line_66 |  | 64 | 67 | 0.0041838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_220-2_0_1_line_67 |  | 66 | 68 | 0.0067966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_220-2_0_1_line_68 |  | 68 | 69 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_220-2_0_1_line_69 |  | 69 | 71 | 0.0026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_220-2_0_1_line_70 |  | 70 | 71 | 0.0050766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_220-2_0_1_line_71 |  | 70 | 72 | 0.0040533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_220-2_0_1_trafo_28 | 0.63 MVA 20/0.4 kV | 73 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2708566.6645 | 1262500.5171 | 2708548.7322 | 1262499.1758 | 2708520.8639 | 1262499.7093 | 2708498.5902 | 1262498.8333 | 2708496.8594 | 1262498.5784
1 | 2708566.6645 | 1262500.5171 | 2708590.0491 | 1262504.5651
2 | 2708676.7212 | 1262521.3225 | 2708623.5787 | 1262510.8152 | 2708599.4374 | 1262506.1902 | 2708590.0491 | 1262504.5651
3 | 2708676.7212 | 1262521.3225 | 2708699.7321 | 1262526.3607
4 | 2708699.7321 | 1262526.3607 | 2708702.7897 | 1262528.224
5 | 2708702.7897 | 1262528.224 | 2708706.0347 | 1262530.2014
6 | 2708722.5572 | 1262540.2699 | 2708706.0347 | 1262530.2014
7 | 2708689.6929 | 1262576.2897 | 2708693.6504 | 1262564.5036 | 2708697.3776 | 1262559.7347 | 2708702.6374 | 1262559.7314 | 2708708.7105 | 1262559.3427 | 2708712.7246 | 1262555.7801 | 2708715.9234 | 1262549.8255
8 | 2708722.5572 | 1262540.2699 | 2708719.427 | 1262543.3038 | 2708715.9234 | 1262549.8255
9 | 2708722.5572 | 1262540.2699 | 2708725.4392 | 1262540.2862
10 | 2708736.5039 | 1262539.1141 | 2708729.5493 | 1262540.3095 | 2708725.4392 | 1262540.2862
11 | 2708740.5696 | 1262572.4728 | 2708758.0394 | 1262570.4945
12 | 2708736.5039 | 1262539.1141 | 2708734.3016 | 1262554.3755 | 2708739.4513 | 1262565.2683 | 2708740.5696 | 1262572.4728
13 | 2708736.5039 | 1262539.1141 | 2708744.7739 | 1262534.4066 | 2708754.6074 | 1262532.8582
14 | 2708779.0463 | 1262529.01 | 2708754.6074 | 1262532.8582
15 | 2708779.0463 | 1262529.01 | 2708784.6869 | 1262540.2455 | 2708786.1408 | 1262541.907 | 2708787.9614 | 1262543.1009
16 | 2708779.0463 | 1262529.01 | 2708782.3706 | 1262528.2665
17 | 2708791.9334 | 1262545.7056 | 2708787.9614 | 1262543.1009
18 | 2708815.8896 | 1262512.0844 | 2708797.0103 | 1262523.3022 | 2708788.0505 | 1262526.9961 | 2708782.3706 | 1262528.2665
19 | 2708791.9334 | 1262545.7056 | 2708803.3687 | 1262550.9741
20 | 2708815.8896 | 1262512.0844 | 2708801.0247 | 1262496.0437
21 | 2708815.8896 | 1262512.0844 | 2708819.0956 | 1262510.2034
22 | 2708803.3687 | 1262550.9741 | 2708806.8177 | 1262552.563 | 2708811.1169 | 1262553.1029
23 | 2708852.0814 | 1262490.8545 | 2708835.0939 | 1262500.817 | 2708819.0956 | 1262510.2034
24 | 2708834.3737 | 1262547.6207 | 2708833.5231 | 1262549.6963 | 2708830.2364 | 1262553.4502 | 2708821.0342 | 1262554.3483 | 2708811.1169 | 1262553.1029
25 | 2708852.0814 | 1262490.8545 | 2708885.119 | 1262472.3357 | 2708942.4673 | 1262447.6262 | 2708950.1297 | 1262441.9736 | 2708955.5697 | 1262435.0568
26 | 2708852.0814 | 1262490.8545 | 2708850.8223 | 1262497.4369 | 2708849.1876 | 1262506.003 | 2708848.5601 | 1262508.8568
27 | 2708955.5697 | 1262435.0568 | 2708986.5154 | 1262454.5399
28 | 2708955.5697 | 1262435.0568 | 2708946.8117 | 1262429.8355 | 2708919.219 | 1262412.1234
29 | 2708955.5697 | 1262435.0568 | 2708950.1297 | 1262441.9736 | 2708948.6829 | 1262450.5543 | 2708939.2594 | 1262475.7132
30 | 2708939.2594 | 1262475.7132 | 2708956.8778 | 1262495.3099 | 2708962.6705 | 1262496.4694
31 | 2709001.0238 | 1262463.6741 | 2708986.5154 | 1262454.5399
32 | 2708940.2009 | 1262385.7985 | 2708933.6066 | 1262385.0208 | 2708927.8028 | 1262387.138 | 2708922.8349 | 1262394.197 | 2708919.219 | 1262412.1234
33 | 2708919.219 | 1262412.1234 | 2708913.0519 | 1262408.1954 | 2708901.5578 | 1262399.8954
34 | 2709001.0238 | 1262463.6741 | 2709012.2866 | 1262470.7655 | 2709077.12 | 1262511.2952 | 2709106.6584 | 1262529.689 | 2709122.8658 | 1262539.9634
35 | 2709122.8658 | 1262539.9634 | 2709156.0627 | 1262560.9938
36 | 2709122.8658 | 1262539.9634 | 2709113.0408 | 1262560.2851
37 | 2709156.0627 | 1262560.9938 | 2709168.2107 | 1262568.6913 | 2709191.9332 | 1262583.7197 | 2709209.9884 | 1262596.7419 | 2709235.0989 | 1262616.9784 | 2709281.27 | 1262664.127 | 2709347.7549 | 1262738.9862 | 2709394.8176 | 1262791.6013 | 2709499.1069 | 1262907.7191 | 2709543.2453 | 1262956.9785 | 2709561.6637 | 1262977.5372
38 | 2709113.0408 | 1262560.2851 | 2709110.9024 | 1262564.7082 | 2709109.2522 | 1262580.2132 | 2709112.3497 | 1262585.0856 | 2709115.335 | 1262585.9463
39 | 2709561.6637 | 1262977.5372 | 2709543.9055 | 1263001.4398
40 | 2709561.6637 | 1262977.5372 | 2709585.5356 | 1263003.918
41 | 2709115.335 | 1262585.9463 | 2709123.2129 | 1262588.2175
42 | 2709131.4054 | 1262590.5794 | 2709123.2129 | 1262588.2175
43 | 2709635.7437 | 1263067.042 | 2709628.7622 | 1263056.7149 | 2709604.0969 | 1263024.4301 | 2709585.5356 | 1263003.918
44 | 2709607.8924 | 1263094.8162 | 2709617.0124 | 1263085.7219 | 2709635.7437 | 1263067.042
45 | 2709607.8924 | 1263094.8162 | 2709608.8251 | 1263101.4058 | 2709611.5885 | 1263106.7838 | 2709627.3898 | 1263119.3207 | 2709637.0962 | 1263127.7321
46 | 2709637.0962 | 1263127.7321 | 2709645.7053 | 1263135.1926
47 | 2709665.8123 | 1263147.1679 | 2709670.8124 | 1263146.916 | 2709669.93 | 1263127.0716
48 | 2709669.93 | 1263127.0716 | 2709674.0731 | 1263127.5266 | 2709694.856 | 1263135.1185 | 2709697.4109 | 1263135.6677
49 | 2709665.8123 | 1263147.1679 | 2709666.9801 | 1263158.8192
50 | 2709665.8123 | 1263147.1679 | 2709660.9134 | 1263146.8324 | 2709649.3025 | 1263138.3098 | 2709645.7053 | 1263135.1926
51 | 2709697.4109 | 1263135.6677 | 2709708.1604 | 1263137.9787
52 | 2709666.5663 | 1263175.1503 | 2709667.7386 | 1263166.3868 | 2709666.9801 | 1263158.8192
53 | 2709673.58 | 1263227.9811 | 2709671.7421 | 1263218.5629
54 | 2709678.7884 | 1263225.8425 | 2709673.58 | 1263227.9811
55 | 2709678.7884 | 1263225.8425 | 2709678.9295 | 1263227.4717
56 | 2709678.7884 | 1263225.8425 | 2709676.7757 | 1263209.658 | 2709674.0485 | 1263187.722 | 2709678.7887 | 1263187.2651
57 | 2709666.5663 | 1263175.1503 | 2709673.0133 | 1263174.4804 | 2709679.0225 | 1263173.8579
58 | 2709678.7887 | 1263187.2651 | 2709678.6735 | 1263183.7266 | 2709678.8841 | 1263180.094 | 2709679.1159 | 1263176.1283 | 2709679.0225 | 1263173.8579
59 | 2709678.7887 | 1263187.2651 | 2709692.8359 | 1263185.9022 | 2709702.9016 | 1263185.7793
60 | 2709679.0225 | 1263173.8579 | 2709678.983 | 1263172.734 | 2709678.9573 | 1263172.0886
61 | 2709702.9016 | 1263185.7793 | 2709706.2317 | 1263185.7387
62 | 2709706.2317 | 1263185.7387 | 2709716.3266 | 1263185.6155 | 2709720.0016 | 1263180.8462
63 | 2709715.3514 | 1263139.5246 | 2709732.6486 | 1263141.2804 | 2709741.5871 | 1263140.7458 | 2709750.157 | 1263138.5585 | 2709764.2593 | 1263133.0154
64 | 2709715.3514 | 1263139.5246 | 2709708.1604 | 1263137.9787
65 | 2709764.2593 | 1263133.0154 | 2709766.2878 | 1263148.9197
66 | 2709764.2593 | 1263133.0154 | 2709768.0948 | 1263131.3442
67 | 2709766.2878 | 1263148.9197 | 2709766.6336 | 1263151.631 | 2709766.3158 | 1263155.6819
68 | 2709765.3097 | 1263168.5086 | 2709766.3158 | 1263155.6819
69 | 2709765.1064 | 1263171.1007 | 2709765.3097 | 1263168.5086
70 | 2709764.7094 | 1263176.1618 | 2709765.1064 | 1263171.1007
71 | 2709764.3925 | 1263180.2027 | 2709764.7094 | 1263176.1618

## bus_geodata
| x | y | coords
0 | 2708496.8594 | 1262498.5784
1 | 2708566.6645 | 1262500.5171
2 | 2708590.0491 | 1262504.5651
3 | 2708676.7212 | 1262521.3225
4 | 2708699.7321 | 1262526.3607
5 | 2708702.7897 | 1262528.224
6 | 2708706.0347 | 1262530.2014
7 | 2708689.6929 | 1262576.2897
8 | 2708715.9234 | 1262549.8255
9 | 2708722.5572 | 1262540.2699
10 | 2708725.4392 | 1262540.2862
11 | 2708740.5696 | 1262572.4728
12 | 2708758.0394 | 1262570.4945
13 | 2708736.5039 | 1262539.1141
14 | 2708754.6074 | 1262532.8582
15 | 2708779.0463 | 1262529.01
16 | 2708787.9614 | 1262543.1009
17 | 2708782.3706 | 1262528.2665
18 | 2708791.9334 | 1262545.7056
19 | 2708815.8896 | 1262512.0844
20 | 2708803.3687 | 1262550.974
21 | 2708801.0247 | 1262496.0437
22 | 2708819.0956 | 1262510.2034
23 | 2708811.1169 | 1262553.1029
24 | 2708834.3737 | 1262547.6207
25 | 2708852.0814 | 1262490.8545
26 | 2708955.5697 | 1262435.0568
27 | 2708848.5601 | 1262508.8568
28 | 2708939.2594 | 1262475.7132
29 | 2708962.6705 | 1262496.4694
30 | 2708986.5154 | 1262454.5399
31 | 2708919.219 | 1262412.1234
32 | 2708901.5578 | 1262399.8954
33 | 2708940.2009 | 1262385.7985
34 | 2709001.0238 | 1262463.6741
35 | 2709122.8658 | 1262539.9634
36 | 2709156.0627 | 1262560.9938
37 | 2709113.0408 | 1262560.2851
38 | 2709561.6637 | 1262977.5372
39 | 2709115.335 | 1262585.9463
40 | 2709123.2129 | 1262588.2175
41 | 2709131.4054 | 1262590.5794
42 | 2709543.9055 | 1263001.4398
43 | 2709585.5356 | 1263003.918
44 | 2709635.7437 | 1263067.042
45 | 2709607.8924 | 1263094.8162
46 | 2709637.0962 | 1263127.7321
47 | 2709669.93 | 1263127.0716
48 | 2709665.8123 | 1263147.1679
49 | 2709697.4109 | 1263135.6677
50 | 2709666.9801 | 1263158.8192
51 | 2709645.7053 | 1263135.1926
52 | 2709673.58 | 1263227.9811
53 | 2709671.7421 | 1263218.5629
54 | 2709678.7884 | 1263225.8425
55 | 2709666.5663 | 1263175.1503
56 | 2709678.7887 | 1263187.2651
57 | 2709679.0225 | 1263173.8579
58 | 2709702.9016 | 1263185.7793
59 | 2709678.9573 | 1263172.0886
60 | 2709678.9295 | 1263227.4717
61 | 2709706.2317 | 1263185.7387
62 | 2709720.0016 | 1263180.8462
63 | 2709715.3514 | 1263139.5246
64 | 2709764.2593 | 1263133.0154
65 | 2709708.1604 | 1263137.9787
66 | 2709766.2878 | 1263148.9197
67 | 2709768.0948 | 1263131.3442
68 | 2709766.3158 | 1263155.6819
69 | 2709765.3097 | 1263168.5086
70 | 2709764.7094 | 1263176.1618
71 | 2709765.1064 | 1263171.1007
72 | 2709764.3925 | 1263180.2027
73 | 2708834.3737 | 1262547.6207

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99555 | -0.085628 | 0.0021175 | 0.00053069
1 | 0.99569 | -0.083024 | 0.0025735 | 0.00064498
2 | 0.99579 | -0.081066 | 0.0023356 | 0.00058535
3 | 0.99635 | -0.070162 | 0 | 0
4 | 0.9965 | -0.067262 | 0 | 0
5 | 0.99653 | -0.06682 | 0.001186 | 0.00029723
6 | 0.99656 | -0.066272 | 0.00036378 | 9.1173e-05
7 | 0.9964 | -0.0692 | 0.0061121 | 0.0015318
8 | 0.99664 | -0.064699 | 0.00038539 | 9.6589e-05
9 | 0.99671 | -0.063357 | 0 | 0
10 | 0.99675 | -0.062595 | 0.00073679 | 0.00018466
11 | 0.99688 | -0.060034 | 0 | 0
12 | 0.99686 | -0.060306 | 0.00088159 | 0.00022095
13 | 0.99691 | -0.059496 | 0 | 0
14 | 0.9972 | -0.053794 | 0.0019391 | 0.000486
15 | 0.99762 | -0.045712 | 0 | 0
16 | 0.99818 | -0.035007 | 0.0006234 | 0.00015624
17 | 0.99757 | -0.046752 | 0.0014117 | 0.0003538
18 | 0.99834 | -0.031959 | 0 | 0
19 | 0.99702 | -0.057267 | 0 | 0
20 | 0.99876 | -0.023883 | 0.0017569 | 0.00044033
21 | 0.997 | -0.057637 | 0.00096582 | 0.00024206
22 | 0.99697 | -0.058248 | 0.0023394 | 0.0005863
23 | 0.99904 | -0.018422 | 0.0014343 | 0.00035947
24 | 1 | 0 | -0.04162 | -0.01005
25 | 0.99653 | -0.066771 | 0 | 0
26 | 0.99523 | -0.092044 | 0 | 0
27 | 0.99652 | -0.066959 | 0.00058091 | 0.00014559
28 | 0.99522 | -0.092199 | 0 | 0
29 | 0.99521 | -0.09231 | 0.00019601 | 4.9126e-05
30 | 0.99492 | -0.097932 | 0.0016777 | 0.00042047
31 | 0.99512 | -0.094137 | 0 | 0
32 | 0.99509 | -0.094684 | 0.0014452 | 0.00036221
33 | 0.99507 | -0.095064 | 0.001325 | 0.00033208
34 | 0.99481 | -0.10019 | 0 | 0
35 | 0.99383 | -0.11906 | 0 | 0
36 | 0.99366 | -0.12245 | 0 | 0
37 | 0.99378 | -0.12009 | 0.00053452 | 0.00013396
38 | 0.99107 | -0.17289 | 0 | 0
39 | 0.99373 | -0.12114 | 0.00066144 | 0.00016577
40 | 0.99372 | -0.12134 | 0.00093873 | 0.00023527
41 | 0.99371 | -0.1214 | 0.00043096 | 0.00010801
42 | 0.99106 | -0.17301 | 0.00022785 | 5.7105e-05
43 | 0.99092 | -0.17582 | 0.00046046 | 0.0001154
44 | 0.99061 | -0.18182 | 0 | 0
45 | 0.99046 | -0.18473 | 0 | 0
46 | 0.99029 | -0.18813 | 0.00048001 | 0.0001203
47 | 0.99011 | -0.19146 | 0 | 0
48 | 0.99017 | -0.19044 | 0 | 0
49 | 0.99005 | -0.19265 | 0.00040541 | 0.0001016
50 | 0.99015 | -0.19071 | 0.00012156 | 3.0466e-05
51 | 0.99025 | -0.18888 | 5.2319e-05 | 1.3112e-05
52 | 0.9901 | -0.19184 | 0 | 0
53 | 0.99009 | -0.19186 | 0.00013614 | 3.4121e-05
54 | 0.9901 | -0.19182 | 0 | 0
55 | 0.99014 | -0.19107 | 0 | 0
56 | 0.99011 | -0.19159 | 0 | 0
57 | 0.99012 | -0.19134 | 0 | 0
58 | 0.99009 | -0.1919 | 0.00027963 | 7.0082e-05
59 | 0.99012 | -0.19134 | 0.00016051 | 4.0228e-05
60 | 0.9901 | -0.19183 | 0.00017253 | 4.3239e-05
61 | 0.99009 | -0.19193 | 0.00020747 | 5.1998e-05
62 | 0.99009 | -0.192 | 0.00024676 | 6.1843e-05
63 | 0.99003 | -0.19318 | 0 | 0
64 | 0.98997 | -0.19424 | 0 | 0
65 | 0.99003 | -0.19302 | 0.00071362 | 0.00017885
66 | 0.98996 | -0.19454 | 0.00050465 | 0.00012648
67 | 0.98997 | -0.19425 | 0.00015098 | 3.7838e-05
68 | 0.98995 | -0.1946 | 0.00017586 | 4.4075e-05
69 | 0.98995 | -0.19469 | 5.7418e-05 | 1.439e-05
70 | 0.98995 | -0.19471 | 8.3278e-05 | 2.0871e-05
71 | 0.98995 | -0.1947 | 0.00016667 | 4.1773e-05
72 | 0.98995 | -0.19472 | 5.1181e-05 | 1.2827e-05
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021175 | -0.00053069 | 0.0021177 | 0.00052995 | 2.6252e-07 | -7.4096e-07 | 0.0031649 | 0.0031646 | 0.0031649 | 0.99555 | -0.085628 | 0.99569 | -0.083024 | 0.86948
1 | -0.0046912 | -0.0011749 | 0.0046917 | 0.0011749 | 4.374e-07 | -2.8771e-08 | 0.0070106 | 0.0070105 | 0.0070106 | 0.99569 | -0.083024 | 0.99579 | -0.081066 | 1.926
2 | -0.0070272 | -0.0017602 | 0.0070309 | 0.0017614 | 3.65e-06 | 1.1869e-06 | 0.010501 | 0.0105 | 0.010501 | 0.99579 | -0.081066 | 0.99635 | -0.070162 | 2.8848
3 | -0.0070309 | -0.0017614 | 0.0070319 | 0.0017618 | 9.711e-07 | 3.1555e-07 | 0.0105 | 0.0105 | 0.0105 | 0.99635 | -0.070162 | 0.9965 | -0.067262 | 2.8847
4 | -0.0070319 | -0.0017618 | 0.007032 | 0.0017618 | 1.4803e-07 | 4.8094e-08 | 0.0105 | 0.0105 | 0.0105 | 0.9965 | -0.067262 | 0.99653 | -0.06682 | 2.8846
5 | -0.008218 | -0.002059 | 0.0082182 | 0.0020591 | 2.1457e-07 | 8.7816e-08 | 0.012271 | 0.012271 | 0.012271 | 0.99653 | -0.06682 | 0.99656 | -0.066272 | 3.3711
6 | -0.008582 | -0.0021503 | 0.0085832 | 0.0021508 | 1.1914e-06 | 5.1035e-07 | 0.012814 | 0.012814 | 0.012814 | 0.99656 | -0.066272 | 0.99671 | -0.063357 | 3.5203
7 | -0.0061121 | -0.0015318 | 0.0061134 | 0.0015321 | 1.3109e-06 | 2.9233e-07 | 0.0091278 | 0.0091276 | 0.0091278 | 0.9964 | -0.0692 | 0.99664 | -0.064699 | 2.5076
8 | -0.0064988 | -0.0016287 | 0.0064993 | 0.0016288 | 4.1528e-07 | 1.1249e-07 | 0.009703 | 0.0097029 | 0.009703 | 0.99664 | -0.064699 | 0.99671 | -0.063357 | 2.6657
9 | -0.015082 | -0.0037796 | 0.015083 | 0.00378 | 5.4796e-07 | 3.1313e-07 | 0.022517 | 0.022517 | 0.022517 | 0.99671 | -0.063357 | 0.99675 | -0.062595 | 6.186
10 | -0.01582 | -0.0039646 | 0.015822 | 0.003966 | 2.3356e-06 | 1.3492e-06 | 0.023617 | 0.023617 | 0.023617 | 0.99675 | -0.062595 | 0.99691 | -0.059496 | 6.4881
11 | 0.0008816 | 0.00022073 | -0.00088159 | -0.00022095 | 1.1417e-08 | -2.2191e-07 | 0.0013159 | 0.0013159 | 0.0013159 | 0.99688 | -0.060034 | 0.99686 | -0.060306 | 0.36152
12 | -0.0008816 | -0.00022073 | 0.00088162 | 0.00022029 | 2.2567e-08 | -4.3874e-07 | 0.0013159 | 0.0013157 | 0.0013159 | 0.99688 | -0.060034 | 0.99691 | -0.059496 | 0.3615
13 | -0.016704 | -0.0041862 | 0.016708 | 0.0041889 | 4.5388e-06 | 2.6509e-06 | 0.024932 | 0.024932 | 0.024932 | 0.99691 | -0.059496 | 0.9972 | -0.053794 | 6.8496
14 | -0.018647 | -0.0046749 | 0.018655 | 0.0046792 | 7.1834e-06 | 4.2745e-06 | 0.027826 | 0.027826 | 0.027826 | 0.9972 | -0.053794 | 0.99762 | -0.045712 | 7.6445
15 | -0.036072 | -0.0090417 | 0.036091 | 0.0090532 | 1.8408e-05 | 1.156e-05 | 0.053805 | 0.053805 | 0.053805 | 0.99762 | -0.045712 | 0.99818 | -0.035007 | 14.7815
16 | 0.017418 | 0.0043625 | -0.017417 | -0.004362 | 8.6214e-07 | 5.073e-07 | 0.025979 | 0.025979 | 0.025979 | 0.99762 | -0.045712 | 0.99757 | -0.046752 | 7.1371
17 | -0.036714 | -0.0092095 | 0.03672 | 0.0092128 | 5.3362e-06 | 3.3531e-06 | 0.054734 | 0.054734 | 0.054734 | 0.99818 | -0.035007 | 0.99834 | -0.031959 | 15.0368
18 | 0.016005 | 0.0040082 | -0.015997 | -0.0040036 | 8.0087e-06 | 4.6366e-06 | 0.023873 | 0.023873 | 0.023873 | 0.99757 | -0.046752 | 0.99702 | -0.057267 | 6.5586
19 | -0.03672 | -0.0092128 | 0.036734 | 0.0092217 | 1.4145e-05 | 8.8878e-06 | 0.054734 | 0.054734 | 0.054734 | 0.99834 | -0.031959 | 0.99876 | -0.023883 | 15.0368
20 | 0.00096584 | 0.00024178 | -0.00096582 | -0.00024206 | 1.7039e-08 | -2.7429e-07 | 0.0014414 | 0.0014415 | 0.0014415 | 0.99702 | -0.057267 | 0.997 | -0.057637 | 0.39601
21 | 0.015032 | 0.0037618 | -0.015031 | -0.0037614 | 7.014e-07 | 4.0042e-07 | 0.022432 | 0.022432 | 0.022432 | 0.99702 | -0.057267 | 0.99697 | -0.058248 | 6.1626
22 | -0.038491 | -0.0096621 | 0.038501 | 0.0096684 | 1.0028e-05 | 6.3117e-06 | 0.057352 | 0.057352 | 0.057352 | 0.99876 | -0.023883 | 0.99904 | -0.018422 | 15.7559
23 | 0.012691 | 0.0031751 | -0.012686 | -0.0031723 | 5.1447e-06 | 2.7941e-06 | 0.01894 | 0.018941 | 0.018941 | 0.99697 | -0.058248 | 0.99653 | -0.066771 | 5.2035
24 | -0.039935 | -0.010028 | 0.03997 | 0.01005 | 3.5132e-05 | 2.2137e-05 | 0.059488 | 0.059488 | 0.059488 | 0.99904 | -0.018422 | 1 | 0 | 16.3428
25 | 0.012105 | 0.0030269 | -0.012091 | -0.0030192 | 1.4533e-05 | 7.7574e-06 | 0.018073 | 0.018074 | 0.018074 | 0.99653 | -0.066771 | 0.99523 | -0.092044 | 4.9653
26 | 0.00058092 | 0.00014535 | -0.00058091 | -0.00014559 | 5.1755e-09 | -2.3568e-07 | 0.00086734 | 0.00086742 | 0.00086742 | 0.99653 | -0.066771 | 0.99652 | -0.066959 | 0.2383
27 | 0.0091242 | 0.0022779 | -0.0091217 | -0.0022767 | 2.551e-06 | 1.1576e-06 | 0.013639 | 0.013639 | 0.013639 | 0.99523 | -0.092044 | 0.99492 | -0.097932 | 3.747
28 | 0.0027706 | 0.00069317 | -0.0027703 | -0.00069356 | 2.7597e-07 | -3.8067e-07 | 0.0041421 | 0.0041423 | 0.0041423 | 0.99523 | -0.092044 | 0.99512 | -0.094137 | 1.138
29 | 0.00019602 | 4.8131e-05 | -0.00019601 | -4.8707e-05 | 1.4266e-09 | -5.7561e-07 | 0.00029273 | 0.00029293 | 0.00029293 | 0.99523 | -0.092044 | 0.99522 | -0.092199 | 0.080474
30 | 0.00019601 | 4.8707e-05 | -0.00019601 | -4.9126e-05 | 1.0386e-09 | -4.1852e-07 | 0.00029293 | 0.00029307 | 0.00029307 | 0.99522 | -0.092199 | 0.99521 | -0.09231 | 0.080515
31 | 0.007444 | 0.0018563 | -0.0074432 | -0.001856 | 7.9643e-07 | 2.871e-07 | 0.01113 | 0.01113 | 0.01113 | 0.99492 | -0.097932 | 0.99481 | -0.10019 | 3.0577
32 | 0.0013251 | 0.0003316 | -0.001325 | -0.00033208 | 5.8432e-08 | -4.7825e-07 | 0.0019812 | 0.0019814 | 0.0019814 | 0.99512 | -0.094137 | 0.99507 | -0.095064 | 0.54434
33 | 0.0014453 | 0.00036195 | -0.0014452 | -0.00036221 | 3.7636e-08 | -2.5508e-07 | 0.002161 | 0.0021611 | 0.0021611 | 0.99512 | -0.094137 | 0.99509 | -0.094684 | 0.59372
34 | 0.0074432 | 0.001856 | -0.0074365 | -0.0018536 | 6.664e-06 | 2.4044e-06 | 0.01113 | 0.011131 | 0.011131 | 0.99481 | -0.10019 | 0.99383 | -0.11906 | 3.0579
35 | 0.0048706 | 0.0012113 | -0.0048699 | -0.0012113 | 7.8134e-07 | -7.9745e-09 | 0.0072893 | 0.0072894 | 0.0072894 | 0.99383 | -0.11906 | 0.99366 | -0.12245 | 2.0026
36 | 0.0025659 | 0.00064228 | -0.0025658 | -0.00064249 | 1.2492e-07 | -2.1253e-07 | 0.0038415 | 0.0038416 | 0.0038416 | 0.99383 | -0.11906 | 0.99378 | -0.12009 | 1.0554
37 | 0.0048699 | 0.0012113 | -0.0048582 | -0.0012114 | 1.1631e-05 | -9.4766e-08 | 0.0072894 | 0.0072921 | 0.0072921 | 0.99366 | -0.12245 | 0.99107 | -0.17289 | 2.0033
38 | 0.0020312 | 0.00050853 | -0.0020311 | -0.00050884 | 1.0193e-07 | -3.1549e-07 | 0.0030413 | 0.0030414 | 0.0030414 | 0.99378 | -0.12009 | 0.99373 | -0.12114 | 0.83555
39 | 0.00022785 | 5.6722e-05 | -0.00022785 | -5.7105e-05 | 1.3051e-09 | -3.8251e-07 | 0.00034197 | 0.00034211 | 0.00034211 | 0.99107 | -0.17289 | 0.99106 | -0.17301 | 0.093985
40 | 0.0046304 | 0.0011547 | -0.0046297 | -0.0011547 | 6.4448e-07 | -4.5922e-08 | 0.0069501 | 0.0069503 | 0.0069503 | 0.99107 | -0.17289 | 0.99092 | -0.17582 | 1.9094
41 | 0.0013697 | 0.00034307 | -0.0013697 | -0.00034317 | 1.2933e-08 | -9.7939e-08 | 0.0020509 | 0.002051 | 0.002051 | 0.99373 | -0.12114 | 0.99372 | -0.12134 | 0.56346
42 | 0.00043096 | 0.0001079 | -0.00043096 | -0.00010801 | 1.3315e-09 | -1.096e-07 | 0.0006453 | 0.00064534 | 0.00064534 | 0.99372 | -0.12134 | 0.99371 | -0.1214 | 0.17729
43 | 0.0041693 | 0.0010393 | -0.0041681 | -0.0010396 | 1.1864e-06 | -2.8071e-07 | 0.0062588 | 0.0062592 | 0.0062592 | 0.99092 | -0.17582 | 0.99061 | -0.18182 | 1.7196
44 | 0.0041681 | 0.0010396 | -0.0041675 | -0.0010397 | 5.7707e-07 | -1.3626e-07 | 0.0062592 | 0.0062594 | 0.0062594 | 0.99061 | -0.18182 | 0.99046 | -0.18473 | 1.7196
45 | 0.0041675 | 0.0010397 | -0.0041668 | -0.0010399 | 6.7171e-07 | -1.5838e-07 | 0.0062594 | 0.0062596 | 0.0062596 | 0.99046 | -0.18473 | 0.99029 | -0.18813 | 1.7197
46 | 0.0036868 | 0.00091959 | -0.0036867 | -0.00091965 | 1.3103e-07 | -6.2696e-08 | 0.0055383 | 0.0055384 | 0.0055384 | 0.99029 | -0.18813 | 0.99025 | -0.18888 | 1.5215
47 | -0.0023093 | -0.00057695 | 0.0023094 | 0.0005767 | 1.1229e-07 | -2.4802e-07 | 0.0034699 | 0.0034698 | 0.0034699 | 0.99011 | -0.19146 | 0.99017 | -0.19044 | 0.95328
48 | 0.0023093 | 0.00057695 | -0.0023092 | -0.00057723 | 1.3053e-07 | -2.8822e-07 | 0.0034699 | 0.0034701 | 0.0034701 | 0.99011 | -0.19146 | 0.99005 | -0.19265 | 0.95332
49 | 0.0013247 | 0.00032998 | -0.0013247 | -0.00033012 | 1.739e-08 | -1.3948e-07 | 0.00199 | 0.0019901 | 0.0019901 | 0.99017 | -0.19044 | 0.99015 | -0.19071 | 0.54672
50 | -0.0036341 | -0.00090668 | 0.0036344 | 0.00090654 | 2.691e-07 | -1.3744e-07 | 0.0054599 | 0.0054597 | 0.0054599 | 0.99017 | -0.19044 | 0.99025 | -0.18888 | 1.5
51 | 0.0019038 | 0.00047563 | -0.0019037 | -0.00047575 | 3.3744e-08 | -1.1979e-07 | 0.0028608 | 0.0028608 | 0.0028608 | 0.99005 | -0.19265 | 0.99003 | -0.19302 | 0.78594
52 | 0.0012031 | 0.00029965 | -0.0012031 | -0.00029985 | 2.0148e-08 | -1.9865e-07 | 0.0018074 | 0.0018075 | 0.0018075 | 0.99015 | -0.19071 | 0.99014 | -0.19107 | 0.49656
53 | 0.00013614 | 3.3997e-05 | -0.00013614 | -3.4121e-05 | 1.5061e-10 | -1.2331e-07 | 0.00020457 | 0.00020461 | 0.00020461 | 0.9901 | -0.19184 | 0.99009 | -0.19186 | 0.056212
54 | -0.00013614 | -3.3997e-05 | 0.00013614 | 3.3925e-05 | 8.8142e-11 | -7.2169e-08 | 0.00020457 | 0.00020454 | 0.00020457 | 0.9901 | -0.19184 | 0.9901 | -0.19182 | 0.0562
55 | 0.00017253 | 4.3218e-05 | -0.00017253 | -4.3239e-05 | 4.1166e-11 | -2.1005e-08 | 0.00025928 | 0.00025929 | 0.00025929 | 0.9901 | -0.19182 | 0.9901 | -0.19183 | 0.071233
56 | -0.00030867 | -7.7143e-05 | 0.00030867 | 7.659e-05 | 3.4818e-09 | -5.5306e-07 | 0.00046382 | 0.00046363 | 0.00046382 | 0.9901 | -0.19182 | 0.99011 | -0.19159 | 0.12742
57 | 0.0012031 | 0.00029985 | -0.0012031 | -0.0003 | 1.5342e-08 | -1.5125e-07 | 0.0018075 | 0.0018075 | 0.0018075 | 0.99014 | -0.19107 | 0.99012 | -0.19134 | 0.49657
58 | -0.0010425 | -0.00025996 | 0.0010426 | 0.0002598 | 1.2351e-08 | -1.6476e-07 | 0.0015664 | 0.0015663 | 0.0015664 | 0.99011 | -0.19159 | 0.99012 | -0.19134 | 0.43032
59 | 0.00073388 | 0.00018337 | -0.00073386 | -0.00018367 | 1.1027e-08 | -3.0391e-07 | 0.0011027 | 0.0011028 | 0.0011028 | 0.99011 | -0.19159 | 0.99009 | -0.1919 | 0.30298
60 | 0.00016051 | 4.0205e-05 | -0.00016051 | -4.0228e-05 | 3.8626e-11 | -2.2747e-08 | 0.00024122 | 0.00024123 | 0.00024123 | 0.99012 | -0.19134 | 0.99012 | -0.19134 | 0.066271
61 | 0.00045423 | 0.00011359 | -0.00045423 | -0.00011363 | 5.8188e-10 | -4.2458e-08 | 0.00068258 | 0.0006826 | 0.0006826 | 0.99009 | -0.1919 | 0.99009 | -0.19193 | 0.18753
62 | 0.00024676 | 6.1636e-05 | -0.00024676 | -6.1843e-05 | 8.3104e-10 | -2.0674e-07 | 0.00037078 | 0.00037085 | 0.00037085 | 0.99009 | -0.19193 | 0.99009 | -0.192 | 0.10188
63 | 0.0011901 | 0.00029699 | -0.0011901 | -0.0002976 | 6.0205e-08 | -6.069e-07 | 0.0017883 | 0.0017885 | 0.0017885 | 0.99003 | -0.19318 | 0.98997 | -0.19424 | 0.49135
64 | -0.0011901 | -0.00029699 | 0.0011901 | 0.0002969 | 8.8207e-09 | -8.8937e-08 | 0.0017883 | 0.0017883 | 0.0017883 | 0.99003 | -0.19318 | 0.99003 | -0.19302 | 0.49129
65 | 0.0010391 | 0.00025981 | -0.0010391 | -0.00026001 | 1.4663e-08 | -1.9676e-07 | 0.0015616 | 0.0015617 | 0.0015617 | 0.98997 | -0.19424 | 0.98996 | -0.19454 | 0.42903
66 | 0.00015098 | 3.7784e-05 | -0.00015098 | -3.7838e-05 | 8.0769e-11 | -5.3741e-08 | 0.00022691 | 0.00022693 | 0.00022693 | 0.98997 | -0.19424 | 0.98997 | -0.19425 | 0.062343
67 | 0.00053441 | 0.00013353 | -0.00053441 | -0.00013362 | 1.6441e-09 | -8.6332e-08 | 0.00080314 | 0.00080317 | 0.00080317 | 0.98996 | -0.19454 | 0.98995 | -0.1946 | 0.22065
68 | 0.00035855 | 8.9546e-05 | -0.00035855 | -8.971e-05 | 1.401e-09 | -1.6452e-07 | 0.00053884 | 0.00053889 | 0.00053889 | 0.98995 | -0.1946 | 0.98995 | -0.19469 | 0.14805
69 | 0.00030113 | 7.532e-05 | -0.00030113 | -7.5354e-05 | 1.9969e-10 | -3.3302e-08 | 0.00045259 | 0.0004526 | 0.0004526 | 0.98995 | -0.19469 | 0.98995 | -0.1947 | 0.12434
70 | -0.00013446 | -3.3646e-05 | 0.00013446 | 3.3581e-05 | 7.7734e-11 | -6.522e-08 | 0.00020209 | 0.00020207 | 0.00020209 | 0.98995 | -0.19471 | 0.98995 | -0.1947 | 0.055519
71 | 5.1181e-05 | 1.2775e-05 | -5.1181e-05 | -1.2827e-05 | 8.9834e-12 | -5.2107e-08 | 7.6914e-05 | 7.6932e-05 | 7.6932e-05 | 0.98995 | -0.19471 | 0.98995 | -0.19472 | 0.021135

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.042433 | 0.010254

## res_load
| p_mw | q_mvar
0 | 0.0021175 | 0.00053069
1 | 0.0025735 | 0.00064498
2 | 0.0023356 | 0.00058535
3 | 0.001186 | 0.00029723
4 | 0.00036378 | 9.1173e-05
5 | 0.0061121 | 0.0015318
6 | 0.00038539 | 9.6589e-05
7 | 0.00073679 | 0.00018466
8 | 0.00088159 | 0.00022095
9 | 0.0019391 | 0.000486
10 | 0.0006234 | 0.00015624
11 | 0.0014117 | 0.0003538
12 | 0.0017569 | 0.00044033
13 | 0.00096582 | 0.00024206
14 | 0.0023394 | 0.0005863
15 | 0.0014343 | 0.00035947
16 | 0.0008126 | 0.00020366
17 | 0.00058091 | 0.00014559
18 | 0.00019601 | 4.9126e-05
19 | 0.0016777 | 0.00042047
20 | 0.0014452 | 0.00036221
21 | 0.001325 | 0.00033208
22 | 0.00053452 | 0.00013396
23 | 0.00066144 | 0.00016577
24 | 0.00093873 | 0.00023527
25 | 0.00043096 | 0.00010801
26 | 0.00022785 | 5.7105e-05
27 | 0.00046046 | 0.0001154
28 | 0.00048001 | 0.0001203
29 | 0.00040541 | 0.0001016
30 | 0.00012156 | 3.0466e-05
31 | 5.2319e-05 | 1.3112e-05
32 | 0.00013614 | 3.4121e-05
33 | 0.00027963 | 7.0082e-05
34 | 0.00016051 | 4.0228e-05
35 | 0.00017253 | 4.3239e-05
36 | 0.00020747 | 5.1998e-05
37 | 0.00024676 | 6.1843e-05
38 | 0.00071362 | 0.00017885
39 | 0.00050465 | 0.00012648
40 | 0.00015098 | 3.7838e-05
41 | 0.00017586 | 4.4075e-05
42 | 5.7418e-05 | 1.439e-05
43 | 8.3278e-05 | 2.0871e-05
44 | 0.00016667 | 4.1773e-05
45 | 5.1181e-05 | 1.2827e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1