## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2206-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2206-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2206-20_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2206-20_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2206-20_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2206-20_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_2206-20_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2206-20_0_3_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_2206-20_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_2206-20_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_2206-20_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_2206-20_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_2206-20_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_2206-20_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_2206-20_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_2206-20_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_2206-20_0_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_2206-20_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_2206-20_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_2206-20_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_2206-20_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_2206-20_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_2206-20_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2206-20_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_2206-20_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_2206-20_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_2206-20_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_2206-20_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_2206-20_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_2206-20_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2206-20_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_2206-20_0_3_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2206-20_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_2206-20_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_2206-20_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_2206-20_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_2206-20_0_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_2206-20_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_2206-20_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_2206-20_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2206-20_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_2206-20_0_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_2206-20_0_3_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_2206-20_0_3_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_2206-20_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_2206-20_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_2206-20_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_2206-20_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_2206-20_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_2206-20_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_2206-20_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_2206-20_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_2206-20_0_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_2206-20_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_2206-20_0_3_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2206-20_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_2206-20_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_2206-20_0_3_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_2206-20_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2206-20_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2206-20_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_2206-20_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_2206-20_0_3_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_2206-20_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_2206-20_0_3_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2206-20_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2206-20_0_3_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2206-20_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_2206-20_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_2206-20_0_3_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_2206-20_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2206-20_0_3_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_2206-20_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_2206-20_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_2206-20_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_2206-20_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_2206-20_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_2206-20_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_36_2_node_229 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2206-20_0_3_load_0 | 0 | 0.0062475 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2206-20_0_3_load_5 | 4 | 0.0024448 | 0.00061272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2206-20_0_3_load_6 | 5 | 0.0015797 | 0.00039592 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2206-20_0_3_load_3 | 6 | 0.0051653 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2206-20_0_3_load_83 | 7 | 0.0034077 | 0.00085404 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2206-20_0_3_load_27 | 8 | 0.0039188 | 0.00098214 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2206-20_0_3_load_25 | 9 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2206-20_0_3_load_23 | 10 | 0.0043276 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2206-20_0_3_load_48 | 11 | 0.020615 | 0.0051666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2206-20_0_3_load_40 | 13 | 0.0037445 | 0.00093847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2206-20_0_3_load_49 | 16 | 0.020608 | 0.0051649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2206-20_0_3_load_7 | 17 | 0.023734 | 0.0059483 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2206-20_0_3_load_8 | 18 | 0.0027575 | 0.0006911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2206-20_0_3_load_12 | 22 | 0.0027453 | 0.00068803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2206-20_0_3_load_64 | 24 | 0.0031726 | 0.00079512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2206-20_0_3_load_52 | 25 | 0.0028646 | 0.00071794 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2206-20_0_3_load_50 | 26 | 0.0051063 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2206-20_0_3_load_16 | 28 | 0.0058591 | 0.0014684 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2206-20_0_3_load_13 | 30 | 0.023379 | 0.0058593 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2206-20_0_3_load_37 | 31 | 0.013124 | 0.0032891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2206-20_0_3_load_38 | 32 | 0.010687 | 0.0026785 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2206-20_0_3_load_51 | 37 | 0.0015699 | 0.00039346 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2206-20_0_3_load_22 | 39 | 0.023387 | 0.0058614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2206-20_0_3_load_73 | 42 | 0.0025328 | 0.00063478 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2206-20_0_3_load_82 | 45 | 0.0017398 | 0.00043605 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2206-20_0_3_load_36 | 47 | 0.0017577 | 0.00044053 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2206-20_0_3_load_34 | 48 | 0.0026161 | 0.00065566 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2206-20_0_3_load_41 | 49 | 0.0054646 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2206-20_0_3_load_29 | 50 | 0.0022792 | 0.00057123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2206-20_0_3_load_46 | 51 | 0.0023444 | 0.00058756 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2206-20_0_3_load_70 | 52 | 0.0036897 | 0.00092472 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2206-20_0_3_load_45 | 53 | 0.0022761 | 0.00057045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2206-20_0_3_load_30 | 54 | 0.0021239 | 0.00053229 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2206-20_0_3_load_32 | 55 | 0.0020685 | 0.00051841 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2206-20_0_3_load_47 | 56 | 0.0055118 | 0.0013814 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2206-20_0_3_load_68 | 57 | 0.0032549 | 0.00081575 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2206-20_0_3_load_55 | 58 | 0.0023295 | 0.00058383 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2206-20_0_3_load_53 | 59 | 0.0022443 | 0.00056247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2206-20_0_3_load_54 | 60 | 0.0029336 | 0.00073522 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2206-20_0_3_load_56 | 61 | 0.00264 | 0.00066165 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2206-20_0_3_load_71 | 62 | 0.0037075 | 0.00092919 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2206-20_0_3_load_67 | 64 | 0.0013213 | 0.00033116 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2206-20_0_3_load_58 | 65 | 0.0031202 | 0.00078199 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2206-20_0_3_load_59 | 66 | 0.0053211 | 0.0013336 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2206-20_0_3_load_60 | 67 | 0.0037953 | 0.00095119 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2206-20_0_3_load_61 | 68 | 0.0030965 | 0.00077606 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2206-20_0_3_load_62 | 69 | 0.0026496 | 0.00066404 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2206-20_0_3_load_65 | 70 | 0.0044978 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2206-20_0_3_load_79 | 71 | 0.0027451 | 0.00068799 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2206-20_0_3_load_74 | 72 | 0.0025205 | 0.00063171 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2206-20_0_3_load_81 | 73 | 0.0040812 | 0.0010228 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2206-20_0_3_load_80 | 75 | 0.0026101 | 0.00065414 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2206-20_0_3_load_77 | 76 | 0.0020593 | 0.0005161 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2206-20_0_3_load_78 | 77 | 0.0008479 | 0.0002125 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2206-20_0_3_line_0 |  | 0 | 1 | 0.066322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2206-20_0_3_line_1 |  | 0 | 2 | 0.0040766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2206-20_0_3_line_2 |  | 1 | 3 | 0.009895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2206-20_0_3_line_3 |  | 2 | 4 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2206-20_0_3_line_4 |  | 2 | 5 | 0.014609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2206-20_0_3_line_5 |  | 3 | 8 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2206-20_0_3_line_6 |  | 3 | 9 | 0.0089218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2206-20_0_3_line_7 |  | 4 | 10 | 0.0085708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2206-20_0_3_line_8 |  | 5 | 11 | 0.03115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2206-20_0_3_line_9 |  | 6 | 7 | 0.04051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2206-20_0_3_line_10 |  | 7 | 12 | 0.055943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2206-20_0_3_line_11 |  | 8 | 13 | 0.018687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2206-20_0_3_line_12 |  | 9 | 14 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2206-20_0_3_line_13 |  | 10 | 15 | 0.011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2206-20_0_3_line_14 |  | 11 | 16 | 0.063598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2206-20_0_3_line_15 |  | 12 | 39 | 0.092283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2206-20_0_3_line_16 |  | 14 | 35 | 0.007254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2206-20_0_3_line_17 |  | 14 | 50 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2206-20_0_3_line_18 |  | 15 | 43 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2206-20_0_3_line_19 |  | 15 | 44 | 0.024138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2206-20_0_3_line_20 |  | 17 | 18 | 0.050855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2206-20_0_3_line_21 |  | 17 | 19 | 0.0068265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2206-20_0_3_line_22 |  | 18 | 20 | 0.021943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2206-20_0_3_line_23 |  | 19 | 21 | 0.006419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2206-20_0_3_line_24 |  | 19 | 22 | 0.037638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2206-20_0_3_line_25 |  | 20 | 23 | 0.037389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2206-20_0_3_line_26 |  | 20 | 24 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2206-20_0_3_line_27 |  | 21 | 25 | 0.039408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2206-20_0_3_line_28 |  | 21 | 26 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2206-20_0_3_line_29 |  | 23 | 31 | 0.018288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2206-20_0_3_line_30 |  | 24 | 35 | 0.015624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2206-20_0_3_line_31 |  | 25 | 36 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2206-20_0_3_line_32 |  | 26 | 37 | 0.027886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2206-20_0_3_line_33 |  | 27 | 28 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2206-20_0_3_line_34 |  | 27 | 29 | 0.048081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2206-20_0_3_line_35 |  | 27 | 30 | 0.035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2206-20_0_3_line_36 |  | 28 | 38 | 0.020134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2206-20_0_3_line_37 |  | 29 | 32 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2206-20_0_3_line_38 |  | 31 | 33 | 0.036575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2206-20_0_3_line_39 |  | 32 | 34 | 0.004038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2206-20_0_3_line_40 |  | 33 | 34 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2206-20_0_3_line_41 |  | 35 | 51 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2206-20_0_3_line_42 |  | 36 | 57 | 0.026386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2206-20_0_3_line_43 |  | 36 | 58 | 0.0052006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2206-20_0_3_line_44 |  | 38 | 39 | 0.032965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2206-20_0_3_line_45 |  | 40 | 41 | 0.012669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2206-20_0_3_line_46 |  | 40 | 42 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2206-20_0_3_line_47 |  | 41 | 71 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2206-20_0_3_line_48 |  | 41 | 63 | 0.02095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2206-20_0_3_line_49 |  | 42 | 72 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2206-20_0_3_line_50 |  | 43 | 45 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2206-20_0_3_line_51 |  | 43 | 46 | 0.040867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2206-20_0_3_line_52 |  | 44 | 47 | 0.019197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2206-20_0_3_line_53 |  | 44 | 48 | 0.043889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2206-20_0_3_line_54 |  | 46 | 49 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2206-20_0_3_line_55 |  | 48 | 55 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2206-20_0_3_line_56 |  | 50 | 52 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2206-20_0_3_line_57 |  | 51 | 53 | 0.0071956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2206-20_0_3_line_58 |  | 53 | 56 | 0.021052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2206-20_0_3_line_59 |  | 54 | 55 | 0.017732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2206-20_0_3_line_60 |  | 57 | 64 | 0.013728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2206-20_0_3_line_61 |  | 58 | 59 | 0.010782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2206-20_0_3_line_62 |  | 59 | 60 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2206-20_0_3_line_63 |  | 60 | 61 | 0.024423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2206-20_0_3_line_64 |  | 61 | 62 | 0.0015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2206-20_0_3_line_65 |  | 62 | 63 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2206-20_0_3_line_66 |  | 63 | 74 | 0.01065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2206-20_0_3_line_67 |  | 64 | 69 | 0.0037149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2206-20_0_3_line_68 |  | 65 | 66 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2206-20_0_3_line_69 |  | 65 | 67 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2206-20_0_3_line_70 |  | 66 | 68 | 0.011347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2206-20_0_3_line_71 |  | 67 | 69 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2206-20_0_3_line_72 |  | 68 | 70 | 0.017776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2206-20_0_3_line_73 |  | 71 | 76 | 0.025798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2206-20_0_3_line_74 |  | 73 | 74 | 0.028082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2206-20_0_3_line_75 |  | 74 | 75 | 0.030692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2206-20_0_3_line_76 |  | 76 | 77 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2206-20_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 78 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2578830.9866 | 1180888.3449 | 2578823.8936 | 1180869.4826 | 2578814.4546 | 1180826.5827 | 2578813.7448 | 1180824.454
1 | 2578812.4553 | 1180820.5867 | 2578813.7448 | 1180824.454
2 | 2578830.9866 | 1180888.3449 | 2578835.4094 | 1180897.2005
3 | 2578812.4553 | 1180820.5867 | 2578807.9963 | 1180805.5554
4 | 2578812.4553 | 1180820.5867 | 2578799.1884 | 1180826.7037
5 | 2578835.4094 | 1180897.2005 | 2578843.2713 | 1180885.2331 | 2578848.4192 | 1180879.1491
6 | 2578835.4094 | 1180897.2005 | 2578838.8189 | 1180905.4451
7 | 2578805.5588 | 1180797.3385 | 2578807.9963 | 1180805.5554
8 | 2578799.1884 | 1180826.7037 | 2578799.1884 | 1180826.7037 | 2578794.5186 | 1180832.1786 | 2578793.6119 | 1180841.3755 | 2578779.9056 | 1180846.7222
9 | 2578742.1923 | 1180916.7529 | 2578702.5632 | 1180925.154
10 | 2578647.315 | 1180922.4611 | 2578668.3386 | 1180920.0069 | 2578681.626 | 1180923.9948 | 2578691.5367 | 1180925.5269 | 2578702.5632 | 1180925.154
11 | 2578848.4192 | 1180879.1491 | 2578860.4895 | 1180864.8838
12 | 2578844.6916 | 1180919.6459 | 2578838.8189 | 1180905.4451
13 | 2578802.3912 | 1180786.6605 | 2578805.5588 | 1180797.3385
14 | 2578719.0679 | 1180860.7476 | 2578740.2567 | 1180857.896 | 2578747.2502 | 1180859.4608 | 2578779.9056 | 1180846.7222
15 | 2578723.9537 | 1180973.8686 | 2578647.315 | 1180922.4611
16 | 2578844.6916 | 1180919.6459 | 2578847.2664 | 1180926.4291
17 | 2578844.6916 | 1180919.6459 | 2578846.9512 | 1180917.2144 | 2578848.592 | 1180901.8228 | 2578849.1148 | 1180900.0361
18 | 2578802.3912 | 1180786.6605 | 2578800.7432 | 1180780.6632 | 2578800.0059 | 1180775.2186
19 | 2578802.3912 | 1180786.6605 | 2578779.33 | 1180794.0017
20 | 2578859.1284 | 1181028.9951 | 2578854.8322 | 1180978.3221
21 | 2578859.7051 | 1181035.7972 | 2578859.1284 | 1181028.9951
22 | 2578852.9784 | 1180956.4578 | 2578854.8322 | 1180978.3221
23 | 2578866.1023 | 1181035.0742 | 2578859.7051 | 1181035.7972
24 | 2578859.7051 | 1181035.7972 | 2578861.7617 | 1181073.3791
25 | 2578821.3894 | 1180955.7805 | 2578827.0509 | 1180956.4608 | 2578835.6014 | 1180959.9434 | 2578844.7139 | 1180964.7135 | 2578846.7481 | 1180961.1823 | 2578849.3864 | 1180957.8712 | 2578852.9784 | 1180956.4578
26 | 2578852.9784 | 1180956.4578 | 2578850.6412 | 1180941.6795
27 | 2578866.1023 | 1181035.0742 | 2578880.7652 | 1181032.9657 | 2578888.4729 | 1181029.2142 | 2578904.3713 | 1181027.2235
28 | 2578866.1023 | 1181035.0742 | 2578864.8772 | 1181022.8042
29 | 2578821.3894 | 1180955.7805 | 2578821.2765 | 1180974.0684
30 | 2578847.2664 | 1180926.4291 | 2578850.3145 | 1180939.6141 | 2578850.6412 | 1180941.6795
31 | 2578917.526 | 1181025.5764 | 2578904.3713 | 1181027.2235
32 | 2578879.2131 | 1181008.7142 | 2578863.6636 | 1181010.648 | 2578864.8772 | 1181022.8042
33 | 2578760.3331 | 1181024.8109 | 2578744.3456 | 1181015.8581
34 | 2578760.3331 | 1181024.8109 | 2578777.4333 | 1181029.4525 | 2578791.9519 | 1181029.6899 | 2578802.493 | 1181025.995 | 2578799.8446 | 1181022.1469
35 | 2578760.3331 | 1181024.8109 | 2578760.6965 | 1181008.9125 | 2578758.0255 | 1181000.8734 | 2578758.0682 | 1180990.0458
36 | 2578726.7783 | 1181006.0206 | 2578744.3456 | 1181015.8581
37 | 2578799.8446 | 1181022.1469 | 2578797.4293 | 1181023.734 | 2578796.0775 | 1181023.7166 | 2578792.7477 | 1181023.684 | 2578791.6479 | 1181023.6656 | 2578791.7623 | 1181008.0262
38 | 2578810.4927 | 1181005.5894 | 2578813.5094 | 1181005.6343 | 2578821.1664 | 1180991.9111 | 2578821.2765 | 1180974.0684
39 | 2578791.7918 | 1181003.9883 | 2578791.7623 | 1181008.0262
40 | 2578791.7918 | 1181003.9883 | 2578807.2878 | 1181004.1667 | 2578807.2698 | 1181005.5452 | 2578810.4927 | 1181005.5894
41 | 2578847.2664 | 1180926.4291 | 2578834.3725 | 1180931.3521
42 | 2578917.526 | 1181025.5764 | 2578914.0786 | 1180999.4169
43 | 2578917.526 | 1181025.5764 | 2578918.169 | 1181030.7371
44 | 2578726.7783 | 1181006.0206 | 2578727.1362 | 1180984.3081 | 2578723.9304 | 1180978.372 | 2578723.9537 | 1180973.8686
45 | 2578960.9786 | 1181094.5143 | 2578954.9084 | 1181105.6414
46 | 2578954.9084 | 1181105.6414 | 2578937.8614 | 1181097.666
47 | 2578960.9786 | 1181094.5143 | 2578978.8172 | 1181103.3581
48 | 2578971.0173 | 1181076.1138 | 2578960.9786 | 1181094.5143
49 | 2578918.2829 | 1181088.5062 | 2578937.8614 | 1181097.666
50 | 2578800.0059 | 1180775.2186 | 2578813.4138 | 1180772.2139 | 2578818.1108 | 1180765.2975
51 | 2578800.0059 | 1180775.2186 | 2578800.7432 | 1180780.6632 | 2578834.6781 | 1180770.6821
52 | 2578779.33 | 1180794.0017 | 2578784.9857 | 1180812.3467
53 | 2578779.33 | 1180794.0017 | 2578760.93 | 1180799.8591 | 2578736.6123 | 1180803.4364
54 | 2578834.6781 | 1180770.6821 | 2578833.5892 | 1180762.982 | 2578838.768 | 1180750.2162
55 | 2578736.6123 | 1180803.4364 | 2578714.8676 | 1180811.985
56 | 2578863.9701 | 1180883.7368 | 2578854.6823 | 1180889.8729 | 2578849.8522 | 1180897.5161 | 2578849.1148 | 1180900.0361
57 | 2578827.6502 | 1180933.9186 | 2578834.3725 | 1180931.3521
58 | 2578807.4783 | 1180939.5326 | 2578816.7597 | 1180938.0767 | 2578827.6502 | 1180933.9186
59 | 2578714.8676 | 1180811.985 | 2578700.7149 | 1180815.9819 | 2578697.7495 | 1180815.3811
60 | 2578912.2849 | 1180985.8066 | 2578914.0786 | 1180999.4169
61 | 2578919.5019 | 1181041.4365 | 2578918.169 | 1181030.7371
62 | 2578919.5019 | 1181041.4365 | 2578919.939 | 1181044.9445 | 2578924.0573 | 1181054.1903 | 2578929.993 | 1181056.9614
63 | 2578952.1234 | 1181067.2931 | 2578929.993 | 1181056.9614
64 | 2578952.1234 | 1181067.2931 | 2578953.5393 | 1181067.9541
65 | 2578971.0173 | 1181076.1138 | 2578953.5393 | 1181067.9541
66 | 2578971.0173 | 1181076.1138 | 2578976.1163 | 1181066.7577
67 | 2578911.7996 | 1180982.1236 | 2578912.2849 | 1180985.8066
68 | 2578908.3561 | 1180955.9943 | 2578906.3471 | 1180940.7503
69 | 2578908.3561 | 1180955.9943 | 2578910.3628 | 1180971.2215
70 | 2578904.8646 | 1180929.5009 | 2578906.3471 | 1180940.7503
71 | 2578911.7996 | 1180982.1236 | 2578910.3628 | 1180971.2215
72 | 2578904.8646 | 1180929.5009 | 2578904.6484 | 1180927.8602 | 2578909.0783 | 1180919.329 | 2578914.6487 | 1180915.9639
73 | 2579001.9307 | 1181114.817 | 2578978.8172 | 1181103.3581
74 | 2578976.1163 | 1181066.7577 | 2578989.5111 | 1181042.0758
75 | 2578976.1163 | 1181066.7577 | 2579003.6709 | 1181080.2767
76 | 2579001.9307 | 1181114.817 | 2579022.9365 | 1181125.231

## bus_geodata
| x | y | coords
0 | 2578813.7448 | 1180824.454
1 | 2578830.9867 | 1180888.3449
2 | 2578812.4553 | 1180820.5867
3 | 2578835.4094 | 1180897.2005
4 | 2578807.9963 | 1180805.5554
5 | 2578799.1884 | 1180826.7037
6 | 2578742.1923 | 1180916.7529
7 | 2578702.5632 | 1180925.154
8 | 2578848.4192 | 1180879.1491
9 | 2578838.8189 | 1180905.4451
10 | 2578805.5588 | 1180797.3385
11 | 2578779.9056 | 1180846.7222
12 | 2578647.315 | 1180922.4611
13 | 2578860.4895 | 1180864.8838
14 | 2578844.6916 | 1180919.6459
15 | 2578802.3912 | 1180786.6605
16 | 2578719.0679 | 1180860.7476
17 | 2578859.1284 | 1181028.9951
18 | 2578854.8321 | 1180978.3221
19 | 2578859.7051 | 1181035.7972
20 | 2578852.9784 | 1180956.4578
21 | 2578866.1023 | 1181035.0742
22 | 2578861.7617 | 1181073.3791
23 | 2578821.3894 | 1180955.7805
24 | 2578850.6412 | 1180941.6795
25 | 2578904.3713 | 1181027.2235
26 | 2578864.8772 | 1181022.8042
27 | 2578760.3331 | 1181024.8109
28 | 2578744.3456 | 1181015.8581
29 | 2578799.8446 | 1181022.1469
30 | 2578758.0682 | 1180990.0458
31 | 2578821.2765 | 1180974.0684
32 | 2578791.7623 | 1181008.0262
33 | 2578810.4927 | 1181005.5894
34 | 2578791.7918 | 1181003.9883
35 | 2578847.2664 | 1180926.4291
36 | 2578917.526 | 1181025.5764
37 | 2578879.2131 | 1181008.7142
38 | 2578726.7783 | 1181006.0206
39 | 2578723.9538 | 1180973.8686
40 | 2578954.9084 | 1181105.6414
41 | 2578960.9786 | 1181094.5143
42 | 2578937.8614 | 1181097.666
43 | 2578800.0059 | 1180775.2186
44 | 2578779.33 | 1180794.0017
45 | 2578818.1108 | 1180765.2975
46 | 2578834.6781 | 1180770.6821
47 | 2578784.9857 | 1180812.3467
48 | 2578736.6123 | 1180803.4364
49 | 2578838.768 | 1180750.2162
50 | 2578849.1148 | 1180900.0361
51 | 2578834.3725 | 1180931.3521
52 | 2578863.9701 | 1180883.7368
53 | 2578827.6502 | 1180933.9186
54 | 2578697.7495 | 1180815.3811
55 | 2578714.8676 | 1180811.985
56 | 2578807.4783 | 1180939.5326
57 | 2578914.0786 | 1180999.4169
58 | 2578918.169 | 1181030.7371
59 | 2578919.5019 | 1181041.4365
60 | 2578929.993 | 1181056.9614
61 | 2578952.1234 | 1181067.2931
62 | 2578953.5393 | 1181067.9541
63 | 2578971.0173 | 1181076.1138
64 | 2578912.2849 | 1180985.8066
65 | 2578908.3561 | 1180955.9943
66 | 2578906.3471 | 1180940.7503
67 | 2578910.3628 | 1180971.2215
68 | 2578904.8646 | 1180929.5009
69 | 2578911.7996 | 1180982.1236
70 | 2578914.6487 | 1180915.9639
71 | 2578978.8172 | 1181103.3581
72 | 2578918.2829 | 1181088.5062
73 | 2578989.5111 | 1181042.0758
74 | 2578976.1163 | 1181066.7577
75 | 2579003.6709 | 1181080.2767
76 | 2579001.9307 | 1181114.817
77 | 2579022.9365 | 1181125.231
78 | 2578844.7139 | 1180964.7135

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98641 | -0.26097 | 0.0062475 | 0.0015658
1 | 0.99078 | -0.17627 | 0 | 0
2 | 0.98616 | -0.26574 | 0 | 0
3 | 0.99144 | -0.1637 | 0 | 0
4 | 0.98584 | -0.27208 | 0.0024448 | 0.00061272
5 | 0.98559 | -0.27695 | 0.0015797 | 0.00039592
6 | 0.98696 | -0.25116 | 0.0051653 | 0.0012945
7 | 0.98715 | -0.24741 | 0.0034077 | 0.00085404
8 | 0.99128 | -0.16673 | 0.0039188 | 0.00098214
9 | 0.99209 | -0.15116 | 0.0020211 | 0.00050653
10 | 0.98568 | -0.27517 | 0.0043276 | 0.0010846
11 | 0.9844 | -0.30002 | 0.020615 | 0.0051666
12 | 0.98759 | -0.23884 | 0 | 0
13 | 0.99122 | -0.16797 | 0.0037445 | 0.00093847
14 | 0.99324 | -0.12907 | 0 | 0
15 | 0.98552 | -0.27832 | 0 | 0
16 | 0.9832 | -0.32363 | 0.020608 | 0.0051649
17 | 0.99023 | -0.187 | 0.023734 | 0.0059483
18 | 0.99464 | -0.1021 | 0.0027575 | 0.0006911
19 | 0.98979 | -0.19558 | 0 | 0
20 | 0.9966 | -0.064631 | 0 | 0
21 | 0.98939 | -0.20333 | 0 | 0
22 | 0.9897 | -0.19741 | 0.0027453 | 0.00068803
23 | 1 | 0 | -0.28739 | -0.072792
24 | 0.99522 | -0.091074 | 0.0031726 | 0.00079512
25 | 0.98717 | -0.24636 | 0.0028646 | 0.00071794
26 | 0.98931 | -0.20479 | 0.0051063 | 0.0012798
27 | 0.99051 | -0.18214 | 0 | 0
28 | 0.98988 | -0.19446 | 0.0058591 | 0.0014684
29 | 0.99321 | -0.13 | 0 | 0
30 | 0.98976 | -0.19677 | 0.023379 | 0.0058593
31 | 0.99858 | -0.02714 | 0.013124 | 0.0032891
32 | 0.99458 | -0.10375 | 0.010687 | 0.0026785
33 | 0.99617 | -0.073216 | 0 | 0
34 | 0.99484 | -0.098631 | 0 | 0
35 | 0.99382 | -0.11789 | 0 | 0
36 | 0.98646 | -0.2602 | 0 | 0
37 | 0.98927 | -0.20557 | 0.0015699 | 0.00039346
38 | 0.98929 | -0.20592 | 0 | 0
39 | 0.98832 | -0.2247 | 0.023387 | 0.0058614
40 | 0.98439 | -0.3006 | 0 | 0
41 | 0.98445 | -0.29945 | 0 | 0
42 | 0.9843 | -0.30231 | 0.0025328 | 0.00063478
43 | 0.98544 | -0.27984 | 0 | 0
44 | 0.98533 | -0.28203 | 0 | 0
45 | 0.98541 | -0.28053 | 0.0017398 | 0.00043605
46 | 0.98524 | -0.28385 | 0 | 0
47 | 0.9853 | -0.28264 | 0.0017577 | 0.00044053
48 | 0.98505 | -0.2874 | 0.0026161 | 0.00065566
49 | 0.98513 | -0.28596 | 0.0054646 | 0.0013696
50 | 0.99312 | -0.13125 | 0.0022792 | 0.00057123
51 | 0.99369 | -0.12036 | 0.0023444 | 0.00058756
52 | 0.99305 | -0.13273 | 0.0036897 | 0.00092472
53 | 0.99364 | -0.12135 | 0.0022761 | 0.00057045
54 | 0.98493 | -0.28984 | 0.0021239 | 0.00053229
55 | 0.98496 | -0.28916 | 0.0020685 | 0.00051841
56 | 0.99354 | -0.1234 | 0.0055118 | 0.0013814
57 | 0.9858 | -0.27299 | 0.0032549 | 0.00081575
58 | 0.98631 | -0.26311 | 0.0023295 | 0.00058383
59 | 0.98602 | -0.2687 | 0.0022443 | 0.00056247
60 | 0.98553 | -0.27837 | 0.0029336 | 0.00073522
61 | 0.98499 | -0.28879 | 0.00264 | 0.00066165
62 | 0.98496 | -0.28938 | 0.0037075 | 0.00092919
63 | 0.98465 | -0.29541 | 0 | 0
64 | 0.9855 | -0.27886 | 0.0013213 | 0.00033116
65 | 0.985 | -0.2887 | 0.0031202 | 0.00078199
66 | 0.98481 | -0.29226 | 0.0053211 | 0.0013336
67 | 0.98522 | -0.28427 | 0.0037953 | 0.00095119
68 | 0.98473 | -0.29381 | 0.0030965 | 0.00077606
69 | 0.98542 | -0.28036 | 0.0026496 | 0.00066404
70 | 0.98466 | -0.29525 | 0.0044978 | 0.0011273
71 | 0.98434 | -0.30147 | 0.0027451 | 0.00068799
72 | 0.98425 | -0.30329 | 0.0025205 | 0.00063171
73 | 0.98448 | -0.29876 | 0.0040812 | 0.0010228
74 | 0.98459 | -0.2967 | 0 | 0
75 | 0.98451 | -0.29814 | 0.0026101 | 0.00065414
76 | 0.98427 | -0.30282 | 0.0020593 | 0.0005161
77 | 0.98425 | -0.30318 | 0.0008479 | 0.0002125
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.071718 | -0.018018 | 0.072009 | 0.018204 | 0.00029119 | 0.00018551 | 0.1082 | 0.1082 | 0.1082 | 0.98641 | -0.26097 | 0.99078 | -0.17627 | 29.7263
1 | 0.065471 | 0.016452 | -0.065456 | -0.016443 | 1.4916e-05 | 9.4944e-06 | 0.098779 | 0.098779 | 0.098779 | 0.98641 | -0.26097 | 0.98616 | -0.26574 | 27.1372
2 | -0.072009 | -0.018204 | 0.072053 | 0.018231 | 4.3444e-05 | 2.7677e-05 | 0.1082 | 0.1082 | 0.1082 | 0.99078 | -0.17627 | 0.99144 | -0.1637 | 29.7262
3 | 0.022561 | 0.0056581 | -0.022554 | -0.0056539 | 6.8142e-06 | 4.1611e-06 | 0.034044 | 0.034044 | 0.034044 | 0.98616 | -0.26574 | 0.98584 | -0.27208 | 9.3527
4 | 0.042895 | 0.010785 | -0.042872 | -0.01077 | 2.2959e-05 | 1.4507e-05 | 0.064736 | 0.064736 | 0.064736 | 0.98616 | -0.26574 | 0.98559 | -0.27695 | 17.7845
5 | 0.0076646 | 0.0019209 | -0.0076635 | -0.0019205 | 1.1061e-06 | 4.2051e-07 | 0.011504 | 0.011504 | 0.011504 | 0.99144 | -0.1637 | 0.99128 | -0.16673 | 3.1604
6 | -0.079717 | -0.020152 | 0.079765 | 0.020183 | 4.7943e-05 | 3.0568e-05 | 0.11971 | 0.11971 | 0.11971 | 0.99144 | -0.1637 | 0.99209 | -0.15116 | 32.8865
7 | 0.020109 | 0.0050412 | -0.020107 | -0.0050394 | 2.9612e-06 | 1.7859e-06 | 0.030354 | 0.030354 | 0.030354 | 0.98584 | -0.27208 | 0.98568 | -0.27517 | 8.3389
8 | 0.041292 | 0.010374 | -0.041247 | -0.010346 | 4.5412e-05 | 2.8667e-05 | 0.062351 | 0.062351 | 0.062351 | 0.98559 | -0.27695 | 0.9844 | -0.30002 | 17.1293
9 | -0.0051653 | -0.0012945 | 0.0051662 | 0.0012946 | 9.2127e-07 | 7.1823e-08 | 0.0077876 | 0.0077874 | 0.0077876 | 0.98696 | -0.25116 | 0.98715 | -0.24741 | 2.1394
10 | -0.0085739 | -0.0021487 | 0.0085774 | 0.0021502 | 3.504e-06 | 1.5271e-06 | 0.012924 | 0.012924 | 0.012924 | 0.98715 | -0.24741 | 0.98759 | -0.23884 | 3.5506
11 | 0.0037448 | 0.00093837 | -0.0037445 | -0.00093847 | 2.2143e-07 | -9.917e-08 | 0.0056212 | 0.0056213 | 0.0056213 | 0.99128 | -0.16673 | 0.99122 | -0.16797 | 1.5443
12 | -0.081786 | -0.020689 | 0.081873 | 0.020745 | 8.6813e-05 | 5.5362e-05 | 0.12274 | 0.12274 | 0.12274 | 0.99209 | -0.15116 | 0.99324 | -0.12907 | 33.7193
13 | 0.015779 | 0.0039548 | -0.015777 | -0.0039534 | 2.37e-06 | 1.3748e-06 | 0.02382 | 0.023821 | 0.023821 | 0.98568 | -0.27517 | 0.98552 | -0.27832 | 6.5441
14 | 0.020631 | 0.0051789 | -0.020608 | -0.0051649 | 2.32e-05 | 1.404e-05 | 0.031189 | 0.031189 | 0.031189 | 0.9844 | -0.30002 | 0.9832 | -0.32363 | 8.5685
15 | -0.0085774 | -0.0021502 | 0.0085832 | 0.0021527 | 5.7799e-06 | 2.5174e-06 | 0.012924 | 0.012923 | 0.012924 | 0.98759 | -0.23884 | 0.98832 | -0.2247 | 3.5505
16 | -0.087843 | -0.022241 | 0.08789 | 0.022271 | 4.7169e-05 | 3.0094e-05 | 0.13168 | 0.13168 | 0.13168 | 0.99324 | -0.12907 | 0.99382 | -0.11789 | 36.1763
17 | 0.0059698 | 0.0014959 | -0.0059692 | -0.0014958 | 6.197e-07 | 1.2925e-07 | 0.0089435 | 0.0089436 | 0.0089436 | 0.99324 | -0.12907 | 0.99312 | -0.13125 | 2.457
18 | 0.0072066 | 0.0018058 | -0.0072061 | -0.0018056 | 5.2009e-07 | 1.8361e-07 | 0.010881 | 0.010881 | 0.010881 | 0.98552 | -0.27832 | 0.98544 | -0.27984 | 2.9893
19 | 0.0085699 | 0.0021476 | -0.0085684 | -0.002147 | 1.5156e-06 | 6.6245e-07 | 0.01294 | 0.01294 | 0.01294 | 0.98552 | -0.27832 | 0.98533 | -0.28203 | 3.5548
20 | -0.09463 | -0.023827 | 0.095016 | 0.024073 | 0.00038583 | 0.00024628 | 0.14224 | 0.14224 | 0.14224 | 0.99023 | -0.187 | 0.99464 | -0.1021 | 39.0766
21 | 0.070896 | 0.017878 | -0.070867 | -0.01786 | 2.9076e-05 | 1.8521e-05 | 0.10657 | 0.10657 | 0.10657 | 0.99023 | -0.187 | 0.98979 | -0.19558 | 29.2785
22 | -0.097773 | -0.024764 | 0.09795 | 0.024877 | 0.00017627 | 0.00011253 | 0.14636 | 0.14636 | 0.14636 | 0.99464 | -0.1021 | 0.9966 | -0.064631 | 40.2098
23 | 0.068121 | 0.017172 | -0.068096 | -0.017156 | 2.5263e-05 | 1.6086e-05 | 0.10245 | 0.10245 | 0.10245 | 0.98979 | -0.19558 | 0.98939 | -0.20333 | 28.1446
24 | 0.0027455 | 0.0006877 | -0.0027453 | -0.00068803 | 2.4045e-07 | -3.2982e-07 | 0.0041274 | 0.0041275 | 0.0041275 | 0.98979 | -0.19558 | 0.9897 | -0.19741 | 1.1339
25 | -0.1994 | -0.050646 | 0.20002 | 0.051043 | 0.0006224 | 0.00039736 | 0.29796 | 0.29796 | 0.29796 | 0.9966 | -0.064631 | 1 | 0 | 40.929
26 | 0.10145 | 0.025769 | -0.10132 | -0.025687 | 0.00012895 | 8.2332e-05 | 0.1516 | 0.1516 | 0.1516 | 0.9966 | -0.064631 | 0.99522 | -0.091074 | 41.6481
27 | 0.061419 | 0.015483 | -0.061293 | -0.015403 | 0.00012619 | 8.0254e-05 | 0.092405 | 0.092405 | 0.092405 | 0.98939 | -0.20333 | 0.98717 | -0.24636 | 25.386
28 | 0.0066768 | 0.001673 | -0.0066763 | -0.0016729 | 4.6627e-07 | 1.4007e-07 | 0.010042 | 0.010042 | 0.010042 | 0.98939 | -0.20333 | 0.98931 | -0.20479 | 2.7587
29 | 0.085712 | 0.021749 | -0.0856 | -0.021678 | 0.00011172 | 7.1264e-05 | 0.12764 | 0.12764 | 0.12764 | 1 | 0 | 0.99858 | -0.02714 | 35.0646
30 | 0.098151 | 0.024891 | -0.098025 | -0.024811 | 0.00012636 | 8.0666e-05 | 0.14686 | 0.14686 | 0.14686 | 0.99522 | -0.091074 | 0.99382 | -0.11789 | 40.345
31 | 0.058428 | 0.014685 | -0.05839 | -0.01466 | 3.8576e-05 | 2.4519e-05 | 0.088087 | 0.088087 | 0.088087 | 0.98717 | -0.24636 | 0.98646 | -0.2602 | 24.1997
32 | 0.00157 | 0.00039314 | -0.0015699 | -0.00039346 | 5.831e-08 | -3.2073e-07 | 0.0023613 | 0.0023614 | 0.0023614 | 0.98931 | -0.20479 | 0.98927 | -0.20557 | 0.64874
33 | 0.037898 | 0.0095254 | -0.037876 | -0.0095113 | 2.228e-05 | 1.4023e-05 | 0.056942 | 0.056942 | 0.056942 | 0.99051 | -0.18214 | 0.98988 | -0.19446 | 15.6435
34 | -0.061293 | -0.015395 | 0.061446 | 0.015492 | 0.00015291 | 9.724e-05 | 0.09209 | 0.09209 | 0.09209 | 0.99051 | -0.18214 | 0.99321 | -0.13 | 25.2995
35 | 0.023395 | 0.0058693 | -0.023379 | -0.0058593 | 1.6308e-05 | 9.9842e-06 | 0.035148 | 0.035148 | 0.035148 | 0.99051 | -0.18214 | 0.98976 | -0.19677 | 9.6561
36 | 0.032016 | 0.0080429 | -0.031999 | -0.008032 | 1.7494e-05 | 1.0937e-05 | 0.048135 | 0.048135 | 0.048135 | 0.98988 | -0.19446 | 0.98929 | -0.20592 | 13.2239
37 | -0.061446 | -0.015492 | 0.061523 | 0.015541 | 7.7316e-05 | 4.9167e-05 | 0.09209 | 0.09209 | 0.09209 | 0.99321 | -0.13 | 0.99458 | -0.10375 | 25.2995
38 | 0.072477 | 0.018389 | -0.072316 | -0.018287 | 0.00016021 | 0.00010206 | 0.10808 | 0.10808 | 0.10808 | 0.99858 | -0.02714 | 0.99617 | -0.073216 | 29.6922
39 | -0.072211 | -0.01822 | 0.072228 | 0.018231 | 1.7688e-05 | 1.1268e-05 | 0.10808 | 0.10808 | 0.10808 | 0.99458 | -0.10375 | 0.99484 | -0.098631 | 29.6922
40 | 0.072316 | 0.018287 | -0.072228 | -0.018231 | 8.8042e-05 | 5.6086e-05 | 0.10808 | 0.10808 | 0.10808 | 0.99617 | -0.073216 | 0.99484 | -0.098631 | 29.6922
41 | 0.010134 | 0.0025402 | -0.010133 | -0.0025396 | 1.1917e-06 | 5.8388e-07 | 0.015174 | 0.015174 | 0.015174 | 0.99382 | -0.11789 | 0.99369 | -0.12036 | 4.1687
42 | 0.027092 | 0.0068019 | -0.027075 | -0.0067917 | 1.6528e-05 | 1.0241e-05 | 0.04087 | 0.040871 | 0.040871 | 0.98646 | -0.2602 | 0.9858 | -0.27299 | 11.2282
43 | 0.031298 | 0.0078584 | -0.031294 | -0.0078557 | 4.3479e-06 | 2.7163e-06 | 0.047217 | 0.047217 | 0.047217 | 0.98646 | -0.2602 | 0.98631 | -0.26311 | 12.9716
44 | 0.031999 | 0.008032 | -0.03197 | -0.0080141 | 2.8643e-05 | 1.7908e-05 | 0.048135 | 0.048135 | 0.048135 | 0.98929 | -0.20592 | 0.98832 | -0.2247 | 13.2239
45 | -0.0050539 | -0.0012663 | 0.0050542 | 0.0012663 | 2.7726e-07 | 1.638e-08 | 0.0076394 | 0.0076394 | 0.0076394 | 0.98439 | -0.3006 | 0.98445 | -0.29945 | 2.0987
46 | 0.0050539 | 0.0012663 | -0.0050535 | -0.0012663 | 4.119e-07 | 2.4373e-08 | 0.0076394 | 0.0076395 | 0.0076395 | 0.98439 | -0.3006 | 0.9843 | -0.30231 | 2.0988
47 | 0.005653 | 0.0014162 | -0.0056525 | -0.0014161 | 5.4512e-07 | 9.5754e-08 | 0.0085445 | 0.0085446 | 0.0085446 | 0.98445 | -0.29945 | 0.98434 | -0.30147 | 2.3474
48 | -0.010707 | -0.0026825 | 0.010709 | 0.0026836 | 2.0577e-06 | 1.0505e-06 | 0.016184 | 0.016184 | 0.016184 | 0.98445 | -0.29945 | 0.98465 | -0.29541 | 4.4461
49 | 0.0025207 | 0.00063151 | -0.0025205 | -0.00063171 | 1.177e-07 | -1.994e-07 | 0.0038105 | 0.0038106 | 0.0038106 | 0.9843 | -0.30231 | 0.98425 | -0.30329 | 1.0469
50 | 0.0017399 | 0.0004358 | -0.0017398 | -0.00043605 | 5.7204e-08 | -2.4495e-07 | 0.0026272 | 0.0026273 | 0.0026273 | 0.98544 | -0.27984 | 0.98541 | -0.28053 | 0.72177
51 | 0.0054662 | 0.0013698 | -0.0054652 | -0.0013696 | 1.0441e-06 | 1.4767e-07 | 0.0082539 | 0.0082541 | 0.0082541 | 0.98544 | -0.27984 | 0.98524 | -0.28385 | 2.2676
52 | 0.0017578 | 0.00044032 | -0.0017577 | -0.00044053 | 5.0728e-08 | -2.1204e-07 | 0.0026545 | 0.0026546 | 0.0026546 | 0.98533 | -0.28203 | 0.9853 | -0.28264 | 0.72928
53 | 0.0068106 | 0.0017067 | -0.0068089 | -0.0017061 | 1.7411e-06 | 5.5542e-07 | 0.010285 | 0.010285 | 0.010285 | 0.98533 | -0.28203 | 0.98505 | -0.2874 | 2.8256
54 | 0.0054652 | 0.0013696 | -0.0054646 | -0.0013696 | 5.5066e-07 | 7.7981e-08 | 0.0082541 | 0.0082542 | 0.0082542 | 0.98524 | -0.28385 | 0.98513 | -0.28596 | 2.2676
55 | 0.0041927 | 0.0010504 | -0.0041924 | -0.0010505 | 3.5146e-07 | -7.2473e-08 | 0.0063334 | 0.0063335 | 0.0063335 | 0.98505 | -0.2874 | 0.98496 | -0.28916 | 1.74
56 | 0.0036899 | 0.00092459 | -0.0036897 | -0.00092472 | 2.6133e-07 | -1.2773e-07 | 0.0055286 | 0.0055287 | 0.0055287 | 0.99312 | -0.13125 | 0.99305 | -0.13273 | 1.5189
57 | 0.0077889 | 0.0019521 | -0.0077885 | -0.0019519 | 3.6708e-07 | 1.4172e-07 | 0.011664 | 0.011664 | 0.011664 | 0.99369 | -0.12036 | 0.99364 | -0.12135 | 3.2043
58 | 0.0055124 | 0.0013815 | -0.0055118 | -0.0013814 | 5.3798e-07 | 7.1647e-08 | 0.008255 | 0.0082551 | 0.0082551 | 0.99364 | -0.12135 | 0.99354 | -0.1234 | 2.2679
59 | -0.0021239 | -0.00053229 | 0.0021239 | 0.00053211 | 6.8459e-08 | -1.8186e-07 | 0.0032087 | 0.0032086 | 0.0032087 | 0.98493 | -0.28984 | 0.98496 | -0.28916 | 0.88151
60 | 0.02382 | 0.005976 | -0.023814 | -0.0059719 | 6.656e-06 | 4.0849e-06 | 0.035958 | 0.035958 | 0.035958 | 0.9858 | -0.27299 | 0.9855 | -0.27886 | 9.8785
61 | 0.028964 | 0.0072718 | -0.028957 | -0.007267 | 7.7222e-06 | 4.8046e-06 | 0.043702 | 0.043702 | 0.043702 | 0.98631 | -0.26311 | 0.98602 | -0.2687 | 12.0061
62 | 0.026712 | 0.0067046 | -0.0267 | -0.0066969 | 1.2316e-05 | 7.6248e-06 | 0.040315 | 0.040315 | 0.040315 | 0.98602 | -0.2687 | 0.98553 | -0.27837 | 11.0757
63 | 0.023766 | 0.0059617 | -0.023755 | -0.0059545 | 1.1795e-05 | 7.2376e-06 | 0.035886 | 0.035886 | 0.035886 | 0.98553 | -0.27837 | 0.98499 | -0.28879 | 9.8589
64 | 0.021115 | 0.0052928 | -0.021114 | -0.0052925 | 5.9623e-07 | 3.617e-07 | 0.031898 | 0.031898 | 0.031898 | 0.98499 | -0.28879 | 0.98496 | -0.28938 | 8.7632
65 | 0.017407 | 0.0043633 | -0.017402 | -0.0043603 | 5.0021e-06 | 2.9559e-06 | 0.026297 | 0.026297 | 0.026297 | 0.98496 | -0.28938 | 0.98465 | -0.29541 | 7.2245
66 | 0.0066923 | 0.0016767 | -0.0066919 | -0.0016766 | 4.0847e-07 | 1.2597e-07 | 0.010113 | 0.010113 | 0.010113 | 0.98465 | -0.29541 | 0.98459 | -0.2967 | 2.7784
67 | 0.022492 | 0.0056407 | -0.022491 | -0.0056397 | 1.6068e-06 | 9.8105e-07 | 0.033962 | 0.033962 | 0.033962 | 0.9855 | -0.27886 | 0.98542 | -0.28036 | 9.3304
68 | 0.012918 | 0.0032383 | -0.012916 | -0.0032371 | 2.1961e-06 | 1.2098e-06 | 0.019516 | 0.019516 | 0.019516 | 0.985 | -0.2887 | 0.98481 | -0.29226 | 5.3615
69 | -0.016039 | -0.0040203 | 0.016042 | 0.0040223 | 3.3813e-06 | 1.9685e-06 | 0.02423 | 0.024229 | 0.02423 | 0.985 | -0.2887 | 0.98522 | -0.28427 | 6.6565
70 | 0.0075952 | 0.0019035 | -0.0075946 | -0.0019033 | 5.6038e-07 | 2.1428e-07 | 0.011476 | 0.011476 | 0.011476 | 0.98481 | -0.29226 | 0.98473 | -0.29381 | 3.1528
71 | -0.019837 | -0.0049735 | 0.019841 | 0.0049757 | 3.7018e-06 | 2.2291e-06 | 0.029962 | 0.029962 | 0.029962 | 0.98522 | -0.28427 | 0.98542 | -0.28036 | 8.2312
72 | 0.0044981 | 0.0011272 | -0.0044978 | -0.0011273 | 3.0796e-07 | -2.9024e-08 | 0.006797 | 0.0067971 | 0.0067971 | 0.98473 | -0.29381 | 0.98466 | -0.29525 | 1.8673
73 | 0.0029074 | 0.00072811 | -0.0029072 | -0.00072831 | 1.8686e-07 | -2.0832e-07 | 0.0043948 | 0.0043949 | 0.0043949 | 0.98434 | -0.30147 | 0.98427 | -0.30282 | 1.2074
74 | -0.0040812 | -0.0010228 | 0.0040816 | 0.0010227 | 4.0071e-07 | -1.0066e-07 | 0.0061686 | 0.0061685 | 0.0061686 | 0.98448 | -0.29876 | 0.98459 | -0.2967 | 1.6947
75 | 0.0026102 | 0.00065387 | -0.0026101 | -0.00065414 | 1.7911e-07 | -2.7568e-07 | 0.0039448 | 0.0039449 | 0.0039449 | 0.98459 | -0.2967 | 0.98451 | -0.29814 | 1.0838
76 | 0.00084791 | 0.00021221 | -0.0008479 | -0.0002125 | 1.4446e-08 | -2.8874e-07 | 0.0012818 | 0.0012819 | 0.0012819 | 0.98427 | -0.30282 | 0.98425 | -0.30318 | 0.35216

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.28739 | 0.072792

## res_load
| p_mw | q_mvar
0 | 0.0062475 | 0.0015658
1 | 0.0024448 | 0.00061272
2 | 0.0015797 | 0.00039592
3 | 0.0051653 | 0.0012945
4 | 0.0034077 | 0.00085404
5 | 0.0039188 | 0.00098214
6 | 0.0020211 | 0.00050653
7 | 0.0043276 | 0.0010846
8 | 0.020615 | 0.0051666
9 | 0.0037445 | 0.00093847
10 | 0.020608 | 0.0051649
11 | 0.023734 | 0.0059483
12 | 0.0027575 | 0.0006911
13 | 0.0027453 | 0.00068803
14 | 0.0031726 | 0.00079512
15 | 0.0028646 | 0.00071794
16 | 0.0051063 | 0.0012798
17 | 0.0058591 | 0.0014684
18 | 0.023379 | 0.0058593
19 | 0.013124 | 0.0032891
20 | 0.010687 | 0.0026785
21 | 0.0015699 | 0.00039346
22 | 0.023387 | 0.0058614
23 | 0.0025328 | 0.00063478
24 | 0.0017398 | 0.00043605
25 | 0.0017577 | 0.00044053
26 | 0.0026161 | 0.00065566
27 | 0.0054646 | 0.0013696
28 | 0.0022792 | 0.00057123
29 | 0.0023444 | 0.00058756
30 | 0.0036897 | 0.00092472
31 | 0.0022761 | 0.00057045
32 | 0.0021239 | 0.00053229
33 | 0.0020685 | 0.00051841
34 | 0.0055118 | 0.0013814
35 | 0.0032549 | 0.00081575
36 | 0.0023295 | 0.00058383
37 | 0.0022443 | 0.00056247
38 | 0.0029336 | 0.00073522
39 | 0.00264 | 0.00066165
40 | 0.0037075 | 0.00092919
41 | 0.0013213 | 0.00033116
42 | 0.0031202 | 0.00078199
43 | 0.0053211 | 0.0013336
44 | 0.0037953 | 0.00095119
45 | 0.0030965 | 0.00077606
46 | 0.0026496 | 0.00066404
47 | 0.0044978 | 0.0011273
48 | 0.0027451 | 0.00068799
49 | 0.0025205 | 0.00063171
50 | 0.0040812 | 0.0010228
51 | 0.0026101 | 0.00065414
52 | 0.0020593 | 0.0005161
53 | 0.0008479 | 0.0002125

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1