## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2206-21_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2206-21_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2206-21_0_4_node_94 | 0.4 | n |  | TRUE
3 | bus_LV_2206-21_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_2206-21_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2206-21_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_2206-21_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2206-21_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_2206-21_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_2206-21_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2206-21_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2206-21_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_2206-21_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_2206-21_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2206-21_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_2206-21_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_2206-21_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_2206-21_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_2206-21_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_2206-21_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2206-21_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2206-21_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2206-21_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2206-21_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2206-21_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_2206-21_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_2206-21_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2206-21_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_2206-21_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_2206-21_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_2206-21_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_2206-21_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_2206-21_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_2206-21_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_2206-21_0_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_2206-21_0_4_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_2206-21_0_4_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_2206-21_0_4_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_2206-21_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_2206-21_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2206-21_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_2206-21_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2206-21_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_2206-21_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_2206-21_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_2206-21_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2206-21_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_2206-21_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_2206-21_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_2206-21_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_2206-21_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_2206-21_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_2206-21_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_2206-21_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_2206-21_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_2206-21_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_2206-21_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_2206-21_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_2206-21_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_2206-21_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2206-21_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_2206-21_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_2206-21_0_4_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_2206-21_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_2206-21_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2206-21_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2206-21_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_2206-21_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_2206-21_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2206-21_0_4_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_2206-21_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_2206-21_0_4_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_2206-21_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_2206-21_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_2206-21_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_2206-21_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2206-21_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2206-21_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_2206-21_0_4_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_2206-21_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_2206-21_0_4_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_2206-21_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_2206-21_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_2206-21_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_2206-21_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_2206-21_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_2206-21_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_2206-21_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_2206-21_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_2206-21_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_2206-21_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_2206-21_0_4_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_2206-21_0_4_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_2206-21_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_2206-21_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_MV_36_2_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2206-21_0_4_load_0 | 0 | 0.0021243 | 0.00053241 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2206-21_0_4_load_94 | 2 | 0.0024649 | 0.00061775 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2206-21_0_4_load_2 | 3 | 0.002712 | 0.00067969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2206-21_0_4_load_40 | 6 | 0.003446 | 0.00086364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2206-21_0_4_load_11 | 7 | 0.0038732 | 0.00097073 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2206-21_0_4_load_10 | 10 | 0.0057266 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2206-21_0_4_load_28 | 12 | 0.0033832 | 0.00084792 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2206-21_0_4_load_6 | 14 | 0.0058907 | 0.0014763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2206-21_0_4_load_22 | 15 | 0.014618 | 0.0036635 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2206-21_0_4_load_8 | 16 | 0.01904 | 0.0047719 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2206-21_0_4_load_20 | 17 | 0.013346 | 0.0033447 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2206-21_0_4_load_16 | 19 | 0.0028758 | 0.00072073 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2206-21_0_4_load_15 | 20 | 0.01462 | 0.0036642 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2206-21_0_4_load_13 | 22 | 0.0040312 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2206-21_0_4_load_14 | 23 | 0.0048222 | 0.0012086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2206-21_0_4_load_34 | 25 | 0.0035328 | 0.0008854 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2206-21_0_4_load_26 | 26 | 0.0091199 | 0.0022857 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2206-21_0_4_load_32 | 28 | 0.0037287 | 0.00093451 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2206-21_0_4_load_18 | 30 | 0.013346 | 0.0033447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2206-21_0_4_load_19 | 31 | 0.019036 | 0.0047708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2206-21_0_4_load_60 | 35 | 0.010063 | 0.002522 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2206-21_0_4_load_71 | 36 | 0.0011857 | 0.00029717 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2206-21_0_4_load_69 | 37 | 0.0023786 | 0.00059613 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2206-21_0_4_load_61 | 38 | 0.0098382 | 0.0024657 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2206-21_0_4_load_29 | 39 | 0.0021859 | 0.00054785 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2206-21_0_4_load_43 | 40 | 0.0024517 | 0.00061446 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2206-21_0_4_load_41 | 41 | 0.0028291 | 0.00070905 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2206-21_0_4_load_36 | 42 | 0.0023583 | 0.00059103 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2206-21_0_4_load_33 | 44 | 0.0035913 | 0.00090007 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2206-21_0_4_load_35 | 45 | 0.0020414 | 0.00051162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2206-21_0_4_load_37 | 46 | 0.0045266 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2206-21_0_4_load_38 | 47 | 0.029341 | 0.0073537 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2206-21_0_4_load_74 | 48 | 0.017251 | 0.0043236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2206-21_0_4_load_68 | 49 | 0.028602 | 0.0071684 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2206-21_0_4_load_44 | 51 | 0.0020497 | 0.0005137 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2206-21_0_4_load_45 | 52 | 0.0032689 | 0.00081928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2206-21_0_4_load_46 | 53 | 0.001541 | 0.00038621 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2206-21_0_4_load_47 | 54 | 0.0038113 | 0.00095521 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2206-21_0_4_load_51 | 57 | 0.0048799 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2206-21_0_4_load_58 | 59 | 0.0035506 | 0.00088987 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2206-21_0_4_load_67 | 60 | 0.0052122 | 0.0013063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2206-21_0_4_load_63 | 61 | 0.0071102 | 0.001782 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2206-21_0_4_load_56 | 63 | 0.0025865 | 0.00064823 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2206-21_0_4_load_52 | 64 | 0.0044697 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2206-21_0_4_load_55 | 67 | 0.0018153 | 0.00045495 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2206-21_0_4_load_85 | 69 | 0.0035685 | 0.00089434 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2206-21_0_4_load_84 | 70 | 0.0024879 | 0.00062352 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2206-21_0_4_load_96 | 71 | 0.008958 | 0.0022451 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2206-21_0_4_load_82 | 73 | 0.0036208 | 0.00090745 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2206-21_0_4_load_65 | 75 | 0.025763 | 0.0064568 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2206-21_0_4_load_66 | 76 | 0.0039656 | 0.00099388 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2206-21_0_4_load_75 | 77 | 0.002596 | 0.00065061 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2206-21_0_4_load_91 | 78 | 0.0025635 | 0.00064247 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2206-21_0_4_load_76 | 79 | 0.0071097 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2206-21_0_4_load_92 | 80 | 0.0026673 | 0.0006685 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2206-21_0_4_load_73 | 82 | 0.0027515 | 0.00068959 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2206-21_0_4_load_77 | 83 | 0.0040245 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2206-21_0_4_load_83 | 84 | 0.0027564 | 0.00069081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2206-21_0_4_load_78 | 85 | 0.0012372 | 0.00031008 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2206-21_0_4_load_80 | 87 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2206-21_0_4_load_93 | 91 | 0.0031612 | 0.00079228 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2206-21_0_4_load_89 | 92 | 0.0022929 | 0.00057464 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2206-21_0_4_load_88 | 93 | 0.0013237 | 0.00033176 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2206-21_0_4_load_90 | 94 | 0.0029031 | 0.00072759 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2206-21_0_4_line_0 |  | 0 | 1 | 0.042302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2206-21_0_4_line_1 |  | 0 | 2 | 0.052255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2206-21_0_4_line_2 |  | 1 | 3 | 0.020916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2206-21_0_4_line_3 |  | 3 | 4 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2206-21_0_4_line_4 |  | 4 | 9 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2206-21_0_4_line_5 |  | 5 | 6 | 0.015404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2206-21_0_4_line_6 |  | 5 | 7 | 0.029869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2206-21_0_4_line_7 |  | 5 | 8 | 0.026938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2206-21_0_4_line_8 |  | 7 | 10 | 0.04 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2206-21_0_4_line_9 |  | 8 | 11 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2206-21_0_4_line_10 |  | 8 | 12 | 0.013466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2206-21_0_4_line_11 |  | 9 | 13 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2206-21_0_4_line_12 |  | 9 | 14 | 0.02083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2206-21_0_4_line_13 |  | 10 | 21 | 0.015323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2206-21_0_4_line_14 |  | 11 | 40 | 0.023025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2206-21_0_4_line_15 |  | 11 | 41 | 0.01753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2206-21_0_4_line_16 |  | 12 | 39 | 0.0194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2206-21_0_4_line_17 |  | 13 | 15 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2206-21_0_4_line_18 |  | 15 | 18 | 0.026613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2206-21_0_4_line_19 |  | 16 | 17 | 0.018884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2206-21_0_4_line_20 |  | 17 | 18 | 0.0010437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2206-21_0_4_line_21 |  | 18 | 31 | 0.025907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2206-21_0_4_line_22 |  | 19 | 20 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2206-21_0_4_line_23 |  | 20 | 29 | 0.026435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2206-21_0_4_line_24 |  | 21 | 22 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2206-21_0_4_line_25 |  | 21 | 23 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2206-21_0_4_line_26 |  | 22 | 24 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2206-21_0_4_line_27 |  | 23 | 25 | 0.00059529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2206-21_0_4_line_28 |  | 24 | 26 | 0.025038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2206-21_0_4_line_29 |  | 24 | 27 | 0.022943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2206-21_0_4_line_30 |  | 25 | 28 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2206-21_0_4_line_31 |  | 27 | 38 | 0.0020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2206-21_0_4_line_32 |  | 28 | 44 | 0.0088901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2206-21_0_4_line_33 |  | 29 | 30 | 0.04629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2206-21_0_4_line_34 |  | 29 | 31 | 0.015948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2206-21_0_4_line_35 |  | 30 | 32 | 0.0022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2206-21_0_4_line_36 |  | 32 | 33 | 0.020355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2206-21_0_4_line_37 |  | 33 | 34 | 0.02785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_2206-21_0_4_line_38 |  | 33 | 35 | 0.0107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_2206-21_0_4_line_39 |  | 34 | 36 | 0.030952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2206-21_0_4_line_40 |  | 34 | 37 | 0.015013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2206-21_0_4_line_41 |  | 35 | 38 | 0.034574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2206-21_0_4_line_42 |  | 36 | 73 | 0.0090988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2206-21_0_4_line_43 |  | 37 | 74 | 0.003191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2206-21_0_4_line_44 |  | 40 | 42 | 0.036393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2206-21_0_4_line_45 |  | 41 | 43 | 0.0065011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2206-21_0_4_line_46 |  | 42 | 45 | 0.00031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2206-21_0_4_line_47 |  | 43 | 51 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2206-21_0_4_line_48 |  | 43 | 52 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2206-21_0_4_line_49 |  | 46 | 47 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2206-21_0_4_line_50 |  | 47 | 48 | 0.057677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2206-21_0_4_line_51 |  | 48 | 49 | 0.050593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2206-21_0_4_line_52 |  | 49 | 50 | 0.054213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2206-21_0_4_line_53 |  | 50 | 54 | 0.029897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2206-21_0_4_line_54 |  | 53 | 54 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2206-21_0_4_line_55 |  | 53 | 55 | 0.012788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2206-21_0_4_line_56 |  | 55 | 56 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2206-21_0_4_line_57 |  | 55 | 57 | 0.01914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2206-21_0_4_line_58 |  | 56 | 58 | 0.025052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_2206-21_0_4_line_59 |  | 56 | 59 | 0.026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2206-21_0_4_line_60 |  | 58 | 60 | 0.058948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2206-21_0_4_line_61 |  | 58 | 61 | 0.032115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2206-21_0_4_line_62 |  | 59 | 62 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2206-21_0_4_line_63 |  | 59 | 63 | 0.022998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2206-21_0_4_line_64 |  | 61 | 72 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_2206-21_0_4_line_65 |  | 62 | 71 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2206-21_0_4_line_66 |  | 63 | 66 | 0.021157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2206-21_0_4_line_67 |  | 64 | 65 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2206-21_0_4_line_68 |  | 64 | 66 | 0.048419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2206-21_0_4_line_69 |  | 65 | 67 | 0.023126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2206-21_0_4_line_70 |  | 66 | 68 | 0.033724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2206-21_0_4_line_71 |  | 68 | 69 | 0.044373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2206-21_0_4_line_72 |  | 69 | 70 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2206-21_0_4_line_73 |  | 70 | 89 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2206-21_0_4_line_74 |  | 72 | 75 | 0.01124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2206-21_0_4_line_75 |  | 72 | 76 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2206-21_0_4_line_76 |  | 73 | 84 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2206-21_0_4_line_77 |  | 74 | 81 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_2206-21_0_4_line_78 |  | 74 | 82 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2206-21_0_4_line_79 |  | 75 | 77 | 0.0074878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_2206-21_0_4_line_80 |  | 76 | 78 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2206-21_0_4_line_81 |  | 77 | 79 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2206-21_0_4_line_82 |  | 78 | 80 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_2206-21_0_4_line_83 |  | 79 | 81 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2206-21_0_4_line_84 |  | 81 | 83 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_2206-21_0_4_line_85 |  | 84 | 88 | 0.047306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_2206-21_0_4_line_86 |  | 85 | 86 | 0.034074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_2206-21_0_4_line_87 |  | 85 | 87 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_2206-21_0_4_line_88 |  | 86 | 88 | 0.026744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2206-21_0_4_line_89 |  | 89 | 90 | 0.004922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_2206-21_0_4_line_90 |  | 90 | 91 | 0.049572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_2206-21_0_4_line_91 |  | 90 | 92 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_2206-21_0_4_line_92 |  | 92 | 93 | 0.0055299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_2206-21_0_4_line_93 |  | 93 | 94 | 0.0045082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2206-21_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 95 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2578643.8864 | 1180884.1646 | 2578643.84 | 1180875.4825 | 2578645.1882 | 1180863.805 | 2578647.1304 | 1180853.804 | 2578650.5983 | 1180842.6544
1 | 2578650.5983 | 1180842.6544 | 2578698.5094 | 1180863.5144
2 | 2578643.8864 | 1180884.1646 | 2578643.955 | 1180896.9488 | 2578644.9183 | 1180905.0229
3 | 2578647.315 | 1180922.4611 | 2578646.7815 | 1180920.6398 | 2578644.9183 | 1180905.0229
4 | 2578656.0114 | 1180947.4763 | 2578650.1834 | 1180932.2781 | 2578647.315 | 1180922.4611
5 | 2578617.6806 | 1180928.1145 | 2578623.9857 | 1180931.4937 | 2578627.5559 | 1180938.9514
6 | 2578617.6806 | 1180928.1145 | 2578612.6721 | 1180932.7571 | 2578593.233 | 1180945.1239
7 | 2578604.7047 | 1180904.4932 | 2578617.6806 | 1180928.1145
8 | 2578593.233 | 1180945.1239 | 2578587.9465 | 1180948.4872 | 2578558.1372 | 1180964.2809
9 | 2578597.823 | 1180891.5334 | 2578604.7047 | 1180904.4932
10 | 2578604.7047 | 1180904.4932 | 2578592.8034 | 1180910.7929
11 | 2578656.0114 | 1180947.4763 | 2578650.4305 | 1180954.3664 | 2578645.7953 | 1180963.032 | 2578638.5628 | 1180971.4955
12 | 2578656.0114 | 1180947.4763 | 2578663.0105 | 1180961.314 | 2578665.7716 | 1180965.8648
13 | 2578544.5974 | 1180971.4547 | 2578558.1372 | 1180964.2809
14 | 2578597.823 | 1180891.5334 | 2578591.6675 | 1180880.8833 | 2578584.3021 | 1180879.9648 | 2578582.8391 | 1180877.0048
15 | 2578597.823 | 1180891.5334 | 2578600.2546 | 1180890.2462 | 2578605.5154 | 1180885.6583 | 2578612.4162 | 1180882.0263
16 | 2578592.8034 | 1180910.7929 | 2578575.6575 | 1180919.8688
17 | 2578638.5628 | 1180971.4955 | 2578641.3574 | 1180995.8728
18 | 2578644.3884 | 1181022.3121 | 2578641.3574 | 1180995.8728
19 | 2578664.2423 | 1181020.5963 | 2578645.4282 | 1181022.2222
20 | 2578644.3884 | 1181022.3121 | 2578645.4282 | 1181022.2222
21 | 2578644.3884 | 1181022.3121 | 2578618.5777 | 1181024.5445
22 | 2578599.8744 | 1180978.0041 | 2578598.4758 | 1180979.8545 | 2578600.2811 | 1180999.5939
23 | 2578602.6886 | 1181025.9188 | 2578600.2811 | 1180999.5939
24 | 2578544.5974 | 1180971.4547 | 2578544.0468 | 1180973.3687 | 2578544.3216 | 1180977.5811 | 2578548.0745 | 1180987.2964
25 | 2578544.5974 | 1180971.4547 | 2578539.1616 | 1180957.4294
26 | 2578553.3485 | 1181000.9496 | 2578548.0745 | 1180987.2964
27 | 2578538.9464 | 1180956.8743 | 2578539.1616 | 1180957.4294
28 | 2578553.3485 | 1181000.9496 | 2578558.275 | 1180999.0087 | 2578565.7075 | 1181014.39 | 2578568.1627 | 1181013.3028
29 | 2578553.3485 | 1181000.9496 | 2578561.6503 | 1181022.342
30 | 2578530.8763 | 1180936.0523 | 2578530.8763 | 1180936.0523 | 2578538.9464 | 1180956.8743
31 | 2578561.6503 | 1181022.342 | 2578562.3747 | 1181024.2082
32 | 2578530.8763 | 1180936.0523 | 2578525.8594 | 1180928.713
33 | 2578602.6886 | 1181025.9188 | 2578584.4192 | 1181027.5074 | 2578587.6785 | 1181055.2679
34 | 2578602.6886 | 1181025.9188 | 2578618.5777 | 1181024.5445
35 | 2578587.9405 | 1181057.4991 | 2578587.6785 | 1181055.2679
36 | 2578587.9405 | 1181057.4991 | 2578583.0436 | 1181063.4087 | 2578577.0248 | 1181067.4101 | 2578571.6058 | 1181068.2967
37 | 2578571.6058 | 1181068.2967 | 2578572.3476 | 1181072.8297 | 2578575.3175 | 1181093.8633 | 2578574.5682 | 1181095.7336
38 | 2578571.6058 | 1181068.2967 | 2578570.6115 | 1181063.6089 | 2578569.8043 | 1181057.756
39 | 2578574.5682 | 1181095.7336 | 2578576.538 | 1181095.5931 | 2578579.8133 | 1181095.359 | 2578580.5081 | 1181095.312 | 2578583.2752 | 1181120.1552
40 | 2578574.5682 | 1181095.7336 | 2578572.9154 | 1181096.9624 | 2578560.1414 | 1181099.1133
41 | 2578569.8043 | 1181057.756 | 2578566.7223 | 1181035.4083 | 2578562.3747 | 1181024.2082
42 | 2578583.2752 | 1181120.1552 | 2578584.2824 | 1181129.1981
43 | 2578556.9946 | 1181099.6431 | 2578560.1414 | 1181099.1133
44 | 2578582.8391 | 1180877.0048 | 2578560.7569 | 1180848.0772
45 | 2578618.1691 | 1180878.9985 | 2578612.4162 | 1180882.0263
46 | 2578560.4698 | 1180848.214 | 2578560.7569 | 1180848.0772
47 | 2578618.1691 | 1180878.9985 | 2578621.3878 | 1180884.2452 | 2578620.1909 | 1180889.0964
48 | 2578628.8135 | 1180865.7424 | 2578626.7447 | 1180874.4988 | 2578618.1691 | 1180878.9985
49 | 2578465.0537 | 1180991.5199 | 2578469.3975 | 1181003.3822
50 | 2578490.8663 | 1181056.9144 | 2578469.3975 | 1181003.3822
51 | 2578490.8663 | 1181056.9144 | 2578480.526 | 1181052.6828 | 2578469.4529 | 1181050.6662 | 2578455.8882 | 1181052.3382 | 2578446.3189 | 1181056.486 | 2578442.6755 | 1181058.2955
52 | 2578394.0386 | 1181082.2438 | 2578431.8883 | 1181063.6529 | 2578442.6755 | 1181058.2955
53 | 2578394.0386 | 1181082.2438 | 2578408.5071 | 1181108.4064
54 | 2578415.3313 | 1181120.7462 | 2578408.5071 | 1181108.4064
55 | 2578421.52 | 1181131.9368 | 2578415.3313 | 1181120.7462
56 | 2578429.8988 | 1181147.0922 | 2578421.52 | 1181131.9368
57 | 2578437.7417 | 1181121.7063 | 2578421.52 | 1181131.9368
58 | 2578450.7962 | 1181133.1873 | 2578429.8988 | 1181147.0922
59 | 2578429.8988 | 1181147.0922 | 2578406.9445 | 1181160.4826
60 | 2578450.7962 | 1181133.1873 | 2578462.0981 | 1181158.4374 | 2578484.5078 | 1181153.0538 | 2578486.5071 | 1181161.1174
61 | 2578450.7962 | 1181133.1873 | 2578478.7711 | 1181117.4143
62 | 2578406.9445 | 1181160.4826 | 2578416.0388 | 1181181.0599
63 | 2578406.9445 | 1181160.4826 | 2578387.0795 | 1181172.0708
64 | 2578490.4634 | 1181112.5225 | 2578482.5464 | 1181115.2857 | 2578478.7711 | 1181117.4143
65 | 2578433.748 | 1181180.9625 | 2578416.0388 | 1181181.0599
66 | 2578368.8042 | 1181182.7317 | 2578387.0795 | 1181172.0708
67 | 2578347.3624 | 1181126.458 | 2578352.7239 | 1181130.7964 | 2578354.5845 | 1181136.4637
68 | 2578368.8042 | 1181182.7317 | 2578364.1525 | 1181165.6063 | 2578354.5845 | 1181136.4637
69 | 2578353.7662 | 1181148.6797 | 2578347.3624 | 1181126.458
70 | 2578368.8042 | 1181182.7317 | 2578366.7809 | 1181195.4678 | 2578366.1164 | 1181199.6613 | 2578365.6684 | 1181202.4866 | 2578364.9816 | 1181206.8247 | 2578373.495 | 1181210.6402
71 | 2578373.495 | 1181210.6402 | 2578400.0909 | 1181222.5835 | 2578414.9612 | 1181225.8229
72 | 2578438.8596 | 1181231.0292 | 2578414.9612 | 1181225.8229
73 | 2578454.1333 | 1181232.5489 | 2578444.3649 | 1181232.2285 | 2578438.8596 | 1181231.0292
74 | 2578490.4634 | 1181112.5225 | 2578501.4069 | 1181109.9593
75 | 2578490.4634 | 1181112.5225 | 2578496.0993 | 1181131.859
76 | 2578584.2824 | 1181129.1981 | 2578584.9429 | 1181135.1279 | 2578585.7623 | 1181150.1996
77 | 2578540.6771 | 1181102.3921 | 2578556.9946 | 1181099.6431
78 | 2578556.9946 | 1181099.6431 | 2578559.098 | 1181116.7665
79 | 2578501.4069 | 1181109.9593 | 2578508.6974 | 1181108.2517
80 | 2578496.0993 | 1181131.859 | 2578501.0608 | 1181148.8818
81 | 2578527.51 | 1181104.6073 | 2578515.9641 | 1181106.5498 | 2578508.6974 | 1181108.2517
82 | 2578506.7864 | 1181168.526 | 2578501.0608 | 1181148.8818
83 | 2578540.6771 | 1181102.3921 | 2578527.51 | 1181104.6073
84 | 2578540.6771 | 1181102.3921 | 2578542.5904 | 1181118.4157
85 | 2578597.7835 | 1181195.6354 | 2578586.3738 | 1181161.4475 | 2578585.7623 | 1181150.1996
86 | 2578572.1989 | 1181203.6646 | 2578563.6948 | 1181170.6692
87 | 2578554.1546 | 1181159.3843 | 2578559.0869 | 1181161.223 | 2578562.4948 | 1181166.0133 | 2578563.6948 | 1181170.6692
88 | 2578597.7835 | 1181195.6354 | 2578572.1989 | 1181203.6646
89 | 2578454.1333 | 1181232.5489 | 2578459.0671 | 1181232.709
90 | 2578459.0671 | 1181232.709 | 2578488.6169 | 1181233.703 | 2578507.8658 | 1181228.2527
91 | 2578459.0671 | 1181232.709 | 2578460.4712 | 1181223.9327 | 2578463.4562 | 1181217.3519 | 2578463.4512 | 1181217.2426
92 | 2578463.1982 | 1181211.7184 | 2578463.4512 | 1181217.2426
93 | 2578462.992 | 1181207.215 | 2578463.1982 | 1181211.7184

## bus_geodata
| x | y | coords
0 | 2578650.5983 | 1180842.6544
1 | 2578643.8864 | 1180884.1646
2 | 2578698.5094 | 1180863.5144
3 | 2578644.9183 | 1180905.0229
4 | 2578647.315 | 1180922.4611
5 | 2578617.6806 | 1180928.1145
6 | 2578627.5559 | 1180938.9514
7 | 2578593.233 | 1180945.1239
8 | 2578604.7047 | 1180904.4932
9 | 2578656.0114 | 1180947.4763
10 | 2578558.1372 | 1180964.2809
11 | 2578597.823 | 1180891.5334
12 | 2578592.8034 | 1180910.7929
13 | 2578638.5628 | 1180971.4955
14 | 2578665.7716 | 1180965.8648
15 | 2578641.3574 | 1180995.8728
16 | 2578664.2423 | 1181020.5963
17 | 2578645.4282 | 1181022.2222
18 | 2578644.3884 | 1181022.3121
19 | 2578599.8744 | 1180978.0041
20 | 2578600.2811 | 1180999.5939
21 | 2578544.5974 | 1180971.4547
22 | 2578548.0745 | 1180987.2964
23 | 2578539.1616 | 1180957.4294
24 | 2578553.3485 | 1181000.9496
25 | 2578538.9464 | 1180956.8743
26 | 2578568.1627 | 1181013.3028
27 | 2578561.6503 | 1181022.342
28 | 2578530.8763 | 1180936.0523
29 | 2578602.6886 | 1181025.9188
30 | 2578587.6785 | 1181055.2679
31 | 2578618.5777 | 1181024.5445
32 | 2578587.9405 | 1181057.4991
33 | 2578571.6058 | 1181068.2967
34 | 2578574.5682 | 1181095.7336
35 | 2578569.8043 | 1181057.756
36 | 2578583.2752 | 1181120.1552
37 | 2578560.1414 | 1181099.1133
38 | 2578562.3747 | 1181024.2082
39 | 2578575.6575 | 1180919.8688
40 | 2578582.8391 | 1180877.0047
41 | 2578612.4162 | 1180882.0263
42 | 2578560.7569 | 1180848.0772
43 | 2578618.1691 | 1180878.9985
44 | 2578525.8594 | 1180928.713
45 | 2578560.4698 | 1180848.214
46 | 2578465.0537 | 1180991.5199
47 | 2578469.3975 | 1181003.3822
48 | 2578490.8663 | 1181056.9144
49 | 2578442.6755 | 1181058.2955
50 | 2578394.0386 | 1181082.2438
51 | 2578620.1909 | 1180889.0964
52 | 2578628.8135 | 1180865.7424
53 | 2578415.3313 | 1181120.7462
54 | 2578408.5071 | 1181108.4064
55 | 2578421.52 | 1181131.9368
56 | 2578429.8988 | 1181147.0922
57 | 2578437.7417 | 1181121.7063
58 | 2578450.7962 | 1181133.1873
59 | 2578406.9445 | 1181160.4826
60 | 2578486.5071 | 1181161.1174
61 | 2578478.7711 | 1181117.4143
62 | 2578416.0388 | 1181181.0599
63 | 2578387.0795 | 1181172.0708
64 | 2578354.5845 | 1181136.4637
65 | 2578347.3624 | 1181126.458
66 | 2578368.8042 | 1181182.7317
67 | 2578353.7662 | 1181148.6797
68 | 2578373.495 | 1181210.6402
69 | 2578414.9612 | 1181225.8229
70 | 2578438.8596 | 1181231.0292
71 | 2578433.748 | 1181180.9625
72 | 2578490.4634 | 1181112.5225
73 | 2578584.2824 | 1181129.1981
74 | 2578556.9947 | 1181099.6431
75 | 2578501.4069 | 1181109.9593
76 | 2578496.0993 | 1181131.859
77 | 2578508.6974 | 1181108.2517
78 | 2578501.0608 | 1181148.8818
79 | 2578527.51 | 1181104.6073
80 | 2578506.7864 | 1181168.526
81 | 2578540.6771 | 1181102.3921
82 | 2578559.098 | 1181116.7665
83 | 2578542.5904 | 1181118.4157
84 | 2578585.7623 | 1181150.1996
85 | 2578563.6948 | 1181170.6692
86 | 2578572.1989 | 1181203.6646
87 | 2578554.1546 | 1181159.3843
88 | 2578597.7835 | 1181195.6353
89 | 2578454.1333 | 1181232.5489
90 | 2578459.0671 | 1181232.709
91 | 2578507.8658 | 1181228.2527
92 | 2578463.4512 | 1181217.2426
93 | 2578463.1982 | 1181211.7184
94 | 2578462.992 | 1181207.215
95 | 2578561.6503 | 1181022.342

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98458 | -0.29664 | 0.0021243 | 0.00053241
1 | 0.98476 | -0.29315 | 0 | 0
2 | 0.98446 | -0.29896 | 0.0024649 | 0.00061775
3 | 0.98485 | -0.29142 | 0.002712 | 0.00067969
4 | 0.98497 | -0.28911 | 0 | 0
5 | 0.99498 | -0.096464 | 0 | 0
6 | 0.99494 | -0.097399 | 0.003446 | 0.00086364
7 | 0.99564 | -0.083841 | 0.0038732 | 0.00097073
8 | 0.99448 | -0.10623 | 0 | 0
9 | 0.98515 | -0.28563 | 0 | 0
10 | 0.99666 | -0.064241 | 0.0057266 | 0.0014352
11 | 0.99428 | -0.11011 | 0 | 0
12 | 0.99441 | -0.10755 | 0.0033832 | 0.00084792
13 | 0.98551 | -0.27857 | 0 | 0
14 | 0.98503 | -0.28783 | 0.0058907 | 0.0014763
15 | 0.98581 | -0.27276 | 0.014618 | 0.0036635
16 | 0.98613 | -0.26654 | 0.01904 | 0.0047719
17 | 0.98646 | -0.2601 | 0.013346 | 0.0033447
18 | 0.98649 | -0.25949 | 0 | 0
19 | 0.9886 | -0.21843 | 0.0028758 | 0.00072073
20 | 0.98866 | -0.2173 | 0.01462 | 0.0036642
21 | 0.99712 | -0.055205 | 0 | 0
22 | 0.99787 | -0.040846 | 0.0040312 | 0.0010103
23 | 0.99691 | -0.05934 | 0.0048222 | 0.0012086
24 | 0.99858 | -0.027192 | 0 | 0
25 | 0.9969 | -0.059453 | 0.0035328 | 0.0008854
26 | 0.99837 | -0.031184 | 0.0091199 | 0.0022857
27 | 0.99989 | -0.0021794 | 0 | 0
28 | 0.99676 | -0.062321 | 0.0037287 | 0.00093451
29 | 0.98908 | -0.20905 | 0 | 0
30 | 0.9932 | -0.1296 | 0.013346 | 0.0033447
31 | 0.98792 | -0.2316 | 0.019036 | 0.0047708
32 | 0.99343 | -0.12523 | 0 | 0
33 | 0.99548 | -0.085742 | 0 | 0
34 | 0.99371 | -0.11956 | 0 | 0
35 | 0.99653 | -0.065888 | 0.010063 | 0.002522
36 | 0.99333 | -0.12692 | 0.0011857 | 0.00029717
37 | 0.99282 | -0.13664 | 0.0023786 | 0.00059613
38 | 1 | 0 | -0.39588 | -0.10071
39 | 0.99437 | -0.1083 | 0.0021859 | 0.00054785
40 | 0.99413 | -0.11289 | 0.0024517 | 0.00061446
41 | 0.99415 | -0.11262 | 0.0028291 | 0.00070905
42 | 0.99399 | -0.11571 | 0.0023583 | 0.00059103
43 | 0.99412 | -0.11323 | 0 | 0
44 | 0.99673 | -0.062881 | 0.0035913 | 0.00090007
45 | 0.99399 | -0.11572 | 0.0020414 | 0.00051162
46 | 0.97151 | -0.55054 | 0.0045266 | 0.0011345
47 | 0.97156 | -0.54949 | 0.029341 | 0.0073537
48 | 0.97338 | -0.51348 | 0.017251 | 0.0043236
49 | 0.9758 | -0.46602 | 0.028602 | 0.0071684
50 | 0.97982 | -0.38723 | 0 | 0
51 | 0.9941 | -0.11364 | 0.0020497 | 0.0005137
52 | 0.99406 | -0.11431 | 0.0032689 | 0.00081928
53 | 0.98314 | -0.32279 | 0.001541 | 0.00038621
54 | 0.98204 | -0.34406 | 0.0038113 | 0.00095521
55 | 0.98416 | -0.30319 | 0 | 0
56 | 0.98561 | -0.27521 | 0 | 0
57 | 0.98407 | -0.30487 | 0.0048799 | 0.001223
58 | 0.98708 | -0.24669 | 0 | 0
59 | 0.9847 | -0.29293 | 0.0035506 | 0.00088987
60 | 0.9868 | -0.25219 | 0.0052122 | 0.0013063
61 | 0.9884 | -0.22139 | 0.0071102 | 0.001782
62 | 0.98451 | -0.29655 | 0 | 0
63 | 0.98417 | -0.30311 | 0.0025865 | 0.00064823
64 | 0.98346 | -0.31699 | 0.0044697 | 0.0011202
65 | 0.98344 | -0.31741 | 0 | 0
66 | 0.98374 | -0.31151 | 0 | 0
67 | 0.9834 | -0.31817 | 0.0018153 | 0.00045495
68 | 0.98325 | -0.32107 | 0 | 0
69 | 0.98261 | -0.33367 | 0.0035685 | 0.00089434
70 | 0.98233 | -0.33905 | 0.0024879 | 0.00062352
71 | 0.98436 | -0.2994 | 0.008958 | 0.0022451
72 | 0.98895 | -0.21085 | 0 | 0
73 | 0.99323 | -0.12889 | 0.0036208 | 0.00090745
74 | 0.99263 | -0.14023 | 0 | 0
75 | 0.98946 | -0.20093 | 0.025763 | 0.0064568
76 | 0.98878 | -0.21415 | 0.0039656 | 0.00099388
77 | 0.98987 | -0.19318 | 0.002596 | 0.00065061
78 | 0.98869 | -0.2158 | 0.0025635 | 0.00064247
79 | 0.99091 | -0.17309 | 0.0071097 | 0.0017819
80 | 0.98864 | -0.21678 | 0.0026673 | 0.0006685
81 | 0.99167 | -0.15855 | 0 | 0
82 | 0.99258 | -0.14107 | 0.0027515 | 0.00068959
83 | 0.99161 | -0.1597 | 0.0040245 | 0.0010086
84 | 0.99306 | -0.13212 | 0.0027564 | 0.00069081
85 | 0.99248 | -0.1434 | 0.0012372 | 0.00031008
86 | 0.99266 | -0.13985 | 0 | 0
87 | 0.99241 | -0.14472 | 0.0046643 | 0.001169
88 | 0.99281 | -0.13705 | 0 | 0
89 | 0.9822 | -0.34174 | 0 | 0
90 | 0.98215 | -0.34261 | 0 | 0
91 | 0.98201 | -0.34544 | 0.0031612 | 0.00079228
92 | 0.98206 | -0.34452 | 0.0022929 | 0.00057464
93 | 0.98203 | -0.34494 | 0.0013237 | 0.00033176
94 | 0.98202 | -0.34518 | 0.0029031 | 0.00072759
95 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0045895 | -0.0011497 | 0.0045902 | 0.0011496 | 7.6311e-07 | -4.9695e-08 | 0.0069359 | 0.0069357 | 0.0069359 | 0.98458 | -0.29664 | 0.98476 | -0.29315 | 1.9055
1 | 0.0024651 | 0.00061726 | -0.0024649 | -0.00061775 | 2.7198e-07 | -4.9043e-07 | 0.0037254 | 0.0037256 | 0.0037256 | 0.98458 | -0.29664 | 0.98446 | -0.29896 | 1.0235
2 | -0.0045902 | -0.0011496 | 0.0045906 | 0.0011496 | 3.773e-07 | -2.4654e-08 | 0.0069357 | 0.0069356 | 0.0069357 | 0.98476 | -0.29315 | 0.98485 | -0.29142 | 1.9054
3 | -0.0073026 | -0.0018293 | 0.0073034 | 0.0018296 | 8.0458e-07 | 2.9063e-07 | 0.011033 | 0.011033 | 0.011033 | 0.98485 | -0.29142 | 0.98497 | -0.28911 | 3.0311
4 | -0.0073034 | -0.0018296 | 0.0073046 | 0.00183 | 1.2098e-06 | 4.3689e-07 | 0.011033 | 0.011033 | 0.011033 | 0.98497 | -0.28911 | 0.98515 | -0.28563 | 3.0311
5 | 0.0034461 | 0.00086354 | -0.003446 | -0.00086364 | 1.5343e-07 | -1.0186e-07 | 0.0051537 | 0.0051538 | 0.0051538 | 0.99498 | -0.096464 | 0.99494 | -0.097399 | 1.4159
6 | -0.02403 | -0.006026 | 0.024044 | 0.0060349 | 1.4467e-05 | 8.8705e-06 | 0.035939 | 0.035938 | 0.035939 | 0.99498 | -0.096464 | 0.99564 | -0.083841 | 9.8732
7 | 0.020584 | 0.0051625 | -0.020574 | -0.0051567 | 9.5735e-06 | 5.7774e-06 | 0.030785 | 0.030785 | 0.030785 | 0.99498 | -0.096464 | 0.99448 | -0.10623 | 8.4574
8 | -0.027918 | -0.0070056 | 0.027944 | 0.0070218 | 2.6117e-05 | 1.6194e-05 | 0.041727 | 0.041727 | 0.041727 | 0.99564 | -0.083841 | 0.99666 | -0.064241 | 11.4635
9 | 0.015005 | 0.0037611 | -0.015002 | -0.0037595 | 2.7724e-06 | 1.5841e-06 | 0.022451 | 0.022451 | 0.022451 | 0.99448 | -0.10623 | 0.99428 | -0.11011 | 6.168
10 | 0.0055696 | 0.0013956 | -0.0055693 | -0.0013956 | 3.5069e-07 | 4.9741e-08 | 0.0083336 | 0.0083336 | 0.0083336 | 0.99448 | -0.10623 | 0.99441 | -0.10755 | 2.2895
11 | -0.013196 | -0.0033065 | 0.0132 | 0.0033089 | 4.4397e-06 | 2.4618e-06 | 0.019931 | 0.019931 | 0.019931 | 0.98515 | -0.28563 | 0.98551 | -0.27857 | 5.4757
12 | 0.0058913 | 0.0014765 | -0.0058907 | -0.0014763 | 6.1852e-07 | 1.3067e-07 | 0.0088985 | 0.0088986 | 0.0088986 | 0.98515 | -0.28563 | 0.98503 | -0.28783 | 2.4447
13 | -0.03367 | -0.008457 | 0.033685 | 0.0084661 | 1.4525e-05 | 9.096e-06 | 0.050277 | 0.050277 | 0.050277 | 0.99666 | -0.064241 | 0.99712 | -0.055205 | 13.8123
14 | 0.0068528 | 0.0017173 | -0.0068519 | -0.001717 | 9.0819e-07 | 2.8266e-07 | 0.010256 | 0.010256 | 0.010256 | 0.99428 | -0.11011 | 0.99413 | -0.11289 | 2.8175
15 | 0.0081491 | 0.0020422 | -0.0081481 | -0.0020418 | 9.7774e-07 | 3.9843e-07 | 0.012196 | 0.012196 | 0.012196 | 0.99428 | -0.11011 | 0.99415 | -0.11262 | 3.3505
16 | 0.002186 | 0.00054765 | -0.0021859 | -0.00054785 | 7.7842e-08 | -2.0185e-07 | 0.003271 | 0.0032711 | 0.0032711 | 0.99441 | -0.10755 | 0.99437 | -0.1083 | 0.89866
17 | -0.0132 | -0.0033089 | 0.013204 | 0.003311 | 3.6553e-06 | 2.0266e-06 | 0.019931 | 0.019931 | 0.019931 | 0.98551 | -0.27857 | 0.98581 | -0.27276 | 5.4756
18 | -0.027821 | -0.0069745 | 0.027839 | 0.0069854 | 1.76e-05 | 1.0925e-05 | 0.041995 | 0.041995 | 0.041995 | 0.98581 | -0.27276 | 0.98649 | -0.25949 | 11.5372
19 | -0.01904 | -0.0047719 | 0.019046 | 0.0047754 | 5.8454e-06 | 3.5e-06 | 0.02873 | 0.02873 | 0.02873 | 0.98613 | -0.26654 | 0.98646 | -0.2601 | 7.893
20 | -0.032391 | -0.0081201 | 0.032392 | 0.0081207 | 9.3441e-07 | 5.847e-07 | 0.048861 | 0.048861 | 0.048861 | 0.98646 | -0.2601 | 0.98649 | -0.25949 | 13.4235
21 | -0.060231 | -0.015106 | 0.060312 | 0.015157 | 8.0198e-05 | 5.0996e-05 | 0.090857 | 0.090857 | 0.090857 | 0.98649 | -0.25949 | 0.98792 | -0.2316 | 24.9607
22 | -0.0028758 | -0.00072073 | 0.0028759 | 0.00072055 | 1.5556e-07 | -1.8435e-07 | 0.0043285 | 0.0043284 | 0.0043285 | 0.9886 | -0.21843 | 0.98866 | -0.2173 | 1.1892
23 | -0.017496 | -0.0043848 | 0.017503 | 0.0043888 | 6.8741e-06 | 4.0603e-06 | 0.026333 | 0.026333 | 0.026333 | 0.98866 | -0.2173 | 0.98908 | -0.20905 | 7.2344
24 | -0.049364 | -0.012397 | 0.049398 | 0.012418 | 3.3846e-05 | 2.1445e-05 | 0.073675 | 0.073675 | 0.073675 | 0.99712 | -0.055205 | 0.99787 | -0.040846 | 20.2405
25 | 0.015679 | 0.0039306 | -0.015676 | -0.0039289 | 3.0883e-06 | 1.7803e-06 | 0.023399 | 0.023399 | 0.023399 | 0.99712 | -0.055205 | 0.99691 | -0.05934 | 6.4282
26 | -0.053429 | -0.013429 | 0.053464 | 0.013451 | 3.4853e-05 | 2.2114e-05 | 0.079687 | 0.079687 | 0.079687 | 0.99787 | -0.040846 | 0.99858 | -0.027192 | 21.8919
27 | 0.010854 | 0.0027203 | -0.010854 | -0.0027203 | 5.8592e-08 | 2.9737e-08 | 0.016201 | 0.016201 | 0.016201 | 0.99691 | -0.05934 | 0.9969 | -0.059453 | 4.4508
28 | 0.0091216 | 0.0022864 | -0.0091199 | -0.0022857 | 1.7347e-06 | 7.8275e-07 | 0.013592 | 0.013593 | 0.013593 | 0.99858 | -0.027192 | 0.99837 | -0.031184 | 3.7342
29 | -0.062586 | -0.015737 | 0.062661 | 0.015785 | 7.486e-05 | 4.761e-05 | 0.093279 | 0.093279 | 0.093279 | 0.99858 | -0.027192 | 0.99989 | -0.0021794 | 25.6261
30 | 0.0073211 | 0.0018349 | -0.0073201 | -0.0018345 | 1e-06 | 3.489e-07 | 0.010928 | 0.010928 | 0.010928 | 0.9969 | -0.059453 | 0.99676 | -0.062321 | 3.0022
31 | -0.062661 | -0.015785 | 0.062667 | 0.015789 | 6.5318e-06 | 4.1541e-06 | 0.093279 | 0.093279 | 0.093279 | 0.99989 | -0.0021794 | 1 | 0 | 25.6261
32 | 0.0035914 | 0.00090001 | -0.0035913 | -0.00090007 | 9.5831e-08 | -5.4541e-08 | 0.0053614 | 0.0053615 | 0.0053615 | 0.99676 | -0.062321 | 0.99673 | -0.062881 | 1.4729
33 | -0.096936 | -0.024371 | 0.097305 | 0.024607 | 0.00036931 | 0.00023576 | 0.14586 | 0.14586 | 0.14586 | 0.98908 | -0.20905 | 0.9932 | -0.1296 | 40.0719
34 | 0.079433 | 0.019982 | -0.079347 | -0.019928 | 8.5446e-05 | 5.4481e-05 | 0.11953 | 0.11953 | 0.11953 | 0.98908 | -0.20905 | 0.98792 | -0.2316 | 32.8375
35 | -0.11065 | -0.027952 | 0.11067 | 0.027966 | 2.3175e-05 | 1.4803e-05 | 0.16586 | 0.16586 | 0.16586 | 0.9932 | -0.1296 | 0.99343 | -0.12523 | 45.5648
36 | -0.11067 | -0.027966 | 0.11088 | 0.028101 | 0.00020997 | 0.00013412 | 0.16586 | 0.16586 | 0.16586 | 0.99343 | -0.12523 | 0.99548 | -0.085742 | 45.5647
37 | 0.20926 | 0.053431 | -0.20892 | -0.053213 | 0.00034137 | 0.00021739 | 0.31314 | 0.31314 | 0.31314 | 0.99548 | -0.085742 | 0.99371 | -0.11956 | 28.6761
38 | -0.32014 | -0.081531 | 0.32045 | 0.081727 | 0.00030688 | 0.00019599 | 0.479 | 0.479 | 0.479 | 0.99548 | -0.085742 | 0.99653 | -0.065888 | 43.8643
39 | 0.013475 | 0.0033789 | -0.01347 | -0.0033763 | 4.7261e-06 | 2.6239e-06 | 0.020179 | 0.020179 | 0.020179 | 0.99371 | -0.11956 | 0.99333 | -0.12692 | 5.5436
40 | 0.19544 | 0.049834 | -0.19528 | -0.049732 | 0.00016107 | 0.0001025 | 0.29296 | 0.29297 | 0.29297 | 0.99371 | -0.11956 | 0.99282 | -0.13664 | 26.8283
41 | -0.33051 | -0.084249 | 0.33157 | 0.084923 | 0.0010548 | 0.00067369 | 0.49402 | 0.49402 | 0.49402 | 0.99653 | -0.065888 | 1 | 0 | 45.2403
42 | 0.012285 | 0.0030791 | -0.012283 | -0.0030785 | 1.1555e-06 | 6.2176e-07 | 0.018403 | 0.018403 | 0.018403 | 0.99333 | -0.12692 | 0.99323 | -0.12889 | 5.0557
43 | 0.1929 | 0.049136 | -0.19287 | -0.049114 | 3.3407e-05 | 2.1257e-05 | 0.2894 | 0.2894 | 0.2894 | 0.99282 | -0.13664 | 0.99263 | -0.14023 | 26.5018
44 | 0.0044002 | 0.0011026 | -0.0043996 | -0.0011026 | 5.92e-07 | -9.2914e-08 | 0.0065862 | 0.0065863 | 0.0065863 | 0.99413 | -0.11289 | 0.99399 | -0.11571 | 1.8094
45 | 0.005319 | 0.0013327 | -0.0053188 | -0.0013327 | 1.5452e-07 | 1.46e-08 | 0.0079612 | 0.0079613 | 0.0079613 | 0.99415 | -0.11262 | 0.99412 | -0.11323 | 2.1872
46 | 0.0020414 | 0.00051161 | -0.0020414 | -0.00051162 | 1.1138e-09 | -3.4101e-09 | 0.003056 | 0.003056 | 0.003056 | 0.99399 | -0.11571 | 0.99399 | -0.11572 | 0.83955
47 | 0.0020497 | 0.00051358 | -0.0020497 | -0.0005137 | 3.9355e-08 | -1.1936e-07 | 0.003068 | 0.0030681 | 0.0030681 | 0.99412 | -0.11323 | 0.9941 | -0.11364 | 0.84288
48 | 0.0032691 | 0.00081914 | -0.0032689 | -0.00081928 | 1.6756e-07 | -1.347e-07 | 0.0048932 | 0.0048933 | 0.0048933 | 0.99412 | -0.11323 | 0.99406 | -0.11431 | 1.3443
49 | -0.0045266 | -0.0011345 | 0.0045268 | 0.0011345 | 2.2772e-07 | -1.0692e-08 | 0.0069332 | 0.0069332 | 0.0069332 | 0.97151 | -0.55054 | 0.97156 | -0.54949 | 1.9047
50 | -0.033868 | -0.0084881 | 0.033927 | 0.0085247 | 5.8196e-05 | 3.653e-05 | 0.051872 | 0.051872 | 0.051872 | 0.97156 | -0.54949 | 0.97338 | -0.51348 | 14.2505
51 | -0.051178 | -0.012848 | 0.051294 | 0.012922 | 0.00011615 | 7.3706e-05 | 0.078244 | 0.078244 | 0.078244 | 0.97338 | -0.51348 | 0.9758 | -0.46602 | 21.4956
52 | -0.079896 | -0.02009 | 0.080198 | 0.020283 | 0.00030189 | 0.00019253 | 0.12186 | 0.12186 | 0.12186 | 0.9758 | -0.46602 | 0.97982 | -0.38723 | 33.4779
53 | -0.080198 | -0.020283 | 0.080365 | 0.020389 | 0.00016648 | 0.00010617 | 0.12186 | 0.12186 | 0.12186 | 0.97982 | -0.38723 | 0.98204 | -0.34406 | 33.4779
54 | 0.084262 | 0.021399 | -0.084176 | -0.021344 | 8.6142e-05 | 5.4953e-05 | 0.12763 | 0.12763 | 0.12763 | 0.98314 | -0.32279 | 0.98204 | -0.34406 | 35.0644
55 | -0.085803 | -0.021785 | 0.085884 | 0.021837 | 8.1001e-05 | 5.1679e-05 | 0.12997 | 0.12997 | 0.12997 | 0.98314 | -0.32279 | 0.98416 | -0.30319 | 35.7051
56 | -0.090764 | -0.02306 | 0.090887 | 0.023138 | 0.00012244 | 7.8143e-05 | 0.13735 | 0.13735 | 0.13735 | 0.98416 | -0.30319 | 0.98561 | -0.27521 | 37.7322
57 | 0.0048803 | 0.001223 | -0.0048799 | -0.001223 | 3.908e-07 | 6.9212e-09 | 0.0073788 | 0.0073789 | 0.0073789 | 0.98416 | -0.30319 | 0.98407 | -0.30487 | 2.0272
58 | -0.12808 | -0.032486 | 0.12826 | 0.032598 | 0.0001759 | 0.00011193 | 0.19351 | 0.19351 | 0.19351 | 0.98561 | -0.27521 | 0.98708 | -0.24669 | 26.5813
59 | 0.037197 | 0.0093482 | -0.037165 | -0.0093284 | 3.1438e-05 | 1.9782e-05 | 0.056167 | 0.056167 | 0.056167 | 0.98561 | -0.27521 | 0.9847 | -0.29293 | 15.4304
60 | 0.0052136 | 0.0013064 | -0.0052122 | -0.0013063 | 1.3655e-06 | 1.2062e-07 | 0.0078593 | 0.0078596 | 0.0078596 | 0.98708 | -0.24669 | 0.9868 | -0.25219 | 2.1592
61 | -0.13347 | -0.033905 | 0.13364 | 0.034008 | 0.00016278 | 0.00010295 | 0.20137 | 0.20137 | 0.20137 | 0.98708 | -0.24669 | 0.9884 | -0.22139 | 18.4405
62 | 0.0089607 | 0.0022463 | -0.0089592 | -0.0022456 | 1.5469e-06 | 7.0391e-07 | 0.013541 | 0.013541 | 0.013541 | 0.9847 | -0.29293 | 0.98451 | -0.29655 | 3.7201
63 | 0.024654 | 0.0061922 | -0.024642 | -0.0061849 | 1.1973e-05 | 7.3705e-06 | 0.03726 | 0.03726 | 0.03726 | 0.9847 | -0.29293 | 0.98417 | -0.30311 | 10.2363
64 | -0.14075 | -0.03579 | 0.14082 | 0.035835 | 7.1508e-05 | 4.5276e-05 | 0.21207 | 0.21207 | 0.21207 | 0.9884 | -0.22139 | 0.98895 | -0.21085 | 19.4207
65 | 0.0089592 | 0.0022456 | -0.008958 | -0.0022451 | 1.2142e-06 | 5.5258e-07 | 0.013541 | 0.013541 | 0.013541 | 0.98451 | -0.29655 | 0.98436 | -0.2994 | 3.7201
66 | 0.022055 | 0.0055366 | -0.022047 | -0.0055313 | 8.8243e-06 | 5.3788e-06 | 0.03335 | 0.03335 | 0.03335 | 0.98417 | -0.30311 | 0.98374 | -0.31151 | 9.162
67 | 0.0018154 | 0.00045455 | -0.0018153 | -0.00045469 | 3.6385e-08 | -1.3991e-07 | 0.0027466 | 0.0027466 | 0.0027466 | 0.98346 | -0.31699 | 0.98344 | -0.31741 | 0.75456
68 | -0.0062851 | -0.0015748 | 0.0062867 | 0.0015752 | 1.6419e-06 | 4.3624e-07 | 0.0095094 | 0.0095092 | 0.0095094 | 0.98346 | -0.31699 | 0.98374 | -0.31151 | 2.6125
69 | 0.0018153 | 0.00045469 | -0.0018153 | -0.00045495 | 6.5425e-08 | -2.5155e-07 | 0.0027466 | 0.0027467 | 0.0027467 | 0.98344 | -0.31741 | 0.9834 | -0.31817 | 0.75459
70 | 0.01576 | 0.003956 | -0.015753 | -0.0039519 | 7.1879e-06 | 4.1723e-06 | 0.023841 | 0.023841 | 0.023841 | 0.98374 | -0.31151 | 0.98325 | -0.32107 | 6.5497
71 | 0.015753 | 0.0039519 | -0.015743 | -0.0039464 | 9.458e-06 | 5.4907e-06 | 0.023841 | 0.023841 | 0.023841 | 0.98325 | -0.32107 | 0.98261 | -0.33367 | 6.5497
72 | 0.012175 | 0.003052 | -0.012172 | -0.0030504 | 3.1178e-06 | 1.6857e-06 | 0.018437 | 0.018437 | 0.018437 | 0.98261 | -0.33367 | 0.98233 | -0.33905 | 5.0652
73 | 0.0096837 | 0.0024268 | -0.0096825 | -0.0024262 | 1.2432e-06 | 6.0064e-07 | 0.014669 | 0.014669 | 0.014669 | 0.98233 | -0.33905 | 0.9822 | -0.34174 | 4.0298
74 | -0.15002 | -0.03814 | 0.15009 | 0.038186 | 7.1705e-05 | 4.5459e-05 | 0.22591 | 0.22591 | 0.22591 | 0.98895 | -0.21085 | 0.98946 | -0.20093 | 20.6881
75 | 0.0091984 | 0.0023054 | -0.009197 | -0.0023047 | 1.4468e-06 | 6.6759e-07 | 0.01384 | 0.013841 | 0.013841 | 0.98895 | -0.21085 | 0.98878 | -0.21415 | 3.8023
76 | 0.0086627 | 0.0021711 | -0.0086614 | -0.0021705 | 1.3302e-06 | 5.7883e-07 | 0.012978 | 0.012978 | 0.012978 | 0.99323 | -0.12889 | 0.99306 | -0.13212 | 3.5655
77 | 0.19012 | 0.048425 | -0.18995 | -0.048318 | 0.00016786 | 0.00010679 | 0.28528 | 0.28528 | 0.28528 | 0.99263 | -0.14023 | 0.99167 | -0.15855 | 26.1241
78 | 0.0027516 | 0.00068943 | -0.0027515 | -0.00068959 | 1.1007e-07 | -1.5255e-07 | 0.0041248 | 0.0041248 | 0.0041248 | 0.99263 | -0.14023 | 0.99258 | -0.14107 | 1.1332
79 | -0.17585 | -0.044643 | 0.17592 | 0.044684 | 6.5559e-05 | 4.1669e-05 | 0.26466 | 0.26466 | 0.26466 | 0.98946 | -0.20093 | 0.98987 | -0.19318 | 24.2361
80 | 0.0052314 | 0.0013108 | -0.005231 | -0.0013108 | 4.1211e-07 | 3.6342e-08 | 0.0078726 | 0.0078727 | 0.0078727 | 0.98878 | -0.21415 | 0.98869 | -0.2158 | 2.1628
81 | -0.17851 | -0.045335 | 0.17868 | 0.045445 | 0.00017284 | 0.00010988 | 0.26856 | 0.26856 | 0.26856 | 0.98987 | -0.19318 | 0.99091 | -0.17309 | 24.5935
82 | 0.0026675 | 0.00066832 | -0.0026673 | -0.0006685 | 1.2367e-07 | -1.8324e-07 | 0.0040146 | 0.0040146 | 0.0040146 | 0.98869 | -0.2158 | 0.98864 | -0.21678 | 1.1029
83 | -0.18579 | -0.047227 | 0.18592 | 0.047309 | 0.00013014 | 8.2772e-05 | 0.27924 | 0.27924 | 0.27924 | 0.99091 | -0.17309 | 0.99167 | -0.15855 | 25.5711
84 | 0.0040247 | 0.0010086 | -0.0040245 | -0.0010086 | 2.2071e-07 | -6.6934e-08 | 0.0060391 | 0.0060392 | 0.0060392 | 0.99167 | -0.15855 | 0.99161 | -0.1597 | 1.6591
85 | 0.005905 | 0.0014797 | -0.0059036 | -0.0014794 | 1.3889e-06 | 2.7699e-07 | 0.0088481 | 0.0088483 | 0.0088483 | 0.99306 | -0.13212 | 0.99281 | -0.13705 | 2.4309
86 | -0.0059019 | -0.0014791 | 0.0059029 | 0.0014793 | 1.0004e-06 | 1.9988e-07 | 0.0088486 | 0.0088484 | 0.0088486 | 0.99248 | -0.1434 | 0.99266 | -0.13985 | 2.4309
87 | 0.0046646 | 0.001169 | -0.0046643 | -0.001169 | 2.9256e-07 | -1.8872e-08 | 0.0069936 | 0.0069937 | 0.0069937 | 0.99248 | -0.1434 | 0.99241 | -0.14472 | 1.9213
88 | -0.0059029 | -0.0014793 | 0.0059036 | 0.0014794 | 7.8521e-07 | 1.5675e-07 | 0.0088484 | 0.0088483 | 0.0088484 | 0.99266 | -0.13985 | 0.99281 | -0.13705 | 2.4309
89 | 0.0096825 | 0.0024262 | -0.0096821 | -0.002426 | 3.9715e-07 | 1.9188e-07 | 0.014669 | 0.014669 | 0.014669 | 0.9822 | -0.34174 | 0.98215 | -0.34261 | 4.0299
90 | 0.0031617 | 0.00079193 | -0.0031612 | -0.00079228 | 4.2653e-07 | -3.5427e-07 | 0.0047899 | 0.0047902 | 0.0047902 | 0.98215 | -0.34261 | 0.98201 | -0.34544 | 1.316
91 | 0.0065204 | 0.0016341 | -0.0065198 | -0.0016339 | 5.9372e-07 | 1.7469e-07 | 0.0098787 | 0.0098788 | 0.0098788 | 0.98215 | -0.34261 | 0.98206 | -0.34452 | 2.714
92 | 0.004227 | 0.0010593 | -0.0042269 | -0.0010593 | 8.5064e-08 | -1.5526e-08 | 0.0064047 | 0.0064047 | 0.0064047 | 0.98206 | -0.34452 | 0.98203 | -0.34494 | 1.7595
93 | 0.0029031 | 0.00072755 | -0.0029031 | -0.00072759 | 3.2714e-08 | -3.6101e-08 | 0.0043989 | 0.004399 | 0.004399 | 0.98203 | -0.34494 | 0.98202 | -0.34518 | 1.2085

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40572 | 0.10318

## res_load
| p_mw | q_mvar
0 | 0.0021243 | 0.00053241
1 | 0.0024649 | 0.00061775
2 | 0.002712 | 0.00067969
3 | 0.003446 | 0.00086364
4 | 0.0038732 | 0.00097073
5 | 0.0057266 | 0.0014352
6 | 0.0033832 | 0.00084792
7 | 0.0058907 | 0.0014763
8 | 0.014618 | 0.0036635
9 | 0.01904 | 0.0047719
10 | 0.013346 | 0.0033447
11 | 0.0028758 | 0.00072073
12 | 0.01462 | 0.0036642
13 | 0.0040312 | 0.0010103
14 | 0.0048222 | 0.0012086
15 | 0.0035328 | 0.0008854
16 | 0.0091199 | 0.0022857
17 | 0.0037287 | 0.00093451
18 | 0.013346 | 0.0033447
19 | 0.019036 | 0.0047708
20 | 0.010063 | 0.002522
21 | 0.0011857 | 0.00029717
22 | 0.0023786 | 0.00059613
23 | 0.0098382 | 0.0024657
24 | 0.0021859 | 0.00054785
25 | 0.0024517 | 0.00061446
26 | 0.0028291 | 0.00070905
27 | 0.0023583 | 0.00059103
28 | 0.0035913 | 0.00090007
29 | 0.0020414 | 0.00051162
30 | 0.0045266 | 0.0011345
31 | 0.029341 | 0.0073537
32 | 0.017251 | 0.0043236
33 | 0.028602 | 0.0071684
34 | 0.0020497 | 0.0005137
35 | 0.0032689 | 0.00081928
36 | 0.001541 | 0.00038621
37 | 0.0038113 | 0.00095521
38 | 0.0048799 | 0.001223
39 | 0.0035506 | 0.00088987
40 | 0.0052122 | 0.0013063
41 | 0.0071102 | 0.001782
42 | 0.0025865 | 0.00064823
43 | 0.0044697 | 0.0011202
44 | 0.0018153 | 0.00045495
45 | 0.0035685 | 0.00089434
46 | 0.0024879 | 0.00062352
47 | 0.008958 | 0.0022451
48 | 0.0036208 | 0.00090745
49 | 0.025763 | 0.0064568
50 | 0.0039656 | 0.00099388
51 | 0.002596 | 0.00065061
52 | 0.0025635 | 0.00064247
53 | 0.0071097 | 0.0017819
54 | 0.0026673 | 0.0006685
55 | 0.0027515 | 0.00068959
56 | 0.0040245 | 0.0010086
57 | 0.0027564 | 0.00069081
58 | 0.0012372 | 0.00031008
59 | 0.0046643 | 0.001169
60 | 0.0031612 | 0.00079228
61 | 0.0022929 | 0.00057464
62 | 0.0013237 | 0.00033176
63 | 0.0029031 | 0.00072759

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1