## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2206-8_1_3_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_2206-8_1_3_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_2206-8_1_3_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_2206-8_1_3_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_2206-8_1_3_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_2206-8_1_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_2206-8_1_3_node_139 | 0.4 | n |  | TRUE
7 | bus_LV_2206-8_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_2206-8_1_3_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_2206-8_1_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_2206-8_1_3_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_2206-8_1_3_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_2206-8_1_3_node_130 | 0.4 | n |  | TRUE
13 | bus_LV_2206-8_1_3_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_2206-8_1_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_2206-8_1_3_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_2206-8_1_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_2206-8_1_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_2206-8_1_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_2206-8_1_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_2206-8_1_3_node_119 | 0.4 | n |  | TRUE
21 | bus_LV_2206-8_1_3_node_112 | 0.4 | n |  | TRUE
22 | bus_LV_2206-8_1_3_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_2206-8_1_3_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_2206-8_1_3_node_129 | 0.4 | n |  | TRUE
25 | bus_LV_2206-8_1_3_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_2206-8_1_3_node_140 | 0.4 | n |  | TRUE
27 | bus_LV_2206-8_1_3_node_127 | 0.4 | n |  | TRUE
28 | bus_LV_2206-8_1_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_2206-8_1_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_2206-8_1_3_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_2206-8_1_3_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_2206-8_1_3_node_141 | 0.4 | n |  | TRUE
33 | bus_LV_2206-8_1_3_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_2206-8_1_3_node_85 | 0.4 | n |  | TRUE
35 | bus_LV_2206-8_1_3_node_77 | 0.4 | n |  | TRUE
36 | bus_LV_2206-8_1_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_2206-8_1_3_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_2206-8_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_2206-8_1_3_node_97 | 0.4 | n |  | TRUE
40 | bus_LV_2206-8_1_3_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_2206-8_1_3_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_2206-8_1_3_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_2206-8_1_3_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_2206-8_1_3_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_2206-8_1_3_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_2206-8_1_3_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_2206-8_1_3_node_128 | 0.4 | n |  | TRUE
48 | bus_LV_2206-8_1_3_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_2206-8_1_3_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_2206-8_1_3_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_2206-8_1_3_node_105 | 0.4 | n |  | TRUE
52 | bus_LV_2206-8_1_3_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_2206-8_1_3_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_2206-8_1_3_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_2206-8_1_3_node_108 | 0.4 | n |  | TRUE
56 | bus_LV_2206-8_1_3_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_2206-8_1_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_2206-8_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_2206-8_1_3_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_2206-8_1_3_node_113 | 0.4 | n |  | TRUE
61 | bus_LV_2206-8_1_3_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_2206-8_1_3_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_2206-8_1_3_node_120 | 0.4 | n |  | TRUE
64 | bus_LV_2206-8_1_3_node_121 | 0.4 | n |  | TRUE
65 | bus_LV_2206-8_1_3_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_2206-8_1_3_node_142 | 0.4 | n |  | TRUE
67 | bus_LV_2206-8_1_3_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_2206-8_1_3_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_2206-8_1_3_node_126 | 0.4 | n |  | TRUE
70 | bus_MV_36_2_node_227 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2206-8_1_3_load_16 | 0 | 0.0023026 | 0.00057708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2206-8_1_3_load_139 | 6 | 0.02705 | 0.0067795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2206-8_1_3_load_138 | 11 | 0.0051547 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2206-8_1_3_load_38 | 13 | 0.018772 | 0.0047046 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2206-8_1_3_load_61 | 15 | 0.0026745 | 0.00067029 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2206-8_1_3_load_60 | 16 | 0.015777 | 0.003954 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2206-8_1_3_load_37 | 17 | 0.026679 | 0.0066864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2206-8_1_3_load_112 | 21 | 0.0031243 | 0.00078302 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2206-8_1_3_load_100 | 22 | 0.0070604 | 0.0017695 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2206-8_1_3_load_129 | 24 | 0.0033307 | 0.00083476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2206-8_1_3_load_140 | 26 | 0.0044131 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2206-8_1_3_load_73 | 28 | 0.011117 | 0.0027861 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2206-8_1_3_load_74 | 29 | 0.008194 | 0.0020536 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2206-8_1_3_load_75 | 30 | 0.012966 | 0.0032496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2206-8_1_3_load_76 | 31 | 0.00098908 | 0.00024789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2206-8_1_3_load_141 | 32 | 0.0061651 | 0.0015451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2206-8_1_3_load_85 | 34 | 0.0038998 | 0.00097737 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2206-8_1_3_load_77 | 35 | 0.0034748 | 0.00087086 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2206-8_1_3_load_78 | 36 | 0.0070633 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2206-8_1_3_load_102 | 40 | 0.0050348 | 0.0012618 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2206-8_1_3_load_98 | 41 | 0.0070614 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2206-8_1_3_load_96 | 42 | 0.015979 | 0.0040047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2206-8_1_3_load_87 | 43 | 0.0024946 | 0.0006252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2206-8_1_3_load_86 | 44 | 0.0023823 | 0.00059707 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2206-8_1_3_load_89 | 46 | 0.0027584 | 0.00069131 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2206-8_1_3_load_128 | 47 | 0.0026853 | 0.000673 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2206-8_1_3_load_101 | 48 | 0.0070668 | 0.0017711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2206-8_1_3_load_103 | 49 | 0.005344 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2206-8_1_3_load_104 | 50 | 0.0023207 | 0.00058161 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2206-8_1_3_load_105 | 51 | 0.0054837 | 0.0013744 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2206-8_1_3_load_107 | 53 | 0.0036178 | 0.00090671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2206-8_1_3_load_108 | 55 | 0.0028598 | 0.00071673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2206-8_1_3_load_118 | 56 | 0.0052596 | 0.0013182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2206-8_1_3_load_109 | 57 | 0.0034401 | 0.00086218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2206-8_1_3_load_110 | 58 | 0.0040135 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2206-8_1_3_load_111 | 59 | 0.0039657 | 0.00099389 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2206-8_1_3_load_113 | 60 | 0.0042667 | 0.0010693 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2206-8_1_3_load_122 | 62 | 0.04983 | 0.012489 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2206-8_1_3_load_120 | 63 | 0.0052298 | 0.0013107 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2206-8_1_3_load_142 | 66 | 0.0040129 | 0.0010057 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2206-8_1_3_load_125 | 67 | 0.0018306 | 0.0004588 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2206-8_1_3_load_124 | 68 | 0.0059758 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2206-8_1_3_load_126 | 69 | 0.0043118 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2206-8_1_3_line_0 |  | 0 | 1 | 0.037188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2206-8_1_3_line_1 |  | 0 | 2 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2206-8_1_3_line_2 |  | 1 | 3 | 0.038003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2206-8_1_3_line_3 |  | 2 | 4 | 0.027065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2206-8_1_3_line_4 |  | 3 | 13 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2206-8_1_3_line_5 |  | 3 | 7 | 0.18805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2206-8_1_3_line_6 |  | 4 | 17 | 0.0079579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2206-8_1_3_line_7 |  | 5 | 6 | 0.022925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2206-8_1_3_line_8 |  | 5 | 7 | 0.051394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2206-8_1_3_line_9 |  | 5 | 8 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2206-8_1_3_line_10 |  | 7 | 9 | 0.033772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2206-8_1_3_line_11 |  | 7 | 10 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_2206-8_1_3_line_12 |  | 8 | 20 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2206-8_1_3_line_13 |  | 8 | 21 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2206-8_1_3_line_14 |  | 9 | 11 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2206-8_1_3_line_15 |  | 9 | 12 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2206-8_1_3_line_16 |  | 10 | 22 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2206-8_1_3_line_17 |  | 10 | 23 | 0.035095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_2206-8_1_3_line_18 |  | 12 | 26 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2206-8_1_3_line_19 |  | 12 | 27 | 0.005986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2206-8_1_3_line_20 |  | 13 | 19 | 0.034166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2206-8_1_3_line_21 |  | 14 | 15 | 0.031324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2206-8_1_3_line_22 |  | 14 | 16 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2206-8_1_3_line_23 |  | 16 | 18 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2206-8_1_3_line_24 |  | 18 | 19 | 0.051131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2206-8_1_3_line_25 |  | 20 | 56 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2206-8_1_3_line_26 |  | 21 | 58 | 0.012948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2206-8_1_3_line_27 |  | 23 | 36 | 0.022547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2206-8_1_3_line_28 |  | 24 | 25 | 0.020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2206-8_1_3_line_29 |  | 25 | 33 | 0.026062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2206-8_1_3_line_30 |  | 25 | 37 | 0.007964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2206-8_1_3_line_31 |  | 27 | 67 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2206-8_1_3_line_32 |  | 27 | 65 | 0.007009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2206-8_1_3_line_33 |  | 28 | 29 | 0.0027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2206-8_1_3_line_34 |  | 28 | 30 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2206-8_1_3_line_35 |  | 29 | 31 | 0.038844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2206-8_1_3_line_36 |  | 30 | 32 | 0.055162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2206-8_1_3_line_37 |  | 31 | 33 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2206-8_1_3_line_38 |  | 33 | 34 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2206-8_1_3_line_39 |  | 34 | 43 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2206-8_1_3_line_40 |  | 35 | 36 | 0.022826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2206-8_1_3_line_41 |  | 35 | 37 | 0.0083819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2206-8_1_3_line_42 |  | 37 | 38 | 0.002255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2206-8_1_3_line_43 |  | 38 | 39 | 0.023963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2206-8_1_3_line_44 |  | 38 | 40 | 0.016859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2206-8_1_3_line_45 |  | 39 | 41 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2206-8_1_3_line_46 |  | 39 | 42 | 0.010094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2206-8_1_3_line_47 |  | 41 | 48 | 0.031143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2206-8_1_3_line_48 |  | 43 | 44 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2206-8_1_3_line_49 |  | 44 | 45 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2206-8_1_3_line_50 |  | 45 | 46 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2206-8_1_3_line_51 |  | 46 | 47 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2206-8_1_3_line_52 |  | 49 | 50 | 0.012354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2206-8_1_3_line_53 |  | 49 | 51 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2206-8_1_3_line_54 |  | 50 | 52 | 0.12031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2206-8_1_3_line_55 |  | 51 | 53 | 0.0084356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2206-8_1_3_line_56 |  | 52 | 54 | 0.091153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2206-8_1_3_line_57 |  | 53 | 55 | 0.026558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2206-8_1_3_line_58 |  | 54 | 56 | 0.02744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2206-8_1_3_line_59 |  | 55 | 57 | 0.009485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2206-8_1_3_line_60 |  | 58 | 59 | 0.010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2206-8_1_3_line_61 |  | 59 | 60 | 0.053085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2206-8_1_3_line_62 |  | 61 | 62 | 0.02007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2206-8_1_3_line_63 |  | 61 | 63 | 0.0003001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2206-8_1_3_line_64 |  | 63 | 64 | 0.025424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2206-8_1_3_line_65 |  | 64 | 65 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2206-8_1_3_line_66 |  | 65 | 66 | 0.024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2206-8_1_3_line_67 |  | 67 | 68 | 0.0052167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2206-8_1_3_line_68 |  | 68 | 69 | 0.0015535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2206-8_1_3_trafo_80 | 0.63 MVA 20/0.4 kV | 70 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2578316.164 | 1180863.135 | 2578323.0767 | 1180855.039 | 2578329.5004 | 1180848.9792 | 2578333.4987 | 1180845.8742 | 2578344.546 | 1180839.7132
1 | 2578365.8138 | 1180829.6931 | 2578361.3652 | 1180830.7654 | 2578350.9143 | 1180836.1616 | 2578344.546 | 1180839.7132
2 | 2578280.9908 | 1180870.3554 | 2578284.7279 | 1180873.1433 | 2578296.5834 | 1180871.7884 | 2578297.7881 | 1180871.2504 | 2578316.164 | 1180863.135
3 | 2578365.8138 | 1180829.6931 | 2578365.1134 | 1180828.206 | 2578385.3693 | 1180818.2719 | 2578387.9231 | 1180816.9843
4 | 2578280.9908 | 1180870.3554 | 2578264.9982 | 1180878.0931
5 | 2578280.9908 | 1180870.3554 | 2578284.7279 | 1180873.1433 | 2578296.5834 | 1180871.7884 | 2578297.7881 | 1180871.2504 | 2578299.2362 | 1180874.658 | 2578297.2394 | 1180875.7881 | 2578287.568 | 1180881.3038 | 2578284.7867 | 1180883.0037 | 2578293.5834 | 1180901.5814 | 2578297.1603 | 1180908.6387 | 2578299.6729 | 1180912.8428 | 2578275.1341 | 1180925.1384 | 2578279.6194 | 1180932.0924 | 2578284.5864 | 1180937.088 | 2578319.2821 | 1180956.2385 | 2578332.0161 | 1180965.4971 | 2578338.3355 | 1180972.8224 | 2578345.7354 | 1180968.5155
6 | 2578387.9231 | 1180816.9843 | 2578391.4987 | 1180824.0937
7 | 2578290.7803 | 1180974.974 | 2578301.7591 | 1180995.1112
8 | 2578301.7591 | 1180995.1112 | 2578338.3355 | 1180972.8224 | 2578345.7354 | 1180968.5155
9 | 2578279.0286 | 1181008.9676 | 2578301.7591 | 1180995.1112
10 | 2578345.7354 | 1180968.5155 | 2578338.3355 | 1180972.8224 | 2578339.7586 | 1180975.6298 | 2578349.7656 | 1180995.2925
11 | 2578345.7354 | 1180968.5155 | 2578333.1113 | 1180960.0569
12 | 2578279.0286 | 1181008.9676 | 2578261.4764 | 1181016.6577
13 | 2578279.0286 | 1181008.9676 | 2578284.6559 | 1181024.9247
14 | 2578349.7656 | 1180995.2925 | 2578335.9254 | 1180998.9446
15 | 2578349.7656 | 1180995.2925 | 2578362.5184 | 1181020.3259
16 | 2578333.1113 | 1180960.0569 | 2578324.4069 | 1180954.23 | 2578323.4024 | 1180946.7964 | 2578324.9973 | 1180944.356 | 2578324.9973 | 1180944.356
17 | 2578333.1113 | 1180960.0569 | 2578335.8088 | 1180956.3008 | 2578343.2411 | 1180952.5052 | 2578363.5998 | 1180943.649
18 | 2578362.5184 | 1181020.3259 | 2578351.4935 | 1181021.0885
19 | 2578362.5184 | 1181020.3259 | 2578365.2336 | 1181025.6633
20 | 2578236.9746 | 1180877.7306 | 2578238.6409 | 1180880.2147 | 2578240.2408 | 1180879.1417 | 2578245.1141 | 1180879.3907 | 2578248.7347 | 1180877.4432 | 2578253.904 | 1180883.4608 | 2578264.9982 | 1180878.0931
21 | 2578299.952 | 1180827.8645 | 2578326.9743 | 1180812.0221
22 | 2578299.952 | 1180827.8645 | 2578289.4903 | 1180834.0203
23 | 2578272.0064 | 1180844.308 | 2578289.4903 | 1180834.0203
24 | 2578236.9746 | 1180877.7306 | 2578238.2163 | 1180876.859 | 2578244.3714 | 1180872.5788 | 2578251.3112 | 1180867.751 | 2578267.5986 | 1180858.6537 | 2578272.0064 | 1180844.308
25 | 2578261.4764 | 1181016.6577 | 2578245.4753 | 1181023.4646
26 | 2578288.9621 | 1181037.1352 | 2578284.6559 | 1181024.9247
27 | 2578363.5998 | 1180943.649 | 2578365.0486 | 1180947.2456 | 2578380.3226 | 1180943.0437 | 2578380.7707 | 1180940.2517
28 | 2578410.8512 | 1180937.686 | 2578391.617 | 1180945.9103
29 | 2578410.8512 | 1180937.686 | 2578430.7226 | 1180929.1987 | 2578435.2272 | 1180928.8378
30 | 2578409.0819 | 1180929.9217 | 2578410.8512 | 1180937.686
31 | 2578365.2336 | 1181025.6633 | 2578374.3231 | 1181021.1854
32 | 2578365.2336 | 1181025.6633 | 2578368.4179 | 1181031.9105
33 | 2578450.3688 | 1180878.329 | 2578447.9627 | 1180879.6081
34 | 2578460.5483 | 1180872.9174 | 2578450.3688 | 1180878.329
35 | 2578439.6272 | 1180909.4199 | 2578433.5713 | 1180895.4153 | 2578433.0958 | 1180890.6146 | 2578435.8319 | 1180886.9472 | 2578444.5258 | 1180881.4352 | 2578447.9627 | 1180879.6081
36 | 2578460.5483 | 1180872.9174 | 2578507.5061 | 1180901.8632
37 | 2578435.2272 | 1180928.8378 | 2578440.5563 | 1180924.1939 | 2578442.5951 | 1180917.7832 | 2578440.9724 | 1180912.5308 | 2578439.6272 | 1180909.4199
38 | 2578435.2272 | 1180928.8378 | 2578439.2263 | 1180930.2018 | 2578442.8785 | 1180932.7899 | 2578445.7565 | 1180940.369
39 | 2578445.7565 | 1180940.369 | 2578449.4329 | 1180950.0504
40 | 2578400.9856 | 1180932.0912 | 2578394.9519 | 1180933.7081 | 2578392.7884 | 1180937.3178 | 2578380.7707 | 1180940.2517 | 2578380.7707 | 1180940.2517
41 | 2578409.0819 | 1180929.9217 | 2578400.9856 | 1180932.0912
42 | 2578408.5852 | 1180927.7224 | 2578409.0819 | 1180929.9217
43 | 2578404.3606 | 1180904.1477 | 2578404.5812 | 1180906.0145 | 2578405.4183 | 1180911.5143 | 2578407.7238 | 1180923.9457 | 2578408.5852 | 1180927.7224
44 | 2578408.5852 | 1180927.7224 | 2578424.3938 | 1180921.8642
45 | 2578404.3606 | 1180904.1477 | 2578385.1341 | 1180913.3264
46 | 2578404.3606 | 1180904.1477 | 2578413.468 | 1180899.7956
47 | 2578385.1341 | 1180913.3264 | 2578357.0293 | 1180926.7437
48 | 2578455.5696 | 1180966.2107 | 2578449.4329 | 1180950.0504
49 | 2578461.6299 | 1180982.17 | 2578455.5696 | 1180966.2107
50 | 2578461.6299 | 1180982.17 | 2578443.4404 | 1180989.9069
51 | 2578425.5168 | 1180997.5306 | 2578443.4404 | 1180989.9069
52 | 2578264.6194 | 1181102.4999 | 2578257.5356 | 1181100.4488 | 2578252.6843 | 1181099.3283
53 | 2578264.6194 | 1181102.4999 | 2578284.568 | 1181108.276
54 | 2578136.3497 | 1181069.8977 | 2578144.6674 | 1181074.3807 | 2578252.6843 | 1181099.3283
55 | 2578292.6707 | 1181110.6221 | 2578284.568 | 1181108.276
56 | 2578220.2248 | 1181034.206 | 2578156.7465 | 1181061.2186 | 2578136.3497 | 1181069.8977
57 | 2578292.6707 | 1181110.6221 | 2578318.1812 | 1181118.0086
58 | 2578220.2248 | 1181034.206 | 2578245.4753 | 1181023.4646
59 | 2578327.2919 | 1181120.6467 | 2578318.1812 | 1181118.0086
60 | 2578288.9621 | 1181037.1352 | 2578292.3594 | 1181046.7689
61 | 2578292.3594 | 1181046.7689 | 2578303.0731 | 1181077.1488 | 2578312.0265 | 1181080.0845 | 2578323.4664 | 1181079.6438
62 | 2578394.0386 | 1181082.2438 | 2578412.0531 | 1181073.3955
63 | 2578394.0386 | 1181082.2438 | 2578393.9025 | 1181081.9764
64 | 2578382.3705 | 1181059.3186 | 2578393.9025 | 1181081.9764
65 | 2578368.4179 | 1181031.9105 | 2578382.3705 | 1181059.3186
66 | 2578368.4179 | 1181031.9105 | 2578365.8475 | 1181041.2247 | 2578366.2912 | 1181047.7709 | 2578365.0426 | 1181048.8204 | 2578359.2114 | 1181051.8542
67 | 2578379.0027 | 1181018.8799 | 2578374.3231 | 1181021.1854
68 | 2578380.3963 | 1181018.1934 | 2578379.0027 | 1181018.8799

## bus_geodata
| x | y | coords
0 | 2578344.546 | 1180839.7132
1 | 2578316.164 | 1180863.135
2 | 2578365.8138 | 1180829.6931
3 | 2578280.9908 | 1180870.3554
4 | 2578387.9231 | 1180816.9843
5 | 2578301.7591 | 1180995.1112
6 | 2578290.7803 | 1180974.974
7 | 2578345.7354 | 1180968.5155
8 | 2578279.0286 | 1181008.9676
9 | 2578349.7656 | 1180995.2925
10 | 2578333.1113 | 1180960.0569
11 | 2578335.9254 | 1180998.9446
12 | 2578362.5184 | 1181020.3259
13 | 2578264.9982 | 1180878.0931
14 | 2578299.952 | 1180827.8645
15 | 2578326.9743 | 1180812.022
16 | 2578289.4903 | 1180834.0203
17 | 2578391.4987 | 1180824.0937
18 | 2578272.0064 | 1180844.308
19 | 2578236.9746 | 1180877.7306
20 | 2578261.4764 | 1181016.6577
21 | 2578284.6559 | 1181024.9247
22 | 2578324.9973 | 1180944.356
23 | 2578363.5998 | 1180943.649
24 | 2578391.617 | 1180945.9103
25 | 2578410.8512 | 1180937.686
26 | 2578351.4935 | 1181021.0885
27 | 2578365.2336 | 1181025.6633
28 | 2578450.3688 | 1180878.329
29 | 2578447.9627 | 1180879.6081
30 | 2578460.5483 | 1180872.9174
31 | 2578439.6272 | 1180909.4199
32 | 2578507.5061 | 1180901.8632
33 | 2578435.2272 | 1180928.8378
34 | 2578445.7565 | 1180940.369
35 | 2578400.9856 | 1180932.0912
36 | 2578380.7707 | 1180940.2517
37 | 2578409.0819 | 1180929.9217
38 | 2578408.5852 | 1180927.7224
39 | 2578404.3606 | 1180904.1477
40 | 2578424.3938 | 1180921.8642
41 | 2578385.1341 | 1180913.3264
42 | 2578413.468 | 1180899.7956
43 | 2578449.4329 | 1180950.0504
44 | 2578455.5696 | 1180966.2107
45 | 2578461.6299 | 1180982.17
46 | 2578443.4404 | 1180989.9069
47 | 2578425.5168 | 1180997.5306
48 | 2578357.0293 | 1180926.7437
49 | 2578264.6194 | 1181102.4999
50 | 2578252.6843 | 1181099.3283
51 | 2578284.568 | 1181108.276
52 | 2578136.3497 | 1181069.8977
53 | 2578292.6707 | 1181110.6221
54 | 2578220.2248 | 1181034.206
55 | 2578318.1812 | 1181118.0086
56 | 2578245.4753 | 1181023.4646
57 | 2578327.2919 | 1181120.6467
58 | 2578288.9621 | 1181037.1352
59 | 2578292.3594 | 1181046.7689
60 | 2578323.4664 | 1181079.6438
61 | 2578394.0386 | 1181082.2438
62 | 2578412.0531 | 1181073.3955
63 | 2578393.9025 | 1181081.9764
64 | 2578382.3705 | 1181059.3186
65 | 2578368.4179 | 1181031.9105
66 | 2578359.2114 | 1181051.8542
67 | 2578374.3231 | 1181021.1854
68 | 2578379.0027 | 1181018.8799
69 | 2578380.3963 | 1181018.1934
70 | 2578364.4614 | 1180943.279

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98132 | -0.35926 | 0.0023026 | 0.00057708
1 | 0.98232 | -0.33977 | 0 | 0
2 | 0.98073 | -0.37068 | 0 | 0
3 | 0.98333 | -0.3199 | 0 | 0
4 | 0.98007 | -0.38377 | 0 | 0
5 | 0.99151 | -0.16231 | 0 | 0
6 | 0.99094 | -0.17331 | 0.02705 | 0.0067795
7 | 0.99485 | -0.098044 | 0 | 0
8 | 0.99045 | -0.18292 | 0 | 0
9 | 0.99234 | -0.1462 | 0 | 0
10 | 0.99637 | -0.069008 | 0 | 0
11 | 0.99228 | -0.1475 | 0.0051547 | 0.0012919
12 | 0.99039 | -0.18386 | 0 | 0
13 | 0.98272 | -0.33182 | 0.018772 | 0.0047046
14 | 0.98089 | -0.36764 | 0 | 0
15 | 0.98082 | -0.36916 | 0.0026745 | 0.00067029
16 | 0.98092 | -0.36705 | 0.015777 | 0.003954
17 | 0.97987 | -0.38762 | 0.026679 | 0.0066864
18 | 0.98127 | -0.36028 | 0 | 0
19 | 0.98214 | -0.34321 | 0 | 0
20 | 0.98995 | -0.19255 | 0 | 0
21 | 0.99021 | -0.18754 | 0.0031243 | 0.00078302
22 | 0.99623 | -0.071598 | 0.0070604 | 0.0017695
23 | 1 | 0 | -0.33263 | -0.08431
24 | 0.99471 | -0.10151 | 0.0033307 | 0.00083476
25 | 0.99477 | -0.10028 | 0 | 0
26 | 0.99035 | -0.18472 | 0.0044131 | 0.001106
27 | 0.99 | -0.19143 | 0 | 0
28 | 0.99123 | -0.16867 | 0.011117 | 0.0027861
29 | 0.99131 | -0.1672 | 0.008194 | 0.0020536
30 | 0.99103 | -0.17258 | 0.012966 | 0.0032496
31 | 0.99268 | -0.14075 | 0.00098908 | 0.00024789
32 | 0.99072 | -0.17862 | 0.0061651 | 0.0015451
33 | 0.99349 | -0.12495 | 0 | 0
34 | 0.99328 | -0.12917 | 0.0038998 | 0.00097737
35 | 0.99589 | -0.078711 | 0.0034748 | 0.00087086
36 | 0.99789 | -0.040435 | 0.0070633 | 0.0017702
37 | 0.99519 | -0.092292 | 0 | 0
38 | 0.99512 | -0.093687 | 0 | 0
39 | 0.99446 | -0.10639 | 0 | 0
40 | 0.99504 | -0.095181 | 0.0050348 | 0.0012618
41 | 0.99418 | -0.1117 | 0.0070614 | 0.0017697
42 | 0.99431 | -0.10924 | 0.015979 | 0.0040047
43 | 0.99318 | -0.13106 | 0.0024946 | 0.0006252
44 | 0.99305 | -0.13345 | 0.0023823 | 0.00059707
45 | 0.99297 | -0.13509 | 0 | 0
46 | 0.99287 | -0.13699 | 0.0027584 | 0.00069131
47 | 0.99282 | -0.13792 | 0.0026853 | 0.000673
48 | 0.99398 | -0.11558 | 0.0070668 | 0.0017711
49 | 0.98418 | -0.30455 | 0.005344 | 0.0013393
50 | 0.98441 | -0.29994 | 0.0023207 | 0.00058161
51 | 0.98388 | -0.31031 | 0.0054837 | 0.0013744
52 | 0.98697 | -0.25015 | 0 | 0
53 | 0.98381 | -0.31182 | 0.0036178 | 0.00090671
54 | 0.98891 | -0.21259 | 0 | 0
55 | 0.98365 | -0.31483 | 0.0028598 | 0.00071673
56 | 0.98949 | -0.20131 | 0.0052596 | 0.0013182
57 | 0.98362 | -0.31542 | 0.0034401 | 0.00086218
58 | 0.99006 | -0.19036 | 0.0040135 | 0.0010059
59 | 0.98998 | -0.19185 | 0.0039657 | 0.00099389
60 | 0.98978 | -0.19588 | 0.0042667 | 0.0010693
61 | 0.98676 | -0.25426 | 0 | 0
62 | 0.98584 | -0.27218 | 0.04983 | 0.012489
63 | 0.98678 | -0.25399 | 0.0052298 | 0.0013107
64 | 0.98806 | -0.22897 | 0 | 0
65 | 0.98962 | -0.1988 | 0 | 0
66 | 0.98953 | -0.20054 | 0.0040129 | 0.0010057
67 | 0.98989 | -0.19361 | 0.0018306 | 0.0004588
68 | 0.98984 | -0.19457 | 0.0059758 | 0.0014977
69 | 0.98983 | -0.19469 | 0.0043118 | 0.0010806
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.029018 | -0.0072859 | 0.029045 | 0.0073027 | 2.7005e-05 | 1.6813e-05 | 0.044006 | 0.044006 | 0.044006 | 0.98132 | -0.35926 | 0.98232 | -0.33977 | 12.0895
1 | 0.026715 | 0.0067088 | -0.026701 | -0.0066998 | 1.4545e-05 | 9.0102e-06 | 0.040514 | 0.040514 | 0.040514 | 0.98132 | -0.35926 | 0.98073 | -0.37068 | 11.1303
2 | -0.029045 | -0.0073027 | 0.029072 | 0.0073199 | 2.7597e-05 | 1.718e-05 | 0.044006 | 0.044005 | 0.044006 | 0.98232 | -0.33977 | 0.98333 | -0.3199 | 12.0894
3 | 0.026701 | 0.0066998 | -0.026684 | -0.0066894 | 1.6659e-05 | 1.0321e-05 | 0.040514 | 0.040514 | 0.040514 | 0.98073 | -0.37068 | 0.98007 | -0.38377 | 11.1303
4 | 0.037275 | 0.0093604 | -0.037254 | -0.009347 | 2.1202e-05 | 1.3344e-05 | 0.056413 | 0.056413 | 0.056413 | 0.98333 | -0.3199 | 0.98272 | -0.33182 | 15.498
5 | -0.066348 | -0.01668 | 0.067059 | 0.017133 | 0.00071108 | 0.00045268 | 0.10042 | 0.10042 | 0.10042 | 0.98333 | -0.3199 | 0.99485 | -0.098044 | 27.5874
6 | 0.026684 | 0.0066894 | -0.026679 | -0.0066864 | 4.8984e-06 | 3.0347e-06 | 0.040514 | 0.040514 | 0.040514 | 0.98007 | -0.38377 | 0.97987 | -0.38762 | 11.1304
7 | 0.027065 | 0.0067883 | -0.02705 | -0.0067795 | 1.4184e-05 | 8.7824e-06 | 0.040619 | 0.040619 | 0.040619 | 0.99151 | -0.16231 | 0.99094 | -0.17331 | 11.1592
8 | -0.070955 | -0.017858 | 0.071173 | 0.017997 | 0.00021865 | 0.00013927 | 0.10651 | 0.10651 | 0.10651 | 0.99151 | -0.16231 | 0.99485 | -0.098044 | 29.2616
9 | 0.04389 | 0.011069 | -0.043847 | -0.011042 | 4.3255e-05 | 2.7341e-05 | 0.065893 | 0.065893 | 0.065893 | 0.99151 | -0.16231 | 0.99045 | -0.18292 | 18.1025
10 | 0.081321 | 0.020597 | -0.081133 | -0.020478 | 0.0001876 | 0.00011963 | 0.12171 | 0.12171 | 0.12171 | 0.99485 | -0.098044 | 0.99234 | -0.1462 | 33.4369
11 | -0.21955 | -0.055727 | 0.21986 | 0.055923 | 0.00030714 | 0.00019618 | 0.32864 | 0.32864 | 0.32864 | 0.99485 | -0.098044 | 0.99637 | -0.069008 | 45.1427
12 | 0.02847 | 0.0071871 | -0.028457 | -0.007179 | 1.3127e-05 | 8.1553e-06 | 0.042791 | 0.042791 | 0.042791 | 0.99045 | -0.18292 | 0.98995 | -0.19255 | 11.7559
13 | 0.015377 | 0.003855 | -0.015373 | -0.0038531 | 3.3863e-06 | 1.9495e-06 | 0.023102 | 0.023102 | 0.023102 | 0.99045 | -0.18292 | 0.99021 | -0.18754 | 6.3467
14 | 0.005155 | 0.0012919 | -0.0051547 | -0.0012919 | 3.1986e-07 | 2.0303e-08 | 0.0077299 | 0.00773 | 0.00773 | 0.99234 | -0.1462 | 0.99228 | -0.1475 | 2.1236
15 | 0.075978 | 0.019186 | -0.075841 | -0.019098 | 0.00013682 | 8.72e-05 | 0.11398 | 0.11398 | 0.11398 | 0.99234 | -0.1462 | 0.99039 | -0.18386 | 31.3133
16 | 0.0070613 | 0.0017698 | -0.0070604 | -0.0017695 | 8.7125e-07 | 2.8554e-07 | 0.010546 | 0.010546 | 0.010546 | 0.99637 | -0.069008 | 0.99623 | -0.071598 | 2.8972
17 | -0.22692 | -0.057693 | 0.22768 | 0.058177 | 0.00075704 | 0.00048359 | 0.33918 | 0.33918 | 0.33918 | 0.99637 | -0.069008 | 1 | 0 | 46.5913
18 | 0.0044133 | 0.001106 | -0.0044131 | -0.001106 | 1.8168e-07 | -2.5518e-08 | 0.0066307 | 0.0066308 | 0.0066308 | 0.99039 | -0.18386 | 0.99035 | -0.18472 | 1.8216
19 | 0.071428 | 0.017992 | -0.071402 | -0.017976 | 2.5868e-05 | 1.6479e-05 | 0.10735 | 0.10735 | 0.10735 | 0.99039 | -0.18386 | 0.99 | -0.19143 | 29.4917
20 | 0.018482 | 0.0046424 | -0.018472 | -0.0046364 | 1.0037e-05 | 5.9912e-06 | 0.027989 | 0.027989 | 0.027989 | 0.98272 | -0.33182 | 0.98214 | -0.34321 | 7.6894
21 | 0.0026747 | 0.00067001 | -0.0026745 | -0.00067029 | 1.9338e-07 | -2.716e-07 | 0.0040574 | 0.0040575 | 0.0040575 | 0.98089 | -0.36764 | 0.98082 | -0.36916 | 1.1147
22 | -0.0026747 | -0.00067001 | 0.0026747 | 0.00066991 | 7.4933e-08 | -1.0527e-07 | 0.0040574 | 0.0040573 | 0.0040574 | 0.98089 | -0.36764 | 0.98092 | -0.36705 | 1.1147
23 | -0.018451 | -0.0046239 | 0.018457 | 0.0046275 | 5.9597e-06 | 3.5581e-06 | 0.02799 | 0.02799 | 0.02799 | 0.98092 | -0.36705 | 0.98127 | -0.36028 | 7.6895
24 | -0.018457 | -0.0046275 | 0.018472 | 0.0046364 | 1.5021e-05 | 8.9673e-06 | 0.02799 | 0.027989 | 0.02799 | 0.98127 | -0.36028 | 0.98214 | -0.34321 | 7.6895
25 | 0.028457 | 0.007179 | -0.028445 | -0.0071715 | 1.194e-05 | 7.4183e-06 | 0.042791 | 0.042792 | 0.042792 | 0.98995 | -0.19255 | 0.98949 | -0.20131 | 11.7559
26 | 0.012249 | 0.0030701 | -0.012247 | -0.0030692 | 1.645e-06 | 8.863e-07 | 0.018407 | 0.018407 | 0.018407 | 0.99021 | -0.18754 | 0.99006 | -0.19036 | 5.0568
27 | 0.1033 | 0.026134 | -0.1031 | -0.026006 | 0.0002 | 0.00012771 | 0.1538 | 0.1538 | 0.1538 | 1 | 0 | 0.99789 | -0.040435 | 42.2532
28 | -0.0033307 | -0.00083476 | 0.0033309 | 0.00083461 | 1.9474e-07 | -1.4693e-07 | 0.0049825 | 0.0049824 | 0.0049825 | 0.99471 | -0.10151 | 0.99477 | -0.10028 | 1.3688
29 | 0.053806 | 0.013542 | -0.053743 | -0.013502 | 6.3341e-05 | 4.0201e-05 | 0.080505 | 0.080505 | 0.080505 | 0.99477 | -0.10028 | 0.99349 | -0.12495 | 22.1168
30 | -0.057137 | -0.014377 | 0.057159 | 0.014391 | 2.1826e-05 | 1.3865e-05 | 0.085488 | 0.085488 | 0.085488 | 0.99477 | -0.10028 | 0.99519 | -0.092292 | 23.4856
31 | 0.01212 | 0.003038 | -0.012119 | -0.0030373 | 1.261e-06 | 6.7677e-07 | 0.018217 | 0.018217 | 0.018217 | 0.99 | -0.19143 | 0.98989 | -0.19361 | 5.0047
32 | 0.059282 | 0.014938 | -0.059261 | -0.014925 | 2.0881e-05 | 1.3274e-05 | 0.089133 | 0.089133 | 0.089133 | 0.99 | -0.19143 | 0.98962 | -0.1988 | 24.487
33 | -0.030253 | -0.0075834 | 0.030255 | 0.0075847 | 2.1077e-06 | 1.3138e-06 | 0.045416 | 0.045416 | 0.045416 | 0.99123 | -0.16867 | 0.99131 | -0.1672 | 12.4769
34 | 0.019136 | 0.0047973 | -0.019133 | -0.0047951 | 3.5678e-06 | 2.1348e-06 | 0.028728 | 0.028728 | 0.028728 | 0.99123 | -0.16867 | 0.99103 | -0.17258 | 7.8922
35 | -0.038449 | -0.0096383 | 0.038498 | 0.0096689 | 4.8522e-05 | 3.0553e-05 | 0.057715 | 0.057715 | 0.057715 | 0.99131 | -0.1672 | 0.99268 | -0.14075 | 15.8559
36 | 0.0061669 | 0.0015455 | -0.0061651 | -0.0015451 | 1.7736e-06 | 4.2456e-07 | 0.0092595 | 0.0092597 | 0.0092597 | 0.99103 | -0.17258 | 0.99072 | -0.17862 | 2.5439
37 | -0.039487 | -0.0099168 | 0.039517 | 0.0099355 | 2.9808e-05 | 1.8784e-05 | 0.059198 | 0.059198 | 0.059198 | 0.99268 | -0.14075 | 0.99349 | -0.12495 | 16.2632
38 | 0.014226 | 0.0035663 | -0.014223 | -0.0035647 | 2.8618e-06 | 1.6139e-06 | 0.021308 | 0.021308 | 0.021308 | 0.99349 | -0.12495 | 0.99328 | -0.12917 | 5.8537
39 | 0.010323 | 0.0025873 | -0.010322 | -0.0025869 | 9.2885e-07 | 4.6044e-07 | 0.015465 | 0.015465 | 0.015465 | 0.99328 | -0.12917 | 0.99318 | -0.13106 | 4.2488
40 | -0.095863 | -0.024124 | 0.096039 | 0.024236 | 0.0001757 | 0.00011215 | 0.14327 | 0.14327 | 0.14327 | 0.99589 | -0.078711 | 0.99789 | -0.040435 | 39.3597
41 | 0.092389 | 0.023253 | -0.092329 | -0.023214 | 5.9927e-05 | 3.8244e-05 | 0.13808 | 0.13808 | 0.13808 | 0.99589 | -0.078711 | 0.99519 | -0.092292 | 37.9334
42 | 0.03517 | 0.0088239 | -0.035168 | -0.0088225 | 2.3387e-06 | 1.4675e-06 | 0.05259 | 0.05259 | 0.05259 | 0.99519 | -0.092292 | 0.99512 | -0.093687 | 14.4478
43 | 0.030132 | 0.0075606 | -0.030114 | -0.0075493 | 1.8246e-05 | 1.1366e-05 | 0.045061 | 0.045061 | 0.045061 | 0.99512 | -0.093687 | 0.99446 | -0.10639 | 12.3794
44 | 0.0050351 | 0.0012618 | -0.0050348 | -0.0012618 | 3.5839e-07 | 1.0362e-08 | 0.0075291 | 0.0075292 | 0.0075292 | 0.99512 | -0.093687 | 0.99504 | -0.095181 | 2.0685
45 | 0.014133 | 0.0035433 | -0.014129 | -0.0035413 | 3.5731e-06 | 2.0105e-06 | 0.021148 | 0.021148 | 0.021148 | 0.99446 | -0.10639 | 0.99418 | -0.1117 | 5.8099
46 | 0.015981 | 0.004006 | -0.015979 | -0.0040047 | 2.1645e-06 | 1.2543e-06 | 0.023913 | 0.023913 | 0.023913 | 0.99446 | -0.10639 | 0.99431 | -0.10924 | 6.5695
47 | 0.0070681 | 0.0017715 | -0.0070668 | -0.0017711 | 1.307e-06 | 4.3275e-07 | 0.010579 | 0.010579 | 0.010579 | 0.99418 | -0.1117 | 0.99398 | -0.11558 | 2.9064
48 | 0.0078279 | 0.0019617 | -0.007827 | -0.0019613 | 8.9162e-07 | 3.4697e-07 | 0.011728 | 0.011728 | 0.011728 | 0.99318 | -0.13106 | 0.99305 | -0.13345 | 3.222
49 | 0.0054447 | 0.0013642 | -0.0054443 | -0.0013642 | 4.2609e-07 | 5.1856e-08 | 0.0081583 | 0.0081584 | 0.0081584 | 0.99305 | -0.13345 | 0.99297 | -0.13509 | 2.2413
50 | 0.0054443 | 0.0013642 | -0.0054438 | -0.0013641 | 4.9338e-07 | 6.0096e-08 | 0.0081584 | 0.0081585 | 0.0081585 | 0.99297 | -0.13509 | 0.99287 | -0.13699 | 2.2413
51 | 0.0026854 | 0.00067282 | -0.0026853 | -0.000673 | 1.1831e-07 | -1.7617e-07 | 0.0040246 | 0.0040246 | 0.0040246 | 0.99287 | -0.13699 | 0.99282 | -0.13792 | 1.1057
52 | -0.020751 | -0.0052023 | 0.020756 | 0.005205 | 4.5605e-06 | 2.7617e-06 | 0.031375 | 0.031375 | 0.031375 | 0.98418 | -0.30455 | 0.98441 | -0.29994 | 8.6196
53 | 0.015407 | 0.0038629 | -0.015403 | -0.0038605 | 4.2264e-06 | 2.4411e-06 | 0.023296 | 0.023296 | 0.023296 | 0.98418 | -0.30455 | 0.98388 | -0.31031 | 6.3999
54 | -0.023077 | -0.0057867 | 0.023132 | 0.0058203 | 5.4898e-05 | 3.3601e-05 | 0.034883 | 0.034883 | 0.034883 | 0.98441 | -0.29994 | 0.98697 | -0.25015 | 9.5833
55 | 0.0099194 | 0.0024861 | -0.0099187 | -0.0024858 | 7.1195e-07 | 3.4853e-07 | 0.015002 | 0.015002 | 0.015002 | 0.98388 | -0.31031 | 0.98381 | -0.31182 | 4.1215
56 | -0.023132 | -0.0058203 | 0.023173 | 0.0058457 | 4.1593e-05 | 2.5452e-05 | 0.034883 | 0.034882 | 0.034883 | 0.98697 | -0.25015 | 0.98891 | -0.21259 | 9.5831
57 | 0.0063009 | 0.0015791 | -0.0063 | -0.0015788 | 9.0456e-07 | 2.4174e-07 | 0.0095302 | 0.0095303 | 0.0095303 | 0.98381 | -0.31182 | 0.98365 | -0.31483 | 2.6182
58 | -0.023173 | -0.0058457 | 0.023186 | 0.0058534 | 1.2521e-05 | 7.6609e-06 | 0.034882 | 0.034882 | 0.034882 | 0.98891 | -0.21259 | 0.98949 | -0.20131 | 9.583
59 | 0.0034402 | 0.00086212 | -0.0034401 | -0.00086218 | 9.6333e-08 | -5.8744e-08 | 0.0052042 | 0.0052042 | 0.0052042 | 0.98365 | -0.31483 | 0.98362 | -0.31542 | 1.4297
60 | 0.0082338 | 0.0020633 | -0.0082332 | -0.0020631 | 5.8662e-07 | 2.4408e-07 | 0.012375 | 0.012375 | 0.012375 | 0.99006 | -0.19036 | 0.98998 | -0.19185 | 3.3997
61 | 0.0042675 | 0.0010692 | -0.0042667 | -0.0010693 | 8.1904e-07 | -1.5822e-07 | 0.0064142 | 0.0064145 | 0.0064145 | 0.98998 | -0.19185 | 0.98978 | -0.19588 | 1.7622
62 | 0.049872 | 0.012516 | -0.04983 | -0.012489 | 4.2576e-05 | 2.6992e-05 | 0.075212 | 0.075212 | 0.075212 | 0.98676 | -0.25426 | 0.98584 | -0.27218 | 20.6627
63 | -0.049872 | -0.012516 | 0.049873 | 0.012516 | 6.3661e-07 | 4.036e-07 | 0.075212 | 0.075212 | 0.075212 | 0.98676 | -0.25426 | 0.98678 | -0.25399 | 20.6627
64 | -0.055103 | -0.013827 | 0.055169 | 0.013868 | 6.5835e-05 | 4.1809e-05 | 0.083099 | 0.083098 | 0.083099 | 0.98678 | -0.25399 | 0.98806 | -0.22897 | 22.8293
65 | -0.055169 | -0.013868 | 0.055248 | 0.013919 | 7.9609e-05 | 5.0555e-05 | 0.083098 | 0.083098 | 0.083098 | 0.98806 | -0.22897 | 0.98962 | -0.1988 | 22.8292
66 | 0.0040133 | 0.0010056 | -0.0040129 | -0.0010057 | 3.3334e-07 | -1.0027e-07 | 0.0060344 | 0.0060345 | 0.0060345 | 0.98962 | -0.1988 | 0.98953 | -0.20054 | 1.6578
67 | 0.010288 | 0.0025785 | -0.010288 | -0.0025783 | 4.6789e-07 | 2.3239e-07 | 0.015465 | 0.015465 | 0.015465 | 0.98989 | -0.19361 | 0.98984 | -0.19457 | 4.2487
68 | 0.0043119 | 0.0010806 | -0.0043118 | -0.0010806 | 2.4477e-08 | -4.3033e-09 | 0.006482 | 0.006482 | 0.006482 | 0.98984 | -0.19457 | 0.98983 | -0.19469 | 1.7808

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33263 | 0.08431

## res_load
| p_mw | q_mvar
0 | 0.0023026 | 0.00057708
1 | 0.02705 | 0.0067795
2 | 0.0051547 | 0.0012919
3 | 0.018772 | 0.0047046
4 | 0.0026745 | 0.00067029
5 | 0.015777 | 0.003954
6 | 0.026679 | 0.0066864
7 | 0.0031243 | 0.00078302
8 | 0.0070604 | 0.0017695
9 | 0.0033307 | 0.00083476
10 | 0.0044131 | 0.001106
11 | 0.011117 | 0.0027861
12 | 0.008194 | 0.0020536
13 | 0.012966 | 0.0032496
14 | 0.00098908 | 0.00024789
15 | 0.0061651 | 0.0015451
16 | 0.0038998 | 0.00097737
17 | 0.0034748 | 0.00087086
18 | 0.0070633 | 0.0017702
19 | 0.0050348 | 0.0012618
20 | 0.0070614 | 0.0017697
21 | 0.015979 | 0.0040047
22 | 0.0024946 | 0.0006252
23 | 0.0023823 | 0.00059707
24 | 0.0027584 | 0.00069131
25 | 0.0026853 | 0.000673
26 | 0.0070668 | 0.0017711
27 | 0.005344 | 0.0013393
28 | 0.0023207 | 0.00058161
29 | 0.0054837 | 0.0013744
30 | 0.0036178 | 0.00090671
31 | 0.0028598 | 0.00071673
32 | 0.0052596 | 0.0013182
33 | 0.0034401 | 0.00086218
34 | 0.0040135 | 0.0010059
35 | 0.0039657 | 0.00099389
36 | 0.0042667 | 0.0010693
37 | 0.04983 | 0.012489
38 | 0.0052298 | 0.0013107
39 | 0.0040129 | 0.0010057
40 | 0.0018306 | 0.0004588
41 | 0.0059758 | 0.0014977
42 | 0.0043118 | 0.0010806

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1