## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2233-5_1_3_node_51 | 0.4 | n |  | TRUE
1 | bus_LV_2233-5_1_3_node_52 | 0.4 | n |  | TRUE
2 | bus_LV_2233-5_1_3_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_2233-5_1_3_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_2233-5_1_3_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_2233-5_1_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_2233-5_1_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2233-5_1_3_node_77 | 0.4 | n |  | TRUE
8 | bus_LV_2233-5_1_3_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_2233-5_1_3_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_2233-5_1_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_2233-5_1_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_2233-5_1_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_2233-5_1_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_2233-5_1_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_2233-5_1_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_2233-5_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2233-5_1_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_2233-5_1_3_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_2233-5_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_2233-5_1_3_node_100 | 0.4 | n |  | TRUE
21 | bus_LV_2233-5_1_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_2233-5_1_3_node_98 | 0.4 | n |  | TRUE
23 | bus_LV_2233-5_1_3_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_2233-5_1_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_2233-5_1_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_2233-5_1_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_2233-5_1_3_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_2233-5_1_3_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_2233-5_1_3_node_118 | 0.4 | n |  | TRUE
30 | bus_LV_2233-5_1_3_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_2233-5_1_3_node_119 | 0.4 | n |  | TRUE
32 | bus_LV_2233-5_1_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_2233-5_1_3_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_2233-5_1_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_2233-5_1_3_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_2233-5_1_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_2233-5_1_3_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_2233-5_1_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_2233-5_1_3_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_2233-5_1_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_2233-5_1_3_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_2233-5_1_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_2233-5_1_3_node_111 | 0.4 | n |  | TRUE
44 | bus_LV_2233-5_1_3_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_2233-5_1_3_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_2233-5_1_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_2233-5_1_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_2233-5_1_3_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_2233-5_1_3_node_116 | 0.4 | n |  | TRUE
50 | bus_LV_2233-5_1_3_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_2233-5_1_3_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_2233-5_1_3_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_2233-5_1_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_2233-5_1_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_2233-5_1_3_node_76 | 0.4 | n |  | TRUE
56 | bus_LV_2233-5_1_3_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_2233-5_1_3_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_2233-5_1_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_2233-5_1_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_2233-5_1_3_node_125 | 0.4 | n |  | TRUE
61 | bus_LV_2233-5_1_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_2233-5_1_3_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_2233-5_1_3_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_2233-5_1_3_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_2233-5_1_3_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_2233-5_1_3_node_126 | 0.4 | n |  | TRUE
67 | bus_LV_2233-5_1_3_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_2233-5_1_3_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_2233-5_1_3_node_132 | 0.4 | n |  | TRUE
70 | bus_MV_373_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2233-5_1_3_load_51 | 0 | 0.04006 | 0.01004 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2233-5_1_3_load_19 | 3 | 0.0036329 | 0.00091049 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2233-5_1_3_load_20 | 4 | 0.0009711 | 0.00024338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2233-5_1_3_load_27 | 6 | 0.0036308 | 0.00090997 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2233-5_1_3_load_77 | 7 | 0.0050543 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2233-5_1_3_load_69 | 8 | 0.0015134 | 0.00037929 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2233-5_1_3_load_70 | 9 | 0.0031284 | 0.00078404 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2233-5_1_3_load_24 | 10 | 0.0042289 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2233-5_1_3_load_21 | 11 | 0.0029426 | 0.00073748 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2233-5_1_3_load_67 | 12 | 0.0055113 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2233-5_1_3_load_66 | 13 | 0.004356 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2233-5_1_3_load_25 | 15 | 0.0029593 | 0.00074167 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2233-5_1_3_load_30 | 17 | 0.0029237 | 0.00073275 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2233-5_1_3_load_65 | 18 | 0.0052245 | 0.0013094 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2233-5_1_3_load_54 | 19 | 0.0050566 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2233-5_1_3_load_100 | 20 | 0.004363 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2233-5_1_3_load_53 | 21 | 0.0051376 | 0.0012876 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2233-5_1_3_load_98 | 22 | 0.00075216 | 0.00018851 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2233-5_1_3_load_55 | 23 | 0.0082769 | 0.0020744 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2233-5_1_3_load_56 | 24 | 0.0047617 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2233-5_1_3_load_57 | 25 | 0.0019829 | 0.00049695 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2233-5_1_3_load_59 | 27 | 0.0035846 | 0.00089839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2233-5_1_3_load_60 | 28 | 0.0014824 | 0.00037153 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2233-5_1_3_load_118 | 29 | 0.0029981 | 0.00075138 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2233-5_1_3_load_119 | 31 | 0.0053129 | 0.0013315 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2233-5_1_3_load_82 | 32 | 0.012357 | 0.0030969 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2233-5_1_3_load_78 | 33 | 0.017243 | 0.0043214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2233-5_1_3_load_61 | 34 | 0.0042861 | 0.0010742 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2233-5_1_3_load_62 | 35 | 0.0025495 | 0.00063896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2233-5_1_3_load_63 | 36 | 0.0029856 | 0.00074826 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2233-5_1_3_load_96 | 38 | 0.0032067 | 0.00080366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2233-5_1_3_load_68 | 39 | 0.0032849 | 0.00082328 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2233-5_1_3_load_95 | 40 | 0.0037774 | 0.00094672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2233-5_1_3_load_99 | 42 | 0.002625 | 0.00065789 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2233-5_1_3_load_111 | 43 | 0.0029363 | 0.00073592 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2233-5_1_3_load_110 | 45 | 0.0014658 | 0.00036736 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2233-5_1_3_load_84 | 47 | 0.0049522 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2233-5_1_3_load_114 | 50 | 0.0095725 | 0.0023991 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2233-5_1_3_load_108 | 51 | 0.0019385 | 0.00048583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2233-5_1_3_load_73 | 52 | 0.0050538 | 0.0012666 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2233-5_1_3_load_74 | 53 | 0.0013864 | 0.00034745 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2233-5_1_3_load_75 | 54 | 0.0015586 | 0.00039063 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2233-5_1_3_load_76 | 55 | 0.003448 | 0.00086415 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2233-5_1_3_load_102 | 56 | 0.0025608 | 0.00064179 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2233-5_1_3_load_107 | 57 | 0.002288 | 0.00057343 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2233-5_1_3_load_81 | 59 | 0.0041177 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2233-5_1_3_load_90 | 61 | 0.0036778 | 0.00092174 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2233-5_1_3_load_93 | 64 | 0.0019646 | 0.00049237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2233-5_1_3_load_94 | 65 | 0.0029326 | 0.00073497 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2233-5_1_3_load_120 | 67 | 0.0042661 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2233-5_1_3_load_131 | 68 | 0.0038774 | 0.00097178 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2233-5_1_3_load_132 | 69 | 0.00085106 | 0.0002133 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2233-5_1_3_line_0 |  | 0 | 1 | 0.028146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2233-5_1_3_line_1 |  | 1 | 14 | 0.04599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2233-5_1_3_line_2 |  | 2 | 3 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2233-5_1_3_line_3 |  | 2 | 4 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2233-5_1_3_line_4 |  | 3 | 5 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2233-5_1_3_line_5 |  | 5 | 10 | 0.045623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2233-5_1_3_line_6 |  | 5 | 11 | 0.042443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2233-5_1_3_line_7 |  | 6 | 7 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2233-5_1_3_line_8 |  | 7 | 22 | 0.028088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2233-5_1_3_line_9 |  | 8 | 9 | 0.011795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2233-5_1_3_line_10 |  | 9 | 46 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2233-5_1_3_line_11 |  | 11 | 14 | 0.023609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2233-5_1_3_line_12 |  | 12 | 13 | 0.032088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2233-5_1_3_line_13 |  | 13 | 37 | 0.0085859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_2233-5_1_3_line_14 |  | 14 | 15 | 0.054465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2233-5_1_3_line_15 |  | 14 | 16 | 0.040953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2233-5_1_3_line_16 |  | 15 | 17 | 0.0049055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2233-5_1_3_line_17 |  | 16 | 18 | 0.023089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2233-5_1_3_line_18 |  | 16 | 19 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2233-5_1_3_line_19 |  | 18 | 20 | 0.038575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2233-5_1_3_line_20 |  | 19 | 21 | 0.0014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2233-5_1_3_line_21 |  | 20 | 44 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2233-5_1_3_line_22 |  | 21 | 23 | 0.042803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2233-5_1_3_line_23 |  | 22 | 41 | 0.029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2233-5_1_3_line_24 |  | 24 | 25 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2233-5_1_3_line_25 |  | 24 | 26 | 0.018772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2233-5_1_3_line_26 |  | 25 | 27 | 0.007045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2233-5_1_3_line_27 |  | 26 | 28 | 0.047105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2233-5_1_3_line_28 |  | 27 | 29 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2233-5_1_3_line_29 |  | 28 | 30 | 0.068679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2233-5_1_3_line_30 |  | 29 | 31 | 0.022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2233-5_1_3_line_31 |  | 30 | 32 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2233-5_1_3_line_32 |  | 30 | 33 | 0.055841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_2233-5_1_3_line_33 |  | 31 | 67 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2233-5_1_3_line_34 |  | 32 | 44 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2233-5_1_3_line_35 |  | 33 | 58 | 0.024729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_2233-5_1_3_line_36 |  | 34 | 35 | 0.0077606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2233-5_1_3_line_37 |  | 34 | 36 | 0.015515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2233-5_1_3_line_38 |  | 35 | 37 | 0.030145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2233-5_1_3_line_39 |  | 36 | 38 | 0.04535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2233-5_1_3_line_40 |  | 37 | 39 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2233-5_1_3_line_41 |  | 38 | 40 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2233-5_1_3_line_42 |  | 39 | 43 | 0.026032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_2233-5_1_3_line_43 |  | 40 | 41 | 0.012424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2233-5_1_3_line_44 |  | 41 | 42 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2233-5_1_3_line_45 |  | 42 | 57 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2233-5_1_3_line_46 |  | 43 | 45 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2233-5_1_3_line_47 |  | 44 | 56 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2233-5_1_3_line_48 |  | 45 | 59 | 0.012301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2233-5_1_3_line_49 |  | 46 | 47 | 0.022163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2233-5_1_3_line_50 |  | 47 | 49 | 0.0081449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2233-5_1_3_line_51 |  | 48 | 49 | 0.025262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2233-5_1_3_line_52 |  | 48 | 50 | 0.035533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2233-5_1_3_line_53 |  | 48 | 51 | 0.027359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2233-5_1_3_line_54 |  | 49 | 60 | 0.008689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2233-5_1_3_line_55 |  | 51 | 57 | 0.016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2233-5_1_3_line_56 |  | 52 | 53 | 0.0018796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2233-5_1_3_line_57 |  | 52 | 54 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2233-5_1_3_line_58 |  | 53 | 55 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2233-5_1_3_line_59 |  | 55 | 56 | 0.004414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2233-5_1_3_line_60 |  | 58 | 59 | 0.019436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2233-5_1_3_line_61 |  | 60 | 66 | 0.041089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2233-5_1_3_line_62 |  | 60 | 65 | 4.0122e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2233-5_1_3_line_63 |  | 61 | 62 | 0.0072918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2233-5_1_3_line_64 |  | 61 | 63 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2233-5_1_3_line_65 |  | 62 | 64 | 0.027834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2233-5_1_3_line_66 |  | 63 | 65 | 0.012087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2233-5_1_3_line_67 |  | 66 | 69 | 0.0066309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2233-5_1_3_line_68 |  | 67 | 68 | 0.0054947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2233-5_1_3_trafo_66 | 0.63 MVA 20/0.4 kV | 70 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2573626.9467 | 1179051.2471 | 2573632.7421 | 1179048.8536 | 2573643.1528 | 1179046.6955 | 2573652.4427 | 1179046.7657 | 2573654.3615 | 1179047.1297
1 | 2573614.0854 | 1179007.0921 | 2573626.9467 | 1179051.2471
2 | 2573665.5129 | 1178918.3304 | 2573656.92 | 1178934.2987
3 | 2573665.5129 | 1178918.3304 | 2573680.6904 | 1178887.8749
4 | 2573656.92 | 1178934.2987 | 2573648.9401 | 1178948.9415 | 2573645.7859 | 1178949.1555
5 | 2573645.7859 | 1178949.1555 | 2573643.2895 | 1178947.8103 | 2573630.0215 | 1178972.4927 | 2573616.9659 | 1178979.4984
6 | 2573645.7859 | 1178949.1555 | 2573632.7459 | 1178971.8359 | 2573625.1296 | 1178986.2257
7 | 2573617.5781 | 1178865.5811 | 2573630.224 | 1178864.3469 | 2573633.6641 | 1178864.7156
8 | 2573617.5781 | 1178865.5811 | 2573594.4586 | 1178849.6305
9 | 2573629.7194 | 1178799.6411 | 2573621.2884 | 1178791.393
10 | 2573609.647 | 1178777.1592 | 2573618.2227 | 1178788.3938 | 2573621.2884 | 1178791.393
11 | 2573614.0854 | 1179007.0921 | 2573625.1296 | 1178986.2257
12 | 2573557.0853 | 1178919.1444 | 2573588.6815 | 1178924.7436
13 | 2573548.6311 | 1178917.6462 | 2573557.0853 | 1178919.1444
14 | 2573614.0854 | 1179007.0921 | 2573618.6561 | 1179007.6055 | 2573628.5295 | 1179008.3179 | 2573637.3916 | 1179008.3677 | 2573638.4832 | 1179008.185 | 2573640.1077 | 1179007.5664 | 2573641.2209 | 1179007.0835 | 2573645.8671 | 1179003.928 | 2573647.5424 | 1179002.6978 | 2573648.9883 | 1179001.4352 | 2573650.2214 | 1179000.3959 | 2573652.29 | 1178996.5625 | 2573653.8239 | 1178994.4436 | 2573655.1362 | 1178992.3367 | 2573656.9638 | 1178989.2715 | 2573658.7232 | 1178987.0986
15 | 2573614.0854 | 1179007.0921 | 2573601.344 | 1179005.6587 | 2573585.763 | 1179003.0262 | 2573573.607 | 1179000.9678
16 | 2573658.7232 | 1178987.0986 | 2573658.9242 | 1178986.8505 | 2573661.7057 | 1178983.5476 | 2573661.91 | 1178983.374
17 | 2573573.607 | 1179000.9678 | 2573564.1412 | 1178999.1309 | 2573550.86 | 1178997.0289
18 | 2573573.607 | 1179000.9678 | 2573575.3994 | 1179031.4267
19 | 2573512.9348 | 1178990.0026 | 2573526.9693 | 1178992.7032 | 2573541.1147 | 1178995.4865 | 2573550.86 | 1178997.0289
20 | 2573575.4849 | 1179032.8799 | 2573575.3994 | 1179031.4267
21 | 2573489.4733 | 1178985.5769 | 2573497.3489 | 1178987.1094 | 2573511.4401 | 1178989.7149 | 2573512.9348 | 1178990.0026
22 | 2573575.4849 | 1179032.8799 | 2573576.5147 | 1179050.3806 | 2573580.7067 | 1179075.3021
23 | 2573565.9395 | 1178841.0076 | 2573594.4586 | 1178849.6305
24 | 2573471.5606 | 1179096.9842 | 2573476.6218 | 1179097.0028 | 2573496.5544 | 1179097.4986
25 | 2573452.8611 | 1179098.2423 | 2573464.2916 | 1179096.9575 | 2573471.5606 | 1179096.9842
26 | 2573496.5544 | 1179097.4986 | 2573496.7233 | 1179097.5028 | 2573503.5702 | 1179098.1351
27 | 2573452.8611 | 1179098.2423 | 2573453.643 | 1179083.3644 | 2573454.5392 | 1179051.1704
28 | 2573503.5702 | 1179098.1351 | 2573512.4593 | 1179098.956 | 2573514.043 | 1179099.0571
29 | 2573456.5411 | 1178982.5659 | 2573455.0761 | 1178998.4473 | 2573455.0857 | 1179031.5422 | 2573454.5392 | 1179051.1704
30 | 2573514.043 | 1179099.0571 | 2573523.8529 | 1179099.6836 | 2573533.3332 | 1179099.6416 | 2573536.0877 | 1179099.7786
31 | 2573456.5411 | 1178982.5659 | 2573463.5988 | 1178982.2789 | 2573473.7233 | 1178982.7453 | 2573479.3774 | 1178983.7257
32 | 2573456.5411 | 1178982.5659 | 2573456.7469 | 1178966.9903 | 2573458.1453 | 1178953.3103 | 2573459.3818 | 1178926.8268
33 | 2573551.9415 | 1179100.5532 | 2573546.1213 | 1179101.3081 | 2573536.2062 | 1179099.7845 | 2573536.0877 | 1179099.7786
34 | 2573489.4733 | 1178985.5769 | 2573484.7251 | 1178984.653 | 2573479.3774 | 1178983.7257
35 | 2573461.4553 | 1178902.1913 | 2573459.68 | 1178920.442 | 2573459.3818 | 1178926.8268
36 | 2573531.9297 | 1178886.5554 | 2573537.0642 | 1178892.3747
37 | 2573521.6648 | 1178874.9212 | 2573531.9297 | 1178886.5554
38 | 2573548.6311 | 1178917.6462 | 2573549.7415 | 1178913.0611 | 2573549.5982 | 1178906.5806 | 2573537.0642 | 1178892.3747
39 | 2573521.6648 | 1178874.9212 | 2573532.237 | 1178830.821
40 | 2573548.6311 | 1178917.6462 | 2573531.8958 | 1178914.6793
41 | 2573554.0467 | 1178837.413 | 2573532.237 | 1178830.821
42 | 2573506.2634 | 1178910.1351 | 2573531.8958 | 1178914.6793
43 | 2573565.9395 | 1178841.0076 | 2573554.0467 | 1178837.413
44 | 2573565.9395 | 1178841.0076 | 2573570.2817 | 1178829.1308
45 | 2573570.2817 | 1178829.1308 | 2573577.0544 | 1178810.6057
46 | 2573492.7044 | 1178907.7313 | 2573506.2634 | 1178910.1351
47 | 2573489.4733 | 1178985.5769 | 2573488.2596 | 1179002.9869
48 | 2573492.7044 | 1178907.7313 | 2573480.5924 | 1178905.584
49 | 2573609.647 | 1178777.1592 | 2573602.2713 | 1178759.1268 | 2573601.5297 | 1178756.5506
50 | 2573599.2764 | 1178748.7236 | 2573601.5297 | 1178756.5506
51 | 2573599.2764 | 1178748.7236 | 2573595.0579 | 1178753.6225 | 2573582.7827 | 1178767.8953
52 | 2573582.7827 | 1178767.8953 | 2573564.3557 | 1178761.0621 | 2573549.5879 | 1178755.2253
53 | 2573582.7827 | 1178767.8953 | 2573582.6668 | 1178795.2544
54 | 2573597.1229 | 1178740.3065 | 2573599.2764 | 1178748.7236
55 | 2573582.6668 | 1178795.2544 | 2573577.0544 | 1178810.6057
56 | 2573486.714 | 1179025.1589 | 2573486.8447 | 1179023.2839
57 | 2573485.5662 | 1179041.6233 | 2573486.714 | 1179025.1589
58 | 2573486.8447 | 1179023.2839 | 2573487.9527 | 1179007.3903
59 | 2573488.2596 | 1179002.9869 | 2573487.9527 | 1179007.3903
60 | 2573461.4553 | 1178902.1913 | 2573480.5924 | 1178905.584
61 | 2573597.1229 | 1178740.3065 | 2573603.4339 | 1178736.9547 | 2573605.5802 | 1178735.1109 | 2573607.3199 | 1178732.8909 | 2573623.7124 | 1178709.7733
62 | 2573597.1149 | 1178740.2672 | 2573597.1229 | 1178740.3065
63 | 2573591.3747 | 1178711.9728 | 2573596.6555 | 1178714.0727 | 2573596.964 | 1178715.6516
64 | 2573594.7097 | 1178728.4221 | 2573598.6019 | 1178724.036 | 2573596.964 | 1178715.6516
65 | 2573591.3747 | 1178711.9728 | 2573590.7969 | 1178709.1405 | 2573585.8929 | 1178684.6839
66 | 2573594.7097 | 1178728.4221 | 2573597.1149 | 1178740.2672
67 | 2573623.7124 | 1178709.7733 | 2573630.3031 | 1178709.0454
68 | 2573557.3906 | 1179099.8464 | 2573551.9415 | 1179100.5532

## bus_geodata
| x | y | coords
0 | 2573654.3615 | 1179047.1297
1 | 2573626.9467 | 1179051.2471
2 | 2573665.5129 | 1178918.3304
3 | 2573656.92 | 1178934.2987
4 | 2573680.6904 | 1178887.8749
5 | 2573645.7859 | 1178949.1555
6 | 2573633.6641 | 1178864.7156
7 | 2573617.5781 | 1178865.5811
8 | 2573629.7194 | 1178799.6411
9 | 2573621.2884 | 1178791.393
10 | 2573616.9659 | 1178979.4984
11 | 2573625.1296 | 1178986.2257
12 | 2573588.6815 | 1178924.7436
13 | 2573557.0853 | 1178919.1444
14 | 2573614.0854 | 1179007.0921
15 | 2573658.7232 | 1178987.0986
16 | 2573573.607 | 1179000.9678
17 | 2573661.91 | 1178983.374
18 | 2573550.86 | 1178997.0289
19 | 2573575.3994 | 1179031.4267
20 | 2573512.9348 | 1178990.0026
21 | 2573575.4849 | 1179032.8799
22 | 2573594.4586 | 1178849.6305
23 | 2573580.7067 | 1179075.3021
24 | 2573471.5606 | 1179096.9842
25 | 2573496.5544 | 1179097.4986
26 | 2573452.8611 | 1179098.2423
27 | 2573503.5702 | 1179098.1351
28 | 2573454.5392 | 1179051.1704
29 | 2573514.043 | 1179099.0571
30 | 2573456.5411 | 1178982.5659
31 | 2573536.0877 | 1179099.7786
32 | 2573479.3774 | 1178983.7257
33 | 2573459.3818 | 1178926.8268
34 | 2573531.9297 | 1178886.5554
35 | 2573537.0642 | 1178892.3747
36 | 2573521.6648 | 1178874.9212
37 | 2573548.6311 | 1178917.6462
38 | 2573532.237 | 1178830.821
39 | 2573531.8958 | 1178914.6793
40 | 2573554.0467 | 1178837.413
41 | 2573565.9395 | 1178841.0076
42 | 2573570.2817 | 1178829.1308
43 | 2573506.2634 | 1178910.1351
44 | 2573489.4733 | 1178985.5769
45 | 2573492.7044 | 1178907.7313
46 | 2573609.647 | 1178777.1592
47 | 2573601.5297 | 1178756.5506
48 | 2573582.7827 | 1178767.8953
49 | 2573599.2764 | 1178748.7236
50 | 2573549.5879 | 1178755.2253
51 | 2573582.6668 | 1178795.2544
52 | 2573486.714 | 1179025.1589
53 | 2573486.8447 | 1179023.2839
54 | 2573485.5662 | 1179041.6233
55 | 2573487.9527 | 1179007.3903
56 | 2573488.2596 | 1179002.9869
57 | 2573577.0544 | 1178810.6057
58 | 2573461.4553 | 1178902.1913
59 | 2573480.5924 | 1178905.584
60 | 2573597.1229 | 1178740.3065
61 | 2573596.964 | 1178715.6516
62 | 2573591.3747 | 1178711.9728
63 | 2573594.7097 | 1178728.4221
64 | 2573585.8929 | 1178684.6839
65 | 2573597.1149 | 1178740.2672
66 | 2573623.7124 | 1178709.7733
67 | 2573551.9415 | 1179100.5532
68 | 2573557.3906 | 1179099.8464
69 | 2573630.3031 | 1178709.0454
70 | 2573548.6311 | 1178917.6462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97213 | -0.53783 | 0.04006 | 0.01004
1 | 0.97318 | -0.51706 | 0 | 0
2 | 0.97419 | -0.4972 | 0 | 0
3 | 0.97421 | -0.49687 | 0.0036329 | 0.00091049
4 | 0.97416 | -0.4978 | 0.0009711 | 0.00024338
5 | 0.97429 | -0.4952 | 0 | 0
6 | 0.99197 | -0.15402 | 0.0036308 | 0.00090997
7 | 0.99203 | -0.15298 | 0.0050543 | 0.0012667
8 | 0.98963 | -0.19946 | 0.0015134 | 0.00037929
9 | 0.98965 | -0.19914 | 0.0031284 | 0.00078404
10 | 0.97411 | -0.49874 | 0.0042289 | 0.0010599
11 | 0.97464 | -0.48831 | 0.0029426 | 0.00073748
12 | 0.99984 | -0.0030832 | 0.0055113 | 0.0013813
13 | 1 | 0 | -0.24187 | -0.061575
14 | 0.9749 | -0.48321 | 0 | 0
15 | 0.9746 | -0.48909 | 0.0029593 | 0.00074167
16 | 0.9771 | -0.43995 | 0 | 0
17 | 0.97459 | -0.48935 | 0.0029237 | 0.00073275
18 | 0.97874 | -0.40788 | 0.0052245 | 0.0013094
19 | 0.97658 | -0.45025 | 0.0050566 | 0.0012673
20 | 0.98166 | -0.3509 | 0.004363 | 0.0010935
21 | 0.97656 | -0.4506 | 0.0051376 | 0.0012876
22 | 0.99225 | -0.14866 | 0.00075216 | 0.00018851
23 | 0.97623 | -0.45708 | 0.0082769 | 0.0020744
24 | 0.9835 | -0.31589 | 0.0047617 | 0.0011934
25 | 0.98299 | -0.32582 | 0.0019829 | 0.00049695
26 | 0.98396 | -0.30684 | 0 | 0
27 | 0.98286 | -0.32837 | 0.0035846 | 0.00089839
28 | 0.98512 | -0.28415 | 0.0014824 | 0.00037153
29 | 0.9827 | -0.33149 | 0.0029981 | 0.00075138
30 | 0.98691 | -0.24934 | 0 | 0
31 | 0.98242 | -0.33685 | 0.0053129 | 0.0013315
32 | 0.98452 | -0.29549 | 0.012357 | 0.0030969
33 | 0.99055 | -0.17943 | 0.017243 | 0.0043214
34 | 0.99696 | -0.057895 | 0.0042861 | 0.0010742
35 | 0.99738 | -0.049849 | 0.0025495 | 0.00063896
36 | 0.99618 | -0.072835 | 0.0029856 | 0.00074826
37 | 0.99908 | -0.017315 | 0 | 0
38 | 0.99403 | -0.11425 | 0.0032067 | 0.00080366
39 | 0.99775 | -0.042499 | 0.0032849 | 0.00082328
40 | 0.99302 | -0.13383 | 0.0037774 | 0.00094672
41 | 0.99251 | -0.14369 | 0 | 0
42 | 0.9921 | -0.15163 | 0.002625 | 0.00065789
43 | 0.99574 | -0.080452 | 0.0029363 | 0.00073592
44 | 0.98357 | -0.31393 | 0 | 0
45 | 0.9947 | -0.10023 | 0.0014658 | 0.00036736
46 | 0.98972 | -0.19762 | 0 | 0
47 | 0.98982 | -0.19579 | 0.0049522 | 0.0012411
48 | 0.99033 | -0.18585 | 0 | 0
49 | 0.98989 | -0.1944 | 0 | 0
50 | 0.99002 | -0.1919 | 0.0095725 | 0.0023991
51 | 0.99105 | -0.17195 | 0.0019385 | 0.00048583
52 | 0.98317 | -0.32176 | 0.0050538 | 0.0012666
53 | 0.98318 | -0.32154 | 0.0013864 | 0.00034745
54 | 0.98315 | -0.32223 | 0.0015586 | 0.00039063
55 | 0.9833 | -0.31924 | 0.003448 | 0.00086415
56 | 0.98335 | -0.31833 | 0.0025608 | 0.00064179
57 | 0.9915 | -0.1631 | 0.002288 | 0.00057343
58 | 0.99236 | -0.14486 | 0 | 0
59 | 0.99378 | -0.11778 | 0.0041177 | 0.001032
60 | 0.98981 | -0.19585 | 0 | 0
61 | 0.98968 | -0.19852 | 0.0036778 | 0.00092174
62 | 0.98966 | -0.19878 | 0 | 0
63 | 0.98975 | -0.19707 | 0 | 0
64 | 0.98961 | -0.19975 | 0.0019646 | 0.00049237
65 | 0.98981 | -0.19586 | 0.0029326 | 0.00073497
66 | 0.98978 | -0.19648 | 0 | 0
67 | 0.9823 | -0.33921 | 0.0042661 | 0.0010692
68 | 0.98228 | -0.33959 | 0.0038774 | 0.00097178
69 | 0.98978 | -0.19658 | 0.00085106 | 0.0002133
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.04006 | -0.01004 | 0.0401 | 0.010065 | 3.9686e-05 | 2.505e-05 | 0.061319 | 0.061319 | 0.061319 | 0.97213 | -0.53783 | 0.97318 | -0.51706 | 16.846
1 | -0.0401 | -0.010065 | 0.040165 | 0.010106 | 6.4846e-05 | 4.0929e-05 | 0.061319 | 0.061319 | 0.061319 | 0.97318 | -0.51706 | 0.9749 | -0.48321 | 16.8459
2 | -0.00097113 | -0.00024298 | 0.00097115 | 0.00024276 | 1.4951e-08 | -2.1611e-07 | 0.0014832 | 0.0014831 | 0.0014832 | 0.97419 | -0.4972 | 0.97421 | -0.49687 | 0.40747
3 | 0.00097113 | 0.00024298 | -0.0009711 | -0.00024338 | 2.8074e-08 | -4.0569e-07 | 0.0014832 | 0.0014834 | 0.0014834 | 0.97419 | -0.4972 | 0.97416 | -0.4978 | 0.40751
4 | -0.0046041 | -0.0011533 | 0.0046044 | 0.0011532 | 3.6753e-07 | -1.1583e-08 | 0.0070321 | 0.007032 | 0.0070321 | 0.97421 | -0.49687 | 0.97429 | -0.4952 | 1.9319
5 | 0.0042296 | 0.0010598 | -0.0042289 | -0.0010599 | 7.1393e-07 | -1.1114e-07 | 0.0064597 | 0.0064599 | 0.0064599 | 0.97429 | -0.4952 | 0.97411 | -0.49874 | 1.7747
6 | -0.008834 | -0.002213 | 0.0088369 | 0.0022143 | 2.8971e-06 | 1.3254e-06 | 0.013492 | 0.013492 | 0.013492 | 0.97429 | -0.4952 | 0.97464 | -0.48831 | 3.7065
7 | -0.0036308 | -0.00090997 | 0.003631 | 0.00090988 | 1.7982e-07 | -9.3617e-08 | 0.0054464 | 0.0054464 | 0.0054464 | 0.99197 | -0.15402 | 0.99203 | -0.15298 | 1.4963
8 | -0.0086853 | -0.0021766 | 0.0086871 | 0.0021774 | 1.7876e-06 | 7.8137e-07 | 0.013028 | 0.013028 | 0.013028 | 0.99203 | -0.15298 | 0.99225 | -0.14866 | 3.579
9 | -0.0015134 | -0.00037929 | 0.0015134 | 0.00037915 | 2.2902e-08 | -1.3689e-07 | 0.0022755 | 0.0022755 | 0.0022755 | 0.98963 | -0.19946 | 0.98965 | -0.19914 | 0.62514
10 | -0.0046418 | -0.0011632 | 0.0046421 | 0.0011632 | 3.365e-07 | -2.1368e-08 | 0.0069792 | 0.0069791 | 0.0069792 | 0.98965 | -0.19914 | 0.98972 | -0.19762 | 1.9174
11 | -0.01178 | -0.0029518 | 0.011782 | 0.0029533 | 2.8634e-06 | 1.5383e-06 | 0.017984 | 0.017984 | 0.017984 | 0.97464 | -0.48831 | 0.9749 | -0.48321 | 4.9407
12 | -0.0055113 | -0.0013813 | 0.0055121 | 0.0013814 | 8.0953e-07 | 9.7189e-08 | 0.0082022 | 0.008202 | 0.0082022 | 0.99984 | -0.0030832 | 1 | 0 | 2.2534
13 | 0.23471 | 0.060193 | -0.23452 | -0.060068 | 0.00019692 | 0.0001258 | 0.34974 | 0.34974 | 0.34974 | 1 | 0 | 0.99908 | -0.017315 | 48.0415
14 | 0.0058847 | 0.0014748 | -0.005883 | -0.0014744 | 1.6478e-06 | 3.7567e-07 | 0.0089819 | 0.0089822 | 0.0089822 | 0.9749 | -0.48321 | 0.9746 | -0.48909 | 2.4676
15 | -0.057832 | -0.014534 | 0.057952 | 0.01461 | 0.0001197 | 7.6095e-05 | 0.088285 | 0.088285 | 0.088285 | 0.9749 | -0.48321 | 0.9771 | -0.43995 | 24.2541
16 | 0.0029237 | 0.00073271 | -0.0029237 | -0.00073275 | 3.6657e-08 | -3.7668e-08 | 0.0044639 | 0.0044639 | 0.0044639 | 0.9746 | -0.48909 | 0.97459 | -0.48935 | 1.2264
17 | -0.076434 | -0.019246 | 0.076552 | 0.019321 | 0.00011738 | 7.4833e-05 | 0.11643 | 0.11643 | 0.11643 | 0.9771 | -0.43995 | 0.97874 | -0.40788 | 31.9872
18 | 0.018483 | 0.0046359 | -0.018474 | -0.0046305 | 9.066e-06 | 5.4203e-06 | 0.028149 | 0.028149 | 0.028149 | 0.9771 | -0.43995 | 0.97658 | -0.45025 | 7.7332
19 | -0.081776 | -0.02063 | 0.082 | 0.020773 | 0.00022378 | 0.00014273 | 0.12438 | 0.12438 | 0.12438 | 0.97874 | -0.40788 | 0.98166 | -0.3509 | 34.1694
20 | 0.013417 | 0.0033632 | -0.013417 | -0.0033631 | 2.2816e-07 | 1.2781e-07 | 0.020444 | 0.020444 | 0.020444 | 0.97658 | -0.45025 | 0.97656 | -0.4506 | 5.6165
21 | -0.086363 | -0.021867 | 0.086517 | 0.021965 | 0.00015362 | 9.8017e-05 | 0.13099 | 0.13099 | 0.13099 | 0.98166 | -0.3509 | 0.98357 | -0.31393 | 35.9862
22 | 0.0082794 | 0.0020755 | -0.0082769 | -0.0020744 | 2.5547e-06 | 1.0997e-06 | 0.012616 | 0.012616 | 0.012616 | 0.97656 | -0.4506 | 0.97623 | -0.45708 | 3.4659
23 | -0.0094392 | -0.0023659 | 0.0094415 | 0.0023669 | 2.2329e-06 | 1.0451e-06 | 0.014156 | 0.014155 | 0.014156 | 0.99225 | -0.14866 | 0.99251 | -0.14369 | 3.8889
24 | 0.022042 | 0.0055308 | -0.022031 | -0.0055244 | 1.0428e-05 | 6.3567e-06 | 0.033351 | 0.033351 | 0.033351 | 0.9835 | -0.31589 | 0.98299 | -0.32582 | 9.1624
25 | -0.026803 | -0.0067242 | 0.026815 | 0.0067313 | 1.1578e-05 | 7.1715e-06 | 0.040556 | 0.040555 | 0.040556 | 0.9835 | -0.31589 | 0.98396 | -0.30684 | 11.1416
26 | 0.020048 | 0.0050275 | -0.020046 | -0.005026 | 2.4335e-06 | 1.4681e-06 | 0.03035 | 0.03035 | 0.03035 | 0.98299 | -0.32582 | 0.98286 | -0.32837 | 8.3378
27 | -0.026815 | -0.0067313 | 0.026844 | 0.0067493 | 2.9053e-05 | 1.7995e-05 | 0.040555 | 0.040555 | 0.040555 | 0.98396 | -0.30684 | 0.98512 | -0.28415 | 11.1416
28 | 0.016461 | 0.0041276 | -0.016459 | -0.0041262 | 2.449e-06 | 1.4341e-06 | 0.024923 | 0.024923 | 0.024923 | 0.98286 | -0.32837 | 0.9827 | -0.33149 | 6.8469
29 | -0.028326 | -0.0071208 | 0.028374 | 0.0071502 | 4.7166e-05 | 2.931e-05 | 0.042794 | 0.042794 | 0.042794 | 0.98512 | -0.28415 | 0.98691 | -0.24934 | 11.7567
30 | 0.013461 | 0.0033748 | -0.013457 | -0.0033729 | 3.4383e-06 | 1.921e-06 | 0.020383 | 0.020383 | 0.020383 | 0.9827 | -0.33149 | 0.98242 | -0.33685 | 5.5998
31 | 0.11323 | 0.028792 | -0.11297 | -0.028631 | 0.00025112 | 0.00016042 | 0.17086 | 0.17086 | 0.17086 | 0.98691 | -0.24934 | 0.98452 | -0.29549 | 46.9407
32 | -0.1416 | -0.035942 | 0.14208 | 0.036246 | 0.00047796 | 0.00030446 | 0.21366 | 0.21366 | 0.21366 | 0.98691 | -0.24934 | 0.99055 | -0.17943 | 29.3486
33 | 0.0081445 | 0.0020413 | -0.0081436 | -0.0020409 | 9.1416e-07 | 3.8225e-07 | 0.012336 | 0.012336 | 0.012336 | 0.98242 | -0.33685 | 0.9823 | -0.33921 | 3.389
34 | 0.10062 | 0.025534 | -0.10053 | -0.025477 | 8.9154e-05 | 5.6928e-05 | 0.15219 | 0.15219 | 0.15219 | 0.98452 | -0.29549 | 0.98357 | -0.31393 | 41.8099
35 | -0.15932 | -0.040568 | 0.15959 | 0.040737 | 0.00026609 | 0.00016966 | 0.23956 | 0.23956 | 0.23956 | 0.99055 | -0.17943 | 0.99236 | -0.14486 | 32.9065
36 | -0.059427 | -0.015001 | 0.05945 | 0.015015 | 2.2915e-05 | 1.4565e-05 | 0.088736 | 0.088736 | 0.088736 | 0.99696 | -0.057895 | 0.99738 | -0.049849 | 24.378
37 | 0.055141 | 0.013926 | -0.055102 | -0.013901 | 3.9446e-05 | 2.5043e-05 | 0.082339 | 0.082339 | 0.082339 | 0.99696 | -0.057895 | 0.99618 | -0.072835 | 22.6205
38 | -0.062 | -0.015654 | 0.062096 | 0.015716 | 9.6804e-05 | 6.156e-05 | 0.092539 | 0.092539 | 0.092539 | 0.99738 | -0.049849 | 0.99908 | -0.017315 | 25.4229
39 | 0.052116 | 0.013153 | -0.052013 | -0.013088 | 0.00010315 | 6.5424e-05 | 0.077879 | 0.077879 | 0.077879 | 0.99618 | -0.072835 | 0.99403 | -0.11425 | 21.3954
40 | 0.17242 | 0.044352 | -0.17221 | -0.044217 | 0.00021082 | 0.00013448 | 0.2572 | 0.2572 | 0.2572 | 0.99908 | -0.017315 | 0.99775 | -0.042499 | 35.3302
41 | 0.048806 | 0.012284 | -0.048761 | -0.012255 | 4.563e-05 | 2.8908e-05 | 0.073079 | 0.073079 | 0.073079 | 0.99403 | -0.11425 | 0.99302 | -0.13383 | 20.0767
42 | 0.16892 | 0.043394 | -0.16861 | -0.043196 | 0.00031072 | 0.00019818 | 0.2523 | 0.2523 | 0.2523 | 0.99775 | -0.042499 | 0.99574 | -0.080452 | 34.6573
43 | 0.044983 | 0.011308 | -0.044962 | -0.011295 | 2.1177e-05 | 1.3393e-05 | 0.067419 | 0.067419 | 0.067419 | 0.99302 | -0.13383 | 0.99251 | -0.14369 | 18.5217
44 | 0.035521 | 0.0089281 | -0.035507 | -0.0089197 | 1.3453e-05 | 8.4468e-06 | 0.053263 | 0.053264 | 0.053264 | 0.99251 | -0.14369 | 0.9921 | -0.15163 | 14.6328
45 | 0.032882 | 0.0082618 | -0.032864 | -0.0082505 | 1.7997e-05 | 1.1263e-05 | 0.049326 | 0.049326 | 0.049326 | 0.9921 | -0.15163 | 0.9915 | -0.1631 | 13.5512
46 | 0.16568 | 0.04246 | -0.16552 | -0.042359 | 0.00015869 | 0.00010121 | 0.24792 | 0.24792 | 0.24792 | 0.99574 | -0.080452 | 0.9947 | -0.10023 | 34.0545
47 | 0.014012 | 0.0035127 | -0.014009 | -0.0035111 | 2.941e-06 | 1.6608e-06 | 0.021199 | 0.021199 | 0.021199 | 0.98357 | -0.31393 | 0.98335 | -0.31833 | 5.8238
48 | 0.16405 | 0.041991 | -0.16391 | -0.041903 | 0.00013926 | 8.8808e-05 | 0.24572 | 0.24572 | 0.24572 | 0.9947 | -0.10023 | 0.99378 | -0.11778 | 33.7534
49 | -0.0046421 | -0.0011632 | 0.0046425 | 0.0011631 | 4.0482e-07 | -2.5763e-08 | 0.0069791 | 0.006979 | 0.0069791 | 0.98972 | -0.19762 | 0.98982 | -0.19579 | 1.9173
50 | -0.0095947 | -0.0024043 | 0.0095954 | 0.0024046 | 6.3544e-07 | 3.0198e-07 | 0.014424 | 0.014424 | 0.014424 | 0.98982 | -0.19579 | 0.98989 | -0.1944 | 3.9626
51 | 0.019031 | 0.0047711 | -0.019023 | -0.0047664 | 7.746e-06 | 4.6326e-06 | 0.028595 | 0.028595 | 0.028595 | 0.99033 | -0.18585 | 0.98989 | -0.1944 | 7.8558
52 | 0.0095752 | 0.0024004 | -0.0095725 | -0.0023991 | 2.7582e-06 | 1.3082e-06 | 0.014387 | 0.014388 | 0.014388 | 0.99033 | -0.18585 | 0.99002 | -0.1919 | 3.9526
53 | -0.028606 | -0.0071714 | 0.028625 | 0.0071832 | 1.8955e-05 | 1.1779e-05 | 0.042982 | 0.042982 | 0.042982 | 0.99033 | -0.18585 | 0.99105 | -0.17195 | 11.8083
54 | 0.0094275 | 0.0023618 | -0.0094269 | -0.0023615 | 6.5436e-07 | 3.071e-07 | 0.014171 | 0.014171 | 0.014171 | 0.98989 | -0.1944 | 0.98981 | -0.19585 | 3.8932
55 | -0.030563 | -0.0076691 | 0.030576 | 0.0076771 | 1.2909e-05 | 8.0513e-06 | 0.045893 | 0.045893 | 0.045893 | 0.99105 | -0.17195 | 0.9915 | -0.1631 | 12.6079
56 | -0.0066125 | -0.001657 | 0.0066125 | 0.0016571 | 7.0595e-08 | 2.1345e-08 | 0.010008 | 0.010008 | 0.010008 | 0.98317 | -0.32176 | 0.98318 | -0.32154 | 2.7494
57 | 0.0015587 | 0.00039044 | -0.0015586 | -0.00039063 | 3.4441e-08 | -1.8725e-07 | 0.0023589 | 0.002359 | 0.002359 | 0.98317 | -0.32176 | 0.98315 | -0.32223 | 0.64808
58 | -0.0079989 | -0.0020045 | 0.0079998 | 0.0020049 | 8.756e-07 | 3.5831e-07 | 0.012106 | 0.012106 | 0.012106 | 0.98318 | -0.32154 | 0.9833 | -0.31924 | 3.3258
59 | -0.011448 | -0.002869 | 0.011448 | 0.0028693 | 4.9676e-07 | 2.6194e-07 | 0.017324 | 0.017324 | 0.017324 | 0.9833 | -0.31924 | 0.98335 | -0.31833 | 4.7593
60 | -0.15959 | -0.040737 | 0.1598 | 0.040871 | 0.00020913 | 0.00013334 | 0.23956 | 0.23956 | 0.23956 | 0.99236 | -0.14486 | 0.99378 | -0.11778 | 32.9065
61 | 0.00085109 | 0.0002127 | -0.00085106 | -0.00021321 | 2.5219e-08 | -5.1198e-07 | 0.0012792 | 0.0012794 | 0.0012794 | 0.98981 | -0.19585 | 0.98978 | -0.19648 | 0.35149
62 | 0.0085758 | 0.0021488 | -0.0085758 | -0.0021488 | 2.5025e-09 | 1.0819e-09 | 0.012892 | 0.012892 | 0.012892 | 0.98981 | -0.19585 | 0.98981 | -0.19586 | 3.5418
63 | 0.0019647 | 0.00049199 | -0.0019647 | -0.00049207 | 2.3858e-08 | -7.8427e-08 | 0.0029538 | 0.0029539 | 0.0029539 | 0.98968 | -0.19852 | 0.98966 | -0.19878 | 0.8115
64 | -0.0056425 | -0.0014137 | 0.0056429 | 0.0014138 | 3.8882e-07 | 6.3706e-08 | 0.0084835 | 0.0084835 | 0.0084835 | 0.98968 | -0.19852 | 0.98975 | -0.19707 | 2.3306
65 | 0.0019647 | 0.00049207 | -0.0019646 | -0.00049237 | 9.1076e-08 | -2.9935e-07 | 0.0029539 | 0.002954 | 0.002954 | 0.98966 | -0.19878 | 0.98961 | -0.19975 | 0.81153
66 | -0.0056429 | -0.0014138 | 0.0056432 | 0.0014138 | 3.262e-07 | 5.3423e-08 | 0.0084835 | 0.0084834 | 0.0084835 | 0.98975 | -0.19707 | 0.98981 | -0.19586 | 2.3306
67 | 0.00085106 | 0.00021321 | -0.00085106 | -0.0002133 | 4.0705e-09 | -8.2618e-08 | 0.0012794 | 0.0012795 | 0.0012795 | 0.98978 | -0.19648 | 0.98978 | -0.19658 | 0.3515
68 | 0.0038775 | 0.00097175 | -0.0038774 | -0.00097178 | 7.1089e-08 | -2.4059e-08 | 0.0058737 | 0.0058738 | 0.0058738 | 0.9823 | -0.33921 | 0.98228 | -0.33959 | 1.6137

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24623 | 0.062667

## res_load
| p_mw | q_mvar
0 | 0.04006 | 0.01004
1 | 0.0036329 | 0.00091049
2 | 0.0009711 | 0.00024338
3 | 0.0036308 | 0.00090997
4 | 0.0050543 | 0.0012667
5 | 0.0015134 | 0.00037929
6 | 0.0031284 | 0.00078404
7 | 0.0042289 | 0.0010599
8 | 0.0029426 | 0.00073748
9 | 0.0055113 | 0.0013813
10 | 0.004356 | 0.0010917
11 | 0.0029593 | 0.00074167
12 | 0.0029237 | 0.00073275
13 | 0.0052245 | 0.0013094
14 | 0.0050566 | 0.0012673
15 | 0.004363 | 0.0010935
16 | 0.0051376 | 0.0012876
17 | 0.00075216 | 0.00018851
18 | 0.0082769 | 0.0020744
19 | 0.0047617 | 0.0011934
20 | 0.0019829 | 0.00049695
21 | 0.0035846 | 0.00089839
22 | 0.0014824 | 0.00037153
23 | 0.0029981 | 0.00075138
24 | 0.0053129 | 0.0013315
25 | 0.012357 | 0.0030969
26 | 0.017243 | 0.0043214
27 | 0.0042861 | 0.0010742
28 | 0.0025495 | 0.00063896
29 | 0.0029856 | 0.00074826
30 | 0.0032067 | 0.00080366
31 | 0.0032849 | 0.00082328
32 | 0.0037774 | 0.00094672
33 | 0.002625 | 0.00065789
34 | 0.0029363 | 0.00073592
35 | 0.0014658 | 0.00036736
36 | 0.0049522 | 0.0012411
37 | 0.0095725 | 0.0023991
38 | 0.0019385 | 0.00048583
39 | 0.0050538 | 0.0012666
40 | 0.0013864 | 0.00034745
41 | 0.0015586 | 0.00039063
42 | 0.003448 | 0.00086415
43 | 0.0025608 | 0.00064179
44 | 0.002288 | 0.00057343
45 | 0.0041177 | 0.001032
46 | 0.0036778 | 0.00092174
47 | 0.0019646 | 0.00049237
48 | 0.0029326 | 0.00073497
49 | 0.0042661 | 0.0010692
50 | 0.0038774 | 0.00097178
51 | 0.00085106 | 0.0002133

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1