## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2233-7_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2233-7_1_3_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_2233-7_1_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2233-7_1_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2233-7_1_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_2233-7_1_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2233-7_1_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_2233-7_1_3_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_2233-7_1_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_2233-7_1_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_2233-7_1_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2233-7_1_3_node_121 | 0.4 | n |  | TRUE
12 | bus_LV_2233-7_1_3_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_2233-7_1_3_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_2233-7_1_3_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_2233-7_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2233-7_1_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_2233-7_1_3_node_154 | 0.4 | n |  | TRUE
18 | bus_LV_2233-7_1_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_2233-7_1_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2233-7_1_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_2233-7_1_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2233-7_1_3_node_145 | 0.4 | n |  | TRUE
23 | bus_LV_2233-7_1_3_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_2233-7_1_3_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_2233-7_1_3_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_2233-7_1_3_node_147 | 0.4 | n |  | TRUE
27 | bus_LV_2233-7_1_3_node_148 | 0.4 | n |  | TRUE
28 | bus_LV_2233-7_1_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_2233-7_1_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_2233-7_1_3_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_2233-7_1_3_node_157 | 0.4 | n |  | TRUE
32 | bus_LV_2233-7_1_3_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_2233-7_1_3_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_2233-7_1_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_2233-7_1_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_2233-7_1_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_2233-7_1_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_2233-7_1_3_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_2233-7_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_2233-7_1_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_2233-7_1_3_node_110 | 0.4 | n |  | TRUE
42 | bus_LV_2233-7_1_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_2233-7_1_3_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_2233-7_1_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_2233-7_1_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_2233-7_1_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_2233-7_1_3_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2233-7_1_3_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_2233-7_1_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_2233-7_1_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_2233-7_1_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_2233-7_1_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_2233-7_1_3_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_2233-7_1_3_node_93 | 0.4 | n |  | TRUE
55 | bus_LV_2233-7_1_3_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_2233-7_1_3_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_2233-7_1_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_2233-7_1_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_2233-7_1_3_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_2233-7_1_3_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_2233-7_1_3_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_2233-7_1_3_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_2233-7_1_3_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_2233-7_1_3_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_2233-7_1_3_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_2233-7_1_3_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_2233-7_1_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_2233-7_1_3_node_122 | 0.4 | n |  | TRUE
69 | bus_LV_2233-7_1_3_node_123 | 0.4 | n |  | TRUE
70 | bus_MV_373_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2233-7_1_3_load_128 | 0 | 0.0039616 | 0.00099288 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2233-7_1_3_load_58 | 1 | 0.0033532 | 0.00084039 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2233-7_1_3_load_4 | 2 | 0.003753 | 0.00094058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2233-7_1_3_load_6 | 4 | 0.0011321 | 0.00028373 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2233-7_1_3_load_8 | 5 | 0.00052496 | 0.00013157 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2233-7_1_3_load_73 | 7 | 0.001416 | 0.00035487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2233-7_1_3_load_29 | 8 | 0.0012509 | 0.0003135 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2233-7_1_3_load_9 | 9 | 0.0016719 | 0.00041902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2233-7_1_3_load_10 | 10 | 0.0087657 | 0.0021969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2233-7_1_3_load_121 | 11 | 0.0047617 | 0.0011934 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2233-7_1_3_load_135 | 12 | 0.0029459 | 0.00073831 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2233-7_1_3_load_136 | 13 | 0.0027279 | 0.00068368 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2233-7_1_3_load_124 | 14 | 0.0040323 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2233-7_1_3_load_12 | 15 | 0.0074244 | 0.0018607 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2233-7_1_3_load_26 | 16 | 0.00092174 | 0.00023101 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2233-7_1_3_load_154 | 17 | 0.0045089 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2233-7_1_3_load_15 | 18 | 0.0012884 | 0.00032291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2233-7_1_3_load_16 | 19 | 0.0014112 | 0.00035367 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2233-7_1_3_load_145 | 22 | 0.0012416 | 0.00031118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2233-7_1_3_load_146 | 24 | 0.0064438 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2233-7_1_3_load_111 | 25 | 0.00097588 | 0.00024458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2233-7_1_3_load_147 | 26 | 0.0065668 | 0.0016458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2233-7_1_3_load_148 | 27 | 0.00082519 | 0.00020681 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2233-7_1_3_load_54 | 28 | 0.0012558 | 0.00031474 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2233-7_1_3_load_63 | 29 | 0.00079369 | 0.00019892 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2233-7_1_3_load_61 | 30 | 0.0056585 | 0.0014181 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2233-7_1_3_load_157 | 31 | 0.0032202 | 0.00080707 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2233-7_1_3_load_125 | 32 | 0.0026645 | 0.0006678 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2233-7_1_3_load_118 | 33 | 0.0047592 | 0.0011928 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2233-7_1_3_load_46 | 34 | 0.0036028 | 0.00090296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2233-7_1_3_load_47 | 35 | 0.003139 | 0.0007867 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2233-7_1_3_load_50 | 37 | 0.0028091 | 0.00070402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2233-7_1_3_load_51 | 38 | 0.0028031 | 0.00070251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2233-7_1_3_load_57 | 39 | 0.0020673 | 0.00051811 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2233-7_1_3_load_110 | 41 | 0.0023033 | 0.00057725 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2233-7_1_3_load_53 | 42 | 0.00078493 | 0.00019672 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2233-7_1_3_load_55 | 44 | 0.0031599 | 0.00079194 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2233-7_1_3_load_56 | 45 | 0.0027494 | 0.00068906 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2233-7_1_3_load_64 | 47 | 0.0019147 | 0.00047987 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2233-7_1_3_load_90 | 48 | 0.0015707 | 0.00039365 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2233-7_1_3_load_65 | 49 | 0.0033315 | 0.00083495 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2233-7_1_3_load_66 | 50 | 0.0029299 | 0.00073431 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2233-7_1_3_load_67 | 51 | 0.0030328 | 0.00076009 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2233-7_1_3_load_68 | 52 | 0.0021418 | 0.0005368 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2233-7_1_3_load_69 | 53 | 0.0027118 | 0.00067965 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2233-7_1_3_load_93 | 54 | 0.002153 | 0.00053959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2233-7_1_3_load_70 | 55 | 0.0014743 | 0.00036949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2233-7_1_3_load_71 | 56 | 0.0015978 | 0.00040045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2233-7_1_3_load_72 | 57 | 0.0022927 | 0.00057459 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2233-7_1_3_load_74 | 58 | 0.0017997 | 0.00045105 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2233-7_1_3_load_91 | 59 | 0.0024657 | 0.00061796 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2233-7_1_3_load_87 | 60 | 0.0012282 | 0.00030781 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2233-7_1_3_load_88 | 61 | 0.00077469 | 0.00019416 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2233-7_1_3_load_89 | 62 | 0.0018725 | 0.0004693 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2233-7_1_3_load_92 | 63 | 0.0036503 | 0.00091486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2233-7_1_3_load_94 | 64 | 0.0026028 | 0.00065233 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2233-7_1_3_load_95 | 65 | 0.0030427 | 0.00076256 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2233-7_1_3_load_97 | 66 | 0.0027769 | 0.00069597 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2233-7_1_3_load_96 | 67 | 0.0043545 | 0.0010914 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2233-7_1_3_load_122 | 68 | 0.0024225 | 0.00060714 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2233-7_1_3_load_123 | 69 | 0.0026478 | 0.00066361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2233-7_1_3_line_0 |  | 0 | 1 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2233-7_1_3_line_1 |  | 1 | 45 | 0.020732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2233-7_1_3_line_2 |  | 2 | 3 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2233-7_1_3_line_3 |  | 2 | 4 | 0.14919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2233-7_1_3_line_4 |  | 3 | 5 | 0.043196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2233-7_1_3_line_5 |  | 4 | 6 | 0.042564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2233-7_1_3_line_6 |  | 5 | 8 | 0.028089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2233-7_1_3_line_7 |  | 6 | 7 | 0.013261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2233-7_1_3_line_8 |  | 7 | 56 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2233-7_1_3_line_9 |  | 9 | 10 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2233-7_1_3_line_10 |  | 9 | 11 | 0.10343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2233-7_1_3_line_11 |  | 11 | 68 | 0.026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2233-7_1_3_line_12 |  | 11 | 69 | 0.025438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2233-7_1_3_line_13 |  | 12 | 13 | 0.021221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2233-7_1_3_line_14 |  | 12 | 14 | 0.027199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2233-7_1_3_line_15 |  | 13 | 17 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2233-7_1_3_line_16 |  | 14 | 68 | 0.026541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2233-7_1_3_line_17 |  | 15 | 16 | 0.057202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2233-7_1_3_line_18 |  | 16 | 20 | 0.0024466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2233-7_1_3_line_19 |  | 18 | 19 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2233-7_1_3_line_20 |  | 19 | 20 | 0.040087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2233-7_1_3_line_21 |  | 20 | 21 | 0.047025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2233-7_1_3_line_22 |  | 21 | 29 | 0.029565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2233-7_1_3_line_23 |  | 21 | 30 | 0.045912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2233-7_1_3_line_24 |  | 22 | 23 | 0.030324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2233-7_1_3_line_25 |  | 22 | 24 | 0.027912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2233-7_1_3_line_26 |  | 23 | 39 | 0.037035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2233-7_1_3_line_27 |  | 23 | 26 | 0.034323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2233-7_1_3_line_28 |  | 23 | 35 | 0.015997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2233-7_1_3_line_29 |  | 24 | 25 | 0.036113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2233-7_1_3_line_30 |  | 27 | 28 | 0.017028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2233-7_1_3_line_31 |  | 28 | 40 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2233-7_1_3_line_32 |  | 29 | 43 | 0.034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2233-7_1_3_line_33 |  | 30 | 46 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2233-7_1_3_line_34 |  | 31 | 32 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2233-7_1_3_line_35 |  | 31 | 33 | 0.025777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2233-7_1_3_line_36 |  | 32 | 69 | 0.018964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2233-7_1_3_line_37 |  | 33 | 43 | 0.036076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2233-7_1_3_line_38 |  | 34 | 35 | 0.010508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2233-7_1_3_line_39 |  | 34 | 36 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2233-7_1_3_line_40 |  | 36 | 37 | 0.035657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2233-7_1_3_line_41 |  | 36 | 38 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2233-7_1_3_line_42 |  | 37 | 40 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2233-7_1_3_line_43 |  | 38 | 41 | 0.030736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2233-7_1_3_line_44 |  | 39 | 44 | 0.017602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2233-7_1_3_line_45 |  | 40 | 42 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2233-7_1_3_line_46 |  | 41 | 52 | 0.0048959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2233-7_1_3_line_47 |  | 42 | 43 | 0.0020595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2233-7_1_3_line_48 |  | 44 | 45 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2233-7_1_3_line_49 |  | 46 | 47 | 0.034195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2233-7_1_3_line_50 |  | 47 | 48 | 0.030283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2233-7_1_3_line_51 |  | 48 | 61 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2233-7_1_3_line_52 |  | 49 | 50 | 0.0078491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2233-7_1_3_line_53 |  | 49 | 51 | 0.013449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2233-7_1_3_line_54 |  | 50 | 52 | 0.0093434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2233-7_1_3_line_55 |  | 51 | 53 | 0.0099095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2233-7_1_3_line_56 |  | 53 | 54 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2233-7_1_3_line_57 |  | 54 | 63 | 0.0046844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2233-7_1_3_line_58 |  | 55 | 56 | 0.029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2233-7_1_3_line_59 |  | 55 | 57 | 0.0049507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2233-7_1_3_line_60 |  | 57 | 58 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2233-7_1_3_line_61 |  | 58 | 59 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2233-7_1_3_line_62 |  | 59 | 62 | 0.0031775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2233-7_1_3_line_63 |  | 60 | 61 | 0.004742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2233-7_1_3_line_64 |  | 60 | 62 | 0.027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2233-7_1_3_line_65 |  | 63 | 64 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2233-7_1_3_line_66 |  | 64 | 65 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2233-7_1_3_line_67 |  | 65 | 66 | 0.024613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2233-7_1_3_line_68 |  | 66 | 67 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2233-7_1_3_trafo_48 | 0.63 MVA 20/0.4 kV | 70 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2572435.1484 | 1177871.4578 | 2572446.575 | 1177870.7932 | 2572454.267 | 1177870.7578
1 | 2572454.267 | 1177870.7578 | 2572464.8137 | 1177870.7092 | 2572474.9739 | 1177871.4224
2 | 2572962.0082 | 1178052.1336 | 2572954.7898 | 1178033.3109
3 | 2572864.1658 | 1177914.8004 | 2572954.7898 | 1178033.3109
4 | 2572962.0082 | 1178052.1336 | 2572973.0177 | 1178048.5709 | 2572977.5127 | 1178045.6935 | 2572980.7628 | 1178039.5534 | 2572982.7775 | 1178030.5508 | 2572986.4344 | 1178024.8202 | 2572989.0001 | 1178022.7184
5 | 2572835.6416 | 1177883.2079 | 2572864.1658 | 1177914.8004
6 | 2573011.7545 | 1178006.5578 | 2573010.9484 | 1178006.7223 | 2573003.9967 | 1178010.4334 | 2572989.0001 | 1178022.7184
7 | 2572835.6416 | 1177883.2079 | 2572822.4383 | 1177884.4487
8 | 2572805.448 | 1177886.9545 | 2572811.3995 | 1177885.486 | 2572822.4383 | 1177884.4487
9 | 2572451.1907 | 1178102.0067 | 2572454.349 | 1178122.2514
10 | 2572454.5723 | 1177998.6339 | 2572451.1907 | 1178102.0067
11 | 2572454.5723 | 1177998.6339 | 2572428.39 | 1177998.4178
12 | 2572480.0095 | 1177998.8438 | 2572454.5723 | 1177998.6339
13 | 2572353.4318 | 1177997.7993 | 2572374.6522 | 1177997.9744
14 | 2572401.85 | 1177998.1988 | 2572374.6522 | 1177997.9744
15 | 2572353.4318 | 1177997.7993 | 2572329.2829 | 1177997.6
16 | 2572401.85 | 1177998.1988 | 2572428.39 | 1177998.4178
17 | 2572656.946 | 1178078.0897 | 2572642.9914 | 1178133.5632
18 | 2572656.4097 | 1178075.7026 | 2572656.946 | 1178078.0897
19 | 2572695.8023 | 1178082.8396 | 2572702.3018 | 1178084.4863 | 2572714.1353 | 1178081.6673
20 | 2572656.4097 | 1178075.7026 | 2572675.2167 | 1178078.0734 | 2572691.2252 | 1178081.6799 | 2572695.8023 | 1178082.8396
21 | 2572656.4097 | 1178075.7026 | 2572647.1215 | 1178029.6101
22 | 2572647.1215 | 1178029.6101 | 2572633.1956 | 1178023.6485 | 2572619.9394 | 1178017.9819
23 | 2572647.1215 | 1178029.6101 | 2572638.8371 | 1177984.4513
24 | 2572546.8363 | 1177889.9419 | 2572572.779 | 1177903.6188 | 2572573.4209 | 1177904.3811
25 | 2572588.7663 | 1177927.4578 | 2572582.905 | 1177915.6452 | 2572573.4209 | 1177904.3811
26 | 2572546.8363 | 1177889.9419 | 2572523.5785 | 1177880.2437 | 2572512.1864 | 1177877.0333
27 | 2572557.6515 | 1177857.3642 | 2572546.8363 | 1177889.9419
28 | 2572546.8363 | 1177889.9419 | 2572545.6526 | 1177896.7286 | 2572546.2412 | 1177905.8171
29 | 2572588.7663 | 1177927.4578 | 2572611.4534 | 1177899.3613
30 | 2572605.3436 | 1177966.925 | 2572605.3829 | 1177966.9354 | 2572612.2147 | 1177982.4886
31 | 2572578.1713 | 1177978.0548 | 2572602.3687 | 1177966.1377 | 2572605.3436 | 1177966.925
32 | 2572591.2451 | 1177999.7617 | 2572604.2036 | 1178009.7074 | 2572618.5807 | 1178017.4011 | 2572619.9394 | 1178017.9819
33 | 2572634.3216 | 1177964.2126 | 2572637.6708 | 1177978.0933 | 2572638.8371 | 1177984.4513
34 | 2572498.9727 | 1177999.0003 | 2572529.3943 | 1177999.2513
35 | 2572555.1705 | 1177999.464 | 2572529.3943 | 1177999.2513
36 | 2572498.9727 | 1177999.0003 | 2572480.0095 | 1177998.8438
37 | 2572591.2451 | 1177999.7617 | 2572555.1705 | 1177999.464
38 | 2572546.2412 | 1177905.8171 | 2572546.7876 | 1177914.2547 | 2572546.993 | 1177916.2973
39 | 2572549.1496 | 1177937.7449 | 2572546.993 | 1177916.2973
40 | 2572549.1496 | 1177937.7449 | 2572551.6244 | 1177940.9019 | 2572570.5859 | 1177963.4932 | 2572571.5801 | 1177965.4017
41 | 2572549.1496 | 1177937.7449 | 2572528.1954 | 1177925.2127
42 | 2572578.1713 | 1177978.0548 | 2572571.5801 | 1177965.4017
43 | 2572500.1746 | 1177912.7565 | 2572501.4937 | 1177912.94 | 2572525.9261 | 1177923.8555 | 2572528.1954 | 1177925.2127
44 | 2572512.1864 | 1177877.0333 | 2572503.9769 | 1177874.7199 | 2572494.9841 | 1177873.5212
45 | 2572578.1713 | 1177978.0548 | 2572586.0882 | 1177993.2486 | 2572589.9666 | 1177998.1471
46 | 2572500.1746 | 1177912.7565 | 2572495.3254 | 1177912.0819
47 | 2572591.2451 | 1177999.7617 | 2572589.9666 | 1177998.1471
48 | 2572494.9841 | 1177873.5212 | 2572483.9835 | 1177872.0549 | 2572474.9739 | 1177871.4224
49 | 2572634.3216 | 1177964.2126 | 2572667.1864 | 1177954.768
50 | 2572695.916 | 1177945.3018 | 2572684.6775 | 1177949.7414 | 2572667.1864 | 1177954.768
51 | 2572695.916 | 1177945.3018 | 2572702.4716 | 1177942.7121 | 2572716.6614 | 1177932.1676
52 | 2572486.0711 | 1177910.7945 | 2572478.2969 | 1177909.7131
53 | 2572464.9114 | 1177908.4745 | 2572474.4198 | 1177909.1737 | 2572478.2969 | 1177909.7131
54 | 2572495.3254 | 1177912.0819 | 2572486.0711 | 1177910.7945
55 | 2572464.9114 | 1177908.4745 | 2572455.0286 | 1177907.7478
56 | 2572455.0286 | 1177907.7478 | 2572448.386 | 1177907.2593 | 2572437.4775 | 1177908.1399
57 | 2572432.8082 | 1177908.5168 | 2572437.4775 | 1177908.1399
58 | 2572776.9957 | 1177893.975 | 2572805.448 | 1177886.9545
59 | 2572776.9957 | 1177893.975 | 2572772.1892 | 1177895.161
60 | 2572754.7586 | 1177902.8362 | 2572758.4259 | 1177899.1454 | 2572768.6658 | 1177896.0304 | 2572772.1892 | 1177895.161
61 | 2572754.7586 | 1177902.8362 | 2572750.8807 | 1177906.7392 | 2572745.0801 | 1177911.0496
62 | 2572742.5297 | 1177912.9448 | 2572745.0801 | 1177911.0496
63 | 2572720.4676 | 1177929.3392 | 2572716.6614 | 1177932.1676
64 | 2572742.5297 | 1177912.9448 | 2572720.4676 | 1177929.3392
65 | 2572432.8082 | 1177908.5168 | 2572418.88 | 1177909.6411 | 2572415.6389 | 1177910.0281
66 | 2572394.6161 | 1177912.5387 | 2572415.6389 | 1177910.0281
67 | 2572370.1313 | 1177914.7689 | 2572375.6636 | 1177914.7433 | 2572390.4103 | 1177913.0409 | 2572394.6161 | 1177912.5387
68 | 2572370.1313 | 1177914.7689 | 2572361.1079 | 1177914.8106 | 2572340.4015 | 1177913.2722 | 2572340.4015 | 1177913.2722

## bus_geodata
| x | y | coords
0 | 2572435.1484 | 1177871.4578
1 | 2572454.267 | 1177870.7578
2 | 2572954.7898 | 1178033.3109
3 | 2572962.0082 | 1178052.1336
4 | 2572864.1658 | 1177914.8004
5 | 2572989.0001 | 1178022.7184
6 | 2572835.6416 | 1177883.2079
7 | 2572822.4383 | 1177884.4487
8 | 2573011.7545 | 1178006.5578
9 | 2572451.1907 | 1178102.0067
10 | 2572454.349 | 1178122.2514
11 | 2572454.5723 | 1177998.6339
12 | 2572374.6522 | 1177997.9744
13 | 2572353.4318 | 1177997.7993
14 | 2572401.85 | 1177998.1988
15 | 2572642.9914 | 1178133.5632
16 | 2572656.946 | 1178078.0897
17 | 2572329.2829 | 1177997.6
18 | 2572714.1353 | 1178081.6673
19 | 2572695.8023 | 1178082.8396
20 | 2572656.4097 | 1178075.7026
21 | 2572647.1215 | 1178029.6101
22 | 2572573.4209 | 1177904.3811
23 | 2572546.8363 | 1177889.9419
24 | 2572588.7663 | 1177927.4578
25 | 2572611.4534 | 1177899.3613
26 | 2572557.6515 | 1177857.3642
27 | 2572612.2147 | 1177982.4886
28 | 2572605.3436 | 1177966.925
29 | 2572619.9394 | 1178017.9819
30 | 2572638.8371 | 1177984.4513
31 | 2572529.3943 | 1177999.2513
32 | 2572498.9727 | 1177999.0003
33 | 2572555.1705 | 1177999.464
34 | 2572546.993 | 1177916.2973
35 | 2572546.2412 | 1177905.8171
36 | 2572549.1496 | 1177937.7449
37 | 2572571.5801 | 1177965.4017
38 | 2572528.1954 | 1177925.2127
39 | 2572512.1864 | 1177877.0333
40 | 2572578.1713 | 1177978.0548
41 | 2572500.1746 | 1177912.7565
42 | 2572589.9666 | 1177998.1471
43 | 2572591.2451 | 1177999.7617
44 | 2572494.9841 | 1177873.5212
45 | 2572474.9739 | 1177871.4224
46 | 2572634.3216 | 1177964.2126
47 | 2572667.1864 | 1177954.768
48 | 2572695.916 | 1177945.3018
49 | 2572478.2969 | 1177909.7131
50 | 2572486.0711 | 1177910.7945
51 | 2572464.9114 | 1177908.4745
52 | 2572495.3254 | 1177912.0819
53 | 2572455.0286 | 1177907.7478
54 | 2572437.4775 | 1177908.1399
55 | 2572776.9957 | 1177893.975
56 | 2572805.448 | 1177886.9545
57 | 2572772.1892 | 1177895.161
58 | 2572754.7586 | 1177902.8362
59 | 2572745.0801 | 1177911.0496
60 | 2572720.4676 | 1177929.3392
61 | 2572716.6614 | 1177932.1676
62 | 2572742.5297 | 1177912.9448
63 | 2572432.8082 | 1177908.5168
64 | 2572415.6389 | 1177910.0281
65 | 2572394.6161 | 1177912.5387
66 | 2572370.1313 | 1177914.7689
67 | 2572340.4015 | 1177913.2722
68 | 2572428.39 | 1177998.4178
69 | 2572480.0095 | 1177998.8438
70 | 2572546.8363 | 1177889.9419

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99739 | -0.050239 | 0.0039616 | 0.00099288
1 | 0.99746 | -0.04891 | 0.0033532 | 0.00084039
2 | 0.98493 | -0.29047 | 0.003753 | 0.00094058
3 | 0.9849 | -0.29112 | 0 | 0
4 | 0.98569 | -0.27565 | 0.0011321 | 0.00028373
5 | 0.98483 | -0.2925 | 0.00052496 | 0.00013157
6 | 0.98595 | -0.27056 | 0 | 0
7 | 0.98604 | -0.26897 | 0.001416 | 0.00035487
8 | 0.9848 | -0.29313 | 0.0012509 | 0.0003135
9 | 0.98788 | -0.2332 | 0.0016719 | 0.00041902
10 | 0.98771 | -0.23641 | 0.0087657 | 0.0021969
11 | 0.98887 | -0.21394 | 0.0047617 | 0.0011934
12 | 0.98787 | -0.23339 | 0.0029459 | 0.00073831
13 | 0.98773 | -0.23613 | 0.0027279 | 0.00068368
14 | 0.98812 | -0.22844 | 0.0040323 | 0.0010106
15 | 0.99035 | -0.18528 | 0.0074244 | 0.0018607
16 | 0.99073 | -0.17773 | 0.00092174 | 0.00023101
17 | 0.98763 | -0.23808 | 0.0045089 | 0.00113
18 | 0.99063 | -0.17972 | 0.0012884 | 0.00032291
19 | 0.99065 | -0.17929 | 0.0014112 | 0.00035367
20 | 0.99075 | -0.17737 | 0 | 0
21 | 0.99123 | -0.16815 | 0 | 0
22 | 0.99827 | -0.033317 | 0.0012416 | 0.00031118
23 | 0.99851 | -0.028724 | 0 | 0
24 | 0.99808 | -0.036941 | 0.0064438 | 0.001615
25 | 0.99805 | -0.037558 | 0.00097588 | 0.00024458
26 | 0.9983 | -0.032665 | 0.0065668 | 0.0016458
27 | 0.99569 | -0.082274 | 0.00082519 | 0.00020681
28 | 0.9957 | -0.082027 | 0.0012558 | 0.00031474
29 | 0.99236 | -0.14625 | 0.00079369 | 0.00019892
30 | 0.98993 | -0.19322 | 0.0056585 | 0.0014181
31 | 0.99125 | -0.1678 | 0.0032202 | 0.00080707
32 | 0.99021 | -0.18787 | 0.0026645 | 0.0006678
33 | 0.9922 | -0.14935 | 0.0047592 | 0.0011928
34 | 0.99927 | -0.014013 | 0.0036028 | 0.00090296
35 | 0.99895 | -0.02019 | 0.003139 | 0.0007867
36 | 1 | 0 | -0.17123 | -0.042914
37 | 0.99695 | -0.058232 | 0.0028091 | 0.00070402
38 | 0.99916 | -0.016117 | 0.0028031 | 0.00070251
39 | 0.99799 | -0.038631 | 0.0020673 | 0.00051811
40 | 0.99576 | -0.080927 | 0 | 0
41 | 0.99818 | -0.034937 | 0.0023033 | 0.00057725
42 | 0.99386 | -0.11738 | 0.00078493 | 0.00019672
43 | 0.9937 | -0.12057 | 0 | 0
44 | 0.99778 | -0.042706 | 0.0031599 | 0.00079194
45 | 0.9976 | -0.046254 | 0.0027494 | 0.00068906
46 | 0.98946 | -0.20248 | 0 | 0
47 | 0.98867 | -0.21776 | 0.0019147 | 0.00047987
48 | 0.98802 | -0.23028 | 0.0015707 | 0.00039365
49 | 0.99758 | -0.046545 | 0.0033315 | 0.00083495
50 | 0.99778 | -0.042743 | 0.0029299 | 0.00073431
51 | 0.99728 | -0.052277 | 0.0030328 | 0.00076009
52 | 0.99803 | -0.037741 | 0.0021418 | 0.0005368
53 | 0.99709 | -0.055976 | 0.0027118 | 0.00067965
54 | 0.99679 | -0.061714 | 0.002153 | 0.00053959
55 | 0.98642 | -0.26139 | 0.0014743 | 0.00036949
56 | 0.98616 | -0.26648 | 0.0015978 | 0.00040045
57 | 0.98647 | -0.2604 | 0.0022927 | 0.00057459
58 | 0.98672 | -0.2557 | 0.0017997 | 0.00045105
59 | 0.98689 | -0.25222 | 0.0024657 | 0.00061796
60 | 0.98744 | -0.24158 | 0.0012282 | 0.00030781
61 | 0.98753 | -0.23982 | 0.00077469 | 0.00019416
62 | 0.98695 | -0.25121 | 0.0018725 | 0.0004693
63 | 0.99672 | -0.063064 | 0.0036503 | 0.00091486
64 | 0.99652 | -0.06693 | 0.0026028 | 0.00065233
65 | 0.99632 | -0.070712 | 0.0030427 | 0.00076256
66 | 0.99616 | -0.073795 | 0.0027769 | 0.00069597
67 | 0.99605 | -0.076074 | 0.0043545 | 0.0010914
68 | 0.98847 | -0.22171 | 0.0024225 | 0.00060714
69 | 0.98961 | -0.19951 | 0.0026478 | 0.00066361
70 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0039616 | -0.00099288 | 0.0039619 | 0.00099279 | 2.507e-07 | -8.9336e-08 | 0.0059104 | 0.0059103 | 0.0059104 | 0.99739 | -0.050239 | 0.99746 | -0.04891 | 1.6237
1 | -0.0073151 | -0.0018332 | 0.007316 | 0.0018335 | 9.2583e-07 | 3.2189e-07 | 0.010913 | 0.010913 | 0.010913 | 0.99746 | -0.04891 | 0.9976 | -0.046254 | 2.998
2 | 0.0017761 | 0.00044404 | -0.001776 | -0.00044426 | 5.4415e-08 | -2.2173e-07 | 0.0026829 | 0.0026829 | 0.0026829 | 0.98493 | -0.29047 | 0.9849 | -0.29112 | 0.73707
3 | -0.005529 | -0.0013846 | 0.0055329 | 0.0013852 | 3.9029e-06 | 5.9768e-07 | 0.0083527 | 0.0083521 | 0.0083527 | 0.98493 | -0.29047 | 0.98569 | -0.27565 | 2.2947
4 | 0.001776 | 0.00044426 | -0.0017759 | -0.00044474 | 1.1661e-07 | -4.7505e-07 | 0.0026829 | 0.0026831 | 0.0026831 | 0.9849 | -0.29112 | 0.98483 | -0.2925 | 0.73713
5 | -0.006665 | -0.001669 | 0.0066666 | 0.0016694 | 1.6157e-06 | 4.9135e-07 | 0.010061 | 0.010061 | 0.010061 | 0.98569 | -0.27565 | 0.98595 | -0.27056 | 2.764
6 | 0.0012509 | 0.00031317 | -0.0012509 | -0.0003135 | 3.7627e-08 | -3.3332e-07 | 0.00189 | 0.0018901 | 0.0018901 | 0.98483 | -0.2925 | 0.9848 | -0.29313 | 0.51925
7 | -0.0066666 | -0.0016694 | 0.0066671 | 0.0016696 | 5.0338e-07 | 1.5302e-07 | 0.010061 | 0.010061 | 0.010061 | 0.98595 | -0.27056 | 0.98604 | -0.26897 | 2.764
8 | -0.0080831 | -0.0020245 | 0.0080841 | 0.0020249 | 9.6062e-07 | 3.9515e-07 | 0.012198 | 0.012198 | 0.012198 | 0.98604 | -0.26897 | 0.98616 | -0.26648 | 3.351
9 | 0.008767 | 0.0021975 | -0.0087657 | -0.0021969 | 1.34e-06 | 5.9528e-07 | 0.013206 | 0.013206 | 0.013206 | 0.98788 | -0.2332 | 0.98771 | -0.23641 | 3.628
10 | -0.010439 | -0.0026165 | 0.010449 | 0.0026213 | 9.5892e-06 | 4.8116e-06 | 0.015724 | 0.015724 | 0.015724 | 0.98788 | -0.2332 | 0.98887 | -0.21394 | 4.3198
11 | 0.016652 | 0.0041774 | -0.016646 | -0.0041738 | 6.1656e-06 | 3.6102e-06 | 0.025059 | 0.025059 | 0.025059 | 0.98887 | -0.21394 | 0.98847 | -0.22171 | 6.8843
12 | -0.031862 | -0.0079921 | 0.031884 | 0.0080058 | 2.193e-05 | 1.3709e-05 | 0.047948 | 0.047947 | 0.047948 | 0.98887 | -0.21394 | 0.98961 | -0.19951 | 13.1724
13 | 0.0072381 | 0.001814 | -0.0072372 | -0.0018137 | 9.4596e-07 | 3.3376e-07 | 0.010903 | 0.010903 | 0.010903 | 0.98787 | -0.23339 | 0.98773 | -0.23613 | 2.9953
14 | -0.010184 | -0.0025523 | 0.010186 | 0.0025535 | 2.4001e-06 | 1.1878e-06 | 0.01534 | 0.01534 | 0.01534 | 0.98787 | -0.23339 | 0.98812 | -0.22844 | 4.2143
15 | 0.0045093 | 0.00113 | -0.0045089 | -0.00113 | 4.1793e-07 | -4.1594e-08 | 0.0067932 | 0.0067933 | 0.0067933 | 0.98773 | -0.23613 | 0.98763 | -0.23808 | 1.8663
16 | -0.014219 | -0.0035641 | 0.014223 | 0.0035667 | 4.5632e-06 | 2.5803e-06 | 0.021412 | 0.021412 | 0.021412 | 0.98812 | -0.22844 | 0.98847 | -0.22171 | 5.8825
17 | -0.0074244 | -0.0018607 | 0.0074271 | 0.0018617 | 2.6693e-06 | 9.7205e-07 | 0.011155 | 0.011155 | 0.011155 | 0.99035 | -0.18528 | 0.99073 | -0.17773 | 3.0647
18 | -0.0083489 | -0.0020927 | 0.008349 | 0.0020928 | 1.4427e-07 | 6.0823e-08 | 0.01254 | 0.01254 | 0.01254 | 0.99073 | -0.17773 | 0.99075 | -0.17737 | 3.4449
19 | -0.0012884 | -0.00032291 | 0.0012885 | 0.00032268 | 2.6502e-08 | -2.2598e-07 | 0.0019353 | 0.0019352 | 0.0019353 | 0.99063 | -0.17972 | 0.99065 | -0.17929 | 0.53168
20 | -0.0026996 | -0.00067635 | 0.0026999 | 0.000676 | 2.4716e-07 | -3.58e-07 | 0.0040549 | 0.0040547 | 0.0040549 | 0.99065 | -0.17929 | 0.99075 | -0.17737 | 1.114
21 | -0.011049 | -0.0027688 | 0.011054 | 0.0027713 | 4.8559e-06 | 2.5019e-06 | 0.016594 | 0.016594 | 0.016594 | 0.99075 | -0.17737 | 0.99123 | -0.16815 | 4.5588
22 | -0.041897 | -0.01054 | 0.041941 | 0.010567 | 4.3877e-05 | 2.77e-05 | 0.062909 | 0.062909 | 0.062909 | 0.99123 | -0.16815 | 0.99236 | -0.14625 | 17.2828
23 | 0.030843 | 0.0077685 | -0.030807 | -0.0077454 | 3.6933e-05 | 2.3046e-05 | 0.046315 | 0.046316 | 0.046316 | 0.99123 | -0.16815 | 0.98993 | -0.19322 | 12.724
24 | -0.0086627 | -0.0021707 | 0.0086646 | 0.0021716 | 1.896e-06 | 8.1687e-07 | 0.012912 | 0.012912 | 0.012912 | 0.99827 | -0.033317 | 0.99851 | -0.028724 | 3.5474
25 | 0.007421 | 0.0018596 | -0.0074198 | -0.0018591 | 1.2808e-06 | 4.5484e-07 | 0.011062 | 0.011062 | 0.011062 | 0.99827 | -0.033317 | 0.99808 | -0.036941 | 3.039
26 | 0.015304 | 0.003839 | -0.015297 | -0.0038349 | 7.2246e-06 | 4.1396e-06 | 0.022808 | 0.022808 | 0.022808 | 0.99851 | -0.028724 | 0.99799 | -0.038631 | 6.266
27 | 0.006568 | 0.0016461 | -0.0065668 | -0.0016458 | 1.2331e-06 | 3.4035e-07 | 0.009788 | 0.0097881 | 0.0097881 | 0.99851 | -0.028724 | 0.9983 | -0.032665 | 2.689
28 | -0.030537 | -0.0076567 | 0.030549 | 0.0076644 | 1.2423e-05 | 7.7417e-06 | 0.045508 | 0.045508 | 0.045508 | 0.99851 | -0.028724 | 0.99895 | -0.02019 | 12.5023
29 | 0.00097591 | 0.00024413 | -0.00097588 | -0.00024458 | 2.8665e-08 | -4.5359e-07 | 0.0014548 | 0.001455 | 0.001455 | 0.99808 | -0.036941 | 0.99805 | -0.037558 | 0.39972
30 | -0.00082519 | -0.00020681 | 0.0008252 | 0.0002066 | 9.7106e-09 | -2.1526e-07 | 0.0012332 | 0.0012331 | 0.0012332 | 0.99569 | -0.082274 | 0.9957 | -0.082027 | 0.3388
31 | -0.002081 | -0.00052134 | 0.0020811 | 0.00052102 | 1.0898e-07 | -3.2113e-07 | 0.0031099 | 0.0031098 | 0.0031099 | 0.9957 | -0.082027 | 0.99576 | -0.080927 | 0.85437
32 | -0.042735 | -0.010766 | 0.042787 | 0.0108 | 5.257e-05 | 3.3203e-05 | 0.064099 | 0.064099 | 0.064099 | 0.99236 | -0.14625 | 0.9937 | -0.12057 | 17.6097
33 | 0.025148 | 0.0063273 | -0.025137 | -0.0063204 | 1.112e-05 | 6.8505e-06 | 0.03781 | 0.03781 | 0.03781 | 0.98993 | -0.19322 | 0.98946 | -0.20248 | 10.3874
34 | 0.037251 | 0.0093717 | -0.037216 | -0.0093493 | 3.5691e-05 | 2.2451e-05 | 0.055933 | 0.055933 | 0.055933 | 0.99125 | -0.1678 | 0.99021 | -0.18787 | 15.3662
35 | -0.040472 | -0.010179 | 0.040507 | 0.010201 | 3.5694e-05 | 2.2512e-05 | 0.060767 | 0.060767 | 0.060767 | 0.99125 | -0.1678 | 0.9922 | -0.14935 | 16.6942
36 | 0.034551 | 0.0086815 | -0.034532 | -0.0086694 | 1.9177e-05 | 1.2029e-05 | 0.051929 | 0.051929 | 0.051929 | 0.99021 | -0.18787 | 0.98961 | -0.19951 | 14.2662
37 | -0.045267 | -0.011394 | 0.045329 | 0.011434 | 6.2379e-05 | 3.9456e-05 | 0.067904 | 0.067904 | 0.067904 | 0.9922 | -0.14935 | 0.9937 | -0.12057 | 18.655
38 | 0.033698 | 0.0084573 | -0.033688 | -0.0084511 | 9.924e-06 | 6.2137e-06 | 0.050184 | 0.050184 | 0.050184 | 0.99927 | -0.014013 | 0.99895 | -0.02019 | 13.7868
39 | -0.037301 | -0.0093603 | 0.037326 | 0.009376 | 2.4943e-05 | 1.5681e-05 | 0.055549 | 0.055549 | 0.055549 | 0.99927 | -0.014013 | 1 | 0 | 15.2607
40 | 0.094324 | 0.023995 | -0.09406 | -0.023826 | 0.00026388 | 0.00016842 | 0.14048 | 0.14048 | 0.14048 | 1 | 0 | 0.99695 | -0.058232 | 38.5936
41 | 0.037934 | 0.0095432 | -0.037905 | -0.0095248 | 2.9186e-05 | 1.8359e-05 | 0.056459 | 0.056459 | 0.056459 | 1 | 0 | 0.99916 | -0.016117 | 15.5108
42 | 0.091251 | 0.023122 | -0.091151 | -0.023059 | 9.9375e-05 | 6.3414e-05 | 0.13629 | 0.13629 | 0.13629 | 0.99695 | -0.058232 | 0.99576 | -0.080927 | 37.4417
43 | 0.035102 | 0.0088223 | -0.03507 | -0.0088026 | 3.1509e-05 | 1.9763e-05 | 0.052285 | 0.052285 | 0.052285 | 0.99916 | -0.016117 | 0.99818 | -0.034937 | 14.364
44 | 0.01323 | 0.0033167 | -0.013227 | -0.0033153 | 2.5683e-06 | 1.4138e-06 | 0.019726 | 0.019726 | 0.019726 | 0.99799 | -0.038631 | 0.99778 | -0.042706 | 5.4192
45 | 0.08907 | 0.022538 | -0.088915 | -0.022438 | 0.00015551 | 9.9222e-05 | 0.13318 | 0.13318 | 0.13318 | 0.99576 | -0.080927 | 0.99386 | -0.11738 | 36.5874
46 | 0.032767 | 0.0082253 | -0.032763 | -0.0082226 | 4.3815e-06 | 2.7402e-06 | 0.048852 | 0.048852 | 0.048852 | 0.99818 | -0.034937 | 0.99803 | -0.037741 | 13.4208
47 | 0.08813 | 0.022242 | -0.088116 | -0.022233 | 1.3457e-05 | 8.5859e-06 | 0.132 | 0.132 | 0.132 | 0.99386 | -0.11738 | 0.9937 | -0.12057 | 36.2646
48 | 0.010067 | 0.0025234 | -0.010065 | -0.0025226 | 1.7015e-06 | 8.261e-07 | 0.015013 | 0.015014 | 0.015014 | 0.99778 | -0.042706 | 0.9976 | -0.046254 | 4.1246
49 | 0.025137 | 0.0063204 | -0.025119 | -0.0063091 | 1.8332e-05 | 1.1294e-05 | 0.03781 | 0.03781 | 0.03781 | 0.98946 | -0.20248 | 0.98867 | -0.21776 | 10.3874
50 | 0.023204 | 0.0058293 | -0.02319 | -0.0058208 | 1.3854e-05 | 8.4788e-06 | 0.034929 | 0.034929 | 0.034929 | 0.98867 | -0.21776 | 0.98802 | -0.23028 | 9.5958
51 | 0.021619 | 0.0054271 | -0.02161 | -0.0054212 | 9.8325e-06 | 5.9763e-06 | 0.032563 | 0.032563 | 0.032563 | 0.98802 | -0.23028 | 0.98753 | -0.23982 | 8.946
52 | -0.027679 | -0.0069438 | 0.027684 | 0.0069469 | 5.0178e-06 | 3.1089e-06 | 0.041289 | 0.041289 | 0.041289 | 0.99758 | -0.046545 | 0.99778 | -0.042743 | 11.3431
53 | 0.024347 | 0.0061088 | -0.024341 | -0.0061048 | 6.6525e-06 | 4.0821e-06 | 0.036319 | 0.036319 | 0.036319 | 0.99758 | -0.046545 | 0.99728 | -0.052277 | 9.9779
54 | -0.030614 | -0.0076812 | 0.030621 | 0.0076858 | 7.3042e-06 | 4.5526e-06 | 0.045658 | 0.045658 | 0.045658 | 0.99778 | -0.042743 | 0.99803 | -0.037741 | 12.5435
55 | 0.021308 | 0.0053447 | -0.021304 | -0.0053424 | 3.7565e-06 | 2.2749e-06 | 0.031794 | 0.031794 | 0.031794 | 0.99728 | -0.052277 | 0.99709 | -0.055976 | 8.7347
56 | 0.018592 | 0.0046627 | -0.018587 | -0.0046597 | 5.0827e-06 | 3.0234e-06 | 0.027747 | 0.027747 | 0.027747 | 0.99709 | -0.055976 | 0.99679 | -0.061714 | 7.6229
57 | 0.016434 | 0.0041201 | -0.016433 | -0.0041195 | 1.0573e-06 | 6.1562e-07 | 0.024533 | 0.024533 | 0.024533 | 0.99679 | -0.061714 | 0.99672 | -0.063064 | 6.74
58 | 0.0096842 | 0.0024264 | -0.0096819 | -0.0024253 | 2.3452e-06 | 1.127e-06 | 0.014608 | 0.014608 | 0.014608 | 0.98642 | -0.26139 | 0.98616 | -0.26648 | 4.0133
59 | -0.011158 | -0.0027959 | 0.011159 | 0.0027962 | 5.2599e-07 | 2.7343e-07 | 0.016832 | 0.016832 | 0.016832 | 0.98642 | -0.26139 | 0.98647 | -0.2604 | 4.6243
60 | -0.013452 | -0.0033708 | 0.013455 | 0.0033725 | 3.016e-06 | 1.6808e-06 | 0.020291 | 0.02029 | 0.020291 | 0.98647 | -0.2604 | 0.98672 | -0.2557 | 5.5743
61 | -0.015254 | -0.0038235 | 0.015257 | 0.003825 | 2.526e-06 | 1.4541e-06 | 0.023004 | 0.023004 | 0.023004 | 0.98672 | -0.2557 | 0.98689 | -0.25222 | 6.3199
62 | -0.017723 | -0.0044429 | 0.017723 | 0.0044434 | 8.5085e-07 | 5.0394e-07 | 0.026722 | 0.026722 | 0.026722 | 0.98689 | -0.25222 | 0.98695 | -0.25121 | 7.3412
63 | -0.020833 | -0.005226 | 0.020835 | 0.005227 | 1.7528e-06 | 1.0612e-06 | 0.031396 | 0.031396 | 0.031396 | 0.98744 | -0.24158 | 0.98753 | -0.23982 | 8.6253
64 | 0.019605 | 0.0049181 | -0.019596 | -0.0049127 | 8.9976e-06 | 5.4071e-06 | 0.029545 | 0.029545 | 0.029545 | 0.98744 | -0.24158 | 0.98695 | -0.25121 | 8.1169
65 | 0.012783 | 0.0032047 | -0.01278 | -0.0032034 | 2.3542e-06 | 1.2821e-06 | 0.019084 | 0.019084 | 0.019084 | 0.99672 | -0.063064 | 0.99652 | -0.06693 | 5.2428
66 | 0.010178 | 0.002551 | -0.010176 | -0.0025501 | 1.8337e-06 | 8.978e-07 | 0.015197 | 0.015197 | 0.015197 | 0.99652 | -0.06693 | 0.99632 | -0.070712 | 4.1751
67 | 0.007133 | 0.0017876 | -0.007132 | -0.0017872 | 1.0475e-06 | 3.4991e-07 | 0.010653 | 0.010653 | 0.010653 | 0.99632 | -0.070712 | 0.99616 | -0.073795 | 2.9267
68 | 0.004355 | 0.0010913 | -0.0043545 | -0.0010914 | 4.727e-07 | -8.5215e-08 | 0.0065052 | 0.0065053 | 0.0065053 | 0.99616 | -0.073795 | 0.99605 | -0.076074 | 1.7872

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17123 | 0.042914

## res_load
| p_mw | q_mvar
0 | 0.0039616 | 0.00099288
1 | 0.0033532 | 0.00084039
2 | 0.003753 | 0.00094058
3 | 0.0011321 | 0.00028373
4 | 0.00052496 | 0.00013157
5 | 0.001416 | 0.00035487
6 | 0.0012509 | 0.0003135
7 | 0.0016719 | 0.00041902
8 | 0.0087657 | 0.0021969
9 | 0.0047617 | 0.0011934
10 | 0.0029459 | 0.00073831
11 | 0.0027279 | 0.00068368
12 | 0.0040323 | 0.0010106
13 | 0.0074244 | 0.0018607
14 | 0.00092174 | 0.00023101
15 | 0.0045089 | 0.00113
16 | 0.0012884 | 0.00032291
17 | 0.0014112 | 0.00035367
18 | 0.0012416 | 0.00031118
19 | 0.0064438 | 0.001615
20 | 0.00097588 | 0.00024458
21 | 0.0065668 | 0.0016458
22 | 0.00082519 | 0.00020681
23 | 0.0012558 | 0.00031474
24 | 0.00079369 | 0.00019892
25 | 0.0056585 | 0.0014181
26 | 0.0032202 | 0.00080707
27 | 0.0026645 | 0.0006678
28 | 0.0047592 | 0.0011928
29 | 0.0036028 | 0.00090296
30 | 0.003139 | 0.0007867
31 | 0.0028091 | 0.00070402
32 | 0.0028031 | 0.00070251
33 | 0.0020673 | 0.00051811
34 | 0.0023033 | 0.00057725
35 | 0.00078493 | 0.00019672
36 | 0.0031599 | 0.00079194
37 | 0.0027494 | 0.00068906
38 | 0.0019147 | 0.00047987
39 | 0.0015707 | 0.00039365
40 | 0.0033315 | 0.00083495
41 | 0.0029299 | 0.00073431
42 | 0.0030328 | 0.00076009
43 | 0.0021418 | 0.0005368
44 | 0.0027118 | 0.00067965
45 | 0.002153 | 0.00053959
46 | 0.0014743 | 0.00036949
47 | 0.0015978 | 0.00040045
48 | 0.0022927 | 0.00057459
49 | 0.0017997 | 0.00045105
50 | 0.0024657 | 0.00061796
51 | 0.0012282 | 0.00030781
52 | 0.00077469 | 0.00019416
53 | 0.0018725 | 0.0004693
54 | 0.0036503 | 0.00091486
55 | 0.0026028 | 0.00065233
56 | 0.0030427 | 0.00076256
57 | 0.0027769 | 0.00069597
58 | 0.0043545 | 0.0010914
59 | 0.0024225 | 0.00060714
60 | 0.0026478 | 0.00066361

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1