## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2236-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2236-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2236-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2236-12_0_2_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_2236-12_0_2_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_2236-12_0_2_node_80 | 0.4 | n |  | TRUE
6 | bus_LV_2236-12_0_2_node_134 | 0.4 | n |  | TRUE
7 | bus_LV_2236-12_0_2_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_2236-12_0_2_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_2236-12_0_2_node_135 | 0.4 | n |  | TRUE
10 | bus_LV_2236-12_0_2_node_136 | 0.4 | n |  | TRUE
11 | bus_LV_2236-12_0_2_node_156 | 0.4 | n |  | TRUE
12 | bus_LV_2236-12_0_2_node_162 | 0.4 | n |  | TRUE
13 | bus_LV_2236-12_0_2_node_153 | 0.4 | n |  | TRUE
14 | bus_LV_2236-12_0_2_node_154 | 0.4 | n |  | TRUE
15 | bus_LV_2236-12_0_2_node_155 | 0.4 | n |  | TRUE
16 | bus_LV_2236-12_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_2236-12_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2236-12_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_2236-12_0_2_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_2236-12_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_2236-12_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2236-12_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_2236-12_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_2236-12_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_2236-12_0_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_2236-12_0_2_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_2236-12_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_2236-12_0_2_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_2236-12_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_2236-12_0_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_2236-12_0_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2236-12_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_2236-12_0_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_2236-12_0_2_node_101 | 0.4 | n |  | TRUE
35 | bus_LV_2236-12_0_2_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_2236-12_0_2_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_2236-12_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_2236-12_0_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_2236-12_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_2236-12_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_2236-12_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_2236-12_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2236-12_0_2_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_2236-12_0_2_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_2236-12_0_2_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_2236-12_0_2_node_163 | 0.4 | n |  | TRUE
47 | bus_LV_2236-12_0_2_node_164 | 0.4 | n |  | TRUE
48 | bus_LV_2236-12_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_2236-12_0_2_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_2236-12_0_2_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_2236-12_0_2_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_2236-12_0_2_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_2236-12_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_2236-12_0_2_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_2236-12_0_2_node_119 | 0.4 | n |  | TRUE
56 | bus_LV_2236-12_0_2_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_2236-12_0_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_2236-12_0_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_2236-12_0_2_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_2236-12_0_2_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_2236-12_0_2_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_2236-12_0_2_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_2236-12_0_2_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_2236-12_0_2_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_2236-12_0_2_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_2236-12_0_2_node_117 | 0.4 | n |  | TRUE
67 | bus_LV_2236-12_0_2_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_2236-12_0_2_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_2236-12_0_2_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_2236-12_0_2_node_118 | 0.4 | n |  | TRUE
71 | bus_LV_2236-12_0_2_node_122 | 0.4 | n |  | TRUE
72 | bus_MV_27_1_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2236-12_0_2_load_0 | 0 | 0.0031977 | 0.00080142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2236-12_0_2_load_1 | 1 | 0.0030541 | 0.00076542 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2236-12_0_2_load_131 | 4 | 0.0017893 | 0.00044845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2236-12_0_2_load_132 | 7 | 0.0026559 | 0.00066563 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2236-12_0_2_load_133 | 8 | 0.0031104 | 0.00077953 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2236-12_0_2_load_135 | 9 | 0.0028413 | 0.00071211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2236-12_0_2_load_162 | 12 | 0.0020871 | 0.00052307 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2236-12_0_2_load_153 | 13 | 0.0018909 | 0.00047391 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2236-12_0_2_load_154 | 14 | 0.0021499 | 0.00053882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2236-12_0_2_load_155 | 15 | 0.0028599 | 0.00071677 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2236-12_0_2_load_11 | 16 | 0.00060325 | 0.00015119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2236-12_0_2_load_12 | 17 | 0.00029192 | 7.3162e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2236-12_0_2_load_13 | 18 | 0.00060599 | 0.00015188 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2236-12_0_2_load_25 | 20 | 0.0039018 | 0.00097789 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2236-12_0_2_load_29 | 23 | 0.002292 | 0.00057442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2236-12_0_2_load_30 | 24 | 0.0025576 | 0.00064099 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2236-12_0_2_load_67 | 25 | 0.0020876 | 0.00052321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2236-12_0_2_load_76 | 26 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2236-12_0_2_load_52 | 27 | 0.0038104 | 0.00095497 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2236-12_0_2_load_31 | 28 | 0.0029543 | 0.00074042 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2236-12_0_2_load_32 | 29 | 0.0046292 | 0.0011602 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2236-12_0_2_load_34 | 31 | 0.001902 | 0.00047668 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2236-12_0_2_load_101 | 34 | 0.0024446 | 0.00061268 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2236-12_0_2_load_81 | 35 | 0.0066177 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2236-12_0_2_load_69 | 36 | 0.0042182 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2236-12_0_2_load_37 | 37 | 0.0034958 | 0.00087614 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2236-12_0_2_load_38 | 38 | 0.0023627 | 0.00059215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2236-12_0_2_load_40 | 40 | 0.0029882 | 0.00074891 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2236-12_0_2_load_41 | 41 | 0.0016359 | 0.00041 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2236-12_0_2_load_42 | 42 | 0.0021924 | 0.00054946 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2236-12_0_2_load_50 | 43 | 0.0037415 | 0.0009377 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2236-12_0_2_load_77 | 44 | 0.0022567 | 0.00056558 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2236-12_0_2_load_79 | 45 | 0.0023742 | 0.00059502 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2236-12_0_2_load_163 | 46 | 0.0019527 | 0.00048939 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2236-12_0_2_load_164 | 47 | 0.0028314 | 0.00070961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2236-12_0_2_load_86 | 49 | 0.0041483 | 0.0010397 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2236-12_0_2_load_114 | 50 | 0.0035509 | 0.00088993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2236-12_0_2_load_71 | 52 | 0.0020694 | 0.00051865 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2236-12_0_2_load_54 | 53 | 0.0020031 | 0.00050201 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2236-12_0_2_load_55 | 54 | 0.0019615 | 0.0004916 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2236-12_0_2_load_119 | 55 | 0.0016834 | 0.0004219 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2236-12_0_2_load_64 | 56 | 0.003477 | 0.00087142 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2236-12_0_2_load_62 | 57 | 0.0016993 | 0.00042588 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2236-12_0_2_load_63 | 58 | 0.00066013 | 0.00016544 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2236-12_0_2_load_68 | 59 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2236-12_0_2_load_70 | 60 | 0.00082373 | 0.00020645 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2236-12_0_2_load_72 | 61 | 0.0045803 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2236-12_0_2_load_73 | 62 | 0.0032083 | 0.00080408 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2236-12_0_2_load_74 | 63 | 0.003005 | 0.00075314 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2236-12_0_2_load_75 | 64 | 0.0032775 | 0.00082141 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2236-12_0_2_load_78 | 65 | 0.0015953 | 0.00039981 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2236-12_0_2_load_117 | 66 | 0.0024151 | 0.00060528 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2236-12_0_2_load_102 | 67 | 0.0030474 | 0.00076375 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2236-12_0_2_load_115 | 68 | 0.0025108 | 0.00062928 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2236-12_0_2_load_116 | 69 | 0.0027268 | 0.00068339 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2236-12_0_2_load_118 | 70 | 0.0016712 | 0.00041883 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2236-12_0_2_load_122 | 71 | 0.0020476 | 0.00051317 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2236-12_0_2_line_0 |  | 0 | 1 | 0.12051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2236-12_0_2_line_1 |  | 1 | 2 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2236-12_0_2_line_2 |  | 2 | 3 | 0.12456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2236-12_0_2_line_3 |  | 3 | 25 | 0.027522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2236-12_0_2_line_4 |  | 3 | 21 | 0.036012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2236-12_0_2_line_5 |  | 4 | 5 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2236-12_0_2_line_6 |  | 4 | 6 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2236-12_0_2_line_7 |  | 5 | 66 | 0.038546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2236-12_0_2_line_8 |  | 5 | 45 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2236-12_0_2_line_9 |  | 6 | 10 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2236-12_0_2_line_10 |  | 6 | 7 | 0.01023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2236-12_0_2_line_11 |  | 7 | 8 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2236-12_0_2_line_12 |  | 8 | 9 | 0.0012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2236-12_0_2_line_13 |  | 10 | 11 | 0.028773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2236-12_0_2_line_14 |  | 10 | 12 | 0.01751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2236-12_0_2_line_15 |  | 11 | 14 | 0.01757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2236-12_0_2_line_16 |  | 12 | 46 | 0.031062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2236-12_0_2_line_17 |  | 13 | 14 | 0.0045157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2236-12_0_2_line_18 |  | 13 | 15 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2236-12_0_2_line_19 |  | 16 | 17 | 0.0062061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2236-12_0_2_line_20 |  | 16 | 18 | 0.037234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2236-12_0_2_line_21 |  | 17 | 19 | 0.24803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2236-12_0_2_line_22 |  | 19 | 32 | 0.034583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2236-12_0_2_line_23 |  | 20 | 21 | 0.057072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2236-12_0_2_line_24 |  | 20 | 22 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2236-12_0_2_line_25 |  | 21 | 23 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2236-12_0_2_line_26 |  | 22 | 24 | 0.026676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2236-12_0_2_line_27 |  | 23 | 26 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2236-12_0_2_line_28 |  | 24 | 27 | 0.0094604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2236-12_0_2_line_29 |  | 25 | 59 | 0.023922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2236-12_0_2_line_30 |  | 26 | 63 | 0.0071951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2236-12_0_2_line_31 |  | 27 | 51 | 0.033045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2236-12_0_2_line_32 |  | 27 | 52 | 0.069405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2236-12_0_2_line_33 |  | 28 | 29 | 0.0010536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2236-12_0_2_line_34 |  | 28 | 30 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2236-12_0_2_line_35 |  | 29 | 31 | 0.0056421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2236-12_0_2_line_36 |  | 30 | 32 | 0.048596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2236-12_0_2_line_37 |  | 30 | 33 | 0.040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2236-12_0_2_line_38 |  | 32 | 34 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2236-12_0_2_line_39 |  | 33 | 35 | 0.022388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2236-12_0_2_line_40 |  | 33 | 36 | 0.03171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2236-12_0_2_line_41 |  | 34 | 67 | 0.025997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2236-12_0_2_line_42 |  | 36 | 59 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2236-12_0_2_line_43 |  | 37 | 38 | 0.020135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2236-12_0_2_line_44 |  | 37 | 39 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2236-12_0_2_line_45 |  | 38 | 40 | 0.005559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2236-12_0_2_line_46 |  | 39 | 41 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2236-12_0_2_line_47 |  | 39 | 42 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2236-12_0_2_line_48 |  | 40 | 43 | 0.02147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2236-12_0_2_line_49 |  | 41 | 44 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2236-12_0_2_line_50 |  | 42 | 45 | 0.0078002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2236-12_0_2_line_51 |  | 43 | 48 | 0.0087806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2236-12_0_2_line_52 |  | 44 | 65 | 0.023033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2236-12_0_2_line_53 |  | 46 | 47 | 0.002016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2236-12_0_2_line_54 |  | 48 | 49 | 0.0045704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2236-12_0_2_line_55 |  | 48 | 50 | 0.020894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2236-12_0_2_line_56 |  | 51 | 53 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2236-12_0_2_line_57 |  | 51 | 54 | 0.023885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2236-12_0_2_line_58 |  | 52 | 60 | 0.029516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2236-12_0_2_line_59 |  | 53 | 55 | 0.043804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2236-12_0_2_line_60 |  | 54 | 56 | 0.0031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2236-12_0_2_line_61 |  | 56 | 58 | 0.0093921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2236-12_0_2_line_62 |  | 57 | 58 | 9.3224e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2236-12_0_2_line_63 |  | 61 | 62 | 0.01206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2236-12_0_2_line_64 |  | 61 | 63 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2236-12_0_2_line_65 |  | 62 | 64 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2236-12_0_2_line_66 |  | 64 | 65 | 0.0089164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2236-12_0_2_line_67 |  | 66 | 68 | 0.0063371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2236-12_0_2_line_68 |  | 68 | 69 | 0.045909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2236-12_0_2_line_69 |  | 69 | 70 | 0.010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2236-12_0_2_line_70 |  | 70 | 71 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2236-12_0_2_trafo_77 | 0.63 MVA 20/0.4 kV | 72 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2573843.1615 | 1173936.358 | 2573742.0673 | 1174001.9537
1 | 2573867.9524 | 1173919.2747 | 2573852.1291 | 1173930.6608 | 2573843.1615 | 1173936.358
2 | 2573980.0726 | 1173973.5359 | 2573867.9524 | 1173919.2747
3 | 2573980.0726 | 1173973.5359 | 2574000.1787 | 1173992.3295
4 | 2573980.0726 | 1173973.5359 | 2574002.9658 | 1173945.6887
5 | 2574191.7614 | 1174069.9349 | 2574205.6543 | 1174077.0992
6 | 2574220.9645 | 1174084.9944 | 2574205.6543 | 1174077.0992
7 | 2574191.7614 | 1174069.9349 | 2574193.7819 | 1174063.3116 | 2574198.5637 | 1174032.0543
8 | 2574191.7614 | 1174069.9349 | 2574182.1561 | 1174065.0008
9 | 2574245.1957 | 1174096.029 | 2574236.0986 | 1174092.7999 | 2574220.9645 | 1174084.9944
10 | 2574220.9645 | 1174084.9944 | 2574219.6187 | 1174095.136
11 | 2574219.6187 | 1174095.136 | 2574216.6597 | 1174117.4333
12 | 2574216.4926 | 1174118.6921 | 2574216.6597 | 1174117.4333
13 | 2574245.1957 | 1174096.029 | 2574273.0736 | 1174103.4573
14 | 2574245.1957 | 1174096.029 | 2574248.5186 | 1174078.8367
15 | 2574273.0736 | 1174103.4573 | 2574276.2337 | 1174096.907 | 2574278.2743 | 1174086.8138
16 | 2574248.5186 | 1174078.8367 | 2574254.4132 | 1174048.3391
17 | 2574279.1692 | 1174082.3877 | 2574278.2743 | 1174086.8138
18 | 2574290.2823 | 1174065.675 | 2574282.7619 | 1174064.6179 | 2574279.1692 | 1174082.3877
19 | 2573797.5524 | 1174267.1845 | 2573803.6785 | 1174266.1915
20 | 2573762.0143 | 1174278.0335 | 2573775.29 | 1174272.973 | 2573793.1889 | 1174267.8919 | 2573797.5524 | 1174267.1845
21 | 2574036.9149 | 1174181.8069 | 2573803.6785 | 1174266.1915
22 | 2574043.0901 | 1174147.7849 | 2574036.9149 | 1174181.8069
23 | 2574002.9658 | 1173945.6887 | 2574029.3368 | 1173921.0615 | 2574047.126 | 1173909.9206
24 | 2574060.0017 | 1173900.9404 | 2574049.2312 | 1173908.6021 | 2574047.126 | 1173909.9206
25 | 2574002.9658 | 1173945.6887 | 2574018.2808 | 1173954.5045 | 2574019.8599 | 1173955.5413
26 | 2574060.0017 | 1173900.9404 | 2574083.9789 | 1173912.6314
27 | 2574052.846 | 1173977.1983 | 2574019.8599 | 1173955.5413
28 | 2574092.4823 | 1173916.7775 | 2574083.9789 | 1173912.6314
29 | 2574000.1787 | 1173992.3295 | 2574013.6217 | 1174004.895 | 2574017.3221 | 1174008.9924
30 | 2574058.8607 | 1173981.1472 | 2574052.846 | 1173977.1983
31 | 2574122.9454 | 1173929.549 | 2574098.3741 | 1173919.6503 | 2574092.4823 | 1173916.7775
32 | 2574092.4823 | 1173916.7775 | 2574121.0994 | 1173853.5467
33 | 2574073.65 | 1174104.1827 | 2574074.6846 | 1174104.3816
34 | 2574051.7746 | 1174099.9782 | 2574073.65 | 1174104.1827
35 | 2574080.2253 | 1174105.4465 | 2574074.6846 | 1174104.3816
36 | 2574043.0901 | 1174147.7849 | 2574051.7746 | 1174099.9782
37 | 2574057.1732 | 1174059.6118 | 2574056.7223 | 1174070.2304 | 2574051.7746 | 1174099.9782
38 | 2574043.0901 | 1174147.7849 | 2574060.9236 | 1174152.7445
39 | 2574057.1732 | 1174059.6118 | 2574065.2798 | 1174060.0769 | 2574076.3565 | 1174069.0702
40 | 2574057.1732 | 1174059.6118 | 2574052.818 | 1174049.7145 | 2574048.5939 | 1174043.6186 | 2574039.5585 | 1174033.614
41 | 2574060.9236 | 1174152.7445 | 2574085.9705 | 1174159.7102
42 | 2574039.5585 | 1174033.614 | 2574017.3221 | 1174008.9924
43 | 2574153.1285 | 1174095.0749 | 2574156.037 | 1174075.1516
44 | 2574157.2431 | 1174051.0742 | 2574157.4357 | 1174065.5697 | 2574156.037 | 1174075.1516
45 | 2574153.1285 | 1174095.0749 | 2574152.3255 | 1174100.5756
46 | 2574157.2431 | 1174051.0742 | 2574149.4283 | 1174045.5941 | 2574140.6462 | 1174039.5688
47 | 2574157.2431 | 1174051.0742 | 2574166.7806 | 1174057.1028 | 2574175.2178 | 1174061.4368
48 | 2574152.3255 | 1174100.5756 | 2574150.3589 | 1174114.0474 | 2574149.7863 | 1174121.8817
49 | 2574140.6462 | 1174039.5688 | 2574129.0758 | 1174031.6305 | 2574129.0576 | 1174031.6176
50 | 2574175.2178 | 1174061.4368 | 2574182.1561 | 1174065.0008
51 | 2574149.1462 | 1174130.6389 | 2574149.7863 | 1174121.8817
52 | 2574110.2309 | 1174018.3485 | 2574129.0576 | 1174031.6176
53 | 2574254.4132 | 1174048.3391 | 2574254.7958 | 1174046.3598
54 | 2574149.1462 | 1174130.6389 | 2574152.5915 | 1174133.642
55 | 2574149.1462 | 1174130.6389 | 2574133.396 | 1174116.9093
56 | 2574122.9454 | 1173929.549 | 2574116.5153 | 1173952.2415
57 | 2574122.9454 | 1173929.549 | 2574145.0995 | 1173938.4767
58 | 2574141.2086 | 1173831.9558 | 2574139.0042 | 1173834.6309 | 2574121.491 | 1173853.2273 | 2574121.0994 | 1173853.5467
59 | 2574126.5421 | 1173988.7032 | 2574115.274 | 1173980.1971 | 2574112.3437 | 1173976.23 | 2574111.4145 | 1173971.7651 | 2574112.3042 | 1173967.1033 | 2574116.5153 | 1173952.2415
60 | 2574147.9884 | 1173939.6408 | 2574145.0995 | 1173938.4767
61 | 2574156.7034 | 1173943.1422 | 2574153.7053 | 1173941.9446 | 2574147.9884 | 1173939.6408
62 | 2574156.79 | 1173943.1768 | 2574156.7034 | 1173943.1422
63 | 2574075.2291 | 1173993.2252 | 2574084.9192 | 1174000.4043
64 | 2574058.8607 | 1173981.1472 | 2574059.4416 | 1173981.5286 | 2574075.2291 | 1173993.2252
65 | 2574084.9192 | 1174000.4043 | 2574087.815 | 1174002.5497 | 2574102.9427 | 1174013.2118
66 | 2574110.2309 | 1174018.3485 | 2574102.9427 | 1174013.2118
67 | 2574199.5221 | 1174025.79 | 2574198.5637 | 1174032.0543
68 | 2574199.5221 | 1174025.79 | 2574201.3294 | 1174013.976 | 2574199.365 | 1174008.7929 | 2574177.8583 | 1173996.6795 | 2574176.0246 | 1173993.4302
69 | 2574176.0246 | 1173993.4302 | 2574176.0246 | 1173993.4302 | 2574176.8089 | 1173983.2839
70 | 2574177.6321 | 1173972.6348 | 2574176.8089 | 1173983.2839

## bus_geodata
| x | y | coords
0 | 2573742.0673 | 1174001.9537
1 | 2573843.1615 | 1173936.358
2 | 2573867.9524 | 1173919.2747
3 | 2573980.0726 | 1173973.5359
4 | 2574205.6543 | 1174077.0992
5 | 2574191.7614 | 1174069.9348
6 | 2574220.9645 | 1174084.9944
7 | 2574219.6187 | 1174095.136
8 | 2574216.6597 | 1174117.4333
9 | 2574216.4926 | 1174118.6921
10 | 2574245.1957 | 1174096.029
11 | 2574273.0736 | 1174103.4573
12 | 2574248.5186 | 1174078.8367
13 | 2574279.1692 | 1174082.3877
14 | 2574278.2743 | 1174086.8138
15 | 2574290.2823 | 1174065.675
16 | 2573797.5524 | 1174267.1845
17 | 2573803.6785 | 1174266.1915
18 | 2573762.0143 | 1174278.0335
19 | 2574036.9149 | 1174181.8069
20 | 2574047.126 | 1173909.9206
21 | 2574002.9658 | 1173945.6887
22 | 2574060.0017 | 1173900.9404
23 | 2574019.8599 | 1173955.5413
24 | 2574083.9789 | 1173912.6314
25 | 2574000.1787 | 1173992.3295
26 | 2574052.846 | 1173977.1983
27 | 2574092.4823 | 1173916.7775
28 | 2574073.65 | 1174104.1827
29 | 2574074.6846 | 1174104.3816
30 | 2574051.7746 | 1174099.9782
31 | 2574080.2253 | 1174105.4465
32 | 2574043.0901 | 1174147.7849
33 | 2574057.1732 | 1174059.6118
34 | 2574060.9236 | 1174152.7445
35 | 2574076.3565 | 1174069.0702
36 | 2574039.5585 | 1174033.614
37 | 2574156.037 | 1174075.1516
38 | 2574153.1285 | 1174095.0749
39 | 2574157.2431 | 1174051.0742
40 | 2574152.3255 | 1174100.5756
41 | 2574140.6462 | 1174039.5688
42 | 2574175.2178 | 1174061.4368
43 | 2574149.7863 | 1174121.8817
44 | 2574129.0576 | 1174031.6176
45 | 2574182.1561 | 1174065.0008
46 | 2574254.4132 | 1174048.3391
47 | 2574254.7958 | 1174046.3598
48 | 2574149.1462 | 1174130.6389
49 | 2574152.5915 | 1174133.642
50 | 2574133.396 | 1174116.9093
51 | 2574122.9454 | 1173929.549
52 | 2574121.0994 | 1173853.5467
53 | 2574116.5153 | 1173952.2415
54 | 2574145.0995 | 1173938.4767
55 | 2574126.5421 | 1173988.7032
56 | 2574147.9884 | 1173939.6408
57 | 2574156.79 | 1173943.1768
58 | 2574156.7034 | 1173943.1422
59 | 2574017.3221 | 1174008.9924
60 | 2574141.2086 | 1173831.9558
61 | 2574075.2291 | 1173993.2252
62 | 2574084.9192 | 1174000.4043
63 | 2574058.8607 | 1173981.1472
64 | 2574102.9427 | 1174013.2118
65 | 2574110.2309 | 1174018.3485
66 | 2574198.5637 | 1174032.0543
67 | 2574085.9705 | 1174159.7102
68 | 2574199.5221 | 1174025.79
69 | 2574176.0246 | 1173993.4302
70 | 2574176.8089 | 1173983.2839
71 | 2574177.6321 | 1173972.6348
72 | 2574157.2431 | 1174051.0742

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98709 | -0.24825 | 0.0031977 | 0.00080142
1 | 0.98744 | -0.24136 | 0.0030541 | 0.00076542
2 | 0.98761 | -0.23799 | 0 | 0
3 | 0.98833 | -0.22407 | 0 | 0
4 | 0.99638 | -0.069671 | 0.0017893 | 0.00044845
5 | 0.99672 | -0.063039 | 0 | 0
6 | 0.99602 | -0.076444 | 0 | 0
7 | 0.99594 | -0.077991 | 0.0026559 | 0.00066563
8 | 0.99582 | -0.080344 | 0.0031104 | 0.00077953
9 | 0.99582 | -0.080407 | 0.0028413 | 0.00071211
10 | 0.99569 | -0.082889 | 0 | 0
11 | 0.99551 | -0.086381 | 0 | 0
12 | 0.99558 | -0.085005 | 0.0020871 | 0.00052307
13 | 0.99538 | -0.088892 | 0.0018909 | 0.00047391
14 | 0.9954 | -0.088514 | 0.0021499 | 0.00053882
15 | 0.99531 | -0.090186 | 0.0028599 | 0.00071677
16 | 0.98393 | -0.30983 | 0.00060325 | 0.00015119
17 | 0.98393 | -0.30969 | 0.00029192 | 7.3162e-05
18 | 0.98391 | -0.31023 | 0.00060599 | 0.00015188
19 | 0.98428 | -0.30297 | 0 | 0
20 | 0.98837 | -0.22332 | 0.0039018 | 0.00097789
21 | 0.98966 | -0.19825 | 0 | 0
22 | 0.98807 | -0.22914 | 0 | 0
23 | 0.99083 | -0.17568 | 0.002292 | 0.00057442
24 | 0.98756 | -0.23903 | 0.0025576 | 0.00064099
25 | 0.98747 | -0.24077 | 0.0020876 | 0.00052321
26 | 0.99326 | -0.12872 | 0.0017561 | 0.00044012
27 | 0.9874 | -0.2421 | 0.0038104 | 0.00095497
28 | 0.98444 | -0.2997 | 0.0029543 | 0.00074042
29 | 0.98444 | -0.29983 | 0.0046292 | 0.0011602
30 | 0.98464 | -0.2959 | 0 | 0
31 | 0.98443 | -0.30002 | 0.001902 | 0.00047668
32 | 0.98433 | -0.30203 | 0 | 0
33 | 0.98526 | -0.28382 | 0 | 0
34 | 0.98423 | -0.30386 | 0.0024446 | 0.00061268
35 | 0.98512 | -0.28648 | 0.0066177 | 0.0016586
36 | 0.98593 | -0.27067 | 0.0042182 | 0.0010572
37 | 0.99765 | -0.04512 | 0.0034958 | 0.00087614
38 | 0.99734 | -0.051043 | 0.0023627 | 0.00059215
39 | 0.9981 | -0.036532 | 0 | 0
40 | 0.99727 | -0.052449 | 0.0029882 | 0.00074891
41 | 0.99921 | -0.015211 | 0.0016359 | 0.00041
42 | 0.99734 | -0.051121 | 0.0021924 | 0.00054946
43 | 0.99705 | -0.056755 | 0.0037415 | 0.0009377
44 | 1 | 0 | -0.14938 | -0.037437
45 | 0.99707 | -0.056306 | 0.0023742 | 0.00059502
46 | 0.99545 | -0.087618 | 0.0019527 | 0.00048939
47 | 0.99544 | -0.087719 | 0.0028314 | 0.00070961
48 | 0.99699 | -0.05794 | 0 | 0
49 | 0.99697 | -0.058273 | 0.0041483 | 0.0010397
50 | 0.99692 | -0.059242 | 0.0035509 | 0.00088993
51 | 0.98705 | -0.24889 | 0 | 0
52 | 0.98722 | -0.2457 | 0.0020694 | 0.00051865
53 | 0.98697 | -0.25045 | 0.0020031 | 0.00050201
54 | 0.98688 | -0.25223 | 0.0019615 | 0.0004916
55 | 0.98691 | -0.25177 | 0.0016834 | 0.0004219
56 | 0.98687 | -0.25255 | 0.003477 | 0.00087142
57 | 0.98685 | -0.25295 | 0.0016993 | 0.00042588
58 | 0.98685 | -0.25295 | 0.00066013 | 0.00016544
59 | 0.98677 | -0.25442 | 0.0045585 | 0.0011425
60 | 0.9872 | -0.24613 | 0.00082373 | 0.00020645
61 | 0.99506 | -0.09416 | 0.0045803 | 0.0011479
62 | 0.99591 | -0.077926 | 0.0032083 | 0.00080408
63 | 0.99372 | -0.11996 | 0.003005 | 0.00075314
64 | 0.99753 | -0.04699 | 0.0032775 | 0.00082141
65 | 0.99821 | -0.034032 | 0.0015953 | 0.00039981
66 | 0.99632 | -0.070734 | 0.0024151 | 0.00060528
67 | 0.98416 | -0.30528 | 0.0030474 | 0.00076375
68 | 0.99627 | -0.071731 | 0.0025108 | 0.00062928
69 | 0.996 | -0.07693 | 0.0027268 | 0.00068339
70 | 0.99597 | -0.077595 | 0.0016712 | 0.00041883
71 | 0.99595 | -0.077979 | 0.0020476 | 0.00051317
72 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0031977 | -0.00080142 | 0.0031987 | 0.00080055 | 1.05e-06 | -8.6901e-07 | 0.0048205 | 0.0048199 | 0.0048205 | 0.98709 | -0.24825 | 0.98744 | -0.24136 | 1.3243
1 | -0.0062528 | -0.001566 | 0.0062538 | 0.0015662 | 1.0027e-06 | 2.5638e-07 | 0.0094222 | 0.0094221 | 0.0094222 | 0.98744 | -0.24136 | 0.98761 | -0.23799 | 2.5885
2 | -0.0062538 | -0.0015662 | 0.0062579 | 0.0015673 | 4.1464e-06 | 1.0587e-06 | 0.0094221 | 0.0094215 | 0.0094221 | 0.98761 | -0.23799 | 0.98833 | -0.22407 | 2.5885
3 | 0.03406 | 0.0085667 | -0.034033 | -0.0085497 | 2.7151e-05 | 1.7024e-05 | 0.051291 | 0.051291 | 0.051291 | 0.98833 | -0.22407 | 0.98747 | -0.24077 | 14.0909
4 | -0.040318 | -0.010134 | 0.040367 | 0.010165 | 4.9777e-05 | 3.1395e-05 | 0.060712 | 0.060712 | 0.060712 | 0.98833 | -0.22407 | 0.98966 | -0.19825 | 16.6792
5 | -0.024185 | -0.006065 | 0.024193 | 0.0060697 | 7.6476e-06 | 4.6908e-06 | 0.03612 | 0.03612 | 0.03612 | 0.99638 | -0.069671 | 0.99672 | -0.063039 | 9.9231
6 | 0.022396 | 0.0056165 | -0.022388 | -0.0056121 | 7.2269e-06 | 4.4009e-06 | 0.033448 | 0.033448 | 0.033448 | 0.99638 | -0.069671 | 0.99602 | -0.076444 | 9.189
7 | 0.011378 | 0.0028526 | -0.011374 | -0.0028504 | 4.1708e-06 | 2.1671e-06 | 0.016986 | 0.016987 | 0.016987 | 0.99672 | -0.063039 | 0.99632 | -0.070734 | 4.6666
8 | -0.03557 | -0.0089222 | 0.035582 | 0.0089294 | 1.142e-05 | 7.1683e-06 | 0.053106 | 0.053106 | 0.053106 | 0.99672 | -0.063039 | 0.99707 | -0.056306 | 14.5896
9 | 0.01378 | 0.0034545 | -0.013775 | -0.0034521 | 4.2305e-06 | 2.3612e-06 | 0.020586 | 0.020587 | 0.020587 | 0.99602 | -0.076444 | 0.99569 | -0.082889 | 5.6556
10 | 0.0086089 | 0.0021577 | -0.0086083 | -0.0021574 | 6.3461e-07 | 2.7301e-07 | 0.012861 | 0.012861 | 0.012861 | 0.99602 | -0.076444 | 0.99594 | -0.077991 | 3.5334
11 | 0.0059524 | 0.0014918 | -0.0059517 | -0.0014916 | 6.6712e-07 | 1.3429e-07 | 0.0088933 | 0.0088934 | 0.0088934 | 0.99594 | -0.077991 | 0.99582 | -0.080344 | 2.4432
12 | 0.0028414 | 0.0007121 | -0.0028413 | -0.00071211 | 8.5833e-09 | -1.1026e-08 | 0.0042457 | 0.0042457 | 0.0042457 | 0.99582 | -0.080344 | 0.99582 | -0.080407 | 1.1664
13 | 0.0069029 | 0.0017298 | -0.0069017 | -0.0017295 | 1.1483e-06 | 3.6072e-07 | 0.010316 | 0.010316 | 0.010316 | 0.99569 | -0.082889 | 0.99551 | -0.086381 | 2.8341
14 | 0.0068725 | 0.0017223 | -0.0068718 | -0.001722 | 6.9266e-07 | 2.1558e-07 | 0.010271 | 0.010271 | 0.010271 | 0.99569 | -0.082889 | 0.99558 | -0.085005 | 2.8216
15 | 0.0069017 | 0.0017295 | -0.006901 | -0.0017293 | 7.012e-07 | 2.2035e-07 | 0.010316 | 0.010316 | 0.010316 | 0.99551 | -0.086381 | 0.9954 | -0.088514 | 2.8341
16 | 0.0047847 | 0.001199 | -0.0047841 | -0.001199 | 5.9571e-07 | -2.2609e-08 | 0.0071513 | 0.0071514 | 0.0071514 | 0.99558 | -0.085005 | 0.99545 | -0.087618 | 1.9647
17 | -0.004751 | -0.0011905 | 0.0047511 | 0.0011905 | 8.5419e-08 | -4.0293e-09 | 0.0071023 | 0.0071023 | 0.0071023 | 0.99538 | -0.088892 | 0.9954 | -0.088514 | 1.9512
18 | 0.0028601 | 0.00071654 | -0.0028599 | -0.00071677 | 1.7634e-07 | -2.2148e-07 | 0.0042755 | 0.0042757 | 0.0042757 | 0.99538 | -0.088892 | 0.99531 | -0.090186 | 1.1746
19 | -0.0012093 | -0.0003026 | 0.0012093 | 0.00030252 | 7.7819e-09 | -7.3843e-08 | 0.0018286 | 0.0018286 | 0.0018286 | 0.98393 | -0.30983 | 0.98393 | -0.30969 | 0.50237
20 | 0.000606 | 0.00015141 | -0.00060599 | -0.00015188 | 1.1725e-08 | -4.654e-07 | 0.0009163 | 0.00091647 | 0.00091647 | 0.98393 | -0.30983 | 0.98391 | -0.31023 | 0.25178
21 | -0.0015012 | -0.00037569 | 0.0015017 | 0.00037284 | 4.7907e-07 | -2.8448e-06 | 0.0022701 | 0.0022689 | 0.0022701 | 0.98393 | -0.30969 | 0.98428 | -0.30297 | 0.62364
22 | -0.0015017 | -0.00037284 | 0.0015017 | 0.00037245 | 6.6759e-08 | -3.9685e-07 | 0.0022689 | 0.0022688 | 0.0022689 | 0.98428 | -0.30297 | 0.98433 | -0.30203 | 0.62333
23 | -0.024672 | -0.006189 | 0.024701 | 0.0062072 | 2.953e-05 | 1.8167e-05 | 0.037146 | 0.037145 | 0.037146 | 0.98837 | -0.22332 | 0.98966 | -0.19825 | 10.2049
24 | 0.02077 | 0.0052111 | -0.020764 | -0.0052076 | 5.758e-06 | 3.484e-06 | 0.031271 | 0.031271 | 0.031271 | 0.98837 | -0.22332 | 0.98807 | -0.22914 | 8.5911
25 | -0.065069 | -0.016373 | 0.065139 | 0.016417 | 7.0241e-05 | 4.4703e-05 | 0.097858 | 0.097858 | 0.097858 | 0.98966 | -0.19825 | 0.99083 | -0.17568 | 26.884
26 | 0.020764 | 0.0052076 | -0.020754 | -0.0052017 | 9.7823e-06 | 5.9192e-06 | 0.031271 | 0.031272 | 0.031272 | 0.98807 | -0.22914 | 0.98756 | -0.23903 | 8.5911
27 | -0.067431 | -0.016992 | 0.067583 | 0.017088 | 0.00015185 | 9.6672e-05 | 0.1013 | 0.1013 | 0.1013 | 0.99083 | -0.17568 | 0.99326 | -0.12872 | 27.8295
28 | 0.018197 | 0.0045607 | -0.018194 | -0.0045591 | 2.6669e-06 | 1.5858e-06 | 0.027418 | 0.027418 | 0.027418 | 0.98756 | -0.23903 | 0.9874 | -0.2421 | 7.5324
29 | 0.031945 | 0.0080265 | -0.031924 | -0.0080135 | 2.0794e-05 | 1.3002e-05 | 0.048145 | 0.048145 | 0.048145 | 0.98747 | -0.24077 | 0.98677 | -0.25442 | 13.2267
30 | -0.069339 | -0.017529 | 0.069368 | 0.017547 | 2.9144e-05 | 1.8559e-05 | 0.10393 | 0.10393 | 0.10393 | 0.99326 | -0.12872 | 0.99372 | -0.11996 | 28.5522
31 | 0.01149 | 0.00288 | -0.011486 | -0.0028781 | 3.7154e-06 | 1.9553e-06 | 0.017315 | 0.017316 | 0.017316 | 0.9874 | -0.2421 | 0.98705 | -0.24889 | 4.757
32 | 0.0028937 | 0.00072415 | -0.0028932 | -0.00072473 | 4.9488e-07 | -5.7086e-07 | 0.0043604 | 0.0043607 | 0.0043607 | 0.9874 | -0.2421 | 0.98722 | -0.2457 | 1.198
33 | 0.0065312 | 0.0016368 | -0.0065312 | -0.0016368 | 3.8505e-08 | 1.1248e-08 | 0.0098721 | 0.0098721 | 0.0098721 | 0.98444 | -0.2997 | 0.98444 | -0.29983 | 2.7121
34 | -0.0094855 | -0.0023772 | 0.0094873 | 0.0023781 | 1.7172e-06 | 8.1572e-07 | 0.014338 | 0.014338 | 0.014338 | 0.98444 | -0.2997 | 0.98464 | -0.2959 | 3.9389
35 | 0.001902 | 0.00047662 | -0.001902 | -0.00047668 | 1.7487e-08 | -6.0542e-08 | 0.0028749 | 0.0028749 | 0.0028749 | 0.98444 | -0.29983 | 0.98443 | -0.30002 | 0.78982
36 | 0.0069965 | 0.0017494 | -0.0069944 | -0.0017487 | 2.0368e-06 | 6.8562e-07 | 0.010572 | 0.010572 | 0.010572 | 0.98464 | -0.2959 | 0.98433 | -0.30203 | 2.9044
37 | -0.016484 | -0.0041275 | 0.016493 | 0.004133 | 9.4914e-06 | 5.5553e-06 | 0.024909 | 0.024909 | 0.024909 | 0.98464 | -0.2959 | 0.98526 | -0.28382 | 6.8432
38 | 0.0054927 | 0.0013763 | -0.0054922 | -0.0013762 | 4.7857e-07 | 7.1021e-08 | 0.0083033 | 0.0083034 | 0.0083034 | 0.98433 | -0.30203 | 0.98423 | -0.30386 | 2.2811
39 | 0.0066185 | 0.0016588 | -0.0066177 | -0.0016586 | 8.3886e-07 | 2.5179e-07 | 0.0099959 | 0.009996 | 0.009996 | 0.98526 | -0.28382 | 0.98512 | -0.28648 | 2.7461
40 | -0.023112 | -0.0057918 | 0.023126 | 0.0058007 | 1.4488e-05 | 8.8682e-06 | 0.034905 | 0.034905 | 0.034905 | 0.98526 | -0.28382 | 0.98593 | -0.27067 | 9.5893
41 | 0.0030476 | 0.00076355 | -0.0030474 | -0.00076375 | 2.0696e-07 | -1.9791e-07 | 0.0046075 | 0.0046076 | 0.0046076 | 0.98423 | -0.30386 | 0.98416 | -0.30528 | 1.2658
42 | -0.027344 | -0.0068579 | 0.027366 | 0.006871 | 2.1191e-05 | 1.3139e-05 | 0.041271 | 0.041271 | 0.041271 | 0.98593 | -0.27067 | 0.98677 | -0.25442 | 11.3383
43 | 0.0168 | 0.0042129 | -0.016796 | -0.0042101 | 4.7413e-06 | 2.7716e-06 | 0.025059 | 0.025059 | 0.025059 | 0.99765 | -0.04512 | 0.99734 | -0.051043 | 6.8843
44 | -0.020296 | -0.005089 | 0.020304 | 0.005094 | 8.3099e-06 | 5.0025e-06 | 0.030273 | 0.030273 | 0.030273 | 0.99765 | -0.04512 | 0.9981 | -0.036532 | 8.3167
45 | 0.014433 | 0.003618 | -0.014432 | -0.0036174 | 9.6665e-07 | 5.4612e-07 | 0.021534 | 0.021534 | 0.021534 | 0.99734 | -0.051043 | 0.99727 | -0.052449 | 5.9159
46 | -0.06049 | -0.015191 | 0.060552 | 0.015231 | 6.1606e-05 | 3.9164e-05 | 0.090193 | 0.090193 | 0.090193 | 0.9981 | -0.036532 | 0.99921 | -0.015211 | 24.7783
47 | 0.040186 | 0.010097 | -0.040158 | -0.01008 | 2.7963e-05 | 1.7625e-05 | 0.05992 | 0.05992 | 0.05992 | 0.9981 | -0.036532 | 0.99734 | -0.051121 | 16.4616
48 | 0.011444 | 0.0028685 | -0.011441 | -0.0028673 | 2.3474e-06 | 1.2223e-06 | 0.017075 | 0.017075 | 0.017075 | 0.99727 | -0.052449 | 0.99705 | -0.056755 | 4.691
49 | -0.062188 | -0.015641 | 0.062233 | 0.015669 | 4.522e-05 | 2.8756e-05 | 0.092629 | 0.092629 | 0.092629 | 0.99921 | -0.015211 | 1 | 0 | 25.4476
50 | 0.037965 | 0.0095303 | -0.037956 | -0.0095244 | 9.387e-06 | 5.9059e-06 | 0.056649 | 0.056649 | 0.056649 | 0.99734 | -0.051121 | 0.99707 | -0.056306 | 15.563
51 | 0.0076998 | 0.0019296 | -0.0076994 | -0.0019294 | 4.3481e-07 | 1.6377e-07 | 0.011491 | 0.011491 | 0.011491 | 0.99705 | -0.056755 | 0.99699 | -0.05794 | 3.157
52 | 0.085496 | 0.021768 | -0.085356 | -0.021678 | 0.00014006 | 8.9335e-05 | 0.12734 | 0.12734 | 0.12734 | 1 | 0 | 0.99821 | -0.034032 | 34.9834
53 | 0.0028314 | 0.0007096 | -0.0028314 | -0.00070961 | 1.3543e-08 | -1.7541e-08 | 0.0042325 | 0.0042325 | 0.0042325 | 0.99545 | -0.087618 | 0.99544 | -0.087719 | 1.1628
54 | 0.0041483 | 0.0010396 | -0.0041483 | -0.0010397 | 6.57e-08 | -1.755e-08 | 0.0061914 | 0.0061914 | 0.0061914 | 0.99699 | -0.05794 | 0.99697 | -0.058273 | 1.7009
55 | 0.0035511 | 0.0008898 | -0.0035509 | -0.00088993 | 2.201e-07 | -1.3159e-07 | 0.0053 | 0.0053001 | 0.0053001 | 0.99699 | -0.05794 | 0.99692 | -0.059242 | 1.4561
56 | 0.0036868 | 0.00092329 | -0.0036866 | -0.00092342 | 2.7321e-07 | -1.2659e-07 | 0.0055578 | 0.0055579 | 0.0055579 | 0.98705 | -0.24889 | 0.98697 | -0.25045 | 1.5269
57 | 0.0077993 | 0.0019548 | -0.0077981 | -0.0019543 | 1.2383e-06 | 4.8725e-07 | 0.011758 | 0.011758 | 0.011758 | 0.98705 | -0.24889 | 0.98688 | -0.25223 | 3.2302
58 | 0.00082375 | 0.00020608 | -0.00082373 | -0.00020645 | 1.7062e-08 | -3.6647e-07 | 0.0012415 | 0.0012416 | 0.0012416 | 0.98722 | -0.2457 | 0.9872 | -0.24613 | 0.3411
59 | 0.0016835 | 0.00042141 | -0.0016834 | -0.0004219 | 1.0581e-07 | -4.9204e-07 | 0.0025379 | 0.0025381 | 0.0025381 | 0.98697 | -0.25045 | 0.98691 | -0.25177 | 0.69729
60 | 0.0058366 | 0.0014627 | -0.0058365 | -0.0014627 | 9.0456e-08 | 1.8095e-08 | 0.0088003 | 0.0088003 | 0.0088003 | 0.98688 | -0.25223 | 0.98687 | -0.25255 | 2.4177
61 | 0.0023595 | 0.00059124 | -0.0023594 | -0.00059133 | 4.4578e-08 | -9.147e-08 | 0.0035576 | 0.0035577 | 0.0035577 | 0.98687 | -0.25255 | 0.98685 | -0.25295 | 0.97738
62 | -0.0016993 | -0.00042588 | 0.0016993 | 0.00042588 | 2.2785e-10 | -1.0441e-09 | 0.0025623 | 0.0025623 | 0.0025623 | 0.98685 | -0.25295 | 0.98685 | -0.25295 | 0.70392
63 | -0.077043 | -0.019505 | 0.077103 | 0.019544 | 6.0099e-05 | 3.8307e-05 | 0.11528 | 0.11528 | 0.11528 | 0.99506 | -0.09416 | 0.99591 | -0.077926 | 31.6701
64 | 0.072463 | 0.018357 | -0.072373 | -0.0183 | 8.9691e-05 | 5.7139e-05 | 0.10843 | 0.10843 | 0.10843 | 0.99506 | -0.09416 | 0.99372 | -0.11996 | 29.7884
65 | -0.080311 | -0.020348 | 0.080431 | 0.020424 | 0.00011955 | 7.6222e-05 | 0.12007 | 0.12007 | 0.12007 | 0.99591 | -0.077926 | 0.99753 | -0.04699 | 32.987
66 | -0.083708 | -0.021245 | 0.083761 | 0.021279 | 5.2213e-05 | 3.33e-05 | 0.12496 | 0.12496 | 0.12496 | 0.99753 | -0.04699 | 0.99821 | -0.034032 | 34.3301
67 | 0.0089585 | 0.0022451 | -0.0089581 | -0.0022449 | 4.2541e-07 | 1.8974e-07 | 0.01338 | 0.01338 | 0.01338 | 0.99632 | -0.070734 | 0.99627 | -0.071731 | 3.6757
68 | 0.0064472 | 0.0016156 | -0.0064457 | -0.0016152 | 1.5964e-06 | 4.2405e-07 | 0.0096295 | 0.0096297 | 0.0096297 | 0.99627 | -0.071731 | 0.996 | -0.07693 | 2.6455
69 | 0.0037189 | 0.00093183 | -0.0037188 | -0.00093188 | 1.178e-07 | -5.7047e-08 | 0.0055559 | 0.0055559 | 0.0055559 | 0.996 | -0.07693 | 0.99597 | -0.077595 | 1.5264
70 | 0.0020476 | 0.00051305 | -0.0020476 | -0.00051317 | 3.7484e-08 | -1.15e-07 | 0.0030592 | 0.0030592 | 0.0030592 | 0.99597 | -0.077595 | 0.99595 | -0.077979 | 0.84044

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.15164 | 0.038003

## res_load
| p_mw | q_mvar
0 | 0.0031977 | 0.00080142
1 | 0.0030541 | 0.00076542
2 | 0.0017893 | 0.00044845
3 | 0.0026559 | 0.00066563
4 | 0.0031104 | 0.00077953
5 | 0.0028413 | 0.00071211
6 | 0.0020871 | 0.00052307
7 | 0.0018909 | 0.00047391
8 | 0.0021499 | 0.00053882
9 | 0.0028599 | 0.00071677
10 | 0.00060325 | 0.00015119
11 | 0.00029192 | 7.3162e-05
12 | 0.00060599 | 0.00015188
13 | 0.0039018 | 0.00097789
14 | 0.002292 | 0.00057442
15 | 0.0025576 | 0.00064099
16 | 0.0020876 | 0.00052321
17 | 0.0017561 | 0.00044012
18 | 0.0038104 | 0.00095497
19 | 0.0029543 | 0.00074042
20 | 0.0046292 | 0.0011602
21 | 0.001902 | 0.00047668
22 | 0.0024446 | 0.00061268
23 | 0.0066177 | 0.0016586
24 | 0.0042182 | 0.0010572
25 | 0.0034958 | 0.00087614
26 | 0.0023627 | 0.00059215
27 | 0.0029882 | 0.00074891
28 | 0.0016359 | 0.00041
29 | 0.0021924 | 0.00054946
30 | 0.0037415 | 0.0009377
31 | 0.0022567 | 0.00056558
32 | 0.0023742 | 0.00059502
33 | 0.0019527 | 0.00048939
34 | 0.0028314 | 0.00070961
35 | 0.0041483 | 0.0010397
36 | 0.0035509 | 0.00088993
37 | 0.0020694 | 0.00051865
38 | 0.0020031 | 0.00050201
39 | 0.0019615 | 0.0004916
40 | 0.0016834 | 0.0004219
41 | 0.003477 | 0.00087142
42 | 0.0016993 | 0.00042588
43 | 0.00066013 | 0.00016544
44 | 0.0045585 | 0.0011425
45 | 0.00082373 | 0.00020645
46 | 0.0045803 | 0.0011479
47 | 0.0032083 | 0.00080408
48 | 0.003005 | 0.00075314
49 | 0.0032775 | 0.00082141
50 | 0.0015953 | 0.00039981
51 | 0.0024151 | 0.00060528
52 | 0.0030474 | 0.00076375
53 | 0.0025108 | 0.00062928
54 | 0.0027268 | 0.00068339
55 | 0.0016712 | 0.00041883
56 | 0.0020476 | 0.00051317

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1