## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2236-13_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2236-13_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2236-13_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2236-13_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2236-13_0_2_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_2236-13_0_2_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_2236-13_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2236-13_0_2_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_2236-13_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2236-13_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2236-13_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2236-13_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2236-13_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2236-13_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2236-13_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_2236-13_0_2_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_2236-13_0_2_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_2236-13_0_2_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_2236-13_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_2236-13_0_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_2236-13_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2236-13_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_2236-13_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_2236-13_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2236-13_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2236-13_0_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_2236-13_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2236-13_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_2236-13_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_2236-13_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2236-13_0_2_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2236-13_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2236-13_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_2236-13_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_2236-13_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_2236-13_0_2_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_2236-13_0_2_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2236-13_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2236-13_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_2236-13_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_2236-13_0_2_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_2236-13_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_2236-13_0_2_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_2236-13_0_2_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_2236-13_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_2236-13_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_2236-13_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_2236-13_0_2_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_2236-13_0_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_2236-13_0_2_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_2236-13_0_2_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_2236-13_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2236-13_0_2_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_2236-13_0_2_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_2236-13_0_2_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_2236-13_0_2_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_2236-13_0_2_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_2236-13_0_2_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_2236-13_0_2_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2236-13_0_2_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_2236-13_0_2_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_2236-13_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_2236-13_0_2_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2236-13_0_2_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_2236-13_0_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_2236-13_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_2236-13_0_2_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2236-13_0_2_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_2236-13_0_2_node_69 | 0.4 | n |  | TRUE
69 | bus_MV_27_1_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2236-13_0_2_load_0 | 0 | 0.002915 | 0.00073056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2236-13_0_2_load_3 | 3 | 0.0025646 | 0.00064274 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2236-13_0_2_load_64 | 5 | 0.0020257 | 0.00050768 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2236-13_0_2_load_4 | 6 | 0.0034235 | 0.000858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2236-13_0_2_load_28 | 7 | 0.0009457 | 0.00023702 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2236-13_0_2_load_5 | 8 | 0.0024846 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2236-13_0_2_load_6 | 9 | 0.0038784 | 0.00097202 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2236-13_0_2_load_8 | 11 | 0.0023747 | 0.00059515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2236-13_0_2_load_9 | 12 | 0.0019532 | 0.00048951 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2236-13_0_2_load_10 | 13 | 0.0033516 | 0.00083998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2236-13_0_2_load_46 | 14 | 0.0039022 | 0.00097799 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2236-13_0_2_load_19 | 15 | 0.003954 | 0.00099097 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2236-13_0_2_load_60 | 16 | 0.0024011 | 0.00060178 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2236-13_0_2_load_20 | 18 | 0.0025703 | 0.00064418 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2236-13_0_2_load_61 | 19 | 0.00077598 | 0.00019448 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2236-13_0_2_load_11 | 20 | 0.0089406 | 0.0022407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2236-13_0_2_load_12 | 21 | 0.0028793 | 0.00072162 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2236-13_0_2_load_13 | 22 | 0.0021795 | 0.00054623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2236-13_0_2_load_14 | 23 | 0.0031 | 0.00077694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2236-13_0_2_load_15 | 24 | 0.0057933 | 0.0014519 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2236-13_0_2_load_49 | 25 | 0.0029193 | 0.00073164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2236-13_0_2_load_16 | 26 | 0.0019578 | 0.00049067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2236-13_0_2_load_48 | 27 | 0.010951 | 0.0027445 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2236-13_0_2_load_17 | 28 | 0.00086749 | 0.00021741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2236-13_0_2_load_18 | 29 | 0.00072635 | 0.00018204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2236-13_0_2_load_36 | 30 | 0.0011445 | 0.00028684 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2236-13_0_2_load_37 | 31 | 0.0046966 | 0.0011771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2236-13_0_2_load_21 | 32 | 0.0022151 | 0.00055514 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2236-13_0_2_load_22 | 33 | 0.0049789 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2236-13_0_2_load_23 | 34 | 0.0058708 | 0.0014714 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2236-13_0_2_load_26 | 37 | 0.0039198 | 0.00098239 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2236-13_0_2_load_45 | 40 | 0.0010914 | 0.00027354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2236-13_0_2_load_38 | 41 | 0.0039365 | 0.00098657 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2236-13_0_2_load_52 | 42 | 0.0019592 | 0.00049102 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2236-13_0_2_load_42 | 44 | 0.0020699 | 0.00051876 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2236-13_0_2_load_35 | 45 | 0.0018282 | 0.00045819 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2236-13_0_2_load_39 | 46 | 0.0021527 | 0.00053951 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2236-13_0_2_load_53 | 48 | 0.0010153 | 0.00025446 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2236-13_0_2_load_29 | 49 | 0.001261 | 0.00031604 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2236-13_0_2_load_30 | 50 | 0.00126 | 0.00031579 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2236-13_0_2_load_51 | 51 | 0.0010982 | 0.00027524 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2236-13_0_2_load_50 | 52 | 0.0016161 | 0.00040503 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2236-13_0_2_load_31 | 53 | 0.010684 | 0.0026777 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2236-13_0_2_load_32 | 54 | 0.0016104 | 0.0004036 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2236-13_0_2_load_33 | 55 | 0.0019879 | 0.00049822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2236-13_0_2_load_40 | 57 | 0.00085795 | 0.00021502 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2236-13_0_2_load_41 | 58 | 0.0013706 | 0.00034351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2236-13_0_2_load_43 | 59 | 0.00054498 | 0.00013659 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2236-13_0_2_load_68 | 60 | 0.012606 | 0.0031593 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2236-13_0_2_load_54 | 62 | 0.0018718 | 0.00046911 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2236-13_0_2_load_66 | 63 | 0.0010017 | 0.00025106 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2236-13_0_2_load_67 | 64 | 0.00087478 | 0.00021924 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2236-13_0_2_load_55 | 65 | 0.0019758 | 0.00049519 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2236-13_0_2_load_56 | 66 | 0.002387 | 0.00059824 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2236-13_0_2_load_58 | 67 | 0.0062325 | 0.001562 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2236-13_0_2_load_69 | 68 | 0.0051857 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2236-13_0_2_line_0 |  | 0 | 1 | 0.048614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2236-13_0_2_line_1 |  | 1 | 2 | 0.005704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2236-13_0_2_line_2 |  | 1 | 3 | 0.025493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2236-13_0_2_line_3 |  | 2 | 6 | 0.028313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2236-13_0_2_line_4 |  | 2 | 4 | 0.11168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2236-13_0_2_line_5 |  | 3 | 7 | 0.020568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2236-13_0_2_line_6 |  | 4 | 5 | 0.036802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2236-13_0_2_line_7 |  | 5 | 43 | 0.027629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2236-13_0_2_line_8 |  | 8 | 9 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2236-13_0_2_line_9 |  | 8 | 10 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2236-13_0_2_line_10 |  | 9 | 11 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2236-13_0_2_line_11 |  | 10 | 12 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2236-13_0_2_line_12 |  | 10 | 13 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2236-13_0_2_line_13 |  | 11 | 14 | 0.041628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2236-13_0_2_line_14 |  | 12 | 15 | 0.028686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2236-13_0_2_line_15 |  | 13 | 16 | 0.015469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2236-13_0_2_line_16 |  | 14 | 17 | 0.020497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2236-13_0_2_line_17 |  | 15 | 18 | 0.0095973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2236-13_0_2_line_18 |  | 16 | 19 | 0.036956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2236-13_0_2_line_19 |  | 17 | 47 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2236-13_0_2_line_20 |  | 17 | 38 | 0.037926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2236-13_0_2_line_21 |  | 18 | 32 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2236-13_0_2_line_22 |  | 20 | 21 | 0.0063985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2236-13_0_2_line_23 |  | 20 | 22 | 0.028142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2236-13_0_2_line_24 |  | 21 | 23 | 0.029853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2236-13_0_2_line_25 |  | 22 | 24 | 0.020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2236-13_0_2_line_26 |  | 23 | 25 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2236-13_0_2_line_27 |  | 24 | 26 | 0.14053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2236-13_0_2_line_28 |  | 25 | 27 | 0.00010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2236-13_0_2_line_29 |  | 26 | 28 | 0.16075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2236-13_0_2_line_30 |  | 27 | 56 | 0.0010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2236-13_0_2_line_31 |  | 28 | 29 | 0.00309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2236-13_0_2_line_32 |  | 29 | 30 | 0.0085038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2236-13_0_2_line_33 |  | 30 | 31 | 0.0018185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2236-13_0_2_line_34 |  | 33 | 34 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2236-13_0_2_line_35 |  | 33 | 35 | 0.026722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2236-13_0_2_line_36 |  | 34 | 36 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2236-13_0_2_line_37 |  | 35 | 37 | 0.044172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2236-13_0_2_line_38 |  | 35 | 38 | 0.003672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2236-13_0_2_line_39 |  | 36 | 39 | 0.028507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2236-13_0_2_line_40 |  | 36 | 40 | 0.044418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2236-13_0_2_line_41 |  | 37 | 41 | 0.0053289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2236-13_0_2_line_42 |  | 38 | 42 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2236-13_0_2_line_43 |  | 39 | 43 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2236-13_0_2_line_44 |  | 39 | 44 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2236-13_0_2_line_45 |  | 40 | 45 | 0.0096982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2236-13_0_2_line_46 |  | 41 | 46 | 0.0066417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2236-13_0_2_line_47 |  | 42 | 48 | 0.030399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2236-13_0_2_line_48 |  | 43 | 60 | 0.038143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2236-13_0_2_line_49 |  | 44 | 57 | 0.044433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2236-13_0_2_line_50 |  | 45 | 55 | 0.013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2236-13_0_2_line_51 |  | 47 | 61 | 0.027078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2236-13_0_2_line_52 |  | 48 | 62 | 0.024975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2236-13_0_2_line_53 |  | 49 | 50 | 0.0033787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2236-13_0_2_line_54 |  | 50 | 51 | 0.058019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2236-13_0_2_line_55 |  | 51 | 52 | 0.013986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2236-13_0_2_line_56 |  | 52 | 59 | 0.012722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2236-13_0_2_line_57 |  | 53 | 54 | 0.028295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2236-13_0_2_line_58 |  | 53 | 55 | 0.016844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2236-13_0_2_line_59 |  | 54 | 56 | 0.014273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2236-13_0_2_line_60 |  | 57 | 58 | 0.00053644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2236-13_0_2_line_61 |  | 58 | 59 | 0.0080934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2236-13_0_2_line_62 |  | 61 | 67 | 0.043846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2236-13_0_2_line_63 |  | 61 | 66 | 0.031367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2236-13_0_2_line_64 |  | 62 | 63 | 0.0043913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2236-13_0_2_line_65 |  | 63 | 64 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2236-13_0_2_line_66 |  | 64 | 68 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2236-13_0_2_line_67 |  | 65 | 66 | 0.022123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2236-13_0_2_trafo_45 | 0.63 MVA 20/0.4 kV | 69 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2572586.093 | 1176641.7713 | 2572580.6719 | 1176622.9087 | 2572572.527 | 1176595.0886
1 | 2572586.1344 | 1176647.4741 | 2572586.093 | 1176641.7713
2 | 2572586.093 | 1176641.7713 | 2572607.7198 | 1176636.4139 | 2572610.8572 | 1176635.7243
3 | 2572586.1344 | 1176647.4741 | 2572573.0656 | 1176644.1212 | 2572558.4159 | 1176641.8773
4 | 2572645.5371 | 1176742.0398 | 2572586.1344 | 1176647.4741
5 | 2572630.9456 | 1176631.3093 | 2572610.8572 | 1176635.7243
6 | 2572645.5371 | 1176742.0398 | 2572649.4683 | 1176747.7025 | 2572665.7991 | 1176772.7593
7 | 2572680.885 | 1176795.906 | 2572665.7991 | 1176772.7593
8 | 2572606.6023 | 1176964.3852 | 2572608.1701 | 1176961.4021 | 2572614.7199 | 1176954.8465
9 | 2572601.5637 | 1176973.9722 | 2572606.6023 | 1176964.3852
10 | 2572633.3037 | 1176956.8544 | 2572623.0879 | 1176954.8081 | 2572614.7199 | 1176954.8465 | 2572614.7199 | 1176954.8465
11 | 2572601.5637 | 1176973.9722 | 2572586.8497 | 1176964.7861
12 | 2572601.5637 | 1176973.9722 | 2572598.094 | 1176980.5915 | 2572593.4665 | 1176988.3856
13 | 2572633.3037 | 1176956.8544 | 2572642.2414 | 1176958.6447 | 2572665.2508 | 1176955.0598 | 2572673.7668 | 1176951.5116
14 | 2572586.8497 | 1176964.7861 | 2572585.1243 | 1176963.7089 | 2572565.8923 | 1176945.2576
15 | 2572586.2246 | 1177002.0245 | 2572588.6828 | 1176996.4428 | 2572593.4665 | 1176988.3856
16 | 2572692.6874 | 1176943.6285 | 2572673.7668 | 1176951.5116
17 | 2572564.3943 | 1176935.8819 | 2572565.5429 | 1176944.9223 | 2572565.8923 | 1176945.2576
18 | 2572586.2246 | 1177002.0245 | 2572581.7851 | 1177012.1048 | 2572576.1238 | 1177020.7575 | 2572569.4912 | 1177025.9128 | 2572562.5941 | 1177027.9824
19 | 2572692.6874 | 1176943.6285 | 2572693.3221 | 1176955.4428
20 | 2572692.6874 | 1176943.6285 | 2572689.6335 | 1176905.834
21 | 2572561.8402 | 1176915.7798 | 2572564.3943 | 1176935.8819
22 | 2572856.6939 | 1176915.2109 | 2572851.3453 | 1176911.6989
23 | 2572856.6939 | 1176915.2109 | 2572874.3493 | 1176926.804 | 2572880.78 | 1176929.6201
24 | 2572826.413 | 1176895.2803 | 2572833.0039 | 1176899.6554 | 2572851.3453 | 1176911.6989
25 | 2572880.78 | 1176929.6201 | 2572899.4529 | 1176937.7972
26 | 2572826.413 | 1176895.2803 | 2572812.6162 | 1176886.122
27 | 2572899.4529 | 1176937.7972 | 2573037.5056 | 1176911.5485
28 | 2572812.532 | 1176886.066 | 2572812.6162 | 1176886.122
29 | 2573037.5056 | 1176911.5485 | 2573170.9675 | 1176821.947
30 | 2572811.6635 | 1176885.4896 | 2572812.532 | 1176886.066
31 | 2573173.9471 | 1176821.1283 | 2573170.9675 | 1176821.947
32 | 2573173.9471 | 1176821.1283 | 2573174.6779 | 1176820.9275 | 2573182.3252 | 1176819.6952
33 | 2573182.3252 | 1176819.6952 | 2573184.1205 | 1176819.4058
34 | 2572687.7508 | 1176850.8592 | 2572686.1796 | 1176855.7461 | 2572688.1946 | 1176875.4806
35 | 2572689.4792 | 1176902.1662 | 2572688.5157 | 1176878.6251 | 2572688.1946 | 1176875.4806
36 | 2572696.4979 | 1176834.2657 | 2572691.198 | 1176840.1373 | 2572687.7508 | 1176850.8592
37 | 2572689.4792 | 1176902.1662 | 2572717.5197 | 1176922.5153 | 2572725.7873 | 1176927.2461
38 | 2572689.4792 | 1176902.1662 | 2572689.6335 | 1176905.834
39 | 2572696.4979 | 1176834.2657 | 2572693.7381 | 1176820.6824 | 2572688.0364 | 1176807.1903
40 | 2572696.4979 | 1176834.2657 | 2572706.4811 | 1176838.1443 | 2572738.6104 | 1176848.3381
41 | 2572730.4125 | 1176929.8927 | 2572725.7873 | 1176927.2461
42 | 2572689.6335 | 1176905.834 | 2572671.5881 | 1176907.0282
43 | 2572688.0364 | 1176807.1903 | 2572680.885 | 1176795.906
44 | 2572688.0364 | 1176807.1903 | 2572676.0741 | 1176805.9843
45 | 2572747.8545 | 1176851.271 | 2572738.6104 | 1176848.3381
46 | 2572736.1772 | 1176933.1913 | 2572730.4125 | 1176929.8927
47 | 2572671.5881 | 1176907.0282 | 2572671.5881 | 1176907.0282 | 2572666.9672 | 1176905.9376 | 2572658.1788 | 1176899.2855 | 2572653.8398 | 1176898.0047 | 2572643.7361 | 1176898.1846
48 | 2572714.8545 | 1176800.7423 | 2572707.4109 | 1176792.4053 | 2572698.6585 | 1176791.9784 | 2572692.425 | 1176792.5516 | 2572686.2568 | 1176794.0472 | 2572680.885 | 1176795.906
49 | 2572632.1194 | 1176799.5769 | 2572665.7793 | 1176804.9464 | 2572676.0741 | 1176805.9843
50 | 2572747.8545 | 1176851.271 | 2572750.7636 | 1176852.194 | 2572760.2054 | 1176856.1251
51 | 2572693.1554 | 1176982.5131 | 2572693.3221 | 1176955.4428
52 | 2572621.888 | 1176891.4142 | 2572624.4387 | 1176896.016 | 2572629.163 | 1176897.9843 | 2572632.833 | 1176898.3788 | 2572643.7361 | 1176898.1846
53 | 2572540.1926 | 1176809.991 | 2572540.595 | 1176806.6363
54 | 2572597.2231 | 1176794.0101 | 2572540.595 | 1176806.6363
55 | 2572597.2231 | 1176794.0101 | 2572611.0345 | 1176796.2134
56 | 2572623.5973 | 1176798.2174 | 2572611.0345 | 1176796.2134
57 | 2572775.5611 | 1176863.0062 | 2572787.6862 | 1176869.5793 | 2572799.771 | 1176877.5982
58 | 2572775.5611 | 1176863.0062 | 2572771.6819 | 1176860.9032 | 2572760.2054 | 1176856.1251
59 | 2572811.6635 | 1176885.4896 | 2572799.771 | 1176877.5982
60 | 2572631.5897 | 1176799.4924 | 2572632.1194 | 1176799.5769
61 | 2572623.5973 | 1176798.2174 | 2572631.5897 | 1176799.4924
62 | 2572693.1554 | 1176982.5131 | 2572730.2292 | 1177005.9234
63 | 2572693.1554 | 1176982.5131 | 2572661.9493 | 1176985.6865
64 | 2572621.888 | 1176891.4142 | 2572621.888 | 1176891.4142 | 2572621.3247 | 1176887.0592
65 | 2572618.4789 | 1176865.0593 | 2572621.3247 | 1176887.0592
66 | 2572616.6668 | 1176851.0505 | 2572618.4789 | 1176865.0593
67 | 2572639.9399 | 1176987.9246 | 2572661.9493 | 1176985.6865

## bus_geodata
| x | y | coords
0 | 2572572.527 | 1176595.0886
1 | 2572586.093 | 1176641.7713
2 | 2572586.1344 | 1176647.4741
3 | 2572610.8572 | 1176635.7243
4 | 2572645.5371 | 1176742.0398
5 | 2572665.7991 | 1176772.7593
6 | 2572558.4159 | 1176641.8773
7 | 2572630.9456 | 1176631.3093
8 | 2572606.6023 | 1176964.3852
9 | 2572614.7199 | 1176954.8465
10 | 2572601.5637 | 1176973.9722
11 | 2572633.3037 | 1176956.8544
12 | 2572586.8497 | 1176964.7861
13 | 2572593.4665 | 1176988.3856
14 | 2572673.7668 | 1176951.5116
15 | 2572565.8923 | 1176945.2576
16 | 2572586.2246 | 1177002.0245
17 | 2572692.6874 | 1176943.6285
18 | 2572564.3943 | 1176935.8819
19 | 2572562.5941 | 1177027.9824
20 | 2572856.6939 | 1176915.2109
21 | 2572851.3453 | 1176911.6989
22 | 2572880.78 | 1176929.6201
23 | 2572826.413 | 1176895.2803
24 | 2572899.4529 | 1176937.7972
25 | 2572812.6162 | 1176886.122
26 | 2573037.5056 | 1176911.5485
27 | 2572812.532 | 1176886.066
28 | 2573170.9675 | 1176821.947
29 | 2573173.9471 | 1176821.1283
30 | 2573182.3252 | 1176819.6952
31 | 2573184.1205 | 1176819.4058
32 | 2572561.8402 | 1176915.7798
33 | 2572688.1946 | 1176875.4806
34 | 2572687.7508 | 1176850.8592
35 | 2572689.4792 | 1176902.1662
36 | 2572696.4979 | 1176834.2657
37 | 2572725.7873 | 1176927.2461
38 | 2572689.6335 | 1176905.834
39 | 2572688.0364 | 1176807.1903
40 | 2572738.6104 | 1176848.3381
41 | 2572730.4125 | 1176929.8927
42 | 2572671.5881 | 1176907.0282
43 | 2572680.885 | 1176795.906
44 | 2572676.0741 | 1176805.9843
45 | 2572747.8545 | 1176851.271
46 | 2572736.1772 | 1176933.1913
47 | 2572693.3221 | 1176955.4428
48 | 2572643.7361 | 1176898.1846
49 | 2572540.1926 | 1176809.991
50 | 2572540.595 | 1176806.6363
51 | 2572597.2231 | 1176794.0101
52 | 2572611.0345 | 1176796.2134
53 | 2572775.5611 | 1176863.0062
54 | 2572799.771 | 1176877.5982
55 | 2572760.2054 | 1176856.1251
56 | 2572811.6635 | 1176885.4896
57 | 2572632.1194 | 1176799.5769
58 | 2572631.5897 | 1176799.4924
59 | 2572623.5973 | 1176798.2174
60 | 2572714.8545 | 1176800.7423
61 | 2572693.1554 | 1176982.5131
62 | 2572621.888 | 1176891.4142
63 | 2572621.3247 | 1176887.0592
64 | 2572618.4789 | 1176865.0593
65 | 2572639.9399 | 1176987.9246
66 | 2572661.9493 | 1176985.6865
67 | 2572730.2292 | 1177005.9234
68 | 2572616.6668 | 1176851.0505
69 | 2572696.4979 | 1176834.2657

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99262 | -0.14174 | 0.002915 | 0.00073056
1 | 0.99275 | -0.13923 | 0 | 0
2 | 0.99278 | -0.13858 | 0 | 0
3 | 0.99267 | -0.14081 | 0.0025646 | 0.00064274
4 | 0.99379 | -0.11914 | 0 | 0
5 | 0.99412 | -0.11274 | 0.0020257 | 0.00050768
6 | 0.9927 | -0.1403 | 0.0034235 | 0.000858
7 | 0.99265 | -0.14116 | 0.0009457 | 0.00023702
8 | 0.98748 | -0.24103 | 0.0024846 | 0.00062271
9 | 0.98771 | -0.23658 | 0.0038784 | 0.00097202
10 | 0.98731 | -0.24436 | 0 | 0
11 | 0.98812 | -0.22866 | 0.0023747 | 0.00059515
12 | 0.98714 | -0.24768 | 0.0019532 | 0.00048951
13 | 0.98721 | -0.24629 | 0.0033516 | 0.00083998
14 | 0.98911 | -0.20939 | 0.0039022 | 0.00097799
15 | 0.98691 | -0.25217 | 0.003954 | 0.00099097
16 | 0.98717 | -0.24717 | 0.0024011 | 0.00060178
17 | 0.98967 | -0.19848 | 0 | 0
18 | 0.98687 | -0.25299 | 0.0025703 | 0.00064418
19 | 0.98714 | -0.24769 | 0.00077598 | 0.00019448
20 | 0.9945 | -0.10567 | 0.0089406 | 0.0022407
21 | 0.99466 | -0.1027 | 0.0028793 | 0.00072162
22 | 0.99406 | -0.11429 | 0.0021795 | 0.00054623
23 | 0.99545 | -0.087354 | 0.0031 | 0.00077694
24 | 0.99377 | -0.11975 | 0.0057933 | 0.0014519
25 | 0.99594 | -0.077951 | 0.0029193 | 0.00073164
26 | 0.99257 | -0.1431 | 0.0019578 | 0.00049067
27 | 0.99594 | -0.077889 | 0.010951 | 0.0027445
28 | 0.99148 | -0.16427 | 0.00086749 | 0.00021741
29 | 0.99146 | -0.16463 | 0.00072635 | 0.00018204
30 | 0.99141 | -0.16551 | 0.0011445 | 0.00028684
31 | 0.9914 | -0.16566 | 0.0046966 | 0.0011771
32 | 0.98683 | -0.25379 | 0.0022151 | 0.00055514
33 | 0.99279 | -0.13827 | 0.0049789 | 0.0012478
34 | 0.99433 | -0.10857 | 0.0058708 | 0.0014714
35 | 0.99126 | -0.1678 | 0 | 0
36 | 0.99562 | -0.083842 | 0 | 0
37 | 0.99086 | -0.17564 | 0.0039198 | 0.00098239
38 | 0.99108 | -0.17121 | 0 | 0
39 | 0.99472 | -0.10119 | 0 | 0
40 | 1 | 0 | -0.17288 | -0.04335
41 | 0.99083 | -0.17622 | 0.0039365 | 0.00098657
42 | 0.99089 | -0.17503 | 0.0019592 | 0.00049102
43 | 0.99442 | -0.10695 | 0 | 0
44 | 0.99461 | -0.10332 | 0.0020699 | 0.00051876
45 | 0.99945 | -0.010534 | 0.0018282 | 0.00045819
46 | 0.99081 | -0.17647 | 0.0021527 | 0.00053951
47 | 0.98956 | -0.20072 | 0 | 0
48 | 0.99061 | -0.18041 | 0.0010153 | 0.00025446
49 | 0.99399 | -0.11522 | 0.001261 | 0.00031604
50 | 0.994 | -0.11514 | 0.00126 | 0.00031579
51 | 0.99413 | -0.11256 | 0.0010982 | 0.00027524
52 | 0.99418 | -0.11167 | 0.0016161 | 0.00040503
53 | 0.99782 | -0.041776 | 0.010684 | 0.0026777
54 | 0.99659 | -0.065472 | 0.0016104 | 0.0004036
55 | 0.99872 | -0.024552 | 0.0019879 | 0.00049822
56 | 0.99599 | -0.077043 | 0 | 0
57 | 0.99428 | -0.1096 | 0.00085795 | 0.00021502
58 | 0.99428 | -0.10967 | 0.0013706 | 0.00034351
59 | 0.99424 | -0.11049 | 0.00054498 | 0.00013659
60 | 0.99398 | -0.11543 | 0.012606 | 0.0031593
61 | 0.9893 | -0.20583 | 0 | 0
62 | 0.9904 | -0.18437 | 0.0018718 | 0.00046911
63 | 0.99038 | -0.18492 | 0.0010017 | 0.00025106
64 | 0.99025 | -0.18731 | 0.00087478 | 0.00021924
65 | 0.98913 | -0.20904 | 0.0019758 | 0.00049519
66 | 0.98917 | -0.20826 | 0.002387 | 0.00059824
67 | 0.98905 | -0.21069 | 0.0062325 | 0.001562
68 | 0.99019 | -0.18861 | 0.0051857 | 0.0012997
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002915 | -0.00073056 | 0.0029153 | 0.00073016 | 3.4809e-07 | -4.0571e-07 | 0.0043698 | 0.0043696 | 0.0043698 | 0.99262 | -0.14174 | 0.99275 | -0.13923 | 1.2005
1 | -0.0064259 | -0.0016095 | 0.0064261 | 0.0016095 | 1.9842e-07 | 5.3232e-08 | 0.0096313 | 0.0096312 | 0.0096313 | 0.99275 | -0.13923 | 0.99278 | -0.13858 | 2.646
2 | 0.0035105 | 0.00087934 | -0.0035103 | -0.0008795 | 2.6468e-07 | -1.602e-07 | 0.0052617 | 0.0052618 | 0.0052618 | 0.99275 | -0.13923 | 0.99267 | -0.14081 | 1.4456
3 | 0.0034237 | 0.00085781 | -0.0034235 | -0.000858 | 2.7959e-07 | -1.8713e-07 | 0.0051315 | 0.0051316 | 0.0051316 | 0.99278 | -0.13858 | 0.9927 | -0.1403 | 1.4098
4 | -0.0098498 | -0.0024674 | 0.0098589 | 0.0024718 | 9.1266e-06 | 4.3955e-06 | 0.014763 | 0.014762 | 0.014763 | 0.99278 | -0.13858 | 0.99379 | -0.11914 | 4.0557
5 | 0.00094572 | 0.00023676 | -0.0009457 | -0.00023702 | 1.55e-08 | -2.5597e-07 | 0.0014175 | 0.0014176 | 0.0014176 | 0.99267 | -0.14081 | 0.99265 | -0.14116 | 0.38946
6 | -0.0098589 | -0.0024718 | 0.0098619 | 0.0024732 | 3.0075e-06 | 1.4478e-06 | 0.014762 | 0.014762 | 0.014762 | 0.99379 | -0.11914 | 0.99412 | -0.11274 | 4.0556
7 | -0.011888 | -0.0029809 | 0.011891 | 0.0029826 | 3.2806e-06 | 1.7412e-06 | 0.017794 | 0.017794 | 0.017794 | 0.99412 | -0.11274 | 0.99442 | -0.10695 | 4.8885
8 | -0.019713 | -0.0049414 | 0.019717 | 0.004944 | 4.1817e-06 | 2.5146e-06 | 0.029706 | 0.029706 | 0.029706 | 0.98748 | -0.24103 | 0.98771 | -0.23658 | 8.1609
9 | 0.017229 | 0.0043187 | -0.017226 | -0.0043171 | 2.7374e-06 | 1.6134e-06 | 0.025962 | 0.025962 | 0.025962 | 0.98748 | -0.24103 | 0.98731 | -0.24436 | 7.1323
10 | -0.023596 | -0.005916 | 0.023605 | 0.0059214 | 8.9028e-06 | 5.4572e-06 | 0.035548 | 0.035548 | 0.035548 | 0.98771 | -0.23658 | 0.98812 | -0.22866 | 9.7661
11 | 0.010696 | 0.0026813 | -0.010695 | -0.0026804 | 1.6905e-06 | 8.6015e-07 | 0.016121 | 0.016121 | 0.016121 | 0.98731 | -0.24436 | 0.98714 | -0.24768 | 4.4289
12 | 0.0065294 | 0.0016358 | -0.0065288 | -0.0016357 | 6.0055e-07 | 1.7288e-07 | 0.0098405 | 0.0098406 | 0.0098406 | 0.98731 | -0.24436 | 0.98721 | -0.24629 | 2.7035
13 | -0.025979 | -0.0065166 | 0.026003 | 0.0065313 | 2.3895e-05 | 1.4759e-05 | 0.039124 | 0.039124 | 0.039124 | 0.98812 | -0.22866 | 0.98911 | -0.20939 | 10.7485
14 | 0.0087415 | 0.0021909 | -0.0087396 | -0.0021901 | 1.8678e-06 | 8.2876e-07 | 0.013177 | 0.013177 | 0.013177 | 0.98714 | -0.24768 | 0.98691 | -0.25217 | 3.6201
15 | 0.0031772 | 0.00079568 | -0.0031771 | -0.00079579 | 1.3303e-07 | -1.1264e-07 | 0.0047888 | 0.0047889 | 0.0047889 | 0.98721 | -0.24629 | 0.98717 | -0.24717 | 1.3156
16 | -0.029905 | -0.0075093 | 0.029921 | 0.007519 | 1.5561e-05 | 9.696e-06 | 0.044995 | 0.044995 | 0.044995 | 0.98911 | -0.20939 | 0.98967 | -0.19848 | 12.3612
17 | 0.0047856 | 0.0011991 | -0.0047854 | -0.0011991 | 1.8737e-07 | -2.7117e-09 | 0.0072154 | 0.0072155 | 0.0072155 | 0.98691 | -0.25217 | 0.98687 | -0.25299 | 1.9823
18 | 0.00077599 | 0.00019402 | -0.00077598 | -0.00019448 | 1.8959e-08 | -4.6033e-07 | 0.0011695 | 0.0011697 | 0.0011697 | 0.98717 | -0.24717 | 0.98714 | -0.24769 | 0.32135
19 | 0.010601 | 0.0026574 | -0.0106 | -0.0026568 | 1.1275e-06 | 5.6954e-07 | 0.015939 | 0.015939 | 0.015939 | 0.98967 | -0.19848 | 0.98956 | -0.20072 | 4.379
20 | -0.040522 | -0.010176 | 0.040575 | 0.01021 | 5.2806e-05 | 3.3308e-05 | 0.060934 | 0.060934 | 0.060934 | 0.98967 | -0.19848 | 0.99108 | -0.17121 | 16.7401
21 | 0.0022151 | 0.00055494 | -0.0022151 | -0.00055514 | 8.4769e-08 | -2.0465e-07 | 0.0033399 | 0.00334 | 0.00334 | 0.98687 | -0.25299 | 0.98683 | -0.25379 | 0.91759
22 | -0.026336 | -0.0066071 | 0.026339 | 0.0066094 | 3.7261e-06 | 2.3017e-06 | 0.039407 | 0.039407 | 0.039407 | 0.9945 | -0.10567 | 0.99466 | -0.1027 | 10.826
23 | 0.017395 | 0.0043664 | -0.017388 | -0.0043622 | 7.1501e-06 | 4.2111e-06 | 0.026029 | 0.02603 | 0.02603 | 0.9945 | -0.10567 | 0.99406 | -0.11429 | 7.151
24 | -0.029219 | -0.007331 | 0.02924 | 0.0073443 | 2.1392e-05 | 1.3303e-05 | 0.043714 | 0.043714 | 0.043714 | 0.99466 | -0.1027 | 0.99545 | -0.087354 | 12.0094
25 | 0.015208 | 0.0038159 | -0.015204 | -0.0038137 | 3.9624e-06 | 2.2717e-06 | 0.022767 | 0.022767 | 0.022767 | 0.99406 | -0.11429 | 0.99377 | -0.11975 | 6.2547
26 | -0.03234 | -0.0081213 | 0.032355 | 0.0081303 | 1.4516e-05 | 9.0747e-06 | 0.048348 | 0.048348 | 0.048348 | 0.99545 | -0.087354 | 0.99594 | -0.077951 | 13.2824
27 | 0.0094111 | 0.0023617 | -0.0094007 | -0.0023569 | 1.0466e-05 | 4.88e-06 | 0.014093 | 0.014093 | 0.014093 | 0.99377 | -0.11975 | 0.99257 | -0.1431 | 3.8718
28 | -0.035274 | -0.008862 | 0.035274 | 0.008862 | 1.0535e-07 | 6.6111e-08 | 0.05271 | 0.05271 | 0.05271 | 0.99594 | -0.077951 | 0.99594 | -0.077889 | 14.4806
29 | 0.0074429 | 0.0018662 | -0.0074354 | -0.0018635 | 7.506e-06 | 2.7284e-06 | 0.011158 | 0.011159 | 0.011159 | 0.99257 | -0.1431 | 0.99148 | -0.16427 | 3.0657
30 | -0.046225 | -0.011607 | 0.046227 | 0.011608 | 1.8648e-06 | 1.1799e-06 | 0.069071 | 0.069071 | 0.069071 | 0.99594 | -0.077889 | 0.99599 | -0.077043 | 18.9755
31 | 0.0065679 | 0.001646 | -0.0065678 | -0.001646 | 1.1259e-07 | 3.2206e-08 | 0.0098571 | 0.0098571 | 0.0098571 | 0.99148 | -0.16427 | 0.99146 | -0.16463 | 2.708
32 | 0.0058414 | 0.001464 | -0.0058412 | -0.0014639 | 2.451e-07 | 4.7205e-08 | 0.008767 | 0.008767 | 0.008767 | 0.99146 | -0.16463 | 0.99141 | -0.16551 | 2.4085
33 | 0.0046967 | 0.0011771 | -0.0046966 | -0.0011771 | 3.3888e-08 | -1.7617e-09 | 0.0070493 | 0.0070493 | 0.0070493 | 0.99141 | -0.16551 | 0.9914 | -0.16566 | 1.9366
34 | -0.06758 | -0.017017 | 0.067676 | 0.017079 | 9.6125e-05 | 6.1196e-05 | 0.10132 | 0.10132 | 0.10132 | 0.99279 | -0.13827 | 0.99433 | -0.10857 | 27.8348
35 | 0.062601 | 0.01577 | -0.062513 | -0.015713 | 8.8271e-05 | 5.6149e-05 | 0.093856 | 0.093856 | 0.093856 | 0.99279 | -0.13827 | 0.99126 | -0.1678 | 25.7847
36 | -0.073547 | -0.01855 | 0.073634 | 0.018605 | 8.7158e-05 | 5.5532e-05 | 0.1101 | 0.1101 | 0.1101 | 0.99433 | -0.10857 | 0.99562 | -0.083842 | 30.2484
37 | 0.010013 | 0.0025103 | -0.010009 | -0.0025084 | 3.7424e-06 | 1.826e-06 | 0.015031 | 0.015031 | 0.015031 | 0.99126 | -0.1678 | 0.99086 | -0.17564 | 4.1294
38 | 0.0525 | 0.013203 | -0.052491 | -0.013198 | 8.5559e-06 | 5.4284e-06 | 0.078825 | 0.078825 | 0.078825 | 0.99126 | -0.1678 | 0.99108 | -0.17121 | 21.6553
39 | 0.03462 | 0.0086936 | -0.034592 | -0.0086757 | 2.8627e-05 | 1.7951e-05 | 0.051748 | 0.051748 | 0.051748 | 0.99562 | -0.083842 | 0.99472 | -0.10119 | 14.2166
40 | -0.10825 | -0.027299 | 0.10869 | 0.027578 | 0.00043634 | 0.00027868 | 0.16185 | 0.16185 | 0.16185 | 0.99562 | -0.083842 | 1 | 0 | 44.4649
41 | 0.0060893 | 0.0015261 | -0.0060892 | -0.001526 | 1.6711e-07 | 3.8314e-08 | 0.0091446 | 0.0091447 | 0.0091447 | 0.99086 | -0.17564 | 0.99083 | -0.17622 | 2.5123
42 | 0.011916 | 0.002988 | -0.011914 | -0.0029868 | 2.1709e-06 | 1.1564e-06 | 0.017891 | 0.017892 | 0.017892 | 0.99108 | -0.17121 | 0.99089 | -0.17503 | 4.9153
43 | 0.024508 | 0.0061488 | -0.024502 | -0.0061447 | 6.7305e-06 | 4.1343e-06 | 0.036665 | 0.036665 | 0.036665 | 0.99472 | -0.10119 | 0.99442 | -0.10695 | 10.0728
44 | 0.010083 | 0.0025268 | -0.010082 | -0.0025263 | 1.0258e-06 | 5.0044e-07 | 0.015084 | 0.015084 | 0.015084 | 0.99472 | -0.10119 | 0.99461 | -0.10332 | 4.1439
45 | 0.062537 | 0.015773 | -0.062506 | -0.015752 | 3.1517e-05 | 2.0044e-05 | 0.093092 | 0.093092 | 0.093092 | 1 | 0 | 0.99945 | -0.010534 | 25.5746
46 | 0.0021527 | 0.00053944 | -0.0021527 | -0.00053951 | 2.6031e-08 | -6.8881e-08 | 0.0032329 | 0.0032329 | 0.0032329 | 0.99083 | -0.17622 | 0.99081 | -0.17647 | 0.88817
47 | 0.0099547 | 0.0024958 | -0.0099522 | -0.0024945 | 2.5477e-06 | 1.239e-06 | 0.014949 | 0.01495 | 0.01495 | 0.99089 | -0.17503 | 0.99061 | -0.18041 | 4.107
48 | 0.012611 | 0.0031621 | -0.012606 | -0.0031593 | 5.0937e-06 | 2.7654e-06 | 0.018871 | 0.018871 | 0.018871 | 0.99442 | -0.10695 | 0.99398 | -0.11543 | 5.1844
49 | 0.0080123 | 0.0020076 | -0.0080099 | -0.0020066 | 2.3942e-06 | 9.5579e-07 | 0.011987 | 0.011987 | 0.011987 | 0.99461 | -0.10332 | 0.99428 | -0.1096 | 3.2932
50 | 0.060678 | 0.015294 | -0.060637 | -0.015268 | 4.0669e-05 | 2.5854e-05 | 0.09037 | 0.09037 | 0.09037 | 0.99945 | -0.010534 | 0.99872 | -0.024552 | 24.8269
51 | 0.0106 | 0.0026568 | -0.010597 | -0.0026555 | 2.5799e-06 | 1.3033e-06 | 0.015939 | 0.01594 | 0.01594 | 0.98956 | -0.20072 | 0.9893 | -0.20583 | 4.379
52 | 0.0089369 | 0.0022401 | -0.0089352 | -0.0022393 | 1.6879e-06 | 7.5876e-07 | 0.013424 | 0.013424 | 0.013424 | 0.99061 | -0.18041 | 0.9904 | -0.18437 | 3.688
53 | -0.001261 | -0.00031604 | 0.001261 | 0.000316 | 4.515e-09 | -4.0906e-08 | 0.0018877 | 0.0018877 | 0.0018877 | 0.99399 | -0.11522 | 0.994 | -0.11514 | 0.51861
54 | -0.002521 | -0.00063179 | 0.0025214 | 0.00063124 | 3.0986e-07 | -5.5384e-07 | 0.003774 | 0.0037737 | 0.003774 | 0.994 | -0.11514 | 0.99413 | -0.11256 | 1.0368
55 | -0.0036196 | -0.00090647 | 0.0036197 | 0.00090639 | 1.5393e-07 | -8.2832e-08 | 0.0054175 | 0.0054175 | 0.0054175 | 0.99413 | -0.11256 | 0.99418 | -0.11167 | 1.4883
56 | -0.0052358 | -0.0013114 | 0.0052361 | 0.0013114 | 2.9295e-07 | 2.2519e-08 | 0.0078363 | 0.0078363 | 0.0078363 | 0.99418 | -0.11167 | 0.99424 | -0.11049 | 2.1528
57 | 0.047917 | 0.012062 | -0.047862 | -0.012027 | 5.4207e-05 | 3.4324e-05 | 0.071475 | 0.071475 | 0.071475 | 0.99782 | -0.041776 | 0.99659 | -0.065472 | 19.636
58 | -0.058601 | -0.01474 | 0.058649 | 0.01477 | 4.8259e-05 | 3.0666e-05 | 0.087408 | 0.087408 | 0.087408 | 0.99782 | -0.041776 | 0.99872 | -0.024552 | 24.0132
59 | 0.046252 | 0.011624 | -0.046227 | -0.011608 | 2.5534e-05 | 1.6156e-05 | 0.069071 | 0.069071 | 0.069071 | 0.99659 | -0.065472 | 0.99599 | -0.077043 | 18.9755
60 | 0.0071519 | 0.0017916 | -0.0071519 | -0.0017916 | 2.3044e-08 | 7.791e-09 | 0.010703 | 0.010703 | 0.010703 | 0.99428 | -0.1096 | 0.99428 | -0.10967 | 2.9404
61 | 0.0057813 | 0.0014481 | -0.0057811 | -0.001448 | 2.2719e-07 | 4.0437e-08 | 0.0086519 | 0.0086519 | 0.0086519 | 0.99428 | -0.10967 | 0.99424 | -0.11049 | 2.3769
62 | 0.006234 | 0.0015624 | -0.0062325 | -0.001562 | 1.4457e-06 | 3.6238e-07 | 0.0093766 | 0.0093768 | 0.0093768 | 0.9893 | -0.20583 | 0.98905 | -0.21069 | 2.5761
63 | 0.0043634 | 0.0010931 | -0.0043629 | -0.0010932 | 5.0665e-07 | -7.8443e-08 | 0.0065629 | 0.0065631 | 0.0065631 | 0.9893 | -0.20583 | 0.98917 | -0.20826 | 1.803
64 | 0.0070634 | 0.0017702 | -0.0070632 | -0.0017701 | 1.8546e-07 | 6.2183e-08 | 0.010612 | 0.010612 | 0.010612 | 0.9904 | -0.18437 | 0.99038 | -0.18492 | 2.9155
65 | 0.0060615 | 0.0015191 | -0.0060608 | -0.0015189 | 6.8997e-07 | 1.5617e-07 | 0.0091072 | 0.0091073 | 0.0091073 | 0.99038 | -0.18492 | 0.99025 | -0.18731 | 2.502
66 | 0.005186 | 0.0012997 | -0.0051857 | -0.0012997 | 3.2168e-07 | 2.4169e-08 | 0.0077928 | 0.0077929 | 0.0077929 | 0.99025 | -0.18731 | 0.99019 | -0.18861 | 2.1409
67 | -0.0019758 | -0.00049519 | 0.0019759 | 0.00049495 | 7.3294e-08 | -2.3707e-07 | 0.0029724 | 0.0029723 | 0.0029724 | 0.98913 | -0.20904 | 0.98917 | -0.20826 | 0.81659

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.17397 | 0.043624

## res_load
| p_mw | q_mvar
0 | 0.002915 | 0.00073056
1 | 0.0025646 | 0.00064274
2 | 0.0020257 | 0.00050768
3 | 0.0034235 | 0.000858
4 | 0.0009457 | 0.00023702
5 | 0.0024846 | 0.00062271
6 | 0.0038784 | 0.00097202
7 | 0.0023747 | 0.00059515
8 | 0.0019532 | 0.00048951
9 | 0.0033516 | 0.00083998
10 | 0.0039022 | 0.00097799
11 | 0.003954 | 0.00099097
12 | 0.0024011 | 0.00060178
13 | 0.0025703 | 0.00064418
14 | 0.00077598 | 0.00019448
15 | 0.0089406 | 0.0022407
16 | 0.0028793 | 0.00072162
17 | 0.0021795 | 0.00054623
18 | 0.0031 | 0.00077694
19 | 0.0057933 | 0.0014519
20 | 0.0029193 | 0.00073164
21 | 0.0019578 | 0.00049067
22 | 0.010951 | 0.0027445
23 | 0.00086749 | 0.00021741
24 | 0.00072635 | 0.00018204
25 | 0.0011445 | 0.00028684
26 | 0.0046966 | 0.0011771
27 | 0.0022151 | 0.00055514
28 | 0.0049789 | 0.0012478
29 | 0.0058708 | 0.0014714
30 | 0.0039198 | 0.00098239
31 | 0.0010914 | 0.00027354
32 | 0.0039365 | 0.00098657
33 | 0.0019592 | 0.00049102
34 | 0.0020699 | 0.00051876
35 | 0.0018282 | 0.00045819
36 | 0.0021527 | 0.00053951
37 | 0.0010153 | 0.00025446
38 | 0.001261 | 0.00031604
39 | 0.00126 | 0.00031579
40 | 0.0010982 | 0.00027524
41 | 0.0016161 | 0.00040503
42 | 0.010684 | 0.0026777
43 | 0.0016104 | 0.0004036
44 | 0.0019879 | 0.00049822
45 | 0.00085795 | 0.00021502
46 | 0.0013706 | 0.00034351
47 | 0.00054498 | 0.00013659
48 | 0.012606 | 0.0031593
49 | 0.0018718 | 0.00046911
50 | 0.0010017 | 0.00025106
51 | 0.00087478 | 0.00021924
52 | 0.0019758 | 0.00049519
53 | 0.002387 | 0.00059824
54 | 0.0062325 | 0.001562
55 | 0.0051857 | 0.0012997

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1