## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2236-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2236-15_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2236-15_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_2236-15_0_5_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2236-15_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2236-15_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_2236-15_0_5_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_2236-15_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_2236-15_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_2236-15_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2236-15_0_5_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_2236-15_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_2236-15_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_2236-15_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2236-15_0_5_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_2236-15_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_2236-15_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2236-15_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_2236-15_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_2236-15_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2236-15_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_2236-15_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2236-15_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_2236-15_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_2236-15_0_5_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_2236-15_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2236-15_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_2236-15_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_2236-15_0_5_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2236-15_0_5_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2236-15_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_2236-15_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_2236-15_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_2236-15_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2236-15_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2236-15_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_2236-15_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_2236-15_0_5_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_2236-15_0_5_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_2236-15_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_2236-15_0_5_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2236-15_0_5_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_2236-15_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_2236-15_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_2236-15_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_2236-15_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_2236-15_0_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_2236-15_0_5_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_2236-15_0_5_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_2236-15_0_5_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_2236-15_0_5_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_2236-15_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_2236-15_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_2236-15_0_5_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_2236-15_0_5_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_2236-15_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_2236-15_0_5_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_2236-15_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_2236-15_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_2236-15_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_2236-15_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_2236-15_0_5_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_2236-15_0_5_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_2236-15_0_5_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_2236-15_0_5_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_2236-15_0_5_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_2236-15_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_2236-15_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_2236-15_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_2236-15_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_2236-15_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_2236-15_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_2236-15_0_5_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_2236-15_0_5_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_2236-15_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_2236-15_0_5_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_2236-15_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_2236-15_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_2236-15_0_5_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_2236-15_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_2236-15_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_2236-15_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_2236-15_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_MV_27_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2236-15_0_5_load_0 | 0 | 0.0027613 | 0.00069205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2236-15_0_5_load_5 | 2 | 0.0039774 | 0.00099684 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2236-15_0_5_load_6 | 3 | 0.0010802 | 0.00027072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2236-15_0_5_load_50 | 6 | 0.023427 | 0.0058714 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2236-15_0_5_load_7 | 7 | 0.0048114 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2236-15_0_5_load_10 | 8 | 0.002624 | 0.00065763 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2236-15_0_5_load_8 | 9 | 0.0023892 | 0.00059878 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2236-15_0_5_load_22 | 11 | 0.01589 | 0.0039824 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2236-15_0_5_load_11 | 12 | 0.0030104 | 0.00075447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2236-15_0_5_load_12 | 13 | 0.0023502 | 0.00058902 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2236-15_0_5_load_14 | 15 | 0.0012079 | 0.00030274 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2236-15_0_5_load_15 | 16 | 0.002698 | 0.00067619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2236-15_0_5_load_16 | 17 | 0.0028354 | 0.00071063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2236-15_0_5_load_17 | 19 | 0.0030346 | 0.00076055 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2236-15_0_5_load_20 | 21 | 0.0015793 | 0.0003958 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2236-15_0_5_load_18 | 22 | 0.0011843 | 0.00029682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2236-15_0_5_load_19 | 23 | 0.001036 | 0.00025964 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2236-15_0_5_load_26 | 26 | 0.0088309 | 0.0022132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2236-15_0_5_load_37 | 28 | 0.0024249 | 0.00060775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2236-15_0_5_load_32 | 30 | 0.0097405 | 0.0024412 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2236-15_0_5_load_34 | 33 | 0.0072317 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2236-15_0_5_load_38 | 36 | 0.049598 | 0.01243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2236-15_0_5_load_49 | 38 | 0.0040573 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2236-15_0_5_load_42 | 39 | 0.030272 | 0.0075869 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2236-15_0_5_load_35 | 40 | 0.029272 | 0.0073362 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2236-15_0_5_load_39 | 41 | 0.013102 | 0.0032837 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2236-15_0_5_load_46 | 42 | 0.00050068 | 0.00012548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2236-15_0_5_load_36 | 43 | 0.03403 | 0.0085287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2236-15_0_5_load_75 | 47 | 0.0029294 | 0.00073418 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2236-15_0_5_load_80 | 48 | 0.040587 | 0.010172 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2236-15_0_5_load_78 | 49 | 0.033315 | 0.0083496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2236-15_0_5_load_76 | 50 | 0.0024584 | 0.00061613 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2236-15_0_5_load_45 | 51 | 0.0061427 | 0.0015395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2236-15_0_5_load_47 | 52 | 0.0016312 | 0.00040882 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2236-15_0_5_load_82 | 53 | 0.041942 | 0.010512 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2236-15_0_5_load_79 | 54 | 0.067948 | 0.017029 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2236-15_0_5_load_52 | 55 | 0.0087191 | 0.0021852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2236-15_0_5_load_53 | 56 | 0.0020265 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2236-15_0_5_load_54 | 57 | 0.0015937 | 0.00039941 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2236-15_0_5_load_55 | 58 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2236-15_0_5_load_56 | 59 | 0.0021239 | 0.0005323 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2236-15_0_5_load_72 | 60 | 0.0046472 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2236-15_0_5_load_83 | 61 | 0.0022236 | 0.00055729 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2236-15_0_5_load_71 | 62 | 0.0018068 | 0.00045283 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2236-15_0_5_load_64 | 63 | 0.0021753 | 0.00054518 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2236-15_0_5_load_57 | 64 | 0.0039849 | 0.0009987 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2236-15_0_5_load_59 | 66 | 0.0013544 | 0.00033943 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2236-15_0_5_load_70 | 67 | 0.0044049 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2236-15_0_5_load_60 | 68 | 0.0011876 | 0.00029764 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2236-15_0_5_load_61 | 69 | 0.0012225 | 0.00030637 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2236-15_0_5_load_62 | 70 | 0.0016539 | 0.00041451 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2236-15_0_5_load_85 | 72 | 0.00058003 | 0.00014537 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2236-15_0_5_load_84 | 73 | 0.0025102 | 0.0006291 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2236-15_0_5_load_65 | 74 | 0.0023741 | 0.00059501 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2236-15_0_5_load_66 | 75 | 0.0029945 | 0.00075049 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2236-15_0_5_load_68 | 77 | 0.0032554 | 0.00081588 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2236-15_0_5_load_69 | 78 | 0.0043878 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2236-15_0_5_load_81 | 79 | 0.0078077 | 0.0019568 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2236-15_0_5_load_73 | 80 | 0.0021648 | 0.00054256 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2236-15_0_5_load_74 | 81 | 0.0021861 | 0.00054788 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2236-15_0_5_load_77 | 82 | 0.0043014 | 0.001078 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2236-15_0_5_line_0 |  | 0 | 1 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2236-15_0_5_line_1 |  | 1 | 2 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2236-15_0_5_line_2 |  | 1 | 3 | 0.0050338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2236-15_0_5_line_3 |  | 2 | 7 | 0.0030738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2236-15_0_5_line_4 |  | 4 | 5 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2236-15_0_5_line_5 |  | 4 | 6 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2236-15_0_5_line_6 |  | 5 | 8 | 0.0026453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2236-15_0_5_line_7 |  | 5 | 9 | 0.031506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2236-15_0_5_line_8 |  | 7 | 9 | 0.017047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2236-15_0_5_line_9 |  | 8 | 10 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2236-15_0_5_line_10 |  | 10 | 11 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2236-15_0_5_line_11 |  | 11 | 24 | 0.035592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2236-15_0_5_line_12 |  | 12 | 13 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2236-15_0_5_line_13 |  | 12 | 14 | 0.025072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2236-15_0_5_line_14 |  | 13 | 15 | 0.0035732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2236-15_0_5_line_15 |  | 14 | 16 | 0.075113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2236-15_0_5_line_16 |  | 15 | 17 | 0.0033979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2236-15_0_5_line_17 |  | 16 | 18 | 0.04081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2236-15_0_5_line_18 |  | 17 | 19 | 0.0044719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2236-15_0_5_line_19 |  | 18 | 20 | 0.014105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2236-15_0_5_line_20 |  | 19 | 21 | 0.0085637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2236-15_0_5_line_21 |  | 20 | 25 | 0.030623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2236-15_0_5_line_22 |  | 20 | 26 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2236-15_0_5_line_23 |  | 21 | 22 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2236-15_0_5_line_24 |  | 22 | 23 | 0.0078791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2236-15_0_5_line_25 |  | 24 | 31 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2236-15_0_5_line_26 |  | 24 | 32 | 0.029755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2236-15_0_5_line_27 |  | 25 | 27 | 0.032391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2236-15_0_5_line_28 |  | 25 | 28 | 0.021537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2236-15_0_5_line_29 |  | 27 | 29 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2236-15_0_5_line_30 |  | 27 | 30 | 0.015564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2236-15_0_5_line_31 |  | 28 | 32 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2236-15_0_5_line_32 |  | 29 | 37 | 0.024998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2236-15_0_5_line_33 |  | 29 | 38 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2236-15_0_5_line_34 |  | 31 | 39 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_2236-15_0_5_line_35 |  | 32 | 33 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2236-15_0_5_line_36 |  | 33 | 40 | 0.037904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2236-15_0_5_line_37 |  | 34 | 35 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_2236-15_0_5_line_38 |  | 34 | 36 | 0.009256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_2236-15_0_5_line_39 |  | 35 | 39 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_2236-15_0_5_line_40 |  | 36 | 41 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_2236-15_0_5_line_41 |  | 37 | 42 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2236-15_0_5_line_42 |  | 40 | 43 | 0.00016565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2236-15_0_5_line_43 |  | 41 | 44 | 0.011558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_2236-15_0_5_line_44 |  | 42 | 51 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2236-15_0_5_line_45 |  | 44 | 45 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2236-15_0_5_line_46 |  | 44 | 46 | 0.048182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_2236-15_0_5_line_47 |  | 45 | 47 | 0.032606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2236-15_0_5_line_48 |  | 46 | 48 | 0.0027827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_2236-15_0_5_line_49 |  | 46 | 49 | 0.0088639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2236-15_0_5_line_50 |  | 47 | 50 | 0.014711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2236-15_0_5_line_51 |  | 48 | 53 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2236-15_0_5_line_52 |  | 49 | 54 | 0.022377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2236-15_0_5_line_53 |  | 50 | 82 | 0.010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2236-15_0_5_line_54 |  | 51 | 52 | 0.0057784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2236-15_0_5_line_55 |  | 53 | 81 | 0.0097088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2236-15_0_5_line_56 |  | 54 | 67 | 0.043958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2236-15_0_5_line_57 |  | 55 | 56 | 0.0040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2236-15_0_5_line_58 |  | 55 | 57 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2236-15_0_5_line_59 |  | 56 | 58 | 0.010221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2236-15_0_5_line_60 |  | 57 | 59 | 0.0015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2236-15_0_5_line_61 |  | 58 | 60 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2236-15_0_5_line_62 |  | 59 | 61 | 0.0031126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2236-15_0_5_line_63 |  | 60 | 62 | 0.009735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2236-15_0_5_line_64 |  | 61 | 63 | 0.016277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2236-15_0_5_line_65 |  | 62 | 80 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2236-15_0_5_line_66 |  | 63 | 70 | 0.0051964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2236-15_0_5_line_67 |  | 64 | 65 | 0.0063959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2236-15_0_5_line_68 |  | 65 | 66 | 0.031366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2236-15_0_5_line_69 |  | 66 | 67 | 0.0051757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2236-15_0_5_line_70 |  | 68 | 69 | 0.0046219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2236-15_0_5_line_71 |  | 68 | 70 | 0.019959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2236-15_0_5_line_72 |  | 69 | 71 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2236-15_0_5_line_73 |  | 71 | 72 | 0.047224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2236-15_0_5_line_74 |  | 72 | 73 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_2236-15_0_5_line_75 |  | 73 | 78 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2236-15_0_5_line_76 |  | 74 | 75 | 0.0063779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2236-15_0_5_line_77 |  | 74 | 76 | 0.0080351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2236-15_0_5_line_78 |  | 75 | 77 | 0.054046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2236-15_0_5_line_79 |  | 76 | 78 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2236-15_0_5_line_80 |  | 77 | 79 | 0.045021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2236-15_0_5_line_81 |  | 80 | 81 | 0.0052354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2236-15_0_5_trafo_40 | 0.63 MVA 20/0.4 kV | 83 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2574303.1395 | 1174377.98 | 2574302.457 | 1174382.8299 | 2574297.8412 | 1174400.0343
1 | 2574303.1395 | 1174377.98 | 2574322.6249 | 1174382.6826
2 | 2574303.1395 | 1174377.98 | 2574298.2462 | 1174376.7987
3 | 2574322.6249 | 1174382.6826 | 2574325.6129 | 1174383.4037
4 | 2574356.4095 | 1174430.6784 | 2574359.8799 | 1174426.9839 | 2574370.7537 | 1174400.7238
5 | 2574356.4095 | 1174430.6784 | 2574345.7629 | 1174435.0152 | 2574342.0852 | 1174438.5106 | 2574334.2691 | 1174455.4987
6 | 2574370.7537 | 1174400.7238 | 2574373.1573 | 1174401.8285
7 | 2574370.7537 | 1174400.7238 | 2574342.1287 | 1174387.5624
8 | 2574325.6129 | 1174383.4037 | 2574341.3374 | 1174387.1985 | 2574342.1287 | 1174387.5624
9 | 2574392.8006 | 1174410.8568 | 2574373.1573 | 1174401.8285
10 | 2574392.8006 | 1174410.8568 | 2574388.2352 | 1174423.0937 | 2574401.0141 | 1174427.7962
11 | 2574405.7591 | 1174453.6233 | 2574413.5244 | 1174433.4241 | 2574412.3637 | 1174431.9728 | 2574401.0141 | 1174427.7962
12 | 2574410.2757 | 1174327.3028 | 2574417.6124 | 1174313.0447
13 | 2574429.0839 | 1174290.751 | 2574417.6124 | 1174313.0447
14 | 2574410.2757 | 1174327.3028 | 2574408.6408 | 1174330.4801
15 | 2574429.0839 | 1174290.751 | 2574434.4138 | 1174294.5412 | 2574449.8252 | 1174306.6038 | 2574460.1449 | 1174322.3011 | 2574464.5422 | 1174333.3102 | 2574463.871 | 1174349.7882 | 2574463.2603 | 1174351.5556
16 | 2574407.0861 | 1174333.5014 | 2574408.6408 | 1174330.4801
17 | 2574447.9081 | 1174389.31 | 2574456.8929 | 1174369.9839 | 2574463.2603 | 1174351.5556
18 | 2574407.0861 | 1174333.5014 | 2574405.0401 | 1174337.4778 | 2574405.0401 | 1174337.4778
19 | 2574447.9081 | 1174389.31 | 2574441.9688 | 1174402.1086
20 | 2574397.0309 | 1174338.2666 | 2574398.1495 | 1174338.808 | 2574402.1035 | 1174339.1023 | 2574405.0401 | 1174337.4778
21 | 2574441.9688 | 1174402.1086 | 2574432.1735 | 1174423.1835 | 2574431.3781 | 1174424.91 | 2574430.0603 | 1174427.8394 | 2574429.2667 | 1174429.9661
22 | 2574441.9688 | 1174402.1086 | 2574436.3183 | 1174400.1984 | 2574424.9191 | 1174396.6342 | 2574426.7665 | 1174390.145
23 | 2574397.0309 | 1174338.2666 | 2574372.8888 | 1174326.5816
24 | 2574372.8888 | 1174326.5816 | 2574365.7967 | 1174323.149
25 | 2574405.7591 | 1174453.6233 | 2574402.1926 | 1174463.4436
26 | 2574405.7591 | 1174453.6233 | 2574412.7284 | 1174456.4282 | 2574410.6096 | 1174461.551 | 2574413.3074 | 1174468.4541 | 2574419.9345 | 1174464.5571 | 2574420.5091 | 1174463.065
27 | 2574457.8776 | 1174439.3931 | 2574430.0603 | 1174427.8394 | 2574429.2667 | 1174429.9661
28 | 2574429.2667 | 1174429.9661 | 2574431.064 | 1174435.4835 | 2574425.4405 | 1174450.1784
29 | 2574457.8776 | 1174439.3931 | 2574471.3253 | 1174444.6495
30 | 2574457.8776 | 1174439.3931 | 2574466.9215 | 1174426.7258
31 | 2574420.5091 | 1174463.065 | 2574425.4405 | 1174450.1784
32 | 2574494.6596 | 1174453.788 | 2574471.3253 | 1174444.6495
33 | 2574471.3253 | 1174444.6495 | 2574469.1367 | 1174459.6511
34 | 2574402.1926 | 1174463.4436 | 2574395.2107 | 1174483.0602
35 | 2574420.5091 | 1174463.065 | 2574436.0032 | 1174465.9447 | 2574438.9542 | 1174468.3775
36 | 2574438.9542 | 1174468.3775 | 2574440.5912 | 1174469.727 | 2574448.7603 | 1174486.7341 | 2574454.3933 | 1174502.6841
37 | 2574396.9979 | 1174491.18 | 2574403.2349 | 1174492.6096 | 2574410.6557 | 1174491.9553
38 | 2574410.6557 | 1174491.9553 | 2574410.828 | 1174501.2097
39 | 2574396.9979 | 1174491.18 | 2574392.8327 | 1174489.7416 | 2574395.2107 | 1174483.0602
40 | 2574410.828 | 1174501.2097 | 2574411.0428 | 1174512.7421 | 2574413.2059 | 1174522.3886
41 | 2574494.6596 | 1174453.788 | 2574491.2922 | 1174467.3093 | 2574492.963 | 1174473.6387 | 2574497.4445 | 1174476.6264
42 | 2574454.4484 | 1174502.8403 | 2574454.3933 | 1174502.6841
43 | 2574415.7348 | 1174533.6661 | 2574413.2059 | 1174522.3886
44 | 2574497.9435 | 1174486.0974 | 2574496.9005 | 1174484.4497 | 2574499.9554 | 1174478.3002 | 2574497.4445 | 1174476.6264
45 | 2574392.3134 | 1174529.1307 | 2574401.7558 | 1174532.8366 | 2574409.1019 | 1174534.3837 | 2574415.7348 | 1174533.6661
46 | 2574438.3251 | 1174576.2469 | 2574427.5591 | 1174556.216 | 2574415.7348 | 1174533.6661
47 | 2574392.3134 | 1174529.1307 | 2574379.8355 | 1174559.2552 | 2574379.8355 | 1174559.2552
48 | 2574438.3251 | 1174576.2469 | 2574439.6425 | 1174578.6979
49 | 2574438.3251 | 1174576.2469 | 2574429.6245 | 1174577.9405
50 | 2574379.8355 | 1174559.2552 | 2574366.0472 | 1174554.1284
51 | 2574453.0686 | 1174603.6756 | 2574439.6425 | 1174578.6979
52 | 2574408.3715 | 1174570.939 | 2574429.6245 | 1174577.9405
53 | 2574356.3962 | 1174550.54 | 2574366.0472 | 1174554.1284
54 | 2574501.0339 | 1174490.9799 | 2574497.9435 | 1174486.0974
55 | 2574457.3763 | 1174612.3514 | 2574456.8128 | 1174610.6411 | 2574453.0686 | 1174603.6756
56 | 2574408.3715 | 1174570.939 | 2574391.4507 | 1174611.51
57 | 2574464.4131 | 1174684.2626 | 2574465.3141 | 1174680.2804
58 | 2574464.4131 | 1174684.2626 | 2574462.3347 | 1174693.449 | 2574460.2303 | 1174698.7552
59 | 2574467.0781 | 1174670.2435 | 2574466.9268 | 1174673.1523 | 2574465.3141 | 1174680.2804
60 | 2574460.2303 | 1174698.7552 | 2574459.6754 | 1174700.1546
61 | 2574467.0781 | 1174670.2435 | 2574467.7958 | 1174656.4511 | 2574466.993 | 1174646.0337
62 | 2574458.5279 | 1174703.048 | 2574459.6754 | 1174700.1546
63 | 2574465.3352 | 1174636.5096 | 2574466.5412 | 1174640.1703 | 2574466.993 | 1174646.0337
64 | 2574458.5279 | 1174703.048 | 2574457.0705 | 1174706.7227 | 2574451.5291 | 1174717.7298 | 2574451.5291 | 1174717.7298
65 | 2574465.3352 | 1174636.5096 | 2574459.0144 | 1174617.3239
66 | 2574448.6312 | 1174722.0432 | 2574451.5291 | 1174717.7298
67 | 2574376.9992 | 1174644.8668 | 2574379.4328 | 1174650.7817
68 | 2574376.9992 | 1174644.8668 | 2574378.8565 | 1174642.969 | 2574389.5271 | 1174616.315
69 | 2574391.4507 | 1174611.51 | 2574389.5271 | 1174616.315
70 | 2574436.3687 | 1174737.7234 | 2574433.2583 | 1174741.1422
71 | 2574436.3687 | 1174737.7234 | 2574442.9753 | 1174730.4618 | 2574448.6312 | 1174722.0432
72 | 2574415.7107 | 1174754.8465 | 2574433.2583 | 1174741.1422
73 | 2574415.7107 | 1174754.8465 | 2574431.8512 | 1174769.6295 | 2574454.0322 | 1174781.8752
74 | 2574454.0322 | 1174781.8752 | 2574464.7408 | 1174787.7872 | 2574469.1497 | 1174791.1693
75 | 2574482.3087 | 1174801.3425 | 2574478.5468 | 1174798.3781 | 2574469.1497 | 1174791.1693
76 | 2574506.6105 | 1174816.8543 | 2574512.7576 | 1174818.5546
77 | 2574499.0943 | 1174814.0541 | 2574504.126 | 1174816.167 | 2574506.6105 | 1174816.8543
78 | 2574566.1147 | 1174820.6527 | 2574563.0609 | 1174821.7189 | 2574549.8726 | 1174823.298 | 2574539.62 | 1174823.086 | 2574517.5433 | 1174819.8784 | 2574512.7576 | 1174818.5546
79 | 2574499.0943 | 1174814.0541 | 2574492.745 | 1174809.5121 | 2574487.6672 | 1174805.5651 | 2574482.3087 | 1174801.3425
80 | 2574566.1147 | 1174820.6527 | 2574578.1142 | 1174816.4633 | 2574594.0285 | 1174806.9241 | 2574604.1305 | 1174797.5853
81 | 2574457.3763 | 1174612.3514 | 2574459.0144 | 1174617.3239

## bus_geodata
| x | y | coords
0 | 2574297.8412 | 1174400.0343
1 | 2574303.1395 | 1174377.98
2 | 2574322.6249 | 1174382.6826
3 | 2574298.2462 | 1174376.7987
4 | 2574356.4095 | 1174430.6784
5 | 2574370.7537 | 1174400.7238
6 | 2574334.2691 | 1174455.4987
7 | 2574325.6129 | 1174383.4037
8 | 2574373.1573 | 1174401.8285
9 | 2574342.1287 | 1174387.5624
10 | 2574392.8006 | 1174410.8568
11 | 2574401.0141 | 1174427.7962
12 | 2574417.6124 | 1174313.0447
13 | 2574410.2757 | 1174327.3028
14 | 2574429.0839 | 1174290.751
15 | 2574408.6408 | 1174330.4801
16 | 2574463.2603 | 1174351.5556
17 | 2574407.0861 | 1174333.5014
18 | 2574447.9081 | 1174389.31
19 | 2574405.0401 | 1174337.4778
20 | 2574441.9688 | 1174402.1086
21 | 2574397.0309 | 1174338.2665
22 | 2574372.8888 | 1174326.5816
23 | 2574365.7967 | 1174323.149
24 | 2574405.7591 | 1174453.6233
25 | 2574429.2667 | 1174429.9661
26 | 2574426.7665 | 1174390.145
27 | 2574457.8776 | 1174439.3931
28 | 2574425.4405 | 1174450.1784
29 | 2574471.3253 | 1174444.6495
30 | 2574466.9215 | 1174426.7258
31 | 2574402.1926 | 1174463.4436
32 | 2574420.5091 | 1174463.065
33 | 2574438.9542 | 1174468.3775
34 | 2574410.6557 | 1174491.9553
35 | 2574396.9979 | 1174491.18
36 | 2574410.828 | 1174501.2097
37 | 2574494.6596 | 1174453.788
38 | 2574469.1367 | 1174459.6511
39 | 2574395.2107 | 1174483.0602
40 | 2574454.3933 | 1174502.6841
41 | 2574413.2059 | 1174522.3886
42 | 2574497.4445 | 1174476.6264
43 | 2574454.4484 | 1174502.8403
44 | 2574415.7348 | 1174533.6661
45 | 2574392.3134 | 1174529.1307
46 | 2574438.3251 | 1174576.2469
47 | 2574379.8355 | 1174559.2552
48 | 2574439.6425 | 1174578.6979
49 | 2574429.6245 | 1174577.9405
50 | 2574366.0472 | 1174554.1284
51 | 2574497.9435 | 1174486.0974
52 | 2574501.0339 | 1174490.9799
53 | 2574453.0686 | 1174603.6756
54 | 2574408.3715 | 1174570.939
55 | 2574464.4131 | 1174684.2626
56 | 2574465.3141 | 1174680.2804
57 | 2574460.2303 | 1174698.7552
58 | 2574467.0781 | 1174670.2435
59 | 2574459.6754 | 1174700.1546
60 | 2574466.993 | 1174646.0337
61 | 2574458.5279 | 1174703.048
62 | 2574465.3352 | 1174636.5096
63 | 2574451.5291 | 1174717.7298
64 | 2574379.4328 | 1174650.7817
65 | 2574376.9992 | 1174644.8668
66 | 2574389.5271 | 1174616.315
67 | 2574391.4507 | 1174611.51
68 | 2574436.3687 | 1174737.7235
69 | 2574433.2583 | 1174741.1422
70 | 2574448.6312 | 1174722.0432
71 | 2574415.7107 | 1174754.8465
72 | 2574454.0322 | 1174781.8752
73 | 2574469.1497 | 1174791.1693
74 | 2574506.6105 | 1174816.8543
75 | 2574512.7576 | 1174818.5546
76 | 2574499.0943 | 1174814.0541
77 | 2574566.1147 | 1174820.6527
78 | 2574482.3087 | 1174801.3425
79 | 2574604.1305 | 1174797.5853
80 | 2574459.0144 | 1174617.3239
81 | 2574457.3763 | 1174612.3514
82 | 2574356.3962 | 1174550.54
83 | 2574392.3134 | 1174529.1307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9855 | -0.2788 | 0.0027613 | 0.00069205
1 | 0.98555 | -0.27767 | 0 | 0
2 | 0.98562 | -0.27629 | 0.0039774 | 0.00099684
3 | 0.98555 | -0.27777 | 0.0010802 | 0.00027072
4 | 0.98556 | -0.27758 | 0 | 0
5 | 0.98628 | -0.26351 | 0 | 0
6 | 0.9848 | -0.29242 | 0.023427 | 0.0058714
7 | 0.98565 | -0.27586 | 0.0048114 | 0.0012059
8 | 0.98637 | -0.26169 | 0.002624 | 0.00065763
9 | 0.98584 | -0.272 | 0.0023892 | 0.00059878
10 | 0.98719 | -0.2458 | 0 | 0
11 | 0.9882 | -0.22622 | 0.01589 | 0.0039824
12 | 0.98179 | -0.35089 | 0.0030104 | 0.00075447
13 | 0.98159 | -0.35473 | 0.0023502 | 0.00058902
14 | 0.98217 | -0.34353 | 0 | 0
15 | 0.98156 | -0.35543 | 0.0012079 | 0.00030274
16 | 0.98329 | -0.32151 | 0.002698 | 0.00067619
17 | 0.98153 | -0.35602 | 0.0028354 | 0.00071063
18 | 0.98401 | -0.30759 | 0 | 0
19 | 0.9815 | -0.35658 | 0.0030346 | 0.00076055
20 | 0.98425 | -0.30278 | 0 | 0
21 | 0.98147 | -0.35717 | 0.0015793 | 0.0003958
22 | 0.98141 | -0.35824 | 0.0011843 | 0.00029682
23 | 0.98141 | -0.35839 | 0.001036 | 0.00025964
24 | 0.99006 | -0.1901 | 0 | 0
25 | 0.98504 | -0.28749 | 0 | 0
26 | 0.98405 | -0.3067 | 0.0088309 | 0.0022132
27 | 0.98438 | -0.30034 | 0 | 0
28 | 0.98603 | -0.26822 | 0.0024249 | 0.00060775
29 | 0.98422 | -0.30354 | 0 | 0
30 | 0.98424 | -0.30307 | 0.0097405 | 0.0024412
31 | 0.99093 | -0.17341 | 0 | 0
32 | 0.98669 | -0.2553 | 0 | 0
33 | 0.98542 | -0.28006 | 0.0072317 | 0.0018124
34 | 0.9951 | -0.093346 | 0 | 0
35 | 0.99377 | -0.11891 | 0 | 0
36 | 0.996 | -0.07625 | 0.049598 | 0.01243
37 | 0.98403 | -0.30726 | 0 | 0
38 | 0.98416 | -0.30464 | 0.0040573 | 0.0010168
39 | 0.99265 | -0.14025 | 0.030272 | 0.0075869
40 | 0.98321 | -0.32322 | 0.029272 | 0.0073362
41 | 0.99855 | -0.027513 | 0.013102 | 0.0032837
42 | 0.98383 | -0.31111 | 0.00050068 | 0.00012548
43 | 0.9832 | -0.32332 | 0.03403 | 0.0085287
44 | 1 | 0 | -0.54181 | -0.13735
45 | 0.99979 | -0.0040985 | 0 | 0
46 | 0.99443 | -0.10667 | 0 | 0
47 | 0.9995 | -0.0096097 | 0.0029294 | 0.00073418
48 | 0.99425 | -0.11014 | 0.040587 | 0.010172
49 | 0.99353 | -0.12403 | 0.033315 | 0.0083496
50 | 0.99941 | -0.011345 | 0.0024584 | 0.00061613
51 | 0.98374 | -0.31277 | 0.0061427 | 0.0015395
52 | 0.98373 | -0.31294 | 0.0016312 | 0.00040882
53 | 0.99162 | -0.16079 | 0.041942 | 0.010512
54 | 0.99194 | -0.15477 | 0.067948 | 0.017029
55 | 0.98764 | -0.23776 | 0.0087191 | 0.0021852
56 | 0.98781 | -0.23449 | 0.0020265 | 0.0005079
57 | 0.98714 | -0.24752 | 0.0015937 | 0.00039941
58 | 0.98825 | -0.22594 | 0.0014271 | 0.00035766
59 | 0.98709 | -0.24845 | 0.0021239 | 0.0005323
60 | 0.98933 | -0.20506 | 0.0046472 | 0.0011647
61 | 0.987 | -0.25025 | 0.0022236 | 0.00055729
62 | 0.9898 | -0.19589 | 0.0018068 | 0.00045283
63 | 0.98654 | -0.25904 | 0.0021753 | 0.00054518
64 | 0.99139 | -0.16552 | 0.0039849 | 0.0009987
65 | 0.99141 | -0.16507 | 0 | 0
66 | 0.99152 | -0.16286 | 0.0013544 | 0.00033943
67 | 0.99155 | -0.16237 | 0.0044049 | 0.001104
68 | 0.98593 | -0.27106 | 0.0011876 | 0.00029764
69 | 0.98582 | -0.27314 | 0.0012225 | 0.00030637
70 | 0.98641 | -0.26164 | 0.0016539 | 0.00041451
71 | 0.98533 | -0.2827 | 0 | 0
72 | 0.98429 | -0.303 | 0.00058003 | 0.00014537
73 | 0.9839 | -0.31047 | 0.0025102 | 0.0006291
74 | 0.98314 | -0.32532 | 0.0023741 | 0.00059501
75 | 0.98306 | -0.32694 | 0.0029945 | 0.00075049
76 | 0.98326 | -0.32294 | 0 | 0
77 | 0.98251 | -0.33773 | 0.0032554 | 0.00081588
78 | 0.98358 | -0.3167 | 0.0043878 | 0.0010997
79 | 0.98218 | -0.34408 | 0.0078077 | 0.0019568
80 | 0.99082 | -0.17624 | 0.0021648 | 0.00054256
81 | 0.99109 | -0.17096 | 0.0021861 | 0.00054788
82 | 0.99937 | -0.012118 | 0.0043014 | 0.001078
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027613 | -0.00069205 | 0.0027615 | 0.00069186 | 1.4804e-07 | -1.9464e-07 | 0.0041694 | 0.0041692 | 0.0041694 | 0.9855 | -0.2788 | 0.98555 | -0.27767 | 1.1454
1 | -0.0038416 | -0.00096251 | 0.0038419 | 0.00096242 | 2.5287e-07 | -9.361e-08 | 0.0058001 | 0.0058 | 0.0058001 | 0.98555 | -0.27767 | 0.98562 | -0.27629 | 1.5934
2 | 0.0010802 | 0.00027066 | -0.0010802 | -0.00027072 | 5.0209e-09 | -6.0932e-08 | 0.0016309 | 0.0016309 | 0.0016309 | 0.98555 | -0.27767 | 0.98555 | -0.27777 | 0.44805
3 | -0.0078193 | -0.0019593 | 0.0078195 | 0.0019593 | 1.6063e-07 | 6.3628e-08 | 0.011805 | 0.011805 | 0.011805 | 0.98562 | -0.27629 | 0.98565 | -0.27586 | 3.2431
4 | -0.023444 | -0.0058816 | 0.02346 | 0.0058912 | 1.5731e-05 | 9.6411e-06 | 0.035398 | 0.035398 | 0.035398 | 0.98556 | -0.27758 | 0.98628 | -0.26351 | 9.7248
5 | 0.023444 | 0.0058816 | -0.023427 | -0.0058714 | 1.6573e-05 | 1.0157e-05 | 0.035398 | 0.035398 | 0.035398 | 0.98556 | -0.27758 | 0.9848 | -0.29242 | 9.7248
6 | -0.038488 | -0.0096599 | 0.038491 | 0.009662 | 3.3453e-06 | 2.1073e-06 | 0.058073 | 0.058072 | 0.058073 | 0.98628 | -0.26351 | 0.98637 | -0.26169 | 15.954
7 | 0.015028 | 0.0037687 | -0.015022 | -0.0037652 | 6.0744e-06 | 3.4857e-06 | 0.022675 | 0.022675 | 0.022675 | 0.98628 | -0.26351 | 0.98584 | -0.272 | 6.2293
8 | -0.012631 | -0.0031652 | 0.012633 | 0.0031665 | 2.3244e-06 | 1.2703e-06 | 0.019069 | 0.019069 | 0.019069 | 0.98565 | -0.27586 | 0.98584 | -0.272 | 5.2386
9 | -0.041115 | -0.01032 | 0.041147 | 0.010339 | 3.1194e-05 | 1.9688e-05 | 0.062031 | 0.062031 | 0.062031 | 0.98637 | -0.26169 | 0.98719 | -0.2458 | 17.0415
10 | -0.041147 | -0.010339 | 0.041185 | 0.010364 | 3.8494e-05 | 2.4295e-05 | 0.062031 | 0.062031 | 0.062031 | 0.98719 | -0.2458 | 0.9882 | -0.22622 | 17.0414
11 | -0.057075 | -0.014346 | 0.057174 | 0.014409 | 9.8618e-05 | 6.2658e-05 | 0.085957 | 0.085957 | 0.085957 | 0.9882 | -0.22622 | 0.99006 | -0.1901 | 23.6147
12 | 0.013231 | 0.0033165 | -0.013229 | -0.0033152 | 2.4182e-06 | 1.3449e-06 | 0.020054 | 0.020054 | 0.020054 | 0.98179 | -0.35089 | 0.98159 | -0.35473 | 5.5093
13 | -0.016242 | -0.004071 | 0.016247 | 0.0040743 | 5.6972e-06 | 3.329e-06 | 0.024616 | 0.024616 | 0.024616 | 0.98179 | -0.35089 | 0.98217 | -0.34353 | 6.7627
14 | 0.010879 | 0.0027262 | -0.010878 | -0.002726 | 3.6441e-07 | 1.8805e-07 | 0.016491 | 0.016491 | 0.016491 | 0.98159 | -0.35473 | 0.98156 | -0.35543 | 4.5305
15 | -0.016247 | -0.0040743 | 0.016264 | 0.0040843 | 1.7068e-05 | 9.9718e-06 | 0.024616 | 0.024616 | 0.024616 | 0.98217 | -0.34353 | 0.98329 | -0.32151 | 6.7627
16 | 0.0096704 | 0.0024232 | -0.0096701 | -0.0024231 | 2.7384e-07 | 1.3231e-07 | 0.01466 | 0.01466 | 0.01466 | 0.98156 | -0.35543 | 0.98153 | -0.35602 | 4.0274
17 | -0.018962 | -0.0047605 | 0.018975 | 0.004768 | 1.2604e-05 | 7.5487e-06 | 0.028699 | 0.028699 | 0.028699 | 0.98329 | -0.32151 | 0.98401 | -0.30759 | 7.8843
18 | 0.0068346 | 0.0017125 | -0.0068345 | -0.0017124 | 1.8003e-07 | 5.8702e-08 | 0.010361 | 0.010361 | 0.010361 | 0.98153 | -0.35602 | 0.9815 | -0.35658 | 2.8465
19 | -0.018975 | -0.004768 | 0.018979 | 0.0047706 | 4.3564e-06 | 2.6088e-06 | 0.028699 | 0.028698 | 0.028699 | 0.98401 | -0.30759 | 0.98425 | -0.30278 | 7.8842
20 | 0.0037998 | 0.00095187 | -0.0037997 | -0.00095191 | 1.0657e-07 | -4.0024e-08 | 0.0057606 | 0.0057606 | 0.0057606 | 0.9815 | -0.35658 | 0.98147 | -0.35717 | 1.5826
21 | -0.027812 | -0.0069846 | 0.027832 | 0.0069972 | 2.0307e-05 | 1.2607e-05 | 0.042052 | 0.042052 | 0.042052 | 0.98425 | -0.30278 | 0.98504 | -0.28749 | 11.5527
22 | 0.0088326 | 0.002214 | -0.0088309 | -0.0022132 | 1.6486e-06 | 7.4184e-07 | 0.013353 | 0.013353 | 0.013353 | 0.98425 | -0.30278 | 0.98405 | -0.3067 | 3.6685
23 | 0.0022204 | 0.0005561 | -0.0022203 | -0.00055637 | 1.1398e-07 | -2.6599e-07 | 0.0033663 | 0.0033664 | 0.0033664 | 0.98147 | -0.35717 | 0.98141 | -0.35824 | 0.92484
24 | 0.001036 | 0.00025955 | -0.001036 | -0.00025964 | 7.29e-09 | -9.4896e-08 | 0.0015707 | 0.0015708 | 0.0015708 | 0.98141 | -0.35824 | 0.98141 | -0.35839 | 0.43153
25 | -0.18074 | -0.045666 | 0.18088 | 0.045759 | 0.00014467 | 9.2322e-05 | 0.27177 | 0.27177 | 0.27177 | 0.99006 | -0.1901 | 0.99093 | -0.17341 | 37.3307
26 | 0.12356 | 0.031258 | -0.12318 | -0.031012 | 0.00038523 | 0.00024617 | 0.18581 | 0.18581 | 0.18581 | 0.99006 | -0.1901 | 0.98669 | -0.2553 | 51.0468
27 | 0.022093 | 0.0055431 | -0.022079 | -0.0055349 | 1.3531e-05 | 8.2478e-06 | 0.033376 | 0.033376 | 0.033376 | 0.98504 | -0.28749 | 0.98438 | -0.30034 | 9.1693
28 | -0.049925 | -0.01254 | 0.049971 | 0.012569 | 4.5949e-05 | 2.9133e-05 | 0.075428 | 0.075428 | 0.075428 | 0.98504 | -0.28749 | 0.98603 | -0.26822 | 20.7219
29 | 0.012338 | 0.0030931 | -0.012336 | -0.003092 | 1.8787e-06 | 1.0193e-06 | 0.01865 | 0.01865 | 0.01865 | 0.98438 | -0.30034 | 0.98422 | -0.30354 | 5.1237
30 | 0.0097418 | 0.0024418 | -0.0097405 | -0.0024412 | 1.2657e-06 | 6.1223e-07 | 0.014726 | 0.014726 | 0.014726 | 0.98438 | -0.30034 | 0.98424 | -0.30307 | 4.0456
31 | -0.052396 | -0.013177 | 0.052428 | 0.013198 | 3.2364e-05 | 2.0537e-05 | 0.079087 | 0.079087 | 0.079087 | 0.98603 | -0.26822 | 0.98669 | -0.2553 | 21.7272
32 | 0.0082782 | 0.0020752 | -0.0082767 | -0.0020746 | 1.4684e-06 | 6.2218e-07 | 0.012516 | 0.012516 | 0.012516 | 0.98422 | -0.30354 | 0.98403 | -0.30726 | 3.4384
33 | 0.0040575 | 0.0010168 | -0.0040573 | -0.0010168 | 2.1394e-07 | -5.5732e-08 | 0.0061344 | 0.0061345 | 0.0061345 | 0.98422 | -0.30354 | 0.98416 | -0.30464 | 1.6853
34 | -0.18088 | -0.045759 | 0.18117 | 0.045943 | 0.00028835 | 0.00018401 | 0.27177 | 0.27177 | 0.27177 | 0.99093 | -0.17341 | 0.99265 | -0.14025 | 37.3307
35 | 0.070748 | 0.017814 | -0.070664 | -0.01776 | 8.3647e-05 | 5.3284e-05 | 0.10672 | 0.10672 | 0.10672 | 0.98669 | -0.2553 | 0.98542 | -0.28006 | 29.3196
36 | 0.063433 | 0.015948 | -0.063302 | -0.015865 | 0.00013046 | 8.3013e-05 | 0.095803 | 0.095803 | 0.095803 | 0.98542 | -0.28006 | 0.98321 | -0.32322 | 26.3196
37 | 0.21192 | 0.053834 | -0.21166 | -0.053668 | 0.00026042 | 0.00016631 | 0.31715 | 0.31715 | 0.31715 | 0.9951 | -0.093346 | 0.99377 | -0.11891 | 43.564
38 | -0.21192 | -0.053834 | 0.21209 | 0.053946 | 0.00017456 | 0.00011148 | 0.31715 | 0.31715 | 0.31715 | 0.9951 | -0.093346 | 0.996 | -0.07625 | 43.564
39 | 0.21166 | 0.053668 | -0.21144 | -0.05353 | 0.00021685 | 0.00013849 | 0.31715 | 0.31715 | 0.31715 | 0.99377 | -0.11891 | 0.99265 | -0.14025 | 43.564
40 | -0.26169 | -0.066376 | 0.2623 | 0.066769 | 0.00061479 | 0.00039291 | 0.39124 | 0.39124 | 0.39124 | 0.996 | -0.07625 | 0.99855 | -0.027513 | 53.7424
41 | 0.0082767 | 0.0020746 | -0.0082752 | -0.002074 | 1.5195e-06 | 6.4395e-07 | 0.012516 | 0.012516 | 0.012516 | 0.98403 | -0.30726 | 0.98383 | -0.31111 | 3.4385
42 | 0.03403 | 0.0085288 | -0.03403 | -0.0085287 | 1.6477e-07 | 1.0335e-07 | 0.051502 | 0.051502 | 0.051502 | 0.98321 | -0.32322 | 0.9832 | -0.32332 | 14.149
43 | -0.27541 | -0.070053 | 0.27577 | 0.070287 | 0.00036565 | 0.00023371 | 0.41077 | 0.41077 | 0.41077 | 0.99855 | -0.027513 | 1 | 0 | 56.4242
44 | 0.0077745 | 0.0019485 | -0.0077739 | -0.0019483 | 6.1361e-07 | 2.4245e-07 | 0.011759 | 0.011759 | 0.011759 | 0.98383 | -0.31111 | 0.98374 | -0.31277 | 3.2304
45 | 0.0096944 | 0.0024306 | -0.0096925 | -0.0024297 | 1.8931e-06 | 8.9338e-07 | 0.014426 | 0.014426 | 0.014426 | 1 | 0 | 0.99979 | -0.0040985 | 3.9631
46 | 0.25469 | 0.064637 | -0.25339 | -0.063806 | 0.0012995 | 0.00083043 | 0.37927 | 0.37927 | 0.37927 | 1 | 0 | 0.99443 | -0.10667 | 52.0975
47 | 0.0096925 | 0.0024297 | -0.0096899 | -0.0024285 | 2.5446e-06 | 1.2011e-06 | 0.014426 | 0.014426 | 0.014426 | 0.99979 | -0.0040985 | 0.9995 | -0.0096097 | 3.9632
48 | 0.14217 | 0.035852 | -0.14215 | -0.035837 | 2.3631e-05 | 1.5052e-05 | 0.21282 | 0.21282 | 0.21282 | 0.99443 | -0.10667 | 0.99425 | -0.11014 | 29.2337
49 | 0.11122 | 0.027954 | -0.11113 | -0.027895 | 9.2091e-05 | 5.8823e-05 | 0.16645 | 0.16645 | 0.16645 | 0.99443 | -0.10667 | 0.99353 | -0.12403 | 45.7277
50 | 0.0067605 | 0.0016943 | -0.00676 | -0.0016941 | 5.5882e-07 | 1.6486e-07 | 0.010065 | 0.010065 | 0.010065 | 0.9995 | -0.0096097 | 0.99941 | -0.011345 | 2.7651
51 | 0.10156 | 0.025665 | -0.10132 | -0.025508 | 0.00024594 | 0.00015704 | 0.15208 | 0.15208 | 0.15208 | 0.99425 | -0.11014 | 0.99162 | -0.16079 | 41.7799
52 | 0.07781 | 0.019546 | -0.077696 | -0.019473 | 0.00011399 | 7.2665e-05 | 0.11655 | 0.11655 | 0.11655 | 0.99353 | -0.12403 | 0.99194 | -0.15477 | 32.02
53 | 0.0043016 | 0.001078 | -0.0043014 | -0.001078 | 1.5838e-07 | -3.3554e-08 | 0.0064046 | 0.0064046 | 0.0064046 | 0.99941 | -0.011345 | 0.99937 | -0.012118 | 1.7595
54 | 0.0016312 | 0.00040875 | -0.0016312 | -0.00040882 | 1.3192e-08 | -6.492e-08 | 0.0024674 | 0.0024674 | 0.0024674 | 0.98374 | -0.31277 | 0.98373 | -0.31294 | 0.67786
55 | 0.059377 | 0.014997 | -0.059348 | -0.014978 | 2.8931e-05 | 1.839e-05 | 0.089142 | 0.089142 | 0.089142 | 0.99162 | -0.16079 | 0.99109 | -0.17096 | 24.4895
56 | 0.0097483 | 0.0024437 | -0.0097448 | -0.002442 | 3.5252e-06 | 1.6889e-06 | 0.014624 | 0.014624 | 0.014624 | 0.99194 | -0.15477 | 0.99155 | -0.16237 | 4.0175
57 | -0.044926 | -0.011301 | 0.044933 | 0.011305 | 7.0175e-06 | 4.439e-06 | 0.067701 | 0.067701 | 0.067701 | 0.98764 | -0.23776 | 0.98781 | -0.23449 | 18.5993
58 | 0.036207 | 0.0091156 | -0.03619 | -0.009105 | 1.6889e-05 | 1.0616e-05 | 0.054565 | 0.054565 | 0.054565 | 0.98764 | -0.23776 | 0.98714 | -0.24752 | 14.9904
59 | -0.046959 | -0.011813 | 0.046978 | 0.011825 | 1.9188e-05 | 1.2149e-05 | 0.070754 | 0.070754 | 0.070754 | 0.98781 | -0.23449 | 0.98825 | -0.22594 | 19.4379
60 | 0.034596 | 0.0087056 | -0.034594 | -0.0087047 | 1.536e-06 | 9.6381e-07 | 0.052163 | 0.052163 | 0.052163 | 0.98714 | -0.24752 | 0.98709 | -0.24845 | 14.3304
61 | -0.048405 | -0.012183 | 0.048454 | 0.012214 | 4.835e-05 | 3.0633e-05 | 0.072903 | 0.072903 | 0.072903 | 0.98825 | -0.22594 | 0.98933 | -0.20506 | 20.0283
62 | 0.032471 | 0.0081723 | -0.032468 | -0.0081706 | 2.798e-06 | 1.751e-06 | 0.048961 | 0.048961 | 0.048961 | 0.98709 | -0.24845 | 0.987 | -0.25025 | 13.4508
63 | -0.053101 | -0.013378 | 0.053124 | 0.013393 | 2.3301e-05 | 1.4788e-05 | 0.079892 | 0.079892 | 0.079892 | 0.98933 | -0.20506 | 0.9898 | -0.19589 | 21.9485
64 | 0.030244 | 0.0076133 | -0.030231 | -0.0076054 | 1.2697e-05 | 7.9179e-06 | 0.045608 | 0.045609 | 0.045609 | 0.987 | -0.25025 | 0.98654 | -0.25904 | 12.5298
65 | -0.054931 | -0.013846 | 0.054983 | 0.013879 | 5.1693e-05 | 3.2824e-05 | 0.082609 | 0.082608 | 0.082609 | 0.9898 | -0.19589 | 0.99082 | -0.17624 | 22.6947
66 | 0.028056 | 0.0070602 | -0.028053 | -0.007058 | 3.4913e-06 | 2.1681e-06 | 0.042328 | 0.042328 | 0.042328 | 0.98654 | -0.25904 | 0.98641 | -0.26164 | 11.6285
67 | -0.0039849 | -0.0009987 | 0.0039849 | 0.00099867 | 8.58e-08 | -2.7561e-08 | 0.005981 | 0.005981 | 0.005981 | 0.99139 | -0.16552 | 0.99141 | -0.16507 | 1.6431
68 | -0.0039849 | -0.00099867 | 0.0039854 | 0.00099854 | 4.2076e-07 | -1.3522e-07 | 0.005981 | 0.0059809 | 0.005981 | 0.99141 | -0.16507 | 0.99152 | -0.16286 | 1.6431
69 | -0.0053397 | -0.001338 | 0.0053398 | 0.001338 | 1.2463e-07 | 1.3008e-08 | 0.0080134 | 0.0080134 | 0.0080134 | 0.99152 | -0.16286 | 0.99155 | -0.16237 | 2.2015
70 | 0.025199 | 0.0063385 | -0.025197 | -0.006337 | 2.5081e-06 | 1.5462e-06 | 0.03804 | 0.03804 | 0.03804 | 0.98593 | -0.27106 | 0.98582 | -0.27314 | 10.4506
71 | -0.026387 | -0.0066362 | 0.026399 | 0.0066435 | 1.1876e-05 | 7.3458e-06 | 0.039833 | 0.039833 | 0.039833 | 0.98593 | -0.27106 | 0.98641 | -0.26164 | 10.9431
72 | 0.023974 | 0.0060306 | -0.023963 | -0.0060239 | 1.0938e-05 | 6.7169e-06 | 0.036195 | 0.036195 | 0.036195 | 0.98582 | -0.27314 | 0.98533 | -0.2827 | 9.9438
73 | 0.023963 | 0.0060239 | -0.02394 | -0.0060097 | 2.3201e-05 | 1.4248e-05 | 0.036195 | 0.036195 | 0.036195 | 0.98533 | -0.2827 | 0.98429 | -0.303 | 9.9438
74 | 0.02336 | 0.0058643 | -0.023352 | -0.0058592 | 8.3212e-06 | 5.0996e-06 | 0.035319 | 0.035319 | 0.035319 | 0.98429 | -0.303 | 0.9839 | -0.31047 | 9.7029
75 | 0.020842 | 0.0052301 | -0.020835 | -0.0052263 | 6.1979e-06 | 3.7555e-06 | 0.031522 | 0.031523 | 0.031523 | 0.9839 | -0.31047 | 0.98358 | -0.3167 | 8.66
76 | 0.014067 | 0.0035277 | -0.014066 | -0.0035271 | 1.0842e-06 | 6.1302e-07 | 0.021291 | 0.021291 | 0.021291 | 0.98314 | -0.32532 | 0.98306 | -0.32694 | 5.8492
77 | -0.016441 | -0.0041227 | 0.016443 | 0.0041238 | 1.8659e-06 | 1.0922e-06 | 0.024884 | 0.024884 | 0.024884 | 0.98314 | -0.32532 | 0.98326 | -0.32294 | 6.8364
78 | 0.011071 | 0.0027766 | -0.011065 | -0.0027736 | 5.6921e-06 | 2.9581e-06 | 0.016759 | 0.016759 | 0.016759 | 0.98306 | -0.32694 | 0.98251 | -0.33773 | 4.6041
79 | -0.016443 | -0.0041238 | 0.016448 | 0.0041266 | 4.8905e-06 | 2.8627e-06 | 0.024884 | 0.024884 | 0.024884 | 0.98326 | -0.32294 | 0.98358 | -0.3167 | 6.8364
80 | 0.00781 | 0.0019577 | -0.0078077 | -0.0019568 | 2.3622e-06 | 9.4183e-07 | 0.011829 | 0.011829 | 0.011829 | 0.98251 | -0.33773 | 0.98218 | -0.34408 | 3.2496
81 | -0.057148 | -0.014421 | 0.057162 | 0.014431 | 1.4473e-05 | 9.1953e-06 | 0.08586 | 0.08586 | 0.08586 | 0.99082 | -0.17624 | 0.99109 | -0.17096 | 23.5878

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54181 | 0.13735

## res_load
| p_mw | q_mvar
0 | 0.0027613 | 0.00069205
1 | 0.0039774 | 0.00099684
2 | 0.0010802 | 0.00027072
3 | 0.023427 | 0.0058714
4 | 0.0048114 | 0.0012059
5 | 0.002624 | 0.00065763
6 | 0.0023892 | 0.00059878
7 | 0.01589 | 0.0039824
8 | 0.0030104 | 0.00075447
9 | 0.0023502 | 0.00058902
10 | 0.0012079 | 0.00030274
11 | 0.002698 | 0.00067619
12 | 0.0028354 | 0.00071063
13 | 0.0030346 | 0.00076055
14 | 0.0015793 | 0.0003958
15 | 0.0011843 | 0.00029682
16 | 0.001036 | 0.00025964
17 | 0.0088309 | 0.0022132
18 | 0.0024249 | 0.00060775
19 | 0.0097405 | 0.0024412
20 | 0.0072317 | 0.0018124
21 | 0.049598 | 0.01243
22 | 0.0040573 | 0.0010168
23 | 0.030272 | 0.0075869
24 | 0.029272 | 0.0073362
25 | 0.013102 | 0.0032837
26 | 0.00050068 | 0.00012548
27 | 0.03403 | 0.0085287
28 | 0.0029294 | 0.00073418
29 | 0.040587 | 0.010172
30 | 0.033315 | 0.0083496
31 | 0.0024584 | 0.00061613
32 | 0.0061427 | 0.0015395
33 | 0.0016312 | 0.00040882
34 | 0.041942 | 0.010512
35 | 0.067948 | 0.017029
36 | 0.0087191 | 0.0021852
37 | 0.0020265 | 0.0005079
38 | 0.0015937 | 0.00039941
39 | 0.0014271 | 0.00035766
40 | 0.0021239 | 0.0005323
41 | 0.0046472 | 0.0011647
42 | 0.0022236 | 0.00055729
43 | 0.0018068 | 0.00045283
44 | 0.0021753 | 0.00054518
45 | 0.0039849 | 0.0009987
46 | 0.0013544 | 0.00033943
47 | 0.0044049 | 0.001104
48 | 0.0011876 | 0.00029764
49 | 0.0012225 | 0.00030637
50 | 0.0016539 | 0.00041451
51 | 0.00058003 | 0.00014537
52 | 0.0025102 | 0.0006291
53 | 0.0023741 | 0.00059501
54 | 0.0029945 | 0.00075049
55 | 0.0032554 | 0.00081588
56 | 0.0043878 | 0.0010997
57 | 0.0078077 | 0.0019568
58 | 0.0021648 | 0.00054256
59 | 0.0021861 | 0.00054788
60 | 0.0043014 | 0.001078

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1